## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2228-21_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2228-21_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2228-21_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_2228-21_0_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_2228-21_0_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_2228-21_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2228-21_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2228-21_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2228-21_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2228-21_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2228-21_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_2228-21_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2228-21_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_2228-21_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_2228-21_0_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_2228-21_0_4_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_2228-21_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_2228-21_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2228-21_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2228-21_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2228-21_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2228-21_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_2228-21_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2228-21_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2228-21_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2228-21_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2228-21_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_2228-21_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_2228-21_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2228-21_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2228-21_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2228-21_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_2228-21_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_MV_505_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-21_0_4_load_0 | 0 | 0.0035351 | 0.00088597 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-21_0_4_load_17 | 4 | 0.0076435 | 0.0019156 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-21_0_4_load_39 | 6 | 0.0034642 | 0.00086821 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-21_0_4_load_9 | 9 | 0.041798 | 0.010476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-21_0_4_load_16 | 12 | 0.0375 | 0.0093983 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-21_0_4_load_21 | 14 | 0.06112 | 0.015318 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-21_0_4_load_29 | 16 | 0.0051433 | 0.001289 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-21_0_4_load_28 | 17 | 0.018011 | 0.0045141 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-21_0_4_load_38 | 18 | 0.031356 | 0.0078586 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-21_0_4_load_30 | 20 | 0.0051479 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-21_0_4_load_33 | 22 | 0.049107 | 0.012307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-21_0_4_load_34 | 23 | 0.026955 | 0.0067556 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-21_0_4_load_24 | 24 | 0.040266 | 0.010092 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-21_0_4_load_20 | 25 | 0.041562 | 0.010416 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-21_0_4_load_25 | 26 | 0.023963 | 0.0060056 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-21_0_4_load_35 | 28 | 0.0040198 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-21_0_4_load_27 | 30 | 0.0099698 | 0.0024987 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-21_0_4_load_37 | 32 | 0.029567 | 0.0074101 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-21_0_4_load_36 | 33 | 0.014594 | 0.0036575 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-21_0_4_load_23 | 34 | 0.019385 | 0.0048584 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-21_0_4_line_0 |  | 0 | 1 | 0.032118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2228-21_0_4_line_1 |  | 1 | 2 | 0.16699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2228-21_0_4_line_2 |  | 2 | 3 | 0.036783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2228-21_0_4_line_3 |  | 2 | 4 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2228-21_0_4_line_4 |  | 2 | 5 | 0.03695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2228-21_0_4_line_5 |  | 3 | 6 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2228-21_0_4_line_6 |  | 5 | 15 | 0.017682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2228-21_0_4_line_7 |  | 5 | 16 | 0.021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2228-21_0_4_line_8 |  | 6 | 18 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2228-21_0_4_line_9 |  | 7 | 8 | 0.006361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2228-21_0_4_line_10 |  | 7 | 9 | 0.082876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2228-21_0_4_line_11 |  | 8 | 19 | 0.04431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2228-21_0_4_line_12 |  | 8 | 18 | 0.033012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2228-21_0_4_line_13 |  | 10 | 11 | 0.035337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2228-21_0_4_line_14 |  | 10 | 12 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2228-21_0_4_line_15 |  | 11 | 20 | 0.033641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2228-21_0_4_line_16 |  | 11 | 13 | 0.008106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2228-21_0_4_line_17 |  | 13 | 14 | 0.03293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2228-21_0_4_line_18 |  | 14 | 25 | 0.0064253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2228-21_0_4_line_19 |  | 15 | 17 | 0.032211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2228-21_0_4_line_20 |  | 16 | 20 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2228-21_0_4_line_21 |  | 17 | 29 | 0.034529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2228-21_0_4_line_22 |  | 19 | 28 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2228-21_0_4_line_23 |  | 21 | 22 | 0.048923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2228-21_0_4_line_24 |  | 21 | 23 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2228-21_0_4_line_25 |  | 21 | 24 | 0.026174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2228-21_0_4_line_26 |  | 23 | 33 | 0.020204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2228-21_0_4_line_27 |  | 24 | 27 | 0.040625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2228-21_0_4_line_28 |  | 25 | 27 | 0.026969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2228-21_0_4_line_29 |  | 26 | 27 | 0.023757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-21_0_4_line_30 |  | 29 | 30 | 0.040764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2228-21_0_4_line_31 |  | 30 | 34 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2228-21_0_4_line_32 |  | 31 | 32 | 0.025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2228-21_0_4_line_33 |  | 31 | 33 | 0.03576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-21_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 35 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2576664.1409 | 1182800.2465 | 2576678.0265 | 1182821.2699 | 2576684.6744 | 1182823.202
1 | 2576664.1409 | 1182800.2465 | 2576668.3634 | 1182792.5927 | 2576672.6951 | 1182789.4185 | 2576686.5826 | 1182787.4633 | 2576686.5196 | 1182771.344 | 2576690.8748 | 1182760.4769 | 2576692.3861 | 1182752.5669 | 2576712.8945 | 1182752.9871 | 2576714.2779 | 1182751.4142 | 2576715.6537 | 1182749.8414 | 2576717.1435 | 1182748.1458 | 2576720.6027 | 1182748.3324 | 2576722.2705 | 1182739.4324 | 2576726.1885 | 1182731.9576 | 2576737.1691 | 1182693.2502 | 2576739.5149 | 1182693.7525 | 2576742.9422 | 1182681.8107
2 | 2576724.6142 | 1182682.627 | 2576727.9853 | 1182683.6811 | 2576725.8261 | 1182689.9261 | 2576737.1691 | 1182693.2502 | 2576739.5149 | 1182693.7525 | 2576742.9422 | 1182681.8107
3 | 2576742.9422 | 1182681.8107 | 2576761.0273 | 1182687.2959
4 | 2576754.5385 | 1182648.2369 | 2576745.3137 | 1182679.1 | 2576743.8235 | 1182678.7279 | 2576742.9422 | 1182681.8107
5 | 2576724.6142 | 1182682.627 | 2576703.9909 | 1182676.9806
6 | 2576754.5385 | 1182648.2369 | 2576737.5842 | 1182643.0558
7 | 2576754.5385 | 1182648.2369 | 2576775.165 | 1182654.542
8 | 2576688.2127 | 1182672.6122 | 2576689.7852 | 1182673.0912 | 2576703.9909 | 1182676.9806
9 | 2576656.6335 | 1182662.9933 | 2576654.718 | 1182669.0595
10 | 2576654.718 | 1182669.0595 | 2576644.1903 | 1182702.3958 | 2576598.2896 | 1182688.6425
11 | 2576669.5615 | 1182620.6096 | 2576656.6335 | 1182662.9933
12 | 2576656.6335 | 1182662.9933 | 2576688.2127 | 1182672.6122
13 | 2576824.8167 | 1182669.7194 | 2576820.9223 | 1182683.3082 | 2576817.6066 | 1182694.5492 | 2576814.8858 | 1182703.6311
14 | 2576814.8858 | 1182703.6311 | 2576801.8106 | 1182699.6654
15 | 2576824.8167 | 1182669.7194 | 2576792.6447 | 1182659.8851
16 | 2576832.5905 | 1182672.0904 | 2576824.8167 | 1182669.7194
17 | 2576832.5905 | 1182672.0904 | 2576842.2294 | 1182640.6025
18 | 2576844.1102 | 1182634.4586 | 2576842.2294 | 1182640.6025
19 | 2576737.5842 | 1182643.0558 | 2576739.5776 | 1182635.3885 | 2576746.385 | 1182612.0736
20 | 2576775.165 | 1182654.542 | 2576792.6447 | 1182659.8851
21 | 2576756.0627 | 1182578.9283 | 2576746.385 | 1182612.0736
22 | 2576669.5615 | 1182620.6096 | 2576685.5985 | 1182625.9015
23 | 2576871.9055 | 1182544.9051 | 2576825.1483 | 1182530.5084
24 | 2576871.9055 | 1182544.9051 | 2576878.1923 | 1182523.6974
25 | 2576871.9055 | 1182544.9051 | 2576864.1075 | 1182569.8905
26 | 2576878.1923 | 1182523.6974 | 2576883.9345 | 1182504.3266
27 | 2576852.0041 | 1182608.671 | 2576864.1075 | 1182569.8905
28 | 2576852.0041 | 1182608.671 | 2576844.1102 | 1182634.4586
29 | 2576852.0041 | 1182608.671 | 2576874.7476 | 1182615.5358
30 | 2576756.0627 | 1182578.9283 | 2576794.9964 | 1182591.0048
31 | 2576794.9964 | 1182591.0048 | 2576812.4526 | 1182596.4194
32 | 2576894.6892 | 1182470.2225 | 2576920.2572 | 1182466.654
33 | 2576894.6892 | 1182470.2225 | 2576883.994 | 1182504.126 | 2576883.9345 | 1182504.3266

## bus_geodata
| x | y | coords
0 | 2576684.6744 | 1182823.202
1 | 2576664.1409 | 1182800.2465
2 | 2576742.9422 | 1182681.8107
3 | 2576724.6142 | 1182682.627
4 | 2576761.0273 | 1182687.2959
5 | 2576754.5385 | 1182648.2369
6 | 2576703.9909 | 1182676.9806
7 | 2576654.718 | 1182669.0595
8 | 2576656.6335 | 1182662.9933
9 | 2576598.2896 | 1182688.6425
10 | 2576814.8858 | 1182703.6311
11 | 2576824.8167 | 1182669.7194
12 | 2576801.8106 | 1182699.6654
13 | 2576832.5905 | 1182672.0904
14 | 2576842.2294 | 1182640.6025
15 | 2576737.5842 | 1182643.0558
16 | 2576775.165 | 1182654.542
17 | 2576746.385 | 1182612.0736
18 | 2576688.2127 | 1182672.6122
19 | 2576669.5615 | 1182620.6096
20 | 2576792.6447 | 1182659.8851
21 | 2576871.9055 | 1182544.9051
22 | 2576825.1483 | 1182530.5084
23 | 2576878.1923 | 1182523.6974
24 | 2576864.1075 | 1182569.8905
25 | 2576844.1102 | 1182634.4586
26 | 2576874.7476 | 1182615.5358
27 | 2576852.0041 | 1182608.671
28 | 2576685.5985 | 1182625.9015
29 | 2576756.0627 | 1182578.9283
30 | 2576794.9964 | 1182591.0048
31 | 2576894.6892 | 1182470.2225
32 | 2576920.2572 | 1182466.654
33 | 2576883.9345 | 1182504.3266
34 | 2576812.4526 | 1182596.4194
35 | 2576852.0041 | 1182608.671

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98151 | -0.35289 | 0.0035351 | 0.00088597
1 | 0.98161 | -0.35084 | 0 | 0
2 | 0.98216 | -0.34015 | 0 | 0
3 | 0.97939 | -0.3939 | 0 | 0
4 | 0.98202 | -0.34276 | 0.0076435 | 0.0019156
5 | 0.98531 | -0.27904 | 0 | 0
6 | 0.97779 | -0.42529 | 0.0034642 | 0.00086821
7 | 0.97495 | -0.48091 | 0 | 0
8 | 0.9752 | -0.47603 | 0 | 0
9 | 0.97172 | -0.54464 | 0.041798 | 0.010476
10 | 0.97846 | -0.41226 | 0 | 0
11 | 0.97969 | -0.38817 | 0 | 0
12 | 0.97799 | -0.42159 | 0.0375 | 0.0093983
13 | 0.97915 | -0.39874 | 0 | 0
14 | 0.97695 | -0.44182 | 0.06112 | 0.015318
15 | 0.98707 | -0.24523 | 0 | 0
16 | 0.98363 | -0.31152 | 0.0051433 | 0.001289
17 | 0.99027 | -0.18394 | 0.018011 | 0.0045141
18 | 0.97661 | -0.44835 | 0.031356 | 0.0078586
19 | 0.97503 | -0.4793 | 0 | 0
20 | 0.98223 | -0.33871 | 0.0051479 | 0.0012902
21 | 0.9732 | -0.51558 | 0 | 0
22 | 0.97208 | -0.53771 | 0.049107 | 0.012307
23 | 0.97283 | -0.52282 | 0.026955 | 0.0067556
24 | 0.97393 | -0.50111 | 0.040266 | 0.010092
25 | 0.97661 | -0.44845 | 0.041562 | 0.010416
26 | 0.97492 | -0.48164 | 0.023963 | 0.0060056
27 | 0.97545 | -0.4712 | 0 | 0
28 | 0.97497 | -0.48054 | 0.0040198 | 0.0010075
29 | 0.99384 | -0.11594 | 0 | 0
30 | 0.99807 | -0.036289 | 0.0099698 | 0.0024987
31 | 0.97213 | -0.53667 | 0 | 0
32 | 0.97142 | -0.55076 | 0.029567 | 0.0074101
33 | 0.97262 | -0.52693 | 0.014594 | 0.0036575
34 | 1 | 0 | -0.46657 | -0.12046
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035351 | -0.00088597 | 0.0035354 | 0.00088579 | 3.4594e-07 | -1.8457e-07 | 0.0053594 | 0.0053592 | 0.0053594 | 0.98151 | -0.35289 | 0.98161 | -0.35084 | 1.4724
1 | -0.0035354 | -0.00088579 | 0.0035372 | 0.00088483 | 1.7983e-06 | -9.6119e-07 | 0.0053592 | 0.0053585 | 0.0053592 | 0.98161 | -0.35084 | 0.98216 | -0.34015 | 1.4723
2 | 0.081253 | 0.0206 | -0.081044 | -0.020467 | 0.00020932 | 0.0001335 | 0.12319 | 0.12319 | 0.12319 | 0.98216 | -0.34015 | 0.97939 | -0.3939 | 33.8429
3 | 0.0076445 | 0.001916 | -0.0076435 | -0.0019156 | 9.5064e-07 | 3.6928e-07 | 0.011582 | 0.011582 | 0.011582 | 0.98216 | -0.34015 | 0.98202 | -0.34276 | 3.1818
4 | -0.092435 | -0.023401 | 0.092707 | 0.023575 | 0.00027208 | 0.00017366 | 0.14013 | 0.14013 | 0.14013 | 0.98216 | -0.34015 | 0.98531 | -0.27904 | 38.4968
5 | 0.081044 | 0.020467 | -0.080922 | -0.020389 | 0.00012168 | 7.7608e-05 | 0.12319 | 0.12319 | 0.12319 | 0.97939 | -0.3939 | 0.97779 | -0.42529 | 33.8429
6 | -0.43088 | -0.10958 | 0.43159 | 0.11003 | 0.00070315 | 0.00044912 | 0.65129 | 0.65129 | 0.65129 | 0.98531 | -0.27904 | 0.98707 | -0.24523 | 44.7314
7 | 0.33818 | 0.086006 | -0.33765 | -0.085668 | 0.00052833 | 0.00033704 | 0.51116 | 0.51116 | 0.51116 | 0.98531 | -0.27904 | 0.98363 | -0.31152 | 35.1072
8 | 0.077458 | 0.019521 | -0.077373 | -0.019467 | 8.5367e-05 | 5.443e-05 | 0.11792 | 0.11792 | 0.11792 | 0.97779 | -0.42529 | 0.97661 | -0.44835 | 32.3946
9 | -0.041925 | -0.010556 | 0.041935 | 0.010562 | 9.7723e-06 | 6.1749e-06 | 0.064006 | 0.064006 | 0.064006 | 0.97495 | -0.48091 | 0.9752 | -0.47603 | 17.5841
10 | 0.041925 | 0.010556 | -0.041798 | -0.010476 | 0.00012732 | 8.0456e-05 | 0.064006 | 0.064006 | 0.064006 | 0.97495 | -0.48091 | 0.97172 | -0.54464 | 17.5842
11 | 0.0040207 | 0.0010073 | -0.0040201 | -0.0010074 | 6.2539e-07 | -1.525e-07 | 0.0061348 | 0.006135 | 0.006135 | 0.9752 | -0.47603 | 0.97503 | -0.4793 | 1.6854
12 | -0.045956 | -0.011569 | 0.046017 | 0.011608 | 6.0903e-05 | 3.8565e-05 | 0.070141 | 0.070141 | 0.070141 | 0.9752 | -0.47603 | 0.97661 | -0.44835 | 19.2695
13 | -0.037516 | -0.0094088 | 0.037559 | 0.0094359 | 4.3138e-05 | 2.7164e-05 | 0.057056 | 0.057056 | 0.057056 | 0.97846 | -0.41226 | 0.97969 | -0.38817 | 15.6747
14 | 0.037516 | 0.0094088 | -0.0375 | -0.0093983 | 1.668e-05 | 1.0504e-05 | 0.057056 | 0.057056 | 0.057056 | 0.97846 | -0.41226 | 0.97799 | -0.42159 | 15.6747
15 | -0.32615 | -0.082318 | 0.32692 | 0.082812 | 0.0007746 | 0.00049405 | 0.49558 | 0.49558 | 0.49558 | 0.97969 | -0.38817 | 0.98223 | -0.33871 | 34.0373
16 | 0.28859 | 0.072882 | -0.28844 | -0.072789 | 0.00014614 | 9.3122e-05 | 0.43853 | 0.43853 | 0.43853 | 0.97969 | -0.38817 | 0.97915 | -0.39874 | 30.1186
17 | 0.28844 | 0.072789 | -0.28785 | -0.072411 | 0.00059369 | 0.00037831 | 0.43853 | 0.43853 | 0.43853 | 0.97915 | -0.39874 | 0.97695 | -0.44182 | 30.1187
18 | 0.22673 | 0.057093 | -0.22666 | -0.057047 | 7.1879e-05 | 4.5681e-05 | 0.34544 | 0.34544 | 0.34544 | 0.97695 | -0.44182 | 0.97661 | -0.44845 | 23.7249
19 | -0.43159 | -0.11003 | 0.43287 | 0.11085 | 0.0012809 | 0.00081813 | 0.65129 | 0.65129 | 0.65129 | 0.98707 | -0.24523 | 0.99027 | -0.18394 | 44.7314
20 | 0.3325 | 0.084379 | -0.33207 | -0.084102 | 0.00043421 | 0.00027697 | 0.50338 | 0.50338 | 0.50338 | 0.98363 | -0.31152 | 0.98223 | -0.33871 | 34.5729
21 | -0.45088 | -0.11536 | 0.45237 | 0.11631 | 0.0014896 | 0.00095156 | 0.67835 | 0.67835 | 0.67835 | 0.99027 | -0.18394 | 0.99384 | -0.11594 | 46.5901
22 | 0.0040201 | 0.0010074 | -0.0040198 | -0.0010075 | 2.3836e-07 | -5.8063e-08 | 0.006135 | 0.0061351 | 0.0061351 | 0.97503 | -0.4793 | 0.97497 | -0.48054 | 1.6855
23 | 0.049159 | 0.012339 | -0.049107 | -0.012307 | 5.1835e-05 | 3.196e-05 | 0.075171 | 0.075171 | 0.075171 | 0.9732 | -0.51558 | 0.97208 | -0.53771 | 10.3257
24 | 0.071182 | 0.017863 | -0.071158 | -0.017848 | 2.4569e-05 | 1.4625e-05 | 0.10885 | 0.10885 | 0.10885 | 0.9732 | -0.51558 | 0.97283 | -0.52282 | 7.4757
25 | -0.12034 | -0.030202 | 0.12042 | 0.030254 | 8.3091e-05 | 5.1877e-05 | 0.18402 | 0.18402 | 0.18402 | 0.9732 | -0.51558 | 0.97393 | -0.50111 | 12.6385
26 | 0.044203 | 0.011092 | -0.044194 | -0.011088 | 8.6599e-06 | 4.5392e-06 | 0.067616 | 0.067617 | 0.067617 | 0.97283 | -0.52282 | 0.97262 | -0.52693 | 4.644
27 | -0.16069 | -0.040346 | 0.16092 | 0.04049 | 0.00022961 | 0.00014493 | 0.24554 | 0.24554 | 0.24554 | 0.97393 | -0.50111 | 0.97545 | -0.4712 | 16.8638
28 | 0.1851 | 0.046631 | -0.18489 | -0.046503 | 0.00020122 | 0.00012743 | 0.28211 | 0.28211 | 0.28211 | 0.97661 | -0.44845 | 0.97545 | -0.4712 | 19.3757
29 | -0.023963 | -0.0060056 | 0.023975 | 0.006013 | 1.1917e-05 | 7.3306e-06 | 0.036574 | 0.036574 | 0.036574 | 0.97492 | -0.48164 | 0.97545 | -0.4712 | 10.0479
30 | -0.45237 | -0.11631 | 0.45413 | 0.11744 | 0.0017585 | 0.0011233 | 0.67835 | 0.67835 | 0.67835 | 0.99384 | -0.11594 | 0.99807 | -0.036289 | 46.5901
31 | -0.4641 | -0.11994 | 0.46492 | 0.12046 | 0.00082338 | 0.00052601 | 0.69321 | 0.69321 | 0.69321 | 0.99807 | -0.036289 | 1 | 0 | 47.6109
32 | 0.029587 | 0.0074225 | -0.029567 | -0.0074101 | 1.9858e-05 | 1.2389e-05 | 0.04529 | 0.04529 | 0.04529 | 0.97213 | -0.53667 | 0.97142 | -0.55076 | 12.4424
33 | -0.029587 | -0.0074225 | 0.0296 | 0.0074304 | 1.3753e-05 | 7.9148e-06 | 0.04529 | 0.04529 | 0.04529 | 0.97213 | -0.53667 | 0.97262 | -0.52693 | 6.2212

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48596 | 0.12532

## res_load
| p_mw | q_mvar
0 | 0.0035351 | 0.00088597
1 | 0.0076435 | 0.0019156
2 | 0.0034642 | 0.00086821
3 | 0.041798 | 0.010476
4 | 0.0375 | 0.0093983
5 | 0.06112 | 0.015318
6 | 0.0051433 | 0.001289
7 | 0.018011 | 0.0045141
8 | 0.031356 | 0.0078586
9 | 0.0051479 | 0.0012902
10 | 0.049107 | 0.012307
11 | 0.026955 | 0.0067556
12 | 0.040266 | 0.010092
13 | 0.041562 | 0.010416
14 | 0.023963 | 0.0060056
15 | 0.0040198 | 0.0010075
16 | 0.0099698 | 0.0024987
17 | 0.029567 | 0.0074101
18 | 0.014594 | 0.0036575
19 | 0.019385 | 0.0048584

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1