## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2228-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2228-25_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2228-25_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2228-25_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2228-25_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2228-25_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2228-25_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2228-25_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_2228-25_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2228-25_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2228-25_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2228-25_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2228-25_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2228-25_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2228-25_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2228-25_0_3_node_117 | 0.4 | n |  | TRUE
18 | bus_LV_2228-25_0_3_node_115 | 0.4 | n |  | TRUE
19 | bus_LV_2228-25_0_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_2228-25_0_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_2228-25_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2228-25_0_3_node_116 | 0.4 | n |  | TRUE
23 | bus_LV_2228-25_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_2228-25_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2228-25_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_2228-25_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2228-25_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_2228-25_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_2228-25_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2228-25_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2228-25_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2228-25_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2228-25_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2228-25_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2228-25_0_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_2228-25_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2228-25_0_3_node_118 | 0.4 | n |  | TRUE
38 | bus_LV_2228-25_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2228-25_0_3_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_2228-25_0_3_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_2228-25_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2228-25_0_3_node_120 | 0.4 | n |  | TRUE
43 | bus_LV_2228-25_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2228-25_0_3_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_2228-25_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_2228-25_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2228-25_0_3_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_2228-25_0_3_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_2228-25_0_3_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_2228-25_0_3_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_2228-25_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_2228-25_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_2228-25_0_3_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_2228-25_0_3_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_2228-25_0_3_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_2228-25_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_2228-25_0_3_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_2228-25_0_3_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_2228-25_0_3_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_2228-25_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2228-25_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_2228-25_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2228-25_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2228-25_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_2228-25_0_3_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_2228-25_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_2228-25_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_2228-25_0_3_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_2228-25_0_3_node_110 | 0.4 | n |  | TRUE
70 | bus_LV_2228-25_0_3_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_2228-25_0_3_node_113 | 0.4 | n |  | TRUE
72 | bus_MV_505_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-25_0_3_load_0 | 0 | 0.0037755 | 0.00094624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-25_0_3_load_1 | 1 | 0.0072958 | 0.0018285 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-25_0_3_load_2 | 2 | 0.0038643 | 0.00096849 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-25_0_3_load_3 | 3 | 0.0037721 | 0.00094539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-25_0_3_load_4 | 4 | 0.0029818 | 0.0007473 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-25_0_3_load_14 | 5 | 0.0022423 | 0.00056198 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-25_0_3_load_5 | 6 | 0.0027678 | 0.00069366 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-25_0_3_load_10 | 7 | 0.0025701 | 0.00064412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-25_0_3_load_6 | 8 | 0.0039243 | 0.00098351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-25_0_3_load_20 | 9 | 0.0030886 | 0.00077408 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-25_0_3_load_21 | 10 | 0.0075796 | 0.0018996 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-25_0_3_load_7 | 11 | 0.0036958 | 0.00092627 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-25_0_3_load_8 | 12 | 0.0070384 | 0.001764 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-25_0_3_load_13 | 16 | 0.0064039 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-25_0_3_load_117 | 17 | 0.0089467 | 0.0022423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-25_0_3_load_115 | 18 | 0.0063358 | 0.0015879 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-25_0_3_load_42 | 20 | 0.0083246 | 0.0020863 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-25_0_3_load_50 | 24 | 0.0033005 | 0.00082719 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-25_0_3_load_49 | 25 | 0.0047881 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-25_0_3_load_35 | 28 | 0.014185 | 0.0035551 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2228-25_0_3_load_30 | 29 | 0.0038914 | 0.00097527 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2228-25_0_3_load_16 | 30 | 0.0036448 | 0.00091347 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2228-25_0_3_load_15 | 31 | 0.0058908 | 0.0014764 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2228-25_0_3_load_17 | 32 | 0.0031244 | 0.00078305 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2228-25_0_3_load_19 | 33 | 0.0048097 | 0.0012054 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2228-25_0_3_load_25 | 34 | 0.0034213 | 0.00085745 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2228-25_0_3_load_92 | 35 | 0.00325 | 0.00081452 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2228-25_0_3_load_118 | 37 | 0.0025676 | 0.0006435 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2228-25_0_3_load_119 | 40 | 0.0021846 | 0.00054752 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2228-25_0_3_load_120 | 42 | 0.0057826 | 0.0014493 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2228-25_0_3_load_26 | 43 | 0.0023746 | 0.00059514 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2228-25_0_3_load_22 | 44 | 0.0050159 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2228-25_0_3_load_23 | 45 | 0.004199 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2228-25_0_3_load_95 | 47 | 0.0037166 | 0.00093146 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2228-25_0_3_load_96 | 48 | 0.0097166 | 0.0024352 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2228-25_0_3_load_111 | 50 | 0.012653 | 0.0031711 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2228-25_0_3_load_29 | 51 | 0.0024292 | 0.00060882 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2228-25_0_3_load_27 | 52 | 0.0027802 | 0.00069679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2228-25_0_3_load_28 | 53 | 0.0031298 | 0.00078441 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2228-25_0_3_load_100 | 54 | 0.0018226 | 0.00045679 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2228-25_0_3_load_98 | 55 | 0.0027583 | 0.0006913 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2228-25_0_3_load_121 | 57 | 0.08783 | 0.022012 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2228-25_0_3_load_114 | 59 | 0.0054676 | 0.0013703 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2228-25_0_3_load_57 | 60 | 0.00787 | 0.0019724 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2228-25_0_3_load_56 | 61 | 0.0022136 | 0.00055479 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2228-25_0_3_load_55 | 62 | 0.0030028 | 0.00075257 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2228-25_0_3_load_48 | 63 | 0.0045727 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2228-25_0_3_load_43 | 64 | 0.0042766 | 0.0010718 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2228-25_0_3_load_44 | 65 | 0.0045704 | 0.0011454 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2228-25_0_3_load_45 | 66 | 0.0042129 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2228-25_0_3_load_46 | 67 | 0.0047881 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2228-25_0_3_load_110 | 69 | 0.0030358 | 0.00076084 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2228-25_0_3_load_113 | 71 | 0.012623 | 0.0031637 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-25_0_3_line_0 |  | 0 | 1 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2228-25_0_3_line_1 |  | 0 | 2 | 0.02394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2228-25_0_3_line_2 |  | 1 | 3 | 0.0076063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2228-25_0_3_line_3 |  | 2 | 4 | 0.0033949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2228-25_0_3_line_4 |  | 3 | 5 | 0.025958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2228-25_0_3_line_5 |  | 4 | 6 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2228-25_0_3_line_6 |  | 5 | 7 | 0.022897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2228-25_0_3_line_7 |  | 6 | 8 | 0.010201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2228-25_0_3_line_8 |  | 7 | 12 | 0.02035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2228-25_0_3_line_9 |  | 8 | 9 | 0.00089269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2228-25_0_3_line_10 |  | 9 | 10 | 0.029674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2228-25_0_3_line_11 |  | 10 | 44 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2228-25_0_3_line_12 |  | 11 | 12 | 0.0055334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2228-25_0_3_line_13 |  | 11 | 13 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2228-25_0_3_line_14 |  | 13 | 14 | 0.004584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2228-25_0_3_line_15 |  | 13 | 15 | 0.045746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2228-25_0_3_line_16 |  | 13 | 16 | 0.049246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2228-25_0_3_line_17 |  | 14 | 17 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2228-25_0_3_line_18 |  | 14 | 18 | 0.036427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2228-25_0_3_line_19 |  | 15 | 19 | 0.050996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2228-25_0_3_line_20 |  | 15 | 20 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2228-25_0_3_line_21 |  | 16 | 21 | 0.021398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2228-25_0_3_line_22 |  | 18 | 22 | 0.034808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2228-25_0_3_line_23 |  | 19 | 28 | 0.0038498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2228-25_0_3_line_24 |  | 21 | 29 | 0.023455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2228-25_0_3_line_25 |  | 21 | 30 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2228-25_0_3_line_26 |  | 22 | 56 | 0.035155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2228-25_0_3_line_27 |  | 23 | 24 | 0.019139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2228-25_0_3_line_28 |  | 23 | 25 | 0.0028769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2228-25_0_3_line_29 |  | 24 | 62 | 0.030753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-25_0_3_line_30 |  | 25 | 63 | 0.0080344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2228-25_0_3_line_31 |  | 26 | 27 | 0.036385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2228-25_0_3_line_32 |  | 26 | 28 | 0.028181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2228-25_0_3_line_33 |  | 27 | 60 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2228-25_0_3_line_34 |  | 27 | 61 | 0.02698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2228-25_0_3_line_35 |  | 29 | 35 | 0.028182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2228-25_0_3_line_36 |  | 30 | 31 | 0.022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2228-25_0_3_line_37 |  | 31 | 32 | 0.0069776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2228-25_0_3_line_38 |  | 32 | 33 | 0.022723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2228-25_0_3_line_39 |  | 33 | 34 | 0.0029917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2228-25_0_3_line_40 |  | 34 | 43 | 0.031522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2228-25_0_3_line_41 |  | 36 | 37 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2228-25_0_3_line_42 |  | 36 | 38 | 0.040598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2228-25_0_3_line_43 |  | 36 | 39 | 0.029787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2228-25_0_3_line_44 |  | 38 | 40 | 0.029822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2228-25_0_3_line_45 |  | 38 | 41 | 0.065241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2228-25_0_3_line_46 |  | 39 | 54 | 0.01118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2228-25_0_3_line_47 |  | 39 | 55 | 0.054177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2228-25_0_3_line_48 |  | 41 | 42 | 0.037419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2228-25_0_3_line_49 |  | 43 | 53 | 0.026906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2228-25_0_3_line_50 |  | 44 | 45 | 0.014367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2228-25_0_3_line_51 |  | 45 | 46 | 0.022646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2228-25_0_3_line_52 |  | 46 | 47 | 0.01493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2228-25_0_3_line_53 |  | 46 | 48 | 0.020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2228-25_0_3_line_54 |  | 47 | 49 | 0.03231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2228-25_0_3_line_55 |  | 48 | 50 | 0.0337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2228-25_0_3_line_56 |  | 49 | 68 | 0.06666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2228-25_0_3_line_57 |  | 50 | 69 | 0.036365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2228-25_0_3_line_58 |  | 51 | 52 | 0.024397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2228-25_0_3_line_59 |  | 52 | 53 | 0.002351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2228-25_0_3_line_60 |  | 55 | 68 | 0.04539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2228-25_0_3_line_61 |  | 56 | 57 | 0.078755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2228-25_0_3_line_62 |  | 56 | 58 | 0.081067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2228-25_0_3_line_63 |  | 58 | 59 | 0.059066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2228-25_0_3_line_64 |  | 61 | 62 | 0.024292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2228-25_0_3_line_65 |  | 63 | 67 | 0.016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2228-25_0_3_line_66 |  | 64 | 65 | 0.022199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2228-25_0_3_line_67 |  | 64 | 66 | 0.02932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2228-25_0_3_line_68 |  | 65 | 67 | 0.0080333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2228-25_0_3_line_69 |  | 69 | 70 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2228-25_0_3_line_70 |  | 70 | 71 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-25_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 72 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2576752.9509 | 1182388.9369 | 2576742.7005 | 1182390.5934 | 2576734.3879 | 1182391.0923
1 | 2576752.9509 | 1182388.9369 | 2576776.5848 | 1182385.1176
2 | 2576734.3879 | 1182391.0923 | 2576726.7952 | 1182391.5479
3 | 2576776.5848 | 1182385.1176 | 2576779.9362 | 1182384.576
4 | 2576700.8834 | 1182393.103 | 2576726.7952 | 1182391.5479
5 | 2576779.9362 | 1182384.576 | 2576802.6605 | 1182380.9037
6 | 2576678.0276 | 1182394.4746 | 2576700.8834 | 1182393.103
7 | 2576812.7309 | 1182379.2763 | 2576802.6605 | 1182380.9037
8 | 2576657.7143 | 1182395.6936 | 2576678.0276 | 1182394.4746
9 | 2576812.7309 | 1182379.2763 | 2576813.6121 | 1182379.1339
10 | 2576842.7469 | 1182373.5735 | 2576829.2596 | 1182376.6052 | 2576813.6121 | 1182379.1339
11 | 2576848.4715 | 1182360.8336 | 2576847.2657 | 1182365.3962 | 2576842.7469 | 1182373.5735 | 2576842.7469 | 1182373.5735
12 | 2576657.7143 | 1182395.6936 | 2576652.1908 | 1182396.0251
13 | 2576635.7034 | 1182397.0145 | 2576652.1908 | 1182396.0251
14 | 2576635.7034 | 1182397.0145 | 2576631.1074 | 1182397.1103
15 | 2576635.7034 | 1182397.0145 | 2576635.9335 | 1182403.1168 | 2576637.3407 | 1182442.7208
16 | 2576635.7034 | 1182397.0145 | 2576632.6581 | 1182347.863
17 | 2576631.1074 | 1182397.1103 | 2576616.0833 | 1182397.4417
18 | 2576631.1074 | 1182397.1103 | 2576630.7719 | 1182391.3753 | 2576600.0932 | 1182391.8462
19 | 2576637.3407 | 1182442.7208 | 2576637.3917 | 1182444.0435 | 2576637.7983 | 1182452.3351 | 2576668.1345 | 1182446.9804 | 2576669.8778 | 1182457.4012
20 | 2576637.3407 | 1182442.7208 | 2576660.4577 | 1182441.9388
21 | 2576631.3349 | 1182326.5061 | 2576632.6581 | 1182347.863
22 | 2576571.6346 | 1182398.4219 | 2576571.4273 | 1182392.2861 | 2576600.0932 | 1182391.8462
23 | 2576669.8778 | 1182457.4012 | 2576670.5103 | 1182461.1987
24 | 2576631.3349 | 1182326.5061 | 2576607.8799 | 1182326.4291
25 | 2576631.3349 | 1182326.5061 | 2576657.5192 | 1182325.9937
26 | 2576536.3862 | 1182399.2051 | 2576571.6346 | 1182398.4219
27 | 2576810.0991 | 1182462.0685 | 2576791.3135 | 1182465.7277
28 | 2576810.0991 | 1182462.0685 | 2576812.9358 | 1182461.589
29 | 2576791.3135 | 1182465.7277 | 2576761.1284 | 1182471.6076
30 | 2576820.8578 | 1182460.25 | 2576812.9358 | 1182461.589
31 | 2576710.687 | 1182480.7763 | 2576675.1397 | 1182488.9971
32 | 2576675.1397 | 1182488.9971 | 2576670.5103 | 1182461.1987
33 | 2576710.687 | 1182480.7763 | 2576707.9278 | 1182461.3873
34 | 2576710.687 | 1182480.7763 | 2576735.21 | 1182476.6563 | 2576737.2842 | 1182476.2523
35 | 2576607.8799 | 1182326.4291 | 2576597.3728 | 1182326.3946 | 2576579.6986 | 1182326.5555
36 | 2576657.5192 | 1182325.9937 | 2576680.3168 | 1182325.5476
37 | 2576687.2931 | 1182325.4111 | 2576680.3168 | 1182325.5476
38 | 2576710.0116 | 1182324.9665 | 2576687.2931 | 1182325.4111
39 | 2576710.0116 | 1182324.9665 | 2576711.56 | 1182324.9362 | 2576713.003 | 1182324.9275
40 | 2576713.003 | 1182324.9275 | 2576744.524 | 1182324.7374
41 | 2576661.9219 | 1182256.2721 | 2576661.2641 | 1182267.6806
42 | 2576621.4646 | 1182252.9842 | 2576627.841 | 1182253.2149 | 2576661.9219 | 1182256.2721
43 | 2576661.9219 | 1182256.2721 | 2576691.6281 | 1182259.4244
44 | 2576621.4646 | 1182252.9842 | 2576619.5389 | 1182262.3077 | 2576619.1467 | 1182271.3362 | 2576618.019 | 1182277.7773 | 2576616.3078 | 1182279.5071 | 2576614.0096 | 1182279.5161
45 | 2576556.1242 | 1182251.7842 | 2576577.344 | 1182252.0678 | 2576588.1447 | 1182253.1704 | 2576602.4004 | 1182253.3146 | 2576609.0205 | 1182253.3776 | 2576617.3864 | 1182252.7445 | 2576621.4646 | 1182252.9842
46 | 2576691.6281 | 1182259.4244 | 2576691.3281 | 1182270.598
47 | 2576691.6281 | 1182259.4244 | 2576745.5103 | 1182265.0654
48 | 2576556.1242 | 1182251.7842 | 2576555.7176 | 1182280.4563 | 2576564.4763 | 1182280.7109
49 | 2576771.4292 | 1182324.5752 | 2576744.524 | 1182324.7374
50 | 2576848.4715 | 1182360.8336 | 2576849.636 | 1182356.4268 | 2576849.9003 | 1182346.6216
51 | 2576850.5104 | 1182323.9843 | 2576849.9003 | 1182346.6216
52 | 2576850.5104 | 1182323.9843 | 2576852.5307 | 1182309.192
53 | 2576850.5104 | 1182323.9843 | 2576860.5502 | 1182325.8241 | 2576870.3939 | 1182327.6313
54 | 2576856.9028 | 1182277.1796 | 2576852.5307 | 1182309.192
55 | 2576870.3939 | 1182327.6313 | 2576888.8361 | 1182331.0172 | 2576903.4762 | 1182334.0424
56 | 2576790.653 | 1182269.7996 | 2576824.3313 | 1182273.4373 | 2576856.9028 | 1182277.1796
57 | 2576918.8038 | 1182358.6135 | 2576917.9344 | 1182337.03 | 2576903.4762 | 1182334.0424
58 | 2576773.7802 | 1182324.561 | 2576798.1768 | 1182324.4139
59 | 2576773.7802 | 1182324.561 | 2576771.4292 | 1182324.5752
60 | 2576790.653 | 1182269.7996 | 2576787.2462 | 1182269.4349 | 2576745.5103 | 1182265.0654
61 | 2576536.3862 | 1182399.2051 | 2576537.5793 | 1182436.631 | 2576578.9623 | 1182434.8565
62 | 2576484.4859 | 1182436.9289 | 2576480.0873 | 1182434.7896 | 2576480.5091 | 1182433.3427 | 2576483.1144 | 1182429.9085 | 2576483.0116 | 1182427.0629 | 2576483.9081 | 1182425.9255 | 2576487.228 | 1182421.7213 | 2576503.0274 | 1182408.7079 | 2576505.5946 | 1182405.296 | 2576505.8481 | 1182399.8811 | 2576536.3862 | 1182399.2051
63 | 2576484.4859 | 1182436.9289 | 2576497.5823 | 1182443.2918 | 2576508.9825 | 1182449.3612 | 2576513.3452 | 1182450.1556 | 2576519.6478 | 1182453.0211 | 2576528.5266 | 1182454.7538 | 2576539.7112 | 1182454.532
64 | 2576761.1284 | 1182471.6076 | 2576737.2842 | 1182476.2523
65 | 2576836.9048 | 1182457.5378 | 2576820.8578 | 1182460.25
66 | 2576866.674 | 1182452.2776 | 2576856.078 | 1182454.2971 | 2576844.8257 | 1182456.199
67 | 2576866.674 | 1182452.2776 | 2576895.476 | 1182446.788
68 | 2576844.8257 | 1182456.199 | 2576836.9048 | 1182457.5378
69 | 2576919.5476 | 1182377.0779 | 2576918.8038 | 1182358.6135
70 | 2576919.5476 | 1182377.0779 | 2576900.3879 | 1182378.286

## bus_geodata
| x | y | coords
0 | 2576752.9509 | 1182388.9369
1 | 2576734.3879 | 1182391.0923
2 | 2576776.5848 | 1182385.1176
3 | 2576726.7952 | 1182391.5479
4 | 2576779.9362 | 1182384.576
5 | 2576700.8834 | 1182393.103
6 | 2576802.6605 | 1182380.9037
7 | 2576678.0276 | 1182394.4746
8 | 2576812.7309 | 1182379.2763
9 | 2576813.6121 | 1182379.1339
10 | 2576842.7469 | 1182373.5735
11 | 2576652.1908 | 1182396.0251
12 | 2576657.7143 | 1182395.6936
13 | 2576635.7034 | 1182397.0145
14 | 2576631.1074 | 1182397.1103
15 | 2576637.3407 | 1182442.7208
16 | 2576632.6581 | 1182347.863
17 | 2576616.0833 | 1182397.4417
18 | 2576600.0932 | 1182391.8462
19 | 2576669.8778 | 1182457.4012
20 | 2576660.4577 | 1182441.9388
21 | 2576631.3349 | 1182326.5061
22 | 2576571.6346 | 1182398.4219
23 | 2576810.0991 | 1182462.0685
24 | 2576791.3135 | 1182465.7277
25 | 2576812.9358 | 1182461.589
26 | 2576675.1397 | 1182488.9971
27 | 2576710.687 | 1182480.7763
28 | 2576670.5103 | 1182461.1987
29 | 2576607.8799 | 1182326.4291
30 | 2576657.5192 | 1182325.9937
31 | 2576680.3168 | 1182325.5476
32 | 2576687.2931 | 1182325.4111
33 | 2576710.0116 | 1182324.9665
34 | 2576713.003 | 1182324.9275
35 | 2576579.6986 | 1182326.5555
36 | 2576661.9219 | 1182256.2721
37 | 2576661.2641 | 1182267.6806
38 | 2576621.4646 | 1182252.9842
39 | 2576691.6281 | 1182259.4244
40 | 2576614.0096 | 1182279.5161
41 | 2576556.1242 | 1182251.7842
42 | 2576564.4763 | 1182280.7109
43 | 2576744.524 | 1182324.7374
44 | 2576848.4715 | 1182360.8336
45 | 2576849.9003 | 1182346.6216
46 | 2576850.5104 | 1182323.9843
47 | 2576852.5307 | 1182309.192
48 | 2576870.3939 | 1182327.6313
49 | 2576856.9028 | 1182277.1796
50 | 2576903.4762 | 1182334.0424
51 | 2576798.1768 | 1182324.4139
52 | 2576773.7802 | 1182324.561
53 | 2576771.4292 | 1182324.5752
54 | 2576691.3281 | 1182270.598
55 | 2576745.5103 | 1182265.0654
56 | 2576536.3862 | 1182399.2051
57 | 2576578.9623 | 1182434.8565
58 | 2576484.4859 | 1182436.9289
59 | 2576539.7112 | 1182454.532
60 | 2576707.9278 | 1182461.3873
61 | 2576737.2842 | 1182476.2523
62 | 2576761.1284 | 1182471.6076
63 | 2576820.8578 | 1182460.25
64 | 2576866.674 | 1182452.2776
65 | 2576844.8257 | 1182456.199
66 | 2576895.476 | 1182446.788
67 | 2576836.9048 | 1182457.5378
68 | 2576790.653 | 1182269.7996
69 | 2576918.8038 | 1182358.6135
70 | 2576919.5476 | 1182377.0779
71 | 2576900.3879 | 1182378.286
72 | 2576635.7034 | 1182397.0145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99516 | -0.092142 | 0.0037755 | 0.00094624
1 | 0.99678 | -0.061211 | 0.0072958 | 0.0018285
2 | 0.99317 | -0.13027 | 0.0038643 | 0.00096849
3 | 0.99749 | -0.047694 | 0.0037721 | 0.00094539
4 | 0.9929 | -0.13545 | 0.0029818 | 0.0007473
5 | 1 | 0 | -0.34475 | -0.087849
6 | 0.99113 | -0.16948 | 0.0027678 | 0.00069366
7 | 0.99754 | -0.046643 | 0.0025701 | 0.00064412
8 | 0.99038 | -0.18409 | 0.0039243 | 0.00098351
9 | 0.99031 | -0.18531 | 0.0030886 | 0.00077408
10 | 0.9883 | -0.22425 | 0.0075796 | 0.0018996
11 | 0.9948 | -0.098719 | 0.0036958 | 0.00092627
12 | 0.99537 | -0.087831 | 0.0070384 | 0.001764
13 | 0.99312 | -0.13075 | 0 | 0
14 | 0.99266 | -0.13955 | 0 | 0
15 | 0.99033 | -0.18435 | 0 | 0
16 | 0.99108 | -0.17013 | 0.0064039 | 0.001605
17 | 0.99254 | -0.14193 | 0.0089467 | 0.0022423
18 | 0.98929 | -0.20398 | 0.0063358 | 0.0015879
19 | 0.98762 | -0.23687 | 0 | 0
20 | 0.99016 | -0.18778 | 0.0083246 | 0.0020863
21 | 0.99032 | -0.18486 | 0 | 0
22 | 0.98627 | -0.26199 | 0 | 0
23 | 0.98182 | -0.34967 | 0 | 0
24 | 0.9823 | -0.34025 | 0.0033005 | 0.00082719
25 | 0.98175 | -0.35108 | 0.0047881 | 0.0012
26 | 0.98628 | -0.26284 | 0 | 0
27 | 0.98481 | -0.29131 | 0 | 0
28 | 0.98741 | -0.24085 | 0.014185 | 0.0035551
29 | 0.99017 | -0.18784 | 0.0038914 | 0.00097527
30 | 0.98956 | -0.19958 | 0.0036448 | 0.00091347
31 | 0.98898 | -0.21094 | 0.0058908 | 0.0014764
32 | 0.98884 | -0.21368 | 0.0031244 | 0.00078305
33 | 0.98844 | -0.22136 | 0.0048097 | 0.0012054
34 | 0.9884 | -0.22212 | 0.0034213 | 0.00085745
35 | 0.99009 | -0.18947 | 0.00325 | 0.00081452
36 | 0.98226 | -0.34174 | 0 | 0
37 | 0.98224 | -0.34227 | 0.0025676 | 0.0006435
38 | 0.98197 | -0.34759 | 0 | 0
39 | 0.98255 | -0.33607 | 0 | 0
40 | 0.98191 | -0.34877 | 0.0021846 | 0.00054752
41 | 0.98162 | -0.35441 | 0 | 0
42 | 0.98142 | -0.35833 | 0.0057826 | 0.0014493
43 | 0.98809 | -0.22814 | 0.0023746 | 0.00059514
44 | 0.98744 | -0.24085 | 0.0050159 | 0.0012571
45 | 0.98663 | -0.25654 | 0.004199 | 0.0010524
46 | 0.98545 | -0.27964 | 0 | 0
47 | 0.98519 | -0.28469 | 0.0037166 | 0.00093146
48 | 0.98474 | -0.29344 | 0.0097166 | 0.0024352
49 | 0.98474 | -0.29347 | 0 | 0
50 | 0.98386 | -0.31061 | 0.012653 | 0.0031711
51 | 0.98782 | -0.23343 | 0.0024292 | 0.00060882
52 | 0.98788 | -0.23237 | 0.0027802 | 0.00069679
53 | 0.98789 | -0.23215 | 0.0031298 | 0.00078441
54 | 0.98253 | -0.33644 | 0.0018226 | 0.00045679
55 | 0.98317 | -0.32398 | 0.0027583 | 0.0006913
56 | 0.98323 | -0.32095 | 0 | 0
57 | 0.97681 | -0.44648 | 0.08783 | 0.022012
58 | 0.98282 | -0.32895 | 0 | 0
59 | 0.98252 | -0.33478 | 0.0054676 | 0.0013703
60 | 0.98467 | -0.29408 | 0.00787 | 0.0019724
61 | 0.98392 | -0.30865 | 0.0022136 | 0.00055479
62 | 0.98317 | -0.32332 | 0.0030028 | 0.00075257
63 | 0.98158 | -0.35434 | 0.0045727 | 0.001146
64 | 0.98104 | -0.36491 | 0.0042766 | 0.0010718
65 | 0.98122 | -0.3615 | 0.0045704 | 0.0011454
66 | 0.98093 | -0.36715 | 0.0042129 | 0.0010558
67 | 0.98131 | -0.3596 | 0.0047881 | 0.0012
68 | 0.98381 | -0.31161 | 0 | 0
69 | 0.98333 | -0.32087 | 0.0030358 | 0.00076084
70 | 0.98312 | -0.32508 | 0 | 0
71 | 0.98289 | -0.32943 | 0.012623 | 0.0031637
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.094854 | -0.024073 | 0.094995 | 0.024164 | 0.00014136 | 9.0225e-05 | 0.14194 | 0.14194 | 0.14194 | 0.99516 | -0.092142 | 0.99678 | -0.061211 | 38.9935
1 | 0.091078 | 0.023127 | -0.090911 | -0.023021 | 0.00016676 | 0.00010642 | 0.13629 | 0.13629 | 0.13629 | 0.99516 | -0.092142 | 0.99317 | -0.13027 | 37.4426
2 | -0.10229 | -0.025992 | 0.10236 | 0.026035 | 6.6621e-05 | 4.2538e-05 | 0.15283 | 0.15283 | 0.15283 | 0.99678 | -0.061211 | 0.99749 | -0.047694 | 41.9856
3 | 0.087047 | 0.022052 | -0.087025 | -0.022038 | 2.1681e-05 | 1.3832e-05 | 0.1305 | 0.1305 | 0.1305 | 0.99317 | -0.13027 | 0.9929 | -0.13545 | 35.8521
4 | -0.10613 | -0.02698 | 0.10637 | 0.027136 | 0.00024441 | 0.00015608 | 0.15845 | 0.15845 | 0.15845 | 0.99749 | -0.047694 | 1 | 0 | 43.5315
5 | 0.084043 | 0.021291 | -0.083906 | -0.021204 | 0.00013712 | 8.7457e-05 | 0.12603 | 0.12603 | 0.12603 | 0.9929 | -0.13545 | 0.99113 | -0.16948 | 34.6244
6 | 0.23673 | 0.060713 | -0.2362 | -0.060372 | 0.00053421 | 0.00034129 | 0.35275 | 0.35275 | 0.35275 | 1 | 0 | 0.99754 | -0.046643 | 48.4545
7 | 0.081139 | 0.02051 | -0.081082 | -0.020474 | 5.6823e-05 | 3.6235e-05 | 0.12188 | 0.12188 | 0.12188 | 0.99113 | -0.16948 | 0.99038 | -0.18409 | 33.4829
8 | 0.23363 | 0.059728 | -0.23316 | -0.059431 | 0.00046452 | 0.00029676 | 0.34892 | 0.34892 | 0.34892 | 0.99754 | -0.046643 | 0.99537 | -0.087831 | 47.9279
9 | 0.077157 | 0.01949 | -0.077153 | -0.019487 | 4.5031e-06 | 2.8705e-06 | 0.11598 | 0.11598 | 0.11598 | 0.99038 | -0.18409 | 0.99031 | -0.18531 | 31.8631
10 | 0.074064 | 0.018713 | -0.073926 | -0.018625 | 0.00013795 | 8.7907e-05 | 0.11134 | 0.11134 | 0.11134 | 0.99031 | -0.18531 | 0.9883 | -0.22425 | 30.5881
11 | 0.066347 | 0.016726 | -0.066294 | -0.016692 | 5.2658e-05 | 3.3521e-05 | 0.099929 | 0.099929 | 0.099929 | 0.9883 | -0.22425 | 0.98744 | -0.24085 | 27.453
12 | -0.226 | -0.057591 | 0.22612 | 0.057667 | 0.00011881 | 7.5892e-05 | 0.33839 | 0.33839 | 0.33839 | 0.9948 | -0.098719 | 0.99537 | -0.087831 | 46.4826
13 | 0.22231 | 0.056665 | -0.22197 | -0.056446 | 0.00034314 | 0.00021918 | 0.33287 | 0.33287 | 0.33287 | 0.9948 | -0.098719 | 0.99312 | -0.13075 | 45.7233
14 | 0.11 | 0.02812 | -0.10996 | -0.02809 | 4.681e-05 | 2.9899e-05 | 0.16502 | 0.16502 | 0.16502 | 0.99312 | -0.13075 | 0.99266 | -0.13955 | 45.3345
15 | 0.066645 | 0.016908 | -0.066473 | -0.016799 | 0.0001713 | 0.00010904 | 0.099928 | 0.099928 | 0.099928 | 0.99312 | -0.13075 | 0.99033 | -0.18435 | 27.4528
16 | 0.045316 | 0.011418 | -0.045231 | -0.011365 | 8.5192e-05 | 5.3887e-05 | 0.06792 | 0.067921 | 0.067921 | 0.99312 | -0.13075 | 0.99108 | -0.17013 | 18.6595
17 | 0.0089477 | 0.0022427 | -0.0089467 | -0.0022423 | 1.0138e-06 | 4.5462e-07 | 0.013413 | 0.013413 | 0.013413 | 0.99266 | -0.13955 | 0.99254 | -0.14193 | 3.6849
18 | 0.10101 | 0.025847 | -0.1007 | -0.025646 | 0.00031397 | 0.00020047 | 0.1516 | 0.1516 | 0.1516 | 0.99266 | -0.13955 | 0.98929 | -0.20398 | 41.6497
19 | 0.058147 | 0.014712 | -0.058001 | -0.014619 | 0.00014614 | 9.2876e-05 | 0.087418 | 0.087418 | 0.087418 | 0.99033 | -0.18435 | 0.98762 | -0.23687 | 24.016
20 | 0.0083259 | 0.0020869 | -0.0083246 | -0.0020863 | 1.3575e-06 | 5.7124e-07 | 0.01251 | 0.01251 | 0.01251 | 0.99033 | -0.18435 | 0.99016 | -0.18778 | 3.4369
21 | 0.038827 | 0.0097595 | -0.0388 | -0.0097424 | 2.7279e-05 | 1.7183e-05 | 0.058306 | 0.058306 | 0.058306 | 0.99108 | -0.17013 | 0.99032 | -0.18486 | 16.0181
22 | 0.09436 | 0.024059 | -0.094096 | -0.02389 | 0.00026348 | 0.00016818 | 0.14208 | 0.14208 | 0.14208 | 0.98929 | -0.20398 | 0.98627 | -0.26199 | 39.0317
23 | 0.058001 | 0.014619 | -0.05799 | -0.014612 | 1.1032e-05 | 7.0115e-06 | 0.087418 | 0.087418 | 0.087418 | 0.98762 | -0.23687 | 0.98741 | -0.24085 | 24.016
24 | 0.0071426 | 0.0017899 | -0.0071416 | -0.0017896 | 1.0131e-06 | 3.4663e-07 | 0.010732 | 0.010732 | 0.010732 | 0.99032 | -0.18486 | 0.99017 | -0.18784 | 2.9484
25 | 0.031657 | 0.0079524 | -0.031635 | -0.0079385 | 2.2227e-05 | 1.3889e-05 | 0.047574 | 0.047574 | 0.047574 | 0.99032 | -0.18486 | 0.98956 | -0.19958 | 13.0697
26 | 0.094096 | 0.02389 | -0.09383 | -0.023721 | 0.00026611 | 0.00016986 | 0.14208 | 0.14208 | 0.14208 | 0.98627 | -0.26199 | 0.98323 | -0.32095 | 39.0317
27 | -0.027222 | -0.0068263 | 0.027234 | 0.0068339 | 1.2217e-05 | 7.5765e-06 | 0.041258 | 0.041258 | 0.041258 | 0.98182 | -0.34967 | 0.9823 | -0.34025 | 11.3345
28 | 0.027222 | 0.0068263 | -0.02722 | -0.0068251 | 1.8364e-06 | 1.1389e-06 | 0.041258 | 0.041258 | 0.041258 | 0.98182 | -0.34967 | 0.98175 | -0.35108 | 11.3345
29 | -0.030534 | -0.0076611 | 0.030559 | 0.0076765 | 2.4676e-05 | 1.5403e-05 | 0.046257 | 0.046257 | 0.046257 | 0.9823 | -0.34025 | 0.98317 | -0.32332 | 12.7081
30 | 0.022432 | 0.0056251 | -0.022428 | -0.005623 | 3.483e-06 | 2.1275e-06 | 0.034 | 0.034 | 0.034 | 0.98175 | -0.35108 | 0.98158 | -0.35434 | 9.3408
31 | 0.043759 | 0.011028 | -0.0437 | -0.01099 | 5.9511e-05 | 3.7623e-05 | 0.066042 | 0.066042 | 0.066042 | 0.98628 | -0.26284 | 0.98481 | -0.29131 | 18.1435
32 | -0.043759 | -0.011028 | 0.043805 | 0.011057 | 4.6093e-05 | 2.9139e-05 | 0.066042 | 0.066042 | 0.066042 | 0.98628 | -0.26284 | 0.98741 | -0.24085 | 18.1434
33 | 0.0078711 | 0.0019728 | -0.00787 | -0.0019724 | 1.0388e-06 | 4.1566e-07 | 0.011893 | 0.011893 | 0.011893 | 0.98481 | -0.29131 | 0.98467 | -0.29408 | 3.2673
34 | 0.035829 | 0.0090172 | -0.035799 | -0.0089986 | 2.9666e-05 | 1.8643e-05 | 0.054149 | 0.054149 | 0.054149 | 0.98481 | -0.29131 | 0.98392 | -0.30865 | 14.8762
35 | 0.0032502 | 0.00081432 | -0.00325 | -0.00081452 | 2.5213e-07 | -2.011e-07 | 0.0048843 | 0.0048844 | 0.0048844 | 0.99017 | -0.18784 | 0.99009 | -0.18947 | 1.3419
36 | 0.02799 | 0.0070251 | -0.027975 | -0.0070157 | 1.515e-05 | 9.4035e-06 | 0.042093 | 0.042093 | 0.042093 | 0.98956 | -0.19958 | 0.98898 | -0.21094 | 11.564
37 | 0.022084 | 0.0055393 | -0.022082 | -0.0055375 | 2.8893e-06 | 1.7596e-06 | 0.03323 | 0.03323 | 0.03323 | 0.98898 | -0.21094 | 0.98884 | -0.21368 | 9.1291
38 | 0.018957 | 0.0047545 | -0.01895 | -0.0047503 | 6.9349e-06 | 4.147e-06 | 0.028528 | 0.028528 | 0.028528 | 0.98884 | -0.21368 | 0.98844 | -0.22136 | 7.8374
39 | 0.014141 | 0.0035449 | -0.01414 | -0.0035446 | 5.084e-07 | 2.8703e-07 | 0.021288 | 0.021288 | 0.021288 | 0.98844 | -0.22136 | 0.9884 | -0.22212 | 5.8483
40 | 0.010719 | 0.0026872 | -0.010716 | -0.0026856 | 3.0782e-06 | 1.5662e-06 | 0.016137 | 0.016137 | 0.016137 | 0.9884 | -0.22212 | 0.98809 | -0.22814 | 4.4333
41 | 0.0025676 | 0.00064339 | -0.0025676 | -0.0006435 | 6.4849e-08 | -1.0317e-07 | 0.0038896 | 0.0038897 | 0.0038897 | 0.98226 | -0.34174 | 0.98224 | -0.34227 | 1.0686
42 | 0.0079725 | 0.001998 | -0.0079703 | -0.0019971 | 2.2207e-06 | 9.0752e-07 | 0.012077 | 0.012078 | 0.012078 | 0.98226 | -0.34174 | 0.98197 | -0.34759 | 3.318
43 | -0.01054 | -0.0026414 | 0.010543 | 0.0026428 | 2.8478e-06 | 1.4454e-06 | 0.015967 | 0.015967 | 0.015967 | 0.98226 | -0.34174 | 0.98255 | -0.33607 | 4.3866
44 | 0.0021848 | 0.00054722 | -0.0021846 | -0.00054752 | 1.2257e-07 | -2.9879e-07 | 0.0033106 | 0.0033107 | 0.0033107 | 0.98197 | -0.34759 | 0.98191 | -0.34877 | 0.90953
45 | 0.0057855 | 0.0014498 | -0.0057837 | -0.0014495 | 1.8805e-06 | 3.7849e-07 | 0.008767 | 0.0087673 | 0.0087673 | 0.98197 | -0.34759 | 0.98162 | -0.35441 | 2.4086
46 | 0.0018227 | 0.00045667 | -0.0018226 | -0.00045679 | 3.1943e-08 | -1.2115e-07 | 0.0027602 | 0.0027603 | 0.0027603 | 0.98255 | -0.33607 | 0.98253 | -0.33644 | 0.75832
47 | -0.012366 | -0.0030995 | 0.012373 | 0.0031034 | 7.125e-06 | 3.8734e-06 | 0.018727 | 0.018727 | 0.018727 | 0.98255 | -0.33607 | 0.98317 | -0.32398 | 5.1448
48 | 0.0057837 | 0.0014495 | -0.0057826 | -0.0014493 | 1.0786e-06 | 2.1738e-07 | 0.0087673 | 0.0087675 | 0.0087675 | 0.98162 | -0.35441 | 0.98142 | -0.35833 | 2.4087
49 | 0.0083411 | 0.0020905 | -0.0083395 | -0.0020898 | 1.592e-06 | 6.7432e-07 | 0.012561 | 0.012561 | 0.012561 | 0.98809 | -0.22814 | 0.98789 | -0.23215 | 3.4509
50 | 0.061278 | 0.015435 | -0.061232 | -0.015406 | 4.5968e-05 | 2.9236e-05 | 0.09237 | 0.09237 | 0.09237 | 0.98744 | -0.24085 | 0.98663 | -0.25654 | 25.3764
51 | 0.057033 | 0.014353 | -0.05697 | -0.014314 | 6.2862e-05 | 3.9943e-05 | 0.086037 | 0.086037 | 0.086037 | 0.98663 | -0.25654 | 0.98545 | -0.27964 | 23.6367
52 | 0.018881 | 0.0047452 | -0.018876 | -0.0047425 | 4.5521e-06 | 2.7232e-06 | 0.028514 | 0.028514 | 0.028514 | 0.98545 | -0.27964 | 0.98519 | -0.28469 | 7.8336
53 | 0.03809 | 0.0095683 | -0.038065 | -0.0095525 | 2.5084e-05 | 1.5796e-05 | 0.057523 | 0.057523 | 0.057523 | 0.98545 | -0.27964 | 0.98474 | -0.29344 | 15.8031
54 | 0.01516 | 0.003811 | -0.015153 | -0.0038073 | 6.3544e-06 | 3.6556e-06 | 0.022901 | 0.022901 | 0.022901 | 0.98519 | -0.28469 | 0.98474 | -0.29347 | 6.2915
55 | 0.028348 | 0.0071174 | -0.028325 | -0.0071029 | 2.3194e-05 | 1.4416e-05 | 0.042841 | 0.042841 | 0.042841 | 0.98474 | -0.29344 | 0.98386 | -0.31061 | 11.7695
56 | 0.015153 | 0.0038073 | -0.01514 | -0.0037998 | 1.311e-05 | 7.5434e-06 | 0.022901 | 0.022901 | 0.022901 | 0.98474 | -0.29347 | 0.98381 | -0.31161 | 6.2916
57 | 0.015672 | 0.0039318 | -0.015664 | -0.0039273 | 7.6623e-06 | 4.4423e-06 | 0.023704 | 0.023704 | 0.023704 | 0.98386 | -0.31061 | 0.98333 | -0.32087 | 6.5121
58 | -0.0024292 | -0.00060882 | 0.0024294 | 0.00060859 | 1.225e-07 | -2.3394e-07 | 0.0036593 | 0.0036592 | 0.0036593 | 0.98782 | -0.23343 | 0.98788 | -0.23237 | 1.0053
59 | -0.0052096 | -0.0013054 | 0.0052096 | 0.0013054 | 5.4286e-08 | 4.6425e-09 | 0.007847 | 0.007847 | 0.007847 | 0.98788 | -0.23237 | 0.98789 | -0.23215 | 2.1558
60 | -0.015131 | -0.0037947 | 0.01514 | 0.0037998 | 8.9273e-06 | 5.1375e-06 | 0.022902 | 0.022901 | 0.022902 | 0.98317 | -0.32398 | 0.98381 | -0.31161 | 6.2917
61 | 0.088359 | 0.02235 | -0.08783 | -0.022012 | 0.00052868 | 0.00033736 | 0.1338 | 0.1338 | 0.1338 | 0.98323 | -0.32095 | 0.97681 | -0.44648 | 36.7571
62 | 0.0054712 | 0.0013708 | -0.0054692 | -0.0013705 | 2.0843e-06 | 3.0621e-07 | 0.00828 | 0.0082804 | 0.0082804 | 0.98323 | -0.32095 | 0.98282 | -0.32895 | 2.2748
63 | 0.0054692 | 0.0013705 | -0.0054676 | -0.0013703 | 1.5188e-06 | 2.2372e-07 | 0.0082804 | 0.0082807 | 0.0082807 | 0.98282 | -0.32895 | 0.98252 | -0.33478 | 2.2749
64 | 0.033585 | 0.0084438 | -0.033562 | -0.008429 | 2.351e-05 | 1.4738e-05 | 0.050802 | 0.050802 | 0.050802 | 0.98392 | -0.30865 | 0.98317 | -0.32332 | 13.9566
65 | 0.017855 | 0.004477 | -0.017851 | -0.0044743 | 4.4716e-06 | 2.6562e-06 | 0.027068 | 0.027069 | 0.027069 | 0.98158 | -0.35434 | 0.98131 | -0.3596 | 7.4364
66 | -0.0084899 | -0.0021276 | 0.0084913 | 0.0021282 | 1.3804e-06 | 6.0309e-07 | 0.012877 | 0.012877 | 0.012877 | 0.98104 | -0.36491 | 0.98122 | -0.3615 | 3.5377
67 | 0.0042133 | 0.0010558 | -0.0042129 | -0.0010558 | 4.4904e-07 | -8.2788e-08 | 0.0063905 | 0.0063907 | 0.0063907 | 0.98104 | -0.36491 | 0.98093 | -0.36715 | 1.7557
68 | -0.013062 | -0.0032736 | 0.013063 | 0.0032743 | 1.182e-06 | 6.5499e-07 | 0.019808 | 0.019808 | 0.019808 | 0.98122 | -0.3615 | 0.98131 | -0.3596 | 5.4418
69 | 0.012628 | 0.0031665 | -0.012626 | -0.0031651 | 2.5308e-06 | 1.3853e-06 | 0.01911 | 0.01911 | 0.01911 | 0.98333 | -0.32087 | 0.98312 | -0.32508 | 5.2501
70 | 0.012626 | 0.0031651 | -0.012623 | -0.0031637 | 2.6216e-06 | 1.4351e-06 | 0.01911 | 0.019111 | 0.019111 | 0.98312 | -0.32508 | 0.98289 | -0.32943 | 5.2501

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.347 | 0.088411

## res_load
| p_mw | q_mvar
0 | 0.0037755 | 0.00094624
1 | 0.0072958 | 0.0018285
2 | 0.0038643 | 0.00096849
3 | 0.0037721 | 0.00094539
4 | 0.0029818 | 0.0007473
5 | 0.0022423 | 0.00056198
6 | 0.0027678 | 0.00069366
7 | 0.0025701 | 0.00064412
8 | 0.0039243 | 0.00098351
9 | 0.0030886 | 0.00077408
10 | 0.0075796 | 0.0018996
11 | 0.0036958 | 0.00092627
12 | 0.0070384 | 0.001764
13 | 0.0064039 | 0.001605
14 | 0.0089467 | 0.0022423
15 | 0.0063358 | 0.0015879
16 | 0.0083246 | 0.0020863
17 | 0.0033005 | 0.00082719
18 | 0.0047881 | 0.0012
19 | 0.014185 | 0.0035551
20 | 0.0038914 | 0.00097527
21 | 0.0036448 | 0.00091347
22 | 0.0058908 | 0.0014764
23 | 0.0031244 | 0.00078305
24 | 0.0048097 | 0.0012054
25 | 0.0034213 | 0.00085745
26 | 0.00325 | 0.00081452
27 | 0.0025676 | 0.0006435
28 | 0.0021846 | 0.00054752
29 | 0.0057826 | 0.0014493
30 | 0.0023746 | 0.00059514
31 | 0.0050159 | 0.0012571
32 | 0.004199 | 0.0010524
33 | 0.0037166 | 0.00093146
34 | 0.0097166 | 0.0024352
35 | 0.012653 | 0.0031711
36 | 0.0024292 | 0.00060882
37 | 0.0027802 | 0.00069679
38 | 0.0031298 | 0.00078441
39 | 0.0018226 | 0.00045679
40 | 0.0027583 | 0.0006913
41 | 0.08783 | 0.022012
42 | 0.0054676 | 0.0013703
43 | 0.00787 | 0.0019724
44 | 0.0022136 | 0.00055479
45 | 0.0030028 | 0.00075257
46 | 0.0045727 | 0.001146
47 | 0.0042766 | 0.0010718
48 | 0.0045704 | 0.0011454
49 | 0.0042129 | 0.0010558
50 | 0.0047881 | 0.0012
51 | 0.0030358 | 0.00076084
52 | 0.012623 | 0.0031637

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1