## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-27_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-27_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2228-27_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2228-27_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2228-27_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2228-27_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2228-27_0_5_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_2228-27_0_5_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_2228-27_0_5_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_2228-27_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2228-27_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_2228-27_0_5_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_2228-27_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2228-27_0_5_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_2228-27_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2228-27_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_2228-27_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2228-27_0_5_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_2228-27_0_5_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_2228-27_0_5_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_2228-27_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2228-27_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2228-27_0_5_node_88 | 0.4 | n |  | TRUE
23 | bus_LV_2228-27_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2228-27_0_5_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_2228-27_0_5_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_2228-27_0_5_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_2228-27_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2228-27_0_5_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_2228-27_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2228-27_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2228-27_0_5_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_2228-27_0_5_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_2228-27_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2228-27_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2228-27_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2228-27_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2228-27_0_5_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2228-27_0_5_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_2228-27_0_5_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_2228-27_0_5_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_2228-27_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_2228-27_0_5_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_2228-27_0_5_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_2228-27_0_5_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_2228-27_0_5_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_2228-27_0_5_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_2228-27_0_5_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_2228-27_0_5_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_2228-27_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_2228-27_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_2228-27_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_2228-27_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2228-27_0_5_node_20 | 0.4 | n |  | TRUE
54 | bus_LV_2228-27_0_5_node_21 | 0.4 | n |  | TRUE
55 | bus_LV_2228-27_0_5_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_2228-27_0_5_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_2228-27_0_5_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_2228-27_0_5_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_2228-27_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_2228-27_0_5_node_25 | 0.4 | n |  | TRUE
61 | bus_LV_2228-27_0_5_node_26 | 0.4 | n |  | TRUE
62 | bus_LV_2228-27_0_5_node_27 | 0.4 | n |  | TRUE
63 | bus_LV_2228-27_0_5_node_28 | 0.4 | n |  | TRUE
64 | bus_LV_2228-27_0_5_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_2228-27_0_5_node_30 | 0.4 | n |  | TRUE
66 | bus_LV_2228-27_0_5_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_2228-27_0_5_node_32 | 0.4 | n |  | TRUE
68 | bus_LV_2228-27_0_5_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_2228-27_0_5_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_2228-27_0_5_node_34 | 0.4 | n |  | TRUE
71 | bus_LV_2228-27_0_5_node_35 | 0.4 | n |  | TRUE
72 | bus_LV_2228-27_0_5_node_37 | 0.4 | n |  | TRUE
73 | bus_LV_2228-27_0_5_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_2228-27_0_5_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_2228-27_0_5_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_2228-27_0_5_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_2228-27_0_5_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_2228-27_0_5_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_2228-27_0_5_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_2228-27_0_5_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_2228-27_0_5_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_2228-27_0_5_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_2228-27_0_5_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_2228-27_0_5_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_2228-27_0_5_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_2228-27_0_5_node_82 | 0.4 | n |  | TRUE
87 | bus_MV_376_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-27_0_5_load_0 | 0 | 0.014106 | 0.0035353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-27_0_5_load_1 | 1 | 0.0018286 | 0.00045829 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-27_0_5_load_70 | 6 | 0.0080108 | 0.0020077 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-27_0_5_load_24 | 7 | 0.0047163 | 0.001182 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-27_0_5_load_61 | 8 | 0.062982 | 0.015785 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-27_0_5_load_80 | 11 | 0.0083892 | 0.0021025 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-27_0_5_load_55 | 13 | 0.0033884 | 0.0008492 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-27_0_5_load_74 | 15 | 0.0025433 | 0.00063742 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-27_0_5_load_71 | 17 | 0.0025431 | 0.00063735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-27_0_5_load_68 | 19 | 0.01276 | 0.003198 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-27_0_5_load_88 | 22 | 0.01766 | 0.0044259 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-27_0_5_load_56 | 24 | 0.0035719 | 0.00089521 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-27_0_5_load_87 | 25 | 0.0042715 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-27_0_5_load_86 | 28 | 0.002615 | 0.00065538 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-27_0_5_load_79 | 32 | 0.022318 | 0.0055933 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-27_0_5_load_31 | 35 | 0.0072826 | 0.0018252 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-27_0_5_load_38 | 36 | 0.0021266 | 0.00053298 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-27_0_5_load_43 | 37 | 0.025555 | 0.0064046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-27_0_5_load_63 | 38 | 0.0033673 | 0.00084393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-27_0_5_load_76 | 39 | 0.0064987 | 0.0016287 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2228-27_0_5_load_85 | 40 | 0.0080108 | 0.0020077 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2228-27_0_5_load_22 | 41 | 0.013489 | 0.0033807 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2228-27_0_5_load_81 | 43 | 0.00093724 | 0.00023489 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2228-27_0_5_load_67 | 44 | 0.010679 | 0.0026764 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2228-27_0_5_load_78 | 45 | 0.0045357 | 0.0011367 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2228-27_0_5_load_84 | 46 | 0.0045373 | 0.0011371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2228-27_0_5_load_77 | 47 | 0.010117 | 0.0025355 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2228-27_0_5_load_72 | 48 | 0.0025422 | 0.00063713 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2228-27_0_5_load_49 | 49 | 0.0029587 | 0.00074152 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2228-27_0_5_load_42 | 50 | 0.025374 | 0.0063593 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2228-27_0_5_load_36 | 51 | 0.015328 | 0.0038415 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2228-27_0_5_load_44 | 52 | 0.00097415 | 0.00024414 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2228-27_0_5_load_20 | 53 | 0.0049575 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2228-27_0_5_load_21 | 54 | 0.0044889 | 0.001125 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2228-27_0_5_load_75 | 57 | 0.0044901 | 0.0011253 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2228-27_0_5_load_64 | 58 | 0.036578 | 0.0091674 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2228-27_0_5_load_73 | 59 | 0.0044885 | 0.0011249 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2228-27_0_5_load_25 | 60 | 0.0022013 | 0.00055169 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2228-27_0_5_load_26 | 61 | 0.0023513 | 0.0005893 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2228-27_0_5_load_27 | 62 | 0.0022651 | 0.00056768 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2228-27_0_5_load_32 | 67 | 0.0028026 | 0.00070239 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2228-27_0_5_load_41 | 68 | 0.011 | 0.0027568 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2228-27_0_5_load_40 | 69 | 0.012329 | 0.00309 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2228-27_0_5_load_34 | 70 | 0.0027888 | 0.00069894 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2228-27_0_5_load_35 | 71 | 0.002952 | 0.00073983 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2228-27_0_5_load_37 | 72 | 0.0063595 | 0.0015938 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2228-27_0_5_load_45 | 73 | 0.002432 | 0.00060952 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2228-27_0_5_load_47 | 75 | 0.002153 | 0.00053958 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2228-27_0_5_load_48 | 76 | 0.0023617 | 0.0005919 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2228-27_0_5_load_51 | 77 | 0.0022241 | 0.00055742 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2228-27_0_5_load_52 | 78 | 0.0032237 | 0.00080793 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2228-27_0_5_load_53 | 79 | 0.0034202 | 0.00085719 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2228-27_0_5_load_54 | 80 | 0.002459 | 0.0006163 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2228-27_0_5_load_58 | 82 | 0.0040228 | 0.0010082 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2228-27_0_5_load_59 | 83 | 0.0065218 | 0.0016345 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2228-27_0_5_load_60 | 84 | 0.0076913 | 0.0019276 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2228-27_0_5_load_82 | 86 | 0.00095606 | 0.00023961 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-27_0_5_line_0 |  | 0 | 1 | 0.046781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_2228-27_0_5_line_1 |  | 0 | 2 | 0.028513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_2228-27_0_5_line_2 |  | 1 | 3 | 0.0028568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_2228-27_0_5_line_3 |  | 2 | 4 | 0.001428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2228-27_0_5_line_4 |  | 3 | 5 | 0.035202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2228-27_0_5_line_5 |  | 4 | 6 | 0.025079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2228-27_0_5_line_6 |  | 4 | 7 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2228-27_0_5_line_7 |  | 5 | 8 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2228-27_0_5_line_8 |  | 6 | 40 | 0.015973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2228-27_0_5_line_9 |  | 7 | 41 | 0.0056782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2228-27_0_5_line_10 |  | 9 | 10 | 0.035943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_2228-27_0_5_line_11 |  | 9 | 11 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_2228-27_0_5_line_12 |  | 10 | 12 | 0.076682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_2228-27_0_5_line_13 |  | 11 | 18 | 0.011321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_2228-27_0_5_line_14 |  | 12 | 13 | 0.023442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_2228-27_0_5_line_15 |  | 13 | 23 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_2228-27_0_5_line_16 |  | 14 | 15 | 0.014784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2228-27_0_5_line_17 |  | 14 | 16 | 0.00272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_2228-27_0_5_line_18 |  | 14 | 17 | 0.02969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2228-27_0_5_line_19 |  | 15 | 47 | 0.0057683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2228-27_0_5_line_20 |  | 16 | 18 | 0.003021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_2228-27_0_5_line_21 |  | 16 | 19 | 0.033054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2228-27_0_5_line_22 |  | 17 | 48 | 0.018288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_2228-27_0_5_line_23 |  | 19 | 31 | 0.023072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2228-27_0_5_line_24 |  | 20 | 21 | 0.058331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2228-27_0_5_line_25 |  | 20 | 22 | 0.001759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2228-27_0_5_line_26 |  | 21 | 25 | 0.026708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2228-27_0_5_line_27 |  | 21 | 26 | 0.024267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_2228-27_0_5_line_28 |  | 21 | 23 | 0.040319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_2228-27_0_5_line_29 |  | 23 | 24 | 0.005851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-27_0_5_line_30 |  | 26 | 49 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2228-27_0_5_line_31 |  | 26 | 27 | 0.017125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2228-27_0_5_line_32 |  | 27 | 28 | 0.004101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2228-27_0_5_line_33 |  | 27 | 29 | 0.032683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2228-27_0_5_line_34 |  | 29 | 34 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_2228-27_0_5_line_35 |  | 29 | 37 | 0.023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2228-27_0_5_line_36 |  | 30 | 31 | 0.043158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2228-27_0_5_line_37 |  | 30 | 32 | 0.0062403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2228-27_0_5_line_38 |  | 33 | 34 | 0.004513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_2228-27_0_5_line_39 |  | 33 | 35 | 0.022088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2228-27_0_5_line_40 |  | 33 | 36 | 0.014251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_2228-27_0_5_line_41 |  | 34 | 50 | 0.009201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2228-27_0_5_line_42 |  | 36 | 51 | 0.0021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_2228-27_0_5_line_43 |  | 37 | 52 | 0.00074335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2228-27_0_5_line_44 |  | 38 | 39 | 0.046989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2228-27_0_5_line_45 |  | 39 | 55 | 0.037995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2228-27_0_5_line_46 |  | 40 | 46 | 0.015562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2228-27_0_5_line_47 |  | 41 | 53 | 0.028489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2228-27_0_5_line_48 |  | 42 | 43 | 0.052472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2228-27_0_5_line_49 |  | 42 | 44 | 0.024857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2228-27_0_5_line_50 |  | 43 | 85 | 0.012699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2228-27_0_5_line_51 |  | 44 | 56 | 0.035471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2228-27_0_5_line_52 |  | 45 | 46 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2228-27_0_5_line_53 |  | 48 | 59 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_2228-27_0_5_line_54 |  | 50 | 68 | 0.022503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2228-27_0_5_line_55 |  | 51 | 72 | 0.028112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2228-27_0_5_line_56 |  | 52 | 73 | 0.030202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2228-27_0_5_line_57 |  | 53 | 54 | 0.0071081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2228-27_0_5_line_58 |  | 54 | 55 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_2228-27_0_5_line_59 |  | 55 | 56 | 0.003748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2228-27_0_5_line_60 |  | 55 | 57 | 0.02862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_2228-27_0_5_line_61 |  | 56 | 58 | 0.022081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2228-27_0_5_line_62 |  | 57 | 59 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_2228-27_0_5_line_63 |  | 60 | 61 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2228-27_0_5_line_64 |  | 61 | 62 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2228-27_0_5_line_65 |  | 62 | 63 | 0.032086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2228-27_0_5_line_66 |  | 63 | 64 | 0.006703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2228-27_0_5_line_67 |  | 63 | 65 | 0.004794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2228-27_0_5_line_68 |  | 64 | 66 | 0.007378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2228-27_0_5_line_69 |  | 64 | 67 | 0.021468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2228-27_0_5_line_70 |  | 65 | 68 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2228-27_0_5_line_71 |  | 65 | 69 | 0.028375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2228-27_0_5_line_72 |  | 66 | 70 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2228-27_0_5_line_73 |  | 70 | 71 | 0.00044453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2228-27_0_5_line_74 |  | 73 | 74 | 0.050794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2228-27_0_5_line_75 |  | 74 | 75 | 0.0073407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2228-27_0_5_line_76 |  | 74 | 76 | 0.023615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2228-27_0_5_line_77 |  | 75 | 77 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2228-27_0_5_line_78 |  | 76 | 78 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2228-27_0_5_line_79 |  | 78 | 79 | 0.05806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2228-27_0_5_line_80 |  | 79 | 80 | 0.013043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2228-27_0_5_line_81 |  | 80 | 81 | 0.03281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2228-27_0_5_line_82 |  | 81 | 82 | 0.046284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2228-27_0_5_line_83 |  | 82 | 83 | 0.022396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2228-27_0_5_line_84 |  | 83 | 84 | 0.021265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2228-27_0_5_line_85 |  | 85 | 86 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-27_0_5_trafo_37 | 0.63 MVA 20/0.4 kV | 87 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2577273.7508 | 1182418.2099 | 2577320.0929 | 1182411.8181
1 | 2577245.5051 | 1182422.1057 | 2577273.7508 | 1182418.2099
2 | 2577322.9229 | 1182411.4278 | 2577320.0929 | 1182411.8181
3 | 2577245.5051 | 1182422.1057 | 2577244.6456 | 1182420.9639
4 | 2577322.9229 | 1182411.4278 | 2577323.5547 | 1182414.9272 | 2577332.6478 | 1182418.8614 | 2577338.7868 | 1182422.9847 | 2577344.8712 | 1182430.8212 | 2577346.7189 | 1182434.8385
5 | 2577244.6456 | 1182420.9639 | 2577233.0728 | 1182413.482 | 2577222.2395 | 1182410.274
6 | 2577244.6456 | 1182420.9639 | 2577248.1289 | 1182409.9525
7 | 2577346.7189 | 1182434.8385 | 2577352.1049 | 1182425.6355 | 2577358.8513 | 1182416.2672
8 | 2577206.9237 | 1182405.7388 | 2577222.2395 | 1182410.274
9 | 2577248.1289 | 1182409.9525 | 2577249.8415 | 1182404.5387
10 | 2577144.3176 | 1182270.8247 | 2577134.3204 | 1182304.0358 | 2577135.5282 | 1182304.4091
11 | 2577135.5282 | 1182304.4091 | 2577156.043 | 1182310.8394
12 | 2577142.0418 | 1182210.9023 | 2577140.1243 | 1182216.6126 | 2577159.3194 | 1182222.5311 | 2577147.2423 | 1182260.9639 | 2577144.3176 | 1182270.8247
13 | 2577159.059 | 1182318.0817 | 2577161.1066 | 1182312.4265 | 2577156.043 | 1182310.8394
14 | 2577142.0418 | 1182210.9023 | 2577161.7172 | 1182216.6188 | 2577164.5427 | 1182217.4774
15 | 2577181.7681 | 1182222.712 | 2577164.5427 | 1182217.4774
16 | 2577157.2398 | 1182323.5249 | 2577152.9607 | 1182337.6757
17 | 2577158.0239 | 1182320.9205 | 2577157.2398 | 1182323.5249
18 | 2577157.2398 | 1182323.5249 | 2577185.6291 | 1182332.2177
19 | 2577152.9607 | 1182337.6757 | 2577151.2911 | 1182343.1971
20 | 2577158.0239 | 1182320.9205 | 2577159.059 | 1182318.0817
21 | 2577158.0239 | 1182320.9205 | 2577167.2542 | 1182322.7306 | 2577189.9078 | 1182329.5145
22 | 2577185.6291 | 1182332.2177 | 2577203.1152 | 1182337.572
23 | 2577212.0098 | 1182336.1332 | 2577189.9078 | 1182329.5145
24 | 2577183.7653 | 1182253.8094 | 2577198.381 | 1182258.2225 | 2577199.8699 | 1182258.228 | 2577200.9521 | 1182257.6902 | 2577201.5901 | 1182256.8318 | 2577202.2262 | 1182255.4397 | 2577205.2721 | 1182245.2784 | 2577207.7139 | 1182236.9092 | 2577209.6811 | 1182230.1759 | 2577220.635 | 1182233.4247
25 | 2577182.0684 | 1182253.3268 | 2577183.7653 | 1182253.8094
26 | 2577227.0413 | 1182207.4979 | 2577220.635 | 1182233.4247
27 | 2577220.635 | 1182233.4247 | 2577244.0474 | 1182240.05
28 | 2577181.7681 | 1182222.712 | 2577209.6811 | 1182230.1759 | 2577220.635 | 1182233.4247
29 | 2577181.7681 | 1182222.712 | 2577183.3577 | 1182217.0808
30 | 2577244.0474 | 1182240.05 | 2577252.7708 | 1182218.2153
31 | 2577244.0474 | 1182240.05 | 2577260.6104 | 1182244.5781
32 | 2577260.6104 | 1182244.5781 | 2577261.8248 | 1182240.6603
33 | 2577260.6104 | 1182244.5781 | 2577283.4351 | 1182251.2725 | 2577290.6509 | 1182253.3906 | 2577291.9657 | 1182253.7969
34 | 2577291.9657 | 1182253.7969 | 2577307.7371 | 1182258.9507
35 | 2577291.9657 | 1182253.7969 | 2577284.8358 | 1182240.1391 | 2577280.3824 | 1182233.4929
36 | 2577212.0098 | 1182336.1332 | 2577215.4056 | 1182325.637 | 2577217.5989 | 1182318.1581 | 2577222.3024 | 1182302.2096 | 2577223.2145 | 1182299.1268 | 2577224.4808 | 1182294.8197
37 | 2577224.4808 | 1182294.8197 | 2577218.5025 | 1182293.0303
38 | 2577307.7371 | 1182258.9507 | 2577306.3561 | 1182263.2471
39 | 2577306.3561 | 1182263.2471 | 2577321.4149 | 1182267.7589 | 2577327.4095 | 1182269.9077
40 | 2577306.3561 | 1182263.2471 | 2577302.5677 | 1182276.985
41 | 2577307.7371 | 1182258.9507 | 2577316.483 | 1182261.8083
42 | 2577302.5677 | 1182276.985 | 2577301.9928 | 1182279.0694
43 | 2577280.3824 | 1182233.4929 | 2577279.9686 | 1182232.8754
44 | 2577346.4148 | 1182380.999 | 2577301.416 | 1182367.47
45 | 2577265.0303 | 1182356.5306 | 2577301.416 | 1182367.47
46 | 2577192.0025 | 1182401.3203 | 2577206.9237 | 1182405.7388
47 | 2577258.4338 | 1182377.3761 | 2577249.8415 | 1182404.5387
48 | 2577323.852 | 1182370.6031 | 2577327.8314 | 1182358.9374 | 2577366.3829 | 1182370.1418
49 | 2577323.852 | 1182370.6031 | 2577300.0818 | 1182363.3326
50 | 2577378.5775 | 1182373.686 | 2577366.3829 | 1182370.1418
51 | 2577266.1619 | 1182352.9577 | 2577300.0818 | 1182363.3326
52 | 2577176.9872 | 1182396.8741 | 2577192.0025 | 1182401.3203
53 | 2577219.9619 | 1182342.7305 | 2577203.1152 | 1182337.572
54 | 2577337.8729 | 1182268.7969 | 2577316.483 | 1182261.8083
55 | 2577301.9928 | 1182279.0694 | 2577294.5195 | 1182306.1695
56 | 2577279.9686 | 1182232.8754 | 2577272.4572 | 1182221.6655 | 2577261.773 | 1182208.8201
57 | 2577258.4338 | 1182377.3761 | 2577260.5776 | 1182370.599
58 | 2577265.0303 | 1182356.5306 | 2577263.2121 | 1182362.2849 | 2577261.5598 | 1182367.4939 | 2577260.5776 | 1182370.599
59 | 2577265.0303 | 1182356.5306 | 2577266.1619 | 1182352.9577
60 | 2577265.0303 | 1182356.5306 | 2577237.6648 | 1182348.1512
61 | 2577266.1619 | 1182352.9577 | 2577245.075 | 1182346.4063
62 | 2577219.9619 | 1182342.7305 | 2577237.6648 | 1182348.1512
63 | 2577417.0306 | 1182335.7438 | 2577415.3333 | 1182333.3481 | 2577404.4007 | 1182319.6742
64 | 2577404.4007 | 1182319.6742 | 2577400.0208 | 1182314.196 | 2577383.2207 | 1182300.4241
65 | 2577356.4345 | 1182282.9005 | 2577375.9254 | 1182294.4437 | 2577383.2207 | 1182300.4241
66 | 2577356.4345 | 1182282.9005 | 2577354.2061 | 1182289.2233
67 | 2577357.3481 | 1182278.1946 | 2577356.4345 | 1182282.9005
68 | 2577354.2061 | 1182289.2233 | 2577347.3921 | 1182286.3477
69 | 2577354.2061 | 1182289.2233 | 2577347.0712 | 1182309.4707
70 | 2577357.3481 | 1182278.1946 | 2577337.8729 | 1182268.7969 | 2577337.8729 | 1182268.7969
71 | 2577357.3481 | 1182278.1946 | 2577374.9773 | 1182290.0784 | 2577380.6893 | 1182294.3204
72 | 2577347.3921 | 1182286.3477 | 2577340.8041 | 1182306.5172
73 | 2577340.6661 | 1182306.9398 | 2577340.8041 | 1182306.5172
74 | 2577232.105 | 1182167.8246 | 2577233.8138 | 1182171.4311 | 2577242.2889 | 1182185.3949 | 2577261.773 | 1182208.8201
75 | 2577232.105 | 1182167.8246 | 2577239.3401 | 1182169.0654
76 | 2577232.105 | 1182167.8246 | 2577227.4942 | 1182158.1038 | 2577224.4229 | 1182145.6202
77 | 2577239.3401 | 1182169.0654 | 2577258.6032 | 1182172.369
78 | 2577224.4229 | 1182145.6202 | 2577225.6766 | 1182133.9871 | 2577227.0161 | 1182131.0069
79 | 2577227.0161 | 1182131.0069 | 2577229.5909 | 1182125.2788 | 2577232.7179 | 1182120.3532 | 2577234.8323 | 1182118.1885 | 2577237.8034 | 1182118.4217 | 2577254.0416 | 1182127.7535 | 2577255.0486 | 1182127.5385 | 2577260.5159 | 1182117.5903 | 2577260.8005 | 1182116.1329 | 2577260.0632 | 1182113.0007 | 2577257.269 | 1182109.9643
80 | 2577257.269 | 1182109.9643 | 2577254.5888 | 1182107.0518 | 2577252.5538 | 1182102.0125 | 2577252.8532 | 1182098.3746
81 | 2577259.0696 | 1182066.6582 | 2577257.7633 | 1182070.4985 | 2577258.033 | 1182075.1443 | 2577256.9224 | 1182082.2523 | 2577253.6119 | 1182089.1574 | 2577252.8532 | 1182098.3746
82 | 2577259.0696 | 1182066.6582 | 2577294.9011 | 1182095.9546
83 | 2577294.9011 | 1182095.9546 | 2577312.2394 | 1182110.1307
84 | 2577312.2394 | 1182110.1307 | 2577326.5487 | 1182121.8302 | 2577328.1024 | 1182124.1379
85 | 2577378.5775 | 1182373.686 | 2577397.4271 | 1182379.1659

## bus_geodata
| x | y | coords
0 | 2577273.7507 | 1182418.2099
1 | 2577320.0929 | 1182411.8182
2 | 2577245.5051 | 1182422.1057
3 | 2577322.9229 | 1182411.4278
4 | 2577244.6456 | 1182420.9639
5 | 2577346.7189 | 1182434.8385
6 | 2577222.2395 | 1182410.274
7 | 2577248.1289 | 1182409.9525
8 | 2577358.8513 | 1182416.2672
9 | 2577135.5282 | 1182304.4091
10 | 2577144.3176 | 1182270.8247
11 | 2577156.043 | 1182310.8394
12 | 2577142.0418 | 1182210.9023
13 | 2577164.5427 | 1182217.4774
14 | 2577157.2398 | 1182323.5249
15 | 2577152.9607 | 1182337.6757
16 | 2577158.0239 | 1182320.9205
17 | 2577185.6291 | 1182332.2177
18 | 2577159.059 | 1182318.0817
19 | 2577189.9078 | 1182329.5145
20 | 2577183.7653 | 1182253.8094
21 | 2577220.635 | 1182233.4247
22 | 2577182.0684 | 1182253.3268
23 | 2577181.7681 | 1182222.712
24 | 2577183.3577 | 1182217.0808
25 | 2577227.0413 | 1182207.4979
26 | 2577244.0474 | 1182240.05
27 | 2577260.6104 | 1182244.5781
28 | 2577261.8248 | 1182240.6603
29 | 2577291.9657 | 1182253.7969
30 | 2577224.4808 | 1182294.8197
31 | 2577212.0098 | 1182336.1332
32 | 2577218.5025 | 1182293.0303
33 | 2577306.3561 | 1182263.2471
34 | 2577307.7371 | 1182258.9507
35 | 2577327.4095 | 1182269.9077
36 | 2577302.5676 | 1182276.985
37 | 2577280.3824 | 1182233.4929
38 | 2577346.4148 | 1182380.999
39 | 2577301.416 | 1182367.47
40 | 2577206.9237 | 1182405.7388
41 | 2577249.8414 | 1182404.5387
42 | 2577323.852 | 1182370.6031
43 | 2577366.3829 | 1182370.1418
44 | 2577300.0818 | 1182363.3326
45 | 2577176.9872 | 1182396.8741
46 | 2577192.0025 | 1182401.3203
47 | 2577151.2911 | 1182343.1971
48 | 2577203.1152 | 1182337.572
49 | 2577252.7708 | 1182218.2153
50 | 2577316.483 | 1182261.8083
51 | 2577301.9928 | 1182279.0694
52 | 2577279.9686 | 1182232.8754
53 | 2577258.4338 | 1182377.3762
54 | 2577260.5776 | 1182370.599
55 | 2577265.0303 | 1182356.5306
56 | 2577266.1619 | 1182352.9577
57 | 2577237.6648 | 1182348.1512
58 | 2577245.075 | 1182346.4063
59 | 2577219.9619 | 1182342.7305
60 | 2577417.0306 | 1182335.7438
61 | 2577404.4007 | 1182319.6742
62 | 2577383.2207 | 1182300.4241
63 | 2577356.4345 | 1182282.9005
64 | 2577354.2061 | 1182289.2233
65 | 2577357.3481 | 1182278.1946
66 | 2577347.3921 | 1182286.3477
67 | 2577347.0712 | 1182309.4707
68 | 2577337.8729 | 1182268.7969
69 | 2577380.6893 | 1182294.3204
70 | 2577340.8041 | 1182306.5172
71 | 2577340.6661 | 1182306.9398
72 | 2577294.5195 | 1182306.1695
73 | 2577261.773 | 1182208.8201
74 | 2577232.105 | 1182167.8246
75 | 2577239.3401 | 1182169.0654
76 | 2577224.4229 | 1182145.6202
77 | 2577258.6032 | 1182172.369
78 | 2577227.0161 | 1182131.0069
79 | 2577257.269 | 1182109.9643
80 | 2577252.8532 | 1182098.3746
81 | 2577259.0696 | 1182066.6582
82 | 2577294.9011 | 1182095.9546
83 | 2577312.2394 | 1182110.1307
84 | 2577328.1024 | 1182124.1379
85 | 2577378.5775 | 1182373.686
86 | 2577397.4271 | 1182379.1659
87 | 2577300.6256 | 1182310.36

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97341 | -0.51191 | 0.014106 | 0.0035353
1 | 0.97284 | -0.52307 | 0.0018286 | 0.00045829
2 | 0.97383 | -0.50364 | 0 | 0
3 | 0.9728 | -0.52374 | 0 | 0
4 | 0.97385 | -0.50322 | 0 | 0
5 | 0.97177 | -0.54418 | 0 | 0
6 | 0.97326 | -0.5148 | 0.0080108 | 0.0020077
7 | 0.97407 | -0.49881 | 0.0047163 | 0.001182
8 | 0.97046 | -0.57003 | 0.062982 | 0.015785
9 | 0.98137 | -0.35608 | 0 | 0
10 | 0.98311 | -0.32219 | 0 | 0
11 | 0.98032 | -0.3764 | 0.0083892 | 0.0021025
12 | 0.98684 | -0.25029 | 0 | 0
13 | 0.98798 | -0.22842 | 0.0033884 | 0.0008492
14 | 0.97954 | -0.3917 | 0 | 0
15 | 0.97936 | -0.3951 | 0.0025433 | 0.00063742
16 | 0.97965 | -0.38955 | 0 | 0
17 | 0.9784 | -0.41381 | 0.0025431 | 0.00063735
18 | 0.97979 | -0.38678 | 0 | 0
19 | 0.97857 | -0.41063 | 0.01276 | 0.003198
20 | 0.98993 | -0.19131 | 0 | 0
21 | 0.99088 | -0.17301 | 0 | 0
22 | 0.9899 | -0.19187 | 0.01766 | 0.0044259
23 | 0.98886 | -0.21144 | 0 | 0
24 | 0.98885 | -0.21181 | 0.0035719 | 0.00089521
25 | 0.99077 | -0.17503 | 0.0042715 | 0.0010705
26 | 0.99219 | -0.14807 | 0 | 0
27 | 0.99312 | -0.13033 | 0 | 0
28 | 0.99311 | -0.13052 | 0.002615 | 0.00065538
29 | 0.99491 | -0.096262 | 0 | 0
30 | 0.9772 | -0.43757 | 0 | 0
31 | 0.97809 | -0.42001 | 0 | 0
32 | 0.97707 | -0.44012 | 0.022318 | 0.0055933
33 | 0.99637 | -0.068694 | 0 | 0
34 | 0.99602 | -0.075392 | 0 | 0
35 | 0.99622 | -0.071518 | 0.0072826 | 0.0018252
36 | 0.9975 | -0.047208 | 0.0021266 | 0.00053298
37 | 0.99356 | -0.12228 | 0.025555 | 0.0064046
38 | 0.97487 | -0.48309 | 0.0033673 | 0.00084393
39 | 0.97502 | -0.48019 | 0.0064987 | 0.0016287
40 | 0.97301 | -0.51982 | 0.0080108 | 0.0020077
41 | 0.97419 | -0.49654 | 0.013489 | 0.0033807
42 | 0.97474 | -0.48574 | 0 | 0
43 | 0.97464 | -0.48756 | 0.00093724 | 0.00023489
44 | 0.97478 | -0.48487 | 0.010679 | 0.0026764
45 | 0.97281 | -0.52373 | 0.0045357 | 0.0011367
46 | 0.97287 | -0.52242 | 0.0045373 | 0.0011371
47 | 0.97931 | -0.39616 | 0.010117 | 0.0025355
48 | 0.97771 | -0.42729 | 0.0025422 | 0.00063713
49 | 0.99212 | -0.1493 | 0.0029587 | 0.00074152
50 | 0.99548 | -0.085755 | 0.025374 | 0.0063593
51 | 0.99767 | -0.043937 | 0.015328 | 0.0038415
52 | 0.99354 | -0.12278 | 0.00097415 | 0.00024414
53 | 0.97484 | -0.48376 | 0.0049575 | 0.0012425
54 | 0.975 | -0.48044 | 0.0044889 | 0.001125
55 | 0.97537 | -0.47332 | 0 | 0
56 | 0.9752 | -0.47669 | 0 | 0
57 | 0.97638 | -0.45334 | 0.0044901 | 0.0011253
58 | 0.97444 | -0.49151 | 0.036578 | 0.0091674
59 | 0.97706 | -0.44013 | 0.0044885 | 0.0011249
60 | 0.99371 | -0.1199 | 0.0022013 | 0.00055169
61 | 0.99375 | -0.11911 | 0.0023513 | 0.0005893
62 | 0.99387 | -0.1168 | 0.0022651 | 0.00056768
63 | 0.99407 | -0.11294 | 0 | 0
64 | 0.99402 | -0.11395 | 0 | 0
65 | 0.99414 | -0.11164 | 0 | 0
66 | 0.99398 | -0.1147 | 0 | 0
67 | 0.99396 | -0.11501 | 0.0028026 | 0.00070239
68 | 0.99468 | -0.10108 | 0.011 | 0.0027568
69 | 0.99382 | -0.11781 | 0.012329 | 0.00309
70 | 0.99387 | -0.11685 | 0.0027888 | 0.00069894
71 | 0.99387 | -0.11687 | 0.002952 | 0.00073983
72 | 1 | 0 | -0.45636 | -0.11684
73 | 0.99253 | -0.14227 | 0.002432 | 0.00060952
74 | 0.99094 | -0.17295 | 0 | 0
75 | 0.99091 | -0.17352 | 0.002153 | 0.00053958
76 | 0.99029 | -0.18541 | 0.0023617 | 0.0005919
77 | 0.99087 | -0.1743 | 0.0022241 | 0.00055742
78 | 0.98992 | -0.19269 | 0.0032237 | 0.00080793
79 | 0.98863 | -0.21763 | 0.0034202 | 0.00085719
80 | 0.98838 | -0.22245 | 0.002459 | 0.0006163
81 | 0.98783 | -0.23313 | 0 | 0
82 | 0.98706 | -0.24822 | 0.0040228 | 0.0010082
83 | 0.98677 | -0.25392 | 0.0065218 | 0.0016345
84 | 0.98662 | -0.25685 | 0.0076913 | 0.0019276
85 | 0.97463 | -0.48778 | 0 | 0
86 | 0.97462 | -0.48813 | 0.00095606 | 0.00023961
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.064986 | 0.016351 | -0.064952 | -0.016332 | 3.4642e-05 | 1.9265e-05 | 0.099366 | 0.099367 | 0.099367 | 0.97341 | -0.51191 | 0.97284 | -0.52307 | 5.4597
1 | -0.079092 | -0.019887 | 0.079124 | 0.019905 | 3.1273e-05 | 1.8242e-05 | 0.12093 | 0.12093 | 0.12093 | 0.97341 | -0.51191 | 0.97383 | -0.50364 | 6.6445
2 | 0.063123 | 0.015874 | -0.063121 | -0.015873 | 1.9982e-06 | 1.1015e-06 | 0.09657 | 0.09657 | 0.09657 | 0.97284 | -0.52307 | 0.9728 | -0.52374 | 5.306
3 | -0.079124 | -0.019905 | 0.079125 | 0.019906 | 1.5662e-06 | 9.1354e-07 | 0.12093 | 0.12093 | 0.12093 | 0.97383 | -0.50364 | 0.97385 | -0.50322 | 6.6444
4 | 0.063121 | 0.015873 | -0.06306 | -0.015834 | 6.1554e-05 | 3.8521e-05 | 0.09657 | 0.09657 | 0.09657 | 0.9728 | -0.52374 | 0.97177 | -0.54418 | 13.2652
5 | 0.025114 | 0.0063008 | -0.0251 | -0.0062922 | 1.385e-05 | 8.5524e-06 | 0.038376 | 0.038376 | 0.038376 | 0.97385 | -0.50322 | 0.97326 | -0.5148 | 10.5428
6 | -0.10424 | -0.026207 | 0.10426 | 0.02622 | 2.1982e-05 | 1.335e-05 | 0.1593 | 0.1593 | 0.1593 | 0.97385 | -0.50322 | 0.97407 | -0.49881 | 8.753
7 | 0.06306 | 0.015834 | -0.062982 | -0.015785 | 7.7665e-05 | 4.9431e-05 | 0.09657 | 0.096571 | 0.096571 | 0.97177 | -0.54418 | 0.97046 | -0.57003 | 26.5304
8 | 0.017089 | 0.0042845 | -0.017085 | -0.0042821 | 4.0893e-06 | 2.4187e-06 | 0.026128 | 0.026128 | 0.026128 | 0.97326 | -0.5148 | 0.97301 | -0.51982 | 7.1781
9 | -0.10898 | -0.027402 | 0.10899 | 0.027409 | 1.1807e-05 | 7.2032e-06 | 0.16651 | 0.16651 | 0.16651 | 0.97407 | -0.49881 | 0.97419 | -0.49654 | 9.1488
10 | -0.2626 | -0.066463 | 0.26303 | 0.066734 | 0.00042789 | 0.00027157 | 0.39841 | 0.39841 | 0.39841 | 0.98137 | -0.35608 | 0.98311 | -0.32219 | 21.8905
11 | 0.2626 | 0.066463 | -0.26235 | -0.0663 | 0.00025594 | 0.00016244 | 0.39841 | 0.39841 | 0.39841 | 0.98137 | -0.35608 | 0.98032 | -0.3764 | 21.8906
12 | -0.26303 | -0.066734 | 0.26394 | 0.067314 | 0.00091286 | 0.00057935 | 0.39841 | 0.39841 | 0.39841 | 0.98311 | -0.32219 | 0.98684 | -0.25029 | 21.8905
13 | 0.25396 | 0.064198 | -0.25383 | -0.064118 | 0.0001263 | 8.0116e-05 | 0.38567 | 0.38567 | 0.38567 | 0.98032 | -0.3764 | 0.97979 | -0.38678 | 21.1909
14 | -0.26394 | -0.067314 | 0.26422 | 0.067491 | 0.00027907 | 0.0001771 | 0.39841 | 0.3984 | 0.39841 | 0.98684 | -0.25029 | 0.98798 | -0.22842 | 21.8904
15 | -0.26761 | -0.06834 | 0.26783 | 0.068479 | 0.00021984 | 0.00013955 | 0.40351 | 0.40351 | 0.40351 | 0.98798 | -0.22842 | 0.98886 | -0.21144 | 22.1708
16 | 0.012663 | 0.0031743 | -0.012661 | -0.0031732 | 2.0515e-06 | 1.1269e-06 | 0.019236 | 0.019236 | 0.019236 | 0.97954 | -0.3917 | 0.97936 | -0.3951 | 5.2848
17 | -0.21863 | -0.055249 | 0.21865 | 0.055263 | 2.2524e-05 | 1.4244e-05 | 0.33228 | 0.33228 | 0.33228 | 0.97954 | -0.3917 | 0.97965 | -0.38955 | 18.2574
18 | 0.20597 | 0.052075 | -0.20575 | -0.051937 | 0.00021822 | 0.0001378 | 0.31305 | 0.31305 | 0.31305 | 0.97954 | -0.3917 | 0.9784 | -0.41381 | 17.2005
19 | 0.010117 | 0.0025358 | -0.010117 | -0.0025355 | 5.1116e-07 | 2.5456e-07 | 0.015372 | 0.015372 | 0.015372 | 0.97936 | -0.3951 | 0.97931 | -0.39616 | 4.2231
20 | -0.2538 | -0.064096 | 0.25383 | 0.064118 | 3.3702e-05 | 2.1379e-05 | 0.38567 | 0.38567 | 0.38567 | 0.97965 | -0.38955 | 0.97979 | -0.38678 | 21.1909
21 | 0.035144 | 0.0088327 | -0.035109 | -0.0088105 | 3.5333e-05 | 2.2198e-05 | 0.053391 | 0.053391 | 0.053391 | 0.97965 | -0.38955 | 0.97857 | -0.41063 | 14.6679
22 | 0.20321 | 0.0513 | -0.20307 | -0.051217 | 0.00013111 | 8.2764e-05 | 0.30918 | 0.30918 | 0.30918 | 0.9784 | -0.41381 | 0.97771 | -0.42729 | 16.988
23 | 0.022349 | 0.0056125 | -0.022339 | -0.0056064 | 9.9945e-06 | 6.1068e-06 | 0.033988 | 0.033988 | 0.033988 | 0.97857 | -0.41063 | 0.97809 | -0.42001 | 9.3373
24 | -0.01766 | -0.0044262 | 0.017675 | 0.0044353 | 1.5414e-05 | 9.1143e-06 | 0.026546 | 0.026545 | 0.026546 | 0.98993 | -0.19131 | 0.99088 | -0.17301 | 7.2928
25 | 0.01766 | 0.0044262 | -0.01766 | -0.0044259 | 4.6482e-07 | 2.7487e-07 | 0.026546 | 0.026546 | 0.026546 | 0.98993 | -0.19131 | 0.9899 | -0.19187 | 7.2928
26 | 0.0042719 | 0.0010705 | -0.0042715 | -0.0010705 | 4.1218e-07 | -8.0192e-08 | 0.0064151 | 0.0064152 | 0.0064152 | 0.99088 | -0.17301 | 0.99077 | -0.17503 | 1.7624
27 | -0.29385 | -0.075201 | 0.29421 | 0.075427 | 0.00035531 | 0.00022584 | 0.44184 | 0.44184 | 0.44184 | 0.99088 | -0.17301 | 0.99219 | -0.14807 | 24.277
28 | 0.27191 | 0.069696 | -0.2714 | -0.069375 | 0.00050556 | 0.00032096 | 0.40888 | 0.40888 | 0.40888 | 0.99088 | -0.17301 | 0.98886 | -0.21144 | 22.4661
29 | 0.003572 | 0.00089518 | -0.0035719 | -0.00089521 | 6.3391e-08 | -3.4489e-08 | 0.005375 | 0.0053751 | 0.0053751 | 0.98886 | -0.21144 | 0.98885 | -0.21181 | 1.4767
30 | 0.0029589 | 0.00074133 | -0.0029587 | -0.00074152 | 1.7363e-07 | -1.9253e-07 | 0.0044374 | 0.0044376 | 0.0044376 | 0.99219 | -0.14807 | 0.99212 | -0.1493 | 1.2191
31 | -0.29717 | -0.076168 | 0.29742 | 0.076331 | 0.0002558 | 0.00016261 | 0.44628 | 0.44628 | 0.44628 | 0.99219 | -0.14807 | 0.99312 | -0.13033 | 24.5208
32 | 0.002615 | 0.00065534 | -0.002615 | -0.00065538 | 2.3609e-08 | -3.7954e-08 | 0.0039181 | 0.0039181 | 0.0039181 | 0.99312 | -0.13033 | 0.99311 | -0.13052 | 1.0764
33 | -0.30004 | -0.076986 | 0.30054 | 0.077302 | 0.0004968 | 0.00031583 | 0.4502 | 0.4502 | 0.4502 | 0.99312 | -0.13033 | 0.99491 | -0.096262 | 24.7361
34 | -0.36383 | -0.093258 | 0.3642 | 0.093493 | 0.00036851 | 0.00023477 | 0.54489 | 0.54489 | 0.54489 | 0.99491 | -0.096262 | 0.99602 | -0.075392 | 29.9388
35 | 0.063291 | 0.015956 | -0.063212 | -0.015906 | 7.8706e-05 | 5.0068e-05 | 0.094692 | 0.094692 | 0.094692 | 0.99491 | -0.096262 | 0.99356 | -0.12228 | 26.0143
36 | -0.02232 | -0.0055949 | 0.022339 | 0.0056064 | 1.8696e-05 | 1.1424e-05 | 0.033988 | 0.033988 | 0.033988 | 0.9772 | -0.43757 | 0.97809 | -0.42001 | 9.3374
37 | 0.02232 | 0.0055949 | -0.022318 | -0.0055933 | 2.7033e-06 | 1.6519e-06 | 0.033988 | 0.033988 | 0.033988 | 0.9772 | -0.43757 | 0.97707 | -0.44012 | 9.3374
38 | 0.42848 | 0.10969 | -0.42834 | -0.1096 | 0.00013895 | 8.8637e-05 | 0.64073 | 0.64073 | 0.64073 | 0.99637 | -0.068694 | 0.99602 | -0.075392 | 35.2048
39 | 0.0072835 | 0.0018255 | -0.0072826 | -0.0018252 | 9.8007e-07 | 3.3961e-07 | 0.010878 | 0.010878 | 0.010878 | 0.99637 | -0.068694 | 0.99622 | -0.071518 | 2.9884
40 | -0.43576 | -0.11151 | 0.43622 | 0.1118 | 0.0004538 | 0.0002895 | 0.6516 | 0.6516 | 0.6516 | 0.99637 | -0.068694 | 0.9975 | -0.047208 | 35.8024
41 | 0.064146 | 0.016105 | -0.064114 | -0.016085 | 3.1694e-05 | 2.0164e-05 | 0.095842 | 0.095842 | 0.095842 | 0.99602 | -0.075392 | 0.99548 | -0.085755 | 26.3302
42 | -0.43834 | -0.11233 | 0.43841 | 0.11238 | 6.9527e-05 | 4.4356e-05 | 0.65478 | 0.65478 | 0.65478 | 0.9975 | -0.047208 | 0.99767 | -0.043937 | 35.9767
43 | 0.037657 | 0.009501 | -0.037657 | -0.0095005 | 8.8735e-07 | 5.5828e-07 | 0.05642 | 0.05642 | 0.05642 | 0.99356 | -0.12228 | 0.99354 | -0.12278 | 15.5001
44 | -0.0033673 | -0.00084393 | 0.0033678 | 0.00084364 | 4.6547e-07 | -2.8805e-07 | 0.0051398 | 0.0051395 | 0.0051398 | 0.97487 | -0.48309 | 0.97502 | -0.48019 | 1.412
45 | -0.0098664 | -0.0024724 | 0.0098697 | 0.002474 | 3.2304e-06 | 1.5934e-06 | 0.015057 | 0.015057 | 0.015057 | 0.97502 | -0.48019 | 0.97537 | -0.47332 | 4.1367
46 | 0.0090743 | 0.0022744 | -0.0090732 | -0.0022739 | 1.1239e-06 | 5.2601e-07 | 0.013877 | 0.013878 | 0.013878 | 0.97301 | -0.51982 | 0.97287 | -0.52242 | 3.8125
47 | -0.12248 | -0.03079 | 0.12255 | 0.030836 | 7.4808e-05 | 4.6102e-05 | 0.18711 | 0.18711 | 0.18711 | 0.97419 | -0.49654 | 0.97484 | -0.48376 | 10.2809
48 | 0.0018935 | 0.00047357 | -0.0018933 | -0.00047412 | 1.6438e-07 | -5.4879e-07 | 0.0028902 | 0.0028904 | 0.0028904 | 0.97474 | -0.48574 | 0.97464 | -0.48756 | 0.79408
49 | -0.0018935 | -0.00047357 | 0.0018936 | 0.00047331 | 7.7862e-08 | -2.6002e-07 | 0.0028902 | 0.0028901 | 0.0028902 | 0.97474 | -0.48574 | 0.97478 | -0.48487 | 0.79401
50 | 0.00095609 | 0.00023923 | -0.00095608 | -0.00023938 | 1.0145e-08 | -1.5177e-07 | 0.0014595 | 0.0014596 | 0.0014596 | 0.97464 | -0.48756 | 0.97463 | -0.48778 | 0.40099
51 | -0.012572 | -0.0031497 | 0.012577 | 0.0031524 | 4.8992e-06 | 2.6931e-06 | 0.019192 | 0.019191 | 0.019192 | 0.97478 | -0.48487 | 0.9752 | -0.47669 | 5.2724
52 | -0.0045357 | -0.0011367 | 0.004536 | 0.0011367 | 2.8265e-07 | -1.3538e-08 | 0.0069378 | 0.0069377 | 0.0069378 | 0.97281 | -0.52373 | 0.97287 | -0.52242 | 1.906
53 | 0.20053 | 0.05058 | -0.20041 | -0.050502 | 0.00012318 | 7.7728e-05 | 0.30531 | 0.30531 | 0.30531 | 0.97771 | -0.42729 | 0.97706 | -0.44013 | 16.7754
54 | 0.03874 | 0.0097259 | -0.038712 | -0.009708 | 2.8303e-05 | 1.7821e-05 | 0.057914 | 0.057914 | 0.057914 | 0.99548 | -0.085755 | 0.99468 | -0.10108 | 15.9104
55 | -0.45374 | -0.11622 | 0.45471 | 0.11684 | 0.00096815 | 0.00061778 | 0.67764 | 0.67764 | 0.67764 | 0.99767 | -0.043937 | 1 | 0 | 37.2328
56 | 0.036682 | 0.0092563 | -0.036648 | -0.0092348 | 3.4212e-05 | 2.1505e-05 | 0.054961 | 0.054961 | 0.054961 | 0.99354 | -0.12278 | 0.99253 | -0.14227 | 15.0993
57 | -0.12751 | -0.032078 | 0.12753 | 0.032091 | 2.0205e-05 | 1.2488e-05 | 0.19468 | 0.19468 | 0.19468 | 0.97484 | -0.48376 | 0.975 | -0.48044 | 10.6967
58 | -0.13202 | -0.033216 | 0.13206 | 0.033244 | 4.4949e-05 | 2.7847e-05 | 0.20153 | 0.20153 | 0.20153 | 0.975 | -0.48044 | 0.97537 | -0.47332 | 11.0731
59 | 0.049189 | 0.012341 | -0.049181 | -0.012336 | 7.916e-06 | 5.0195e-06 | 0.075048 | 0.075048 | 0.075048 | 0.97537 | -0.47332 | 0.9752 | -0.47669 | 20.6175
60 | -0.19112 | -0.048059 | 0.19131 | 0.048174 | 0.00018256 | 0.00011505 | 0.29163 | 0.29163 | 0.29163 | 0.97537 | -0.47332 | 0.97638 | -0.45334 | 16.0239
61 | 0.036604 | 0.0091836 | -0.036578 | -0.0091674 | 2.5834e-05 | 1.6259e-05 | 0.055856 | 0.055856 | 0.055856 | 0.9752 | -0.47669 | 0.97444 | -0.49151 | 15.3452
62 | -0.1958 | -0.049299 | 0.19592 | 0.049377 | 0.00012371 | 7.8013e-05 | 0.29848 | 0.29848 | 0.29848 | 0.97638 | -0.45334 | 0.97706 | -0.44013 | 16.3998
63 | -0.0022013 | -0.00055169 | 0.0022014 | 0.00055148 | 8.3293e-08 | -2.1154e-07 | 0.0032963 | 0.0032962 | 0.0032963 | 0.99371 | -0.1199 | 0.99375 | -0.11911 | 0.90557
64 | -0.0045527 | -0.0011408 | 0.0045532 | 0.0011407 | 5.0079e-07 | -5.1856e-08 | 0.006817 | 0.0068169 | 0.006817 | 0.99375 | -0.11911 | 0.99387 | -0.1168 | 1.8728
65 | -0.0068183 | -0.0017084 | 0.0068195 | 0.0017088 | 1.2538e-06 | 3.8655e-07 | 0.010208 | 0.010208 | 0.010208 | 0.99387 | -0.1168 | 0.99407 | -0.11294 | 2.8044
66 | 0.0085447 | 0.0021413 | -0.0085443 | -0.0021411 | 4.1122e-07 | 1.7629e-07 | 0.01279 | 0.01279 | 0.01279 | 0.99407 | -0.11294 | 0.99402 | -0.11395 | 3.5139
67 | -0.015364 | -0.0038501 | 0.015365 | 0.0038506 | 9.5088e-07 | 5.4641e-07 | 0.022998 | 0.022998 | 0.022998 | 0.99407 | -0.11294 | 0.99414 | -0.11164 | 6.3182
68 | 0.0057416 | 0.0014389 | -0.0057414 | -0.0014389 | 2.0439e-07 | 3.5174e-08 | 0.008595 | 0.008595 | 0.008595 | 0.99402 | -0.11395 | 0.99398 | -0.1147 | 2.3613
69 | 0.0028027 | 0.0007022 | -0.0028026 | -0.00070239 | 1.4171e-07 | -1.8757e-07 | 0.0041955 | 0.0041956 | 0.0041956 | 0.99402 | -0.11395 | 0.99396 | -0.11501 | 1.1526
70 | -0.027698 | -0.0069426 | 0.027712 | 0.0069512 | 1.3938e-05 | 8.6397e-06 | 0.041459 | 0.041458 | 0.041459 | 0.99414 | -0.11164 | 0.99468 | -0.10108 | 11.3897
71 | 0.012333 | 0.003092 | -0.012329 | -0.00309 | 3.6262e-06 | 1.953e-06 | 0.01846 | 0.01846 | 0.01846 | 0.99414 | -0.11164 | 0.99382 | -0.11781 | 5.0715
72 | 0.0057414 | 0.0014389 | -0.0057408 | -0.0014388 | 5.8781e-07 | 1.012e-07 | 0.008595 | 0.0085951 | 0.0085951 | 0.99398 | -0.1147 | 0.99387 | -0.11685 | 2.3613
73 | 0.002952 | 0.00073983 | -0.002952 | -0.00073983 | 3.2563e-09 | -3.6767e-09 | 0.0044197 | 0.0044197 | 0.0044197 | 0.99387 | -0.11685 | 0.99387 | -0.11687 | 1.2142
74 | 0.034216 | 0.0086253 | -0.034166 | -0.0085939 | 5.0158e-05 | 3.1446e-05 | 0.051315 | 0.051315 | 0.051315 | 0.99253 | -0.14227 | 0.99094 | -0.17295 | 14.0977
75 | 0.0043773 | 0.0010968 | -0.0043772 | -0.0010968 | 1.1893e-07 | -1.845e-08 | 0.0065729 | 0.006573 | 0.006573 | 0.99094 | -0.17295 | 0.99091 | -0.17352 | 1.8058
76 | 0.029789 | 0.0074971 | -0.029771 | -0.0074861 | 1.7728e-05 | 1.1042e-05 | 0.044743 | 0.044743 | 0.044743 | 0.99094 | -0.17295 | 0.99029 | -0.18541 | 12.2919
77 | 0.0022242 | 0.00055722 | -0.0022241 | -0.00055742 | 8.176e-08 | -1.9943e-07 | 0.0033399 | 0.00334 | 0.00334 | 0.99091 | -0.17352 | 0.99087 | -0.1743 | 0.91759
78 | 0.027409 | 0.0068941 | -0.0274 | -0.0068882 | 9.5248e-06 | 5.9034e-06 | 0.041194 | 0.041194 | 0.041194 | 0.99029 | -0.18541 | 0.98992 | -0.19269 | 11.317
79 | 0.024176 | 0.0060803 | -0.024147 | -0.0060627 | 2.8766e-05 | 1.7665e-05 | 0.036348 | 0.036349 | 0.036349 | 0.98992 | -0.19269 | 0.98863 | -0.21763 | 9.9859
80 | 0.020727 | 0.0052055 | -0.020722 | -0.0052026 | 4.7614e-06 | 2.8801e-06 | 0.031201 | 0.031201 | 0.031201 | 0.98863 | -0.21763 | 0.98838 | -0.22245 | 8.5716
81 | 0.018263 | 0.0045863 | -0.018254 | -0.0045808 | 9.3039e-06 | 5.5342e-06 | 0.027499 | 0.027499 | 0.027499 | 0.98838 | -0.22245 | 0.98783 | -0.23313 | 7.5546
82 | 0.018254 | 0.0045808 | -0.018241 | -0.0045729 | 1.3125e-05 | 7.8077e-06 | 0.027499 | 0.027499 | 0.027499 | 0.98783 | -0.23313 | 0.98706 | -0.24822 | 7.5547
83 | 0.014218 | 0.0035647 | -0.014214 | -0.0035626 | 3.8586e-06 | 2.1833e-06 | 0.021435 | 0.021435 | 0.021435 | 0.98706 | -0.24822 | 0.98677 | -0.25392 | 5.8886
84 | 0.0076924 | 0.001928 | -0.0076913 | -0.0019276 | 1.0731e-06 | 4.1515e-07 | 0.0116 | 0.0116 | 0.0116 | 0.98677 | -0.25392 | 0.98662 | -0.25685 | 3.1868
85 | 0.00095608 | 0.00023938 | -0.00095606 | -0.00023961 | 1.5684e-08 | -2.3459e-07 | 0.0014596 | 0.0014597 | 0.0014597 | 0.97463 | -0.48778 | 0.97462 | -0.48813 | 0.40101

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46272 | 0.11843

## res_load
| p_mw | q_mvar
0 | 0.014106 | 0.0035353
1 | 0.0018286 | 0.00045829
2 | 0.0080108 | 0.0020077
3 | 0.0047163 | 0.001182
4 | 0.062982 | 0.015785
5 | 0.0083892 | 0.0021025
6 | 0.0033884 | 0.0008492
7 | 0.0025433 | 0.00063742
8 | 0.0025431 | 0.00063735
9 | 0.01276 | 0.003198
10 | 0.01766 | 0.0044259
11 | 0.0035719 | 0.00089521
12 | 0.0042715 | 0.0010705
13 | 0.002615 | 0.00065538
14 | 0.022318 | 0.0055933
15 | 0.0072826 | 0.0018252
16 | 0.0021266 | 0.00053298
17 | 0.025555 | 0.0064046
18 | 0.0033673 | 0.00084393
19 | 0.0064987 | 0.0016287
20 | 0.0080108 | 0.0020077
21 | 0.013489 | 0.0033807
22 | 0.00093724 | 0.00023489
23 | 0.010679 | 0.0026764
24 | 0.0045357 | 0.0011367
25 | 0.0045373 | 0.0011371
26 | 0.010117 | 0.0025355
27 | 0.0025422 | 0.00063713
28 | 0.0029587 | 0.00074152
29 | 0.025374 | 0.0063593
30 | 0.015328 | 0.0038415
31 | 0.00097415 | 0.00024414
32 | 0.0049575 | 0.0012425
33 | 0.0044889 | 0.001125
34 | 0.0044901 | 0.0011253
35 | 0.036578 | 0.0091674
36 | 0.0044885 | 0.0011249
37 | 0.0022013 | 0.00055169
38 | 0.0023513 | 0.0005893
39 | 0.0022651 | 0.00056768
40 | 0.0028026 | 0.00070239
41 | 0.011 | 0.0027568
42 | 0.012329 | 0.00309
43 | 0.0027888 | 0.00069894
44 | 0.002952 | 0.00073983
45 | 0.0063595 | 0.0015938
46 | 0.002432 | 0.00060952
47 | 0.002153 | 0.00053958
48 | 0.0023617 | 0.0005919
49 | 0.0022241 | 0.00055742
50 | 0.0032237 | 0.00080793
51 | 0.0034202 | 0.00085719
52 | 0.002459 | 0.0006163
53 | 0.0040228 | 0.0010082
54 | 0.0065218 | 0.0016345
55 | 0.0076913 | 0.0019276
56 | 0.00095606 | 0.00023961

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1