## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2228-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2228-30_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2228-30_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2228-30_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2228-30_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_2228-30_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2228-30_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2228-30_0_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_2228-30_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2228-30_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2228-30_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2228-30_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2228-30_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2228-30_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2228-30_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2228-30_0_4_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_2228-30_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2228-30_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2228-30_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2228-30_0_4_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_2228-30_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2228-30_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2228-30_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2228-30_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2228-30_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_2228-30_0_4_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_2228-30_0_4_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_2228-30_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2228-30_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2228-30_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2228-30_0_4_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_2228-30_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2228-30_0_4_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_2228-30_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2228-30_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2228-30_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_2228-30_0_4_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_2228-30_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_2228-30_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2228-30_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2228-30_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2228-30_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2228-30_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2228-30_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2228-30_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2228-30_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2228-30_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2228-30_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2228-30_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2228-30_0_4_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_2228-30_0_4_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_2228-30_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2228-30_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2228-30_0_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_2228-30_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_2228-30_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_2228-30_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_2228-30_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2228-30_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_2228-30_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2228-30_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2228-30_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_2228-30_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2228-30_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_2228-30_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_2228-30_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2228-30_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2228-30_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_2228-30_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_2228-30_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_2228-30_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_2228-30_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_2228-30_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_2228-30_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2228-30_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2228-30_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_2228-30_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_2228-30_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2228-30_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2228-30_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2228-30_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_2228-30_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_2228-30_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_2228-30_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_2228-30_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_2228-30_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_2228-30_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_MV_505_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-30_0_4_load_0 | 0 | 0.0038212 | 0.00095769 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-30_0_4_load_1 | 1 | 0.0069142 | 0.0017329 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-30_0_4_load_3 | 3 | 0.0088009 | 0.0022057 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-30_0_4_load_4 | 4 | 0.003239 | 0.00081178 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-30_0_4_load_5 | 5 | 0.0034652 | 0.00086846 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-30_0_4_load_28 | 6 | 0.001877 | 0.00047042 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-30_0_4_load_6 | 7 | 0.0013617 | 0.00034127 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-30_0_4_load_27 | 8 | 0.0023773 | 0.00059581 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-30_0_4_load_20 | 9 | 0.0032946 | 0.00082569 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-30_0_4_load_7 | 10 | 0.009782 | 0.0024516 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-30_0_4_load_8 | 11 | 0.015546 | 0.0038962 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-30_0_4_load_9 | 12 | 0.0068324 | 0.0017123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-30_0_4_load_12 | 15 | 0.024745 | 0.0062017 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-30_0_4_load_88 | 17 | 0.0063395 | 0.0015888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-30_0_4_load_11 | 18 | 0.014509 | 0.0036363 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-30_0_4_load_14 | 20 | 0.023645 | 0.0059259 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-30_0_4_load_89 | 21 | 0.0023723 | 0.00059455 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-30_0_4_load_19 | 22 | 0.0061716 | 0.0015467 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-30_0_4_load_17 | 23 | 0.0067544 | 0.0016928 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-30_0_4_load_18 | 25 | 0.0058621 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2228-30_0_4_load_59 | 26 | 0.0022911 | 0.00057421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2228-30_0_4_load_60 | 27 | 0.043456 | 0.010891 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2228-30_0_4_load_22 | 29 | 0.0044722 | 0.0011208 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2228-30_0_4_load_23 | 30 | 0.00081235 | 0.00020359 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2228-30_0_4_load_24 | 31 | 0.002203 | 0.00055212 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2228-30_0_4_load_86 | 32 | 0.0019393 | 0.00048604 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2228-30_0_4_load_25 | 33 | 0.015222 | 0.0038149 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2228-30_0_4_load_87 | 34 | 0.0019829 | 0.00049697 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2228-30_0_4_load_38 | 36 | 0.0030014 | 0.00075221 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2228-30_0_4_load_90 | 38 | 0.0034243 | 0.00085822 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2228-30_0_4_load_30 | 41 | 0.0022198 | 0.00055632 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2228-30_0_4_load_31 | 42 | 0.0034353 | 0.00086097 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2228-30_0_4_load_37 | 44 | 0.004457 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2228-30_0_4_load_32 | 45 | 0.0028447 | 0.00071294 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2228-30_0_4_load_44 | 49 | 0.0028955 | 0.00072569 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2228-30_0_4_load_41 | 50 | 0.0045022 | 0.0011284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2228-30_0_4_load_70 | 51 | 0.0040991 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2228-30_0_4_load_68 | 52 | 0.0043276 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2228-30_0_4_load_45 | 53 | 0.002362 | 0.00059196 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2228-30_0_4_load_40 | 54 | 0.0036239 | 0.00090825 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2228-30_0_4_load_69 | 56 | 0.0013616 | 0.00034124 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2228-30_0_4_load_43 | 57 | 0.0037889 | 0.00094959 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2228-30_0_4_load_46 | 58 | 0.0034959 | 0.00087617 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2228-30_0_4_load_47 | 59 | 0.0022812 | 0.00057172 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2228-30_0_4_load_48 | 60 | 0.0041636 | 0.0010435 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2228-30_0_4_load_49 | 61 | 0.0020199 | 0.00050623 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2228-30_0_4_load_51 | 63 | 0.0064857 | 0.0016255 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2228-30_0_4_load_52 | 64 | 0.0045848 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2228-30_0_4_load_61 | 66 | 0.0058156 | 0.0014575 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2228-30_0_4_load_54 | 67 | 0.0025981 | 0.00065114 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2228-30_0_4_load_55 | 68 | 0.0024901 | 0.00062407 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2228-30_0_4_load_63 | 69 | 0.0026374 | 0.000661 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2228-30_0_4_load_62 | 70 | 0.0041708 | 0.0010453 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2228-30_0_4_load_56 | 71 | 0.005805 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2228-30_0_4_load_64 | 72 | 0.0031592 | 0.00079178 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2228-30_0_4_load_66 | 74 | 0.0026126 | 0.00065479 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2228-30_0_4_load_67 | 75 | 0.0041825 | 0.0010482 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2228-30_0_4_load_71 | 76 | 0.0033697 | 0.00084454 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2228-30_0_4_load_73 | 77 | 0.0015662 | 0.00039254 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2228-30_0_4_load_74 | 78 | 0.0023395 | 0.00058634 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2228-30_0_4_load_77 | 81 | 0.0041523 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2228-30_0_4_load_81 | 83 | 0.0060174 | 0.0015081 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2228-30_0_4_load_78 | 84 | 0.003779 | 0.00094711 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2228-30_0_4_load_82 | 85 | 0.0052457 | 0.0013147 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2228-30_0_4_load_84 | 88 | 0.0025043 | 0.00062763 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-30_0_4_line_0 |  | 0 | 1 | 0.0077688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2228-30_0_4_line_1 |  | 1 | 2 | 0.0166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2228-30_0_4_line_2 |  | 2 | 3 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2228-30_0_4_line_3 |  | 2 | 4 | 0.035626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2228-30_0_4_line_4 |  | 3 | 5 | 0.0093709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2228-30_0_4_line_5 |  | 4 | 6 | 0.052433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2228-30_0_4_line_6 |  | 5 | 7 | 0.026727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2228-30_0_4_line_7 |  | 6 | 8 | 0.025182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2228-30_0_4_line_8 |  | 7 | 9 | 0.033339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2228-30_0_4_line_9 |  | 8 | 40 | 0.0067044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2228-30_0_4_line_10 |  | 10 | 11 | 0.0069123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2228-30_0_4_line_11 |  | 10 | 12 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2228-30_0_4_line_12 |  | 12 | 13 | 0.0091418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2228-30_0_4_line_13 |  | 13 | 14 | 0.008677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2228-30_0_4_line_14 |  | 13 | 15 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2228-30_0_4_line_15 |  | 14 | 16 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2228-30_0_4_line_16 |  | 14 | 17 | 0.020037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2228-30_0_4_line_17 |  | 15 | 18 | 0.00075232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2228-30_0_4_line_18 |  | 16 | 19 | 0.006241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2228-30_0_4_line_19 |  | 16 | 20 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2228-30_0_4_line_20 |  | 17 | 21 | 0.00033923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2228-30_0_4_line_21 |  | 19 | 22 | 0.021492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2228-30_0_4_line_22 |  | 19 | 23 | 0.042798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2228-30_0_4_line_23 |  | 22 | 24 | 0.038809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2228-30_0_4_line_24 |  | 23 | 25 | 0.042561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2228-30_0_4_line_25 |  | 24 | 29 | 0.0058609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2228-30_0_4_line_26 |  | 24 | 30 | 0.0093336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2228-30_0_4_line_27 |  | 26 | 27 | 0.025833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2228-30_0_4_line_28 |  | 26 | 28 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2228-30_0_4_line_29 |  | 28 | 38 | 0.052752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-30_0_4_line_30 |  | 28 | 71 | 0.0183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2228-30_0_4_line_31 |  | 29 | 31 | 0.028812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2228-30_0_4_line_32 |  | 30 | 32 | 0.0079635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2228-30_0_4_line_33 |  | 31 | 33 | 0.017207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2228-30_0_4_line_34 |  | 32 | 34 | 0.020589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2228-30_0_4_line_35 |  | 33 | 35 | 0.012484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2228-30_0_4_line_36 |  | 35 | 36 | 0.02466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2228-30_0_4_line_37 |  | 35 | 37 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2228-30_0_4_line_38 |  | 37 | 38 | 0.026028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2228-30_0_4_line_39 |  | 37 | 39 | 0.004331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2228-30_0_4_line_40 |  | 39 | 57 | 0.016286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2228-30_0_4_line_41 |  | 39 | 54 | 0.0071709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2228-30_0_4_line_42 |  | 40 | 41 | 0.023291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2228-30_0_4_line_43 |  | 40 | 42 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2228-30_0_4_line_44 |  | 42 | 43 | 0.021591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2228-30_0_4_line_45 |  | 43 | 44 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2228-30_0_4_line_46 |  | 43 | 45 | 0.0078123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2228-30_0_4_line_47 |  | 45 | 46 | 0.058012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2228-30_0_4_line_48 |  | 46 | 47 | 0.05359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2228-30_0_4_line_49 |  | 46 | 48 | 0.00841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2228-30_0_4_line_50 |  | 47 | 49 | 0.015435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2228-30_0_4_line_51 |  | 47 | 50 | 0.0095443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2228-30_0_4_line_52 |  | 48 | 51 | 0.037427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2228-30_0_4_line_53 |  | 48 | 52 | 0.017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2228-30_0_4_line_54 |  | 49 | 53 | 0.0083346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2228-30_0_4_line_55 |  | 50 | 54 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2228-30_0_4_line_56 |  | 51 | 55 | 0.0039333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2228-30_0_4_line_57 |  | 52 | 56 | 0.023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2228-30_0_4_line_58 |  | 53 | 58 | 0.014215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2228-30_0_4_line_59 |  | 55 | 77 | 0.025312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2228-30_0_4_line_60 |  | 55 | 76 | 0.025825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2228-30_0_4_line_61 |  | 58 | 59 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2228-30_0_4_line_62 |  | 59 | 60 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2228-30_0_4_line_63 |  | 60 | 61 | 0.001726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2228-30_0_4_line_64 |  | 61 | 62 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2228-30_0_4_line_65 |  | 62 | 63 | 0.018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2228-30_0_4_line_66 |  | 62 | 64 | 0.02752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2228-30_0_4_line_67 |  | 63 | 65 | 0.027361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2228-30_0_4_line_68 |  | 64 | 66 | 0.034237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2228-30_0_4_line_69 |  | 65 | 67 | 0.0057131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2228-30_0_4_line_70 |  | 65 | 68 | 0.019989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2228-30_0_4_line_71 |  | 68 | 69 | 0.022612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2228-30_0_4_line_72 |  | 69 | 70 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2228-30_0_4_line_73 |  | 72 | 73 | 0.0087414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2228-30_0_4_line_74 |  | 73 | 74 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2228-30_0_4_line_75 |  | 73 | 75 | 0.029595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2228-30_0_4_line_76 |  | 74 | 76 | 0.024983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2228-30_0_4_line_77 |  | 77 | 78 | 0.00085639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2228-30_0_4_line_78 |  | 78 | 79 | 0.028811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2228-30_0_4_line_79 |  | 79 | 80 | 0.022547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2228-30_0_4_line_80 |  | 79 | 81 | 0.016153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2228-30_0_4_line_81 |  | 80 | 82 | 0.006362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2228-30_0_4_line_82 |  | 80 | 83 | 0.024841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2228-30_0_4_line_83 |  | 82 | 84 | 0.057281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2228-30_0_4_line_84 |  | 83 | 85 | 0.00024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2228-30_0_4_line_85 |  | 85 | 86 | 0.0091272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2228-30_0_4_line_86 |  | 86 | 87 | 0.029787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2228-30_0_4_line_87 |  | 87 | 88 | 0.0041444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-30_0_4_trafo_86 | 0.63 MVA 20/0.4 kV | 89 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2576851.3889 | 1182205.2159 | 2576843.7926 | 1182203.5878
1 | 2576828.5258 | 1182197.4371 | 2576837.8523 | 1182202.3145 | 2576843.7926 | 1182203.5878
2 | 2576828.5258 | 1182197.4371 | 2576825.7357 | 1182192.701 | 2576817.9448 | 1182187.0292
3 | 2576828.5258 | 1182197.4371 | 2576793.3131 | 1182202.8451
4 | 2576817.9448 | 1182187.0292 | 2576810.3688 | 1182181.5138
5 | 2576746.1356 | 1182184.6288 | 2576750.0452 | 1182186.681 | 2576782.2599 | 1182204.5427 | 2576793.3131 | 1182202.8451
6 | 2576788.9501 | 1182165.5367 | 2576794.0813 | 1182169.6564 | 2576810.3688 | 1182181.5138
7 | 2576723.8392 | 1182172.9247 | 2576746.1356 | 1182184.6288
8 | 2576762.9535 | 1182144.6645 | 2576788.9501 | 1182165.5367
9 | 2576717.9029 | 1182169.8086 | 2576723.8392 | 1182172.9247
10 | 2576837.4847 | 1182117.5432 | 2576837.9056 | 1182117.6815 | 2576844.043 | 1182119.7269
11 | 2576820.7913 | 1182111.907 | 2576823.0279 | 1182112.7922 | 2576837.4847 | 1182117.5432
12 | 2576812.2911 | 1182108.5428 | 2576820.7913 | 1182111.907
13 | 2576804.2305 | 1182105.2724 | 2576812.2911 | 1182108.5428
14 | 2576812.2911 | 1182108.5428 | 2576820.2899 | 1182089.7887
15 | 2576786.6603 | 1182097.2032 | 2576804.2305 | 1182105.2724
16 | 2576804.2305 | 1182105.2724 | 2576800.8731 | 1182113.7009 | 2576793.0225 | 1182121.3552
17 | 2576820.2899 | 1182089.7887 | 2576820.585 | 1182089.0967
18 | 2576786.6603 | 1182097.2032 | 2576780.9921 | 1182094.5572
19 | 2576786.6603 | 1182097.2032 | 2576795.9556 | 1182073.7152
20 | 2576792.7796 | 1182121.592 | 2576793.0225 | 1182121.3552
21 | 2576780.9921 | 1182094.5572 | 2576759.5027 | 1182094.2407
22 | 2576780.9921 | 1182094.5572 | 2576743.9797 | 1182073.0692
23 | 2576720.6983 | 1182093.6692 | 2576759.5027 | 1182094.2407
24 | 2576707.1723 | 1182051.7002 | 2576743.9797 | 1182073.0692
25 | 2576720.6983 | 1182093.6692 | 2576714.8383 | 1182093.5615
26 | 2576720.6983 | 1182093.6692 | 2576717.7086 | 1182102.511
27 | 2576682.4347 | 1181995.4868 | 2576683.3197 | 1181995.2973 | 2576707.2523 | 1181995.9042 | 2576708.2387 | 1181995.8538
28 | 2576666.3716 | 1182007.8256 | 2576672.6511 | 1182000.7529 | 2576678.0326 | 1181996.4296 | 2576682.4347 | 1181995.4868
29 | 2576650.3349 | 1182058.081 | 2576666.3716 | 1182007.8256
30 | 2576666.3716 | 1182007.8256 | 2576659.1154 | 1182007.2203 | 2576648.5833 | 1182003.9813
31 | 2576686.0738 | 1182092.1598 | 2576700.2412 | 1182093.2933 | 2576714.8383 | 1182093.5615
32 | 2576717.7086 | 1182102.511 | 2576715.1577 | 1182110.0549
33 | 2576686.0738 | 1182092.1598 | 2576677.9842 | 1182091.5126 | 2576669.1026 | 1182089.5704
34 | 2576703.4645 | 1182120.9618 | 2576708.9254 | 1182123.3083 | 2576715.1577 | 1182110.0549
35 | 2576656.9073 | 1182086.9037 | 2576669.1026 | 1182089.5704
36 | 2576656.9073 | 1182086.9037 | 2576654.7147 | 1182094.405 | 2576653.481 | 1182101.0911 | 2576653.8028 | 1182111.1284
37 | 2576656.9073 | 1182086.9037 | 2576645.9531 | 1182083.7337
38 | 2576650.3349 | 1182058.081 | 2576645.9531 | 1182083.7337
39 | 2576641.8775 | 1182082.2378 | 2576645.9531 | 1182083.7337
40 | 2576641.8775 | 1182082.2378 | 2576635.5759 | 1182097.2591
41 | 2576641.8775 | 1182082.2378 | 2576635.0005 | 1182080.2061
42 | 2576717.9029 | 1182169.8086 | 2576711.9359 | 1182192.3214
43 | 2576717.9029 | 1182169.8086 | 2576699.7699 | 1182160.2854
44 | 2576680.1043 | 1182151.4243 | 2576693.1515 | 1182156.8095 | 2576699.7699 | 1182160.2854
45 | 2576680.1043 | 1182151.4243 | 2576678.0852 | 1182164.2611
46 | 2576680.1043 | 1182151.4243 | 2576672.8837 | 1182148.4417
47 | 2576619.2656 | 1182126.2936 | 2576672.8837 | 1182148.4417
48 | 2576619.2656 | 1182126.2936 | 2576611.5368 | 1182073.2741
49 | 2576620.1993 | 1182134.6499 | 2576619.2656 | 1182126.2936
50 | 2576611.5368 | 1182073.2741 | 2576596.6617 | 1182069.1529
51 | 2576611.5368 | 1182073.2741 | 2576620.6901 | 1182075.9783
52 | 2576620.1993 | 1182134.6499 | 2576624.3663 | 1182171.8444
53 | 2576620.1993 | 1182134.6499 | 2576610.0213 | 1182136.613 | 2576602.911 | 1182136.7375
54 | 2576588.6297 | 1182066.9276 | 2576596.6617 | 1182069.1529
55 | 2576635.0005 | 1182080.2061 | 2576620.6901 | 1182075.9783
56 | 2576624.8042 | 1182175.7532 | 2576624.3663 | 1182171.8444
57 | 2576582.0027 | 1182131.7203 | 2576585.0366 | 1182136.2885 | 2576590.208 | 1182136.8352 | 2576599.3934 | 1182136.7992 | 2576602.911 | 1182136.7375
58 | 2576588.6297 | 1182066.9276 | 2576580.0822 | 1182064.5595 | 2576574.8897 | 1182063.2879
59 | 2576624.8042 | 1182175.7532 | 2576625.7328 | 1182201.0483
60 | 2576624.8042 | 1182175.7532 | 2576598.9832 | 1182175.2817
61 | 2576564.8468 | 1182060.8512 | 2576572.2635 | 1182062.6448 | 2576574.8897 | 1182063.2879
62 | 2576564.8468 | 1182060.8512 | 2576549.1826 | 1182057.0631
63 | 2576547.505 | 1182056.6575 | 2576549.1826 | 1182057.0631
64 | 2576533.904 | 1182053.3683 | 2576547.505 | 1182056.6575
65 | 2576533.904 | 1182053.3683 | 2576519.1303 | 1182049.7912 | 2576516.2544 | 1182048.9095
66 | 2576533.904 | 1182053.3683 | 2576527.2049 | 1182080.061
67 | 2576490.0952 | 1182040.8897 | 2576516.2544 | 1182048.9095
68 | 2576518.8761 | 1182113.2697 | 2576523.5595 | 1182094.586 | 2576527.2049 | 1182080.061
69 | 2576490.0952 | 1182040.8897 | 2576484.6786 | 1182039.0731
70 | 2576490.0952 | 1182040.8897 | 2576484.2343 | 1182060.0001
71 | 2576477.6043 | 1182081.6187 | 2576484.2343 | 1182060.0001
72 | 2576471.1447 | 1182102.6812 | 2576477.6043 | 1182081.6187
73 | 2576549.0094 | 1182174.4053 | 2576540.2687 | 1182174.2975
74 | 2576549.0094 | 1182174.4053 | 2576554.6446 | 1182174.4721 | 2576574.0044 | 1182174.8256
75 | 2576549.0094 | 1182174.4053 | 2576547.62 | 1182184.1714 | 2576547.223 | 1182193.9002 | 2576547.666 | 1182203.8837
76 | 2576598.9832 | 1182175.2817 | 2576574.0044 | 1182174.8256
77 | 2576625.7643 | 1182201.9041 | 2576625.7328 | 1182201.0483
78 | 2576626.8213 | 1182230.6961 | 2576625.7643 | 1182201.9041
79 | 2576626.8213 | 1182230.6961 | 2576627.841 | 1182253.2149
80 | 2576626.8213 | 1182230.6961 | 2576611.5488 | 1182236.0809
81 | 2576621.4646 | 1182252.9842 | 2576627.841 | 1182253.2149
82 | 2576627.841 | 1182253.2149 | 2576652.5826 | 1182255.4343
83 | 2576621.4646 | 1182252.9842 | 2576617.3864 | 1182252.7445 | 2576609.0205 | 1182253.3776 | 2576602.4004 | 1182253.3146 | 2576588.1447 | 1182253.1704 | 2576577.344 | 1182252.0678 | 2576564.2727 | 1182251.8931
84 | 2576652.8313 | 1182255.4566 | 2576652.5826 | 1182255.4343
85 | 2576661.9219 | 1182256.2721 | 2576652.8313 | 1182255.4566
86 | 2576661.9219 | 1182256.2721 | 2576691.6281 | 1182259.4244
87 | 2576691.6281 | 1182259.4244 | 2576695.75 | 1182259.8559

## bus_geodata
| x | y | coords
0 | 2576851.3889 | 1182205.2159
1 | 2576843.7926 | 1182203.5878
2 | 2576828.5258 | 1182197.4371
3 | 2576817.9448 | 1182187.0292
4 | 2576793.3131 | 1182202.8451
5 | 2576810.3688 | 1182181.5138
6 | 2576746.1356 | 1182184.6288
7 | 2576788.9501 | 1182165.5367
8 | 2576723.8392 | 1182172.9247
9 | 2576762.9535 | 1182144.6645
10 | 2576837.4847 | 1182117.5432
11 | 2576844.043 | 1182119.7269
12 | 2576820.7913 | 1182111.907
13 | 2576812.2911 | 1182108.5428
14 | 2576804.2305 | 1182105.2724
15 | 2576820.2899 | 1182089.7887
16 | 2576786.6603 | 1182097.2032
17 | 2576793.0225 | 1182121.3552
18 | 2576820.585 | 1182089.0967
19 | 2576780.9921 | 1182094.5572
20 | 2576795.9556 | 1182073.7152
21 | 2576792.7796 | 1182121.592
22 | 2576759.5027 | 1182094.2407
23 | 2576743.9797 | 1182073.0692
24 | 2576720.6983 | 1182093.6692
25 | 2576707.1723 | 1182051.7002
26 | 2576682.4347 | 1181995.4868
27 | 2576708.2387 | 1181995.8538
28 | 2576666.3716 | 1182007.8256
29 | 2576714.8383 | 1182093.5615
30 | 2576717.7086 | 1182102.511
31 | 2576686.0738 | 1182092.1598
32 | 2576715.1577 | 1182110.0549
33 | 2576669.1026 | 1182089.5704
34 | 2576703.4645 | 1182120.9618
35 | 2576656.9073 | 1182086.9037
36 | 2576653.8028 | 1182111.1284
37 | 2576645.9531 | 1182083.7337
38 | 2576650.3349 | 1182058.081
39 | 2576641.8775 | 1182082.2378
40 | 2576717.9029 | 1182169.8086
41 | 2576711.9359 | 1182192.3214
42 | 2576699.7699 | 1182160.2854
43 | 2576680.1043 | 1182151.4243
44 | 2576678.0852 | 1182164.2611
45 | 2576672.8837 | 1182148.4417
46 | 2576619.2656 | 1182126.2936
47 | 2576611.5368 | 1182073.2741
48 | 2576620.1993 | 1182134.6499
49 | 2576596.6617 | 1182069.1529
50 | 2576620.6901 | 1182075.9783
51 | 2576624.3663 | 1182171.8444
52 | 2576602.911 | 1182136.7375
53 | 2576588.6297 | 1182066.9276
54 | 2576635.0005 | 1182080.2061
55 | 2576624.8042 | 1182175.7532
56 | 2576582.0027 | 1182131.7203
57 | 2576635.5759 | 1182097.2591
58 | 2576574.8897 | 1182063.2879
59 | 2576564.8468 | 1182060.8512
60 | 2576549.1826 | 1182057.0631
61 | 2576547.505 | 1182056.6575
62 | 2576533.904 | 1182053.3683
63 | 2576516.2544 | 1182048.9095
64 | 2576527.2049 | 1182080.061
65 | 2576490.0952 | 1182040.8897
66 | 2576518.8761 | 1182113.2697
67 | 2576484.6786 | 1182039.0731
68 | 2576484.2343 | 1182060.0001
69 | 2576477.6043 | 1182081.6187
70 | 2576471.1447 | 1182102.6812
71 | 2576648.5833 | 1182003.9813
72 | 2576540.2687 | 1182174.2975
73 | 2576549.0094 | 1182174.4053
74 | 2576574.0044 | 1182174.8256
75 | 2576547.666 | 1182203.8837
76 | 2576598.9832 | 1182175.2817
77 | 2576625.7329 | 1182201.0483
78 | 2576625.7643 | 1182201.9041
79 | 2576626.8213 | 1182230.6961
80 | 2576627.841 | 1182253.2149
81 | 2576611.5488 | 1182236.0809
82 | 2576621.4646 | 1182252.9842
83 | 2576652.5826 | 1182255.4343
84 | 2576564.2727 | 1182251.8931
85 | 2576652.8313 | 1182255.4566
86 | 2576661.9219 | 1182256.2721
87 | 2576691.6281 | 1182259.4244
88 | 2576695.75 | 1182259.8559
89 | 2576720.6983 | 1182093.6692

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97823 | -0.42004 | 0.0038212 | 0.00095769
1 | 0.97826 | -0.4195 | 0.0069142 | 0.0017329
2 | 0.97843 | -0.41625 | 0 | 0
3 | 0.97819 | -0.42092 | 0.0088009 | 0.0022057
4 | 0.97934 | -0.39833 | 0.003239 | 0.00081178
5 | 0.97812 | -0.4223 | 0.0034652 | 0.00086846
6 | 0.98084 | -0.36893 | 0.001877 | 0.00047042
7 | 0.978 | -0.42457 | 0.0013617 | 0.00034127
8 | 0.9816 | -0.35398 | 0.0023773 | 0.00059581
9 | 0.9779 | -0.42657 | 0.0032946 | 0.00082569
10 | 0.98819 | -0.22706 | 0.009782 | 0.0024516
11 | 0.98809 | -0.22898 | 0.015546 | 0.0038962
12 | 0.9886 | -0.21909 | 0.0068324 | 0.0017123
13 | 0.98887 | -0.21385 | 0 | 0
14 | 0.98944 | -0.20281 | 0 | 0
15 | 0.98813 | -0.22813 | 0.024745 | 0.0062017
16 | 0.99085 | -0.17534 | 0 | 0
17 | 0.98928 | -0.20592 | 0.0063395 | 0.0015888
18 | 0.98812 | -0.22832 | 0.014509 | 0.0036363
19 | 0.99145 | -0.16385 | 0 | 0
20 | 0.99031 | -0.18595 | 0.023645 | 0.0059259
21 | 0.98928 | -0.20594 | 0.0023723 | 0.00059455
22 | 0.99374 | -0.11959 | 0.0061716 | 0.0015467
23 | 0.99095 | -0.17343 | 0.0067544 | 0.0016928
24 | 0.9981 | -0.036005 | 0 | 0
25 | 0.99073 | -0.17786 | 0.0058621 | 0.0014692
26 | 0.98821 | -0.22619 | 0.0022911 | 0.00057421
27 | 0.98718 | -0.24625 | 0.043456 | 0.010891
28 | 0.98909 | -0.20917 | 0 | 0
29 | 0.99768 | -0.04403 | 0.0044722 | 0.0011208
30 | 0.99913 | -0.01658 | 0.00081235 | 0.00020359
31 | 0.99565 | -0.082821 | 0.002203 | 0.00055212
32 | 1 | 0 | -0.36582 | -0.092883
33 | 0.99445 | -0.10584 | 0.015222 | 0.0038149
34 | 0.99996 | -0.00071175 | 0.0019829 | 0.00049697
35 | 0.99363 | -0.12146 | 0 | 0
36 | 0.99356 | -0.12276 | 0.0030014 | 0.00075221
37 | 0.9929 | -0.13551 | 0 | 0
38 | 0.99158 | -0.16084 | 0.0034243 | 0.00085822
39 | 0.99269 | -0.13946 | 0 | 0
40 | 0.98182 | -0.34972 | 0 | 0
41 | 0.98178 | -0.35066 | 0.0022198 | 0.00055632
42 | 0.98253 | -0.33589 | 0.0034353 | 0.00086097
43 | 0.98335 | -0.31999 | 0 | 0
44 | 0.9833 | -0.32103 | 0.004457 | 0.001117
45 | 0.98368 | -0.31362 | 0.0028447 | 0.00071294
46 | 0.98626 | -0.26347 | 0 | 0
47 | 0.99106 | -0.17091 | 0 | 0
48 | 0.98588 | -0.27081 | 0 | 0
49 | 0.9904 | -0.18353 | 0.0028955 | 0.00072569
50 | 0.99168 | -0.15882 | 0.0045022 | 0.0011284
51 | 0.9844 | -0.29974 | 0.0040991 | 0.0010273
52 | 0.98579 | -0.2726 | 0.0043276 | 0.0010846
53 | 0.99007 | -0.18991 | 0.002362 | 0.00059196
54 | 0.99236 | -0.14584 | 0.0036239 | 0.00090825
55 | 0.98426 | -0.3025 | 0 | 0
56 | 0.98576 | -0.27317 | 0.0013616 | 0.00034124
57 | 0.99264 | -0.14055 | 0.0037889 | 0.00094959
58 | 0.98954 | -0.20022 | 0.0034959 | 0.00087617
59 | 0.98919 | -0.20707 | 0.0022812 | 0.00057172
60 | 0.98867 | -0.21712 | 0.0041636 | 0.0010435
61 | 0.98862 | -0.21807 | 0.0020199 | 0.00050623
62 | 0.98825 | -0.22525 | 0 | 0
63 | 0.98795 | -0.23123 | 0.0064857 | 0.0016255
64 | 0.98799 | -0.23036 | 0.0045848 | 0.0011491
65 | 0.98765 | -0.23704 | 0 | 0
66 | 0.98781 | -0.23392 | 0.0058156 | 0.0014575
67 | 0.98763 | -0.23731 | 0.0025981 | 0.00065114
68 | 0.98748 | -0.24037 | 0.0024901 | 0.00062407
69 | 0.98734 | -0.24312 | 0.0026374 | 0.000661
70 | 0.98725 | -0.24476 | 0.0041708 | 0.0010453
71 | 0.98899 | -0.21106 | 0.005805 | 0.0014549
72 | 0.98351 | -0.31698 | 0.0031592 | 0.00079178
73 | 0.98354 | -0.31648 | 0 | 0
74 | 0.98371 | -0.31317 | 0.0026126 | 0.00065479
75 | 0.98343 | -0.31871 | 0.0041825 | 0.0010482
76 | 0.98394 | -0.30869 | 0.0033697 | 0.00084454
77 | 0.98366 | -0.31417 | 0.0015662 | 0.00039254
78 | 0.98364 | -0.31454 | 0.0023395 | 0.00058634
79 | 0.98306 | -0.32581 | 0 | 0
80 | 0.9827 | -0.33295 | 0 | 0
81 | 0.983 | -0.32702 | 0.0041523 | 0.0010407
82 | 0.98267 | -0.33338 | 0 | 0
83 | 0.98238 | -0.33913 | 0.0060174 | 0.0015081
84 | 0.98247 | -0.33729 | 0.003779 | 0.00094711
85 | 0.98238 | -0.33916 | 0.0052457 | 0.0013147
86 | 0.98236 | -0.33957 | 0 | 0
87 | 0.98229 | -0.34092 | 0 | 0
88 | 0.98228 | -0.34111 | 0.0025043 | 0.00062763
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038212 | -0.00095769 | 0.0038213 | 0.00095766 | 9.8429e-08 | -3.4541e-08 | 0.0058126 | 0.0058126 | 0.0058126 | 0.97823 | -0.42004 | 0.97826 | -0.4195 | 1.5969
1 | -0.010736 | -0.0026905 | 0.010737 | 0.0026914 | 1.66e-06 | 8.5392e-07 | 0.01633 | 0.01633 | 0.01633 | 0.97826 | -0.4195 | 0.97843 | -0.41625 | 4.4862
2 | 0.016927 | 0.0042434 | -0.016924 | -0.0042411 | 3.7612e-06 | 2.2172e-06 | 0.025744 | 0.025744 | 0.025744 | 0.97843 | -0.41625 | 0.97819 | -0.42092 | 7.0726
3 | -0.027665 | -0.0069347 | 0.027688 | 0.0069494 | 2.3649e-05 | 1.4688e-05 | 0.042074 | 0.042074 | 0.042074 | 0.97843 | -0.41625 | 0.97934 | -0.39833 | 11.5587
4 | 0.0081228 | 0.0020354 | -0.0081223 | -0.0020352 | 5.3653e-07 | 2.2575e-07 | 0.012356 | 0.012356 | 0.012356 | 0.97819 | -0.42092 | 0.97812 | -0.4223 | 3.3946
5 | -0.030927 | -0.0077612 | 0.030971 | 0.0077883 | 4.3425e-05 | 2.7131e-05 | 0.046995 | 0.046995 | 0.046995 | 0.97934 | -0.39833 | 0.98084 | -0.36893 | 12.9107
6 | 0.0046571 | 0.0011667 | -0.0046566 | -0.0011667 | 5.0307e-07 | -1.3457e-08 | 0.0070847 | 0.0070848 | 0.0070848 | 0.97812 | -0.4223 | 0.978 | -0.42457 | 1.9464
7 | -0.032848 | -0.0082588 | 0.032871 | 0.0082735 | 2.3459e-05 | 1.4696e-05 | 0.049842 | 0.049842 | 0.049842 | 0.98084 | -0.36893 | 0.9816 | -0.35398 | 13.6929
8 | 0.0032949 | 0.00082548 | -0.0032946 | -0.00082569 | 3.1419e-07 | -2.1723e-07 | 0.005013 | 0.0050132 | 0.0050132 | 0.978 | -0.42457 | 0.9779 | -0.42657 | 1.3772
9 | -0.035249 | -0.0088693 | 0.035256 | 0.0088738 | 7.1817e-06 | 4.5115e-06 | 0.053446 | 0.053446 | 0.053446 | 0.9816 | -0.35398 | 0.98182 | -0.34972 | 14.683
10 | 0.015548 | 0.0038971 | -0.015546 | -0.0038962 | 1.4208e-06 | 8.2074e-07 | 0.023412 | 0.023412 | 0.023412 | 0.98819 | -0.22706 | 0.98809 | -0.22898 | 6.4318
11 | -0.02533 | -0.0063487 | 0.025339 | 0.0063546 | 9.614e-06 | 5.9271e-06 | 0.038142 | 0.038142 | 0.038142 | 0.98819 | -0.22706 | 0.9886 | -0.21909 | 10.4785
12 | -0.032172 | -0.008067 | 0.03218 | 0.008072 | 8.0391e-06 | 5.0278e-06 | 0.048425 | 0.048425 | 0.048425 | 0.9886 | -0.21909 | 0.98887 | -0.21385 | 13.3037
13 | -0.071461 | -0.017927 | 0.071498 | 0.017951 | 3.7629e-05 | 2.3971e-05 | 0.10754 | 0.10754 | 0.10754 | 0.98887 | -0.21385 | 0.98944 | -0.20281 | 29.5433
14 | 0.039281 | 0.0098549 | -0.039254 | -0.0098381 | 2.6716e-05 | 1.6837e-05 | 0.059112 | 0.059112 | 0.059112 | 0.98887 | -0.21385 | 0.98813 | -0.22813 | 16.2396
15 | -0.080211 | -0.020135 | 0.080317 | 0.020202 | 0.00010528 | 6.7129e-05 | 0.12064 | 0.12064 | 0.12064 | 0.98944 | -0.20281 | 0.99085 | -0.17534 | 33.1432
16 | 0.0087131 | 0.0021839 | -0.0087118 | -0.0021834 | 1.2902e-06 | 5.6843e-07 | 0.013104 | 0.013104 | 0.013104 | 0.98944 | -0.20281 | 0.98928 | -0.20592 | 3.5999
17 | 0.014509 | 0.0036364 | -0.014509 | -0.0036363 | 1.3468e-07 | 7.6557e-08 | 0.021849 | 0.021849 | 0.021849 | 0.98813 | -0.22813 | 0.98812 | -0.22832 | 6.0025
18 | -0.10397 | -0.026135 | 0.10403 | 0.026172 | 5.7079e-05 | 3.645e-05 | 0.15617 | 0.15617 | 0.15617 | 0.99085 | -0.17534 | 0.99145 | -0.16385 | 42.9035
19 | 0.023656 | 0.0059332 | -0.023645 | -0.0059259 | 1.1957e-05 | 7.327e-06 | 0.035528 | 0.035528 | 0.035528 | 0.99085 | -0.17534 | 0.99031 | -0.18595 | 9.7604
20 | 0.0023723 | 0.00059455 | -0.0023723 | -0.00059455 | 1.6198e-09 | -3.319e-09 | 0.0035683 | 0.0035683 | 0.0035683 | 0.98928 | -0.20592 | 0.98928 | -0.20594 | 0.9803
21 | -0.11665 | -0.029337 | 0.1169 | 0.029495 | 0.00024714 | 0.00015789 | 0.17512 | 0.17512 | 0.17512 | 0.99145 | -0.16385 | 0.99374 | -0.11959 | 48.1086
22 | 0.012624 | 0.0031654 | -0.012618 | -0.0031622 | 5.7613e-06 | 3.1356e-06 | 0.018947 | 0.018947 | 0.018947 | 0.99145 | -0.16385 | 0.99095 | -0.17343 | 5.2052
23 | -0.12307 | -0.031042 | 0.12357 | 0.031358 | 0.00049462 | 0.00031605 | 0.18436 | 0.18436 | 0.18436 | 0.99374 | -0.11959 | 0.9981 | -0.036005 | 50.6474
24 | 0.0058634 | 0.0014694 | -0.0058621 | -0.0014692 | 1.2372e-06 | 2.4364e-07 | 0.0088044 | 0.0088046 | 0.0088046 | 0.99095 | -0.17343 | 0.99073 | -0.17786 | 2.4188
25 | 0.23718 | 0.060424 | -0.23709 | -0.060366 | 9.1784e-05 | 5.8512e-05 | 0.35395 | 0.35395 | 0.35395 | 0.9981 | -0.036005 | 0.99768 | -0.04403 | 32.4132
26 | -0.36075 | -0.091782 | 0.36109 | 0.091998 | 0.00033808 | 0.000216 | 0.53831 | 0.53831 | 0.53831 | 0.9981 | -0.036005 | 0.99913 | -0.01658 | 49.2956
27 | 0.043497 | 0.010917 | -0.043456 | -0.010891 | 4.1564e-05 | 2.6271e-05 | 0.065502 | 0.065502 | 0.065502 | 0.98821 | -0.22619 | 0.98718 | -0.24625 | 17.9952
28 | -0.045788 | -0.011491 | 0.045825 | 0.011515 | 3.7196e-05 | 2.3538e-05 | 0.068952 | 0.068952 | 0.068952 | 0.98821 | -0.22619 | 0.98909 | -0.20917 | 18.9429
29 | -0.051631 | -0.01297 | 0.05175 | 0.013046 | 0.00011939 | 7.5729e-05 | 0.077686 | 0.077686 | 0.077686 | 0.98909 | -0.20917 | 0.99158 | -0.16084 | 21.3423
30 | 0.0058055 | 0.001455 | -0.005805 | -0.0014549 | 5.235e-07 | 1.0019e-07 | 0.008734 | 0.0087341 | 0.0087341 | 0.98909 | -0.20917 | 0.98899 | -0.21106 | 2.3995
31 | 0.23262 | 0.059245 | -0.23219 | -0.058968 | 0.00043436 | 0.00027687 | 0.34728 | 0.34728 | 0.34728 | 0.99768 | -0.04403 | 0.99565 | -0.082821 | 31.8024
32 | -0.3619 | -0.092201 | 0.36219 | 0.092386 | 0.00028975 | 0.00018513 | 0.53952 | 0.53952 | 0.53952 | 0.99913 | -0.01658 | 1 | 0 | 49.4064
33 | 0.22998 | 0.058416 | -0.22973 | -0.058253 | 0.00025451 | 0.00016222 | 0.34399 | 0.34399 | 0.34399 | 0.99565 | -0.082821 | 0.99445 | -0.10584 | 31.5009
34 | 0.001983 | 0.00049675 | -0.0019829 | -0.00049697 | 6.7225e-08 | -2.2708e-07 | 0.0029507 | 0.0029508 | 0.0029508 | 1 | 0 | 0.99996 | -0.00071175 | 0.81065
35 | 0.21451 | 0.054439 | -0.21435 | -0.054336 | 0.000161 | 0.00010256 | 0.32121 | 0.32121 | 0.32121 | 0.99445 | -0.10584 | 0.99363 | -0.12146 | 29.4152
36 | 0.0030015 | 0.00075201 | -0.0030014 | -0.00075221 | 1.8684e-07 | -1.9981e-07 | 0.0044949 | 0.004495 | 0.004495 | 0.99363 | -0.12146 | 0.99356 | -0.12276 | 1.2349
37 | 0.21134 | 0.053584 | -0.2112 | -0.053493 | 0.0001426 | 9.0825e-05 | 0.31672 | 0.31672 | 0.31672 | 0.99363 | -0.12146 | 0.9929 | -0.13551 | 29.0036
38 | 0.055242 | 0.013946 | -0.055175 | -0.013904 | 6.6956e-05 | 4.2516e-05 | 0.082824 | 0.082825 | 0.082825 | 0.9929 | -0.13551 | 0.99158 | -0.16084 | 22.754
39 | 0.15596 | 0.039547 | -0.15593 | -0.039528 | 2.9617e-05 | 1.8787e-05 | 0.23389 | 0.2339 | 0.2339 | 0.9929 | -0.13551 | 0.99269 | -0.13946 | 21.419
40 | 0.0037891 | 0.0009495 | -0.0037889 | -0.00094959 | 1.9702e-07 | -8.4447e-08 | 0.0056797 | 0.0056798 | 0.0056798 | 0.99269 | -0.13946 | 0.99264 | -0.14055 | 1.5604
41 | 0.15214 | 0.038578 | -0.1521 | -0.038549 | 4.6684e-05 | 2.96e-05 | 0.22822 | 0.22822 | 0.22822 | 0.99269 | -0.13946 | 0.99236 | -0.14584 | 20.8988
42 | 0.0022199 | 0.00055609 | -0.0022198 | -0.00055632 | 9.8857e-08 | -2.3127e-07 | 0.0033642 | 0.0033643 | 0.0033643 | 0.98182 | -0.34972 | 0.98178 | -0.35066 | 0.92427
43 | -0.037476 | -0.0094299 | 0.0375 | 0.0094455 | 2.4788e-05 | 1.5605e-05 | 0.05681 | 0.05681 | 0.05681 | 0.98182 | -0.34972 | 0.98253 | -0.33589 | 15.6072
44 | -0.040936 | -0.010306 | 0.040967 | 0.010326 | 3.1135e-05 | 1.9653e-05 | 0.062013 | 0.062013 | 0.062013 | 0.98253 | -0.33589 | 0.98335 | -0.31999 | 17.0365
45 | 0.0044573 | 0.001117 | -0.004457 | -0.001117 | 2.2172e-07 | -2.2969e-08 | 0.0067447 | 0.0067448 | 0.0067448 | 0.98335 | -0.31999 | 0.9833 | -0.32103 | 1.853
46 | -0.045424 | -0.011443 | 0.045438 | 0.011452 | 1.385e-05 | 8.7649e-06 | 0.068757 | 0.068757 | 0.068757 | 0.98335 | -0.31999 | 0.98368 | -0.31362 | 18.8894
47 | -0.048283 | -0.012165 | 0.048399 | 0.012238 | 0.00011612 | 7.358e-05 | 0.073061 | 0.07306 | 0.073061 | 0.98368 | -0.31362 | 0.98626 | -0.26347 | 20.0716
48 | -0.097243 | -0.024524 | 0.097676 | 0.024801 | 0.0004329 | 0.00027637 | 0.14677 | 0.14677 | 0.14677 | 0.98626 | -0.26347 | 0.99106 | -0.17091 | 40.3215
49 | 0.048845 | 0.012286 | -0.048828 | -0.012275 | 1.7135e-05 | 1.0859e-05 | 0.07371 | 0.07371 | 0.07371 | 0.98626 | -0.26347 | 0.98588 | -0.27081 | 20.25
50 | 0.046117 | 0.0116 | -0.046089 | -0.011582 | 2.7763e-05 | 1.757e-05 | 0.069256 | 0.069256 | 0.069256 | 0.99106 | -0.17091 | 0.9904 | -0.18353 | 19.0265
51 | -0.14379 | -0.0364 | 0.14388 | 0.036454 | 8.3514e-05 | 5.3203e-05 | 0.21603 | 0.21603 | 0.21603 | 0.99106 | -0.17091 | 0.99168 | -0.15882 | 29.6739
52 | 0.043138 | 0.010849 | -0.043078 | -0.010812 | 5.9523e-05 | 3.7618e-05 | 0.065123 | 0.065123 | 0.065123 | 0.98588 | -0.27081 | 0.9844 | -0.29974 | 17.8909
53 | 0.0056897 | 0.0014257 | -0.0056892 | -0.0014256 | 4.8332e-07 | 8.6487e-08 | 0.0085875 | 0.0085876 | 0.0085876 | 0.98588 | -0.27081 | 0.98579 | -0.2726 | 2.3592
54 | 0.043193 | 0.010857 | -0.04318 | -0.010848 | 1.3167e-05 | 8.3196e-06 | 0.064906 | 0.064906 | 0.064906 | 0.9904 | -0.18353 | 0.99007 | -0.18991 | 17.8314
55 | -0.14838 | -0.037582 | 0.14847 | 0.037641 | 9.2575e-05 | 5.867e-05 | 0.22278 | 0.22278 | 0.22278 | 0.99168 | -0.15882 | 0.99236 | -0.14584 | 20.4013
56 | 0.038979 | 0.0097844 | -0.038974 | -0.0097812 | 5.1216e-06 | 3.2278e-06 | 0.058926 | 0.058927 | 0.058927 | 0.9844 | -0.29974 | 0.98426 | -0.3025 | 16.1886
57 | 0.0013616 | 0.00034097 | -0.0013616 | -0.00034124 | 3.7046e-08 | -2.7445e-07 | 0.0020552 | 0.0020553 | 0.0020553 | 0.98579 | -0.2726 | 0.98576 | -0.27317 | 0.56464
58 | 0.040818 | 0.010256 | -0.040798 | -0.010244 | 2.0068e-05 | 1.2661e-05 | 0.061356 | 0.061356 | 0.061356 | 0.99007 | -0.18991 | 0.98954 | -0.20022 | 16.8561
59 | 0.025642 | 0.0064383 | -0.025628 | -0.0064295 | 1.4268e-05 | 8.81e-06 | 0.038771 | 0.038771 | 0.038771 | 0.98426 | -0.3025 | 0.98366 | -0.31417 | 10.6513
60 | 0.013332 | 0.0033429 | -0.013328 | -0.0033407 | 3.9345e-06 | 2.1899e-06 | 0.020156 | 0.020156 | 0.020156 | 0.98426 | -0.3025 | 0.98394 | -0.30869 | 5.5374
61 | 0.037302 | 0.0093674 | -0.03729 | -0.0093597 | 1.2196e-05 | 7.673e-06 | 0.056099 | 0.056099 | 0.056099 | 0.98954 | -0.20022 | 0.98919 | -0.20707 | 15.4119
62 | 0.035009 | 0.008788 | -0.034992 | -0.0087775 | 1.6764e-05 | 1.0522e-05 | 0.052668 | 0.052668 | 0.052668 | 0.98919 | -0.20707 | 0.98867 | -0.21712 | 14.4692
63 | 0.030828 | 0.007734 | -0.030827 | -0.0077331 | 1.3936e-06 | 8.6976e-07 | 0.046401 | 0.046401 | 0.046401 | 0.98867 | -0.21712 | 0.98862 | -0.21807 | 12.7476
64 | 0.028807 | 0.0072269 | -0.028797 | -0.0072207 | 9.8661e-06 | 6.135e-06 | 0.043361 | 0.043361 | 0.043361 | 0.98862 | -0.21807 | 0.98825 | -0.22525 | 11.9124
65 | 0.018393 | 0.0046127 | -0.018388 | -0.0046096 | 5.2377e-06 | 3.1189e-06 | 0.027696 | 0.027696 | 0.027696 | 0.98825 | -0.22525 | 0.98795 | -0.23123 | 7.6088
66 | 0.010404 | 0.002608 | -0.010401 | -0.0026068 | 2.5326e-06 | 1.2683e-06 | 0.015665 | 0.015665 | 0.015665 | 0.98825 | -0.22525 | 0.98799 | -0.23036 | 4.3037
67 | 0.011902 | 0.0029841 | -0.011899 | -0.0029824 | 3.2976e-06 | 1.7602e-06 | 0.017927 | 0.017928 | 0.017928 | 0.98795 | -0.23123 | 0.98765 | -0.23704 | 4.9252
68 | 0.0058165 | 0.0014577 | -0.0058156 | -0.0014575 | 9.8531e-07 | 1.9224e-07 | 0.0087603 | 0.0087605 | 0.0087605 | 0.98799 | -0.23036 | 0.98781 | -0.23392 | 2.4067
69 | 0.0025981 | 0.00065109 | -0.0025981 | -0.00065114 | 3.2827e-08 | -5.2101e-08 | 0.0039144 | 0.0039144 | 0.0039144 | 0.98765 | -0.23704 | 0.98763 | -0.23731 | 1.0754
70 | 0.009301 | 0.0023313 | -0.0092995 | -0.0023306 | 1.472e-06 | 6.863e-07 | 0.014013 | 0.014013 | 0.014013 | 0.98765 | -0.23704 | 0.98748 | -0.24037 | 3.8498
71 | 0.0068094 | 0.0017065 | -0.0068086 | -0.0017062 | 8.9282e-07 | 2.8217e-07 | 0.010261 | 0.010261 | 0.010261 | 0.98748 | -0.24037 | 0.98734 | -0.24312 | 2.819
72 | 0.0041711 | 0.0010452 | -0.0041708 | -0.0010453 | 3.2648e-07 | -7.2786e-08 | 0.0062862 | 0.0062863 | 0.0062863 | 0.98734 | -0.24312 | 0.98725 | -0.24476 | 1.727
73 | -0.0031592 | -0.00079178 | 0.0031593 | 0.00079172 | 7.4891e-08 | -6.3004e-08 | 0.0047798 | 0.0047798 | 0.0047798 | 0.98351 | -0.31698 | 0.98354 | -0.31648 | 1.3131
74 | -0.0073423 | -0.0018399 | 0.0073435 | 0.0018403 | 1.1567e-06 | 4.2299e-07 | 0.011108 | 0.011108 | 0.011108 | 0.98354 | -0.31648 | 0.98371 | -0.31317 | 3.0517
75 | 0.004183 | 0.0010482 | -0.0041825 | -0.0010482 | 4.4448e-07 | -9.1077e-08 | 0.0063284 | 0.0063286 | 0.0063286 | 0.98354 | -0.31648 | 0.98343 | -0.31871 | 1.7386
76 | -0.0099561 | -0.0024951 | 0.0099582 | 0.0024961 | 2.1249e-06 | 1.0427e-06 | 0.01506 | 0.01506 | 0.01506 | 0.98371 | -0.31317 | 0.98394 | -0.30869 | 4.1374
77 | 0.024062 | 0.006037 | -0.024061 | -0.0060367 | 4.2554e-07 | 2.6147e-07 | 0.036401 | 0.036401 | 0.036401 | 0.98366 | -0.31417 | 0.98364 | -0.31454 | 10.0004
78 | 0.021722 | 0.0054504 | -0.02171 | -0.0054433 | 1.1668e-05 | 7.1019e-06 | 0.032862 | 0.032862 | 0.032862 | 0.98364 | -0.31454 | 0.98306 | -0.32581 | 9.0281
79 | 0.017557 | 0.0044027 | -0.017551 | -0.0043991 | 5.9721e-06 | 3.5364e-06 | 0.026577 | 0.026577 | 0.026577 | 0.98306 | -0.32581 | 0.9827 | -0.33295 | 7.3013
80 | 0.0041526 | 0.0010406 | -0.0041523 | -0.0010407 | 2.3932e-07 | -5.1621e-08 | 0.0062855 | 0.0062856 | 0.0062856 | 0.98306 | -0.32581 | 0.983 | -0.32702 | 1.7268
81 | 0.0037798 | 0.00094681 | -0.0037797 | -0.00094684 | 7.8148e-08 | -3.0585e-08 | 0.0057233 | 0.0057233 | 0.0057233 | 0.9827 | -0.33295 | 0.98267 | -0.33338 | 1.5723
82 | 0.013772 | 0.0034523 | -0.013768 | -0.00345 | 4.051e-06 | 2.278e-06 | 0.020854 | 0.020854 | 0.020854 | 0.9827 | -0.33295 | 0.98238 | -0.33913 | 5.729
83 | 0.0037797 | 0.00094684 | -0.003779 | -0.00094711 | 7.0365e-07 | -2.7519e-07 | 0.0057233 | 0.0057236 | 0.0057236 | 0.98267 | -0.33338 | 0.98247 | -0.33729 | 1.5724
84 | 0.0077503 | 0.0019419 | -0.0077502 | -0.0019419 | 1.29e-08 | 5.0945e-09 | 0.011739 | 0.011739 | 0.011739 | 0.98238 | -0.33913 | 0.98238 | -0.33916 | 3.225
85 | 0.0025045 | 0.00062723 | -0.0025045 | -0.00062732 | 4.9253e-08 | -8.4035e-08 | 0.0037934 | 0.0037935 | 0.0037935 | 0.98238 | -0.33916 | 0.98236 | -0.33957 | 1.0422
86 | 0.0025045 | 0.00062732 | -0.0025043 | -0.00062759 | 1.6075e-07 | -2.7421e-07 | 0.0037935 | 0.0037936 | 0.0037936 | 0.98236 | -0.33957 | 0.98229 | -0.34092 | 1.0422
87 | 0.0025043 | 0.00062759 | -0.0025043 | -0.00062763 | 2.2367e-08 | -3.8148e-08 | 0.0037936 | 0.0037936 | 0.0037936 | 0.98229 | -0.34092 | 0.98228 | -0.34111 | 1.0422

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36776 | 0.093369

## res_load
| p_mw | q_mvar
0 | 0.0038212 | 0.00095769
1 | 0.0069142 | 0.0017329
2 | 0.0088009 | 0.0022057
3 | 0.003239 | 0.00081178
4 | 0.0034652 | 0.00086846
5 | 0.001877 | 0.00047042
6 | 0.0013617 | 0.00034127
7 | 0.0023773 | 0.00059581
8 | 0.0032946 | 0.00082569
9 | 0.009782 | 0.0024516
10 | 0.015546 | 0.0038962
11 | 0.0068324 | 0.0017123
12 | 0.024745 | 0.0062017
13 | 0.0063395 | 0.0015888
14 | 0.014509 | 0.0036363
15 | 0.023645 | 0.0059259
16 | 0.0023723 | 0.00059455
17 | 0.0061716 | 0.0015467
18 | 0.0067544 | 0.0016928
19 | 0.0058621 | 0.0014692
20 | 0.0022911 | 0.00057421
21 | 0.043456 | 0.010891
22 | 0.0044722 | 0.0011208
23 | 0.00081235 | 0.00020359
24 | 0.002203 | 0.00055212
25 | 0.0019393 | 0.00048604
26 | 0.015222 | 0.0038149
27 | 0.0019829 | 0.00049697
28 | 0.0030014 | 0.00075221
29 | 0.0034243 | 0.00085822
30 | 0.0022198 | 0.00055632
31 | 0.0034353 | 0.00086097
32 | 0.004457 | 0.001117
33 | 0.0028447 | 0.00071294
34 | 0.0028955 | 0.00072569
35 | 0.0045022 | 0.0011284
36 | 0.0040991 | 0.0010273
37 | 0.0043276 | 0.0010846
38 | 0.002362 | 0.00059196
39 | 0.0036239 | 0.00090825
40 | 0.0013616 | 0.00034124
41 | 0.0037889 | 0.00094959
42 | 0.0034959 | 0.00087617
43 | 0.0022812 | 0.00057172
44 | 0.0041636 | 0.0010435
45 | 0.0020199 | 0.00050623
46 | 0.0064857 | 0.0016255
47 | 0.0045848 | 0.0011491
48 | 0.0058156 | 0.0014575
49 | 0.0025981 | 0.00065114
50 | 0.0024901 | 0.00062407
51 | 0.0026374 | 0.000661
52 | 0.0041708 | 0.0010453
53 | 0.005805 | 0.0014549
54 | 0.0031592 | 0.00079178
55 | 0.0026126 | 0.00065479
56 | 0.0041825 | 0.0010482
57 | 0.0033697 | 0.00084454
58 | 0.0015662 | 0.00039254
59 | 0.0023395 | 0.00058634
60 | 0.0041523 | 0.0010407
61 | 0.0060174 | 0.0015081
62 | 0.003779 | 0.00094711
63 | 0.0052457 | 0.0013147
64 | 0.0025043 | 0.00062763

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1