## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-31_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2228-31_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2228-31_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2228-31_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2228-31_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2228-31_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2228-31_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2228-31_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_2228-31_0_3_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_2228-31_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2228-31_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2228-31_0_3_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_2228-31_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2228-31_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2228-31_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2228-31_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2228-31_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2228-31_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2228-31_0_3_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_2228-31_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2228-31_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2228-31_0_3_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_2228-31_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2228-31_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2228-31_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_2228-31_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_2228-31_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2228-31_0_3_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_2228-31_0_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2228-31_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2228-31_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2228-31_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2228-31_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2228-31_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2228-31_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2228-31_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2228-31_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2228-31_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2228-31_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2228-31_0_3_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_2228-31_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2228-31_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2228-31_0_3_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_2228-31_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2228-31_0_3_node_112 | 0.4 | n |  | TRUE
46 | bus_LV_2228-31_0_3_node_113 | 0.4 | n |  | TRUE
47 | bus_LV_2228-31_0_3_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_2228-31_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2228-31_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2228-31_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2228-31_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2228-31_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_2228-31_0_3_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_2228-31_0_3_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_2228-31_0_3_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_2228-31_0_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_2228-31_0_3_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_2228-31_0_3_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_2228-31_0_3_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_2228-31_0_3_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_2228-31_0_3_node_117 | 0.4 | n |  | TRUE
62 | bus_LV_2228-31_0_3_node_123 | 0.4 | n |  | TRUE
63 | bus_LV_2228-31_0_3_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_2228-31_0_3_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_2228-31_0_3_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_2228-31_0_3_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_2228-31_0_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_2228-31_0_3_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_2228-31_0_3_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_2228-31_0_3_node_119 | 0.4 | n |  | TRUE
71 | bus_LV_2228-31_0_3_node_151 | 0.4 | n |  | TRUE
72 | bus_LV_2228-31_0_3_node_146 | 0.4 | n |  | TRUE
73 | bus_LV_2228-31_0_3_node_147 | 0.4 | n |  | TRUE
74 | bus_LV_2228-31_0_3_node_149 | 0.4 | n |  | TRUE
75 | bus_LV_2228-31_0_3_node_154 | 0.4 | n |  | TRUE
76 | bus_LV_2228-31_0_3_node_152 | 0.4 | n |  | TRUE
77 | bus_LV_2228-31_0_3_node_150 | 0.4 | n |  | TRUE
78 | bus_LV_2228-31_0_3_node_153 | 0.4 | n |  | TRUE
79 | bus_LV_2228-31_0_3_node_155 | 0.4 | n |  | TRUE
80 | bus_LV_2228-31_0_3_node_120 | 0.4 | n |  | TRUE
81 | bus_LV_2228-31_0_3_node_116 | 0.4 | n |  | TRUE
82 | bus_LV_2228-31_0_3_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_2228-31_0_3_node_115 | 0.4 | n |  | TRUE
84 | bus_LV_2228-31_0_3_node_121 | 0.4 | n |  | TRUE
85 | bus_LV_2228-31_0_3_node_125 | 0.4 | n |  | TRUE
86 | bus_LV_2228-31_0_3_node_143 | 0.4 | n |  | TRUE
87 | bus_MV_505_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-31_0_3_load_0 | 0 | 0.0017818 | 0.00044657 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-31_0_3_load_1 | 1 | 0.002678 | 0.00067117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-31_0_3_load_3 | 3 | 0.0028136 | 0.00070516 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-31_0_3_load_4 | 4 | 0.0015972 | 0.0004003 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-31_0_3_load_5 | 5 | 0.001468 | 0.00036791 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-31_0_3_load_9 | 6 | 0.0027709 | 0.00069446 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-31_0_3_load_18 | 7 | 0.0024657 | 0.00061797 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-31_0_3_load_53 | 9 | 0.0032327 | 0.0008102 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-31_0_3_load_17 | 10 | 0.0027454 | 0.00068805 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-31_0_3_load_19 | 11 | 0.0023349 | 0.00058517 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-31_0_3_load_37 | 12 | 0.0026187 | 0.00065631 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-31_0_3_load_6 | 13 | 0.0043805 | 0.0010979 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-31_0_3_load_7 | 14 | 0.0043772 | 0.001097 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-31_0_3_load_11 | 17 | 0.0043981 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-31_0_3_load_141 | 19 | 0.0043248 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-31_0_3_load_16 | 20 | 0.0044448 | 0.001114 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-31_0_3_load_12 | 21 | 0.0027855 | 0.00069811 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-31_0_3_load_142 | 22 | 0.0043052 | 0.001079 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-31_0_3_load_13 | 23 | 0.0031899 | 0.00079946 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-31_0_3_load_15 | 24 | 0.0014359 | 0.00035987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2228-31_0_3_load_27 | 25 | 0.0020581 | 0.00051581 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2228-31_0_3_load_71 | 26 | 0.0033069 | 0.0008288 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2228-31_0_3_load_25 | 27 | 0.0019648 | 0.00049244 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2228-31_0_3_load_60 | 28 | 0.003918 | 0.00098194 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2228-31_0_3_load_34 | 29 | 0.0014047 | 0.00035205 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2228-31_0_3_load_32 | 30 | 0.0016379 | 0.00041049 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2228-31_0_3_load_20 | 31 | 0.0028574 | 0.00071613 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2228-31_0_3_load_21 | 32 | 0.0028937 | 0.00072523 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2228-31_0_3_load_22 | 33 | 0.0023704 | 0.00059408 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2228-31_0_3_load_23 | 34 | 0.0023611 | 0.00059175 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2228-31_0_3_load_30 | 37 | 0.0030401 | 0.00076192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2228-31_0_3_load_29 | 38 | 0.0019173 | 0.00048052 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2228-31_0_3_load_36 | 39 | 0.0034049 | 0.00085335 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2228-31_0_3_load_99 | 40 | 0.002372 | 0.00059447 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2228-31_0_3_load_28 | 41 | 0.0019392 | 0.00048601 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2228-31_0_3_load_26 | 42 | 0.0019273 | 0.00048302 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2228-31_0_3_load_100 | 43 | 0.0041896 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2228-31_0_3_load_31 | 44 | 0.0019479 | 0.00048819 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2228-31_0_3_load_113 | 46 | 0.0011364 | 0.00028482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2228-31_0_3_load_114 | 47 | 0.0031472 | 0.00078877 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2228-31_0_3_load_39 | 48 | 0.0035452 | 0.00088851 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2228-31_0_3_load_41 | 49 | 0.0048356 | 0.0012119 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2228-31_0_3_load_43 | 50 | 0.0021206 | 0.00053148 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2228-31_0_3_load_57 | 51 | 0.0026151 | 0.00065541 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2228-31_0_3_load_58 | 52 | 0.003436 | 0.00086115 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2228-31_0_3_load_72 | 53 | 0.0049788 | 0.0012478 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2228-31_0_3_load_73 | 54 | 0.0052819 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2228-31_0_3_load_77 | 58 | 0.002011 | 0.00050401 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2228-31_0_3_load_78 | 59 | 0.0011158 | 0.00027965 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2228-31_0_3_load_122 | 60 | 0.0017394 | 0.00043594 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2228-31_0_3_load_123 | 62 | 0.001605 | 0.00040226 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2228-31_0_3_load_85 | 64 | 0.0011312 | 0.00028352 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2228-31_0_3_load_118 | 65 | 0.00061855 | 0.00015502 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2228-31_0_3_load_124 | 66 | 0.0016301 | 0.00040853 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2228-31_0_3_load_88 | 67 | 0.002376 | 0.00059547 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2228-31_0_3_load_84 | 68 | 0.0051772 | 0.0012975 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2228-31_0_3_load_89 | 69 | 0.0043701 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2228-31_0_3_load_151 | 71 | 0.0030571 | 0.00076619 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2228-31_0_3_load_146 | 72 | 0.0031309 | 0.00078467 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2228-31_0_3_load_147 | 73 | 0.0031331 | 0.00078522 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2228-31_0_3_load_154 | 75 | 0.0035663 | 0.0008938 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2228-31_0_3_load_152 | 76 | 0.0054936 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2228-31_0_3_load_150 | 77 | 0.0015449 | 0.00038719 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2228-31_0_3_load_155 | 79 | 0.0035678 | 0.00089417 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2228-31_0_3_load_120 | 80 | 0.002325 | 0.00058269 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2228-31_0_3_load_116 | 81 | 0.0047772 | 0.0011973 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2228-31_0_3_load_104 | 82 | 0.0023601 | 0.0005915 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2228-31_0_3_load_115 | 83 | 0.0023601 | 0.0005915 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2228-31_0_3_load_121 | 84 | 0.0011633 | 0.00029155 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2228-31_0_3_load_125 | 85 | 0.001666 | 0.00041755 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2228-31_0_3_load_143 | 86 | 0.0042948 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-31_0_3_line_0 |  | 0 | 1 | 0.037372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2228-31_0_3_line_1 |  | 0 | 2 | 0.0076561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2228-31_0_3_line_2 |  | 1 | 3 | 3.1649e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2228-31_0_3_line_3 |  | 2 | 4 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2228-31_0_3_line_4 |  | 2 | 5 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2228-31_0_3_line_5 |  | 3 | 6 | 0.00954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2228-31_0_3_line_6 |  | 4 | 7 | 0.020374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2228-31_0_3_line_7 |  | 5 | 8 | 0.031997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2228-31_0_3_line_8 |  | 5 | 9 | 0.061802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2228-31_0_3_line_9 |  | 6 | 10 | 0.012214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2228-31_0_3_line_10 |  | 7 | 11 | 0.0033239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2228-31_0_3_line_11 |  | 8 | 12 | 0.028396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2228-31_0_3_line_12 |  | 9 | 50 | 0.05633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2228-31_0_3_line_13 |  | 10 | 16 | 0.03293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2228-31_0_3_line_14 |  | 11 | 29 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2228-31_0_3_line_15 |  | 13 | 14 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2228-31_0_3_line_16 |  | 14 | 15 | 0.0061395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2228-31_0_3_line_17 |  | 15 | 16 | 0.004474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2228-31_0_3_line_18 |  | 15 | 17 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2228-31_0_3_line_19 |  | 16 | 18 | 0.023306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2228-31_0_3_line_20 |  | 17 | 19 | 0.018912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2228-31_0_3_line_21 |  | 18 | 20 | 0.022001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2228-31_0_3_line_22 |  | 18 | 21 | 0.0023328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2228-31_0_3_line_23 |  | 19 | 22 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2228-31_0_3_line_24 |  | 20 | 26 | 0.017241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2228-31_0_3_line_25 |  | 21 | 23 | 0.0096828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2228-31_0_3_line_26 |  | 22 | 86 | 0.022153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2228-31_0_3_line_27 |  | 23 | 24 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2228-31_0_3_line_28 |  | 24 | 25 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2228-31_0_3_line_29 |  | 25 | 27 | 0.0050923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-31_0_3_line_30 |  | 26 | 28 | 0.015203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2228-31_0_3_line_31 |  | 27 | 42 | 0.001625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2228-31_0_3_line_32 |  | 28 | 52 | 0.022063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2228-31_0_3_line_33 |  | 29 | 30 | 0.0047806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2228-31_0_3_line_34 |  | 30 | 44 | 0.0044891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2228-31_0_3_line_35 |  | 31 | 32 | 0.0015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2228-31_0_3_line_36 |  | 31 | 33 | 0.016141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2228-31_0_3_line_37 |  | 32 | 34 | 0.0028487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2228-31_0_3_line_38 |  | 33 | 35 | 0.017277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2228-31_0_3_line_39 |  | 34 | 36 | 0.027112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2228-31_0_3_line_40 |  | 35 | 37 | 0.021727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2228-31_0_3_line_41 |  | 35 | 38 | 0.0084178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2228-31_0_3_line_42 |  | 36 | 39 | 0.021313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2228-31_0_3_line_43 |  | 37 | 40 | 0.0023529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2228-31_0_3_line_44 |  | 38 | 41 | 0.0015286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2228-31_0_3_line_45 |  | 39 | 45 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2228-31_0_3_line_46 |  | 40 | 43 | 0.029202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2228-31_0_3_line_47 |  | 41 | 42 | 0.0016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2228-31_0_3_line_48 |  | 43 | 82 | 0.0070838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2228-31_0_3_line_49 |  | 45 | 46 | 0.026312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2228-31_0_3_line_50 |  | 45 | 47 | 0.022803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2228-31_0_3_line_51 |  | 47 | 61 | 0.0047847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2228-31_0_3_line_52 |  | 48 | 49 | 0.044953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2228-31_0_3_line_53 |  | 49 | 50 | 0.025453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2228-31_0_3_line_54 |  | 51 | 52 | 0.0049302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2228-31_0_3_line_55 |  | 53 | 54 | 0.031202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2228-31_0_3_line_56 |  | 53 | 55 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2228-31_0_3_line_57 |  | 54 | 56 | 0.0024411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2228-31_0_3_line_58 |  | 55 | 57 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2228-31_0_3_line_59 |  | 55 | 58 | 0.014358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2228-31_0_3_line_60 |  | 55 | 59 | 0.02293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2228-31_0_3_line_61 |  | 56 | 60 | 0.028126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2228-31_0_3_line_62 |  | 56 | 61 | 0.024794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2228-31_0_3_line_63 |  | 57 | 62 | 0.027863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2228-31_0_3_line_64 |  | 58 | 63 | 0.014451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2228-31_0_3_line_65 |  | 59 | 64 | 0.0014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2228-31_0_3_line_66 |  | 61 | 65 | 0.016167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2228-31_0_3_line_67 |  | 62 | 66 | 0.0068886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2228-31_0_3_line_68 |  | 63 | 67 | 0.018208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2228-31_0_3_line_69 |  | 64 | 68 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2228-31_0_3_line_70 |  | 65 | 84 | 0.02527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2228-31_0_3_line_71 |  | 66 | 85 | 0.00036483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2228-31_0_3_line_72 |  | 68 | 71 | 0.046887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2228-31_0_3_line_73 |  | 69 | 70 | 0.021686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2228-31_0_3_line_74 |  | 70 | 80 | 0.026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2228-31_0_3_line_75 |  | 70 | 81 | 0.0092657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2228-31_0_3_line_76 |  | 71 | 76 | 0.02265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2228-31_0_3_line_77 |  | 71 | 77 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2228-31_0_3_line_78 |  | 72 | 73 | 0.022751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2228-31_0_3_line_79 |  | 73 | 74 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2228-31_0_3_line_80 |  | 74 | 75 | 0.011464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2228-31_0_3_line_81 |  | 75 | 78 | 0.019906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2228-31_0_3_line_82 |  | 76 | 78 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2228-31_0_3_line_83 |  | 78 | 79 | 0.005085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2228-31_0_3_line_84 |  | 81 | 83 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2228-31_0_3_line_85 |  | 82 | 83 | 0.0086466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-31_0_3_trafo_100 | 0.63 MVA 20/0.4 kV | 87 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2576441.8617 | 1182024.1009 | 2576420.8915 | 1182015.2493 | 2576407.1611 | 1182010.2556
1 | 2576448.9152 | 1182027.0782 | 2576441.8617 | 1182024.1009
2 | 2576407.1611 | 1182010.2556 | 2576407.1581 | 1182010.2546
3 | 2576448.9152 | 1182027.0782 | 2576444.5396 | 1182026.9954 | 2576441.5253 | 1182027.4297 | 2576439.0436 | 1182029.3516 | 2576437.0086 | 1182032.2056 | 2576435.6999 | 1182036.4664
4 | 2576448.9152 | 1182027.0782 | 2576459.7593 | 1182030.7152
5 | 2576398.2342 | 1182006.8982 | 2576398.9991 | 1182007.2872 | 2576407.1581 | 1182010.2546
6 | 2576429.7179 | 1182055.9424 | 2576435.6999 | 1182036.4664
7 | 2576490.0952 | 1182040.8897 | 2576459.7593 | 1182030.7152
8 | 2576459.7593 | 1182030.7152 | 2576476.7496 | 1181971.2951
9 | 2576387.3466 | 1182001.3617 | 2576398.2342 | 1182006.8982
10 | 2576429.7179 | 1182055.9424 | 2576428.742 | 1182059.1198
11 | 2576490.0952 | 1182040.8897 | 2576481.7693 | 1182068.0378
12 | 2576476.7496 | 1181971.2951 | 2576475.088 | 1181970.3455 | 2576464.2963 | 1181961.9948 | 2576453.1594 | 1181951.2998 | 2576435.9685 | 1181932.6965
13 | 2576358.8915 | 1181984.8119 | 2576381.8837 | 1181998.5837 | 2576387.3466 | 1182001.3617
14 | 2576423.6416 | 1182075.7259 | 2576428.742 | 1182059.1198
15 | 2576383.4709 | 1181994.5026 | 2576365.9674 | 1181983.9047
16 | 2576360.7156 | 1181980.7248 | 2576365.9674 | 1181983.9047
17 | 2576360.7156 | 1181980.7248 | 2576358.8915 | 1181984.8119
18 | 2576360.7156 | 1181980.7248 | 2576351.3726 | 1181975.7481 | 2576346.3042 | 1181970.324
19 | 2576358.8915 | 1181984.8119 | 2576351.8478 | 1182007.0291
20 | 2576333.385 | 1181956.5144 | 2576333.4366 | 1181956.5536 | 2576346.3042 | 1181970.324
21 | 2576351.8478 | 1182007.0291 | 2576333.0656 | 1181995.5723
22 | 2576351.8478 | 1182007.0291 | 2576351.2136 | 1182009.2741
23 | 2576333.385 | 1181956.5144 | 2576316.3958 | 1181943.6145 | 2576316.2465 | 1181943.5172
24 | 2576333.0656 | 1181995.5723 | 2576318.3465 | 1181986.5939
25 | 2576351.2136 | 1182009.2741 | 2576348.5809 | 1182018.5921
26 | 2576316.2465 | 1181943.5172 | 2576297.6856 | 1181931.4243
27 | 2576344.8731 | 1182031.7154 | 2576348.5809 | 1182018.5921
28 | 2576344.8731 | 1182031.7154 | 2576340.0079 | 1182048.9354
29 | 2576338.6233 | 1182053.8359 | 2576340.0079 | 1182048.9354
30 | 2576305.3678 | 1181978.6771 | 2576318.3465 | 1181986.5939
31 | 2576338.6233 | 1182053.8359 | 2576338.1815 | 1182055.3997
32 | 2576305.3678 | 1181978.6771 | 2576286.5322 | 1181967.1877
33 | 2576423.6416 | 1182075.7259 | 2576422.238 | 1182080.2958
34 | 2576420.9199 | 1182084.587 | 2576422.238 | 1182080.2958
35 | 2576325.4532 | 1182100.1079 | 2576325.8694 | 1182098.65
36 | 2576330.2993 | 1182083.1288 | 2576325.8694 | 1182098.65
37 | 2576325.4532 | 1182100.1079 | 2576324.6714 | 1182102.8472
38 | 2576335.0409 | 1182066.5156 | 2576330.2993 | 1182083.1288
39 | 2576317.2303 | 1182128.9186 | 2576324.6714 | 1182102.8472
40 | 2576335.0409 | 1182066.5156 | 2576316.0995 | 1182055.8715
41 | 2576335.0409 | 1182066.5156 | 2576337.3296 | 1182058.4149
42 | 2576317.2303 | 1182128.9186 | 2576298.4462 | 1182118.8483
43 | 2576316.0995 | 1182055.8715 | 2576314.0483 | 1182054.7188
44 | 2576337.7452 | 1182056.9438 | 2576337.3296 | 1182058.4149
45 | 2576287.0133 | 1182112.719 | 2576298.4462 | 1182118.8483
46 | 2576314.0483 | 1182054.7188 | 2576288.5908 | 1182040.4131
47 | 2576338.1815 | 1182055.3997 | 2576337.7452 | 1182056.9438
48 | 2576288.5908 | 1182040.4131 | 2576282.4153 | 1182036.9427
49 | 2576287.0133 | 1182112.719 | 2576282.642 | 1182138.661
50 | 2576287.0133 | 1182112.719 | 2576275.3519 | 1182106.4621 | 2576266.9196 | 1182101.9377
51 | 2576262.7034 | 1182099.6755 | 2576266.9196 | 1182101.9377
52 | 2576383.6706 | 1181885.6503 | 2576398.8865 | 1181899.6428 | 2576417.406 | 1181915.3466
53 | 2576435.9685 | 1181932.6965 | 2576429.0956 | 1181925.259 | 2576417.406 | 1181915.3466
54 | 2576282.3232 | 1181964.6203 | 2576286.5322 | 1181967.1877
55 | 2576210.5235 | 1182073.2717 | 2576225.3883 | 1182080.4695 | 2576238.6066 | 1182086.8703
56 | 2576199.4996 | 1182067.9439 | 2576208.9248 | 1182072.4976 | 2576210.5235 | 1182073.2717
57 | 2576240.8037 | 1182087.9342 | 2576238.6066 | 1182086.8703
58 | 2576199.4996 | 1182067.9439 | 2576189.6183 | 1182063.9145
59 | 2576199.4996 | 1182067.9439 | 2576190.8017 | 1182060.0522 | 2576188.3715 | 1182059.0915
60 | 2576199.4996 | 1182067.9439 | 2576192.9647 | 1182083.5558 | 2576191.2911 | 1182089.3231
61 | 2576240.8037 | 1182087.9342 | 2576238.5902 | 1182097.7259 | 2576235.3321 | 1182115.5169
62 | 2576262.7034 | 1182099.6755 | 2576253.2533 | 1182094.6104 | 2576240.8037 | 1182087.9342
63 | 2576189.6183 | 1182063.9145 | 2576183.8978 | 1182067.3836 | 2576170.28 | 1182066.493 | 2576163.0183 | 1182064.5178
64 | 2576174.9328 | 1182053.7789 | 2576188.3715 | 1182059.0915
65 | 2576191.2911 | 1182089.3231 | 2576190.9009 | 1182090.6678 | 2576190.9009 | 1182090.6678
66 | 2576262.7034 | 1182099.6755 | 2576260.9954 | 1182113.7229 | 2576260.6563 | 1182115.7105
67 | 2576163.0183 | 1182064.5178 | 2576161.4589 | 1182064.0936 | 2576156.6371 | 1182061.9606
68 | 2576174.9328 | 1182053.7789 | 2576180.9445 | 1182036.5918
69 | 2576192.6586 | 1182101.18 | 2576190.9009 | 1182090.6678
70 | 2576260.6563 | 1182115.7105 | 2576256.4064 | 1182140.6205
71 | 2576156.6371 | 1182061.9606 | 2576156.3034 | 1182061.813
72 | 2576192.6586 | 1182101.18 | 2576187.7307 | 1182147.8077
73 | 2576253.8916 | 1182020.914 | 2576234.9869 | 1182010.2892
74 | 2576253.8916 | 1182020.914 | 2576246.2148 | 1182041.2551 | 2576241.8563 | 1182039.6939
75 | 2576253.8916 | 1182020.914 | 2576261.9693 | 1182025.4532
76 | 2576187.7307 | 1182147.8077 | 2576165.4768 | 1182143.5929
77 | 2576187.7307 | 1182147.8077 | 2576202.4023 | 1182150.5864
78 | 2576180.745 | 1182178.5397 | 2576158.4048 | 1182174.2336
79 | 2576142.7905 | 1182171.2239 | 2576158.4048 | 1182174.2336
80 | 2576142.7905 | 1182171.2239 | 2576144.9331 | 1182159.9621
81 | 2576148.6536 | 1182140.4067 | 2576144.9331 | 1182159.9621
82 | 2576148.6536 | 1182140.4067 | 2576165.4768 | 1182143.5929
83 | 2576148.6536 | 1182140.4067 | 2576149.6033 | 1182135.4114
84 | 2576261.9693 | 1182025.4532 | 2576274.8773 | 1182032.7068
85 | 2576282.4153 | 1182036.9427 | 2576274.8773 | 1182032.7068

## bus_geodata
| x | y | coords
0 | 2576441.8617 | 1182024.1009
1 | 2576407.1611 | 1182010.2556
2 | 2576448.9152 | 1182027.0782
3 | 2576407.1581 | 1182010.2546
4 | 2576435.6999 | 1182036.4664
5 | 2576459.7593 | 1182030.7152
6 | 2576398.2342 | 1182006.8982
7 | 2576429.718 | 1182055.9424
8 | 2576490.0952 | 1182040.8897
9 | 2576476.7496 | 1181971.295
10 | 2576387.3466 | 1182001.3617
11 | 2576428.742 | 1182059.1198
12 | 2576481.7693 | 1182068.0378
13 | 2576383.4709 | 1181994.5026
14 | 2576365.9674 | 1181983.9047
15 | 2576360.7156 | 1181980.7248
16 | 2576358.8915 | 1181984.8119
17 | 2576346.3042 | 1181970.324
18 | 2576351.8478 | 1182007.0291
19 | 2576333.385 | 1181956.5144
20 | 2576333.0656 | 1181995.5723
21 | 2576351.2136 | 1182009.2741
22 | 2576316.2465 | 1181943.5172
23 | 2576348.5809 | 1182018.5921
24 | 2576344.8731 | 1182031.7154
25 | 2576340.0079 | 1182048.9354
26 | 2576318.3465 | 1181986.5939
27 | 2576338.6233 | 1182053.8359
28 | 2576305.3678 | 1181978.6771
29 | 2576423.6416 | 1182075.7259
30 | 2576422.238 | 1182080.2958
31 | 2576325.8694 | 1182098.65
32 | 2576325.4532 | 1182100.1079
33 | 2576330.2993 | 1182083.1288
34 | 2576324.6714 | 1182102.8472
35 | 2576335.0409 | 1182066.5156
36 | 2576317.2304 | 1182128.9186
37 | 2576316.0995 | 1182055.8715
38 | 2576337.3296 | 1182058.4149
39 | 2576298.4462 | 1182118.8483
40 | 2576314.0483 | 1182054.7188
41 | 2576337.7452 | 1182056.9438
42 | 2576338.1815 | 1182055.3997
43 | 2576288.5908 | 1182040.4131
44 | 2576420.9199 | 1182084.587
45 | 2576287.0133 | 1182112.719
46 | 2576282.642 | 1182138.661
47 | 2576266.9196 | 1182101.9377
48 | 2576383.6706 | 1181885.6503
49 | 2576417.406 | 1181915.3466
50 | 2576435.9685 | 1181932.6965
51 | 2576282.3232 | 1181964.6203
52 | 2576286.5322 | 1181967.1877
53 | 2576210.5235 | 1182073.2717
54 | 2576238.6066 | 1182086.8703
55 | 2576199.4996 | 1182067.9439
56 | 2576240.8037 | 1182087.9342
57 | 2576189.6183 | 1182063.9145
58 | 2576188.3715 | 1182059.0915
59 | 2576191.2911 | 1182089.3231
60 | 2576235.3321 | 1182115.5169
61 | 2576262.7034 | 1182099.6755
62 | 2576163.0183 | 1182064.5178
63 | 2576174.9328 | 1182053.7789
64 | 2576190.9009 | 1182090.6678
65 | 2576260.6563 | 1182115.7105
66 | 2576156.6371 | 1182061.9606
67 | 2576180.9445 | 1182036.5918
68 | 2576192.6586 | 1182101.18
69 | 2576234.9869 | 1182010.2892
70 | 2576253.8916 | 1182020.914
71 | 2576187.7307 | 1182147.8077
72 | 2576180.745 | 1182178.5397
73 | 2576158.4048 | 1182174.2336
74 | 2576142.7905 | 1182171.2239
75 | 2576144.9331 | 1182159.9621
76 | 2576165.4768 | 1182143.5929
77 | 2576202.4023 | 1182150.5864
78 | 2576148.6536 | 1182140.4067
79 | 2576149.6033 | 1182135.4114
80 | 2576241.8563 | 1182039.6939
81 | 2576261.9693 | 1182025.4532
82 | 2576282.4153 | 1182036.9427
83 | 2576274.8773 | 1182032.7068
84 | 2576256.4064 | 1182140.6205
85 | 2576156.3034 | 1182061.813
86 | 2576297.6856 | 1181931.4243
87 | 2576253.8916 | 1182020.914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98575 | -0.27425 | 0.0017818 | 0.00044657
1 | 0.98681 | -0.25349 | 0.002678 | 0.00067117
2 | 0.98554 | -0.27826 | 0 | 0
3 | 0.98681 | -0.25348 | 0.0028136 | 0.00070516
4 | 0.98535 | -0.28205 | 0.0015972 | 0.0004003
5 | 0.98535 | -0.28192 | 0.001468 | 0.00036791
6 | 0.98713 | -0.24725 | 0.0027709 | 0.00069446
7 | 0.98516 | -0.28563 | 0.0024657 | 0.00061797
8 | 0.98528 | -0.28342 | 0 | 0
9 | 0.98457 | -0.29717 | 0.0032327 | 0.0008102
10 | 0.98757 | -0.23868 | 0.0027454 | 0.00068805
11 | 0.98514 | -0.28607 | 0.0023349 | 0.00058517
12 | 0.98521 | -0.28476 | 0.0026187 | 0.00065631
13 | 0.98861 | -0.21863 | 0.0043805 | 0.0010979
14 | 0.98869 | -0.21703 | 0.0043772 | 0.001097
15 | 0.98874 | -0.21607 | 0 | 0
16 | 0.98885 | -0.21399 | 0 | 0
17 | 0.98845 | -0.22163 | 0.0043981 | 0.0011023
18 | 0.99031 | -0.18574 | 0 | 0
19 | 0.98823 | -0.226 | 0.0043248 | 0.0010839
20 | 0.98995 | -0.19267 | 0.0044448 | 0.001114
21 | 0.99049 | -0.18218 | 0.0027855 | 0.00069811
22 | 0.98806 | -0.2293 | 0.0043052 | 0.001079
23 | 0.99128 | -0.16695 | 0.0031899 | 0.00079946
24 | 0.99243 | -0.14477 | 0.0014359 | 0.00035987
25 | 0.99396 | -0.1153 | 0.0020581 | 0.00051581
26 | 0.98974 | -0.19675 | 0.0033069 | 0.0008288
27 | 0.99441 | -0.10674 | 0.0019648 | 0.00049244
28 | 0.9896 | -0.19944 | 0.003918 | 0.00098194
29 | 0.98506 | -0.28762 | 0.0014047 | 0.00035205
30 | 0.98505 | -0.28793 | 0.0016379 | 0.00041049
31 | 0.99345 | -0.12499 | 0.0028574 | 0.00071613
32 | 0.99336 | -0.12679 | 0.0028937 | 0.00072523
33 | 0.99449 | -0.10512 | 0.0023704 | 0.00059408
34 | 0.99319 | -0.13001 | 0.0023611 | 0.00059175
35 | 0.99564 | -0.083164 | 0 | 0
36 | 0.99165 | -0.15961 | 0 | 0
37 | 0.99738 | -0.049754 | 0.0030401 | 0.00076192
38 | 0.99484 | -0.098427 | 0.0019173 | 0.00048052
39 | 0.99044 | -0.18294 | 0.0034049 | 0.00085335
40 | 0.99758 | -0.04608 | 0.002372 | 0.00059447
41 | 0.9947 | -0.10115 | 0.0019392 | 0.00048601
42 | 0.99455 | -0.10395 | 0.0019273 | 0.00048302
43 | 1 | 0 | -0.20051 | -0.050626
44 | 0.98504 | -0.28809 | 0.0019479 | 0.00048819
45 | 0.98974 | -0.19639 | 0 | 0
46 | 0.98972 | -0.19692 | 0.0011364 | 0.00028482
47 | 0.98854 | -0.2196 | 0.0031472 | 0.00078877
48 | 0.98368 | -0.31453 | 0.0035452 | 0.00088851
49 | 0.98383 | -0.31166 | 0.0048356 | 0.0012119
50 | 0.98403 | -0.30782 | 0.0021206 | 0.00053148
51 | 0.98947 | -0.20205 | 0.0026151 | 0.00065541
52 | 0.98948 | -0.20182 | 0.003436 | 0.00086115
53 | 0.9857 | -0.27481 | 0.0049788 | 0.0012478
54 | 0.987 | -0.24955 | 0.0052819 | 0.0013238
55 | 0.98525 | -0.28365 | 0 | 0
56 | 0.98711 | -0.24734 | 0 | 0
57 | 0.9852 | -0.28459 | 0 | 0
58 | 0.98519 | -0.28478 | 0.002011 | 0.00050401
59 | 0.98459 | -0.29639 | 0.0011158 | 0.00027965
60 | 0.98707 | -0.24822 | 0.0017394 | 0.00043594
61 | 0.9883 | -0.22421 | 0 | 0
62 | 0.98507 | -0.28704 | 0.001605 | 0.00040226
63 | 0.98516 | -0.2854 | 0 | 0
64 | 0.98455 | -0.29714 | 0.0011312 | 0.00028352
65 | 0.98828 | -0.22473 | 0.00061855 | 0.00015502
66 | 0.98505 | -0.28745 | 0.0016301 | 0.00040853
67 | 0.98512 | -0.28618 | 0.002376 | 0.00059547
68 | 0.98427 | -0.30264 | 0.0051772 | 0.0012975
69 | 0.99949 | -0.0097841 | 0.0043701 | 0.0010952
70 | 0.99958 | -0.0081307 | 0 | 0
71 | 0.98325 | -0.32248 | 0.0030571 | 0.00076619
72 | 0.98224 | -0.34226 | 0.0031309 | 0.00078467
73 | 0.98231 | -0.34097 | 0.0031331 | 0.00078522
74 | 0.9824 | -0.33917 | 0 | 0
75 | 0.98247 | -0.33787 | 0.0035663 | 0.0008938
76 | 0.98286 | -0.3302 | 0.0054936 | 0.0013768
77 | 0.98323 | -0.3229 | 0.0015449 | 0.00038719
78 | 0.98265 | -0.33434 | 0 | 0
79 | 0.98263 | -0.33467 | 0.0035678 | 0.00089417
80 | 0.99952 | -0.0091999 | 0.002325 | 0.00058269
81 | 0.99963 | -0.0070483 | 0.0047772 | 0.0011973
82 | 0.9999 | -0.0019998 | 0.0023601 | 0.0005915
83 | 0.99979 | -0.0040854 | 0.0023601 | 0.0005915
84 | 0.98825 | -0.22525 | 0.0011633 | 0.00029155
85 | 0.98505 | -0.28746 | 0.001666 | 0.00041755
86 | 0.98797 | -0.231 | 0.0042948 | 0.0010764
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031022 | -0.0077824 | 0.031052 | 0.0078016 | 3.0736e-05 | 1.9194e-05 | 0.046831 | 0.046831 | 0.046831 | 0.98575 | -0.27425 | 0.98681 | -0.25349 | 12.8656
1 | 0.02924 | 0.0073359 | -0.029234 | -0.0073324 | 5.594e-06 | 3.4826e-06 | 0.044141 | 0.044141 | 0.044141 | 0.98575 | -0.27425 | 0.98554 | -0.27826 | 12.1267
2 | -0.03373 | -0.0084728 | 0.03373 | 0.0084728 | 3.0709e-09 | 1.9368e-09 | 0.050869 | 0.050869 | 0.050869 | 0.98681 | -0.25349 | 0.98681 | -0.25348 | 13.975
3 | 0.011393 | 0.0028561 | -0.011391 | -0.002855 | 2.0553e-06 | 1.0794e-06 | 0.017201 | 0.017201 | 0.017201 | 0.98554 | -0.27826 | 0.98535 | -0.28205 | 4.7257
4 | 0.017842 | 0.0044763 | -0.017839 | -0.0044745 | 3.1129e-06 | 1.8465e-06 | 0.02694 | 0.02694 | 0.02694 | 0.98554 | -0.27826 | 0.98535 | -0.28192 | 7.4011
5 | -0.036544 | -0.009178 | 0.036555 | 0.0091848 | 1.0866e-05 | 6.8323e-06 | 0.055112 | 0.055112 | 0.055112 | 0.98681 | -0.25348 | 0.98713 | -0.24725 | 15.1405
6 | 0.0097933 | 0.0024547 | -0.0097917 | -0.0024539 | 1.6711e-06 | 8.1006e-07 | 0.014789 | 0.01479 | 0.01479 | 0.98535 | -0.28205 | 0.98516 | -0.28563 | 4.0631
7 | 0.0026191 | 0.00065577 | -0.0026189 | -0.00065606 | 1.8768e-07 | -2.8742e-07 | 0.0039549 | 0.0039551 | 0.0039551 | 0.98535 | -0.28192 | 0.98528 | -0.28342 | 1.0866
8 | 0.013751 | 0.0034508 | -0.013741 | -0.0034452 | 9.9961e-06 | 5.6109e-06 | 0.020768 | 0.020768 | 0.020768 | 0.98535 | -0.28192 | 0.98457 | -0.29717 | 5.7056
9 | -0.039326 | -0.0098793 | 0.039342 | 0.0098894 | 1.6101e-05 | 1.0148e-05 | 0.059288 | 0.059288 | 0.059288 | 0.98713 | -0.24725 | 0.98757 | -0.23868 | 16.288
10 | 0.0073259 | 0.0018359 | -0.0073258 | -0.0018358 | 1.5262e-07 | 5.5352e-08 | 0.011065 | 0.011065 | 0.011065 | 0.98516 | -0.28563 | 0.98514 | -0.28607 | 3.0399
11 | 0.0026189 | 0.00065606 | -0.0026187 | -0.00065631 | 1.6658e-07 | -2.5501e-07 | 0.0039551 | 0.0039552 | 0.0039552 | 0.98528 | -0.28342 | 0.98521 | -0.28476 | 1.0866
12 | 0.010509 | 0.002635 | -0.010503 | -0.0026323 | 5.3287e-06 | 2.6944e-06 | 0.015883 | 0.015883 | 0.015883 | 0.98457 | -0.29717 | 0.98403 | -0.30782 | 4.3635
13 | -0.042087 | -0.010577 | 0.042137 | 0.010609 | 4.9675e-05 | 3.137e-05 | 0.063425 | 0.063425 | 0.063425 | 0.98757 | -0.23868 | 0.98885 | -0.21399 | 17.4244
14 | 0.0049909 | 0.0012507 | -0.0049905 | -0.0012507 | 3.7021e-07 | 1.5772e-08 | 0.0075385 | 0.0075386 | 0.0075386 | 0.98514 | -0.28607 | 0.98506 | -0.28762 | 2.071
15 | -0.0043805 | -0.0010979 | 0.0043809 | 0.0010978 | 3.3357e-07 | -4.8899e-08 | 0.0065934 | 0.0065933 | 0.0065934 | 0.98861 | -0.21863 | 0.98869 | -0.21703 | 1.8114
16 | -0.0087581 | -0.0021948 | 0.0087585 | 0.002195 | 4.0001e-07 | 1.7727e-07 | 0.013181 | 0.013181 | 0.013181 | 0.98869 | -0.21703 | 0.98874 | -0.21607 | 3.6212
17 | -0.02609 | -0.0065412 | 0.026093 | 0.0065428 | 2.5867e-06 | 1.5981e-06 | 0.039266 | 0.039266 | 0.039266 | 0.98874 | -0.21607 | 0.98885 | -0.21399 | 10.7873
18 | 0.017332 | 0.0043462 | -0.017327 | -0.0043435 | 4.5951e-06 | 2.71e-06 | 0.026085 | 0.026085 | 0.026085 | 0.98874 | -0.21607 | 0.98845 | -0.22163 | 7.1661
19 | -0.06823 | -0.017152 | 0.068322 | 0.01721 | 9.2163e-05 | 5.8685e-05 | 0.10269 | 0.10269 | 0.10269 | 0.98885 | -0.21399 | 0.99031 | -0.18574 | 28.2117
20 | 0.012929 | 0.0032413 | -0.012926 | -0.0032398 | 2.6867e-06 | 1.4771e-06 | 0.019464 | 0.019464 | 0.019464 | 0.98845 | -0.22163 | 0.98823 | -0.226 | 5.3472
21 | 0.017731 | 0.0044469 | -0.017725 | -0.0044434 | 5.8568e-06 | 3.4654e-06 | 0.026644 | 0.026644 | 0.026644 | 0.99031 | -0.18574 | 0.98995 | -0.19267 | 7.3198
22 | -0.086053 | -0.021657 | 0.086068 | 0.021667 | 1.4633e-05 | 9.3351e-06 | 0.12933 | 0.12933 | 0.12933 | 0.99031 | -0.18574 | 0.99049 | -0.18218 | 35.5314
23 | 0.0086017 | 0.0021559 | -0.0086003 | -0.0021553 | 1.3531e-06 | 5.9046e-07 | 0.012952 | 0.012952 | 0.012952 | 0.98823 | -0.226 | 0.98806 | -0.2293 | 3.5582
24 | 0.013281 | 0.0033295 | -0.013278 | -0.003328 | 2.5766e-06 | 1.4274e-06 | 0.019963 | 0.019963 | 0.019963 | 0.98995 | -0.19267 | 0.98974 | -0.19675 | 5.4843
25 | -0.088853 | -0.022365 | 0.088918 | 0.022406 | 6.4732e-05 | 4.1304e-05 | 0.13352 | 0.13352 | 0.13352 | 0.99049 | -0.18218 | 0.99128 | -0.16695 | 36.681
26 | 0.0042951 | 0.0010763 | -0.0042948 | -0.0010764 | 3.4758e-07 | -6.1255e-08 | 0.0064684 | 0.0064685 | 0.0064685 | 0.98806 | -0.2293 | 0.98797 | -0.231 | 1.777
27 | -0.092108 | -0.023205 | 0.092206 | 0.023268 | 9.7823e-05 | 6.243e-05 | 0.13831 | 0.13831 | 0.13831 | 0.99128 | -0.16695 | 0.99243 | -0.14477 | 37.9964
28 | -0.093642 | -0.023628 | 0.093774 | 0.023712 | 0.00013239 | 8.4496e-05 | 0.14046 | 0.14046 | 0.14046 | 0.99243 | -0.14477 | 0.99396 | -0.1153 | 38.5879
29 | -0.095832 | -0.024228 | 0.095872 | 0.024253 | 3.9346e-05 | 2.5115e-05 | 0.14354 | 0.14354 | 0.14354 | 0.99396 | -0.1153 | 0.99441 | -0.10674 | 39.4343
30 | 0.0099712 | 0.0024992 | -0.0099699 | -0.0024986 | 1.2812e-06 | 6.2463e-07 | 0.014991 | 0.014991 | 0.014991 | 0.98974 | -0.19675 | 0.9896 | -0.19944 | 4.1185
31 | -0.097836 | -0.024746 | 0.097849 | 0.024754 | 1.3075e-05 | 8.3469e-06 | 0.14648 | 0.14648 | 0.14648 | 0.99441 | -0.10674 | 0.99455 | -0.10395 | 40.242
32 | 0.0060519 | 0.0015167 | -0.0060512 | -0.0015165 | 6.8513e-07 | 1.5506e-07 | 0.0090999 | 0.0091 | 0.0091 | 0.9896 | -0.19944 | 0.98948 | -0.20182 | 2.5
33 | 0.0035858 | 0.0008986 | -0.0035858 | -0.00089863 | 5.2599e-08 | -2.7193e-08 | 0.0054167 | 0.0054167 | 0.0054167 | 0.98506 | -0.28762 | 0.98505 | -0.28793 | 1.4881
34 | 0.0019479 | 0.00048814 | -0.0019479 | -0.00048819 | 1.4576e-08 | -4.7817e-08 | 0.0029425 | 0.0029425 | 0.0029425 | 0.98505 | -0.28793 | 0.98504 | -0.28809 | 0.80839
35 | 0.067417 | 0.017078 | -0.067411 | -0.017074 | 5.8048e-06 | 3.6954e-06 | 0.10104 | 0.10104 | 0.10104 | 0.99345 | -0.12499 | 0.99336 | -0.12679 | 27.759
36 | -0.070274 | -0.017794 | 0.070341 | 0.017837 | 6.7144e-05 | 4.2763e-05 | 0.10532 | 0.10532 | 0.10532 | 0.99345 | -0.12499 | 0.99449 | -0.10512 | 28.9348
37 | 0.064517 | 0.016349 | -0.064507 | -0.016343 | 9.9908e-06 | 6.3573e-06 | 0.096708 | 0.096708 | 0.096708 | 0.99336 | -0.12679 | 0.99319 | -0.13001 | 26.5682
38 | -0.072712 | -0.018431 | 0.072788 | 0.01848 | 7.679e-05 | 4.8921e-05 | 0.10887 | 0.10887 | 0.10887 | 0.99449 | -0.10512 | 0.99564 | -0.083164 | 29.9092
39 | 0.062146 | 0.015751 | -0.062058 | -0.015695 | 8.8259e-05 | 5.6136e-05 | 0.093171 | 0.093171 | 0.093171 | 0.99319 | -0.13001 | 0.99165 | -0.15961 | 25.5964
40 | -0.17652 | -0.044749 | 0.17681 | 0.04493 | 0.00028394 | 0.00018115 | 0.264 | 0.264 | 0.264 | 0.99564 | -0.083164 | 0.99738 | -0.049754 | 36.2641
41 | 0.10374 | 0.026269 | -0.10366 | -0.026221 | 7.5969e-05 | 4.8511e-05 | 0.15513 | 0.15513 | 0.15513 | 0.99564 | -0.083164 | 0.99484 | -0.098427 | 42.619
42 | 0.062058 | 0.015695 | -0.061988 | -0.015651 | 6.9381e-05 | 4.4129e-05 | 0.093171 | 0.093171 | 0.093171 | 0.99165 | -0.15961 | 0.99044 | -0.18294 | 25.5964
43 | -0.17985 | -0.045692 | 0.17988 | 0.045712 | 3.1814e-05 | 2.0299e-05 | 0.26854 | 0.26854 | 0.26854 | 0.99738 | -0.049754 | 0.99758 | -0.04608 | 36.8871
44 | 0.10174 | 0.02574 | -0.10173 | -0.025732 | 1.329e-05 | 8.486e-06 | 0.15227 | 0.15227 | 0.15227 | 0.99484 | -0.098427 | 0.9947 | -0.10115 | 41.8312
45 | 0.058584 | 0.014797 | -0.058546 | -0.014773 | 3.7719e-05 | 2.3973e-05 | 0.088056 | 0.088056 | 0.088056 | 0.99044 | -0.18294 | 0.98974 | -0.19639 | 24.1911
46 | -0.18225 | -0.046307 | 0.18266 | 0.046565 | 0.00040531 | 0.00025864 | 0.27208 | 0.27208 | 0.27208 | 0.99758 | -0.04608 | 1 | 0 | 37.3731
47 | 0.09979 | 0.025246 | -0.099777 | -0.025237 | 1.3425e-05 | 8.571e-06 | 0.14936 | 0.14936 | 0.14936 | 0.9947 | -0.10115 | 0.99455 | -0.10395 | 41.0342
48 | 0.016198 | 0.0040605 | -0.016196 | -0.0040596 | 1.5433e-06 | 8.9476e-07 | 0.024103 | 0.024103 | 0.024103 | 1 | 0 | 0.9999 | -0.0019998 | 6.6217
49 | 0.0011365 | 0.0002845 | -0.0011364 | -0.00028482 | 2.8803e-08 | -3.1971e-07 | 0.0017085 | 0.0017086 | 0.0017086 | 0.98974 | -0.19639 | 0.98972 | -0.19692 | 0.4694
50 | 0.057409 | 0.014489 | -0.057346 | -0.014448 | 6.3757e-05 | 4.0512e-05 | 0.086347 | 0.086347 | 0.086347 | 0.98974 | -0.19639 | 0.98854 | -0.2196 | 23.7218
51 | 0.054198 | 0.01366 | -0.054186 | -0.013652 | 1.195e-05 | 7.5868e-06 | 0.08161 | 0.08161 | 0.08161 | 0.98854 | -0.2196 | 0.9883 | -0.22421 | 22.4203
52 | -0.0035452 | -0.00088851 | 0.0035457 | 0.00088825 | 4.848e-07 | -2.6047e-07 | 0.0053628 | 0.0053626 | 0.0053628 | 0.98368 | -0.31453 | 0.98383 | -0.31166 | 1.4733
53 | -0.0083813 | -0.0021002 | 0.0083828 | 0.0021008 | 1.5338e-06 | 6.5833e-07 | 0.012676 | 0.012676 | 0.012676 | 0.98383 | -0.31166 | 0.98403 | -0.30782 | 3.4825
54 | -0.0026151 | -0.00065541 | 0.0026151 | 0.00065536 | 2.8595e-08 | -4.5026e-08 | 0.0039328 | 0.0039327 | 0.0039328 | 0.98947 | -0.20205 | 0.98948 | -0.20182 | 1.0804
55 | -0.045265 | -0.011372 | 0.04532 | 0.011406 | 5.4651e-05 | 3.4578e-05 | 0.068342 | 0.068342 | 0.068342 | 0.9857 | -0.27481 | 0.987 | -0.24955 | 18.7754
56 | 0.040286 | 0.010124 | -0.040269 | -0.010113 | 1.6988e-05 | 1.0716e-05 | 0.060826 | 0.060826 | 0.060826 | 0.9857 | -0.27481 | 0.98525 | -0.28365 | 16.7105
57 | -0.050602 | -0.01273 | 0.050607 | 0.012734 | 5.3301e-06 | 3.3801e-06 | 0.076305 | 0.076305 | 0.076305 | 0.987 | -0.24955 | 0.98711 | -0.24734 | 20.963
58 | 0.004902 | 0.0012283 | -0.0049018 | -0.0012283 | 2.188e-07 | 4.4722e-09 | 0.0074034 | 0.0074034 | 0.0074034 | 0.98525 | -0.28365 | 0.9852 | -0.28459 | 2.0339
59 | 0.0043874 | 0.0010991 | -0.0043871 | -0.0010992 | 2.3639e-07 | -3.1542e-08 | 0.0066261 | 0.0066262 | 0.0066262 | 0.98525 | -0.28365 | 0.98519 | -0.28478 | 1.8204
60 | 0.03098 | 0.0077858 | -0.030961 | -0.0077741 | 1.8831e-05 | 1.176e-05 | 0.046797 | 0.046797 | 0.046797 | 0.98525 | -0.28365 | 0.98459 | -0.29639 | 12.8563
61 | 0.0017395 | 0.00043563 | -0.0017394 | -0.00043594 | 7.2517e-08 | -3.1311e-07 | 0.0026221 | 0.0026222 | 0.0026222 | 0.98711 | -0.24734 | 0.98707 | -0.24822 | 0.72038
62 | -0.052347 | -0.013169 | 0.052404 | 0.013206 | 5.792e-05 | 3.6752e-05 | 0.078927 | 0.078927 | 0.078927 | 0.98711 | -0.24734 | 0.9883 | -0.22421 | 21.6833
63 | 0.0049018 | 0.0012283 | -0.0049012 | -0.0012283 | 5.727e-07 | 1.1777e-08 | 0.0074034 | 0.0074036 | 0.0074036 | 0.9852 | -0.28459 | 0.98507 | -0.28704 | 2.0339
64 | 0.0023761 | 0.00059516 | -0.0023761 | -0.0005953 | 6.9793e-08 | -1.3933e-07 | 0.0035888 | 0.0035888 | 0.0035888 | 0.98519 | -0.28478 | 0.98516 | -0.2854 | 0.98594
65 | 0.029845 | 0.0074944 | -0.029844 | -0.0074938 | 1.0685e-06 | 6.6602e-07 | 0.045111 | 0.045111 | 0.045111 | 0.98459 | -0.29639 | 0.98455 | -0.29714 | 12.393
66 | 0.0017819 | 0.00044609 | -0.0017819 | -0.00044627 | 4.3635e-08 | -1.7924e-07 | 0.0026828 | 0.0026828 | 0.0026828 | 0.9883 | -0.22421 | 0.98828 | -0.22473 | 0.73704
67 | 0.0032961 | 0.00082603 | -0.0032961 | -0.00082607 | 6.404e-08 | -4.6708e-08 | 0.004979 | 0.0049791 | 0.0049791 | 0.98507 | -0.28704 | 0.98505 | -0.28745 | 1.3679
68 | 0.0023761 | 0.0005953 | -0.002376 | -0.00059547 | 8.7945e-08 | -1.7555e-07 | 0.0035888 | 0.0035889 | 0.0035889 | 0.98516 | -0.2854 | 0.98512 | -0.28618 | 0.98596
69 | 0.028713 | 0.0072103 | -0.028706 | -0.0072056 | 7.5286e-06 | 4.6828e-06 | 0.043401 | 0.043401 | 0.043401 | 0.98455 | -0.29714 | 0.98427 | -0.30264 | 11.9234
70 | 0.0011633 | 0.00029125 | -0.0011633 | -0.00029155 | 2.9073e-08 | -3.0518e-07 | 0.0017515 | 0.0017516 | 0.0017516 | 0.98828 | -0.22473 | 0.98825 | -0.22525 | 0.48121
71 | 0.001666 | 0.00041754 | -0.001666 | -0.00041755 | 8.6653e-10 | -4.0898e-09 | 0.0025167 | 0.0025167 | 0.0025167 | 0.98505 | -0.28745 | 0.98505 | -0.28746 | 0.6914
72 | 0.023528 | 0.0059081 | -0.023506 | -0.0058944 | 2.2251e-05 | 1.3646e-05 | 0.035574 | 0.035574 | 0.035574 | 0.98427 | -0.30264 | 0.98325 | -0.32248 | 9.7732
73 | -0.0043701 | -0.0010952 | 0.0043704 | 0.0010952 | 3.4422e-07 | -6.3938e-08 | 0.006506 | 0.0065059 | 0.006506 | 0.99949 | -0.0097841 | 0.99958 | -0.0081307 | 1.7874
74 | 0.0023251 | 0.00058242 | -0.002325 | -0.00058269 | 1.184e-07 | -2.6968e-07 | 0.0034611 | 0.0034612 | 0.0034612 | 0.99958 | -0.0081307 | 0.99952 | -0.0091999 | 0.95089
75 | -0.0066955 | -0.0016776 | 0.0066958 | 0.0016777 | 3.4518e-07 | 9.945e-08 | 0.0099671 | 0.009967 | 0.0099671 | 0.99958 | -0.0081307 | 0.99963 | -0.0070483 | 2.7382
76 | 0.018904 | 0.0047412 | -0.018897 | -0.004737 | 6.9522e-06 | 4.1623e-06 | 0.02861 | 0.02861 | 0.02861 | 0.98325 | -0.32248 | 0.98286 | -0.3302 | 7.8599
77 | 0.001545 | 0.00038702 | -0.0015449 | -0.00038719 | 3.061e-08 | -1.698e-07 | 0.002338 | 0.0023381 | 0.0023381 | 0.98325 | -0.32248 | 0.98323 | -0.3229 | 0.64233
78 | -0.0031309 | -0.00078467 | 0.0031311 | 0.00078451 | 1.9193e-07 | -1.6516e-07 | 0.004743 | 0.0047429 | 0.004743 | 0.98224 | -0.34226 | 0.98231 | -0.34097 | 1.303
79 | -0.0062641 | -0.0015697 | 0.0062647 | 0.0015699 | 5.3691e-07 | 1.423e-07 | 0.0094889 | 0.0094888 | 0.0094889 | 0.98231 | -0.34097 | 0.9824 | -0.33917 | 2.6068
80 | -0.0062647 | -0.0015699 | 0.006265 | 0.00157 | 3.8706e-07 | 1.0256e-07 | 0.0094888 | 0.0094888 | 0.0094888 | 0.9824 | -0.33917 | 0.98247 | -0.33787 | 2.6068
81 | -0.0098314 | -0.0024638 | 0.009833 | 0.0024646 | 1.6551e-06 | 8.0713e-07 | 0.01489 | 0.01489 | 0.01489 | 0.98247 | -0.33787 | 0.98265 | -0.33434 | 4.0907
82 | 0.013403 | 0.0033602 | -0.013401 | -0.0033587 | 2.6441e-06 | 1.4753e-06 | 0.020293 | 0.020293 | 0.020293 | 0.98286 | -0.3302 | 0.98265 | -0.33434 | 5.575
83 | 0.0035678 | 0.00089414 | -0.0035678 | -0.00089417 | 5.5661e-08 | -2.8792e-08 | 0.0054027 | 0.0054028 | 0.0054028 | 0.98265 | -0.33434 | 0.98263 | -0.33467 | 1.4843
84 | -0.011473 | -0.002875 | 0.011475 | 0.0028758 | 1.6194e-06 | 8.4231e-07 | 0.017078 | 0.017078 | 0.017078 | 0.99963 | -0.0070483 | 0.99979 | -0.0040854 | 4.6918
85 | 0.013836 | 0.0034681 | -0.013835 | -0.0034673 | 1.3747e-06 | 7.6643e-07 | 0.020591 | 0.020591 | 0.020591 | 0.9999 | -0.0019998 | 0.99979 | -0.0040854 | 5.6568

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20469 | 0.051676

## res_load
| p_mw | q_mvar
0 | 0.0017818 | 0.00044657
1 | 0.002678 | 0.00067117
2 | 0.0028136 | 0.00070516
3 | 0.0015972 | 0.0004003
4 | 0.001468 | 0.00036791
5 | 0.0027709 | 0.00069446
6 | 0.0024657 | 0.00061797
7 | 0.0032327 | 0.0008102
8 | 0.0027454 | 0.00068805
9 | 0.0023349 | 0.00058517
10 | 0.0026187 | 0.00065631
11 | 0.0043805 | 0.0010979
12 | 0.0043772 | 0.001097
13 | 0.0043981 | 0.0011023
14 | 0.0043248 | 0.0010839
15 | 0.0044448 | 0.001114
16 | 0.0027855 | 0.00069811
17 | 0.0043052 | 0.001079
18 | 0.0031899 | 0.00079946
19 | 0.0014359 | 0.00035987
20 | 0.0020581 | 0.00051581
21 | 0.0033069 | 0.0008288
22 | 0.0019648 | 0.00049244
23 | 0.003918 | 0.00098194
24 | 0.0014047 | 0.00035205
25 | 0.0016379 | 0.00041049
26 | 0.0028574 | 0.00071613
27 | 0.0028937 | 0.00072523
28 | 0.0023704 | 0.00059408
29 | 0.0023611 | 0.00059175
30 | 0.0030401 | 0.00076192
31 | 0.0019173 | 0.00048052
32 | 0.0034049 | 0.00085335
33 | 0.002372 | 0.00059447
34 | 0.0019392 | 0.00048601
35 | 0.0019273 | 0.00048302
36 | 0.0041896 | 0.00105
37 | 0.0019479 | 0.00048819
38 | 0.0011364 | 0.00028482
39 | 0.0031472 | 0.00078877
40 | 0.0035452 | 0.00088851
41 | 0.0048356 | 0.0012119
42 | 0.0021206 | 0.00053148
43 | 0.0026151 | 0.00065541
44 | 0.003436 | 0.00086115
45 | 0.0049788 | 0.0012478
46 | 0.0052819 | 0.0013238
47 | 0.002011 | 0.00050401
48 | 0.0011158 | 0.00027965
49 | 0.0017394 | 0.00043594
50 | 0.001605 | 0.00040226
51 | 0.0011312 | 0.00028352
52 | 0.00061855 | 0.00015502
53 | 0.0016301 | 0.00040853
54 | 0.002376 | 0.00059547
55 | 0.0051772 | 0.0012975
56 | 0.0043701 | 0.0010952
57 | 0.0030571 | 0.00076619
58 | 0.0031309 | 0.00078467
59 | 0.0031331 | 0.00078522
60 | 0.0035663 | 0.0008938
61 | 0.0054936 | 0.0013768
62 | 0.0015449 | 0.00038719
63 | 0.0035678 | 0.00089417
64 | 0.002325 | 0.00058269
65 | 0.0047772 | 0.0011973
66 | 0.0023601 | 0.0005915
67 | 0.0023601 | 0.0005915
68 | 0.0011633 | 0.00029155
69 | 0.001666 | 0.00041755
70 | 0.0042948 | 0.0010764

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1