## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2228-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2228-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2228-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2228-4_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2228-4_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2228-4_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2228-4_0_6_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_2228-4_0_6_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_2228-4_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2228-4_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2228-4_0_6_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_2228-4_0_6_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2228-4_0_6_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_2228-4_0_6_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_2228-4_0_6_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_2228-4_0_6_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_2228-4_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2228-4_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_2228-4_0_6_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_2228-4_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2228-4_0_6_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_2228-4_0_6_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_2228-4_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2228-4_0_6_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_2228-4_0_6_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_2228-4_0_6_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_2228-4_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_2228-4_0_6_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_2228-4_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2228-4_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2228-4_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2228-4_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2228-4_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2228-4_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2228-4_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2228-4_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2228-4_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2228-4_0_6_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_2228-4_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2228-4_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2228-4_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2228-4_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2228-4_0_6_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2228-4_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2228-4_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2228-4_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2228-4_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2228-4_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_MV_373_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-4_0_6_load_0 | 0 | 0.0097577 | 0.0024455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-4_0_6_load_1 | 1 | 0.010078 | 0.0025257 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-4_0_6_load_9 | 6 | 0.030334 | 0.0076025 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-4_0_6_load_49 | 8 | 0.005141 | 0.0012885 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-4_0_6_load_50 | 9 | 0.0046657 | 0.0011693 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-4_0_6_load_19 | 12 | 0.010657 | 0.0026709 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-4_0_6_load_33 | 13 | 0.0049462 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-4_0_6_load_31 | 15 | 0.0072972 | 0.0018288 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-4_0_6_load_47 | 16 | 0.02871 | 0.0071955 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-4_0_6_load_48 | 17 | 0.038134 | 0.0095572 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-4_0_6_load_10 | 18 | 0.01351 | 0.003386 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-4_0_6_load_38 | 19 | 0.0075014 | 0.00188 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-4_0_6_load_36 | 20 | 0.0014741 | 0.00036944 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-4_0_6_load_37 | 23 | 0.0020272 | 0.00050806 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-4_0_6_load_32 | 24 | 0.0063382 | 0.0015885 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-4_0_6_load_11 | 25 | 0.013091 | 0.003281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-4_0_6_load_14 | 28 | 0.017522 | 0.0043913 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-4_0_6_load_46 | 29 | 0.046725 | 0.01171 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-4_0_6_load_15 | 30 | 0.0087781 | 0.0022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-4_0_6_load_16 | 31 | 0.015665 | 0.0039261 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2228-4_0_6_load_17 | 32 | 0.014168 | 0.0035508 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2228-4_0_6_load_18 | 33 | 0.014766 | 0.0037007 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2228-4_0_6_load_23 | 34 | 0.015902 | 0.0039854 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2228-4_0_6_load_24 | 35 | 0.023814 | 0.0059684 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2228-4_0_6_load_21 | 36 | 0.015092 | 0.0037825 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2228-4_0_6_load_45 | 39 | 0.016977 | 0.0042548 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2228-4_0_6_load_29 | 40 | 0.010095 | 0.00253 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2228-4_0_6_load_25 | 42 | 0.0085344 | 0.0021389 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2228-4_0_6_load_26 | 43 | 0.012844 | 0.0032189 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2228-4_0_6_load_27 | 44 | 0.0087161 | 0.0021845 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2228-4_0_6_load_40 | 45 | 0.010027 | 0.0025129 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2228-4_0_6_load_41 | 46 | 0.0030033 | 0.00075269 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2228-4_0_6_load_39 | 47 | 0.0012222 | 0.00030631 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2228-4_0_6_load_42 | 48 | 0.0012705 | 0.00031842 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2228-4_0_6_load_44 | 49 | 0.0066174 | 0.0016585 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-4_0_6_line_0 |  | 0 | 1 | 0.014573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_2228-4_0_6_line_1 |  | 0 | 2 | 0.028295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_2228-4_0_6_line_2 |  | 1 | 3 | 0.01229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_2228-4_0_6_line_3 |  | 2 | 4 | 0.004648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2228-4_0_6_line_4 |  | 3 | 5 | 0.020431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2228-4_0_6_line_5 |  | 3 | 6 | 0.025398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_2228-4_0_6_line_6 |  | 4 | 7 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2228-4_0_6_line_7 |  | 4 | 8 | 0.032008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2228-4_0_6_line_8 |  | 5 | 16 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2228-4_0_6_line_9 |  | 5 | 17 | 0.015792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2228-4_0_6_line_10 |  | 6 | 18 | 0.03785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_2228-4_0_6_line_11 |  | 7 | 9 | 0.00862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2228-4_0_6_line_12 |  | 7 | 10 | 0.16749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_2228-4_0_6_line_13 |  | 7 | 11 | 0.17441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2228-4_0_6_line_14 |  | 10 | 12 | 0.20372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_2228-4_0_6_line_15 |  | 11 | 13 | 0.025564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2228-4_0_6_line_16 |  | 11 | 14 | 0.1564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2228-4_0_6_line_17 |  | 11 | 15 | 0.016591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2228-4_0_6_line_18 |  | 12 | 21 | 0.1272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2228-4_0_6_line_19 |  | 14 | 19 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2228-4_0_6_line_20 |  | 14 | 20 | 0.013956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2228-4_0_6_line_21 |  | 15 | 24 | 0.024162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2228-4_0_6_line_22 |  | 18 | 25 | 0.014123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2228-4_0_6_line_23 |  | 19 | 47 | 0.035119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2228-4_0_6_line_24 |  | 20 | 22 | 0.049921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2228-4_0_6_line_25 |  | 21 | 36 | 0.020415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_2228-4_0_6_line_26 |  | 21 | 37 | 0.007027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2228-4_0_6_line_27 |  | 22 | 23 | 0.009328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2228-4_0_6_line_28 |  | 25 | 26 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2228-4_0_6_line_29 |  | 26 | 27 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-4_0_6_line_30 |  | 26 | 28 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2228-4_0_6_line_31 |  | 27 | 29 | 0.036807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2228-4_0_6_line_32 |  | 30 | 31 | 0.0078586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2228-4_0_6_line_33 |  | 30 | 32 | 0.013395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2228-4_0_6_line_34 |  | 32 | 33 | 0.037396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_2228-4_0_6_line_35 |  | 33 | 34 | 0.025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_2228-4_0_6_line_36 |  | 34 | 35 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_2228-4_0_6_line_37 |  | 35 | 42 | 0.0047451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_2228-4_0_6_line_38 |  | 36 | 38 | 0.046099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_2228-4_0_6_line_39 |  | 37 | 39 | 0.064395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2228-4_0_6_line_40 |  | 38 | 40 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_2228-4_0_6_line_41 |  | 38 | 41 | 0.21964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_2228-4_0_6_line_42 |  | 40 | 44 | 0.018234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_2228-4_0_6_line_43 |  | 41 | 45 | 0.076948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2228-4_0_6_line_44 |  | 42 | 43 | 0.0083346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_2228-4_0_6_line_45 |  | 43 | 44 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_2228-4_0_6_line_46 |  | 45 | 46 | 0.051845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2228-4_0_6_line_47 |  | 46 | 48 | 0.024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2228-4_0_6_line_48 |  | 48 | 49 | 0.011022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-4_0_6_trafo_10 | 0.63 MVA 20/0.4 kV | 50 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2574787.4367 | 1182623.1414 | 2574801.9342 | 1182621.6556
1 | 2574759.2889 | 1182626.0261 | 2574787.4367 | 1182623.1414
2 | 2574814.16 | 1182620.4026 | 2574801.9342 | 1182621.6556
3 | 2574759.2889 | 1182626.0261 | 2574759.8657 | 1182630.6372
4 | 2574814.16 | 1182620.4026 | 2574815.2997 | 1182640.7973
5 | 2574814.16 | 1182620.4026 | 2574837.4992 | 1182618.4365 | 2574839.4712 | 1182618.3156
6 | 2574748.395 | 1182631.7196 | 2574759.8657 | 1182630.6372
7 | 2574763.825 | 1182662.3926 | 2574759.8657 | 1182630.6372
8 | 2574815.2997 | 1182640.7973 | 2574807.5646 | 1182649.6123
9 | 2574815.2997 | 1182640.7973 | 2574824.843 | 1182653.397
10 | 2574839.4712 | 1182618.3156 | 2574877.2502 | 1182615.9989
11 | 2574749.6069 | 1182640.2522 | 2574748.395 | 1182631.7196
12 | 2574631.1264 | 1182571.3962 | 2574629.7788 | 1182575.8932 | 2574631.8694 | 1182589.9361 | 2574655.9817 | 1182627.9647 | 2574663.2043 | 1182636.9498 | 2574665.5415 | 1182635.3835 | 2574668.2873 | 1182634.7382 | 2574671.0833 | 1182635.1043 | 2574673.5626 | 1182636.4278 | 2574675.4192 | 1182638.5544 | 2574681.9609 | 1182636.4144 | 2574687.1166 | 1182635.1252 | 2574699.6556 | 1182632.115 | 2574700.1474 | 1182636.4707 | 2574748.395 | 1182631.7196
13 | 2574729.9621 | 1182712.3285 | 2574702.842 | 1182715.6006 | 2574679.1601 | 1182670.8998 | 2574676.9408 | 1182664.2725 | 2574676.8272 | 1182657.2804 | 2574678.3838 | 1182651.682 | 2574681.2457 | 1182645.9891 | 2574685.7007 | 1182641.5123 | 2574694.2713 | 1182637.107 | 2574700.1474 | 1182636.4707 | 2574748.395 | 1182631.7196
14 | 2574631.1264 | 1182571.3962 | 2574634.0849 | 1182561.5118 | 2574650.4351 | 1182551.5928 | 2574823.7955 | 1182533.6968
15 | 2574729.9621 | 1182712.3285 | 2574727.6479 | 1182686.8695
16 | 2574729.9621 | 1182712.3285 | 2574702.842 | 1182715.6006 | 2574721.2186 | 1182747.973 | 2574727.2056 | 1182753.7173 | 2574733.4437 | 1182757.4484 | 2574740.9095 | 1182760.8186 | 2574747.1461 | 1182764.2051 | 2574751.9358 | 1182768.4537 | 2574756.2309 | 1182774.9167 | 2574758.6517 | 1182776.852 | 2574761.5334 | 1182777.6735 | 2574766.2731 | 1182779.132 | 2574769.9937 | 1182781.5176 | 2574773.902 | 1182783.1686 | 2574779.4424 | 1182784.4125 | 2574785.4756 | 1182784.8428 | 2574800.7207 | 1182782.7107
17 | 2574729.9621 | 1182712.3285 | 2574746.4663 | 1182710.6348
18 | 2574950.5375 | 1182522.867 | 2574825.7268 | 1182533.4974 | 2574823.7955 | 1182533.6968
19 | 2574800.7207 | 1182782.7107 | 2574801.7884 | 1182764.3521
20 | 2574800.7207 | 1182782.7107 | 2574814.4893 | 1182780.4302
21 | 2574746.4663 | 1182710.6348 | 2574770.5022 | 1182708.1682
22 | 2574877.2502 | 1182615.9989 | 2574891.3469 | 1182615.1345
23 | 2574827.7069 | 1182756.7944 | 2574820.6853 | 1182755.5345 | 2574817.6266 | 1182767.0534 | 2574801.7884 | 1182764.3521
24 | 2574863.7393 | 1182772.273 | 2574814.4893 | 1182780.4302
25 | 2574950.5375 | 1182522.867 | 2574950.4222 | 1182502.4525
26 | 2574957.5844 | 1182522.8041 | 2574950.5375 | 1182522.867
27 | 2574863.7393 | 1182772.273 | 2574866.6382 | 1182766.2799 | 2574869.0351 | 1182765.1022
28 | 2574903.1291 | 1182614.8474 | 2574894.1433 | 1182614.963 | 2574891.3469 | 1182615.1345
29 | 2574903.1291 | 1182614.8474 | 2574903.2035 | 1182627.109
30 | 2574903.1291 | 1182614.8474 | 2574917.0746 | 1182615.064
31 | 2574903.2035 | 1182627.109 | 2574903.3121 | 1182643.8506 | 2574891.4376 | 1182643.3114 | 2574895.3922 | 1182650.5096
32 | 2574815.6987 | 1182489.0501 | 2574808.358 | 1182486.2443
33 | 2574828.7089 | 1182490.9684 | 2574821.1351 | 1182491.128 | 2574815.6987 | 1182489.0501
34 | 2574828.7089 | 1182490.9684 | 2574831.6858 | 1182490.9056 | 2574839.9846 | 1182488.9808 | 2574844.6616 | 1182489.9949 | 2574854.0194 | 1182494.7802 | 2574860.5061 | 1182495.8535 | 2574864.5345 | 1182495.8016
35 | 2574864.5345 | 1182495.8016 | 2574868.2094 | 1182495.7543 | 2574881.8655 | 1182491.3946 | 2574887.5284 | 1182485.9961
36 | 2574887.5284 | 1182485.9961 | 2574888.413 | 1182485.1527 | 2574892.4996 | 1182481.9561 | 2574896.3233 | 1182481.6065 | 2574900.9216 | 1182482.0763 | 2574906.8702 | 1182484.1079
37 | 2574906.8702 | 1182484.1079 | 2574906.8702 | 1182484.1079 | 2574911.6107 | 1182483.899
38 | 2574959.5701 | 1182457.4284 | 2574953.4405 | 1182481.4221 | 2574950.3891 | 1182496.5984 | 2574950.4222 | 1182502.4525
39 | 2574957.5844 | 1182522.8041 | 2574959.0539 | 1182534.5708 | 2574966.8404 | 1182541.5751 | 2574972.5003 | 1182545.7647 | 2574976.2327 | 1182552.786 | 2574978.017 | 1182557.7033 | 2574977.6864 | 1182562.6184 | 2574960.7464 | 1182561.2887
40 | 2574959.5701 | 1182457.4284 | 2574947.0481 | 1182467.1236
41 | 2574959.5701 | 1182457.4284 | 2574963.1604 | 1182441.4828 | 2574968.9991 | 1182415.467 | 2574970.8893 | 1182412.8577 | 2574978.8601 | 1182409.1446 | 2574988.5388 | 1182404.8573 | 2575004.1917 | 1182401.39 | 2575011.9363 | 1182398.356 | 2575029.8056 | 1182391.7556 | 2575046.09 | 1182385.9289 | 2575060.6227 | 1182379.3315 | 2575063.4704 | 1182379.2751 | 2575061.886 | 1182376.4914 | 2575060.4955 | 1182372.6396 | 2575052.7588 | 1182348.3482 | 2575051.2812 | 1182343.7297 | 2575050.8586 | 1182341.2857 | 2575054.1267 | 1182326.7201 | 2575053.2553 | 1182322.8328 | 2575050.1236 | 1182318.8883 | 2575042.7779 | 1182311.4373
42 | 2574930.8614 | 1182475.0067 | 2574941.6401 | 1182471.3108 | 2574947.0481 | 1182467.1236
43 | 2575042.7779 | 1182311.4373 | 2575044.2367 | 1182317.023 | 2575042.6604 | 1182323.4996 | 2575019.2268 | 1182359.7832 | 2575001.0759 | 1182348.605
44 | 2574911.6107 | 1182483.899 | 2574911.6107 | 1182483.899 | 2574916.5867 | 1182481.5769 | 2574918.8053 | 1182479.7984
45 | 2574918.8053 | 1182479.7984 | 2574920.2392 | 1182478.6489 | 2574930.8614 | 1182475.0067
46 | 2575001.0759 | 1182348.605 | 2574990.2527 | 1182341.9396 | 2574978.799 | 1182328.9808 | 2574959.4545 | 1182318.8455 | 2574959.4545 | 1182318.8455
47 | 2574959.4545 | 1182318.8455 | 2574953.3217 | 1182316.6367 | 2574947.5891 | 1182311.5248 | 2574944.866 | 1182306.7115 | 2574944.1484 | 1182301.5424
48 | 2574942.5612 | 1182290.6357 | 2574943.063 | 1182293.7234 | 2574944.1484 | 1182301.5424

## bus_geodata
| x | y | coords
0 | 2574787.4367 | 1182623.1414
1 | 2574801.9342 | 1182621.6556
2 | 2574759.2888 | 1182626.0261
3 | 2574814.16 | 1182620.4026
4 | 2574759.8657 | 1182630.6372
5 | 2574815.2997 | 1182640.7973
6 | 2574839.4712 | 1182618.3156
7 | 2574748.395 | 1182631.7196
8 | 2574763.825 | 1182662.3926
9 | 2574749.6069 | 1182640.2522
10 | 2574631.1264 | 1182571.3962
11 | 2574729.9621 | 1182712.3285
12 | 2574823.7955 | 1182533.6968
13 | 2574727.6479 | 1182686.8695
14 | 2574800.7207 | 1182782.7107
15 | 2574746.4663 | 1182710.6348
16 | 2574807.5646 | 1182649.6123
17 | 2574824.843 | 1182653.397
18 | 2574877.2502 | 1182615.9989
19 | 2574801.7884 | 1182764.3521
20 | 2574814.4893 | 1182780.4302
21 | 2574950.5375 | 1182522.867
22 | 2574863.7393 | 1182772.273
23 | 2574869.0351 | 1182765.1022
24 | 2574770.5022 | 1182708.1682
25 | 2574891.3469 | 1182615.1345
26 | 2574903.1291 | 1182614.8474
27 | 2574903.2035 | 1182627.109
28 | 2574917.0746 | 1182615.064
29 | 2574895.3922 | 1182650.5096
30 | 2574815.6987 | 1182489.0501
31 | 2574808.358 | 1182486.2443
32 | 2574828.7089 | 1182490.9684
33 | 2574864.5345 | 1182495.8016
34 | 2574887.5284 | 1182485.9961
35 | 2574906.8702 | 1182484.1079
36 | 2574950.4222 | 1182502.4525
37 | 2574957.5844 | 1182522.8041
38 | 2574959.5701 | 1182457.4284
39 | 2574960.7464 | 1182561.2887
40 | 2574947.0481 | 1182467.1236
41 | 2575042.7779 | 1182311.4373
42 | 2574911.6107 | 1182483.899
43 | 2574918.8053 | 1182479.7984
44 | 2574930.8614 | 1182475.0067
45 | 2575001.0759 | 1182348.605
46 | 2574959.4545 | 1182318.8455
47 | 2574827.7069 | 1182756.7944
48 | 2574944.1484 | 1182301.5424
49 | 2574942.5612 | 1182290.6357
50 | 2574903.1291 | 1182614.8474

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99473 | -0.09966 | 0.0097577 | 0.0024455
1 | 0.9954 | -0.086963 | 0.010078 | 0.0025257
2 | 0.99348 | -0.12339 | 0 | 0
3 | 0.99599 | -0.075833 | 0 | 0
4 | 0.99327 | -0.12729 | 0 | 0
5 | 0.99474 | -0.099858 | 0 | 0
6 | 0.99752 | -0.046923 | 0.030334 | 0.0076025
7 | 0.99277 | -0.13674 | 0 | 0
8 | 0.99312 | -0.1302 | 0.005141 | 0.0012885
9 | 0.99274 | -0.13745 | 0.0046657 | 0.0011693
10 | 0.98661 | -0.25421 | 0 | 0
11 | 0.98784 | -0.23227 | 0 | 0
12 | 0.97912 | -0.39907 | 0.010657 | 0.0026709
13 | 0.98772 | -0.23453 | 0.0049462 | 0.0012396
14 | 0.98608 | -0.2665 | 0 | 0
15 | 0.98763 | -0.23631 | 0.0072972 | 0.0018288
16 | 0.99444 | -0.10578 | 0.02871 | 0.0071955
17 | 0.9942 | -0.11047 | 0.038134 | 0.0095572
18 | 1 | 0 | -0.43988 | -0.11222
19 | 0.98593 | -0.26938 | 0.0075014 | 0.00188
20 | 0.98603 | -0.26738 | 0.0014741 | 0.00036944
21 | 0.97469 | -0.48566 | 0 | 0
22 | 0.98594 | -0.26919 | 0 | 0
23 | 0.98592 | -0.26953 | 0.0020272 | 0.00050806
24 | 0.98749 | -0.23905 | 0.0063382 | 0.0015885
25 | 0.99901 | -0.019057 | 0.013091 | 0.003281
26 | 0.99832 | -0.032293 | 0 | 0
27 | 0.9978 | -0.04232 | 0 | 0
28 | 0.9981 | -0.036568 | 0.017522 | 0.0043913
29 | 0.99623 | -0.072476 | 0.046725 | 0.01171
30 | 0.97053 | -0.56794 | 0.0087781 | 0.0022
31 | 0.97047 | -0.56908 | 0.015665 | 0.0039261
32 | 0.97059 | -0.56673 | 0.014168 | 0.0035508
33 | 0.97086 | -0.56139 | 0.014766 | 0.0037007
34 | 0.97111 | -0.55629 | 0.015902 | 0.0039854
35 | 0.97139 | -0.55087 | 0.023814 | 0.0059684
36 | 0.97405 | -0.49836 | 0.015092 | 0.0037825
37 | 0.97458 | -0.48785 | 0 | 0
38 | 0.97272 | -0.52452 | 0 | 0
39 | 0.97357 | -0.50793 | 0.016977 | 0.0042548
40 | 0.97233 | -0.5323 | 0.010095 | 0.00253
41 | 0.97186 | -0.54149 | 0 | 0
42 | 0.97147 | -0.54924 | 0.0085344 | 0.0021389
43 | 0.97163 | -0.54611 | 0.012844 | 0.0032189
44 | 0.97191 | -0.54059 | 0.0087161 | 0.0021845
45 | 0.97136 | -0.55139 | 0.010027 | 0.0025129
46 | 0.97084 | -0.56183 | 0.0030033 | 0.00075269
47 | 0.98589 | -0.27015 | 0.0012222 | 0.00030631
48 | 0.97065 | -0.56547 | 0.0012705 | 0.00031842
49 | 0.97058 | -0.56682 | 0.0066174 | 0.0016585
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.25175 | -0.064752 | 0.2519 | 0.06485 | 0.0001555 | 9.857e-05 | 0.37718 | 0.37718 | 0.37718 | 0.99473 | -0.09966 | 0.9954 | -0.086963 | 20.7241
1 | 0.24199 | 0.062306 | -0.24171 | -0.062129 | 0.00027899 | 0.00017672 | 0.36258 | 0.36258 | 0.36258 | 0.99473 | -0.09966 | 0.99348 | -0.12339 | 19.9222
2 | -0.26198 | -0.067376 | 0.26212 | 0.067466 | 0.00014181 | 8.9962e-05 | 0.39224 | 0.39224 | 0.39224 | 0.9954 | -0.086963 | 0.99599 | -0.075833 | 21.5518
3 | 0.24171 | 0.062129 | -0.24166 | -0.0621 | 4.5829e-05 | 2.903e-05 | 0.36258 | 0.36258 | 0.36258 | 0.99348 | -0.12339 | 0.99327 | -0.12729 | 19.9222
4 | 0.066948 | 0.016819 | -0.066871 | -0.01677 | 7.667e-05 | 4.8803e-05 | 0.10003 | 0.10003 | 0.10003 | 0.99599 | -0.075833 | 0.99474 | -0.099858 | 27.4821
5 | -0.32907 | -0.084284 | 0.32953 | 0.084578 | 0.00046161 | 0.00029377 | 0.49228 | 0.49228 | 0.49228 | 0.99599 | -0.075833 | 0.99752 | -0.046923 | 27.0482
6 | 0.23652 | 0.060812 | -0.23641 | -0.060743 | 0.00010851 | 6.8704e-05 | 0.35488 | 0.35488 | 0.35488 | 0.99327 | -0.12729 | 0.99277 | -0.13674 | 19.499
7 | 0.0051417 | 0.0012885 | -0.005141 | -0.0012885 | 7.1217e-07 | 4.1563e-08 | 0.0077027 | 0.0077029 | 0.0077029 | 0.99327 | -0.12729 | 0.99312 | -0.1302 | 2.1162
8 | 0.028719 | 0.0072006 | -0.02871 | -0.0071955 | 8.1073e-06 | 5.0366e-06 | 0.04296 | 0.042961 | 0.042961 | 0.99474 | -0.099858 | 0.99444 | -0.10578 | 11.8023
9 | 0.038153 | 0.0095693 | -0.038134 | -0.0095572 | 1.9291e-05 | 1.2141e-05 | 0.057074 | 0.057075 | 0.057075 | 0.99474 | -0.099858 | 0.9942 | -0.11047 | 15.6798
10 | -0.35987 | -0.092181 | 0.36069 | 0.092703 | 0.00082021 | 0.00052246 | 0.53753 | 0.53753 | 0.53753 | 0.99752 | -0.046923 | 1 | 0 | 29.5344
11 | 0.0046659 | 0.0011693 | -0.0046657 | -0.0011693 | 1.581e-07 | -1.0274e-08 | 0.0069934 | 0.0069935 | 0.0069935 | 0.99277 | -0.13674 | 0.99274 | -0.13745 | 1.9213
12 | 0.20077 | 0.051753 | -0.19963 | -0.051033 | 0.0011415 | 0.0007198 | 0.30144 | 0.30145 | 0.30145 | 0.99277 | -0.13674 | 0.98661 | -0.25421 | 16.5631
13 | 0.030973 | 0.0078208 | -0.030832 | -0.0077327 | 0.00014109 | 8.8051e-05 | 0.046445 | 0.046445 | 0.046445 | 0.99277 | -0.13674 | 0.98784 | -0.23227 | 12.7597
14 | 0.19963 | 0.051033 | -0.19824 | -0.050157 | 0.0013885 | 0.0008757 | 0.30145 | 0.30145 | 0.30145 | 0.98661 | -0.25421 | 0.97912 | -0.39907 | 16.5633
15 | 0.0049467 | 0.0012397 | -0.0049462 | -0.0012396 | 5.3229e-07 | 1.3429e-08 | 0.0074514 | 0.0074515 | 0.0074515 | 0.98784 | -0.23227 | 0.98772 | -0.23453 | 2.0471
16 | 0.012246 | 0.003074 | -0.012227 | -0.0030633 | 1.9963e-05 | 1.0777e-05 | 0.018449 | 0.01845 | 0.01845 | 0.98784 | -0.23227 | 0.98608 | -0.2665 | 5.0686
17 | 0.013639 | 0.003419 | -0.013636 | -0.0034176 | 2.6261e-06 | 1.4684e-06 | 0.020545 | 0.020545 | 0.020545 | 0.98784 | -0.23227 | 0.98763 | -0.23631 | 5.6443
18 | 0.18759 | 0.047487 | -0.18681 | -0.046998 | 0.00077632 | 0.00048888 | 0.28526 | 0.28526 | 0.28526 | 0.97912 | -0.39907 | 0.97469 | -0.48566 | 15.6736
19 | 0.0087249 | 0.0021865 | -0.0087237 | -0.0021859 | 1.1954e-06 | 5.305e-07 | 0.013166 | 0.013166 | 0.013166 | 0.98608 | -0.2665 | 0.98593 | -0.26938 | 3.6171
20 | 0.0035016 | 0.00087679 | -0.0035015 | -0.00087688 | 1.4611e-07 | -8.4513e-08 | 0.0052837 | 0.0052838 | 0.0052838 | 0.98608 | -0.2665 | 0.98603 | -0.26738 | 1.4516
21 | 0.0063391 | 0.0015887 | -0.0063382 | -0.0015885 | 8.2651e-07 | 2.1982e-07 | 0.0095508 | 0.0095509 | 0.0095509 | 0.98763 | -0.23631 | 0.98749 | -0.23905 | 2.6239
22 | 0.077542 | 0.019512 | -0.077472 | -0.019467 | 7.0544e-05 | 4.4963e-05 | 0.11541 | 0.11541 | 0.11541 | 1 | 0 | 0.99901 | -0.019057 | 31.7065
23 | 0.0012223 | 0.0003059 | -0.0012222 | -0.00030631 | 4.4811e-08 | -4.1916e-07 | 0.0018445 | 0.0018447 | 0.0018447 | 0.98593 | -0.26938 | 0.98589 | -0.27015 | 0.50678
24 | 0.0020274 | 0.00050744 | -0.0020272 | -0.00050796 | 1.7522e-07 | -5.2456e-07 | 0.0030593 | 0.0030595 | 0.0030595 | 0.98603 | -0.26738 | 0.98594 | -0.26919 | 0.84052
25 | 0.16982 | 0.042732 | -0.16971 | -0.042668 | 0.00010296 | 6.4621e-05 | 0.25931 | 0.25931 | 0.25931 | 0.97469 | -0.48566 | 0.97405 | -0.49836 | 14.2479
26 | 0.016995 | 0.0042654 | -0.016993 | -0.0042644 | 1.7741e-06 | 1.0479e-06 | 0.025947 | 0.025947 | 0.025947 | 0.97469 | -0.48566 | 0.97458 | -0.48785 | 7.1284
27 | 0.0020272 | 0.00050796 | -0.0020272 | -0.00050806 | 3.2744e-08 | -9.8002e-08 | 0.0030595 | 0.0030595 | 0.0030595 | 0.98594 | -0.26919 | 0.98592 | -0.26953 | 0.84053
28 | 0.06438 | 0.016186 | -0.06434 | -0.01616 | 4.0665e-05 | 2.5872e-05 | 0.095912 | 0.095912 | 0.095912 | 0.99901 | -0.019057 | 0.99832 | -0.032293 | 26.3495
29 | 0.046814 | 0.011767 | -0.046792 | -0.011753 | 2.2402e-05 | 1.4177e-05 | 0.06979 | 0.06979 | 0.06979 | 0.99832 | -0.032293 | 0.9978 | -0.04232 | 19.1731
30 | 0.017525 | 0.0043934 | -0.017522 | -0.0043913 | 3.5689e-06 | 2.1018e-06 | 0.026122 | 0.026122 | 0.026122 | 0.99832 | -0.032293 | 0.9981 | -0.036568 | 7.1764
31 | 0.046792 | 0.011753 | -0.046725 | -0.01171 | 6.7228e-05 | 4.2546e-05 | 0.06979 | 0.06979 | 0.06979 | 0.9978 | -0.04232 | 0.99623 | -0.072476 | 19.1732
32 | 0.015666 | 0.0039265 | -0.015665 | -0.0039261 | 8.5012e-07 | 3.4986e-07 | 0.02402 | 0.02402 | 0.02402 | 0.97053 | -0.56794 | 0.97047 | -0.56908 | 3.2994
33 | -0.024444 | -0.0061265 | 0.024446 | 0.0061265 | 1.4112e-06 | 7.5424e-08 | 0.037478 | 0.037478 | 0.037478 | 0.97053 | -0.56794 | 0.97059 | -0.56673 | 2.0592
34 | -0.038614 | -0.0096773 | 0.038623 | 0.0096813 | 9.829e-06 | 3.979e-06 | 0.059199 | 0.059198 | 0.059199 | 0.97059 | -0.56673 | 0.97086 | -0.56139 | 3.2527
35 | -0.053389 | -0.013382 | 0.053402 | 0.013389 | 1.2974e-05 | 6.7056e-06 | 0.081829 | 0.081829 | 0.081829 | 0.97086 | -0.56139 | 0.97111 | -0.55629 | 4.4961
36 | -0.069304 | -0.017374 | 0.069322 | 0.017384 | 1.7896e-05 | 1.0144e-05 | 0.1062 | 0.10619 | 0.1062 | 0.97111 | -0.55629 | 0.97139 | -0.55087 | 5.8349
37 | -0.093137 | -0.023353 | 0.093144 | 0.023357 | 7.2444e-06 | 4.3427e-06 | 0.14267 | 0.14267 | 0.14267 | 0.97139 | -0.55087 | 0.97147 | -0.54924 | 7.8393
38 | 0.15462 | 0.038885 | -0.15443 | -0.038765 | 0.00019298 | 0.00012064 | 0.23626 | 0.23626 | 0.23626 | 0.97405 | -0.49836 | 0.97272 | -0.52452 | 12.9812
39 | 0.016993 | 0.0042644 | -0.016977 | -0.0042548 | 1.6258e-05 | 9.6038e-06 | 0.025947 | 0.025948 | 0.025948 | 0.97458 | -0.48785 | 0.97357 | -0.50793 | 7.1285
40 | 0.13348 | 0.033518 | -0.13343 | -0.033487 | 4.953e-05 | 3.0717e-05 | 0.20421 | 0.20421 | 0.20421 | 0.97272 | -0.52452 | 0.97233 | -0.5323 | 11.2202
41 | 0.020952 | 0.0052467 | -0.020935 | -0.0052495 | 1.6924e-05 | -2.7894e-06 | 0.03205 | 0.032055 | 0.032055 | 0.97272 | -0.52452 | 0.97186 | -0.54149 | 1.7612
42 | 0.12333 | 0.030957 | -0.12328 | -0.030927 | 4.8727e-05 | 3.0055e-05 | 0.18876 | 0.18876 | 0.18876 | 0.97233 | -0.5323 | 0.97191 | -0.54059 | 10.3714
43 | 0.020935 | 0.0052495 | -0.020925 | -0.0052461 | 9.8833e-06 | 3.4663e-06 | 0.032055 | 0.032056 | 0.032056 | 0.97186 | -0.54149 | 0.97136 | -0.55139 | 2.9355
44 | -0.10168 | -0.025496 | 0.10169 | 0.025505 | 1.5163e-05 | 9.1882e-06 | 0.15575 | 0.15575 | 0.15575 | 0.97147 | -0.54924 | 0.97163 | -0.54611 | 8.5575
45 | -0.11454 | -0.028724 | 0.11457 | 0.028743 | 3.0156e-05 | 1.849e-05 | 0.17542 | 0.17542 | 0.17542 | 0.97163 | -0.54611 | 0.97191 | -0.54059 | 9.6382
46 | 0.010898 | 0.0027331 | -0.010893 | -0.0027303 | 5.4194e-06 | 2.827e-06 | 0.016696 | 0.016696 | 0.016696 | 0.97136 | -0.55139 | 0.97084 | -0.56183 | 4.5868
47 | 0.0078897 | 0.0019776 | -0.0078884 | -0.001977 | 1.3681e-06 | 5.6717e-07 | 0.012093 | 0.012093 | 0.012093 | 0.97084 | -0.56183 | 0.97065 | -0.56547 | 3.3222
48 | 0.0066179 | 0.0016586 | -0.0066174 | -0.0016585 | 4.2543e-07 | 1.3604e-07 | 0.010145 | 0.010145 | 0.010145 | 0.97065 | -0.56547 | 0.97058 | -0.56682 | 2.7872

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45339 | 0.1156

## res_load
| p_mw | q_mvar
0 | 0.0097577 | 0.0024455
1 | 0.010078 | 0.0025257
2 | 0.030334 | 0.0076025
3 | 0.005141 | 0.0012885
4 | 0.0046657 | 0.0011693
5 | 0.010657 | 0.0026709
6 | 0.0049462 | 0.0012396
7 | 0.0072972 | 0.0018288
8 | 0.02871 | 0.0071955
9 | 0.038134 | 0.0095572
10 | 0.01351 | 0.003386
11 | 0.0075014 | 0.00188
12 | 0.0014741 | 0.00036944
13 | 0.0020272 | 0.00050806
14 | 0.0063382 | 0.0015885
15 | 0.013091 | 0.003281
16 | 0.017522 | 0.0043913
17 | 0.046725 | 0.01171
18 | 0.0087781 | 0.0022
19 | 0.015665 | 0.0039261
20 | 0.014168 | 0.0035508
21 | 0.014766 | 0.0037007
22 | 0.015902 | 0.0039854
23 | 0.023814 | 0.0059684
24 | 0.015092 | 0.0037825
25 | 0.016977 | 0.0042548
26 | 0.010095 | 0.00253
27 | 0.0085344 | 0.0021389
28 | 0.012844 | 0.0032189
29 | 0.0087161 | 0.0021845
30 | 0.010027 | 0.0025129
31 | 0.0030033 | 0.00075269
32 | 0.0012222 | 0.00030631
33 | 0.0012705 | 0.00031842
34 | 0.0066174 | 0.0016585

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1