## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2228-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2228-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2228-6_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2228-6_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2228-6_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2228-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2228-6_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2228-6_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_2228-6_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2228-6_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_2228-6_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2228-6_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_2228-6_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2228-6_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2228-6_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2228-6_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2228-6_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_2228-6_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2228-6_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2228-6_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2228-6_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2228-6_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2228-6_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2228-6_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_2228-6_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2228-6_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2228-6_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_2228-6_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2228-6_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2228-6_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2228-6_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_2228-6_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2228-6_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_2228-6_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_2228-6_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2228-6_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2228-6_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_2228-6_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_2228-6_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2228-6_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2228-6_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_MV_505_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2228-6_0_4_load_0 | 0 | 0.022504 | 0.0056399 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2228-6_0_4_load_4 | 2 | 0.020827 | 0.0052196 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2228-6_0_4_load_3 | 4 | 0.012864 | 0.0032241 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2228-6_0_4_load_28 | 7 | 0.013903 | 0.0034843 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2228-6_0_4_load_43 | 11 | 0.022643 | 0.0056748 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2228-6_0_4_load_11 | 12 | 0.028132 | 0.0070506 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2228-6_0_4_load_7 | 13 | 0.016837 | 0.0042198 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2228-6_0_4_load_9 | 14 | 0.023746 | 0.0059512 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2228-6_0_4_load_25 | 16 | 0.019549 | 0.0048994 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2228-6_0_4_load_12 | 17 | 0.013697 | 0.0034329 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2228-6_0_4_load_13 | 18 | 0.017604 | 0.0044121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2228-6_0_4_load_21 | 20 | 0.017763 | 0.0044519 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2228-6_0_4_load_22 | 21 | 0.014135 | 0.0035426 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2228-6_0_4_load_24 | 23 | 0.018617 | 0.0046659 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2228-6_0_4_load_23 | 25 | 0.022974 | 0.0057577 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2228-6_0_4_load_29 | 26 | 0.018412 | 0.0046144 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2228-6_0_4_load_18 | 27 | 0.0054058 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2228-6_0_4_load_34 | 28 | 0.0054724 | 0.0013715 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2228-6_0_4_load_36 | 29 | 0.0049929 | 0.0012513 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2228-6_0_4_load_42 | 30 | 0.0041946 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2228-6_0_4_load_35 | 32 | 0.0044527 | 0.0011159 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2228-6_0_4_load_38 | 35 | 0.0050895 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2228-6_0_4_load_37 | 36 | 0.0034759 | 0.00087114 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2228-6_0_4_load_44 | 38 | 0.017331 | 0.0043435 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2228-6_0_4_load_39 | 40 | 0.0053091 | 0.0013306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2228-6_0_4_line_0 |  | 0 | 1 | 0.050755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2228-6_0_4_line_1 |  | 0 | 2 | 0.059569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2228-6_0_4_line_2 |  | 1 | 3 | 0.007027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2228-6_0_4_line_3 |  | 1 | 4 | 0.027898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2228-6_0_4_line_4 |  | 2 | 5 | 0.0081018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2228-6_0_4_line_5 |  | 3 | 7 | 0.023257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2228-6_0_4_line_6 |  | 4 | 8 | 0.043176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2228-6_0_4_line_7 |  | 5 | 6 | 0.070338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2228-6_0_4_line_8 |  | 6 | 11 | 0.005728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2228-6_0_4_line_9 |  | 8 | 9 | 0.03182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2228-6_0_4_line_10 |  | 8 | 10 | 0.007664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2228-6_0_4_line_11 |  | 9 | 15 | 0.046069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2228-6_0_4_line_12 |  | 9 | 16 | 0.042011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2228-6_0_4_line_13 |  | 10 | 14 | 0.0049696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2228-6_0_4_line_14 |  | 10 | 13 | 0.015486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2228-6_0_4_line_15 |  | 11 | 12 | 0.05794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2228-6_0_4_line_16 |  | 15 | 28 | 0.0423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2228-6_0_4_line_17 |  | 16 | 21 | 0.027722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2228-6_0_4_line_18 |  | 17 | 18 | 0.020312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2228-6_0_4_line_19 |  | 18 | 19 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2228-6_0_4_line_20 |  | 19 | 20 | 0.010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2228-6_0_4_line_21 |  | 19 | 21 | 0.014524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2228-6_0_4_line_22 |  | 20 | 25 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2228-6_0_4_line_23 |  | 22 | 23 | 0.053509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2228-6_0_4_line_24 |  | 22 | 24 | 0.10652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2228-6_0_4_line_25 |  | 22 | 25 | 0.036879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2228-6_0_4_line_26 |  | 23 | 26 | 7.0228e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2228-6_0_4_line_27 |  | 24 | 27 | 0.037109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2228-6_0_4_line_28 |  | 28 | 31 | 0.0099415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2228-6_0_4_line_29 |  | 29 | 30 | 0.0087706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2228-6_0_4_line_30 |  | 30 | 39 | 0.020638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2228-6_0_4_line_31 |  | 31 | 32 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2228-6_0_4_line_32 |  | 32 | 36 | 0.00026265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2228-6_0_4_line_33 |  | 33 | 34 | 0.043486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2228-6_0_4_line_34 |  | 33 | 35 | 0.0342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2228-6_0_4_line_35 |  | 34 | 36 | 0.039256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2228-6_0_4_line_36 |  | 35 | 40 | 0.009376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2228-6_0_4_line_37 |  | 37 | 38 | 0.058283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2228-6_0_4_line_38 |  | 37 | 39 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2228-6_0_4_line_39 |  | 39 | 40 | 0.011697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2228-6_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 41 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2574957.5844 | 1182522.8041 | 2574959.0539 | 1182534.5708 | 2574966.8404 | 1182541.5751 | 2574972.5003 | 1182545.7647 | 2574976.2327 | 1182552.786 | 2574978.017 | 1182557.7033 | 2574977.6864 | 1182562.6184 | 2574974.4237 | 1182562.3623
1 | 2574974.4237 | 1182562.3623 | 2574990.5022 | 1182619.7204
2 | 2574957.5844 | 1182522.8041 | 2574950.5375 | 1182522.867
3 | 2574957.5844 | 1182522.8041 | 2574985.4814 | 1182522.5781
4 | 2574998.4922 | 1182621.0617 | 2574990.5022 | 1182619.7204
5 | 2574950.5375 | 1182522.867 | 2574950.4061 | 1182499.6104
6 | 2575028.6564 | 1182522.2284 | 2574985.4814 | 1182522.5781
7 | 2574998.4922 | 1182621.0617 | 2575025.6252 | 1182626.2064 | 2575046.8917 | 1182626.9957 | 2575056.0126 | 1182628.1471 | 2575064.9691 | 1182630.1663 | 2575067.9196 | 1182630.9989
8 | 2575067.9196 | 1182630.9989 | 2575068.6477 | 1182628.0054 | 2575066.0496 | 1182627.4604
9 | 2575028.6564 | 1182522.2284 | 2575031.9776 | 1182522.2034 | 2575060.2747 | 1182526.2762
10 | 2575028.6564 | 1182522.2284 | 2575028.8717 | 1182529.8871
11 | 2575060.2747 | 1182526.2762 | 2575073.7523 | 1182530.3554 | 2575100.3462 | 1182541.6281 | 2575103.2382 | 1182543.039
12 | 2575060.2747 | 1182526.2762 | 2575060.7439 | 1182519.8042 | 2575059.3453 | 1182513.9737 | 2575053.9559 | 1182506.9036 | 2575036.8092 | 1182495.422
13 | 2575028.8717 | 1182529.8871 | 2575033.7613 | 1182530.7755
14 | 2575028.8717 | 1182529.8871 | 2575013.3922 | 1182529.4315
15 | 2575050.5617 | 1182571.6293 | 2575066.0496 | 1182627.4604
16 | 2575103.2382 | 1182543.039 | 2575105.8787 | 1182535.424 | 2575109.9137 | 1182530.8381 | 2575115.1988 | 1182529.4042 | 2575120.3178 | 1182530.2611 | 2575127.9132 | 1182533.5757 | 2575133.0271 | 1182533.1986 | 2575136.6437 | 1182531.3738
17 | 2575036.8092 | 1182495.422 | 2575020.9411 | 1182484.7967 | 2575013.4409 | 1182480.537
18 | 2574977.1773 | 1182448.3839 | 2574995.4002 | 1182457.3558
19 | 2575012.9984 | 1182466.0202 | 2574995.4002 | 1182457.3558
20 | 2575012.9984 | 1182466.0202 | 2575017.55 | 1182456.9268
21 | 2575012.9984 | 1182466.0202 | 2575013.4409 | 1182480.537
22 | 2575017.55 | 1182456.9268 | 2575027.4449 | 1182437.1588
23 | 2575043.9521 | 1182404.1807 | 2575087.4374 | 1182426.8554 | 2575091.0789 | 1182429.4425
24 | 2575042.7779 | 1182311.4373 | 2575050.1236 | 1182318.8883 | 2575053.2553 | 1182322.8328 | 2575054.1267 | 1182326.7201 | 2575050.8586 | 1182341.2857 | 2575051.2812 | 1182343.7297 | 2575052.7588 | 1182348.3482 | 2575060.4955 | 1182372.6396 | 2575061.886 | 1182376.4914 | 2575063.4704 | 1182379.2751 | 2575049.7314 | 1182393.0841 | 2575043.9521 | 1182404.1807
25 | 2575043.9521 | 1182404.1807 | 2575027.4449 | 1182437.1588
26 | 2575091.0789 | 1182429.4425 | 2575091.1362 | 1182429.4831
27 | 2575042.7779 | 1182311.4373 | 2575044.2367 | 1182317.023 | 2575042.6604 | 1182323.4996 | 2575029.2762 | 1182344.2231
28 | 2575139.8614 | 1182522.4423 | 2575139.6958 | 1182526.6675 | 2575137.248 | 1182531.0688 | 2575136.6437 | 1182531.3738
29 | 2575142.2466 | 1182567.6077 | 2575149.6058 | 1182572.379
30 | 2575166.9225 | 1182583.6061 | 2575149.6058 | 1182572.379
31 | 2575139.8614 | 1182522.4423 | 2575153.3957 | 1182529.1451 | 2575158.1897 | 1182530.6908
32 | 2575158.4396 | 1182530.7714 | 2575158.1897 | 1182530.6908
33 | 2575196.702 | 1182534.7791 | 2575214.0199 | 1182564.6116 | 2575217.9016 | 1182572.722
34 | 2575217.9016 | 1182572.722 | 2575194.6173 | 1182575.1199 | 2575191.4573 | 1182573.4766 | 2575187.5131 | 1182572.3924 | 2575184.3778 | 1182572.5773
35 | 2575196.702 | 1182534.7791 | 2575189.3477 | 1182536.1881 | 2575178.5836 | 1182536.4775 | 2575170.9964 | 1182535.1305 | 2575163.4034 | 1182532.3718 | 2575158.4396 | 1182530.7714
36 | 2575184.3778 | 1182572.5773 | 2575183.2539 | 1182572.6436 | 2575175.6421 | 1182575.8256
37 | 2575180.664 | 1182592.4424 | 2575177.646 | 1182602.9494 | 2575131.2074 | 1182593.0485
38 | 2575166.9225 | 1182583.6061 | 2575174.5092 | 1182588.5215 | 2575180.664 | 1182592.4424
39 | 2575166.9225 | 1182583.6061 | 2575175.4645 | 1182575.8999 | 2575175.6421 | 1182575.8256

## bus_geodata
| x | y | coords
0 | 2574974.4237 | 1182562.3623
1 | 2574957.5844 | 1182522.8041
2 | 2574990.5022 | 1182619.7204
3 | 2574950.5375 | 1182522.867
4 | 2574985.4814 | 1182522.5781
5 | 2574998.4922 | 1182621.0617
6 | 2575067.9196 | 1182630.9989
7 | 2574950.4061 | 1182499.6104
8 | 2575028.6564 | 1182522.2284
9 | 2575060.2747 | 1182526.2762
10 | 2575028.8717 | 1182529.8871
11 | 2575066.0496 | 1182627.4604
12 | 2575050.5617 | 1182571.6293
13 | 2575013.3922 | 1182529.4315
14 | 2575033.7613 | 1182530.7755
15 | 2575103.2382 | 1182543.039
16 | 2575036.8092 | 1182495.422
17 | 2574977.1773 | 1182448.3839
18 | 2574995.4002 | 1182457.3558
19 | 2575012.9984 | 1182466.0202
20 | 2575017.55 | 1182456.9268
21 | 2575013.4409 | 1182480.537
22 | 2575043.9521 | 1182404.1807
23 | 2575091.0789 | 1182429.4425
24 | 2575042.7779 | 1182311.4373
25 | 2575027.4449 | 1182437.1588
26 | 2575091.1362 | 1182429.4831
27 | 2575029.2762 | 1182344.2231
28 | 2575136.6437 | 1182531.3738
29 | 2575142.2466 | 1182567.6077
30 | 2575149.6058 | 1182572.379
31 | 2575139.8614 | 1182522.4423
32 | 2575158.1897 | 1182530.6908
33 | 2575217.9016 | 1182572.722
34 | 2575196.702 | 1182534.7791
35 | 2575184.3778 | 1182572.5773
36 | 2575158.4396 | 1182530.7714
37 | 2575180.664 | 1182592.4424
38 | 2575131.2074 | 1182593.0485
39 | 2575166.9225 | 1182583.6061
40 | 2575175.6421 | 1182575.8256
41 | 2575028.8717 | 1182529.8871

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.988 | -0.2295 | 0.022504 | 0.0056399
1 | 0.99241 | -0.14459 | 0 | 0
2 | 0.98405 | -0.30597 | 0.020827 | 0.0052196
3 | 0.99232 | -0.14632 | 0 | 0
4 | 0.99519 | -0.091409 | 0.012864 | 0.0032241
5 | 0.98367 | -0.31338 | 0 | 0
6 | 0.98036 | -0.37793 | 0 | 0
7 | 0.99202 | -0.15204 | 0.013903 | 0.0034843
8 | 1 | 0 | -0.36547 | -0.092684
9 | 0.9971 | -0.055205 | 0 | 0
10 | 0.99972 | -0.0054226 | 0 | 0
11 | 0.98009 | -0.38321 | 0.022643 | 0.0056748
12 | 0.97858 | -0.41283 | 0.028132 | 0.0070506
13 | 0.99948 | -0.0099709 | 0.016837 | 0.0042198
14 | 0.99961 | -0.0074808 | 0.023746 | 0.0059512
15 | 0.99497 | -0.095939 | 0 | 0
16 | 0.99424 | -0.10992 | 0.019549 | 0.0048994
17 | 0.98862 | -0.21846 | 0.013697 | 0.0034329
18 | 0.98888 | -0.2135 | 0.017604 | 0.0044121
19 | 0.98944 | -0.20256 | 0 | 0
20 | 0.98866 | -0.21763 | 0.017763 | 0.0044519
21 | 0.99097 | -0.173 | 0.014135 | 0.0035426
22 | 0.98589 | -0.27148 | 0 | 0
23 | 0.98406 | -0.30707 | 0.018617 | 0.0046659
24 | 0.98536 | -0.28181 | 0 | 0
25 | 0.98733 | -0.24345 | 0.022974 | 0.0057577
26 | 0.98406 | -0.3071 | 0.018412 | 0.0046144
27 | 0.98517 | -0.28541 | 0.0054058 | 0.0013548
28 | 0.99302 | -0.13349 | 0.0054724 | 0.0013715
29 | 0.98703 | -0.24943 | 0.0049929 | 0.0012513
30 | 0.98707 | -0.24865 | 0.0041946 | 0.0010513
31 | 0.99261 | -0.14138 | 0 | 0
32 | 0.99178 | -0.15737 | 0.0044527 | 0.0011159
33 | 0.98896 | -0.21185 | 0 | 0
34 | 0.99044 | -0.18328 | 0 | 0
35 | 0.9878 | -0.23438 | 0.0050895 | 0.0012755
36 | 0.99177 | -0.15756 | 0.0034759 | 0.00087114
37 | 0.98698 | -0.25031 | 0 | 0
38 | 0.98605 | -0.2684 | 0.017331 | 0.0043435
39 | 0.98724 | -0.24526 | 0 | 0
40 | 0.98753 | -0.23971 | 0.0053091 | 0.0013306
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.094597 | -0.023897 | 0.094983 | 0.024144 | 0.0003867 | 0.00024683 | 0.14254 | 0.14254 | 0.14254 | 0.988 | -0.2295 | 0.99241 | -0.14459 | 39.1589
1 | 0.072093 | 0.018257 | -0.071829 | -0.018089 | 0.00026368 | 0.000168 | 0.10865 | 0.10865 | 0.10865 | 0.988 | -0.2295 | 0.98405 | -0.30597 | 29.8479
2 | 0.013908 | 0.0034871 | -0.013906 | -0.0034865 | 1.1459e-06 | 6.4262e-07 | 0.020854 | 0.020854 | 0.020854 | 0.99241 | -0.14459 | 0.99232 | -0.14632 | 5.729
3 | -0.10889 | -0.027631 | 0.10917 | 0.027809 | 0.0002793 | 0.00017839 | 0.16339 | 0.16339 | 0.16339 | 0.99241 | -0.14459 | 0.99519 | -0.091409 | 44.8879
4 | 0.051003 | 0.012869 | -0.050985 | -0.012858 | 1.8085e-05 | 1.1472e-05 | 0.077154 | 0.077154 | 0.077154 | 0.98405 | -0.30597 | 0.98367 | -0.31338 | 21.1962
5 | 0.013906 | 0.0034865 | -0.013903 | -0.0034843 | 3.7927e-06 | 2.127e-06 | 0.020854 | 0.020854 | 0.020854 | 0.99232 | -0.14632 | 0.99202 | -0.15204 | 5.729
6 | -0.12203 | -0.031033 | 0.12257 | 0.031378 | 0.00054001 | 0.00034505 | 0.18263 | 0.18263 | 0.18263 | 0.99519 | -0.091409 | 1 | 0 | 50.1722
7 | 0.050985 | 0.012858 | -0.050828 | -0.012758 | 0.00015701 | 9.96e-05 | 0.077154 | 0.077154 | 0.077154 | 0.98367 | -0.31338 | 0.98036 | -0.37793 | 21.1963
8 | 0.050828 | 0.012758 | -0.050815 | -0.01275 | 1.2787e-05 | 8.1112e-06 | 0.077154 | 0.077154 | 0.077154 | 0.98036 | -0.37793 | 0.98009 | -0.38321 | 21.1963
9 | 0.20065 | 0.051124 | -0.20012 | -0.050784 | 0.00053292 | 0.00034023 | 0.29887 | 0.29887 | 0.29887 | 1 | 0 | 0.9971 | -0.055205 | 41.0532
10 | 0.040599 | 0.010181 | -0.040589 | -0.010175 | 1.049e-05 | 6.613e-06 | 0.060414 | 0.060415 | 0.060415 | 1 | 0 | 0.99972 | -0.0054226 | 16.5974
11 | 0.050732 | 0.012871 | -0.050632 | -0.012808 | 9.9168e-05 | 6.2868e-05 | 0.075765 | 0.075765 | 0.075765 | 0.9971 | -0.055205 | 0.99497 | -0.095939 | 20.8145
12 | 0.14939 | 0.037913 | -0.14899 | -0.037663 | 0.00039208 | 0.00024984 | 0.2231 | 0.2231 | 0.2231 | 0.9971 | -0.055205 | 0.99424 | -0.10992 | 30.6461
13 | 0.023748 | 0.0059526 | -0.023746 | -0.0059512 | 2.3285e-06 | 1.4251e-06 | 0.035348 | 0.035348 | 0.035348 | 0.99972 | -0.0054226 | 0.99961 | -0.0074808 | 9.7109
14 | 0.016841 | 0.0042219 | -0.016837 | -0.0042198 | 3.649e-06 | 2.1324e-06 | 0.025067 | 0.025067 | 0.025067 | 0.99972 | -0.0054226 | 0.99948 | -0.0099709 | 6.8865
15 | 0.028172 | 0.0070754 | -0.028132 | -0.0070506 | 3.9759e-05 | 2.4717e-05 | 0.042777 | 0.042778 | 0.042778 | 0.98009 | -0.38321 | 0.97858 | -0.41283 | 11.7521
16 | 0.050632 | 0.012808 | -0.050541 | -0.01275 | 9.1056e-05 | 5.7728e-05 | 0.075765 | 0.075765 | 0.075765 | 0.99497 | -0.095939 | 0.99302 | -0.13349 | 20.8145
17 | 0.12945 | 0.032763 | -0.12905 | -0.032514 | 0.00039064 | 0.00024965 | 0.19385 | 0.19385 | 0.19385 | 0.99424 | -0.10992 | 0.99097 | -0.173 | 53.2545
18 | -0.013697 | -0.0034329 | 0.013701 | 0.0034347 | 3.2374e-06 | 1.8115e-06 | 0.020616 | 0.020616 | 0.020616 | 0.98862 | -0.21846 | 0.98888 | -0.2135 | 5.6638
19 | -0.031305 | -0.0078467 | 0.031321 | 0.0078569 | 1.6323e-05 | 1.0195e-05 | 0.047107 | 0.047106 | 0.047107 | 0.98888 | -0.2135 | 0.98944 | -0.20256 | 12.9414
20 | 0.083436 | 0.021011 | -0.083376 | -0.020972 | 6.0075e-05 | 3.8318e-05 | 0.12551 | 0.12551 | 0.12551 | 0.98944 | -0.20256 | 0.98866 | -0.21763 | 34.4821
21 | -0.11476 | -0.028868 | 0.11492 | 0.028971 | 0.00016229 | 0.00010368 | 0.17262 | 0.17262 | 0.17262 | 0.98944 | -0.20256 | 0.99097 | -0.173 | 47.4234
22 | 0.065613 | 0.01652 | -0.065532 | -0.016469 | 8.0887e-05 | 5.1485e-05 | 0.09878 | 0.09878 | 0.09878 | 0.98866 | -0.21763 | 0.98733 | -0.24345 | 27.1373
23 | 0.037092 | 0.0093199 | -0.037029 | -0.0092803 | 6.2908e-05 | 3.958e-05 | 0.055992 | 0.055992 | 0.055992 | 0.98589 | -0.27148 | 0.98406 | -0.30707 | 15.3824
24 | 0.0054094 | 0.0013553 | -0.0054067 | -0.0013549 | 2.6628e-06 | 3.466e-07 | 0.0081643 | 0.0081648 | 0.0081648 | 0.98589 | -0.27148 | 0.98536 | -0.28181 | 2.2431
25 | -0.042501 | -0.010675 | 0.042558 | 0.010711 | 5.6922e-05 | 3.5959e-05 | 0.064156 | 0.064156 | 0.064156 | 0.98589 | -0.27148 | 0.98733 | -0.24345 | 17.6253
26 | 0.018412 | 0.0046144 | -0.018412 | -0.0046144 | 2.0411e-08 | 1.2173e-08 | 0.027841 | 0.027841 | 0.027841 | 0.98406 | -0.30707 | 0.98406 | -0.3071 | 7.6485
27 | 0.0054067 | 0.0013549 | -0.0054058 | -0.0013548 | 9.277e-07 | 1.2113e-07 | 0.0081648 | 0.008165 | 0.008165 | 0.98536 | -0.28181 | 0.98517 | -0.28541 | 2.2431
28 | 0.045069 | 0.011379 | -0.045052 | -0.011368 | 1.7019e-05 | 1.0763e-05 | 0.067565 | 0.067565 | 0.067565 | 0.99302 | -0.13349 | 0.99261 | -0.14138 | 18.5617
29 | -0.0049929 | -0.0012513 | 0.0049931 | 0.0012514 | 1.8635e-07 | 7.1602e-09 | 0.0075272 | 0.0075272 | 0.0075272 | 0.98703 | -0.24943 | 0.98707 | -0.24865 | 2.0679
30 | -0.0091877 | -0.0023026 | 0.0091892 | 0.0023033 | 1.4847e-06 | 6.8634e-07 | 0.013851 | 0.01385 | 0.013851 | 0.98707 | -0.24865 | 0.98724 | -0.24526 | 3.8051
31 | 0.045052 | 0.011368 | -0.045018 | -0.011346 | 3.4477e-05 | 2.1805e-05 | 0.067565 | 0.067565 | 0.067565 | 0.99261 | -0.14138 | 0.99178 | -0.15737 | 18.5618
32 | 0.040565 | 0.01023 | -0.040565 | -0.01023 | 3.6511e-07 | 2.3028e-07 | 0.060884 | 0.060884 | 0.060884 | 0.99178 | -0.15737 | 0.99177 | -0.15756 | 16.7265
33 | -0.036993 | -0.0092986 | 0.037043 | 0.0093304 | 5.0538e-05 | 3.1785e-05 | 0.05567 | 0.055669 | 0.05567 | 0.98896 | -0.21185 | 0.99044 | -0.18328 | 15.2938
34 | 0.036993 | 0.0092986 | -0.036953 | -0.0092736 | 3.9747e-05 | 2.5e-05 | 0.05567 | 0.05567 | 0.05567 | 0.98896 | -0.21185 | 0.9878 | -0.23438 | 15.2939
35 | -0.037043 | -0.0093304 | 0.037089 | 0.0093591 | 4.5621e-05 | 2.8692e-05 | 0.055669 | 0.055669 | 0.055669 | 0.99044 | -0.18328 | 0.99177 | -0.15756 | 15.2938
36 | 0.031863 | 0.0079981 | -0.031855 | -0.007993 | 8.1019e-06 | 5.0652e-06 | 0.048003 | 0.048003 | 0.048003 | 0.9878 | -0.23438 | 0.98753 | -0.23971 | 13.1877
37 | 0.017346 | 0.0043523 | -0.017331 | -0.0043435 | 1.4949e-05 | 8.8233e-06 | 0.026153 | 0.026153 | 0.026153 | 0.98698 | -0.25031 | 0.98605 | -0.2684 | 7.1849
38 | -0.017346 | -0.0043523 | 0.01735 | 0.0043548 | 4.1821e-06 | 2.4681e-06 | 0.026153 | 0.026153 | 0.026153 | 0.98698 | -0.25031 | 0.98724 | -0.24526 | 7.1849
39 | -0.026539 | -0.0066581 | 0.026546 | 0.0066624 | 7.0193e-06 | 4.3428e-06 | 0.040003 | 0.040003 | 0.040003 | 0.98724 | -0.24526 | 0.98753 | -0.23971 | 10.9899

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36547 | 0.092684

## res_load
| p_mw | q_mvar
0 | 0.022504 | 0.0056399
1 | 0.020827 | 0.0052196
2 | 0.012864 | 0.0032241
3 | 0.013903 | 0.0034843
4 | 0.022643 | 0.0056748
5 | 0.028132 | 0.0070506
6 | 0.016837 | 0.0042198
7 | 0.023746 | 0.0059512
8 | 0.019549 | 0.0048994
9 | 0.013697 | 0.0034329
10 | 0.017604 | 0.0044121
11 | 0.017763 | 0.0044519
12 | 0.014135 | 0.0035426
13 | 0.018617 | 0.0046659
14 | 0.022974 | 0.0057577
15 | 0.018412 | 0.0046144
16 | 0.0054058 | 0.0013548
17 | 0.0054724 | 0.0013715
18 | 0.0049929 | 0.0012513
19 | 0.0041946 | 0.0010513
20 | 0.0044527 | 0.0011159
21 | 0.0050895 | 0.0012755
22 | 0.0034759 | 0.00087114
23 | 0.017331 | 0.0043435
24 | 0.0053091 | 0.0013306

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1