## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_223-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_223-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_223-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_223-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_223-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_223-13_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_223-13_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_223-13_0_4_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_223-13_0_4_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_223-13_0_4_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_223-13_0_4_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_223-13_0_4_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_223-13_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_223-13_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_223-13_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_223-13_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_223-13_0_4_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_223-13_0_4_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_223-13_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_223-13_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_223-13_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_223-13_0_4_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_223-13_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_223-13_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_223-13_0_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_223-13_0_4_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_223-13_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_223-13_0_4_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_223-13_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_223-13_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_223-13_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_223-13_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_223-13_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_223-13_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_223-13_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_223-13_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_223-13_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_223-13_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_223-13_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_223-13_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_223-13_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_223-13_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_223-13_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_223-13_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_223-13_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_223-13_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_223-13_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_223-13_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_223-13_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_223-13_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_223-13_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_223-13_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_223-13_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_223-13_0_4_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_223-13_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_223-13_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_223-13_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_223-13_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_223-13_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_223-13_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_223-13_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_223-13_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_223-13_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_223-13_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_223-13_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_223-13_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_223-13_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_223-13_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_223-13_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_223-13_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_223-13_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_MV_371_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_223-13_0_4_load_0 | 0 | 0.015368 | 0.0038515 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_223-13_0_4_load_5 | 5 | 0.0094593 | 0.0023707 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_223-13_0_4_load_6 | 6 | 0.0042674 | 0.0010695 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_223-13_0_4_load_65 | 7 | 0.00055301 | 0.0001386 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_223-13_0_4_load_67 | 8 | 0.0014374 | 0.00036025 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_223-13_0_4_load_63 | 9 | 0.00075575 | 0.00018941 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_223-13_0_4_load_73 | 10 | 0.00035522 | 8.9025e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_223-13_0_4_load_72 | 11 | 0.00049484 | 0.00012402 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_223-13_0_4_load_7 | 14 | 0.0038195 | 0.00095727 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_223-13_0_4_load_12 | 15 | 0.060506 | 0.015164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_223-13_0_4_load_64 | 16 | 0.00067736 | 0.00016976 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_223-13_0_4_load_62 | 17 | 0.00019351 | 4.8498e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_223-13_0_4_load_9 | 18 | 0.00017208 | 4.3128e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_223-13_0_4_load_10 | 19 | 0.0011581 | 0.00029026 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_223-13_0_4_load_23 | 20 | 0.0011429 | 0.00028643 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_223-13_0_4_load_60 | 21 | 0.0035108 | 0.00087989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_223-13_0_4_load_8 | 22 | 0.00035526 | 8.9036e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_223-13_0_4_load_13 | 23 | 0.0023473 | 0.00058828 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_223-13_0_4_load_66 | 24 | 0.00072487 | 0.00018167 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_223-13_0_4_load_71 | 25 | 0.00071954 | 0.00018033 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_223-13_0_4_load_70 | 27 | 0.00075095 | 0.0001882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_223-13_0_4_load_69 | 28 | 0.00067343 | 0.00016878 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_223-13_0_4_load_61 | 29 | 0.00056964 | 0.00014276 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_223-13_0_4_load_14 | 30 | 0.066363 | 0.016632 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_223-13_0_4_load_16 | 31 | 0.0015475 | 0.00038783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_223-13_0_4_load_17 | 32 | 0.027799 | 0.0069671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_223-13_0_4_load_21 | 33 | 0.022313 | 0.0055922 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_223-13_0_4_load_18 | 35 | 0.00088682 | 0.00022226 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_223-13_0_4_load_19 | 36 | 0.0012834 | 0.00032165 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_223-13_0_4_load_20 | 37 | 0.0021705 | 0.00054397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_223-13_0_4_load_25 | 40 | 0.0030852 | 0.00077323 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_223-13_0_4_load_27 | 41 | 0.003024 | 0.0007579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_223-13_0_4_load_28 | 42 | 0.0035669 | 0.00089396 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_223-13_0_4_load_31 | 45 | 0.00095072 | 0.00023827 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_223-13_0_4_load_42 | 47 | 0.00095842 | 0.0002402 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_223-13_0_4_load_58 | 48 | 0.00058053 | 0.00014549 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_223-13_0_4_load_56 | 49 | 0.0038256 | 0.00095878 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_223-13_0_4_load_40 | 50 | 0.0010023 | 0.0002512 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_223-13_0_4_load_32 | 51 | 0.0018367 | 0.00046031 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_223-13_0_4_load_68 | 53 | 0.00054365 | 0.00013625 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_223-13_0_4_load_57 | 54 | 0.001527 | 0.00038271 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_223-13_0_4_load_38 | 55 | 0.0028969 | 0.00072602 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_223-13_0_4_load_39 | 56 | 0.00085464 | 0.00021419 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_223-13_0_4_load_43 | 58 | 0.0012138 | 0.00030422 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_223-13_0_4_load_44 | 59 | 0.0028281 | 0.00070878 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_223-13_0_4_load_50 | 60 | 0.0012877 | 0.00032272 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_223-13_0_4_load_51 | 61 | 0.0012137 | 0.00030418 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_223-13_0_4_load_45 | 62 | 0.0017958 | 0.00045008 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_223-13_0_4_load_46 | 63 | 0.00071055 | 0.00017808 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_223-13_0_4_load_47 | 64 | 0.00070558 | 0.00017684 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_223-13_0_4_load_48 | 65 | 0.0018125 | 0.00045425 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_223-13_0_4_load_49 | 66 | 0.0035964 | 0.00090135 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_223-13_0_4_load_53 | 67 | 0.0017075 | 0.00042793 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_223-13_0_4_load_54 | 68 | 0.00064017 | 0.00016044 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_223-13_0_4_load_52 | 69 | 0.0012874 | 0.00032265 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_223-13_0_4_load_55 | 70 | 0.0025022 | 0.00062711 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_223-13_0_4_line_0 |  | 0 | 1 | 0.14793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_223-13_0_4_line_1 |  | 0 | 2 | 0.055941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_223-13_0_4_line_2 |  | 1 | 3 | 0.10002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_223-13_0_4_line_3 |  | 2 | 4 | 0.007304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_223-13_0_4_line_4 |  | 2 | 5 | 0.063932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_223-13_0_4_line_5 |  | 2 | 6 | 0.035993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_223-13_0_4_line_6 |  | 3 | 10 | 0.15657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_223-13_0_4_line_7 |  | 4 | 13 | 0.070058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_223-13_0_4_line_8 |  | 4 | 14 | 0.07602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_223-13_0_4_line_9 |  | 5 | 15 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_223-13_0_4_line_10 |  | 7 | 8 | 3.766e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_223-13_0_4_line_11 |  | 7 | 9 | 0.034078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_223-13_0_4_line_12 |  | 8 | 11 | 0.023425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_223-13_0_4_line_13 |  | 9 | 16 | 0.0003509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_223-13_0_4_line_14 |  | 11 | 12 | 0.13263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_223-13_0_4_line_15 |  | 12 | 53 | 0.13038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_223-13_0_4_line_16 |  | 13 | 21 | 0.1223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_223-13_0_4_line_17 |  | 14 | 22 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_223-13_0_4_line_18 |  | 15 | 23 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_223-13_0_4_line_19 |  | 16 | 24 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_223-13_0_4_line_20 |  | 17 | 18 | 0.0019788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_223-13_0_4_line_21 |  | 18 | 22 | 0.055875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_223-13_0_4_line_22 |  | 19 | 20 | 0.0095081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_223-13_0_4_line_23 |  | 20 | 26 | 0.11642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_223-13_0_4_line_24 |  | 21 | 29 | 0.013264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_223-13_0_4_line_25 |  | 23 | 30 | 0.025922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_223-13_0_4_line_26 |  | 24 | 25 | 2.8437e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_223-13_0_4_line_27 |  | 25 | 27 | 0.0359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_223-13_0_4_line_28 |  | 26 | 39 | 0.005572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_223-13_0_4_line_29 |  | 27 | 28 | 0.00014969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_223-13_0_4_line_30 |  | 28 | 38 | 0.10151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_223-13_0_4_line_31 |  | 28 | 35 | 0.11819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_223-13_0_4_line_32 |  | 30 | 31 | 0.00086575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_223-13_0_4_line_33 |  | 31 | 32 | 0.0196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_223-13_0_4_line_34 |  | 32 | 33 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_223-13_0_4_line_35 |  | 33 | 34 | 0.070406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_223-13_0_4_line_36 |  | 34 | 39 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_223-13_0_4_line_37 |  | 34 | 37 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_223-13_0_4_line_38 |  | 35 | 36 | 0.007679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_223-13_0_4_line_39 |  | 36 | 37 | 0.037606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_223-13_0_4_line_40 |  | 38 | 52 | 0.005303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_223-13_0_4_line_41 |  | 39 | 40 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_223-13_0_4_line_42 |  | 41 | 42 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_223-13_0_4_line_43 |  | 41 | 43 | 0.0057602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_223-13_0_4_line_44 |  | 42 | 44 | 0.048858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_223-13_0_4_line_45 |  | 43 | 45 | 0.014736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_223-13_0_4_line_46 |  | 44 | 46 | 0.080076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_223-13_0_4_line_47 |  | 45 | 47 | 0.0033399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_223-13_0_4_line_48 |  | 46 | 48 | 0.024217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_223-13_0_4_line_49 |  | 46 | 49 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_223-13_0_4_line_50 |  | 47 | 50 | 0.0029029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_223-13_0_4_line_51 |  | 48 | 53 | 0.0057354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_223-13_0_4_line_52 |  | 49 | 54 | 0.018505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_223-13_0_4_line_53 |  | 50 | 55 | 0.007561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_223-13_0_4_line_54 |  | 51 | 52 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_223-13_0_4_line_55 |  | 54 | 66 | 2.8445e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_223-13_0_4_line_56 |  | 55 | 56 | 0.029707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_223-13_0_4_line_57 |  | 56 | 57 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_223-13_0_4_line_58 |  | 57 | 58 | 0.054271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_223-13_0_4_line_59 |  | 57 | 59 | 0.064828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_223-13_0_4_line_60 |  | 58 | 60 | 0.0063454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_223-13_0_4_line_61 |  | 60 | 61 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_223-13_0_4_line_62 |  | 61 | 69 | 0.0081315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_223-13_0_4_line_63 |  | 62 | 63 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_223-13_0_4_line_64 |  | 62 | 64 | 0.00091984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_223-13_0_4_line_65 |  | 63 | 65 | 0.0004644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_223-13_0_4_line_66 |  | 64 | 66 | 0.026411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_223-13_0_4_line_67 |  | 65 | 67 | 0.026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_223-13_0_4_line_68 |  | 67 | 68 | 0.00098046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_223-13_0_4_line_69 |  | 69 | 70 | 0.0082324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_223-13_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 71 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2692436.4837 | 1263773.4936 | 2692473.9196 | 1263764.5827 | 2692509.3957 | 1263759.122 | 2692531.2167 | 1263756.8727 | 2692554.2311 | 1263755.3872 | 2692582.7808 | 1263754.7372
1 | 2692638.7077 | 1263753.4638 | 2692582.7808 | 1263754.7372
2 | 2692344.3793 | 1263788.2555 | 2692346.1324 | 1263795.144 | 2692405.8161 | 1263780.7424 | 2692436.4837 | 1263773.4936
3 | 2692638.7077 | 1263753.4638 | 2692639.8002 | 1263746.2418
4 | 2692638.7077 | 1263753.4638 | 2692694.4856 | 1263751.3805 | 2692702.6009 | 1263751.3898
5 | 2692638.7077 | 1263753.4638 | 2692636.0946 | 1263770.2253 | 2692633.0428 | 1263780.8528 | 2692630.8424 | 1263788.5151
6 | 2692344.3793 | 1263788.2555 | 2692382.5717 | 1263940.0963
7 | 2692649.2052 | 1263676.8219 | 2692647.0652 | 1263694.1579 | 2692644.3681 | 1263712.4304 | 2692639.8002 | 1263746.2418
8 | 2692639.8002 | 1263746.2418 | 2692616.0618 | 1263746.8149 | 2692603.7607 | 1263743.4195 | 2692592.7497 | 1263743.2581 | 2692564.3399 | 1263745.5428
9 | 2692702.6009 | 1263751.3898 | 2692717.4236 | 1263751.4068 | 2692727.5317 | 1263752.2049
10 | 2692883.4893 | 1263997.7066 | 2692883.5106 | 1263997.6755
11 | 2692904.5216 | 1263970.8802 | 2692898.8557 | 1263977.3368 | 2692887.5399 | 1263991.8041 | 2692883.5106 | 1263997.6755
12 | 2692870.7899 | 1264017.382 | 2692877.7027 | 1264006.1389 | 2692883.4893 | 1263997.7066
13 | 2692904.5216 | 1263970.8802 | 2692904.7531 | 1263970.6164
14 | 2692805.2533 | 1264132.6707 | 2692829.395 | 1264089.0698 | 2692843.9304 | 1264063.355 | 2692854.2896 | 1264045.5143 | 2692864.0508 | 1264028.3425 | 2692870.7899 | 1264017.382
15 | 2692805.2533 | 1264132.6707 | 2692808.326 | 1264131.7515 | 2692817.3538 | 1264121.9296 | 2692830.5891 | 1264100.8092 | 2692854.7238 | 1264056.2298 | 2692861.287 | 1264044.5901 | 2692884.9436 | 1264052.2189
16 | 2692649.2052 | 1263676.8219 | 2692618.3073 | 1263661.7035 | 2692615.4758 | 1263658.7568 | 2692606.1803 | 1263649.1034 | 2692593.4328 | 1263640.5302 | 2692540.8995 | 1263624.0697
17 | 2692564.3399 | 1263745.5428 | 2692546.5601 | 1263746.9726
18 | 2692727.5317 | 1263752.2049 | 2692745.253 | 1263753.604
19 | 2692904.7531 | 1263970.6164 | 2692910.108 | 1263964.5143 | 2692920.6488 | 1263953.7537
20 | 2692489.3132 | 1263755.0547 | 2692491.2658 | 1263754.734
21 | 2692491.2658 | 1263754.734 | 2692530.8321 | 1263748.2375 | 2692546.5601 | 1263746.9726
22 | 2692762.699 | 1263750.0866 | 2692772.0591 | 1263751.7582
23 | 2692885.7055 | 1263776.401 | 2692861.4284 | 1263771.4713 | 2692851.2347 | 1263767.7193 | 2692819.6681 | 1263760.707 | 2692805.4773 | 1263757.7263 | 2692772.0591 | 1263751.7582
24 | 2692540.8995 | 1263624.0697 | 2692528.2426 | 1263620.1039
25 | 2692770.7791 | 1263758.0682 | 2692746.9546 | 1263753.7384 | 2692745.253 | 1263753.604
26 | 2692920.6488 | 1263953.7537 | 2692920.6687 | 1263953.7334
27 | 2692947.2138 | 1263929.5887 | 2692944.6966 | 1263931.62 | 2692933.0024 | 1263941.8779 | 2692923.6358 | 1263950.7045 | 2692920.6687 | 1263953.7334
28 | 2692884.5576 | 1263781.854 | 2692885.7055 | 1263776.401
29 | 2692947.2138 | 1263929.5887 | 2692947.3303 | 1263929.4947
30 | 2693034.0174 | 1263877.3695 | 2693006.5131 | 1263890.3807 | 2692990.2816 | 1263899.3438 | 2692977.8904 | 1263906.9663 | 2692967.2705 | 1263914.0495 | 2692956.7669 | 1263921.8796 | 2692947.3303 | 1263929.4947
31 | 2692947.3303 | 1263929.4947 | 2692904.2379 | 1263819.4409
32 | 2692770.7791 | 1263758.0682 | 2692771.6309 | 1263758.223
33 | 2692790.8718 | 1263761.9557 | 2692777.963 | 1263759.3738 | 2692771.6309 | 1263758.223
34 | 2692803.0597 | 1263764.3934 | 2692790.8718 | 1263761.9557
35 | 2692871.8747 | 1263779.275 | 2692833.1749 | 1263770.7827 | 2692804.329 | 1263764.6473 | 2692803.0597 | 1263764.3934
36 | 2692884.5576 | 1263781.854 | 2692871.8747 | 1263779.275
37 | 2692871.8747 | 1263779.275 | 2692868.2305 | 1263799.2895
38 | 2692896.581 | 1263818.858 | 2692904.2379 | 1263819.4409
39 | 2692896.581 | 1263818.858 | 2692887.437 | 1263818.1619 | 2692880.4175 | 1263815.683 | 2692871.3118 | 1263807.4222 | 2692868.2305 | 1263799.2895 | 2692868.2305 | 1263799.2895
40 | 2693029.3803 | 1263874.7722 | 2693034.0174 | 1263877.3695
41 | 2692884.5576 | 1263781.854 | 2692894.7823 | 1263784.0233
42 | 2693028.0905 | 1264027.9773 | 2693017.8717 | 1264034.009 | 2693010.7872 | 1264039.9913 | 2693004.1515 | 1264047.1261 | 2693004.1515 | 1264047.1261
43 | 2693033.3188 | 1264025.5674 | 2693028.5698 | 1264027.6944 | 2693028.0905 | 1264027.9773
44 | 2692986.6746 | 1264092.1766 | 2692989.8469 | 1264077.27 | 2692992.9847 | 1264066.9554 | 2692998.0684 | 1264056.0042 | 2693004.1515 | 1264047.1261
45 | 2693033.3188 | 1264025.5674 | 2693042.3496 | 1264022.7627 | 2693047.5831 | 1264022.0666
46 | 2692986.6746 | 1264092.1766 | 2692983.4968 | 1264087.8009 | 2692922.1589 | 1264064.2621 | 2692919.0672 | 1264063.0348 | 2692913.4506 | 1264061.4119
47 | 2693047.5831 | 1264022.0666 | 2693050.8938 | 1264021.6261
48 | 2692913.4506 | 1264061.4119 | 2692890.4022 | 1264053.9792
49 | 2692913.4506 | 1264061.4119 | 2692921.4098 | 1264046.9434
50 | 2693053.7714 | 1264021.2434 | 2693050.8938 | 1264021.6261
51 | 2692890.4022 | 1264053.9792 | 2692884.9436 | 1264052.2189
52 | 2692921.4098 | 1264046.9434 | 2692926.5324 | 1264037.6315 | 2692931.1497 | 1264031.2494
53 | 2693061.2346 | 1264020.049 | 2693057.5979 | 1264020.7343 | 2693053.7714 | 1264021.2434
54 | 2693029.3803 | 1263874.7722 | 2693017.4234 | 1263880.6549
55 | 2692931.1513 | 1264031.2471 | 2692931.1497 | 1264031.2494
56 | 2693061.2346 | 1264020.049 | 2693088.3099 | 1264014.9463 | 2693090.4346 | 1264014.587
57 | 2693106.7769 | 1264011.8234 | 2693090.4346 | 1264014.587
58 | 2693106.7769 | 1264011.8234 | 2693107.2694 | 1264002.0788 | 2693118.7602 | 1263987.0587 | 2693139.4707 | 1263972.0062
59 | 2693106.7769 | 1264011.8234 | 2693118.9604 | 1264009.2465 | 2693159.115 | 1263982.6796 | 2693162.8196 | 1263980.6424
60 | 2693144.9572 | 1263968.8239 | 2693139.8604 | 1263971.723 | 2693139.4707 | 1263972.0062
61 | 2693144.9572 | 1263968.8239 | 2693157.9181 | 1263961.4517
62 | 2693157.9181 | 1263961.4517 | 2693164.9862 | 1263957.4313
63 | 2692947.3988 | 1264009.296 | 2692961.841 | 1263994.7055
64 | 2692947.3988 | 1264009.296 | 2692946.7517 | 1264009.9497
65 | 2692962.1677 | 1263994.3754 | 2692961.841 | 1263994.7055
66 | 2692931.1513 | 1264031.2471 | 2692946.037 | 1264010.6718 | 2692946.7517 | 1264009.9497
67 | 2692962.1677 | 1263994.3754 | 2692970.9217 | 1263985.5315 | 2692982.3605 | 1263976.8139
68 | 2692983.1403 | 1263976.2196 | 2692982.3605 | 1263976.8139
69 | 2693172.1421 | 1263953.3611 | 2693164.9862 | 1263957.4313

## bus_geodata
| x | y | coords
0 | 2692582.7808 | 1263754.7372
1 | 2692436.4837 | 1263773.4936
2 | 2692638.7077 | 1263753.4638
3 | 2692344.3793 | 1263788.2555
4 | 2692639.8002 | 1263746.2418
5 | 2692702.6009 | 1263751.3898
6 | 2692630.8424 | 1263788.5151
7 | 2692883.5106 | 1263997.6755
8 | 2692883.4893 | 1263997.7066
9 | 2692904.5216 | 1263970.8802
10 | 2692382.5717 | 1263940.0963
11 | 2692870.7899 | 1264017.382
12 | 2692805.2533 | 1264132.6707
13 | 2692649.2052 | 1263676.8219
14 | 2692564.3399 | 1263745.5428
15 | 2692727.5317 | 1263752.2049
16 | 2692904.7531 | 1263970.6164
17 | 2692489.3132 | 1263755.0547
18 | 2692491.2658 | 1263754.734
19 | 2692762.699 | 1263750.0866
20 | 2692772.0591 | 1263751.7582
21 | 2692540.8995 | 1263624.0697
22 | 2692546.5601 | 1263746.9726
23 | 2692745.253 | 1263753.604
24 | 2692920.6488 | 1263953.7537
25 | 2692920.6687 | 1263953.7334
26 | 2692885.7055 | 1263776.401
27 | 2692947.2138 | 1263929.5887
28 | 2692947.3303 | 1263929.4947
29 | 2692528.2426 | 1263620.1039
30 | 2692770.7791 | 1263758.0682
31 | 2692771.6309 | 1263758.223
32 | 2692790.8718 | 1263761.9557
33 | 2692803.0596 | 1263764.3934
34 | 2692871.8747 | 1263779.275
35 | 2692904.2379 | 1263819.4409
36 | 2692896.581 | 1263818.858
37 | 2692868.2305 | 1263799.2895
38 | 2693034.0174 | 1263877.3695
39 | 2692884.5576 | 1263781.854
40 | 2692894.7823 | 1263784.0233
41 | 2693028.0905 | 1264027.9773
42 | 2693004.1515 | 1264047.1261
43 | 2693033.3188 | 1264025.5674
44 | 2692986.6746 | 1264092.1766
45 | 2693047.5831 | 1264022.0665
46 | 2692913.4506 | 1264061.4119
47 | 2693050.8938 | 1264021.6261
48 | 2692890.4022 | 1264053.9792
49 | 2692921.4098 | 1264046.9434
50 | 2693053.7714 | 1264021.2434
51 | 2693017.4234 | 1263880.6549
52 | 2693029.3803 | 1263874.7722
53 | 2692884.9436 | 1264052.2189
54 | 2692931.1497 | 1264031.2494
55 | 2693061.2346 | 1264020.049
56 | 2693090.4346 | 1264014.587
57 | 2693106.7769 | 1264011.8234
58 | 2693139.4707 | 1263972.0062
59 | 2693162.8196 | 1263980.6424
60 | 2693144.9572 | 1263968.8239
61 | 2693157.9181 | 1263961.4517
62 | 2692947.3988 | 1264009.296
63 | 2692961.841 | 1263994.7055
64 | 2692946.7517 | 1264009.9497
65 | 2692962.1677 | 1263994.3754
66 | 2692931.1513 | 1264031.2471
67 | 2692982.3605 | 1263976.8139
68 | 2692983.1403 | 1263976.2196
69 | 2693164.9862 | 1263957.4313
70 | 2693172.1421 | 1263953.3611
71 | 2692871.8747 | 1263779.275

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99109 | -0.17163 | 0.015368 | 0.0038515
1 | 0.99105 | -0.1726 | 0 | 0
2 | 0.9919 | -0.15603 | 0 | 0
3 | 0.99101 | -0.17324 | 0 | 0
4 | 0.99184 | -0.15714 | 0 | 0
5 | 0.99357 | -0.12364 | 0.0094593 | 0.0023707
6 | 0.99176 | -0.15875 | 0.0042674 | 0.0010695
7 | 0.98936 | -0.20212 | 0.00055301 | 0.0001386
8 | 0.98935 | -0.20215 | 0.0014374 | 0.00036025
9 | 0.99074 | -0.17574 | 0.00075575 | 0.00018941
10 | 0.99096 | -0.17423 | 0.00035522 | 8.9025e-05
11 | 0.98845 | -0.2195 | 0.00049484 | 0.00012402
12 | 0.98338 | -0.31714 | 0 | 0
13 | 0.99158 | -0.16222 | 0 | 0
14 | 0.99152 | -0.16327 | 0.0038195 | 0.00095727
15 | 0.99444 | -0.10687 | 0.060506 | 0.015164
16 | 0.99075 | -0.17546 | 0.00067736 | 0.00016976
17 | 0.99149 | -0.16386 | 0.00019351 | 4.8498e-05
18 | 0.99149 | -0.16386 | 0.00017208 | 4.3128e-05
19 | 0.99727 | -0.051767 | 0.0011581 | 0.00029026
20 | 0.99728 | -0.051574 | 0.0011429 | 0.00028643
21 | 0.99112 | -0.17107 | 0.0035108 | 0.00087989
22 | 0.99151 | -0.16349 | 0.00035526 | 8.9036e-05
23 | 0.99604 | -0.07602 | 0.0023473 | 0.00058828
24 | 0.99172 | -0.15696 | 0.00072487 | 0.00018167
25 | 0.99172 | -0.15694 | 0.00071954 | 0.00018033
26 | 0.99752 | -0.046876 | 0 | 0
27 | 0.99327 | -0.12745 | 0.00075095 | 0.0001882
28 | 0.99328 | -0.12733 | 0.00067343 | 0.00016878
29 | 0.99112 | -0.17121 | 0.00056964 | 0.00014276
30 | 0.99843 | -0.030154 | 0.066363 | 0.016632
31 | 0.99849 | -0.028888 | 0.0015475 | 0.00038783
32 | 1 | 0 | -0.25396 | -0.063893
33 | 0.99953 | -0.0088593 | 0.022313 | 0.0055922
34 | 0.9976 | -0.045433 | 0 | 0
35 | 0.996 | -0.07559 | 0.00088682 | 0.00022226
36 | 0.99618 | -0.072179 | 0.0012834 | 0.00032165
37 | 0.99709 | -0.055065 | 0.0021705 | 0.00054397
38 | 0.99311 | -0.13063 | 0 | 0
39 | 0.99753 | -0.046651 | 0 | 0
40 | 0.9975 | -0.047216 | 0.0030852 | 0.00077323
41 | 0.97388 | -0.503 | 0.003024 | 0.0007579
42 | 0.97445 | -0.49164 | 0.0035669 | 0.00089396
43 | 0.97379 | -0.5048 | 0 | 0
44 | 0.97553 | -0.4705 | 0 | 0
45 | 0.97355 | -0.50941 | 0.00095072 | 0.00023827
46 | 0.97729 | -0.43596 | 0 | 0
47 | 0.9735 | -0.51039 | 0.00095842 | 0.0002402
48 | 0.97819 | -0.41833 | 0.00058053 | 0.00014549
49 | 0.97704 | -0.44088 | 0.0038256 | 0.00095878
50 | 0.97346 | -0.5112 | 0.0010023 | 0.0002512
51 | 0.99307 | -0.13123 | 0.0018367 | 0.00046031
52 | 0.9931 | -0.1308 | 0 | 0
53 | 0.9784 | -0.4141 | 0.00054365 | 0.00013625
54 | 0.97682 | -0.4451 | 0.001527 | 0.00038271
55 | 0.97336 | -0.51316 | 0.0028969 | 0.00072602
56 | 0.97305 | -0.51928 | 0.00085464 | 0.00021419
57 | 0.97289 | -0.52243 | 0 | 0
58 | 0.97251 | -0.52994 | 0.0012138 | 0.00030422
59 | 0.97272 | -0.52581 | 0.0028281 | 0.00070878
60 | 0.97248 | -0.53067 | 0.0012877 | 0.00032272
61 | 0.97241 | -0.53205 | 0.0012137 | 0.00030418
62 | 0.97664 | -0.44877 | 0.0017958 | 0.00045008
63 | 0.97654 | -0.4506 | 0.00071055 | 0.00017808
64 | 0.97664 | -0.44866 | 0.00070558 | 0.00017684
65 | 0.97654 | -0.45063 | 0.0018125 | 0.00045425
66 | 0.97682 | -0.4451 | 0.0035964 | 0.00090135
67 | 0.97648 | -0.45179 | 0.0017075 | 0.00042793
68 | 0.97648 | -0.4518 | 0.00064017 | 0.00016044
69 | 0.97238 | -0.53262 | 0.0012874 | 0.00032265
70 | 0.97236 | -0.533 | 0.0025022 | 0.00062711
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00035526 | 8.3841e-05 | -0.00035524 | -8.5737e-05 | 1.5695e-08 | -1.8962e-06 | 0.00053159 | 0.00053224 | 0.00053224 | 0.99109 | -0.17163 | 0.99105 | -0.1726 | 0.14622
1 | -0.015723 | -0.0039354 | 0.015735 | 0.0039421 | 1.1688e-05 | 6.759e-06 | 0.023605 | 0.023604 | 0.023605 | 0.99109 | -0.17163 | 0.9919 | -0.15603 | 6.4848
2 | 0.00035524 | 8.5737e-05 | -0.00035523 | -8.7019e-05 | 1.0634e-08 | -1.2819e-06 | 0.00053224 | 0.00053268 | 0.00053268 | 0.99105 | -0.1726 | 0.99101 | -0.17324 | 0.14634
3 | 0.0086253 | 0.0021588 | -0.0086249 | -0.0021586 | 4.5852e-07 | 1.9918e-07 | 0.012938 | 0.012938 | 0.012938 | 0.9919 | -0.15603 | 0.99184 | -0.15714 | 3.5545
4 | -0.028628 | -0.0071703 | 0.028672 | 0.0071978 | 4.4216e-05 | 2.7472e-05 | 0.042945 | 0.042945 | 0.042945 | 0.9919 | -0.15603 | 0.99357 | -0.12364 | 11.7981
5 | 0.0042679 | 0.0010694 | -0.0042674 | -0.0010695 | 5.5331e-07 | -1.104e-07 | 0.0064025 | 0.0064027 | 0.0064027 | 0.9919 | -0.15603 | 0.99176 | -0.15875 | 1.759
6 | 0.00035523 | 8.7019e-05 | -0.00035522 | -8.9025e-05 | 1.6682e-08 | -2.0066e-06 | 0.00053268 | 0.00053339 | 0.00053339 | 0.99101 | -0.17324 | 0.99096 | -0.17423 | 0.14653
7 | 0.0040832 | 0.0010217 | -0.0040822 | -0.001022 | 9.8573e-07 | -2.7307e-07 | 0.0061252 | 0.0061255 | 0.0061255 | 0.99184 | -0.15714 | 0.99158 | -0.16222 | 1.6828
8 | 0.0045417 | 0.0011368 | -0.0045404 | -0.001137 | 1.3234e-06 | -1.3383e-07 | 0.0068133 | 0.0068136 | 0.0068136 | 0.99184 | -0.15714 | 0.99152 | -0.16327 | 1.8719
9 | -0.038132 | -0.0095685 | 0.038162 | 0.0095877 | 3.0533e-05 | 1.9217e-05 | 0.057112 | 0.057112 | 0.057112 | 0.99357 | -0.12364 | 0.99444 | -0.10687 | 15.69
10 | 0.043527 | 0.011118 | -0.043527 | -0.011118 | 6.0662e-08 | 3.8343e-08 | 0.06554 | 0.06554 | 0.06554 | 0.98936 | -0.20212 | 0.98935 | -0.20215 | 18.0056
11 | -0.04408 | -0.011256 | 0.044136 | 0.011292 | 5.6296e-05 | 3.5591e-05 | 0.066372 | 0.066372 | 0.066372 | 0.98936 | -0.20212 | 0.99074 | -0.17574 | 18.2341
12 | 0.042089 | 0.010757 | -0.042054 | -0.010735 | 3.5286e-05 | 2.2282e-05 | 0.063378 | 0.063379 | 0.063379 | 0.98935 | -0.20215 | 0.98845 | -0.2195 | 17.4117
13 | -0.044892 | -0.011481 | 0.044893 | 0.011482 | 5.9966e-07 | 3.7927e-07 | 0.067507 | 0.067507 | 0.067507 | 0.99074 | -0.17574 | 0.99075 | -0.17546 | 18.5459
14 | 0.041559 | 0.010611 | -0.041364 | -0.010488 | 0.00019511 | 0.00012318 | 0.062634 | 0.062634 | 0.062634 | 0.98845 | -0.2195 | 0.98338 | -0.31714 | 17.2072
15 | 0.041364 | 0.010488 | -0.041172 | -0.010367 | 0.00019182 | 0.00012112 | 0.062634 | 0.062635 | 0.062635 | 0.98338 | -0.31714 | 0.9784 | -0.4141 | 17.2074
16 | 0.0040822 | 0.001022 | -0.0040805 | -0.0010225 | 1.721e-06 | -4.754e-07 | 0.0061255 | 0.0061261 | 0.0061261 | 0.99158 | -0.16222 | 0.99112 | -0.17107 | 1.683
17 | 0.00072086 | 0.0001797 | -0.00072086 | -0.00017992 | 7.824e-09 | -2.2505e-07 | 0.0010815 | 0.0010816 | 0.0010816 | 0.99152 | -0.16327 | 0.99151 | -0.16349 | 0.29713
18 | -0.098668 | -0.024752 | 0.098814 | 0.024845 | 0.00014532 | 9.2777e-05 | 0.14765 | 0.14765 | 0.14765 | 0.99444 | -0.10687 | 0.99604 | -0.07602 | 40.563
19 | -0.04557 | -0.011651 | 0.045611 | 0.011677 | 4.0819e-05 | 2.5826e-05 | 0.068524 | 0.068524 | 0.068524 | 0.99075 | -0.17546 | 0.99172 | -0.15696 | 18.8254
20 | -0.00019351 | -4.8498e-05 | 0.00019351 | 4.8473e-05 | 6.2639e-11 | -2.548e-08 | 0.00029042 | 0.00029041 | 0.00029042 | 0.99149 | -0.16386 | 0.99149 | -0.16386 | 0.079784
21 | -0.00036559 | -9.16e-05 | 0.0003656 | 9.0884e-05 | 6.3046e-09 | -7.166e-07 | 0.00054866 | 0.00054841 | 0.00054866 | 0.99149 | -0.16386 | 0.99151 | -0.16349 | 0.15073
22 | -0.0011581 | -0.00029026 | 0.0011582 | 0.00029014 | 1.0647e-08 | -1.1725e-07 | 0.0017281 | 0.001728 | 0.0017281 | 0.99727 | -0.051767 | 0.99728 | -0.051574 | 0.47474
23 | -0.002301 | -0.00057657 | 0.0023015 | 0.00057538 | 5.1452e-07 | -1.1901e-06 | 0.0034333 | 0.0034327 | 0.0034333 | 0.99728 | -0.051574 | 0.99752 | -0.046876 | 0.9432
24 | 0.00056964 | 0.0001426 | -0.00056964 | -0.00014276 | 3.6377e-09 | -1.686e-07 | 0.00085517 | 0.00085523 | 0.00085523 | 0.99112 | -0.17107 | 0.99112 | -0.17121 | 0.23495
25 | -0.10116 | -0.025433 | 0.10138 | 0.025575 | 0.0002221 | 0.0001418 | 0.15116 | 0.15116 | 0.15116 | 0.99604 | -0.07602 | 0.99843 | -0.030154 | 41.5264
26 | -0.046336 | -0.011859 | 0.046336 | 0.011859 | 5.1675e-08 | 3.2704e-08 | 0.069612 | 0.069612 | 0.069612 | 0.99172 | -0.15696 | 0.99172 | -0.15694 | 19.1241
27 | -0.047055 | -0.012039 | 0.047123 | 0.012082 | 6.7277e-05 | 4.2593e-05 | 0.070691 | 0.070691 | 0.070691 | 0.99172 | -0.15694 | 0.99327 | -0.12745 | 19.4207
28 | -0.0023015 | -0.00057538 | 0.0023016 | 0.00057532 | 2.4622e-08 | -5.6982e-08 | 0.0034327 | 0.0034327 | 0.0034327 | 0.99752 | -0.046876 | 0.99753 | -0.046651 | 0.94306
29 | -0.047873 | -0.01227 | 0.047874 | 0.01227 | 2.8952e-07 | 1.8336e-07 | 0.071816 | 0.071816 | 0.071816 | 0.99327 | -0.12745 | 0.99328 | -0.12733 | 19.7297
30 | 0.001837 | 0.00045897 | -0.0018367 | -0.0004601 | 2.8823e-07 | -1.1292e-06 | 0.0027515 | 0.002752 | 0.002752 | 0.99328 | -0.12733 | 0.99311 | -0.13063 | 0.75603
31 | -0.050384 | -0.012898 | 0.050511 | 0.012976 | 0.00012658 | 7.794e-05 | 0.075577 | 0.075575 | 0.075577 | 0.99328 | -0.12733 | 0.996 | -0.07559 | 10.3814
32 | -0.16775 | -0.042207 | 0.16776 | 0.042213 | 1.015e-05 | 6.4736e-06 | 0.25006 | 0.25006 | 0.25006 | 0.99843 | -0.030154 | 0.99849 | -0.028888 | 34.349
33 | -0.1693 | -0.042601 | 0.16954 | 0.042751 | 0.00023406 | 0.00014928 | 0.25237 | 0.25237 | 0.25237 | 0.99849 | -0.028888 | 1 | 0 | 34.6658
34 | 0.082773 | 0.021142 | -0.082737 | -0.021119 | 3.5434e-05 | 2.2352e-05 | 0.12331 | 0.12331 | 0.12331 | 1 | 0 | 0.99953 | -0.0088593 | 16.9378
35 | 0.060424 | 0.015527 | -0.060317 | -0.01546 | 0.00010714 | 6.673e-05 | 0.09009 | 0.090091 | 0.090091 | 0.99953 | -0.0088593 | 0.9976 | -0.045433 | 12.3751
36 | 0.0053872 | 0.0013485 | -0.0053869 | -0.0013485 | 3.1243e-07 | 3.1477e-08 | 0.008035 | 0.008035 | 0.008035 | 0.9976 | -0.045433 | 0.99753 | -0.046651 | 2.2074
37 | 0.054929 | 0.014112 | -0.054904 | -0.014096 | 2.5683e-05 | 1.5906e-05 | 0.082056 | 0.082056 | 0.082056 | 0.9976 | -0.045433 | 0.99709 | -0.055065 | 11.2714
38 | -0.051398 | -0.013198 | 0.051406 | 0.013203 | 8.5146e-06 | 5.2494e-06 | 0.0769 | 0.0769 | 0.0769 | 0.996 | -0.07559 | 0.99618 | -0.072179 | 10.5632
39 | -0.05269 | -0.013525 | 0.052733 | 0.013552 | 4.3803e-05 | 2.7054e-05 | 0.078817 | 0.078817 | 0.078817 | 0.99618 | -0.072179 | 0.99709 | -0.055065 | 10.8265
40 | 0.0018367 | 0.0004601 | -0.0018367 | -0.00046016 | 1.506e-08 | -5.8976e-08 | 0.002752 | 0.002752 | 0.002752 | 0.99311 | -0.13063 | 0.9931 | -0.1308 | 0.75604
41 | 0.0030853 | 0.00077315 | -0.0030852 | -0.00077323 | 8.3023e-08 | -8.3312e-08 | 0.0046023 | 0.0046024 | 0.0046024 | 0.99753 | -0.046651 | 0.9975 | -0.047216 | 1.2644
42 | -0.020036 | -0.0050251 | 0.020047 | 0.0050316 | 1.0855e-05 | 6.5625e-06 | 0.030615 | 0.030615 | 0.030615 | 0.97388 | -0.503 | 0.97445 | -0.49164 | 8.4108
43 | 0.017012 | 0.0042672 | -0.017011 | -0.0042663 | 1.4596e-06 | 8.6249e-07 | 0.025995 | 0.025995 | 0.025995 | 0.97388 | -0.503 | 0.97379 | -0.5048 | 7.1414
44 | -0.023614 | -0.0059256 | 0.023638 | 0.0059402 | 2.3827e-05 | 1.464e-05 | 0.036062 | 0.036062 | 0.036062 | 0.97445 | -0.49164 | 0.97553 | -0.4705 | 9.9071
45 | 0.017011 | 0.0042663 | -0.017007 | -0.0042641 | 3.7341e-06 | 2.2065e-06 | 0.025995 | 0.025995 | 0.025995 | 0.97379 | -0.5048 | 0.97355 | -0.50941 | 7.1415
46 | -0.023638 | -0.0059402 | 0.023677 | 0.0059642 | 3.905e-05 | 2.3991e-05 | 0.036062 | 0.036061 | 0.036062 | 0.97553 | -0.4705 | 0.97729 | -0.43596 | 9.9071
47 | 0.016056 | 0.0040258 | -0.016056 | -0.0040254 | 7.5435e-07 | 4.4126e-07 | 0.024542 | 0.024542 | 0.024542 | 0.97355 | -0.50941 | 0.9735 | -0.51039 | 6.7423
48 | -0.040006 | -0.010059 | 0.04004 | 0.01008 | 3.3709e-05 | 2.127e-05 | 0.060925 | 0.060925 | 0.060925 | 0.97729 | -0.43596 | 0.97819 | -0.41833 | 16.7376
49 | 0.016329 | 0.0040943 | -0.016325 | -0.0040921 | 3.8282e-06 | 2.2432e-06 | 0.024864 | 0.024864 | 0.024864 | 0.97729 | -0.43596 | 0.97704 | -0.44088 | 6.8307
50 | 0.015097 | 0.0037852 | -0.015097 | -0.0037848 | 5.7973e-07 | 3.3493e-07 | 0.023077 | 0.023077 | 0.023077 | 0.9735 | -0.51039 | 0.97346 | -0.5112 | 6.3398
51 | -0.040621 | -0.010225 | 0.040629 | 0.01023 | 8.2165e-06 | 5.1865e-06 | 0.061808 | 0.061808 | 0.061808 | 0.97819 | -0.41833 | 0.9784 | -0.4141 | 16.9802
52 | 0.0125 | 0.0031333 | -0.012497 | -0.0031319 | 2.515e-06 | 1.3779e-06 | 0.019037 | 0.019037 | 0.019037 | 0.97704 | -0.44088 | 0.97682 | -0.4451 | 5.2301
53 | 0.014094 | 0.0035336 | -0.014093 | -0.0035329 | 1.3161e-06 | 7.4832e-07 | 0.021545 | 0.021545 | 0.021545 | 0.97346 | -0.5112 | 0.97336 | -0.51316 | 5.9189
54 | -0.0018367 | -0.00046031 | 0.0018367 | 0.00046016 | 3.7846e-08 | -1.4819e-07 | 0.002752 | 0.002752 | 0.002752 | 0.99307 | -0.13123 | 0.9931 | -0.1308 | 0.75605
55 | 0.01097 | 0.0027492 | -0.01097 | -0.0027492 | 2.9745e-10 | 1.3379e-10 | 0.016711 | 0.016711 | 0.016711 | 0.97682 | -0.4451 | 0.97682 | -0.4451 | 4.591
56 | 0.011196 | 0.0028069 | -0.011193 | -0.0028051 | 3.2637e-06 | 1.7196e-06 | 0.017116 | 0.017116 | 0.017116 | 0.97336 | -0.51316 | 0.97305 | -0.51928 | 4.7023
57 | 0.010338 | 0.0025909 | -0.010337 | -0.0025902 | 1.5535e-06 | 7.8837e-07 | 0.015809 | 0.015809 | 0.015809 | 0.97305 | -0.51928 | 0.97289 | -0.52243 | 4.3433
58 | 0.0075082 | 0.0018819 | -0.0075055 | -0.0018809 | 2.6839e-06 | 1.044e-06 | 0.011484 | 0.011484 | 0.011484 | 0.97289 | -0.52243 | 0.97251 | -0.52994 | 3.1549
59 | 0.0028285 | 0.00070826 | -0.0028281 | -0.00070878 | 4.5497e-07 | -5.137e-07 | 0.0043259 | 0.0043262 | 0.0043262 | 0.97289 | -0.52243 | 0.97272 | -0.52581 | 1.1885
60 | 0.0062916 | 0.0015766 | -0.0062914 | -0.0015766 | 2.2051e-07 | 6.2398e-08 | 0.0096266 | 0.0096266 | 0.0096266 | 0.97251 | -0.52994 | 0.97248 | -0.53067 | 2.6447
61 | 0.0050038 | 0.0012539 | -0.0050034 | -0.0012538 | 3.2778e-07 | 2.4791e-08 | 0.0076563 | 0.0076564 | 0.0076564 | 0.97248 | -0.53067 | 0.97241 | -0.53205 | 2.1034
62 | 0.0037897 | 0.00094965 | -0.0037896 | -0.00094969 | 1.0255e-07 | -3.5239e-08 | 0.0057991 | 0.0057992 | 0.0057992 | 0.97241 | -0.53205 | 0.97238 | -0.53262 | 1.5932
63 | 0.0048712 | 0.0012205 | -0.0048708 | -0.0012204 | 4.2406e-07 | 1.4527e-08 | 0.0074217 | 0.0074218 | 0.0074218 | 0.97664 | -0.44877 | 0.97654 | -0.4506 | 2.039
64 | -0.0066671 | -0.0016705 | 0.0066671 | 0.0016705 | 3.5592e-08 | 1.1268e-08 | 0.010158 | 0.010158 | 0.010158 | 0.97664 | -0.44877 | 0.97664 | -0.44866 | 2.7906
65 | 0.0041603 | 0.0010424 | -0.0041602 | -0.0010424 | 6.9981e-09 | -1.3313e-09 | 0.0063391 | 0.0063391 | 0.0063391 | 0.97654 | -0.4506 | 0.97654 | -0.45063 | 1.7415
66 | -0.0073727 | -0.0018474 | 0.0073739 | 0.0018478 | 1.2497e-06 | 4.6924e-07 | 0.011233 | 0.011233 | 0.011233 | 0.97664 | -0.44866 | 0.97682 | -0.4451 | 3.086
67 | 0.0023478 | 0.00058811 | -0.0023476 | -0.00058836 | 1.2874e-07 | -2.532e-07 | 0.0035773 | 0.0035775 | 0.0035775 | 0.97654 | -0.45063 | 0.97648 | -0.45179 | 0.98282
68 | 0.00064017 | 0.00016043 | -0.00064017 | -0.00016044 | 3.4999e-10 | -1.2041e-08 | 0.00097553 | 0.00097553 | 0.00097553 | 0.97648 | -0.45179 | 0.97648 | -0.4518 | 0.268
69 | 0.0025022 | 0.00062704 | -0.0025022 | -0.00062711 | 4.5265e-08 | -7.3148e-08 | 0.0038291 | 0.0038292 | 0.0038292 | 0.97238 | -0.53262 | 0.97236 | -0.533 | 1.052

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28176 | 0.07086

## res_load
| p_mw | q_mvar
0 | 0.015368 | 0.0038515
1 | 0.0094593 | 0.0023707
2 | 0.0042674 | 0.0010695
3 | 0.00055301 | 0.0001386
4 | 0.0014374 | 0.00036025
5 | 0.00075575 | 0.00018941
6 | 0.00035522 | 8.9025e-05
7 | 0.00049484 | 0.00012402
8 | 0.0038195 | 0.00095727
9 | 0.060506 | 0.015164
10 | 0.00067736 | 0.00016976
11 | 0.00019351 | 4.8498e-05
12 | 0.00017208 | 4.3128e-05
13 | 0.0011581 | 0.00029026
14 | 0.0011429 | 0.00028643
15 | 0.0035108 | 0.00087989
16 | 0.00035526 | 8.9036e-05
17 | 0.0023473 | 0.00058828
18 | 0.00072487 | 0.00018167
19 | 0.00071954 | 0.00018033
20 | 0.00075095 | 0.0001882
21 | 0.00067343 | 0.00016878
22 | 0.00056964 | 0.00014276
23 | 0.066363 | 0.016632
24 | 0.0015475 | 0.00038783
25 | 0.027799 | 0.0069671
26 | 0.022313 | 0.0055922
27 | 0.00088682 | 0.00022226
28 | 0.0012834 | 0.00032165
29 | 0.0021705 | 0.00054397
30 | 0.0030852 | 0.00077323
31 | 0.003024 | 0.0007579
32 | 0.0035669 | 0.00089396
33 | 0.00095072 | 0.00023827
34 | 0.00095842 | 0.0002402
35 | 0.00058053 | 0.00014549
36 | 0.0038256 | 0.00095878
37 | 0.0010023 | 0.0002512
38 | 0.0018367 | 0.00046031
39 | 0.00054365 | 0.00013625
40 | 0.001527 | 0.00038271
41 | 0.0028969 | 0.00072602
42 | 0.00085464 | 0.00021419
43 | 0.0012138 | 0.00030422
44 | 0.0028281 | 0.00070878
45 | 0.0012877 | 0.00032272
46 | 0.0012137 | 0.00030418
47 | 0.0017958 | 0.00045008
48 | 0.00071055 | 0.00017808
49 | 0.00070558 | 0.00017684
50 | 0.0018125 | 0.00045425
51 | 0.0035964 | 0.00090135
52 | 0.0017075 | 0.00042793
53 | 0.00064017 | 0.00016044
54 | 0.0012874 | 0.00032265
55 | 0.0025022 | 0.00062711

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1