## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_223-5_1_2_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_223-5_1_2_node_104 | 0.4 | n |  | TRUE
2 | bus_LV_223-5_1_2_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_223-5_1_2_node_35 | 0.4 | n |  | TRUE
4 | bus_LV_223-5_1_2_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_223-5_1_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_223-5_1_2_node_108 | 0.4 | n |  | TRUE
7 | bus_LV_223-5_1_2_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_223-5_1_2_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_223-5_1_2_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_223-5_1_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_223-5_1_2_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_223-5_1_2_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_223-5_1_2_node_105 | 0.4 | n |  | TRUE
14 | bus_LV_223-5_1_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_223-5_1_2_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_223-5_1_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_223-5_1_2_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_223-5_1_2_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_223-5_1_2_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_223-5_1_2_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_223-5_1_2_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_223-5_1_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_223-5_1_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_223-5_1_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_223-5_1_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_223-5_1_2_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_223-5_1_2_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_223-5_1_2_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_223-5_1_2_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_223-5_1_2_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_223-5_1_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_223-5_1_2_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_223-5_1_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_223-5_1_2_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_223-5_1_2_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_223-5_1_2_node_107 | 0.4 | n |  | TRUE
37 | bus_LV_223-5_1_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_223-5_1_2_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_223-5_1_2_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_223-5_1_2_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_223-5_1_2_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_223-5_1_2_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_223-5_1_2_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_223-5_1_2_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_223-5_1_2_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_223-5_1_2_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_223-5_1_2_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_223-5_1_2_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_223-5_1_2_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_223-5_1_2_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_223-5_1_2_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_223-5_1_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_223-5_1_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_223-5_1_2_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_223-5_1_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_223-5_1_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_223-5_1_2_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_223-5_1_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_223-5_1_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_223-5_1_2_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_223-5_1_2_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_223-5_1_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_223-5_1_2_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_223-5_1_2_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_223-5_1_2_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_223-5_1_2_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_223-5_1_2_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_223-5_1_2_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_223-5_1_2_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_223-5_1_2_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_223-5_1_2_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_223-5_1_2_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_223-5_1_2_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_223-5_1_2_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_223-5_1_2_node_84 | 0.4 | n |  | TRUE
76 | bus_MV_371_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_223-5_1_2_load_30 | 0 | 0.0019847 | 0.00049741 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_223-5_1_2_load_104 | 1 | 0.00080429 | 0.00020157 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_223-5_1_2_load_31 | 4 | 0.017095 | 0.0042844 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_223-5_1_2_load_108 | 6 | 0.00030731 | 7.7018e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_223-5_1_2_load_49 | 9 | 0.0012774 | 0.00032014 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_223-5_1_2_load_54 | 12 | 0.00024822 | 6.2209e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_223-5_1_2_load_26 | 14 | 0.00089533 | 0.00022439 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_223-5_1_2_load_88 | 15 | 0.0017372 | 0.0004354 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_223-5_1_2_load_33 | 17 | 0.0078111 | 0.0019576 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_223-5_1_2_load_87 | 19 | 0.0029065 | 0.00072844 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_223-5_1_2_load_83 | 20 | 0.0024816 | 0.00062194 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_223-5_1_2_load_51 | 21 | 0.00064823 | 0.00016246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_223-5_1_2_load_55 | 22 | 0.00013186 | 3.3046e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_223-5_1_2_load_22 | 23 | 0.016701 | 0.0041857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_223-5_1_2_load_23 | 24 | 0.0003726 | 9.3383e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_223-5_1_2_load_24 | 25 | 0.00068177 | 0.00017087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_223-5_1_2_load_32 | 26 | 0.012145 | 0.0030439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_223-5_1_2_load_101 | 28 | 0.00051802 | 0.00012983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_223-5_1_2_load_62 | 30 | 0.0023945 | 0.00060012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_223-5_1_2_load_37 | 31 | 0.0045214 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_223-5_1_2_load_46 | 35 | 0.00052369 | 0.00013125 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_223-5_1_2_load_107 | 36 | 0.0021074 | 0.00052817 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_223-5_1_2_load_97 | 39 | 0.0015883 | 0.00039806 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_223-5_1_2_load_100 | 42 | 0.0016711 | 0.00041883 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_223-5_1_2_load_45 | 43 | 0.00050797 | 0.00012731 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_223-5_1_2_load_63 | 46 | 0.004518 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_223-5_1_2_load_81 | 47 | 0.0025918 | 0.00064956 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_223-5_1_2_load_98 | 48 | 0.0014266 | 0.00035753 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_223-5_1_2_load_64 | 49 | 0.0054321 | 0.0013614 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_223-5_1_2_load_99 | 50 | 0.0017205 | 0.00043121 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_223-5_1_2_load_102 | 51 | 0.00048781 | 0.00012226 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_223-5_1_2_load_47 | 52 | 0.00047098 | 0.00011804 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_223-5_1_2_load_48 | 53 | 0.00048507 | 0.00012157 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_223-5_1_2_load_82 | 54 | 0.0028372 | 0.00071108 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_223-5_1_2_load_56 | 55 | 0.0019091 | 0.00047847 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_223-5_1_2_load_60 | 59 | 0.002179 | 0.00054612 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_223-5_1_2_load_61 | 60 | 0.0023995 | 0.00060138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_223-5_1_2_load_71 | 61 | 0.0088291 | 0.0022128 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_223-5_1_2_load_70 | 62 | 0.0073226 | 0.0018352 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_223-5_1_2_load_103 | 63 | 0.002137 | 0.00053559 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_223-5_1_2_load_73 | 64 | 0.002486 | 0.00062306 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_223-5_1_2_load_86 | 66 | 0.0020673 | 0.00051813 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_223-5_1_2_load_74 | 68 | 0.0025104 | 0.00062916 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_223-5_1_2_load_75 | 69 | 0.0025128 | 0.00062976 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_223-5_1_2_load_85 | 70 | 0.0027926 | 0.00069989 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_223-5_1_2_load_76 | 71 | 0.0026045 | 0.00065275 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_223-5_1_2_load_78 | 72 | 0.002743 | 0.00068746 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_223-5_1_2_load_79 | 73 | 0.0021628 | 0.00054205 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_223-5_1_2_load_80 | 74 | 0.0025685 | 0.00064372 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_223-5_1_2_load_84 | 75 | 0.0023259 | 0.00058293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_223-5_1_2_line_0 |  | 0 | 1 | 0.087867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_223-5_1_2_line_1 |  | 1 | 13 | 0.08731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_223-5_1_2_line_2 |  | 1 | 14 | 0.04305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_223-5_1_2_line_3 |  | 2 | 3 | 0.045087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_223-5_1_2_line_4 |  | 2 | 4 | 0.022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_223-5_1_2_line_5 |  | 3 | 15 | 0.022758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_223-5_1_2_line_6 |  | 3 | 16 | 0.0081996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_223-5_1_2_line_7 |  | 5 | 6 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_223-5_1_2_line_8 |  | 5 | 7 | 0.020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_223-5_1_2_line_9 |  | 7 | 8 | 0.059648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_223-5_1_2_line_10 |  | 7 | 9 | 0.0214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_223-5_1_2_line_11 |  | 8 | 18 | 0.00705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_223-5_1_2_line_12 |  | 8 | 19 | 0.035335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_223-5_1_2_line_13 |  | 9 | 11 | 0.013058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_223-5_1_2_line_14 |  | 10 | 11 | 0.080818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_223-5_1_2_line_15 |  | 10 | 12 | 0.0079476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_223-5_1_2_line_16 |  | 11 | 21 | 0.028614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_223-5_1_2_line_17 |  | 12 | 22 | 0.0047164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_223-5_1_2_line_18 |  | 13 | 36 | 0.051452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_223-5_1_2_line_19 |  | 14 | 25 | 0.00054101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_223-5_1_2_line_20 |  | 15 | 30 | 0.00029435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_223-5_1_2_line_21 |  | 16 | 17 | 0.026219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_223-5_1_2_line_22 |  | 17 | 26 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_223-5_1_2_line_23 |  | 18 | 20 | 0.028139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_223-5_1_2_line_24 |  | 20 | 54 | 0.024838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_223-5_1_2_line_25 |  | 23 | 24 | 0.032907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_223-5_1_2_line_26 |  | 23 | 25 | 0.020551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_223-5_1_2_line_27 |  | 27 | 28 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_223-5_1_2_line_28 |  | 27 | 29 | 0.002921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_223-5_1_2_line_29 |  | 28 | 51 | 0.024045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_223-5_1_2_line_30 |  | 29 | 31 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_223-5_1_2_line_31 |  | 30 | 57 | 0.0096746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_223-5_1_2_line_32 |  | 31 | 32 | 0.021434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_223-5_1_2_line_33 |  | 32 | 33 | 0.002725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_223-5_1_2_line_34 |  | 32 | 34 | 0.10651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_223-5_1_2_line_35 |  | 33 | 35 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_223-5_1_2_line_36 |  | 34 | 36 | 0.097152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_223-5_1_2_line_37 |  | 35 | 43 | 0.0073706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_223-5_1_2_line_38 |  | 37 | 38 | 0.035107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_223-5_1_2_line_39 |  | 37 | 39 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_223-5_1_2_line_40 |  | 38 | 47 | 0.027218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_223-5_1_2_line_41 |  | 39 | 48 | 0.0053635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_223-5_1_2_line_42 |  | 40 | 41 | 0.039125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_223-5_1_2_line_43 |  | 40 | 42 | 0.013093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_223-5_1_2_line_44 |  | 41 | 49 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_223-5_1_2_line_45 |  | 42 | 50 | 0.006428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_223-5_1_2_line_46 |  | 43 | 52 | 0.007352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_223-5_1_2_line_47 |  | 44 | 45 | 0.033779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_223-5_1_2_line_48 |  | 44 | 46 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_223-5_1_2_line_49 |  | 45 | 66 | 0.0054688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_223-5_1_2_line_50 |  | 46 | 49 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_223-5_1_2_line_51 |  | 47 | 54 | 0.0181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_223-5_1_2_line_52 |  | 48 | 50 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_223-5_1_2_line_53 |  | 51 | 63 | 0.0062415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_223-5_1_2_line_54 |  | 52 | 53 | 0.0058993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_223-5_1_2_line_55 |  | 55 | 56 | 0.012368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_223-5_1_2_line_56 |  | 55 | 57 | 0.0081563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_223-5_1_2_line_57 |  | 56 | 58 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_223-5_1_2_line_58 |  | 56 | 59 | 0.010147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_223-5_1_2_line_59 |  | 57 | 60 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_223-5_1_2_line_60 |  | 58 | 61 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_223-5_1_2_line_61 |  | 58 | 62 | 0.0080236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_223-5_1_2_line_62 |  | 59 | 63 | 0.0038092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_223-5_1_2_line_63 |  | 60 | 64 | 0.0065861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_223-5_1_2_line_64 |  | 64 | 65 | 0.0022688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_223-5_1_2_line_65 |  | 65 | 68 | 0.0044694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_223-5_1_2_line_66 |  | 66 | 70 | 0.019661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_223-5_1_2_line_67 |  | 67 | 68 | 0.0067101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_223-5_1_2_line_68 |  | 67 | 69 | 0.0094432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_223-5_1_2_line_69 |  | 69 | 71 | 0.0067954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_223-5_1_2_line_70 |  | 70 | 75 | 0.01058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_223-5_1_2_line_71 |  | 71 | 72 | 0.0028514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_223-5_1_2_line_72 |  | 72 | 73 | 0.011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_223-5_1_2_line_73 |  | 73 | 74 | 0.0020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_223-5_1_2_line_74 |  | 74 | 75 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_223-5_1_2_trafo_88 | 0.63 MVA 20/0.4 kV | 76 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2691806.8049 | 1264534.518 | 2691718.9603 | 1264536.5174
1 | 2691885.6796 | 1264571.7437 | 2691860.5727 | 1264557.8535 | 2691811.7667 | 1264536.8897 | 2691806.8049 | 1264534.518
2 | 2691796.6475 | 1264492.6839 | 2691806.8049 | 1264534.518
3 | 2691826.5977 | 1264338.1594 | 2691827.396 | 1264355.6192 | 2691830.9121 | 1264379.4597 | 2691834.2794 | 1264378.4668
4 | 2691826.5977 | 1264338.1594 | 2691809.4452 | 1264339.2161 | 2691804.4319 | 1264340.4615
5 | 2691834.2794 | 1264378.4668 | 2691856.1115 | 1264372.0399
6 | 2691832.4249 | 1264383.8979 | 2691830.9121 | 1264379.4597 | 2691834.2794 | 1264378.4668
7 | 2691880.8798 | 1264163.517 | 2691861.5726 | 1264165.0517
8 | 2691861.5726 | 1264165.0517 | 2691861.9929 | 1264176.2895 | 2691861.746 | 1264185.393
9 | 2691847.7472 | 1264243.2667 | 2691849.9126 | 1264235.7721 | 2691857.2163 | 1264210.7542 | 2691859.6896 | 1264199.9283 | 2691861.746 | 1264185.393
10 | 2691861.746 | 1264185.393 | 2691866.1712 | 1264185.1615 | 2691881.5479 | 1264177.9852
11 | 2691854.6213 | 1264244.9193 | 2691847.7472 | 1264243.2667
12 | 2691847.7472 | 1264243.2667 | 2691837.9479 | 1264273.7725 | 2691837.0058 | 1264276.929
13 | 2691893.3804 | 1264172.4629 | 2691881.5479 | 1264177.9852
14 | 2691922.8699 | 1264118.2664 | 2691927.3976 | 1264163.7401 | 2691901.2358 | 1264170.5946 | 2691897.3799 | 1264171.5132 | 2691893.3804 | 1264172.4629
15 | 2691922.8699 | 1264118.2664 | 2691930.7392 | 1264117.1536
16 | 2691883.6201 | 1264148.6031 | 2691887.3511 | 1264148.9391 | 2691890.4219 | 1264152.4897 | 2691893.3804 | 1264172.4629
17 | 2691935.4092 | 1264116.4932 | 2691930.7392 | 1264117.1536
18 | 2691861.6137 | 1264526.2664 | 2691885.6796 | 1264571.7437
19 | 2691796.6475 | 1264492.6839 | 2691796.6634 | 1264492.1431
20 | 2691856.1115 | 1264372.0399 | 2691856.3939 | 1264371.9568
21 | 2691832.4249 | 1264383.8979 | 2691806.832 | 1264389.594
22 | 2691798.3948 | 1264396.9357 | 2691806.832 | 1264389.594
23 | 2691854.6213 | 1264244.9193 | 2691853.3543 | 1264248.4135 | 2691853.7976 | 1264252.3569 | 2691856.9608 | 1264257.2322 | 2691868.9656 | 1264265.6153
24 | 2691889.2286 | 1264279.9765 | 2691883.1828 | 1264275.5433 | 2691868.9656 | 1264265.6153
25 | 2691797.266 | 1264471.6006 | 2691797.4078 | 1264466.7657 | 2691791.9791 | 1264441.4276 | 2691791.708 | 1264439.2881
26 | 2691796.6634 | 1264492.1431 | 2691797.266 | 1264471.6006
27 | 2691851.2453 | 1264420.909 | 2691869.358 | 1264415.5498
28 | 2691848.4378 | 1264421.7439 | 2691851.2453 | 1264420.909
29 | 2691869.358 | 1264415.5498 | 2691878.0251 | 1264412.9853 | 2691873.9915 | 1264398.5309
30 | 2691848.4378 | 1264421.7439 | 2691856.3136 | 1264434.4104
31 | 2691865.6747 | 1264369.2247 | 2691856.3939 | 1264371.9568
32 | 2691868.7591 | 1264451.8283 | 2691860.607 | 1264441.3154 | 2691856.3136 | 1264434.4104
33 | 2691868.7591 | 1264451.8283 | 2691871.2034 | 1264450.6097
34 | 2691941.5244 | 1264529.4998 | 2691913.7694 | 1264500.8785 | 2691878.1962 | 1264463.9847 | 2691868.7591 | 1264451.8283
35 | 2691871.2034 | 1264450.6097 | 2691882.6169 | 1264444.9138
36 | 2691861.6137 | 1264526.2664 | 2691908.8608 | 1264553.9896 | 2691917.7591 | 1264553.3163 | 2691941.5244 | 1264529.4998
37 | 2691889.1864 | 1264441.5746 | 2691888.2531 | 1264442.1011 | 2691882.6169 | 1264444.9138
38 | 2691925.775 | 1264306.7749 | 2691941.9853 | 1264318.3585 | 2691946.7678 | 1264321.7801 | 2691953.9828 | 1264327.6525
39 | 2691953.9828 | 1264327.6525 | 2691959.2499 | 1264344.3462
40 | 2691925.775 | 1264306.7749 | 2691903.8253 | 1264290.6798
41 | 2691959.2499 | 1264344.3462 | 2691960.8638 | 1264349.4611
42 | 2691937.3788 | 1264387.8541 | 2691940.7783 | 1264388.6632 | 2691942.1436 | 1264392.4097 | 2691966.3646 | 1264384.3687 | 2691970.3851 | 1264379.6385
43 | 2691970.3851 | 1264379.6385 | 2691966.4456 | 1264367.1525
44 | 2691937.3788 | 1264387.8541 | 2691937.8123 | 1264383.7131 | 2691934.5114 | 1264372.5248
45 | 2691964.5115 | 1264361.0224 | 2691966.4456 | 1264367.1525
46 | 2691889.1864 | 1264441.5746 | 2691895.5897 | 1264437.9623
47 | 2691897.7657 | 1264322.5189 | 2691907.7893 | 1264329.4247 | 2691909.4513 | 1264330.5626 | 2691925.4627 | 1264341.8539
48 | 2691925.4627 | 1264341.8539 | 2691929.4486 | 1264355.3641
49 | 2691897.7657 | 1264322.5189 | 2691893.2607 | 1264319.4184
50 | 2691929.4486 | 1264355.3641 | 2691934.5114 | 1264372.5248
51 | 2691903.8253 | 1264290.6798 | 2691889.2286 | 1264279.9765
52 | 2691960.8638 | 1264349.4611 | 2691964.5115 | 1264361.0224
53 | 2691872.3138 | 1264392.5191 | 2691873.9915 | 1264398.5309
54 | 2691895.5897 | 1264437.9623 | 2691900.7278 | 1264435.0638
55 | 2691878.7188 | 1264381.9377 | 2691876.0229 | 1264381.8957 | 2691872.1128 | 1264380.9787 | 2691869.6883 | 1264378.9839 | 2691868.2398 | 1264376.927
56 | 2691865.6747 | 1264369.2247 | 2691867.7722 | 1264376.263 | 2691868.2398 | 1264376.927
57 | 2691899.6715 | 1264375.7805 | 2691878.7188 | 1264381.9377
58 | 2691878.7188 | 1264381.9377 | 2691871.2899 | 1264388.8501
59 | 2691865.6747 | 1264369.2247 | 2691861.6177 | 1264355.6129
60 | 2691899.6715 | 1264375.7805 | 2691895.9562 | 1264361.7001
61 | 2691899.6715 | 1264375.7805 | 2691905.7882 | 1264380.9733
62 | 2691872.3138 | 1264392.5191 | 2691871.2899 | 1264388.8501 | 2691871.2899 | 1264388.8501
63 | 2691859.7365 | 1264349.3011 | 2691861.6177 | 1264355.6129
64 | 2691859.0885 | 1264347.1268 | 2691859.7365 | 1264349.3011
65 | 2691859.0885 | 1264347.1268 | 2691857.812 | 1264342.8436
66 | 2691877.0649 | 1264308.2718 | 2691893.2607 | 1264319.4184
67 | 2691855.8956 | 1264336.413 | 2691857.812 | 1264342.8436
68 | 2691855.8956 | 1264336.413 | 2691853.1966 | 1264327.3638
69 | 2691853.1966 | 1264327.3638 | 2691853.7198 | 1264320.5886
70 | 2691868.1495 | 1264302.6786 | 2691869.6469 | 1264303.1664 | 2691877.0649 | 1264308.2718
71 | 2691853.9394 | 1264317.7456 | 2691853.7198 | 1264320.5886
72 | 2691853.9394 | 1264317.7456 | 2691854.8077 | 1264306.5016
73 | 2691854.8077 | 1264306.5016 | 2691854.8941 | 1264305.3835 | 2691855.5394 | 1264304.6901
74 | 2691868.1495 | 1264302.6786 | 2691864.5207 | 1264301.4965 | 2691860.9568 | 1264301.5634 | 2691857.1386 | 1264302.9719 | 2691855.5394 | 1264304.6901

## bus_geodata
| x | y | coords
0 | 2691718.9603 | 1264536.5174
1 | 2691806.8049 | 1264534.518
2 | 2691826.5977 | 1264338.1594
3 | 2691834.2794 | 1264378.4668
4 | 2691804.4319 | 1264340.4615
5 | 2691861.5726 | 1264165.0517
6 | 2691880.8798 | 1264163.517
7 | 2691861.746 | 1264185.393
8 | 2691847.7472 | 1264243.2667
9 | 2691881.5479 | 1264177.9852
10 | 2691922.8699 | 1264118.2664
11 | 2691893.3804 | 1264172.4629
12 | 2691930.7392 | 1264117.1536
13 | 2691885.6796 | 1264571.7437
14 | 2691796.6475 | 1264492.6839
15 | 2691856.1115 | 1264372.0399
16 | 2691832.4249 | 1264383.8979
17 | 2691806.832 | 1264389.594
18 | 2691854.6213 | 1264244.9193
19 | 2691837.0058 | 1264276.929
20 | 2691868.9656 | 1264265.6153
21 | 2691883.6201 | 1264148.6031
22 | 2691935.4092 | 1264116.4932
23 | 2691797.266 | 1264471.6006
24 | 2691791.708 | 1264439.2881
25 | 2691796.6634 | 1264492.1431
26 | 2691798.3948 | 1264396.9357
27 | 2691851.2453 | 1264420.909
28 | 2691869.358 | 1264415.5498
29 | 2691848.4378 | 1264421.7439
30 | 2691856.3939 | 1264371.9568
31 | 2691856.3136 | 1264434.4104
32 | 2691868.7591 | 1264451.8283
33 | 2691871.2034 | 1264450.6097
34 | 2691941.5244 | 1264529.4998
35 | 2691882.6169 | 1264444.9138
36 | 2691861.6137 | 1264526.2664
37 | 2691953.9828 | 1264327.6525
38 | 2691925.775 | 1264306.7749
39 | 2691959.2499 | 1264344.3462
40 | 2691970.3851 | 1264379.6385
41 | 2691937.3788 | 1264387.8541
42 | 2691966.4456 | 1264367.1525
43 | 2691889.1864 | 1264441.5746
44 | 2691925.4627 | 1264341.8539
45 | 2691897.7657 | 1264322.5189
46 | 2691929.4486 | 1264355.3641
47 | 2691903.8253 | 1264290.6798
48 | 2691960.8638 | 1264349.4611
49 | 2691934.5114 | 1264372.5248
50 | 2691964.5115 | 1264361.0224
51 | 2691873.9915 | 1264398.5309
52 | 2691895.5897 | 1264437.9623
53 | 2691900.7278 | 1264435.0638
54 | 2691889.2286 | 1264279.9765
55 | 2691868.2398 | 1264376.927
56 | 2691878.7188 | 1264381.9377
57 | 2691865.6747 | 1264369.2247
58 | 2691899.6715 | 1264375.7805
59 | 2691871.2899 | 1264388.8501
60 | 2691861.6177 | 1264355.6129
61 | 2691895.9562 | 1264361.7001
62 | 2691905.7882 | 1264380.9733
63 | 2691872.3138 | 1264392.5191
64 | 2691859.7365 | 1264349.3011
65 | 2691859.0885 | 1264347.1268
66 | 2691893.2607 | 1264319.4184
67 | 2691855.8956 | 1264336.413
68 | 2691857.812 | 1264342.8436
69 | 2691853.1966 | 1264327.3637
70 | 2691877.0649 | 1264308.2718
71 | 2691853.7198 | 1264320.5886
72 | 2691853.9394 | 1264317.7456
73 | 2691854.8077 | 1264306.5016
74 | 2691855.5394 | 1264304.6901
75 | 2691868.1495 | 1264302.6786
76 | 2691856.1115 | 1264372.0399

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9879 | -0.23275 | 0.0019847 | 0.00049741
1 | 0.98806 | -0.22963 | 0.00080429 | 0.00020157
2 | 0.99853 | -0.028175 | 0 | 0
3 | 0.99923 | -0.01471 | 0 | 0
4 | 0.99819 | -0.034856 | 0.017095 | 0.0042844
5 | 0.98945 | -0.2033 | 0 | 0
6 | 0.98945 | -0.20341 | 0.00030731 | 7.7018e-05
7 | 0.98946 | -0.20319 | 0 | 0
8 | 0.9896 | -0.20041 | 0 | 0
9 | 0.98941 | -0.20407 | 0.0012774 | 0.00032014
10 | 0.98937 | -0.20486 | 0 | 0
11 | 0.9894 | -0.20431 | 0 | 0
12 | 0.98937 | -0.20492 | 0.00024822 | 6.2209e-05
13 | 0.98978 | -0.19626 | 0 | 0
14 | 0.98733 | -0.24398 | 0.00089533 | 0.00022439
15 | 1 | 0 | -0.15223 | -0.038006
16 | 0.99909 | -0.017567 | 0 | 0
17 | 0.99861 | -0.026708 | 0.0078111 | 0.0019576
18 | 0.98964 | -0.19972 | 0 | 0
19 | 0.98951 | -0.20224 | 0.0029065 | 0.00072844
20 | 0.98978 | -0.19695 | 0.0024816 | 0.00062194
21 | 0.98938 | -0.20464 | 0.00064823 | 0.00016246
22 | 0.98937 | -0.20493 | 0.00013186 | 3.3046e-05
23 | 0.987 | -0.25043 | 0.016701 | 0.0041857
24 | 0.98698 | -0.25065 | 0.0003726 | 9.3383e-05
25 | 0.98732 | -0.24415 | 0.00068177 | 0.00017087
26 | 0.99849 | -0.029082 | 0.012145 | 0.0030439
27 | 0.9962 | -0.072765 | 0 | 0
28 | 0.99672 | -0.062793 | 0.00051802 | 0.00012983
29 | 0.99612 | -0.074308 | 0 | 0
30 | 0.99997 | -0.00057894 | 0.0023945 | 0.00060012
31 | 0.9957 | -0.082191 | 0.0045214 | 0.0011332
32 | 0.9952 | -0.091825 | 0 | 0
33 | 0.9952 | -0.091921 | 0 | 0
34 | 0.9929 | -0.13609 | 0 | 0
35 | 0.99517 | -0.092367 | 0.00052369 | 0.00013125
36 | 0.9908 | -0.17664 | 0.0021074 | 0.00052817
37 | 0.99091 | -0.17503 | 0 | 0
38 | 0.99048 | -0.18341 | 0 | 0
39 | 0.99112 | -0.17085 | 0.0015883 | 0.00039806
40 | 0.99172 | -0.15921 | 0 | 0
41 | 0.99243 | -0.14545 | 0 | 0
42 | 0.99149 | -0.16381 | 0.0016711 | 0.00041883
43 | 0.99516 | -0.092557 | 0.00050797 | 0.00012731
44 | 0.99352 | -0.12448 | 0 | 0
45 | 0.99444 | -0.10671 | 0 | 0
46 | 0.99314 | -0.13189 | 0.004518 | 0.0011323
47 | 0.99014 | -0.18992 | 0.0025918 | 0.00064956
48 | 0.9912 | -0.16942 | 0.0014266 | 0.00035753
49 | 0.99272 | -0.13989 | 0.0054321 | 0.0013614
50 | 0.99138 | -0.16589 | 0.0017205 | 0.00043121
51 | 0.99739 | -0.049894 | 0.00048781 | 0.00012226
52 | 0.99516 | -0.092681 | 0.00047098 | 0.00011804
53 | 0.99516 | -0.092731 | 0.00048507 | 0.00012157
54 | 0.98996 | -0.19341 | 0.0028372 | 0.00071108
55 | 0.9986 | -0.026841 | 0.0019091 | 0.00047847
56 | 0.99801 | -0.037992 | 0 | 0
57 | 0.99899 | -0.019222 | 0 | 0
58 | 0.99769 | -0.04415 | 0 | 0
59 | 0.99768 | -0.04428 | 0.002179 | 0.00054612
60 | 0.99826 | -0.033368 | 0.0023995 | 0.00060138
61 | 0.99758 | -0.046401 | 0.0088291 | 0.0022128
62 | 0.99764 | -0.045178 | 0.0073226 | 0.0018352
63 | 0.99757 | -0.046496 | 0.002137 | 0.00053559
64 | 0.99793 | -0.039658 | 0.002486 | 0.00062306
65 | 0.99782 | -0.041727 | 0 | 0
66 | 0.99459 | -0.10384 | 0.0020673 | 0.00051813
67 | 0.9973 | -0.051633 | 0 | 0
68 | 0.99761 | -0.045804 | 0.0025104 | 0.00062916
69 | 0.99688 | -0.059842 | 0.0025128 | 0.00062976
70 | 0.99516 | -0.092806 | 0.0027926 | 0.00069989
71 | 0.99658 | -0.065454 | 0.0026045 | 0.00065275
72 | 0.99647 | -0.067679 | 0.002743 | 0.00068746
73 | 0.99604 | -0.075943 | 0.0021628 | 0.00054205
74 | 0.99596 | -0.07738 | 0.0025685 | 0.00064372
75 | 0.9955 | -0.086354 | 0.0023259 | 0.00058293
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019847 | -0.00049741 | 0.001985 | 0.00049647 | 2.9442e-07 | -9.3679e-07 | 0.0029894 | 0.002989 | 0.0029894 | 0.9879 | -0.23275 | 0.98806 | -0.22963 | 0.82127
1 | -0.021458 | -0.0053827 | 0.021492 | 0.0054035 | 3.4196e-05 | 2.0765e-05 | 0.032318 | 0.032317 | 0.032318 | 0.98806 | -0.22963 | 0.98978 | -0.19626 | 8.8785
2 | 0.018669 | 0.0046847 | -0.018656 | -0.004677 | 1.2763e-05 | 7.6173e-06 | 0.028117 | 0.028118 | 0.028118 | 0.98806 | -0.22963 | 0.98733 | -0.24398 | 7.7246
3 | -0.0171 | -0.0042876 | 0.017111 | 0.004294 | 1.098e-05 | 6.4369e-06 | 0.025483 | 0.025483 | 0.025483 | 0.99853 | -0.028175 | 0.99923 | -0.01471 | 7.0009
4 | 0.0171 | 0.0042876 | -0.017095 | -0.0042844 | 5.443e-06 | 3.1913e-06 | 0.025483 | 0.025484 | 0.025484 | 0.99853 | -0.028175 | 0.99819 | -0.034856 | 7.001
5 | -0.03708 | -0.0093031 | 0.037106 | 0.0093195 | 2.6025e-05 | 1.6358e-05 | 0.055222 | 0.055222 | 0.055222 | 0.99923 | -0.01471 | 1 | 0 | 15.1709
6 | 0.019969 | 0.0050091 | -0.019966 | -0.0050075 | 2.7194e-06 | 1.633e-06 | 0.029739 | 0.029739 | 0.029739 | 0.99923 | -0.01471 | 0.99909 | -0.017567 | 8.17
7 | 0.00030731 | 7.6771e-05 | -0.00030731 | -7.7018e-05 | 1.5464e-09 | -2.4704e-07 | 0.00046207 | 0.00046215 | 0.00046215 | 0.98945 | -0.2033 | 0.98945 | -0.20341 | 0.12697
8 | -0.00030731 | -7.6771e-05 | 0.00030731 | 7.6511e-05 | 1.6292e-09 | -2.6037e-07 | 0.00046207 | 0.00046197 | 0.00046207 | 0.98945 | -0.2033 | 0.98946 | -0.20319 | 0.12694
9 | -0.0026131 | -0.00065244 | 0.0026135 | 0.0006519 | 3.4526e-07 | -5.4528e-07 | 0.0039289 | 0.0039286 | 0.0039289 | 0.98946 | -0.20319 | 0.9896 | -0.20041 | 1.0794
10 | 0.0023058 | 0.00057593 | -0.0023057 | -0.00057614 | 9.6461e-08 | -2.1312e-07 | 0.0034669 | 0.003467 | 0.003467 | 0.98946 | -0.20319 | 0.98941 | -0.20407 | 0.95248
11 | -0.0055202 | -0.00138 | 0.0055204 | 0.0013801 | 1.8209e-07 | 2.596e-08 | 0.0082993 | 0.0082992 | 0.0082993 | 0.9896 | -0.20041 | 0.98964 | -0.19972 | 2.28
12 | 0.0029067 | 0.00072814 | -0.0029065 | -0.00072844 | 2.5313e-07 | -2.9194e-07 | 0.0043706 | 0.0043708 | 0.0043708 | 0.9896 | -0.20041 | 0.98951 | -0.20224 | 1.2008
13 | 0.0010283 | 0.000256 | -0.0010283 | -0.00025616 | 1.1703e-08 | -1.6021e-07 | 0.0015459 | 0.001546 | 0.001546 | 0.98941 | -0.20407 | 0.9894 | -0.20431 | 0.42473
14 | -0.00038007 | -9.5093e-05 | 0.00038008 | 9.4062e-05 | 9.8948e-09 | -1.0316e-06 | 0.00057157 | 0.00057121 | 0.00057157 | 0.98937 | -0.20486 | 0.9894 | -0.20431 | 0.15703
15 | 0.00038007 | 9.5093e-05 | -0.00038007 | -9.5195e-05 | 9.7374e-10 | -1.0144e-07 | 0.00057157 | 0.00057161 | 0.00057161 | 0.98937 | -0.20486 | 0.98937 | -0.20492 | 0.15704
16 | 0.00064824 | 0.0001621 | -0.00064823 | -0.00016246 | 1.0198e-08 | -3.6095e-07 | 0.00097479 | 0.00097492 | 0.00097492 | 0.9894 | -0.20431 | 0.98938 | -0.20464 | 0.26784
17 | 0.00013186 | 3.2986e-05 | -0.00013186 | -3.3046e-05 | 6.9561e-11 | -6.0523e-08 | 0.00019829 | 0.00019831 | 0.00019831 | 0.98937 | -0.20492 | 0.98937 | -0.20493 | 0.054482
18 | -0.021492 | -0.0054035 | 0.021513 | 0.0054157 | 2.0151e-05 | 1.2235e-05 | 0.032317 | 0.032317 | 0.032317 | 0.98978 | -0.19626 | 0.9908 | -0.17664 | 8.8784
19 | 0.017761 | 0.0044527 | -0.017761 | -0.0044526 | 1.4537e-07 | 8.6118e-08 | 0.026768 | 0.026768 | 0.026768 | 0.98733 | -0.24398 | 0.98732 | -0.24415 | 7.3539
20 | 0.11348 | 0.028686 | -0.11347 | -0.028684 | 3.1504e-06 | 2.0124e-06 | 0.16894 | 0.16894 | 0.16894 | 1 | 0 | 0.99997 | -0.00057894 | 46.4123
21 | 0.019966 | 0.0050075 | -0.019958 | -0.0050023 | 8.6956e-06 | 5.222e-06 | 0.029739 | 0.029739 | 0.029739 | 0.99909 | -0.017567 | 0.99861 | -0.026708 | 8.17
22 | 0.012147 | 0.0030446 | -0.012145 | -0.0030439 | 1.374e-06 | 7.3305e-07 | 0.0181 | 0.0181 | 0.0181 | 0.99861 | -0.026708 | 0.99849 | -0.029082 | 4.9725
23 | -0.0055204 | -0.0013801 | 0.0055211 | 0.0013802 | 7.2678e-07 | 1.0354e-07 | 0.0082992 | 0.0082991 | 0.0082992 | 0.98964 | -0.19972 | 0.98978 | -0.19695 | 2.28
24 | -0.0080027 | -0.0020021 | 0.008004 | 0.0020026 | 1.3479e-06 | 5.4336e-07 | 0.01203 | 0.01203 | 0.01203 | 0.98978 | -0.19695 | 0.98996 | -0.19341 | 3.3049
25 | 0.0003726 | 9.2964e-05 | -0.0003726 | -9.3383e-05 | 3.893e-09 | -4.1806e-07 | 0.0005616 | 0.00056175 | 0.00056175 | 0.987 | -0.25043 | 0.98698 | -0.25065 | 0.15433
26 | -0.017074 | -0.0042787 | 0.017079 | 0.0042817 | 5.1064e-06 | 3.0053e-06 | 0.025741 | 0.025741 | 0.025741 | 0.987 | -0.25043 | 0.98732 | -0.24415 | 7.0716
27 | -0.030251 | -0.0076495 | 0.030265 | 0.0076585 | 1.4478e-05 | 9.0197e-06 | 0.04521 | 0.04521 | 0.04521 | 0.9962 | -0.072765 | 0.99672 | -0.062793 | 12.4202
28 | 0.030251 | 0.0076495 | -0.030249 | -0.0076481 | 2.2389e-06 | 1.3948e-06 | 0.04521 | 0.04521 | 0.04521 | 0.9962 | -0.072765 | 0.99612 | -0.074308 | 12.4202
29 | -0.030783 | -0.0077884 | 0.030802 | 0.0078003 | 1.9066e-05 | 1.1888e-05 | 0.045983 | 0.045983 | 0.045983 | 0.99672 | -0.062793 | 0.99739 | -0.049894 | 12.6327
30 | 0.030249 | 0.0076481 | -0.030237 | -0.007641 | 1.1432e-05 | 7.1225e-06 | 0.04521 | 0.04521 | 0.04521 | 0.99612 | -0.074308 | 0.9957 | -0.082191 | 12.4203
31 | 0.11108 | 0.028084 | -0.11098 | -0.028021 | 9.9224e-05 | 6.3377e-05 | 0.16538 | 0.16538 | 0.16538 | 0.99997 | -0.00057894 | 0.99899 | -0.019222 | 45.4334
32 | 0.025716 | 0.0065078 | -0.025704 | -0.0065005 | 1.1885e-05 | 7.3277e-06 | 0.038453 | 0.038453 | 0.038453 | 0.9957 | -0.082191 | 0.9952 | -0.091825 | 10.564
33 | 0.0019878 | 0.00049774 | -0.0019878 | -0.00049777 | 9.0257e-09 | -2.9631e-08 | 0.002972 | 0.002972 | 0.002972 | 0.9952 | -0.091825 | 0.9952 | -0.091921 | 0.81647
34 | 0.023716 | 0.0060028 | -0.023666 | -0.005972 | 5.0282e-05 | 3.08e-05 | 0.035481 | 0.035482 | 0.035482 | 0.9952 | -0.091825 | 0.9929 | -0.13609 | 9.7477
35 | 0.0019878 | 0.00049777 | -0.0019877 | -0.00049791 | 4.2251e-08 | -1.387e-07 | 0.002972 | 0.002972 | 0.002972 | 0.9952 | -0.091921 | 0.99517 | -0.092367 | 0.81649
36 | 0.023666 | 0.005972 | -0.02362 | -0.0059439 | 4.5866e-05 | 2.81e-05 | 0.035482 | 0.035482 | 0.035482 | 0.9929 | -0.13609 | 0.9908 | -0.17664 | 9.7478
37 | 0.001464 | 0.00036666 | -0.001464 | -0.00036675 | 1.3244e-08 | -8.7288e-08 | 0.002189 | 0.002189 | 0.002189 | 0.99517 | -0.092367 | 0.99516 | -0.092557 | 0.60138
38 | 0.013444 | 0.0033695 | -0.013439 | -0.0033665 | 5.3661e-06 | 2.9823e-06 | 0.020189 | 0.020189 | 0.020189 | 0.99091 | -0.17503 | 0.99048 | -0.18341 | 5.5465
39 | -0.013444 | -0.0033695 | 0.013447 | 0.003371 | 2.6756e-06 | 1.4868e-06 | 0.020189 | 0.020189 | 0.020189 | 0.99091 | -0.17503 | 0.99112 | -0.17085 | 5.5464
40 | 0.013439 | 0.0033665 | -0.013435 | -0.0033642 | 4.1604e-06 | 2.3124e-06 | 0.020189 | 0.020189 | 0.020189 | 0.99048 | -0.18341 | 0.99014 | -0.18992 | 5.5465
41 | -0.015035 | -0.0037691 | 0.015036 | 0.0037696 | 1.0249e-06 | 5.868e-07 | 0.022573 | 0.022573 | 0.022573 | 0.99112 | -0.17085 | 0.9912 | -0.16942 | 6.2015
42 | -0.019864 | -0.0049825 | 0.019877 | 0.0049904 | 1.3034e-05 | 7.8365e-06 | 0.029805 | 0.029805 | 0.029805 | 0.99172 | -0.15921 | 0.99243 | -0.14545 | 8.1883
43 | 0.019864 | 0.0049825 | -0.019859 | -0.0049799 | 4.3617e-06 | 2.6226e-06 | 0.029805 | 0.029805 | 0.029805 | 0.99172 | -0.15921 | 0.99149 | -0.16381 | 8.1883
44 | -0.019877 | -0.0049904 | 0.019882 | 0.0049935 | 5.2731e-06 | 3.1702e-06 | 0.029805 | 0.029805 | 0.029805 | 0.99243 | -0.14545 | 0.99272 | -0.13989 | 8.1883
45 | 0.018188 | 0.0045611 | -0.018186 | -0.00456 | 1.7962e-06 | 1.0667e-06 | 0.027297 | 0.027297 | 0.027297 | 0.99149 | -0.16381 | 0.99138 | -0.16589 | 7.4993
46 | 0.00095606 | 0.00023944 | -0.00095605 | -0.00023953 | 5.6338e-09 | -9.1916e-08 | 0.0014295 | 0.0014295 | 0.0014295 | 0.99516 | -0.092557 | 0.99516 | -0.092681 | 0.39272
47 | -0.029852 | -0.0074998 | 0.029877 | 0.0075155 | 2.5329e-05 | 1.5772e-05 | 0.044717 | 0.044716 | 0.044717 | 0.99352 | -0.12448 | 0.99444 | -0.10671 | 12.2848
48 | 0.029852 | 0.0074998 | -0.029842 | -0.0074932 | 1.0562e-05 | 6.5774e-06 | 0.044717 | 0.044717 | 0.044717 | 0.99352 | -0.12448 | 0.99314 | -0.13189 | 12.2848
49 | -0.029877 | -0.0075155 | 0.029882 | 0.0075181 | 4.1007e-06 | 2.5535e-06 | 0.044716 | 0.044716 | 0.044716 | 0.99444 | -0.10671 | 0.99459 | -0.10384 | 12.2847
50 | 0.025324 | 0.0063609 | -0.025314 | -0.0063549 | 9.6617e-06 | 5.952e-06 | 0.037947 | 0.037947 | 0.037947 | 0.99314 | -0.13189 | 0.99272 | -0.13989 | 10.4251
51 | 0.010843 | 0.0027147 | -0.010841 | -0.0027137 | 1.8022e-06 | 9.2062e-07 | 0.016294 | 0.016294 | 0.016294 | 0.99014 | -0.18992 | 0.98996 | -0.19341 | 4.4765
52 | -0.016463 | -0.0041272 | 0.016466 | 0.0041288 | 2.7769e-06 | 1.621e-06 | 0.024715 | 0.024715 | 0.024715 | 0.9912 | -0.16942 | 0.99138 | -0.16589 | 6.7899
53 | -0.03129 | -0.0079225 | 0.031295 | 0.0079257 | 5.1069e-06 | 3.1869e-06 | 0.046711 | 0.046711 | 0.046711 | 0.99739 | -0.049894 | 0.99757 | -0.046496 | 12.8326
54 | 0.00048508 | 0.0001215 | -0.00048507 | -0.00012157 | 1.1637e-09 | -7.5902e-08 | 0.00072528 | 0.00072531 | 0.00072531 | 0.99516 | -0.092681 | 0.99516 | -0.092731 | 0.19926
55 | 0.051811 | 0.013085 | -0.051783 | -0.013068 | 2.767e-05 | 1.7547e-05 | 0.077239 | 0.077239 | 0.077239 | 0.9986 | -0.026841 | 0.99801 | -0.037992 | 21.2196
56 | -0.05372 | -0.013564 | 0.05374 | 0.013576 | 1.9616e-05 | 1.2448e-05 | 0.080084 | 0.080084 | 0.080084 | 0.9986 | -0.026841 | 0.99899 | -0.019222 | 22.0012
57 | 0.016158 | 0.0040513 | -0.016153 | -0.0040485 | 4.7402e-06 | 2.7492e-06 | 0.024091 | 0.024092 | 0.024092 | 0.99801 | -0.037992 | 0.99769 | -0.04415 | 6.6186
58 | 0.035626 | 0.0090164 | -0.035615 | -0.0090096 | 1.0749e-05 | 6.7467e-06 | 0.053148 | 0.053148 | 0.053148 | 0.99801 | -0.037992 | 0.99768 | -0.04428 | 14.6011
59 | 0.057239 | 0.014445 | -0.0572 | -0.01442 | 3.8749e-05 | 2.4614e-05 | 0.085293 | 0.085294 | 0.085294 | 0.99899 | -0.019222 | 0.99826 | -0.033368 | 23.4323
60 | 0.0088301 | 0.0022132 | -0.0088291 | -0.0022128 | 9.4714e-07 | 4.1603e-07 | 0.01317 | 0.01317 | 0.01317 | 0.99769 | -0.04415 | 0.99758 | -0.046401 | 3.6181
61 | 0.0073229 | 0.0018353 | -0.0073226 | -0.0018352 | 3.5892e-07 | 1.2493e-07 | 0.010922 | 0.010922 | 0.010922 | 0.99769 | -0.04415 | 0.99764 | -0.045178 | 3.0005
62 | 0.033436 | 0.0084635 | -0.033432 | -0.0084613 | 3.5566e-06 | 2.2265e-06 | 0.049898 | 0.049898 | 0.049898 | 0.99768 | -0.04428 | 0.99757 | -0.046496 | 13.7083
63 | 0.054801 | 0.013819 | -0.054784 | -0.013808 | 1.6492e-05 | 1.0469e-05 | 0.081717 | 0.081717 | 0.081717 | 0.99826 | -0.033368 | 0.99793 | -0.039658 | 22.4497
64 | 0.052298 | 0.013185 | -0.052293 | -0.013182 | 5.1776e-06 | 3.284e-06 | 0.07801 | 0.07801 | 0.07801 | 0.99793 | -0.039658 | 0.99782 | -0.041727 | 21.4313
65 | 0.052293 | 0.013182 | -0.052283 | -0.013176 | 1.0199e-05 | 6.4693e-06 | 0.07801 | 0.07801 | 0.07801 | 0.99782 | -0.041727 | 0.99761 | -0.045804 | 21.4313
66 | -0.031949 | -0.0080362 | 0.031966 | 0.0080467 | 1.6852e-05 | 1.053e-05 | 0.047809 | 0.047809 | 0.047809 | 0.99459 | -0.10384 | 0.99516 | -0.092806 | 13.1344
67 | -0.049759 | -0.012538 | 0.049773 | 0.012546 | 1.3878e-05 | 8.7944e-06 | 0.074265 | 0.074265 | 0.074265 | 0.9973 | -0.051633 | 0.99761 | -0.045804 | 20.4026
68 | 0.049759 | 0.012538 | -0.049739 | -0.012525 | 1.9531e-05 | 1.2377e-05 | 0.074265 | 0.074266 | 0.074266 | 0.9973 | -0.051633 | 0.99688 | -0.059842 | 20.4026
69 | 0.047226 | 0.011895 | -0.047214 | -0.011887 | 1.2671e-05 | 8.0207e-06 | 0.070515 | 0.070515 | 0.070515 | 0.99688 | -0.059842 | 0.99658 | -0.065454 | 19.3722
70 | -0.034758 | -0.0087466 | 0.034769 | 0.0087534 | 1.0722e-05 | 6.7244e-06 | 0.051985 | 0.051985 | 0.051985 | 0.99516 | -0.092806 | 0.9955 | -0.086354 | 14.2816
71 | 0.044609 | 0.011235 | -0.044604 | -0.011232 | 4.7466e-06 | 3.0007e-06 | 0.066626 | 0.066626 | 0.066626 | 0.99658 | -0.065454 | 0.99647 | -0.067679 | 18.3038
72 | 0.041861 | 0.010544 | -0.041845 | -0.010534 | 1.6536e-05 | 1.0436e-05 | 0.06253 | 0.06253 | 0.06253 | 0.99647 | -0.067679 | 0.99604 | -0.075943 | 17.1785
73 | 0.039682 | 0.0099917 | -0.039679 | -0.00999 | 2.7278e-06 | 1.7189e-06 | 0.059299 | 0.059299 | 0.059299 | 0.99604 | -0.075943 | 0.99596 | -0.07738 | 16.2909
74 | 0.037111 | 0.0093463 | -0.037095 | -0.0093363 | 1.5916e-05 | 1.0007e-05 | 0.055461 | 0.055461 | 0.055461 | 0.99596 | -0.07738 | 0.9955 | -0.086354 | 15.2367

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15397 | 0.038441

## res_load
| p_mw | q_mvar
0 | 0.0019847 | 0.00049741
1 | 0.00080429 | 0.00020157
2 | 0.017095 | 0.0042844
3 | 0.00030731 | 7.7018e-05
4 | 0.0012774 | 0.00032014
5 | 0.00024822 | 6.2209e-05
6 | 0.00089533 | 0.00022439
7 | 0.0017372 | 0.0004354
8 | 0.0078111 | 0.0019576
9 | 0.0029065 | 0.00072844
10 | 0.0024816 | 0.00062194
11 | 0.00064823 | 0.00016246
12 | 0.00013186 | 3.3046e-05
13 | 0.016701 | 0.0041857
14 | 0.0003726 | 9.3383e-05
15 | 0.00068177 | 0.00017087
16 | 0.012145 | 0.0030439
17 | 0.00051802 | 0.00012983
18 | 0.0023945 | 0.00060012
19 | 0.0045214 | 0.0011332
20 | 0.00052369 | 0.00013125
21 | 0.0021074 | 0.00052817
22 | 0.0015883 | 0.00039806
23 | 0.0016711 | 0.00041883
24 | 0.00050797 | 0.00012731
25 | 0.004518 | 0.0011323
26 | 0.0025918 | 0.00064956
27 | 0.0014266 | 0.00035753
28 | 0.0054321 | 0.0013614
29 | 0.0017205 | 0.00043121
30 | 0.00048781 | 0.00012226
31 | 0.00047098 | 0.00011804
32 | 0.00048507 | 0.00012157
33 | 0.0028372 | 0.00071108
34 | 0.0019091 | 0.00047847
35 | 0.002179 | 0.00054612
36 | 0.0023995 | 0.00060138
37 | 0.0088291 | 0.0022128
38 | 0.0073226 | 0.0018352
39 | 0.002137 | 0.00053559
40 | 0.002486 | 0.00062306
41 | 0.0020673 | 0.00051813
42 | 0.0025104 | 0.00062916
43 | 0.0025128 | 0.00062976
44 | 0.0027926 | 0.00069989
45 | 0.0026045 | 0.00065275
46 | 0.002743 | 0.00068746
47 | 0.0021628 | 0.00054205
48 | 0.0025685 | 0.00064372
49 | 0.0023259 | 0.00058293

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1