## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2274-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2274-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2274-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2274-2_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2274-2_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2274-2_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2274-2_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2274-2_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_2274-2_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2274-2_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_2274-2_0_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_2274-2_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2274-2_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2274-2_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_2274-2_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2274-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2274-2_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2274-2_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2274-2_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2274-2_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2274-2_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2274-2_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2274-2_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_2274-2_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2274-2_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2274-2_0_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_2274-2_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2274-2_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2274-2_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2274-2_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2274-2_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2274-2_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2274-2_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2274-2_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_2274-2_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2274-2_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2274-2_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2274-2_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2274-2_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2274-2_0_4_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_2274-2_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2274-2_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2274-2_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2274-2_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2274-2_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2274-2_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2274-2_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_MV_379_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2274-2_0_4_load_0 | 0 | 0.039722 | 0.0099554 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2274-2_0_4_load_1 | 1 | 0.002568 | 0.00064361 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2274-2_0_4_load_5 | 4 | 0.0060115 | 0.0015066 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2274-2_0_4_load_7 | 6 | 0.013744 | 0.0034445 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2274-2_0_4_load_42 | 7 | 0.0069855 | 0.0017507 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2274-2_0_4_load_45 | 9 | 0.0065093 | 0.0016314 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2274-2_0_4_load_39 | 10 | 0.012281 | 0.0030778 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2274-2_0_4_load_19 | 11 | 0.004389 | 0.0011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2274-2_0_4_load_11 | 12 | 0.010624 | 0.0026627 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2274-2_0_4_load_46 | 13 | 0.0238 | 0.0059648 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2274-2_0_4_load_8 | 14 | 0.0093335 | 0.0023392 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2274-2_0_4_load_9 | 15 | 0.013079 | 0.003278 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2274-2_0_4_load_13 | 18 | 0.0029952 | 0.00075068 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2274-2_0_4_load_15 | 19 | 0.024102 | 0.0060406 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2274-2_0_4_load_16 | 20 | 0.0020154 | 0.0005051 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2274-2_0_4_load_17 | 21 | 0.0026631 | 0.00066743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2274-2_0_4_load_18 | 23 | 0.0028527 | 0.00071494 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2274-2_0_4_load_27 | 24 | 0.0050376 | 0.0012625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2274-2_0_4_load_37 | 25 | 0.0049673 | 0.0012449 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2274-2_0_4_load_20 | 26 | 0.0029208 | 0.00073202 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2274-2_0_4_load_21 | 27 | 0.015037 | 0.0037686 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2274-2_0_4_load_22 | 28 | 0.0061549 | 0.0015426 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2274-2_0_4_load_24 | 30 | 0.029367 | 0.0073601 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2274-2_0_4_load_26 | 32 | 0.0082911 | 0.002078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2274-2_0_4_load_28 | 35 | 0.048882 | 0.012251 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2274-2_0_4_load_29 | 36 | 0.0078723 | 0.001973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2274-2_0_4_load_30 | 37 | 0.062235 | 0.015597 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2274-2_0_4_load_33 | 38 | 0.018433 | 0.0046199 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2274-2_0_4_load_47 | 39 | 0.014693 | 0.0036825 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2274-2_0_4_load_48 | 40 | 0.0066801 | 0.0016742 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2274-2_0_4_load_34 | 41 | 0.014387 | 0.0036056 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2274-2_0_4_load_35 | 42 | 0.0058964 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2274-2_0_4_load_38 | 44 | 0.0062208 | 0.0015591 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2274-2_0_4_load_41 | 45 | 0.0022905 | 0.00057406 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2274-2_0_4_load_49 | 46 | 0.0014691 | 0.0003682 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2274-2_0_4_line_0 |  | 0 | 1 | 0.034558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2274-2_0_4_line_1 |  | 0 | 2 | 0.030288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2274-2_0_4_line_2 |  | 2 | 3 | 0.03176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2274-2_0_4_line_3 |  | 2 | 4 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2274-2_0_4_line_4 |  | 3 | 5 | 0.049067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2274-2_0_4_line_5 |  | 3 | 6 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2274-2_0_4_line_6 |  | 5 | 7 | 0.013888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2274-2_0_4_line_7 |  | 5 | 8 | 0.006968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2274-2_0_4_line_8 |  | 6 | 9 | 0.029034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2274-2_0_4_line_9 |  | 7 | 10 | 0.00030901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2274-2_0_4_line_10 |  | 8 | 11 | 0.026478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2274-2_0_4_line_11 |  | 8 | 12 | 0.036621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2274-2_0_4_line_12 |  | 9 | 13 | 0.019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2274-2_0_4_line_13 |  | 11 | 23 | 0.004628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2274-2_0_4_line_14 |  | 12 | 15 | 0.0037992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2274-2_0_4_line_15 |  | 14 | 15 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2274-2_0_4_line_16 |  | 14 | 16 | 0.011109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2274-2_0_4_line_17 |  | 16 | 17 | 0.004123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2274-2_0_4_line_18 |  | 16 | 18 | 0.014172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2274-2_0_4_line_19 |  | 17 | 19 | 0.028414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2274-2_0_4_line_20 |  | 17 | 20 | 0.030305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2274-2_0_4_line_21 |  | 18 | 21 | 0.022417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2274-2_0_4_line_22 |  | 21 | 22 | 0.0080712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2274-2_0_4_line_23 |  | 22 | 24 | 0.0065131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2274-2_0_4_line_24 |  | 22 | 25 | 0.011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2274-2_0_4_line_25 |  | 23 | 26 | 0.0092334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2274-2_0_4_line_26 |  | 24 | 31 | 0.019944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2274-2_0_4_line_27 |  | 25 | 42 | 0.0081312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2274-2_0_4_line_28 |  | 27 | 28 | 0.038162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2274-2_0_4_line_29 |  | 27 | 29 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2274-2_0_4_line_30 |  | 28 | 30 | 0.034385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2274-2_0_4_line_31 |  | 29 | 31 | 0.033508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2274-2_0_4_line_32 |  | 31 | 32 | 0.061865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2274-2_0_4_line_33 |  | 32 | 33 | 0.021671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2274-2_0_4_line_34 |  | 33 | 34 | 0.007332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2274-2_0_4_line_35 |  | 34 | 38 | 0.027087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2274-2_0_4_line_36 |  | 34 | 36 | 0.036297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2274-2_0_4_line_37 |  | 35 | 36 | 0.0027957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2274-2_0_4_line_38 |  | 35 | 37 | 0.059404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2274-2_0_4_line_39 |  | 38 | 39 | 0.038422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2274-2_0_4_line_40 |  | 39 | 40 | 0.0092893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2274-2_0_4_line_41 |  | 41 | 42 | 0.028839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2274-2_0_4_line_42 |  | 41 | 43 | 0.045306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2274-2_0_4_line_43 |  | 43 | 44 | 0.0039423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2274-2_0_4_line_44 |  | 44 | 45 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2274-2_0_4_line_45 |  | 45 | 46 | 0.045024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2274-2_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 47 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2575871.4313 | 1198184.8677 | 2575843.4788 | 1198205.1874
1 | 2575895.9306 | 1198167.0583 | 2575871.4313 | 1198184.8677
2 | 2575895.9306 | 1198167.0583 | 2575919.699 | 1198188.1958
3 | 2575895.9306 | 1198167.0583 | 2575886.0373 | 1198156.0446
4 | 2575951.0504 | 1198225.9674 | 2575939.5913 | 1198213.14 | 2575923.623 | 1198192.5378 | 2575919.699 | 1198188.1958
5 | 2575919.699 | 1198188.1958 | 2575933.6571 | 1198175.5587
6 | 2575951.0504 | 1198225.9674 | 2575961.5828 | 1198216.9149
7 | 2575955.6937 | 1198231.1736 | 2575951.0504 | 1198225.9674
8 | 2575933.6571 | 1198175.5587 | 2575935.9433 | 1198173.4888 | 2575952.4469 | 1198160.7486 | 2575954.8885 | 1198156.2696
9 | 2575961.8171 | 1198216.7134 | 2575961.5828 | 1198216.9149
10 | 2575955.6937 | 1198231.1736 | 2575941.7791 | 1198241.9913 | 2575934.8147 | 1198247.4575
11 | 2575955.6937 | 1198231.1736 | 2575965.0261 | 1198241.6194 | 2575979.8541 | 1198258.6927
12 | 2575954.8885 | 1198156.2696 | 2575954.8885 | 1198156.2696 | 2575956.1018 | 1198151.2287 | 2575949.1174 | 1198138.4837
13 | 2575934.8147 | 1198247.4575 | 2575931.1742 | 1198250.3149
14 | 2575979.8541 | 1198258.6927 | 2575982.3454 | 1198261.5612
15 | 2575999.958 | 1198281.1319 | 2575989.3394 | 1198269.6143 | 2575982.3454 | 1198261.5612
16 | 2576009.8941 | 1198285.2177 | 2576007.8222 | 1198285.0593 | 2576004.3089 | 1198284.362 | 2576000.8579 | 1198282.108 | 2575999.958 | 1198281.1319
17 | 2576009.8941 | 1198285.2177 | 2576010.8545 | 1198289.2271
18 | 2576009.8941 | 1198285.2177 | 2576013.9423 | 1198284.4899 | 2576018.6394 | 1198282.292 | 2576022.6457 | 1198279.5179
19 | 2576010.8545 | 1198289.2271 | 2576012.4534 | 1198292.9449 | 2576017.4677 | 1198299.5283 | 2576025.0228 | 1198307.3799 | 2576028.7883 | 1198310.9595
20 | 2576010.8545 | 1198289.2271 | 2575990.5615 | 1198311.7347
21 | 2576022.6457 | 1198279.5179 | 2576023.6133 | 1198278.8479 | 2576040.4188 | 1198265.8585
22 | 2576046.8048 | 1198260.9226 | 2576040.4188 | 1198265.8585
23 | 2576046.8048 | 1198260.9226 | 2576051.9042 | 1198256.8709
24 | 2576046.8048 | 1198260.9226 | 2576040.0167 | 1198251.2304
25 | 2575923.9108 | 1198256.0158 | 2575931.1742 | 1198250.3149
26 | 2576067.5198 | 1198244.4638 | 2576051.9042 | 1198256.8709
27 | 2576035.3522 | 1198244.5702 | 2576040.0167 | 1198251.2304
28 | 2576082.9283 | 1198171.429 | 2576082.9283 | 1198171.429 | 2576083.9796 | 1198179.0956 | 2576080.2493 | 1198186.9481 | 2576065.169 | 1198202.5939
29 | 2576053.8515 | 1198214.3357 | 2576065.169 | 1198202.5939
30 | 2576082.9283 | 1198171.429 | 2576075.7069 | 1198163.2647 | 2576069.5397 | 1198159.7097 | 2576062.3588 | 1198159.7386 | 2576056.3278 | 1198166.6671
31 | 2576053.8515 | 1198214.3357 | 2576058.5416 | 1198231.1927 | 2576067.5198 | 1198244.4638
32 | 2576067.5198 | 1198244.4638 | 2576072.8788 | 1198240.2066 | 2576097.6522 | 1198212.2475 | 2576108.6254 | 1198198.4042
33 | 2576122.087 | 1198181.4217 | 2576108.6254 | 1198198.4042
34 | 2576122.087 | 1198181.4217 | 2576128.9887 | 1198183.9509
35 | 2576128.9887 | 1198183.9509 | 2576135.1431 | 1198186.2164 | 2576149.4739 | 1198200.9155
36 | 2576128.9887 | 1198183.9509 | 2576158.2726 | 1198162.5047
37 | 2576158.2726 | 1198162.5047 | 2576160.5281 | 1198160.8528
38 | 2576160.5281 | 1198160.8528 | 2576219.401 | 1198152.9294
39 | 2576149.4739 | 1198200.9155 | 2576162.7927 | 1198214.5766 | 2576179.2513 | 1198224.7385
40 | 2576188.4627 | 1198225.9387 | 2576179.2513 | 1198224.7385 | 2576179.2513 | 1198224.7385
41 | 2576035.3522 | 1198244.5702 | 2576033.2331 | 1198241.5445 | 2576025.0411 | 1198217.7711
42 | 2576005.8708 | 1198176.8863 | 2576019.6105 | 1198202.0113 | 2576025.0411 | 1198217.7711
43 | 2576005.8708 | 1198176.8863 | 2576008.7705 | 1198174.2155
44 | 2576028.7911 | 1198151.4786 | 2576023.0854 | 1198161.0306 | 2576008.7705 | 1198174.2155
45 | 2576028.7911 | 1198151.4786 | 2576033.3499 | 1198143.8467 | 2576038.7259 | 1198126.7602 | 2576040.1839 | 1198108.5966

## bus_geodata
| x | y | coords
0 | 2575871.4313 | 1198184.8677
1 | 2575843.4788 | 1198205.1874
2 | 2575895.9306 | 1198167.0583
3 | 2575919.699 | 1198188.1958
4 | 2575886.0373 | 1198156.0446
5 | 2575951.0504 | 1198225.9674
6 | 2575933.6571 | 1198175.5587
7 | 2575961.5828 | 1198216.9149
8 | 2575955.6937 | 1198231.1736
9 | 2575954.8885 | 1198156.2696
10 | 2575961.8171 | 1198216.7134
11 | 2575934.8147 | 1198247.4575
12 | 2575979.8541 | 1198258.6927
13 | 2575949.1174 | 1198138.4837
14 | 2575999.958 | 1198281.1319
15 | 2575982.3454 | 1198261.5612
16 | 2576009.8941 | 1198285.2177
17 | 2576010.8545 | 1198289.2271
18 | 2576022.6457 | 1198279.5179
19 | 2576028.7883 | 1198310.9595
20 | 2575990.5615 | 1198311.7347
21 | 2576040.4188 | 1198265.8585
22 | 2576046.8048 | 1198260.9226
23 | 2575931.1742 | 1198250.3149
24 | 2576051.9042 | 1198256.8709
25 | 2576040.0167 | 1198251.2304
26 | 2575923.9108 | 1198256.0158
27 | 2576065.169 | 1198202.5939
28 | 2576082.9283 | 1198171.429
29 | 2576053.8515 | 1198214.3357
30 | 2576056.3278 | 1198166.6671
31 | 2576067.5198 | 1198244.4638
32 | 2576108.6254 | 1198198.4042
33 | 2576122.087 | 1198181.4217
34 | 2576128.9887 | 1198183.9509
35 | 2576160.5281 | 1198160.8528
36 | 2576158.2726 | 1198162.5047
37 | 2576219.401 | 1198152.9294
38 | 2576149.4739 | 1198200.9155
39 | 2576179.2513 | 1198224.7385
40 | 2576188.4627 | 1198225.9387
41 | 2576025.0411 | 1198217.7711
42 | 2576035.3522 | 1198244.5702
43 | 2576005.8708 | 1198176.8863
44 | 2576008.7705 | 1198174.2155
45 | 2576028.7911 | 1198151.4786
46 | 2576040.1839 | 1198108.5966
47 | 2576053.8515 | 1198214.3357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97513 | -0.47974 | 0.039722 | 0.0099554
1 | 0.97505 | -0.48136 | 0.002568 | 0.00064361
2 | 0.97632 | -0.45628 | 0 | 0
3 | 0.97775 | -0.42827 | 0 | 0
4 | 0.97624 | -0.45791 | 0.0060115 | 0.0015066
5 | 0.98196 | -0.346 | 0 | 0
6 | 0.97698 | -0.44341 | 0.013744 | 0.0034445
7 | 0.98171 | -0.35084 | 0.0069855 | 0.0017507
8 | 0.98268 | -0.33195 | 0 | 0
9 | 0.97616 | -0.45949 | 0.0065093 | 0.0016314
10 | 0.98171 | -0.35091 | 0.012281 | 0.0030778
11 | 0.98243 | -0.33681 | 0.004389 | 0.0011
12 | 0.98682 | -0.25179 | 0.010624 | 0.0026627
13 | 0.97572 | -0.46808 | 0.0238 | 0.0059648
14 | 0.98907 | -0.2086 | 0.0093335 | 0.0023392
15 | 0.98729 | -0.24279 | 0.013079 | 0.003278
16 | 0.9896 | -0.19839 | 0 | 0
17 | 0.9895 | -0.2003 | 0 | 0
18 | 0.99039 | -0.18319 | 0.0029952 | 0.00075068
19 | 0.98887 | -0.2125 | 0.024102 | 0.0060406
20 | 0.98944 | -0.20139 | 0.0020154 | 0.0005051
21 | 0.99166 | -0.15879 | 0.0026631 | 0.00066743
22 | 0.99212 | -0.1499 | 0 | 0
23 | 0.98241 | -0.33729 | 0.0028527 | 0.00071494
24 | 0.99257 | -0.14137 | 0.0050376 | 0.0012625
25 | 0.99174 | -0.15728 | 0.0049673 | 0.0012449
26 | 0.98238 | -0.33778 | 0.0029208 | 0.00073202
27 | 1 | 0 | -0.4372 | -0.1115
28 | 0.99877 | -0.023658 | 0.0061549 | 0.0015426
29 | 0.99802 | -0.037404 | 0 | 0
30 | 0.99785 | -0.041317 | 0.029367 | 0.0073601
31 | 0.99396 | -0.11472 | 0 | 0
32 | 0.99079 | -0.17571 | 0.0082911 | 0.002078
33 | 0.98973 | -0.1961 | 0 | 0
34 | 0.98919 | -0.20646 | 0 | 0
35 | 0.98492 | -0.28929 | 0.048882 | 0.012251
36 | 0.98521 | -0.28371 | 0.0078723 | 0.001973
37 | 0.98151 | -0.35594 | 0.062235 | 0.015597
38 | 0.9882 | -0.22569 | 0.018433 | 0.0046199
39 | 0.98745 | -0.24036 | 0.014693 | 0.0036825
40 | 0.98739 | -0.24147 | 0.0066801 | 0.0016742
41 | 0.99087 | -0.17411 | 0.014387 | 0.0036056
42 | 0.99152 | -0.16165 | 0.0058964 | 0.0014778
43 | 0.99046 | -0.18215 | 0 | 0
44 | 0.99042 | -0.18285 | 0.0062208 | 0.0015591
45 | 0.99032 | -0.18489 | 0.0022905 | 0.00057406
46 | 0.99026 | -0.18607 | 0.0014691 | 0.0003682
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0025682 | 0.00064331 | -0.002568 | -0.00064361 | 1.9903e-07 | -3.0369e-07 | 0.0039189 | 0.0039191 | 0.0039191 | 0.97513 | -0.47974 | 0.97505 | -0.48136 | 1.0767
1 | -0.042291 | -0.010599 | 0.042338 | 0.010629 | 4.7303e-05 | 2.9895e-05 | 0.064534 | 0.064534 | 0.064534 | 0.97513 | -0.47974 | 0.97632 | -0.45628 | 17.7291
2 | -0.04835 | -0.012135 | 0.048415 | 0.012176 | 6.4685e-05 | 4.1001e-05 | 0.073697 | 0.073697 | 0.073697 | 0.97632 | -0.45628 | 0.97775 | -0.42827 | 20.2463
3 | 0.006012 | 0.0015067 | -0.0060115 | -0.0015066 | 4.6612e-07 | 1.1319e-07 | 0.0091628 | 0.0091629 | 0.0091629 | 0.97632 | -0.45628 | 0.97624 | -0.45791 | 2.5173
4 | -0.092532 | -0.023258 | 0.092897 | 0.023491 | 0.00036502 | 0.00023299 | 0.14085 | 0.14085 | 0.14085 | 0.97775 | -0.42827 | 0.98196 | -0.346 | 38.6943
5 | 0.044118 | 0.011081 | -0.044086 | -0.011061 | 3.1839e-05 | 2.0141e-05 | 0.067151 | 0.067151 | 0.067151 | 0.97775 | -0.42827 | 0.97698 | -0.44341 | 18.448
6 | 0.019271 | 0.0048312 | -0.019266 | -0.0048285 | 4.4413e-06 | 2.6668e-06 | 0.029202 | 0.029202 | 0.029202 | 0.98196 | -0.346 | 0.98171 | -0.35084 | 8.0226
7 | -0.11217 | -0.028322 | 0.11224 | 0.02837 | 7.5559e-05 | 4.827e-05 | 0.17005 | 0.17005 | 0.17005 | 0.98196 | -0.346 | 0.98268 | -0.33195 | 46.7168
8 | 0.030342 | 0.0076167 | -0.030319 | -0.0076022 | 2.3258e-05 | 1.4522e-05 | 0.046218 | 0.046218 | 0.046218 | 0.97698 | -0.44341 | 0.97616 | -0.45949 | 12.6973
9 | 0.012281 | 0.0030778 | -0.012281 | -0.0030778 | 4.0151e-08 | 2.1789e-08 | 0.018614 | 0.018614 | 0.018614 | 0.98171 | -0.35084 | 0.98171 | -0.35091 | 5.1138
10 | 0.010165 | 0.0025481 | -0.010163 | -0.0025469 | 2.3525e-06 | 1.1703e-06 | 0.015392 | 0.015393 | 0.015393 | 0.98268 | -0.33195 | 0.98243 | -0.33681 | 4.2287
11 | -0.12241 | -0.030918 | 0.12288 | 0.03122 | 0.00047225 | 0.00030177 | 0.18544 | 0.18544 | 0.18544 | 0.98268 | -0.33195 | 0.98682 | -0.25179 | 50.9454
12 | 0.02381 | 0.0059708 | -0.0238 | -0.0059648 | 9.7411e-06 | 5.9879e-06 | 0.036296 | 0.036296 | 0.036296 | 0.97616 | -0.45949 | 0.97572 | -0.46808 | 9.9714
13 | 0.0057736 | 0.0014469 | -0.0057735 | -0.0014469 | 1.3272e-07 | 2.6339e-08 | 0.0087448 | 0.0087449 | 0.0087449 | 0.98243 | -0.33681 | 0.98241 | -0.33729 | 2.4024
14 | -0.1335 | -0.033883 | 0.13356 | 0.03392 | 5.7824e-05 | 3.6959e-05 | 0.20146 | 0.20146 | 0.20146 | 0.98682 | -0.25179 | 0.98729 | -0.24279 | 55.3465
15 | 0.14688 | 0.037351 | -0.14664 | -0.037198 | 0.00024152 | 0.0001539 | 0.22117 | 0.22117 | 0.22117 | 0.98907 | -0.2086 | 0.98729 | -0.24279 | 30.381
16 | -0.15622 | -0.039691 | 0.15629 | 0.039739 | 7.6829e-05 | 4.8743e-05 | 0.23522 | 0.23522 | 0.23522 | 0.98907 | -0.2086 | 0.9896 | -0.19839 | 21.5399
17 | 0.026134 | 0.0065555 | -0.026132 | -0.006554 | 2.3878e-06 | 1.4752e-06 | 0.039299 | 0.039299 | 0.039299 | 0.9896 | -0.19839 | 0.9895 | -0.2003 | 10.7964
18 | -0.18243 | -0.046295 | 0.18256 | 0.04638 | 0.0001335 | 8.4891e-05 | 0.27451 | 0.27451 | 0.27451 | 0.9896 | -0.19839 | 0.99039 | -0.18319 | 25.1386
19 | 0.024116 | 0.0060492 | -0.024102 | -0.0060406 | 1.4016e-05 | 8.6054e-06 | 0.036268 | 0.036268 | 0.036268 | 0.9895 | -0.2003 | 0.98887 | -0.2125 | 9.9638
20 | 0.0020155 | 0.00050478 | -0.0020154 | -0.0005051 | 1.0439e-07 | -3.2244e-07 | 0.0030308 | 0.0030309 | 0.0030309 | 0.9895 | -0.2003 | 0.98944 | -0.20139 | 0.83266
21 | -0.18556 | -0.04713 | 0.18577 | 0.047269 | 0.00021814 | 0.00013875 | 0.27901 | 0.27901 | 0.27901 | 0.99039 | -0.18319 | 0.99166 | -0.15879 | 25.5507
22 | -0.18844 | -0.047937 | 0.18852 | 0.047988 | 8.0807e-05 | 5.1404e-05 | 0.28301 | 0.28301 | 0.28301 | 0.99166 | -0.15879 | 0.99212 | -0.1499 | 25.9166
23 | -0.22379 | -0.05684 | 0.22388 | 0.056898 | 9.1864e-05 | 5.8541e-05 | 0.33591 | 0.33591 | 0.33591 | 0.99212 | -0.1499 | 0.99257 | -0.14137 | 30.761
24 | 0.035269 | 0.0088516 | -0.035256 | -0.0088438 | 1.2418e-05 | 7.7948e-06 | 0.052901 | 0.052901 | 0.052901 | 0.99212 | -0.1499 | 0.99174 | -0.15728 | 14.5333
25 | 0.0029208 | 0.00073194 | -0.0029208 | -0.00073202 | 6.777e-08 | -7.3536e-08 | 0.0044241 | 0.0044241 | 0.0044241 | 0.98241 | -0.33729 | 0.98238 | -0.33778 | 1.2154
26 | -0.22892 | -0.058161 | 0.22921 | 0.058348 | 0.0002941 | 0.00018745 | 0.34346 | 0.34346 | 0.34346 | 0.99257 | -0.14137 | 0.99396 | -0.11472 | 31.4526
27 | 0.030289 | 0.0075989 | -0.030283 | -0.007595 | 6.2982e-06 | 3.926e-06 | 0.045448 | 0.045448 | 0.045448 | 0.99174 | -0.15728 | 0.99152 | -0.16165 | 12.4858
28 | 0.035587 | 0.0089432 | -0.035547 | -0.008918 | 4.0142e-05 | 2.5191e-05 | 0.052962 | 0.052963 | 0.052963 | 1 | 0 | 0.99877 | -0.023658 | 14.5502
29 | 0.39996 | 0.10256 | -0.39924 | -0.1021 | 0.00072404 | 0.00046275 | 0.59597 | 0.59597 | 0.59597 | 1 | 0 | 0.99802 | -0.037404 | 54.576
30 | 0.029392 | 0.0073755 | -0.029367 | -0.0073601 | 2.4729e-05 | 1.5377e-05 | 0.043793 | 0.043793 | 0.043793 | 0.99877 | -0.023658 | 0.99785 | -0.041317 | 12.031
31 | 0.39924 | 0.1021 | -0.39775 | -0.10115 | 0.0014877 | 0.0009508 | 0.59597 | 0.59597 | 0.59597 | 0.99802 | -0.037404 | 0.99396 | -0.11472 | 54.576
32 | 0.16854 | 0.042798 | -0.16804 | -0.042485 | 0.00049306 | 0.00031316 | 0.25251 | 0.25251 | 0.25251 | 0.99396 | -0.11472 | 0.99079 | -0.17571 | 23.1235
33 | 0.15975 | 0.040407 | -0.1596 | -0.040308 | 0.0001561 | 9.9069e-05 | 0.24006 | 0.24006 | 0.24006 | 0.99079 | -0.17571 | 0.98973 | -0.1961 | 21.9832
34 | 0.1596 | 0.040308 | -0.15952 | -0.040257 | 7.9223e-05 | 5.0514e-05 | 0.24006 | 0.24006 | 0.24006 | 0.98973 | -0.1961 | 0.98919 | -0.20646 | 32.9749
35 | 0.039859 | 0.010009 | -0.039822 | -0.0099857 | 3.6525e-05 | 2.3029e-05 | 0.059965 | 0.059965 | 0.059965 | 0.98919 | -0.20646 | 0.9882 | -0.22569 | 16.474
36 | 0.11966 | 0.030249 | -0.11922 | -0.029967 | 0.00044146 | 0.00028207 | 0.18009 | 0.18009 | 0.18009 | 0.98919 | -0.20646 | 0.98521 | -0.28371 | 49.4759
37 | -0.11132 | -0.027975 | 0.11135 | 0.027994 | 2.9661e-05 | 1.8947e-05 | 0.1682 | 0.1682 | 0.1682 | 0.98492 | -0.28929 | 0.98521 | -0.28371 | 46.2094
38 | 0.062433 | 0.015724 | -0.062235 | -0.015597 | 0.00019831 | 0.00012616 | 0.094351 | 0.094351 | 0.094351 | 0.98492 | -0.28929 | 0.98151 | -0.35594 | 25.9206
39 | 0.021389 | 0.0053659 | -0.021374 | -0.0053568 | 1.4947e-05 | 9.0742e-06 | 0.032209 | 0.032209 | 0.032209 | 0.9882 | -0.22569 | 0.98745 | -0.24036 | 8.8485
40 | 0.0066805 | 0.0016743 | -0.0066801 | -0.0016742 | 3.5304e-07 | 1.0712e-07 | 0.010067 | 0.010067 | 0.010067 | 0.98745 | -0.24036 | 0.98739 | -0.24147 | 2.7657
41 | -0.024372 | -0.0061083 | 0.024386 | 0.0061172 | 1.4487e-05 | 8.8996e-06 | 0.036599 | 0.036599 | 0.036599 | 0.99087 | -0.17411 | 0.99152 | -0.16165 | 10.0548
42 | 0.0099851 | 0.0025027 | -0.0099813 | -0.0025008 | 3.8201e-06 | 1.8615e-06 | 0.014995 | 0.014995 | 0.014995 | 0.99087 | -0.17411 | 0.99046 | -0.18215 | 4.1195
43 | 0.0099813 | 0.0025008 | -0.0099809 | -0.0025007 | 3.3241e-07 | 1.6201e-07 | 0.014995 | 0.014995 | 0.014995 | 0.99046 | -0.18215 | 0.99042 | -0.18285 | 4.1195
44 | 0.0037601 | 0.00094157 | -0.0037597 | -0.00094173 | 3.6604e-07 | -1.5934e-07 | 0.0056489 | 0.005649 | 0.005649 | 0.99042 | -0.18285 | 0.99032 | -0.18489 | 1.5519
45 | 0.0014692 | 0.00036767 | -0.0014691 | -0.0003682 | 8.2277e-08 | -5.2661e-07 | 0.0022074 | 0.0022076 | 0.0022076 | 0.99032 | -0.18489 | 0.99026 | -0.18607 | 0.60649

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45223 | 0.11527

## res_load
| p_mw | q_mvar
0 | 0.039722 | 0.0099554
1 | 0.002568 | 0.00064361
2 | 0.0060115 | 0.0015066
3 | 0.013744 | 0.0034445
4 | 0.0069855 | 0.0017507
5 | 0.0065093 | 0.0016314
6 | 0.012281 | 0.0030778
7 | 0.004389 | 0.0011
8 | 0.010624 | 0.0026627
9 | 0.0238 | 0.0059648
10 | 0.0093335 | 0.0023392
11 | 0.013079 | 0.003278
12 | 0.0029952 | 0.00075068
13 | 0.024102 | 0.0060406
14 | 0.0020154 | 0.0005051
15 | 0.0026631 | 0.00066743
16 | 0.0028527 | 0.00071494
17 | 0.0050376 | 0.0012625
18 | 0.0049673 | 0.0012449
19 | 0.0029208 | 0.00073202
20 | 0.015037 | 0.0037686
21 | 0.0061549 | 0.0015426
22 | 0.029367 | 0.0073601
23 | 0.0082911 | 0.002078
24 | 0.048882 | 0.012251
25 | 0.0078723 | 0.001973
26 | 0.062235 | 0.015597
27 | 0.018433 | 0.0046199
28 | 0.014693 | 0.0036825
29 | 0.0066801 | 0.0016742
30 | 0.014387 | 0.0036056
31 | 0.0058964 | 0.0014778
32 | 0.0062208 | 0.0015591
33 | 0.0022905 | 0.00057406
34 | 0.0014691 | 0.0003682

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1