## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2275-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2275-14_0_4_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_2275-14_0_4_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_2275-14_0_4_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_2275-14_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_2275-14_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2275-14_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2275-14_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2275-14_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2275-14_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2275-14_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_2275-14_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2275-14_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2275-14_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2275-14_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2275-14_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2275-14_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2275-14_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2275-14_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2275-14_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2275-14_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2275-14_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2275-14_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2275-14_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2275-14_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2275-14_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_2275-14_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2275-14_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2275-14_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2275-14_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2275-14_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2275-14_0_4_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_2275-14_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2275-14_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2275-14_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2275-14_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2275-14_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2275-14_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_2275-14_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_2275-14_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2275-14_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_2275-14_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_2275-14_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2275-14_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_2275-14_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_2275-14_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_2275-14_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_2275-14_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_2275-14_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2275-14_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2275-14_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2275-14_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2275-14_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2275-14_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2275-14_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_MV_379_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-14_0_4_load_0 | 0 | 0.031495 | 0.0078933 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-14_0_4_load_3 | 3 | 0.0069567 | 0.0017435 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-14_0_4_load_21 | 4 | 0.0062141 | 0.0015574 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-14_0_4_load_28 | 5 | 0.0037804 | 0.00094745 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-14_0_4_load_55 | 6 | 0.0033588 | 0.0008418 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-14_0_4_load_26 | 7 | 0.0051844 | 0.0012993 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-14_0_4_load_4 | 8 | 0.0034337 | 0.00086056 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-14_0_4_load_5 | 9 | 0.0025625 | 0.00064222 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-14_0_4_load_6 | 10 | 0.0050213 | 0.0012584 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-14_0_4_load_7 | 11 | 0.0020804 | 0.00052141 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-14_0_4_load_8 | 12 | 0.01426 | 0.0035738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-14_0_4_load_16 | 13 | 0.0056994 | 0.0014284 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-14_0_4_load_9 | 14 | 0.0075492 | 0.001892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-14_0_4_load_17 | 15 | 0.0023636 | 0.00059236 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-14_0_4_load_14 | 17 | 0.0029851 | 0.00074814 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-14_0_4_load_11 | 18 | 0.0040072 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-14_0_4_load_22 | 19 | 0.0074754 | 0.0018735 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-14_0_4_load_18 | 24 | 0.0016332 | 0.00040933 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-14_0_4_load_32 | 26 | 0.012921 | 0.0032382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-14_0_4_load_20 | 27 | 0.0025356 | 0.00063549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-14_0_4_load_33 | 28 | 0.021364 | 0.0053543 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-14_0_4_load_24 | 29 | 0.010419 | 0.0026112 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-14_0_4_load_25 | 30 | 0.053427 | 0.01339 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-14_0_4_load_27 | 31 | 0.04316 | 0.010817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-14_0_4_load_29 | 32 | 0.018411 | 0.0046142 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-14_0_4_load_30 | 33 | 0.074431 | 0.018654 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-14_0_4_load_50 | 34 | 0.0054491 | 0.0013657 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2275-14_0_4_load_31 | 35 | 0.014107 | 0.0035356 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2275-14_0_4_load_38 | 36 | 0.013701 | 0.0034339 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2275-14_0_4_load_37 | 37 | 0.016791 | 0.0042083 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2275-14_0_4_load_34 | 38 | 0.015444 | 0.0038706 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2275-14_0_4_load_36 | 39 | 0.023855 | 0.0059786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2275-14_0_4_load_45 | 40 | 0.022823 | 0.0057199 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2275-14_0_4_load_42 | 41 | 0.021687 | 0.0054354 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2275-14_0_4_load_39 | 42 | 0.0040747 | 0.0010212 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2275-14_0_4_load_40 | 43 | 0.0054168 | 0.0013576 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2275-14_0_4_load_43 | 45 | 0.0051416 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2275-14_0_4_load_44 | 46 | 0.0042952 | 0.0010765 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2275-14_0_4_load_54 | 47 | 0.0031958 | 0.00080095 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2275-14_0_4_load_56 | 48 | 0.0040153 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2275-14_0_4_load_53 | 49 | 0.0026556 | 0.00066555 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2275-14_0_4_load_57 | 50 | 0.003332 | 0.00083507 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2275-14_0_4_load_46 | 51 | 0.0062232 | 0.0015597 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2275-14_0_4_load_47 | 52 | 0.0034022 | 0.00085266 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2275-14_0_4_load_48 | 53 | 0.004387 | 0.0010995 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2275-14_0_4_load_49 | 54 | 0.0050294 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2275-14_0_4_load_51 | 55 | 0.0063648 | 0.0015952 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2275-14_0_4_load_52 | 56 | 0.0036582 | 0.00091683 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2275-14_0_4_load_58 | 57 | 0.0058989 | 0.0014784 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-14_0_4_line_0 |  | 0 | 1 | 0.030135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-14_0_4_line_1 |  | 1 | 2 | 0.030354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-14_0_4_line_2 |  | 1 | 3 | 0.0014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-14_0_4_line_3 |  | 2 | 4 | 0.051746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-14_0_4_line_4 |  | 3 | 5 | 0.018887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-14_0_4_line_5 |  | 5 | 6 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-14_0_4_line_6 |  | 5 | 7 | 0.0034866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2275-14_0_4_line_7 |  | 6 | 34 | 0.0078882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-14_0_4_line_8 |  | 7 | 29 | 0.018334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2275-14_0_4_line_9 |  | 8 | 9 | 0.0098199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-14_0_4_line_10 |  | 8 | 10 | 0.0066722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-14_0_4_line_11 |  | 9 | 11 | 0.019797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-14_0_4_line_12 |  | 10 | 12 | 0.011775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-14_0_4_line_13 |  | 11 | 13 | 0.0167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2275-14_0_4_line_14 |  | 12 | 14 | 0.0067379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-14_0_4_line_15 |  | 13 | 15 | 0.00078871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-14_0_4_line_16 |  | 14 | 16 | 0.025055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-14_0_4_line_17 |  | 16 | 17 | 0.015433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-14_0_4_line_18 |  | 16 | 18 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-14_0_4_line_19 |  | 17 | 19 | 0.006471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-14_0_4_line_20 |  | 18 | 22 | 0.057336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-14_0_4_line_21 |  | 19 | 20 | 0.035492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-14_0_4_line_22 |  | 20 | 21 | 0.04697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-14_0_4_line_23 |  | 21 | 26 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-14_0_4_line_24 |  | 22 | 23 | 0.014818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-14_0_4_line_25 |  | 23 | 24 | 0.033055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-14_0_4_line_26 |  | 24 | 25 | 0.036751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2275-14_0_4_line_27 |  | 25 | 27 | 0.012857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-14_0_4_line_28 |  | 26 | 28 | 0.0058557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-14_0_4_line_29 |  | 28 | 38 | 0.00096194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-14_0_4_line_30 |  | 29 | 30 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2275-14_0_4_line_31 |  | 30 | 31 | 0.0020656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2275-14_0_4_line_32 |  | 31 | 32 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2275-14_0_4_line_33 |  | 32 | 33 | 0.0017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2275-14_0_4_line_34 |  | 33 | 35 | 0.0076686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2275-14_0_4_line_35 |  | 34 | 53 | 0.007528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-14_0_4_line_36 |  | 35 | 36 | 0.0051466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2275-14_0_4_line_37 |  | 36 | 37 | 0.0040776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2275-14_0_4_line_38 |  | 37 | 39 | 0.0018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2275-14_0_4_line_39 |  | 38 | 39 | 0.0053746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2275-14_0_4_line_40 |  | 40 | 41 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-14_0_4_line_41 |  | 41 | 43 | 0.0049889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2275-14_0_4_line_42 |  | 42 | 43 | 0.0056002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-14_0_4_line_43 |  | 42 | 44 | 0.0099131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2275-14_0_4_line_44 |  | 44 | 45 | 0.004384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2275-14_0_4_line_45 |  | 44 | 46 | 0.0071069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2275-14_0_4_line_46 |  | 45 | 47 | 0.0038637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2275-14_0_4_line_47 |  | 46 | 48 | 0.0067257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2275-14_0_4_line_48 |  | 47 | 49 | 0.0010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2275-14_0_4_line_49 |  | 48 | 50 | 0.0070161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2275-14_0_4_line_50 |  | 49 | 56 | 0.0020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2275-14_0_4_line_51 |  | 50 | 57 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2275-14_0_4_line_52 |  | 51 | 52 | 0.0015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2275-14_0_4_line_53 |  | 51 | 53 | 0.006339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2275-14_0_4_line_54 |  | 52 | 54 | 0.00634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2275-14_0_4_line_55 |  | 54 | 55 | 0.0026808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2275-14_0_4_line_56 |  | 55 | 56 | 0.0043503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-14_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 58 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2575375.252 | 1197469.5994 | 2575368.5197 | 1197473.3404 | 2575356.4805 | 1197481.0943 | 2575353.2805 | 1197482.6195 | 2575349.6569 | 1197479.8383
1 | 2575375.252 | 1197469.5994 | 2575372.9618 | 1197464.6284 | 2575367.9302 | 1197456.0334 | 2575358.4538 | 1197444.4775
2 | 2575375.252 | 1197469.5994 | 2575375.8564 | 1197470.9132
3 | 2575358.4538 | 1197444.4775 | 2575370.8513 | 1197445.9937 | 2575409.8609 | 1197442.4306 | 2575409.9443 | 1197442.4235
4 | 2575385.5975 | 1197486.9216 | 2575380.1166 | 1197480.1739 | 2575375.8564 | 1197470.9132
5 | 2575385.5975 | 1197486.9216 | 2575397.9289 | 1197481.6789 | 2575402.8294 | 1197479.8343
6 | 2575385.5975 | 1197486.9216 | 2575388.0536 | 1197489.3962
7 | 2575402.8294 | 1197479.8343 | 2575402.8563 | 1197479.8242 | 2575410.37 | 1197477.5185
8 | 2575400.9687 | 1197502.4088 | 2575388.0536 | 1197489.3962
9 | 2575347.9614 | 1197551.8035 | 2575340.3321 | 1197545.6209
10 | 2575347.9614 | 1197551.8035 | 2575353.1452 | 1197556.0043
11 | 2575340.3321 | 1197545.6209 | 2575324.9516 | 1197533.1569
12 | 2575362.2936 | 1197563.4179 | 2575353.1452 | 1197556.0043
13 | 2575311.9772 | 1197522.6427 | 2575324.9516 | 1197533.1569
14 | 2575362.2936 | 1197563.4179 | 2575367.5284 | 1197567.66
15 | 2575311.9772 | 1197522.6427 | 2575311.3644 | 1197522.1461
16 | 2575386.9942 | 1197583.4347 | 2575367.5284 | 1197567.66
17 | 2575386.9942 | 1197583.4347 | 2575393.2519 | 1197573.6146 | 2575396.9872 | 1197574.2483
18 | 2575386.9942 | 1197583.4347 | 2575377.4322 | 1197595.5982
19 | 2575396.9872 | 1197574.2483 | 2575403.367 | 1197575.3305
20 | 2575343.819 | 1197641.9894 | 2575360.7666 | 1197620.541 | 2575377.1303 | 1197595.9822 | 2575377.4322 | 1197595.5982
21 | 2575437.808 | 1197583.7029 | 2575415.7724 | 1197577.4348 | 2575403.367 | 1197575.3305
22 | 2575469.8452 | 1197559.0686 | 2575471.0092 | 1197564.3222 | 2575455.5243 | 1197580.4725 | 2575453.5215 | 1197578.6798 | 2575444.7633 | 1197580.5058 | 2575437.808 | 1197583.7029
23 | 2575469.8452 | 1197559.0686 | 2575451.9 | 1197544.3418
24 | 2575333.4813 | 1197632.0379 | 2575333.3567 | 1197633.2168 | 2575343.819 | 1197641.9894
25 | 2575333.4813 | 1197632.0379 | 2575324.7029 | 1197625.304 | 2575323.9405 | 1197623.2838 | 2575314.6406 | 1197615.6849 | 2575308.2612 | 1197611.1588
26 | 2575277.1169 | 1197595.3072 | 2575281.2801 | 1197598.3361 | 2575294.2411 | 1197607.2538 | 2575301.3337 | 1197605.9681 | 2575303.5957 | 1197607.8486 | 2575308.2612 | 1197611.1588
27 | 2575277.1169 | 1197595.3072 | 2575272.4518 | 1197601.63 | 2575268.3517 | 1197598.7698
28 | 2575451.9 | 1197544.3418 | 2575447.3734 | 1197540.627
29 | 2575446.6298 | 1197540.0168 | 2575447.3734 | 1197540.627
30 | 2575400.9687 | 1197502.4088 | 2575401.6961 | 1197503.1416 | 2575414.321 | 1197513.5023
31 | 2575415.9178 | 1197514.8127 | 2575414.321 | 1197513.5023
32 | 2575415.9178 | 1197514.8127 | 2575426.6439 | 1197523.6152
33 | 2575426.6439 | 1197523.6152 | 2575428.0133 | 1197524.739
34 | 2575433.9413 | 1197529.6039 | 2575428.0133 | 1197524.739
35 | 2575417.8047 | 1197476.4647 | 2575411.596 | 1197477.1422 | 2575410.37 | 1197477.5185
36 | 2575433.9413 | 1197529.6039 | 2575437.9198 | 1197532.8688
37 | 2575441.0719 | 1197535.4556 | 2575437.9198 | 1197532.8688
38 | 2575441.0719 | 1197535.4556 | 2575442.4752 | 1197536.6072
39 | 2575446.6298 | 1197540.0168 | 2575442.4752 | 1197536.6072
40 | 2575478.7333 | 1197491.0614 | 2575472.4316 | 1197486.2519 | 2575468.7324 | 1197484.4806
41 | 2575464.2327 | 1197482.3261 | 2575468.7324 | 1197484.4806
42 | 2575459.1816 | 1197479.9076 | 2575464.2327 | 1197482.3261
43 | 2575450.2407 | 1197475.6265 | 2575459.1816 | 1197479.9076
44 | 2575450.2407 | 1197475.6265 | 2575445.8715 | 1197475.265
45 | 2575450.2407 | 1197475.6265 | 2575454.6913 | 1197470.0856
46 | 2575442.021 | 1197474.9464 | 2575445.8715 | 1197475.265
47 | 2575454.6913 | 1197470.0856 | 2575458.9031 | 1197464.842
48 | 2575442.021 | 1197474.9464 | 2575441.0079 | 1197474.8626
49 | 2575463.2968 | 1197459.372 | 2575458.9031 | 1197464.842
50 | 2575438.9821 | 1197474.695 | 2575441.0079 | 1197474.8626
51 | 2575472.5119 | 1197449.512 | 2575463.599 | 1197458.9958 | 2575463.2968 | 1197459.372
52 | 2575424.1063 | 1197475.7771 | 2575425.6828 | 1197475.6051
53 | 2575424.1063 | 1197475.7771 | 2575417.8047 | 1197476.4647
54 | 2575431.9854 | 1197474.9173 | 2575425.6828 | 1197475.6051
55 | 2575431.9854 | 1197474.9173 | 2575434.6504 | 1197474.6265
56 | 2575438.9821 | 1197474.695 | 2575436.1616 | 1197474.4616 | 2575434.6504 | 1197474.6265

## bus_geodata
| x | y | coords
0 | 2575349.6569 | 1197479.8383
1 | 2575375.252 | 1197469.5994
2 | 2575358.4538 | 1197444.4775
3 | 2575375.8564 | 1197470.9132
4 | 2575409.9443 | 1197442.4235
5 | 2575385.5975 | 1197486.9216
6 | 2575402.8294 | 1197479.8343
7 | 2575388.0536 | 1197489.3962
8 | 2575347.9614 | 1197551.8035
9 | 2575340.3321 | 1197545.6209
10 | 2575353.1452 | 1197556.0043
11 | 2575324.9516 | 1197533.1569
12 | 2575362.2936 | 1197563.4179
13 | 2575311.9772 | 1197522.6427
14 | 2575367.5284 | 1197567.66
15 | 2575311.3644 | 1197522.1461
16 | 2575386.9942 | 1197583.4347
17 | 2575396.9872 | 1197574.2483
18 | 2575377.4322 | 1197595.5982
19 | 2575403.367 | 1197575.3305
20 | 2575437.808 | 1197583.7029
21 | 2575469.8452 | 1197559.0686
22 | 2575343.819 | 1197641.9894
23 | 2575333.4813 | 1197632.0379
24 | 2575308.2612 | 1197611.1588
25 | 2575277.1169 | 1197595.3072
26 | 2575451.9 | 1197544.3418
27 | 2575268.3517 | 1197598.7698
28 | 2575447.3734 | 1197540.627
29 | 2575400.9687 | 1197502.4088
30 | 2575414.321 | 1197513.5023
31 | 2575415.9178 | 1197514.8127
32 | 2575426.6439 | 1197523.6152
33 | 2575428.0133 | 1197524.7391
34 | 2575410.37 | 1197477.5185
35 | 2575433.9413 | 1197529.6039
36 | 2575437.9198 | 1197532.8688
37 | 2575441.0719 | 1197535.4556
38 | 2575446.6298 | 1197540.0168
39 | 2575442.4752 | 1197536.6072
40 | 2575478.7333 | 1197491.0614
41 | 2575468.7324 | 1197484.4806
42 | 2575459.1816 | 1197479.9076
43 | 2575464.2327 | 1197482.3261
44 | 2575450.2407 | 1197475.6265
45 | 2575445.8715 | 1197475.265
46 | 2575454.6913 | 1197470.0856
47 | 2575442.021 | 1197474.9464
48 | 2575458.9031 | 1197464.842
49 | 2575441.0079 | 1197474.8626
50 | 2575463.2968 | 1197459.372
51 | 2575424.1063 | 1197475.7771
52 | 2575425.6828 | 1197475.6051
53 | 2575417.8047 | 1197476.4647
54 | 2575431.9854 | 1197474.9173
55 | 2575434.6504 | 1197474.6265
56 | 2575438.9821 | 1197474.695
57 | 2575472.5119 | 1197449.512
58 | 2575469.8452 | 1197559.0686

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9949 | -0.097833 | 0.031495 | 0.0078933
1 | 0.99577 | -0.081135 | 0 | 0
2 | 0.99559 | -0.084453 | 0 | 0
3 | 0.99581 | -0.080177 | 0.0069567 | 0.0017435
4 | 0.9953 | -0.090109 | 0.0062141 | 0.0015574
5 | 0.99658 | -0.06536 | 0.0037804 | 0.00094745
6 | 0.99453 | -0.10482 | 0.0033588 | 0.0008418
7 | 0.99685 | -0.060195 | 0.0051844 | 0.0012993
8 | 0.98695 | -0.25145 | 0.0034337 | 0.00086056
9 | 0.98684 | -0.25368 | 0.0025625 | 0.00064222
10 | 0.98705 | -0.24952 | 0.0050213 | 0.0012584
11 | 0.98665 | -0.25728 | 0.0020804 | 0.00052141
12 | 0.98728 | -0.24506 | 0.01426 | 0.0035738
13 | 0.98653 | -0.25969 | 0.0056994 | 0.0014284
14 | 0.9875 | -0.2408 | 0.0075492 | 0.001892
15 | 0.98653 | -0.25972 | 0.0023636 | 0.00059236
16 | 0.98849 | -0.22157 | 0 | 0
17 | 0.98921 | -0.2075 | 0.0029851 | 0.00074814
18 | 0.98837 | -0.22383 | 0.0040072 | 0.0010043
19 | 0.98953 | -0.20126 | 0.0074754 | 0.0018735
20 | 0.99154 | -0.16241 | 0 | 0
21 | 0.9942 | -0.11124 | 0 | 0
22 | 0.98815 | -0.2281 | 0 | 0
23 | 0.98809 | -0.2292 | 0 | 0
24 | 0.98797 | -0.23167 | 0.0016332 | 0.00040933
25 | 0.98788 | -0.23333 | 0 | 0
26 | 0.99551 | -0.086053 | 0.012921 | 0.0032382
27 | 0.98785 | -0.23391 | 0.0025356 | 0.00063549
28 | 0.99591 | -0.07838 | 0.021364 | 0.0053543
29 | 0.99831 | -0.032252 | 0.010419 | 0.0026112
30 | 0.99978 | -0.0042834 | 0.053427 | 0.01339
31 | 1 | 0 | -0.51474 | -0.12958
32 | 0.99828 | -0.033026 | 0.018411 | 0.0046142
33 | 0.99807 | -0.036965 | 0.074431 | 0.018654
34 | 0.99368 | -0.12111 | 0.0054491 | 0.0013657
35 | 0.99744 | -0.049036 | 0.014107 | 0.0035356
36 | 0.99705 | -0.056508 | 0.013701 | 0.0034339
37 | 0.99677 | -0.061943 | 0.016791 | 0.0042083
38 | 0.996 | -0.076759 | 0.015444 | 0.0038706
39 | 0.99654 | -0.06625 | 0.023855 | 0.0059786
40 | 0.98902 | -0.21142 | 0.022823 | 0.0057199
41 | 0.98927 | -0.20653 | 0.021687 | 0.0054354
42 | 0.98973 | -0.1976 | 0.0040747 | 0.0010212
43 | 0.98947 | -0.20257 | 0.0054168 | 0.0013576
44 | 0.99022 | -0.18808 | 0 | 0
45 | 0.99051 | -0.1825 | 0.0051416 | 0.0012886
46 | 0.99011 | -0.19029 | 0.0042952 | 0.0010765
47 | 0.99078 | -0.17724 | 0.0031958 | 0.00080095
48 | 0.99002 | -0.19188 | 0.0040153 | 0.0010063
49 | 0.99085 | -0.1758 | 0.0026556 | 0.00066555
50 | 0.98996 | -0.19303 | 0.003332 | 0.00083507
51 | 0.99229 | -0.14797 | 0.0062232 | 0.0015597
52 | 0.99214 | -0.15081 | 0.0034022 | 0.00085266
53 | 0.99291 | -0.13595 | 0.004387 | 0.0010995
54 | 0.99158 | -0.16177 | 0.0050294 | 0.0012605
55 | 0.99135 | -0.16617 | 0.0063648 | 0.0015952
56 | 0.99101 | -0.17282 | 0.0036582 | 0.00091683
57 | 0.98989 | -0.19444 | 0.0058989 | 0.0014784
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031495 | -0.0078933 | 0.03152 | 0.0079089 | 2.5074e-05 | 1.5656e-05 | 0.047105 | 0.047105 | 0.047105 | 0.9949 | -0.097833 | 0.99577 | -0.081135 | 12.9408
1 | 0.0062167 | 0.001558 | -0.0062158 | -0.0015578 | 9.8238e-07 | 2.3393e-07 | 0.0092899 | 0.0092901 | 0.0092901 | 0.99577 | -0.081135 | 0.99559 | -0.084453 | 2.5522
2 | -0.037736 | -0.009467 | 0.037738 | 0.0094681 | 1.7248e-06 | 1.085e-06 | 0.056394 | 0.056394 | 0.056394 | 0.99577 | -0.081135 | 0.99581 | -0.080177 | 15.493
3 | 0.0062158 | 0.0015578 | -0.0062141 | -0.0015574 | 1.6748e-06 | 3.9915e-07 | 0.0092901 | 0.0092903 | 0.0092903 | 0.99559 | -0.084453 | 0.9953 | -0.090109 | 2.5523
4 | -0.044695 | -0.011212 | 0.044726 | 0.011232 | 3.1594e-05 | 1.9974e-05 | 0.06679 | 0.06679 | 0.06679 | 0.99581 | -0.080177 | 0.99658 | -0.06536 | 18.3488
5 | 0.12109 | 0.030612 | -0.12086 | -0.030466 | 0.00022869 | 0.00014612 | 0.1809 | 0.1809 | 0.1809 | 0.99658 | -0.06536 | 0.99453 | -0.10482 | 49.6969
6 | -0.1696 | -0.042791 | 0.16964 | 0.042818 | 4.1954e-05 | 2.676e-05 | 0.25333 | 0.25333 | 0.25333 | 0.99658 | -0.06536 | 0.99685 | -0.060195 | 34.7982
7 | 0.1175 | 0.029624 | -0.11741 | -0.029566 | 9.1496e-05 | 5.8455e-05 | 0.17587 | 0.17587 | 0.17587 | 0.99453 | -0.10482 | 0.99368 | -0.12111 | 48.3163
8 | -0.17482 | -0.044117 | 0.17506 | 0.044267 | 0.0002343 | 0.00014947 | 0.26107 | 0.26107 | 0.26107 | 0.99685 | -0.060195 | 0.99831 | -0.032252 | 35.8612
9 | 0.01271 | 0.0031864 | -0.012709 | -0.0031856 | 1.3523e-06 | 7.3998e-07 | 0.019163 | 0.019163 | 0.019163 | 0.98695 | -0.25145 | 0.98684 | -0.25368 | 5.2646
10 | -0.016144 | -0.0040469 | 0.016145 | 0.0040478 | 1.4823e-06 | 8.6339e-07 | 0.02434 | 0.02434 | 0.02434 | 0.98695 | -0.25145 | 0.98705 | -0.24952 | 6.6868
11 | 0.010146 | 0.0025434 | -0.010144 | -0.0025425 | 1.7376e-06 | 8.5921e-07 | 0.015299 | 0.015299 | 0.015299 | 0.98684 | -0.25368 | 0.98665 | -0.25728 | 4.2031
12 | -0.021166 | -0.0053062 | 0.021171 | 0.005309 | 4.4961e-06 | 2.727e-06 | 0.03191 | 0.031909 | 0.03191 | 0.98705 | -0.24952 | 0.98728 | -0.24506 | 8.7664
13 | 0.0080639 | 0.0020211 | -0.008063 | -0.0020208 | 9.2625e-07 | 3.7954e-07 | 0.012162 | 0.012162 | 0.012162 | 0.98665 | -0.25728 | 0.98653 | -0.25969 | 3.3411
14 | -0.035431 | -0.0088828 | 0.035438 | 0.0088873 | 7.2055e-06 | 4.5253e-06 | 0.053402 | 0.053402 | 0.053402 | 0.98728 | -0.24506 | 0.9875 | -0.2408 | 14.6708
15 | 0.0023636 | 0.00059236 | -0.0023636 | -0.00059236 | 3.7592e-09 | -7.6646e-09 | 0.003565 | 0.0035651 | 0.0035651 | 0.98653 | -0.25969 | 0.98653 | -0.25972 | 0.97941
16 | -0.042987 | -0.010779 | 0.043026 | 0.010804 | 3.9425e-05 | 2.4911e-05 | 0.064777 | 0.064777 | 0.064777 | 0.9875 | -0.2408 | 0.98849 | -0.22157 | 17.7959
17 | -0.051205 | -0.012853 | 0.05124 | 0.012875 | 3.4393e-05 | 2.1813e-05 | 0.077089 | 0.077088 | 0.077089 | 0.98849 | -0.22157 | 0.98921 | -0.2075 | 21.1782
18 | 0.0081787 | 0.0020487 | -0.0081779 | -0.0020483 | 8.7943e-07 | 3.6452e-07 | 0.012311 | 0.012312 | 0.012312 | 0.98849 | -0.22157 | 0.98837 | -0.22383 | 3.3823
19 | -0.054225 | -0.013623 | 0.054241 | 0.013633 | 1.6149e-05 | 1.0252e-05 | 0.081579 | 0.081579 | 0.081579 | 0.98921 | -0.2075 | 0.98953 | -0.20126 | 22.4118
20 | 0.0041707 | 0.001044 | -0.0041698 | -0.0010442 | 8.4762e-07 | -1.9216e-07 | 0.0062786 | 0.0062789 | 0.0062789 | 0.98837 | -0.22383 | 0.98815 | -0.2281 | 1.725
21 | -0.061716 | -0.015507 | 0.061831 | 0.01558 | 0.00011467 | 7.2932e-05 | 0.09282 | 0.09282 | 0.09282 | 0.98953 | -0.20126 | 0.99154 | -0.16241 | 25.5
22 | -0.061831 | -0.01558 | 0.061983 | 0.015676 | 0.00015175 | 9.6513e-05 | 0.09282 | 0.09282 | 0.09282 | 0.99154 | -0.16241 | 0.9942 | -0.11124 | 25.5
23 | -0.061983 | -0.015676 | 0.062058 | 0.015724 | 7.5001e-05 | 4.7699e-05 | 0.09282 | 0.092819 | 0.09282 | 0.9942 | -0.11124 | 0.99551 | -0.086053 | 25.4999
24 | 0.0041698 | 0.0010442 | -0.0041696 | -0.0010442 | 2.1907e-07 | -4.9603e-08 | 0.0062789 | 0.006279 | 0.006279 | 0.98815 | -0.2281 | 0.98809 | -0.2292 | 1.725
25 | 0.0041696 | 0.0010442 | -0.0041691 | -0.0010444 | 4.8871e-07 | -1.1056e-07 | 0.006279 | 0.0062791 | 0.0062791 | 0.98809 | -0.2292 | 0.98797 | -0.23167 | 1.725
26 | 0.0025359 | 0.00063503 | -0.0025357 | -0.00063537 | 2.0104e-07 | -3.4191e-07 | 0.0038192 | 0.0038194 | 0.0038194 | 0.98797 | -0.23167 | 0.98788 | -0.23333 | 1.0493
27 | 0.0025357 | 0.00063537 | -0.0025356 | -0.00063549 | 7.0333e-08 | -1.1959e-07 | 0.0038194 | 0.0038195 | 0.0038195 | 0.98788 | -0.23333 | 0.98785 | -0.23391 | 1.0493
28 | -0.074978 | -0.018962 | 0.075006 | 0.01898 | 2.761e-05 | 1.7594e-05 | 0.11213 | 0.11213 | 0.11213 | 0.99551 | -0.086053 | 0.99591 | -0.07838 | 30.8055
29 | -0.09637 | -0.024334 | 0.096377 | 0.024339 | 7.4855e-06 | 4.7782e-06 | 0.14405 | 0.14405 | 0.14405 | 0.99591 | -0.07838 | 0.996 | -0.076759 | 39.5749
30 | -0.18548 | -0.046878 | 0.18573 | 0.047037 | 0.00024909 | 0.00015897 | 0.2766 | 0.2766 | 0.2766 | 0.99831 | -0.032252 | 0.99978 | -0.0042834 | 37.9943
31 | -0.23915 | -0.060427 | 0.2392 | 0.060458 | 4.9118e-05 | 3.1381e-05 | 0.35612 | 0.35612 | 0.35612 | 0.99978 | -0.0042834 | 1 | 0 | 48.917
32 | 0.27389 | 0.069125 | -0.27345 | -0.068848 | 0.00043248 | 0.00027643 | 0.40772 | 0.40772 | 0.40772 | 1 | 0 | 0.99828 | -0.033026 | 56.0049
33 | 0.25504 | 0.064234 | -0.25499 | -0.064203 | 4.8033e-05 | 3.0695e-05 | 0.38027 | 0.38027 | 0.38027 | 0.99828 | -0.033026 | 0.99807 | -0.036965 | 52.2353
34 | 0.18056 | 0.045549 | -0.18046 | -0.045483 | 0.00010428 | 6.654e-05 | 0.2693 | 0.26931 | 0.26931 | 0.99807 | -0.036965 | 0.99744 | -0.049036 | 36.9924
35 | 0.11196 | 0.0282 | -0.11188 | -0.02815 | 7.9403e-05 | 5.072e-05 | 0.16771 | 0.16771 | 0.16771 | 0.99368 | -0.12111 | 0.99291 | -0.13595 | 46.0745
36 | 0.16635 | 0.041947 | -0.16629 | -0.041909 | 5.9475e-05 | 3.793e-05 | 0.24826 | 0.24826 | 0.24826 | 0.99744 | -0.049036 | 0.99705 | -0.056508 | 34.1016
37 | 0.15259 | 0.038475 | -0.15255 | -0.03845 | 3.9679e-05 | 2.5288e-05 | 0.22781 | 0.22781 | 0.22781 | 0.99705 | -0.056508 | 0.99677 | -0.061943 | 31.2928
38 | 0.13576 | 0.034242 | -0.13573 | -0.034224 | 2.7983e-05 | 1.7885e-05 | 0.20274 | 0.20274 | 0.20274 | 0.99677 | -0.061943 | 0.99654 | -0.06625 | 55.6992
39 | -0.11182 | -0.028209 | 0.11188 | 0.028245 | 5.6294e-05 | 3.5958e-05 | 0.16713 | 0.16713 | 0.16713 | 0.996 | -0.076759 | 0.99654 | -0.06625 | 45.9136
40 | -0.022823 | -0.0057199 | 0.022828 | 0.0057232 | 5.3186e-06 | 3.2495e-06 | 0.034338 | 0.034338 | 0.034338 | 0.98902 | -0.21142 | 0.98927 | -0.20653 | 9.4334
41 | -0.044515 | -0.011159 | 0.044524 | 0.011164 | 8.3879e-06 | 5.3042e-06 | 0.066959 | 0.066959 | 0.066959 | 0.98927 | -0.20653 | 0.98947 | -0.20257 | 18.3953
42 | 0.049952 | 0.012529 | -0.049941 | -0.012521 | 1.1846e-05 | 7.5095e-06 | 0.075105 | 0.075105 | 0.075105 | 0.98973 | -0.1976 | 0.98947 | -0.20257 | 20.6332
43 | -0.054027 | -0.01355 | 0.054052 | 0.013566 | 2.4529e-05 | 1.5571e-05 | 0.081231 | 0.081231 | 0.081231 | 0.98973 | -0.1976 | 0.99022 | -0.18808 | 22.3162
44 | -0.071597 | -0.017964 | 0.071616 | 0.017976 | 1.9033e-05 | 1.2125e-05 | 0.1076 | 0.1076 | 0.1076 | 0.99022 | -0.18808 | 0.99051 | -0.1825 | 29.5595
45 | 0.017545 | 0.0043982 | -0.017543 | -0.0043971 | 1.8526e-06 | 1.0943e-06 | 0.026366 | 0.026366 | 0.026366 | 0.99022 | -0.18808 | 0.99011 | -0.19029 | 7.2433
46 | -0.076757 | -0.019265 | 0.076777 | 0.019277 | 1.9268e-05 | 1.2282e-05 | 0.11532 | 0.11532 | 0.11532 | 0.99051 | -0.1825 | 0.99078 | -0.17724 | 31.6815
47 | 0.013248 | 0.0033207 | -0.013247 | -0.0033201 | 9.9984e-07 | 5.5341e-07 | 0.01991 | 0.019911 | 0.019911 | 0.99011 | -0.19029 | 0.99002 | -0.19188 | 5.4699
48 | -0.079972 | -0.020078 | 0.079978 | 0.020081 | 5.5007e-06 | 3.5073e-06 | 0.12012 | 0.12012 | 0.12012 | 0.99078 | -0.17724 | 0.99085 | -0.1758 | 33.0001
49 | 0.0092317 | 0.0023138 | -0.0092312 | -0.0023135 | 5.0655e-07 | 2.3398e-07 | 0.013875 | 0.013875 | 0.013875 | 0.99002 | -0.19188 | 0.98996 | -0.19303 | 3.8119
50 | -0.082634 | -0.020747 | 0.082645 | 0.020754 | 1.1741e-05 | 7.4881e-06 | 0.12411 | 0.12411 | 0.12411 | 0.99085 | -0.1758 | 0.99101 | -0.17282 | 34.0957
51 | 0.0058993 | 0.0014785 | -0.0058989 | -0.0014784 | 3.9797e-07 | 8.1176e-08 | 0.0088672 | 0.0088673 | 0.0088673 | 0.98996 | -0.19303 | 0.98989 | -0.19444 | 2.4361
52 | 0.10121 | 0.025451 | -0.1012 | -0.025442 | 1.3704e-05 | 8.7503e-06 | 0.1518 | 0.1518 | 0.1518 | 0.99229 | -0.14797 | 0.99214 | -0.15081 | 41.7046
53 | -0.10743 | -0.027011 | 0.1075 | 0.02705 | 6.1723e-05 | 3.942e-05 | 0.16114 | 0.16114 | 0.16114 | 0.99229 | -0.14797 | 0.99291 | -0.13595 | 44.2684
54 | 0.097796 | 0.02459 | -0.097745 | -0.024557 | 5.1167e-05 | 3.2665e-05 | 0.1467 | 0.1467 | 0.1467 | 0.99214 | -0.15081 | 0.99158 | -0.16177 | 40.3028
55 | 0.092715 | 0.023296 | -0.092696 | -0.023284 | 1.9467e-05 | 1.2424e-05 | 0.13915 | 0.13915 | 0.13915 | 0.99158 | -0.16177 | 0.99135 | -0.16617 | 38.2293
56 | 0.086331 | 0.021689 | -0.086304 | -0.021671 | 2.7401e-05 | 1.7481e-05 | 0.1296 | 0.1296 | 0.1296 | 0.99135 | -0.16617 | 0.99101 | -0.17282 | 35.6047

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5579 | 0.1404

## res_load
| p_mw | q_mvar
0 | 0.031495 | 0.0078933
1 | 0.0069567 | 0.0017435
2 | 0.0062141 | 0.0015574
3 | 0.0037804 | 0.00094745
4 | 0.0033588 | 0.0008418
5 | 0.0051844 | 0.0012993
6 | 0.0034337 | 0.00086056
7 | 0.0025625 | 0.00064222
8 | 0.0050213 | 0.0012584
9 | 0.0020804 | 0.00052141
10 | 0.01426 | 0.0035738
11 | 0.0056994 | 0.0014284
12 | 0.0075492 | 0.001892
13 | 0.0023636 | 0.00059236
14 | 0.0029851 | 0.00074814
15 | 0.0040072 | 0.0010043
16 | 0.0074754 | 0.0018735
17 | 0.0016332 | 0.00040933
18 | 0.012921 | 0.0032382
19 | 0.0025356 | 0.00063549
20 | 0.021364 | 0.0053543
21 | 0.010419 | 0.0026112
22 | 0.053427 | 0.01339
23 | 0.04316 | 0.010817
24 | 0.018411 | 0.0046142
25 | 0.074431 | 0.018654
26 | 0.0054491 | 0.0013657
27 | 0.014107 | 0.0035356
28 | 0.013701 | 0.0034339
29 | 0.016791 | 0.0042083
30 | 0.015444 | 0.0038706
31 | 0.023855 | 0.0059786
32 | 0.022823 | 0.0057199
33 | 0.021687 | 0.0054354
34 | 0.0040747 | 0.0010212
35 | 0.0054168 | 0.0013576
36 | 0.0051416 | 0.0012886
37 | 0.0042952 | 0.0010765
38 | 0.0031958 | 0.00080095
39 | 0.0040153 | 0.0010063
40 | 0.0026556 | 0.00066555
41 | 0.003332 | 0.00083507
42 | 0.0062232 | 0.0015597
43 | 0.0034022 | 0.00085266
44 | 0.004387 | 0.0010995
45 | 0.0050294 | 0.0012605
46 | 0.0063648 | 0.0015952
47 | 0.0036582 | 0.00091683
48 | 0.0058989 | 0.0014784

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1