## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-16_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-16_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-16_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2275-16_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2275-16_0_6_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2275-16_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2275-16_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2275-16_0_6_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2275-16_0_6_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_2275-16_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2275-16_0_6_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2275-16_0_6_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_2275-16_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2275-16_0_6_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_2275-16_0_6_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2275-16_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2275-16_0_6_node_86 | 0.4 | n |  | TRUE
17 | bus_LV_2275-16_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2275-16_0_6_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_2275-16_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2275-16_0_6_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_2275-16_0_6_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2275-16_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2275-16_0_6_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_2275-16_0_6_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_2275-16_0_6_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_2275-16_0_6_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_2275-16_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2275-16_0_6_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_2275-16_0_6_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_2275-16_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2275-16_0_6_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2275-16_0_6_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2275-16_0_6_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2275-16_0_6_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_2275-16_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2275-16_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2275-16_0_6_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2275-16_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_2275-16_0_6_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2275-16_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2275-16_0_6_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_2275-16_0_6_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_2275-16_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2275-16_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2275-16_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2275-16_0_6_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_2275-16_0_6_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_2275-16_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_2275-16_0_6_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_2275-16_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2275-16_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_2275-16_0_6_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2275-16_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2275-16_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_2275-16_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2275-16_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_2275-16_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2275-16_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_2275-16_0_6_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_2275-16_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2275-16_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2275-16_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_2275-16_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_2275-16_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2275-16_0_6_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_2275-16_0_6_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_2275-16_0_6_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_2275-16_0_6_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_2275-16_0_6_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_2275-16_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2275-16_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_2275-16_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_2275-16_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_2275-16_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2275-16_0_6_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_2275-16_0_6_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_2275-16_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_2275-16_0_6_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_2275-16_0_6_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_2275-16_0_6_node_82 | 0.4 | n |  | TRUE
81 | bus_MV_379_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-16_0_6_load_0 | 0 | 0.0032475 | 0.0008139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-16_0_6_load_74 | 8 | 0.0046344 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-16_0_6_load_84 | 11 | 0.019862 | 0.0049779 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-16_0_6_load_85 | 13 | 0.012461 | 0.0031231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-16_0_6_load_86 | 16 | 0.0026333 | 0.00065998 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-16_0_6_load_23 | 18 | 0.0057818 | 0.0014491 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-16_0_6_load_43 | 20 | 0.0020313 | 0.00050908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-16_0_6_load_27 | 21 | 0.0045022 | 0.0011284 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-16_0_6_load_69 | 24 | 0.0074933 | 0.001878 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-16_0_6_load_38 | 25 | 0.0022419 | 0.00056187 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-16_0_6_load_39 | 26 | 0.0013555 | 0.00033972 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-16_0_6_load_73 | 28 | 0.002355 | 0.00059021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-16_0_6_load_72 | 29 | 0.0038046 | 0.00095353 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-16_0_6_load_34 | 31 | 0.0035844 | 0.00089833 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-16_0_6_load_40 | 33 | 0.0027309 | 0.00068442 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-16_0_6_load_71 | 34 | 0.0060649 | 0.00152 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-16_0_6_load_19 | 36 | 0.0041255 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-16_0_6_load_22 | 38 | 0.0057558 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-16_0_6_load_36 | 39 | 0.0029449 | 0.00073807 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-16_0_6_load_25 | 40 | 0.0033294 | 0.00083442 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-16_0_6_load_81 | 41 | 0.019211 | 0.0048146 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-16_0_6_load_75 | 42 | 0.0028764 | 0.00072089 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-16_0_6_load_33 | 43 | 0.003288 | 0.00082405 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-16_0_6_load_32 | 44 | 0.011254 | 0.0028206 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-16_0_6_load_29 | 45 | 0.003044 | 0.0007629 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-16_0_6_load_20 | 46 | 0.011127 | 0.0027886 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-16_0_6_load_50 | 47 | 0.014658 | 0.0036736 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2275-16_0_6_load_48 | 48 | 0.016888 | 0.0042325 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2275-16_0_6_load_26 | 49 | 0.0050475 | 0.001265 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2275-16_0_6_load_28 | 50 | 0.0059605 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2275-16_0_6_load_31 | 51 | 0.0065003 | 0.0016291 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2275-16_0_6_load_41 | 52 | 0.0025305 | 0.00063419 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2275-16_0_6_load_42 | 53 | 0.0031137 | 0.00078036 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2275-16_0_6_load_45 | 56 | 0.0056701 | 0.0014211 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2275-16_0_6_load_83 | 59 | 0.0030273 | 0.0007587 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2275-16_0_6_load_52 | 62 | 0.010287 | 0.0025782 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2275-16_0_6_load_56 | 63 | 0.035395 | 0.0088709 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2275-16_0_6_load_55 | 64 | 0.010049 | 0.0025186 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2275-16_0_6_load_79 | 67 | 0.084131 | 0.021085 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2275-16_0_6_load_77 | 68 | 0.02223 | 0.0055714 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2275-16_0_6_load_67 | 69 | 0.0035427 | 0.00088789 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2275-16_0_6_load_68 | 70 | 0.0036387 | 0.00091195 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2275-16_0_6_load_64 | 71 | 0.015126 | 0.0037909 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2275-16_0_6_load_63 | 72 | 0.0058933 | 0.001477 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2275-16_0_6_load_58 | 73 | 0.0056541 | 0.001417 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2275-16_0_6_load_59 | 74 | 0.0049593 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2275-16_0_6_load_60 | 75 | 0.0032602 | 0.00081709 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2275-16_0_6_load_61 | 76 | 0.0084504 | 0.0021179 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2275-16_0_6_load_62 | 77 | 0.0031015 | 0.00077731 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2275-16_0_6_load_76 | 78 | 0.006421 | 0.0016093 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2275-16_0_6_load_80 | 79 | 0.02512 | 0.0062956 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-16_0_6_line_0 |  | 0 | 1 | 0.0052717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2275-16_0_6_line_1 |  | 0 | 2 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2275-16_0_6_line_2 |  | 1 | 3 | 0.007307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2275-16_0_6_line_3 |  | 2 | 4 | 0.032711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2275-16_0_6_line_4 |  | 3 | 5 | 0.029713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2275-16_0_6_line_5 |  | 4 | 16 | 0.048977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-16_0_6_line_6 |  | 4 | 10 | 0.040678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2275-16_0_6_line_7 |  | 5 | 21 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-16_0_6_line_8 |  | 5 | 17 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2275-16_0_6_line_9 |  | 6 | 7 | 0.004973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-16_0_6_line_10 |  | 6 | 8 | 0.044501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2275-16_0_6_line_11 |  | 7 | 32 | 0.028346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-16_0_6_line_12 |  | 7 | 33 | 0.013835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-16_0_6_line_13 |  | 8 | 30 | 0.0011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2275-16_0_6_line_14 |  | 9 | 10 | 0.035888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-16_0_6_line_15 |  | 9 | 11 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-16_0_6_line_16 |  | 10 | 25 | 0.013056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-16_0_6_line_17 |  | 10 | 19 | 0.052958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2275-16_0_6_line_18 |  | 12 | 13 | 0.037382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-16_0_6_line_19 |  | 12 | 14 | 0.080345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2275-16_0_6_line_20 |  | 12 | 15 | 0.068773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2275-16_0_6_line_21 |  | 14 | 26 | 0.094175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-16_0_6_line_22 |  | 14 | 22 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2275-16_0_6_line_23 |  | 15 | 37 | 0.041546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-16_0_6_line_24 |  | 15 | 38 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2275-16_0_6_line_25 |  | 17 | 18 | 0.025849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2275-16_0_6_line_26 |  | 18 | 35 | 0.024471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2275-16_0_6_line_27 |  | 19 | 20 | 0.040463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2275-16_0_6_line_28 |  | 20 | 39 | 0.019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2275-16_0_6_line_29 |  | 21 | 40 | 0.027658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-16_0_6_line_30 |  | 22 | 23 | 0.05071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2275-16_0_6_line_31 |  | 22 | 24 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-16_0_6_line_32 |  | 23 | 41 | 0.087897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2275-16_0_6_line_33 |  | 27 | 28 | 0.0024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-16_0_6_line_34 |  | 27 | 29 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2275-16_0_6_line_35 |  | 28 | 42 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-16_0_6_line_36 |  | 29 | 34 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-16_0_6_line_37 |  | 30 | 31 | 0.020197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2275-16_0_6_line_38 |  | 31 | 43 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2275-16_0_6_line_39 |  | 32 | 44 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2275-16_0_6_line_40 |  | 32 | 45 | 0.032531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-16_0_6_line_41 |  | 35 | 36 | 0.0075032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2275-16_0_6_line_42 |  | 36 | 46 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2275-16_0_6_line_43 |  | 37 | 47 | 0.037688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2275-16_0_6_line_44 |  | 37 | 48 | 0.048166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2275-16_0_6_line_45 |  | 38 | 46 | 0.026809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2275-16_0_6_line_46 |  | 39 | 54 | 0.035531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2275-16_0_6_line_47 |  | 40 | 49 | 0.027728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2275-16_0_6_line_48 |  | 41 | 79 | 0.0066875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2275-16_0_6_line_49 |  | 42 | 53 | 0.027806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2275-16_0_6_line_50 |  | 43 | 54 | 0.02453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2275-16_0_6_line_51 |  | 44 | 52 | 0.014266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2275-16_0_6_line_52 |  | 45 | 51 | 0.013521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2275-16_0_6_line_53 |  | 47 | 55 | 0.0059262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2275-16_0_6_line_54 |  | 49 | 50 | 0.024774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2275-16_0_6_line_55 |  | 52 | 53 | 0.01694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2275-16_0_6_line_56 |  | 55 | 58 | 0.042998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2275-16_0_6_line_57 |  | 55 | 57 | 0.010682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2275-16_0_6_line_58 |  | 56 | 57 | 0.019086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2275-16_0_6_line_59 |  | 58 | 59 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2275-16_0_6_line_60 |  | 60 | 61 | 0.026845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2275-16_0_6_line_61 |  | 60 | 62 | 0.026879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2275-16_0_6_line_62 |  | 61 | 63 | 0.0021465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2275-16_0_6_line_63 |  | 61 | 64 | 0.014324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2275-16_0_6_line_64 |  | 63 | 65 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2275-16_0_6_line_65 |  | 65 | 69 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2275-16_0_6_line_66 |  | 65 | 70 | 0.010363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2275-16_0_6_line_67 |  | 65 | 71 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2275-16_0_6_line_68 |  | 66 | 67 | 0.025245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2275-16_0_6_line_69 |  | 66 | 68 | 0.02372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2275-16_0_6_line_70 |  | 67 | 80 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2275-16_0_6_line_71 |  | 68 | 70 | 0.000373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2275-16_0_6_line_72 |  | 69 | 78 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2275-16_0_6_line_73 |  | 71 | 72 | 0.0081684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2275-16_0_6_line_74 |  | 73 | 74 | 0.0013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2275-16_0_6_line_75 |  | 73 | 75 | 0.006793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2275-16_0_6_line_76 |  | 74 | 76 | 0.027272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2275-16_0_6_line_77 |  | 75 | 77 | 0.0046233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2275-16_0_6_line_78 |  | 77 | 78 | 0.010291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2275-16_0_6_line_79 |  | 79 | 80 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-16_0_6_trafo_70 | 0.63 MVA 20/0.4 kV | 81 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2575142.1234 | 1197304.4338 | 2575137.1654 | 1197302.6425
1 | 2575121.0956 | 1197313.66 | 2575125.3828 | 1197313.4975 | 2575128.6303 | 1197312.3945 | 2575131.4796 | 1197310.7706 | 2575134.7695 | 1197307.066 | 2575137.1654 | 1197302.6425
2 | 2575142.1234 | 1197304.4338 | 2575149.0112 | 1197306.9287
3 | 2575096.6379 | 1197313.1174 | 2575101.2558 | 1197315.555 | 2575115.2797 | 1197323.4562 | 2575118.7133 | 1197317.6721 | 2575121.0956 | 1197313.66
4 | 2575149.0112 | 1197306.9287 | 2575149.1424 | 1197312.8091 | 2575151.2969 | 1197323.5504 | 2575153.8243 | 1197328.7537 | 2575158.9248 | 1197333.6796
5 | 2575128.7303 | 1197349.0917 | 2575124.5633 | 1197343.3838 | 2575108.199 | 1197329.4668 | 2575099.8819 | 1197320.3077 | 2575096.5146 | 1197314.5965 | 2575096.6379 | 1197313.1174
6 | 2575085.9872 | 1197285.0468 | 2575081.8308 | 1197292.8017 | 2575081.2947 | 1197293.9045 | 2575079.3085 | 1197297.9483 | 2575084.7582 | 1197300.7493 | 2575097.153 | 1197307.0008 | 2575096.6379 | 1197313.1174
7 | 2575158.9248 | 1197333.6796 | 2575162.0714 | 1197328.4636 | 2575178.4241 | 1197336.4806
8 | 2575144.5572 | 1197340.1097 | 2575150.8918 | 1197332.3457 | 2575153.8243 | 1197328.7537 | 2575158.9248 | 1197333.6796
9 | 2575175.395 | 1197245.1519 | 2575179.5042 | 1197247.9697
10 | 2575175.395 | 1197245.1519 | 2575137.5318 | 1197221.7702
11 | 2575179.5042 | 1197247.9697 | 2575202.915 | 1197264.0475
12 | 2575179.5042 | 1197247.9697 | 2575172.3674 | 1197259.8217
13 | 2575136.5739 | 1197221.1786 | 2575137.5318 | 1197221.7702
14 | 2575064.2666 | 1197305.2374 | 2575072.3628 | 1197294.3755 | 2575079.3085 | 1197297.9483 | 2575081.2947 | 1197293.9045 | 2575081.8308 | 1197292.8017 | 2575085.9872 | 1197285.0468
15 | 2575064.2666 | 1197305.2374 | 2575063.6986 | 1197305.9958 | 2575053.291 | 1197303.2379
16 | 2575085.9872 | 1197285.0468 | 2575092.1564 | 1197273.5405
17 | 2575085.9872 | 1197285.0468 | 2575081.8308 | 1197292.8017 | 2575081.2947 | 1197293.9045 | 2575050.5269 | 1197277.9246 | 2575042.9426 | 1197274.6435
18 | 2575282.2292 | 1197416.0446 | 2575277.3507 | 1197442.5347 | 2575267.0461 | 1197440.6654
19 | 2575282.2292 | 1197416.0446 | 2575304.9935 | 1197425.2329 | 2575316.9214 | 1197429.1967 | 2575330.0626 | 1197435.568 | 2575337.3902 | 1197433.9812 | 2575346.8398 | 1197437.2216 | 2575347.4125 | 1197432.0609 | 2575344.421 | 1197426.926
20 | 2575229.1111 | 1197438.8887 | 2575239.7355 | 1197431.5961 | 2575249.3753 | 1197423.7741 | 2575250.6848 | 1197423.6574 | 2575251.3928 | 1197423.5878 | 2575257.0302 | 1197425.7878 | 2575258.0965 | 1197425.8167 | 2575259.0465 | 1197425.3236 | 2575260.1628 | 1197424.5519 | 2575262.08 | 1197422.2204 | 2575263.1095 | 1197420.7042 | 2575263.2583 | 1197419.8698 | 2575263.3999 | 1197419.1244 | 2575264.1389 | 1197417.3426 | 2575264.8934 | 1197415.6385 | 2575265.1578 | 1197415.1149 | 2575265.785 | 1197413.9228 | 2575266.1478 | 1197413.2654 | 2575267.674 | 1197410.313 | 2575282.2292 | 1197416.0446
21 | 2575344.421 | 1197426.926 | 2575336.8031 | 1197426.4684 | 2575260.0722 | 1197386.4423
22 | 2575344.421 | 1197426.926 | 2575347.4125 | 1197432.0609 | 2575346.8398 | 1197437.2216 | 2575358.4538 | 1197444.4775
23 | 2575229.1111 | 1197438.8887 | 2575254.7607 | 1197471.622
24 | 2575229.1111 | 1197438.8887 | 2575218.931 | 1197423.1444
25 | 2575144.5572 | 1197340.1097 | 2575155.1874 | 1197348.7811 | 2575165.2769 | 1197355.5159
26 | 2575184.7283 | 1197370.2474 | 2575182.342 | 1197367.8116 | 2575177.0684 | 1197363.3867 | 2575165.2769 | 1197355.5159
27 | 2575042.9426 | 1197274.6435 | 2575060.2328 | 1197238.0604
28 | 2575068.3763 | 1197220.8301 | 2575060.2328 | 1197238.0604
29 | 2575178.4241 | 1197336.4806 | 2575203.2579 | 1197348.6555
30 | 2575358.4538 | 1197444.4775 | 2575367.9302 | 1197456.0334 | 2575372.9618 | 1197464.6284 | 2575375.252 | 1197469.5994 | 2575380.1166 | 1197480.1739 | 2575385.5975 | 1197486.9216
31 | 2575358.4538 | 1197444.4775 | 2575370.8513 | 1197445.9937 | 2575372.083 | 1197445.8812
32 | 2575385.5975 | 1197486.9216 | 2575401.6961 | 1197503.1416 | 2575451.976 | 1197544.4042
33 | 2575283.6104 | 1197319.4532 | 2575281.6309 | 1197318.0942
34 | 2575283.6104 | 1197319.4532 | 2575295.4151 | 1197329.2324
35 | 2575281.6309 | 1197318.0942 | 2575265.6973 | 1197307.1541
36 | 2575310.9725 | 1197342.1283 | 2575304.0538 | 1197336.3887 | 2575295.4151 | 1197329.2324
37 | 2575136.5739 | 1197221.1786 | 2575119.3881 | 1197210.5684
38 | 2575119.3881 | 1197210.5684 | 2575106.8655 | 1197202.8372
39 | 2575202.915 | 1197264.0475 | 2575217.0483 | 1197273.7515
40 | 2575202.915 | 1197264.0475 | 2575185.2963 | 1197291.3947
41 | 2575184.7283 | 1197370.2474 | 2575188.8024 | 1197376.5482
42 | 2575204.3746 | 1197400.6318 | 2575188.8024 | 1197376.5482
43 | 2575254.7607 | 1197471.622 | 2575227.3263 | 1197497.4624
44 | 2575254.7607 | 1197471.622 | 2575282.3359 | 1197498.6221 | 2575289.7736 | 1197504.6494
45 | 2575218.931 | 1197423.1444 | 2575204.3746 | 1197400.6318
46 | 2575068.3763 | 1197220.8301 | 2575085.993 | 1197189.9508
47 | 2575203.2579 | 1197348.6555 | 2575228.1548 | 1197360.8612
48 | 2575457.1456 | 1197548.6466 | 2575451.976 | 1197544.4042
49 | 2575242.7742 | 1197291.415 | 2575265.6973 | 1197307.1541
50 | 2575085.993 | 1197189.9508 | 2575106.8655 | 1197202.8372
51 | 2575217.0483 | 1197273.7515 | 2575228.8092 | 1197281.8266
52 | 2575177.9733 | 1197302.7612 | 2575185.2963 | 1197291.3947
53 | 2575223.0124 | 1197501.5257 | 2575227.3263 | 1197497.4624
54 | 2575250.3994 | 1197371.7667 | 2575228.1548 | 1197360.8612
55 | 2575242.7742 | 1197291.415 | 2575228.8092 | 1197281.8266
56 | 2575223.0124 | 1197501.5257 | 2575198.6955 | 1197525.4732 | 2575195.3236 | 1197527.7663 | 2575190.4817 | 1197528.1867
57 | 2575223.0124 | 1197501.5257 | 2575215.9115 | 1197493.5287
58 | 2575215.9115 | 1197493.5287 | 2575229.8457 | 1197480.4856
59 | 2575190.4817 | 1197528.1867 | 2575190.4601 | 1197533.9788 | 2575186.5276 | 1197537.4155
60 | 2575408.8251 | 1197599.1419 | 2575386.9942 | 1197583.4347
61 | 2575386.9942 | 1197583.4347 | 2575393.2519 | 1197573.6146 | 2575408.2724 | 1197576.1626
62 | 2575408.8251 | 1197599.1419 | 2575410.5578 | 1197600.4089
63 | 2575408.8251 | 1197599.1419 | 2575400.7121 | 1197610.9468
64 | 2575427.5614 | 1197612.4273 | 2575421.8875 | 1197608.6932 | 2575410.5578 | 1197600.4089
65 | 2575427.5614 | 1197612.4273 | 2575437.6345 | 1197619.0624
66 | 2575427.5614 | 1197612.4273 | 2575428.008 | 1197611.7585 | 2575433.7906 | 1197604.1471
67 | 2575427.5614 | 1197612.4273 | 2575417.5761 | 1197626.9268
68 | 2575437.808 | 1197583.7029 | 2575444.7633 | 1197580.5058 | 2575453.5215 | 1197578.6798 | 2575455.5243 | 1197580.4725 | 2575459.6459 | 1197576.1738
69 | 2575437.808 | 1197583.7029 | 2575440.8791 | 1197589.7046 | 2575441.9903 | 1197593.2352 | 2575438.0141 | 1197598.5878 | 2575434.0163 | 1197603.85
70 | 2575469.8452 | 1197559.0686 | 2575471.0092 | 1197564.3222 | 2575459.6459 | 1197576.1738
71 | 2575433.7906 | 1197604.1471 | 2575434.0163 | 1197603.85
72 | 2575437.6345 | 1197619.0624 | 2575446.3133 | 1197624.7791
73 | 2575412.9431 | 1197633.6542 | 2575417.5761 | 1197626.9268
74 | 2575462.8597 | 1197638.6245 | 2575463.7753 | 1197639.5738
75 | 2575462.8597 | 1197638.6245 | 2575458.1439 | 1197633.7351
76 | 2575482.222 | 1197659.5995 | 2575480.1014 | 1197656.5013 | 2575463.7753 | 1197639.5738
77 | 2575458.1439 | 1197633.7351 | 2575455.0681 | 1197630.546 | 2575454.9073 | 1197630.44
78 | 2575454.9073 | 1197630.44 | 2575446.3133 | 1197624.7791
79 | 2575469.8452 | 1197559.0686 | 2575457.1456 | 1197548.6466

## bus_geodata
| x | y | coords
0 | 2575137.1654 | 1197302.6425
1 | 2575142.1234 | 1197304.4338
2 | 2575121.0956 | 1197313.66
3 | 2575149.0112 | 1197306.9287
4 | 2575096.6379 | 1197313.1174
5 | 2575158.9248 | 1197333.6796
6 | 2575175.395 | 1197245.1519
7 | 2575179.5042 | 1197247.9697
8 | 2575137.5318 | 1197221.7702
9 | 2575064.2666 | 1197305.2374
10 | 2575085.9872 | 1197285.0468
11 | 2575053.291 | 1197303.2379
12 | 2575282.2292 | 1197416.0446
13 | 2575267.0461 | 1197440.6654
14 | 2575344.421 | 1197426.9261
15 | 2575229.1111 | 1197438.8887
16 | 2575128.7303 | 1197349.0917
17 | 2575144.5572 | 1197340.1097
18 | 2575165.2769 | 1197355.5159
19 | 2575042.9426 | 1197274.6435
20 | 2575060.2328 | 1197238.0604
21 | 2575178.4241 | 1197336.4806
22 | 2575358.4538 | 1197444.4775
23 | 2575385.5975 | 1197486.9216
24 | 2575372.083 | 1197445.8812
25 | 2575092.1564 | 1197273.5405
26 | 2575260.0722 | 1197386.4423
27 | 2575283.6104 | 1197319.4532
28 | 2575281.6309 | 1197318.0942
29 | 2575295.4151 | 1197329.2324
30 | 2575136.5739 | 1197221.1786
31 | 2575119.3881 | 1197210.5684
32 | 2575202.915 | 1197264.0475
33 | 2575172.3674 | 1197259.8217
34 | 2575310.9725 | 1197342.1283
35 | 2575184.7283 | 1197370.2474
36 | 2575188.8024 | 1197376.5482
37 | 2575254.7607 | 1197471.622
38 | 2575218.931 | 1197423.1444
39 | 2575068.3763 | 1197220.8301
40 | 2575203.2579 | 1197348.6555
41 | 2575451.976 | 1197544.4042
42 | 2575265.6973 | 1197307.1541
43 | 2575106.8655 | 1197202.8372
44 | 2575217.0483 | 1197273.7515
45 | 2575185.2963 | 1197291.3947
46 | 2575204.3746 | 1197400.6318
47 | 2575227.3263 | 1197497.4624
48 | 2575289.7735 | 1197504.6494
49 | 2575228.1548 | 1197360.8612
50 | 2575250.3994 | 1197371.7667
51 | 2575177.9733 | 1197302.7612
52 | 2575228.8092 | 1197281.8266
53 | 2575242.7742 | 1197291.415
54 | 2575085.993 | 1197189.9508
55 | 2575223.0124 | 1197501.5257
56 | 2575229.8457 | 1197480.4856
57 | 2575215.9115 | 1197493.5287
58 | 2575190.4817 | 1197528.1867
59 | 2575186.5276 | 1197537.4155
60 | 2575386.9942 | 1197583.4347
61 | 2575408.8251 | 1197599.1419
62 | 2575408.2724 | 1197576.1626
63 | 2575410.5578 | 1197600.4089
64 | 2575400.7121 | 1197610.9468
65 | 2575427.5614 | 1197612.4273
66 | 2575437.808 | 1197583.7029
67 | 2575459.6459 | 1197576.1738
68 | 2575434.0163 | 1197603.85
69 | 2575437.6345 | 1197619.0624
70 | 2575433.7906 | 1197604.1471
71 | 2575417.5761 | 1197626.9268
72 | 2575412.9431 | 1197633.6542
73 | 2575462.8597 | 1197638.6245
74 | 2575463.7753 | 1197639.5738
75 | 2575458.1439 | 1197633.7351
76 | 2575482.222 | 1197659.5995
77 | 2575454.9073 | 1197630.44
78 | 2575446.3133 | 1197624.7791
79 | 2575457.1456 | 1197548.6466
80 | 2575469.8452 | 1197559.0686
81 | 2575375.252 | 1197469.5994

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98036 | -0.37642 | 0.0032475 | 0.0008139
1 | 0.98051 | -0.37359 | 0 | 0
2 | 0.97981 | -0.38728 | 0 | 0
3 | 0.98071 | -0.36967 | 0 | 0
4 | 0.97894 | -0.40422 | 0 | 0
5 | 0.98153 | -0.35375 | 0 | 0
6 | 0.97356 | -0.50973 | 0 | 0
7 | 0.97335 | -0.51378 | 0 | 0
8 | 0.97417 | -0.49766 | 0.0046344 | 0.0011615
9 | 0.97723 | -0.43769 | 0 | 0
10 | 0.97789 | -0.42469 | 0 | 0
11 | 0.97701 | -0.44194 | 0.019862 | 0.0049779
12 | 0.99084 | -0.1739 | 0 | 0
13 | 0.99042 | -0.18218 | 0.012461 | 0.0031231
14 | 0.99549 | -0.085332 | 0 | 0
15 | 0.98713 | -0.24527 | 0 | 0
16 | 0.97882 | -0.40657 | 0.0026333 | 0.00065998
17 | 0.98225 | -0.33964 | 0 | 0
18 | 0.98312 | -0.3229 | 0.0057818 | 0.0014491
19 | 0.97689 | -0.44427 | 0 | 0
20 | 0.97613 | -0.45925 | 0.0020313 | 0.00050908
21 | 0.9811 | -0.36204 | 0.0045022 | 0.0011284
22 | 0.99693 | -0.057929 | 0 | 0
23 | 1 | 0 | -0.47125 | -0.12045
24 | 0.99684 | -0.059733 | 0.0074933 | 0.001878
25 | 0.97786 | -0.42522 | 0.0022419 | 0.00056187
26 | 0.99537 | -0.08758 | 0.0013555 | 0.00033972
27 | 0.97054 | -0.56934 | 0 | 0
28 | 0.97056 | -0.5689 | 0.002355 | 0.00059021
29 | 0.9704 | -0.57214 | 0.0038046 | 0.00095353
30 | 0.97419 | -0.49733 | 0 | 0
31 | 0.9745 | -0.49128 | 0.0035844 | 0.00089833
32 | 0.97225 | -0.53548 | 0 | 0
33 | 0.97332 | -0.51448 | 0.0027309 | 0.00068442
34 | 0.97029 | -0.57441 | 0.0060649 | 0.00152
35 | 0.98398 | -0.30623 | 0 | 0
36 | 0.98424 | -0.30113 | 0.0041255 | 0.0010339
37 | 0.98559 | -0.27522 | 0 | 0
38 | 0.98635 | -0.26031 | 0.0057558 | 0.0014425
39 | 0.97578 | -0.46608 | 0.0029449 | 0.00073807
40 | 0.98074 | -0.36922 | 0.0033294 | 0.00083442
41 | 0.99281 | -0.13707 | 0.019211 | 0.0048146
42 | 0.97078 | -0.56453 | 0.0028764 | 0.00072089
43 | 0.97474 | -0.48655 | 0.003288 | 0.00082405
44 | 0.97174 | -0.5456 | 0.011254 | 0.0028206
45 | 0.97196 | -0.5412 | 0.003044 | 0.0007629
46 | 0.98528 | -0.28093 | 0.011127 | 0.0027886
47 | 0.98478 | -0.29103 | 0.014658 | 0.0036736
48 | 0.98484 | -0.28983 | 0.016888 | 0.0042325
49 | 0.98046 | -0.37475 | 0.0050475 | 0.001265
50 | 0.98032 | -0.37743 | 0.0059605 | 0.0014938
51 | 0.97188 | -0.54283 | 0.0065003 | 0.0016291
52 | 0.97146 | -0.55106 | 0.0025305 | 0.00063419
53 | 0.97118 | -0.55676 | 0.0031137 | 0.00078036
54 | 0.97516 | -0.47819 | 0 | 0
55 | 0.98473 | -0.29196 | 0 | 0
56 | 0.98458 | -0.29499 | 0.0056701 | 0.0014211
57 | 0.98468 | -0.29305 | 0 | 0
58 | 0.98461 | -0.2943 | 0 | 0
59 | 0.98458 | -0.2949 | 0.0030273 | 0.0007587
60 | 0.98021 | -0.38124 | 0 | 0
61 | 0.98047 | -0.37623 | 0 | 0
62 | 0.97996 | -0.38625 | 0.010287 | 0.0025782
63 | 0.98051 | -0.37544 | 0.035395 | 0.0088709
64 | 0.98034 | -0.37884 | 0.010049 | 0.0025186
65 | 0.98158 | -0.35442 | 0 | 0
66 | 0.98572 | -0.27373 | 0 | 0
67 | 0.98895 | -0.21144 | 0.084131 | 0.021085
68 | 0.9827 | -0.33264 | 0.02223 | 0.0055714
69 | 0.98119 | -0.36214 | 0.0035427 | 0.00088789
70 | 0.98266 | -0.33341 | 0.0036387 | 0.00091195
71 | 0.98124 | -0.36111 | 0.015126 | 0.0037909
72 | 0.9812 | -0.36198 | 0.0058933 | 0.001477
73 | 0.98043 | -0.37709 | 0.0056541 | 0.001417
74 | 0.98041 | -0.37742 | 0.0049593 | 0.0012429
75 | 0.98055 | -0.37475 | 0.0032602 | 0.00081709
76 | 0.9802 | -0.3816 | 0.0084504 | 0.0021179
77 | 0.98064 | -0.37288 | 0.0031015 | 0.00077731
78 | 0.98088 | -0.36813 | 0.006421 | 0.0016093
79 | 0.9923 | -0.14682 | 0.02512 | 0.0062956
80 | 0.99118 | -0.16838 | 0 | 0
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.089274 | -0.022564 | 0.089286 | 0.022571 | 1.2111e-05 | 7.5517e-06 | 0.13557 | 0.13557 | 0.13557 | 0.98036 | -0.37642 | 0.98051 | -0.37359 | 12.4148
1 | 0.086026 | 0.02175 | -0.085981 | -0.021722 | 4.4768e-05 | 2.7858e-05 | 0.13064 | 0.13064 | 0.13064 | 0.98036 | -0.37642 | 0.97981 | -0.38728 | 11.9634
2 | -0.089286 | -0.022571 | 0.089302 | 0.022582 | 1.6787e-05 | 1.0467e-05 | 0.13557 | 0.13557 | 0.13557 | 0.98051 | -0.37359 | 0.98071 | -0.36967 | 12.4148
3 | 0.085981 | 0.021722 | -0.085911 | -0.021678 | 6.9785e-05 | 4.3427e-05 | 0.13064 | 0.13064 | 0.13064 | 0.97981 | -0.38728 | 0.97894 | -0.40422 | 11.9635
4 | -0.089302 | -0.022582 | 0.089371 | 0.022624 | 6.8261e-05 | 4.2561e-05 | 0.13557 | 0.13557 | 0.13557 | 0.98071 | -0.36967 | 0.98153 | -0.35375 | 12.4148
5 | 0.0026336 | 0.00065955 | -0.0026333 | -0.00065998 | 2.9432e-07 | -4.2732e-07 | 0.004003 | 0.0040032 | 0.0040032 | 0.97894 | -0.40422 | 0.97882 | -0.40657 | 1.0998
6 | 0.083278 | 0.021019 | -0.083196 | -0.020968 | 8.1545e-05 | 5.0656e-05 | 0.12664 | 0.12664 | 0.12664 | 0.97894 | -0.40422 | 0.97789 | -0.42469 | 11.5969
7 | 0.018856 | 0.0047306 | -0.018848 | -0.0047261 | 7.4482e-06 | 4.4598e-06 | 0.028587 | 0.028587 | 0.028587 | 0.98153 | -0.35375 | 0.9811 | -0.36204 | 7.8537
8 | -0.10823 | -0.027355 | 0.1083 | 0.027401 | 7.3256e-05 | 4.6059e-05 | 0.16416 | 0.16416 | 0.16416 | 0.98153 | -0.35375 | 0.98225 | -0.33964 | 15.0326
9 | 0.044366 | 0.011152 | -0.044357 | -0.011146 | 8.578e-06 | 5.4281e-06 | 0.067821 | 0.067821 | 0.067821 | 0.97356 | -0.50973 | 0.97335 | -0.51378 | 18.6323
10 | -0.044366 | -0.011152 | 0.044391 | 0.011166 | 2.5586e-05 | 1.4714e-05 | 0.067821 | 0.067821 | 0.067821 | 0.97356 | -0.50973 | 0.97417 | -0.49766 | 6.2108
11 | 0.041626 | 0.010462 | -0.041583 | -0.010435 | 4.306e-05 | 2.7206e-05 | 0.063647 | 0.063647 | 0.063647 | 0.97335 | -0.51378 | 0.97225 | -0.53548 | 17.4853
12 | 0.002731 | 0.00068431 | -0.0027309 | -0.00068442 | 9.043e-08 | -1.1408e-07 | 0.0041749 | 0.004175 | 0.004175 | 0.97335 | -0.51378 | 0.97332 | -0.51448 | 1.147
13 | -0.049025 | -0.012328 | 0.049026 | 0.012328 | 7.8955e-07 | 4.6326e-07 | 0.0749 | 0.0749 | 0.0749 | 0.97417 | -0.49766 | 0.97419 | -0.49733 | 6.8589
14 | -0.019866 | -0.0049804 | 0.019879 | 0.0049878 | 1.2315e-05 | 7.4319e-06 | 0.030251 | 0.03025 | 0.030251 | 0.97723 | -0.43769 | 0.97789 | -0.42469 | 8.3106
15 | 0.019866 | 0.0049804 | -0.019862 | -0.0049779 | 4.0199e-06 | 2.426e-06 | 0.030251 | 0.030251 | 0.030251 | 0.97723 | -0.43769 | 0.97701 | -0.44194 | 8.3106
16 | 0.0022419 | 0.00056174 | -0.0022419 | -0.00056187 | 5.6978e-08 | -1.2732e-07 | 0.0034114 | 0.0034115 | 0.0034115 | 0.97789 | -0.42469 | 0.97786 | -0.42522 | 0.93722
17 | 0.061076 | 0.015419 | -0.061019 | -0.015384 | 5.7227e-05 | 3.4634e-05 | 0.092977 | 0.092977 | 0.092977 | 0.97789 | -0.42469 | 0.97689 | -0.44427 | 8.5144
18 | 0.012466 | 0.0031258 | -0.012461 | -0.0031231 | 4.9136e-06 | 2.6634e-06 | 0.018722 | 0.018722 | 0.018722 | 0.99084 | -0.1739 | 0.99042 | -0.18218 | 5.1434
19 | -0.18904 | -0.048111 | 0.18985 | 0.048627 | 0.00081093 | 0.00051588 | 0.28416 | 0.28416 | 0.28416 | 0.99084 | -0.1739 | 0.99549 | -0.085332 | 26.0218
20 | 0.17657 | 0.044986 | -0.17597 | -0.044601 | 0.00060569 | 0.00038499 | 0.26544 | 0.26544 | 0.26544 | 0.99084 | -0.1739 | 0.98713 | -0.24527 | 24.3074
21 | 0.0013557 | 0.00033859 | -0.0013555 | -0.00033972 | 1.4499e-07 | -1.1314e-06 | 0.002026 | 0.0020264 | 0.0020264 | 0.99549 | -0.085332 | 0.99537 | -0.08758 | 0.5567
22 | -0.19121 | -0.048966 | 0.19146 | 0.049128 | 0.00025419 | 0.00016171 | 0.28618 | 0.28618 | 0.28618 | 0.99549 | -0.085332 | 0.99693 | -0.057929 | 26.2072
23 | 0.040331 | 0.01014 | -0.040274 | -0.010103 | 5.7607e-05 | 3.6338e-05 | 0.060808 | 0.060808 | 0.060808 | 0.98713 | -0.24527 | 0.98559 | -0.27522 | 16.7054
24 | 0.13564 | 0.034461 | -0.13554 | -0.034399 | 9.8134e-05 | 6.2087e-05 | 0.20463 | 0.20463 | 0.20463 | 0.98713 | -0.24527 | 0.98635 | -0.26031 | 18.739
25 | -0.1083 | -0.027401 | 0.10839 | 0.027456 | 8.707e-05 | 5.4742e-05 | 0.16416 | 0.16416 | 0.16416 | 0.98225 | -0.33964 | 0.98312 | -0.3229 | 15.0326
26 | -0.11417 | -0.028905 | 0.11426 | 0.028962 | 9.145e-05 | 5.7597e-05 | 0.17291 | 0.17291 | 0.17291 | 0.98312 | -0.3229 | 0.98398 | -0.30623 | 15.8339
27 | 0.061019 | 0.015384 | -0.060975 | -0.015358 | 4.3725e-05 | 2.6465e-05 | 0.092977 | 0.092978 | 0.092978 | 0.97689 | -0.44427 | 0.97613 | -0.45925 | 8.5145
28 | 0.058944 | 0.014849 | -0.058924 | -0.014837 | 1.9245e-05 | 1.1603e-05 | 0.089882 | 0.089882 | 0.089882 | 0.97613 | -0.45925 | 0.97578 | -0.46608 | 8.2309
29 | 0.014346 | 0.0035978 | -0.014341 | -0.003595 | 4.9105e-06 | 2.7936e-06 | 0.021759 | 0.021759 | 0.021759 | 0.9811 | -0.36204 | 0.98074 | -0.36922 | 5.9778
30 | -0.19896 | -0.051006 | 0.19952 | 0.051363 | 0.00056052 | 0.00035674 | 0.29737 | 0.29737 | 0.29737 | 0.99693 | -0.057929 | 1 | 0 | 27.2315
31 | 0.007494 | 0.0018782 | -0.0074933 | -0.001878 | 6.4404e-07 | 2.3322e-07 | 0.011186 | 0.011186 | 0.011186 | 0.99693 | -0.057929 | 0.99684 | -0.059733 | 3.073
32 | 0.27008 | 0.069089 | -0.26831 | -0.067953 | 0.001779 | 0.0011351 | 0.40239 | 0.40239 | 0.40239 | 1 | 0 | 0.99281 | -0.13707 | 36.8486
33 | -0.0098715 | -0.0024744 | 0.0098717 | 0.0024745 | 2.0625e-07 | 1.0233e-07 | 0.015135 | 0.015135 | 0.015135 | 0.97054 | -0.56934 | 0.97056 | -0.5689 | 4.158
34 | 0.0098715 | 0.0024744 | -0.0098702 | -0.0024737 | 1.3168e-06 | 6.5333e-07 | 0.015135 | 0.015135 | 0.015135 | 0.97054 | -0.56934 | 0.9704 | -0.57214 | 4.158
35 | -0.012227 | -0.0030647 | 0.012229 | 0.0030661 | 2.5468e-06 | 1.3911e-06 | 0.018745 | 0.018745 | 0.018745 | 0.97056 | -0.5689 | 0.97078 | -0.56453 | 5.1498
36 | 0.0060656 | 0.0015202 | -0.0060649 | -0.00152 | 6.5554e-07 | 1.6993e-07 | 0.009301 | 0.0093011 | 0.0093011 | 0.9704 | -0.57214 | 0.97029 | -0.57441 | 2.5552
37 | -0.049026 | -0.012328 | 0.04904 | 0.012337 | 1.4163e-05 | 8.3098e-06 | 0.0749 | 0.074899 | 0.0749 | 0.97419 | -0.49733 | 0.9745 | -0.49128 | 6.8589
38 | -0.052625 | -0.013235 | 0.052637 | 0.013242 | 1.1883e-05 | 7.0552e-06 | 0.080373 | 0.080372 | 0.080373 | 0.9745 | -0.49128 | 0.97474 | -0.48655 | 7.3601
39 | 0.032036 | 0.0080413 | -0.03202 | -0.0080316 | 1.5458e-05 | 9.6805e-06 | 0.049034 | 0.049034 | 0.049034 | 0.97225 | -0.53548 | 0.97174 | -0.5456 | 13.471
40 | 0.0095473 | 0.0023934 | -0.0095447 | -0.0023922 | 2.6048e-06 | 1.2638e-06 | 0.014612 | 0.014612 | 0.014612 | 0.97225 | -0.53548 | 0.97196 | -0.5412 | 4.0144
41 | -0.11426 | -0.028962 | 0.11429 | 0.02898 | 2.804e-05 | 1.766e-05 | 0.17291 | 0.17291 | 0.17291 | 0.98398 | -0.30623 | 0.98424 | -0.30113 | 15.8339
42 | -0.11841 | -0.030014 | 0.11853 | 0.030086 | 0.00011505 | 7.2536e-05 | 0.17914 | 0.17914 | 0.17914 | 0.98424 | -0.30113 | 0.98528 | -0.28093 | 16.405
43 | 0.023374 | 0.0058641 | -0.023357 | -0.0058533 | 1.7603e-05 | 1.0786e-05 | 0.035292 | 0.035292 | 0.035292 | 0.98559 | -0.27522 | 0.98478 | -0.29103 | 9.6957
44 | 0.016899 | 0.0042394 | -0.016888 | -0.0042325 | 1.176e-05 | 6.9127e-06 | 0.025516 | 0.025516 | 0.025516 | 0.98559 | -0.27522 | 0.98484 | -0.28983 | 7.0099
45 | 0.12978 | 0.032956 | -0.12966 | -0.032875 | 0.00012866 | 8.132e-05 | 0.19595 | 0.19595 | 0.19595 | 0.98635 | -0.26031 | 0.98528 | -0.28093 | 17.9438
46 | 0.055979 | 0.014099 | -0.055947 | -0.014079 | 3.2385e-05 | 1.9396e-05 | 0.085391 | 0.085391 | 0.085391 | 0.97578 | -0.46608 | 0.97516 | -0.47819 | 7.8197
47 | 0.011012 | 0.0027605 | -0.011009 | -0.002759 | 2.9026e-06 | 1.5078e-06 | 0.016708 | 0.016708 | 0.016708 | 0.98074 | -0.36922 | 0.98046 | -0.37475 | 4.59
48 | 0.24909 | 0.063139 | -0.24898 | -0.063064 | 0.00011667 | 7.4412e-05 | 0.37359 | 0.37359 | 0.37359 | 0.99281 | -0.13707 | 0.9923 | -0.14682 | 34.2119
49 | -0.015106 | -0.003787 | 0.015111 | 0.0037902 | 5.5903e-06 | 3.2338e-06 | 0.023154 | 0.023154 | 0.023154 | 0.97078 | -0.56453 | 0.97118 | -0.55676 | 6.3611
50 | -0.055925 | -0.014066 | 0.055947 | 0.014079 | 2.2358e-05 | 1.3392e-05 | 0.085392 | 0.085391 | 0.085392 | 0.97474 | -0.48655 | 0.97516 | -0.47819 | 7.8198
51 | 0.020766 | 0.005211 | -0.02076 | -0.0052077 | 5.4102e-06 | 3.2858e-06 | 0.031801 | 0.031801 | 0.031801 | 0.97174 | -0.5456 | 0.97146 | -0.55106 | 8.7365
52 | 0.0065008 | 0.0016293 | -0.0065003 | -0.0016291 | 5.0222e-07 | 1.5385e-07 | 0.0099523 | 0.0099523 | 0.0099523 | 0.97196 | -0.5412 | 0.97188 | -0.54283 | 2.7342
53 | 0.008699 | 0.0021797 | -0.0086986 | -0.0021795 | 3.8395e-07 | 1.7033e-07 | 0.013144 | 0.013144 | 0.013144 | 0.98478 | -0.29103 | 0.98473 | -0.29196 | 3.611
54 | 0.0059613 | 0.001494 | -0.0059605 | -0.0014938 | 7.6045e-07 | 1.7429e-07 | 0.0090473 | 0.0090474 | 0.0090474 | 0.98046 | -0.37475 | 0.98032 | -0.37743 | 2.4855
55 | 0.01823 | 0.0045735 | -0.018225 | -0.0045706 | 4.9536e-06 | 2.9607e-06 | 0.027925 | 0.027925 | 0.027925 | 0.97146 | -0.55106 | 0.97118 | -0.55676 | 7.6717
56 | 0.0030277 | 0.00075829 | -0.0030273 | -0.00075862 | 3.3749e-07 | -3.3095e-07 | 0.0045749 | 0.0045751 | 0.0045751 | 0.98473 | -0.29196 | 0.98461 | -0.2943 | 1.2569
57 | 0.0056709 | 0.0014212 | -0.0056706 | -0.0014212 | 2.9415e-07 | 5.2369e-08 | 0.0085692 | 0.0085692 | 0.0085692 | 0.98473 | -0.29196 | 0.98468 | -0.29305 | 2.3542
58 | -0.0056701 | -0.0014211 | 0.0056706 | 0.0014212 | 5.2558e-07 | 9.3614e-08 | 0.0085693 | 0.0085692 | 0.0085693 | 0.98458 | -0.29499 | 0.98468 | -0.29305 | 2.3542
59 | 0.0030273 | 0.00075862 | -0.0030273 | -0.0007587 | 8.6459e-08 | -8.4755e-08 | 0.0045751 | 0.0045751 | 0.0045751 | 0.98461 | -0.2943 | 0.98458 | -0.2949 | 1.2569
60 | -0.01029 | -0.0025794 | 0.010292 | 0.0025807 | 2.4563e-06 | 1.2335e-06 | 0.01562 | 0.01562 | 0.01562 | 0.98021 | -0.38124 | 0.98047 | -0.37623 | 4.2913
61 | 0.01029 | 0.0025794 | -0.010287 | -0.0025782 | 2.4595e-06 | 1.2353e-06 | 0.01562 | 0.015621 | 0.015621 | 0.98021 | -0.38124 | 0.97996 | -0.38625 | 4.2913
62 | -0.020343 | -0.0050999 | 0.020343 | 0.0051003 | 7.6725e-07 | 4.6397e-07 | 0.030874 | 0.030874 | 0.030874 | 0.98047 | -0.37623 | 0.98051 | -0.37544 | 8.4817
63 | 0.01005 | 0.0025192 | -0.010049 | -0.0025186 | 1.2497e-06 | 6.1921e-07 | 0.015253 | 0.015253 | 0.015253 | 0.98047 | -0.37623 | 0.98034 | -0.37884 | 4.1905
64 | -0.055739 | -0.013971 | 0.055794 | 0.014007 | 5.5886e-05 | 3.5504e-05 | 0.084589 | 0.084589 | 0.084589 | 0.98051 | -0.37544 | 0.98158 | -0.35442 | 23.2387
65 | 0.035423 | 0.0088902 | -0.03541 | -0.008882 | 1.3045e-05 | 8.1966e-06 | 0.053704 | 0.053704 | 0.053704 | 0.98158 | -0.35442 | 0.98119 | -0.36214 | 14.7537
66 | -0.11224 | -0.028169 | 0.11236 | 0.028241 | 0.00011253 | 7.1889e-05 | 0.17017 | 0.17017 | 0.17017 | 0.98158 | -0.35442 | 0.98266 | -0.33341 | 46.7493
67 | 0.021026 | 0.005272 | -0.021019 | -0.005268 | 6.7077e-06 | 4.0705e-06 | 0.031875 | 0.031875 | 0.031875 | 0.98158 | -0.35442 | 0.98124 | -0.36111 | 8.7569
68 | -0.13862 | -0.034976 | 0.13903 | 0.035241 | 0.00041486 | 0.00026519 | 0.20934 | 0.20934 | 0.20934 | 0.98572 | -0.27373 | 0.98895 | -0.21144 | 57.5107
69 | 0.13862 | 0.034976 | -0.13823 | -0.034727 | 0.0003898 | 0.00024917 | 0.20934 | 0.20934 | 0.20934 | 0.98572 | -0.27373 | 0.9827 | -0.33264 | 57.5107
70 | -0.22316 | -0.056326 | 0.22363 | 0.056621 | 0.00046126 | 0.00029465 | 0.33593 | 0.33593 | 0.33593 | 0.98895 | -0.21144 | 0.99118 | -0.16838 | 46.1436
71 | 0.116 | 0.029156 | -0.11599 | -0.029153 | 4.3169e-06 | 2.7581e-06 | 0.17568 | 0.17568 | 0.17568 | 0.9827 | -0.33264 | 0.98266 | -0.33341 | 48.2631
72 | 0.031867 | 0.0079941 | -0.031858 | -0.0079884 | 9.1033e-06 | 5.6949e-06 | 0.048331 | 0.048331 | 0.048331 | 0.98119 | -0.36214 | 0.98088 | -0.36813 | 13.2778
73 | 0.0058936 | 0.0014771 | -0.0058933 | -0.001477 | 2.4467e-07 | 5.3415e-08 | 0.0089374 | 0.0089374 | 0.0089374 | 0.98124 | -0.36111 | 0.9812 | -0.36198 | 2.4553
74 | 0.013412 | 0.0033616 | -0.013411 | -0.0033615 | 2.0493e-07 | 1.1452e-07 | 0.020355 | 0.020355 | 0.020355 | 0.98043 | -0.37709 | 0.98041 | -0.37742 | 5.5921
75 | -0.019066 | -0.0047787 | 0.019068 | 0.00478 | 2.133e-06 | 1.2794e-06 | 0.028937 | 0.028937 | 0.028937 | 0.98043 | -0.37709 | 0.98055 | -0.37475 | 7.9496
76 | 0.0084521 | 0.0021186 | -0.0084504 | -0.0021179 | 1.683e-06 | 7.333e-07 | 0.012828 | 0.012828 | 0.012828 | 0.98041 | -0.37742 | 0.9802 | -0.3816 | 3.5243
77 | -0.022328 | -0.0055971 | 0.02233 | 0.0055983 | 1.9906e-06 | 1.2156e-06 | 0.033884 | 0.033884 | 0.033884 | 0.98055 | -0.37475 | 0.98064 | -0.37288 | 9.3088
78 | -0.025432 | -0.0063756 | 0.025437 | 0.0063791 | 5.747e-06 | 3.5482e-06 | 0.03859 | 0.03859 | 0.03859 | 0.98064 | -0.37288 | 0.98088 | -0.36813 | 10.6017
79 | 0.22386 | 0.056769 | -0.22363 | -0.056621 | 0.00023174 | 0.00014768 | 0.33593 | 0.33593 | 0.33593 | 0.9923 | -0.14682 | 0.99118 | -0.16838 | 30.7624

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47125 | 0.12045

## res_load
| p_mw | q_mvar
0 | 0.0032475 | 0.0008139
1 | 0.0046344 | 0.0011615
2 | 0.019862 | 0.0049779
3 | 0.012461 | 0.0031231
4 | 0.0026333 | 0.00065998
5 | 0.0057818 | 0.0014491
6 | 0.0020313 | 0.00050908
7 | 0.0045022 | 0.0011284
8 | 0.0074933 | 0.001878
9 | 0.0022419 | 0.00056187
10 | 0.0013555 | 0.00033972
11 | 0.002355 | 0.00059021
12 | 0.0038046 | 0.00095353
13 | 0.0035844 | 0.00089833
14 | 0.0027309 | 0.00068442
15 | 0.0060649 | 0.00152
16 | 0.0041255 | 0.0010339
17 | 0.0057558 | 0.0014425
18 | 0.0029449 | 0.00073807
19 | 0.0033294 | 0.00083442
20 | 0.019211 | 0.0048146
21 | 0.0028764 | 0.00072089
22 | 0.003288 | 0.00082405
23 | 0.011254 | 0.0028206
24 | 0.003044 | 0.0007629
25 | 0.011127 | 0.0027886
26 | 0.014658 | 0.0036736
27 | 0.016888 | 0.0042325
28 | 0.0050475 | 0.001265
29 | 0.0059605 | 0.0014938
30 | 0.0065003 | 0.0016291
31 | 0.0025305 | 0.00063419
32 | 0.0031137 | 0.00078036
33 | 0.0056701 | 0.0014211
34 | 0.0030273 | 0.0007587
35 | 0.010287 | 0.0025782
36 | 0.035395 | 0.0088709
37 | 0.010049 | 0.0025186
38 | 0.084131 | 0.021085
39 | 0.02223 | 0.0055714
40 | 0.0035427 | 0.00088789
41 | 0.0036387 | 0.00091195
42 | 0.015126 | 0.0037909
43 | 0.0058933 | 0.001477
44 | 0.0056541 | 0.001417
45 | 0.0049593 | 0.0012429
46 | 0.0032602 | 0.00081709
47 | 0.0084504 | 0.0021179
48 | 0.0031015 | 0.00077731
49 | 0.006421 | 0.0016093
50 | 0.02512 | 0.0062956

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1