## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-24_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2275-24_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2275-24_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_2275-24_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2275-24_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2275-24_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2275-24_0_5_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2275-24_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2275-24_0_5_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2275-24_0_5_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_2275-24_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2275-24_0_5_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2275-24_0_5_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_2275-24_0_5_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2275-24_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2275-24_0_5_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_2275-24_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2275-24_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2275-24_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_2275-24_0_5_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2275-24_0_5_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_2275-24_0_5_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_2275-24_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2275-24_0_5_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_2275-24_0_5_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_2275-24_0_5_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_2275-24_0_5_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_2275-24_0_5_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_2275-24_0_5_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_2275-24_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_2275-24_0_5_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_2275-24_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_2275-24_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2275-24_0_5_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2275-24_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2275-24_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2275-24_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2275-24_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2275-24_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_2275-24_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2275-24_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2275-24_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2275-24_0_5_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2275-24_0_5_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_2275-24_0_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2275-24_0_5_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_2275-24_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2275-24_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2275-24_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2275-24_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_2275-24_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2275-24_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2275-24_0_5_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2275-24_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_2275-24_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_2275-24_0_5_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_2275-24_0_5_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_2275-24_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_2275-24_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2275-24_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_2275-24_0_5_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_2275-24_0_5_node_68 | 0.4 | n |  | TRUE
63 | bus_MV_379_0_node_214 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-24_0_5_load_0 | 0 | 0.066337 | 0.016626 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-24_0_5_load_12 | 6 | 0.0097477 | 0.002443 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-24_0_5_load_15 | 7 | 0.018429 | 0.0046187 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-24_0_5_load_64 | 10 | 0.0072882 | 0.0018266 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-24_0_5_load_24 | 12 | 0.0079098 | 0.0019824 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-24_0_5_load_65 | 13 | 0.0057882 | 0.0014507 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-24_0_5_load_23 | 14 | 0.0073625 | 0.0018452 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-24_0_5_load_61 | 16 | 0.0082175 | 0.0020595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-24_0_5_load_16 | 18 | 0.015853 | 0.0039732 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-24_0_5_load_40 | 19 | 0.00427 | 0.0010702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-24_0_5_load_30 | 21 | 0.0069562 | 0.0017434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-24_0_5_load_31 | 22 | 0.0068275 | 0.0017111 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-24_0_5_load_22 | 23 | 0.0035084 | 0.00087928 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-24_0_5_load_60 | 24 | 0.0044699 | 0.0011203 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-24_0_5_load_47 | 25 | 0.011029 | 0.0027642 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-24_0_5_load_48 | 26 | 0.040984 | 0.010271 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-24_0_5_load_69 | 27 | 0.01252 | 0.0031379 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-24_0_5_load_55 | 28 | 0.014023 | 0.0035145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-24_0_5_load_46 | 29 | 0.013432 | 0.0033663 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-24_0_5_load_33 | 30 | 0.0059786 | 0.0014984 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-24_0_5_load_59 | 32 | 0.0028222 | 0.00070731 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-24_0_5_load_28 | 33 | 0.0030083 | 0.00075395 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-24_0_5_load_32 | 34 | 0.007713 | 0.0019331 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-24_0_5_load_26 | 35 | 0.0065153 | 0.0016329 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-24_0_5_load_27 | 36 | 0.0028204 | 0.00070686 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-24_0_5_load_29 | 37 | 0.0021559 | 0.00054033 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-24_0_5_load_36 | 38 | 0.003147 | 0.0007887 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2275-24_0_5_load_34 | 39 | 0.008923 | 0.0022363 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2275-24_0_5_load_35 | 40 | 0.0090647 | 0.0022718 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2275-24_0_5_load_37 | 41 | 0.0031452 | 0.00078827 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2275-24_0_5_load_43 | 44 | 0.017181 | 0.004306 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2275-24_0_5_load_41 | 45 | 0.01318 | 0.0033031 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2275-24_0_5_load_63 | 46 | 0.010828 | 0.0027137 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2275-24_0_5_load_42 | 47 | 0.016385 | 0.0041064 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2275-24_0_5_load_44 | 48 | 0.023794 | 0.0059634 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2275-24_0_5_load_45 | 49 | 0.024489 | 0.0061376 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2275-24_0_5_load_51 | 50 | 0.044815 | 0.011232 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2275-24_0_5_load_50 | 51 | 0.025139 | 0.0063004 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2275-24_0_5_load_49 | 52 | 0.019812 | 0.0049654 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2275-24_0_5_load_52 | 53 | 0.0041309 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2275-24_0_5_load_66 | 56 | 0.0043519 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2275-24_0_5_load_67 | 57 | 0.0039724 | 0.00099557 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2275-24_0_5_load_56 | 58 | 0.0033307 | 0.00083475 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2275-24_0_5_load_57 | 59 | 0.0058768 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2275-24_0_5_load_58 | 60 | 0.002948 | 0.00073883 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2275-24_0_5_load_70 | 61 | 0.010753 | 0.002695 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2275-24_0_5_load_68 | 62 | 0.0048861 | 0.0012246 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-24_0_5_line_0 |  | 0 | 1 | 0.03859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-24_0_5_line_1 |  | 1 | 2 | 0.006193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-24_0_5_line_2 |  | 1 | 3 | 0.0395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-24_0_5_line_3 |  | 2 | 7 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-24_0_5_line_4 |  | 3 | 13 | 0.026075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-24_0_5_line_5 |  | 3 | 11 | 0.07468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-24_0_5_line_6 |  | 4 | 5 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-24_0_5_line_7 |  | 4 | 6 | 0.0086695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-24_0_5_line_8 |  | 5 | 14 | 0.033099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-24_0_5_line_9 |  | 6 | 15 | 0.014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-24_0_5_line_10 |  | 7 | 15 | 0.024894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-24_0_5_line_11 |  | 8 | 9 | 0.004337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-24_0_5_line_12 |  | 8 | 10 | 0.0064858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-24_0_5_line_13 |  | 9 | 16 | 0.0068753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2275-24_0_5_line_14 |  | 9 | 17 | 0.008116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-24_0_5_line_15 |  | 11 | 12 | 0.011462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-24_0_5_line_16 |  | 13 | 19 | 0.0002061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-24_0_5_line_17 |  | 16 | 31 | 0.0083016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-24_0_5_line_18 |  | 17 | 23 | 0.013594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-24_0_5_line_19 |  | 17 | 18 | 0.017673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-24_0_5_line_20 |  | 19 | 42 | 0.007578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-24_0_5_line_21 |  | 20 | 21 | 0.0065773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-24_0_5_line_22 |  | 20 | 22 | 0.0076774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-24_0_5_line_23 |  | 21 | 33 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-24_0_5_line_24 |  | 22 | 34 | 0.023652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-24_0_5_line_25 |  | 23 | 24 | 0.0086212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-24_0_5_line_26 |  | 24 | 32 | 0.007857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2275-24_0_5_line_27 |  | 25 | 26 | 0.0007487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-24_0_5_line_28 |  | 26 | 52 | 0.0038144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-24_0_5_line_29 |  | 27 | 28 | 0.018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-24_0_5_line_30 |  | 28 | 54 | 0.016279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2275-24_0_5_line_31 |  | 29 | 30 | 0.0060404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-24_0_5_line_32 |  | 30 | 34 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2275-24_0_5_line_33 |  | 31 | 46 | 0.0087881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-24_0_5_line_34 |  | 31 | 43 | 0.004861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2275-24_0_5_line_35 |  | 32 | 60 | 0.0059666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-24_0_5_line_36 |  | 33 | 35 | 0.0019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-24_0_5_line_37 |  | 35 | 36 | 0.0052772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2275-24_0_5_line_38 |  | 36 | 37 | 0.0076457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2275-24_0_5_line_39 |  | 37 | 38 | 0.00068543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2275-24_0_5_line_40 |  | 38 | 39 | 0.010011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-24_0_5_line_41 |  | 39 | 40 | 0.0033761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2275-24_0_5_line_42 |  | 40 | 41 | 0.0014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-24_0_5_line_43 |  | 41 | 42 | 0.0023593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2275-24_0_5_line_44 |  | 42 | 43 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2275-24_0_5_line_45 |  | 43 | 44 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2275-24_0_5_line_46 |  | 44 | 45 | 0.0012757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2275-24_0_5_line_47 |  | 45 | 47 | 0.0060622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2275-24_0_5_line_48 |  | 46 | 61 | 0.0048401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2275-24_0_5_line_49 |  | 47 | 48 | 0.0013979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2275-24_0_5_line_50 |  | 48 | 49 | 0.0051555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2275-24_0_5_line_51 |  | 49 | 50 | 0.0049553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2275-24_0_5_line_52 |  | 50 | 51 | 0.0016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2275-24_0_5_line_53 |  | 51 | 52 | 0.0065457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2275-24_0_5_line_54 |  | 53 | 54 | 0.029089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2275-24_0_5_line_55 |  | 54 | 55 | 0.006762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2275-24_0_5_line_56 |  | 55 | 56 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2275-24_0_5_line_57 |  | 56 | 57 | 0.0095802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2275-24_0_5_line_58 |  | 57 | 62 | 0.0072508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2275-24_0_5_line_59 |  | 58 | 59 | 0.0094606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2275-24_0_5_line_60 |  | 59 | 60 | 0.009314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2275-24_0_5_line_61 |  | 61 | 62 | 0.0083594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-24_0_5_trafo_38 | 0.63 MVA 20/0.4 kV | 63 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2575677.2664 | 1197623.3862 | 2575686.9566 | 1197642.746 | 2575698.8938 | 1197652.9027 | 2575699.9 | 1197653.6724
1 | 2575683.2378 | 1197621.6831 | 2575677.2664 | 1197623.3862
2 | 2575642.929 | 1197608.9854 | 2575657.342 | 1197617.3976 | 2575674.7568 | 1197618.6605 | 2575677.2664 | 1197623.3862
3 | 2575683.2378 | 1197621.6831 | 2575693.2481 | 1197620.5972 | 2575703.8561 | 1197619.9769
4 | 2575642.929 | 1197608.9854 | 2575625.9686 | 1197595.9588 | 2575622.4682 | 1197592.839
5 | 2575691.9995 | 1197562.8599 | 2575686.2059 | 1197557.7697 | 2575684.1892 | 1197560.0125 | 2575660.1485 | 1197588.5483 | 2575642.929 | 1197608.9854
6 | 2575745.1737 | 1197615.3049 | 2575746.6467 | 1197617.9448 | 2575747.1843 | 1197620.9331 | 2575746.7167 | 1197623.9255 | 2575745.2959 | 1197626.6105
7 | 2575745.2959 | 1197626.6105 | 2575743.2097 | 1197628.5978 | 2575740.6026 | 1197629.8536 | 2575737.733 | 1197630.2321
8 | 2575745.1737 | 1197615.3049 | 2575751.6519 | 1197610.8872 | 2575769.5888 | 1197593.1044
9 | 2575728.7231 | 1197620.786 | 2575729.1003 | 1197623.6415 | 2575730.3447 | 1197626.249 | 2575732.3409 | 1197628.342 | 2575734.8826 | 1197629.7101 | 2575737.733 | 1197630.2321
10 | 2575728.7231 | 1197620.786 | 2575717.6926 | 1197620.0639 | 2575705.103 | 1197619.904 | 2575703.8561 | 1197619.9769
11 | 2575615.6013 | 1197610.2756 | 2575614.5096 | 1197611.4919 | 2575612.7053 | 1197613.5115
12 | 2575615.6013 | 1197610.2756 | 2575614.6153 | 1197609.4125 | 2575610.872 | 1197605.8386
13 | 2575612.7053 | 1197613.5115 | 2575610.9628 | 1197612.0178 | 2575607.522 | 1197608.9946
14 | 2575614.7578 | 1197620.0288 | 2575615.9081 | 1197616.3888 | 2575612.7053 | 1197613.5115
15 | 2575691.9995 | 1197562.8599 | 2575698.3964 | 1197553.3496
16 | 2575622.3144 | 1197592.7019 | 2575622.4682 | 1197592.839
17 | 2575601.3015 | 1197603.4972 | 2575604.0991 | 1197605.9871 | 2575607.522 | 1197608.9946
18 | 2575614.7578 | 1197620.0288 | 2575605.6164 | 1197621.2891 | 2575602.6941 | 1197624.5334
19 | 2575614.7578 | 1197620.0288 | 2575605.3791 | 1197635.0079
20 | 2575616.742 | 1197587.5698 | 2575618.3326 | 1197589.153 | 2575622.3144 | 1197592.7019
21 | 2575643.587 | 1197548.3054 | 2575643.7732 | 1197554.8801
22 | 2575643.587 | 1197548.3054 | 2575638.7362 | 1197542.3546
23 | 2575643.7732 | 1197554.8801 | 2575643.8096 | 1197556.1643 | 2575643.6938 | 1197559.5221 | 2575639.4344 | 1197563.9547
24 | 2575622.8719 | 1197524.8607 | 2575630.9421 | 1197532.7932 | 2575638.7362 | 1197542.3546
25 | 2575602.6941 | 1197624.5334 | 2575596.9241 | 1197630.939
26 | 2575591.6656 | 1197636.7768 | 2575596.9241 | 1197630.939
27 | 2575563.6243 | 1197562.8781 | 2575563.0689 | 1197562.376
28 | 2575566.4536 | 1197565.4363 | 2575563.6243 | 1197562.8781
29 | 2575546.7684 | 1197625.8242 | 2575532.9489 | 1197613.5533
30 | 2575558.9415 | 1197636.6332 | 2575546.7684 | 1197625.8242
31 | 2575613.6451 | 1197516.82 | 2575608.8766 | 1197513.1122
32 | 2575613.6451 | 1197516.82 | 2575618.654 | 1197520.7147 | 2575622.8719 | 1197524.8607
33 | 2575601.3015 | 1197603.4972 | 2575595.4325 | 1197610.0383
34 | 2575604.4316 | 1197599.7712 | 2575601.3015 | 1197603.4972
35 | 2575587.6723 | 1197641.2101 | 2575591.6656 | 1197636.7768
36 | 2575639.4344 | 1197563.9547 | 2575638.0924 | 1197565.3513
37 | 2575634.4359 | 1197569.1564 | 2575638.0924 | 1197565.3513
38 | 2575634.4359 | 1197569.1564 | 2575629.1384 | 1197574.6694
39 | 2575628.6635 | 1197575.1636 | 2575629.1384 | 1197574.6694
40 | 2575628.6635 | 1197575.1636 | 2575621.7271 | 1197582.3821
41 | 2575619.3878 | 1197584.8164 | 2575621.7271 | 1197582.3821
42 | 2575619.3878 | 1197584.8164 | 2575618.3767 | 1197585.8686
43 | 2575616.742 | 1197587.5698 | 2575618.3767 | 1197585.8686
44 | 2575604.4316 | 1197599.7712 | 2575616.742 | 1197587.5698
45 | 2575604.4316 | 1197599.7712 | 2575593.4852 | 1197589.8774 | 2575586.5321 | 1197583.5906
46 | 2575585.5858 | 1197582.735 | 2575586.5321 | 1197583.5906
47 | 2575585.5858 | 1197582.735 | 2575581.0892 | 1197578.6693
48 | 2575595.4325 | 1197610.0383 | 2575592.2001 | 1197613.6408
49 | 2575581.0892 | 1197578.6693 | 2575580.0523 | 1197577.7318
50 | 2575576.2282 | 1197574.2741 | 2575580.0523 | 1197577.7318
51 | 2575576.2282 | 1197574.2741 | 2575572.5525 | 1197570.9507
52 | 2575571.3089 | 1197569.8263 | 2575572.5525 | 1197570.9507
53 | 2575566.4536 | 1197565.4363 | 2575571.3089 | 1197569.8263
54 | 2575558.9415 | 1197636.6332 | 2575557.2142 | 1197640.6981 | 2575549.8251 | 1197647.6655 | 2575559.1553 | 1197658.7863
55 | 2575558.9415 | 1197636.6332 | 2575565.5655 | 1197638.0846
56 | 2575565.5655 | 1197638.0846 | 2575571.3865 | 1197636.8379 | 2575575.3771 | 1197632.3903
57 | 2575575.3771 | 1197632.3903 | 2575581.7751 | 1197625.2596
58 | 2575586.6174 | 1197619.8628 | 2575581.7751 | 1197625.2596
59 | 2575575.0579 | 1197655.114 | 2575576.3377 | 1197653.7934 | 2575581.4387 | 1197648.1305
60 | 2575581.4387 | 1197648.1305 | 2575587.6723 | 1197641.2101
61 | 2575586.6174 | 1197619.8628 | 2575592.2001 | 1197613.6408

## bus_geodata
| x | y | coords
0 | 2575699.9 | 1197653.6724
1 | 2575677.2664 | 1197623.3862
2 | 2575683.2378 | 1197621.6831
3 | 2575642.929 | 1197608.9854
4 | 2575745.2959 | 1197626.6105
5 | 2575745.1737 | 1197615.3049
6 | 2575737.733 | 1197630.2321
7 | 2575703.8561 | 1197619.9769
8 | 2575615.6013 | 1197610.2756
9 | 2575612.7053 | 1197613.5115
10 | 2575610.872 | 1197605.8386
11 | 2575691.9995 | 1197562.8599
12 | 2575698.3964 | 1197553.3496
13 | 2575622.4682 | 1197592.839
14 | 2575769.5888 | 1197593.1044
15 | 2575728.7231 | 1197620.786
16 | 2575607.522 | 1197608.9946
17 | 2575614.7578 | 1197620.0288
18 | 2575605.3791 | 1197635.0079
19 | 2575622.3144 | 1197592.7019
20 | 2575643.587 | 1197548.3054
21 | 2575643.7732 | 1197554.8801
22 | 2575638.7362 | 1197542.3546
23 | 2575602.6941 | 1197624.5334
24 | 2575596.9241 | 1197630.939
25 | 2575563.0689 | 1197562.376
26 | 2575563.6243 | 1197562.8781
27 | 2575532.9489 | 1197613.5533
28 | 2575546.7684 | 1197625.8242
29 | 2575608.8766 | 1197513.1122
30 | 2575613.6451 | 1197516.82
31 | 2575601.3015 | 1197603.4972
32 | 2575591.6656 | 1197636.7768
33 | 2575639.4344 | 1197563.9547
34 | 2575622.8719 | 1197524.8607
35 | 2575638.0924 | 1197565.3513
36 | 2575634.4359 | 1197569.1564
37 | 2575629.1384 | 1197574.6694
38 | 2575628.6635 | 1197575.1636
39 | 2575621.7271 | 1197582.3821
40 | 2575619.3878 | 1197584.8164
41 | 2575618.3767 | 1197585.8686
42 | 2575616.742 | 1197587.5698
43 | 2575604.4316 | 1197599.7712
44 | 2575586.5321 | 1197583.5906
45 | 2575585.5858 | 1197582.735
46 | 2575595.4325 | 1197610.0383
47 | 2575581.0892 | 1197578.6693
48 | 2575580.0523 | 1197577.7318
49 | 2575576.2282 | 1197574.2741
50 | 2575572.5525 | 1197570.9507
51 | 2575571.3089 | 1197569.8263
52 | 2575566.4536 | 1197565.4363
53 | 2575559.1553 | 1197658.7863
54 | 2575558.9415 | 1197636.6332
55 | 2575565.5655 | 1197638.0846
56 | 2575575.3771 | 1197632.3903
57 | 2575581.7751 | 1197625.2596
58 | 2575575.0579 | 1197655.114
59 | 2575581.4387 | 1197648.1305
60 | 2575587.6723 | 1197641.2101
61 | 2575592.2001 | 1197613.6408
62 | 2575586.6174 | 1197619.8628
63 | 2575604.4316 | 1197599.7712

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9905 | -0.18264 | 0.066337 | 0.016626
1 | 0.99284 | -0.13727 | 0 | 0
2 | 0.99264 | -0.14116 | 0 | 0
3 | 0.99653 | -0.066374 | 0 | 0
4 | 0.9913 | -0.16724 | 0 | 0
5 | 0.99121 | -0.16883 | 0 | 0
6 | 0.99136 | -0.16611 | 0.0097477 | 0.002443
7 | 0.99197 | -0.15418 | 0.018429 | 0.0046187
8 | 0.99687 | -0.060133 | 0 | 0
9 | 0.9969 | -0.059578 | 0 | 0
10 | 0.99683 | -0.060962 | 0.0072882 | 0.0018266
11 | 0.99599 | -0.076749 | 0 | 0
12 | 0.99591 | -0.078342 | 0.0079098 | 0.0019824
13 | 0.99915 | -0.016259 | 0.0057882 | 0.0014507
14 | 0.99099 | -0.17315 | 0.0073625 | 0.0018452
15 | 0.99158 | -0.16173 | 0 | 0
16 | 0.99719 | -0.054021 | 0.0082175 | 0.0020595
17 | 0.99661 | -0.065104 | 0 | 0
18 | 0.99636 | -0.070022 | 0.015853 | 0.0039732
19 | 0.99917 | -0.015844 | 0.00427 | 0.0010702
20 | 0.99766 | -0.044984 | 0 | 0
21 | 0.99786 | -0.041074 | 0.0069562 | 0.0017434
22 | 0.99742 | -0.04955 | 0.0068275 | 0.0017111
23 | 0.99633 | -0.070582 | 0.0035084 | 0.00087928
24 | 0.99617 | -0.073527 | 0.0044699 | 0.0011203
25 | 0.9945 | -0.10581 | 0.011029 | 0.0027642
26 | 0.99451 | -0.10567 | 0.040984 | 0.010271
27 | 0.99481 | -0.099896 | 0.01252 | 0.0031379
28 | 0.99502 | -0.095822 | 0.014023 | 0.0035145
29 | 0.99655 | -0.066394 | 0.013432 | 0.0033663
30 | 0.99662 | -0.064971 | 0.0059786 | 0.0014984
31 | 0.9976 | -0.04612 | 0 | 0
32 | 0.99607 | -0.075594 | 0.0028222 | 0.00070731
33 | 0.99826 | -0.03335 | 0.0030083 | 0.00075395
34 | 0.99684 | -0.060796 | 0.007713 | 0.0019331
35 | 0.99834 | -0.031862 | 0.0065153 | 0.0016329
36 | 0.99858 | -0.027209 | 0.0028204 | 0.00070686
37 | 0.99895 | -0.020095 | 0.0021559 | 0.00054033
38 | 0.99899 | -0.019432 | 0.003147 | 0.0007887
39 | 0.99952 | -0.009199 | 0.008923 | 0.0022363
40 | 0.99973 | -0.0052252 | 0.0090647 | 0.0022718
41 | 0.99983 | -0.0032775 | 0.0031452 | 0.00078827
42 | 1 | 0 | -0.56026 | -0.14096
43 | 0.99813 | -0.035928 | 0 | 0
44 | 0.99639 | -0.069308 | 0.017181 | 0.004306
45 | 0.99631 | -0.070948 | 0.01318 | 0.0033031
46 | 0.99707 | -0.056202 | 0.010828 | 0.0027137
47 | 0.99593 | -0.078276 | 0.016385 | 0.0041064
48 | 0.99584 | -0.079832 | 0.023794 | 0.0059634
49 | 0.99558 | -0.084855 | 0.024489 | 0.0061376
50 | 0.99526 | -0.091034 | 0.044815 | 0.011232
51 | 0.99512 | -0.093895 | 0.025139 | 0.0063004
52 | 0.99469 | -0.10217 | 0.019812 | 0.0049654
53 | 0.9953 | -0.090332 | 0.0041309 | 0.0010353
54 | 0.99541 | -0.088218 | 0 | 0
55 | 0.9956 | -0.084569 | 0 | 0
56 | 0.99593 | -0.078137 | 0.0043519 | 0.0010907
57 | 0.99624 | -0.072242 | 0.0039724 | 0.00099557
58 | 0.99589 | -0.078929 | 0.0033307 | 0.00083475
59 | 0.99592 | -0.078375 | 0.0058768 | 0.0014729
60 | 0.996 | -0.076868 | 0.002948 | 0.00073883
61 | 0.99683 | -0.06084 | 0.010753 | 0.002695
62 | 0.9965 | -0.067277 | 0.0048861 | 0.0012246
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.066337 | -0.016626 | 0.066481 | 0.016717 | 0.00014372 | 9.1483e-05 | 0.099657 | 0.099657 | 0.099657 | 0.9905 | -0.18264 | 0.99284 | -0.13727 | 27.3783
1 | 0.03558 | 0.0089316 | -0.035573 | -0.0089274 | 6.6051e-06 | 4.1472e-06 | 0.05333 | 0.05333 | 0.05333 | 0.99284 | -0.13727 | 0.99264 | -0.14116 | 14.6512
2 | -0.10206 | -0.025649 | 0.10241 | 0.02587 | 0.00034668 | 0.00022136 | 0.15299 | 0.15299 | 0.15299 | 0.99284 | -0.13727 | 0.99653 | -0.066374 | 42.0294
3 | 0.035573 | 0.0089274 | -0.035551 | -0.0089136 | 2.2072e-05 | 1.3859e-05 | 0.05333 | 0.05333 | 0.05333 | 0.99264 | -0.14116 | 0.99197 | -0.15418 | 14.6512
4 | -0.11032 | -0.027854 | 0.11059 | 0.028024 | 0.00026558 | 0.00016963 | 0.1648 | 0.1648 | 0.1648 | 0.99653 | -0.066374 | 0.99915 | -0.016259 | 45.2761
5 | 0.0079143 | 0.0019842 | -0.0079104 | -0.0019826 | 3.9114e-06 | 1.5309e-06 | 0.011818 | 0.011818 | 0.011818 | 0.99653 | -0.066374 | 0.99599 | -0.076749 | 3.2468
6 | 0.0073646 | 0.001846 | -0.007364 | -0.0018458 | 5.5559e-07 | 1.993e-07 | 0.011055 | 0.011055 | 0.011055 | 0.9913 | -0.16724 | 0.99121 | -0.16883 | 3.0371
7 | -0.0073646 | -0.001846 | 0.007365 | 0.0018461 | 3.9731e-07 | 1.4251e-07 | 0.011055 | 0.011055 | 0.011055 | 0.9913 | -0.16724 | 0.99136 | -0.16611 | 3.0371
8 | 0.007364 | 0.0018458 | -0.0073625 | -0.0018452 | 1.5169e-06 | 5.4429e-07 | 0.011055 | 0.011055 | 0.011055 | 0.99121 | -0.16883 | 0.99099 | -0.17315 | 3.0371
9 | -0.017113 | -0.0042891 | 0.017116 | 0.0042912 | 3.5742e-06 | 2.1012e-06 | 0.025686 | 0.025686 | 0.025686 | 0.99136 | -0.16611 | 0.99158 | -0.16173 | 7.0566
10 | 0.017122 | 0.0042948 | -0.017116 | -0.0042912 | 6.1591e-06 | 3.6206e-06 | 0.025686 | 0.025686 | 0.025686 | 0.99197 | -0.15418 | 0.99158 | -0.16173 | 7.0566
11 | -0.0072885 | -0.0018267 | 0.0072887 | 0.0018268 | 1.925e-07 | 6.6657e-08 | 0.010879 | 0.010879 | 0.010879 | 0.99687 | -0.060133 | 0.9969 | -0.059578 | 2.9889
12 | 0.0072885 | 0.0018267 | -0.0072882 | -0.0018266 | 2.8788e-07 | 9.9689e-08 | 0.010879 | 0.010879 | 0.010879 | 0.99687 | -0.060133 | 0.99683 | -0.060962 | 2.9889
13 | -0.046124 | -0.011569 | 0.046136 | 0.011576 | 1.2221e-05 | 7.7321e-06 | 0.068849 | 0.068849 | 0.068849 | 0.9969 | -0.059578 | 0.99719 | -0.054021 | 18.9147
14 | 0.038835 | 0.0097419 | -0.038825 | -0.0097354 | 1.0228e-05 | 6.44e-06 | 0.05797 | 0.05797 | 0.05797 | 0.9969 | -0.059578 | 0.99661 | -0.065104 | 15.9258
15 | 0.0079104 | 0.0019826 | -0.0079098 | -0.0019824 | 6.0032e-07 | 2.3505e-07 | 0.011818 | 0.011818 | 0.011818 | 0.99599 | -0.076749 | 0.99591 | -0.078342 | 3.2468
16 | -0.11638 | -0.029474 | 0.11638 | 0.029476 | 2.3245e-06 | 1.485e-06 | 0.17342 | 0.17342 | 0.17342 | 0.99915 | -0.016259 | 0.99917 | -0.015844 | 47.6442
17 | -0.054353 | -0.013636 | 0.054374 | 0.013649 | 2.0481e-05 | 1.3e-05 | 0.081112 | 0.081112 | 0.081112 | 0.99719 | -0.054021 | 0.9976 | -0.04612 | 22.2834
18 | 0.022968 | 0.0057601 | -0.022962 | -0.0057564 | 5.9953e-06 | 3.6599e-06 | 0.034294 | 0.034294 | 0.034294 | 0.99661 | -0.065104 | 0.99633 | -0.070582 | 9.4214
19 | 0.015857 | 0.0039754 | -0.015853 | -0.0039732 | 3.7151e-06 | 2.1474e-06 | 0.023676 | 0.023676 | 0.023676 | 0.99661 | -0.065104 | 0.99636 | -0.070022 | 6.5045
20 | -0.12065 | -0.030546 | 0.12074 | 0.030605 | 9.1852e-05 | 5.8686e-05 | 0.17978 | 0.17978 | 0.17978 | 0.99917 | -0.015844 | 1 | 0 | 49.3912
21 | -0.033977 | -0.0085253 | 0.033984 | 0.0085293 | 6.3354e-06 | 3.9687e-06 | 0.050681 | 0.050681 | 0.050681 | 0.99766 | -0.044984 | 0.99786 | -0.041074 | 13.9234
22 | 0.033977 | 0.0085253 | -0.03397 | -0.0085207 | 7.395e-06 | 4.6326e-06 | 0.050681 | 0.050681 | 0.050681 | 0.99766 | -0.044984 | 0.99742 | -0.04955 | 13.9234
23 | -0.04094 | -0.010273 | 0.040955 | 0.010282 | 1.5086e-05 | 9.5137e-06 | 0.061054 | 0.061054 | 0.061054 | 0.99786 | -0.041074 | 0.99826 | -0.03335 | 16.7731
24 | 0.027143 | 0.0068095 | -0.027128 | -0.0068005 | 1.4545e-05 | 9.0002e-06 | 0.040495 | 0.040496 | 0.040496 | 0.99742 | -0.04955 | 0.99684 | -0.060796 | 11.1252
25 | 0.019453 | 0.0048771 | -0.01945 | -0.0048755 | 2.729e-06 | 1.6343e-06 | 0.029054 | 0.029054 | 0.029054 | 0.99633 | -0.070582 | 0.99617 | -0.073527 | 7.9819
26 | 0.014981 | 0.0037552 | -0.014979 | -0.0037544 | 1.4754e-06 | 8.4196e-07 | 0.022377 | 0.022377 | 0.022377 | 0.99617 | -0.073527 | 0.99607 | -0.075594 | 6.1476
27 | -0.011029 | -0.0027642 | 0.01103 | 0.0027643 | 7.6463e-08 | 3.9222e-08 | 0.016503 | 0.016503 | 0.016503 | 0.9945 | -0.10581 | 0.99451 | -0.10567 | 4.5337
28 | -0.052013 | -0.013036 | 0.052022 | 0.013041 | 8.6633e-06 | 5.495e-06 | 0.077824 | 0.077824 | 0.077824 | 0.99451 | -0.10567 | 0.99469 | -0.10217 | 21.3802
29 | -0.01252 | -0.0031379 | 0.012523 | 0.0031392 | 2.4307e-06 | 1.3156e-06 | 0.018728 | 0.018728 | 0.018728 | 0.99481 | -0.099896 | 0.99502 | -0.095822 | 5.145
30 | -0.026546 | -0.0066537 | 0.026555 | 0.0066596 | 9.621e-06 | 5.9459e-06 | 0.039699 | 0.039698 | 0.039699 | 0.99502 | -0.095822 | 0.99541 | -0.088218 | 10.9062
31 | -0.013432 | -0.0033663 | 0.013433 | 0.0033668 | 9.1112e-07 | 5.0441e-07 | 0.020056 | 0.020056 | 0.020056 | 0.99655 | -0.066394 | 0.99662 | -0.064971 | 5.5098
32 | -0.019411 | -0.0048652 | 0.019415 | 0.0048675 | 3.8615e-06 | 2.3116e-06 | 0.028982 | 0.028982 | 0.028982 | 0.99662 | -0.064971 | 0.99684 | -0.060796 | 7.9621
33 | 0.065569 | 0.016472 | -0.065538 | -0.016452 | 3.1532e-05 | 2.0066e-05 | 0.097817 | 0.097817 | 0.097817 | 0.9976 | -0.04612 | 0.99707 | -0.056202 | 26.8727
34 | -0.11994 | -0.030121 | 0.12 | 0.030158 | 5.836e-05 | 3.7287e-05 | 0.17893 | 0.17893 | 0.17893 | 0.9976 | -0.04612 | 0.99813 | -0.035928 | 49.1561
35 | 0.012157 | 0.0030471 | -0.012156 | -0.0030467 | 7.3798e-07 | 3.9465e-07 | 0.018161 | 0.018161 | 0.018161 | 0.99607 | -0.075594 | 0.996 | -0.076868 | 4.9894
36 | -0.043963 | -0.011036 | 0.043967 | 0.011038 | 3.1198e-06 | 1.9714e-06 | 0.065538 | 0.065538 | 0.065538 | 0.99826 | -0.03335 | 0.99834 | -0.031862 | 18.005
37 | -0.050482 | -0.012671 | 0.050493 | 0.012678 | 1.1206e-05 | 7.1026e-06 | 0.075249 | 0.075249 | 0.075249 | 0.99834 | -0.031862 | 0.99858 | -0.027209 | 20.6729
38 | -0.053313 | -0.013385 | 0.053332 | 0.013396 | 1.8099e-05 | 1.1483e-05 | 0.079452 | 0.079452 | 0.079452 | 0.99858 | -0.027209 | 0.99895 | -0.020095 | 21.8275
39 | -0.055487 | -0.013937 | 0.055489 | 0.013938 | 1.7564e-06 | 1.1151e-06 | 0.082663 | 0.082663 | 0.082663 | 0.99895 | -0.020095 | 0.99899 | -0.019432 | 22.7097
40 | -0.058636 | -0.014727 | 0.058665 | 0.014745 | 2.8645e-05 | 1.8201e-05 | 0.087351 | 0.087351 | 0.087351 | 0.99899 | -0.019432 | 0.99952 | -0.009199 | 23.9975
41 | -0.067588 | -0.016981 | 0.067601 | 0.016989 | 1.2822e-05 | 8.1617e-06 | 0.10063 | 0.10063 | 0.10063 | 0.99952 | -0.009199 | 0.99973 | -0.0052252 | 27.6469
42 | -0.076665 | -0.019261 | 0.076673 | 0.019266 | 7.1276e-06 | 4.5425e-06 | 0.11413 | 0.11413 | 0.11413 | 0.99973 | -0.0052252 | 0.99983 | -0.0032775 | 31.3536
43 | -0.079818 | -0.020054 | 0.07983 | 0.020062 | 1.2488e-05 | 7.9615e-06 | 0.11881 | 0.11881 | 0.11881 | 0.99983 | -0.0032775 | 1 | 0 | 32.6395
44 | 0.35804 | 0.090291 | -0.35742 | -0.089899 | 0.00061457 | 0.00039265 | 0.53296 | 0.53296 | 0.53296 | 1 | 0 | 0.99813 | -0.035928 | 48.806
45 | 0.23742 | 0.05974 | -0.23704 | -0.059499 | 0.00037804 | 0.000241 | 0.35403 | 0.35403 | 0.35403 | 0.99813 | -0.035928 | 0.99639 | -0.069308 | 32.4207
46 | 0.21986 | 0.055194 | -0.21984 | -0.055183 | 1.7195e-05 | 1.0955e-05 | 0.32838 | 0.32838 | 0.32838 | 0.99639 | -0.069308 | 0.99631 | -0.070948 | 30.071
47 | 0.20667 | 0.051879 | -0.20659 | -0.051833 | 7.2208e-05 | 4.5977e-05 | 0.30869 | 0.30869 | 0.30869 | 0.99631 | -0.070948 | 0.99593 | -0.078276 | 28.2685
48 | 0.05471 | 0.013738 | -0.054698 | -0.01373 | 1.2103e-05 | 7.6826e-06 | 0.081658 | 0.081658 | 0.081658 | 0.99707 | -0.056202 | 0.99683 | -0.06084 | 22.4334
49 | 0.19021 | 0.047727 | -0.19019 | -0.047718 | 1.4115e-05 | 8.9788e-06 | 0.28421 | 0.28421 | 0.28421 | 0.99593 | -0.078276 | 0.99584 | -0.079832 | 26.0267
50 | 0.1664 | 0.041755 | -0.16636 | -0.041729 | 3.9846e-05 | 2.53e-05 | 0.24866 | 0.24866 | 0.24866 | 0.99584 | -0.079832 | 0.99558 | -0.084855 | 22.7708
51 | 0.14187 | 0.035592 | -0.14183 | -0.035565 | 4.178e-05 | 2.6611e-05 | 0.21206 | 0.21206 | 0.21206 | 0.99558 | -0.084855 | 0.99526 | -0.091034 | 29.1285
52 | 0.097014 | 0.024334 | -0.097001 | -0.024325 | 1.3228e-05 | 8.4443e-06 | 0.14505 | 0.14505 | 0.14505 | 0.99526 | -0.091034 | 0.99512 | -0.093895 | 39.8497
53 | 0.071862 | 0.018025 | -0.071834 | -0.018007 | 2.8346e-05 | 1.8057e-05 | 0.10746 | 0.10746 | 0.10746 | 0.99512 | -0.093895 | 0.99469 | -0.10217 | 29.5226
54 | -0.0041309 | -0.0010353 | 0.0041313 | 0.0010352 | 4.1606e-07 | -1.1182e-07 | 0.0061759 | 0.0061758 | 0.0061759 | 0.9953 | -0.090332 | 0.99541 | -0.088218 | 1.6967
55 | -0.030687 | -0.0076948 | 0.030692 | 0.0076982 | 5.3363e-06 | 3.3273e-06 | 0.045874 | 0.045874 | 0.045874 | 0.99541 | -0.088218 | 0.9956 | -0.084569 | 12.6028
56 | -0.030692 | -0.0076982 | 0.030701 | 0.007704 | 9.4135e-06 | 5.8695e-06 | 0.045874 | 0.045874 | 0.045874 | 0.9956 | -0.084569 | 0.99593 | -0.078137 | 12.6028
57 | -0.035053 | -0.0087947 | 0.035063 | 0.0088009 | 9.8554e-06 | 6.1828e-06 | 0.052376 | 0.052376 | 0.052376 | 0.99593 | -0.078137 | 0.99624 | -0.072242 | 14.3891
58 | -0.039036 | -0.0097965 | 0.039045 | 0.0098023 | 9.2448e-06 | 5.8222e-06 | 0.058309 | 0.058309 | 0.058309 | 0.99624 | -0.072242 | 0.9965 | -0.067277 | 16.0191
59 | -0.0033307 | -0.00083475 | 0.0033308 | 0.00083468 | 8.7862e-08 | -6.6871e-08 | 0.0049765 | 0.0049765 | 0.0049765 | 0.99589 | -0.078929 | 0.99592 | -0.078375 | 1.3672
60 | -0.0092075 | -0.0023075 | 0.0092082 | 0.0023078 | 6.6102e-07 | 3.0185e-07 | 0.013757 | 0.013757 | 0.013757 | 0.99592 | -0.078375 | 0.996 | -0.076868 | 3.7794
61 | 0.043944 | 0.011035 | -0.043931 | -0.011027 | 1.3492e-05 | 8.5262e-06 | 0.065606 | 0.065606 | 0.065606 | 0.99683 | -0.06084 | 0.9965 | -0.067277 | 18.0235

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56026 | 0.14096

## res_load
| p_mw | q_mvar
0 | 0.066337 | 0.016626
1 | 0.0097477 | 0.002443
2 | 0.018429 | 0.0046187
3 | 0.0072882 | 0.0018266
4 | 0.0079098 | 0.0019824
5 | 0.0057882 | 0.0014507
6 | 0.0073625 | 0.0018452
7 | 0.0082175 | 0.0020595
8 | 0.015853 | 0.0039732
9 | 0.00427 | 0.0010702
10 | 0.0069562 | 0.0017434
11 | 0.0068275 | 0.0017111
12 | 0.0035084 | 0.00087928
13 | 0.0044699 | 0.0011203
14 | 0.011029 | 0.0027642
15 | 0.040984 | 0.010271
16 | 0.01252 | 0.0031379
17 | 0.014023 | 0.0035145
18 | 0.013432 | 0.0033663
19 | 0.0059786 | 0.0014984
20 | 0.0028222 | 0.00070731
21 | 0.0030083 | 0.00075395
22 | 0.007713 | 0.0019331
23 | 0.0065153 | 0.0016329
24 | 0.0028204 | 0.00070686
25 | 0.0021559 | 0.00054033
26 | 0.003147 | 0.0007887
27 | 0.008923 | 0.0022363
28 | 0.0090647 | 0.0022718
29 | 0.0031452 | 0.00078827
30 | 0.017181 | 0.004306
31 | 0.01318 | 0.0033031
32 | 0.010828 | 0.0027137
33 | 0.016385 | 0.0041064
34 | 0.023794 | 0.0059634
35 | 0.024489 | 0.0061376
36 | 0.044815 | 0.011232
37 | 0.025139 | 0.0063004
38 | 0.019812 | 0.0049654
39 | 0.0041309 | 0.0010353
40 | 0.0043519 | 0.0010907
41 | 0.0039724 | 0.00099557
42 | 0.0033307 | 0.00083475
43 | 0.0058768 | 0.0014729
44 | 0.002948 | 0.00073883
45 | 0.010753 | 0.002695
46 | 0.0048861 | 0.0012246

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1