## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-26_0_4_node_32 | 0.4 | n |  | TRUE
3 | bus_LV_2275-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2275-26_0_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_2275-26_0_4_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_2275-26_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2275-26_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2275-26_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2275-26_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_2275-26_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2275-26_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2275-26_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2275-26_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_2275-26_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2275-26_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2275-26_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2275-26_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2275-26_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2275-26_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2275-26_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2275-26_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2275-26_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2275-26_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2275-26_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_2275-26_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2275-26_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_2275-26_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2275-26_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2275-26_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2275-26_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_MV_379_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-26_0_4_load_0 | 0 | 0.021245 | 0.0053244 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-26_0_4_load_1 | 1 | 0.04519 | 0.011326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-26_0_4_load_32 | 2 | 0.014475 | 0.0036279 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-26_0_4_load_2 | 5 | 0.026212 | 0.0065695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-26_0_4_load_31 | 6 | 0.0075712 | 0.0018975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-26_0_4_load_18 | 9 | 0.0096207 | 0.0024112 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-26_0_4_load_5 | 10 | 0.021776 | 0.0054576 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-26_0_4_load_9 | 11 | 0.046854 | 0.011743 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-26_0_4_load_8 | 12 | 0.028143 | 0.0070533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-26_0_4_load_16 | 13 | 0.007504 | 0.0018807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-26_0_4_load_15 | 14 | 0.010315 | 0.0025852 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-26_0_4_load_6 | 15 | 0.022443 | 0.0056247 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-26_0_4_load_10 | 16 | 0.032568 | 0.0081623 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-26_0_4_load_14 | 17 | 0.0097431 | 0.0024418 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-26_0_4_load_30 | 20 | 0.0065009 | 0.0016293 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-26_0_4_load_20 | 22 | 0.0059707 | 0.0014964 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-26_0_4_load_21 | 23 | 0.0088973 | 0.0022299 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-26_0_4_load_24 | 25 | 0.0093349 | 0.0023395 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-26_0_4_load_29 | 26 | 0.0026234 | 0.00065749 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-26_0_4_load_25 | 27 | 0.010581 | 0.0026518 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-26_0_4_load_28 | 28 | 0.006035 | 0.0015125 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-26_0_4_load_26 | 29 | 0.020821 | 0.0052183 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-26_0_4_load_27 | 30 | 0.0059587 | 0.0014934 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-26_0_4_line_0 |  | 0 | 1 | 0.048115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2275-26_0_4_line_1 |  | 0 | 2 | 0.024909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2275-26_0_4_line_2 |  | 1 | 3 | 0.027211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2275-26_0_4_line_3 |  | 1 | 4 | 0.033802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-26_0_4_line_4 |  | 2 | 6 | 0.043529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2275-26_0_4_line_5 |  | 3 | 7 | 0.08132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-26_0_4_line_6 |  | 4 | 8 | 0.025681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-26_0_4_line_7 |  | 5 | 6 | 0.022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-26_0_4_line_8 |  | 6 | 9 | 0.034423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-26_0_4_line_9 |  | 7 | 10 | 0.0031489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-26_0_4_line_10 |  | 8 | 17 | 0.0070288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-26_0_4_line_11 |  | 8 | 16 | 0.017023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-26_0_4_line_12 |  | 9 | 13 | 0.049142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-26_0_4_line_13 |  | 10 | 15 | 0.075183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2275-26_0_4_line_14 |  | 11 | 12 | 0.058667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-26_0_4_line_15 |  | 12 | 15 | 0.054985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-26_0_4_line_16 |  | 13 | 14 | 0.030812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-26_0_4_line_17 |  | 14 | 18 | 0.031986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-26_0_4_line_18 |  | 18 | 19 | 0.016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-26_0_4_line_19 |  | 19 | 20 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-26_0_4_line_20 |  | 20 | 21 | 0.026315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-26_0_4_line_21 |  | 21 | 26 | 0.011174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-26_0_4_line_22 |  | 21 | 23 | 0.025194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-26_0_4_line_23 |  | 22 | 23 | 0.039212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-26_0_4_line_24 |  | 22 | 24 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-26_0_4_line_25 |  | 24 | 25 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-26_0_4_line_26 |  | 25 | 27 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2275-26_0_4_line_27 |  | 26 | 28 | 0.014511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-26_0_4_line_28 |  | 27 | 29 | 0.027738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-26_0_4_line_29 |  | 29 | 30 | 0.0053566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-26_0_4_trafo_0 | 0.63 MVA 20/0.4 kV | 31 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2576052.9189 | 1197546.9943 | 2576036.3268 | 1197526.9897 | 2576021.9139 | 1197510.2037
1 | 2576044.2512 | 1197570.3468 | 2576052.9189 | 1197546.9943
2 | 2576008.9319 | 1197487.1562 | 2576009.8595 | 1197494.3342 | 2576014.6952 | 1197501.7965 | 2576021.9139 | 1197510.2037
3 | 2576005.6409 | 1197539.8313 | 2576021.9139 | 1197510.2037
4 | 2576044.2512 | 1197570.3468 | 2576051.504 | 1197575.8996 | 2576061.7288 | 1197584.5743 | 2576073.6016 | 1197601.8781
5 | 2576065.8835 | 1197432.1529 | 2576025.4752 | 1197462.9432 | 2576016.2042 | 1197469.9176 | 2576010.5899 | 1197479.0452 | 2576008.8456 | 1197486.534 | 2576008.9319 | 1197487.1562
6 | 2575984.8802 | 1197554.9676 | 2575991.3829 | 1197550.8836 | 2576001.5653 | 1197543.3385 | 2576005.6409 | 1197539.8313
7 | 2576073.6016 | 1197601.8781 | 2576081.2028 | 1197581.0954
8 | 2576097.9466 | 1197625.973 | 2576091.5566 | 1197617.8947 | 2576074.729 | 1197603.5212 | 2576073.6016 | 1197601.8781
9 | 2576065.8835 | 1197432.1529 | 2576068.357 | 1197430.2042
10 | 2575984.8802 | 1197554.9676 | 2575987.9096 | 1197558.335 | 2575986.7991 | 1197560.574
11 | 2575984.8802 | 1197554.9676 | 2575973.1169 | 1197542.6628
12 | 2576097.9466 | 1197625.973 | 2576107.195 | 1197637.6649 | 2576111.6485 | 1197646.7186 | 2576113.6061 | 1197652.5139 | 2576113.7373 | 1197658.6277 | 2576110.9503 | 1197670.2097
13 | 2576068.357 | 1197430.2042 | 2576080.5208 | 1197420.6212 | 2576088.4 | 1197417.877 | 2576095.9902 | 1197417.1573 | 2576102.7155 | 1197419.1313 | 2576107.7553 | 1197424.3362 | 2576114.0984 | 1197437.3622 | 2576119.945 | 1197451.1624
14 | 2576159.0307 | 1197557.7328 | 2576154.7109 | 1197542.9454 | 2576143.1721 | 1197508.5286 | 2576141.0502 | 1197501.8979
15 | 2576119.945 | 1197451.1624 | 2576130.2448 | 1197475.4736 | 2576138.6525 | 1197494.4057 | 2576141.0502 | 1197501.8979
16 | 2576110.9503 | 1197670.2097 | 2576110.7784 | 1197670.924 | 2576107.3579 | 1197683.9448 | 2576105.6316 | 1197697.8259 | 2576104.7915 | 1197700.3142
17 | 2576082.663 | 1197720.6415 | 2576089.7665 | 1197718.2784 | 2576093.0359 | 1197716.9423 | 2576096.0883 | 1197714.6955 | 2576099.0409 | 1197712.2379 | 2576102.6963 | 1197706.5202 | 2576104.7915 | 1197700.3142
18 | 2576082.663 | 1197720.6415 | 2576082.5699 | 1197718.3184 | 2576081.7007 | 1197716.1652 | 2576080.1554 | 1197714.4371 | 2576078.1023 | 1197713.3337 | 2576075.801 | 1197712.9872 | 2576073.5182 | 1197713.441 | 2576071.5277 | 1197714.6386
19 | 2576071.5277 | 1197714.6386 | 2576055.4106 | 1197704.6051
20 | 2576038.1653 | 1197686.6909 | 2576038.7048 | 1197690.1795 | 2576040.4972 | 1197694.6414 | 2576042.9966 | 1197696.877 | 2576055.4106 | 1197704.6051
21 | 2576038.1653 | 1197686.6909 | 2576044.703 | 1197677.6294
22 | 2576038.1653 | 1197686.6909 | 2576035.613 | 1197684.5334 | 2576031.9423 | 1197682.6693 | 2576019.5614 | 1197681.3184 | 2576015.1302 | 1197678.4469
23 | 2576015.1302 | 1197678.4469 | 2575982.2231 | 1197657.1225
24 | 2575969.9696 | 1197653.3921 | 2575982.2231 | 1197657.1225 | 2575982.2231 | 1197657.1225
25 | 2575969.9696 | 1197653.3921 | 2575976.032 | 1197644.0181 | 2575976.032 | 1197644.0181
26 | 2575976.032 | 1197644.0181 | 2575980.5186 | 1197642.3769 | 2575987.2025 | 1197630.3768 | 2575989.4232 | 1197625.8321 | 2575991.5833 | 1197623.0181
27 | 2576043.5066 | 1197664.9952 | 2576045.1801 | 1197666.0515 | 2576047.2951 | 1197671.2125 | 2576045.2843 | 1197676.8236 | 2576044.703 | 1197677.6294
28 | 2575991.5833 | 1197623.0181 | 2575992.2566 | 1197622.1409 | 2575995.8188 | 1197621.6374 | 2576002.5847 | 1197624.3115 | 2576015.4252 | 1197626.272 | 2576017.8546 | 1197627.603
29 | 2576022.5523 | 1197630.1767 | 2576017.8546 | 1197627.603

## bus_geodata
| x | y | coords
0 | 2576052.9189 | 1197546.9943
1 | 2576021.9139 | 1197510.2037
2 | 2576044.2512 | 1197570.3468
3 | 2576008.9319 | 1197487.1562
4 | 2576005.6409 | 1197539.8313
5 | 2576081.2028 | 1197581.0954
6 | 2576073.6016 | 1197601.8781
7 | 2576065.8835 | 1197432.1529
8 | 2575984.8802 | 1197554.9676
9 | 2576097.9466 | 1197625.973
10 | 2576068.357 | 1197430.2042
11 | 2576159.0307 | 1197557.7328
12 | 2576141.0502 | 1197501.8979
13 | 2576110.9503 | 1197670.2097
14 | 2576104.7915 | 1197700.3142
15 | 2576119.945 | 1197451.1624
16 | 2575973.1169 | 1197542.6628
17 | 2575986.7991 | 1197560.574
18 | 2576082.663 | 1197720.6415
19 | 2576071.5277 | 1197714.6386
20 | 2576055.4106 | 1197704.6051
21 | 2576038.1653 | 1197686.6909
22 | 2575982.2231 | 1197657.1225
23 | 2576015.1302 | 1197678.4469
24 | 2575969.9696 | 1197653.3921
25 | 2575976.032 | 1197644.0181
26 | 2576044.703 | 1197677.6294
27 | 2575991.5833 | 1197623.0181
28 | 2576043.5066 | 1197664.9952
29 | 2576017.8546 | 1197627.603
30 | 2576022.5523 | 1197630.1767
31 | 2576008.9319 | 1197487.1562

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.36627 | -0.093501
1 | 0.99541 | -0.087084 | 0.04519 | 0.011326
2 | 0.99825 | -0.033149 | 0.014475 | 0.0036279
3 | 0.9939 | -0.11566 | 0 | 0
4 | 0.9941 | -0.11228 | 0 | 0
5 | 0.99495 | -0.096021 | 0.026212 | 0.0065695
6 | 0.99547 | -0.085813 | 0.0075712 | 0.0018975
7 | 0.98487 | -0.28829 | 0 | 0
8 | 0.99311 | -0.13146 | 0 | 0
9 | 0.99215 | -0.1491 | 0.0096207 | 0.0024112
10 | 0.98452 | -0.29504 | 0.021776 | 0.0054576
11 | 0.97128 | -0.55384 | 0.046854 | 0.011743
12 | 0.97385 | -0.50319 | 0.028143 | 0.0070533
13 | 0.98783 | -0.23173 | 0.007504 | 0.0018807
14 | 0.98534 | -0.27976 | 0.010315 | 0.0025852
15 | 0.9777 | -0.4277 | 0.022443 | 0.0056247
16 | 0.9926 | -0.14126 | 0.032568 | 0.0081623
17 | 0.99305 | -0.13267 | 0.0097431 | 0.0024418
18 | 0.98305 | -0.32392 | 0 | 0
19 | 0.98189 | -0.34643 | 0 | 0
20 | 0.98054 | -0.3728 | 0.0065009 | 0.0016293
21 | 0.97882 | -0.40636 | 0 | 0
22 | 0.97545 | -0.47238 | 0.0059707 | 0.0014964
23 | 0.97737 | -0.43462 | 0.0088973 | 0.0022299
24 | 0.97489 | -0.48334 | 0 | 0
25 | 0.97441 | -0.49291 | 0.0093349 | 0.0023395
26 | 0.97873 | -0.40812 | 0.0026234 | 0.00065749
27 | 0.97346 | -0.51153 | 0.010581 | 0.0026518
28 | 0.97865 | -0.40972 | 0.006035 | 0.0015125
29 | 0.97277 | -0.5252 | 0.020821 | 0.0052183
30 | 0.97274 | -0.52579 | 0.0059587 | 0.0014934
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.20993 | 0.053859 | -0.20905 | -0.053296 | 0.00088284 | 0.00056376 | 0.31283 | 0.31283 | 0.31283 | 1 | 0 | 0.99541 | -0.087084 | 42.9706
1 | 0.15468 | 0.039641 | -0.15444 | -0.039483 | 0.0002481 | 0.00015813 | 0.23048 | 0.23048 | 0.23048 | 1 | 0 | 0.99825 | -0.033149 | 31.6596
2 | 0.12144 | 0.031299 | -0.12127 | -0.031192 | 0.00016872 | 0.00010728 | 0.18185 | 0.18185 | 0.18185 | 0.99541 | -0.087084 | 0.9939 | -0.11566 | 24.9795
3 | 0.042417 | 0.010671 | -0.042366 | -0.010638 | 5.0987e-05 | 3.2193e-05 | 0.063422 | 0.063422 | 0.063422 | 0.99541 | -0.087084 | 0.9941 | -0.11228 | 17.4237
4 | 0.13996 | 0.035855 | -0.1396 | -0.035628 | 0.00035618 | 0.00022682 | 0.2089 | 0.2089 | 0.2089 | 0.99825 | -0.033149 | 0.99547 | -0.085813 | 28.6957
5 | 0.12127 | 0.031192 | -0.12027 | -0.030548 | 0.0010085 | 0.00064437 | 0.18185 | 0.18185 | 0.18185 | 0.9939 | -0.11566 | 0.98487 | -0.28829 | 49.9592
6 | 0.042366 | 0.010638 | -0.042327 | -0.010614 | 3.8737e-05 | 2.4459e-05 | 0.063422 | 0.063422 | 0.063422 | 0.9941 | -0.11228 | 0.99311 | -0.13146 | 17.4237
7 | -0.026212 | -0.0065695 | 0.026225 | 0.0065773 | 1.2753e-05 | 7.8747e-06 | 0.039203 | 0.039203 | 0.039203 | 0.99495 | -0.096021 | 0.99547 | -0.085813 | 10.77
8 | 0.10581 | 0.027153 | -0.10548 | -0.026947 | 0.00032383 | 0.00020681 | 0.15839 | 0.15839 | 0.15839 | 0.99547 | -0.085813 | 0.99215 | -0.1491 | 43.5126
9 | 0.12027 | 0.030548 | -0.12023 | -0.030523 | 3.9051e-05 | 2.4952e-05 | 0.18185 | 0.18185 | 0.18185 | 0.98487 | -0.28829 | 0.98452 | -0.29504 | 49.9592
10 | 0.0097436 | 0.0024421 | -0.0097431 | -0.0024418 | 5.618e-07 | 2.6861e-07 | 0.014599 | 0.014599 | 0.014599 | 0.99311 | -0.13146 | 0.99305 | -0.13267 | 4.0108
11 | 0.032583 | 0.0081719 | -0.032568 | -0.0081623 | 1.5217e-05 | 9.5184e-06 | 0.048823 | 0.048823 | 0.048823 | 0.99311 | -0.13146 | 0.9926 | -0.14126 | 13.4129
12 | 0.095863 | 0.024535 | -0.095481 | -0.024292 | 0.0003819 | 0.00024378 | 0.14396 | 0.14396 | 0.14396 | 0.99215 | -0.1491 | 0.98783 | -0.23173 | 39.5487
13 | 0.098451 | 0.025065 | -0.097825 | -0.024666 | 0.00062542 | 0.00039932 | 0.14894 | 0.14894 | 0.14894 | 0.98452 | -0.29504 | 0.9777 | -0.4277 | 40.9175
14 | -0.046854 | -0.011743 | 0.046968 | 0.011815 | 0.00011336 | 7.182e-05 | 0.071781 | 0.071781 | 0.071781 | 0.97128 | -0.55384 | 0.97385 | -0.50319 | 19.7202
15 | -0.075111 | -0.018868 | 0.075382 | 0.019041 | 0.00027166 | 0.00017317 | 0.11478 | 0.11478 | 0.11478 | 0.97385 | -0.50319 | 0.9777 | -0.4277 | 31.5337
16 | 0.087977 | 0.022411 | -0.087774 | -0.022281 | 0.00020332 | 0.00012973 | 0.13265 | 0.13265 | 0.13265 | 0.98783 | -0.23173 | 0.98534 | -0.27976 | 36.4433
17 | 0.077459 | 0.019696 | -0.077294 | -0.019591 | 0.00016441 | 0.00010482 | 0.11708 | 0.11708 | 0.11708 | 0.98534 | -0.27976 | 0.98305 | -0.32392 | 32.1639
18 | 0.077294 | 0.019591 | -0.077211 | -0.019538 | 8.3521e-05 | 5.3248e-05 | 0.11708 | 0.11708 | 0.11708 | 0.98305 | -0.32392 | 0.98189 | -0.34643 | 32.1639
19 | 0.077211 | 0.019538 | -0.077113 | -0.019476 | 9.7585e-05 | 6.2214e-05 | 0.11708 | 0.11708 | 0.11708 | 0.98189 | -0.34643 | 0.98054 | -0.3728 | 32.1639
20 | 0.070612 | 0.017846 | -0.070499 | -0.017774 | 0.00011343 | 7.2261e-05 | 0.10721 | 0.10721 | 0.10721 | 0.98054 | -0.3728 | 0.97882 | -0.40636 | 29.4536
21 | 0.0086596 | 0.0021704 | -0.0086589 | -0.0021701 | 7.2618e-07 | 3.2432e-07 | 0.013165 | 0.013165 | 0.013165 | 0.97882 | -0.40636 | 0.97873 | -0.40812 | 3.6166
22 | 0.061839 | 0.015604 | -0.061756 | -0.015551 | 8.3562e-05 | 5.3164e-05 | 0.094047 | 0.094047 | 0.094047 | 0.97882 | -0.40636 | 0.97737 | -0.43462 | 25.837
23 | -0.052763 | -0.01326 | 0.052858 | 0.013321 | 9.5292e-05 | 6.0496e-05 | 0.080501 | 0.080501 | 0.080501 | 0.97545 | -0.47238 | 0.97737 | -0.43462 | 22.1157
24 | 0.046792 | 0.011764 | -0.046768 | -0.011748 | 2.4482e-05 | 1.5509e-05 | 0.071393 | 0.071393 | 0.071393 | 0.97545 | -0.47238 | 0.97489 | -0.48334 | 19.6135
25 | 0.046768 | 0.011748 | -0.046746 | -0.011735 | 2.1338e-05 | 1.3517e-05 | 0.071393 | 0.071393 | 0.071393 | 0.97489 | -0.48334 | 0.97441 | -0.49291 | 19.6135
26 | 0.037412 | 0.0093953 | -0.037378 | -0.0093744 | 3.3202e-05 | 2.0911e-05 | 0.057138 | 0.057138 | 0.057138 | 0.97441 | -0.49291 | 0.97346 | -0.51153 | 15.6973
27 | 0.0060355 | 0.0015126 | -0.006035 | -0.0015125 | 4.5818e-07 | 1.1089e-07 | 0.0091761 | 0.0091761 | 0.0091761 | 0.97873 | -0.40812 | 0.97865 | -0.40972 | 2.5209
28 | 0.026798 | 0.0067226 | -0.02678 | -0.0067117 | 1.7455e-05 | 1.0827e-05 | 0.040965 | 0.040965 | 0.040965 | 0.97346 | -0.51153 | 0.97277 | -0.5252 | 11.254
29 | 0.0059588 | 0.0014934 | -0.0059587 | -0.0014934 | 1.6689e-07 | 4.0314e-08 | 0.009115 | 0.0091151 | 0.0091151 | 0.97277 | -0.5252 | 0.97274 | -0.52579 | 2.5041

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38751 | 0.098825

## res_load
| p_mw | q_mvar
0 | 0.021245 | 0.0053244
1 | 0.04519 | 0.011326
2 | 0.014475 | 0.0036279
3 | 0.026212 | 0.0065695
4 | 0.0075712 | 0.0018975
5 | 0.0096207 | 0.0024112
6 | 0.021776 | 0.0054576
7 | 0.046854 | 0.011743
8 | 0.028143 | 0.0070533
9 | 0.007504 | 0.0018807
10 | 0.010315 | 0.0025852
11 | 0.022443 | 0.0056247
12 | 0.032568 | 0.0081623
13 | 0.0097431 | 0.0024418
14 | 0.0065009 | 0.0016293
15 | 0.0059707 | 0.0014964
16 | 0.0088973 | 0.0022299
17 | 0.0093349 | 0.0023395
18 | 0.0026234 | 0.00065749
19 | 0.010581 | 0.0026518
20 | 0.006035 | 0.0015125
21 | 0.020821 | 0.0052183
22 | 0.0059587 | 0.0014934

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1