## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-28_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-28_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-28_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2275-28_0_7_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_2275-28_0_7_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_2275-28_0_7_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2275-28_0_7_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2275-28_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2275-28_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2275-28_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2275-28_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2275-28_0_7_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_2275-28_0_7_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_2275-28_0_7_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_2275-28_0_7_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_2275-28_0_7_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_2275-28_0_7_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_2275-28_0_7_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_2275-28_0_7_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2275-28_0_7_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_2275-28_0_7_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2275-28_0_7_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_2275-28_0_7_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_2275-28_0_7_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2275-28_0_7_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2275-28_0_7_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2275-28_0_7_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_2275-28_0_7_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_2275-28_0_7_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2275-28_0_7_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2275-28_0_7_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2275-28_0_7_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2275-28_0_7_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_2275-28_0_7_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_2275-28_0_7_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_2275-28_0_7_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_2275-28_0_7_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2275-28_0_7_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2275-28_0_7_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2275-28_0_7_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2275-28_0_7_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2275-28_0_7_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2275-28_0_7_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_2275-28_0_7_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_2275-28_0_7_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2275-28_0_7_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_2275-28_0_7_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_2275-28_0_7_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2275-28_0_7_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2275-28_0_7_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_2275-28_0_7_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_2275-28_0_7_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_2275-28_0_7_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_2275-28_0_7_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2275-28_0_7_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_2275-28_0_7_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_2275-28_0_7_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_2275-28_0_7_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_2275-28_0_7_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2275-28_0_7_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_2275-28_0_7_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_2275-28_0_7_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_2275-28_0_7_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_2275-28_0_7_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_2275-28_0_7_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_2275-28_0_7_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_2275-28_0_7_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_2275-28_0_7_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_2275-28_0_7_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_2275-28_0_7_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_2275-28_0_7_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2275-28_0_7_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_2275-28_0_7_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_2275-28_0_7_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2275-28_0_7_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2275-28_0_7_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_2275-28_0_7_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_2275-28_0_7_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_2275-28_0_7_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_2275-28_0_7_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_2275-28_0_7_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2275-28_0_7_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2275-28_0_7_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_2275-28_0_7_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_2275-28_0_7_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_2275-28_0_7_node_87 | 0.4 | n |  | TRUE
86 | bus_MV_379_0_node_226 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-28_0_7_load_0 | 0 | 0.0022171 | 0.00055566 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-28_0_7_load_53 | 3 | 0.0057474 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-28_0_7_load_3 | 5 | 0.021597 | 0.0054127 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-28_0_7_load_4 | 6 | 0.0065044 | 0.0016301 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-28_0_7_load_8 | 10 | 0.0060966 | 0.0015279 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-28_0_7_load_56 | 11 | 0.0029663 | 0.00074342 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-28_0_7_load_37 | 12 | 0.00095909 | 0.00024037 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-28_0_7_load_74 | 14 | 0.0024266 | 0.00060816 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-28_0_7_load_57 | 15 | 0.009164 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-28_0_7_load_91 | 16 | 0.0025668 | 0.00064329 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-28_0_7_load_36 | 17 | 0.044028 | 0.011034 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-28_0_7_load_47 | 18 | 0.00077706 | 0.00019475 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-28_0_7_load_45 | 19 | 0.00064686 | 0.00016212 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-28_0_7_load_23 | 20 | 0.012007 | 0.0030091 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-28_0_7_load_76 | 21 | 0.0076338 | 0.0019132 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-28_0_7_load_9 | 22 | 0.0058867 | 0.0014753 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-28_0_7_load_10 | 23 | 0.00042574 | 0.0001067 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-28_0_7_load_11 | 24 | 0.0075902 | 0.0019023 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-28_0_7_load_12 | 25 | 0.0055198 | 0.0013834 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-28_0_7_load_64 | 26 | 0.0009821 | 0.00024614 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-28_0_7_load_15 | 28 | 0.0062767 | 0.0015731 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-28_0_7_load_17 | 30 | 0.0043659 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-28_0_7_load_18 | 31 | 0.0013549 | 0.00033957 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-28_0_7_load_44 | 32 | 0.0020093 | 0.00050358 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-28_0_7_load_43 | 34 | 0.0022017 | 0.00055181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-28_0_7_load_19 | 36 | 0.036765 | 0.0092142 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-28_0_7_load_24 | 40 | 0.038697 | 0.0096984 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2275-28_0_7_load_25 | 41 | 0.026046 | 0.0065277 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2275-28_0_7_load_90 | 42 | 0.0028311 | 0.00070954 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2275-28_0_7_load_67 | 43 | 0.0044068 | 0.0011044 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2275-28_0_7_load_49 | 45 | 0.020471 | 0.0051306 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2275-28_0_7_load_66 | 46 | 0.018304 | 0.0045874 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2275-28_0_7_load_34 | 47 | 0.0099237 | 0.0024871 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2275-28_0_7_load_35 | 48 | 0.0016609 | 0.00041626 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2275-28_0_7_load_30 | 49 | 0.0035205 | 0.00088231 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2275-28_0_7_load_26 | 50 | 0.045146 | 0.011315 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2275-28_0_7_load_29 | 52 | 0.004742 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2275-28_0_7_load_50 | 53 | 0.0092371 | 0.002315 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2275-28_0_7_load_71 | 54 | 0.0017956 | 0.00045003 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2275-28_0_7_load_70 | 55 | 0.0013478 | 0.0003378 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2275-28_0_7_load_55 | 57 | 0.017975 | 0.004505 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2275-28_0_7_load_54 | 59 | 0.017757 | 0.0044504 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2275-28_0_7_load_58 | 60 | 0.018162 | 0.0045518 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2275-28_0_7_load_68 | 61 | 0.00077996 | 0.00019548 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2275-28_0_7_load_42 | 62 | 0.0017705 | 0.00044374 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2275-28_0_7_load_69 | 63 | 0.0034638 | 0.00086812 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2275-28_0_7_load_41 | 64 | 0.0030089 | 0.0007541 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2275-28_0_7_load_39 | 66 | 0.0037902 | 0.00094992 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2275-28_0_7_load_40 | 67 | 0.0067573 | 0.0016935 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2275-28_0_7_load_46 | 68 | 0.0071077 | 0.0017814 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2275-28_0_7_load_48 | 69 | 0.00057658 | 0.0001445 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2275-28_0_7_load_65 | 70 | 0.0036952 | 0.00092611 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2275-28_0_7_load_73 | 71 | 0.0012131 | 0.00030403 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2275-28_0_7_load_75 | 72 | 0.0068326 | 0.0017124 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2275-28_0_7_load_59 | 73 | 0.0016342 | 0.00040958 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2275-28_0_7_load_61 | 74 | 0.0044817 | 0.0011232 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2275-28_0_7_load_85 | 75 | 0.0046631 | 0.0011687 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2275-28_0_7_load_77 | 80 | 0.000735 | 0.00018421 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2275-28_0_7_load_79 | 81 | 0.0072909 | 0.0018273 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2275-28_0_7_load_89 | 82 | 0.0057861 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2275-28_0_7_load_92 | 83 | 0.019627 | 0.004919 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2275-28_0_7_load_88 | 84 | 0.0037772 | 0.00094665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2275-28_0_7_load_87 | 85 | 0.0086147 | 0.002159 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-28_0_7_line_0 |  | 0 | 1 | 0.051905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-28_0_7_line_1 |  | 1 | 2 | 0.0079571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-28_0_7_line_2 |  | 2 | 3 | 0.092417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-28_0_7_line_3 |  | 3 | 4 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-28_0_7_line_4 |  | 4 | 53 | 0.028356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-28_0_7_line_5 |  | 4 | 51 | 0.011862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-28_0_7_line_6 |  | 5 | 6 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-28_0_7_line_7 |  | 5 | 7 | 0.025302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-28_0_7_line_8 |  | 6 | 8 | 0.037665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-28_0_7_line_9 |  | 7 | 9 | 0.005673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-28_0_7_line_10 |  | 7 | 10 | 0.016798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-28_0_7_line_11 |  | 8 | 11 | 0.017302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-28_0_7_line_12 |  | 9 | 12 | 0.045463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-28_0_7_line_13 |  | 10 | 13 | 0.019458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2275-28_0_7_line_14 |  | 11 | 14 | 0.034668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-28_0_7_line_15 |  | 12 | 17 | 0.014647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-28_0_7_line_16 |  | 13 | 20 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2275-28_0_7_line_17 |  | 13 | 21 | 0.018213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-28_0_7_line_18 |  | 14 | 72 | 0.032466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-28_0_7_line_19 |  | 15 | 16 | 0.031087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-28_0_7_line_20 |  | 16 | 42 | 0.00038329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-28_0_7_line_21 |  | 17 | 65 | 0.021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-28_0_7_line_22 |  | 18 | 19 | 0.0012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-28_0_7_line_23 |  | 19 | 68 | 0.006054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-28_0_7_line_24 |  | 20 | 37 | 0.025482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2275-28_0_7_line_25 |  | 21 | 80 | 0.028553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-28_0_7_line_26 |  | 22 | 23 | 0.017607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2275-28_0_7_line_27 |  | 22 | 24 | 0.033666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-28_0_7_line_28 |  | 23 | 25 | 0.0018217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-28_0_7_line_29 |  | 25 | 26 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-28_0_7_line_30 |  | 26 | 27 | 0.0088572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2275-28_0_7_line_31 |  | 27 | 70 | 0.022231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-28_0_7_line_32 |  | 27 | 69 | 0.015286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2275-28_0_7_line_33 |  | 28 | 29 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-28_0_7_line_34 |  | 29 | 30 | 0.029689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2275-28_0_7_line_35 |  | 29 | 31 | 0.015236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-28_0_7_line_36 |  | 30 | 32 | 0.0036874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-28_0_7_line_37 |  | 31 | 33 | 0.029034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2275-28_0_7_line_38 |  | 32 | 34 | 0.020928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2275-28_0_7_line_39 |  | 33 | 35 | 0.010782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2275-28_0_7_line_40 |  | 34 | 64 | 0.002444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-28_0_7_line_41 |  | 35 | 71 | 0.016369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2275-28_0_7_line_42 |  | 35 | 55 | 0.024742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-28_0_7_line_43 |  | 36 | 37 | 0.034296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2275-28_0_7_line_44 |  | 36 | 38 | 0.0088576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2275-28_0_7_line_45 |  | 37 | 39 | 0.032567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2275-28_0_7_line_46 |  | 38 | 40 | 0.041957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2275-28_0_7_line_47 |  | 38 | 41 | 0.039701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2275-28_0_7_line_48 |  | 39 | 42 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2275-28_0_7_line_49 |  | 39 | 43 | 0.010363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2275-28_0_7_line_50 |  | 40 | 44 | 0.050434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2275-28_0_7_line_51 |  | 41 | 45 | 0.059175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2275-28_0_7_line_52 |  | 43 | 46 | 0.025128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2275-28_0_7_line_53 |  | 44 | 47 | 0.02722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2275-28_0_7_line_54 |  | 44 | 48 | 0.031849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2275-28_0_7_line_55 |  | 44 | 49 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2275-28_0_7_line_56 |  | 46 | 74 | 0.0024015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2275-28_0_7_line_57 |  | 47 | 61 | 0.000433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2275-28_0_7_line_58 |  | 48 | 62 | 0.0022665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2275-28_0_7_line_59 |  | 50 | 51 | 0.09128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2275-28_0_7_line_60 |  | 51 | 52 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2275-28_0_7_line_61 |  | 52 | 54 | 0.065124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2275-28_0_7_line_62 |  | 54 | 55 | 0.024447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2275-28_0_7_line_63 |  | 56 | 57 | 0.049862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2275-28_0_7_line_64 |  | 56 | 58 | 0.016293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2275-28_0_7_line_65 |  | 57 | 59 | 0.038069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2275-28_0_7_line_66 |  | 58 | 60 | 0.056671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2275-28_0_7_line_67 |  | 60 | 73 | 0.020509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2275-28_0_7_line_68 |  | 61 | 63 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2275-28_0_7_line_69 |  | 62 | 64 | 0.02324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2275-28_0_7_line_70 |  | 63 | 70 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2275-28_0_7_line_71 |  | 65 | 66 | 0.035234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2275-28_0_7_line_72 |  | 65 | 67 | 0.034357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2275-28_0_7_line_73 |  | 68 | 69 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2275-28_0_7_line_74 |  | 72 | 77 | 0.040125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2275-28_0_7_line_75 |  | 73 | 74 | 0.021773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2275-28_0_7_line_76 |  | 75 | 76 | 0.020362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2275-28_0_7_line_77 |  | 76 | 85 | 0.036578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2275-28_0_7_line_78 |  | 77 | 78 | 0.009806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2275-28_0_7_line_79 |  | 77 | 79 | 0.084406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2275-28_0_7_line_80 |  | 78 | 82 | 0.013353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2275-28_0_7_line_81 |  | 79 | 83 | 0.048887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2275-28_0_7_line_82 |  | 80 | 81 | 0.0096354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2275-28_0_7_line_83 |  | 82 | 84 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2275-28_0_7_line_84 |  | 84 | 85 | 0.043457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-28_0_7_trafo_21 | 0.63 MVA 20/0.4 kV | 86 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2575896.3918 | 1196975.6119 | 2575845.6351 | 1196986.468
1 | 2575896.3918 | 1196975.6119 | 2575897.2146 | 1196979.4107 | 2575898.0837 | 1196983.3871
2 | 2575898.0837 | 1196983.3871 | 2575902.1836 | 1197025.3265 | 2575901.2301 | 1197038.1372 | 2575896.8131 | 1197049.5502 | 2575890.5936 | 1197063.5051 | 2575886.1057 | 1197072.3468
3 | 2575880.4154 | 1197083.5571 | 2575886.1057 | 1197072.3468
4 | 2575880.4154 | 1197083.5571 | 2575890.8039 | 1197102.2696 | 2575894.971 | 1197107.8353
5 | 2575880.4154 | 1197083.5571 | 2575873.4805 | 1197090.0999 | 2575871.4057 | 1197091.1977
6 | 2575652.0211 | 1197213.1734 | 2575640.2535 | 1197213.3129
7 | 2575677.2865 | 1197214.4538 | 2575654.2267 | 1197213.1473 | 2575652.0211 | 1197213.1734
8 | 2575602.7229 | 1197216.2597 | 2575617.4233 | 1197214.632 | 2575635.6058 | 1197213.368 | 2575640.2535 | 1197213.3129
9 | 2575677.2865 | 1197214.4538 | 2575682.9477 | 1197215.0199
10 | 2575677.2865 | 1197214.4538 | 2575680.8347 | 1197198.0353
11 | 2575602.7229 | 1197216.2597 | 2575585.9365 | 1197220.4505
12 | 2575682.9477 | 1197215.0199 | 2575678.8088 | 1197260.2937
13 | 2575686.0244 | 1197179.5215 | 2575684.3803 | 1197181.6293 | 2575680.8347 | 1197198.0353
14 | 2575585.9365 | 1197220.4505 | 2575557.0416 | 1197227.6643 | 2575552.3371 | 1197228.9834
15 | 2575677.4753 | 1197274.8804 | 2575678.8088 | 1197260.2937
16 | 2575686.0244 | 1197179.5215 | 2575684.5081 | 1197173.769 | 2575686.9215 | 1197161.0332
17 | 2575686.0244 | 1197179.5215 | 2575698.2565 | 1197183.3181 | 2575703.5987 | 1197184.1441
18 | 2575521.0771 | 1197237.7489 | 2575552.3371 | 1197228.9834
19 | 2575628.4638 | 1197171.3401 | 2575639.9674 | 1197156.9197 | 2575647.2805 | 1197146.6093
20 | 2575647.5022 | 1197146.2967 | 2575647.2805 | 1197146.6093
21 | 2575689.2358 | 1197287.0443 | 2575676.6706 | 1197283.6826 | 2575677.4753 | 1197274.8804
22 | 2575752.4856 | 1197222.5886 | 2575751.2614 | 1197222.3787
23 | 2575752.4856 | 1197222.5886 | 2575758.4526 | 1197223.6117
24 | 2575691.6656 | 1197135.9972 | 2575686.9215 | 1197161.0332
25 | 2575703.5987 | 1197184.1441 | 2575731.8164 | 1197188.5071
26 | 2575830.0299 | 1197254.3677 | 2575825.4149 | 1197251.8377 | 2575814.6485 | 1197245.7997
27 | 2575830.0299 | 1197254.3677 | 2575859.5507 | 1197270.5517
28 | 2575813.0595 | 1197244.9086 | 2575814.6485 | 1197245.7997
29 | 2575813.0595 | 1197244.9086 | 2575796.6132 | 1197235.6852
30 | 2575788.888 | 1197231.3527 | 2575796.6132 | 1197235.6852
31 | 2575788.888 | 1197231.3527 | 2575804.5667 | 1197215.5916
32 | 2575788.888 | 1197231.3527 | 2575774.4424 | 1197226.3532
33 | 2575913.2556 | 1197233.6831 | 2575904.4008 | 1197247.4463
34 | 2575913.2556 | 1197233.6831 | 2575891.8044 | 1197213.1578
35 | 2575913.2556 | 1197233.6831 | 2575924.3389 | 1197223.2282
36 | 2575889.1402 | 1197210.6085 | 2575891.8044 | 1197213.1578
37 | 2575947.846 | 1197206.6399 | 2575934.3711 | 1197213.7648 | 2575924.3389 | 1197223.2282
38 | 2575873.3194 | 1197196.9547 | 2575881.2193 | 1197203.0295 | 2575889.1402 | 1197210.6085
39 | 2575957.3094 | 1197201.9658 | 2575952.8831 | 1197205.4411 | 2575951.4146 | 1197205.7917 | 2575947.846 | 1197206.6399
40 | 2575871.382 | 1197195.4649 | 2575873.3194 | 1197196.9547
41 | 2575957.3094 | 1197201.9658 | 2575967.6788 | 1197214.6316
42 | 2575957.3094 | 1197201.9658 | 2575942.4118 | 1197182.2111
43 | 2575691.6656 | 1197135.9972 | 2575725.3587 | 1197142.3978
44 | 2575734.0607 | 1197144.0509 | 2575725.3587 | 1197142.3978
45 | 2575691.6656 | 1197135.9972 | 2575670.5126 | 1197131.7145 | 2575659.7776 | 1197128.9903
46 | 2575734.0607 | 1197144.0509 | 2575775.2812 | 1197151.8794
47 | 2575734.0607 | 1197144.0509 | 2575743.6051 | 1197105.5147
48 | 2575659.7776 | 1197128.9903 | 2575647.5022 | 1197146.2967
49 | 2575659.7776 | 1197128.9903 | 2575663.8684 | 1197119.4693
50 | 2575824.0162 | 1197164.3294 | 2575812.5967 | 1197159.9512 | 2575809.6687 | 1197159.1182 | 2575800.481 | 1197156.6653 | 2575775.2812 | 1197151.8794
51 | 2575784.4314 | 1197092.5292 | 2575749.0544 | 1197083.5127 | 2575743.6051 | 1197105.5147
52 | 2575673.788 | 1197096.3821 | 2575663.8684 | 1197119.4693
53 | 2575824.0162 | 1197164.3294 | 2575822.8509 | 1197168.0917 | 2575820.2649 | 1197176.4623 | 2575814.8584 | 1197189.9385
54 | 2575824.0162 | 1197164.3294 | 2575834.6527 | 1197167.2211 | 2575851.162 | 1197179.9163
55 | 2575824.0162 | 1197164.3294 | 2575827.1605 | 1197143.8587
56 | 2575673.788 | 1197096.3821 | 2575673.788 | 1197096.3821 | 2575674.3731 | 1197094.0529
57 | 2575814.6972 | 1197190.3404 | 2575814.8584 | 1197189.9385
58 | 2575851.162 | 1197179.9163 | 2575852.9587 | 1197181.2979
59 | 2575871.4057 | 1197091.1977 | 2575867.8822 | 1197086.276 | 2575865.6546 | 1197083.528 | 2575859.7442 | 1197075.9812 | 2575848.1691 | 1197061.4314 | 2575824.0185 | 1197031.7244 | 2575814.413 | 1197019.9098
60 | 2575871.4057 | 1197091.1977 | 2575887.5785 | 1197111.3973
61 | 2575927.6923 | 1197162.6926 | 2575912.1998 | 1197142.1491 | 2575887.5785 | 1197111.3973
62 | 2575942.4118 | 1197182.2111 | 2575927.6923 | 1197162.6926
63 | 2575680.5555 | 1196985.5056 | 2575692.8672 | 1196988.1791 | 2575727.6181 | 1197001.6313
64 | 2575673.6619 | 1197000.2751 | 2575680.5555 | 1196985.5056
65 | 2575758.4619 | 1196992.843 | 2575741.5873 | 1197008.0023 | 2575735.4958 | 1197004.6809 | 2575727.6181 | 1197001.6313
66 | 2575673.6619 | 1197000.2751 | 2575679.479 | 1197005.3874 | 2575684.4609 | 1197013.0157 | 2575684.7406 | 1197034.8708 | 2575682.9235 | 1197052.7372
67 | 2575682.9235 | 1197052.7372 | 2575681.6798 | 1197064.9662 | 2575679.6778 | 1197072.9357
68 | 2575814.6972 | 1197190.3404 | 2575810.162 | 1197201.6449
69 | 2575871.382 | 1197195.4649 | 2575852.9587 | 1197181.2979
70 | 2575810.162 | 1197201.6449 | 2575804.5667 | 1197215.5916
71 | 2575689.2358 | 1197287.0443 | 2575694.0743 | 1197252.1501
72 | 2575689.2358 | 1197287.0443 | 2575722.4286 | 1197295.9119
73 | 2575774.4424 | 1197226.3532 | 2575758.4526 | 1197223.6117
74 | 2575486.1467 | 1197234.3926 | 2575495.3287 | 1197242.8705 | 2575498.2363 | 1197244.2815 | 2575500.2415 | 1197244.8069 | 2575504.2396 | 1197244.6904 | 2575509.1828 | 1197242.9135 | 2575515.2765 | 1197239.3754 | 2575521.0771 | 1197237.7489
75 | 2575674.3731 | 1197094.0529 | 2575679.6778 | 1197072.9357
76 | 2575560.3952 | 1197148.4855 | 2575571.1909 | 1197131.2208
77 | 2575560.3952 | 1197148.4855 | 2575553.9473 | 1197158.5285 | 2575536.3428 | 1197175.7725
78 | 2575486.1467 | 1197234.3926 | 2575485.2492 | 1197229.149 | 2575482.9789 | 1197225.2784
79 | 2575486.1467 | 1197234.3926 | 2575485.9135 | 1197236.9505 | 2575482.2122 | 1197242.5465 | 2575480.4561 | 1197245.1885 | 2575478.3366 | 1197248.3656 | 2575475.4592 | 1197252.4241 | 2575471.6254 | 1197257.298 | 2575487.9718 | 1197263.3229 | 2575498.8938 | 1197268.9588 | 2575521.9772 | 1197283.4384
80 | 2575482.9789 | 1197225.2784 | 2575493.1226 | 1197216.5944
81 | 2575521.9772 | 1197283.4384 | 2575538.4579 | 1197294.3877 | 2575559.7323 | 1197314.2434
82 | 2575741.3387 | 1197189.9794 | 2575731.8164 | 1197188.5071
83 | 2575505.2923 | 1197206.176 | 2575493.1226 | 1197216.5944
84 | 2575505.2923 | 1197206.176 | 2575505.3832 | 1197206.0981 | 2575536.3428 | 1197175.7725

## bus_geodata
| x | y | coords
0 | 2575845.6351 | 1196986.468
1 | 2575896.3918 | 1196975.6119
2 | 2575898.0837 | 1196983.3871
3 | 2575886.1057 | 1197072.3468
4 | 2575880.4154 | 1197083.5571
5 | 2575652.0211 | 1197213.1734
6 | 2575640.2535 | 1197213.3129
7 | 2575677.2865 | 1197214.4538
8 | 2575602.7229 | 1197216.2597
9 | 2575682.9477 | 1197215.0199
10 | 2575680.8347 | 1197198.0353
11 | 2575585.9365 | 1197220.4505
12 | 2575678.8088 | 1197260.2937
13 | 2575686.0244 | 1197179.5215
14 | 2575552.3371 | 1197228.9834
15 | 2575628.4638 | 1197171.3401
16 | 2575647.2805 | 1197146.6093
17 | 2575677.4753 | 1197274.8804
18 | 2575751.2614 | 1197222.3787
19 | 2575752.4856 | 1197222.5886
20 | 2575686.9215 | 1197161.0332
21 | 2575703.5987 | 1197184.1441
22 | 2575830.0299 | 1197254.3677
23 | 2575814.6485 | 1197245.7997
24 | 2575859.5507 | 1197270.5517
25 | 2575813.0595 | 1197244.9086
26 | 2575796.6132 | 1197235.6852
27 | 2575788.888 | 1197231.3527
28 | 2575904.4008 | 1197247.4463
29 | 2575913.2556 | 1197233.6831
30 | 2575891.8044 | 1197213.1577
31 | 2575924.3389 | 1197223.2282
32 | 2575889.1402 | 1197210.6085
33 | 2575947.846 | 1197206.6399
34 | 2575873.3194 | 1197196.9547
35 | 2575957.3094 | 1197201.9658
36 | 2575725.3587 | 1197142.3978
37 | 2575691.6656 | 1197135.9972
38 | 2575734.0607 | 1197144.0509
39 | 2575659.7776 | 1197128.9903
40 | 2575775.2812 | 1197151.8794
41 | 2575743.6051 | 1197105.5147
42 | 2575647.5022 | 1197146.2967
43 | 2575663.8684 | 1197119.4693
44 | 2575824.0162 | 1197164.3294
45 | 2575784.4314 | 1197092.5292
46 | 2575673.788 | 1197096.3821
47 | 2575814.8584 | 1197189.9385
48 | 2575851.162 | 1197179.9163
49 | 2575827.1605 | 1197143.8587
50 | 2575814.413 | 1197019.9098
51 | 2575871.4057 | 1197091.1977
52 | 2575887.5785 | 1197111.3973
53 | 2575894.971 | 1197107.8353
54 | 2575927.6923 | 1197162.6926
55 | 2575942.4118 | 1197182.2111
56 | 2575680.5555 | 1196985.5056
57 | 2575727.6181 | 1197001.6313
58 | 2575673.6619 | 1197000.2751
59 | 2575758.4619 | 1196992.843
60 | 2575682.9235 | 1197052.7372
61 | 2575814.6972 | 1197190.3404
62 | 2575852.9587 | 1197181.2979
63 | 2575810.162 | 1197201.6449
64 | 2575871.382 | 1197195.4649
65 | 2575689.2358 | 1197287.0443
66 | 2575694.0743 | 1197252.1501
67 | 2575722.4286 | 1197295.9119
68 | 2575758.4526 | 1197223.6117
69 | 2575774.4424 | 1197226.3532
70 | 2575804.5667 | 1197215.5916
71 | 2575967.6788 | 1197214.6316
72 | 2575521.0771 | 1197237.7489
73 | 2575679.6778 | 1197072.9357
74 | 2575674.3731 | 1197094.0529
75 | 2575571.1909 | 1197131.2208
76 | 2575560.3952 | 1197148.4855
77 | 2575486.1467 | 1197234.3926
78 | 2575482.9789 | 1197225.2784
79 | 2575521.9772 | 1197283.4384
80 | 2575731.8164 | 1197188.5071
81 | 2575741.3387 | 1197189.9794
82 | 2575493.1226 | 1197216.5944
83 | 2575559.7323 | 1197314.2434
84 | 2575505.2923 | 1197206.176
85 | 2575536.3428 | 1197175.7725
86 | 2575691.6656 | 1197135.9972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97328 | -0.514 | 0.0022171 | 0.00055566
1 | 0.97339 | -0.51189 | 0 | 0
2 | 0.9734 | -0.51156 | 0 | 0
3 | 0.97359 | -0.50779 | 0.0057474 | 0.0014404
4 | 0.97369 | -0.50595 | 0 | 0
5 | 0.9887 | -0.21647 | 0.021597 | 0.0054127
6 | 0.98803 | -0.22933 | 0.0065044 | 0.0016301
7 | 0.99063 | -0.17919 | 0 | 0
8 | 0.98612 | -0.26619 | 0 | 0
9 | 0.99034 | -0.18479 | 0 | 0
10 | 0.99277 | -0.138 | 0.0060966 | 0.0015279
11 | 0.98525 | -0.28317 | 0.0029663 | 0.00074342
12 | 0.98802 | -0.22976 | 0.00095909 | 0.00024037
13 | 0.99406 | -0.11318 | 0 | 0
14 | 0.98358 | -0.31543 | 0.0024266 | 0.00060816
15 | 0.99288 | -0.13606 | 0.009164 | 0.0022967
16 | 0.99314 | -0.13103 | 0.0025668 | 0.00064329
17 | 0.98729 | -0.24405 | 0.044028 | 0.011034
18 | 0.99133 | -0.16565 | 0.00077706 | 0.00019475
19 | 0.99133 | -0.16564 | 0.00064686 | 0.00016212
20 | 0.99499 | -0.095397 | 0.012007 | 0.0030091
21 | 0.9938 | -0.11821 | 0.0076338 | 0.0019132
22 | 0.99085 | -0.17492 | 0.0058867 | 0.0014753
23 | 0.99107 | -0.17071 | 0.00042574 | 0.0001067
24 | 0.99062 | -0.17946 | 0.0075902 | 0.0019023
25 | 0.99109 | -0.17026 | 0.0055198 | 0.0013834
26 | 0.99142 | -0.16377 | 0.0009821 | 0.00024614
27 | 0.99159 | -0.16056 | 0 | 0
28 | 0.98626 | -0.26161 | 0.0062767 | 0.0015731
29 | 0.98635 | -0.25977 | 0 | 0
30 | 0.98854 | -0.2178 | 0.0043659 | 0.0010942
31 | 0.98532 | -0.27967 | 0.0013549 | 0.00033957
32 | 0.98883 | -0.21231 | 0.0020093 | 0.00050358
33 | 0.98338 | -0.31699 | 0 | 0
34 | 0.9905 | -0.18048 | 0.0022017 | 0.00055181
35 | 0.98266 | -0.33089 | 0 | 0
36 | 0.99917 | -0.01577 | 0.036765 | 0.0092142
37 | 0.99634 | -0.069693 | 0 | 0
38 | 1 | 0 | -0.54393 | -0.13819
39 | 0.99343 | -0.12549 | 0 | 0
40 | 0.99763 | -0.044891 | 0.038697 | 0.0096984
41 | 0.99832 | -0.032244 | 0.026046 | 0.0065277
42 | 0.99315 | -0.13095 | 0.0028311 | 0.00070954
43 | 0.99264 | -0.14064 | 0.0044068 | 0.0011044
44 | 0.99425 | -0.10915 | 0 | 0
45 | 0.99722 | -0.053453 | 0.020471 | 0.0051306
46 | 0.99084 | -0.17552 | 0.018304 | 0.0045874
47 | 0.99307 | -0.13192 | 0.0099237 | 0.0024871
48 | 0.99285 | -0.13561 | 0.0016609 | 0.00041626
49 | 0.99418 | -0.11044 | 0.0035205 | 0.00088231
50 | 0.97002 | -0.57823 | 0.045146 | 0.011315
51 | 0.97388 | -0.50219 | 0 | 0
52 | 0.97538 | -0.47259 | 0.004742 | 0.0011884
53 | 0.97344 | -0.51076 | 0.0092371 | 0.002315
54 | 0.97946 | -0.39286 | 0.0017956 | 0.00045003
55 | 0.98104 | -0.36231 | 0.0013478 | 0.0003378
56 | 0.98617 | -0.26588 | 0 | 0
57 | 0.98453 | -0.29787 | 0.017975 | 0.004505
58 | 0.98671 | -0.25546 | 0 | 0
59 | 0.98391 | -0.31003 | 0.017757 | 0.0044504
60 | 0.98857 | -0.21927 | 0.018162 | 0.0045518
61 | 0.99305 | -0.1322 | 0.00077996 | 0.00019548
62 | 0.99266 | -0.13932 | 0.0017705 | 0.00044374
63 | 0.99265 | -0.1401 | 0.0034638 | 0.00086812
64 | 0.9907 | -0.17667 | 0.0030089 | 0.0007541
65 | 0.98707 | -0.24817 | 0 | 0
66 | 0.98695 | -0.25056 | 0.0037902 | 0.00094992
67 | 0.98686 | -0.25232 | 0.0067573 | 0.0016935
68 | 0.99134 | -0.16548 | 0.0071077 | 0.0017814
69 | 0.99146 | -0.16303 | 0.00057658 | 0.0001445
70 | 0.99219 | -0.14894 | 0.0036952 | 0.00092611
71 | 0.98264 | -0.33125 | 0.0012131 | 0.00030403
72 | 0.9821 | -0.34431 | 0.0068326 | 0.0017124
73 | 0.98959 | -0.19957 | 0.0016342 | 0.00040958
74 | 0.9907 | -0.17808 | 0.0044817 | 0.0011232
75 | 0.979 | -0.40503 | 0.0046631 | 0.0011687
76 | 0.97909 | -0.40331 | 0 | 0
77 | 0.98052 | -0.37516 | 0 | 0
78 | 0.98032 | -0.37922 | 0 | 0
79 | 0.97899 | -0.40525 | 0 | 0
80 | 0.9936 | -0.12226 | 0.000735 | 0.00018421
81 | 0.99353 | -0.1235 | 0.0072909 | 0.0018273
82 | 0.98003 | -0.38476 | 0.0057861 | 0.0014501
83 | 0.9781 | -0.42271 | 0.019627 | 0.004919
84 | 0.97978 | -0.38972 | 0.0037772 | 0.00094665
85 | 0.97925 | -0.4002 | 0.0086147 | 0.002159
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0022171 | -0.00055566 | 0.0022173 | 0.00055516 | 2.2363e-07 | -5.02e-07 | 0.0033897 | 0.0033894 | 0.0033897 | 0.97328 | -0.514 | 0.97339 | -0.51189 | 0.93123
1 | -0.0022173 | -0.00055516 | 0.0022174 | 0.00055508 | 3.428e-08 | -7.6971e-08 | 0.0033894 | 0.0033894 | 0.0033894 | 0.97339 | -0.51189 | 0.9734 | -0.51156 | 0.93116
2 | -0.0022174 | -0.00055508 | 0.0022178 | 0.00055419 | 3.9809e-07 | -8.9426e-07 | 0.0033894 | 0.003389 | 0.0033894 | 0.9734 | -0.51156 | 0.97359 | -0.50779 | 0.93115
3 | -0.0079652 | -0.0019946 | 0.0079659 | 0.0019949 | 6.9861e-07 | 2.9076e-07 | 0.012173 | 0.012173 | 0.012173 | 0.97359 | -0.50779 | 0.97369 | -0.50595 | 3.3443
4 | 0.0092392 | 0.002316 | -0.0092371 | -0.002315 | 2.12e-06 | 1.0042e-06 | 0.01412 | 0.01412 | 0.01412 | 0.97369 | -0.50595 | 0.97344 | -0.51076 | 3.8791
5 | -0.017205 | -0.004311 | 0.017208 | 0.0043128 | 3.0752e-06 | 1.8205e-06 | 0.026293 | 0.026293 | 0.026293 | 0.97369 | -0.50595 | 0.97388 | -0.50219 | 7.2233
6 | 0.061656 | 0.015625 | -0.061618 | -0.015601 | 3.8051e-05 | 2.4202e-05 | 0.092856 | 0.092856 | 0.092856 | 0.9887 | -0.21647 | 0.98803 | -0.22933 | 25.5099
7 | -0.083253 | -0.021038 | 0.083402 | 0.021133 | 0.00014911 | 9.5106e-05 | 0.12536 | 0.12536 | 0.12536 | 0.9887 | -0.21647 | 0.99063 | -0.17919 | 34.4396
8 | 0.055114 | 0.013971 | -0.055016 | -0.013909 | 9.7443e-05 | 6.1882e-05 | 0.08306 | 0.08306 | 0.08306 | 0.98803 | -0.22933 | 0.98612 | -0.26619 | 22.8188
9 | 0.05571 | 0.014029 | -0.055695 | -0.014019 | 1.4906e-05 | 9.4666e-06 | 0.083705 | 0.083705 | 0.083705 | 0.99063 | -0.17919 | 0.99034 | -0.18479 | 22.9959
10 | -0.13911 | -0.035162 | 0.13939 | 0.035338 | 0.00027532 | 0.00017599 | 0.20907 | 0.20907 | 0.20907 | 0.99063 | -0.17919 | 0.99277 | -0.138 | 57.4355
11 | 0.055016 | 0.013909 | -0.054971 | -0.013881 | 4.4762e-05 | 2.8427e-05 | 0.08306 | 0.08306 | 0.08306 | 0.98612 | -0.26619 | 0.98525 | -0.28317 | 22.8188
12 | 0.055695 | 0.014019 | -0.055576 | -0.013943 | 0.00011945 | 7.5865e-05 | 0.083705 | 0.083705 | 0.083705 | 0.99034 | -0.18479 | 0.98802 | -0.22976 | 22.996
13 | -0.14548 | -0.036866 | 0.14566 | 0.036976 | 0.00017371 | 0.00011067 | 0.2182 | 0.2182 | 0.2182 | 0.99277 | -0.138 | 0.99406 | -0.11318 | 29.9729
14 | 0.052005 | 0.013137 | -0.051925 | -0.013086 | 8.0276e-05 | 5.0936e-05 | 0.07858 | 0.078581 | 0.078581 | 0.98525 | -0.28317 | 0.98358 | -0.31543 | 21.5881
15 | 0.054617 | 0.013703 | -0.054579 | -0.013679 | 3.7169e-05 | 2.3601e-05 | 0.082261 | 0.082261 | 0.082261 | 0.98802 | -0.22976 | 0.98729 | -0.24405 | 22.5992
16 | -0.16132 | -0.040904 | 0.16146 | 0.040991 | 0.00013804 | 8.7612e-05 | 0.24165 | 0.24165 | 0.24165 | 0.99406 | -0.11318 | 0.99499 | -0.095397 | 22.1294
17 | 0.015665 | 0.0039276 | -0.015662 | -0.0039255 | 3.7559e-06 | 2.1677e-06 | 0.02345 | 0.02345 | 0.02345 | 0.99406 | -0.11318 | 0.9938 | -0.11821 | 6.4424
18 | 0.049498 | 0.012478 | -0.04943 | -0.012435 | 6.8317e-05 | 4.3312e-05 | 0.074909 | 0.07491 | 0.07491 | 0.98358 | -0.31543 | 0.9821 | -0.34431 | 20.5796
19 | -0.009164 | -0.0022967 | 0.0091662 | 0.0022977 | 2.1989e-06 | 1.0051e-06 | 0.013734 | 0.013734 | 0.013734 | 0.99288 | -0.13606 | 0.99314 | -0.13103 | 3.7731
20 | -0.011733 | -0.002941 | 0.011733 | 0.002941 | 4.442e-08 | 2.3468e-08 | 0.01758 | 0.01758 | 0.01758 | 0.99314 | -0.13103 | 0.99315 | -0.13095 | 4.8295
21 | 0.010551 | 0.0026447 | -0.010549 | -0.0026437 | 2.0718e-06 | 1.0467e-06 | 0.015903 | 0.015903 | 0.015903 | 0.98729 | -0.24405 | 0.98707 | -0.24817 | 4.3689
22 | -0.00077706 | -0.00019475 | 0.00077706 | 0.00019473 | 6.3385e-10 | -1.5609e-08 | 0.0011664 | 0.0011664 | 0.0011664 | 0.99133 | -0.16565 | 0.99133 | -0.16564 | 0.32044
23 | -0.0014239 | -0.00035685 | 0.0014239 | 0.00035678 | 1.0371e-08 | -7.1416e-08 | 0.0021373 | 0.0021373 | 0.0021373 | 0.99133 | -0.16564 | 0.99134 | -0.16548 | 0.58718
24 | -0.17347 | -0.044001 | 0.17368 | 0.044137 | 0.00021467 | 0.00013639 | 0.25961 | 0.25961 | 0.25961 | 0.99499 | -0.095397 | 0.99634 | -0.069693 | 23.7736
25 | 0.0080279 | 0.0020122 | -0.0080263 | -0.0020116 | 1.5471e-06 | 6.2023e-07 | 0.01202 | 0.01202 | 0.01202 | 0.9938 | -0.11821 | 0.9936 | -0.12226 | 3.3023
26 | -0.013479 | -0.0033782 | 0.013481 | 0.0033798 | 2.7052e-06 | 1.5045e-06 | 0.020242 | 0.020242 | 0.020242 | 0.99085 | -0.17492 | 0.99107 | -0.17071 | 5.5609
27 | 0.0075919 | 0.0019029 | -0.0075902 | -0.0019023 | 1.6411e-06 | 6.1677e-07 | 0.011401 | 0.011401 | 0.011401 | 0.99085 | -0.17492 | 0.99062 | -0.17946 | 3.1323
28 | -0.013907 | -0.0034865 | 0.013907 | 0.0034866 | 2.9786e-07 | 1.6715e-07 | 0.020881 | 0.020881 | 0.020881 | 0.99107 | -0.17071 | 0.99109 | -0.17026 | 5.7365
29 | -0.019427 | -0.00487 | 0.019433 | 0.0048736 | 6.0159e-06 | 3.6071e-06 | 0.029168 | 0.029168 | 0.029168 | 0.99109 | -0.17026 | 0.99142 | -0.16377 | 8.0132
30 | -0.020415 | -0.0051198 | 0.020418 | 0.0051216 | 3.1186e-06 | 1.8817e-06 | 0.030642 | 0.030642 | 0.030642 | 0.99142 | -0.16377 | 0.99159 | -0.16056 | 8.4182
31 | -0.029529 | -0.0074052 | 0.029545 | 0.0074154 | 1.6371e-05 | 1.019e-05 | 0.044313 | 0.044313 | 0.044313 | 0.99159 | -0.16056 | 0.99219 | -0.14894 | 12.174
32 | 0.0091103 | 0.0022836 | -0.0091092 | -0.0022831 | 1.0714e-06 | 4.8855e-07 | 0.013671 | 0.013671 | 0.013671 | 0.99159 | -0.16056 | 0.99146 | -0.16303 | 3.7559
33 | -0.0062767 | -0.0015731 | 0.0062773 | 0.0015732 | 5.5037e-07 | 1.4337e-07 | 0.00947 | 0.0094699 | 0.00947 | 0.98626 | -0.26161 | 0.98635 | -0.25977 | 2.6016
34 | -0.080055 | -0.020437 | 0.080217 | 0.020541 | 0.00016275 | 0.00010378 | 0.1209 | 0.1209 | 0.1209 | 0.98635 | -0.25977 | 0.98854 | -0.2178 | 33.2156
35 | 0.073777 | 0.018864 | -0.073706 | -0.018819 | 7.095e-05 | 4.5214e-05 | 0.11143 | 0.11143 | 0.11143 | 0.98635 | -0.25977 | 0.98532 | -0.27967 | 30.614
36 | -0.084583 | -0.021635 | 0.084606 | 0.02165 | 2.247e-05 | 1.4334e-05 | 0.12748 | 0.12748 | 0.12748 | 0.98854 | -0.2178 | 0.98883 | -0.21231 | 35.0209
37 | 0.072351 | 0.018479 | -0.072221 | -0.018396 | 0.00013028 | 8.3011e-05 | 0.10939 | 0.10939 | 0.10939 | 0.98532 | -0.27967 | 0.98338 | -0.31699 | 30.0519
38 | -0.086615 | -0.022153 | 0.086749 | 0.022239 | 0.00013365 | 8.527e-05 | 0.1305 | 0.1305 | 0.1305 | 0.98883 | -0.21231 | 0.9905 | -0.18048 | 35.8516
39 | 0.072221 | 0.018396 | -0.072173 | -0.018366 | 4.8381e-05 | 3.0827e-05 | 0.10939 | 0.10939 | 0.10939 | 0.98338 | -0.31699 | 0.98266 | -0.33089 | 30.0519
40 | -0.08895 | -0.02279 | 0.088967 | 0.022801 | 1.641e-05 | 1.0471e-05 | 0.13381 | 0.13381 | 0.13381 | 0.9905 | -0.18048 | 0.9907 | -0.17667 | 36.7603
41 | 0.0012131 | 0.00030383 | -0.0012131 | -0.00030403 | 2.0713e-08 | -1.9411e-07 | 0.0018369 | 0.001837 | 0.001837 | 0.98266 | -0.33089 | 0.98264 | -0.33125 | 0.50466
42 | 0.07096 | 0.018062 | -0.070852 | -0.017993 | 0.00010733 | 6.8377e-05 | 0.10755 | 0.10755 | 0.10755 | 0.98266 | -0.33089 | 0.98104 | -0.36231 | 29.5473
43 | 0.27239 | 0.069426 | -0.27169 | -0.068975 | 0.00070689 | 0.00045107 | 0.40607 | 0.40607 | 0.40607 | 0.99917 | -0.01577 | 0.99634 | -0.069693 | 37.186
44 | -0.30916 | -0.07864 | 0.30939 | 0.07879 | 0.00023512 | 0.00015013 | 0.46082 | 0.46082 | 0.46082 | 0.99917 | -0.01577 | 1 | 0 | 42.1999
45 | 0.098003 | 0.024838 | -0.097741 | -0.024671 | 0.00026198 | 0.00016724 | 0.14646 | 0.14646 | 0.14646 | 0.99634 | -0.069693 | 0.99343 | -0.12549 | 40.2373
46 | 0.18628 | 0.047681 | -0.18588 | -0.047424 | 0.00040399 | 0.00025691 | 0.27754 | 0.27754 | 0.27754 | 1 | 0 | 0.99763 | -0.044891 | 25.4158
47 | 0.046609 | 0.011716 | -0.046538 | -0.011671 | 7.1638e-05 | 4.5328e-05 | 0.069368 | 0.069368 | 0.069368 | 1 | 0 | 0.99832 | -0.032244 | 19.0571
48 | 0.014568 | 0.0036527 | -0.014564 | -0.0036506 | 3.7887e-06 | 2.1501e-06 | 0.021821 | 0.021821 | 0.021821 | 0.99343 | -0.12549 | 0.99315 | -0.13095 | 5.9949
49 | 0.083173 | 0.021018 | -0.083113 | -0.02098 | 6.0372e-05 | 3.8504e-05 | 0.12464 | 0.12464 | 0.12464 | 0.99343 | -0.12549 | 0.99264 | -0.14064 | 34.2425
50 | 0.14718 | 0.037726 | -0.14672 | -0.037435 | 0.00045695 | 0.00029114 | 0.21982 | 0.21982 | 0.21982 | 0.99763 | -0.044891 | 0.99425 | -0.10915 | 30.1955
51 | 0.020492 | 0.0051431 | -0.020471 | -0.0051306 | 2.0706e-05 | 1.2479e-05 | 0.030546 | 0.030547 | 0.030547 | 0.99832 | -0.032244 | 0.99722 | -0.053453 | 8.3919
52 | 0.078706 | 0.019875 | -0.078575 | -0.019791 | 0.00013129 | 8.37e-05 | 0.11804 | 0.11804 | 0.11804 | 0.99264 | -0.14064 | 0.99084 | -0.17552 | 32.4277
53 | 0.047488 | 0.011943 | -0.047436 | -0.01191 | 5.158e-05 | 3.2659e-05 | 0.071086 | 0.071086 | 0.071086 | 0.99425 | -0.10915 | 0.99307 | -0.13192 | 19.5291
54 | 0.095714 | 0.02461 | -0.095591 | -0.024532 | 0.00012292 | 7.7842e-05 | 0.14347 | 0.14347 | 0.14347 | 0.99425 | -0.10915 | 0.99285 | -0.13561 | 19.7074
55 | 0.0035207 | 0.00088218 | -0.0035205 | -0.00088231 | 2.1563e-07 | -1.3058e-07 | 0.0052691 | 0.0052691 | 0.0052691 | 0.99425 | -0.10915 | 0.99418 | -0.11044 | 1.4476
56 | 0.060271 | 0.015204 | -0.060263 | -0.015199 | 7.3838e-06 | 4.6947e-06 | 0.090549 | 0.090549 | 0.090549 | 0.99084 | -0.17552 | 0.9907 | -0.17808 | 24.876
57 | 0.037512 | 0.0094229 | -0.037512 | -0.0094226 | 5.1315e-07 | 3.2281e-07 | 0.056216 | 0.056216 | 0.056216 | 0.99307 | -0.13192 | 0.99305 | -0.1322 | 15.444
58 | 0.09393 | 0.024116 | -0.093913 | -0.024105 | 1.6893e-05 | 1.0782e-05 | 0.14098 | 0.14098 | 0.14098 | 0.99285 | -0.13561 | 0.99266 | -0.13932 | 38.7309
59 | -0.045146 | -0.011315 | 0.04531 | 0.011419 | 0.00016417 | 0.00010394 | 0.069254 | 0.069253 | 0.069254 | 0.97002 | -0.57823 | 0.97388 | -0.50219 | 19.0258
60 | -0.062518 | -0.015731 | 0.062607 | 0.015788 | 8.8585e-05 | 5.6372e-05 | 0.095546 | 0.095546 | 0.095546 | 0.97388 | -0.50219 | 0.97538 | -0.47259 | 26.249
61 | -0.067349 | -0.016976 | 0.067607 | 0.01714 | 0.00025798 | 0.00016429 | 0.10278 | 0.10278 | 0.10278 | 0.97538 | -0.47259 | 0.97946 | -0.39286 | 28.2363
62 | -0.069402 | -0.01759 | 0.069504 | 0.017655 | 0.00010205 | 6.5005e-05 | 0.10551 | 0.10551 | 0.10551 | 0.97946 | -0.39286 | 0.98104 | -0.36231 | 28.9857
63 | 0.035797 | 0.0089958 | -0.035743 | -0.0089615 | 5.457e-05 | 3.429e-05 | 0.054023 | 0.054023 | 0.054023 | 0.98617 | -0.26588 | 0.98453 | -0.29787 | 14.8414
64 | -0.035797 | -0.0089958 | 0.035815 | 0.009007 | 1.7831e-05 | 1.1204e-05 | 0.054023 | 0.054022 | 0.054023 | 0.98617 | -0.26588 | 0.98671 | -0.25546 | 14.8414
65 | 0.017767 | 0.0044565 | -0.017757 | -0.0044504 | 1.0296e-05 | 6.1055e-06 | 0.026855 | 0.026855 | 0.026855 | 0.98453 | -0.29787 | 0.98391 | -0.31003 | 7.3778
66 | -0.035815 | -0.009007 | 0.035877 | 0.009046 | 6.2021e-05 | 3.8968e-05 | 0.054022 | 0.054022 | 0.054022 | 0.98671 | -0.25546 | 0.98857 | -0.21927 | 14.8413
67 | -0.054039 | -0.013598 | 0.05409 | 0.01363 | 5.091e-05 | 3.2319e-05 | 0.08136 | 0.08136 | 0.08136 | 0.98857 | -0.21927 | 0.98959 | -0.19957 | 22.3517
68 | 0.036732 | 0.0092271 | -0.036718 | -0.0092184 | 1.3841e-05 | 8.7007e-06 | 0.055047 | 0.055047 | 0.055047 | 0.99305 | -0.1322 | 0.99265 | -0.1401 | 15.1229
69 | 0.092142 | 0.023661 | -0.091976 | -0.023555 | 0.00016676 | 0.00010643 | 0.13833 | 0.13833 | 0.13833 | 0.99266 | -0.13932 | 0.9907 | -0.17667 | 38.0018
70 | 0.033254 | 0.0083503 | -0.03324 | -0.0083415 | 1.4006e-05 | 8.77e-06 | 0.049855 | 0.049855 | 0.049855 | 0.99265 | -0.1401 | 0.99219 | -0.14894 | 13.6965
71 | 0.0037907 | 0.00094975 | -0.0037902 | -0.00094992 | 4.3145e-07 | -1.7419e-07 | 0.0057143 | 0.0057145 | 0.0057145 | 0.98707 | -0.24817 | 0.98695 | -0.25056 | 1.5699
72 | 0.0067586 | 0.0016939 | -0.0067573 | -0.0016935 | 1.3375e-06 | 4.1691e-07 | 0.010189 | 0.010189 | 0.010189 | 0.98707 | -0.24817 | 0.98686 | -0.25232 | 2.7991
73 | -0.0085317 | -0.0021381 | 0.0085327 | 0.0021386 | 9.9771e-07 | 4.2934e-07 | 0.012806 | 0.012806 | 0.012806 | 0.99134 | -0.16548 | 0.99146 | -0.16303 | 3.5182
74 | 0.042597 | 0.010722 | -0.042535 | -0.010683 | 6.2711e-05 | 3.9628e-05 | 0.064557 | 0.064558 | 0.064558 | 0.9821 | -0.34431 | 0.98052 | -0.37516 | 17.7356
75 | -0.055724 | -0.01404 | 0.055782 | 0.014076 | 5.7362e-05 | 3.6431e-05 | 0.083817 | 0.083817 | 0.083817 | 0.98959 | -0.19957 | 0.9907 | -0.17808 | 23.0267
76 | -0.0046631 | -0.0011687 | 0.0046635 | 0.0011687 | 3.8358e-07 | -1.0569e-08 | 0.0070876 | 0.0070876 | 0.0070876 | 0.979 | -0.40503 | 0.97909 | -0.40331 | 1.9472
77 | -0.0046635 | -0.0011687 | 0.0046642 | 0.0011687 | 6.8902e-07 | -1.9117e-08 | 0.0070876 | 0.0070874 | 0.0070876 | 0.97909 | -0.40331 | 0.97925 | -0.4002 | 1.9471
78 | 0.022863 | 0.005737 | -0.022859 | -0.0057343 | 4.4275e-06 | 2.71e-06 | 0.034699 | 0.034699 | 0.034699 | 0.98052 | -0.37516 | 0.98032 | -0.37922 | 9.5327
79 | 0.019671 | 0.0049458 | -0.019643 | -0.0049288 | 2.8219e-05 | 1.6997e-05 | 0.029858 | 0.029859 | 0.029859 | 0.98052 | -0.37516 | 0.97899 | -0.40525 | 8.203
80 | 0.022859 | 0.0057343 | -0.022853 | -0.0057306 | 6.0291e-06 | 3.6903e-06 | 0.034699 | 0.034699 | 0.034699 | 0.98032 | -0.37922 | 0.98003 | -0.38476 | 9.5328
81 | 0.019643 | 0.0049288 | -0.019627 | -0.004919 | 1.6345e-05 | 9.8464e-06 | 0.029859 | 0.029859 | 0.029859 | 0.97899 | -0.40525 | 0.9781 | -0.42271 | 8.203
82 | 0.0072913 | 0.0018274 | -0.0072909 | -0.0018273 | 4.3084e-07 | 1.5095e-07 | 0.01092 | 0.01092 | 0.01092 | 0.9936 | -0.12226 | 0.99353 | -0.1235 | 2.9999
83 | 0.017067 | 0.0042804 | -0.017063 | -0.004278 | 4.0343e-06 | 2.3801e-06 | 0.025914 | 0.025914 | 0.025914 | 0.98003 | -0.38476 | 0.97978 | -0.38972 | 7.1193
84 | 0.013285 | 0.0033314 | -0.013279 | -0.0033277 | 6.6349e-06 | 3.6993e-06 | 0.020178 | 0.020178 | 0.020178 | 0.97978 | -0.38972 | 0.97925 | -0.4002 | 5.5434

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54393 | 0.13819

## res_load
| p_mw | q_mvar
0 | 0.0022171 | 0.00055566
1 | 0.0057474 | 0.0014404
2 | 0.021597 | 0.0054127
3 | 0.0065044 | 0.0016301
4 | 0.0060966 | 0.0015279
5 | 0.0029663 | 0.00074342
6 | 0.00095909 | 0.00024037
7 | 0.0024266 | 0.00060816
8 | 0.009164 | 0.0022967
9 | 0.0025668 | 0.00064329
10 | 0.044028 | 0.011034
11 | 0.00077706 | 0.00019475
12 | 0.00064686 | 0.00016212
13 | 0.012007 | 0.0030091
14 | 0.0076338 | 0.0019132
15 | 0.0058867 | 0.0014753
16 | 0.00042574 | 0.0001067
17 | 0.0075902 | 0.0019023
18 | 0.0055198 | 0.0013834
19 | 0.0009821 | 0.00024614
20 | 0.0062767 | 0.0015731
21 | 0.0043659 | 0.0010942
22 | 0.0013549 | 0.00033957
23 | 0.0020093 | 0.00050358
24 | 0.0022017 | 0.00055181
25 | 0.036765 | 0.0092142
26 | 0.038697 | 0.0096984
27 | 0.026046 | 0.0065277
28 | 0.0028311 | 0.00070954
29 | 0.0044068 | 0.0011044
30 | 0.020471 | 0.0051306
31 | 0.018304 | 0.0045874
32 | 0.0099237 | 0.0024871
33 | 0.0016609 | 0.00041626
34 | 0.0035205 | 0.00088231
35 | 0.045146 | 0.011315
36 | 0.004742 | 0.0011884
37 | 0.0092371 | 0.002315
38 | 0.0017956 | 0.00045003
39 | 0.0013478 | 0.0003378
40 | 0.017975 | 0.004505
41 | 0.017757 | 0.0044504
42 | 0.018162 | 0.0045518
43 | 0.00077996 | 0.00019548
44 | 0.0017705 | 0.00044374
45 | 0.0034638 | 0.00086812
46 | 0.0030089 | 0.0007541
47 | 0.0037902 | 0.00094992
48 | 0.0067573 | 0.0016935
49 | 0.0071077 | 0.0017814
50 | 0.00057658 | 0.0001445
51 | 0.0036952 | 0.00092611
52 | 0.0012131 | 0.00030403
53 | 0.0068326 | 0.0017124
54 | 0.0016342 | 0.00040958
55 | 0.0044817 | 0.0011232
56 | 0.0046631 | 0.0011687
57 | 0.000735 | 0.00018421
58 | 0.0072909 | 0.0018273
59 | 0.0057861 | 0.0014501
60 | 0.019627 | 0.004919
61 | 0.0037772 | 0.00094665
62 | 0.0086147 | 0.002159

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1