## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-31_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-31_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-31_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2275-31_0_4_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_2275-31_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2275-31_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2275-31_0_4_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_2275-31_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_2275-31_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2275-31_0_4_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_2275-31_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_2275-31_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2275-31_0_4_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_2275-31_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_2275-31_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2275-31_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2275-31_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2275-31_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2275-31_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2275-31_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2275-31_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2275-31_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2275-31_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2275-31_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2275-31_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2275-31_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2275-31_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2275-31_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2275-31_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2275-31_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2275-31_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_2275-31_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2275-31_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2275-31_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2275-31_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2275-31_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2275-31_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2275-31_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2275-31_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_2275-31_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_2275-31_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2275-31_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_2275-31_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2275-31_0_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2275-31_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_2275-31_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_MV_379_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-31_0_4_load_0 | 0 | 0.0058745 | 0.0014723 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-31_0_4_load_15 | 3 | 0.0025593 | 0.00064143 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-31_0_4_load_12 | 5 | 0.014818 | 0.0037138 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-31_0_4_load_50 | 6 | 0.0038347 | 0.00096107 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-31_0_4_load_21 | 7 | 0.0042328 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-31_0_4_load_13 | 8 | 0.0065371 | 0.0016384 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-31_0_4_load_49 | 9 | 0.0038565 | 0.00096653 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-31_0_4_load_26 | 10 | 0.0033645 | 0.00084322 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-31_0_4_load_10 | 11 | 0.016285 | 0.0040814 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-31_0_4_load_47 | 12 | 0.025796 | 0.006465 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-31_0_4_load_46 | 13 | 0.025975 | 0.00651 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-31_0_4_load_7 | 14 | 0.007498 | 0.0018792 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-31_0_4_load_8 | 15 | 0.011475 | 0.0028759 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-31_0_4_load_9 | 16 | 0.0070851 | 0.0017757 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-31_0_4_load_11 | 17 | 0.0074019 | 0.0018551 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-31_0_4_load_17 | 18 | 0.0037327 | 0.00093551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-31_0_4_load_16 | 19 | 0.0041369 | 0.0010368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-31_0_4_load_19 | 21 | 0.0030458 | 0.00076334 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-31_0_4_load_20 | 22 | 0.002698 | 0.00067619 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-31_0_4_load_18 | 23 | 0.0043827 | 0.0010984 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-31_0_4_load_27 | 24 | 0.0030284 | 0.000759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-31_0_4_load_22 | 25 | 0.0041053 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-31_0_4_load_28 | 26 | 0.0027122 | 0.00067974 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-31_0_4_load_23 | 27 | 0.016 | 0.0040099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-31_0_4_load_24 | 28 | 0.0040862 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-31_0_4_load_37 | 30 | 0.015347 | 0.0038464 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-31_0_4_load_35 | 31 | 0.014843 | 0.00372 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2275-31_0_4_load_29 | 32 | 0.0038335 | 0.00096076 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2275-31_0_4_load_30 | 33 | 0.0033857 | 0.00084854 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2275-31_0_4_load_33 | 34 | 0.0053056 | 0.0013297 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2275-31_0_4_load_31 | 35 | 0.0051395 | 0.0012881 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2275-31_0_4_load_32 | 36 | 0.01828 | 0.0045813 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2275-31_0_4_load_34 | 37 | 0.011069 | 0.002774 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2275-31_0_4_load_40 | 38 | 0.022655 | 0.005678 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2275-31_0_4_load_41 | 39 | 0.013698 | 0.0034331 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2275-31_0_4_load_48 | 40 | 0.024854 | 0.0062291 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2275-31_0_4_load_45 | 41 | 0.033277 | 0.00834 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2275-31_0_4_load_42 | 42 | 0.018284 | 0.0045824 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2275-31_0_4_load_44 | 44 | 0.016236 | 0.0040691 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2275-31_0_4_load_51 | 45 | 0.0031254 | 0.0007833 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-31_0_4_line_0 |  | 0 | 1 | 0.085476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-31_0_4_line_1 |  | 1 | 2 | 0.056937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-31_0_4_line_2 |  | 2 | 3 | 0.013062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-31_0_4_line_3 |  | 2 | 4 | 0.024513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-31_0_4_line_4 |  | 2 | 5 | 0.0092737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-31_0_4_line_5 |  | 3 | 7 | 0.002539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-31_0_4_line_6 |  | 4 | 6 | 0.018649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-31_0_4_line_7 |  | 5 | 8 | 0.0019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-31_0_4_line_8 |  | 6 | 9 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-31_0_4_line_9 |  | 7 | 25 | 0.0058503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-31_0_4_line_10 |  | 8 | 20 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-31_0_4_line_11 |  | 9 | 45 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-31_0_4_line_12 |  | 10 | 11 | 0.0071443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-31_0_4_line_13 |  | 11 | 15 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2275-31_0_4_line_14 |  | 12 | 13 | 0.0078236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-31_0_4_line_15 |  | 13 | 44 | 0.0067751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-31_0_4_line_16 |  | 14 | 15 | 0.01525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-31_0_4_line_17 |  | 14 | 16 | 0.0011662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-31_0_4_line_18 |  | 16 | 17 | 0.00802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-31_0_4_line_19 |  | 17 | 18 | 0.00079166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-31_0_4_line_20 |  | 18 | 19 | 0.0049712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-31_0_4_line_21 |  | 19 | 23 | 0.0016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-31_0_4_line_22 |  | 20 | 21 | 0.0073205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-31_0_4_line_23 |  | 20 | 22 | 0.020076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-31_0_4_line_24 |  | 20 | 23 | 0.01522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-31_0_4_line_25 |  | 21 | 24 | 0.00018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-31_0_4_line_26 |  | 24 | 26 | 0.0068415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2275-31_0_4_line_27 |  | 25 | 27 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-31_0_4_line_28 |  | 26 | 32 | 0.004283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2275-31_0_4_line_29 |  | 27 | 28 | 0.0079088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-31_0_4_line_30 |  | 29 | 30 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2275-31_0_4_line_31 |  | 29 | 31 | 0.019442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2275-31_0_4_line_32 |  | 30 | 38 | 0.0060586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2275-31_0_4_line_33 |  | 31 | 37 | 0.00085557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2275-31_0_4_line_34 |  | 32 | 33 | 0.0014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2275-31_0_4_line_35 |  | 33 | 34 | 0.004251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2275-31_0_4_line_36 |  | 34 | 35 | 0.0052096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2275-31_0_4_line_37 |  | 35 | 36 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2275-31_0_4_line_38 |  | 36 | 37 | 0.0005008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2275-31_0_4_line_39 |  | 38 | 39 | 0.0048685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2275-31_0_4_line_40 |  | 39 | 42 | 0.0048256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2275-31_0_4_line_41 |  | 40 | 41 | 0.00045226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2275-31_0_4_line_42 |  | 41 | 43 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-31_0_4_line_43 |  | 42 | 43 | 0.00031925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2275-31_0_4_line_44 |  | 43 | 44 | 0.0051669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-31_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 46 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2575619.4019 | 1197439.2787 | 2575608.8749 | 1197435.1418 | 2575603.949 | 1197431.8379 | 2575591.1113 | 1197423.2414 | 2575588.5606 | 1197421.5398 | 2575586.6696 | 1197421.0029 | 2575585.0684 | 1197420.5536 | 2575573.654 | 1197417.3209 | 2575561.412 | 1197412.8687 | 2575541.5199 | 1197405.5391
1 | 2575568.5919 | 1197451.3489 | 2575572.2937 | 1197447.7652 | 2575576.3259 | 1197446.7036 | 2575577.4814 | 1197444.3309 | 2575583.2272 | 1197437.7149 | 2575599.6261 | 1197438.1368 | 2575619.4019 | 1197439.2787
2 | 2575568.5919 | 1197451.3489 | 2575556.9561 | 1197445.4129
3 | 2575568.5919 | 1197451.3489 | 2575572.2937 | 1197447.7652 | 2575579.7427 | 1197451.6145 | 2575581.6586 | 1197450.7951 | 2575581.9154 | 1197450.2826 | 2575584.7238 | 1197451.6719 | 2575585.1016 | 1197450.9255 | 2575582.2703 | 1197449.5252 | 2575582.8143 | 1197448.4668
4 | 2575568.5919 | 1197451.3489 | 2575563.1304 | 1197458.8439
5 | 2575556.9561 | 1197445.4129 | 2575555.4267 | 1197444.6327 | 2575554.6651 | 1197444.3231
6 | 2575582.8143 | 1197448.4668 | 2575579.5618 | 1197446.4902 | 2575566.0651 | 1197440.3127
7 | 2575563.1304 | 1197458.8439 | 2575561.9534 | 1197460.4593
8 | 2575548.7819 | 1197432.5357 | 2575550.1927 | 1197433.0479 | 2575566.0651 | 1197440.3127
9 | 2575554.6651 | 1197444.3231 | 2575549.2454 | 1197442.1201
10 | 2575554.4298 | 1197470.7842 | 2575561.9534 | 1197460.4593
11 | 2575548.7819 | 1197432.5357 | 2575537.2055 | 1197428.3332
12 | 2575601.8374 | 1197507.6397 | 2575607.4777 | 1197512.0245
13 | 2575601.8374 | 1197507.6397 | 2575591.5912 | 1197499.6741
14 | 2575553.2981 | 1197553.5415 | 2575559.1013 | 1197558.7886
15 | 2575548.2727 | 1197548.9976 | 2575553.2981 | 1197553.5415
16 | 2575579.5512 | 1197490.314 | 2575591.5912 | 1197499.6741
17 | 2575579.5512 | 1197490.314 | 2575578.6305 | 1197489.5982
18 | 2575572.2988 | 1197484.6759 | 2575578.6305 | 1197489.5982
19 | 2575572.2988 | 1197484.6759 | 2575571.6738 | 1197484.19
20 | 2575567.7491 | 1197481.1389 | 2575571.6738 | 1197484.19
21 | 2575566.446 | 1197480.1258 | 2575567.7491 | 1197481.1389
22 | 2575554.4298 | 1197470.7842 | 2575549.8667 | 1197476.5086
23 | 2575554.4298 | 1197470.7842 | 2575537.5241 | 1197459.957
24 | 2575554.4298 | 1197470.7842 | 2575566.446 | 1197480.1258
25 | 2575549.8667 | 1197476.5086 | 2575549.7545 | 1197476.6494
26 | 2575549.7545 | 1197476.6494 | 2575545.4901 | 1197481.9992
27 | 2575549.2454 | 1197442.1201 | 2575536.4464 | 1197436.9175 | 2575535.3596 | 1197436.517
28 | 2575545.4901 | 1197481.9992 | 2575542.8204 | 1197485.3483
29 | 2575527.9388 | 1197433.7821 | 2575535.3596 | 1197436.517
30 | 2575515.6211 | 1197519.47 | 2575532.4309 | 1197534.6647 | 2575532.5232 | 1197534.7482
31 | 2575515.6211 | 1197519.47 | 2575527.74 | 1197504.2667
32 | 2575532.5232 | 1197534.7482 | 2575537.0155 | 1197538.8135
33 | 2575528.2733 | 1197503.5977 | 2575527.74 | 1197504.2667
34 | 2575541.9392 | 1197486.4538 | 2575542.8204 | 1197485.3483
35 | 2575541.9392 | 1197486.4538 | 2575539.2894 | 1197489.7779
36 | 2575536.0422 | 1197493.8516 | 2575539.2894 | 1197489.7779
37 | 2575536.0422 | 1197493.8516 | 2575528.5855 | 1197503.2061
38 | 2575528.5855 | 1197503.2061 | 2575528.2733 | 1197503.5977
39 | 2575540.6253 | 1197542.0802 | 2575537.0155 | 1197538.8135
40 | 2575540.6253 | 1197542.0802 | 2575544.2034 | 1197545.3181
41 | 2575532.1495 | 1197559.2067 | 2575532.4397 | 1197558.8598
42 | 2575544.4401 | 1197545.5323 | 2575541.3741 | 1197548.1797 | 2575532.4397 | 1197558.8598
43 | 2575544.4401 | 1197545.5323 | 2575544.2034 | 1197545.3181
44 | 2575544.4401 | 1197545.5323 | 2575548.2727 | 1197548.9976

## bus_geodata
| x | y | coords
0 | 2575541.5199 | 1197405.5391
1 | 2575619.4019 | 1197439.2787
2 | 2575568.5919 | 1197451.3489
3 | 2575556.9561 | 1197445.4129
4 | 2575582.8143 | 1197448.4668
5 | 2575563.1304 | 1197458.8439
6 | 2575566.0651 | 1197440.3127
7 | 2575554.6651 | 1197444.3231
8 | 2575561.9534 | 1197460.4593
9 | 2575548.7819 | 1197432.5357
10 | 2575607.4777 | 1197512.0245
11 | 2575601.8374 | 1197507.6397
12 | 2575559.1013 | 1197558.7886
13 | 2575553.2981 | 1197553.5415
14 | 2575579.5512 | 1197490.314
15 | 2575591.5912 | 1197499.6741
16 | 2575578.6305 | 1197489.5982
17 | 2575572.2988 | 1197484.6759
18 | 2575571.6738 | 1197484.19
19 | 2575567.7491 | 1197481.1389
20 | 2575554.4298 | 1197470.7842
21 | 2575549.8667 | 1197476.5086
22 | 2575537.5241 | 1197459.957
23 | 2575566.446 | 1197480.1258
24 | 2575549.7545 | 1197476.6494
25 | 2575549.2454 | 1197442.1201
26 | 2575545.4901 | 1197481.9992
27 | 2575535.3596 | 1197436.517
28 | 2575527.9388 | 1197433.7821
29 | 2575515.6211 | 1197519.47
30 | 2575532.5232 | 1197534.7482
31 | 2575527.74 | 1197504.2667
32 | 2575542.8204 | 1197485.3483
33 | 2575541.9392 | 1197486.4538
34 | 2575539.2894 | 1197489.7779
35 | 2575536.0422 | 1197493.8516
36 | 2575528.5855 | 1197503.2061
37 | 2575528.2733 | 1197503.5977
38 | 2575537.0155 | 1197538.8135
39 | 2575540.6253 | 1197542.0802
40 | 2575532.1495 | 1197559.2067
41 | 2575532.4397 | 1197558.8598
42 | 2575544.2034 | 1197545.3181
43 | 2575544.4401 | 1197545.5323
44 | 2575548.2727 | 1197548.9976
45 | 2575537.2055 | 1197428.3332
46 | 2575515.6211 | 1197519.47

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99459 | -0.10408 | 0.0058745 | 0.0014723
1 | 0.99505 | -0.095237 | 0 | 0
2 | 0.99535 | -0.089347 | 0 | 0
3 | 0.99498 | -0.09647 | 0.0025593 | 0.00064143
4 | 0.99511 | -0.094013 | 0 | 0
5 | 0.99575 | -0.081571 | 0.014818 | 0.0037138
6 | 0.99493 | -0.097565 | 0.0038347 | 0.00096107
7 | 0.99492 | -0.097741 | 0.0042328 | 0.0010608
8 | 0.99587 | -0.079375 | 0.0065371 | 0.0016384
9 | 0.99481 | -0.099896 | 0.0038565 | 0.00096653
10 | 0.99431 | -0.10936 | 0.0033645 | 0.00084322
11 | 0.99434 | -0.10894 | 0.016285 | 0.0040814
12 | 0.99406 | -0.11418 | 0.025796 | 0.006465
13 | 0.99425 | -0.11062 | 0.025975 | 0.00651
14 | 0.995 | -0.096081 | 0.007498 | 0.0018792
15 | 0.99457 | -0.10444 | 0.011475 | 0.0028759
16 | 0.99504 | -0.095288 | 0.0070851 | 0.0017757
17 | 0.99538 | -0.088837 | 0.0074019 | 0.0018551
18 | 0.99542 | -0.088097 | 0.0037327 | 0.00093551
19 | 0.99567 | -0.083128 | 0.0041369 | 0.0010368
20 | 0.99667 | -0.063887 | 0 | 0
21 | 0.99759 | -0.046293 | 0.0030458 | 0.00076334
22 | 0.99662 | -0.064837 | 0.002698 | 0.00067619
23 | 0.99576 | -0.081359 | 0.0043827 | 0.0010984
24 | 0.99761 | -0.045851 | 0.0030284 | 0.000759
25 | 0.99479 | -0.10023 | 0.0041053 | 0.0010289
26 | 0.99806 | -0.037278 | 0.0027122 | 0.00067974
27 | 0.99451 | -0.10553 | 0.016 | 0.0040099
28 | 0.99448 | -0.1061 | 0.0040862 | 0.0010241
29 | 0.99813 | -0.03584 | 0 | 0
30 | 0.99609 | -0.075008 | 0.015347 | 0.0038464
31 | 0.99987 | -0.0025424 | 0.014843 | 0.00372
32 | 0.99834 | -0.031812 | 0.0038335 | 0.00096076
33 | 0.99844 | -0.029962 | 0.0033857 | 0.00084854
34 | 0.99873 | -0.024274 | 0.0053056 | 0.0013297
35 | 0.99911 | -0.017066 | 0.0051395 | 0.0012881
36 | 1 | 0 | -0.38888 | -0.097683
37 | 0.99995 | -0.00096909 | 0.011069 | 0.002774
38 | 0.99559 | -0.084633 | 0.022655 | 0.005678
39 | 0.99524 | -0.091403 | 0.013698 | 0.0034331
40 | 0.99392 | -0.11686 | 0.024854 | 0.0062291
41 | 0.99393 | -0.11666 | 0.033277 | 0.00834
42 | 0.99492 | -0.097537 | 0.018284 | 0.0045824
43 | 0.99489 | -0.098246 | 0 | 0
44 | 0.99457 | -0.10444 | 0.016236 | 0.0040691
45 | 0.99477 | -0.10057 | 0.0031254 | 0.0007833
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0058745 | -0.0014723 | 0.005877 | 0.0014728 | 2.4759e-06 | 4.7478e-07 | 0.008789 | 0.0087886 | 0.008789 | 0.99459 | -0.10408 | 0.99505 | -0.095237 | 2.4145
1 | -0.005877 | -0.0014728 | 0.0058787 | 0.0014731 | 1.6491e-06 | 3.1561e-07 | 0.0087886 | 0.0087883 | 0.0087886 | 0.99505 | -0.095237 | 0.99535 | -0.089347 | 2.4144
2 | 0.031003 | 0.0077775 | -0.030993 | -0.007771 | 1.0524e-05 | 6.5658e-06 | 0.046352 | 0.046352 | 0.046352 | 0.99535 | -0.089347 | 0.99498 | -0.09647 | 12.734
3 | 0.010822 | 0.0027132 | -0.010819 | -0.002712 | 2.406e-06 | 1.2213e-06 | 0.016178 | 0.016179 | 0.016179 | 0.99535 | -0.089347 | 0.99511 | -0.094013 | 4.4447
4 | -0.047704 | -0.011964 | 0.047722 | 0.011975 | 1.7688e-05 | 1.12e-05 | 0.071319 | 0.071318 | 0.071319 | 0.99535 | -0.089347 | 0.99575 | -0.081571 | 19.593
5 | 0.028434 | 0.0071295 | -0.028432 | -0.0071285 | 1.7218e-06 | 1.069e-06 | 0.042524 | 0.042524 | 0.042524 | 0.99498 | -0.09647 | 0.99492 | -0.097741 | 11.6825
6 | 0.010819 | 0.002712 | -0.010817 | -0.0027111 | 1.8305e-06 | 9.2931e-07 | 0.016179 | 0.016179 | 0.016179 | 0.99511 | -0.094013 | 0.99493 | -0.097565 | 4.4447
7 | -0.06254 | -0.015689 | 0.062546 | 0.015693 | 6.5473e-06 | 4.1643e-06 | 0.093462 | 0.093462 | 0.093462 | 0.99575 | -0.081571 | 0.99587 | -0.079375 | 25.6765
8 | 0.0069828 | 0.00175 | -0.006982 | -0.0017497 | 7.7534e-07 | 2.5006e-07 | 0.010443 | 0.010444 | 0.010444 | 0.99493 | -0.097565 | 0.99481 | -0.099896 | 2.8691
9 | 0.024199 | 0.0060676 | -0.024196 | -0.0060659 | 2.8739e-06 | 1.7634e-06 | 0.036194 | 0.036194 | 0.036194 | 0.99492 | -0.097741 | 0.99479 | -0.10023 | 9.9433
10 | -0.069084 | -0.017331 | 0.069135 | 0.017364 | 5.1052e-05 | 3.2507e-05 | 0.10323 | 0.10323 | 0.10323 | 0.99587 | -0.079375 | 0.99667 | -0.063887 | 28.3599
11 | 0.0031255 | 0.00078321 | -0.0031254 | -0.0007833 | 1.0094e-07 | -9.5291e-08 | 0.0046751 | 0.0046751 | 0.0046751 | 0.99481 | -0.099896 | 0.99477 | -0.10057 | 1.2844
12 | -0.0033645 | -0.00084322 | 0.0033646 | 0.00084317 | 6.7919e-08 | -4.9199e-08 | 0.005035 | 0.005035 | 0.005035 | 0.99431 | -0.10936 | 0.99434 | -0.10894 | 1.3833
13 | -0.01965 | -0.0049246 | 0.019654 | 0.0049271 | 4.2082e-06 | 2.5249e-06 | 0.029405 | 0.029405 | 0.029405 | 0.99434 | -0.10894 | 0.99457 | -0.10444 | 8.0784
14 | -0.025796 | -0.006465 | 0.0258 | 0.0064677 | 4.3744e-06 | 2.6982e-06 | 0.038614 | 0.038614 | 0.038614 | 0.99406 | -0.11418 | 0.99425 | -0.11062 | 10.6082
15 | -0.051775 | -0.012978 | 0.051791 | 0.012987 | 1.5256e-05 | 9.6757e-06 | 0.077489 | 0.077489 | 0.077489 | 0.99425 | -0.11062 | 0.99457 | -0.10444 | 21.2882
16 | 0.031141 | 0.0078107 | -0.031129 | -0.007803 | 1.2405e-05 | 7.741e-06 | 0.046573 | 0.046574 | 0.046574 | 0.995 | -0.096081 | 0.99457 | -0.10444 | 12.7949
17 | -0.038639 | -0.0096899 | 0.038641 | 0.0096908 | 1.4604e-06 | 9.1948e-07 | 0.057787 | 0.057787 | 0.057787 | 0.995 | -0.096081 | 0.99504 | -0.095288 | 15.8754
18 | -0.045726 | -0.011467 | 0.04574 | 0.011475 | 1.4063e-05 | 8.8963e-06 | 0.068382 | 0.068382 | 0.068382 | 0.99504 | -0.095288 | 0.99538 | -0.088837 | 18.7862
19 | -0.053142 | -0.013331 | 0.053144 | 0.013332 | 1.8738e-06 | 1.189e-06 | 0.079447 | 0.079447 | 0.079447 | 0.99538 | -0.088837 | 0.99542 | -0.088097 | 21.8262
20 | -0.056876 | -0.014267 | 0.05689 | 0.014276 | 1.3477e-05 | 8.5609e-06 | 0.085027 | 0.085027 | 0.085027 | 0.99542 | -0.088097 | 0.99567 | -0.083128 | 23.3591
21 | -0.061027 | -0.015313 | 0.061032 | 0.015316 | 5.1491e-06 | 3.274e-06 | 0.09121 | 0.09121 | 0.09121 | 0.99567 | -0.083128 | 0.99576 | -0.081359 | 25.0576
22 | -0.1373 | -0.034489 | 0.13742 | 0.034563 | 0.00011539 | 7.3752e-05 | 0.20502 | 0.20502 | 0.20502 | 0.99667 | -0.063887 | 0.99759 | -0.046293 | 56.3234
23 | 0.0026982 | 0.00067601 | -0.002698 | -0.00067619 | 1.2216e-07 | -1.8343e-07 | 0.0040283 | 0.0040283 | 0.0040283 | 0.99667 | -0.063887 | 0.99662 | -0.064837 | 1.1067
24 | 0.065469 | 0.016449 | -0.065415 | -0.016414 | 5.4546e-05 | 3.4711e-05 | 0.097759 | 0.097759 | 0.097759 | 0.99667 | -0.063887 | 0.99576 | -0.081359 | 26.8569
25 | -0.14046 | -0.035326 | 0.14047 | 0.035328 | 2.9642e-06 | 1.8948e-06 | 0.20956 | 0.20956 | 0.20956 | 0.99759 | -0.046293 | 0.99761 | -0.045851 | 57.5715
26 | -0.14349 | -0.036087 | 0.14355 | 0.036124 | 5.8789e-05 | 3.7446e-05 | 0.21408 | 0.21408 | 0.21408 | 0.99761 | -0.045851 | 0.99806 | -0.037278 | 29.4062
27 | 0.020091 | 0.005037 | -0.020086 | -0.0050339 | 5.0716e-06 | 3.0515e-06 | 0.030053 | 0.030053 | 0.030053 | 0.99479 | -0.10023 | 0.99451 | -0.10553 | 8.2563
28 | -0.14627 | -0.036804 | 0.1463 | 0.036828 | 3.8207e-05 | 2.4341e-05 | 0.21812 | 0.21812 | 0.21812 | 0.99806 | -0.037278 | 0.99834 | -0.031812 | 29.9617
29 | 0.0040863 | 0.0010241 | -0.0040862 | -0.0010241 | 1.1086e-07 | -3.1667e-08 | 0.0061139 | 0.006114 | 0.006114 | 0.99451 | -0.10553 | 0.99448 | -0.1061 | 1.6797
30 | 0.19676 | 0.049561 | -0.19639 | -0.049326 | 0.0003678 | 0.0002348 | 0.29342 | 0.29342 | 0.29342 | 0.99813 | -0.03584 | 0.99609 | -0.075008 | 40.3053
31 | -0.19676 | -0.049561 | 0.19708 | 0.049761 | 0.00031386 | 0.00020036 | 0.29342 | 0.29342 | 0.29342 | 0.99813 | -0.03584 | 0.99987 | -0.0025424 | 40.3053
32 | 0.18105 | 0.04548 | -0.18096 | -0.045427 | 8.3118e-05 | 5.3038e-05 | 0.2705 | 0.2705 | 0.2705 | 0.99609 | -0.075008 | 0.99559 | -0.084633 | 37.156
33 | -0.21192 | -0.053481 | 0.21194 | 0.053491 | 1.5969e-05 | 1.0198e-05 | 0.31551 | 0.31551 | 0.31551 | 0.99987 | -0.0025424 | 0.99995 | -0.00096909 | 43.3395
34 | -0.15014 | -0.037789 | 0.15015 | 0.037798 | 1.328e-05 | 8.4625e-06 | 0.22383 | 0.22383 | 0.22383 | 0.99834 | -0.031812 | 0.99844 | -0.029962 | 30.7465
35 | -0.15354 | -0.038646 | 0.15358 | 0.038673 | 4.1755e-05 | 2.6612e-05 | 0.22888 | 0.22888 | 0.22888 | 0.99844 | -0.029962 | 0.99873 | -0.024274 | 31.4396
36 | -0.15888 | -0.040002 | 0.15894 | 0.040037 | 5.4766e-05 | 3.4914e-05 | 0.23679 | 0.23679 | 0.23679 | 0.99873 | -0.024274 | 0.99911 | -0.017066 | 32.5255
37 | -0.16408 | -0.041325 | 0.16421 | 0.041411 | 0.00013402 | 8.5461e-05 | 0.24444 | 0.24444 | 0.24444 | 0.99911 | -0.017066 | 1 | 0 | 33.5769
38 | 0.22301 | 0.056272 | -0.223 | -0.056266 | 1.0349e-05 | 6.6101e-06 | 0.33198 | 0.33198 | 0.33198 | 1 | 0 | 0.99995 | -0.00096909 | 45.602
39 | 0.15831 | 0.039749 | -0.15826 | -0.039716 | 5.1116e-05 | 3.2588e-05 | 0.23664 | 0.23664 | 0.23664 | 0.99559 | -0.084633 | 0.99524 | -0.091403 | 32.5048
40 | 0.14456 | 0.036283 | -0.14452 | -0.036256 | 4.2275e-05 | 2.6931e-05 | 0.21615 | 0.21615 | 0.21615 | 0.99524 | -0.091403 | 0.99492 | -0.097537 | 29.6915
41 | -0.024854 | -0.0062291 | 0.024854 | 0.0062292 | 2.3482e-07 | 1.4442e-07 | 0.03721 | 0.03721 | 0.03721 | 0.99392 | -0.11686 | 0.99393 | -0.11666 | 10.2224
42 | -0.058132 | -0.014569 | 0.058183 | 0.014602 | 5.1054e-05 | 3.2441e-05 | 0.087029 | 0.087029 | 0.087029 | 0.99393 | -0.11666 | 0.99489 | -0.098246 | 23.909
43 | 0.12623 | 0.031674 | -0.12623 | -0.031671 | 4.2679e-06 | 2.7273e-06 | 0.18881 | 0.18881 | 0.18881 | 0.99492 | -0.097537 | 0.99489 | -0.098246 | 51.8705
44 | 0.068047 | 0.017069 | -0.068026 | -0.017056 | 2.0072e-05 | 1.2779e-05 | 0.10178 | 0.10178 | 0.10178 | 0.99489 | -0.098246 | 0.99457 | -0.10444 | 27.9616

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40716 | 0.10226

## res_load
| p_mw | q_mvar
0 | 0.0058745 | 0.0014723
1 | 0.0025593 | 0.00064143
2 | 0.014818 | 0.0037138
3 | 0.0038347 | 0.00096107
4 | 0.0042328 | 0.0010608
5 | 0.0065371 | 0.0016384
6 | 0.0038565 | 0.00096653
7 | 0.0033645 | 0.00084322
8 | 0.016285 | 0.0040814
9 | 0.025796 | 0.006465
10 | 0.025975 | 0.00651
11 | 0.007498 | 0.0018792
12 | 0.011475 | 0.0028759
13 | 0.0070851 | 0.0017757
14 | 0.0074019 | 0.0018551
15 | 0.0037327 | 0.00093551
16 | 0.0041369 | 0.0010368
17 | 0.0030458 | 0.00076334
18 | 0.002698 | 0.00067619
19 | 0.0043827 | 0.0010984
20 | 0.0030284 | 0.000759
21 | 0.0041053 | 0.0010289
22 | 0.0027122 | 0.00067974
23 | 0.016 | 0.0040099
24 | 0.0040862 | 0.0010241
25 | 0.015347 | 0.0038464
26 | 0.014843 | 0.00372
27 | 0.0038335 | 0.00096076
28 | 0.0033857 | 0.00084854
29 | 0.0053056 | 0.0013297
30 | 0.0051395 | 0.0012881
31 | 0.01828 | 0.0045813
32 | 0.011069 | 0.002774
33 | 0.022655 | 0.005678
34 | 0.013698 | 0.0034331
35 | 0.024854 | 0.0062291
36 | 0.033277 | 0.00834
37 | 0.018284 | 0.0045824
38 | 0.016236 | 0.0040691
39 | 0.0031254 | 0.0007833

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1