## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-32_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2275-32_0_4_node_45 | 0.4 | n |  | TRUE
4 | bus_LV_2275-32_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_2275-32_0_4_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_2275-32_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_2275-32_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2275-32_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2275-32_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2275-32_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2275-32_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2275-32_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2275-32_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2275-32_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2275-32_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_2275-32_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2275-32_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_2275-32_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2275-32_0_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_2275-32_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2275-32_0_4_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_2275-32_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2275-32_0_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_2275-32_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2275-32_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2275-32_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_2275-32_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2275-32_0_4_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_2275-32_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_2275-32_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_2275-32_0_4_node_9 | 0.4 | n |  | TRUE
32 | bus_LV_2275-32_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2275-32_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2275-32_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2275-32_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2275-32_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2275-32_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2275-32_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2275-32_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2275-32_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2275-32_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2275-32_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2275-32_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2275-32_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2275-32_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_2275-32_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_2275-32_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_2275-32_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_MV_379_0_node_229 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-32_0_4_load_0 | 0 | 0.0025755 | 0.00064549 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-32_0_4_load_45 | 3 | 0.0024911 | 0.00062432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-32_0_4_load_36 | 5 | 0.0033053 | 0.0008284 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-32_0_4_load_37 | 6 | 0.0063707 | 0.0015967 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-32_0_4_load_4 | 7 | 0.084062 | 0.021068 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-32_0_4_load_5 | 8 | 0.0032318 | 0.00080997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-32_0_4_load_6 | 9 | 0.041338 | 0.01036 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-32_0_4_load_8 | 11 | 0.0052776 | 0.0013227 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-32_0_4_load_48 | 15 | 0.0093391 | 0.0023406 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-32_0_4_load_44 | 17 | 0.0035913 | 0.00090006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-32_0_4_load_46 | 19 | 0.0065467 | 0.0016408 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-32_0_4_load_53 | 23 | 0.022327 | 0.0055956 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-32_0_4_load_49 | 26 | 0.0019001 | 0.00047621 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-32_0_4_load_35 | 27 | 0.016185 | 0.0040563 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-32_0_4_load_34 | 30 | 0.00032339 | 8.1048e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-32_0_4_load_9 | 31 | 0.00073136 | 0.0001833 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-32_0_4_load_25 | 32 | 0.00015441 | 3.8698e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-32_0_4_load_27 | 33 | 0.00034177 | 8.5656e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-32_0_4_load_33 | 36 | 0.0046596 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-32_0_4_load_41 | 38 | 0.0024752 | 0.00062036 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-32_0_4_load_29 | 40 | 0.026244 | 0.0065773 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-32_0_4_load_32 | 41 | 0.023813 | 0.0059681 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-32_0_4_load_38 | 43 | 0.044451 | 0.011141 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-32_0_4_load_51 | 47 | 0.071801 | 0.017995 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-32_0_4_load_52 | 48 | 0.028976 | 0.0072621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-32_0_4_line_0 |  | 0 | 1 | 0.18542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-32_0_4_line_1 |  | 1 | 2 | 0.052998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-32_0_4_line_2 |  | 2 | 3 | 0.074016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-32_0_4_line_3 |  | 3 | 4 | 0.067033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-32_0_4_line_4 |  | 4 | 24 | 0.02804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-32_0_4_line_5 |  | 5 | 6 | 0.25679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-32_0_4_line_6 |  | 6 | 10 | 0.0077551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-32_0_4_line_7 |  | 7 | 8 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2275-32_0_4_line_8 |  | 7 | 9 | 0.03733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2275-32_0_4_line_9 |  | 8 | 10 | 0.024488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2275-32_0_4_line_10 |  | 9 | 11 | 0.025327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2275-32_0_4_line_11 |  | 10 | 12 | 0.21956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2275-32_0_4_line_12 |  | 10 | 13 | 0.16822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2275-32_0_4_line_13 |  | 11 | 14 | 0.052261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2275-32_0_4_line_14 |  | 12 | 15 | 0.11863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-32_0_4_line_15 |  | 13 | 27 | 0.049658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-32_0_4_line_16 |  | 13 | 28 | 0.19154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2275-32_0_4_line_17 |  | 14 | 29 | 0.041123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2275-32_0_4_line_18 |  | 14 | 22 | 0.40491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-32_0_4_line_19 |  | 14 | 25 | 0.21849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-32_0_4_line_20 |  | 15 | 37 | 0.029134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-32_0_4_line_21 |  | 16 | 17 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-32_0_4_line_22 |  | 16 | 18 | 0.020931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-32_0_4_line_23 |  | 17 | 20 | 0.014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-32_0_4_line_24 |  | 18 | 19 | 0.027826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-32_0_4_line_25 |  | 20 | 21 | 0.00726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-32_0_4_line_26 |  | 21 | 37 | 0.037928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2275-32_0_4_line_27 |  | 21 | 38 | 0.027291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-32_0_4_line_28 |  | 22 | 23 | 0.085446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-32_0_4_line_29 |  | 22 | 24 | 0.37654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-32_0_4_line_30 |  | 24 | 30 | 0.010291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2275-32_0_4_line_31 |  | 25 | 26 | 0.26857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-32_0_4_line_32 |  | 28 | 32 | 0.47191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2275-32_0_4_line_33 |  | 28 | 31 | 0.13917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-32_0_4_line_34 |  | 29 | 39 | 0.035563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2275-32_0_4_line_35 |  | 32 | 33 | 0.0022221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-32_0_4_line_36 |  | 33 | 35 | 0.19527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-32_0_4_line_37 |  | 34 | 35 | 0.37659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2275-32_0_4_line_38 |  | 34 | 36 | 0.073469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2275-32_0_4_line_39 |  | 39 | 41 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2275-32_0_4_line_40 |  | 39 | 40 | 0.0090576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-32_0_4_line_41 |  | 41 | 42 | 0.032135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2275-32_0_4_line_42 |  | 42 | 45 | 0.037339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-32_0_4_line_43 |  | 42 | 44 | 0.035621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2275-32_0_4_line_44 |  | 43 | 44 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2275-32_0_4_line_45 |  | 45 | 46 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2275-32_0_4_line_46 |  | 45 | 47 | 0.012281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2275-32_0_4_line_47 |  | 46 | 48 | 0.012953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-32_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 49 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2577925.9852 | 1199290.8399 | 2577797.84 | 1199156.8286
1 | 2577925.9852 | 1199290.8399 | 2577887.5354 | 1199327.4247
2 | 2577887.5354 | 1199327.4247 | 2577836.8733 | 1199273.4642
3 | 2577790.0064 | 1199225.6437 | 2577794.5192 | 1199229.1621 | 2577799.5307 | 1199233.6903 | 2577836.8733 | 1199273.4642
4 | 2577762.3588 | 1199225.0354 | 2577766.7233 | 1199223.485 | 2577772.5788 | 1199223.641 | 2577778.6942 | 1199224.085 | 2577790.0064 | 1199225.6437
5 | 2577737.9668 | 1198949.9271 | 2577736.9503 | 1198903.0893 | 2577736.3844 | 1198900.3899 | 2577735.1789 | 1198897.693 | 2577733.5022 | 1198895.2423 | 2577731.3311 | 1198892.9159 | 2577720.8542 | 1198884.8285 | 2577710.6288 | 1198876.7735 | 2577705.718 | 1198872.8119 | 2577700.6465 | 1198868.6176 | 2577690.8538 | 1198860.2386 | 2577672.464 | 1198843.5985 | 2577654.8857 | 1198826.0994 | 2577646.8339 | 1198817.0247 | 2577639.3375 | 1198807.859 | 2577626.2997 | 1198789.0423 | 2577611.7857 | 1198768.4635 | 2577609.2755 | 1198765.0822 | 2577607.1353 | 1198762.9224 | 2577597.7193 | 1198755.5872 | 2577594.5081 | 1198752.0751 | 2577594.2879 | 1198751.6871
6 | 2577590.4609 | 1198744.9421 | 2577594.2879 | 1198751.6871
7 | 2577573.6221 | 1198727.2326 | 2577570.8977 | 1198724.2156 | 2577568.0306 | 1198723.1258 | 2577565.001 | 1198723.3485 | 2577560.9065 | 1198725.8986 | 2577560.213 | 1198726.8651
8 | 2577555.7858 | 1198763.7694 | 2577557.0704 | 1198744.4898 | 2577559.6188 | 1198727.6933 | 2577560.213 | 1198726.8651
9 | 2577590.4609 | 1198744.9421 | 2577587.3374 | 1198742.4969 | 2577574.7897 | 1198728.5255 | 2577573.6221 | 1198727.2326
10 | 2577555.7858 | 1198763.7694 | 2577554.1019 | 1198789.0406
11 | 2577545.3793 | 1198582.2238 | 2577553.0081 | 1198581.9727 | 2577560.1589 | 1198582.1792 | 2577564.0369 | 1198582.7538 | 2577565.8194 | 1198584.9593 | 2577570.7796 | 1198589.8322 | 2577573.5529 | 1198592.3008 | 2577573.334 | 1198594.8364 | 2577573.8004 | 1198597.3471 | 2577574.8902 | 1198599.622 | 2577576.5269 | 1198601.528 | 2577578.6186 | 1198602.9542 | 2577580.9975 | 1198603.7901 | 2577572.7589 | 1198611.9367 | 2577569.3784 | 1198616.0628 | 2577563.9231 | 1198623.2539 | 2577555.5381 | 1198634.9807 | 2577552.0301 | 1198639.6187 | 2577552.1953 | 1198643.031 | 2577551.5989 | 1198646.4129 | 2577553.0639 | 1198655.2899 | 2577555.0413 | 1198660.7299 | 2577557.6555 | 1198665.4114 | 2577568.4928 | 1198680.0897 | 2577575.2214 | 1198691.5594 | 2577582.3392 | 1198705.2734 | 2577597.9422 | 1198729.8502 | 2577602.4845 | 1198737.0147 | 2577590.4609 | 1198744.9421
12 | 2577590.4609 | 1198744.9421 | 2577602.4845 | 1198737.0147 | 2577597.9422 | 1198729.8502 | 2577604.7771 | 1198725.0552 | 2577608.5459 | 1198720.9388 | 2577611.3237 | 1198716.5037 | 2577614.0652 | 1198710.5235 | 2577612.5621 | 1198709.7065 | 2577607.5399 | 1198706.5459 | 2577603.2456 | 1198702.5377 | 2577599.189 | 1198696.9721 | 2577590.1939 | 1198682.1313 | 2577602.1248 | 1198675.8496 | 2577615.223 | 1198670.1529 | 2577623.636 | 1198665.8745 | 2577631.52 | 1198660.5975 | 2577645.6495 | 1198649.7275 | 2577653.6027 | 1198644.6282 | 2577660.5867 | 1198641
13 | 2577548.9141 | 1198840.9839 | 2577551.7594 | 1198824.1975 | 2577554.1019 | 1198789.0406
14 | 2577545.3793 | 1198582.2238 | 2577523.8324 | 1198582.7943 | 2577517.6262 | 1198582.7066 | 2577511.5407 | 1198582.296 | 2577505.4083 | 1198581.5743 | 2577499.4404 | 1198580.0627 | 2577494.2775 | 1198577.9811 | 2577489.3343 | 1198575.6207 | 2577484.7253 | 1198573.0145 | 2577480.42 | 1198570.1848 | 2577475.1189 | 1198565.7803 | 2577470.2434 | 1198561.1963 | 2577466.091 | 1198556.5206 | 2577462.5011 | 1198551.587 | 2577459.1468 | 1198546.5303 | 2577449.1052 | 1198530.4673
15 | 2577660.5867 | 1198641 | 2577698.0501 | 1198673.5941
16 | 2577660.5867 | 1198641 | 2577669.6503 | 1198637.5753 | 2577681.672 | 1198635.1511 | 2577697.352 | 1198635.6482 | 2577748.1425 | 1198644.3629 | 2577795.0887 | 1198653.3813 | 2577840.6658 | 1198662.85 | 2577844.0729 | 1198655.6001
17 | 2577548.9141 | 1198840.9839 | 2577554.7702 | 1198843.2186 | 2577561.4146 | 1198846.5176 | 2577566.0859 | 1198849.5461 | 2577582.7841 | 1198863.7909
18 | 2577548.9141 | 1198840.9839 | 2577544.0749 | 1198839.8794 | 2577539.1389 | 1198839.3421 | 2577532.8412 | 1198839.1436 | 2577524.1036 | 1198840.0771 | 2577500.8258 | 1198845.7792 | 2577479.8008 | 1198851.2283 | 2577485.0445 | 1198868.6735 | 2577489.1381 | 1198880.0197 | 2577494.0538 | 1198891.285 | 2577500.0366 | 1198902.8687 | 2577506.972 | 1198914.6711 | 2577514.635 | 1198925.6036 | 2577520.1309 | 1198933.2759 | 2577526.19 | 1198940.8905 | 2577533.5241 | 1198949.423 | 2577541.1471 | 1198957.8432 | 2577580.7481 | 1199000.4059 | 2577606.1738 | 1199027.3804 | 2577595.5354 | 1199037.0479 | 2577582.1804 | 1199018.8216 | 2577575.2877 | 1199010.1873 | 2577536.8385 | 1198970.1995 | 2577531.3355 | 1198966.685 | 2577527.0129 | 1198965.2339
19 | 2577357.1346 | 1198776.6865 | 2577451.605 | 1198847.055 | 2577457.5207 | 1198850.9347 | 2577463.5593 | 1198853.1019 | 2577468.5939 | 1198853.5497 | 2577471.234 | 1198853.0061 | 2577479.8008 | 1198851.2283 | 2577500.8258 | 1198845.7792 | 2577524.1036 | 1198840.0771 | 2577532.8412 | 1198839.1436 | 2577539.1389 | 1198839.3421 | 2577544.0749 | 1198839.8794 | 2577548.9141 | 1198840.9839
20 | 2577433.8409 | 1198505.6596 | 2577433.9792 | 1198505.9926 | 2577437.0294 | 1198511.1505 | 2577449.1052 | 1198530.4673
21 | 2577368.2697 | 1198499.1939 | 2577371.5897 | 1198499.1812 | 2577377.7627 | 1198500.5474 | 2577387.4182 | 1198502.6674
22 | 2577357.3696 | 1198516.2668 | 2577362.0135 | 1198505.9991 | 2577363.5842 | 1198502.5246 | 2577365.67 | 1198500.3822 | 2577368.2697 | 1198499.1939
23 | 2577401.4251 | 1198503.5481 | 2577399.7473 | 1198504.8774 | 2577397.0742 | 1198504.7875 | 2577387.4182 | 1198502.6674
24 | 2577357.3696 | 1198516.2668 | 2577372.9044 | 1198522.5222 | 2577382.9632 | 1198527.1656
25 | 2577402.8372 | 1198496.4277 | 2577401.4251 | 1198503.5481
26 | 2577402.8372 | 1198496.4277 | 2577406.1977 | 1198497.0598 | 2577411.4623 | 1198497.8291 | 2577415.8248 | 1198497.6458 | 2577420.4216 | 1198497.0169 | 2577428.6154 | 1198495.1181 | 2577431.1338 | 1198500.6227 | 2577433.8409 | 1198505.6596
27 | 2577402.8372 | 1198496.4277 | 2577404.4809 | 1198488.117 | 2577404.4712 | 1198485.5712 | 2577402.9777 | 1198483.2868 | 2577400.6278 | 1198482.0728 | 2577389.9695 | 1198479.7949
28 | 2577527.0129 | 1198965.2339 | 2577524.6683 | 1198971.4128 | 2577522.9215 | 1198982.681 | 2577521.0601 | 1198993.8274 | 2577518.8032 | 1199005.0865 | 2577517.1071 | 1199011.5964 | 2577516.1499 | 1199016.2025 | 2577516.3043 | 1199020.8045 | 2577518.1517 | 1199024.077 | 2577521.3116 | 1199026.144 | 2577525.4117 | 1199027.1291 | 2577529.7899 | 1199027.1903 | 2577542.3364 | 1199026.8539
29 | 2577527.0129 | 1198965.2339 | 2577531.3355 | 1198966.685 | 2577536.8385 | 1198970.1995 | 2577575.2877 | 1199010.1873 | 2577582.1804 | 1199018.8216 | 2577595.5354 | 1199037.0479 | 2577606.1738 | 1199027.3804 | 2577664.724 | 1199089.9944 | 2577725.497 | 1199154.8352 | 2577730.8157 | 1199166.1436 | 2577741.6404 | 1199179.8439 | 2577744.5339 | 1199188.0598 | 2577745.725 | 1199197.0936 | 2577746.253 | 1199203.9286 | 2577744.8765 | 1199208.414 | 2577744.9701 | 1199213.0939 | 2577746.5247 | 1199217.5239 | 2577749.3861 | 1199221.2374 | 2577753.2713 | 1199223.8799 | 2577757.7226 | 1199225.1751 | 2577762.3588 | 1199225.0354
30 | 2577762.3588 | 1199225.0354 | 2577757.6389 | 1199229.2554 | 2577754.9748 | 1199232.1843
31 | 2577357.1346 | 1198776.6865 | 2577173.2929 | 1198972.4724
32 | 2577844.0729 | 1198655.6001 | 2577846.2028 | 1198652.9685 | 2577850.3621 | 1198649.3844 | 2577854.1954 | 1198646.1684 | 2577857.7848 | 1198642.8755 | 2577862.5493 | 1198638.1997 | 2577871.3918 | 1198628.5282 | 2577877.2483 | 1198622.6477 | 2577883.2819 | 1198617.3113 | 2577896.7509 | 1198606.7889 | 2577911.6446 | 1198592.3703 | 2577927.6703 | 1198525.9305 | 2577994.6961 | 1198392.6992 | 2578005.6635 | 1198391.2134 | 2578013.4724 | 1198402.5463 | 2578008.4476 | 1198421.3194 | 2578006.9624 | 1198454.2094 | 2578003.4266 | 1198478.2132 | 2578033.2404 | 1198474.779 | 2578042.8727 | 1198472.6535 | 2578060.141 | 1198461.7999
33 | 2577844.0729 | 1198655.6001 | 2577843.0223 | 1198651.5462 | 2577841.7456 | 1198648.138 | 2577838.2111 | 1198641.6365 | 2577835.876 | 1198636.1756 | 2577834.2192 | 1198630.9011 | 2577833.0233 | 1198624.6467 | 2577831.7978 | 1198616.5802 | 2577830.8462 | 1198608.4571 | 2577829.7069 | 1198596.9662 | 2577828.3429 | 1198578.3168 | 2577827.416 | 1198568.6483 | 2577826.7586 | 1198563.8815 | 2577825.9643 | 1198559.1486 | 2577823.777 | 1198548.4065 | 2577821.061 | 1198538.8448 | 2577817.5763 | 1198529.3637 | 2577815.8331 | 1198525.4348 | 2577814.3713 | 1198523.4503 | 2577812.3084 | 1198522.1578
34 | 2577609.4995 | 1198887.3476 | 2577582.7841 | 1198863.7909
35 | 2578060.141 | 1198461.7999 | 2578062.0223 | 1198460.6175
36 | 2578217.6508 | 1198343.4082 | 2578143.1133 | 1198392.1633 | 2578113.5165 | 1198419.5535 | 2578063.4759 | 1198459.7038 | 2578062.0223 | 1198460.6175
37 | 2578217.6508 | 1198343.4082 | 2578223.2276 | 1198425.3321 | 2578221.6062 | 1198506.5931 | 2578233.7909 | 1198577.7315 | 2578240.4312 | 1198604.9441 | 2578245.1633 | 1198618.3785 | 2578250.494 | 1198631.0548 | 2578259.8695 | 1198650.3643 | 2578269.7448 | 1198668.9717 | 2578280.3883 | 1198687.365 | 2578291.1989 | 1198705.6466
38 | 2578291.1989 | 1198705.6466 | 2578295.9481 | 1198707.1523 | 2578300.856 | 1198710.4029 | 2578335.9287 | 1198762.2547
39 | 2577609.4995 | 1198887.3476 | 2577626.2837 | 1198868.7627
40 | 2577609.4995 | 1198887.3476 | 2577616.2924 | 1198893.3389
41 | 2577647.8219 | 1198844.9139 | 2577626.2837 | 1198868.7627
42 | 2577647.8219 | 1198844.9139 | 2577661.5432 | 1198857.2358 | 2577675.6082 | 1198869.8565
43 | 2577621.3112 | 1198821.1228 | 2577634.941 | 1198833.3671 | 2577647.8219 | 1198844.9139
44 | 2577621.3112 | 1198821.1228 | 2577612.9191 | 1198830.4169
45 | 2577675.6082 | 1198869.8565 | 2577689.1919 | 1198882.0455
46 | 2577667.3659 | 1198878.9812 | 2577675.6082 | 1198869.8565
47 | 2577680.5022 | 1198891.6722 | 2577689.1919 | 1198882.0455

## bus_geodata
| x | y | coords
0 | 2577797.84 | 1199156.8286
1 | 2577925.9852 | 1199290.8399
2 | 2577887.5354 | 1199327.4247
3 | 2577836.8733 | 1199273.4642
4 | 2577790.0064 | 1199225.6437
5 | 2577737.9668 | 1198949.9271
6 | 2577594.2879 | 1198751.6871
7 | 2577560.213 | 1198726.8651
8 | 2577573.6221 | 1198727.2326
9 | 2577555.7858 | 1198763.7694
10 | 2577590.4609 | 1198744.9421
11 | 2577554.1019 | 1198789.0406
12 | 2577545.3793 | 1198582.2238
13 | 2577660.5867 | 1198641
14 | 2577548.9141 | 1198840.9839
15 | 2577449.1052 | 1198530.4673
16 | 2577368.2697 | 1198499.1939
17 | 2577387.4182 | 1198502.6674
18 | 2577357.3696 | 1198516.2668
19 | 2577382.9632 | 1198527.1656
20 | 2577401.4251 | 1198503.5481
21 | 2577402.8372 | 1198496.4277
22 | 2577527.0129 | 1198965.2339
23 | 2577542.3364 | 1199026.8539
24 | 2577762.3588 | 1199225.0354
25 | 2577357.1346 | 1198776.6865
26 | 2577173.2929 | 1198972.4724
27 | 2577698.0501 | 1198673.5941
28 | 2577844.0729 | 1198655.6001
29 | 2577582.7841 | 1198863.7909
30 | 2577754.9748 | 1199232.1843
31 | 2577812.3084 | 1198522.1578
32 | 2578060.141 | 1198461.7999
33 | 2578062.0223 | 1198460.6175
34 | 2578291.1989 | 1198705.6466
35 | 2578217.6508 | 1198343.4082
36 | 2578335.9287 | 1198762.2547
37 | 2577433.8409 | 1198505.6596
38 | 2577389.9695 | 1198479.7949
39 | 2577609.4995 | 1198887.3476
40 | 2577616.2924 | 1198893.3389
41 | 2577626.2837 | 1198868.7627
42 | 2577647.8219 | 1198844.9139
43 | 2577612.9191 | 1198830.4169
44 | 2577621.3112 | 1198821.1228
45 | 2577675.6082 | 1198869.8565
46 | 2577689.1919 | 1198882.0455
47 | 2577667.3659 | 1198878.9813
48 | 2577680.5022 | 1198891.6722
49 | 2577628.6795 | 1198812.4127

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97275 | -0.5266 | 0.0025755 | 0.00064549
1 | 0.97319 | -0.5178 | 0 | 0
2 | 0.97332 | -0.51528 | 0 | 0
3 | 0.9735 | -0.51176 | 0.0024911 | 0.00062432
4 | 0.97382 | -0.50551 | 0 | 0
5 | 0.97866 | -0.4108 | 0.0033053 | 0.0008284
6 | 0.97945 | -0.39535 | 0.0063707 | 0.0015967
7 | 0.98021 | -0.38042 | 0.084062 | 0.021068
8 | 0.97993 | -0.38601 | 0.0032318 | 0.00080997
9 | 0.98184 | -0.34863 | 0.041338 | 0.01036
10 | 0.97952 | -0.39398 | 0 | 0
11 | 0.98326 | -0.32082 | 0.0052776 | 0.0013227
12 | 0.97728 | -0.4379 | 0 | 0
13 | 0.97837 | -0.41656 | 0 | 0
14 | 0.98629 | -0.26204 | 0 | 0
15 | 0.97485 | -0.48556 | 0.0093391 | 0.0023406
16 | 0.97374 | -0.50753 | 0 | 0
17 | 0.97386 | -0.50518 | 0.0035913 | 0.00090006
18 | 0.97361 | -0.51005 | 0 | 0
19 | 0.97344 | -0.5134 | 0.0065467 | 0.0016408
20 | 0.974 | -0.50244 | 0 | 0
21 | 0.97407 | -0.50109 | 0 | 0
22 | 0.97584 | -0.46554 | 0 | 0
23 | 0.97406 | -0.50052 | 0.022327 | 0.0055956
24 | 0.97395 | -0.50289 | 0 | 0
25 | 0.98591 | -0.26953 | 0 | 0
26 | 0.98544 | -0.27871 | 0.0019001 | 0.00047621
27 | 0.97763 | -0.4312 | 0.016185 | 0.0040563
28 | 0.97785 | -0.42691 | 0 | 0
29 | 0.98905 | -0.2088 | 0 | 0
30 | 0.97394 | -0.50295 | 0.00032339 | 8.1048e-05
31 | 0.97775 | -0.42877 | 0.00073136 | 0.0001833
32 | 0.97558 | -0.47161 | 0.00015441 | 3.8698e-05
33 | 0.97557 | -0.47181 | 0.00034177 | 8.5656e-05
34 | 0.97309 | -0.52085 | 0 | 0
35 | 0.97472 | -0.48855 | 0 | 0
36 | 0.97277 | -0.52716 | 0.0046596 | 0.0011678
37 | 0.97451 | -0.4923 | 0 | 0
38 | 0.974 | -0.50233 | 0.0024752 | 0.00062036
39 | 0.99144 | -0.16299 | 0 | 0
40 | 0.99122 | -0.16721 | 0.026244 | 0.0065773
41 | 0.99332 | -0.12699 | 0.023813 | 0.0059681
42 | 0.99597 | -0.076518 | 0 | 0
43 | 0.9995 | -0.0097066 | 0.044451 | 0.011141
44 | 1 | 0 | -0.41962 | -0.1068
45 | 0.99253 | -0.14287 | 0 | 0
46 | 0.99204 | -0.15221 | 0 | 0
47 | 0.99172 | -0.15848 | 0.071801 | 0.017995
48 | 0.9917 | -0.15886 | 0.028976 | 0.0072621
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0025755 | -0.00064549 | 0.0025766 | 0.00064388 | 1.0791e-06 | -1.6123e-06 | 0.0039398 | 0.003939 | 0.0039398 | 0.97275 | -0.5266 | 0.97319 | -0.5178 | 1.0824
1 | -0.0025766 | -0.00064388 | 0.0025769 | 0.00064342 | 3.0834e-07 | -4.6127e-07 | 0.003939 | 0.0039387 | 0.003939 | 0.97319 | -0.5178 | 0.97332 | -0.51528 | 1.0821
2 | -0.0025769 | -0.00064342 | 0.0025774 | 0.00064277 | 4.3056e-07 | -6.4453e-07 | 0.0039387 | 0.0039384 | 0.0039387 | 0.97332 | -0.51528 | 0.9735 | -0.51176 | 1.0821
3 | -0.0050684 | -0.0012671 | 0.0050699 | 0.0012672 | 1.5082e-06 | 1.3156e-07 | 0.0077461 | 0.0077458 | 0.0077461 | 0.9735 | -0.51176 | 0.97382 | -0.50551 | 2.128
4 | -0.0050699 | -0.0012672 | 0.0050706 | 0.0012673 | 6.3086e-07 | 5.485e-08 | 0.0077458 | 0.0077457 | 0.0077458 | 0.97382 | -0.50551 | 0.97395 | -0.50289 | 2.128
5 | -0.0033053 | -0.0008284 | 0.0033078 | 0.00082673 | 2.4316e-06 | -1.673e-06 | 0.0050256 | 0.0050245 | 0.0050256 | 0.97866 | -0.4108 | 0.97945 | -0.39535 | 1.3807
6 | -0.0096785 | -0.0024234 | 0.0096791 | 0.0024237 | 6.2869e-07 | 3.0475e-07 | 0.014703 | 0.014703 | 0.014703 | 0.97945 | -0.39535 | 0.97952 | -0.39398 | 4.0393
7 | 0.057143 | 0.014362 | -0.057127 | -0.014352 | 1.5227e-05 | 9.1336e-06 | 0.08676 | 0.08676 | 0.08676 | 0.98021 | -0.38042 | 0.97993 | -0.38601 | 7.9451
8 | -0.1412 | -0.03543 | 0.14142 | 0.035565 | 0.00021444 | 0.00013583 | 0.21437 | 0.21437 | 0.21437 | 0.98021 | -0.38042 | 0.98184 | -0.34863 | 19.631
9 | 0.053896 | 0.013542 | -0.053875 | -0.01353 | 2.0508e-05 | 1.22e-05 | 0.081853 | 0.081853 | 0.081853 | 0.97993 | -0.38601 | 0.97952 | -0.39398 | 7.4957
10 | -0.18276 | -0.045926 | 0.183 | 0.04608 | 0.00024295 | 0.00015453 | 0.27702 | 0.27702 | 0.27702 | 0.98184 | -0.34863 | 0.98326 | -0.32082 | 25.3681
11 | 0.022063 | 0.0055631 | -0.022016 | -0.005539 | 4.6281e-05 | 2.4105e-05 | 0.033528 | 0.03353 | 0.03353 | 0.97952 | -0.39398 | 0.97728 | -0.4379 | 4.6058
12 | 0.022133 | 0.0055435 | -0.02211 | -0.0055347 | 2.3773e-05 | 8.8693e-06 | 0.033622 | 0.033624 | 0.033624 | 0.97952 | -0.39398 | 0.97837 | -0.41656 | 3.0791
13 | -0.18828 | -0.047403 | 0.18881 | 0.04774 | 0.00053063 | 0.00033761 | 0.28501 | 0.28501 | 0.28501 | 0.98326 | -0.32082 | 0.98629 | -0.26204 | 26.0994
14 | 0.022016 | 0.005539 | -0.021966 | -0.0055084 | 5.0017e-05 | 3.0528e-05 | 0.03353 | 0.033531 | 0.033531 | 0.97728 | -0.4379 | 0.97485 | -0.48556 | 9.2117
15 | 0.016196 | 0.0040629 | -0.016185 | -0.0040563 | 1.13e-05 | 6.6092e-06 | 0.024634 | 0.024634 | 0.024634 | 0.97837 | -0.41656 | 0.97763 | -0.4312 | 6.7677
16 | 0.0059135 | 0.0014718 | -0.0059106 | -0.0014747 | 2.9032e-06 | -2.95e-06 | 0.0089902 | 0.0089919 | 0.0089919 | 0.97837 | -0.41656 | 0.97785 | -0.42691 | 1.2352
17 | -0.21875 | -0.055349 | 0.21931 | 0.055706 | 0.00056052 | 0.00035715 | 0.33021 | 0.33021 | 0.33021 | 0.98629 | -0.26204 | 0.98905 | -0.2088 | 30.2395
18 | 0.02804 | 0.0071372 | -0.027767 | -0.006968 | 0.00027225 | 0.00016913 | 0.042343 | 0.042345 | 0.042345 | 0.98629 | -0.26204 | 0.97584 | -0.46554 | 11.6332
19 | 0.0019016 | 0.00047096 | -0.0019009 | -0.00047331 | 6.7367e-07 | -2.3561e-06 | 0.0028669 | 0.0028679 | 0.0028679 | 0.98629 | -0.26204 | 0.98591 | -0.26953 | 0.78789
20 | 0.012627 | 0.0031679 | -0.012623 | -0.0031656 | 4.0592e-06 | 2.2348e-06 | 0.019275 | 0.019276 | 0.019276 | 0.97485 | -0.48556 | 0.97451 | -0.4923 | 5.2955
21 | -0.0065485 | -0.0016413 | 0.0065493 | 0.0016415 | 7.3334e-07 | 2.2639e-07 | 0.010007 | 0.010007 | 0.010007 | 0.97374 | -0.50753 | 0.97386 | -0.50518 | 2.7492
22 | 0.0065485 | 0.0016413 | -0.0065477 | -0.0016411 | 7.8603e-07 | 2.4273e-07 | 0.010007 | 0.010007 | 0.010007 | 0.97374 | -0.50753 | 0.97361 | -0.51005 | 2.7492
23 | -0.010141 | -0.0025416 | 0.010142 | 0.0025423 | 1.3235e-06 | 6.6412e-07 | 0.015494 | 0.015494 | 0.015494 | 0.97386 | -0.50518 | 0.974 | -0.50244 | 4.2567
24 | 0.0065477 | 0.0016411 | -0.0065467 | -0.0016408 | 1.045e-06 | 3.2281e-07 | 0.010007 | 0.010007 | 0.010007 | 0.97361 | -0.51005 | 0.97344 | -0.5134 | 2.7493
25 | -0.010142 | -0.0025423 | 0.010143 | 0.0025426 | 6.536e-07 | 3.2794e-07 | 0.015494 | 0.015494 | 0.015494 | 0.974 | -0.50244 | 0.97407 | -0.50109 | 4.2567
26 | -0.012618 | -0.0031627 | 0.012623 | 0.0031656 | 5.2846e-06 | 2.9098e-06 | 0.019276 | 0.019276 | 0.019276 | 0.97407 | -0.50109 | 0.97451 | -0.4923 | 5.2955
27 | 0.0024754 | 0.00062011 | -0.0024752 | -0.00062036 | 1.4634e-07 | -2.4603e-07 | 0.0037814 | 0.0037815 | 0.0037815 | 0.97407 | -0.50109 | 0.974 | -0.50233 | 1.0389
28 | 0.022364 | 0.0056184 | -0.022327 | -0.0055956 | 3.7274e-05 | 2.279e-05 | 0.034107 | 0.034107 | 0.034107 | 0.97584 | -0.46554 | 0.97406 | -0.50052 | 9.3701
29 | 0.0054035 | 0.0013496 | -0.005394 | -0.0013482 | 9.5846e-06 | 1.4392e-06 | 0.008238 | 0.0082397 | 0.0082397 | 0.97584 | -0.46554 | 0.97395 | -0.50289 | 2.2636
30 | 0.00032339 | 8.0921e-05 | -0.00032339 | -8.1048e-05 | 9.4194e-10 | -1.2746e-07 | 0.00049403 | 0.00049408 | 0.00049408 | 0.97395 | -0.50289 | 0.97394 | -0.50295 | 0.13574
31 | 0.0019009 | 0.00047331 | -0.0019001 | -0.00047621 | 8.2872e-07 | -2.8928e-06 | 0.0028679 | 0.0028691 | 0.0028691 | 0.98591 | -0.26953 | 0.98544 | -0.27871 | 0.78823
32 | 0.0051792 | 0.0012931 | -0.0051682 | -0.001292 | 1.099e-05 | 1.1276e-06 | 0.0078795 | 0.0078816 | 0.0078816 | 0.97785 | -0.42691 | 0.97558 | -0.47161 | 2.1653
33 | 0.00073142 | 0.00018159 | -0.00073136 | -0.0001833 | 6.4618e-08 | -1.7043e-06 | 0.0011124 | 0.001113 | 0.001113 | 0.97785 | -0.42691 | 0.97775 | -0.42877 | 0.30578
34 | -0.21931 | -0.055706 | 0.21979 | 0.056015 | 0.00048473 | 0.00030885 | 0.33021 | 0.33021 | 0.33021 | 0.98905 | -0.2088 | 0.99144 | -0.16299 | 30.2394
35 | 0.0050138 | 0.0012533 | -0.0050137 | -0.0012533 | 4.8717e-08 | 3.4329e-09 | 0.0076461 | 0.0076461 | 0.0076461 | 0.97558 | -0.47161 | 0.97557 | -0.47181 | 2.1006
36 | 0.0046719 | 0.0011676 | -0.0046682 | -0.0011677 | 3.7176e-06 | -5.6757e-08 | 0.0071248 | 0.0071257 | 0.0071257 | 0.97557 | -0.47181 | 0.97472 | -0.48855 | 1.9576
37 | -0.004661 | -0.0011678 | 0.0046682 | 0.0011677 | 7.1723e-06 | -9.5862e-08 | 0.0071274 | 0.0071257 | 0.0071274 | 0.97309 | -0.52085 | 0.97472 | -0.48855 | 1.9581
38 | 0.004661 | 0.0011678 | -0.0046596 | -0.0011678 | 1.3996e-06 | -1.6615e-08 | 0.0071274 | 0.0071277 | 0.0071277 | 0.97309 | -0.52085 | 0.97277 | -0.52716 | 1.9582
39 | -0.24604 | -0.062595 | 0.24647 | 0.062868 | 0.00042763 | 0.00027271 | 0.36961 | 0.36961 | 0.36961 | 0.99144 | -0.16299 | 0.99332 | -0.12699 | 33.8471
40 | 0.026249 | 0.0065806 | -0.026244 | -0.0065773 | 5.272e-06 | 3.2573e-06 | 0.039397 | 0.039397 | 0.039397 | 0.99144 | -0.16299 | 0.99122 | -0.16721 | 10.8234
41 | -0.27028 | -0.068836 | 0.27094 | 0.069257 | 0.00065979 | 0.00042101 | 0.40528 | 0.40528 | 0.40528 | 0.99332 | -0.12699 | 0.99597 | -0.076518 | 37.1138
42 | 0.10117 | 0.025509 | -0.10085 | -0.025305 | 0.00032016 | 0.00020442 | 0.15121 | 0.15121 | 0.15121 | 0.99597 | -0.076518 | 0.99253 | -0.14287 | 41.5414
43 | -0.37212 | -0.094766 | 0.3735 | 0.095647 | 0.0013789 | 0.00088109 | 0.55649 | 0.55649 | 0.55649 | 0.99597 | -0.076518 | 1 | 0 | 50.9608
44 | -0.044451 | -0.011141 | 0.044472 | 0.011154 | 2.0565e-05 | 1.2998e-05 | 0.066177 | 0.066177 | 0.066177 | 0.9995 | -0.0097066 | 1 | 0 | 18.1806
45 | 0.028998 | 0.0072758 | -0.028985 | -0.0072678 | 1.2918e-05 | 8.0319e-06 | 0.043478 | 0.043478 | 0.043478 | 0.99253 | -0.14287 | 0.99204 | -0.15221 | 11.9444
46 | 0.071855 | 0.018029 | -0.071801 | -0.017995 | 5.3452e-05 | 3.4051e-05 | 0.10773 | 0.10773 | 0.10773 | 0.99253 | -0.14287 | 0.99172 | -0.15848 | 29.5971
47 | 0.028985 | 0.0072678 | -0.028976 | -0.0072621 | 9.1819e-06 | 5.7093e-06 | 0.043478 | 0.043478 | 0.043478 | 0.99204 | -0.15221 | 0.9917 | -0.15886 | 11.9444

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41962 | 0.1068

## res_load
| p_mw | q_mvar
0 | 0.0025755 | 0.00064549
1 | 0.0024911 | 0.00062432
2 | 0.0033053 | 0.0008284
3 | 0.0063707 | 0.0015967
4 | 0.084062 | 0.021068
5 | 0.0032318 | 0.00080997
6 | 0.041338 | 0.01036
7 | 0.0052776 | 0.0013227
8 | 0.0093391 | 0.0023406
9 | 0.0035913 | 0.00090006
10 | 0.0065467 | 0.0016408
11 | 0.022327 | 0.0055956
12 | 0.0019001 | 0.00047621
13 | 0.016185 | 0.0040563
14 | 0.00032339 | 8.1048e-05
15 | 0.00073136 | 0.0001833
16 | 0.00015441 | 3.8698e-05
17 | 0.00034177 | 8.5656e-05
18 | 0.0046596 | 0.0011678
19 | 0.0024752 | 0.00062036
20 | 0.026244 | 0.0065773
21 | 0.023813 | 0.0059681
22 | 0.044451 | 0.011141
23 | 0.071801 | 0.017995
24 | 0.028976 | 0.0072621

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1