## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-3_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2275-3_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2275-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2275-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2275-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2275-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2275-3_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2275-3_0_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_2275-3_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_2275-3_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2275-3_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2275-3_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_2275-3_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2275-3_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_2275-3_0_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2275-3_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2275-3_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2275-3_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2275-3_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2275-3_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2275-3_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2275-3_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2275-3_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2275-3_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_2275-3_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_2275-3_0_4_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_2275-3_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2275-3_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2275-3_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2275-3_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2275-3_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2275-3_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2275-3_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2275-3_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2275-3_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2275-3_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2275-3_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2275-3_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2275-3_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2275-3_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2275-3_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2275-3_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2275-3_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2275-3_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2275-3_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2275-3_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2275-3_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_MV_379_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-3_0_4_load_0 | 0 | 0.063274 | 0.015858 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-3_0_4_load_3 | 3 | 0.021999 | 0.0055135 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-3_0_4_load_45 | 8 | 0.0066073 | 0.0016559 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-3_0_4_load_44 | 9 | 0.00414 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-3_0_4_load_13 | 13 | 0.0098299 | 0.0024636 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-3_0_4_load_49 | 14 | 0.0048358 | 0.001212 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-3_0_4_load_7 | 16 | 0.011771 | 0.0029501 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-3_0_4_load_8 | 17 | 0.0094892 | 0.0023782 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-3_0_4_load_9 | 18 | 0.012834 | 0.0032164 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-3_0_4_load_10 | 19 | 0.0096649 | 0.0024223 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-3_0_4_load_11 | 20 | 0.020598 | 0.0051624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-3_0_4_load_27 | 21 | 0.0084465 | 0.0021169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-3_0_4_load_12 | 22 | 0.013518 | 0.0033879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-3_0_4_load_14 | 23 | 0.013412 | 0.0033615 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-3_0_4_load_34 | 25 | 0.04932 | 0.012361 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-3_0_4_load_47 | 26 | 0.0056127 | 0.0014067 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-3_0_4_load_28 | 28 | 0.018633 | 0.00467 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-3_0_4_load_19 | 31 | 0.014197 | 0.0035582 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-3_0_4_load_23 | 33 | 0.027629 | 0.0069245 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-3_0_4_load_24 | 35 | 0.010052 | 0.0025194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-3_0_4_load_25 | 36 | 0.01451 | 0.0036366 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-3_0_4_load_31 | 38 | 0.0047793 | 0.0011978 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-3_0_4_load_33 | 39 | 0.004237 | 0.0010619 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-3_0_4_load_36 | 40 | 0.0026947 | 0.00067536 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-3_0_4_load_37 | 41 | 0.0033375 | 0.00083645 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-3_0_4_load_38 | 42 | 0.0039393 | 0.00098729 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-3_0_4_load_39 | 43 | 0.0030648 | 0.00076812 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2275-3_0_4_load_40 | 44 | 0.0027185 | 0.00068133 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2275-3_0_4_load_41 | 45 | 0.0036388 | 0.00091196 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2275-3_0_4_load_42 | 46 | 0.0032449 | 0.00081325 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2275-3_0_4_load_46 | 47 | 0.0041336 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-3_0_4_line_0 |  | 0 | 1 | 0.047171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-3_0_4_line_1 |  | 1 | 6 | 0.006505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-3_0_4_line_2 |  | 2 | 3 | 0.012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-3_0_4_line_3 |  | 2 | 4 | 0.017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-3_0_4_line_4 |  | 2 | 5 | 0.00596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-3_0_4_line_5 |  | 4 | 7 | 0.02909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-3_0_4_line_6 |  | 5 | 8 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-3_0_4_line_7 |  | 6 | 9 | 0.024498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-3_0_4_line_8 |  | 7 | 14 | 0.041462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-3_0_4_line_9 |  | 7 | 11 | 0.05453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2275-3_0_4_line_10 |  | 8 | 15 | 0.053666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-3_0_4_line_11 |  | 9 | 15 | 0.019248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-3_0_4_line_12 |  | 10 | 11 | 0.024414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2275-3_0_4_line_13 |  | 10 | 12 | 0.038108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2275-3_0_4_line_14 |  | 10 | 13 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2275-3_0_4_line_15 |  | 12 | 24 | 0.05773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-3_0_4_line_16 |  | 12 | 25 | 0.025544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-3_0_4_line_17 |  | 13 | 23 | 0.0079781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2275-3_0_4_line_18 |  | 14 | 26 | 0.027171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-3_0_4_line_19 |  | 15 | 46 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-3_0_4_line_20 |  | 16 | 17 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-3_0_4_line_21 |  | 16 | 18 | 0.017359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-3_0_4_line_22 |  | 17 | 19 | 0.028375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-3_0_4_line_23 |  | 18 | 20 | 0.036874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-3_0_4_line_24 |  | 19 | 21 | 0.025762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-3_0_4_line_25 |  | 20 | 22 | 0.036053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2275-3_0_4_line_26 |  | 22 | 23 | 0.026123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2275-3_0_4_line_27 |  | 24 | 30 | 0.048757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-3_0_4_line_28 |  | 24 | 28 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-3_0_4_line_29 |  | 26 | 47 | 0.026221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-3_0_4_line_30 |  | 27 | 28 | 0.035251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2275-3_0_4_line_31 |  | 27 | 29 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-3_0_4_line_32 |  | 29 | 31 | 0.019485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2275-3_0_4_line_33 |  | 30 | 34 | 0.083024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-3_0_4_line_34 |  | 31 | 32 | 0.029354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2275-3_0_4_line_35 |  | 32 | 33 | 0.0033088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-3_0_4_line_36 |  | 34 | 39 | 0.051403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-3_0_4_line_37 |  | 34 | 38 | 0.020485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2275-3_0_4_line_38 |  | 35 | 36 | 0.0086856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2275-3_0_4_line_39 |  | 36 | 37 | 0.027102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2275-3_0_4_line_40 |  | 37 | 38 | 0.00016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-3_0_4_line_41 |  | 40 | 41 | 0.01926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2275-3_0_4_line_42 |  | 40 | 42 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-3_0_4_line_43 |  | 41 | 43 | 0.00055221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2275-3_0_4_line_44 |  | 42 | 44 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2275-3_0_4_line_45 |  | 44 | 45 | 0.0015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2275-3_0_4_line_46 |  | 45 | 46 | 0.021086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-3_0_4_trafo_11 | 0.63 MVA 20/0.4 kV | 48 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2574859.1154 | 1196842.9497 | 2574882.5564 | 1196802.015
1 | 2574859.1154 | 1196842.9497 | 2574865.1054 | 1196845.5258
2 | 2574915.9721 | 1196742.9226 | 2574908.9953 | 1196732.8828
3 | 2574924.7219 | 1196727.9777 | 2574915.9721 | 1196742.9226
4 | 2574915.9721 | 1196742.9226 | 2574917.3495 | 1196744.4399 | 2574920.0426 | 1196747.2856
5 | 2574924.7219 | 1196727.9777 | 2574925.6494 | 1196729.3746 | 2574928.532 | 1196733.7982 | 2574934.3002 | 1196723.4683 | 2574941.207 | 1196715.824
6 | 2574920.0426 | 1196747.2856 | 2574912.3473 | 1196760.3701
7 | 2574865.1054 | 1196845.5258 | 2574871.4514 | 1196833.1812 | 2574876.5789 | 1196823.8834
8 | 2574941.207 | 1196715.824 | 2574965.9548 | 1196746.7256 | 2574967.0687 | 1196748.2308
9 | 2574941.207 | 1196715.824 | 2574932.1594 | 1196703.4665 | 2574925.4495 | 1196694.5677 | 2574908.5293 | 1196672.1713
10 | 2574885.8739 | 1196807.0285 | 2574891.6221 | 1196795.6092 | 2574912.3473 | 1196760.3701
11 | 2574885.8739 | 1196807.0285 | 2574876.5789 | 1196823.8834
12 | 2574892.8734 | 1196653.4049 | 2574908.5293 | 1196672.1713
13 | 2574870.036 | 1196624.1409 | 2574878.391 | 1196629.3418 | 2574881.0951 | 1196636.5788 | 2574889.6787 | 1196649.0382 | 2574892.8734 | 1196653.4049
14 | 2574892.8734 | 1196653.4049 | 2574883.0552 | 1196667.5228
15 | 2574830.7115 | 1196595.8361 | 2574836.4634 | 1196588.8747 | 2574853.9717 | 1196607.911 | 2574870.036 | 1196624.1409
16 | 2574870.036 | 1196624.1409 | 2574864.4068 | 1196631.2907 | 2574854.7711 | 1196644.6162
17 | 2574883.0552 | 1196667.5228 | 2574878.5002 | 1196674.0727
18 | 2574983.2307 | 1196770.0718 | 2574967.0687 | 1196748.2308
19 | 2574885.8739 | 1196807.0285 | 2574896.0754 | 1196814.613
20 | 2574837.0373 | 1196764.6921 | 2574840.0248 | 1196766.5334 | 2574846.6376 | 1196765.0602 | 2574850.992 | 1196758.525
21 | 2574837.0373 | 1196764.6921 | 2574824.7437 | 1196757.1151 | 2574824.081 | 1196754.2735
22 | 2574850.992 | 1196758.525 | 2574866.7258 | 1196734.9112
23 | 2574843.0006 | 1196725.1188 | 2574836.7572 | 1196734.0963 | 2574828.7529 | 1196739.7443 | 2574823.0525 | 1196749.8628 | 2574824.081 | 1196754.2735
24 | 2574866.7258 | 1196734.9112 | 2574881.0104 | 1196713.4725
25 | 2574843.0006 | 1196725.1188 | 2574863.585 | 1196695.5197
26 | 2574863.585 | 1196695.5197 | 2574878.5002 | 1196674.0727
27 | 2574800.5656 | 1196634.2176 | 2574830.7115 | 1196595.8361
28 | 2574830.7115 | 1196595.8361 | 2574818.4701 | 1196588.4616 | 2574816.1137 | 1196585.2696
29 | 2574998.9936 | 1196791.0235 | 2574992.9116 | 1196783.1543 | 2574983.2307 | 1196770.0718
30 | 2574815.4375 | 1196561.2041 | 2574803.4383 | 1196567.8807 | 2574807.5149 | 1196573.6221 | 2574816.1137 | 1196585.2696
31 | 2574800.3076 | 1196564.2586 | 2574811.2783 | 1196555.741 | 2574815.4375 | 1196561.2041
32 | 2574800.3076 | 1196564.2586 | 2574785.7298 | 1196577.1872
33 | 2574748.1139 | 1196698.6856 | 2574800.5656 | 1196634.2176
34 | 2574763.7685 | 1196596.6641 | 2574785.7298 | 1196577.1872
35 | 2574763.7685 | 1196596.6641 | 2574766.0843 | 1196599.0275
36 | 2574748.1139 | 1196698.6856 | 2574707.5677 | 1196667.0904
37 | 2574748.1139 | 1196698.6856 | 2574764.4174 | 1196711.0878
38 | 2574786.1738 | 1196727.5288 | 2574793.1035 | 1196732.7652
39 | 2574764.5509 | 1196711.1894 | 2574786.1738 | 1196727.5288
40 | 2574764.4174 | 1196711.0878 | 2574764.5509 | 1196711.1894
41 | 2574937.1419 | 1196839.4412 | 2574937.1419 | 1196839.4412 | 2574953.6416 | 1196849.3765
42 | 2574937.1419 | 1196839.4412 | 2574930.4652 | 1196840.1808 | 2574923.7493 | 1196835.1878
43 | 2574954.1147 | 1196849.6613 | 2574953.6416 | 1196849.3765
44 | 2574923.7493 | 1196835.1878 | 2574914.2178 | 1196828.1014
45 | 2574912.9973 | 1196827.194 | 2574914.2178 | 1196828.1014
46 | 2574912.9973 | 1196827.194 | 2574896.0754 | 1196814.613

## bus_geodata
| x | y | coords
0 | 2574882.5564 | 1196802.015
1 | 2574859.1154 | 1196842.9497
2 | 2574915.9721 | 1196742.9226
3 | 2574908.9953 | 1196732.8828
4 | 2574924.7219 | 1196727.9777
5 | 2574920.0426 | 1196747.2856
6 | 2574865.1054 | 1196845.5258
7 | 2574941.207 | 1196715.824
8 | 2574912.3473 | 1196760.3701
9 | 2574876.5789 | 1196823.8834
10 | 2574892.8734 | 1196653.4049
11 | 2574908.5293 | 1196672.1713
12 | 2574870.036 | 1196624.1409
13 | 2574883.0552 | 1196667.5228
14 | 2574967.0687 | 1196748.2308
15 | 2574885.8739 | 1196807.0285
16 | 2574837.0373 | 1196764.6921
17 | 2574850.992 | 1196758.525
18 | 2574824.081 | 1196754.2735
19 | 2574866.7258 | 1196734.9112
20 | 2574843.0006 | 1196725.1188
21 | 2574881.0104 | 1196713.4725
22 | 2574863.585 | 1196695.5197
23 | 2574878.5002 | 1196674.0727
24 | 2574830.7115 | 1196595.8361
25 | 2574854.7711 | 1196644.6162
26 | 2574983.2307 | 1196770.0718
27 | 2574815.4375 | 1196561.2041
28 | 2574816.1137 | 1196585.2696
29 | 2574800.3076 | 1196564.2586
30 | 2574800.5656 | 1196634.2176
31 | 2574785.7298 | 1196577.1872
32 | 2574763.7685 | 1196596.6641
33 | 2574766.0843 | 1196599.0275
34 | 2574748.1139 | 1196698.6856
35 | 2574793.1035 | 1196732.7652
36 | 2574786.1738 | 1196727.5288
37 | 2574764.5509 | 1196711.1894
38 | 2574764.4174 | 1196711.0878
39 | 2574707.5677 | 1196667.0904
40 | 2574937.1419 | 1196839.4412
41 | 2574953.6416 | 1196849.3765
42 | 2574923.7493 | 1196835.1878
43 | 2574954.1147 | 1196849.6613
44 | 2574914.2178 | 1196828.1014
45 | 2574912.9973 | 1196827.194
46 | 2574896.0754 | 1196814.613
47 | 2574998.9936 | 1196791.0235
48 | 2574892.8734 | 1196653.4049

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97014 | -0.57612 | 0.063274 | 0.015858
1 | 0.97293 | -0.52101 | 0 | 0
2 | 0.9824 | -0.33618 | 0 | 0
3 | 0.98215 | -0.34103 | 0.021999 | 0.0055135
4 | 0.98431 | -0.29916 | 0 | 0
5 | 0.98186 | -0.34659 | 0 | 0
6 | 0.97332 | -0.51343 | 0 | 0
7 | 0.98753 | -0.23726 | 0 | 0
8 | 0.98049 | -0.37315 | 0.0066073 | 0.0016559
9 | 0.97477 | -0.48495 | 0.00414 | 0.0010376
10 | 0.99192 | -0.15331 | 0 | 0
11 | 0.99091 | -0.17254 | 0 | 0
12 | 0.9894 | -0.20183 | 0 | 0
13 | 0.99339 | -0.12527 | 0.0098299 | 0.0024636
14 | 0.98697 | -0.24807 | 0.0048358 | 0.001212
15 | 0.97598 | -0.46118 | 0 | 0
16 | 0.99763 | -0.045575 | 0.011771 | 0.0029501
17 | 0.99717 | -0.054347 | 0.0094892 | 0.0023782
18 | 0.99825 | -0.033613 | 0.012834 | 0.0032164
19 | 0.99671 | -0.06336 | 0.0096649 | 0.0024223
20 | 1 | 0 | -0.37285 | -0.095206
21 | 0.99651 | -0.067178 | 0.0084465 | 0.0021169
22 | 0.99651 | -0.065875 | 0.013518 | 0.0033879
23 | 0.9941 | -0.11182 | 0.013412 | 0.0033615
24 | 0.98438 | -0.299 | 0 | 0
25 | 0.98824 | -0.22429 | 0.04932 | 0.012361
26 | 0.98673 | -0.25281 | 0.0056127 | 0.0014067
27 | 0.98199 | -0.34549 | 0 | 0
28 | 0.98335 | -0.31887 | 0.018633 | 0.00467
29 | 0.98119 | -0.36119 | 0 | 0
30 | 0.98286 | -0.3285 | 0 | 0
31 | 0.98043 | -0.37596 | 0.014197 | 0.0035582
32 | 0.97968 | -0.39068 | 0 | 0
33 | 0.9796 | -0.39234 | 0.027629 | 0.0069245
34 | 0.98028 | -0.37894 | 0 | 0
35 | 0.97902 | -0.4036 | 0.010052 | 0.0025194
36 | 0.9791 | -0.40202 | 0.01451 | 0.0036366
37 | 0.97972 | -0.38992 | 0 | 0
38 | 0.97972 | -0.38984 | 0.0047793 | 0.0011978
39 | 0.98008 | -0.38289 | 0.004237 | 0.0010619
40 | 0.97504 | -0.47973 | 0.0026947 | 0.00067536
41 | 0.97492 | -0.48199 | 0.0033375 | 0.00083645
42 | 0.97516 | -0.47722 | 0.0039393 | 0.00098729
43 | 0.97492 | -0.48202 | 0.0030648 | 0.00076812
44 | 0.97531 | -0.47438 | 0.0027185 | 0.00068133
45 | 0.97533 | -0.47394 | 0.0036388 | 0.00091196
46 | 0.97571 | -0.46645 | 0.0032449 | 0.00081325
47 | 0.98663 | -0.25475 | 0.0041336 | 0.001036
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.063274 | -0.015858 | 0.06344 | 0.015964 | 0.00016661 | 0.00010605 | 0.09705 | 0.097049 | 0.09705 | 0.97014 | -0.57612 | 0.97293 | -0.52101 | 26.662
1 | -0.06344 | -0.015964 | 0.063463 | 0.015979 | 2.2975e-05 | 1.4623e-05 | 0.097049 | 0.097049 | 0.097049 | 0.97293 | -0.52101 | 0.97332 | -0.51343 | 26.6619
2 | 0.022004 | 0.0055166 | -0.021999 | -0.0055135 | 5.0931e-06 | 3.1049e-06 | 0.03333 | 0.03333 | 0.03333 | 0.9824 | -0.33618 | 0.98215 | -0.34103 | 9.1566
3 | -0.11959 | -0.030331 | 0.1198 | 0.030467 | 0.00021327 | 0.00013627 | 0.18127 | 0.18127 | 0.18127 | 0.9824 | -0.33618 | 0.98431 | -0.29916 | 49.7991
4 | 0.097585 | 0.024815 | -0.097536 | -0.024783 | 4.8915e-05 | 3.123e-05 | 0.14794 | 0.14794 | 0.14794 | 0.9824 | -0.33618 | 0.98186 | -0.34659 | 40.6425
5 | -0.1198 | -0.030467 | 0.12016 | 0.030697 | 0.00035845 | 0.00022903 | 0.18127 | 0.18127 | 0.18127 | 0.98431 | -0.29916 | 0.98753 | -0.23726 | 49.7991
6 | 0.097536 | 0.024783 | -0.097412 | -0.024704 | 0.00012458 | 7.9541e-05 | 0.14794 | 0.14794 | 0.14794 | 0.98186 | -0.34659 | 0.98049 | -0.37315 | 40.6426
7 | -0.063463 | -0.015979 | 0.06355 | 0.016034 | 8.6527e-05 | 5.5072e-05 | 0.097049 | 0.097049 | 0.097049 | 0.97332 | -0.51343 | 0.97477 | -0.48495 | 26.6619
8 | 0.014592 | 0.0036599 | -0.014585 | -0.0036556 | 7.5176e-06 | 4.2811e-06 | 0.021989 | 0.021989 | 0.021989 | 0.98753 | -0.23726 | 0.98697 | -0.24807 | 6.0409
9 | -0.13475 | -0.034356 | 0.13518 | 0.034625 | 0.0004224 | 0.00026894 | 0.20326 | 0.20326 | 0.20326 | 0.98753 | -0.23726 | 0.99091 | -0.17254 | 27.9199
10 | 0.090805 | 0.023048 | -0.090422 | -0.022804 | 0.00038277 | 0.0002443 | 0.13791 | 0.13791 | 0.13791 | 0.98049 | -0.37315 | 0.97598 | -0.46118 | 37.8879
11 | -0.06769 | -0.017071 | 0.067767 | 0.01712 | 7.7125e-05 | 4.912e-05 | 0.10337 | 0.10337 | 0.10337 | 0.97477 | -0.48495 | 0.97598 | -0.46118 | 28.3981
12 | 0.1353 | 0.034705 | -0.13518 | -0.034625 | 0.00012608 | 7.9745e-05 | 0.20326 | 0.20326 | 0.20326 | 0.99192 | -0.15331 | 0.99091 | -0.17254 | 18.6132
13 | 0.14454 | 0.03668 | -0.14421 | -0.036465 | 0.00033644 | 0.00021434 | 0.21699 | 0.21699 | 0.21699 | 0.99192 | -0.15331 | 0.9894 | -0.20183 | 29.807
14 | -0.27984 | -0.071385 | 0.28022 | 0.071627 | 0.00037963 | 0.0002423 | 0.42025 | 0.42025 | 0.42025 | 0.99192 | -0.15331 | 0.99339 | -0.12527 | 38.4844
15 | 0.094833 | 0.024071 | -0.094392 | -0.02379 | 0.00044104 | 0.00028153 | 0.14273 | 0.14273 | 0.14273 | 0.9894 | -0.20183 | 0.98438 | -0.299 | 39.2125
16 | 0.049373 | 0.012394 | -0.04932 | -0.012361 | 5.2827e-05 | 3.3481e-05 | 0.074262 | 0.074262 | 0.074262 | 0.9894 | -0.20183 | 0.98824 | -0.22429 | 20.4016
17 | -0.29005 | -0.074091 | 0.29024 | 0.074211 | 0.00018868 | 0.00012045 | 0.43497 | 0.43497 | 0.43497 | 0.99339 | -0.12527 | 0.9941 | -0.11182 | 39.8328
18 | 0.0097489 | 0.0024436 | -0.0097467 | -0.0024426 | 2.2012e-06 | 1.0616e-06 | 0.014698 | 0.014698 | 0.014698 | 0.98697 | -0.24807 | 0.98673 | -0.25281 | 4.038
19 | 0.022655 | 0.0056833 | -0.022649 | -0.0056798 | 5.688e-06 | 3.4815e-06 | 0.034543 | 0.034543 | 0.034543 | 0.97598 | -0.46118 | 0.97571 | -0.46645 | 9.4898
20 | 0.027621 | 0.0069298 | -0.02761 | -0.0069226 | 1.1546e-05 | 7.1527e-06 | 0.041201 | 0.041202 | 0.041202 | 0.99763 | -0.045575 | 0.99717 | -0.054347 | 11.3191
21 | -0.039392 | -0.0098798 | 0.039415 | 0.009894 | 2.2475e-05 | 1.4157e-05 | 0.058758 | 0.058758 | 0.058758 | 0.99763 | -0.045575 | 0.99825 | -0.033613 | 16.1424
22 | 0.018121 | 0.0045444 | -0.018113 | -0.0045398 | 7.781e-06 | 4.6098e-06 | 0.027041 | 0.027041 | 0.027041 | 0.99717 | -0.054347 | 0.99671 | -0.06336 | 7.429
23 | -0.052249 | -0.01311 | 0.052332 | 0.013164 | 8.3888e-05 | 5.3205e-05 | 0.077888 | 0.077888 | 0.077888 | 0.99825 | -0.033613 | 1 | 0 | 21.3979
24 | 0.008448 | 0.0021175 | -0.0084465 | -0.0021169 | 1.5368e-06 | 6.4784e-07 | 0.012612 | 0.012613 | 0.012613 | 0.99671 | -0.06336 | 0.99651 | -0.067178 | 3.465
25 | 0.31887 | 0.082042 | -0.31785 | -0.081392 | 0.0010178 | 0.00064998 | 0.47523 | 0.47523 | 0.47523 | 1 | 0 | 0.99651 | -0.065875 | 43.5196
26 | 0.30433 | 0.078004 | -0.30365 | -0.077573 | 0.00067617 | 0.00043173 | 0.45505 | 0.45505 | 0.45505 | 0.99651 | -0.065875 | 0.9941 | -0.11182 | 41.6712
27 | 0.033738 | 0.0085148 | -0.033691 | -0.008485 | 4.7596e-05 | 2.9843e-05 | 0.051021 | 0.051022 | 0.051022 | 0.98438 | -0.299 | 0.98286 | -0.3285 | 14.0169
28 | 0.060653 | 0.015275 | -0.060596 | -0.015238 | 5.7591e-05 | 3.6626e-05 | 0.091712 | 0.091712 | 0.091712 | 0.98438 | -0.299 | 0.98335 | -0.31887 | 25.1957
29 | 0.0041339 | 0.0010359 | -0.0041336 | -0.001036 | 3.8214e-07 | -9.0325e-08 | 0.006234 | 0.0062341 | 0.0062341 | 0.98673 | -0.25281 | 0.98663 | -0.25475 | 1.7127
30 | -0.041909 | -0.010535 | 0.041962 | 0.010568 | 5.3329e-05 | 3.3684e-05 | 0.063516 | 0.063516 | 0.063516 | 0.98199 | -0.34549 | 0.98335 | -0.31887 | 17.4495
31 | 0.041909 | 0.010535 | -0.041878 | -0.010515 | 3.14e-05 | 1.9834e-05 | 0.063516 | 0.063516 | 0.063516 | 0.98199 | -0.34549 | 0.98119 | -0.36119 | 17.4495
32 | 0.041878 | 0.010515 | -0.041848 | -0.010496 | 2.9478e-05 | 1.862e-05 | 0.063516 | 0.063516 | 0.063516 | 0.98119 | -0.36119 | 0.98043 | -0.37596 | 17.4496
33 | 0.033691 | 0.008485 | -0.03361 | -0.0084342 | 8.1049e-05 | 5.0822e-05 | 0.051022 | 0.051022 | 0.051022 | 0.98286 | -0.3285 | 0.98028 | -0.37894 | 14.017
34 | 0.027651 | 0.0069379 | -0.027631 | -0.0069259 | 1.9389e-05 | 1.2039e-05 | 0.041969 | 0.041969 | 0.041969 | 0.98043 | -0.37596 | 0.97968 | -0.39068 | 11.53
35 | 0.027631 | 0.0069259 | -0.027629 | -0.0069245 | 2.1856e-06 | 1.3571e-06 | 0.041969 | 0.041969 | 0.041969 | 0.97968 | -0.39068 | 0.9796 | -0.39234 | 11.53
36 | 0.0042378 | 0.0010617 | -0.004237 | -0.0010619 | 7.9764e-07 | -1.3741e-07 | 0.0064326 | 0.0064328 | 0.0064328 | 0.98028 | -0.37894 | 0.98008 | -0.38289 | 1.7673
37 | 0.029372 | 0.0073724 | -0.029357 | -0.0073629 | 1.5273e-05 | 9.5166e-06 | 0.044589 | 0.044589 | 0.044589 | 0.98028 | -0.37894 | 0.97972 | -0.38984 | 12.2499
38 | -0.010052 | -0.0025194 | 0.010053 | 0.0025197 | 7.6033e-07 | 3.7738e-07 | 0.015279 | 0.015279 | 0.015279 | 0.97902 | -0.4036 | 0.9791 | -0.40202 | 4.1974
39 | -0.024563 | -0.0061563 | 0.024577 | 0.006165 | 1.4163e-05 | 8.7235e-06 | 0.037331 | 0.037331 | 0.037331 | 0.9791 | -0.40202 | 0.97972 | -0.38992 | 10.2557
40 | -0.024577 | -0.006165 | 0.024577 | 0.0061651 | 8.7662e-08 | 5.3991e-08 | 0.037331 | 0.037331 | 0.037331 | 0.97972 | -0.38992 | 0.97972 | -0.38984 | 10.2556
41 | 0.006403 | 0.0016048 | -0.0064023 | -0.0016046 | 6.8966e-07 | 2.0119e-07 | 0.0097717 | 0.0097718 | 0.0097718 | 0.97504 | -0.47973 | 0.97492 | -0.48199 | 2.6846
42 | -0.0090977 | -0.0022801 | 0.0090988 | 0.0022806 | 1.0906e-06 | 5.0977e-07 | 0.013884 | 0.013884 | 0.013884 | 0.97504 | -0.47973 | 0.97516 | -0.47722 | 3.8143
43 | 0.0030648 | 0.00076811 | -0.0030648 | -0.00076812 | 4.5315e-09 | -3.9855e-09 | 0.0046778 | 0.0046778 | 0.0046778 | 0.97492 | -0.48199 | 0.97492 | -0.48202 | 1.2851
44 | -0.013038 | -0.0032679 | 0.01304 | 0.0032689 | 1.7629e-06 | 9.8008e-07 | 0.019895 | 0.019895 | 0.019895 | 0.97516 | -0.47722 | 0.97531 | -0.47438 | 5.4657
45 | -0.015758 | -0.0039502 | 0.015759 | 0.0039504 | 3.297e-07 | 1.9202e-07 | 0.024043 | 0.024043 | 0.024043 | 0.97531 | -0.47438 | 0.97533 | -0.47394 | 6.6051
46 | -0.019398 | -0.0048624 | 0.019404 | 0.0048666 | 6.9254e-06 | 4.169e-06 | 0.029594 | 0.029594 | 0.029594 | 0.97533 | -0.47394 | 0.97571 | -0.46645 | 8.1303

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39345 | 0.10037

## res_load
| p_mw | q_mvar
0 | 0.063274 | 0.015858
1 | 0.021999 | 0.0055135
2 | 0.0066073 | 0.0016559
3 | 0.00414 | 0.0010376
4 | 0.0098299 | 0.0024636
5 | 0.0048358 | 0.001212
6 | 0.011771 | 0.0029501
7 | 0.0094892 | 0.0023782
8 | 0.012834 | 0.0032164
9 | 0.0096649 | 0.0024223
10 | 0.020598 | 0.0051624
11 | 0.0084465 | 0.0021169
12 | 0.013518 | 0.0033879
13 | 0.013412 | 0.0033615
14 | 0.04932 | 0.012361
15 | 0.0056127 | 0.0014067
16 | 0.018633 | 0.00467
17 | 0.014197 | 0.0035582
18 | 0.027629 | 0.0069245
19 | 0.010052 | 0.0025194
20 | 0.01451 | 0.0036366
21 | 0.0047793 | 0.0011978
22 | 0.004237 | 0.0010619
23 | 0.0026947 | 0.00067536
24 | 0.0033375 | 0.00083645
25 | 0.0039393 | 0.00098729
26 | 0.0030648 | 0.00076812
27 | 0.0027185 | 0.00068133
28 | 0.0036388 | 0.00091196
29 | 0.0032449 | 0.00081325
30 | 0.0041336 | 0.001036

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1