## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2275-4_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2275-4_0_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2275-4_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2275-4_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2275-4_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2275-4_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2275-4_0_2_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_2275-4_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2275-4_0_2_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_2275-4_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2275-4_0_2_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_2275-4_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_2275-4_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2275-4_0_2_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_2275-4_0_2_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_2275-4_0_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2275-4_0_2_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_2275-4_0_2_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_2275-4_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2275-4_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2275-4_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2275-4_0_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_2275-4_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2275-4_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2275-4_0_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_2275-4_0_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_2275-4_0_2_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_2275-4_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2275-4_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2275-4_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2275-4_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2275-4_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2275-4_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2275-4_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2275-4_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2275-4_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2275-4_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2275-4_0_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2275-4_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2275-4_0_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2275-4_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2275-4_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2275-4_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_MV_379_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-4_0_2_load_0 | 0 | 0.0046605 | 0.001168 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-4_0_2_load_1 | 1 | 0.005798 | 0.0014531 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-4_0_2_load_3 | 5 | 0.0096726 | 0.0024242 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-4_0_2_load_42 | 9 | 0.0018287 | 0.00045832 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-4_0_2_load_20 | 11 | 0.0068576 | 0.0017187 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-4_0_2_load_46 | 14 | 0.028132 | 0.0070506 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-4_0_2_load_41 | 16 | 0.0067597 | 0.0016941 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-4_0_2_load_25 | 18 | 0.010299 | 0.0025813 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-4_0_2_load_40 | 19 | 0.0031811 | 0.00079725 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-4_0_2_load_47 | 20 | 0.0067225 | 0.0016848 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-4_0_2_load_13 | 23 | 0.0026128 | 0.00065482 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-4_0_2_load_45 | 24 | 0.0017657 | 0.00044252 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-4_0_2_load_19 | 25 | 0.0037595 | 0.00094221 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-4_0_2_load_30 | 27 | 0.002047 | 0.00051301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-4_0_2_load_43 | 29 | 0.00090805 | 0.00022758 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-4_0_2_load_15 | 30 | 0.012315 | 0.0030865 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-4_0_2_load_18 | 31 | 0.0027707 | 0.00069439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-4_0_2_load_21 | 32 | 0.0017277 | 0.000433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-4_0_2_load_23 | 34 | 0.0020262 | 0.00050781 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-4_0_2_load_33 | 36 | 0.0059371 | 0.001488 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-4_0_2_load_34 | 37 | 0.0027513 | 0.00068955 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-4_0_2_load_28 | 38 | 0.0020851 | 0.00052257 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-4_0_2_load_31 | 39 | 0.0029002 | 0.00072686 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-4_0_2_load_35 | 40 | 0.0014469 | 0.00036263 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-4_0_2_load_27 | 42 | 0.0024157 | 0.00060542 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-4_0_2_load_32 | 43 | 0.0022801 | 0.00057146 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-4_0_2_load_36 | 44 | 0.0048295 | 0.0012104 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-4_0_2_line_0 |  | 0 | 1 | 0.046769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2275-4_0_2_line_1 |  | 1 | 2 | 0.038367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2275-4_0_2_line_2 |  | 2 | 3 | 0.44859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2275-4_0_2_line_3 |  | 2 | 4 | 0.27521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-4_0_2_line_4 |  | 2 | 5 | 0.15113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-4_0_2_line_5 |  | 3 | 12 | 0.078104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-4_0_2_line_6 |  | 3 | 13 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2275-4_0_2_line_7 |  | 3 | 14 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-4_0_2_line_8 |  | 4 | 17 | 0.00678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-4_0_2_line_9 |  | 4 | 18 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-4_0_2_line_10 |  | 6 | 7 | 0.14064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2275-4_0_2_line_11 |  | 6 | 8 | 0.18325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-4_0_2_line_12 |  | 6 | 9 | 0.045022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-4_0_2_line_13 |  | 7 | 20 | 0.017742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2275-4_0_2_line_14 |  | 7 | 21 | 0.097012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2275-4_0_2_line_15 |  | 8 | 10 | 0.04686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-4_0_2_line_16 |  | 8 | 11 | 0.031715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-4_0_2_line_17 |  | 10 | 19 | 0.1061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-4_0_2_line_18 |  | 12 | 15 | 0.004007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-4_0_2_line_19 |  | 12 | 16 | 0.027871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2275-4_0_2_line_20 |  | 13 | 24 | 0.033249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-4_0_2_line_21 |  | 13 | 22 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2275-4_0_2_line_22 |  | 15 | 25 | 0.037196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-4_0_2_line_23 |  | 15 | 26 | 0.058378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-4_0_2_line_24 |  | 17 | 27 | 0.035246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-4_0_2_line_25 |  | 19 | 28 | 0.040411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-4_0_2_line_26 |  | 21 | 22 | 0.04532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2275-4_0_2_line_27 |  | 21 | 23 | 0.027853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-4_0_2_line_28 |  | 22 | 29 | 0.018694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-4_0_2_line_29 |  | 26 | 31 | 0.10407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-4_0_2_line_30 |  | 26 | 30 | 0.07893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2275-4_0_2_line_31 |  | 27 | 38 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-4_0_2_line_32 |  | 28 | 45 | 0.020931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2275-4_0_2_line_33 |  | 32 | 33 | 0.059699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-4_0_2_line_34 |  | 32 | 34 | 0.0090738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2275-4_0_2_line_35 |  | 33 | 35 | 0.009773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-4_0_2_line_36 |  | 35 | 36 | 0.10795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-4_0_2_line_37 |  | 36 | 37 | 0.14986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2275-4_0_2_line_38 |  | 37 | 40 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2275-4_0_2_line_39 |  | 38 | 42 | 0.01353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2275-4_0_2_line_40 |  | 39 | 40 | 0.06483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-4_0_2_line_41 |  | 39 | 41 | 0.032004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2275-4_0_2_line_42 |  | 41 | 43 | 0.040199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-4_0_2_line_43 |  | 41 | 42 | 0.026135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2275-4_0_2_line_44 |  | 44 | 45 | 0.018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-4_0_2_trafo_0 | 0.63 MVA 20/0.4 kV | 46 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2576937.9208 | 1198654.3468 | 2576899.358 | 1198627.8845
1 | 2576889.8945 | 1198592.8932 | 2576893.3037 | 1198623.73 | 2576899.358 | 1198627.8845
2 | 2576889.8945 | 1198592.8932 | 2576854.3866 | 1198567.0727 | 2576819.0573 | 1198540.2622 | 2576814.6482 | 1198546.0492 | 2576813.0788 | 1198547.8118 | 2576817.4258 | 1198551.4858 | 2576826.8815 | 1198566.7128 | 2576837.969 | 1198582.556 | 2576851.1451 | 1198608.7634 | 2576861.0311 | 1198630.9148 | 2576871.5377 | 1198654.0865 | 2576883.4393 | 1198667.8811 | 2576904.7531 | 1198687.7536 | 2576927.7108 | 1198709.4541 | 2576955.7901 | 1198734.3811 | 2576970.9563 | 1198747.763 | 2576990.2084 | 1198762.341 | 2577016.2143 | 1198778.9384 | 2577026.2947 | 1198784.6248 | 2577025.0038 | 1198777.626 | 2577021.6754 | 1198759.6291
3 | 2576769.7945 | 1198404.603 | 2576779.74 | 1198410.623 | 2576806.1608 | 1198427.5959 | 2576823.0347 | 1198437.291 | 2576830.7104 | 1198441.2077 | 2576851.6953 | 1198472.2206 | 2576854.6704 | 1198475.5664 | 2576849.9967 | 1198481.888 | 2576827.3369 | 1198525.2552 | 2576824.5468 | 1198530.3133 | 2576819.0573 | 1198540.2622 | 2576854.3866 | 1198567.0727 | 2576889.8945 | 1198592.8932
4 | 2576889.8945 | 1198592.8932 | 2576926.1859 | 1198620.5452 | 2576987.9094 | 1198650.2447 | 2577023.7376 | 1198659.5278
5 | 2577021.6754 | 1198759.6291 | 2577025.0038 | 1198777.626 | 2577026.2947 | 1198784.6248 | 2577029.1058 | 1198798.7883 | 2577035.2286 | 1198836.5407
6 | 2577021.6754 | 1198759.6291 | 2577033.148 | 1198757.1168 | 2577039.7507 | 1198755.4126
7 | 2577018.6735 | 1198743.3874 | 2577021.6754 | 1198759.6291
8 | 2576763.986 | 1198401.0793 | 2576769.7945 | 1198404.603
9 | 2576769.7945 | 1198404.603 | 2576761.0113 | 1198425.1706
10 | 2577234.8012 | 1198710.3392 | 2577206.079 | 1198700.1881 | 2577174.5671 | 1198689.3029 | 2577157.3852 | 1198684.3216 | 2577140.1979 | 1198679.9519 | 2577114.126 | 1198673.9377 | 2577112.6644 | 1198679.9799 | 2577108.1677 | 1198678.8744 | 2577105.4203 | 1198681.2196
11 | 2577224.0309 | 1198532.3396 | 2577222.8803 | 1198536.0905 | 2577220.454 | 1198538.8123 | 2577216.2066 | 1198541.1965 | 2577219.5946 | 1198572.9007 | 2577220.4355 | 1198583.6923 | 2577224.9848 | 1198602.5184 | 2577236.6546 | 1198703.195 | 2577234.8012 | 1198710.3392
12 | 2577234.8012 | 1198710.3392 | 2577276.8779 | 1198726.3573
13 | 2577105.4203 | 1198681.2196 | 2577100.7881 | 1198698.3466
14 | 2577073.009 | 1198721.5884 | 2577072.0058 | 1198714.166 | 2577070.9394 | 1198686.3995 | 2577077.6463 | 1198688.019 | 2577080.2726 | 1198677.959 | 2577091.3088 | 1198680.6958 | 2577094.1281 | 1198669.3343 | 2577100.3622 | 1198670.7667 | 2577098.9674 | 1198676.364 | 2577104.379 | 1198677.7661 | 2577105.4203 | 1198681.2196
15 | 2577224.0309 | 1198532.3396 | 2577223.1872 | 1198528.7409 | 2577219.0476 | 1198521.5083 | 2577216.1567 | 1198510.2577 | 2577214.2939 | 1198487.119
16 | 2577224.0309 | 1198532.3396 | 2577254.4581 | 1198541.2874
17 | 2577214.2939 | 1198487.119 | 2577229.1617 | 1198488.1627 | 2577244.0615 | 1198489.6288 | 2577254.3383 | 1198490.8457 | 2577264.5475 | 1198492.3186 | 2577273.8131 | 1198493.9286 | 2577283.0867 | 1198495.6719 | 2577294.0913 | 1198498.0534 | 2577304.9903 | 1198500.6911 | 2577318.7416 | 1198504.4153
18 | 2577035.8683 | 1198840.4959 | 2577035.2286 | 1198836.5407
19 | 2577035.2286 | 1198836.5407 | 2577051.1566 | 1198834.3225 | 2577049.4011 | 1198822.6644
20 | 2577051.7486 | 1198786.4276 | 2577039.7507 | 1198755.4126
21 | 2577039.7507 | 1198755.4126 | 2577044.2136 | 1198751.7156 | 2577046.8917 | 1198747.2029
22 | 2577035.8683 | 1198840.4959 | 2576998.74 | 1198842.7356
23 | 2577064.1283 | 1198886.9233 | 2577047.4045 | 1198876.2153 | 2577043.6523 | 1198872.6834 | 2577040.8474 | 1198867.9805 | 2577038.0365 | 1198853.8504 | 2577035.8683 | 1198840.4959
24 | 2576763.986 | 1198401.0793 | 2576781.2772 | 1198373.2745 | 2576780.9812 | 1198370.7891
25 | 2577357.3696 | 1198516.2668 | 2577338.7288 | 1198510.19 | 2577321.5464 | 1198505.1749 | 2577318.7416 | 1198504.4153
26 | 2577046.8917 | 1198747.2029 | 2577051.5854 | 1198734.2333 | 2577052.0173 | 1198723.826 | 2577073.009 | 1198721.5884
27 | 2577073.009 | 1198721.5884 | 2577076.7389 | 1198749.1907
28 | 2577046.8917 | 1198747.2029 | 2577052.3972 | 1198765.0691
29 | 2577064.1283 | 1198886.9233 | 2577090.7475 | 1198803.8869 | 2577091.2246 | 1198799.2715 | 2577087.303 | 1198787.6866
30 | 2577064.1283 | 1198886.9233 | 2577126.2544 | 1198935.6097
31 | 2576769.523 | 1198362.7936 | 2576780.8048 | 1198369.3076 | 2576780.9812 | 1198370.7891
32 | 2577357.3696 | 1198516.2668 | 2577362.0135 | 1198505.9991 | 2577363.5842 | 1198502.5246 | 2577365.67 | 1198500.3822 | 2577368.2697 | 1198499.1939
33 | 2576453.2655 | 1198162.3038 | 2576453.6777 | 1198172.1853 | 2576452.2257 | 1198180.5067 | 2576445.8734 | 1198191.7156 | 2576445.1582 | 1198197.6328 | 2576448.4347 | 1198205.8465 | 2576456.8314 | 1198216.6393
34 | 2576462.4031 | 1198223.801 | 2576456.8314 | 1198216.6393
35 | 2576454.8341 | 1198152.659 | 2576453.2655 | 1198162.3038
36 | 2576454.8341 | 1198152.659 | 2576537.0433 | 1198222.6149
37 | 2576537.0433 | 1198222.6149 | 2576568.5808 | 1198249.4517 | 2576651.8659 | 1198318.9075
38 | 2576667.82 | 1198332.2125 | 2576651.8659 | 1198318.9075
39 | 2576757.806 | 1198356.0283 | 2576769.523 | 1198362.7936
40 | 2576719.6951 | 1198370.9915 | 2576713.5718 | 1198366.8354 | 2576711.6323 | 1198365.4867 | 2576688.0077 | 1198349.048 | 2576667.82 | 1198332.2125
41 | 2576735.173 | 1198342.9603 | 2576719.6951 | 1198370.9915
42 | 2576735.173 | 1198342.9603 | 2576743.2115 | 1198326.6645 | 2576748.234 | 1198321.9201 | 2576753.4261 | 1198321.5997 | 2576762.0486 | 1198326.4992
43 | 2576735.173 | 1198342.9603 | 2576757.806 | 1198356.0283
44 | 2577368.2697 | 1198499.1939 | 2577372.9577 | 1198482.4892 | 2577373.4599 | 1198481.5695

## bus_geodata
| x | y | coords
0 | 2576937.9208 | 1198654.3468
1 | 2576899.358 | 1198627.8845
2 | 2576889.8945 | 1198592.8932
3 | 2577021.6754 | 1198759.6291
4 | 2576769.7945 | 1198404.603
5 | 2577023.7376 | 1198659.5278
6 | 2577234.8012 | 1198710.3392
7 | 2577105.4203 | 1198681.2196
8 | 2577224.0309 | 1198532.3396
9 | 2577276.8779 | 1198726.3573
10 | 2577214.2939 | 1198487.119
11 | 2577254.4581 | 1198541.2874
12 | 2577035.2286 | 1198836.5407
13 | 2577039.7507 | 1198755.4126
14 | 2577018.6735 | 1198743.3874
15 | 2577035.8683 | 1198840.4959
16 | 2577049.4011 | 1198822.6644
17 | 2576763.986 | 1198401.0793
18 | 2576761.0113 | 1198425.1706
19 | 2577318.7416 | 1198504.4153
20 | 2577100.7881 | 1198698.3466
21 | 2577073.009 | 1198721.5884
22 | 2577046.8917 | 1198747.2029
23 | 2577076.7389 | 1198749.1907
24 | 2577051.7486 | 1198786.4276
25 | 2576998.74 | 1198842.7356
26 | 2577064.1283 | 1198886.9233
27 | 2576780.9812 | 1198370.7891
28 | 2577357.3696 | 1198516.2668
29 | 2577052.3972 | 1198765.0691
30 | 2577126.2544 | 1198935.6097
31 | 2577087.303 | 1198787.6866
32 | 2576456.8314 | 1198216.6393
33 | 2576453.2655 | 1198162.3038
34 | 2576462.4031 | 1198223.801
35 | 2576454.8341 | 1198152.659
36 | 2576537.0433 | 1198222.6149
37 | 2576651.8659 | 1198318.9075
38 | 2576769.523 | 1198362.7936
39 | 2576719.6951 | 1198370.9915
40 | 2576667.82 | 1198332.2125
41 | 2576735.173 | 1198342.9603
42 | 2576757.806 | 1198356.0283
43 | 2576762.0486 | 1198326.4992
44 | 2577373.4599 | 1198481.5695
45 | 2577368.2697 | 1198499.1939
46 | 2576937.9208 | 1198654.3468

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.13804 | -0.035132
1 | 0.9971 | -0.054754 | 0.005798 | 0.0014531
2 | 0.99482 | -0.09795 | 0 | 0
3 | 0.97761 | -0.42962 | 0 | 0
4 | 0.9857 | -0.27377 | 0 | 0
5 | 0.99349 | -0.12374 | 0.0096726 | 0.0024242
6 | 0.97452 | -0.49033 | 0 | 0
7 | 0.97561 | -0.46878 | 0 | 0
8 | 0.97197 | -0.5405 | 0 | 0
9 | 0.97444 | -0.49184 | 0.0018287 | 0.00045832
10 | 0.97162 | -0.54743 | 0 | 0
11 | 0.97177 | -0.54451 | 0.0068576 | 0.0017187
12 | 0.97575 | -0.46617 | 0 | 0
13 | 0.97736 | -0.43447 | 0 | 0
14 | 0.97718 | -0.4381 | 0.028132 | 0.0070506
15 | 0.97568 | -0.46756 | 0 | 0
16 | 0.97557 | -0.46962 | 0.0067597 | 0.0016941
17 | 0.98554 | -0.27688 | 0 | 0
18 | 0.98549 | -0.2779 | 0.010299 | 0.0025813
19 | 0.97083 | -0.56314 | 0.0031811 | 0.00079725
20 | 0.9755 | -0.47096 | 0.0067225 | 0.0016848
21 | 0.97667 | -0.44797 | 0 | 0
22 | 0.97722 | -0.43718 | 0 | 0
23 | 0.97661 | -0.4493 | 0.0026128 | 0.00065482
24 | 0.97731 | -0.43554 | 0.0017657 | 0.00044252
25 | 0.97555 | -0.47012 | 0.0037595 | 0.00094221
26 | 0.97486 | -0.4837 | 0 | 0
27 | 0.98471 | -0.29311 | 0.002047 | 0.00051301
28 | 0.97065 | -0.56676 | 0 | 0
29 | 0.97721 | -0.43749 | 0.00090805 | 0.00022758
30 | 0.97395 | -0.50155 | 0.012315 | 0.0030865
31 | 0.97459 | -0.489 | 0.0027707 | 0.00069439
32 | 0.98013 | -0.3825 | 0.0017277 | 0.000433
33 | 0.98034 | -0.37844 | 0 | 0
34 | 0.98012 | -0.38284 | 0.0020262 | 0.00050781
35 | 0.98038 | -0.37777 | 0 | 0
36 | 0.98075 | -0.37042 | 0.0059371 | 0.001488
37 | 0.98209 | -0.34412 | 0.0027513 | 0.00068955
38 | 0.98439 | -0.29927 | 0.0020851 | 0.00052257
39 | 0.98316 | -0.32318 | 0.0029002 | 0.00072686
40 | 0.98233 | -0.33944 | 0.0014469 | 0.00036263
41 | 0.98366 | -0.31348 | 0 | 0
42 | 0.98412 | -0.3045 | 0.0024157 | 0.00060542
43 | 0.98358 | -0.31514 | 0.0022801 | 0.00057146
44 | 0.97047 | -0.57027 | 0.0048295 | 0.0012104
45 | 0.97055 | -0.56863 | 0 | 0
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.13639 | 0.035132 | -0.13603 | -0.034901 | 0.00036239 | 0.00023071 | 0.20329 | 0.20329 | 0.20329 | 1 | 0 | 0.9971 | -0.054754 | 27.9242
1 | 0.13023 | 0.033448 | -0.12996 | -0.033275 | 0.00027253 | 0.00017342 | 0.19464 | 0.19464 | 0.19464 | 0.9971 | -0.054754 | 0.99482 | -0.09795 | 26.7357
2 | 0.083969 | 0.021607 | -0.082638 | -0.020766 | 0.0013311 | 0.00084047 | 0.1258 | 0.1258 | 0.1258 | 0.99482 | -0.09795 | 0.97761 | -0.42962 | 17.2806
3 | 0.036304 | 0.0092379 | -0.035999 | -0.0090464 | 0.00030488 | 0.00019158 | 0.054351 | 0.054352 | 0.054352 | 0.99482 | -0.09795 | 0.9857 | -0.27377 | 14.932
4 | 0.0096845 | 0.0024298 | -0.0096726 | -0.0024242 | 1.1895e-05 | 5.6529e-06 | 0.014487 | 0.014487 | 0.014487 | 0.99482 | -0.09795 | 0.99349 | -0.12374 | 3.98
5 | 0.025675 | 0.0064574 | -0.025631 | -0.0064298 | 4.4752e-05 | 2.7664e-05 | 0.039089 | 0.039089 | 0.039089 | 0.97761 | -0.42962 | 0.97575 | -0.46617 | 10.7388
6 | 0.028819 | 0.0072513 | -0.028812 | -0.0072475 | 6.6817e-06 | 3.8122e-06 | 0.043875 | 0.043875 | 0.043875 | 0.97761 | -0.42962 | 0.97736 | -0.43447 | 6.0268
7 | 0.028144 | 0.0070577 | -0.028132 | -0.0070506 | 1.1368e-05 | 7.0686e-06 | 0.042839 | 0.042839 | 0.042839 | 0.97761 | -0.42962 | 0.97718 | -0.4381 | 11.7689
8 | 0.025697 | 0.0064641 | -0.025694 | -0.0064617 | 3.8278e-06 | 2.3634e-06 | 0.038801 | 0.038801 | 0.038801 | 0.9857 | -0.27377 | 0.98554 | -0.27688 | 10.6597
9 | 0.010301 | 0.0025823 | -0.010299 | -0.0025813 | 2.0282e-06 | 1.0131e-06 | 0.015551 | 0.015551 | 0.015551 | 0.9857 | -0.27377 | 0.98549 | -0.2779 | 4.2723
10 | -0.016744 | -0.0042089 | 0.016762 | 0.0042164 | 1.7243e-05 | 7.527e-06 | 0.025572 | 0.02557 | 0.025572 | 0.97452 | -0.49033 | 0.97561 | -0.46878 | 3.5126
11 | 0.014915 | 0.003751 | -0.01488 | -0.0037305 | 3.5659e-05 | 2.0545e-05 | 0.022779 | 0.02278 | 0.02278 | 0.97452 | -0.49033 | 0.97197 | -0.5405 | 6.2583
12 | 0.0018289 | 0.00045784 | -0.0018287 | -0.00045832 | 1.3165e-07 | -4.7664e-07 | 0.0027923 | 0.0027925 | 0.0027925 | 0.97452 | -0.49033 | 0.97444 | -0.49184 | 0.76718
13 | 0.0067232 | 0.0016851 | -0.0067225 | -0.0016848 | 6.9961e-07 | 2.2623e-07 | 0.010254 | 0.010254 | 0.010254 | 0.97561 | -0.46878 | 0.9755 | -0.47096 | 2.8172
14 | -0.023485 | -0.0059014 | 0.023508 | 0.005914 | 2.3345e-05 | 1.2515e-05 | 0.035825 | 0.035824 | 0.035825 | 0.97561 | -0.46878 | 0.97667 | -0.44797 | 4.921
15 | 0.0080208 | 0.0020113 | -0.0080182 | -0.0020102 | 2.6498e-06 | 1.1153e-06 | 0.01228 | 0.01228 | 0.01228 | 0.97197 | -0.5405 | 0.97162 | -0.54743 | 3.3736
16 | 0.0068589 | 0.0017191 | -0.0068576 | -0.0017187 | 1.3114e-06 | 4.4628e-07 | 0.010501 | 0.010501 | 0.010501 | 0.97197 | -0.5405 | 0.97177 | -0.54451 | 2.8848
17 | 0.0080182 | 0.0020102 | -0.0080122 | -0.0020077 | 6e-06 | 2.527e-06 | 0.01228 | 0.01228 | 0.01228 | 0.97162 | -0.54743 | 0.97083 | -0.56314 | 3.3737
18 | 0.01887 | 0.0047353 | -0.018869 | -0.0047345 | 1.2445e-06 | 7.4644e-07 | 0.028779 | 0.028779 | 0.028779 | 0.97575 | -0.46617 | 0.97568 | -0.46756 | 7.9063
19 | 0.0067608 | 0.0016945 | -0.0067597 | -0.0016941 | 1.1111e-06 | 3.6301e-07 | 0.01031 | 0.01031 | 0.01031 | 0.97575 | -0.46617 | 0.97557 | -0.46962 | 2.8325
20 | 0.0017658 | 0.00044216 | -0.0017657 | -0.00044252 | 9.0108e-08 | -3.5898e-07 | 0.0026882 | 0.0026884 | 0.0026884 | 0.97736 | -0.43447 | 0.97731 | -0.43554 | 0.73856
21 | 0.027046 | 0.0068053 | -0.027043 | -0.0068034 | 3.5083e-06 | 1.9689e-06 | 0.041187 | 0.041187 | 0.041187 | 0.97736 | -0.43447 | 0.97722 | -0.43718 | 5.6576
22 | 0.0037599 | 0.00094204 | -0.0037595 | -0.00094221 | 4.5865e-07 | -1.7094e-07 | 0.0057342 | 0.0057344 | 0.0057344 | 0.97568 | -0.46756 | 0.97555 | -0.47012 | 1.5754
23 | 0.015109 | 0.0037925 | -0.015097 | -0.0037858 | 1.1626e-05 | 6.7121e-06 | 0.023045 | 0.023045 | 0.023045 | 0.97568 | -0.46756 | 0.97486 | -0.4837 | 6.331
24 | 0.025694 | 0.0064617 | -0.025674 | -0.0064494 | 1.9899e-05 | 1.2287e-05 | 0.038801 | 0.038802 | 0.038802 | 0.98554 | -0.27688 | 0.98471 | -0.29311 | 10.6598
25 | 0.0048311 | 0.0012104 | -0.0048303 | -0.0012104 | 8.3091e-07 | 3.2184e-08 | 0.0074046 | 0.0074048 | 0.0074048 | 0.97083 | -0.56314 | 0.97065 | -0.56676 | 2.0343
26 | -0.026121 | -0.0065685 | 0.026135 | 0.006576 | 1.3463e-05 | 7.4816e-06 | 0.039805 | 0.039804 | 0.039805 | 0.97667 | -0.44797 | 0.97722 | -0.43718 | 5.4677
27 | 0.0026129 | 0.00065458 | -0.0026128 | -0.00065482 | 1.6553e-07 | -2.426e-07 | 0.0039809 | 0.003981 | 0.003981 | 0.97667 | -0.44797 | 0.97661 | -0.4493 | 1.0937
28 | 0.00090806 | 0.00022735 | -0.00090805 | -0.00022758 | 1.3402e-08 | -2.2563e-07 | 0.0013826 | 0.0013827 | 0.0013827 | 0.97722 | -0.43718 | 0.97721 | -0.43749 | 0.37986
29 | 0.0027714 | 0.00069354 | -0.0027707 | -0.00069439 | 6.983e-07 | -8.5026e-07 | 0.0042298 | 0.0042303 | 0.0042303 | 0.97486 | -0.4837 | 0.97459 | -0.489 | 1.1622
30 | 0.012326 | 0.0030922 | -0.012315 | -0.0030865 | 1.0478e-05 | 5.723e-06 | 0.018815 | 0.018815 | 0.018815 | 0.97486 | -0.4837 | 0.97395 | -0.50155 | 5.1691
31 | 0.023627 | 0.0059364 | -0.02362 | -0.0059322 | 6.9425e-06 | 4.2586e-06 | 0.035708 | 0.035708 | 0.035708 | 0.98471 | -0.29311 | 0.98439 | -0.29927 | 9.81
32 | 0.0048303 | 0.0012104 | -0.0048298 | -0.0012104 | 4.3037e-07 | 1.6753e-08 | 0.0074048 | 0.0074049 | 0.0074049 | 0.97065 | -0.56676 | 0.97055 | -0.56863 | 2.0343
33 | -0.0037539 | -0.00094071 | 0.0037546 | 0.00094042 | 7.2707e-07 | -2.8723e-07 | 0.005699 | 0.0056988 | 0.005699 | 0.98013 | -0.3825 | 0.98034 | -0.37844 | 1.5657
34 | 0.0020262 | 0.00050772 | -0.0020262 | -0.00050781 | 3.2198e-08 | -9.375e-08 | 0.0030761 | 0.0030762 | 0.0030762 | 0.98013 | -0.3825 | 0.98012 | -0.38284 | 0.8451
35 | -0.0037546 | -0.00094042 | 0.0037547 | 0.00094038 | 1.1902e-07 | -4.7056e-08 | 0.0056988 | 0.0056987 | 0.0056988 | 0.98034 | -0.37844 | 0.98038 | -0.37777 | 1.5656
36 | -0.0037547 | -0.00094038 | 0.0037561 | 0.00093986 | 1.3145e-06 | -5.2039e-07 | 0.0056987 | 0.0056982 | 0.0056987 | 0.98038 | -0.37777 | 0.98075 | -0.37042 | 1.5656
37 | -0.0096932 | -0.0024278 | 0.0097053 | 0.0024337 | 1.2153e-05 | 5.8843e-06 | 0.014706 | 0.014705 | 0.014706 | 0.98075 | -0.37042 | 0.98209 | -0.34412 | 4.0402
38 | -0.012457 | -0.0031233 | 0.012459 | 0.0031248 | 2.7751e-06 | 1.5132e-06 | 0.018874 | 0.018874 | 0.018874 | 0.98209 | -0.34412 | 0.98233 | -0.33944 | 5.1852
39 | 0.021535 | 0.0054096 | -0.021529 | -0.0054063 | 5.3778e-06 | 3.2698e-06 | 0.032557 | 0.032557 | 0.032557 | 0.98439 | -0.29927 | 0.98412 | -0.3045 | 8.9441
40 | 0.013917 | 0.0034935 | -0.013906 | -0.0034874 | 1.0788e-05 | 6.0832e-06 | 0.021066 | 0.021066 | 0.021066 | 0.98316 | -0.32318 | 0.98233 | -0.33944 | 5.7873
41 | -0.016817 | -0.0042204 | 0.016825 | 0.0042249 | 7.7764e-06 | 4.5708e-06 | 0.025455 | 0.025455 | 0.025455 | 0.98316 | -0.32318 | 0.98366 | -0.31348 | 6.9931
42 | 0.0022803 | 0.00057106 | -0.0022801 | -0.00057146 | 1.7937e-07 | -3.9545e-07 | 0.0034494 | 0.0034495 | 0.0034495 | 0.98366 | -0.31348 | 0.98358 | -0.31514 | 0.94768
43 | -0.019105 | -0.004796 | 0.019114 | 0.0048009 | 8.1879e-06 | 4.9083e-06 | 0.028904 | 0.028904 | 0.028904 | 0.98366 | -0.31348 | 0.98412 | -0.3045 | 7.9407
44 | -0.0048295 | -0.0012104 | 0.0048298 | 0.0012104 | 3.783e-07 | 1.4773e-08 | 0.007405 | 0.0074049 | 0.007405 | 0.97047 | -0.57027 | 0.97055 | -0.56863 | 2.0343

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.1427 | 0.0363

## res_load
| p_mw | q_mvar
0 | 0.0046605 | 0.001168
1 | 0.005798 | 0.0014531
2 | 0.0096726 | 0.0024242
3 | 0.0018287 | 0.00045832
4 | 0.0068576 | 0.0017187
5 | 0.028132 | 0.0070506
6 | 0.0067597 | 0.0016941
7 | 0.010299 | 0.0025813
8 | 0.0031811 | 0.00079725
9 | 0.0067225 | 0.0016848
10 | 0.0026128 | 0.00065482
11 | 0.0017657 | 0.00044252
12 | 0.0037595 | 0.00094221
13 | 0.002047 | 0.00051301
14 | 0.00090805 | 0.00022758
15 | 0.012315 | 0.0030865
16 | 0.0027707 | 0.00069439
17 | 0.0017277 | 0.000433
18 | 0.0020262 | 0.00050781
19 | 0.0059371 | 0.001488
20 | 0.0027513 | 0.00068955
21 | 0.0020851 | 0.00052257
22 | 0.0029002 | 0.00072686
23 | 0.0014469 | 0.00036263
24 | 0.0024157 | 0.00060542
25 | 0.0022801 | 0.00057146
26 | 0.0048295 | 0.0012104

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1