## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-5_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2275-5_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2275-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2275-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2275-5_0_4_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_2275-5_0_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_2275-5_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2275-5_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2275-5_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2275-5_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2275-5_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2275-5_0_4_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_2275-5_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2275-5_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2275-5_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2275-5_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2275-5_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_2275-5_0_4_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_2275-5_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2275-5_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_2275-5_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2275-5_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2275-5_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2275-5_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2275-5_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2275-5_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2275-5_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2275-5_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_2275-5_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_2275-5_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2275-5_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2275-5_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2275-5_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2275-5_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2275-5_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2275-5_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2275-5_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2275-5_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_MV_379_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-5_0_4_load_0 | 0 | 0.026199 | 0.006566 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-5_0_4_load_1 | 2 | 0.038923 | 0.0097551 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-5_0_4_load_3 | 3 | 0.04952 | 0.012411 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-5_0_4_load_39 | 5 | 0.0037497 | 0.00093976 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-5_0_4_load_42 | 6 | 0.030753 | 0.0077074 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-5_0_4_load_13 | 8 | 0.0071411 | 0.0017897 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-5_0_4_load_12 | 9 | 0.0039613 | 0.00099278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-5_0_4_load_40 | 12 | 0.0058932 | 0.001477 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-5_0_4_load_14 | 15 | 0.0017856 | 0.00044752 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-5_0_4_load_11 | 16 | 0.010753 | 0.002695 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-5_0_4_load_41 | 18 | 0.013049 | 0.0032705 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-5_0_4_load_17 | 19 | 0.0012878 | 0.00032276 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-5_0_4_load_28 | 20 | 0.016185 | 0.0040563 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-5_0_4_load_23 | 21 | 0.041652 | 0.010439 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-5_0_4_load_21 | 23 | 0.0078173 | 0.0019592 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-5_0_4_load_16 | 24 | 0.0075956 | 0.0019036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-5_0_4_load_19 | 26 | 0.0032484 | 0.00081413 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-5_0_4_load_20 | 27 | 0.042075 | 0.010545 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-5_0_4_load_26 | 28 | 0.029152 | 0.0073063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-5_0_4_load_25 | 30 | 0.025871 | 0.0064838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-5_0_4_load_29 | 32 | 0.0069532 | 0.0017426 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-5_0_4_load_27 | 33 | 0.0047749 | 0.0011967 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-5_0_4_load_30 | 34 | 0.0069374 | 0.0017387 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-5_0_4_load_32 | 35 | 0.0076714 | 0.0019226 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-5_0_4_load_36 | 37 | 0.069738 | 0.017478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-5_0_4_load_35 | 38 | 0.0034595 | 0.00086702 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-5_0_4_line_0 |  | 0 | 1 | 0.04211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-5_0_4_line_1 |  | 1 | 4 | 0.02545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-5_0_4_line_2 |  | 2 | 3 | 0.0019035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-5_0_4_line_3 |  | 3 | 5 | 0.060534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-5_0_4_line_4 |  | 4 | 6 | 0.0087581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-5_0_4_line_5 |  | 5 | 11 | 0.01932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-5_0_4_line_6 |  | 6 | 18 | 0.0088475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-5_0_4_line_7 |  | 7 | 8 | 0.0092912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-5_0_4_line_8 |  | 7 | 9 | 0.016443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-5_0_4_line_9 |  | 8 | 19 | 0.0034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-5_0_4_line_10 |  | 9 | 14 | 0.012869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-5_0_4_line_11 |  | 10 | 11 | 0.0292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-5_0_4_line_12 |  | 10 | 12 | 0.042862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-5_0_4_line_13 |  | 11 | 17 | 0.051657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2275-5_0_4_line_14 |  | 12 | 18 | 0.0068293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-5_0_4_line_15 |  | 13 | 14 | 0.073695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-5_0_4_line_16 |  | 13 | 15 | 0.0077661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-5_0_4_line_17 |  | 14 | 16 | 0.03177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-5_0_4_line_18 |  | 17 | 21 | 0.038717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2275-5_0_4_line_19 |  | 17 | 22 | 0.056834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2275-5_0_4_line_20 |  | 17 | 23 | 0.034069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2275-5_0_4_line_21 |  | 19 | 24 | 0.025023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-5_0_4_line_22 |  | 20 | 21 | 0.055921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-5_0_4_line_23 |  | 22 | 28 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2275-5_0_4_line_24 |  | 22 | 29 | 0.009422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2275-5_0_4_line_25 |  | 22 | 26 | 0.03796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-5_0_4_line_26 |  | 24 | 25 | 0.01504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2275-5_0_4_line_27 |  | 25 | 26 | 0.011453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-5_0_4_line_28 |  | 25 | 27 | 0.026815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-5_0_4_line_29 |  | 28 | 30 | 0.0056186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-5_0_4_line_30 |  | 29 | 31 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2275-5_0_4_line_31 |  | 29 | 32 | 0.034751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-5_0_4_line_32 |  | 30 | 33 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2275-5_0_4_line_33 |  | 31 | 37 | 0.030102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-5_0_4_line_34 |  | 32 | 34 | 0.042647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2275-5_0_4_line_35 |  | 34 | 35 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-5_0_4_line_36 |  | 35 | 36 | 0.042371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-5_0_4_line_37 |  | 36 | 38 | 0.031729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-5_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 39 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2575629.3086 | 1197518.8701 | 2575646.7974 | 1197502.7565 | 2575662.2498 | 1197512.6156
1 | 2575629.3086 | 1197518.8701 | 2575615.3082 | 1197508.9665 | 2575607.5603 | 1197512.0888
2 | 2575634.8539 | 1197482.7229 | 2575633.4084 | 1197481.4843
3 | 2575582.8143 | 1197448.4668 | 2575586.3188 | 1197450.5981 | 2575624.7231 | 1197474.0424 | 2575633.4084 | 1197481.4843
4 | 2575607.5603 | 1197512.0888 | 2575600.6459 | 1197506.7134
5 | 2575582.8143 | 1197448.4668 | 2575582.2703 | 1197449.5252 | 2575585.1016 | 1197450.9255 | 2575584.7238 | 1197451.6719 | 2575581.9154 | 1197450.2826 | 2575581.6586 | 1197450.7951 | 2575579.7427 | 1197451.6145 | 2575572.2937 | 1197447.7652
6 | 2575593.661 | 1197501.2832 | 2575600.6459 | 1197506.7134
7 | 2575743.6085 | 1197505.9187 | 2575737.1574 | 1197499.2322
8 | 2575743.6085 | 1197505.9187 | 2575756.1524 | 1197516.5505
9 | 2575734.759 | 1197496.7462 | 2575737.1574 | 1197499.2322
10 | 2575765.9698 | 1197524.8713 | 2575756.1524 | 1197516.5505
11 | 2575554.4298 | 1197470.7842 | 2575568.5919 | 1197451.3489 | 2575572.2937 | 1197447.7652
12 | 2575554.4298 | 1197470.7842 | 2575588.2693 | 1197497.0916
13 | 2575572.2937 | 1197447.7652 | 2575576.3259 | 1197446.7036 | 2575577.4814 | 1197444.3309 | 2575583.2272 | 1197437.7149 | 2575599.6261 | 1197438.1368 | 2575619.4019 | 1197439.2787
14 | 2575588.2693 | 1197497.0916 | 2575593.661 | 1197501.2832
15 | 2575765.9698 | 1197524.8713 | 2575793.8317 | 1197546.214 | 2575797.9221 | 1197550.1328 | 2575799.4859 | 1197558.2531 | 2575798.2775 | 1197564.4947 | 2575804.1512 | 1197555.5883 | 2575808.5506 | 1197549.3448
16 | 2575808.5506 | 1197549.3448 | 2575813.3732 | 1197543.2575
17 | 2575765.9698 | 1197524.8713 | 2575774.9544 | 1197514.9961 | 2575784.489 | 1197499.2367
18 | 2575619.4019 | 1197439.2787 | 2575623.5357 | 1197442.5858 | 2575646.5679 | 1197459.6897 | 2575650.4872 | 1197462.3463
19 | 2575675.4551 | 1197429.8333 | 2575661.0569 | 1197430.737 | 2575649.4962 | 1197432.6853 | 2575633.6204 | 1197435.4073 | 2575619.4019 | 1197439.2787
20 | 2575619.4019 | 1197439.2787 | 2575608.8749 | 1197435.1418 | 2575603.949 | 1197431.8379 | 2575591.1113 | 1197423.2414 | 2575589.9659 | 1197422.4773
21 | 2575734.759 | 1197496.7462 | 2575717.385 | 1197478.7378
22 | 2575650.4872 | 1197462.3463 | 2575663.9958 | 1197471.5026 | 2575675.2758 | 1197479.1607 | 2575693.1942 | 1197497.9557
23 | 2575675.4551 | 1197429.8333 | 2575686.7321 | 1197419.4186
24 | 2575669.7125 | 1197422.3527 | 2575672.714 | 1197426.2648 | 2575675.4551 | 1197429.8333
25 | 2575675.4551 | 1197429.8333 | 2575699.6443 | 1197459.0876
26 | 2575706.9427 | 1197467.9143 | 2575717.385 | 1197478.7378
27 | 2575706.9427 | 1197467.9143 | 2575699.6443 | 1197459.0876
28 | 2575706.9427 | 1197467.9143 | 2575699.4562 | 1197471.6357 | 2575686.5719 | 1197458.4234
29 | 2575686.7321 | 1197419.4186 | 2575690.8597 | 1197415.6066
30 | 2575669.7125 | 1197422.3527 | 2575657.4926 | 1197425.1375
31 | 2575669.7125 | 1197422.3527 | 2575659.0234 | 1197408.3777 | 2575646.9971 | 1197396.1416
32 | 2575702.527 | 1197404.8315 | 2575690.8597 | 1197415.6066
33 | 2575657.4926 | 1197425.1375 | 2575650.8044 | 1197409.9232 | 2575638.7227 | 1197403.938
34 | 2575616.0462 | 1197366.8107 | 2575641.7851 | 1197390.8387 | 2575646.9971 | 1197396.1416
35 | 2575604.783 | 1197356.2963 | 2575616.0462 | 1197366.8107
36 | 2575573.8105 | 1197327.3827 | 2575604.783 | 1197356.2963
37 | 2575573.8105 | 1197327.3827 | 2575550.6145 | 1197305.7336

## bus_geodata
| x | y | coords
0 | 2575662.2498 | 1197512.6156
1 | 2575629.3086 | 1197518.8701
2 | 2575634.8539 | 1197482.7229
3 | 2575633.4084 | 1197481.4843
4 | 2575607.5603 | 1197512.0888
5 | 2575582.8143 | 1197448.4668
6 | 2575600.6459 | 1197506.7134
7 | 2575743.6085 | 1197505.9187
8 | 2575737.1574 | 1197499.2322
9 | 2575756.1524 | 1197516.5505
10 | 2575554.4298 | 1197470.7842
11 | 2575572.2937 | 1197447.7652
12 | 2575588.2693 | 1197497.0916
13 | 2575808.5506 | 1197549.3448
14 | 2575765.9698 | 1197524.8713
15 | 2575813.3732 | 1197543.2575
16 | 2575784.489 | 1197499.2367
17 | 2575619.4019 | 1197439.2787
18 | 2575593.661 | 1197501.2832
19 | 2575734.759 | 1197496.7462
20 | 2575693.1942 | 1197497.9557
21 | 2575650.4872 | 1197462.3463
22 | 2575675.4551 | 1197429.8333
23 | 2575589.9659 | 1197422.4773
24 | 2575717.385 | 1197478.7378
25 | 2575706.9427 | 1197467.9143
26 | 2575699.6443 | 1197459.0876
27 | 2575686.5719 | 1197458.4234
28 | 2575686.7321 | 1197419.4186
29 | 2575669.7125 | 1197422.3527
30 | 2575690.8597 | 1197415.6066
31 | 2575657.4926 | 1197425.1375
32 | 2575646.9971 | 1197396.1416
33 | 2575702.527 | 1197404.8315
34 | 2575616.0462 | 1197366.8107
35 | 2575604.783 | 1197356.2963
36 | 2575573.8105 | 1197327.3827
37 | 2575638.7227 | 1197403.938
38 | 2575550.6145 | 1197305.7336
39 | 2575619.4019 | 1197439.2787

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98336 | -0.32015 | 0.026199 | 0.006566
1 | 0.98438 | -0.30028 | 0 | 0
2 | 0.98451 | -0.29779 | 0.038923 | 0.0097551
3 | 0.98457 | -0.29646 | 0.04952 | 0.012411
4 | 0.98499 | -0.2883 | 0 | 0
5 | 0.98951 | -0.20068 | 0.0037497 | 0.00093976
6 | 0.9852 | -0.28417 | 0.030753 | 0.0077074
7 | 0.98432 | -0.3016 | 0 | 0
8 | 0.98446 | -0.29884 | 0.0071411 | 0.0017897
9 | 0.98407 | -0.30649 | 0.0039613 | 0.00099278
10 | 0.9891 | -0.20842 | 0 | 0
11 | 0.99115 | -0.16902 | 0 | 0
12 | 0.98611 | -0.26656 | 0.0058932 | 0.001477
13 | 0.9838 | -0.31176 | 0 | 0
14 | 0.98392 | -0.30939 | 0 | 0
15 | 0.98379 | -0.31201 | 0.0017856 | 0.00044752
16 | 0.98361 | -0.31554 | 0.010753 | 0.002695
17 | 0.99515 | -0.092301 | 0 | 0
18 | 0.98567 | -0.27513 | 0.013049 | 0.0032705
19 | 0.98454 | -0.29738 | 0.0012878 | 0.00032276
20 | 0.99918 | -0.015789 | 0.016185 | 0.0040563
21 | 1 | 0 | -0.4316 | -0.10987
22 | 0.98907 | -0.20926 | 0 | 0
23 | 0.9949 | -0.09699 | 0.0078173 | 0.0019592
24 | 0.98511 | -0.28616 | 0.0075956 | 0.0019036
25 | 0.98556 | -0.27738 | 0 | 0
26 | 0.98635 | -0.26206 | 0.0032484 | 0.00081413
27 | 0.98452 | -0.29765 | 0.042075 | 0.010545
28 | 0.98823 | -0.22563 | 0.029152 | 0.0073063
29 | 0.98825 | -0.22518 | 0 | 0
30 | 0.98807 | -0.2287 | 0.025871 | 0.0064838
31 | 0.98745 | -0.24075 | 0 | 0
32 | 0.98745 | -0.24071 | 0.0069532 | 0.0017426
33 | 0.988 | -0.23005 | 0.0047749 | 0.0011967
34 | 0.98674 | -0.2545 | 0.0069374 | 0.0017387
35 | 0.98658 | -0.25757 | 0.0076714 | 0.0019226
36 | 0.98645 | -0.2602 | 0 | 0
37 | 0.98552 | -0.27835 | 0.069738 | 0.017478
38 | 0.98635 | -0.26216 | 0.0034595 | 0.00086702
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026199 | -0.006566 | 0.026223 | 0.0065813 | 2.4817e-05 | 1.5348e-05 | 0.039643 | 0.039643 | 0.039643 | 0.98336 | -0.32015 | 0.98438 | -0.30028 | 10.8911
1 | -0.026223 | -0.0065813 | 0.026238 | 0.0065906 | 1.4999e-05 | 9.2755e-06 | 0.039643 | 0.039643 | 0.039643 | 0.98438 | -0.30028 | 0.98499 | -0.2883 | 10.891
2 | -0.038923 | -0.0097551 | 0.038926 | 0.0097566 | 2.4705e-06 | 1.5569e-06 | 0.05883 | 0.05883 | 0.05883 | 0.98451 | -0.29779 | 0.98457 | -0.29646 | 16.162
3 | -0.088446 | -0.022168 | 0.088852 | 0.022426 | 0.00040561 | 0.00025881 | 0.13367 | 0.13367 | 0.13367 | 0.98457 | -0.29646 | 0.98951 | -0.20068 | 36.7229
4 | -0.026238 | -0.0065906 | 0.026244 | 0.0065938 | 5.1615e-06 | 3.1919e-06 | 0.039643 | 0.039643 | 0.039643 | 0.98499 | -0.2883 | 0.9852 | -0.28417 | 10.891
5 | -0.092601 | -0.023366 | 0.092742 | 0.023456 | 0.00014061 | 8.9739e-05 | 0.13931 | 0.13931 | 0.13931 | 0.98951 | -0.20068 | 0.99115 | -0.16902 | 38.2719
6 | -0.056997 | -0.014301 | 0.057021 | 0.014317 | 2.4591e-05 | 1.5625e-05 | 0.086091 | 0.086091 | 0.086091 | 0.9852 | -0.28417 | 0.98567 | -0.27513 | 23.6515
7 | -0.016509 | -0.0041393 | 0.016511 | 0.0041405 | 2.1703e-06 | 1.2709e-06 | 0.024958 | 0.024958 | 0.024958 | 0.98432 | -0.3016 | 0.98446 | -0.29884 | 6.8566
8 | 0.016509 | 0.0041393 | -0.016505 | -0.004137 | 3.841e-06 | 2.2493e-06 | 0.024958 | 0.024958 | 0.024958 | 0.98432 | -0.3016 | 0.98407 | -0.30649 | 6.8566
9 | -0.023652 | -0.0059303 | 0.023654 | 0.0059313 | 1.6557e-06 | 1.0158e-06 | 0.035752 | 0.035752 | 0.035752 | 0.98446 | -0.29884 | 0.98454 | -0.29738 | 9.8219
10 | 0.012544 | 0.0031442 | -0.012542 | -0.0031433 | 1.7363e-06 | 9.4778e-07 | 0.018968 | 0.018968 | 0.018968 | 0.98407 | -0.30649 | 0.98392 | -0.30939 | 5.211
11 | -0.076204 | -0.019217 | 0.076348 | 0.019309 | 0.00014402 | 9.1797e-05 | 0.11468 | 0.11468 | 0.11468 | 0.9891 | -0.20842 | 0.99115 | -0.16902 | 31.5065
12 | 0.076204 | 0.019217 | -0.075992 | -0.019083 | 0.0002114 | 0.00013475 | 0.11468 | 0.11468 | 0.11468 | 0.9891 | -0.20842 | 0.98611 | -0.26656 | 31.5066
13 | -0.16909 | -0.042765 | 0.16971 | 0.043164 | 0.00062485 | 0.00039857 | 0.25399 | 0.25399 | 0.25399 | 0.99115 | -0.16902 | 0.99515 | -0.092301 | 34.8892
14 | 0.070099 | 0.017606 | -0.07007 | -0.017587 | 2.8662e-05 | 1.8257e-05 | 0.10579 | 0.10579 | 0.10579 | 0.98611 | -0.26656 | 0.98567 | -0.27513 | 29.0635
15 | -0.0017856 | -0.00044743 | 0.0017858 | 0.00044663 | 2.0156e-07 | -8.0688e-07 | 0.0027008 | 0.0027005 | 0.0027008 | 0.9838 | -0.31176 | 0.98392 | -0.30939 | 0.74198
16 | 0.0017856 | 0.00044743 | -0.0017856 | -0.00044752 | 2.1243e-08 | -8.5014e-08 | 0.0027008 | 0.0027008 | 0.0027008 | 0.9838 | -0.31176 | 0.98379 | -0.31201 | 0.74198
17 | 0.010757 | 0.0026967 | -0.010753 | -0.002695 | 3.1529e-06 | 1.6145e-06 | 0.016268 | 0.016268 | 0.016268 | 0.98392 | -0.30939 | 0.98361 | -0.31554 | 4.4692
18 | -0.41192 | -0.10463 | 0.41375 | 0.1058 | 0.0018389 | 0.0011754 | 0.61642 | 0.61642 | 0.61642 | 0.99515 | -0.092301 | 1 | 0 | 56.4487
19 | 0.23438 | 0.059503 | -0.23307 | -0.058666 | 0.0013109 | 0.00083751 | 0.35073 | 0.35074 | 0.35074 | 0.99515 | -0.092301 | 0.98907 | -0.20926 | 48.1779
20 | 0.0078191 | 0.0019599 | -0.0078173 | -0.0019592 | 1.7464e-06 | 6.7519e-07 | 0.011692 | 0.011692 | 0.011692 | 0.99515 | -0.092301 | 0.9949 | -0.09699 | 3.2121
21 | -0.024942 | -0.006254 | 0.024955 | 0.0062623 | 1.3335e-05 | 8.2163e-06 | 0.037698 | 0.037698 | 0.037698 | 0.98454 | -0.29738 | 0.98511 | -0.28616 | 10.3566
22 | -0.016185 | -0.0040563 | 0.016197 | 0.0040634 | 1.2183e-05 | 7.064e-06 | 0.024103 | 0.024103 | 0.024103 | 0.99918 | -0.015789 | 1 | 0 | 6.6218
23 | 0.059849 | 0.015019 | -0.059803 | -0.01499 | 4.6677e-05 | 2.9676e-05 | 0.090048 | 0.090048 | 0.090048 | 0.98907 | -0.20926 | 0.98823 | -0.22563 | 24.7385
24 | 0.095041 | 0.023927 | -0.094969 | -0.023881 | 7.2275e-05 | 4.6135e-05 | 0.14302 | 0.14302 | 0.14302 | 0.98907 | -0.20926 | 0.98825 | -0.22518 | 39.2923
25 | 0.07818 | 0.01972 | -0.077983 | -0.019594 | 0.00019708 | 0.00012564 | 0.11766 | 0.11766 | 0.11766 | 0.98907 | -0.20926 | 0.98635 | -0.26206 | 32.3253
26 | -0.032551 | -0.0081659 | 0.032565 | 0.0081744 | 1.3636e-05 | 8.5355e-06 | 0.049171 | 0.049171 | 0.049171 | 0.98511 | -0.28616 | 0.98556 | -0.27738 | 13.5085
27 | -0.07468 | -0.018745 | 0.074735 | 0.01878 | 5.4613e-05 | 3.4806e-05 | 0.11276 | 0.11276 | 0.11276 | 0.98556 | -0.27738 | 0.98635 | -0.26206 | 30.979
28 | 0.042116 | 0.010571 | -0.042075 | -0.010545 | 4.0665e-05 | 2.5684e-05 | 0.063592 | 0.063593 | 0.063593 | 0.98556 | -0.27738 | 0.98452 | -0.29765 | 17.4705
29 | 0.03065 | 0.0076833 | -0.030646 | -0.0076805 | 4.4879e-06 | 2.8003e-06 | 0.046152 | 0.046152 | 0.046152 | 0.98823 | -0.22563 | 0.98807 | -0.2287 | 12.6792
30 | 0.069915 | 0.017591 | -0.069863 | -0.017558 | 5.1967e-05 | 3.3099e-05 | 0.1053 | 0.1053 | 0.1053 | 0.98825 | -0.22518 | 0.98745 | -0.24075 | 28.9274
31 | 0.025054 | 0.0062898 | -0.025036 | -0.0062784 | 1.855e-05 | 1.1427e-05 | 0.037728 | 0.037728 | 0.037728 | 0.98825 | -0.22518 | 0.98745 | -0.24071 | 10.3649
32 | 0.0047752 | 0.0011967 | -0.0047749 | -0.0011967 | 3.08e-07 | -6.2772e-09 | 0.0071914 | 0.0071915 | 0.0071915 | 0.98807 | -0.2287 | 0.988 | -0.23005 | 1.9757
33 | 0.069863 | 0.017558 | -0.069738 | -0.017478 | 0.00012516 | 7.9716e-05 | 0.1053 | 0.1053 | 0.1053 | 0.98745 | -0.24075 | 0.98552 | -0.27835 | 28.9274
34 | 0.018083 | 0.0045358 | -0.018071 | -0.0045287 | 1.1876e-05 | 7.0554e-06 | 0.02725 | 0.027251 | 0.027251 | 0.98745 | -0.24071 | 0.98674 | -0.2545 | 7.4864
35 | 0.011133 | 0.00279 | -0.011132 | -0.0027892 | 1.6287e-06 | 8.4555e-07 | 0.016789 | 0.016789 | 0.016789 | 0.98674 | -0.2545 | 0.98658 | -0.25757 | 4.6124
36 | 0.0034602 | 0.00086656 | -0.0034598 | -0.00086682 | 4.3274e-07 | -2.6403e-07 | 0.0052186 | 0.0052188 | 0.0052188 | 0.98658 | -0.25757 | 0.98645 | -0.2602 | 1.4337
37 | 0.0034598 | 0.00086682 | -0.0034595 | -0.00086702 | 3.2408e-07 | -1.9761e-07 | 0.0052188 | 0.005219 | 0.005219 | 0.98645 | -0.2602 | 0.98635 | -0.26216 | 1.4338

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47325 | 0.1203

## res_load
| p_mw | q_mvar
0 | 0.026199 | 0.006566
1 | 0.038923 | 0.0097551
2 | 0.04952 | 0.012411
3 | 0.0037497 | 0.00093976
4 | 0.030753 | 0.0077074
5 | 0.0071411 | 0.0017897
6 | 0.0039613 | 0.00099278
7 | 0.0058932 | 0.001477
8 | 0.0017856 | 0.00044752
9 | 0.010753 | 0.002695
10 | 0.013049 | 0.0032705
11 | 0.0012878 | 0.00032276
12 | 0.016185 | 0.0040563
13 | 0.041652 | 0.010439
14 | 0.0078173 | 0.0019592
15 | 0.0075956 | 0.0019036
16 | 0.0032484 | 0.00081413
17 | 0.042075 | 0.010545
18 | 0.029152 | 0.0073063
19 | 0.025871 | 0.0064838
20 | 0.0069532 | 0.0017426
21 | 0.0047749 | 0.0011967
22 | 0.0069374 | 0.0017387
23 | 0.0076714 | 0.0019226
24 | 0.069738 | 0.017478
25 | 0.0034595 | 0.00086702

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1