## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2275-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2275-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2275-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2275-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2275-8_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2275-8_0_2_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2275-8_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2275-8_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2275-8_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2275-8_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2275-8_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2275-8_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2275-8_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2275-8_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2275-8_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2275-8_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2275-8_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2275-8_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2275-8_0_2_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_2275-8_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2275-8_0_2_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_2275-8_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_2275-8_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2275-8_0_2_node_122 | 0.4 | n |  | TRUE
24 | bus_LV_2275-8_0_2_node_123 | 0.4 | n |  | TRUE
25 | bus_LV_2275-8_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2275-8_0_2_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_2275-8_0_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2275-8_0_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_2275-8_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2275-8_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2275-8_0_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2275-8_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2275-8_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2275-8_0_2_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_2275-8_0_2_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_2275-8_0_2_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_2275-8_0_2_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_2275-8_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2275-8_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2275-8_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2275-8_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2275-8_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2275-8_0_2_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_2275-8_0_2_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_2275-8_0_2_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_2275-8_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2275-8_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2275-8_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2275-8_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2275-8_0_2_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_2275-8_0_2_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2275-8_0_2_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2275-8_0_2_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2275-8_0_2_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2275-8_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2275-8_0_2_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2275-8_0_2_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2275-8_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_2275-8_0_2_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2275-8_0_2_node_114 | 0.4 | n |  | TRUE
61 | bus_LV_2275-8_0_2_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_2275-8_0_2_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2275-8_0_2_node_130 | 0.4 | n |  | TRUE
64 | bus_LV_2275-8_0_2_node_131 | 0.4 | n |  | TRUE
65 | bus_LV_2275-8_0_2_node_129 | 0.4 | n |  | TRUE
66 | bus_LV_2275-8_0_2_node_143 | 0.4 | n |  | TRUE
67 | bus_LV_2275-8_0_2_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_2275-8_0_2_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_2275-8_0_2_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_2275-8_0_2_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_2275-8_0_2_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_2275-8_0_2_node_126 | 0.4 | n |  | TRUE
73 | bus_LV_2275-8_0_2_node_127 | 0.4 | n |  | TRUE
74 | bus_LV_2275-8_0_2_node_128 | 0.4 | n |  | TRUE
75 | bus_LV_2275-8_0_2_node_142 | 0.4 | n |  | TRUE
76 | bus_LV_2275-8_0_2_node_141 | 0.4 | n |  | TRUE
77 | bus_MV_379_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2275-8_0_2_load_0 | 0 | 0.0034554 | 0.00086601 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2275-8_0_2_load_1 | 1 | 0.0025139 | 0.00063004 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2275-8_0_2_load_2 | 2 | 0.0036495 | 0.00091466 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2275-8_0_2_load_3 | 3 | 0.0043146 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2275-8_0_2_load_4 | 4 | 0.0033405 | 0.0008372 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2275-8_0_2_load_15 | 5 | 0.0056588 | 0.0014182 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2275-8_0_2_load_16 | 6 | 0.0034069 | 0.00085386 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2275-8_0_2_load_8 | 7 | 0.003053 | 0.00076514 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2275-8_0_2_load_5 | 8 | 0.0042943 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2275-8_0_2_load_6 | 9 | 0.0049448 | 0.0012393 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2275-8_0_2_load_7 | 10 | 0.0031994 | 0.00080184 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2275-8_0_2_load_9 | 11 | 0.0048365 | 0.0012121 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2275-8_0_2_load_11 | 12 | 0.0047087 | 0.0011801 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2275-8_0_2_load_10 | 13 | 0.0029649 | 0.00074309 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2275-8_0_2_load_13 | 15 | 0.0030867 | 0.0007736 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2275-8_0_2_load_14 | 16 | 0.0028108 | 0.00070446 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2275-8_0_2_load_17 | 17 | 0.0042975 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2275-8_0_2_load_18 | 19 | 0.0068667 | 0.0017209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2275-8_0_2_load_34 | 21 | 0.0021959 | 0.00055034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2275-8_0_2_load_122 | 23 | 0.020579 | 0.0051577 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2275-8_0_2_load_123 | 24 | 0.0063066 | 0.0015806 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2275-8_0_2_load_41 | 26 | 0.0055087 | 0.0013806 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2275-8_0_2_load_37 | 27 | 0.0043207 | 0.0010829 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2275-8_0_2_load_39 | 28 | 0.0053156 | 0.0013322 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2275-8_0_2_load_22 | 30 | 0.006461 | 0.0016193 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2275-8_0_2_load_23 | 31 | 0.0034064 | 0.00085372 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2275-8_0_2_load_24 | 32 | 0.0034726 | 0.00087032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2275-8_0_2_load_26 | 33 | 0.0018101 | 0.00045367 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2275-8_0_2_load_35 | 34 | 0.003952 | 0.00099047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2275-8_0_2_load_54 | 35 | 0.0043888 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2275-8_0_2_load_51 | 36 | 0.0049576 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2275-8_0_2_load_46 | 37 | 0.0028128 | 0.00070496 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2275-8_0_2_load_27 | 38 | 0.0022695 | 0.00056878 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2275-8_0_2_load_28 | 39 | 0.0061675 | 0.0015457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2275-8_0_2_load_29 | 40 | 0.0013766 | 0.000345 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2275-8_0_2_load_30 | 41 | 0.0019003 | 0.00047627 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2275-8_0_2_load_31 | 42 | 0.0011271 | 0.00028248 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2275-8_0_2_load_61 | 44 | 0.0010975 | 0.00027507 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2275-8_0_2_load_55 | 45 | 0.0019668 | 0.00049291 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2275-8_0_2_load_32 | 46 | 0.0039682 | 0.00099454 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2275-8_0_2_load_33 | 47 | 0.0026827 | 0.00067235 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2275-8_0_2_load_38 | 48 | 0.003439 | 0.00086188 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2275-8_0_2_load_40 | 49 | 0.0069356 | 0.0017382 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2275-8_0_2_load_106 | 50 | 0.0033368 | 0.00083627 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2275-8_0_2_load_42 | 51 | 0.0044966 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2275-8_0_2_load_43 | 52 | 0.0054772 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2275-8_0_2_load_44 | 53 | 0.0071493 | 0.0017918 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2275-8_0_2_load_45 | 54 | 0.0037212 | 0.00093263 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2275-8_0_2_load_49 | 55 | 0.0053507 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2275-8_0_2_load_47 | 56 | 0.0022093 | 0.00055371 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2275-8_0_2_load_48 | 57 | 0.0017777 | 0.00044553 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2275-8_0_2_load_114 | 60 | 0.001412 | 0.00035388 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2275-8_0_2_load_59 | 61 | 0.001969 | 0.00049349 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2275-8_0_2_load_131 | 64 | 0.0015519 | 0.00038895 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2275-8_0_2_load_129 | 65 | 0.0017627 | 0.00044178 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2275-8_0_2_load_143 | 66 | 0.0045018 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2275-8_0_2_load_62 | 67 | 0.0064908 | 0.0016268 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2275-8_0_2_load_65 | 69 | 0.0064977 | 0.0016285 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2275-8_0_2_load_126 | 72 | 0.0012745 | 0.00031943 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2275-8_0_2_load_128 | 74 | 0.0020695 | 0.00051866 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2275-8_0_2_load_142 | 75 | 0.0098983 | 0.0024807 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2275-8_0_2_load_141 | 76 | 0.00065435 | 0.000164 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2275-8_0_2_line_0 |  | 0 | 1 | 0.0037475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2275-8_0_2_line_1 |  | 0 | 2 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2275-8_0_2_line_2 |  | 1 | 3 | 0.025334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2275-8_0_2_line_3 |  | 2 | 4 | 0.0056419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2275-8_0_2_line_4 |  | 3 | 5 | 0.0029237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2275-8_0_2_line_5 |  | 4 | 6 | 0.018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2275-8_0_2_line_6 |  | 6 | 7 | 0.0058324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2275-8_0_2_line_7 |  | 7 | 9 | 0.01732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2275-8_0_2_line_8 |  | 8 | 9 | 0.0044111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2275-8_0_2_line_9 |  | 8 | 10 | 0.018251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2275-8_0_2_line_10 |  | 10 | 11 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2275-8_0_2_line_11 |  | 11 | 12 | 0.0050367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2275-8_0_2_line_12 |  | 12 | 13 | 0.021794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2275-8_0_2_line_13 |  | 13 | 14 | 0.01831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2275-8_0_2_line_14 |  | 14 | 15 | 0.021464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2275-8_0_2_line_15 |  | 14 | 16 | 0.0055468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2275-8_0_2_line_16 |  | 15 | 17 | 0.0026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2275-8_0_2_line_17 |  | 16 | 18 | 0.034322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2275-8_0_2_line_18 |  | 17 | 19 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2275-8_0_2_line_19 |  | 18 | 20 | 0.008086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2275-8_0_2_line_20 |  | 18 | 21 | 0.0045082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2275-8_0_2_line_21 |  | 19 | 22 | 0.029399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2275-8_0_2_line_22 |  | 20 | 44 | 0.028274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2275-8_0_2_line_23 |  | 20 | 41 | 0.0099543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2275-8_0_2_line_24 |  | 21 | 46 | 0.023043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2275-8_0_2_line_25 |  | 22 | 23 | 0.01306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2275-8_0_2_line_26 |  | 23 | 24 | 0.029353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2275-8_0_2_line_27 |  | 24 | 71 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2275-8_0_2_line_28 |  | 25 | 26 | 0.017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2275-8_0_2_line_29 |  | 25 | 27 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2275-8_0_2_line_30 |  | 26 | 28 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2275-8_0_2_line_31 |  | 27 | 29 | 0.041143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2275-8_0_2_line_32 |  | 28 | 48 | 0.0028772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2275-8_0_2_line_33 |  | 29 | 34 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2275-8_0_2_line_34 |  | 29 | 31 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2275-8_0_2_line_35 |  | 30 | 31 | 0.017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2275-8_0_2_line_36 |  | 30 | 32 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2275-8_0_2_line_37 |  | 32 | 33 | 0.023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2275-8_0_2_line_38 |  | 33 | 35 | 0.015372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2275-8_0_2_line_39 |  | 33 | 36 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2275-8_0_2_line_40 |  | 35 | 37 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2275-8_0_2_line_41 |  | 37 | 53 | 0.012928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2275-8_0_2_line_42 |  | 38 | 39 | 0.0055784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2275-8_0_2_line_43 |  | 38 | 40 | 0.014466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2275-8_0_2_line_44 |  | 39 | 41 | 0.0088139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2275-8_0_2_line_45 |  | 40 | 42 | 0.0050504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2275-8_0_2_line_46 |  | 42 | 43 | 0.0050806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2275-8_0_2_line_47 |  | 43 | 45 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2275-8_0_2_line_48 |  | 44 | 66 | 0.042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2275-8_0_2_line_49 |  | 45 | 59 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2275-8_0_2_line_50 |  | 46 | 47 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2275-8_0_2_line_51 |  | 48 | 49 | 0.033826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2275-8_0_2_line_52 |  | 49 | 50 | 0.045171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2275-8_0_2_line_53 |  | 51 | 52 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2275-8_0_2_line_54 |  | 51 | 53 | 0.0073307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2275-8_0_2_line_55 |  | 52 | 54 | 0.008762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2275-8_0_2_line_56 |  | 54 | 55 | 0.015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2275-8_0_2_line_57 |  | 55 | 56 | 0.0087881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2275-8_0_2_line_58 |  | 56 | 57 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2275-8_0_2_line_59 |  | 57 | 58 | 0.023853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2275-8_0_2_line_60 |  | 58 | 59 | 0.005255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2275-8_0_2_line_61 |  | 58 | 60 | 0.022224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2275-8_0_2_line_62 |  | 59 | 61 | 0.0066798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2275-8_0_2_line_63 |  | 61 | 62 | 0.014881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2275-8_0_2_line_64 |  | 62 | 63 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2275-8_0_2_line_65 |  | 63 | 64 | 0.0095944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2275-8_0_2_line_66 |  | 63 | 65 | 0.0067257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2275-8_0_2_line_67 |  | 64 | 76 | 0.015113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2275-8_0_2_line_68 |  | 65 | 74 | 0.032653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2275-8_0_2_line_69 |  | 67 | 68 | 0.021647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2275-8_0_2_line_70 |  | 68 | 69 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2275-8_0_2_line_71 |  | 69 | 70 | 0.010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2275-8_0_2_line_72 |  | 70 | 71 | 0.045265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2275-8_0_2_line_73 |  | 72 | 73 | 0.071342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2275-8_0_2_line_74 |  | 73 | 74 | 0.042176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2275-8_0_2_line_75 |  | 73 | 75 | 0.12051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2275-8_0_2_trafo_33 | 0.63 MVA 20/0.4 kV | 77 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2575815.0891 | 1197982.9046 | 2575812.561 | 1197980.1383
1 | 2575815.0891 | 1197982.9046 | 2575826.8479 | 1197995.7716
2 | 2575795.4705 | 1197961.4372 | 2575812.561 | 1197980.1383
3 | 2575830.654 | 1197999.9363 | 2575826.8479 | 1197995.7716
4 | 2575795.4705 | 1197961.4372 | 2575793.4982 | 1197959.2791
5 | 2575830.654 | 1197999.9363 | 2575836.6123 | 1198006.4561 | 2575843.2558 | 1198013.0276
6 | 2575847.4023 | 1198017.1292 | 2575843.2558 | 1198013.0276
7 | 2575847.4023 | 1198017.1292 | 2575859.7155 | 1198029.3091
8 | 2575862.8516 | 1198032.4112 | 2575859.7155 | 1198029.3091
9 | 2575862.8516 | 1198032.4112 | 2575875.827 | 1198045.2461
10 | 2575885.0129 | 1198054.3325 | 2575875.827 | 1198045.2461
11 | 2575885.0129 | 1198054.3325 | 2575888.5938 | 1198057.8745
12 | 2575888.5938 | 1198057.8745 | 2575904.0883 | 1198073.2012
13 | 2575918.4476 | 1198084.0555 | 2575912.6351 | 1198081.6555 | 2575904.0883 | 1198073.2012
14 | 2575918.4476 | 1198084.0555 | 2575915.6497 | 1198087.0463 | 2575901.9294 | 1198097.6961
15 | 2575918.4476 | 1198084.0555 | 2575923.4487 | 1198081.6562
16 | 2575899.8583 | 1198099.3037 | 2575901.9294 | 1198097.6961
17 | 2575947.8415 | 1198057.5113 | 2575923.4487 | 1198081.6562
18 | 2575899.8583 | 1198099.3037 | 2575892.1243 | 1198105.3069 | 2575884.0979 | 1198110.859
19 | 2575947.8415 | 1198057.5113 | 2575955.5807 | 1198059.9258
20 | 2575947.8415 | 1198057.5113 | 2575944.3384 | 1198054.6737
21 | 2575859.9188 | 1198127.5827 | 2575863.3209 | 1198125.2343 | 2575868.4087 | 1198121.7118 | 2575884.0979 | 1198110.859
22 | 2575955.5807 | 1198059.9258 | 2575951.3758 | 1198087.8855
23 | 2575955.5807 | 1198059.9258 | 2575965.5139 | 1198059.2784
24 | 2575926.4323 | 1198040.1694 | 2575944.3384 | 1198054.6737
25 | 2575859.9188 | 1198127.5827 | 2575851.0199 | 1198118.0241
26 | 2575851.0199 | 1198118.0241 | 2575831.0188 | 1198096.5402
27 | 2575819.8714 | 1198084.5663 | 2575831.0188 | 1198096.5402
28 | 2575834.6488 | 1197942.9852 | 2575845.1975 | 1197928.7831
29 | 2575834.6488 | 1197942.9852 | 2575844.45 | 1197954.0945
30 | 2575845.1975 | 1197928.7831 | 2575856.6737 | 1197913.3321
31 | 2575871.6695 | 1197984.9467 | 2575844.45 | 1197954.0945
32 | 2575858.3893 | 1197911.0224 | 2575856.6737 | 1197913.3321
33 | 2575871.6695 | 1197984.9467 | 2575888.7514 | 1198003.8922
34 | 2575871.6695 | 1197984.9467 | 2575881.4098 | 1197972.5767
35 | 2575891.9739 | 1197959.1074 | 2575889.2769 | 1197962.5856 | 2575881.4098 | 1197972.5767
36 | 2575891.9739 | 1197959.1074 | 2575899.5263 | 1197949.3673
37 | 2575913.7921 | 1197930.9692 | 2575899.5263 | 1197949.3673
38 | 2575913.7921 | 1197930.9692 | 2575925.9869 | 1197940.3285
39 | 2575913.7921 | 1197930.9692 | 2575921.6822 | 1197920.7343
40 | 2575937.131 | 1197948.8815 | 2575925.9869 | 1197940.3285
41 | 2575937.131 | 1197948.8815 | 2575947.3866 | 1197956.7526
42 | 2575979.5304 | 1198056.7409 | 2575974.3091 | 1198058.7051
43 | 2575979.5304 | 1198056.7409 | 2575988.5584 | 1198053.3447 | 2575992.7445 | 1198050.9552
44 | 2575965.5139 | 1198059.2784 | 2575974.3091 | 1198058.7051 | 2575974.3091 | 1198058.7051
45 | 2575997.1306 | 1198048.4515 | 2575992.7445 | 1198050.9552
46 | 2576001.5429 | 1198045.9328 | 2575997.1306 | 1198048.4515
47 | 2576001.5429 | 1198045.9328 | 2576009.7066 | 1198038.0759
48 | 2575947.195 | 1198129.5223 | 2575946.0735 | 1198123.1429 | 2575951.3758 | 1198087.8855
49 | 2576025.241 | 1198023.125 | 2576009.7066 | 1198038.0759
50 | 2575926.4323 | 1198040.1694 | 2575920.0234 | 1198034.9781 | 2575907.6916 | 1198024.484
51 | 2575883.8649 | 1197895.5267 | 2575875.0524 | 1197893.2945 | 2575868.8379 | 1197896.955 | 2575858.3893 | 1197911.0224
52 | 2575883.8649 | 1197895.5267 | 2575858.9673 | 1197857.8365
53 | 2575953.2019 | 1197961.2158 | 2575966.3968 | 1197971.3427
54 | 2575953.2019 | 1197961.2158 | 2575947.3866 | 1197956.7526
55 | 2575973.3476 | 1197976.6774 | 2575966.3968 | 1197971.3427
56 | 2575973.3476 | 1197976.6774 | 2575986.0123 | 1197986.3974
57 | 2575992.9839 | 1197991.748 | 2575986.0123 | 1197986.3974
58 | 2575992.9839 | 1197991.748 | 2576009.2935 | 1198004.2655
59 | 2576028.2163 | 1198018.7885 | 2576009.2935 | 1198004.2655
60 | 2576025.241 | 1198023.125 | 2576028.2163 | 1198018.7885
61 | 2576028.2163 | 1198018.7885 | 2576037.9294 | 1197998.7999
62 | 2576025.241 | 1198023.125 | 2576024.0912 | 1198029.7051
63 | 2576025.2809 | 1198044.3808 | 2576023.4545 | 1198033.3489 | 2576024.0912 | 1198029.7051
64 | 2576038.8839 | 1198063.8588 | 2576033.8364 | 1198056.6308 | 2576025.2809 | 1198044.3808
65 | 2576038.8839 | 1198063.8588 | 2576039.4767 | 1198073.4349
66 | 2576038.8839 | 1198063.8588 | 2576044.982 | 1198066.6959
67 | 2576040.03 | 1198088.535 | 2576039.7961 | 1198078.5965 | 2576039.4767 | 1198073.4349
68 | 2576044.982 | 1198066.6959 | 2576074.5877 | 1198080.4696
69 | 2575761.1674 | 1198120.4466 | 2575769.576 | 1198140.3935
70 | 2575761.1674 | 1198120.4466 | 2575774.4656 | 1198110.875
71 | 2575782.5174 | 1198104.7735 | 2575777.1201 | 1198108.9644 | 2575774.4656 | 1198110.875
72 | 2575782.5174 | 1198104.7735 | 2575787.215 | 1198106.422 | 2575793.0229 | 1198105.8202 | 2575798.5867 | 1198103.2296 | 2575811.4934 | 1198091.7487 | 2575815.6593 | 1198088.1076 | 2575819.8714 | 1198084.5663
73 | 2576114.0467 | 1198094.429 | 2576093.2835 | 1198026.1756
74 | 2576114.0467 | 1198094.429 | 2576105.034 | 1198093.4424 | 2576088.2083 | 1198086.8064 | 2576074.5877 | 1198080.4696
75 | 2576114.0467 | 1198094.429 | 2576219.401 | 1198152.9294

## bus_geodata
| x | y | coords
0 | 2575815.0891 | 1197982.9046
1 | 2575812.561 | 1197980.1383
2 | 2575826.8479 | 1197995.7716
3 | 2575795.4705 | 1197961.4372
4 | 2575830.654 | 1197999.9363
5 | 2575793.4982 | 1197959.2791
6 | 2575843.2558 | 1198013.0276
7 | 2575847.4023 | 1198017.1292
8 | 2575862.8516 | 1198032.4112
9 | 2575859.7155 | 1198029.3091
10 | 2575875.827 | 1198045.2461
11 | 2575885.0129 | 1198054.3325
12 | 2575888.5938 | 1198057.8745
13 | 2575904.0883 | 1198073.2012
14 | 2575918.4476 | 1198084.0555
15 | 2575901.9294 | 1198097.6961
16 | 2575923.4487 | 1198081.6562
17 | 2575899.8583 | 1198099.3037
18 | 2575947.8415 | 1198057.5113
19 | 2575884.0979 | 1198110.859
20 | 2575955.5807 | 1198059.9258
21 | 2575944.3384 | 1198054.6737
22 | 2575859.9188 | 1198127.5827
23 | 2575851.0199 | 1198118.0241
24 | 2575831.0188 | 1198096.5402
25 | 2575834.6488 | 1197942.9852
26 | 2575845.1975 | 1197928.7831
27 | 2575844.45 | 1197954.0945
28 | 2575856.6737 | 1197913.3321
29 | 2575871.6695 | 1197984.9467
30 | 2575891.9739 | 1197959.1074
31 | 2575881.4098 | 1197972.5767
32 | 2575899.5263 | 1197949.3673
33 | 2575913.7921 | 1197930.9692
34 | 2575888.7514 | 1198003.8922
35 | 2575925.9869 | 1197940.3285
36 | 2575921.6822 | 1197920.7343
37 | 2575937.131 | 1197948.8815
38 | 2575979.5304 | 1198056.7409
39 | 2575974.3091 | 1198058.7051
40 | 2575992.7445 | 1198050.9552
41 | 2575965.5139 | 1198059.2784
42 | 2575997.1306 | 1198048.4515
43 | 2576001.5429 | 1198045.9328
44 | 2575951.3758 | 1198087.8855
45 | 2576009.7066 | 1198038.0759
46 | 2575926.4323 | 1198040.1694
47 | 2575907.6916 | 1198024.484
48 | 2575858.3893 | 1197911.0224
49 | 2575883.8649 | 1197895.5267
50 | 2575858.9673 | 1197857.8365
51 | 2575953.2019 | 1197961.2158
52 | 2575966.3968 | 1197971.3427
53 | 2575947.3866 | 1197956.7526
54 | 2575973.3476 | 1197976.6774
55 | 2575986.0123 | 1197986.3974
56 | 2575992.9839 | 1197991.748
57 | 2576009.2935 | 1198004.2655
58 | 2576028.2163 | 1198018.7885
59 | 2576025.241 | 1198023.125
60 | 2576037.9294 | 1197998.7999
61 | 2576024.0912 | 1198029.7051
62 | 2576025.2809 | 1198044.3808
63 | 2576038.8839 | 1198063.8588
64 | 2576039.4767 | 1198073.4349
65 | 2576044.982 | 1198066.6959
66 | 2575947.195 | 1198129.5223
67 | 2575769.576 | 1198140.3935
68 | 2575761.1674 | 1198120.4466
69 | 2575774.4656 | 1198110.875
70 | 2575782.5174 | 1198104.7735
71 | 2575819.8713 | 1198084.5663
72 | 2576093.2835 | 1198026.1756
73 | 2576114.0467 | 1198094.429
74 | 2576074.5877 | 1198080.4696
75 | 2576219.401 | 1198152.9294
76 | 2576040.03 | 1198088.535
77 | 2575947.8415 | 1198057.5113

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98522 | -0.28385 | 0.0034554 | 0.00086601
1 | 0.98518 | -0.28469 | 0.0025139 | 0.00063004
2 | 0.98547 | -0.27886 | 0.0036495 | 0.00091466
3 | 0.98494 | -0.28923 | 0.0043146 | 0.0010813
4 | 0.98558 | -0.27687 | 0.0033405 | 0.0008372
5 | 0.98493 | -0.28952 | 0.0056588 | 0.0014182
6 | 0.98596 | -0.2694 | 0.0034069 | 0.00085386
7 | 0.9861 | -0.26664 | 0.003053 | 0.00076514
8 | 0.98671 | -0.25481 | 0.0042943 | 0.0010763
9 | 0.98657 | -0.25752 | 0.0049448 | 0.0012393
10 | 0.98736 | -0.24219 | 0.0031994 | 0.00080184
11 | 0.98785 | -0.23254 | 0.0048365 | 0.0012121
12 | 0.98807 | -0.22834 | 0.0047087 | 0.0011801
13 | 0.9891 | -0.20837 | 0.0029649 | 0.00074309
14 | 0.99002 | -0.19065 | 0 | 0
15 | 0.98895 | -0.21134 | 0.0030867 | 0.0007736
16 | 0.99057 | -0.17996 | 0.0028108 | 0.00070446
17 | 0.98882 | -0.21372 | 0.0042975 | 0.001077
18 | 0.99408 | -0.11235 | 0 | 0
19 | 0.98798 | -0.23003 | 0.0068667 | 0.0017209
20 | 0.99359 | -0.12172 | 0 | 0
21 | 0.99459 | -0.10271 | 0.0021959 | 0.00055034
22 | 0.98691 | -0.25099 | 0 | 0
23 | 0.98643 | -0.26031 | 0.020579 | 0.0051577
24 | 0.98591 | -0.27046 | 0.0063066 | 0.0015806
25 | 0.97137 | -0.55283 | 0 | 0
26 | 0.97096 | -0.56086 | 0.0055087 | 0.0013806
27 | 0.97171 | -0.54612 | 0.0043207 | 0.0010829
28 | 0.97062 | -0.56763 | 0.0053156 | 0.0013322
29 | 0.97281 | -0.52423 | 0 | 0
30 | 0.97388 | -0.50331 | 0.006461 | 0.0016193
31 | 0.9733 | -0.51471 | 0.0034064 | 0.00085372
32 | 0.97437 | -0.49365 | 0.0034726 | 0.00087032
33 | 0.97537 | -0.47394 | 0.0018101 | 0.00045367
34 | 0.97272 | -0.52608 | 0.003952 | 0.00099047
35 | 0.97613 | -0.45905 | 0.0043888 | 0.0010999
36 | 0.97531 | -0.47512 | 0.0049576 | 0.0012425
37 | 0.97688 | -0.44433 | 0.0028128 | 0.00070496
38 | 0.99189 | -0.15405 | 0.0022695 | 0.00056878
39 | 0.9925 | -0.14243 | 0.0061675 | 0.0015457
40 | 0.99034 | -0.18366 | 0.0013766 | 0.000345
41 | 0.99301 | -0.13277 | 0.0019003 | 0.00047627
42 | 0.98981 | -0.1939 | 0.0011271 | 0.00028248
43 | 0.98927 | -0.20411 | 0 | 0
44 | 0.99344 | -0.12452 | 0.0010975 | 0.00027507
45 | 0.98808 | -0.22692 | 0.0019668 | 0.00049291
46 | 0.99719 | -0.053139 | 0.0039682 | 0.00099454
47 | 1 | 0 | -0.25438 | -0.064871
48 | 0.97058 | -0.56836 | 0.003439 | 0.00086188
49 | 0.97026 | -0.57479 | 0.0069356 | 0.0017382
50 | 0.97012 | -0.57758 | 0.0033368 | 0.00083627
51 | 0.97806 | -0.42116 | 0.0044966 | 0.0011269
52 | 0.97918 | -0.39943 | 0.0054772 | 0.0013727
53 | 0.9776 | -0.43015 | 0.0071493 | 0.0017918
54 | 0.97981 | -0.38713 | 0.0037212 | 0.00093263
55 | 0.98101 | -0.36369 | 0.0053507 | 0.001341
56 | 0.98172 | -0.34996 | 0.0022093 | 0.00055371
57 | 0.98341 | -0.3171 | 0.0017777 | 0.00044553
58 | 0.98541 | -0.27835 | 0 | 0
59 | 0.98586 | -0.26971 | 0 | 0
60 | 0.98539 | -0.27892 | 0.001412 | 0.00035388
61 | 0.98574 | -0.272 | 0.001969 | 0.00049349
62 | 0.98551 | -0.2766 | 0 | 0
63 | 0.98513 | -0.28394 | 0 | 0
64 | 0.98511 | -0.28432 | 0.0015519 | 0.00038895
65 | 0.98504 | -0.28576 | 0.0017627 | 0.00044178
66 | 0.99327 | -0.12787 | 0.0045018 | 0.0011283
67 | 0.98482 | -0.29162 | 0.0064908 | 0.0016268
68 | 0.98495 | -0.2891 | 0 | 0
69 | 0.98505 | -0.28719 | 0.0064977 | 0.0016285
70 | 0.98517 | -0.28483 | 0 | 0
71 | 0.98571 | -0.27428 | 0 | 0
72 | 0.98412 | -0.30365 | 0.0012745 | 0.00031943
73 | 0.98421 | -0.30201 | 0 | 0
74 | 0.98464 | -0.29353 | 0.0020695 | 0.00051866
75 | 0.98311 | -0.3235 | 0.0098983 | 0.0024807
76 | 0.9851 | -0.2845 | 0.00065435 | 0.000164
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01249 | 0.003131 | -0.01249 | -0.0031307 | 5.0011e-07 | 2.7235e-07 | 0.018864 | 0.018864 | 0.018864 | 0.98522 | -0.28385 | 0.98518 | -0.28469 | 5.1826
1 | -0.015945 | -0.003997 | 0.015949 | 0.0039992 | 3.7912e-06 | 2.2043e-06 | 0.024083 | 0.024083 | 0.024083 | 0.98522 | -0.28385 | 0.98547 | -0.27886 | 6.6163
2 | 0.0099757 | 0.0025007 | -0.0099735 | -0.0024996 | 2.1569e-06 | 1.0579e-06 | 0.015068 | 0.015068 | 0.015068 | 0.98518 | -0.28469 | 0.98494 | -0.28923 | 4.1395
3 | -0.019599 | -0.0049138 | 0.019601 | 0.004915 | 1.8529e-06 | 1.114e-06 | 0.029594 | 0.029594 | 0.029594 | 0.98547 | -0.27886 | 0.98558 | -0.27687 | 8.1302
4 | 0.0056589 | 0.0014183 | -0.0056588 | -0.0014182 | 8.0134e-08 | 1.4076e-08 | 0.0085493 | 0.0085493 | 0.0085493 | 0.98494 | -0.28923 | 0.98493 | -0.28952 | 2.3487
5 | -0.022941 | -0.0057522 | 0.022949 | 0.0057572 | 8.1778e-06 | 5.0021e-06 | 0.034637 | 0.034637 | 0.034637 | 0.98558 | -0.27687 | 0.98596 | -0.2694 | 9.5157
6 | -0.026356 | -0.006611 | 0.02636 | 0.0066132 | 3.4609e-06 | 2.1406e-06 | 0.039779 | 0.039779 | 0.039779 | 0.98596 | -0.2694 | 0.9861 | -0.26664 | 10.9283
7 | -0.029413 | -0.0073783 | 0.029425 | 0.0073863 | 1.2795e-05 | 7.968e-06 | 0.044386 | 0.044386 | 0.044386 | 0.9861 | -0.26664 | 0.98657 | -0.25752 | 12.1939
8 | 0.034375 | 0.0086283 | -0.03437 | -0.0086255 | 4.446e-06 | 2.7891e-06 | 0.051844 | 0.051844 | 0.051844 | 0.98671 | -0.25481 | 0.98657 | -0.25752 | 14.2428
9 | -0.038669 | -0.0097046 | 0.038692 | 0.0097193 | 2.3278e-05 | 1.4665e-05 | 0.05832 | 0.05832 | 0.05832 | 0.98671 | -0.25481 | 0.98736 | -0.24219 | 16.022
10 | -0.041892 | -0.010521 | 0.041911 | 0.010533 | 1.9317e-05 | 1.2198e-05 | 0.063142 | 0.063141 | 0.063142 | 0.98736 | -0.24219 | 0.98785 | -0.23254 | 17.3466
11 | -0.046747 | -0.011745 | 0.046757 | 0.011751 | 9.3681e-06 | 5.9311e-06 | 0.070427 | 0.070427 | 0.070427 | 0.98785 | -0.23254 | 0.98807 | -0.22834 | 19.348
12 | -0.051466 | -0.012931 | 0.051515 | 0.012963 | 4.9111e-05 | 3.1151e-05 | 0.077518 | 0.077518 | 0.077518 | 0.98807 | -0.22834 | 0.9891 | -0.20837 | 21.2961
13 | -0.05448 | -0.013706 | 0.054526 | 0.013735 | 4.6145e-05 | 2.9297e-05 | 0.081978 | 0.081978 | 0.081978 | 0.9891 | -0.20837 | 0.99002 | -0.19065 | 22.5215
14 | 0.0543 | 0.013674 | -0.054246 | -0.01364 | 5.3644e-05 | 3.4056e-05 | 0.081637 | 0.081637 | 0.081637 | 0.99002 | -0.19065 | 0.98895 | -0.21134 | 22.4279
15 | -0.10883 | -0.027409 | 0.10888 | 0.027445 | 5.5683e-05 | 3.5566e-05 | 0.16362 | 0.16362 | 0.16362 | 0.99002 | -0.19065 | 0.99057 | -0.17996 | 44.9493
16 | 0.05116 | 0.012866 | -0.051154 | -0.012863 | 5.8281e-06 | 3.6964e-06 | 0.076993 | 0.076993 | 0.076993 | 0.98895 | -0.21134 | 0.98882 | -0.21372 | 21.1519
17 | -0.11169 | -0.028149 | 0.11205 | 0.028381 | 0.00036256 | 0.0002316 | 0.16784 | 0.16784 | 0.16784 | 0.99057 | -0.17996 | 0.99408 | -0.11235 | 46.1093
18 | 0.046856 | 0.011786 | -0.04682 | -0.011763 | 3.6465e-05 | 2.3087e-05 | 0.070526 | 0.070526 | 0.070526 | 0.98882 | -0.21372 | 0.98798 | -0.23003 | 19.3753
19 | 0.13315 | 0.034078 | -0.13309 | -0.034039 | 6.0378e-05 | 3.8433e-05 | 0.19956 | 0.19956 | 0.19956 | 0.99408 | -0.11235 | 0.99359 | -0.12172 | 27.4121
20 | -0.2452 | -0.062459 | 0.24532 | 0.062531 | 0.0001141 | 7.2905e-05 | 0.3674 | 0.3674 | 0.3674 | 0.99408 | -0.11235 | 0.99459 | -0.10271 | 50.4666
21 | 0.039953 | 0.010042 | -0.039913 | -0.010016 | 3.9933e-05 | 2.5181e-05 | 0.060184 | 0.060184 | 0.060184 | 0.98798 | -0.23003 | 0.98691 | -0.25099 | 16.5342
22 | 0.0056009 | 0.0014034 | -0.0056001 | -0.0014033 | 7.4598e-07 | 1.1128e-07 | 0.0083878 | 0.008388 | 0.008388 | 0.99359 | -0.12172 | 0.99344 | -0.12452 | 2.3044
23 | 0.12749 | 0.032636 | -0.12742 | -0.032593 | 6.8212e-05 | 4.3398e-05 | 0.19117 | 0.19117 | 0.19117 | 0.99359 | -0.12172 | 0.99301 | -0.13277 | 26.2599
24 | -0.24751 | -0.063082 | 0.24811 | 0.063461 | 0.00059368 | 0.00037936 | 0.37068 | 0.37068 | 0.37068 | 0.99459 | -0.10271 | 0.99719 | -0.053139 | 50.9179
25 | 0.039913 | 0.010016 | -0.039896 | -0.010005 | 1.7739e-05 | 1.1186e-05 | 0.060184 | 0.060184 | 0.060184 | 0.98691 | -0.25099 | 0.98643 | -0.26031 | 16.5342
26 | 0.019316 | 0.0048475 | -0.019307 | -0.0048419 | 9.3472e-06 | 5.6077e-06 | 0.029141 | 0.029141 | 0.029141 | 0.98643 | -0.26031 | 0.98591 | -0.27046 | 8.0057
27 | 0.013 | 0.0032613 | -0.012998 | -0.00326 | 2.3621e-06 | 1.3032e-06 | 0.019622 | 0.019622 | 0.019622 | 0.98591 | -0.27046 | 0.98571 | -0.27428 | 5.3907
28 | 0.024555 | 0.0061603 | -0.024546 | -0.0061545 | 9.3881e-06 | 5.7895e-06 | 0.037618 | 0.037618 | 0.037618 | 0.97137 | -0.55283 | 0.97096 | -0.56086 | 10.3346
29 | -0.024555 | -0.0061603 | 0.024563 | 0.0061652 | 7.8618e-06 | 4.8481e-06 | 0.037618 | 0.037618 | 0.037618 | 0.97137 | -0.55283 | 0.97171 | -0.54612 | 10.3346
30 | 0.019037 | 0.0047739 | -0.019031 | -0.0047702 | 6.1438e-06 | 3.6941e-06 | 0.029176 | 0.029176 | 0.029176 | 0.97096 | -0.56086 | 0.97062 | -0.56763 | 8.0154
31 | -0.028884 | -0.007248 | 0.028914 | 0.0072668 | 3.0189e-05 | 1.8811e-05 | 0.044234 | 0.044234 | 0.044234 | 0.97171 | -0.54612 | 0.97281 | -0.52423 | 12.1523
32 | 0.013715 | 0.003438 | -0.013715 | -0.0034377 | 4.7703e-07 | 2.6974e-07 | 0.021027 | 0.021027 | 0.021027 | 0.97062 | -0.56763 | 0.97058 | -0.56836 | 5.7766
33 | 0.0039524 | 0.00099038 | -0.003952 | -0.00099047 | 3.4962e-07 | -9.2926e-08 | 0.0060455 | 0.0060456 | 0.0060456 | 0.97281 | -0.52423 | 0.97272 | -0.52608 | 1.6609
34 | -0.032866 | -0.0082572 | 0.032881 | 0.0082666 | 1.4926e-05 | 9.3571e-06 | 0.05028 | 0.05028 | 0.05028 | 0.97281 | -0.52423 | 0.9733 | -0.51471 | 13.8131
35 | 0.036307 | 0.0091327 | -0.036288 | -0.0091203 | 1.9764e-05 | 1.2436e-05 | 0.055487 | 0.055487 | 0.055487 | 0.97388 | -0.50331 | 0.9733 | -0.51471 | 15.2438
36 | -0.042768 | -0.010752 | 0.042788 | 0.010764 | 1.9744e-05 | 1.2483e-05 | 0.065359 | 0.065359 | 0.065359 | 0.97388 | -0.50331 | 0.97437 | -0.49365 | 17.9559
37 | -0.046261 | -0.011635 | 0.046304 | 0.011662 | 4.3592e-05 | 2.7609e-05 | 0.070663 | 0.070662 | 0.070663 | 0.97437 | -0.49365 | 0.97537 | -0.47394 | 19.4128
38 | -0.053072 | -0.013359 | 0.05311 | 0.013383 | 3.781e-05 | 2.4006e-05 | 0.080988 | 0.080988 | 0.080988 | 0.97537 | -0.47394 | 0.97613 | -0.45905 | 22.2493
39 | 0.0049579 | 0.0012425 | -0.0049576 | -0.0012425 | 2.7725e-07 | 1.6155e-08 | 0.0075637 | 0.0075637 | 0.0075637 | 0.97537 | -0.47394 | 0.97531 | -0.47512 | 2.0779
40 | -0.057499 | -0.014483 | 0.05754 | 0.014508 | 4.0497e-05 | 2.5742e-05 | 0.087678 | 0.087678 | 0.087678 | 0.97613 | -0.45905 | 0.97688 | -0.44433 | 24.0873
41 | -0.060352 | -0.015213 | 0.060393 | 0.015239 | 4.1e-05 | 2.6078e-05 | 0.091962 | 0.091962 | 0.091962 | 0.97688 | -0.44433 | 0.9776 | -0.43015 | 25.2644
42 | -0.11923 | -0.030491 | 0.11929 | 0.030533 | 6.7085e-05 | 4.2863e-05 | 0.17908 | 0.17908 | 0.17908 | 0.99189 | -0.15405 | 0.9925 | -0.14243 | 49.1973
43 | 0.11696 | 0.029922 | -0.11679 | -0.029815 | 0.00016741 | 0.00010696 | 0.17567 | 0.17567 | 0.17567 | 0.99189 | -0.15405 | 0.99034 | -0.18366 | 48.262
44 | -0.12546 | -0.032079 | 0.12552 | 0.032116 | 5.8612e-05 | 3.7284e-05 | 0.18832 | 0.18832 | 0.18832 | 0.9925 | -0.14243 | 0.99301 | -0.13277 | 25.8688
45 | 0.11541 | 0.02947 | -0.11536 | -0.029433 | 5.7079e-05 | 3.6466e-05 | 0.17361 | 0.17361 | 0.17361 | 0.99034 | -0.18366 | 0.98981 | -0.1939 | 47.6937
46 | 0.11423 | 0.029151 | -0.11417 | -0.029115 | 5.6305e-05 | 3.597e-05 | 0.17191 | 0.17191 | 0.17191 | 0.98981 | -0.1939 | 0.98927 | -0.20411 | 47.2282
47 | 0.11417 | 0.029115 | -0.11405 | -0.029035 | 0.00012557 | 8.0219e-05 | 0.17191 | 0.17191 | 0.17191 | 0.98927 | -0.20411 | 0.98808 | -0.22692 | 47.2283
48 | 0.0045026 | 0.0011282 | -0.0045018 | -0.0011283 | 7.1859e-07 | -8.5511e-08 | 0.006744 | 0.0067442 | 0.0067442 | 0.99344 | -0.12452 | 0.99327 | -0.12787 | 1.8528
49 | 0.11208 | 0.028542 | -0.11185 | -0.028394 | 0.00023078 | 0.00014742 | 0.16895 | 0.16895 | 0.16895 | 0.98808 | -0.22692 | 0.98586 | -0.26971 | 46.4146
50 | -0.25208 | -0.064456 | 0.25273 | 0.064871 | 0.00064994 | 0.00041532 | 0.3766 | 0.3766 | 0.3766 | 0.99719 | -0.053139 | 1 | 0 | 51.7312
51 | 0.010276 | 0.0025758 | -0.010273 | -0.0025742 | 3.1485e-06 | 1.5971e-06 | 0.015754 | 0.015755 | 0.015755 | 0.97058 | -0.56836 | 0.97026 | -0.57479 | 4.3282
52 | 0.0033372 | 0.000836 | -0.0033368 | -0.00083627 | 4.4371e-07 | -2.7384e-07 | 0.0051179 | 0.0051181 | 0.0051181 | 0.97026 | -0.57479 | 0.97012 | -0.57758 | 1.4061
53 | -0.072068 | -0.018177 | 0.072143 | 0.018224 | 7.5041e-05 | 4.7817e-05 | 0.10969 | 0.10969 | 0.10969 | 0.97806 | -0.42116 | 0.97918 | -0.39943 | 30.1333
54 | 0.067572 | 0.01705 | -0.067543 | -0.017031 | 2.9076e-05 | 1.8517e-05 | 0.10284 | 0.10284 | 0.10284 | 0.97806 | -0.42116 | 0.9776 | -0.43015 | 28.2539
55 | -0.077621 | -0.019597 | 0.077666 | 0.019626 | 4.5758e-05 | 2.9175e-05 | 0.11801 | 0.11801 | 0.11801 | 0.97918 | -0.39943 | 0.97981 | -0.38713 | 32.42
56 | -0.081388 | -0.020559 | 0.081479 | 0.020617 | 9.1549e-05 | 5.839e-05 | 0.12366 | 0.12366 | 0.12366 | 0.97981 | -0.38713 | 0.98101 | -0.36369 | 33.9726
57 | -0.08683 | -0.021958 | 0.086887 | 0.021995 | 5.7227e-05 | 3.6514e-05 | 0.13178 | 0.13178 | 0.13178 | 0.98101 | -0.36369 | 0.98172 | -0.34996 | 36.2022
58 | -0.089096 | -0.022549 | 0.089237 | 0.022638 | 0.00014077 | 8.9833e-05 | 0.13512 | 0.13512 | 0.13512 | 0.98172 | -0.34996 | 0.98341 | -0.3171 | 37.1222
59 | -0.091015 | -0.023084 | 0.091185 | 0.023192 | 0.00016989 | 0.00010843 | 0.13781 | 0.13781 | 0.13781 | 0.98341 | -0.3171 | 0.98541 | -0.27835 | 37.8611
60 | -0.092597 | -0.023546 | 0.092635 | 0.023571 | 3.8595e-05 | 2.4634e-05 | 0.13995 | 0.13995 | 0.13995 | 0.98541 | -0.27835 | 0.98586 | -0.26971 | 38.4469
61 | 0.001412 | 0.00035362 | -0.001412 | -0.00035388 | 3.7888e-08 | -2.5886e-07 | 0.0021322 | 0.0021323 | 0.0021323 | 0.98541 | -0.27835 | 0.98539 | -0.27892 | 0.58579
62 | 0.019213 | 0.0048238 | -0.019211 | -0.0048225 | 2.107e-06 | 1.2633e-06 | 0.029003 | 0.029003 | 0.029003 | 0.98586 | -0.26971 | 0.98574 | -0.272 | 7.9678
63 | 0.017242 | 0.004329 | -0.017238 | -0.0043268 | 3.7812e-06 | 2.2303e-06 | 0.02603 | 0.02603 | 0.02603 | 0.98574 | -0.272 | 0.98551 | -0.2766 | 7.1512
64 | 0.017238 | 0.0043268 | -0.017232 | -0.0043232 | 6.032e-06 | 3.5581e-06 | 0.02603 | 0.026031 | 0.026031 | 0.98551 | -0.2766 | 0.98513 | -0.28394 | 7.1512
65 | 0.0022063 | 0.00055266 | -0.0022063 | -0.00055275 | 3.9957e-08 | -9.6582e-08 | 0.0033325 | 0.0033325 | 0.0033325 | 0.98513 | -0.28394 | 0.98511 | -0.28432 | 0.91553
66 | 0.015026 | 0.0037706 | -0.015025 | -0.0037698 | 1.2994e-06 | 7.46e-07 | 0.022698 | 0.022698 | 0.022698 | 0.98513 | -0.28394 | 0.98504 | -0.28576 | 6.2357
67 | 0.00065436 | 0.00016381 | -0.00065435 | -0.000164 | 5.5363e-09 | -1.8886e-07 | 0.00098834 | 0.00098841 | 0.00098841 | 0.98511 | -0.28432 | 0.9851 | -0.2845 | 0.27154
68 | 0.013262 | 0.003328 | -0.013257 | -0.0033253 | 4.9153e-06 | 2.7303e-06 | 0.020035 | 0.020035 | 0.020035 | 0.98504 | -0.28576 | 0.98464 | -0.29353 | 5.5042
69 | -0.0064908 | -0.0016268 | 0.0064916 | 0.001627 | 7.8077e-07 | 2.2422e-07 | 0.0098073 | 0.0098072 | 0.0098073 | 0.98482 | -0.29162 | 0.98495 | -0.2891 | 2.6943
70 | -0.0064916 | -0.001627 | 0.0064922 | 0.0016271 | 5.9096e-07 | 1.6966e-07 | 0.0098072 | 0.0098072 | 0.0098072 | 0.98495 | -0.2891 | 0.98505 | -0.28719 | 2.6943
71 | -0.01299 | -0.0032556 | 0.012991 | 0.0032564 | 1.4589e-06 | 8.0507e-07 | 0.019623 | 0.019622 | 0.019623 | 0.98505 | -0.28719 | 0.98517 | -0.28483 | 5.3908
72 | -0.012991 | -0.0032564 | 0.012998 | 0.00326 | 6.5357e-06 | 3.6062e-06 | 0.019622 | 0.019622 | 0.019622 | 0.98517 | -0.28483 | 0.98571 | -0.27428 | 5.3908
73 | -0.0012745 | -0.00031943 | 0.0012746 | 0.00031858 | 9.9339e-08 | -8.4297e-07 | 0.0019271 | 0.0019268 | 0.0019271 | 0.98412 | -0.30365 | 0.98421 | -0.30201 | 0.52943
74 | -0.011183 | -0.0028043 | 0.011188 | 0.0028066 | 4.5215e-06 | 2.3576e-06 | 0.016908 | 0.016908 | 0.016908 | 0.98421 | -0.30201 | 0.98464 | -0.29353 | 4.6451
75 | 0.0099084 | 0.0024857 | -0.0098983 | -0.0024807 | 1.0143e-05 | 4.9617e-06 | 0.014981 | 0.014982 | 0.014982 | 0.98421 | -0.30201 | 0.98311 | -0.3235 | 4.1159

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25706 | 0.065543

## res_load
| p_mw | q_mvar
0 | 0.0034554 | 0.00086601
1 | 0.0025139 | 0.00063004
2 | 0.0036495 | 0.00091466
3 | 0.0043146 | 0.0010813
4 | 0.0033405 | 0.0008372
5 | 0.0056588 | 0.0014182
6 | 0.0034069 | 0.00085386
7 | 0.003053 | 0.00076514
8 | 0.0042943 | 0.0010763
9 | 0.0049448 | 0.0012393
10 | 0.0031994 | 0.00080184
11 | 0.0048365 | 0.0012121
12 | 0.0047087 | 0.0011801
13 | 0.0029649 | 0.00074309
14 | 0.0030867 | 0.0007736
15 | 0.0028108 | 0.00070446
16 | 0.0042975 | 0.001077
17 | 0.0068667 | 0.0017209
18 | 0.0021959 | 0.00055034
19 | 0.020579 | 0.0051577
20 | 0.0063066 | 0.0015806
21 | 0.0055087 | 0.0013806
22 | 0.0043207 | 0.0010829
23 | 0.0053156 | 0.0013322
24 | 0.006461 | 0.0016193
25 | 0.0034064 | 0.00085372
26 | 0.0034726 | 0.00087032
27 | 0.0018101 | 0.00045367
28 | 0.003952 | 0.00099047
29 | 0.0043888 | 0.0010999
30 | 0.0049576 | 0.0012425
31 | 0.0028128 | 0.00070496
32 | 0.0022695 | 0.00056878
33 | 0.0061675 | 0.0015457
34 | 0.0013766 | 0.000345
35 | 0.0019003 | 0.00047627
36 | 0.0011271 | 0.00028248
37 | 0.0010975 | 0.00027507
38 | 0.0019668 | 0.00049291
39 | 0.0039682 | 0.00099454
40 | 0.0026827 | 0.00067235
41 | 0.003439 | 0.00086188
42 | 0.0069356 | 0.0017382
43 | 0.0033368 | 0.00083627
44 | 0.0044966 | 0.0011269
45 | 0.0054772 | 0.0013727
46 | 0.0071493 | 0.0017918
47 | 0.0037212 | 0.00093263
48 | 0.0053507 | 0.001341
49 | 0.0022093 | 0.00055371
50 | 0.0017777 | 0.00044553
51 | 0.001412 | 0.00035388
52 | 0.001969 | 0.00049349
53 | 0.0015519 | 0.00038895
54 | 0.0017627 | 0.00044178
55 | 0.0045018 | 0.0011283
56 | 0.0064908 | 0.0016268
57 | 0.0064977 | 0.0016285
58 | 0.0012745 | 0.00031943
59 | 0.0020695 | 0.00051866
60 | 0.0098983 | 0.0024807
61 | 0.00065435 | 0.000164

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1