## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-113_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-113_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-113_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-113_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-113_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-113_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_230-113_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_230-113_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_230-113_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_230-113_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_230-113_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_230-113_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_230-113_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_230-113_0_4_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_230-113_0_4_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_230-113_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_230-113_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_230-113_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_230-113_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_230-113_0_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_230-113_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_230-113_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_230-113_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_230-113_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_230-113_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_230-113_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_230-113_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_230-113_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_230-113_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_230-113_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_230-113_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_230-113_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_230-113_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_230-113_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_230-113_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_230-113_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_230-113_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_230-113_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_230-113_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_230-113_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_230-113_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_230-113_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_230-113_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_230-113_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_230-113_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_230-113_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_230-113_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_230-113_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_230-113_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_230-113_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_230-113_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_230-113_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_MV_509_1_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-113_0_4_load_0 | 0 | 0.0018218 | 0.00045658 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-113_0_4_load_1 | 1 | 0.0013206 | 0.00033097 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-113_0_4_load_15 | 6 | 0.00093731 | 0.00023491 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-113_0_4_load_13 | 7 | 0.0054174 | 0.0013577 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-113_0_4_load_7 | 8 | 0.00065519 | 0.00016421 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-113_0_4_load_10 | 10 | 0.0028536 | 0.00071517 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-113_0_4_load_6 | 12 | 0.00040723 | 0.00010206 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-113_0_4_load_47 | 13 | 0.0013805 | 0.000346 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-113_0_4_load_46 | 14 | 0.055196 | 0.013833 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-113_0_4_load_45 | 15 | 0.010658 | 0.0026711 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-113_0_4_load_36 | 18 | 0.019641 | 0.0049226 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-113_0_4_load_33 | 19 | 0.030434 | 0.0076275 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-113_0_4_load_17 | 22 | 0.0014593 | 0.00036574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-113_0_4_load_41 | 24 | 0.00161 | 0.0004035 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-113_0_4_load_39 | 25 | 0.0013717 | 0.00034377 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-113_0_4_load_42 | 26 | 0.0017688 | 0.0004433 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-113_0_4_load_19 | 28 | 0.045483 | 0.011399 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-113_0_4_load_22 | 31 | 0.064482 | 0.016161 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-113_0_4_load_51 | 35 | 0.0053316 | 0.0013362 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-113_0_4_load_28 | 36 | 0.014246 | 0.0035703 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-113_0_4_load_31 | 38 | 0.0049987 | 0.0012528 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-113_0_4_load_30 | 39 | 0.0060177 | 0.0015082 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-113_0_4_load_43 | 40 | 0.080105 | 0.020076 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-113_0_4_load_34 | 41 | 0.0035612 | 0.00089252 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-113_0_4_load_53 | 42 | 0.0062246 | 0.00156 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-113_0_4_load_52 | 43 | 0.0075471 | 0.0018915 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-113_0_4_load_35 | 44 | 0.023088 | 0.0057864 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-113_0_4_load_37 | 45 | 0.038126 | 0.0095552 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-113_0_4_load_44 | 46 | 0.011533 | 0.0028904 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-113_0_4_load_57 | 48 | 0.023525 | 0.0058958 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-113_0_4_load_49 | 49 | 0.012326 | 0.0030892 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-113_0_4_load_55 | 51 | 0.0064719 | 0.001622 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-113_0_4_line_0 |  | 0 | 1 | 0.040856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-113_0_4_line_1 |  | 0 | 2 | 0.031284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-113_0_4_line_2 |  | 1 | 3 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-113_0_4_line_3 |  | 2 | 4 | 0.053254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-113_0_4_line_4 |  | 3 | 5 | 0.050471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-113_0_4_line_5 |  | 3 | 6 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-113_0_4_line_6 |  | 4 | 7 | 0.058434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-113_0_4_line_7 |  | 5 | 8 | 0.012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-113_0_4_line_8 |  | 8 | 12 | 0.0073315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-113_0_4_line_9 |  | 9 | 10 | 0.017874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-113_0_4_line_10 |  | 9 | 11 | 0.064044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-113_0_4_line_11 |  | 9 | 12 | 0.029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-113_0_4_line_12 |  | 10 | 13 | 0.020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-113_0_4_line_13 |  | 11 | 14 | 0.011404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-113_0_4_line_14 |  | 11 | 15 | 0.062042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-113_0_4_line_15 |  | 14 | 16 | 0.03442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-113_0_4_line_16 |  | 16 | 17 | 0.010956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-113_0_4_line_17 |  | 17 | 18 | 0.048766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_230-113_0_4_line_18 |  | 17 | 19 | 0.017672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-113_0_4_line_19 |  | 17 | 20 | 0.11345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_230-113_0_4_line_20 |  | 18 | 40 | 0.054348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-113_0_4_line_21 |  | 19 | 41 | 0.04407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-113_0_4_line_22 |  | 20 | 33 | 0.069585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-113_0_4_line_23 |  | 20 | 34 | 0.11947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-113_0_4_line_24 |  | 20 | 29 | 0.033307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-113_0_4_line_25 |  | 21 | 22 | 0.018216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-113_0_4_line_26 |  | 21 | 23 | 0.051622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-113_0_4_line_27 |  | 22 | 24 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-113_0_4_line_28 |  | 23 | 25 | 0.016598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-113_0_4_line_29 |  | 24 | 26 | 0.0049748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-113_0_4_line_30 |  | 25 | 27 | 0.047175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-113_0_4_line_31 |  | 27 | 47 | 0.003576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-113_0_4_line_32 |  | 27 | 45 | 0.027431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-113_0_4_line_33 |  | 28 | 29 | 0.037099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-113_0_4_line_34 |  | 28 | 30 | 0.038619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-113_0_4_line_35 |  | 29 | 31 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-113_0_4_line_36 |  | 30 | 32 | 0.004127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-113_0_4_line_37 |  | 32 | 35 | 0.044052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-113_0_4_line_38 |  | 33 | 36 | 0.018754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-113_0_4_line_39 |  | 34 | 37 | 0.03598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-113_0_4_line_40 |  | 34 | 38 | 0.029098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-113_0_4_line_41 |  | 35 | 39 | 0.0050839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-113_0_4_line_42 |  | 37 | 42 | 0.072459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-113_0_4_line_43 |  | 40 | 46 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-113_0_4_line_44 |  | 41 | 44 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-113_0_4_line_45 |  | 42 | 43 | 0.027157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-113_0_4_line_46 |  | 43 | 50 | 0.054374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-113_0_4_line_47 |  | 44 | 45 | 0.023874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-113_0_4_line_48 |  | 46 | 49 | 0.0083452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-113_0_4_line_49 |  | 47 | 48 | 0.18015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-113_0_4_line_50 |  | 50 | 51 | 0.04553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-113_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 52 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2699771.7757 | 1261489.9669 | 2699764.9783 | 1261470.2263 | 2699784.1304 | 1261464.543
1 | 2699787.334 | 1261516.0409 | 2699785.1872 | 1261514.1921 | 2699777.6728 | 1261507.0928 | 2699771.7757 | 1261489.9669
2 | 2699806.5243 | 1261464.0886 | 2699799.0172 | 1261460.1254 | 2699784.1304 | 1261464.543
3 | 2699787.334 | 1261516.0409 | 2699790.8328 | 1261519.0468 | 2699791.7335 | 1261524.1773 | 2699795.3424 | 1261544.7662 | 2699795.7114 | 1261550.5883 | 2699812.3264 | 1261548.945
4 | 2699803.74 | 1261424.5648 | 2699815.7569 | 1261427.014 | 2699806.5243 | 1261464.0886
5 | 2699806.5243 | 1261464.0886 | 2699824.6635 | 1261462.8452
6 | 2699812.3264 | 1261548.945 | 2699816.3434 | 1261605.1701 | 2699814.5077 | 1261606.1179
7 | 2699803.74 | 1261424.5648 | 2699799.4683 | 1261412.872
8 | 2699801.4641 | 1261405.8174 | 2699799.4683 | 1261412.872
9 | 2699825.1526 | 1261395.0129 | 2699842.0091 | 1261400.9578
10 | 2699825.1526 | 1261395.0129 | 2699837.9684 | 1261363.5478 | 2699826.5986 | 1261335.7109
11 | 2699825.1526 | 1261395.0129 | 2699814.2391 | 1261395.0511 | 2699803.4917 | 1261398.6505 | 2699801.4641 | 1261405.8174
12 | 2699835.3478 | 1261420.0944 | 2699842.0091 | 1261400.9578
13 | 2699826.5986 | 1261335.7109 | 2699829.3705 | 1261324.6486
14 | 2699826.5986 | 1261335.7109 | 2699783.3059 | 1261361.7797 | 2699772.7937 | 1261366.4581
15 | 2699854.2025 | 1261332.7299 | 2699844.03 | 1261318.3464 | 2699837.2225 | 1261318.4649 | 2699829.3705 | 1261324.6486
16 | 2699854.2025 | 1261332.7299 | 2699856.5852 | 1261328.1997 | 2699859.3103 | 1261323.0303
17 | 2699859.3103 | 1261323.0303 | 2699874.1968 | 1261300.6188 | 2699884.7683 | 1261284.6953 | 2699886.5513 | 1261282.6045
18 | 2699859.3103 | 1261323.0303 | 2699873.9612 | 1261332.9118
19 | 2699796.9016 | 1261232.77 | 2699799.6293 | 1261236.8193 | 2699816.1512 | 1261275.1183 | 2699819.9701 | 1261279.7087 | 2699842.5574 | 1261293.5345 | 2699849.736 | 1261301.3398 | 2699855.2877 | 1261311.3195 | 2699859.3103 | 1261323.0303
20 | 2699886.5513 | 1261282.6045 | 2699907.074 | 1261258.5394 | 2699921.2481 | 1261240.782
21 | 2699910.4979 | 1261357.5541 | 2699873.9612 | 1261332.9118
22 | 2699796.9016 | 1261232.77 | 2699799.6293 | 1261236.8193 | 2699805.1115 | 1261238.4242 | 2699814.1668 | 1261243.1141 | 2699822.5585 | 1261257.1895 | 2699828.9446 | 1261257.0415 | 2699843.092 | 1261246.7051 | 2699846.0753 | 1261238.749
23 | 2699796.9016 | 1261232.77 | 2699799.6293 | 1261236.8193 | 2699805.1115 | 1261238.4242 | 2699820.9926 | 1261266.0147 | 2699826.8393 | 1261271.0286 | 2699833.2935 | 1261268.6244 | 2699858.9942 | 1261232.8844 | 2699869.7606 | 1261217.9205
24 | 2699796.9016 | 1261232.77 | 2699779.7102 | 1261204.2122
25 | 2699891.8521 | 1261458.2239 | 2699897.7646 | 1261440.9938
26 | 2699891.8521 | 1261458.2239 | 2699943.5062 | 1261454.6712
27 | 2699897.7646 | 1261440.9938 | 2699903.7852 | 1261423.4484
28 | 2699943.5062 | 1261454.6712 | 2699948.1312 | 1261443.2177 | 2699949.5542 | 1261439.2172
29 | 2699905.3998 | 1261418.7429 | 2699903.7852 | 1261423.4484
30 | 2699966.3676 | 1261395.1864 | 2699964.9558 | 1261397.5645 | 2699957.0617 | 1261418.7151 | 2699952.5939 | 1261430.6717 | 2699949.5542 | 1261439.2172
31 | 2699966.3676 | 1261395.1864 | 2699967.877 | 1261391.9425
32 | 2699966.3676 | 1261395.1864 | 2699943.6165 | 1261379.8623
33 | 2699779.7102 | 1261204.2122 | 2699762.0074 | 1261171.6096
34 | 2699743.5791 | 1261137.6706 | 2699762.0074 | 1261171.6096
35 | 2699779.7102 | 1261204.2122 | 2699779.08 | 1261221.8142
36 | 2699743.5791 | 1261137.6706 | 2699747.2441 | 1261135.7531
37 | 2699747.2441 | 1261135.7531 | 2699788.7707 | 1261121.0508
38 | 2699846.0753 | 1261238.749 | 2699837.4678 | 1261222.0868
39 | 2699869.7606 | 1261217.9205 | 2699873.6362 | 1261210.2352 | 2699882.3725 | 1261184.2836
40 | 2699869.7606 | 1261217.9205 | 2699854.7893 | 1261192.9694
41 | 2699793.5631 | 1261119.354 | 2699788.7707 | 1261121.0508
42 | 2699882.3725 | 1261184.2836 | 2699889.1872 | 1261181.0738 | 2699892.0917 | 1261179.5661 | 2699899.2492 | 1261175.2501 | 2699920.9075 | 1261162.8946 | 2699934.9738 | 1261142.2263 | 2699936.4377 | 1261139.2016
43 | 2699934.2388 | 1261224.5072 | 2699921.2481 | 1261240.782
44 | 2699923.8152 | 1261366.5251 | 2699911.5833 | 1261358.2862 | 2699910.4979 | 1261357.5541
45 | 2699948.268 | 1261114.7573 | 2699936.4377 | 1261139.2016
46 | 2699959.8213 | 1261062.514 | 2699953.5584 | 1261088.7964 | 2699954.2713 | 1261102.3529 | 2699948.268 | 1261114.7573
47 | 2699923.8152 | 1261366.5251 | 2699943.6165 | 1261379.8623
48 | 2699934.2388 | 1261224.5072 | 2699939.4448 | 1261217.985
49 | 2699967.877 | 1261391.9425 | 2699948.7453 | 1261378.8196 | 2699921.4407 | 1261360.0875 | 2699920.2534 | 1261357.2095 | 2699921.0257 | 1261353.4306 | 2699925.1801 | 1261347.9741 | 2699992.2535 | 1261260.7742
50 | 2699959.8213 | 1261062.514 | 2699923.7306 | 1261090.405

## bus_geodata
| x | y | coords
0 | 2699771.7757 | 1261489.9669
1 | 2699784.1304 | 1261464.543
2 | 2699787.334 | 1261516.0409
3 | 2699806.5243 | 1261464.0886
4 | 2699812.3264 | 1261548.945
5 | 2699803.74 | 1261424.5648
6 | 2699824.6635 | 1261462.8452
7 | 2699814.5077 | 1261606.1179
8 | 2699799.4683 | 1261412.872
9 | 2699825.1526 | 1261395.0129
10 | 2699842.0091 | 1261400.9578
11 | 2699826.5986 | 1261335.7109
12 | 2699801.4641 | 1261405.8174
13 | 2699835.3478 | 1261420.0944
14 | 2699829.3705 | 1261324.6486
15 | 2699772.7937 | 1261366.4581
16 | 2699854.2025 | 1261332.7299
17 | 2699859.3103 | 1261323.0303
18 | 2699886.5513 | 1261282.6045
19 | 2699873.9612 | 1261332.9118
20 | 2699796.9016 | 1261232.77
21 | 2699891.8521 | 1261458.2239
22 | 2699897.7646 | 1261440.9938
23 | 2699943.5062 | 1261454.6712
24 | 2699903.7852 | 1261423.4484
25 | 2699949.5542 | 1261439.2172
26 | 2699905.3998 | 1261418.7429
27 | 2699966.3676 | 1261395.1864
28 | 2699762.0074 | 1261171.6096
29 | 2699779.7102 | 1261204.2122
30 | 2699743.5791 | 1261137.6706
31 | 2699779.08 | 1261221.8142
32 | 2699747.2441 | 1261135.7531
33 | 2699846.0753 | 1261238.749
34 | 2699869.7606 | 1261217.9205
35 | 2699788.7707 | 1261121.0508
36 | 2699837.4678 | 1261222.0868
37 | 2699882.3725 | 1261184.2836
38 | 2699854.7893 | 1261192.9694
39 | 2699793.5631 | 1261119.354
40 | 2699921.2481 | 1261240.782
41 | 2699910.4979 | 1261357.5541
42 | 2699936.4377 | 1261139.2016
43 | 2699948.268 | 1261114.7573
44 | 2699923.8152 | 1261366.5251
45 | 2699943.6165 | 1261379.8623
46 | 2699934.2388 | 1261224.5072
47 | 2699967.877 | 1261391.9425
48 | 2699992.2535 | 1261260.7742
49 | 2699939.4448 | 1261217.985
50 | 2699959.8213 | 1261062.514
51 | 2699923.7306 | 1261090.405
52 | 2699859.3103 | 1261323.0303

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98866 | -0.21762 | 0.0018218 | 0.00045658
1 | 0.98894 | -0.21234 | 0.0013206 | 0.00033097
2 | 0.98851 | -0.22065 | 0 | 0
3 | 0.98912 | -0.20868 | 0 | 0
4 | 0.98824 | -0.2258 | 0 | 0
5 | 0.98956 | -0.20014 | 0 | 0
6 | 0.98911 | -0.20898 | 0.00093731 | 0.00023491
7 | 0.98795 | -0.23145 | 0.0054174 | 0.0013577
8 | 0.98967 | -0.19803 | 0.00065519 | 0.00016421
9 | 0.99003 | -0.19112 | 0 | 0
10 | 0.98996 | -0.19247 | 0.0028536 | 0.00071517
11 | 0.9909 | -0.17427 | 0 | 0
12 | 0.98974 | -0.1967 | 0.00040723 | 0.00010206
13 | 0.98993 | -0.19296 | 0.0013805 | 0.000346
14 | 0.99116 | -0.16912 | 0.055196 | 0.013833
15 | 0.99029 | -0.18602 | 0.010658 | 0.0026711
16 | 0.9937 | -0.11998 | 0 | 0
17 | 0.99451 | -0.1044 | 0 | 0
18 | 1 | 0 | -0.47755 | -0.1214
19 | 0.99248 | -0.14339 | 0.030434 | 0.0076275
20 | 0.98608 | -0.26655 | 0 | 0
21 | 0.98448 | -0.29833 | 0 | 0
22 | 0.9844 | -0.29992 | 0.0014593 | 0.00036574
23 | 0.98471 | -0.29384 | 0 | 0
24 | 0.98434 | -0.30105 | 0.00161 | 0.0004035
25 | 0.98479 | -0.2924 | 0.0013717 | 0.00034377
26 | 0.98434 | -0.3012 | 0.0017688 | 0.0004433
27 | 0.98506 | -0.28713 | 0 | 0
28 | 0.98039 | -0.37741 | 0.045483 | 0.011399
29 | 0.98234 | -0.33925 | 0 | 0
30 | 0.97998 | -0.38537 | 0 | 0
31 | 0.98129 | -0.35979 | 0.064482 | 0.016161
32 | 0.97994 | -0.38622 | 0 | 0
33 | 0.98516 | -0.28433 | 0 | 0
34 | 0.98329 | -0.32078 | 0 | 0
35 | 0.97948 | -0.3953 | 0.0053316 | 0.0013362
36 | 0.98492 | -0.28913 | 0.014246 | 0.0035703
37 | 0.98262 | -0.33393 | 0 | 0
38 | 0.98316 | -0.3234 | 0.0049987 | 0.0012528
39 | 0.97945 | -0.39585 | 0.0060177 | 0.0015082
40 | 0.99485 | -0.098992 | 0.080105 | 0.020076
41 | 0.98865 | -0.21739 | 0.0035612 | 0.00089252
42 | 0.98126 | -0.36045 | 0.0062246 | 0.00156
43 | 0.98091 | -0.36734 | 0.0075471 | 0.0018915
44 | 0.9873 | -0.24347 | 0.023088 | 0.0057864
45 | 0.98581 | -0.27248 | 0.038126 | 0.0095552
46 | 0.9944 | -0.10775 | 0.011533 | 0.0028904
47 | 0.98498 | -0.28864 | 0 | 0
48 | 0.98106 | -0.36509 | 0.023525 | 0.0058958
49 | 0.9943 | -0.10956 | 0.012326 | 0.0030892
50 | 0.98058 | -0.37372 | 0 | 0
51 | 0.98031 | -0.37907 | 0.0064719 | 0.001622
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0072427 | -0.0018148 | 0.0072446 | 0.0018154 | 1.8205e-06 | 6.4105e-07 | 0.010901 | 0.010901 | 0.010901 | 0.98866 | -0.21762 | 0.98894 | -0.21234 | 2.9947
1 | 0.005421 | 0.0013582 | -0.0054202 | -0.0013581 | 7.8092e-07 | 9.8686e-08 | 0.0081588 | 0.0081589 | 0.0081589 | 0.98866 | -0.21762 | 0.98851 | -0.22065 | 2.2415
2 | -0.0085652 | -0.0021464 | 0.0085667 | 0.002147 | 1.4959e-06 | 6.4915e-07 | 0.012888 | 0.012887 | 0.012888 | 0.98894 | -0.21234 | 0.98912 | -0.20868 | 3.5405
3 | 0.0054202 | 0.0013581 | -0.0054188 | -0.0013579 | 1.3294e-06 | 1.6832e-07 | 0.0081589 | 0.0081592 | 0.0081592 | 0.98851 | -0.22065 | 0.98824 | -0.2258 | 2.2415
4 | -0.009504 | -0.0023817 | 0.0095078 | 0.0023835 | 3.8689e-06 | 1.828e-06 | 0.014297 | 0.014297 | 0.014297 | 0.98912 | -0.20868 | 0.98956 | -0.20014 | 3.9279
5 | 0.00093732 | 0.00023469 | -0.00093731 | -0.00023491 | 1.3556e-08 | -2.2469e-07 | 0.00141 | 0.0014101 | 0.0014101 | 0.98912 | -0.20868 | 0.98911 | -0.20898 | 0.38739
6 | 0.0054188 | 0.0013579 | -0.0054174 | -0.0013577 | 1.4588e-06 | 1.8518e-07 | 0.0081592 | 0.0081594 | 0.0081594 | 0.98824 | -0.2258 | 0.98795 | -0.23145 | 2.2416
7 | -0.0095078 | -0.0023835 | 0.0095088 | 0.002384 | 9.5424e-07 | 4.5077e-07 | 0.014297 | 0.014297 | 0.014297 | 0.98956 | -0.20014 | 0.98967 | -0.19803 | 3.9278
8 | -0.010164 | -0.0025482 | 0.010165 | 0.0025485 | 6.421e-07 | 3.1673e-07 | 0.015282 | 0.015282 | 0.015282 | 0.98967 | -0.19803 | 0.98974 | -0.1967 | 4.1984
9 | 0.0042344 | 0.0010609 | -0.0042341 | -0.0010609 | 2.7149e-07 | -5.6074e-08 | 0.0063642 | 0.0063643 | 0.0063643 | 0.99003 | -0.19112 | 0.98996 | -0.19247 | 1.7484
10 | -0.014809 | -0.0037129 | 0.014821 | 0.0037197 | 1.1899e-05 | 6.7909e-06 | 0.022259 | 0.022258 | 0.022259 | 0.99003 | -0.19112 | 0.9909 | -0.17427 | 6.115
11 | 0.010575 | 0.002652 | -0.010572 | -0.0026506 | 2.8133e-06 | 1.4188e-06 | 0.015894 | 0.015895 | 0.015895 | 0.99003 | -0.19112 | 0.98974 | -0.1967 | 4.3666
12 | 0.0013806 | 0.00034576 | -0.0013805 | -0.000346 | 3.272e-08 | -2.3957e-07 | 0.0020751 | 0.0020752 | 0.0020752 | 0.98996 | -0.19247 | 0.98993 | -0.19296 | 0.5701
13 | -0.025485 | -0.0063938 | 0.025491 | 0.0063977 | 6.2644e-06 | 3.8623e-06 | 0.038273 | 0.038273 | 0.038273 | 0.9909 | -0.17427 | 0.99116 | -0.16912 | 10.5145
14 | 0.010664 | 0.0026742 | -0.010658 | -0.0026711 | 5.9669e-06 | 3.0201e-06 | 0.016014 | 0.016015 | 0.016015 | 0.9909 | -0.17427 | 0.99029 | -0.18602 | 4.3997
15 | -0.080687 | -0.020231 | 0.080877 | 0.020352 | 0.00018941 | 0.00012078 | 0.12114 | 0.12114 | 0.12114 | 0.99116 | -0.16912 | 0.9937 | -0.11998 | 33.2796
16 | -0.080877 | -0.020352 | 0.080937 | 0.02039 | 6.0289e-05 | 3.8443e-05 | 0.12114 | 0.12114 | 0.12114 | 0.9937 | -0.11998 | 0.99451 | -0.1044 | 33.2795
17 | -0.36957 | -0.093834 | 0.37143 | 0.095027 | 0.0018667 | 0.0011928 | 0.55339 | 0.55339 | 0.55339 | 0.99451 | -0.1044 | 1 | 0 | 50.6765
18 | 0.12584 | 0.031879 | -0.1256 | -0.031728 | 0.00023522 | 0.00015031 | 0.1884 | 0.1884 | 0.1884 | 0.99451 | -0.1044 | 0.99248 | -0.14339 | 51.758
19 | 0.1628 | 0.041565 | -0.16153 | -0.040758 | 0.0012649 | 0.00080665 | 0.24385 | 0.24385 | 0.24385 | 0.99451 | -0.1044 | 0.98608 | -0.26655 | 33.4962
20 | 0.10447 | 0.026377 | -0.10397 | -0.026062 | 0.00049292 | 0.00031476 | 0.15552 | 0.15552 | 0.15552 | 1 | 0 | 0.99485 | -0.098992 | 42.7246
21 | 0.095166 | 0.024101 | -0.094829 | -0.023886 | 0.00033686 | 0.00021502 | 0.14277 | 0.14277 | 0.14277 | 0.99248 | -0.14339 | 0.98865 | -0.21739 | 39.2226
22 | 0.014261 | 0.003579 | -0.014249 | -0.0035721 | 1.2087e-05 | 6.8487e-06 | 0.021522 | 0.021522 | 0.021522 | 0.98608 | -0.26655 | 0.98516 | -0.28433 | 5.9127
23 | 0.025355 | 0.0063937 | -0.02529 | -0.0063532 | 6.5639e-05 | 4.0489e-05 | 0.038276 | 0.038276 | 0.038276 | 0.98608 | -0.26655 | 0.98329 | -0.32078 | 10.5154
24 | 0.12191 | 0.030786 | -0.12149 | -0.030515 | 0.00042312 | 0.00027037 | 0.18405 | 0.18405 | 0.18405 | 0.98608 | -0.26655 | 0.98234 | -0.33925 | 50.5645
25 | 0.0048387 | 0.0012124 | -0.0048383 | -0.0012124 | 3.6537e-07 | 2.2319e-09 | 0.0073134 | 0.0073135 | 0.0073135 | 0.98448 | -0.29833 | 0.9844 | -0.29992 | 2.0092
26 | -0.0048387 | -0.0012124 | 0.0048397 | 0.0012124 | 1.0354e-06 | 6.0888e-09 | 0.0073134 | 0.0073132 | 0.0073134 | 0.98448 | -0.29833 | 0.98471 | -0.29384 | 2.0092
27 | 0.003379 | 0.00084663 | -0.0033788 | -0.00084675 | 1.8147e-07 | -1.1967e-07 | 0.0051076 | 0.0051076 | 0.0051076 | 0.9844 | -0.29992 | 0.98434 | -0.30105 | 1.4032
28 | -0.0048397 | -0.0012124 | 0.00484 | 0.0012124 | 3.3289e-07 | 1.8836e-09 | 0.0073132 | 0.0073131 | 0.0073132 | 0.98471 | -0.29384 | 0.98479 | -0.2924 | 2.0091
29 | 0.0017688 | 0.00044324 | -0.0017688 | -0.0004433 | 1.3338e-08 | -5.4701e-08 | 0.0026738 | 0.0026739 | 0.0026739 | 0.98434 | -0.30105 | 0.98434 | -0.3012 | 0.73458
30 | -0.0062117 | -0.0015562 | 0.0062133 | 0.0015565 | 1.5584e-06 | 3.9697e-07 | 0.0093857 | 0.0093855 | 0.0093857 | 0.98479 | -0.2924 | 0.98506 | -0.28713 | 2.5785
31 | 0.023612 | 0.0059497 | -0.023611 | -0.0059486 | 1.7072e-06 | 1.0471e-06 | 0.03568 | 0.03568 | 0.03568 | 0.98506 | -0.28713 | 0.98498 | -0.28864 | 9.8022
32 | -0.029826 | -0.0075062 | 0.029847 | 0.0075192 | 2.0891e-05 | 1.3021e-05 | 0.045066 | 0.045065 | 0.045066 | 0.98506 | -0.28713 | 0.98581 | -0.27248 | 12.3806
33 | -0.056842 | -0.014249 | 0.056946 | 0.014314 | 0.00010355 | 6.5805e-05 | 0.086275 | 0.086275 | 0.086275 | 0.98039 | -0.37741 | 0.98234 | -0.33925 | 23.7019
34 | 0.011359 | 0.0028495 | -0.011355 | -0.0028473 | 4.3052e-06 | 2.2686e-06 | 0.017242 | 0.017242 | 0.017242 | 0.98039 | -0.37741 | 0.97998 | -0.38537 | 4.7367
35 | 0.064546 | 0.016201 | -0.064482 | -0.016161 | 6.315e-05 | 4.0193e-05 | 0.09778 | 0.09778 | 0.09778 | 0.98234 | -0.33925 | 0.98129 | -0.35979 | 26.8627
36 | 0.011355 | 0.0028473 | -0.011354 | -0.002847 | 4.6007e-07 | 2.4245e-07 | 0.017242 | 0.017242 | 0.017242 | 0.97998 | -0.38537 | 0.97994 | -0.38622 | 4.7367
37 | 0.011354 | 0.002847 | -0.011349 | -0.0028444 | 4.911e-06 | 2.5883e-06 | 0.017242 | 0.017242 | 0.017242 | 0.97994 | -0.38622 | 0.97948 | -0.3953 | 4.7368
38 | 0.014249 | 0.0035721 | -0.014246 | -0.0035703 | 3.2576e-06 | 1.8461e-06 | 0.021522 | 0.021522 | 0.021522 | 0.98516 | -0.28433 | 0.98492 | -0.28913 | 5.9127
39 | 0.02029 | 0.0051004 | -0.020277 | -0.0050927 | 1.2725e-05 | 7.6882e-06 | 0.030711 | 0.030711 | 0.030711 | 0.98329 | -0.32078 | 0.98262 | -0.33393 | 8.437
40 | 0.0049994 | 0.0012528 | -0.0049987 | -0.0012528 | 6.2457e-07 | 3.0678e-08 | 0.0075655 | 0.0075656 | 0.0075656 | 0.98329 | -0.32078 | 0.98316 | -0.3234 | 2.0785
41 | 0.0060178 | 0.0015082 | -0.0060177 | -0.0015082 | 1.5934e-07 | 3.7994e-08 | 0.0091422 | 0.0091423 | 0.0091423 | 0.97948 | -0.3953 | 0.97945 | -0.39585 | 2.5116
42 | 0.020277 | 0.0050927 | -0.020252 | -0.0050772 | 2.5628e-05 | 1.5485e-05 | 0.030711 | 0.030711 | 0.030711 | 0.98262 | -0.33393 | 0.98126 | -0.36045 | 8.4371
43 | 0.02387 | 0.0059862 | -0.02386 | -0.0059801 | 9.9544e-06 | 6.1006e-06 | 0.035704 | 0.035704 | 0.035704 | 0.99485 | -0.098992 | 0.9944 | -0.10775 | 9.8087
44 | 0.091268 | 0.022993 | -0.091154 | -0.022921 | 0.00011369 | 7.2558e-05 | 0.13741 | 0.13741 | 0.13741 | 0.98865 | -0.21739 | 0.9873 | -0.24347 | 37.7501
45 | 0.014027 | 0.0035172 | -0.014023 | -0.0035145 | 4.6081e-06 | 2.6063e-06 | 0.021272 | 0.021272 | 0.021272 | 0.98126 | -0.36045 | 0.98091 | -0.36734 | 5.844
46 | 0.0064755 | 0.0016231 | -0.0064736 | -0.0016225 | 1.9677e-06 | 5.7316e-07 | 0.0098233 | 0.0098236 | 0.0098236 | 0.98091 | -0.36734 | 0.98058 | -0.37372 | 2.6988
47 | 0.068066 | 0.017134 | -0.067972 | -0.017074 | 9.4269e-05 | 6.0027e-05 | 0.10261 | 0.10261 | 0.10261 | 0.9873 | -0.24347 | 0.98581 | -0.27248 | 28.1905
48 | 0.012327 | 0.0030897 | -0.012326 | -0.0030892 | 1.0648e-06 | 5.7325e-07 | 0.018446 | 0.018446 | 0.018446 | 0.9944 | -0.10775 | 0.9943 | -0.10956 | 5.0677
49 | 0.023611 | 0.0059486 | -0.023525 | -0.0058958 | 8.6007e-05 | 5.2761e-05 | 0.03568 | 0.035681 | 0.035681 | 0.98498 | -0.28864 | 0.98106 | -0.36509 | 9.8024
50 | 0.0064736 | 0.0016225 | -0.0064719 | -0.001622 | 1.6477e-06 | 4.8033e-07 | 0.0098236 | 0.0098238 | 0.0098238 | 0.98058 | -0.37372 | 0.98031 | -0.37907 | 2.6988

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49719 | 0.12633

## res_load
| p_mw | q_mvar
0 | 0.0018218 | 0.00045658
1 | 0.0013206 | 0.00033097
2 | 0.00093731 | 0.00023491
3 | 0.0054174 | 0.0013577
4 | 0.00065519 | 0.00016421
5 | 0.0028536 | 0.00071517
6 | 0.00040723 | 0.00010206
7 | 0.0013805 | 0.000346
8 | 0.055196 | 0.013833
9 | 0.010658 | 0.0026711
10 | 0.019641 | 0.0049226
11 | 0.030434 | 0.0076275
12 | 0.0014593 | 0.00036574
13 | 0.00161 | 0.0004035
14 | 0.0013717 | 0.00034377
15 | 0.0017688 | 0.0004433
16 | 0.045483 | 0.011399
17 | 0.064482 | 0.016161
18 | 0.0053316 | 0.0013362
19 | 0.014246 | 0.0035703
20 | 0.0049987 | 0.0012528
21 | 0.0060177 | 0.0015082
22 | 0.080105 | 0.020076
23 | 0.0035612 | 0.00089252
24 | 0.0062246 | 0.00156
25 | 0.0075471 | 0.0018915
26 | 0.023088 | 0.0057864
27 | 0.038126 | 0.0095552
28 | 0.011533 | 0.0028904
29 | 0.023525 | 0.0058958
30 | 0.012326 | 0.0030892
31 | 0.0064719 | 0.001622

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1