## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-120_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-120_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-120_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-120_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_230-120_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-120_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_230-120_0_4_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_230-120_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_230-120_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_230-120_0_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_230-120_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_230-120_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_230-120_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_230-120_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_230-120_0_4_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_230-120_0_4_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_230-120_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_230-120_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_230-120_0_4_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_230-120_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_230-120_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_230-120_0_4_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_230-120_0_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_230-120_0_4_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_230-120_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_230-120_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_230-120_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_230-120_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_230-120_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_230-120_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_230-120_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_230-120_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_230-120_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_230-120_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_230-120_0_4_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_230-120_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_230-120_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_230-120_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_230-120_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_230-120_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_230-120_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_230-120_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_230-120_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_230-120_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_230-120_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_230-120_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_230-120_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_230-120_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_230-120_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_230-120_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_MV_510_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-120_0_4_load_0 | 0 | 0.011202 | 0.0028075 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-120_0_4_load_2 | 2 | 0.0025108 | 0.00062926 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-120_0_4_load_55 | 6 | 0.0023188 | 0.00058114 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-120_0_4_load_8 | 8 | 0.0022207 | 0.00055656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-120_0_4_load_6 | 10 | 0.07439 | 0.018644 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-120_0_4_load_29 | 12 | 0.011304 | 0.002833 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-120_0_4_load_53 | 14 | 0.012259 | 0.0030725 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-120_0_4_load_48 | 17 | 0.004097 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-120_0_4_load_46 | 18 | 0.0038125 | 0.0009555 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-120_0_4_load_35 | 21 | 0.0043981 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-120_0_4_load_51 | 23 | 0.01226 | 0.0030727 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-120_0_4_load_42 | 26 | 0.011543 | 0.002893 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-120_0_4_load_34 | 28 | 0.044758 | 0.011217 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-120_0_4_load_31 | 29 | 0.011847 | 0.0029692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-120_0_4_load_24 | 30 | 0.011 | 0.0027569 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-120_0_4_load_27 | 31 | 0.0064865 | 0.0016257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-120_0_4_load_39 | 32 | 0.0019218 | 0.00048165 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-120_0_4_load_54 | 34 | 0.010206 | 0.0025579 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-120_0_4_load_50 | 35 | 0.0033822 | 0.00084767 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-120_0_4_load_22 | 36 | 0.0084149 | 0.002109 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-120_0_4_load_40 | 37 | 0.00043545 | 0.00010913 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-120_0_4_load_41 | 38 | 0.0012085 | 0.00030289 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-120_0_4_load_30 | 39 | 0.0060164 | 0.0015079 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-120_0_4_load_52 | 41 | 0.012255 | 0.0030714 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-120_0_4_load_25 | 45 | 0.018781 | 0.004707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-120_0_4_load_28 | 46 | 0.011842 | 0.002968 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-120_0_4_load_26 | 47 | 0.0099802 | 0.0025013 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-120_0_4_load_49 | 48 | 0.026004 | 0.0065173 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-120_0_4_load_45 | 49 | 0.027706 | 0.0069439 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-120_0_4_line_0 |  | 0 | 1 | 0.0098547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-120_0_4_line_1 |  | 1 | 2 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-120_0_4_line_2 |  | 1 | 3 | 0.07225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-120_0_4_line_3 |  | 3 | 4 | 0.28154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-120_0_4_line_4 |  | 4 | 5 | 0.18371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-120_0_4_line_5 |  | 4 | 6 | 0.070568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-120_0_4_line_6 |  | 5 | 11 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-120_0_4_line_7 |  | 5 | 12 | 0.038512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-120_0_4_line_8 |  | 7 | 8 | 0.065145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-120_0_4_line_9 |  | 7 | 9 | 0.10407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-120_0_4_line_10 |  | 7 | 10 | 0.028598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-120_0_4_line_11 |  | 8 | 37 | 0.030328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-120_0_4_line_12 |  | 9 | 36 | 0.032162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-120_0_4_line_13 |  | 11 | 35 | 0.063039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-120_0_4_line_14 |  | 11 | 33 | 0.053464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-120_0_4_line_15 |  | 12 | 39 | 0.0024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-120_0_4_line_16 |  | 13 | 14 | 0.009985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-120_0_4_line_17 |  | 13 | 15 | 0.057876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-120_0_4_line_18 |  | 15 | 22 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-120_0_4_line_19 |  | 15 | 18 | 0.025283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-120_0_4_line_20 |  | 15 | 40 | 0.068405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-120_0_4_line_21 |  | 16 | 17 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-120_0_4_line_22 |  | 16 | 18 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-120_0_4_line_23 |  | 19 | 20 | 0.077822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-120_0_4_line_24 |  | 19 | 21 | 0.020123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-120_0_4_line_25 |  | 20 | 22 | 0.040148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-120_0_4_line_26 |  | 20 | 23 | 0.010144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-120_0_4_line_27 |  | 22 | 41 | 0.007882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-120_0_4_line_28 |  | 24 | 25 | 0.029302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_230-120_0_4_line_29 |  | 24 | 26 | 0.047408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_230-120_0_4_line_30 |  | 25 | 30 | 0.019758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-120_0_4_line_31 |  | 25 | 31 | 0.057085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_230-120_0_4_line_32 |  | 25 | 32 | 0.013861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-120_0_4_line_33 |  | 26 | 42 | 0.018246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_230-120_0_4_line_34 |  | 27 | 28 | 0.023718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-120_0_4_line_35 |  | 27 | 29 | 0.026576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-120_0_4_line_36 |  | 28 | 43 | 0.027522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-120_0_4_line_37 |  | 29 | 40 | 0.019131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-120_0_4_line_38 |  | 30 | 44 | 0.022511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-120_0_4_line_39 |  | 31 | 45 | 0.0019256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_230-120_0_4_line_40 |  | 33 | 34 | 0.007635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-120_0_4_line_41 |  | 35 | 46 | 0.022986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-120_0_4_line_42 |  | 36 | 44 | 0.017677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-120_0_4_line_43 |  | 37 | 38 | 0.0091251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-120_0_4_line_44 |  | 42 | 49 | 0.034148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-120_0_4_line_45 |  | 42 | 43 | 0.036411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-120_0_4_line_46 |  | 45 | 47 | 0.027431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_230-120_0_4_line_47 |  | 46 | 47 | 0.018472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_230-120_0_4_line_48 |  | 48 | 49 | 4.9001e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-120_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 50 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2697106.8739 | 1262569.3619 | 2697107.6021 | 1262569.0625 | 2697115.95 | 1262565.5228
1 | 2697106.8739 | 1262569.3619 | 2697106.6297 | 1262575.0515 | 2697103.3243 | 1262579.0338
2 | 2697065.9623 | 1262524.2425 | 2697062.9531 | 1262527.1622 | 2697068.1072 | 1262530.3605 | 2697074.1779 | 1262533.2625 | 2697078.9023 | 1262538.7667 | 2697083.3075 | 1262534.8024 | 2697092.1957 | 1262544.6119 | 2697103.7857 | 1262562.4167 | 2697106.8739 | 1262569.3619
3 | 2697065.9623 | 1262524.2425 | 2697062.9531 | 1262527.1622 | 2697068.1072 | 1262530.3605 | 2697074.1779 | 1262533.2625 | 2697078.9023 | 1262538.7667 | 2697083.3075 | 1262534.8024 | 2697110.26 | 1262510.9365 | 2697114.5068 | 1262519.8246 | 2697134.5791 | 1262517.1186 | 2697150.6081 | 1262506.8957 | 2697164.1681 | 1262491.9396 | 2697176.782 | 1262475.8781 | 2697203.2371 | 1262474.5117 | 2697234.8987 | 1262485.0629 | 2697251.421 | 1262493.4191 | 2697257.5485 | 1262496.5224 | 2697262.0738 | 1262504.0474 | 2697273.7819 | 1262533.4194
4 | 2697273.7819 | 1262533.4194 | 2697287.7656 | 1262527.9894 | 2697296.8417 | 1262524.5359 | 2697312.513 | 1262567.6289 | 2697323.8373 | 1262600.6088 | 2697325.0101 | 1262606.722 | 2697327.1937 | 1262611.3839 | 2697329.4647 | 1262616.2364 | 2697331.1393 | 1262622.5246 | 2697348.9211 | 1262644.5019 | 2697358.8533 | 1262660.8787 | 2697362.2067 | 1262667.7173
5 | 2697207.837 | 1262559.0452 | 2697273.7819 | 1262533.4194
6 | 2697362.9959 | 1262680.6409 | 2697364.2279 | 1262676.7468 | 2697364.6411 | 1262672.7059 | 2697362.2067 | 1262667.7173
7 | 2697362.2067 | 1262667.7173 | 2697333.6905 | 1262680.3583 | 2697327.002 | 1262683.3317
8 | 2697244.0431 | 1262643.2424 | 2697184.6259 | 1262669.9529
9 | 2697162.4036 | 1262690.4838 | 2697160.0979 | 1262684.9859 | 2697239.1413 | 1262650.3676 | 2697244.0137 | 1262648.2349 | 2697245.782 | 1262647.4633 | 2697244.0431 | 1262643.2424
10 | 2697244.0431 | 1262643.2424 | 2697234.9494 | 1262619.8404 | 2697238.1945 | 1262618.554
11 | 2697156.9648 | 1262682.3877 | 2697184.6259 | 1262669.9529
12 | 2697162.4036 | 1262690.4838 | 2697174.8349 | 1262720.146
13 | 2697362.9959 | 1262680.6409 | 2697359.8513 | 1262685.3707 | 2697352.1065 | 1262693.094 | 2697343.0114 | 1262700.4615 | 2697333.0792 | 1262706.9589 | 2697322.9963 | 1262712.542 | 2697312.8967 | 1262717.6617
14 | 2697362.9959 | 1262680.6409 | 2697364.1433 | 1262681.883 | 2697367.2521 | 1262685.2703 | 2697367.9036 | 1262685.9704 | 2697368.3034 | 1262686.3996 | 2697371.5455 | 1262689.9225 | 2697372.4117 | 1262690.8598 | 2697375.5089 | 1262688.9981 | 2697381.1845 | 1262687.9685 | 2697384.863 | 1262688.7853 | 2697363.6128 | 1262704.4816
15 | 2697324.7416 | 1262684.3365 | 2697327.002 | 1262683.3317
16 | 2697404.0141 | 1262717.2572 | 2697404.4665 | 1262723.1806 | 2697405.6535 | 1262727.0478
17 | 2697389.9354 | 1262751.331 | 2697389.8988 | 1262742.1229 | 2697385.6856 | 1262736.2599 | 2697376.487 | 1262732.0717 | 2697394.8182 | 1262723.4219 | 2697404.0141 | 1262717.2572
18 | 2697403.6304 | 1262752.88 | 2697389.9354 | 1262751.331
19 | 2697389.9354 | 1262751.331 | 2697390.557 | 1262767.5657 | 2697392.5221 | 1262774.9707 | 2697393.2304 | 1262776.1498
20 | 2697389.9354 | 1262751.331 | 2697389.8988 | 1262742.1229 | 2697385.6856 | 1262736.2599 | 2697376.487 | 1262732.0717 | 2697362.7981 | 1262741.5874 | 2697347.5968 | 1262755.0927 | 2697343.5146 | 1262757.7388
21 | 2697401.7255 | 1262790.2904 | 2697391.4259 | 1262797.1375 | 2697383.3175 | 1262804.8704
22 | 2697401.7255 | 1262790.2904 | 2697393.2304 | 1262776.1498
23 | 2697440.7785 | 1262739.025 | 2697455.1036 | 1262723.8375 | 2697467.4913 | 1262729.7353 | 2697473.4958 | 1262734.7939 | 2697476.6641 | 1262739.5945 | 2697478.0169 | 1262743.9092 | 2697478.4613 | 1262748.487 | 2697477.7665 | 1262754.069 | 2697475.6313 | 1262759.2714 | 2697472.7238 | 1262762.8708 | 2697475.985 | 1262766.1495
24 | 2697475.985 | 1262766.1495 | 2697479.031 | 1262769.2244 | 2697486.5737 | 1262783.1023
25 | 2697440.7785 | 1262739.025 | 2697422.0144 | 1262749.7135 | 2697403.6304 | 1262752.88
26 | 2697440.7785 | 1262739.025 | 2697441.8959 | 1262744.37 | 2697443.8525 | 1262748.6279
27 | 2697403.6304 | 1262752.88 | 2697403.4199 | 1262756.9688 | 2697404.4978 | 1262760.6006
28 | 2697182.0621 | 1262792.6347 | 2697180.4259 | 1262788.5823 | 2697199.7588 | 1262777.6354 | 2697198.6695 | 1262775.1488
29 | 2697182.0621 | 1262792.6347 | 2697214.8717 | 1262774.0587 | 2697223.5322 | 1262769.6799
30 | 2697198.6695 | 1262775.1488 | 2697190.7221 | 1262757.0591
31 | 2697198.6695 | 1262775.1488 | 2697212.6022 | 1262767.2825 | 2697225.5878 | 1262760.6572 | 2697249.3558 | 1262748.922
32 | 2697198.6695 | 1262775.1488 | 2697186.6179 | 1262781.9954
33 | 2697239.8152 | 1262761.4473 | 2697223.5322 | 1262769.6799
34 | 2697318.6653 | 1262722.9793 | 2697297.4397 | 1262733.5627
35 | 2697318.6653 | 1262722.9793 | 2697320.9419 | 1262727.943 | 2697321.7944 | 1262729.7029 | 2697326.6875 | 1262739.1245 | 2697335.1103 | 1262740.5531
36 | 2697272.8098 | 1262745.8437 | 2697297.4397 | 1262733.5627
37 | 2697343.5146 | 1262757.7388 | 2697335.1103 | 1262740.5531
38 | 2697181.6674 | 1262736.449 | 2697190.7221 | 1262757.0591
39 | 2697249.3558 | 1262748.922 | 2697251.0825 | 1262748.0695
40 | 2697363.6128 | 1262704.4816 | 2697368.4999 | 1262706.9418 | 2697369.4471 | 1262708.9035
41 | 2697292.2486 | 1262727.7609 | 2697310.2695 | 1262718.9934 | 2697312.8967 | 1262717.6617
42 | 2697181.6674 | 1262736.449 | 2697174.8349 | 1262720.146
43 | 2697156.9648 | 1262682.3877 | 2697148.642 | 1262686.1291
44 | 2697239.8152 | 1262761.4473 | 2697247.4853 | 1262776.5635 | 2697249.8334 | 1262781.306 | 2697255.2318 | 1262791.9171
45 | 2697272.8098 | 1262745.8437 | 2697267.479 | 1262748.3692 | 2697239.8152 | 1262761.4473
46 | 2697275.6791 | 1262735.9253 | 2697251.0825 | 1262748.0695
47 | 2697275.6791 | 1262735.9253 | 2697289.9516 | 1262728.8784 | 2697292.2486 | 1262727.7609
48 | 2697255.254 | 1262791.9608 | 2697255.2318 | 1262791.9171

## bus_geodata
| x | y | coords
0 | 2697115.95 | 1262565.5228
1 | 2697106.8739 | 1262569.3619
2 | 2697103.3243 | 1262579.0338
3 | 2697065.9623 | 1262524.2425
4 | 2697273.7819 | 1262533.4194
5 | 2697362.2067 | 1262667.7173
6 | 2697207.837 | 1262559.0452
7 | 2697244.0431 | 1262643.2424
8 | 2697184.6259 | 1262669.9529
9 | 2697162.4036 | 1262690.4838
10 | 2697238.1945 | 1262618.554
11 | 2697362.9959 | 1262680.6409
12 | 2697327.002 | 1262683.3317
13 | 2697404.0141 | 1262717.2572
14 | 2697405.6535 | 1262727.0478
15 | 2697389.9354 | 1262751.331
16 | 2697401.7255 | 1262790.2904
17 | 2697383.3175 | 1262804.8704
18 | 2697393.2304 | 1262776.1498
19 | 2697475.985 | 1262766.1495
20 | 2697440.7785 | 1262739.025
21 | 2697486.5737 | 1262783.1023
22 | 2697403.6304 | 1262752.88
23 | 2697443.8525 | 1262748.6279
24 | 2697182.0621 | 1262792.6347
25 | 2697198.6695 | 1262775.1488
26 | 2697223.5322 | 1262769.6799
27 | 2697318.6653 | 1262722.9793
28 | 2697297.4397 | 1262733.5627
29 | 2697335.1103 | 1262740.5531
30 | 2697190.7221 | 1262757.0591
31 | 2697249.3558 | 1262748.922
32 | 2697186.6179 | 1262781.9954
33 | 2697363.6128 | 1262704.4816
34 | 2697369.4471 | 1262708.9035
35 | 2697312.8967 | 1262717.6617
36 | 2697174.8349 | 1262720.146
37 | 2697156.9648 | 1262682.3877
38 | 2697148.642 | 1262686.1291
39 | 2697324.7416 | 1262684.3365
40 | 2697343.5146 | 1262757.7388
41 | 2697404.4978 | 1262760.6006
42 | 2697239.8152 | 1262761.4473
43 | 2697272.8098 | 1262745.8437
44 | 2697181.6674 | 1262736.449
45 | 2697251.0825 | 1262748.0695
46 | 2697292.2486 | 1262727.7609
47 | 2697275.6791 | 1262735.9253
48 | 2697255.254 | 1262791.9608
49 | 2697255.2318 | 1262791.9171
50 | 2697362.9959 | 1262680.6409

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98884 | -0.21498 | 0.011202 | 0.0028075
1 | 0.98894 | -0.21301 | 0 | 0
2 | 0.98892 | -0.2135 | 0.0025108 | 0.00062926
3 | 0.98985 | -0.19537 | 0 | 0
4 | 0.99339 | -0.1269 | 0 | 0
5 | 0.99609 | -0.074962 | 0 | 0
6 | 0.99324 | -0.12979 | 0.0023188 | 0.00058114
7 | 0.97583 | -0.46419 | 0 | 0
8 | 0.9756 | -0.4688 | 0.0022207 | 0.00055656
9 | 0.98342 | -0.31627 | 0 | 0
10 | 0.97385 | -0.5032 | 0.07439 | 0.018644
11 | 0.99651 | -0.066937 | 0 | 0
12 | 0.99548 | -0.086688 | 0.011304 | 0.002833
13 | 0.97158 | -0.54839 | 0 | 0
14 | 0.97147 | -0.55065 | 0.012259 | 0.0030725
15 | 0.97224 | -0.5353 | 0 | 0
16 | 0.972 | -0.54023 | 0 | 0
17 | 0.9719 | -0.54201 | 0.004097 | 0.0010268
18 | 0.97206 | -0.53898 | 0.0038125 | 0.0009555
19 | 0.97093 | -0.56131 | 0 | 0
20 | 0.97125 | -0.55498 | 0 | 0
21 | 0.97085 | -0.56294 | 0.0043981 | 0.0011023
22 | 0.97187 | -0.54263 | 0 | 0
23 | 0.97113 | -0.55728 | 0.01226 | 0.0030727
24 | 0.98925 | -0.2041 | 0 | 0
25 | 0.9908 | -0.17441 | 0 | 0
26 | 0.98675 | -0.25234 | 0.011543 | 0.002893
27 | 0.97777 | -0.42681 | 0 | 0
28 | 0.97911 | -0.40049 | 0.044758 | 0.011217
29 | 0.97625 | -0.45638 | 0.011847 | 0.0029692
30 | 0.98901 | -0.20874 | 0.011 | 0.0027569
31 | 0.99558 | -0.083438 | 0.0064865 | 0.0016257
32 | 0.99078 | -0.17488 | 0.0019218 | 0.00048165
33 | 0.99601 | -0.07652 | 0 | 0
34 | 0.99594 | -0.07789 | 0.010206 | 0.0025579
35 | 0.99902 | -0.018835 | 0.0033822 | 0.00084767
36 | 0.98577 | -0.27101 | 0.0084149 | 0.002109
37 | 0.97555 | -0.46971 | 0.00043545 | 0.00010913
38 | 0.97554 | -0.46991 | 0.0012085 | 0.00030289
39 | 0.99547 | -0.086949 | 0.0060164 | 0.0015079
40 | 0.97538 | -0.47357 | 0 | 0
41 | 0.97178 | -0.54441 | 0.012255 | 0.0030714
42 | 0.9854 | -0.27841 | 0 | 0
43 | 0.98182 | -0.34775 | 0 | 0
44 | 0.98719 | -0.24357 | 0 | 0
45 | 0.99575 | -0.080311 | 0.018781 | 0.004707
46 | 1 | 0 | -0.36032 | -0.092179
47 | 0.99825 | -0.032878 | 0.0099802 | 0.0025013
48 | 0.98371 | -0.31141 | 0.026004 | 0.0065173
49 | 0.98371 | -0.31139 | 0.027706 | 0.0069439
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011202 | -0.0028075 | 0.011203 | 0.002808 | 1.0501e-06 | 5.4562e-07 | 0.016857 | 0.016857 | 0.016857 | 0.98884 | -0.21498 | 0.98894 | -0.21301 | 4.631
1 | 0.0025109 | 0.00062916 | -0.0025108 | -0.00062926 | 5.8181e-08 | -1.0223e-07 | 0.0037779 | 0.003778 | 0.003778 | 0.98894 | -0.21301 | 0.98892 | -0.2135 | 1.0379
2 | -0.013714 | -0.0034372 | 0.013725 | 0.0034436 | 1.1536e-05 | 6.4552e-06 | 0.020635 | 0.020634 | 0.020635 | 0.98894 | -0.21301 | 0.98985 | -0.19537 | 5.6689
3 | -0.013725 | -0.0034436 | 0.01377 | 0.0034688 | 4.495e-05 | 2.5136e-05 | 0.020634 | 0.020633 | 0.020634 | 0.98985 | -0.19537 | 0.99339 | -0.1269 | 5.6688
4 | -0.016089 | -0.0040492 | 0.016129 | 0.0040724 | 4.0034e-05 | 2.3237e-05 | 0.024107 | 0.024106 | 0.024107 | 0.99339 | -0.1269 | 0.99609 | -0.074962 | 6.6227
5 | 0.0023191 | 0.00058043 | -0.0023188 | -0.00058114 | 3.1931e-07 | -7.0911e-07 | 0.0034735 | 0.0034738 | 0.0034738 | 0.99339 | -0.1269 | 0.99324 | -0.12979 | 0.95435
6 | -0.03346 | -0.008419 | 0.033472 | 0.0084271 | 1.2836e-05 | 8.0366e-06 | 0.049996 | 0.049995 | 0.049996 | 0.99609 | -0.074962 | 0.99651 | -0.066937 | 13.735
7 | 0.01733 | 0.0043466 | -0.01732 | -0.0043409 | 9.6803e-06 | 5.6944e-06 | 0.02589 | 0.02589 | 0.02589 | 0.99609 | -0.074962 | 0.99548 | -0.086688 | 7.1126
8 | 0.0038656 | 0.00096787 | -0.0038648 | -0.00096814 | 8.4876e-07 | -2.7045e-07 | 0.0058942 | 0.0058945 | 0.0058945 | 0.97583 | -0.46419 | 0.9756 | -0.4688 | 1.6194
9 | -0.078394 | -0.0197 | 0.078952 | 0.020056 | 0.00055784 | 0.00035571 | 0.11956 | 0.11956 | 0.11956 | 0.97583 | -0.46419 | 0.98342 | -0.31627 | 32.8459
10 | 0.074528 | 0.018732 | -0.07439 | -0.018644 | 0.00013855 | 8.8317e-05 | 0.11366 | 0.11367 | 0.11367 | 0.97583 | -0.46419 | 0.97385 | -0.5032 | 31.2267
11 | 0.0016441 | 0.00041158 | -0.001644 | -0.00041192 | 7.1507e-08 | -3.3291e-07 | 0.0025074 | 0.0025076 | 0.0025076 | 0.9756 | -0.4688 | 0.97555 | -0.46971 | 0.68889
12 | -0.078952 | -0.020056 | 0.079124 | 0.020166 | 0.0001724 | 0.00010993 | 0.11956 | 0.11956 | 0.11956 | 0.98342 | -0.31627 | 0.98577 | -0.27101 | 32.8458
13 | -0.043684 | -0.010988 | 0.043784 | 0.011051 | 0.00010063 | 6.3579e-05 | 0.065244 | 0.065243 | 0.065244 | 0.99651 | -0.066937 | 0.99902 | -0.018835 | 17.9241
14 | 0.010211 | 0.0025605 | -0.010207 | -0.0025582 | 4.6617e-06 | 2.2873e-06 | 0.015248 | 0.015249 | 0.015249 | 0.99651 | -0.066937 | 0.99601 | -0.07652 | 4.1892
15 | 0.0060165 | 0.0015079 | -0.0060164 | -0.0015079 | 7.5025e-08 | 1.5856e-08 | 0.0089933 | 0.0089933 | 0.0089933 | 0.99548 | -0.086688 | 0.99547 | -0.086949 | 2.4707
16 | 0.012261 | 0.0030732 | -0.012259 | -0.0030725 | 1.3203e-06 | 7.2137e-07 | 0.018778 | 0.018778 | 0.018778 | 0.97158 | -0.54839 | 0.97147 | -0.55065 | 5.1588
17 | -0.012261 | -0.0030732 | 0.012268 | 0.0030774 | 7.6528e-06 | 4.1806e-06 | 0.018778 | 0.018778 | 0.018778 | 0.97158 | -0.54839 | 0.97224 | -0.5353 | 5.1588
18 | 0.028937 | 0.0072596 | -0.028927 | -0.0072533 | 1.0108e-05 | 6.299e-06 | 0.044291 | 0.044291 | 0.044291 | 0.97224 | -0.5353 | 0.97187 | -0.54263 | 12.1679
19 | 0.0079115 | 0.0019828 | -0.0079101 | -0.0019822 | 1.3901e-06 | 5.7619e-07 | 0.012108 | 0.012109 | 0.012109 | 0.97224 | -0.5353 | 0.97206 | -0.53898 | 3.3265
20 | -0.049117 | -0.01232 | 0.049262 | 0.012412 | 0.00014498 | 9.1933e-05 | 0.075177 | 0.075177 | 0.075177 | 0.97224 | -0.5353 | 0.97538 | -0.47357 | 20.6531
21 | 0.0040974 | 0.0010267 | -0.004097 | -0.0010268 | 3.478e-07 | -6.9556e-08 | 0.0062725 | 0.0062726 | 0.0062726 | 0.972 | -0.54023 | 0.9719 | -0.54201 | 1.7233
22 | -0.0040974 | -0.0010267 | 0.0040976 | 0.0010267 | 2.4339e-07 | -4.8712e-08 | 0.0062725 | 0.0062725 | 0.0062725 | 0.972 | -0.54023 | 0.97206 | -0.53898 | 1.7232
23 | -0.0043984 | -0.0011022 | 0.0043998 | 0.0011021 | 1.326e-06 | -1.1415e-07 | 0.0067409 | 0.0067405 | 0.0067409 | 0.97093 | -0.56131 | 0.97125 | -0.55498 | 1.8519
24 | 0.0043984 | 0.0011022 | -0.0043981 | -0.0011023 | 3.429e-07 | -2.94e-08 | 0.0067409 | 0.006741 | 0.006741 | 0.97093 | -0.56131 | 0.97085 | -0.56294 | 1.8519
25 | -0.016661 | -0.0041756 | 0.016671 | 0.0041813 | 9.8099e-06 | 5.7811e-06 | 0.025526 | 0.025526 | 0.025526 | 0.97125 | -0.55498 | 0.97187 | -0.54263 | 7.0127
26 | 0.012262 | 0.0030734 | -0.01226 | -0.0030727 | 1.3424e-06 | 7.3363e-07 | 0.018786 | 0.018786 | 0.018786 | 0.97125 | -0.55498 | 0.97113 | -0.55728 | 5.1609
27 | 0.012256 | 0.003072 | -0.012255 | -0.0030714 | 1.0408e-06 | 5.6846e-07 | 0.018765 | 0.018765 | 0.018765 | 0.97187 | -0.54263 | 0.97178 | -0.54441 | 5.1553
28 | -0.17264 | -0.043917 | 0.17288 | 0.044074 | 0.00024743 | 0.00015722 | 0.25991 | 0.25991 | 0.25991 | 0.98925 | -0.2041 | 0.9908 | -0.17441 | 23.8011
29 | 0.17264 | 0.043917 | -0.17224 | -0.043663 | 0.00040031 | 0.00025438 | 0.25991 | 0.25991 | 0.25991 | 0.98925 | -0.2041 | 0.98675 | -0.25234 | 23.8011
30 | 0.098967 | 0.025305 | -0.098803 | -0.0252 | 0.00016408 | 0.00010476 | 0.14881 | 0.14881 | 0.14881 | 0.9908 | -0.17441 | 0.98901 | -0.20874 | 40.8821
31 | -0.27377 | -0.06986 | 0.27498 | 0.070632 | 0.0012089 | 0.00077149 | 0.4116 | 0.4116 | 0.4116 | 0.9908 | -0.17441 | 0.99558 | -0.083438 | 37.6927
32 | 0.0019218 | 0.0004815 | -0.0019218 | -0.00048165 | 4.33e-08 | -1.508e-07 | 0.0028862 | 0.0028863 | 0.0028863 | 0.9908 | -0.17441 | 0.99078 | -0.17488 | 0.79294
33 | 0.16069 | 0.04077 | -0.16049 | -0.040641 | 0.00020118 | 0.00012829 | 0.2425 | 0.2425 | 0.2425 | 0.98675 | -0.25234 | 0.9854 | -0.27841 | 33.3106
34 | -0.061236 | -0.015462 | 0.061314 | 0.015511 | 7.7314e-05 | 4.9183e-05 | 0.093234 | 0.093234 | 0.093234 | 0.97777 | -0.42681 | 0.97911 | -0.40049 | 25.6138
35 | 0.061236 | 0.015462 | -0.06115 | -0.015407 | 8.6631e-05 | 5.5111e-05 | 0.093234 | 0.093234 | 0.093234 | 0.97777 | -0.42681 | 0.97625 | -0.45638 | 25.6138
36 | -0.10607 | -0.026728 | 0.10634 | 0.0269 | 0.00026837 | 0.00017141 | 0.16126 | 0.16126 | 0.16126 | 0.97911 | -0.40049 | 0.98182 | -0.34775 | 44.301
37 | 0.049303 | 0.012437 | -0.049262 | -0.012412 | 4.0544e-05 | 2.5709e-05 | 0.075177 | 0.075177 | 0.075177 | 0.97625 | -0.45638 | 0.97538 | -0.47357 | 20.653
38 | 0.087803 | 0.022443 | -0.087655 | -0.022349 | 0.00014767 | 9.4221e-05 | 0.13226 | 0.13226 | 0.13226 | 0.98901 | -0.20874 | 0.98719 | -0.24357 | 36.3353
39 | -0.28147 | -0.072258 | 0.28151 | 0.072285 | 4.2723e-05 | 2.7268e-05 | 0.4213 | 0.4213 | 0.4213 | 0.99558 | -0.083438 | 0.99575 | -0.080311 | 38.5804
40 | 0.010207 | 0.0025582 | -0.010206 | -0.0025579 | 6.6573e-07 | 3.2671e-07 | 0.015249 | 0.015249 | 0.015249 | 0.99601 | -0.07652 | 0.99594 | -0.07789 | 4.1892
41 | -0.047167 | -0.011899 | 0.047209 | 0.011926 | 4.2577e-05 | 2.6948e-05 | 0.070281 | 0.070281 | 0.070281 | 0.99902 | -0.018835 | 1 | 0 | 19.308
42 | -0.087539 | -0.022275 | 0.087655 | 0.022349 | 0.00011596 | 7.3987e-05 | 0.13226 | 0.13226 | 0.13226 | 0.98577 | -0.27101 | 0.98719 | -0.24357 | 36.3354
43 | 0.0012086 | 0.00030278 | -0.0012085 | -0.00030289 | 1.1628e-08 | -1.0649e-07 | 0.0018434 | 0.0018434 | 0.0018434 | 0.97555 | -0.46971 | 0.97554 | -0.46991 | 0.50643
44 | 0.053795 | 0.013515 | -0.053711 | -0.013461 | 8.4529e-05 | 5.3664e-05 | 0.081246 | 0.081246 | 0.081246 | 0.9854 | -0.27841 | 0.98371 | -0.31139 | 22.3204
45 | 0.1067 | 0.027127 | -0.10634 | -0.0269 | 0.00035505 | 0.00022677 | 0.16126 | 0.16126 | 0.16126 | 0.9854 | -0.27841 | 0.98182 | -0.34775 | 44.301
46 | -0.30029 | -0.076992 | 0.30098 | 0.077434 | 0.00069239 | 0.00044206 | 0.44936 | 0.44936 | 0.44936 | 0.99575 | -0.080311 | 0.99825 | -0.032878 | 41.1505
47 | 0.31146 | 0.080253 | -0.31096 | -0.079935 | 0.00049763 | 0.00031775 | 0.46424 | 0.46424 | 0.46424 | 1 | 0 | 0.99825 | -0.032878 | 42.5128
48 | -0.026004 | -0.0065173 | 0.026005 | 0.0065174 | 2.8437e-08 | 1.7574e-08 | 0.039336 | 0.039336 | 0.039336 | 0.98371 | -0.31141 | 0.98371 | -0.31139 | 10.8066

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37216 | 0.095147

## res_load
| p_mw | q_mvar
0 | 0.011202 | 0.0028075
1 | 0.0025108 | 0.00062926
2 | 0.0023188 | 0.00058114
3 | 0.0022207 | 0.00055656
4 | 0.07439 | 0.018644
5 | 0.011304 | 0.002833
6 | 0.012259 | 0.0030725
7 | 0.004097 | 0.0010268
8 | 0.0038125 | 0.0009555
9 | 0.0043981 | 0.0011023
10 | 0.01226 | 0.0030727
11 | 0.011543 | 0.002893
12 | 0.044758 | 0.011217
13 | 0.011847 | 0.0029692
14 | 0.011 | 0.0027569
15 | 0.0064865 | 0.0016257
16 | 0.0019218 | 0.00048165
17 | 0.010206 | 0.0025579
18 | 0.0033822 | 0.00084767
19 | 0.0084149 | 0.002109
20 | 0.00043545 | 0.00010913
21 | 0.0012085 | 0.00030289
22 | 0.0060164 | 0.0015079
23 | 0.012255 | 0.0030714
24 | 0.018781 | 0.004707
25 | 0.011842 | 0.002968
26 | 0.0099802 | 0.0025013
27 | 0.026004 | 0.0065173
28 | 0.027706 | 0.0069439

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1