## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-138_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-138_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-138_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-138_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_230-138_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-138_0_5_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_230-138_0_5_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_230-138_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_230-138_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_230-138_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_230-138_0_5_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_230-138_0_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_230-138_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_230-138_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_230-138_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_230-138_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_230-138_0_5_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_230-138_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_230-138_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_230-138_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_230-138_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_230-138_0_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_230-138_0_5_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_230-138_0_5_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_230-138_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_230-138_0_5_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_230-138_0_5_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_230-138_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_230-138_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_230-138_0_5_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_230-138_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_230-138_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_230-138_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_230-138_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_230-138_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_230-138_0_5_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_230-138_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_230-138_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_230-138_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_230-138_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_230-138_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_230-138_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_230-138_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_MV_509_1_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-138_0_5_load_0 | 0 | 0.012441 | 0.0031181 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-138_0_5_load_40 | 5 | 0.0074666 | 0.0018713 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-138_0_5_load_41 | 6 | 0.038248 | 0.009586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-138_0_5_load_18 | 7 | 0.011275 | 0.0028258 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-138_0_5_load_23 | 10 | 0.019056 | 0.0047758 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-138_0_5_load_22 | 11 | 0.072435 | 0.018154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-138_0_5_load_20 | 12 | 0.038375 | 0.0096178 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-138_0_5_load_26 | 14 | 0.026656 | 0.0066807 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-138_0_5_load_25 | 16 | 0.025608 | 0.006418 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-138_0_5_load_24 | 19 | 0.0039152 | 0.00098123 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-138_0_5_load_33 | 22 | 0.045315 | 0.011357 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-138_0_5_load_34 | 23 | 0.02489 | 0.006238 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-138_0_5_load_45 | 25 | 0.0023506 | 0.00058911 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-138_0_5_load_36 | 26 | 0.011161 | 0.0027972 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-138_0_5_load_39 | 29 | 0.0067278 | 0.0016861 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-138_0_5_load_32 | 31 | 0.025035 | 0.0062744 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-138_0_5_load_38 | 33 | 0.021786 | 0.0054601 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-138_0_5_load_46 | 35 | 0.0013966 | 0.00035002 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-138_0_5_load_21 | 37 | 0.074376 | 0.01864 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-138_0_5_load_27 | 39 | 0.018104 | 0.0045373 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-138_0_5_load_43 | 41 | 0.0011031 | 0.00027647 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-138_0_5_load_42 | 42 | 0.001333 | 0.00033407 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-138_0_5_line_0 |  | 0 | 1 | 0.041116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-138_0_5_line_1 |  | 1 | 2 | 0.13171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-138_0_5_line_2 |  | 2 | 6 | 0.018507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-138_0_5_line_3 |  | 2 | 3 | 0.097456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-138_0_5_line_4 |  | 3 | 4 | 0.053171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-138_0_5_line_5 |  | 3 | 5 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-138_0_5_line_6 |  | 4 | 7 | 0.084673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-138_0_5_line_7 |  | 5 | 27 | 0.026899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-138_0_5_line_8 |  | 7 | 30 | 0.075087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-138_0_5_line_9 |  | 8 | 9 | 0.017412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_230-138_0_5_line_10 |  | 8 | 10 | 0.030157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_230-138_0_5_line_11 |  | 9 | 11 | 0.047625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-138_0_5_line_12 |  | 9 | 12 | 0.028193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_230-138_0_5_line_13 |  | 10 | 19 | 0.020922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_230-138_0_5_line_14 |  | 11 | 31 | 0.082731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-138_0_5_line_15 |  | 12 | 30 | 0.035426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_230-138_0_5_line_16 |  | 13 | 14 | 0.010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-138_0_5_line_17 |  | 13 | 15 | 0.090865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_230-138_0_5_line_18 |  | 13 | 16 | 0.036358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_230-138_0_5_line_19 |  | 15 | 23 | 0.054693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_230-138_0_5_line_20 |  | 16 | 18 | 0.026012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_230-138_0_5_line_21 |  | 17 | 18 | 0.025171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_230-138_0_5_line_22 |  | 17 | 19 | 0.013704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_230-138_0_5_line_23 |  | 20 | 21 | 0.025474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-138_0_5_line_24 |  | 20 | 22 | 0.035566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-138_0_5_line_25 |  | 21 | 23 | 0.061733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-138_0_5_line_26 |  | 21 | 34 | 0.023471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-138_0_5_line_27 |  | 21 | 32 | 0.016675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-138_0_5_line_28 |  | 24 | 25 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-138_0_5_line_29 |  | 24 | 26 | 0.068954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-138_0_5_line_30 |  | 25 | 35 | 0.01983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-138_0_5_line_31 |  | 26 | 36 | 0.061232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-138_0_5_line_32 |  | 27 | 28 | 0.00357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-138_0_5_line_33 |  | 28 | 29 | 0.0044938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-138_0_5_line_34 |  | 30 | 37 | 0.082183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-138_0_5_line_35 |  | 32 | 33 | 0.057048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-138_0_5_line_36 |  | 34 | 39 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-138_0_5_line_37 |  | 36 | 38 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-138_0_5_line_38 |  | 36 | 37 | 0.06318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-138_0_5_line_39 |  | 38 | 40 | 0.014822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-138_0_5_line_40 |  | 40 | 42 | 0.025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-138_0_5_line_41 |  | 41 | 42 | 0.030415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-138_0_5_trafo_19 | 0.63 MVA 20/0.4 kV | 43 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2699343.0921 | 1261090.9388 | 2699346.7259 | 1261096.7045 | 2699359.6282 | 1261128.4862
1 | 2699253.853 | 1261116.7177 | 2699248.3822 | 1261103.6486 | 2699289.9067 | 1261085.8863 | 2699333.6236 | 1261067.7497 | 2699337.2535 | 1261076.44 | 2699343.0921 | 1261090.9388
2 | 2699253.853 | 1261116.7177 | 2699260.9962 | 1261133.7904
3 | 2699182.9257 | 1261107.2094 | 2699187.426 | 1261117.9381 | 2699191.3392 | 1261127.278 | 2699228.6282 | 1261112.1798 | 2699238.4569 | 1261108.0968 | 2699243.5114 | 1261120.8254 | 2699253.853 | 1261116.7177
4 | 2699162.2888 | 1261139.1785 | 2699166.3456 | 1261137.712 | 2699186.9275 | 1261128.783 | 2699191.3392 | 1261127.278 | 2699187.426 | 1261117.9381 | 2699182.9257 | 1261107.2094
5 | 2699182.9257 | 1261107.2094 | 2699183.8513 | 1261091.5677 | 2699183.1928 | 1261090.8851
6 | 2699162.2888 | 1261139.1785 | 2699195.164 | 1261217.2094
7 | 2699164.5164 | 1261071.5272 | 2699183.1928 | 1261090.8851
8 | 2699224.3171 | 1261286.4055 | 2699195.164 | 1261217.2094
9 | 2699283.2775 | 1261262.5084 | 2699292.2234 | 1261258.9223 | 2699295.8731 | 1261257.4601 | 2699299.4393 | 1261256.0299
10 | 2699299.4393 | 1261256.0299 | 2699304.3491 | 1261268.8339 | 2699306.8412 | 1261275.7147 | 2699309.9376 | 1261283.4063 | 2699310.2363 | 1261284.1848
11 | 2699283.2775 | 1261262.5084 | 2699297.7708 | 1261298.381 | 2699301.2464 | 1261306.6124
12 | 2699283.2775 | 1261262.5084 | 2699257.1488 | 1261273.0986
13 | 2699325.5428 | 1261296.1921 | 2699314.8184 | 1261291.6506 | 2699312.7463 | 1261290.7261 | 2699310.2363 | 1261284.1848
14 | 2699301.2464 | 1261306.6124 | 2699307.2949 | 1261320.9371 | 2699322.9074 | 1261357.9073 | 2699297.8938 | 1261368.2036
15 | 2699224.3171 | 1261286.4055 | 2699257.1488 | 1261273.0986
16 | 2699354.5062 | 1261380.8677 | 2699346.7541 | 1261373.5204
17 | 2699350.9993 | 1261421.3754 | 2699362.6714 | 1261416.5452 | 2699381.6376 | 1261410.8925 | 2699374.7975 | 1261392.785 | 2699370.9825 | 1261394.2221 | 2699369.0199 | 1261394.8563 | 2699369.5377 | 1261396.3329 | 2699368.1826 | 1261398.9344 | 2699364.9781 | 1261400.3707 | 2699361.7746 | 1261400.4058 | 2699358.5512 | 1261397.5827 | 2699358.5727 | 1261391.8228 | 2699356.6348 | 1261386.9529 | 2699354.5062 | 1261380.8677
18 | 2699354.5062 | 1261380.8677 | 2699354.5307 | 1261378.0659 | 2699355.756 | 1261374.2166 | 2699357.2881 | 1261369.6052 | 2699357.1237 | 1261367.2783 | 2699356.6298 | 1261365.7243 | 2699348.831 | 1261346.556
19 | 2699350.9993 | 1261421.3754 | 2699300.5879 | 1261442.5877
20 | 2699341.9609 | 1261322.3981 | 2699340.9091 | 1261323.9928 | 2699340.8038 | 1261326.2262 | 2699341.583 | 1261328.7414 | 2699348.831 | 1261346.556
21 | 2699338.1744 | 1261301.5063 | 2699346.0204 | 1261320.7649 | 2699341.9609 | 1261322.3981
22 | 2699338.1744 | 1261301.5063 | 2699328.4904 | 1261297.4404 | 2699325.5428 | 1261296.1921
23 | 2699258.4039 | 1261457.9288 | 2699254.3961 | 1261462.3208 | 2699251.6456 | 1261469.4916 | 2699250.6402 | 1261472.366 | 2699249.9458 | 1261475.1232 | 2699249.3067 | 1261476.3802 | 2699253.7601 | 1261477.3112
24 | 2699258.4039 | 1261457.9288 | 2699258.8872 | 1261443.0581 | 2699262.9658 | 1261422.7766
25 | 2699253.7601 | 1261477.3112 | 2699255.4164 | 1261470.678 | 2699257.6869 | 1261466.0679 | 2699261.4726 | 1261460.9828 | 2699267.0612 | 1261456.6953 | 2699300.5879 | 1261442.5877
26 | 2699272.6346 | 1261487.8699 | 2699271.4676 | 1261486.9051 | 2699263.2413 | 1261484.9099 | 2699261.0463 | 1261484.128 | 2699259.6704 | 1261483.0373 | 2699258.722 | 1261481.6202 | 2699258.1232 | 1261480.0311 | 2699257.9342 | 1261478.2709 | 2699253.7601 | 1261477.3112
27 | 2699238.5818 | 1261480.0144 | 2699242.7028 | 1261480.0947 | 2699245.0958 | 1261479.8569 | 2699247.0331 | 1261478.9331 | 2699248.925 | 1261477.1189 | 2699249.3067 | 1261476.3802 | 2699253.7601 | 1261477.3112
28 | 2699037.1992 | 1261246.838 | 2699041.0971 | 1261256.4857
29 | 2699037.1992 | 1261246.838 | 2699048.5845 | 1261242.0358 | 2699067.2836 | 1261286.0626 | 2699075.902 | 1261284.4723
30 | 2699048.5256 | 1261274.8721 | 2699041.0971 | 1261256.4857
31 | 2699089.801 | 1261341.4739 | 2699086.0343 | 1261329.2453 | 2699090.2069 | 1261319.0624 | 2699075.902 | 1261284.4723
32 | 2699164.5164 | 1261071.5272 | 2699165.4185 | 1261068.0728
33 | 2699165.4185 | 1261068.0728 | 2699166.5619 | 1261063.727
34 | 2699224.3171 | 1261286.4055 | 2699219.5751 | 1261288.2942 | 2699168.1305 | 1261308.5149 | 2699148.0916 | 1261317.1049
35 | 2699238.5818 | 1261480.0144 | 2699211.1794 | 1261474.6504 | 2699182.3826 | 1261470.2857
36 | 2699272.6346 | 1261487.8699 | 2699282.7927 | 1261490.5561
37 | 2699075.6972 | 1261347.9541 | 2699089.801 | 1261341.4739
38 | 2699089.801 | 1261341.4739 | 2699133.1051 | 1261323.5291 | 2699148.0916 | 1261317.1049
39 | 2699075.6972 | 1261347.9541 | 2699061.9177 | 1261353.5168
40 | 2699061.9177 | 1261353.5168 | 2699060.0387 | 1261348.7148 | 2699056.0723 | 1261345.7014 | 2699051.7824 | 1261344.4508 | 2699046.0799 | 1261334.7354
41 | 2699046.0799 | 1261334.7354 | 2699041.275 | 1261326.5492 | 2699040.6467 | 1261321.7681 | 2699042.5466 | 1261317.6743 | 2699052.9053 | 1261312.4817

## bus_geodata
| x | y | coords
0 | 2699359.6282 | 1261128.4862
1 | 2699343.0921 | 1261090.9388
2 | 2699253.853 | 1261116.7177
3 | 2699182.9257 | 1261107.2094
4 | 2699162.2888 | 1261139.1785
5 | 2699183.1928 | 1261090.8851
6 | 2699260.9962 | 1261133.7904
7 | 2699195.164 | 1261217.2094
8 | 2699299.4393 | 1261256.0299
9 | 2699283.2775 | 1261262.5084
10 | 2699310.2363 | 1261284.1848
11 | 2699301.2464 | 1261306.6124
12 | 2699257.1488 | 1261273.0986
13 | 2699354.5062 | 1261380.8677
14 | 2699346.7541 | 1261373.5204
15 | 2699350.9993 | 1261421.3754
16 | 2699348.831 | 1261346.556
17 | 2699338.1744 | 1261301.5063
18 | 2699341.9609 | 1261322.3981
19 | 2699325.5428 | 1261296.1921
20 | 2699258.4039 | 1261457.9288
21 | 2699253.7601 | 1261477.3112
22 | 2699262.9658 | 1261422.7766
23 | 2699300.5879 | 1261442.5877
24 | 2699037.1992 | 1261246.838
25 | 2699041.0971 | 1261256.4857
26 | 2699075.902 | 1261284.4723
27 | 2699164.5164 | 1261071.5272
28 | 2699165.4185 | 1261068.0728
29 | 2699166.5619 | 1261063.727
30 | 2699224.3171 | 1261286.4055
31 | 2699297.8938 | 1261368.2036
32 | 2699238.5818 | 1261480.0144
33 | 2699182.3826 | 1261470.2857
34 | 2699272.6346 | 1261487.8699
35 | 2699048.5256 | 1261274.8721
36 | 2699089.801 | 1261341.4739
37 | 2699148.0916 | 1261317.1049
38 | 2699075.6972 | 1261347.9541
39 | 2699282.7927 | 1261490.5561
40 | 2699061.9177 | 1261353.5168
41 | 2699052.9053 | 1261312.4817
42 | 2699046.0799 | 1261334.7354
43 | 2699283.2775 | 1261262.5084

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9799 | -0.38699 | 0.012441 | 0.0031181
1 | 0.98038 | -0.37771 | 0 | 0
2 | 0.98189 | -0.34803 | 0 | 0
3 | 0.98646 | -0.25912 | 0 | 0
4 | 0.98965 | -0.19752 | 0 | 0
5 | 0.98624 | -0.26335 | 0.0074666 | 0.0018713
6 | 0.98124 | -0.36083 | 0.038248 | 0.009586
7 | 0.99472 | -0.10022 | 0.011275 | 0.0028258
8 | 0.99305 | -0.13211 | 0 | 0
9 | 0.99405 | -0.11311 | 0 | 0
10 | 0.99132 | -0.1651 | 0.019056 | 0.0047758
11 | 0.98979 | -0.19535 | 0.072435 | 0.018154
12 | 0.9965 | -0.066345 | 0.038375 | 0.0096178
13 | 0.98545 | -0.27803 | 0 | 0
14 | 0.98519 | -0.28314 | 0.026656 | 0.0066807
15 | 0.98234 | -0.33808 | 0 | 0
16 | 0.98699 | -0.24833 | 0.025608 | 0.006418
17 | 0.98956 | -0.19889 | 0 | 0
18 | 0.9883 | -0.22317 | 0 | 0
19 | 0.99025 | -0.18569 | 0.0039152 | 0.00098123
20 | 0.97356 | -0.50985 | 0 | 0
21 | 0.97464 | -0.48865 | 0 | 0
22 | 0.97206 | -0.53954 | 0.045315 | 0.011357
23 | 0.97954 | -0.39261 | 0.02489 | 0.006238
24 | 0.99104 | -0.17247 | 0 | 0
25 | 0.99101 | -0.17316 | 0.0023506 | 0.00058911
26 | 0.99128 | -0.16788 | 0.011161 | 0.0027972
27 | 0.98608 | -0.26659 | 0 | 0
28 | 0.98605 | -0.26702 | 0 | 0
29 | 0.98603 | -0.26756 | 0.0067278 | 0.0016861
30 | 1 | 0 | -0.49707 | -0.12661
31 | 0.98789 | -0.23227 | 0.025035 | 0.0062744
32 | 0.9743 | -0.49532 | 0 | 0
33 | 0.97314 | -0.51817 | 0.021786 | 0.0054601
34 | 0.97424 | -0.49645 | 0 | 0
35 | 0.99098 | -0.17365 | 0.0013966 | 0.00035002
36 | 0.99211 | -0.1517 | 0 | 0
37 | 0.99311 | -0.13231 | 0.074376 | 0.01864
38 | 0.99208 | -0.15237 | 0 | 0
39 | 0.97406 | -0.49994 | 0.018104 | 0.0045373
40 | 0.99204 | -0.15301 | 0 | 0
41 | 0.99196 | -0.15472 | 0.0011031 | 0.00027647
42 | 0.99199 | -0.15413 | 0.001333 | 0.00033407
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012441 | -0.0031181 | 0.012447 | 0.0031211 | 5.5034e-06 | 3.004e-06 | 0.018893 | 0.018893 | 0.018893 | 0.9799 | -0.38699 | 0.98038 | -0.37771 | 5.1903
1 | -0.012447 | -0.0031211 | 0.012465 | 0.0031308 | 1.7629e-05 | 9.619e-06 | 0.018893 | 0.018892 | 0.018893 | 0.98038 | -0.37771 | 0.98189 | -0.34803 | 5.1903
2 | 0.038272 | 0.0096007 | -0.038248 | -0.009586 | 2.3348e-05 | 1.4709e-05 | 0.058002 | 0.058003 | 0.058003 | 0.98189 | -0.34803 | 0.98124 | -0.36083 | 15.9348
3 | -0.050736 | -0.012731 | 0.050952 | 0.012868 | 0.00021609 | 0.00013706 | 0.076894 | 0.076894 | 0.076894 | 0.98189 | -0.34803 | 0.98646 | -0.25912 | 21.1249
4 | -0.065151 | -0.016428 | 0.065344 | 0.016551 | 0.00019272 | 0.00012266 | 0.098312 | 0.098312 | 0.098312 | 0.98646 | -0.25912 | 0.98965 | -0.19752 | 27.0088
5 | 0.014199 | 0.0035595 | -0.014196 | -0.0035579 | 2.8587e-06 | 1.6175e-06 | 0.021418 | 0.021418 | 0.021418 | 0.98646 | -0.25912 | 0.98624 | -0.26335 | 5.8841
6 | -0.065344 | -0.016551 | 0.065651 | 0.016746 | 0.00030689 | 0.00019532 | 0.098312 | 0.098312 | 0.098312 | 0.98965 | -0.19752 | 0.99472 | -0.10022 | 27.0088
7 | 0.0067292 | 0.0016866 | -0.0067281 | -0.0016862 | 1.0398e-06 | 3.2226e-07 | 0.010153 | 0.010153 | 0.010153 | 0.98624 | -0.26335 | 0.98608 | -0.26659 | 2.7893
8 | -0.076926 | -0.019572 | 0.077299 | 0.01981 | 0.00037354 | 0.00023808 | 0.11518 | 0.11518 | 0.11518 | 0.99472 | -0.10022 | 1 | 0 | 31.6423
9 | -0.18765 | -0.047919 | 0.18782 | 0.048029 | 0.00017246 | 0.0001097 | 0.2815 | 0.2815 | 0.2815 | 0.99305 | -0.13211 | 0.99405 | -0.11311 | 25.778
10 | 0.18765 | 0.047919 | -0.18735 | -0.047729 | 0.0002987 | 0.00019 | 0.2815 | 0.2815 | 0.2815 | 0.99305 | -0.13211 | 0.99132 | -0.1651 | 25.7781
11 | 0.097898 | 0.024701 | -0.097514 | -0.024455 | 0.00038385 | 0.00024505 | 0.1466 | 0.1466 | 0.1466 | 0.99405 | -0.11311 | 0.98979 | -0.19535 | 40.276
12 | -0.28572 | -0.072729 | 0.28637 | 0.073141 | 0.00064587 | 0.00041226 | 0.4281 | 0.4281 | 0.4281 | 0.99405 | -0.11311 | 0.9965 | -0.066345 | 39.2033
13 | 0.1683 | 0.042953 | -0.16813 | -0.042847 | 0.00016726 | 0.00010624 | 0.25289 | 0.25289 | 0.25289 | 0.99132 | -0.1651 | 0.99025 | -0.18569 | 23.1588
14 | 0.025079 | 0.0063015 | -0.025035 | -0.0062744 | 4.4115e-05 | 2.7172e-05 | 0.037709 | 0.037709 | 0.037709 | 0.98979 | -0.19535 | 0.98789 | -0.23227 | 10.3596
15 | -0.32474 | -0.082759 | 0.32578 | 0.083425 | 0.0010434 | 0.00066636 | 0.4854 | 0.4854 | 0.4854 | 0.9965 | -0.066345 | 1 | 0 | 44.4508
16 | 0.026663 | 0.0066847 | -0.026656 | -0.0066807 | 6.4924e-06 | 4.0191e-06 | 0.040261 | 0.040261 | 0.040261 | 0.98545 | -0.27803 | 0.98519 | -0.28314 | 11.0608
17 | 0.11125 | 0.028324 | -0.11093 | -0.028122 | 0.00032112 | 0.00020206 | 0.16814 | 0.16815 | 0.16815 | 0.98545 | -0.27803 | 0.98234 | -0.33808 | 15.3979
18 | -0.13791 | -0.035008 | 0.13811 | 0.035133 | 0.00019739 | 0.00012494 | 0.2084 | 0.2084 | 0.2084 | 0.98545 | -0.27803 | 0.98699 | -0.24833 | 19.0847
19 | 0.11093 | 0.028122 | -0.11064 | -0.027937 | 0.00028993 | 0.00018418 | 0.16815 | 0.16815 | 0.16815 | 0.98234 | -0.33808 | 0.97954 | -0.39261 | 23.0969
20 | -0.16372 | -0.041551 | 0.16392 | 0.041677 | 0.00019839 | 0.00012597 | 0.24701 | 0.24701 | 0.24701 | 0.98699 | -0.24833 | 0.9883 | -0.22317 | 22.6201
21 | 0.16411 | 0.041799 | -0.16392 | -0.041677 | 0.00019198 | 0.0001219 | 0.24701 | 0.24701 | 0.24701 | 0.98956 | -0.19889 | 0.9883 | -0.22317 | 22.6201
22 | -0.16411 | -0.041799 | 0.16421 | 0.041866 | 0.00010452 | 6.6363e-05 | 0.24701 | 0.24701 | 0.24701 | 0.98956 | -0.19889 | 0.99025 | -0.18569 | 22.6201
23 | -0.045379 | -0.011398 | 0.045425 | 0.011427 | 4.5967e-05 | 2.9101e-05 | 0.069367 | 0.069367 | 0.069367 | 0.97356 | -0.50985 | 0.97464 | -0.48865 | 19.057
24 | 0.045379 | 0.011398 | -0.045315 | -0.011357 | 6.4177e-05 | 4.0632e-05 | 0.069367 | 0.069368 | 0.069368 | 0.97356 | -0.50985 | 0.97206 | -0.53954 | 19.057
25 | -0.085355 | -0.021449 | 0.085749 | 0.0217 | 0.00039326 | 0.00025091 | 0.13034 | 0.13034 | 0.13034 | 0.97464 | -0.48865 | 0.97954 | -0.39261 | 35.8066
26 | 0.018114 | 0.0045431 | -0.018107 | -0.0045391 | 6.7321e-06 | 4.0162e-06 | 0.027656 | 0.027656 | 0.027656 | 0.97464 | -0.48865 | 0.97424 | -0.49645 | 7.5979
27 | 0.021817 | 0.0054788 | -0.02181 | -0.0054746 | 6.9393e-06 | 4.2334e-06 | 0.033312 | 0.033313 | 0.033313 | 0.97464 | -0.48865 | 0.9743 | -0.49532 | 9.1518
28 | 0.0037473 | 0.00093884 | -0.0037472 | -0.00093889 | 1.2352e-07 | -5.5017e-08 | 0.0056264 | 0.0056264 | 0.0056264 | 0.99104 | -0.17247 | 0.99101 | -0.17316 | 1.5457
29 | -0.0037473 | -0.00093884 | 0.0037481 | 0.00093847 | 8.185e-07 | -3.6486e-07 | 0.0056264 | 0.0056261 | 0.0056264 | 0.99104 | -0.17247 | 0.99128 | -0.16788 | 1.5457
30 | 0.0013966 | 0.00034979 | -0.0013966 | -0.00035002 | 3.2702e-08 | -2.3456e-07 | 0.002097 | 0.0020971 | 0.0020971 | 0.99101 | -0.17316 | 0.99098 | -0.17365 | 0.57612
31 | -0.014909 | -0.0037356 | 0.01492 | 0.0037422 | 1.15e-05 | 6.5702e-06 | 0.02238 | 0.022379 | 0.02238 | 0.99128 | -0.16788 | 0.99211 | -0.1517 | 6.1483
32 | 0.0067281 | 0.0016862 | -0.006728 | -0.0016862 | 1.38e-07 | 4.2781e-08 | 0.010153 | 0.010153 | 0.010153 | 0.98608 | -0.26659 | 0.98605 | -0.26702 | 2.7893
33 | 0.006728 | 0.0016862 | -0.0067278 | -0.0016861 | 1.7371e-07 | 5.3854e-08 | 0.010153 | 0.010153 | 0.010153 | 0.98605 | -0.26702 | 0.98603 | -0.26756 | 2.7893
34 | 0.092331 | 0.023373 | -0.091749 | -0.023002 | 0.00058243 | 0.00037168 | 0.13747 | 0.13747 | 0.13747 | 1 | 0 | 0.99311 | -0.13231 | 37.7672
35 | 0.02181 | 0.0054746 | -0.021786 | -0.0054601 | 2.3741e-05 | 1.4484e-05 | 0.033313 | 0.033313 | 0.033313 | 0.9743 | -0.49532 | 0.97314 | -0.51817 | 9.1519
36 | 0.018107 | 0.0045391 | -0.018104 | -0.0045373 | 3.0138e-06 | 1.798e-06 | 0.027656 | 0.027656 | 0.027656 | 0.97424 | -0.49645 | 0.97406 | -0.49994 | 7.5979
37 | 0.0024364 | 0.00060962 | -0.0024363 | -0.00060977 | 7.7523e-08 | -1.5033e-07 | 0.0036539 | 0.0036539 | 0.0036539 | 0.99211 | -0.1517 | 0.99208 | -0.15237 | 1.0038
38 | -0.017357 | -0.0043518 | 0.017373 | 0.0043613 | 1.6057e-05 | 9.4598e-06 | 0.026033 | 0.026033 | 0.026033 | 0.99211 | -0.1517 | 0.99311 | -0.13231 | 7.152
39 | 0.0024363 | 0.00060977 | -0.0024362 | -0.00060992 | 7.4211e-08 | -1.4388e-07 | 0.0036539 | 0.003654 | 0.003654 | 0.99208 | -0.15237 | 0.99204 | -0.15301 | 1.0038
40 | 0.0024362 | 0.00060992 | -0.0024361 | -0.00061017 | 1.2954e-07 | -2.5111e-07 | 0.003654 | 0.0036541 | 0.0036541 | 0.99204 | -0.15301 | 0.99199 | -0.15413 | 1.0039
41 | -0.0011031 | -0.00027647 | 0.0011032 | 0.0002761 | 3.1229e-08 | -3.7265e-07 | 0.0016548 | 0.0016546 | 0.0016548 | 0.99196 | -0.15472 | 0.99199 | -0.15413 | 0.45461

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49707 | 0.12661

## res_load
| p_mw | q_mvar
0 | 0.012441 | 0.0031181
1 | 0.0074666 | 0.0018713
2 | 0.038248 | 0.009586
3 | 0.011275 | 0.0028258
4 | 0.019056 | 0.0047758
5 | 0.072435 | 0.018154
6 | 0.038375 | 0.0096178
7 | 0.026656 | 0.0066807
8 | 0.025608 | 0.006418
9 | 0.0039152 | 0.00098123
10 | 0.045315 | 0.011357
11 | 0.02489 | 0.006238
12 | 0.0023506 | 0.00058911
13 | 0.011161 | 0.0027972
14 | 0.0067278 | 0.0016861
15 | 0.025035 | 0.0062744
16 | 0.021786 | 0.0054601
17 | 0.0013966 | 0.00035002
18 | 0.074376 | 0.01864
19 | 0.018104 | 0.0045373
20 | 0.0011031 | 0.00027647
21 | 0.001333 | 0.00033407

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1