## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-140_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-140_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-140_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-140_0_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_230-140_0_2_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_230-140_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_230-140_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_230-140_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_230-140_0_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_230-140_0_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_230-140_0_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_230-140_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_230-140_0_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_230-140_0_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_230-140_0_2_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_230-140_0_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_230-140_0_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_230-140_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_230-140_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_230-140_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_230-140_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_230-140_0_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_230-140_0_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_230-140_0_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_230-140_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_230-140_0_2_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_230-140_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_230-140_0_2_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_230-140_0_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_230-140_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_230-140_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_230-140_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_230-140_0_2_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_230-140_0_2_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_230-140_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_230-140_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_230-140_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_230-140_0_2_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_230-140_0_2_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_230-140_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_230-140_0_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_230-140_0_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_230-140_0_2_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_230-140_0_2_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_230-140_0_2_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_230-140_0_2_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_230-140_0_2_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_230-140_0_2_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_230-140_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_230-140_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-140_0_2_load_0 | 0 | 0.0012807 | 0.00032097 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-140_0_2_load_1 | 1 | 0.0013105 | 0.00032845 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-140_0_2_load_12 | 3 | 0.00079094 | 0.00019823 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-140_0_2_load_11 | 4 | 0.00070447 | 0.00017656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-140_0_2_load_5 | 5 | 0.0019209 | 0.00048142 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-140_0_2_load_9 | 7 | 0.0018446 | 0.00046231 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-140_0_2_load_10 | 8 | 0.001495 | 0.00037469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-140_0_2_load_13 | 9 | 0.0009607 | 0.00024078 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-140_0_2_load_15 | 10 | 0.00094943 | 0.00023795 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-140_0_2_load_14 | 11 | 0.00097727 | 0.00024493 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-140_0_2_load_28 | 14 | 0.0020893 | 0.00052363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-140_0_2_load_29 | 15 | 0.001623 | 0.00040675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-140_0_2_load_18 | 16 | 0.0039319 | 0.00098542 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-140_0_2_load_21 | 18 | 0.0007173 | 0.00017977 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-140_0_2_load_25 | 20 | 0.00077245 | 0.00019359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-140_0_2_load_26 | 21 | 0.00036337 | 9.1069e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-140_0_2_load_23 | 22 | 0.00072822 | 0.00018251 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-140_0_2_load_32 | 23 | 0.00076797 | 0.00019247 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-140_0_2_load_40 | 25 | 0.00088238 | 0.00022114 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-140_0_2_load_39 | 26 | 0.00073525 | 0.00018427 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-140_0_2_load_33 | 27 | 0.00077085 | 0.00019319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-140_0_2_load_41 | 31 | 0.0014144 | 0.00035447 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-140_0_2_load_38 | 32 | 0.00074053 | 0.00018559 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-140_0_2_load_57 | 33 | 0.00036371 | 9.1153e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-140_0_2_load_34 | 34 | 0.00080051 | 0.00020063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-140_0_2_load_35 | 35 | 0.00062307 | 0.00015616 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-140_0_2_load_37 | 36 | 0.00067694 | 0.00016966 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-140_0_2_load_45 | 39 | 0.0024963 | 0.00062563 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-140_0_2_load_56 | 41 | 0.00089831 | 0.00022514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-140_0_2_load_49 | 42 | 0.0017118 | 0.00042902 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-140_0_2_load_48 | 44 | 0.0013397 | 0.00033576 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-140_0_2_load_52 | 46 | 0.00094495 | 0.00023683 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-140_0_2_load_55 | 47 | 0.001199 | 0.00030049 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-140_0_2_load_53 | 48 | 0.00040808 | 0.00010227 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-140_0_2_load_54 | 49 | 0.00062129 | 0.00015571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-140_0_2_line_0 |  | 0 | 1 | 0.0075453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-140_0_2_line_1 |  | 1 | 2 | 0.025007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-140_0_2_line_2 |  | 2 | 3 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-140_0_2_line_3 |  | 3 | 4 | 0.0017574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-140_0_2_line_4 |  | 4 | 6 | 0.043668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-140_0_2_line_5 |  | 5 | 6 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-140_0_2_line_6 |  | 6 | 7 | 0.030463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-140_0_2_line_7 |  | 6 | 8 | 0.028788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-140_0_2_line_8 |  | 7 | 9 | 0.032078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-140_0_2_line_9 |  | 8 | 10 | 0.051325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-140_0_2_line_10 |  | 10 | 11 | 0.033424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-140_0_2_line_11 |  | 11 | 12 | 0.020905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-140_0_2_line_12 |  | 12 | 13 | 0.18821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-140_0_2_line_13 |  | 13 | 14 | 0.36323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-140_0_2_line_14 |  | 14 | 15 | 0.029294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-140_0_2_line_15 |  | 15 | 30 | 0.1376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-140_0_2_line_16 |  | 16 | 17 | 0.038307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-140_0_2_line_17 |  | 17 | 18 | 0.02741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-140_0_2_line_18 |  | 17 | 19 | 0.13264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-140_0_2_line_19 |  | 19 | 20 | 0.043617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-140_0_2_line_20 |  | 19 | 21 | 0.072542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-140_0_2_line_21 |  | 19 | 22 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-140_0_2_line_22 |  | 20 | 23 | 0.043017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-140_0_2_line_23 |  | 23 | 27 | 0.025025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-140_0_2_line_24 |  | 24 | 25 | 0.0081465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-140_0_2_line_25 |  | 24 | 26 | 0.025106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-140_0_2_line_26 |  | 25 | 31 | 0.075898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-140_0_2_line_27 |  | 26 | 32 | 0.0013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-140_0_2_line_28 |  | 27 | 34 | 0.029053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-140_0_2_line_29 |  | 28 | 29 | 0.014222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-140_0_2_line_30 |  | 28 | 30 | 0.08986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-140_0_2_line_31 |  | 29 | 33 | 0.051691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-140_0_2_line_32 |  | 31 | 40 | 0.041828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-140_0_2_line_33 |  | 32 | 36 | 0.022733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-140_0_2_line_34 |  | 33 | 38 | 0.095892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-140_0_2_line_35 |  | 34 | 35 | 0.028399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-140_0_2_line_36 |  | 35 | 36 | 0.02924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-140_0_2_line_37 |  | 37 | 38 | 0.10417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-140_0_2_line_38 |  | 37 | 39 | 0.1419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-140_0_2_line_39 |  | 38 | 40 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-140_0_2_line_40 |  | 39 | 43 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-140_0_2_line_41 |  | 41 | 42 | 0.0072021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-140_0_2_line_42 |  | 42 | 43 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-140_0_2_line_43 |  | 43 | 44 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-140_0_2_line_44 |  | 44 | 45 | 0.012116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-140_0_2_line_45 |  | 45 | 46 | 0.019245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-140_0_2_line_46 |  | 46 | 49 | 0.0029786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-140_0_2_line_47 |  | 47 | 48 | 0.011207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-140_0_2_line_48 |  | 48 | 49 | 0.0083079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-140_0_2_trafo_29 | 0.63 MVA 20/0.4 kV | 50 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2692057.3399 | 1262286.5986 | 2692063.9 | 1262290.3264
1 | 2692078.5368 | 1262276.6169 | 2692075.646 | 1262283.2216 | 2692070.9785 | 1262292.145 | 2692067.9569 | 1262292.6317 | 2692063.9 | 1262290.3264
2 | 2692078.5368 | 1262276.6169 | 2692082.4562 | 1262261.0654 | 2692084.043 | 1262256.6453
3 | 2692084.043 | 1262256.6453 | 2692084.6368 | 1262254.9912
4 | 2692099.3915 | 1262213.8912 | 2692084.6368 | 1262254.9912
5 | 2692099.3915 | 1262213.8912 | 2692088.8232 | 1262224.3128 | 2692086.033 | 1262226.2449
6 | 2692099.3915 | 1262213.8912 | 2692100.6847 | 1262204.4037 | 2692096.2662 | 1262194.9162 | 2692095.8407 | 1262187.4036 | 2692096.0453 | 1262184.5133
7 | 2692099.3915 | 1262213.8912 | 2692112.5674 | 1262204.411 | 2692122.2581 | 1262196.4268
8 | 2692096.0453 | 1262184.5133 | 2692096.4398 | 1262178.9395 | 2692100.0861 | 1262162.0605 | 2692100.0416 | 1262152.8387
9 | 2692122.2581 | 1262196.4268 | 2692125.2307 | 1262193.9776 | 2692152.5592 | 1262155.1587
10 | 2692152.5592 | 1262155.1587 | 2692171.7996 | 1262127.8284
11 | 2692183.8334 | 1262110.7349 | 2692171.7996 | 1262127.8284
12 | 2692183.8334 | 1262110.7349 | 2692219.493 | 1262060.7951 | 2692249.9727 | 1261988.8904 | 2692261.4138 | 1261941.4197
13 | 2692261.4138 | 1261941.4197 | 2692262.6908 | 1261915.6078 | 2692268.1746 | 1261890.1507 | 2692279.7862 | 1261876.1873 | 2692299.0354 | 1261861.4869 | 2692331.5244 | 1261849.2174 | 2692377.1518 | 1261834.2955 | 2692399.9111 | 1261827.4232 | 2692425.3472 | 1261825.2743 | 2692440.2776 | 1261827.5317 | 2692456.6553 | 1261836.0166 | 2692491.5641 | 1261851.1744 | 2692536.9816 | 1261870.389 | 2692551.1606 | 1261877.8384
14 | 2692577.08 | 1261891.4857 | 2692576.7733 | 1261891.2949 | 2692551.1606 | 1261877.8384
15 | 2692706.08 | 1261918.3749 | 2692655.9558 | 1261925.4731 | 2692632.6053 | 1261921.5043 | 2692609.005 | 1261911.3488 | 2692577.08 | 1261891.4857
16 | 2692481.6839 | 1261732.2691 | 2692443.6335 | 1261736.6983
17 | 2692481.6839 | 1261732.2691 | 2692480.8449 | 1261729.0645 | 2692466.4939 | 1261709.7068
18 | 2692611.706 | 1261747.6042 | 2692566.3834 | 1261732.3938 | 2692556.8556 | 1261730.1541 | 2692544.6256 | 1261728.6838 | 2692533.7202 | 1261728.2796 | 2692516.295 | 1261729.408 | 2692481.6839 | 1261732.2691
19 | 2692611.706 | 1261747.6042 | 2692633.4564 | 1261751.3033 | 2692654.6019 | 1261753.6808 | 2692654.8757 | 1261753.7092
20 | 2692611.706 | 1261747.6042 | 2692637.3752 | 1261779.6541 | 2692654.3995 | 1261806.1332
21 | 2692611.706 | 1261747.6042 | 2692612.8178 | 1261735.3229 | 2692612.7414 | 1261734.5688
22 | 2692654.8757 | 1261753.7092 | 2692681.7616 | 1261756.4973 | 2692695.0184 | 1261759.7632 | 2692697.1546 | 1261760.7036
23 | 2692719.2328 | 1261772.3654 | 2692707.8535 | 1261765.4133 | 2692697.1546 | 1261760.7036
24 | 2692842.8252 | 1261821.0635 | 2692850.9425 | 1261821.7521
25 | 2692842.8252 | 1261821.0635 | 2692817.7597 | 1261819.6451
26 | 2692850.9425 | 1261821.7521 | 2692893.0132 | 1261825.3214 | 2692910.3577 | 1261830.2755 | 2692924.5259 | 1261836.8939
27 | 2692817.7597 | 1261819.6451 | 2692816.4221 | 1261819.5694
28 | 2692719.2328 | 1261772.3654 | 2692744.025 | 1261787.5118
29 | 2692809.2462 | 1261906.9945 | 2692795.5091 | 1261910.8265
30 | 2692706.08 | 1261918.3749 | 2692726.2487 | 1261914.777 | 2692795.5091 | 1261910.8265
31 | 2692809.2462 | 1261906.9945 | 2692854.4476 | 1261892.3809 | 2692858.384 | 1261890.9572
32 | 2692963.2274 | 1261852.3238 | 2692951.1273 | 1261849.3201 | 2692924.5259 | 1261836.8939
33 | 2692794.1163 | 1261815.834 | 2692796.5015 | 1261816.8889 | 2692810.4583 | 1261819.2319 | 2692816.4221 | 1261819.5694
34 | 2692948.559 | 1261858.3426 | 2692858.384 | 1261890.9572
35 | 2692744.025 | 1261787.5118 | 2692768.2594 | 1261802.3175
36 | 2692768.2594 | 1261802.3175 | 2692780.5987 | 1261809.856 | 2692794.1163 | 1261815.834
37 | 2692948.559 | 1261858.3426 | 2692926.274 | 1261960.1075
38 | 2692926.274 | 1261960.1075 | 2693007.894 | 1261996.2748 | 2693056.1417 | 1262017.3005
39 | 2692963.2274 | 1261852.3238 | 2692948.559 | 1261858.3426
40 | 2693079.6505 | 1262028.0511 | 2693073.1773 | 1262024.7244 | 2693056.1417 | 1262017.3005
41 | 2693093.3716 | 1262007.9042 | 2693092.4744 | 1262010.9058 | 2693090.3169 | 1262014.356
42 | 2693079.6505 | 1262028.0511 | 2693084.528 | 1262023.6132 | 2693090.3169 | 1262014.356
43 | 2693079.6505 | 1262028.0511 | 2693074.4446 | 1262030.8604 | 2693069.1656 | 1262034.4802 | 2693065.8931 | 1262037.9649 | 2693063.2219 | 1262042.5043 | 2693062.0975 | 1262045.1914
44 | 2693057.42 | 1262056.3686 | 2693062.0975 | 1262045.1914
45 | 2693057.42 | 1262056.3686 | 2693075.3886 | 1262063.2618
46 | 2693078.1696 | 1262064.3287 | 2693075.3886 | 1262063.2618
47 | 2693085.9264 | 1262067.3043 | 2693086.2268 | 1262067.4196 | 2693090.3828 | 1262065.2499 | 2693094.7586 | 1262060.8616
48 | 2693085.9264 | 1262067.3043 | 2693078.1696 | 1262064.3287

## bus_geodata
| x | y | coords
0 | 2692057.3399 | 1262286.5986
1 | 2692063.9 | 1262290.3264
2 | 2692078.5368 | 1262276.6169
3 | 2692084.043 | 1262256.6453
4 | 2692084.6368 | 1262254.9912
5 | 2692086.033 | 1262226.2449
6 | 2692099.3915 | 1262213.8912
7 | 2692096.0453 | 1262184.5133
8 | 2692122.2581 | 1262196.4268
9 | 2692100.0416 | 1262152.8387
10 | 2692152.5592 | 1262155.1587
11 | 2692171.7996 | 1262127.8284
12 | 2692183.8334 | 1262110.7349
13 | 2692261.4138 | 1261941.4197
14 | 2692551.1606 | 1261877.8384
15 | 2692577.08 | 1261891.4857
16 | 2692443.6335 | 1261736.6983
17 | 2692481.6839 | 1261732.2691
18 | 2692466.4939 | 1261709.7068
19 | 2692611.706 | 1261747.6042
20 | 2692654.8757 | 1261753.7092
21 | 2692654.3995 | 1261806.1332
22 | 2692612.7414 | 1261734.5688
23 | 2692697.1546 | 1261760.7036
24 | 2692842.8252 | 1261821.0635
25 | 2692850.9425 | 1261821.7521
26 | 2692817.7597 | 1261819.6451
27 | 2692719.2328 | 1261772.3654
28 | 2692795.5091 | 1261910.8265
29 | 2692809.2462 | 1261906.9945
30 | 2692706.08 | 1261918.3749
31 | 2692924.5259 | 1261836.8939
32 | 2692816.4221 | 1261819.5694
33 | 2692858.3839 | 1261890.9572
34 | 2692744.025 | 1261787.5118
35 | 2692768.2594 | 1261802.3175
36 | 2692794.1163 | 1261815.834
37 | 2692926.274 | 1261960.1075
38 | 2692948.559 | 1261858.3426
39 | 2693056.1417 | 1262017.3005
40 | 2692963.2274 | 1261852.3238
41 | 2693093.3716 | 1262007.9042
42 | 2693090.3169 | 1262014.356
43 | 2693079.6505 | 1262028.0511
44 | 2693062.0975 | 1262045.1914
45 | 2693057.42 | 1262056.3686
46 | 2693075.3886 | 1262063.2618
47 | 2693094.7586 | 1262060.8616
48 | 2693085.9264 | 1262067.3043
49 | 2693078.1696 | 1262064.3287
50 | 2692577.08 | 1261891.4857

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99187 | -0.15651 | 0.0012807 | 0.00032097
1 | 0.99188 | -0.15634 | 0.0013105 | 0.00032845
2 | 0.99194 | -0.15519 | 0 | 0
3 | 0.99199 | -0.15424 | 0.00079094 | 0.00019823
4 | 0.992 | -0.15413 | 0.00070447 | 0.00017656
5 | 0.99213 | -0.15159 | 0.0019209 | 0.00048142
6 | 0.99216 | -0.15097 | 0 | 0
7 | 0.99208 | -0.15248 | 0.0018446 | 0.00046231
8 | 0.99239 | -0.14647 | 0.001495 | 0.00037469
9 | 0.99205 | -0.15303 | 0.0009607 | 0.00024078
10 | 0.99287 | -0.13711 | 0.00094943 | 0.00023795
11 | 0.99322 | -0.13045 | 0.00097727 | 0.00024493
12 | 0.99345 | -0.12593 | 0 | 0
13 | 0.99556 | -0.085308 | 0 | 0
14 | 0.99962 | -0.0073312 | 0.0020893 | 0.00052363
15 | 1 | 0 | -0.040218 | -0.0097665
16 | 0.98725 | -0.24577 | 0.0039319 | 0.00098542
17 | 0.98739 | -0.24308 | 0 | 0
18 | 0.98737 | -0.24343 | 0.0007173 | 0.00017977
19 | 0.98796 | -0.23205 | 0 | 0
20 | 0.98819 | -0.22757 | 0.00077245 | 0.00019359
21 | 0.98793 | -0.23252 | 0.00036337 | 9.1069e-05
22 | 0.98795 | -0.23222 | 0.00072822 | 0.00018251
23 | 0.98844 | -0.22256 | 0.00076797 | 0.00019247
24 | 0.9898 | -0.19612 | 0 | 0
25 | 0.98989 | -0.19443 | 0.00088238 | 0.00022114
26 | 0.98953 | -0.20132 | 0.00073525 | 0.00018427
27 | 0.98861 | -0.21931 | 0.00077085 | 0.00019319
28 | 0.99501 | -0.095434 | 0 | 0
29 | 0.9947 | -0.10143 | 0 | 0
30 | 0.99698 | -0.057622 | 0 | 0
31 | 0.99076 | -0.17753 | 0.0014144 | 0.00035447
32 | 0.98952 | -0.20158 | 0.00074053 | 0.00018559
33 | 0.99357 | -0.12326 | 0.00036371 | 9.1153e-05
34 | 0.98882 | -0.21513 | 0.00080051 | 0.00020063
35 | 0.98906 | -0.21064 | 0.00062307 | 0.00015616
36 | 0.98931 | -0.2057 | 0.00067694 | 0.00016966
37 | 0.99058 | -0.18107 | 0 | 0
38 | 0.9915 | -0.16327 | 0 | 0
39 | 0.98933 | -0.20537 | 0.0024963 | 0.00062563
40 | 0.99129 | -0.16718 | 0 | 0
41 | 0.98911 | -0.20958 | 0.00089831 | 0.00022514
42 | 0.98912 | -0.20946 | 0.0017118 | 0.00042902
43 | 0.98916 | -0.20865 | 0 | 0
44 | 0.98905 | -0.21068 | 0.0013397 | 0.00033576
45 | 0.98902 | -0.21137 | 0 | 0
46 | 0.98896 | -0.21246 | 0.00094495 | 0.00023683
47 | 0.98893 | -0.21305 | 0.001199 | 0.00030049
48 | 0.98894 | -0.21281 | 0.00040808 | 0.00010227
49 | 0.98896 | -0.21257 | 0.00062129 | 0.00015571
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012807 | -0.00032097 | 0.0012807 | 0.00032088 | 1.0444e-08 | -9.0703e-08 | 0.0019213 | 0.0019212 | 0.0019213 | 0.99187 | -0.15651 | 0.99188 | -0.15634 | 0.52783
1 | -0.0025912 | -0.00064933 | 0.0025914 | 0.0006491 | 1.417e-07 | -2.321e-07 | 0.0038873 | 0.0038872 | 0.0038873 | 0.99188 | -0.15634 | 0.99194 | -0.15519 | 1.0679
2 | -0.0025914 | -0.0006491 | 0.0025915 | 0.0006489 | 1.1748e-07 | -1.9247e-07 | 0.0038872 | 0.0038871 | 0.0038872 | 0.99194 | -0.15519 | 0.99199 | -0.15424 | 1.0679
3 | -0.0033824 | -0.00084713 | 0.0033824 | 0.00084712 | 1.6964e-08 | -1.1832e-08 | 0.0050735 | 0.0050735 | 0.0050735 | 0.99199 | -0.15424 | 0.992 | -0.15413 | 1.3938
4 | -0.0040869 | -0.0010237 | 0.0040875 | 0.0010235 | 6.1538e-07 | -1.7001e-07 | 0.0061303 | 0.0061301 | 0.0061303 | 0.992 | -0.15413 | 0.99216 | -0.15097 | 1.6841
5 | -0.0019209 | -0.00048142 | 0.001921 | 0.00048122 | 5.6761e-08 | -1.9918e-07 | 0.002881 | 0.0028809 | 0.002881 | 0.99213 | -0.15159 | 0.99216 | -0.15097 | 0.79149
6 | 0.0028056 | 0.00070242 | -0.0028054 | -0.00070269 | 2.0224e-07 | -2.6395e-07 | 0.0042075 | 0.0042076 | 0.0042076 | 0.99216 | -0.15097 | 0.99208 | -0.15248 | 1.1559
7 | -0.0088141 | -0.0022072 | 0.008816 | 0.002208 | 1.8863e-06 | 8.3535e-07 | 0.013218 | 0.013218 | 0.013218 | 0.99216 | -0.15097 | 0.99239 | -0.14647 | 3.6315
8 | 0.00096073 | 0.00024038 | -0.0009607 | -0.00024077 | 2.4976e-08 | -3.9821e-07 | 0.0014408 | 0.001441 | 0.001441 | 0.99208 | -0.15248 | 0.99205 | -0.15303 | 0.39588
9 | -0.010311 | -0.0025827 | 0.010316 | 0.002585 | 4.6002e-06 | 2.2807e-06 | 0.01546 | 0.01546 | 0.01546 | 0.99239 | -0.14647 | 0.99287 | -0.13711 | 4.2473
10 | -0.011265 | -0.0028229 | 0.011269 | 0.0028248 | 3.5724e-06 | 1.8539e-06 | 0.016883 | 0.016883 | 0.016883 | 0.99287 | -0.13711 | 0.99322 | -0.13045 | 4.6381
11 | -0.012246 | -0.0030697 | 0.012248 | 0.0030711 | 2.6387e-06 | 1.4181e-06 | 0.018347 | 0.018347 | 0.018347 | 0.99322 | -0.13045 | 0.99345 | -0.12593 | 5.0403
12 | -0.012248 | -0.0030711 | 0.012272 | 0.0030839 | 2.3755e-05 | 1.2761e-05 | 0.018347 | 0.018346 | 0.018347 | 0.99345 | -0.12593 | 0.99556 | -0.085308 | 5.0403
13 | -0.012272 | -0.0030839 | 0.012318 | 0.0031085 | 4.584e-05 | 2.4595e-05 | 0.018346 | 0.018344 | 0.018346 | 0.99556 | -0.085308 | 0.99962 | -0.0073312 | 5.04
14 | -0.014407 | -0.0036321 | 0.014412 | 0.0036349 | 5.0562e-06 | 2.8518e-06 | 0.021454 | 0.021454 | 0.021454 | 0.99962 | -0.0073312 | 1 | 0 | 5.894
15 | 0.024155 | 0.0061314 | -0.024088 | -0.0060905 | 6.6766e-05 | 4.0931e-05 | 0.035971 | 0.035971 | 0.035971 | 1 | 0 | 0.99698 | -0.057622 | 9.8822
16 | -0.0039319 | -0.00098541 | 0.0039324 | 0.00098524 | 5.045e-07 | -1.6702e-07 | 0.0059262 | 0.0059261 | 0.0059262 | 0.98725 | -0.24577 | 0.98739 | -0.24308 | 1.6281
17 | 0.00071731 | 0.00017943 | -0.0007173 | -0.00017977 | 1.201e-08 | -3.4289e-07 | 0.0010809 | 0.001081 | 0.001081 | 0.98739 | -0.24308 | 0.98737 | -0.24343 | 0.29698
18 | -0.0046497 | -0.0011647 | 0.0046521 | 0.0011645 | 2.4418e-06 | -1.3469e-07 | 0.0070069 | 0.0070063 | 0.0070069 | 0.98739 | -0.24308 | 0.98796 | -0.23205 | 1.925
19 | -0.0057437 | -0.001437 | 0.005745 | 0.0014373 | 1.2238e-06 | 2.2459e-07 | 0.0086501 | 0.0086499 | 0.0086501 | 0.98796 | -0.23205 | 0.98819 | -0.22757 | 2.3764
20 | 0.00036338 | 9.0145e-05 | -0.00036337 | -9.1069e-05 | 8.1437e-09 | -9.2368e-07 | 0.00054698 | 0.00054731 | 0.00054731 | 0.98796 | -0.23205 | 0.98793 | -0.23252 | 0.15036
21 | 0.00072823 | 0.00018234 | -0.00072822 | -0.00018251 | 5.9048e-09 | -1.6383e-07 | 0.0010968 | 0.0010968 | 0.0010968 | 0.98796 | -0.23205 | 0.98795 | -0.23222 | 0.30133
22 | -0.0065174 | -0.0016308 | 0.006519 | 0.0016313 | 1.5534e-06 | 4.4291e-07 | 0.009813 | 0.0098128 | 0.009813 | 0.98819 | -0.22757 | 0.98844 | -0.22256 | 2.6959
23 | -0.0072869 | -0.0018238 | 0.0072881 | 0.0018242 | 1.1291e-06 | 4.018e-07 | 0.010969 | 0.010969 | 0.010969 | 0.98844 | -0.22256 | 0.98861 | -0.21931 | 3.0134
24 | -0.011646 | -0.0029188 | 0.011647 | 0.0029193 | 9.3642e-07 | 4.9459e-07 | 0.017508 | 0.017508 | 0.017508 | 0.9898 | -0.19612 | 0.98989 | -0.19443 | 4.8099
25 | 0.011646 | 0.0029188 | -0.011643 | -0.0029173 | 2.8858e-06 | 1.5243e-06 | 0.017508 | 0.017508 | 0.017508 | 0.9898 | -0.19612 | 0.98953 | -0.20132 | 4.8099
26 | -0.012529 | -0.0031404 | 0.012539 | 0.0031459 | 1.0096e-05 | 5.4849e-06 | 0.018834 | 0.018834 | 0.018834 | 0.98989 | -0.19443 | 0.99076 | -0.17753 | 5.1743
27 | 0.010908 | 0.002733 | -0.010908 | -0.0027329 | 1.3517e-07 | 6.93e-08 | 0.016402 | 0.016402 | 0.016402 | 0.98953 | -0.20132 | 0.98952 | -0.20158 | 4.5062
28 | -0.0080589 | -0.0020174 | 0.0080605 | 0.002018 | 1.6028e-06 | 6.5317e-07 | 0.012129 | 0.012129 | 0.012129 | 0.98861 | -0.21931 | 0.98882 | -0.21513 | 3.3322
29 | 0.024045 | 0.0060638 | -0.024038 | -0.0060595 | 6.901e-06 | 4.232e-06 | 0.035972 | 0.035972 | 0.035972 | 0.99501 | -0.095434 | 0.9947 | -0.10143 | 9.8823
30 | -0.024045 | -0.0060638 | 0.024088 | 0.0060905 | 4.3603e-05 | 2.6736e-05 | 0.035972 | 0.035971 | 0.035972 | 0.99501 | -0.095434 | 0.99698 | -0.057622 | 9.8823
31 | 0.024038 | 0.0060595 | -0.024013 | -0.0060442 | 2.5082e-05 | 1.5383e-05 | 0.035972 | 0.035972 | 0.035972 | 0.9947 | -0.10143 | 0.99357 | -0.12326 | 9.8824
32 | -0.013954 | -0.0035004 | 0.013961 | 0.0035043 | 6.8897e-06 | 3.8705e-06 | 0.020958 | 0.020958 | 0.020958 | 0.99076 | -0.17753 | 0.99129 | -0.16718 | 5.7577
33 | 0.010167 | 0.0025473 | -0.010165 | -0.0025463 | 1.9927e-06 | 9.8338e-07 | 0.015289 | 0.015289 | 0.015289 | 0.98952 | -0.20158 | 0.98931 | -0.2057 | 4.2003
34 | 0.023649 | 0.005953 | -0.023604 | -0.0059254 | 4.5133e-05 | 2.7646e-05 | 0.035427 | 0.035428 | 0.035428 | 0.99357 | -0.12326 | 0.9915 | -0.16327 | 9.7329
35 | -0.008861 | -0.0022186 | 0.0088629 | 0.0022195 | 1.8933e-06 | 8.4736e-07 | 0.013334 | 0.013333 | 0.013334 | 0.98882 | -0.21513 | 0.98906 | -0.21064 | 3.6631
36 | -0.009486 | -0.0023756 | 0.0094882 | 0.0023767 | 2.2331e-06 | 1.0538e-06 | 0.014271 | 0.014271 | 0.014271 | 0.98906 | -0.21064 | 0.98931 | -0.2057 | 3.9206
37 | -0.0096325 | -0.0024157 | 0.0096407 | 0.0024196 | 8.1794e-06 | 3.8925e-06 | 0.01447 | 0.01447 | 0.01447 | 0.99058 | -0.18107 | 0.9915 | -0.16327 | 3.9753
38 | 0.0096325 | 0.0024157 | -0.0096214 | -0.0024104 | 1.1143e-05 | 5.307e-06 | 0.01447 | 0.014471 | 0.014471 | 0.99058 | -0.18107 | 0.98933 | -0.20537 | 3.9755
39 | 0.013963 | 0.0035057 | -0.013961 | -0.0035043 | 2.6049e-06 | 1.4632e-06 | 0.020958 | 0.020958 | 0.020958 | 0.9915 | -0.16327 | 0.99129 | -0.16718 | 5.7577
40 | 0.0071251 | 0.0017848 | -0.007124 | -0.0017844 | 1.1137e-06 | 3.8075e-07 | 0.010716 | 0.010716 | 0.010716 | 0.98933 | -0.20537 | 0.98916 | -0.20865 | 2.9441
41 | -0.00089831 | -0.00022514 | 0.00089832 | 0.00022505 | 4.9325e-09 | -8.9284e-08 | 0.0013514 | 0.0013514 | 0.0013514 | 0.98911 | -0.20958 | 0.98912 | -0.20946 | 0.37127
42 | -0.0026101 | -0.00065407 | 0.0026102 | 0.00065391 | 1.0125e-07 | -1.5999e-07 | 0.0039266 | 0.0039265 | 0.0039266 | 0.98912 | -0.20946 | 0.98916 | -0.20865 | 1.0787
43 | 0.0045137 | 0.0011305 | -0.0045133 | -0.0011306 | 4.37e-07 | -4.4747e-08 | 0.0067899 | 0.00679 | 0.00679 | 0.98916 | -0.20865 | 0.98905 | -0.21068 | 1.8654
44 | 0.0031736 | 0.0007948 | -0.0031735 | -0.00079489 | 1.0357e-07 | -8.9206e-08 | 0.0047744 | 0.0047745 | 0.0047745 | 0.98905 | -0.21068 | 0.98902 | -0.21137 | 1.3117
45 | 0.0031735 | 0.00079489 | -0.0031733 | -0.00079503 | 1.6452e-07 | -1.4167e-07 | 0.0047745 | 0.0047745 | 0.0047745 | 0.98902 | -0.21137 | 0.98896 | -0.21246 | 1.3117
46 | 0.0022284 | 0.00055821 | -0.0022284 | -0.00055824 | 1.2556e-08 | -3.0183e-08 | 0.0033528 | 0.0033528 | 0.0033528 | 0.98896 | -0.21246 | 0.98896 | -0.21257 | 0.92109
47 | -0.001199 | -0.00030049 | 0.001199 | 0.00030035 | 1.3678e-08 | -1.3504e-07 | 0.001804 | 0.001804 | 0.001804 | 0.98893 | -0.21305 | 0.98894 | -0.21281 | 0.49562
48 | -0.001607 | -0.00040262 | 0.0016071 | 0.00040253 | 1.8215e-08 | -9.4941e-08 | 0.002418 | 0.002418 | 0.002418 | 0.98894 | -0.21281 | 0.98896 | -0.21257 | 0.66429

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.041841 | 0.010173

## res_load
| p_mw | q_mvar
0 | 0.0012807 | 0.00032097
1 | 0.0013105 | 0.00032845
2 | 0.00079094 | 0.00019823
3 | 0.00070447 | 0.00017656
4 | 0.0019209 | 0.00048142
5 | 0.0018446 | 0.00046231
6 | 0.001495 | 0.00037469
7 | 0.0009607 | 0.00024078
8 | 0.00094943 | 0.00023795
9 | 0.00097727 | 0.00024493
10 | 0.0020893 | 0.00052363
11 | 0.001623 | 0.00040675
12 | 0.0039319 | 0.00098542
13 | 0.0007173 | 0.00017977
14 | 0.00077245 | 0.00019359
15 | 0.00036337 | 9.1069e-05
16 | 0.00072822 | 0.00018251
17 | 0.00076797 | 0.00019247
18 | 0.00088238 | 0.00022114
19 | 0.00073525 | 0.00018427
20 | 0.00077085 | 0.00019319
21 | 0.0014144 | 0.00035447
22 | 0.00074053 | 0.00018559
23 | 0.00036371 | 9.1153e-05
24 | 0.00080051 | 0.00020063
25 | 0.00062307 | 0.00015616
26 | 0.00067694 | 0.00016966
27 | 0.0024963 | 0.00062563
28 | 0.00089831 | 0.00022514
29 | 0.0017118 | 0.00042902
30 | 0.0013397 | 0.00033576
31 | 0.00094495 | 0.00023683
32 | 0.001199 | 0.00030049
33 | 0.00040808 | 0.00010227
34 | 0.00062129 | 0.00015571

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1