## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-141_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-141_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-141_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-141_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-141_0_2_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_230-141_0_2_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_230-141_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_230-141_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_230-141_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_230-141_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_230-141_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_230-141_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_230-141_0_2_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_230-141_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_230-141_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_230-141_0_2_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_230-141_0_2_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_230-141_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_230-141_0_2_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_230-141_0_2_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_230-141_0_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_230-141_0_2_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_230-141_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_230-141_0_2_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_230-141_0_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_230-141_0_2_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_230-141_0_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_230-141_0_2_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_230-141_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_230-141_0_2_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_230-141_0_2_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_230-141_0_2_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_230-141_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_230-141_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_230-141_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_230-141_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_230-141_0_2_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_230-141_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_230-141_0_2_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_230-141_0_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_230-141_0_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_230-141_0_2_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_230-141_0_2_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_230-141_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_230-141_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_230-141_0_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_230-141_0_2_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_230-141_0_2_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_230-141_0_2_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_230-141_0_2_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_230-141_0_2_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_230-141_0_2_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_230-141_0_2_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_230-141_0_2_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_230-141_0_2_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_230-141_0_2_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_230-141_0_2_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_230-141_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_230-141_0_2_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_230-141_0_2_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_230-141_0_2_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_230-141_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_230-141_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_230-141_0_2_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_230-141_0_2_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_230-141_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_230-141_0_2_node_64 | 0.4 | n |  | TRUE
67 | bus_MV_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-141_0_2_load_0 | 0 | 0.0013584 | 0.00034044 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-141_0_2_load_1 | 1 | 0.0011875 | 0.00029762 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-141_0_2_load_2 | 2 | 0.00026014 | 6.5196e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-141_0_2_load_3 | 3 | 0.001763 | 0.00044185 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-141_0_2_load_31 | 4 | 0.00028467 | 7.1345e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-141_0_2_load_4 | 6 | 0.0011884 | 0.00029784 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-141_0_2_load_5 | 7 | 0.0011256 | 0.00028209 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-141_0_2_load_7 | 9 | 0.0046756 | 0.0011718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-141_0_2_load_71 | 12 | 0.0015293 | 0.00038328 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-141_0_2_load_41 | 15 | 0.0011751 | 0.00029452 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-141_0_2_load_72 | 16 | 0.00026452 | 6.6295e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-141_0_2_load_25 | 19 | 0.0021633 | 0.00054217 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-141_0_2_load_52 | 21 | 0.0018679 | 0.00046814 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-141_0_2_load_42 | 23 | 0.0011616 | 0.00029113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-141_0_2_load_32 | 25 | 0.00045304 | 0.00011354 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-141_0_2_load_27 | 26 | 0.00037645 | 9.4348e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-141_0_2_load_62 | 27 | 0.00014227 | 3.5656e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-141_0_2_load_24 | 28 | 0.0041997 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-141_0_2_load_53 | 29 | 0.00077935 | 0.00019532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-141_0_2_load_47 | 30 | 0.0016364 | 0.00041011 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-141_0_2_load_43 | 31 | 0.0043206 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-141_0_2_load_17 | 32 | 0.00022114 | 5.5423e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-141_0_2_load_18 | 33 | 0.0048699 | 0.0012205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-141_0_2_load_20 | 35 | 0.001138 | 0.00028522 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-141_0_2_load_21 | 36 | 0.00087777 | 0.00021999 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-141_0_2_load_22 | 37 | 0.00025698 | 6.4405e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-141_0_2_load_23 | 38 | 0.00025241 | 6.3261e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-141_0_2_load_39 | 40 | 0.00035517 | 8.9014e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-141_0_2_load_55 | 41 | 0.0004656 | 0.00011669 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-141_0_2_load_46 | 42 | 0.0016341 | 0.00040954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-141_0_2_load_40 | 44 | 0.00010082 | 2.5268e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-141_0_2_load_26 | 46 | 0.00044176 | 0.00011071 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-141_0_2_load_58 | 47 | 0.00067228 | 0.00016849 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-141_0_2_load_63 | 50 | 0.00031786 | 7.9663e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-141_0_2_load_67 | 51 | 0.00030367 | 7.6106e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-141_0_2_load_66 | 52 | 0.0003238 | 8.1151e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-141_0_2_load_34 | 53 | 0.00033802 | 8.4716e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-141_0_2_load_35 | 54 | 0.00016111 | 4.0379e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-141_0_2_load_36 | 55 | 0.0020467 | 0.00051295 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-141_0_2_load_37 | 56 | 0.0001536 | 3.8496e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-141_0_2_load_51 | 57 | 0.0016358 | 0.00040997 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-141_0_2_load_70 | 58 | 0.0016344 | 0.00040962 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-141_0_2_load_49 | 59 | 0.0025165 | 0.0006307 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-141_0_2_load_50 | 60 | 0.0016448 | 0.00041222 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-141_0_2_load_57 | 61 | 0.00019723 | 4.9432e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-141_0_2_load_59 | 62 | 0.00060605 | 0.00015189 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-141_0_2_load_60 | 63 | 0.00034447 | 8.6332e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-141_0_2_load_69 | 64 | 0.00033733 | 8.4543e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-141_0_2_load_68 | 65 | 0.00055277 | 0.00013854 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-141_0_2_load_64 | 66 | 0.00022495 | 5.6378e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-141_0_2_line_0 |  | 0 | 1 | 0.023274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-141_0_2_line_1 |  | 0 | 2 | 0.13326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-141_0_2_line_2 |  | 2 | 3 | 0.015942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-141_0_2_line_3 |  | 3 | 4 | 0.037888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-141_0_2_line_4 |  | 4 | 5 | 0.035051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-141_0_2_line_5 |  | 5 | 25 | 0.18273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-141_0_2_line_6 |  | 5 | 26 | 0.037347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-141_0_2_line_7 |  | 5 | 11 | 0.13974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-141_0_2_line_8 |  | 6 | 7 | 0.0060616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-141_0_2_line_9 |  | 6 | 8 | 0.036533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-141_0_2_line_10 |  | 7 | 9 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-141_0_2_line_11 |  | 8 | 10 | 0.21553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-141_0_2_line_12 |  | 10 | 20 | 0.26018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-141_0_2_line_13 |  | 10 | 21 | 0.069486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-141_0_2_line_14 |  | 11 | 12 | 0.15651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-141_0_2_line_15 |  | 13 | 14 | 0.33331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-141_0_2_line_16 |  | 13 | 15 | 0.023923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-141_0_2_line_17 |  | 14 | 16 | 0.10863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-141_0_2_line_18 |  | 15 | 23 | 0.006621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-141_0_2_line_19 |  | 16 | 20 | 0.18865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-141_0_2_line_20 |  | 17 | 18 | 0.06135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-141_0_2_line_21 |  | 17 | 19 | 0.024804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-141_0_2_line_22 |  | 18 | 27 | 0.16412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-141_0_2_line_23 |  | 19 | 28 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-141_0_2_line_24 |  | 21 | 29 | 0.071563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-141_0_2_line_25 |  | 22 | 23 | 0.019183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-141_0_2_line_26 |  | 22 | 24 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-141_0_2_line_27 |  | 24 | 30 | 0.010019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-141_0_2_line_28 |  | 24 | 31 | 0.0036583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-141_0_2_line_29 |  | 25 | 44 | 0.0051491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-141_0_2_line_30 |  | 26 | 46 | 0.031149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-141_0_2_line_31 |  | 28 | 36 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-141_0_2_line_32 |  | 30 | 58 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-141_0_2_line_33 |  | 31 | 39 | 0.029417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-141_0_2_line_34 |  | 32 | 33 | 0.0054852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-141_0_2_line_35 |  | 32 | 34 | 0.010688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-141_0_2_line_36 |  | 33 | 35 | 0.011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-141_0_2_line_37 |  | 34 | 36 | 0.030949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-141_0_2_line_38 |  | 34 | 37 | 0.01349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-141_0_2_line_39 |  | 34 | 38 | 0.20487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-141_0_2_line_40 |  | 35 | 39 | 0.010959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-141_0_2_line_41 |  | 37 | 40 | 0.035285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-141_0_2_line_42 |  | 38 | 41 | 0.0030937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-141_0_2_line_43 |  | 39 | 42 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-141_0_2_line_44 |  | 39 | 43 | 0.028946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-141_0_2_line_45 |  | 40 | 44 | 0.0079752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-141_0_2_line_46 |  | 41 | 45 | 0.033603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-141_0_2_line_47 |  | 42 | 57 | 0.0021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-141_0_2_line_48 |  | 43 | 55 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-141_0_2_line_49 |  | 45 | 61 | 0.013273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-141_0_2_line_50 |  | 45 | 47 | 0.019486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-141_0_2_line_51 |  | 48 | 49 | 0.004494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-141_0_2_line_52 |  | 48 | 50 | 0.04675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-141_0_2_line_53 |  | 49 | 64 | 0.082575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-141_0_2_line_54 |  | 49 | 63 | 0.033851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-141_0_2_line_55 |  | 50 | 66 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-141_0_2_line_56 |  | 51 | 52 | 0.00037952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-141_0_2_line_57 |  | 52 | 66 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-141_0_2_line_58 |  | 53 | 54 | 0.010881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-141_0_2_line_59 |  | 53 | 55 | 0.035282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-141_0_2_line_60 |  | 54 | 56 | 0.0017128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-141_0_2_line_61 |  | 57 | 59 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-141_0_2_line_62 |  | 59 | 60 | 0.0077041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-141_0_2_line_63 |  | 61 | 62 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-141_0_2_line_64 |  | 62 | 63 | 0.0010956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-141_0_2_line_65 |  | 64 | 65 | 0.024251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-141_0_2_trafo_42 | 0.63 MVA 20/0.4 kV | 67 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2692901.7933 | 1261133.922 | 2692899.2341 | 1261131.1515 | 2692892.2719 | 1261122.4241 | 2692887.4291 | 1261115.6368
1 | 2692901.7933 | 1261133.922 | 2692914.6181 | 1261147.8064 | 2692916.6186 | 1261149.9951 | 2692929.8742 | 1261158.2099 | 2692948.6108 | 1261165.3432 | 2693006.5958 | 1261180.2219 | 2693015.75 | 1261182.779 | 2693021.9148 | 1261184.427
2 | 2693021.9148 | 1261184.427 | 2693037.3164 | 1261188.5444
3 | 2693037.3164 | 1261188.5444 | 2693057.6496 | 1261193.9802 | 2693069.939 | 1261197.0092 | 2693073.914 | 1261198.3129
4 | 2693106.2422 | 1261211.3474 | 2693097.718 | 1261206.1202 | 2693073.914 | 1261198.3129
5 | 2693106.2422 | 1261211.3474 | 2693118.6809 | 1261219.2495 | 2693144.6458 | 1261228.688 | 2693160.4214 | 1261235.742 | 2693172.0583 | 1261244.2988 | 2693180.9467 | 1261252.234 | 2693196.7593 | 1261269.3635 | 2693205.6653 | 1261278.0886 | 2693213.9507 | 1261287.9381 | 2693216.9495 | 1261293.234 | 2693228.737 | 1261314.6925 | 2693235.2702 | 1261330.9337
6 | 2693106.2422 | 1261211.3474 | 2693102.6809 | 1261197.2579 | 2693099.2854 | 1261174.6975
7 | 2693036.1673 | 1261332.1197 | 2693045.7616 | 1261310.0529 | 2693089.3462 | 1261238.1141 | 2693102.3717 | 1261217.3691 | 2693106.2422 | 1261211.3474
8 | 2693115.2885 | 1261915.0562 | 2693114.8983 | 1261921.1052
9 | 2693113.4701 | 1261878.7411 | 2693116.2733 | 1261899.7911 | 2693115.2885 | 1261915.0562
10 | 2693114.8983 | 1261921.1052 | 2693114.1298 | 1261933.0174 | 2693112.4094 | 1261939.6302
11 | 2693113.4701 | 1261878.7411 | 2693142.2658 | 1261834.1141 | 2693151.896 | 1261817.3968 | 2693161.692 | 1261820.2867 | 2693196.8205 | 1261845.7827 | 2693263.994 | 1261904.9333
12 | 2693437.9812 | 1262097.0778 | 2693434.9972 | 1262091.3594 | 2693391.2864 | 1262034.9905 | 2693345.3367 | 1261976.7184 | 2693275.0859 | 1261916.4174 | 2693263.994 | 1261904.9333
13 | 2693263.994 | 1261904.9333 | 2693284.3818 | 1261910.3924 | 2693324.3842 | 1261937.6031
14 | 2693036.1673 | 1261332.1197 | 2693023.2577 | 1261340.2677 | 2692992.0544 | 1261369.2226 | 2692943.7256 | 1261422.3724 | 2692925.6667 | 1261442.23
15 | 2693252.5091 | 1261521.8667 | 2693259.0469 | 1261526.3845 | 2693280.4796 | 1261571.2584 | 2693294.6988 | 1261594.7237 | 2693324.3692 | 1261642.8414 | 2693352.5855 | 1261718.1137 | 2693364.4893 | 1261739.2741 | 2693381.8984 | 1261778.2914 | 2693393.063 | 1261809.0256 | 2693397.0131 | 1261819.9079
16 | 2693252.5091 | 1261521.8667 | 2693253.4569 | 1261513.3748 | 2693249.1647 | 1261498.6073
17 | 2693397.0131 | 1261819.9079 | 2693433.2173 | 1261889.3243 | 2693437.5315 | 1261902.9033 | 2693442.0452 | 1261918.3523
18 | 2693249.1647 | 1261498.6073 | 2693247.3168 | 1261492.2494
19 | 2693437.9812 | 1262097.0778 | 2693445.3346 | 1262088.5649 | 2693461.9795 | 1262060.483 | 2693464.3063 | 1262035.7999 | 2693461.9771 | 1262005.8278 | 2693450.5814 | 1261943.9981 | 2693442.4927 | 1261919.8842 | 2693442.0452 | 1261918.3523
20 | 2693393.839 | 1261443.6666 | 2693354.7899 | 1261425.8138 | 2693337.5586 | 1261418.8919
21 | 2693337.5586 | 1261418.8919 | 2693319.0418 | 1261409.8481 | 2693315.1345 | 1261408.3171
22 | 2693393.839 | 1261443.6666 | 2693419.6631 | 1261445.7093 | 2693457.0375 | 1261459.8331 | 2693481.6952 | 1261467.0062 | 2693509.9372 | 1261471.5005 | 2693546.8722 | 1261476.2216 | 2693553.618 | 1261476.1913
23 | 2693305.5215 | 1261404.5507 | 2693315.1345 | 1261408.3171
24 | 2693368.3196 | 1261938.5615 | 2693372.5897 | 1261944.9229 | 2693372.012 | 1261950.9631 | 2693370.6199 | 1261956.0896 | 2693362.3178 | 1261958.8275 | 2693347.9617 | 1261953.6412 | 2693324.3842 | 1261937.6031
25 | 2693241.9628 | 1261473.8286 | 2693247.3168 | 1261492.2494
26 | 2693241.9628 | 1261473.8286 | 2693239.7003 | 1261454.344
27 | 2693239.7003 | 1261454.344 | 2693244.8932 | 1261462.9119
28 | 2693239.7003 | 1261454.344 | 2693239.2973 | 1261450.7459 | 2693239.3011 | 1261450.7084
29 | 2693237.2154 | 1261335.7011 | 2693236.0252 | 1261332.8108 | 2693235.2702 | 1261330.9337
30 | 2693099.2854 | 1261174.6975 | 2693096.254 | 1261154.5559 | 2693094.1502 | 1261143.9822
31 | 2693305.5215 | 1261404.5507 | 2693290.0418 | 1261398.4855
32 | 2693262.695 | 1261471.8872 | 2693250.7103 | 1261472.5099 | 2693244.8932 | 1261462.9119
33 | 2693245.7981 | 1261422.2588 | 2693240.7987 | 1261435.8242 | 2693239.3011 | 1261450.7084
34 | 2693253.4836 | 1261401.0021 | 2693255.3486 | 1261395.8437 | 2693255.3486 | 1261395.8437
35 | 2693261.314 | 1261386.975 | 2693255.3486 | 1261395.8437
36 | 2693253.4836 | 1261401.0021 | 2693249.5244 | 1261411.9525
37 | 2693261.314 | 1261386.975 | 2693273.8556 | 1261392.1436 | 2693290.0418 | 1261398.4855
38 | 2693261.314 | 1261386.975 | 2693255.962 | 1261378.4616 | 2693254.5502 | 1261375.3313
39 | 2693261.314 | 1261386.975 | 2693272.6836 | 1261378.0582 | 2693281.9695 | 1261372.7226 | 2693296.0034 | 1261370.2419 | 2693303.8462 | 1261370.3879 | 2693317.7311 | 1261372.0971 | 2693329.0813 | 1261373.4884 | 2693341.3425 | 1261375.8837 | 2693363.6781 | 1261381.2405 | 2693399.5477 | 1261387.6117 | 2693414.4734 | 1261386.8801 | 2693436.8951 | 1261387.7348 | 2693439.6761 | 1261388.2014 | 2693459.5463 | 1261391.2132
40 | 2693245.7981 | 1261422.2588 | 2693249.5244 | 1261411.9525
41 | 2693254.5502 | 1261375.3313 | 2693248.5421 | 1261362.0093 | 2693242.5286 | 1261348.6037 | 2693240.2522 | 1261343.0756
42 | 2693462.605 | 1261391.6768 | 2693459.5463 | 1261391.2132
43 | 2693245.7981 | 1261422.2588 | 2693262.9101 | 1261428.0413
44 | 2693245.7981 | 1261422.2588 | 2693216.7982 | 1261420.8785
45 | 2693237.2154 | 1261335.7011 | 2693240.2522 | 1261343.0756
46 | 2693495.8802 | 1261396.3514 | 2693473.0117 | 1261393.2542 | 2693462.605 | 1261391.6768
47 | 2693262.9101 | 1261428.0413 | 2693264.9624 | 1261428.7348
48 | 2693216.7982 | 1261420.8785 | 2693215.6909 | 1261410.3491
49 | 2693495.8802 | 1261396.3514 | 2693506.4872 | 1261397.5533 | 2693509.026 | 1261398.1065
50 | 2693495.8802 | 1261396.3514 | 2693493.6315 | 1261376.9953
51 | 2693560.3996 | 1261391.4563 | 2693564.6438 | 1261389.9444
52 | 2693564.6438 | 1261389.9444 | 2693591.9709 | 1261397.0268 | 2693604.289 | 1261397.2551 | 2693610.1918 | 1261395.3606
53 | 2693560.3996 | 1261391.4563 | 2693617.8169 | 1261418.6419 | 2693636.2054 | 1261423.605
54 | 2693560.3996 | 1261391.4563 | 2693535.7298 | 1261400.2733 | 2693528.0815 | 1261400.541
55 | 2693610.1918 | 1261395.3606 | 2693613.3028 | 1261394.3621 | 2693623.0876 | 1261389.9022
56 | 2693631.7246 | 1261382.7332 | 2693631.7246 | 1261382.7332 | 2693631.8286 | 1261382.3682
57 | 2693623.0876 | 1261389.9022 | 2693623.0876 | 1261389.9022 | 2693631.7246 | 1261382.7332
58 | 2693210.8629 | 1261364.4389 | 2693212.0009 | 1261375.2605
59 | 2693215.6909 | 1261410.3491 | 2693212.0009 | 1261375.2605
60 | 2693210.6838 | 1261362.7355 | 2693210.8629 | 1261364.4389
61 | 2693276.8847 | 1261430.0583 | 2693267.1997 | 1261429.4908 | 2693264.9624 | 1261428.7348
62 | 2693276.8847 | 1261430.0583 | 2693284.5756 | 1261430.509
63 | 2693526.9866 | 1261400.5793 | 2693521.29 | 1261400.7788 | 2693509.026 | 1261398.1065
64 | 2693526.9866 | 1261400.5793 | 2693528.0815 | 1261400.541
65 | 2693659.5315 | 1261430.1928 | 2693656.8155 | 1261429.1676 | 2693636.2054 | 1261423.605

## bus_geodata
| x | y | coords
0 | 2692901.7933 | 1261133.922
1 | 2692887.4291 | 1261115.6368
2 | 2693021.9148 | 1261184.427
3 | 2693037.3164 | 1261188.5444
4 | 2693073.914 | 1261198.3129
5 | 2693106.2422 | 1261211.3474
6 | 2693115.2885 | 1261915.0562
7 | 2693114.8983 | 1261921.1052
8 | 2693113.4701 | 1261878.7411
9 | 2693112.4094 | 1261939.6302
10 | 2693263.994 | 1261904.9333
11 | 2693036.1673 | 1261332.1197
12 | 2692925.6667 | 1261442.23
13 | 2693252.5091 | 1261521.8667
14 | 2693397.0131 | 1261819.9079
15 | 2693249.1647 | 1261498.6073
16 | 2693442.0452 | 1261918.3523
17 | 2693337.5586 | 1261418.8919
18 | 2693393.839 | 1261443.6666
19 | 2693315.1345 | 1261408.3171
20 | 2693437.9812 | 1262097.0778
21 | 2693324.3842 | 1261937.6031
22 | 2693241.9628 | 1261473.8286
23 | 2693247.3168 | 1261492.2494
24 | 2693239.7003 | 1261454.344
25 | 2693235.2702 | 1261330.9337
26 | 2693099.2854 | 1261174.6975
27 | 2693553.618 | 1261476.1913
28 | 2693305.5215 | 1261404.5507
29 | 2693368.3196 | 1261938.5615
30 | 2693244.8932 | 1261462.9119
31 | 2693239.3011 | 1261450.7084
32 | 2693255.3486 | 1261395.8437
33 | 2693253.4836 | 1261401.0021
34 | 2693261.314 | 1261386.975
35 | 2693249.5244 | 1261411.9525
36 | 2693290.0418 | 1261398.4855
37 | 2693254.5502 | 1261375.3313
38 | 2693459.5463 | 1261391.2132
39 | 2693245.7981 | 1261422.2588
40 | 2693240.2522 | 1261343.0756
41 | 2693462.605 | 1261391.6768
42 | 2693262.9101 | 1261428.0413
43 | 2693216.7982 | 1261420.8785
44 | 2693237.2154 | 1261335.7011
45 | 2693495.8802 | 1261396.3514
46 | 2693094.1502 | 1261143.9822
47 | 2693493.6315 | 1261376.9953
48 | 2693564.6438 | 1261389.9444
49 | 2693560.3996 | 1261391.4563
50 | 2693610.1918 | 1261395.3606
51 | 2693631.8286 | 1261382.3682
52 | 2693631.7246 | 1261382.7332
53 | 2693212.0009 | 1261375.2605
54 | 2693210.8629 | 1261364.4389
55 | 2693215.6909 | 1261410.3491
56 | 2693210.6838 | 1261362.7355
57 | 2693264.9624 | 1261428.7348
58 | 2693262.695 | 1261471.8872
59 | 2693276.8847 | 1261430.0583
60 | 2693284.5756 | 1261430.509
61 | 2693509.026 | 1261398.1065
62 | 2693526.9866 | 1261400.5793
63 | 2693528.0815 | 1261400.541
64 | 2693636.2054 | 1261423.605
65 | 2693659.5315 | 1261430.1928
66 | 2693623.0876 | 1261389.9022
67 | 2693247.3168 | 1261492.2494

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99416 | -0.11262 | 0.0013584 | 0.00034044
1 | 0.99414 | -0.11311 | 0.0011875 | 0.00029762
2 | 0.99447 | -0.10663 | 0.00026014 | 6.5196e-05
3 | 0.99451 | -0.10584 | 0.001763 | 0.00044185
4 | 0.99467 | -0.10279 | 0.00028467 | 7.1345e-05
5 | 0.99483 | -0.099784 | 0 | 0
6 | 0.99014 | -0.19013 | 0.0011884 | 0.00029784
7 | 0.99011 | -0.19076 | 0.0011256 | 0.00028209
8 | 0.99037 | -0.18559 | 0 | 0
9 | 0.99003 | -0.19232 | 0.0046756 | 0.0011718
10 | 0.99175 | -0.15884 | 0 | 0
11 | 0.99463 | -0.10357 | 0 | 0
12 | 0.99441 | -0.10779 | 0.0015293 | 0.00038328
13 | 0.99972 | -0.0054318 | 0 | 0
14 | 0.9967 | -0.063381 | 0 | 0
15 | 0.99993 | -0.0012834 | 0.0011751 | 0.00029452
16 | 0.99571 | -0.08233 | 0.00026452 | 6.6295e-05
17 | 0.99615 | -0.074151 | 0 | 0
18 | 0.99614 | -0.074311 | 0 | 0
19 | 0.99615 | -0.074086 | 0.0021633 | 0.00054217
20 | 0.99405 | -0.11443 | 0 | 0
21 | 0.99158 | -0.1621 | 0.0018679 | 0.00046814
22 | 0.99923 | -0.014845 | 0 | 0
23 | 1 | 0 | -0.057255 | -0.013982
24 | 0.99844 | -0.030048 | 0 | 0
25 | 0.99603 | -0.076563 | 0.00045304 | 0.00011354
26 | 0.9948 | -0.10032 | 0.00037645 | 9.4348e-05
27 | 0.99612 | -0.074729 | 0.00014227 | 3.5656e-05
28 | 0.99618 | -0.073666 | 0.0041997 | 0.0010525
29 | 0.99153 | -0.16309 | 0.00077935 | 0.00019532
30 | 0.99841 | -0.030621 | 0.0016364 | 0.00041011
31 | 0.9983 | -0.032676 | 0.0043206 | 0.0010828
32 | 0.99668 | -0.06392 | 0.00022114 | 5.5423e-05
33 | 0.99678 | -0.061935 | 0.0048699 | 0.0012205
34 | 0.99648 | -0.067747 | 0 | 0
35 | 0.99705 | -0.056728 | 0.001138 | 0.00028522
36 | 0.99627 | -0.071764 | 0.00087777 | 0.00021999
37 | 0.99638 | -0.069735 | 0.00025698 | 6.4405e-05
38 | 0.99562 | -0.084347 | 0.00025241 | 6.3261e-05
39 | 0.99732 | -0.051612 | 0 | 0
40 | 0.99612 | -0.074778 | 0.00035517 | 8.9014e-05
41 | 0.99561 | -0.084584 | 0.0004656 | 0.00011669
42 | 0.9972 | -0.053965 | 0.0016341 | 0.00040954
43 | 0.99725 | -0.052983 | 0 | 0
44 | 0.99606 | -0.075868 | 0.00010082 | 2.5268e-05
45 | 0.99549 | -0.086882 | 0 | 0
46 | 0.99479 | -0.10057 | 0.00044176 | 0.00011071
47 | 0.99548 | -0.087113 | 0.00067228 | 0.00016849
48 | 0.99533 | -0.089972 | 0 | 0
49 | 0.99534 | -0.08988 | 0 | 0
50 | 0.99528 | -0.090936 | 0.00031786 | 7.9663e-05
51 | 0.99527 | -0.091273 | 0.00030367 | 7.6106e-05
52 | 0.99527 | -0.091271 | 0.0003238 | 8.1151e-05
53 | 0.9972 | -0.053888 | 0.00033802 | 8.4716e-05
54 | 0.9972 | -0.053948 | 0.00016111 | 4.0379e-05
55 | 0.99722 | -0.053484 | 0.0020467 | 0.00051295
56 | 0.9972 | -0.053953 | 0.0001536 | 3.8496e-05
57 | 0.99718 | -0.054185 | 0.0016358 | 0.00040997
58 | 0.99837 | -0.031285 | 0.0016344 | 0.00040962
59 | 0.99714 | -0.055065 | 0.0025165 | 0.0006307
60 | 0.99713 | -0.055287 | 0.0016448 | 0.00041222
61 | 0.99545 | -0.087633 | 0.00019723 | 4.9432e-05
62 | 0.9954 | -0.088602 | 0.00060605 | 0.00015189
63 | 0.9954 | -0.088649 | 0.00034447 | 8.6332e-05
64 | 0.99527 | -0.091176 | 0.00033733 | 8.4543e-05
65 | 0.99526 | -0.091412 | 0.00055277 | 0.00013854
66 | 0.99527 | -0.091147 | 0.00022495 | 5.6378e-05
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0011876 | 0.00029734 | -0.0011875 | -0.00029762 | 2.7573e-08 | -2.8413e-07 | 0.0017774 | 0.0017775 | 0.0017775 | 0.99416 | -0.11262 | 0.99414 | -0.11311 | 0.48832
1 | -0.0025459 | -0.00063778 | 0.0025467 | 0.00063651 | 7.2548e-07 | -1.2641e-06 | 0.0038105 | 0.0038099 | 0.0038105 | 0.99416 | -0.11262 | 0.99447 | -0.10663 | 1.0468
2 | -0.0028068 | -0.00070171 | 0.0028069 | 0.00070157 | 1.0541e-07 | -1.3939e-07 | 0.0041991 | 0.0041991 | 0.0041991 | 0.99447 | -0.10663 | 0.99451 | -0.10584 | 1.1536
3 | -0.0045699 | -0.0011434 | 0.0045706 | 0.0011434 | 6.6411e-07 | -6.6668e-08 | 0.0068369 | 0.0068368 | 0.0068369 | 0.99451 | -0.10584 | 0.99467 | -0.10279 | 1.8783
4 | -0.0048552 | -0.0012147 | 0.0048559 | 0.0012147 | 6.9328e-07 | -1.1329e-08 | 0.0072626 | 0.0072625 | 0.0072626 | 0.99467 | -0.10279 | 0.99483 | -0.099784 | 1.9952
5 | -0.007204 | -0.0017987 | 0.007212 | 0.0018014 | 7.9522e-06 | 2.714e-06 | 0.010773 | 0.010772 | 0.010773 | 0.99483 | -0.099784 | 0.99603 | -0.076563 | 2.9596
6 | 0.00081824 | 0.00020419 | -0.00081821 | -0.00020466 | 2.097e-08 | -4.7148e-07 | 0.0012236 | 0.0012237 | 0.0012237 | 0.99483 | -0.099784 | 0.9948 | -0.10032 | 0.33619
7 | 0.0015299 | 0.0003798 | -0.0015296 | -0.00038144 | 2.7416e-07 | -1.6385e-06 | 0.002287 | 0.0022877 | 0.0022877 | 0.99483 | -0.099784 | 0.99463 | -0.10357 | 0.62848
8 | 0.0058017 | 0.0014539 | -0.0058015 | -0.0014539 | 1.728e-07 | 3.263e-08 | 0.0087189 | 0.0087189 | 0.0087189 | 0.99014 | -0.19013 | 0.99011 | -0.19076 | 2.3953
9 | -0.00699 | -0.0017517 | 0.0069916 | 0.0017522 | 1.5118e-06 | 4.9754e-07 | 0.010505 | 0.010505 | 0.010505 | 0.99014 | -0.19013 | 0.99037 | -0.18559 | 2.8859
10 | 0.0046759 | 0.0011718 | -0.0046756 | -0.0011718 | 3.476e-07 | -1.8917e-08 | 0.0070273 | 0.0070274 | 0.0070274 | 0.99011 | -0.19076 | 0.99003 | -0.19232 | 1.9306
11 | -0.0069916 | -0.0017522 | 0.0070005 | 0.0017552 | 8.9178e-06 | 2.9301e-06 | 0.010505 | 0.010504 | 0.010505 | 0.99037 | -0.18559 | 0.99175 | -0.15884 | 2.8859
12 | -0.0096482 | -0.0024171 | 0.0096686 | 0.0024268 | 2.0443e-05 | 9.7187e-06 | 0.014476 | 0.014474 | 0.014476 | 0.99175 | -0.15884 | 0.99405 | -0.11443 | 3.9768
13 | 0.0026477 | 0.00066193 | -0.0026473 | -0.00066256 | 4.1113e-07 | -6.3336e-07 | 0.003972 | 0.0039723 | 0.0039723 | 0.99175 | -0.15884 | 0.99158 | -0.1621 | 1.0913
14 | 0.0015296 | 0.00038144 | -0.0015293 | -0.00038328 | 3.0726e-07 | -1.8343e-06 | 0.0022877 | 0.0022884 | 0.0022884 | 0.99463 | -0.10357 | 0.99441 | -0.10779 | 0.62868
15 | 0.0099846 | 0.0025178 | -0.0099569 | -0.0025045 | 2.7629e-05 | 1.3325e-05 | 0.014867 | 0.014868 | 0.014868 | 0.99972 | -0.0054318 | 0.9967 | -0.063381 | 4.0847
16 | -0.0099846 | -0.0025178 | 0.0099866 | 0.0025188 | 1.9828e-06 | 9.5527e-07 | 0.014867 | 0.014867 | 0.014867 | 0.99972 | -0.0054318 | 0.99993 | -0.0012834 | 4.0843
17 | 0.0099569 | 0.0025045 | -0.0099479 | -0.0025002 | 9.0061e-06 | 4.3495e-06 | 0.014868 | 0.014869 | 0.014869 | 0.9967 | -0.063381 | 0.99571 | -0.08233 | 4.0849
18 | -0.011162 | -0.0028133 | 0.011162 | 0.0028137 | 6.8546e-07 | 3.5184e-07 | 0.016616 | 0.016615 | 0.016616 | 0.99993 | -0.0012834 | 1 | 0 | 4.5647
19 | 0.0096834 | 0.0024339 | -0.0096686 | -0.0024268 | 1.4821e-05 | 7.0355e-06 | 0.014474 | 0.014474 | 0.014474 | 0.99571 | -0.08233 | 0.99405 | -0.11443 | 3.9765
20 | 0.00014227 | 3.2723e-05 | -0.00014227 | -3.3521e-05 | 1.0306e-09 | -7.9802e-07 | 0.00021153 | 0.00021179 | 0.00021179 | 0.99615 | -0.074151 | 0.99614 | -0.074311 | 0.058184
21 | -0.00014227 | -3.2723e-05 | 0.00014227 | 3.24e-05 | 4.1596e-10 | -3.2264e-07 | 0.00021153 | 0.00021142 | 0.00021153 | 0.99615 | -0.074151 | 0.99615 | -0.074086 | 0.058112
22 | 0.00014227 | 3.3521e-05 | -0.00014227 | -3.5655e-05 | 2.7699e-09 | -2.1347e-06 | 0.00021179 | 0.00021252 | 0.00021252 | 0.99614 | -0.074311 | 0.99612 | -0.074729 | 0.058385
23 | -0.0023056 | -0.00057457 | 0.0023056 | 0.00057446 | 4.589e-08 | -1.0504e-07 | 0.0034428 | 0.0034428 | 0.0034428 | 0.99615 | -0.074086 | 0.99618 | -0.073666 | 0.94582
24 | 0.00077939 | 0.00019442 | -0.00077935 | -0.00019532 | 3.67e-08 | -8.9959e-07 | 0.0011693 | 0.0011696 | 0.0011696 | 0.99158 | -0.1621 | 0.99153 | -0.16309 | 0.32132
25 | -0.044411 | -0.011149 | 0.044442 | 0.011169 | 3.147e-05 | 1.9889e-05 | 0.066142 | 0.066142 | 0.066142 | 0.99923 | -0.014845 | 1 | 0 | 18.1708
26 | 0.044411 | 0.011149 | -0.044379 | -0.011128 | 3.218e-05 | 2.0339e-05 | 0.066142 | 0.066142 | 0.066142 | 0.99923 | -0.014845 | 0.99844 | -0.030048 | 18.1708
27 | 0.0032709 | 0.00081939 | -0.0032708 | -0.00081947 | 8.9278e-08 | -7.3887e-08 | 0.0048747 | 0.0048747 | 0.0048747 | 0.99844 | -0.030048 | 0.99841 | -0.030621 | 1.3392
28 | 0.041108 | 0.010309 | -0.041103 | -0.010306 | 5.1494e-06 | 3.2478e-06 | 0.061267 | 0.061267 | 0.061267 | 0.99844 | -0.030048 | 0.9983 | -0.032676 | 16.8316
29 | -0.007665 | -0.0019149 | 0.0076653 | 0.001915 | 2.531e-07 | 9.4968e-08 | 0.011449 | 0.011449 | 0.011449 | 0.99603 | -0.076563 | 0.99606 | -0.075868 | 3.1453
30 | 0.00044176 | 0.00011031 | -0.00044176 | -0.00011071 | 5.0993e-09 | -4.0115e-07 | 0.00066064 | 0.00066078 | 0.00066078 | 0.9948 | -0.10032 | 0.99479 | -0.10057 | 0.18153
31 | -0.0065053 | -0.001627 | 0.0065059 | 0.0016272 | 5.8853e-07 | 1.6019e-07 | 0.0097159 | 0.0097158 | 0.0097159 | 0.99618 | -0.073666 | 0.99627 | -0.071764 | 2.6692
32 | 0.0016345 | 0.00040935 | -0.0016344 | -0.00040962 | 5.1678e-08 | -2.7063e-07 | 0.0024359 | 0.002436 | 0.002436 | 0.99841 | -0.030621 | 0.99837 | -0.031285 | 0.66923
33 | 0.036782 | 0.0092229 | -0.036749 | -0.009202 | 3.316e-05 | 2.0838e-05 | 0.054827 | 0.054827 | 0.054827 | 0.9983 | -0.032676 | 0.99732 | -0.051612 | 15.0624
34 | -0.020594 | -0.0051491 | 0.020596 | 0.0051503 | 1.944e-06 | 1.1727e-06 | 0.030742 | 0.030742 | 0.030742 | 0.99668 | -0.06392 | 0.99678 | -0.061935 | 8.4457
35 | 0.020373 | 0.0050937 | -0.020369 | -0.0050914 | 3.7071e-06 | 2.2333e-06 | 0.030412 | 0.030412 | 0.030412 | 0.99668 | -0.06392 | 0.99648 | -0.067747 | 8.355
36 | -0.025466 | -0.0063708 | 0.025472 | 0.0063746 | 6.3094e-06 | 3.8862e-06 | 0.038012 | 0.038012 | 0.038012 | 0.99678 | -0.061935 | 0.99705 | -0.056728 | 10.4429
37 | 0.007385 | 0.0018477 | -0.0073836 | -0.0018472 | 1.4112e-06 | 5.0005e-07 | 0.011027 | 0.011027 | 0.011027 | 0.99648 | -0.067747 | 0.99627 | -0.071764 | 3.0294
38 | 0.0083814 | 0.002095 | -0.0083806 | -0.0020947 | 7.9216e-07 | 3.3127e-07 | 0.012514 | 0.012514 | 0.012514 | 0.99648 | -0.067747 | 0.99638 | -0.069735 | 3.4379
39 | 0.004603 | 0.0011488 | -0.0045994 | -0.0011491 | 3.6285e-06 | -3.4437e-07 | 0.0068719 | 0.0068728 | 0.0068728 | 0.99648 | -0.067747 | 0.99562 | -0.084347 | 1.8881
40 | -0.02661 | -0.0066599 | 0.026617 | 0.0066639 | 6.4808e-06 | 4.0047e-06 | 0.039711 | 0.039711 | 0.039711 | 0.99705 | -0.056728 | 0.99732 | -0.051612 | 10.9095
41 | 0.0081236 | 0.0020303 | -0.0081217 | -0.0020295 | 1.9469e-06 | 7.8659e-07 | 0.01213 | 0.01213 | 0.01213 | 0.99638 | -0.069735 | 0.99612 | -0.074778 | 3.3325
42 | 0.004347 | 0.0010859 | -0.004347 | -0.0010859 | 4.8949e-08 | -8.9047e-09 | 0.0064956 | 0.0064956 | 0.0064956 | 0.99562 | -0.084347 | 0.99561 | -0.084584 | 1.7845
43 | 0.0074323 | 0.0018626 | -0.0074314 | -0.0018623 | 8.3292e-07 | 2.974e-07 | 0.011089 | 0.011089 | 0.011089 | 0.99732 | -0.051612 | 0.9972 | -0.053965 | 3.0465
44 | 0.0026997 | 0.00067556 | -0.0026995 | -0.00067583 | 1.7609e-07 | -2.6499e-07 | 0.0040276 | 0.0040278 | 0.0040278 | 0.99732 | -0.051612 | 0.99725 | -0.052983 | 1.1065
45 | 0.0077665 | 0.0019405 | -0.0077661 | -0.0019403 | 4.024e-07 | 1.5373e-07 | 0.0116 | 0.0116 | 0.0116 | 0.99612 | -0.074778 | 0.99606 | -0.075868 | 3.1867
46 | 0.0038814 | 0.00096918 | -0.0038809 | -0.00096935 | 4.2387e-07 | -1.6566e-07 | 0.0057997 | 0.0057999 | 0.0057999 | 0.99561 | -0.084584 | 0.99549 | -0.086882 | 1.5934
47 | 0.0057974 | 0.0014528 | -0.0057973 | -0.0014528 | 6.0795e-08 | 1.0647e-08 | 0.0086508 | 0.0086508 | 0.0086508 | 0.9972 | -0.053965 | 0.99718 | -0.054185 | 2.3766
48 | 0.0026995 | 0.00067583 | -0.0026994 | -0.00067593 | 6.441e-08 | -9.691e-08 | 0.0040278 | 0.0040278 | 0.0040278 | 0.99725 | -0.052983 | 0.99722 | -0.053484 | 1.1065
49 | 0.0032086 | 0.00080111 | -0.0032085 | -0.00080121 | 1.1445e-07 | -9.9317e-08 | 0.0047951 | 0.0047951 | 0.0047951 | 0.99549 | -0.086882 | 0.99545 | -0.087633 | 1.3173
50 | 0.00067228 | 0.00016824 | -0.00067228 | -0.00016849 | 7.3784e-09 | -2.4862e-07 | 0.0010048 | 0.0010049 | 0.0010049 | 0.99549 | -0.086882 | 0.99548 | -0.087113 | 0.27607
51 | -0.0011703 | -0.0002924 | 0.0011703 | 0.00029234 | 5.1571e-09 | -5.5109e-08 | 0.0017493 | 0.0017493 | 0.0017493 | 0.99533 | -0.089972 | 0.99534 | -0.08988 | 0.48058
52 | 0.0011703 | 0.0002924 | -0.0011703 | -0.00029297 | 5.3654e-08 | -5.7324e-07 | 0.0017493 | 0.0017495 | 0.0017495 | 0.99533 | -0.089972 | 0.99528 | -0.090936 | 0.48064
53 | 0.00089016 | 0.00022173 | -0.00089011 | -0.00022277 | 5.4815e-08 | -1.0381e-06 | 0.0013303 | 0.0013307 | 0.0013307 | 0.99534 | -0.08988 | 0.99527 | -0.091176 | 0.36557
54 | -0.0020605 | -0.00051408 | 0.0020606 | 0.00051371 | 1.2038e-07 | -3.6295e-07 | 0.0030796 | 0.0030795 | 0.0030796 | 0.99534 | -0.08988 | 0.9954 | -0.088649 | 0.84605
55 | 0.00085243 | 0.00021331 | -0.00085242 | -0.00021349 | 8.5384e-09 | -1.7674e-07 | 0.0012743 | 0.0012744 | 0.0012744 | 0.99528 | -0.090936 | 0.99527 | -0.091147 | 0.35011
56 | -0.00030367 | -7.6106e-05 | 0.00030367 | 7.6101e-05 | 2.9173e-11 | -4.9132e-09 | 0.00045401 | 0.00045401 | 0.00045401 | 0.99527 | -0.091273 | 0.99527 | -0.091271 | 0.12473
57 | -0.00062746 | -0.00015725 | 0.00062747 | 0.00015711 | 3.7042e-09 | -1.435e-07 | 0.00093811 | 0.00093806 | 0.00093811 | 0.99527 | -0.091271 | 0.99527 | -0.091147 | 0.25772
58 | 0.00031471 | 7.8711e-05 | -0.00031471 | -7.8852e-05 | 8.9978e-10 | -1.4138e-07 | 0.00046956 | 0.00046961 | 0.00046961 | 0.9972 | -0.053888 | 0.9972 | -0.053948 | 0.12901
59 | -0.00065274 | -0.00016343 | 0.00065275 | 0.00016298 | 1.2548e-08 | -4.5227e-07 | 0.00097395 | 0.00097379 | 0.00097395 | 0.9972 | -0.053888 | 0.99722 | -0.053484 | 0.26757
60 | 0.0001536 | 3.8474e-05 | -0.0001536 | -3.8496e-05 | 3.3788e-11 | -2.2323e-08 | 0.0002292 | 0.0002292 | 0.0002292 | 0.9972 | -0.053948 | 0.9972 | -0.053953 | 0.062968
61 | 0.0041615 | 0.0010428 | -0.0041613 | -0.0010428 | 1.7444e-07 | -4.5719e-08 | 0.0062098 | 0.0062099 | 0.0062099 | 0.99718 | -0.054185 | 0.99714 | -0.055065 | 1.706
62 | 0.0016448 | 0.00041213 | -0.0016448 | -0.00041222 | 1.7405e-08 | -8.9355e-08 | 0.0024545 | 0.0024545 | 0.0024545 | 0.99714 | -0.055065 | 0.99713 | -0.055287 | 0.67432
63 | 0.0030113 | 0.00075178 | -0.0030112 | -0.00075193 | 1.3862e-07 | -1.4855e-07 | 0.0045003 | 0.0045004 | 0.0045004 | 0.99545 | -0.087633 | 0.9954 | -0.088602 | 1.2364
64 | 0.0024051 | 0.00060003 | -0.0024051 | -0.00060005 | 5.3081e-09 | -1.0845e-08 | 0.0035944 | 0.0035944 | 0.0035944 | 0.9954 | -0.088602 | 0.9954 | -0.088649 | 0.98747
65 | 0.00055278 | 0.00013823 | -0.00055277 | -0.00013854 | 6.2105e-09 | -3.1117e-07 | 0.00082634 | 0.00082645 | 0.00082645 | 0.99527 | -0.091176 | 0.99526 | -0.091412 | 0.22705

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.058416 | 0.014273

## res_load
| p_mw | q_mvar
0 | 0.0013584 | 0.00034044
1 | 0.0011875 | 0.00029762
2 | 0.00026014 | 6.5196e-05
3 | 0.001763 | 0.00044185
4 | 0.00028467 | 7.1345e-05
5 | 0.0011884 | 0.00029784
6 | 0.0011256 | 0.00028209
7 | 0.0046756 | 0.0011718
8 | 0.0015293 | 0.00038328
9 | 0.0011751 | 0.00029452
10 | 0.00026452 | 6.6295e-05
11 | 0.0021633 | 0.00054217
12 | 0.0018679 | 0.00046814
13 | 0.0011616 | 0.00029113
14 | 0.00045304 | 0.00011354
15 | 0.00037645 | 9.4348e-05
16 | 0.00014227 | 3.5656e-05
17 | 0.0041997 | 0.0010525
18 | 0.00077935 | 0.00019532
19 | 0.0016364 | 0.00041011
20 | 0.0043206 | 0.0010828
21 | 0.00022114 | 5.5423e-05
22 | 0.0048699 | 0.0012205
23 | 0.001138 | 0.00028522
24 | 0.00087777 | 0.00021999
25 | 0.00025698 | 6.4405e-05
26 | 0.00025241 | 6.3261e-05
27 | 0.00035517 | 8.9014e-05
28 | 0.0004656 | 0.00011669
29 | 0.0016341 | 0.00040954
30 | 0.00010082 | 2.5268e-05
31 | 0.00044176 | 0.00011071
32 | 0.00067228 | 0.00016849
33 | 0.00031786 | 7.9663e-05
34 | 0.00030367 | 7.6106e-05
35 | 0.0003238 | 8.1151e-05
36 | 0.00033802 | 8.4716e-05
37 | 0.00016111 | 4.0379e-05
38 | 0.0020467 | 0.00051295
39 | 0.0001536 | 3.8496e-05
40 | 0.0016358 | 0.00040997
41 | 0.0016344 | 0.00040962
42 | 0.0025165 | 0.0006307
43 | 0.0016448 | 0.00041222
44 | 0.00019723 | 4.9432e-05
45 | 0.00060605 | 0.00015189
46 | 0.00034447 | 8.6332e-05
47 | 0.00033733 | 8.4543e-05
48 | 0.00055277 | 0.00013854
49 | 0.00022495 | 5.6378e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1