## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-157_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-157_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-157_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_230-157_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-157_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_230-157_0_5_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_230-157_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_230-157_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_230-157_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_230-157_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_230-157_0_5_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_230-157_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_230-157_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_230-157_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_230-157_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_230-157_0_5_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_230-157_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_230-157_0_5_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_230-157_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_230-157_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_230-157_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_230-157_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_230-157_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_230-157_0_5_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_230-157_0_5_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_230-157_0_5_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_230-157_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_230-157_0_5_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_230-157_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_230-157_0_5_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_230-157_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_230-157_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_230-157_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_230-157_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_230-157_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_230-157_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_230-157_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_230-157_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_230-157_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_230-157_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_230-157_0_5_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_230-157_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_MV_370_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-157_0_5_load_0 | 0 | 0.0013244 | 0.00033194 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-157_0_5_load_35 | 5 | 0.0015059 | 0.00037741 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-157_0_5_load_15 | 6 | 0.0084564 | 0.0021194 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-157_0_5_load_17 | 10 | 0.00011168 | 2.799e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-157_0_5_load_16 | 11 | 0.012821 | 0.0032132 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-157_0_5_load_25 | 13 | 0.0055491 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-157_0_5_load_23 | 15 | 0.0050076 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-157_0_5_load_41 | 17 | 0.010494 | 0.0026299 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-157_0_5_load_27 | 20 | 0.0046533 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-157_0_5_load_24 | 21 | 0.0069497 | 0.0017418 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-157_0_5_load_42 | 23 | 0.019226 | 0.0048186 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-157_0_5_load_43 | 24 | 0.026829 | 0.0067241 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-157_0_5_load_37 | 25 | 0.02655 | 0.0066541 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-157_0_5_load_40 | 26 | 0.030477 | 0.0076383 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-157_0_5_load_34 | 27 | 0.004586 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-157_0_5_load_31 | 28 | 0.0097179 | 0.0024355 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-157_0_5_load_26 | 30 | 0.0025587 | 0.00064127 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-157_0_5_load_18 | 31 | 0.00097175 | 0.00024354 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-157_0_5_load_19 | 32 | 0.00096404 | 0.00024161 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-157_0_5_load_20 | 33 | 0.00096971 | 0.00024303 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-157_0_5_load_21 | 34 | 0.00096436 | 0.00024169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-157_0_5_load_28 | 37 | 0.0052233 | 0.0013091 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-157_0_5_load_32 | 38 | 0.0011155 | 0.00027957 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-157_0_5_load_33 | 39 | 0.0010957 | 0.00027461 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-157_0_5_load_39 | 40 | 0.0073558 | 0.0018435 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-157_0_5_load_38 | 41 | 0.043219 | 0.010832 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-157_0_5_line_0 |  | 0 | 1 | 0.026229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-157_0_5_line_1 |  | 1 | 2 | 0.080168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-157_0_5_line_2 |  | 2 | 4 | 0.026081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-157_0_5_line_3 |  | 2 | 6 | 0.098947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-157_0_5_line_4 |  | 3 | 4 | 0.043838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_230-157_0_5_line_5 |  | 3 | 5 | 0.037243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_230-157_0_5_line_6 |  | 4 | 10 | 0.050916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_230-157_0_5_line_7 |  | 4 | 11 | 0.081047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-157_0_5_line_8 |  | 5 | 7 | 0.048476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_230-157_0_5_line_9 |  | 7 | 8 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-157_0_5_line_10 |  | 7 | 9 | 0.009737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-157_0_5_line_11 |  | 8 | 26 | 0.036333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-157_0_5_line_12 |  | 9 | 24 | 0.034246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-157_0_5_line_13 |  | 10 | 25 | 0.11267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_230-157_0_5_line_14 |  | 12 | 13 | 0.11499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-157_0_5_line_15 |  | 12 | 14 | 0.029781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_230-157_0_5_line_16 |  | 12 | 15 | 0.12974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-157_0_5_line_17 |  | 13 | 27 | 0.054122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-157_0_5_line_18 |  | 14 | 16 | 0.13246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_230-157_0_5_line_19 |  | 14 | 17 | 0.21127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-157_0_5_line_20 |  | 15 | 21 | 0.03221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-157_0_5_line_21 |  | 16 | 25 | 0.13889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_230-157_0_5_line_22 |  | 16 | 22 | 0.16885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-157_0_5_line_23 |  | 18 | 19 | 0.011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-157_0_5_line_24 |  | 18 | 20 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-157_0_5_line_25 |  | 19 | 21 | 0.042514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-157_0_5_line_26 |  | 20 | 30 | 0.019047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-157_0_5_line_27 |  | 22 | 23 | 0.029129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-157_0_5_line_28 |  | 26 | 40 | 0.006169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-157_0_5_line_29 |  | 28 | 29 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-157_0_5_line_30 |  | 29 | 37 | 0.0035205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-157_0_5_line_31 |  | 29 | 35 | 0.16577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-157_0_5_line_32 |  | 30 | 37 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-157_0_5_line_33 |  | 31 | 32 | 0.0074833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-157_0_5_line_34 |  | 31 | 33 | 0.0063069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-157_0_5_line_35 |  | 32 | 34 | 0.0069835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-157_0_5_line_36 |  | 33 | 35 | 0.070298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-157_0_5_line_37 |  | 35 | 36 | 0.15184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-157_0_5_line_38 |  | 36 | 38 | 0.10762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-157_0_5_line_39 |  | 38 | 39 | 0.01032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-157_0_5_line_40 |  | 40 | 41 | 0.028032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-157_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 42 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2694731.8814 | 1261485.4958 | 2694730.9983 | 1261484.1695 | 2694728.3383 | 1261478.5112 | 2694728.4467 | 1261469.3945 | 2694732.0695 | 1261460.8662
1 | 2694731.8814 | 1261485.4958 | 2694796.1823 | 1261488.6171 | 2694809.4363 | 1261489.2078 | 2694809.4392 | 1261486.6836
2 | 2694809.4392 | 1261486.6836 | 2694809.4363 | 1261489.2078 | 2694809.4338 | 1261492.655 | 2694816.2852 | 1261492.5869 | 2694822.6802 | 1261491.8444 | 2694821.1568 | 1261498.492
3 | 2694809.4392 | 1261486.6836 | 2694810.206 | 1261483.0374 | 2694816.3041 | 1261477.7864 | 2694829.0489 | 1261466.9041 | 2694843.3066 | 1261454.2669 | 2694828.5091 | 1261438.0722 | 2694808.6605 | 1261416.3491
4 | 2694821.1568 | 1261498.492 | 2694822.6802 | 1261491.8444 | 2694833.6401 | 1261489.8184 | 2694845.5854 | 1261486.4961 | 2694854.628 | 1261482.3155 | 2694852.5558 | 1261479.48
5 | 2694852.5558 | 1261479.48 | 2694857.0716 | 1261477.0282 | 2694862.0418 | 1261473.9721 | 2694867.6671 | 1261470.0035 | 2694873.515 | 1261465.3157 | 2694882.3521 | 1261457.3596
6 | 2694821.1568 | 1261498.492 | 2694823.2838 | 1261500.2608 | 2694831.4582 | 1261500.4031 | 2694838.1624 | 1261499.1762 | 2694846.5625 | 1261497.9321 | 2694858.1757 | 1261496.0501 | 2694870.8771 | 1261493.7851
7 | 2694821.1568 | 1261498.492 | 2694818.032 | 1261501.1441 | 2694780.8247 | 1261511.1115 | 2694744.8466 | 1261524.6151
8 | 2694918.3782 | 1261424.9249 | 2694882.3521 | 1261457.3596
9 | 2694897.7354 | 1261401.5194 | 2694918.3782 | 1261424.9249
10 | 2694925.5976 | 1261418.3688 | 2694918.3782 | 1261424.9249
11 | 2694897.7354 | 1261401.5194 | 2694873.7018 | 1261374.2707
12 | 2694901.887 | 1261393.5907 | 2694925.5976 | 1261418.3688
13 | 2694978.0502 | 1261461.1573 | 2694966.7201 | 1261465.9116 | 2694939.5501 | 1261478.7192 | 2694931.362 | 1261481.301 | 2694901.0908 | 1261487.3202 | 2694871.7342 | 1261493.6322 | 2694870.8771 | 1261493.7851
14 | 2695098.2994 | 1261460.8766 | 2695099.8409 | 1261464.3709 | 2695102.4276 | 1261474.0981 | 2695102.5077 | 1261479.4259 | 2695101.625 | 1261484.6381 | 2695097.0482 | 1261493.2159 | 2695078.797 | 1261509.5358 | 2695041.2822 | 1261525.0122 | 2695027.3801 | 1261532.3188
15 | 2695078.7208 | 1261451.4877 | 2695086.3463 | 1261448.2743 | 2695090.9152 | 1261457.5219 | 2695095.6209 | 1261455.4514 | 2695098.2994 | 1261460.8766
16 | 2695098.2994 | 1261460.8766 | 2694980.1616 | 1261514.495
17 | 2694979.6522 | 1261557.8378 | 2695013.7311 | 1261539.4924 | 2695027.3801 | 1261532.3188
18 | 2695059.4167 | 1261351.9082 | 2695048.1011 | 1261360.5667 | 2695040.8583 | 1261360.5948 | 2695045.6287 | 1261368.5668 | 2695071.6417 | 1261412.7538 | 2695076.8069 | 1261420.543 | 2695078.5781 | 1261423.3404 | 2695074.8383 | 1261426.7386 | 2695086.3463 | 1261448.2743 | 2695078.7208 | 1261451.4877
19 | 2695078.7208 | 1261451.4877 | 2695078.0401 | 1261446.4838 | 2695076.1935 | 1261439.9377 | 2695072.5447 | 1261432.0505 | 2695070.4762 | 1261428.5255 | 2695068.4077 | 1261425.0006 | 2695037.1464 | 1261373.5012 | 2695033.4 | 1261368.8706 | 2695028.4502 | 1261365.0213 | 2695022.4752 | 1261362.1341 | 2695016.0372 | 1261360.8519 | 2695006.9427 | 1261361.6732 | 2695001.0814 | 1261364.3702 | 2694993.6976 | 1261369.4223 | 2694984.3163 | 1261377.3114 | 2694939.4911 | 1261417.3428
20 | 2694950.8314 | 1261527.8069 | 2694980.1616 | 1261514.495
21 | 2695059.4167 | 1261351.9082 | 2695047.8483 | 1261378.1658 | 2695039.6082 | 1261394.7579 | 2695029.9372 | 1261408.9473 | 2695024.2082 | 1261416.5392 | 2695021.7155 | 1261419.7129 | 2695018.2916 | 1261424.5507 | 2695002.4871 | 1261443.3787 | 2694991.4883 | 1261453.4436 | 2694981.4471 | 1261459.7319 | 2694978.0502 | 1261461.1573
22 | 2694967.6712 | 1261335.3993 | 2695003.0869 | 1261311.3262 | 2695022.7245 | 1261298.3311 | 2695031.2599 | 1261302.2825 | 2695028.7487 | 1261309.4146 | 2695027.3676 | 1261315.6308 | 2695026.5099 | 1261323.5122 | 2695026.4254 | 1261331.5841 | 2695027.2869 | 1261339.4042 | 2695028.1827 | 1261343.6887 | 2695032.9627 | 1261342.6313 | 2695037.9242 | 1261341.5323 | 2695039.5654 | 1261347.7304 | 2695039.5714 | 1261355.3255 | 2695040.8583 | 1261360.5948 | 2695048.1011 | 1261360.5667 | 2695059.4167 | 1261351.9082
23 | 2694912.1184 | 1261545.3773 | 2694901.358 | 1261550.0084
24 | 2694901.358 | 1261550.0084 | 2694904.2135 | 1261558.0273 | 2694904.7951 | 1261562.6404
25 | 2694912.1184 | 1261545.3773 | 2694950.8314 | 1261527.8069
26 | 2694897.5132 | 1261579.8027 | 2694899.0789 | 1261577.9055 | 2694901.7775 | 1261574.1012 | 2694904.2794 | 1261567.069 | 2694904.7951 | 1261562.6404
27 | 2694942.8486 | 1261350.7577 | 2694967.6712 | 1261335.3993
28 | 2694873.7018 | 1261374.2707 | 2694869.6211 | 1261369.6441
29 | 2694886.1365 | 1261593.5883 | 2694884.3187 | 1261591.8133 | 2694875.4339 | 1261581.6685
30 | 2694886.1365 | 1261593.5883 | 2694888.3773 | 1261590.8731
31 | 2694868.385 | 1261681.6636 | 2694857.9094 | 1261693.4496 | 2694848.1776 | 1261697.3968 | 2694839.1623 | 1261696.1401 | 2694823.664 | 1261687.0288 | 2694831.7307 | 1261673.6695 | 2694859.709 | 1261632.963 | 2694877.5126 | 1261606.4382 | 2694886.1365 | 1261593.5883
32 | 2694888.3773 | 1261590.8731 | 2694897.5132 | 1261579.8027
33 | 2694917.2394 | 1261622.7401 | 2694920.5098 | 1261618.8268 | 2694922.2011 | 1261617.2193 | 2694922.2377 | 1261617.1851
34 | 2694917.2394 | 1261622.7401 | 2694913.195 | 1261627.5795
35 | 2694928.202 | 1261613.7906 | 2694924.2437 | 1261615.3172 | 2694922.2377 | 1261617.1851
36 | 2694868.385 | 1261681.6636 | 2694894.2683 | 1261651.2987 | 2694907.8682 | 1261635.0259 | 2694911.0317 | 1261629.9615 | 2694912.3575 | 1261628.5816 | 2694913.195 | 1261627.5795
37 | 2694868.385 | 1261681.6636 | 2694857.9094 | 1261693.4496 | 2694848.1776 | 1261697.3968 | 2694839.1623 | 1261696.1401 | 2694823.664 | 1261687.0288 | 2694810.4361 | 1261715.84 | 2694815.5898 | 1261718.7139 | 2694868.7768 | 1261748.346
38 | 2694868.7768 | 1261748.346 | 2694879.7416 | 1261741.761 | 2694889.777 | 1261734.8608 | 2694896.0769 | 1261728.7569 | 2694921.8173 | 1261701.6591 | 2694937.9676 | 1261680.0119 | 2694943.3384 | 1261672.1806
39 | 2694944.4828 | 1261661.924 | 2694943.3384 | 1261672.1806
40 | 2694851.0783 | 1261348.6208 | 2694869.6211 | 1261369.6441

## bus_geodata
| x | y | coords
0 | 2694732.0695 | 1261460.8662
1 | 2694731.8814 | 1261485.4958
2 | 2694809.4392 | 1261486.6836
3 | 2694852.5558 | 1261479.48
4 | 2694821.1568 | 1261498.492
5 | 2694882.3521 | 1261457.3596
6 | 2694808.6605 | 1261416.3491
7 | 2694918.3782 | 1261424.9249
8 | 2694897.7354 | 1261401.5194
9 | 2694925.5976 | 1261418.3688
10 | 2694870.8771 | 1261493.7851
11 | 2694744.8466 | 1261524.6151
12 | 2695098.2994 | 1261460.8766
13 | 2695027.3801 | 1261532.3188
14 | 2695078.7208 | 1261451.4877
15 | 2694980.1616 | 1261514.495
16 | 2695059.4167 | 1261351.9082
17 | 2694939.4911 | 1261417.3428
18 | 2694901.358 | 1261550.0084
19 | 2694912.1184 | 1261545.3773
20 | 2694904.7951 | 1261562.6404
21 | 2694950.8314 | 1261527.8069
22 | 2694967.6712 | 1261335.3993
23 | 2694942.8486 | 1261350.7577
24 | 2694901.887 | 1261393.5907
25 | 2694978.0502 | 1261461.1573
26 | 2694873.7018 | 1261374.2707
27 | 2694979.6522 | 1261557.8378
28 | 2694875.4339 | 1261581.6685
29 | 2694886.1365 | 1261593.5883
30 | 2694897.5132 | 1261579.8027
31 | 2694917.2394 | 1261622.7401
32 | 2694922.2377 | 1261617.1851
33 | 2694913.195 | 1261627.5795
34 | 2694928.202 | 1261613.7906
35 | 2694868.385 | 1261681.6636
36 | 2694868.7768 | 1261748.346
37 | 2694888.3773 | 1261590.8731
38 | 2694943.3384 | 1261672.1806
39 | 2694944.4828 | 1261661.924
40 | 2694869.6211 | 1261369.6441
41 | 2694851.0783 | 1261348.6208
42 | 2694920.2508 | 1261427.0456

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99446 | -0.10533 | 0.0013244 | 0.00033194
1 | 0.99449 | -0.10471 | 0 | 0
2 | 0.99459 | -0.10284 | 0 | 0
3 | 0.99656 | -0.065097 | 0 | 0
4 | 0.99482 | -0.098342 | 0 | 0
5 | 0.99805 | -0.036944 | 0.0015059 | 0.00037741
6 | 0.99382 | -0.1176 | 0.0084564 | 0.0021194
7 | 1 | 0 | -0.24287 | -0.061395
8 | 0.9977 | -0.044132 | 0 | 0
9 | 0.99976 | -0.0045545 | 0 | 0
10 | 0.99314 | -0.13032 | 0.00011168 | 2.799e-05
11 | 0.99387 | -0.11666 | 0.012821 | 0.0032132
12 | 0.98156 | -0.35373 | 0 | 0
13 | 0.98048 | -0.37485 | 0.0055491 | 0.0013907
14 | 0.98225 | -0.34018 | 0 | 0
15 | 0.9767 | -0.44859 | 0.0050076 | 0.001255
16 | 0.986 | -0.26763 | 0 | 0
17 | 0.9802 | -0.38032 | 0.010494 | 0.0026299
18 | 0.97422 | -0.49741 | 0 | 0
19 | 0.97453 | -0.49135 | 0 | 0
20 | 0.97387 | -0.50424 | 0.0046533 | 0.0011662
21 | 0.97564 | -0.46933 | 0.0069497 | 0.0017418
22 | 0.983 | -0.32602 | 0 | 0
23 | 0.98248 | -0.33613 | 0.019226 | 0.0048186
24 | 0.99893 | -0.02059 | 0.026829 | 0.0067241
25 | 0.98944 | -0.20138 | 0.02655 | 0.0066541
26 | 0.99501 | -0.095837 | 0.030477 | 0.0076383
27 | 0.98025 | -0.37935 | 0.004586 | 0.0011493
28 | 0.97298 | -0.52195 | 0.0097179 | 0.0024355
29 | 0.97312 | -0.51909 | 0 | 0
30 | 0.97345 | -0.5125 | 0.0025587 | 0.00064127
31 | 0.97191 | -0.54306 | 0.00097175 | 0.00024354
32 | 0.9719 | -0.54332 | 0.00096404 | 0.00024161
33 | 0.97193 | -0.54272 | 0.00096971 | 0.00024303
34 | 0.97189 | -0.54345 | 0.00096436 | 0.00024169
35 | 0.97218 | -0.5377 | 0 | 0
36 | 0.97187 | -0.54391 | 0 | 0
37 | 0.97317 | -0.51806 | 0.0052233 | 0.0013091
38 | 0.97165 | -0.54831 | 0.0011155 | 0.00027957
39 | 0.97163 | -0.54852 | 0.0010957 | 0.00027461
40 | 0.99473 | -0.10133 | 0.0073558 | 0.0018435
41 | 0.99362 | -0.1227 | 0.043219 | 0.010832
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013244 | -0.00033194 | 0.0013245 | 0.00033162 | 3.8628e-08 | -3.1559e-07 | 0.0019818 | 0.0019817 | 0.0019818 | 0.99446 | -0.10533 | 0.99449 | -0.10471 | 0.54445
1 | -0.0013245 | -0.00033162 | 0.0013246 | 0.00033066 | 1.1804e-07 | -9.6475e-07 | 0.0019817 | 0.0019813 | 0.0019817 | 0.99449 | -0.10471 | 0.99459 | -0.10284 | 0.54441
2 | -0.0097869 | -0.0024525 | 0.009789 | 0.0024535 | 2.0969e-06 | 1.0034e-06 | 0.014642 | 0.014642 | 0.014642 | 0.99459 | -0.10284 | 0.99482 | -0.098342 | 4.0226
3 | 0.0084623 | 0.0021219 | -0.0084564 | -0.0021194 | 5.9481e-06 | 2.5237e-06 | 0.012661 | 0.012661 | 0.012661 | 0.99459 | -0.10284 | 0.99382 | -0.1176 | 3.4784
4 | 0.13096 | 0.033427 | -0.13075 | -0.033295 | 0.00021 | 0.00013269 | 0.19576 | 0.19576 | 0.19576 | 0.99656 | -0.065097 | 0.99482 | -0.098342 | 17.927
5 | -0.13096 | -0.033427 | 0.13114 | 0.03354 | 0.00017841 | 0.00011272 | 0.19576 | 0.19576 | 0.19576 | 0.99656 | -0.065097 | 0.99805 | -0.036944 | 17.9269
6 | 0.10813 | 0.027622 | -0.10797 | -0.027517 | 0.00016688 | 0.00010482 | 0.16193 | 0.16193 | 0.16193 | 0.99482 | -0.098342 | 0.99314 | -0.13032 | 14.8284
7 | 0.012832 | 0.0032194 | -0.012821 | -0.0032132 | 1.1198e-05 | 6.1157e-06 | 0.019195 | 0.019195 | 0.019195 | 0.99482 | -0.098342 | 0.99387 | -0.11666 | 5.2735
8 | -0.13265 | -0.033917 | 0.13289 | 0.034068 | 0.00023757 | 0.00015014 | 0.19801 | 0.19801 | 0.19801 | 0.99805 | -0.036944 | 1 | 0 | 18.1325
9 | 0.081481 | 0.020587 | -0.081309 | -0.020478 | 0.00017198 | 0.00010966 | 0.1213 | 0.1213 | 0.1213 | 1 | 0 | 0.9977 | -0.044132 | 33.3253
10 | 0.026856 | 0.0067403 | -0.02685 | -0.0067367 | 5.832e-06 | 3.6048e-06 | 0.039965 | 0.039965 | 0.039965 | 1 | 0 | 0.99976 | -0.0045545 | 10.9794
11 | 0.081309 | 0.020478 | -0.081109 | -0.02035 | 0.00020049 | 0.00012784 | 0.1213 | 0.1213 | 0.1213 | 0.9977 | -0.044132 | 0.99501 | -0.095837 | 33.3254
12 | 0.02685 | 0.0067367 | -0.026829 | -0.0067241 | 2.0512e-05 | 1.2679e-05 | 0.039965 | 0.039965 | 0.039965 | 0.99976 | -0.0045545 | 0.99893 | -0.02059 | 10.9795
13 | 0.10785 | 0.027489 | -0.10749 | -0.027257 | 0.00036853 | 0.0002315 | 0.16176 | 0.16176 | 0.16176 | 0.99314 | -0.13032 | 0.98944 | -0.20138 | 14.8133
14 | 0.010146 | 0.0025451 | -0.010136 | -0.00254 | 1.0204e-05 | 5.0784e-06 | 0.015382 | 0.015383 | 0.015383 | 0.98156 | -0.35373 | 0.98048 | -0.37485 | 4.226
15 | -0.050628 | -0.012794 | 0.050661 | 0.012814 | 3.2925e-05 | 2.0319e-05 | 0.076788 | 0.076788 | 0.076788 | 0.98156 | -0.35373 | 0.98225 | -0.34018 | 10.5478
16 | 0.040481 | 0.010248 | -0.040298 | -0.010133 | 0.00018345 | 0.00011578 | 0.061406 | 0.061406 | 0.061406 | 0.98156 | -0.35373 | 0.9767 | -0.44859 | 16.8699
17 | 0.0045869 | 0.0011493 | -0.004586 | -0.0011493 | 9.8354e-07 | -5.2966e-08 | 0.0069612 | 0.0069615 | 0.0069615 | 0.98048 | -0.37485 | 0.98025 | -0.37935 | 1.9125
18 | -0.061174 | -0.015454 | 0.061388 | 0.015587 | 0.0002135 | 0.00013327 | 0.092717 | 0.092716 | 0.092717 | 0.98225 | -0.34018 | 0.986 | -0.26763 | 12.7358
19 | 0.010514 | 0.0026401 | -0.010494 | -0.0026299 | 2.0104e-05 | 1.0198e-05 | 0.015929 | 0.01593 | 0.01593 | 0.98225 | -0.34018 | 0.9802 | -0.38032 | 4.3764
20 | 0.03529 | 0.0088776 | -0.035255 | -0.0088557 | 3.4931e-05 | 2.1953e-05 | 0.053777 | 0.053777 | 0.053777 | 0.9767 | -0.44859 | 0.97564 | -0.46933 | 14.774
21 | -0.080677 | -0.020444 | 0.080935 | 0.020603 | 0.00025769 | 0.00015959 | 0.12183 | 0.12183 | 0.12183 | 0.986 | -0.26763 | 0.98944 | -0.20138 | 11.157
22 | 0.019289 | 0.0048564 | -0.019236 | -0.0048242 | 5.3688e-05 | 3.2213e-05 | 0.029118 | 0.029119 | 0.029119 | 0.986 | -0.26763 | 0.983 | -0.32602 | 7.9998
23 | -0.028268 | -0.0070904 | 0.028276 | 0.0070954 | 8.1701e-06 | 5.0833e-06 | 0.043178 | 0.043178 | 0.043178 | 0.97422 | -0.49741 | 0.97453 | -0.49135 | 11.8622
24 | 0.028268 | 0.0070904 | -0.028259 | -0.0070846 | 9.2019e-06 | 5.7254e-06 | 0.043178 | 0.043178 | 0.043178 | 0.97422 | -0.49741 | 0.97387 | -0.50424 | 11.8622
25 | -0.028276 | -0.0070954 | 0.028306 | 0.0071139 | 2.9723e-05 | 1.8492e-05 | 0.043178 | 0.043178 | 0.043178 | 0.97453 | -0.49135 | 0.97564 | -0.46933 | 11.8622
26 | 0.023605 | 0.0059184 | -0.023596 | -0.0059127 | 9.2919e-06 | 5.7099e-06 | 0.036068 | 0.036069 | 0.036069 | 0.97387 | -0.50424 | 0.97345 | -0.5125 | 9.9089
27 | 0.019236 | 0.0048242 | -0.019226 | -0.0048186 | 9.2623e-06 | 5.5588e-06 | 0.029119 | 0.029119 | 0.029119 | 0.983 | -0.32602 | 0.98248 | -0.33613 | 7.9998
28 | 0.050632 | 0.012711 | -0.050618 | -0.012703 | 1.3266e-05 | 8.4102e-06 | 0.075726 | 0.075726 | 0.075726 | 0.99501 | -0.095837 | 0.99473 | -0.10133 | 20.804
29 | -0.0097179 | -0.0024355 | 0.0097192 | 0.0024362 | 1.3274e-06 | 6.5049e-07 | 0.014862 | 0.014862 | 0.014862 | 0.97298 | -0.52195 | 0.97312 | -0.51909 | 4.083
30 | -0.015808 | -0.0039585 | 0.015809 | 0.003959 | 7.7128e-07 | 4.4988e-07 | 0.024171 | 0.024171 | 0.024171 | 0.97312 | -0.51909 | 0.97317 | -0.51806 | 6.6403
31 | 0.0060886 | 0.0015223 | -0.0060832 | -0.001521 | 5.3873e-06 | 1.3904e-06 | 0.0093089 | 0.0093096 | 0.0093096 | 0.97312 | -0.51909 | 0.97218 | -0.5377 | 2.5576
32 | 0.021037 | 0.0052714 | -0.021032 | -0.0052681 | 5.566e-06 | 3.3839e-06 | 0.032157 | 0.032157 | 0.032157 | 0.97345 | -0.5125 | 0.97317 | -0.51806 | 8.8344
33 | 0.0019284 | 0.00048314 | -0.0019284 | -0.00048322 | 2.4462e-08 | -7.7081e-08 | 0.0029524 | 0.0029525 | 0.0029525 | 0.97191 | -0.54306 | 0.9719 | -0.54332 | 0.81111
34 | -0.0029002 | -0.00072669 | 0.0029002 | 0.00072664 | 4.6628e-08 | -4.8318e-08 | 0.0044402 | 0.0044402 | 0.0044402 | 0.97191 | -0.54306 | 0.97193 | -0.54272 | 1.2198
35 | 0.00096437 | 0.00024161 | -0.00096436 | -0.00024169 | 5.709e-09 | -8.2887e-08 | 0.0014765 | 0.0014765 | 0.0014765 | 0.9719 | -0.54332 | 0.97189 | -0.54345 | 0.40563
36 | -0.0038699 | -0.00096967 | 0.0038709 | 0.00096939 | 9.2533e-07 | -2.7922e-07 | 0.0059248 | 0.0059245 | 0.0059248 | 0.97193 | -0.54272 | 0.97218 | -0.5377 | 1.6277
37 | 0.0022123 | 0.00055156 | -0.0022117 | -0.00055302 | 6.5262e-07 | -1.4644e-06 | 0.0033852 | 0.0033858 | 0.0033858 | 0.97218 | -0.5377 | 0.97187 | -0.54391 | 0.93017
38 | 0.0022117 | 0.00055302 | -0.0022112 | -0.00055406 | 4.6272e-07 | -1.0371e-06 | 0.0033858 | 0.0033863 | 0.0033863 | 0.97187 | -0.54391 | 0.97165 | -0.54831 | 0.9303
39 | 0.0010957 | 0.00027449 | -0.0010957 | -0.00027461 | 1.0897e-08 | -1.2085e-07 | 0.001678 | 0.001678 | 0.001678 | 0.97165 | -0.54831 | 0.97163 | -0.54852 | 0.461
40 | 0.043263 | 0.010859 | -0.043219 | -0.010832 | 4.4036e-05 | 2.782e-05 | 0.064723 | 0.064723 | 0.064723 | 0.99473 | -0.10133 | 0.99362 | -0.1227 | 17.781

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24287 | 0.061395

## res_load
| p_mw | q_mvar
0 | 0.0013244 | 0.00033194
1 | 0.0015059 | 0.00037741
2 | 0.0084564 | 0.0021194
3 | 0.00011168 | 2.799e-05
4 | 0.012821 | 0.0032132
5 | 0.0055491 | 0.0013907
6 | 0.0050076 | 0.001255
7 | 0.010494 | 0.0026299
8 | 0.0046533 | 0.0011662
9 | 0.0069497 | 0.0017418
10 | 0.019226 | 0.0048186
11 | 0.026829 | 0.0067241
12 | 0.02655 | 0.0066541
13 | 0.030477 | 0.0076383
14 | 0.004586 | 0.0011493
15 | 0.0097179 | 0.0024355
16 | 0.0025587 | 0.00064127
17 | 0.00097175 | 0.00024354
18 | 0.00096404 | 0.00024161
19 | 0.00096971 | 0.00024303
20 | 0.00096436 | 0.00024169
21 | 0.0052233 | 0.0013091
22 | 0.0011155 | 0.00027957
23 | 0.0010957 | 0.00027461
24 | 0.0073558 | 0.0018435
25 | 0.043219 | 0.010832

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1