## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-163_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-163_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-163_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-163_0_3_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_230-163_0_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_230-163_0_3_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_230-163_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_230-163_0_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_230-163_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_230-163_0_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_230-163_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_230-163_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_230-163_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_230-163_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_230-163_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_230-163_0_3_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_230-163_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_230-163_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_230-163_0_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_230-163_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_230-163_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_230-163_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_230-163_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_230-163_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_230-163_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_230-163_0_3_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_230-163_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_230-163_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_230-163_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_230-163_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_230-163_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_230-163_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_230-163_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_230-163_0_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_230-163_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_230-163_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_230-163_0_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_230-163_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_230-163_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_230-163_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_230-163_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_230-163_0_3_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_230-163_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_230-163_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_230-163_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_230-163_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_230-163_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_230-163_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_230-163_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_230-163_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_230-163_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_230-163_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_230-163_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_230-163_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_230-163_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_230-163_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_230-163_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_230-163_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_MV_509_1_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-163_0_3_load_0 | 0 | 0.0010879 | 0.00027265 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-163_0_3_load_31 | 5 | 0.016179 | 0.0040549 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-163_0_3_load_60 | 7 | 0.021644 | 0.0054245 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-163_0_3_load_59 | 10 | 0.018351 | 0.0045991 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-163_0_3_load_24 | 14 | 0.0074966 | 0.0018788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-163_0_3_load_41 | 16 | 0.0089043 | 0.0022316 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-163_0_3_load_30 | 18 | 0.0028113 | 0.00070458 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-163_0_3_load_26 | 21 | 0.0075611 | 0.001895 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-163_0_3_load_28 | 22 | 0.0028103 | 0.00070433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-163_0_3_load_27 | 24 | 0.013413 | 0.0033617 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-163_0_3_load_55 | 25 | 0.0037872 | 0.00094915 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-163_0_3_load_32 | 28 | 0.0090666 | 0.0022723 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-163_0_3_load_29 | 30 | 0.0056599 | 0.0014185 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-163_0_3_load_53 | 33 | 0.009214 | 0.0023092 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-163_0_3_load_63 | 35 | 0.030154 | 0.0075573 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-163_0_3_load_56 | 38 | 0.0022919 | 0.00057441 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-163_0_3_load_57 | 39 | 0.069631 | 0.017451 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-163_0_3_load_25 | 40 | 0.0075318 | 0.0018877 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-163_0_3_load_62 | 41 | 0.018066 | 0.0045279 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-163_0_3_load_42 | 42 | 0.0075354 | 0.0018885 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-163_0_3_load_50 | 45 | 0.010838 | 0.0027163 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-163_0_3_load_51 | 48 | 0.012442 | 0.0031182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-163_0_3_load_47 | 49 | 0.0028891 | 0.00072407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-163_0_3_load_49 | 50 | 0.0012533 | 0.0003141 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-163_0_3_load_40 | 51 | 0.0072238 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-163_0_3_load_45 | 52 | 0.0030036 | 0.00075276 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-163_0_3_load_46 | 53 | 0.0026597 | 0.0006666 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-163_0_3_load_33 | 54 | 0.0066716 | 0.0016721 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-163_0_3_load_48 | 55 | 0.015421 | 0.0038649 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-163_0_3_load_43 | 56 | 0.007129 | 0.0017867 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-163_0_3_load_54 | 57 | 0.0069894 | 0.0017517 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-163_0_3_line_0 |  | 0 | 1 | 0.035921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-163_0_3_line_1 |  | 1 | 2 | 0.04886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-163_0_3_line_2 |  | 1 | 3 | 0.17252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-163_0_3_line_3 |  | 2 | 4 | 0.042468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_230-163_0_3_line_4 |  | 2 | 5 | 0.02564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_230-163_0_3_line_5 |  | 3 | 25 | 0.03631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-163_0_3_line_6 |  | 4 | 18 | 0.021763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_230-163_0_3_line_7 |  | 4 | 6 | 0.040191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-163_0_3_line_8 |  | 5 | 11 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_230-163_0_3_line_9 |  | 6 | 7 | 0.074636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-163_0_3_line_10 |  | 7 | 37 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-163_0_3_line_11 |  | 8 | 9 | 0.014816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-163_0_3_line_12 |  | 8 | 10 | 0.0064965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-163_0_3_line_13 |  | 9 | 37 | 0.091629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-163_0_3_line_14 |  | 9 | 39 | 0.0036703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-163_0_3_line_15 |  | 11 | 12 | 0.050855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_230-163_0_3_line_16 |  | 12 | 13 | 0.028153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_230-163_0_3_line_17 |  | 12 | 14 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-163_0_3_line_18 |  | 13 | 15 | 0.042896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_230-163_0_3_line_19 |  | 13 | 16 | 0.034445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-163_0_3_line_20 |  | 14 | 40 | 0.018416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-163_0_3_line_21 |  | 15 | 41 | 0.02585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-163_0_3_line_22 |  | 15 | 36 | 0.031082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_230-163_0_3_line_23 |  | 16 | 42 | 0.042827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-163_0_3_line_24 |  | 17 | 18 | 0.035327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_230-163_0_3_line_25 |  | 19 | 20 | 0.027512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-163_0_3_line_26 |  | 19 | 21 | 0.043085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-163_0_3_line_27 |  | 20 | 22 | 0.018981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-163_0_3_line_28 |  | 21 | 40 | 0.018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-163_0_3_line_29 |  | 22 | 23 | 0.025425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-163_0_3_line_30 |  | 23 | 24 | 0.036459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-163_0_3_line_31 |  | 24 | 29 | 0.0046091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-163_0_3_line_32 |  | 26 | 27 | 0.083044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-163_0_3_line_33 |  | 26 | 28 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-163_0_3_line_34 |  | 27 | 51 | 0.010213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-163_0_3_line_35 |  | 28 | 54 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-163_0_3_line_36 |  | 29 | 30 | 0.035729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-163_0_3_line_37 |  | 31 | 32 | 0.078827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-163_0_3_line_38 |  | 31 | 33 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-163_0_3_line_39 |  | 32 | 50 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-163_0_3_line_40 |  | 32 | 44 | 0.069682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-163_0_3_line_41 |  | 34 | 35 | 0.03949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-163_0_3_line_42 |  | 34 | 36 | 0.057366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-163_0_3_line_43 |  | 36 | 48 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-163_0_3_line_44 |  | 38 | 39 | 0.064748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-163_0_3_line_45 |  | 42 | 56 | 0.016709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-163_0_3_line_46 |  | 43 | 44 | 0.059955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-163_0_3_line_47 |  | 43 | 45 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-163_0_3_line_48 |  | 43 | 46 | 0.067684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-163_0_3_line_49 |  | 44 | 49 | 0.011494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-163_0_3_line_50 |  | 45 | 47 | 0.0021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-163_0_3_line_51 |  | 46 | 51 | 0.021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-163_0_3_line_52 |  | 47 | 48 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-163_0_3_line_53 |  | 49 | 53 | 0.0082554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-163_0_3_line_54 |  | 50 | 55 | 0.010519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-163_0_3_line_55 |  | 52 | 53 | 0.0086074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-163_0_3_line_56 |  | 56 | 57 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-163_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 58 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2698874.0342 | 1261271.9295 | 2698877.4132 | 1261280.3372 | 2698887.4079 | 1261305.2679
1 | 2698856.1978 | 1261236.1688 | 2698859.303 | 1261245.1725 | 2698864.1234 | 1261250.3128 | 2698869.4592 | 1261249.8683 | 2698873.9666 | 1261257.9502 | 2698878.4431 | 1261266.5209 | 2698874.1164 | 1261268.8172 | 2698874.0342 | 1261271.9295
2 | 2698874.0342 | 1261271.9295 | 2698874.1164 | 1261268.8172 | 2698878.4431 | 1261266.5209 | 2698904.2246 | 1261253.0742 | 2698932.4999 | 1261238.3349 | 2698937.3052 | 1261235.8132 | 2699018.3268 | 1261200.9846 | 2699022.1072 | 1261210.1665
3 | 2698856.1978 | 1261236.1688 | 2698848.3218 | 1261214.097 | 2698844.0347 | 1261195.5435
4 | 2698856.1978 | 1261236.1688 | 2698875.9107 | 1261234.0854 | 2698879.7075 | 1261229.6786
5 | 2699022.1072 | 1261210.1665 | 2699035.9261 | 1261243.7445
6 | 2698844.0347 | 1261195.5435 | 2698861.1183 | 1261193.8609 | 2698864.0341 | 1261190.3068
7 | 2698828.7064 | 1261219.3625 | 2698839.0456 | 1261216.266 | 2698845.1811 | 1261214.4226 | 2698840.2225 | 1261195.9135 | 2698844.0347 | 1261195.5435
8 | 2698891.5705 | 1261228.3091 | 2698879.7075 | 1261229.6786
9 | 2698828.7064 | 1261219.3625 | 2698798.9817 | 1261156.6926 | 2698794.1516 | 1261158.8101
10 | 2698779.5074 | 1261165.23 | 2698794.1516 | 1261158.8101
11 | 2698735.455 | 1261221.663 | 2698737.7335 | 1261228.2842 | 2698740.278 | 1261235.6771
12 | 2698740.278 | 1261235.6771 | 2698744.2332 | 1261230.5234
13 | 2698735.455 | 1261221.663 | 2698744.9371 | 1261209.8672 | 2698734.3124 | 1261184.4802 | 2698779.5074 | 1261165.23
14 | 2698735.455 | 1261221.663 | 2698733.1569 | 1261224.5248
15 | 2698891.5705 | 1261228.3091 | 2698895.796 | 1261236.1195 | 2698897.6806 | 1261230.235 | 2698919.7485 | 1261219.384 | 2698921.3209 | 1261208.2901
16 | 2698921.3209 | 1261208.2901 | 2698919.7485 | 1261219.384 | 2698935.3399 | 1261212.7393
17 | 2698921.3209 | 1261208.2901 | 2698920.9959 | 1261197.1026
18 | 2698935.3399 | 1261212.7393 | 2698974.9031 | 1261195.8872
19 | 2698935.3399 | 1261212.7393 | 2698945.6908 | 1261179.886
20 | 2698920.9959 | 1261197.1026 | 2698920.8522 | 1261192.158 | 2698922.1425 | 1261188.4654 | 2698921.2614 | 1261178.9482
21 | 2698969.8862 | 1261170.527 | 2698974.9031 | 1261195.8872
22 | 2699003.5661 | 1261183.6679 | 2698974.9031 | 1261195.8872
23 | 2698945.6908 | 1261179.886 | 2698950.9326 | 1261163.2485 | 2698934.4808 | 1261143.919
24 | 2698883.9614 | 1261172.7143 | 2698881.1435 | 1261175.3694 | 2698873.599 | 1261176.2885 | 2698874.968 | 1261189.0662 | 2698864.0341 | 1261190.3068
25 | 2698877.7904 | 1261125.3058 | 2698891.4105 | 1261123.8878 | 2698893.1324 | 1261137.6389
26 | 2698893.1324 | 1261137.6389 | 2698898.1008 | 1261137.0882 | 2698916.9575 | 1261151.5152 | 2698921.3765 | 1261151.3667 | 2698922.273 | 1261161.2482
27 | 2698877.7904 | 1261125.3058 | 2698858.9546 | 1261127.6485
28 | 2698921.2614 | 1261178.9482 | 2698920.834 | 1261174.332 | 2698923.0882 | 1261170.233 | 2698922.273 | 1261161.2482
29 | 2698835.1721 | 1261132.3995 | 2698857.8903 | 1261129.9993 | 2698858.9546 | 1261127.6485
30 | 2698835.1721 | 1261132.3995 | 2698837.1457 | 1261095.9944
31 | 2698837.3952 | 1261091.392 | 2698837.1457 | 1261095.9944
32 | 2698932.8742 | 1261069.6033 | 2698944.5697 | 1261082.3093 | 2698940.9589 | 1261098.5622 | 2698966.9409 | 1261125.8635 | 2698962.9554 | 1261136.5833
33 | 2698932.8742 | 1261069.6033 | 2698927.2574 | 1261084.4791
34 | 2698962.9554 | 1261136.5833 | 2698959.3886 | 1261146.1537
35 | 2698921.6046 | 1261099.4504 | 2698927.2574 | 1261084.4791
36 | 2698837.3952 | 1261091.392 | 2698872.921 | 1261087.5849
37 | 2699046.9398 | 1261081.0989 | 2699049.4115 | 1261072.5778 | 2699068.9038 | 1261068.8566 | 2699077.4916 | 1261066.8543 | 2699104.7142 | 1261097.9023
38 | 2699104.7142 | 1261097.9023 | 2699114.7518 | 1261108.9313
39 | 2699046.9398 | 1261081.0989 | 2699042.8415 | 1261095.2154
40 | 2698990.2639 | 1261086.8996 | 2698994.9319 | 1261077.2809 | 2699011.6396 | 1261073.7687 | 2699036.8035 | 1261068.4633 | 2699041.4574 | 1261074.0903 | 2699046.9398 | 1261081.0989
41 | 2699043.6378 | 1261123.8897 | 2699050.7366 | 1261149.1292 | 2699056.4672 | 1261161.1127
42 | 2699003.5661 | 1261183.6679 | 2699056.4672 | 1261161.1127
43 | 2699003.5661 | 1261183.6679 | 2699013.6124 | 1261150.8622
44 | 2698735.4962 | 1261270.198 | 2698711.6646 | 1261251.2902 | 2698733.1569 | 1261224.5248
45 | 2698923.6507 | 1261131.1946 | 2698934.4808 | 1261143.919
46 | 2698990.2639 | 1261086.8996 | 2699002.3668 | 1261104.0717 | 2698999.2493 | 1261114.2612 | 2699005.0367 | 1261120.6076 | 2699024.2318 | 1261116.1697
47 | 2699024.2318 | 1261116.1697 | 2699019.0358 | 1261133.1504
48 | 2699024.2318 | 1261116.1697 | 2699005.0367 | 1261120.6076 | 2698996.7217 | 1261122.5256 | 2698991.9934 | 1261137.9925 | 2698987.2494 | 1261153.5036 | 2698980.4287 | 1261151.6991
49 | 2698990.2639 | 1261086.8996 | 2698980.0278 | 1261088.7632 | 2698979.8191 | 1261087.6932
50 | 2699018.3955 | 1261135.2431 | 2699019.0358 | 1261133.1504
51 | 2698980.4287 | 1261151.6991 | 2698959.3886 | 1261146.1537
52 | 2699018.3955 | 1261135.2431 | 2699013.6124 | 1261150.8622
53 | 2698978.2384 | 1261079.5906 | 2698979.8191 | 1261087.6932
54 | 2699039.9086 | 1261105.3177 | 2699042.8415 | 1261095.2154
55 | 2698976.5903 | 1261071.1424 | 2698978.2384 | 1261079.5906
56 | 2698913.1116 | 1261118.8121 | 2698923.6507 | 1261131.1946

## bus_geodata
| x | y | coords
0 | 2698887.4079 | 1261305.2679
1 | 2698874.0342 | 1261271.9295
2 | 2698856.1978 | 1261236.1688
3 | 2699022.1072 | 1261210.1665
4 | 2698844.0347 | 1261195.5435
5 | 2698879.7075 | 1261229.6786
6 | 2698828.7064 | 1261219.3625
7 | 2698794.1516 | 1261158.8101
8 | 2698740.278 | 1261235.6771
9 | 2698735.455 | 1261221.663
10 | 2698744.2332 | 1261230.5234
11 | 2698891.5705 | 1261228.3091
12 | 2698921.3209 | 1261208.2901
13 | 2698935.3399 | 1261212.7393
14 | 2698920.9959 | 1261197.1026
15 | 2698974.9031 | 1261195.8872
16 | 2698945.6908 | 1261179.886
17 | 2698883.9614 | 1261172.7143
18 | 2698864.0341 | 1261190.3068
19 | 2698893.1324 | 1261137.6389
20 | 2698877.7904 | 1261125.3058
21 | 2698922.273 | 1261161.2482
22 | 2698858.9546 | 1261127.6485
23 | 2698835.1721 | 1261132.3995
24 | 2698837.1457 | 1261095.9944
25 | 2699035.9261 | 1261243.7445
26 | 2698932.8742 | 1261069.6033
27 | 2698962.9554 | 1261136.5833
28 | 2698927.2574 | 1261084.4791
29 | 2698837.3952 | 1261091.392
30 | 2698872.921 | 1261087.5849
31 | 2699104.7142 | 1261097.9023
32 | 2699046.9398 | 1261081.0989
33 | 2699114.7518 | 1261108.9313
34 | 2699056.4672 | 1261161.1127
35 | 2699043.6378 | 1261123.8897
36 | 2699003.5661 | 1261183.6679
37 | 2698779.5074 | 1261165.23
38 | 2698735.4962 | 1261270.198
39 | 2698733.1569 | 1261224.5248
40 | 2698921.2614 | 1261178.9482
41 | 2698969.8862 | 1261170.527
42 | 2698934.4808 | 1261143.919
43 | 2699024.2318 | 1261116.1697
44 | 2698990.2639 | 1261086.8996
45 | 2699019.0358 | 1261133.1504
46 | 2698980.4287 | 1261151.6991
47 | 2699018.3955 | 1261135.2431
48 | 2699013.6124 | 1261150.8622
49 | 2698979.8191 | 1261087.6932
50 | 2699042.8415 | 1261095.2154
51 | 2698959.3886 | 1261146.1537
52 | 2698976.5903 | 1261071.1424
53 | 2698978.2384 | 1261079.5906
54 | 2698921.6046 | 1261099.4504
55 | 2699039.9086 | 1261105.3177
56 | 2698923.6507 | 1261131.1946
57 | 2698913.1116 | 1261118.8121
58 | 2698888.0164 | 1261200.1823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99081 | -0.17432 | 0.0010879 | 0.00027265
1 | 0.99084 | -0.17363 | 0 | 0
2 | 0.99106 | -0.16939 | 0 | 0
3 | 0.99024 | -0.18525 | 0 | 0
4 | 0.99401 | -0.11303 | 0 | 0
5 | 0.98932 | -0.20284 | 0.016179 | 0.0040549
6 | 0.98982 | -0.19271 | 0 | 0
7 | 0.98204 | -0.3425 | 0.021644 | 0.0054245
8 | 0.97273 | -0.52473 | 0 | 0
9 | 0.97298 | -0.51972 | 0 | 0
10 | 0.97262 | -0.52693 | 0.018351 | 0.0045991
11 | 0.98856 | -0.21731 | 0 | 0
12 | 0.98536 | -0.27918 | 0 | 0
13 | 0.98397 | -0.30609 | 0 | 0
14 | 0.9849 | -0.28812 | 0.0074966 | 0.0018788
15 | 0.98226 | -0.33933 | 0 | 0
16 | 0.983 | -0.32506 | 0.0089043 | 0.0022316
17 | 1 | 0 | -0.34838 | -0.089599
18 | 0.99628 | -0.070001 | 0.0028113 | 0.00070458
19 | 0.9829 | -0.32709 | 0 | 0
20 | 0.98234 | -0.33796 | 0 | 0
21 | 0.98377 | -0.31009 | 0.0075611 | 0.001895
22 | 0.98196 | -0.34546 | 0.0028103 | 0.00070433
23 | 0.98151 | -0.35423 | 0 | 0
24 | 0.98087 | -0.36683 | 0.013413 | 0.0033617
25 | 0.99012 | -0.18769 | 0.0037872 | 0.00094915
26 | 0.97266 | -0.52719 | 0 | 0
27 | 0.97388 | -0.50314 | 0 | 0
28 | 0.97243 | -0.53181 | 0.0090666 | 0.0022723
29 | 0.98084 | -0.3673 | 0 | 0
30 | 0.98066 | -0.37096 | 0.0056599 | 0.0014185
31 | 0.97166 | -0.547 | 0 | 0
32 | 0.97234 | -0.5336 | 0 | 0
33 | 0.97153 | -0.54954 | 0.009214 | 0.0023092
34 | 0.97905 | -0.40191 | 0 | 0
35 | 0.97794 | -0.42359 | 0.030154 | 0.0075573
36 | 0.98065 | -0.37051 | 0 | 0
37 | 0.98069 | -0.36862 | 0 | 0
38 | 0.9726 | -0.52732 | 0.0022919 | 0.00057441
39 | 0.97273 | -0.52458 | 0.069631 | 0.017451
40 | 0.98427 | -0.30037 | 0.0075318 | 0.0018877
41 | 0.98182 | -0.34777 | 0.018066 | 0.0045279
42 | 0.98214 | -0.3418 | 0.0075354 | 0.0018885
43 | 0.97595 | -0.46252 | 0 | 0
44 | 0.97402 | -0.50039 | 0 | 0
45 | 0.9769 | -0.44388 | 0.010838 | 0.0027163
46 | 0.9745 | -0.49101 | 0 | 0
47 | 0.97704 | -0.44116 | 0 | 0
48 | 0.97807 | -0.42082 | 0.012442 | 0.0031182
49 | 0.97393 | -0.5022 | 0.0028891 | 0.00072407
50 | 0.97211 | -0.53812 | 0.0012533 | 0.0003141
51 | 0.97403 | -0.50019 | 0.0072238 | 0.0018105
52 | 0.97386 | -0.50353 | 0.0030036 | 0.00075276
53 | 0.97389 | -0.50306 | 0.0026597 | 0.0006666
54 | 0.97233 | -0.53377 | 0.0066716 | 0.0016721
55 | 0.97196 | -0.54111 | 0.015421 | 0.0038649
56 | 0.98192 | -0.34606 | 0.007129 | 0.0017867
57 | 0.98182 | -0.34812 | 0.0069894 | 0.0017517
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0010879 | -0.00027265 | 0.0010879 | 0.00027221 | 3.5953e-08 | -4.3964e-07 | 0.0016338 | 0.0016336 | 0.0016338 | 0.99081 | -0.17432 | 0.99084 | -0.17363 | 0.44885
1 | -0.0048776 | -0.0012203 | 0.0048786 | 0.0012203 | 9.8288e-07 | -4.1768e-10 | 0.0073243 | 0.0073241 | 0.0073243 | 0.99084 | -0.17363 | 0.99106 | -0.16939 | 2.0122
2 | 0.0037897 | 0.00094809 | -0.0037876 | -0.00094897 | 2.0954e-06 | -8.7974e-07 | 0.0056906 | 0.0056914 | 0.0056914 | 0.99084 | -0.17363 | 0.99024 | -0.18525 | 1.5636
3 | -0.22744 | -0.057931 | 0.22806 | 0.058326 | 0.00062023 | 0.0003953 | 0.34181 | 0.34181 | 0.34181 | 0.99106 | -0.16939 | 0.99401 | -0.11303 | 31.3017
4 | 0.22256 | 0.05671 | -0.2222 | -0.056482 | 0.00035858 | 0.0002285 | 0.33449 | 0.33449 | 0.33449 | 0.99106 | -0.16939 | 0.98932 | -0.20284 | 30.631
5 | 0.0037876 | 0.00094897 | -0.0037872 | -0.00094915 | 4.4108e-07 | -1.8477e-07 | 0.0056914 | 0.0056916 | 0.0056916 | 0.99024 | -0.18525 | 0.99012 | -0.18769 | 1.5636
6 | -0.34202 | -0.087683 | 0.34274 | 0.08814 | 0.00071511 | 0.00045682 | 0.5127 | 0.5127 | 0.5127 | 0.99401 | -0.11303 | 0.99628 | -0.070001 | 46.951
7 | 0.11397 | 0.029357 | -0.11353 | -0.029076 | 0.00044015 | 0.00028118 | 0.17089 | 0.17089 | 0.17089 | 0.99401 | -0.11303 | 0.98982 | -0.19271 | 46.9481
8 | 0.20602 | 0.052427 | -0.20588 | -0.052336 | 0.00014359 | 9.1441e-05 | 0.31016 | 0.31016 | 0.31016 | 0.98932 | -0.20284 | 0.98856 | -0.21731 | 28.4025
9 | 0.11353 | 0.029076 | -0.11271 | -0.028554 | 0.00081737 | 0.00052216 | 0.17089 | 0.17089 | 0.17089 | 0.98982 | -0.19271 | 0.98204 | -0.3425 | 46.9482
10 | 0.091066 | 0.02313 | -0.090952 | -0.023057 | 0.00011435 | 7.2982e-05 | 0.1381 | 0.1381 | 0.1381 | 0.98204 | -0.3425 | 0.98069 | -0.36862 | 37.9385
11 | -0.018353 | -0.0046003 | 0.018357 | 0.0046029 | 4.3792e-06 | 2.6188e-06 | 0.028075 | 0.028075 | 0.028075 | 0.97273 | -0.52473 | 0.97298 | -0.51972 | 7.7129
12 | 0.018353 | 0.0046003 | -0.018351 | -0.0045991 | 1.9202e-06 | 1.1483e-06 | 0.028075 | 0.028075 | 0.028075 | 0.97273 | -0.52473 | 0.97262 | -0.52693 | 7.7129
13 | -0.090296 | -0.022638 | 0.090952 | 0.023057 | 0.00065528 | 0.00041823 | 0.1381 | 0.1381 | 0.1381 | 0.97298 | -0.51972 | 0.98069 | -0.36862 | 37.9386
14 | 0.071939 | 0.018035 | -0.071923 | -0.018025 | 1.6661e-05 | 1.0617e-05 | 0.11002 | 0.11002 | 0.11002 | 0.97298 | -0.51972 | 0.97273 | -0.52458 | 30.2258
15 | 0.20588 | 0.052336 | -0.20527 | -0.051946 | 0.00061151 | 0.00038942 | 0.31016 | 0.31016 | 0.31016 | 0.98856 | -0.21731 | 0.98536 | -0.27918 | 28.4026
16 | 0.16068 | 0.040732 | -0.16047 | -0.0406 | 0.00020748 | 0.00013171 | 0.24281 | 0.24281 | 0.24281 | 0.98536 | -0.27918 | 0.98397 | -0.30609 | 22.2356
17 | 0.044585 | 0.011215 | -0.044566 | -0.011203 | 1.9034e-05 | 1.204e-05 | 0.067344 | 0.067344 | 0.067344 | 0.98536 | -0.27918 | 0.9849 | -0.28812 | 18.501
18 | 0.12987 | 0.032912 | -0.12966 | -0.032781 | 0.00020709 | 0.0001309 | 0.19652 | 0.19652 | 0.19652 | 0.98397 | -0.30609 | 0.98226 | -0.33933 | 17.9966
19 | 0.030607 | 0.0076882 | -0.030579 | -0.007671 | 2.768e-05 | 1.7278e-05 | 0.046291 | 0.046292 | 0.046292 | 0.98397 | -0.30609 | 0.983 | -0.32506 | 12.7175
20 | 0.03707 | 0.0093238 | -0.037048 | -0.0093102 | 2.1671e-05 | 1.3635e-05 | 0.056018 | 0.056018 | 0.056018 | 0.9849 | -0.28812 | 0.98427 | -0.30037 | 15.3895
21 | 0.018074 | 0.0045322 | -0.018066 | -0.0045279 | 7.2674e-06 | 4.3241e-06 | 0.027381 | 0.027381 | 0.027381 | 0.98226 | -0.33933 | 0.98182 | -0.34777 | 7.5222
22 | 0.11159 | 0.028248 | -0.11142 | -0.028143 | 0.00016673 | 0.00010592 | 0.16914 | 0.16914 | 0.16914 | 0.98226 | -0.33933 | 0.98065 | -0.37051 | 23.2338
23 | 0.021675 | 0.0054393 | -0.021657 | -0.0054288 | 1.7291e-05 | 1.0524e-05 | 0.032813 | 0.032813 | 0.032813 | 0.983 | -0.32506 | 0.98214 | -0.3418 | 9.0145
24 | 0.34673 | 0.089599 | -0.34555 | -0.088845 | 0.0011799 | 0.00075373 | 0.5169 | 0.5169 | 0.5169 | 1 | 0 | 0.99628 | -0.070001 | 47.3354
25 | 0.021923 | 0.0055081 | -0.021912 | -0.0055012 | 1.1368e-05 | 6.9272e-06 | 0.033195 | 0.033195 | 0.033195 | 0.9829 | -0.32709 | 0.98234 | -0.33796 | 9.1195
26 | -0.021923 | -0.0055081 | 0.021941 | 0.005519 | 1.7803e-05 | 1.0847e-05 | 0.033195 | 0.033195 | 0.033195 | 0.9829 | -0.32709 | 0.98377 | -0.31009 | 9.1195
27 | 0.021912 | 0.0055012 | -0.021904 | -0.0054964 | 7.8432e-06 | 4.7795e-06 | 0.033195 | 0.033195 | 0.033195 | 0.98234 | -0.33796 | 0.98196 | -0.34546 | 9.1195
28 | -0.029502 | -0.007414 | 0.029516 | 0.0074225 | 1.3696e-05 | 8.5327e-06 | 0.044631 | 0.044631 | 0.044631 | 0.98377 | -0.31009 | 0.98427 | -0.30037 | 12.2613
29 | 0.019094 | 0.0047921 | -0.019086 | -0.0047873 | 7.9834e-06 | 4.7879e-06 | 0.028936 | 0.028937 | 0.028937 | 0.98196 | -0.34546 | 0.98151 | -0.35423 | 7.9496
30 | 0.019086 | 0.0047873 | -0.019075 | -0.0047804 | 1.1448e-05 | 6.8662e-06 | 0.028937 | 0.028937 | 0.028937 | 0.98151 | -0.35423 | 0.98087 | -0.36683 | 7.9497
31 | 0.005661 | 0.0014187 | -0.0056609 | -0.0014187 | 1.2748e-07 | 2.341e-08 | 0.008588 | 0.008588 | 0.008588 | 0.98087 | -0.36683 | 0.98084 | -0.3673 | 2.3593
32 | -0.015742 | -0.0039466 | 0.01576 | 0.0039571 | 1.8062e-05 | 1.0528e-05 | 0.024084 | 0.024083 | 0.024084 | 0.97266 | -0.52719 | 0.97388 | -0.50314 | 6.6164
33 | 0.015742 | 0.0039466 | -0.015739 | -0.0039446 | 3.4586e-06 | 2.0162e-06 | 0.024084 | 0.024084 | 0.024084 | 0.97266 | -0.52719 | 0.97243 | -0.53181 | 6.6164
34 | -0.01576 | -0.0039571 | 0.015763 | 0.0039584 | 2.2214e-06 | 1.2946e-06 | 0.024083 | 0.024083 | 0.024083 | 0.97388 | -0.50314 | 0.97403 | -0.50019 | 6.6163
35 | 0.0066723 | 0.0016723 | -0.0066716 | -0.0016721 | 6.2558e-07 | 2.0186e-07 | 0.01021 | 0.01021 | 0.01021 | 0.97243 | -0.53181 | 0.97233 | -0.53377 | 2.805
36 | 0.0056609 | 0.0014187 | -0.0056599 | -0.0014185 | 9.882e-07 | 1.8158e-07 | 0.008588 | 0.0085882 | 0.0085882 | 0.98084 | -0.3673 | 0.98066 | -0.37096 | 2.3594
37 | -0.0092151 | -0.0023098 | 0.009221 | 0.0023126 | 5.8869e-06 | 2.7906e-06 | 0.014112 | 0.014112 | 0.014112 | 0.97166 | -0.547 | 0.97234 | -0.5336 | 3.877
38 | 0.0092151 | 0.0023098 | -0.009214 | -0.0023092 | 1.1137e-06 | 5.2811e-07 | 0.014112 | 0.014112 | 0.014112 | 0.97166 | -0.547 | 0.97153 | -0.54954 | 3.877
39 | 0.01668 | 0.0041824 | -0.016677 | -0.0041803 | 3.592e-06 | 2.1166e-06 | 0.025527 | 0.025527 | 0.025527 | 0.97234 | -0.5336 | 0.97211 | -0.53812 | 7.013
40 | -0.025901 | -0.0064949 | 0.025942 | 0.0065203 | 4.1058e-05 | 2.5411e-05 | 0.039639 | 0.039639 | 0.039639 | 0.97234 | -0.5336 | 0.97402 | -0.50039 | 10.8898
41 | 0.030185 | 0.0075768 | -0.030154 | -0.0075573 | 3.1174e-05 | 1.9455e-05 | 0.045882 | 0.045882 | 0.045882 | 0.97905 | -0.40191 | 0.97794 | -0.42359 | 12.6049
42 | -0.030185 | -0.0075768 | 0.030231 | 0.007605 | 4.5286e-05 | 2.826e-05 | 0.045882 | 0.045881 | 0.045882 | 0.97905 | -0.40191 | 0.98065 | -0.37051 | 12.6048
43 | 0.081188 | 0.020538 | -0.080993 | -0.020413 | 0.00019548 | 0.00012467 | 0.12326 | 0.12326 | 0.12326 | 0.98065 | -0.37051 | 0.97807 | -0.42082 | 33.863
44 | -0.0022919 | -0.00057441 | 0.0022922 | 0.0005738 | 2.9852e-07 | -6.1259e-07 | 0.0035065 | 0.0035062 | 0.0035065 | 0.9726 | -0.52732 | 0.97273 | -0.52458 | 0.96333
45 | 0.014122 | 0.0035403 | -0.014119 | -0.0035386 | 2.8685e-06 | 1.6245e-06 | 0.021396 | 0.021396 | 0.021396 | 0.98214 | -0.3418 | 0.98192 | -0.34606 | 5.8781
46 | 0.034558 | 0.0087033 | -0.034496 | -0.0086641 | 6.2455e-05 | 3.9224e-05 | 0.052706 | 0.052706 | 0.052706 | 0.97595 | -0.46252 | 0.97402 | -0.50039 | 14.4796
47 | -0.057586 | -0.014498 | 0.057637 | 0.01453 | 5.1363e-05 | 3.265e-05 | 0.087824 | 0.087824 | 0.087824 | 0.97595 | -0.46252 | 0.9769 | -0.44388 | 24.1275
48 | 0.023028 | 0.0057942 | -0.022997 | -0.0057751 | 3.1304e-05 | 1.919e-05 | 0.035119 | 0.035119 | 0.035119 | 0.97595 | -0.46252 | 0.9745 | -0.49101 | 9.6481
49 | 0.0085534 | 0.0021437 | -0.0085527 | -0.0021434 | 7.3601e-07 | 3.2799e-07 | 0.013067 | 0.013067 | 0.013067 | 0.97402 | -0.50039 | 0.97393 | -0.5022 | 3.5899
50 | -0.068475 | -0.017246 | 0.068484 | 0.017252 | 8.9336e-06 | 5.6901e-06 | 0.10433 | 0.10433 | 0.10433 | 0.9769 | -0.44388 | 0.97704 | -0.44116 | 28.6629
51 | 0.022997 | 0.0057751 | -0.022986 | -0.0057689 | 1.0063e-05 | 6.1696e-06 | 0.035119 | 0.035119 | 0.035119 | 0.9745 | -0.49101 | 0.97403 | -0.50019 | 9.6481
52 | -0.068484 | -0.017252 | 0.068551 | 0.017295 | 6.6679e-05 | 4.247e-05 | 0.10433 | 0.10433 | 0.10433 | 0.97704 | -0.44116 | 0.97807 | -0.42082 | 28.6629
53 | 0.0056636 | 0.0014193 | -0.0056634 | -0.0014193 | 2.318e-07 | 4.5626e-08 | 0.0086531 | 0.0086532 | 0.0086532 | 0.97393 | -0.5022 | 0.97389 | -0.50306 | 2.3772
54 | 0.015423 | 0.0038662 | -0.015421 | -0.0038649 | 2.1987e-06 | 1.2768e-06 | 0.023609 | 0.023609 | 0.023609 | 0.97211 | -0.53812 | 0.97196 | -0.54111 | 6.4859
55 | -0.0030036 | -0.00075276 | 0.0030036 | 0.0007527 | 6.7982e-08 | -6.3591e-08 | 0.0045893 | 0.0045893 | 0.0045893 | 0.97386 | -0.50353 | 0.97389 | -0.50306 | 1.2608
56 | 0.0069901 | 0.0017519 | -0.0069894 | -0.0017517 | 6.8421e-07 | 2.3224e-07 | 0.010593 | 0.010593 | 0.010593 | 0.98192 | -0.34606 | 0.98182 | -0.34812 | 2.9101

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34838 | 0.089599

## res_load
| p_mw | q_mvar
0 | 0.0010879 | 0.00027265
1 | 0.016179 | 0.0040549
2 | 0.021644 | 0.0054245
3 | 0.018351 | 0.0045991
4 | 0.0074966 | 0.0018788
5 | 0.0089043 | 0.0022316
6 | 0.0028113 | 0.00070458
7 | 0.0075611 | 0.001895
8 | 0.0028103 | 0.00070433
9 | 0.013413 | 0.0033617
10 | 0.0037872 | 0.00094915
11 | 0.0090666 | 0.0022723
12 | 0.0056599 | 0.0014185
13 | 0.009214 | 0.0023092
14 | 0.030154 | 0.0075573
15 | 0.0022919 | 0.00057441
16 | 0.069631 | 0.017451
17 | 0.0075318 | 0.0018877
18 | 0.018066 | 0.0045279
19 | 0.0075354 | 0.0018885
20 | 0.010838 | 0.0027163
21 | 0.012442 | 0.0031182
22 | 0.0028891 | 0.00072407
23 | 0.0012533 | 0.0003141
24 | 0.0072238 | 0.0018105
25 | 0.0030036 | 0.00075276
26 | 0.0026597 | 0.0006666
27 | 0.0066716 | 0.0016721
28 | 0.015421 | 0.0038649
29 | 0.007129 | 0.0017867
30 | 0.0069894 | 0.0017517

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1