## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-166_1_5_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_230-166_1_5_node_82 | 0.4 | n |  | TRUE
2 | bus_LV_230-166_1_5_node_125 | 0.4 | n |  | TRUE
3 | bus_LV_230-166_1_5_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_230-166_1_5_node_83 | 0.4 | n |  | TRUE
5 | bus_LV_230-166_1_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_230-166_1_5_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_230-166_1_5_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_230-166_1_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_230-166_1_5_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_230-166_1_5_node_122 | 0.4 | n |  | TRUE
11 | bus_LV_230-166_1_5_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_230-166_1_5_node_103 | 0.4 | n |  | TRUE
13 | bus_LV_230-166_1_5_node_118 | 0.4 | n |  | TRUE
14 | bus_LV_230-166_1_5_node_121 | 0.4 | n |  | TRUE
15 | bus_LV_230-166_1_5_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_230-166_1_5_node_117 | 0.4 | n |  | TRUE
17 | bus_LV_230-166_1_5_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_230-166_1_5_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_230-166_1_5_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_230-166_1_5_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_230-166_1_5_node_104 | 0.4 | n |  | TRUE
22 | bus_LV_230-166_1_5_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_230-166_1_5_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_230-166_1_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_230-166_1_5_node_91 | 0.4 | n |  | TRUE
26 | bus_LV_230-166_1_5_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_230-166_1_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_230-166_1_5_node_5 | 0.4 | n |  | TRUE
29 | bus_LV_230-166_1_5_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_230-166_1_5_node_115 | 0.4 | n |  | TRUE
31 | bus_LV_230-166_1_5_node_119 | 0.4 | n |  | TRUE
32 | bus_LV_230-166_1_5_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_230-166_1_5_node_116 | 0.4 | n |  | TRUE
34 | bus_LV_230-166_1_5_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_230-166_1_5_node_114 | 0.4 | n |  | TRUE
36 | bus_LV_230-166_1_5_node_120 | 0.4 | n |  | TRUE
37 | bus_LV_230-166_1_5_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_230-166_1_5_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_230-166_1_5_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_230-166_1_5_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_230-166_1_5_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_230-166_1_5_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_230-166_1_5_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_230-166_1_5_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_230-166_1_5_node_127 | 0.4 | n |  | TRUE
46 | bus_LV_230-166_1_5_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_230-166_1_5_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_230-166_1_5_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_230-166_1_5_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_230-166_1_5_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_230-166_1_5_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_230-166_1_5_node_126 | 0.4 | n |  | TRUE
53 | bus_LV_230-166_1_5_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_230-166_1_5_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_230-166_1_5_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_230-166_1_5_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_230-166_1_5_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_230-166_1_5_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_230-166_1_5_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_230-166_1_5_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_230-166_1_5_node_111 | 0.4 | n |  | TRUE
62 | bus_LV_230-166_1_5_node_113 | 0.4 | n |  | TRUE
63 | bus_LV_230-166_1_5_node_112 | 0.4 | n |  | TRUE
64 | bus_MV_511_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-166_1_5_load_125 | 2 | 0.018002 | 0.0045117 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-166_1_5_load_83 | 4 | 0.019496 | 0.0048863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-166_1_5_load_96 | 7 | 0.0028317 | 0.00070969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-166_1_5_load_122 | 10 | 0.0010542 | 0.00026421 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-166_1_5_load_118 | 13 | 0.0015179 | 0.00038042 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-166_1_5_load_121 | 14 | 0.0010594 | 0.0002655 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-166_1_5_load_117 | 16 | 0.0011182 | 0.00028026 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-166_1_5_load_90 | 20 | 0.0086728 | 0.0021736 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-166_1_5_load_104 | 21 | 0.0092056 | 0.0023072 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-166_1_5_load_102 | 22 | 0.0013252 | 0.00033212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-166_1_5_load_91 | 25 | 0.0025203 | 0.00063164 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-166_1_5_load_87 | 26 | 0.007876 | 0.0019739 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-166_1_5_load_5 | 28 | 0.011476 | 0.0028761 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-166_1_5_load_77 | 29 | 0.0046088 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-166_1_5_load_115 | 30 | 0.0023007 | 0.00057662 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-166_1_5_load_119 | 31 | 0.0022064 | 0.00055297 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-166_1_5_load_116 | 33 | 0.0015172 | 0.00038024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-166_1_5_load_114 | 35 | 0.020444 | 0.0051238 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-166_1_5_load_120 | 36 | 0.0018766 | 0.00047032 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-166_1_5_load_80 | 37 | 0.0066178 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-166_1_5_load_92 | 38 | 0.004888 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-166_1_5_load_85 | 39 | 0.00076152 | 0.00019085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-166_1_5_load_64 | 40 | 0.0040719 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-166_1_5_load_127 | 45 | 0.00028304 | 7.0937e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-166_1_5_load_89 | 46 | 0.047456 | 0.011894 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-166_1_5_load_74 | 48 | 0.0025251 | 0.00063285 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-166_1_5_load_71 | 49 | 0.0033212 | 0.00083238 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-166_1_5_load_126 | 52 | 0.016336 | 0.0040941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-166_1_5_load_72 | 54 | 0.0008909 | 0.00022328 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-166_1_5_load_75 | 55 | 0.0033212 | 0.00083238 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-166_1_5_load_73 | 56 | 0.0033212 | 0.00083238 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-166_1_5_load_81 | 58 | 0.0037285 | 0.00093444 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-166_1_5_load_84 | 59 | 0.0071049 | 0.0017806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-166_1_5_load_108 | 60 | 0.045364 | 0.011369 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-166_1_5_load_111 | 61 | 0.045514 | 0.011407 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-166_1_5_load_113 | 62 | 0.014457 | 0.0036232 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-166_1_5_load_112 | 63 | 0.00065403 | 0.00016392 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-166_1_5_line_0 |  | 0 | 1 | 0.009481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-166_1_5_line_1 |  | 0 | 2 | 0.11846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-166_1_5_line_2 |  | 1 | 29 | 0.021722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-166_1_5_line_3 |  | 1 | 3 | 0.048513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-166_1_5_line_4 |  | 2 | 17 | 0.080259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-166_1_5_line_5 |  | 3 | 4 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-166_1_5_line_6 |  | 5 | 6 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-166_1_5_line_7 |  | 5 | 7 | 0.019459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-166_1_5_line_8 |  | 6 | 19 | 0.049539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-166_1_5_line_9 |  | 6 | 20 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-166_1_5_line_10 |  | 8 | 9 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-166_1_5_line_11 |  | 8 | 10 | 0.059506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-166_1_5_line_12 |  | 9 | 14 | 0.043843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-166_1_5_line_13 |  | 11 | 12 | 0.01295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-166_1_5_line_14 |  | 11 | 13 | 0.039557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-166_1_5_line_15 |  | 12 | 31 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-166_1_5_line_16 |  | 12 | 32 | 0.031212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-166_1_5_line_17 |  | 13 | 33 | 0.018409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-166_1_5_line_18 |  | 14 | 15 | 0.014355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-166_1_5_line_19 |  | 15 | 16 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-166_1_5_line_20 |  | 16 | 30 | 0.0045464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-166_1_5_line_21 |  | 17 | 18 | 0.16852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-166_1_5_line_22 |  | 18 | 28 | 0.0066096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-166_1_5_line_23 |  | 19 | 21 | 0.030528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_230-166_1_5_line_24 |  | 19 | 22 | 0.029572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_230-166_1_5_line_25 |  | 21 | 27 | 0.029252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_230-166_1_5_line_26 |  | 22 | 32 | 0.030434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_230-166_1_5_line_27 |  | 23 | 24 | 0.014436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_230-166_1_5_line_28 |  | 23 | 25 | 0.037423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_230-166_1_5_line_29 |  | 24 | 26 | 0.041688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_230-166_1_5_line_30 |  | 24 | 27 | 0.027277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_230-166_1_5_line_31 |  | 25 | 37 | 0.0028284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_230-166_1_5_line_32 |  | 26 | 38 | 0.013627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-166_1_5_line_33 |  | 26 | 39 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-166_1_5_line_34 |  | 29 | 51 | 0.026109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-166_1_5_line_35 |  | 30 | 33 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-166_1_5_line_36 |  | 31 | 36 | 0.022407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-166_1_5_line_37 |  | 34 | 35 | 0.00053419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-166_1_5_line_38 |  | 34 | 36 | 0.021891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-166_1_5_line_39 |  | 35 | 62 | 0.0057384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-166_1_5_line_40 |  | 37 | 53 | 0.040518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_230-166_1_5_line_41 |  | 39 | 59 | 0.014095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-166_1_5_line_42 |  | 40 | 41 | 0.028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-166_1_5_line_43 |  | 40 | 42 | 0.031244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-166_1_5_line_44 |  | 41 | 43 | 0.04236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-166_1_5_line_45 |  | 42 | 44 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-166_1_5_line_46 |  | 43 | 45 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-166_1_5_line_47 |  | 44 | 46 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-166_1_5_line_48 |  | 45 | 52 | 0.053038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-166_1_5_line_49 |  | 46 | 50 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-166_1_5_line_50 |  | 47 | 48 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_230-166_1_5_line_51 |  | 47 | 49 | 0.023007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-166_1_5_line_52 |  | 48 | 53 | 0.024678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_230-166_1_5_line_53 |  | 49 | 54 | 0.0015903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-166_1_5_line_54 |  | 50 | 51 | 0.030339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-166_1_5_line_55 |  | 51 | 55 | 0.016157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-166_1_5_line_56 |  | 53 | 57 | 0.036725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-166_1_5_line_57 |  | 54 | 56 | 0.024768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-166_1_5_line_58 |  | 55 | 56 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-166_1_5_line_59 |  | 57 | 58 | 0.013841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-166_1_5_line_60 |  | 60 | 61 | 0.02531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-166_1_5_line_61 |  | 61 | 63 | 0.032572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-166_1_5_line_62 |  | 62 | 63 | 0.00026381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-166_1_5_trafo_87 | 0.63 MVA 20/0.4 kV | 64 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2699715.9441 | 1262022.542 | 2699718.6922 | 1262031.618
1 | 2699715.9441 | 1262022.542 | 2699718.6709 | 1262011.8903 | 2699718.3962 | 1262008.0714 | 2699732.3526 | 1261932.1221 | 2699738.5424 | 1261906.4473
2 | 2699718.6922 | 1262031.618 | 2699724.0541 | 1262010.5685
3 | 2699706.5211 | 1262078.5848 | 2699707.4479 | 1262075.0197 | 2699718.6922 | 1262031.618
4 | 2699761.173 | 1261829.6572 | 2699755.1457 | 1261842.5216 | 2699744.4746 | 1261881.8407 | 2699738.5424 | 1261906.4473
5 | 2699706.5211 | 1262078.5848 | 2699732.4125 | 1262085.3941
6 | 2699859.115 | 1262147.3597 | 2699858.4254 | 1262144.4679 | 2699856.6633 | 1262143.0592 | 2699858.4175 | 1262136.0164 | 2699860.0911 | 1262129.2835
7 | 2699859.115 | 1262147.3597 | 2699840.294 | 1262142.4188
8 | 2699860.0911 | 1262129.2835 | 2699869.7017 | 1262131.7923 | 2699873.2471 | 1262119.531 | 2699877.7474 | 1262120.7746 | 2699881.9347 | 1262121.8128 | 2699898.8452 | 1262127.5587
9 | 2699860.0911 | 1262129.2835 | 2699844.9142 | 1262125.3165
10 | 2700152.2173 | 1262205.9631 | 2700136.4481 | 1262201.8149
11 | 2700152.2173 | 1262205.9631 | 2700152.4989 | 1262204.9114 | 2700160.159 | 1262176.2064 | 2700170.1723 | 1262152.2784 | 2700170.9446 | 1262149.6193
12 | 2700136.4481 | 1262201.8149 | 2700094.0502 | 1262190.6503
13 | 2699987.4138 | 1262149.1728 | 2699984.1049 | 1262161.6939
14 | 2699984.1049 | 1262161.6939 | 2700022.3578 | 1262171.7688
15 | 2699987.4138 | 1262149.1728 | 2699990.8903 | 1262136.0259
16 | 2699956.9305 | 1262142.6189 | 2699974.0914 | 1262145.5892 | 2699982.5005 | 1262147.8443 | 2699987.4138 | 1262149.1728
17 | 2700040.1596 | 1262176.4574 | 2700022.3578 | 1262171.7688
18 | 2700080.1683 | 1262186.9947 | 2700094.0502 | 1262190.6503
19 | 2700080.1683 | 1262186.9947 | 2700066.7099 | 1262183.4501
20 | 2700062.3134 | 1262182.2922 | 2700066.7099 | 1262183.4501
21 | 2699761.173 | 1261829.6572 | 2699763.0989 | 1261830.3013 | 2699763.466 | 1261830.8746 | 2699763.5133 | 1261831.6427 | 2699763.1346 | 1261838.8978 | 2699763.7734 | 1261840.3431 | 2699768.6137 | 1261845.1176 | 2699769.2818 | 1261845.7182 | 2699769.7086 | 1261848.5611 | 2699777.7752 | 1261851.9443 | 2699792.9188 | 1261857.9492 | 2699795.794 | 1261855.9293 | 2699805.6807 | 1261859.9661 | 2699807.5448 | 1261851.7686 | 2699808.7354 | 1261840.6129 | 2699806.4105 | 1261819.8677 | 2699811.1081 | 1261819.7024 | 2699818.52 | 1261819.4606 | 2699837.0008 | 1261818.8497 | 2699837.7605 | 1261841.6924 | 2699850.1839 | 1261841.4352
22 | 2699850.1839 | 1261841.4352 | 2699856.7922 | 1261841.3048
23 | 2699898.8452 | 1262127.5587 | 2699906.8919 | 1262098.1106
24 | 2699898.8452 | 1262127.5587 | 2699927.4705 | 1262134.9806
25 | 2699914.5372 | 1262069.8762 | 2699913.4482 | 1262074.1169 | 2699906.8919 | 1262098.1106
26 | 2699956.9305 | 1262142.6189 | 2699927.4705 | 1262134.9806
27 | 2699884.4058 | 1262076.8064 | 2699888.1755 | 1262062.8697
28 | 2699884.4058 | 1262076.8064 | 2699848.4179 | 1262066.543
29 | 2699888.1755 | 1262062.8697 | 2699899.0514 | 1262022.6203
30 | 2699888.1755 | 1262062.8697 | 2699896.3526 | 1262065.0429 | 2699914.5372 | 1262069.8762
31 | 2699845.6979 | 1262065.7673 | 2699848.4179 | 1262066.543
32 | 2699899.0514 | 1262022.6203 | 2699912.2247 | 1262026.1067
33 | 2699899.0514 | 1262022.6203 | 2699902.7541 | 1262008.7668
34 | 2699730.4989 | 1261985.2678 | 2699724.0541 | 1262010.5685
35 | 2700062.3134 | 1262182.2922 | 2700040.1596 | 1262176.4574
36 | 2699990.8903 | 1262136.0259 | 2699996.6185 | 1262114.3638
37 | 2700002.211 | 1262093.1991 | 2700002.3518 | 1262092.6838
38 | 2700002.211 | 1262093.1991 | 2699997.6541 | 1262110.4474 | 2699996.6185 | 1262114.3638
39 | 2700003.8644 | 1262087.1484 | 2700002.3518 | 1262092.6838
40 | 2699806.7339 | 1262054.655 | 2699845.6979 | 1262065.7673
41 | 2699906.3934 | 1261995.15 | 2699902.7541 | 1262008.7668
42 | 2699825.3609 | 1261966.3634 | 2699797.9216 | 1261959.1144
43 | 2699767.7136 | 1261951.1339 | 2699797.9216 | 1261959.1144
44 | 2699825.3609 | 1261966.3634 | 2699834.7473 | 1261925.0545
45 | 2699767.7136 | 1261951.1339 | 2699764.6163 | 1261962.7468
46 | 2699834.7473 | 1261925.0545 | 2699818.1049 | 1261918.1897
47 | 2699764.6163 | 1261962.7468 | 2699751.9259 | 1261959.4675
48 | 2699769.074 | 1261897.9652 | 2699818.1049 | 1261918.1897
49 | 2699737.9131 | 1261955.8464 | 2699751.9259 | 1261959.4675
50 | 2699819.381 | 1262008.5527 | 2699813.2626 | 1262030.8561
51 | 2699819.381 | 1262008.5527 | 2699797.1251 | 1262002.7222
52 | 2699806.7339 | 1262054.655 | 2699813.2626 | 1262030.8561
53 | 2699797.1251 | 1262002.7222 | 2699795.5868 | 1262002.3192
54 | 2699737.9131 | 1261955.8464 | 2699730.4989 | 1261985.2678
55 | 2699730.4989 | 1261985.2678 | 2699746.1286 | 1261989.3624
56 | 2699806.7339 | 1262054.655 | 2699771.0724 | 1262045.457
57 | 2699771.6269 | 1261996.0423 | 2699795.5868 | 1262002.3192
58 | 2699771.6269 | 1261996.0423 | 2699746.1286 | 1261989.3624
59 | 2699771.0724 | 1262045.457 | 2699757.691 | 1262041.9216
60 | 2700019.1906 | 1262031.0586 | 2700012.5194 | 1262055.4735
61 | 2700012.5194 | 1262055.4735 | 2700003.9339 | 1262086.8939
62 | 2700003.8644 | 1262087.1484 | 2700003.9339 | 1262086.8939

## bus_geodata
| x | y | coords
0 | 2699715.9441 | 1262022.542
1 | 2699718.6922 | 1262031.618
2 | 2699738.5424 | 1261906.4473
3 | 2699706.5211 | 1262078.5848
4 | 2699732.4125 | 1262085.3941
5 | 2699859.115 | 1262147.3597
6 | 2699860.0911 | 1262129.2835
7 | 2699840.294 | 1262142.4188
8 | 2700152.2173 | 1262205.9631
9 | 2700136.4481 | 1262201.8149
10 | 2700170.9446 | 1262149.6193
11 | 2699984.1049 | 1262161.6939
12 | 2699987.4138 | 1262149.1728
13 | 2700022.3578 | 1262171.7688
14 | 2700094.0502 | 1262190.6503
15 | 2700080.1683 | 1262186.9947
16 | 2700066.7099 | 1262183.4501
17 | 2699761.173 | 1261829.6572
18 | 2699850.1839 | 1261841.4352
19 | 2699898.8452 | 1262127.5587
20 | 2699844.9142 | 1262125.3165
21 | 2699906.8919 | 1262098.1106
22 | 2699927.4705 | 1262134.9806
23 | 2699884.4058 | 1262076.8064
24 | 2699888.1755 | 1262062.8697
25 | 2699848.4179 | 1262066.543
26 | 2699899.0514 | 1262022.6203
27 | 2699914.5372 | 1262069.8762
28 | 2699856.7922 | 1261841.3048
29 | 2699724.0541 | 1262010.5685
30 | 2700062.3134 | 1262182.2922
31 | 2699990.8903 | 1262136.0259
32 | 2699956.9305 | 1262142.6189
33 | 2700040.1596 | 1262176.4574
34 | 2700002.211 | 1262093.1991
35 | 2700002.3518 | 1262092.6838
36 | 2699996.6185 | 1262114.3638
37 | 2699845.698 | 1262065.7673
38 | 2699912.2247 | 1262026.1067
39 | 2699902.7541 | 1262008.7668
40 | 2699797.9216 | 1261959.1144
41 | 2699825.3609 | 1261966.3634
42 | 2699767.7136 | 1261951.1339
43 | 2699834.7473 | 1261925.0545
44 | 2699764.6163 | 1261962.7468
45 | 2699818.1049 | 1261918.1897
46 | 2699751.9259 | 1261959.4675
47 | 2699819.381 | 1262008.5527
48 | 2699813.2626 | 1262030.8561
49 | 2699797.1251 | 1262002.7222
50 | 2699737.9131 | 1261955.8464
51 | 2699730.4989 | 1261985.2678
52 | 2699769.074 | 1261897.9652
53 | 2699806.7339 | 1262054.655
54 | 2699795.5868 | 1262002.3192
55 | 2699746.1286 | 1261989.3624
56 | 2699771.6269 | 1261996.0423
57 | 2699771.0724 | 1262045.457
58 | 2699757.691 | 1262041.9216
59 | 2699906.3934 | 1261995.15
60 | 2700019.1906 | 1262031.0586
61 | 2700012.5194 | 1262055.4735
62 | 2700003.8644 | 1262087.1484
63 | 2700003.9339 | 1262086.8939
64 | 2699888.1755 | 1262062.8697

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97632 | -0.45425 | 0 | 0
1 | 0.97658 | -0.44914 | 0 | 0
2 | 0.97306 | -0.51834 | 0.018002 | 0.0045117
3 | 0.9757 | -0.46645 | 0 | 0
4 | 0.97522 | -0.47601 | 0.019496 | 0.0048863
5 | 0.99045 | -0.18085 | 0 | 0
6 | 0.9905 | -0.17987 | 0 | 0
7 | 0.9904 | -0.18183 | 0.0028317 | 0.00070969
8 | 0.98229 | -0.33768 | 0 | 0
9 | 0.9823 | -0.33737 | 0 | 0
10 | 0.98223 | -0.33882 | 0.0010542 | 0.00026421
11 | 0.98296 | -0.32443 | 0 | 0
12 | 0.98307 | -0.32243 | 0 | 0
13 | 0.98265 | -0.33055 | 0.0015179 | 0.00038042
14 | 0.98235 | -0.33654 | 0.0010594 | 0.0002655
15 | 0.98237 | -0.33599 | 0 | 0
16 | 0.9824 | -0.33545 | 0.0011182 | 0.00028026
17 | 0.9722 | -0.53532 | 0 | 0
18 | 0.9704 | -0.57106 | 0 | 0
19 | 0.99102 | -0.16975 | 0 | 0
20 | 0.99037 | -0.18229 | 0.0086728 | 0.0021736
21 | 0.99318 | -0.12868 | 0.0092056 | 0.0023072
22 | 0.98908 | -0.20667 | 0.0013252 | 0.00033212
23 | 0.99534 | -0.087703 | 0 | 0
24 | 0.996 | -0.07518 | 0 | 0
25 | 0.99363 | -0.12024 | 0.0025203 | 0.00063164
26 | 1 | 0 | -0.33025 | -0.084954
27 | 0.99464 | -0.10096 | 0 | 0
28 | 0.97033 | -0.57246 | 0.011476 | 0.0028761
29 | 0.97757 | -0.42972 | 0.0046088 | 0.0011551
30 | 0.98241 | -0.33519 | 0.0023007 | 0.00057662
31 | 0.98141 | -0.35449 | 0.0022064 | 0.00055297
32 | 0.98711 | -0.24445 | 0 | 0
33 | 0.98253 | -0.3329 | 0.0015172 | 0.00038024
34 | 0.97615 | -0.45716 | 0 | 0
35 | 0.97609 | -0.45839 | 0.020444 | 0.0051238
36 | 0.97873 | -0.40666 | 0.0018766 | 0.00047032
37 | 0.9935 | -0.12266 | 0.0066178 | 0.0016586
38 | 0.99994 | -0.0011611 | 0.004888 | 0.0012251
39 | 0.9999 | -0.0019664 | 0.00076152 | 0.00019085
40 | 0.97495 | -0.48131 | 0.0040719 | 0.0010205
41 | 0.97451 | -0.48996 | 0 | 0
42 | 0.97555 | -0.46946 | 0 | 0
43 | 0.97386 | -0.5029 | 0 | 0
44 | 0.97578 | -0.46491 | 0 | 0
45 | 0.97358 | -0.5084 | 0.00028304 | 7.0937e-05
46 | 0.97604 | -0.45994 | 0.047456 | 0.011894
47 | 0.98977 | -0.19373 | 0 | 0
48 | 0.99072 | -0.17556 | 0.0025251 | 0.00063285
49 | 0.98693 | -0.24817 | 0.0033212 | 0.00083238
50 | 0.97695 | -0.44191 | 0 | 0
51 | 0.97888 | -0.40423 | 0 | 0
52 | 0.97277 | -0.52434 | 0.016336 | 0.0040941
53 | 0.99175 | -0.15584 | 0 | 0
54 | 0.98674 | -0.25185 | 0.0008909 | 0.00022328
55 | 0.98071 | -0.36851 | 0.0033212 | 0.00083238
56 | 0.98378 | -0.30895 | 0.0033212 | 0.00083238
57 | 0.99163 | -0.15827 | 0 | 0
58 | 0.99158 | -0.15918 | 0.0037285 | 0.00093444
59 | 0.99981 | -0.0037124 | 0.0071049 | 0.0017806
60 | 0.97167 | -0.54551 | 0.045364 | 0.011369
61 | 0.97274 | -0.52434 | 0.045514 | 0.011407
62 | 0.97552 | -0.46953 | 0.014457 | 0.0036232
63 | 0.9755 | -0.46997 | 0.00065403 | 0.00016392
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.029598 | -0.0074601 | 0.029605 | 0.0074646 | 7.24e-06 | 4.515e-06 | 0.045126 | 0.045126 | 0.045126 | 0.97632 | -0.45425 | 0.97658 | -0.44914 | 12.3972
1 | 0.029598 | 0.0074601 | -0.029508 | -0.0074037 | 9.0457e-05 | 5.6416e-05 | 0.045126 | 0.045126 | 0.045126 | 0.97632 | -0.45425 | 0.97306 | -0.51834 | 12.3974
2 | -0.049127 | -0.012366 | 0.049172 | 0.012395 | 4.5665e-05 | 2.8953e-05 | 0.074874 | 0.074874 | 0.074874 | 0.97658 | -0.44914 | 0.97757 | -0.42972 | 20.5697
3 | 0.019521 | 0.0049013 | -0.019505 | -0.0048916 | 1.6099e-05 | 9.697e-06 | 0.029748 | 0.029748 | 0.029748 | 0.97658 | -0.44914 | 0.9757 | -0.46645 | 8.1725
4 | 0.011506 | 0.002892 | -0.011496 | -0.002887 | 9.3205e-06 | 4.969e-06 | 0.017598 | 0.017598 | 0.017598 | 0.97306 | -0.51834 | 0.9722 | -0.53532 | 4.8346
5 | 0.019505 | 0.0048916 | -0.019496 | -0.0048863 | 8.8844e-06 | 5.3518e-06 | 0.029748 | 0.029748 | 0.029748 | 0.9757 | -0.46645 | 0.97522 | -0.47601 | 8.1726
6 | -0.0028318 | -0.00070953 | 0.002832 | 0.00070936 | 1.3184e-07 | -1.6563e-07 | 0.0042544 | 0.0042543 | 0.0042544 | 0.99045 | -0.18085 | 0.9905 | -0.17987 | 1.1688
7 | 0.0028318 | 0.00070953 | -0.0028317 | -0.00070969 | 1.3208e-07 | -1.6589e-07 | 0.0042544 | 0.0042545 | 0.0042545 | 0.99045 | -0.18085 | 0.9904 | -0.18183 | 1.1688
8 | -0.011506 | -0.0028834 | 0.011511 | 0.0028863 | 5.5503e-06 | 2.9142e-06 | 0.017285 | 0.017285 | 0.017285 | 0.9905 | -0.17987 | 0.99102 | -0.16975 | 4.7486
9 | 0.0086738 | 0.0021741 | -0.0086728 | -0.0021736 | 9.9885e-07 | 4.3738e-07 | 0.013031 | 0.013031 | 0.013031 | 0.9905 | -0.17987 | 0.99037 | -0.18229 | 3.5799
10 | -0.0010543 | -0.00026349 | 0.0010543 | 0.0002633 | 1.5546e-08 | -1.9588e-07 | 0.0015968 | 0.0015967 | 0.0015968 | 0.98229 | -0.33768 | 0.9823 | -0.33737 | 0.43868
11 | 0.0010543 | 0.00026349 | -0.0010542 | -0.00026421 | 5.6907e-08 | -7.168e-07 | 0.0015968 | 0.0015971 | 0.0015971 | 0.98229 | -0.33768 | 0.98223 | -0.33882 | 0.43875
12 | -0.0010543 | -0.0002633 | 0.0010543 | 0.00026277 | 4.1912e-08 | -5.2821e-07 | 0.0015967 | 0.0015965 | 0.0015967 | 0.9823 | -0.33737 | 0.98235 | -0.33654 | 0.43866
13 | -0.0085718 | -0.0021469 | 0.0085726 | 0.0021473 | 8.1761e-07 | 3.591e-07 | 0.012976 | 0.012975 | 0.012976 | 0.98296 | -0.32443 | 0.98307 | -0.32243 | 3.5647
14 | 0.0085718 | 0.0021469 | -0.0085693 | -0.0021459 | 2.4975e-06 | 1.0972e-06 | 0.012976 | 0.012976 | 0.012976 | 0.98296 | -0.32443 | 0.98265 | -0.33055 | 3.5647
15 | 0.1317 | 0.033465 | -0.13149 | -0.033335 | 0.00020298 | 0.00012973 | 0.19951 | 0.19951 | 0.19951 | 0.98307 | -0.32243 | 0.98141 | -0.35449 | 54.8096
16 | -0.14027 | -0.035612 | 0.1408 | 0.03595 | 0.00052844 | 0.00033781 | 0.21248 | 0.21248 | 0.21248 | 0.98307 | -0.32243 | 0.98711 | -0.24445 | 58.3743
17 | 0.0070514 | 0.0017654 | -0.0070506 | -0.0017652 | 7.87e-07 | 2.705e-07 | 0.010677 | 0.010677 | 0.010677 | 0.98265 | -0.33055 | 0.98253 | -0.3329 | 2.9333
18 | -0.0021137 | -0.00052827 | 0.0021137 | 0.00052812 | 5.5164e-08 | -1.4644e-07 | 0.0032012 | 0.0032011 | 0.0032012 | 0.98235 | -0.33654 | 0.98237 | -0.33599 | 0.87945
19 | -0.0021137 | -0.00052812 | 0.0021138 | 0.00052798 | 5.3479e-08 | -1.4198e-07 | 0.0032011 | 0.0032011 | 0.0032011 | 0.98237 | -0.33599 | 0.9824 | -0.33545 | 0.87943
20 | -0.003232 | -0.00080824 | 0.0032321 | 0.00080821 | 4.0848e-08 | -3.1422e-08 | 0.0048948 | 0.0048948 | 0.0048948 | 0.9824 | -0.33545 | 0.98241 | -0.33519 | 1.3447
21 | 0.011496 | 0.002887 | -0.011477 | -0.0028766 | 1.9571e-05 | 1.044e-05 | 0.017598 | 0.017599 | 0.017599 | 0.9722 | -0.53532 | 0.9704 | -0.57106 | 4.8348
22 | 0.011477 | 0.0028766 | -0.011476 | -0.0028761 | 7.6765e-07 | 4.0965e-07 | 0.017599 | 0.017599 | 0.017599 | 0.9704 | -0.57106 | 0.97033 | -0.57246 | 4.8348
23 | -0.15415 | -0.039495 | 0.15445 | 0.039691 | 0.00030745 | 0.00019598 | 0.23176 | 0.23176 | 0.23176 | 0.99102 | -0.16975 | 0.99318 | -0.12868 | 31.8351
24 | 0.14264 | 0.036608 | -0.14238 | -0.036446 | 0.00025505 | 0.00016247 | 0.21448 | 0.21448 | 0.21448 | 0.99102 | -0.16975 | 0.98908 | -0.20667 | 29.4609
25 | -0.16366 | -0.041998 | 0.16388 | 0.042138 | 0.00022047 | 0.00013996 | 0.24555 | 0.24555 | 0.24555 | 0.99318 | -0.12868 | 0.99464 | -0.10096 | 22.4864
26 | 0.14106 | 0.036114 | -0.1408 | -0.03595 | 0.00025764 | 0.00016411 | 0.21248 | 0.21248 | 0.21248 | 0.98908 | -0.20667 | 0.98711 | -0.24445 | 29.1871
27 | -0.15051 | -0.038692 | 0.1506 | 0.03875 | 9.1643e-05 | 5.8088e-05 | 0.22536 | 0.22536 | 0.22536 | 0.99534 | -0.087703 | 0.996 | -0.07518 | 20.6371
28 | 0.15051 | 0.038692 | -0.15027 | -0.038542 | 0.00023757 | 0.00015059 | 0.22536 | 0.22536 | 0.22536 | 0.99534 | -0.087703 | 0.99363 | -0.12024 | 20.6371
29 | -0.31469 | -0.081019 | 0.31584 | 0.081757 | 0.0011556 | 0.00073792 | 0.47091 | 0.47091 | 0.47091 | 0.996 | -0.07518 | 1 | 0 | 43.1234
30 | 0.16409 | 0.042268 | -0.16388 | -0.042138 | 0.00020558 | 0.00013051 | 0.24555 | 0.24555 | 0.24555 | 0.996 | -0.07518 | 0.99464 | -0.10096 | 22.4864
31 | 0.14775 | 0.03791 | -0.14774 | -0.037899 | 1.7359e-05 | 1.1e-05 | 0.22158 | 0.22158 | 0.22158 | 0.99363 | -0.12024 | 0.9935 | -0.12266 | 20.2915
32 | 0.0048883 | 0.0012251 | -0.004888 | -0.0012251 | 2.7037e-07 | -5.7262e-09 | 0.0072739 | 0.0072739 | 0.0072739 | 1 | 0 | 0.99994 | -0.0011611 | 1.9983
33 | 0.0078677 | 0.001972 | -0.007867 | -0.0019717 | 7.3704e-07 | 2.836e-07 | 0.011707 | 0.011707 | 0.011707 | 1 | 0 | 0.9999 | -0.0019664 | 3.2163
34 | -0.053781 | -0.01355 | 0.053847 | 0.013592 | 6.5654e-05 | 4.1691e-05 | 0.081889 | 0.081889 | 0.081889 | 0.97757 | -0.42972 | 0.97888 | -0.40423 | 22.4969
35 | -0.0055328 | -0.0013848 | 0.0055334 | 0.0013849 | 6.0324e-07 | 9.5962e-08 | 0.0083796 | 0.0083795 | 0.0083796 | 0.98241 | -0.33519 | 0.98253 | -0.3329 | 2.3021
36 | 0.12929 | 0.032782 | -0.12896 | -0.032575 | 0.00032332 | 0.00020664 | 0.19616 | 0.19616 | 0.19616 | 0.98141 | -0.35449 | 0.97873 | -0.40666 | 53.8906
37 | 0.12678 | 0.031909 | -0.12677 | -0.031904 | 7.4856e-06 | 4.7841e-06 | 0.19331 | 0.19331 | 0.19331 | 0.97615 | -0.45716 | 0.97609 | -0.45839 | 53.1068
38 | -0.12678 | -0.031909 | 0.12709 | 0.032105 | 0.00030676 | 0.00019605 | 0.19331 | 0.19331 | 0.19331 | 0.97615 | -0.45716 | 0.97873 | -0.40666 | 53.1068
39 | 0.10633 | 0.02678 | -0.10627 | -0.026744 | 5.6573e-05 | 3.6135e-05 | 0.16214 | 0.16214 | 0.16214 | 0.97609 | -0.45839 | 0.97552 | -0.46953 | 44.5446
40 | 0.14112 | 0.036241 | -0.14089 | -0.036097 | 0.00022692 | 0.00014366 | 0.21167 | 0.21167 | 0.21167 | 0.9935 | -0.12266 | 0.99175 | -0.15584 | 19.3839
41 | 0.0071054 | 0.0017808 | -0.0071049 | -0.0017806 | 5.9099e-07 | 1.9337e-07 | 0.010574 | 0.010574 | 0.010574 | 0.9999 | -0.0019664 | 0.99981 | -0.0037124 | 2.905
42 | 0.016653 | 0.004185 | -0.016646 | -0.0041809 | 6.8772e-06 | 4.0477e-06 | 0.02542 | 0.02542 | 0.02542 | 0.97495 | -0.48131 | 0.97451 | -0.48996 | 6.9836
43 | -0.020724 | -0.0052055 | 0.020736 | 0.0052126 | 1.1726e-05 | 7.1145e-06 | 0.031635 | 0.031635 | 0.031635 | 0.97495 | -0.48131 | 0.97555 | -0.46946 | 8.6909
44 | 0.016646 | 0.0041809 | -0.016635 | -0.0041749 | 1.0265e-05 | 6.0421e-06 | 0.02542 | 0.02542 | 0.02542 | 0.97451 | -0.48996 | 0.97386 | -0.5029 | 6.9836
45 | -0.020736 | -0.0052126 | 0.020741 | 0.0052153 | 4.5101e-06 | 2.7364e-06 | 0.031635 | 0.031635 | 0.031635 | 0.97555 | -0.46946 | 0.97578 | -0.46491 | 8.6908
46 | 0.016635 | 0.0041749 | -0.016631 | -0.0041723 | 4.3625e-06 | 2.5681e-06 | 0.02542 | 0.025421 | 0.025421 | 0.97386 | -0.5029 | 0.97358 | -0.5084 | 6.9837
47 | -0.020741 | -0.0052153 | 0.020746 | 0.0052183 | 4.9189e-06 | 2.9843e-06 | 0.031635 | 0.031635 | 0.031635 | 0.97578 | -0.46491 | 0.97604 | -0.45994 | 8.6908
48 | 0.016348 | 0.0041014 | -0.016336 | -0.0040941 | 1.2419e-05 | 7.2891e-06 | 0.024988 | 0.024988 | 0.024988 | 0.97358 | -0.5084 | 0.97277 | -0.52434 | 6.8649
49 | -0.068202 | -0.017112 | 0.06826 | 0.017149 | 5.8684e-05 | 3.7377e-05 | 0.10398 | 0.10398 | 0.10398 | 0.97604 | -0.45994 | 0.97695 | -0.44191 | 28.5669
50 | -0.13439 | -0.034372 | 0.13451 | 0.034447 | 0.00011829 | 7.4816e-05 | 0.20229 | 0.20229 | 0.20229 | 0.98977 | -0.19373 | 0.99072 | -0.17556 | 18.5243
51 | 0.13439 | 0.034372 | -0.13403 | -0.034146 | 0.00035304 | 0.00022565 | 0.20229 | 0.20229 | 0.20229 | 0.98977 | -0.19373 | 0.98693 | -0.24817 | 55.573
52 | -0.13703 | -0.03508 | 0.13716 | 0.035163 | 0.000131 | 8.2888e-05 | 0.20608 | 0.20608 | 0.20608 | 0.99072 | -0.17556 | 0.99175 | -0.15584 | 18.8716
53 | 0.13071 | 0.033314 | -0.13069 | -0.033299 | 2.3209e-05 | 1.4833e-05 | 0.19728 | 0.19728 | 0.19728 | 0.98693 | -0.24817 | 0.98674 | -0.25185 | 54.1973
54 | -0.06826 | -0.017149 | 0.068383 | 0.017228 | 0.00012302 | 7.835e-05 | 0.10398 | 0.10398 | 0.10398 | 0.97695 | -0.44191 | 0.97888 | -0.40423 | 28.5669
55 | -0.12223 | -0.030819 | 0.12244 | 0.030953 | 0.00020933 | 0.00013377 | 0.18587 | 0.18587 | 0.18587 | 0.97888 | -0.40423 | 0.98071 | -0.36851 | 51.0638
56 | 0.0037291 | 0.00093417 | -0.0037286 | -0.00093437 | 4.3111e-07 | -1.9792e-07 | 0.0055949 | 0.0055951 | 0.0055951 | 0.99175 | -0.15584 | 0.99163 | -0.15827 | 1.5371
57 | 0.1298 | 0.033076 | -0.12944 | -0.032848 | 0.00035658 | 0.00022789 | 0.19593 | 0.19593 | 0.19593 | 0.98674 | -0.25185 | 0.98378 | -0.30895 | 53.8282
58 | -0.12576 | -0.031785 | 0.12612 | 0.032016 | 0.00036026 | 0.00023023 | 0.19091 | 0.19091 | 0.19091 | 0.98071 | -0.36851 | 0.98378 | -0.30895 | 52.4482
59 | 0.0037286 | 0.00093437 | -0.0037285 | -0.00093444 | 1.6248e-07 | -7.4555e-08 | 0.0055951 | 0.0055951 | 0.0055951 | 0.99163 | -0.15827 | 0.99158 | -0.15918 | 1.5371
60 | -0.045364 | -0.011369 | 0.045409 | 0.011398 | 4.5806e-05 | 2.9002e-05 | 0.06947 | 0.06947 | 0.06947 | 0.97167 | -0.54551 | 0.97274 | -0.52434 | 19.0852
61 | -0.090923 | -0.022805 | 0.09116 | 0.022956 | 0.00023631 | 0.00015084 | 0.13909 | 0.13909 | 0.13909 | 0.97274 | -0.52434 | 0.9755 | -0.46997 | 38.2124
62 | 0.091815 | 0.023121 | -0.091814 | -0.02312 | 1.9415e-06 | 1.2393e-06 | 0.14009 | 0.14009 | 0.14009 | 0.97552 | -0.46953 | 0.9755 | -0.46997 | 38.4864

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33813 | 0.086928

## res_load
| p_mw | q_mvar
0 | 0.018002 | 0.0045117
1 | 0.019496 | 0.0048863
2 | 0.0028317 | 0.00070969
3 | 0.0010542 | 0.00026421
4 | 0.0015179 | 0.00038042
5 | 0.0010594 | 0.0002655
6 | 0.0011182 | 0.00028026
7 | 0.0086728 | 0.0021736
8 | 0.0092056 | 0.0023072
9 | 0.0013252 | 0.00033212
10 | 0.0025203 | 0.00063164
11 | 0.007876 | 0.0019739
12 | 0.011476 | 0.0028761
13 | 0.0046088 | 0.0011551
14 | 0.0023007 | 0.00057662
15 | 0.0022064 | 0.00055297
16 | 0.0015172 | 0.00038024
17 | 0.020444 | 0.0051238
18 | 0.0018766 | 0.00047032
19 | 0.0066178 | 0.0016586
20 | 0.004888 | 0.0012251
21 | 0.00076152 | 0.00019085
22 | 0.0040719 | 0.0010205
23 | 0.00028304 | 7.0937e-05
24 | 0.047456 | 0.011894
25 | 0.0025251 | 0.00063285
26 | 0.0033212 | 0.00083238
27 | 0.016336 | 0.0040941
28 | 0.0008909 | 0.00022328
29 | 0.0033212 | 0.00083238
30 | 0.0033212 | 0.00083238
31 | 0.0037285 | 0.00093444
32 | 0.0071049 | 0.0017806
33 | 0.045364 | 0.011369
34 | 0.045514 | 0.011407
35 | 0.014457 | 0.0036232
36 | 0.00065403 | 0.00016392

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1