## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-189_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-189_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-189_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-189_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_230-189_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_230-189_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_230-189_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_230-189_0_3_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_230-189_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_230-189_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_230-189_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_230-189_0_3_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_230-189_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_230-189_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_230-189_0_3_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_230-189_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_230-189_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_230-189_0_3_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_230-189_0_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_230-189_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_230-189_0_3_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_230-189_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_230-189_0_3_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_230-189_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_230-189_0_3_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_230-189_0_3_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_230-189_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_230-189_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_230-189_0_3_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_230-189_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_230-189_0_3_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_230-189_0_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_230-189_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_230-189_0_3_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_230-189_0_3_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_230-189_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_230-189_0_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_230-189_0_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_230-189_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_230-189_0_3_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_230-189_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_230-189_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_230-189_0_3_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_230-189_0_3_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_230-189_0_3_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_230-189_0_3_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_230-189_0_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_230-189_0_3_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_230-189_0_3_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_230-189_0_3_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_230-189_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_230-189_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_230-189_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_230-189_0_3_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_230-189_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_230-189_0_3_node_25 | 0.4 | n |  | TRUE
56 | bus_LV_230-189_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_230-189_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_230-189_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_230-189_0_3_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_230-189_0_3_node_24 | 0.4 | n |  | TRUE
61 | bus_LV_230-189_0_3_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_230-189_0_3_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_230-189_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_230-189_0_3_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_230-189_0_3_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_230-189_0_3_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_230-189_0_3_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_230-189_0_3_node_31 | 0.4 | n |  | TRUE
69 | bus_LV_230-189_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_230-189_0_3_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_230-189_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_230-189_0_3_node_38 | 0.4 | n |  | TRUE
73 | bus_LV_230-189_0_3_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_230-189_0_3_node_41 | 0.4 | n |  | TRUE
75 | bus_LV_230-189_0_3_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_230-189_0_3_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_230-189_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_230-189_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_230-189_0_3_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_230-189_0_3_node_47 | 0.4 | n |  | TRUE
81 | bus_LV_230-189_0_3_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_230-189_0_3_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_230-189_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_230-189_0_3_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_230-189_0_3_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_230-189_0_3_node_91 | 0.4 | n |  | TRUE
87 | bus_MV_509_1_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-189_0_3_load_0 | 0 | 0.013855 | 0.0034725 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-189_0_3_load_1 | 1 | 0.010331 | 0.0025892 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-189_0_3_load_20 | 5 | 0.0087027 | 0.0021811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-189_0_3_load_64 | 7 | 0.0057029 | 0.0014293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-189_0_3_load_21 | 10 | 0.0052786 | 0.0013229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-189_0_3_load_51 | 11 | 0.0037933 | 0.00095069 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-189_0_3_load_78 | 14 | 0.0093269 | 0.0023375 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-189_0_3_load_61 | 17 | 0.010594 | 0.0026552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-189_0_3_load_53 | 18 | 0.0059988 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-189_0_3_load_74 | 22 | 0.012061 | 0.0030227 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-189_0_3_load_86 | 24 | 0.0075795 | 0.0018996 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-189_0_3_load_60 | 28 | 0.0052018 | 0.0013037 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-189_0_3_load_82 | 30 | 0.005538 | 0.0013879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-189_0_3_load_79 | 31 | 0.0070067 | 0.0017561 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-189_0_3_load_84 | 33 | 0.012769 | 0.0032003 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-189_0_3_load_83 | 34 | 0.0099144 | 0.0024848 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-189_0_3_load_49 | 35 | 0.0055495 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-189_0_3_load_73 | 36 | 0.0074903 | 0.0018772 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-189_0_3_load_69 | 37 | 0.0093885 | 0.002353 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-189_0_3_load_50 | 38 | 0.0074808 | 0.0018749 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-189_0_3_load_44 | 40 | 0.0060478 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-189_0_3_load_62 | 42 | 0.0040206 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-189_0_3_load_63 | 43 | 0.0038727 | 0.00097058 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-189_0_3_load_75 | 44 | 0.0091619 | 0.0022962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-189_0_3_load_72 | 46 | 0.0091585 | 0.0022953 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-189_0_3_load_87 | 48 | 0.0075726 | 0.0018979 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-189_0_3_load_80 | 49 | 0.0069222 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-189_0_3_load_58 | 52 | 0.0042992 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-189_0_3_load_33 | 54 | 0.0004074 | 0.0001021 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-189_0_3_load_25 | 55 | 0.0024042 | 0.00060254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-189_0_3_load_65 | 56 | 0.0066431 | 0.0016649 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-189_0_3_load_43 | 57 | 0.0060367 | 0.0015129 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-189_0_3_load_24 | 60 | 0.0032461 | 0.00081355 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-189_0_3_load_30 | 61 | 0.0094922 | 0.002379 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-189_0_3_load_45 | 63 | 0.0048279 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-189_0_3_load_89 | 64 | 0.0070055 | 0.0017557 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-189_0_3_load_90 | 65 | 0.0027098 | 0.00067915 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-189_0_3_load_88 | 66 | 0.0075745 | 0.0018984 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-189_0_3_load_93 | 67 | 0.0032268 | 0.00080872 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-189_0_3_load_31 | 68 | 0.004636 | 0.0011619 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-189_0_3_load_85 | 70 | 0.012393 | 0.003106 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-189_0_3_load_57 | 71 | 0.0037715 | 0.00094522 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-189_0_3_load_38 | 72 | 0.0064802 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-189_0_3_load_39 | 73 | 0.0065618 | 0.0016445 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-189_0_3_load_41 | 74 | 0.0073258 | 0.001836 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-189_0_3_load_42 | 75 | 0.0071852 | 0.0018008 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-189_0_3_load_59 | 77 | 0.0038253 | 0.00095872 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-189_0_3_load_56 | 78 | 0.0073898 | 0.0018521 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-189_0_3_load_46 | 79 | 0.011901 | 0.0029827 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-189_0_3_load_47 | 80 | 0.0049276 | 0.001235 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-189_0_3_load_48 | 81 | 0.011408 | 0.0028592 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-189_0_3_load_52 | 82 | 0.0088058 | 0.0022069 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_230-189_0_3_load_68 | 83 | 0.0070247 | 0.0017606 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_230-189_0_3_load_67 | 84 | 0.014399 | 0.0036086 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-189_0_3_line_0 |  | 0 | 1 | 0.045617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-189_0_3_line_1 |  | 0 | 2 | 0.012214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-189_0_3_line_2 |  | 2 | 3 | 0.00852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_230-189_0_3_line_3 |  | 2 | 4 | 0.013664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_230-189_0_3_line_4 |  | 3 | 5 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_230-189_0_3_line_5 |  | 4 | 11 | 0.030393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_230-189_0_3_line_6 |  | 4 | 6 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_230-189_0_3_line_7 |  | 5 | 10 | 0.027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_230-189_0_3_line_8 |  | 6 | 7 | 0.023903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_230-189_0_3_line_9 |  | 7 | 35 | 0.0045952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_230-189_0_3_line_10 |  | 8 | 9 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_230-189_0_3_line_11 |  | 8 | 10 | 0.031565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_230-189_0_3_line_12 |  | 9 | 36 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_230-189_0_3_line_13 |  | 9 | 37 | 0.0035274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-189_0_3_line_14 |  | 11 | 38 | 0.0011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_230-189_0_3_line_15 |  | 12 | 13 | 0.013969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_230-189_0_3_line_16 |  | 12 | 14 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_230-189_0_3_line_17 |  | 13 | 18 | 0.026168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-189_0_3_line_18 |  | 13 | 15 | 0.016893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_230-189_0_3_line_19 |  | 14 | 39 | 0.018591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_230-189_0_3_line_20 |  | 15 | 16 | 0.067785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_230-189_0_3_line_21 |  | 15 | 17 | 0.021804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-189_0_3_line_22 |  | 16 | 40 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_230-189_0_3_line_23 |  | 16 | 41 | 0.009524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_230-189_0_3_line_24 |  | 17 | 42 | 0.015602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-189_0_3_line_25 |  | 19 | 20 | 0.040273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_230-189_0_3_line_26 |  | 19 | 21 | 0.041668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-189_0_3_line_27 |  | 19 | 22 | 0.018684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-189_0_3_line_28 |  | 20 | 34 | 0.023009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-189_0_3_line_29 |  | 20 | 47 | 0.00363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_230-189_0_3_line_30 |  | 21 | 25 | 0.002225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-189_0_3_line_31 |  | 21 | 23 | 0.053251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-189_0_3_line_32 |  | 22 | 44 | 0.0047223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-189_0_3_line_33 |  | 23 | 24 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-189_0_3_line_34 |  | 24 | 48 | 0.019147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-189_0_3_line_35 |  | 25 | 49 | 0.031764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-189_0_3_line_36 |  | 26 | 27 | 0.019064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-189_0_3_line_37 |  | 26 | 28 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_230-189_0_3_line_38 |  | 27 | 59 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-189_0_3_line_39 |  | 27 | 60 | 0.038242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-189_0_3_line_40 |  | 28 | 62 | 0.014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_230-189_0_3_line_41 |  | 29 | 30 | 0.012594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-189_0_3_line_42 |  | 29 | 31 | 0.0018095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-189_0_3_line_43 |  | 30 | 67 | 0.0066073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-189_0_3_line_44 |  | 31 | 49 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-189_0_3_line_45 |  | 32 | 33 | 0.021844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-189_0_3_line_46 |  | 32 | 34 | 0.010093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-189_0_3_line_47 |  | 35 | 80 | 0.0082318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_230-189_0_3_line_48 |  | 36 | 39 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_230-189_0_3_line_49 |  | 38 | 82 | 0.023593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_230-189_0_3_line_50 |  | 39 | 45 | 0.037284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_230-189_0_3_line_51 |  | 40 | 63 | 0.018266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_230-189_0_3_line_52 |  | 41 | 56 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_230-189_0_3_line_53 |  | 42 | 43 | 0.003366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-189_0_3_line_54 |  | 45 | 46 | 0.033627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_230-189_0_3_line_55 |  | 46 | 47 | 0.018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_230-189_0_3_line_56 |  | 48 | 66 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-189_0_3_line_57 |  | 50 | 51 | 0.047166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_230-189_0_3_line_58 |  | 50 | 52 | 0.043667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_230-189_0_3_line_59 |  | 51 | 70 | 0.0073745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_230-189_0_3_line_60 |  | 52 | 71 | 0.015682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_230-189_0_3_line_61 |  | 53 | 54 | 0.010439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-189_0_3_line_62 |  | 53 | 55 | 0.012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-189_0_3_line_63 |  | 55 | 60 | 0.065704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-189_0_3_line_64 |  | 56 | 69 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_230-189_0_3_line_65 |  | 57 | 58 | 0.0039673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-189_0_3_line_66 |  | 58 | 75 | 0.033848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_230-189_0_3_line_67 |  | 58 | 72 | 0.023191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_230-189_0_3_line_68 |  | 59 | 61 | 0.00030849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-189_0_3_line_69 |  | 61 | 68 | 0.0087532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-189_0_3_line_70 |  | 62 | 63 | 0.0041734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_230-189_0_3_line_71 |  | 64 | 65 | 0.015578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-189_0_3_line_72 |  | 65 | 86 | 0.030005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-189_0_3_line_73 |  | 67 | 85 | 0.0080855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_230-189_0_3_line_74 |  | 69 | 84 | 0.0196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_230-189_0_3_line_75 |  | 69 | 83 | 0.0014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_230-189_0_3_line_76 |  | 71 | 77 | 0.0093852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_230-189_0_3_line_77 |  | 72 | 73 | 0.017683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_230-189_0_3_line_78 |  | 73 | 74 | 0.028374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_230-189_0_3_line_79 |  | 74 | 76 | 0.0034091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_230-189_0_3_line_80 |  | 75 | 77 | 0.0061222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_230-189_0_3_line_81 |  | 76 | 78 | 0.014738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_230-189_0_3_line_82 |  | 78 | 83 | 0.027206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_230-189_0_3_line_83 |  | 79 | 80 | 0.0050883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_230-189_0_3_line_84 |  | 79 | 81 | 0.0055332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_230-189_0_3_line_85 |  | 85 | 86 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-189_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 87 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2698804.1643 | 1260689.5106 | 2698817.1865 | 1260680.308 | 2698841.418 | 1260663.1842
1 | 2698794.1899 | 1260696.5594 | 2698804.1643 | 1260689.5106
2 | 2698794.1899 | 1260696.5594 | 2698787.2627 | 1260701.5478
3 | 2698794.1899 | 1260696.5594 | 2698798.2823 | 1260702.4437 | 2698801.992 | 1260707.7766
4 | 2698787.2627 | 1260701.5478 | 2698773.9311 | 1260711.1482
5 | 2698801.992 | 1260707.7766 | 2698777.5531 | 1260725.8459
6 | 2698811.501 | 1260701.6415 | 2698809.7733 | 1260702.6468 | 2698801.992 | 1260707.7766
7 | 2698773.9311 | 1260711.1482 | 2698751.8298 | 1260727.0637
8 | 2698811.501 | 1260701.6415 | 2698825.2852 | 1260721.1697
9 | 2698825.2852 | 1260721.1697 | 2698827.9351 | 1260724.9239
10 | 2698712.4207 | 1260731.601 | 2698721.5724 | 1260739.1821 | 2698726.2152 | 1260745.5092
11 | 2698726.2152 | 1260745.5092 | 2698751.8298 | 1260727.0637
12 | 2698712.4207 | 1260731.601 | 2698709.0298 | 1260735.1585 | 2698700.1287 | 1260737.8455 | 2698694.7155 | 1260738.4049
13 | 2698712.4207 | 1260731.601 | 2698715.933 | 1260731.2762
14 | 2698777.5531 | 1260725.8459 | 2698776.6568 | 1260726.5086
15 | 2698700.1361 | 1260765.8463 | 2698704.2049 | 1260771.3408 | 2698708.4506 | 1260777.0719
16 | 2698700.1361 | 1260765.8463 | 2698696.5953 | 1260761.6838 | 2698692.6205 | 1260755.375
17 | 2698708.4506 | 1260777.0719 | 2698708.7914 | 1260776.5216 | 2698729.3402 | 1260761.3878
18 | 2698708.4506 | 1260777.0719 | 2698706.327 | 1260780.5726 | 2698704.8092 | 1260786.6078 | 2698699.2706 | 1260790.1516
19 | 2698682.7103 | 1260739.6454 | 2698692.6205 | 1260755.375
20 | 2698739.6712 | 1260844.6701 | 2698708.9892 | 1260803.5024 | 2698699.2706 | 1260790.1516
21 | 2698699.2706 | 1260790.1516 | 2698694.5242 | 1260793.186 | 2698692.329 | 1260791.4925 | 2698688.006 | 1260792.1987 | 2698680.5679 | 1260797.2975
22 | 2698739.6712 | 1260844.6701 | 2698721.5237 | 1260856.3115
23 | 2698739.6712 | 1260844.6701 | 2698747.841 | 1260839.7358
24 | 2698680.5679 | 1260797.2975 | 2698667.6991 | 1260806.1191
25 | 2698729.2297 | 1260702.6579 | 2698725.1729 | 1260662.5909
26 | 2698725.1729 | 1260662.5909 | 2698721.3296 | 1260634.5595 | 2698730.6153 | 1260632.3237 | 2698734.3241 | 1260631.3959
27 | 2698725.1729 | 1260662.5909 | 2698706.5808 | 1260664.4375
28 | 2698729.2297 | 1260702.6579 | 2698749.2691 | 1260692.8621 | 2698749.9064 | 1260692.5649
29 | 2698725.8529 | 1260704.0138 | 2698729.2297 | 1260702.6579
30 | 2698734.3241 | 1260631.3959 | 2698736.3448 | 1260630.4511
31 | 2698684.3626 | 1260632.0741 | 2698684.3759 | 1260634.8878 | 2698703.8997 | 1260636.1255 | 2698721.3296 | 1260634.5595 | 2698730.6153 | 1260632.3237 | 2698734.3241 | 1260631.3959
32 | 2698706.5808 | 1260664.4375 | 2698701.8816 | 1260664.9042 | 2698701.8816 | 1260664.9042
33 | 2698684.3626 | 1260632.0741 | 2698690.7803 | 1260632.7706 | 2698702.246 | 1260633.14 | 2698710.8919 | 1260632.3603
34 | 2698710.8919 | 1260632.3603 | 2698712.8596 | 1260632.1829 | 2698722.4484 | 1260630.2969 | 2698729.5548 | 1260628.239
35 | 2698736.3448 | 1260630.4511 | 2698748.1213 | 1260650.1192 | 2698756.9583 | 1260650.327
36 | 2698679.5218 | 1260883.2537 | 2698683.8894 | 1260885.2949 | 2698696.7978 | 1260891.3151
37 | 2698679.5218 | 1260883.2537 | 2698690.399 | 1260876.2768
38 | 2698696.7978 | 1260891.3151 | 2698699.4172 | 1260891.5256 | 2698699.5758 | 1260895.1201 | 2698706.0181 | 1260895.2276
39 | 2698696.7978 | 1260891.3151 | 2698694.3817 | 1260892.4757 | 2698691.2608 | 1260902.4429 | 2698683.4333 | 1260916.6795 | 2698679.4795 | 1260924.6201
40 | 2698702.6368 | 1260868.4272 | 2698690.399 | 1260876.2768
41 | 2698774.2732 | 1260650.734 | 2698786.5905 | 1260648.1067
42 | 2698774.2732 | 1260650.734 | 2698772.4642 | 1260650.6915
43 | 2698793.0524 | 1260646.7283 | 2698786.5905 | 1260648.1067
44 | 2698772.4642 | 1260650.6915 | 2698756.9583 | 1260650.327
45 | 2698759.0534 | 1260688.2995 | 2698756.4771 | 1260666.6078
46 | 2698759.0534 | 1260688.2995 | 2698749.9064 | 1260692.5649
47 | 2698827.9351 | 1260724.9239 | 2698827.9351 | 1260724.9239 | 2698834.6493 | 1260720.1613
48 | 2698682.7103 | 1260739.6454 | 2698694.7155 | 1260738.4049
49 | 2698757.6747 | 1260740.5198 | 2698765.8109 | 1260734.5277 | 2698776.6568 | 1260726.5086
50 | 2698674.9089 | 1260705.3428 | 2698676.5376 | 1260720.6603 | 2698674.2111 | 1260725.9258 | 2698682.7103 | 1260739.6454
51 | 2698706.1495 | 1260866.1738 | 2698721.5237 | 1260856.3115
52 | 2698747.841 | 1260839.7358 | 2698763.0244 | 1260830.0058
53 | 2698667.6991 | 1260806.1191 | 2698664.9228 | 1260808.0222
54 | 2698674.9089 | 1260705.3428 | 2698692.831 | 1260710.4014 | 2698697.0588 | 1260710.4386 | 2698707.6594 | 1260708.4962
55 | 2698725.8529 | 1260704.0138 | 2698715.4684 | 1260707.0652 | 2698707.6594 | 1260708.4962
56 | 2698729.5548 | 1260628.239 | 2698732.6506 | 1260627.3425 | 2698741.8561 | 1260623.5931 | 2698747.6441 | 1260620.5715
57 | 2698836.5772 | 1260863.0698 | 2698883.8837 | 1260863.2937
58 | 2698883.8837 | 1260863.2937 | 2698883.7984 | 1260819.6268
59 | 2698836.5772 | 1260863.0698 | 2698836.0477 | 1260870.4252
60 | 2698883.7678 | 1260803.9443 | 2698883.7984 | 1260819.6268
61 | 2698692.4788 | 1260964.9253 | 2698692.237 | 1260969.9254 | 2698690.2233 | 1260974.9737
62 | 2698690.2233 | 1260974.9737 | 2698678.0861 | 1260974.6257
63 | 2698679.4795 | 1260924.6201 | 2698668.6329 | 1260936.4155 | 2698666.1558 | 1260940.7777 | 2698664.5347 | 1260949.847 | 2698664.702 | 1260969.1766 | 2698666.6577 | 1260973.0235 | 2698668.8739 | 1260974.3615 | 2698678.0861 | 1260974.6257
64 | 2698776.5405 | 1260821.3443 | 2698763.0244 | 1260830.0058
65 | 2698873.5102 | 1260757.5341 | 2698876.757 | 1260755.2543
66 | 2698873.5102 | 1260757.5341 | 2698883.7087 | 1260773.7177 | 2698883.7375 | 1260788.4369
67 | 2698873.5102 | 1260757.5341 | 2698854.2741 | 1260770.4869
68 | 2698706.013 | 1260895.5361 | 2698706.0181 | 1260895.2276
69 | 2698705.8669 | 1260904.2881 | 2698706.013 | 1260895.5361
70 | 2698702.6368 | 1260868.4272 | 2698706.1495 | 1260866.1738
71 | 2698787.8913 | 1260627.2749 | 2698803.4652 | 1260626.938
72 | 2698812.3638 | 1260643.7087 | 2698816.2106 | 1260640.8373 | 2698816.1412 | 1260632.3625 | 2698814.2306 | 1260626.7149 | 2698804.406 | 1260626.9177 | 2698803.4652 | 1260626.938
73 | 2698800.9601 | 1260645.0416 | 2698793.0524 | 1260646.7283
74 | 2698776.5405 | 1260821.3443 | 2698787.2322 | 1260837.7918
75 | 2698776.5405 | 1260821.3443 | 2698777.8007 | 1260820.5467
76 | 2698883.7678 | 1260803.9443 | 2698883.7494 | 1260794.5591
77 | 2698839.6061 | 1260780.3638 | 2698854.2741 | 1260770.4869
78 | 2698816.0704 | 1260796.2118 | 2698839.6061 | 1260780.3638
79 | 2698813.2427 | 1260798.1159 | 2698816.0704 | 1260796.2118
80 | 2698883.7375 | 1260788.4369 | 2698883.7494 | 1260794.5591
81 | 2698813.2427 | 1260798.1159 | 2698800.7896 | 1260805.9973
82 | 2698800.7896 | 1260805.9973 | 2698777.8007 | 1260820.5467
83 | 2698834.6493 | 1260720.1613 | 2698838.7995 | 1260717.2175
84 | 2698843.3125 | 1260714.0163 | 2698838.7995 | 1260717.2175
85 | 2698812.3638 | 1260643.7087 | 2698809.7305 | 1260645.6774 | 2698800.9601 | 1260645.0416

## bus_geodata
| x | y | coords
0 | 2698804.1643 | 1260689.5106
1 | 2698841.418 | 1260663.1842
2 | 2698794.1899 | 1260696.5594
3 | 2698787.2627 | 1260701.5478
4 | 2698801.992 | 1260707.7766
5 | 2698773.9311 | 1260711.1482
6 | 2698811.501 | 1260701.6415
7 | 2698825.2852 | 1260721.1697
8 | 2698726.2152 | 1260745.5092
9 | 2698712.4207 | 1260731.601
10 | 2698751.8298 | 1260727.0637
11 | 2698777.5531 | 1260725.8459
12 | 2698700.1361 | 1260765.8463
13 | 2698708.4506 | 1260777.0719
14 | 2698692.6205 | 1260755.375
15 | 2698699.2706 | 1260790.1516
16 | 2698739.6712 | 1260844.6701
17 | 2698680.5679 | 1260797.2975
18 | 2698729.3402 | 1260761.3878
19 | 2698725.1729 | 1260662.5909
20 | 2698729.2297 | 1260702.6579
21 | 2698734.3241 | 1260631.3959
22 | 2698706.5808 | 1260664.4375
23 | 2698684.3626 | 1260632.0741
24 | 2698710.8919 | 1260632.3603
25 | 2698736.3448 | 1260630.4511
26 | 2698679.5218 | 1260883.2537
27 | 2698696.7978 | 1260891.3151
28 | 2698690.399 | 1260876.2768
29 | 2698774.2732 | 1260650.734
30 | 2698786.5905 | 1260648.1067
31 | 2698772.4642 | 1260650.6915
32 | 2698759.0534 | 1260688.2995
33 | 2698756.4771 | 1260666.6078
34 | 2698749.9064 | 1260692.5649
35 | 2698827.9351 | 1260724.9239
36 | 2698694.7155 | 1260738.4049
37 | 2698715.933 | 1260731.2762
38 | 2698776.6568 | 1260726.5086
39 | 2698682.7103 | 1260739.6454
40 | 2698721.5237 | 1260856.3115
41 | 2698747.841 | 1260839.7358
42 | 2698667.6991 | 1260806.1191
43 | 2698664.9228 | 1260808.0222
44 | 2698701.8816 | 1260664.9042
45 | 2698674.9089 | 1260705.3428
46 | 2698707.6594 | 1260708.4962
47 | 2698725.8529 | 1260704.0138
48 | 2698729.5548 | 1260628.239
49 | 2698756.9583 | 1260650.327
50 | 2698883.8837 | 1260863.2937
51 | 2698836.5772 | 1260863.0698
52 | 2698883.7984 | 1260819.6268
53 | 2698690.2233 | 1260974.9737
54 | 2698692.4788 | 1260964.9253
55 | 2698678.0861 | 1260974.6257
56 | 2698763.0244 | 1260830.0058
57 | 2698876.757 | 1260755.2543
58 | 2698873.5102 | 1260757.5341
59 | 2698706.0181 | 1260895.2276
60 | 2698679.4795 | 1260924.6201
61 | 2698706.013 | 1260895.5361
62 | 2698702.6368 | 1260868.4272
63 | 2698706.1495 | 1260866.1738
64 | 2698787.8913 | 1260627.2749
65 | 2698803.4652 | 1260626.938
66 | 2698747.6441 | 1260620.5715
67 | 2698793.0524 | 1260646.7283
68 | 2698705.8669 | 1260904.2881
69 | 2698776.5405 | 1260821.3443
70 | 2698836.0477 | 1260870.4252
71 | 2698883.7678 | 1260803.9443
72 | 2698854.2741 | 1260770.4869
73 | 2698839.6061 | 1260780.3638
74 | 2698816.0704 | 1260796.2118
75 | 2698883.7375 | 1260788.4369
76 | 2698813.2427 | 1260798.1159
77 | 2698883.7494 | 1260794.5591
78 | 2698800.7896 | 1260805.9973
79 | 2698838.7995 | 1260717.2175
80 | 2698834.6493 | 1260720.1613
81 | 2698843.3125 | 1260714.0163
82 | 2698757.6747 | 1260740.5198
83 | 2698777.8007 | 1260820.5467
84 | 2698787.2322 | 1260837.7918
85 | 2698800.9601 | 1260645.0416
86 | 2698812.3638 | 1260643.7087
87 | 2698801.992 | 1260707.7766

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99202 | -0.15111 | 0.013855 | 0.0034725
1 | 0.99159 | -0.15946 | 0.010331 | 0.0025892
2 | 0.99229 | -0.14588 | 0 | 0
3 | 0.99149 | -0.16111 | 0 | 0
4 | 0.99367 | -0.11957 | 0 | 0
5 | 0.98994 | -0.19053 | 0.0087027 | 0.0021811
6 | 0.99353 | -0.1222 | 0 | 0
7 | 0.99325 | -0.12776 | 0.0057029 | 0.0014293
8 | 0.98463 | -0.29253 | 0 | 0
9 | 0.98286 | -0.32666 | 0 | 0
10 | 0.98746 | -0.2381 | 0.0052786 | 0.0013229
11 | 0.99712 | -0.054302 | 0.0037933 | 0.00095069
12 | 0.97858 | -0.41 | 0 | 0
13 | 0.97791 | -0.42308 | 0 | 0
14 | 0.9792 | -0.39793 | 0.0093269 | 0.0023375
15 | 0.97713 | -0.43829 | 0 | 0
16 | 0.9744 | -0.49192 | 0 | 0
17 | 0.97676 | -0.44565 | 0.010594 | 0.0026552
18 | 0.97776 | -0.42594 | 0.0059988 | 0.0015034
19 | 0.97564 | -0.46766 | 0 | 0
20 | 0.97707 | -0.43954 | 0 | 0
21 | 0.97349 | -0.50983 | 0 | 0
22 | 0.97527 | -0.47492 | 0.012061 | 0.0030227
23 | 0.97236 | -0.53211 | 0 | 0
24 | 0.9718 | -0.54327 | 0.0075795 | 0.0018996
25 | 0.97343 | -0.51115 | 0 | 0
26 | 0.97372 | -0.50539 | 0 | 0
27 | 0.97336 | -0.51247 | 0 | 0
28 | 0.97384 | -0.50299 | 0.0052018 | 0.0013037
29 | 0.97207 | -0.53801 | 0 | 0
30 | 0.97185 | -0.54231 | 0.005538 | 0.0013879
31 | 0.9721 | -0.5374 | 0.0070067 | 0.0017561
32 | 0.97647 | -0.45143 | 0 | 0
33 | 0.97621 | -0.45653 | 0.012769 | 0.0032003
34 | 0.97659 | -0.44908 | 0.0099144 | 0.0024848
35 | 0.9932 | -0.12867 | 0.0055495 | 0.0013908
36 | 0.98116 | -0.35972 | 0.0074903 | 0.0018772
37 | 0.98283 | -0.32726 | 0.0093885 | 0.002353
38 | 0.99724 | -0.051892 | 0.0074808 | 0.0018749
39 | 0.98014 | -0.37953 | 0 | 0
40 | 0.97416 | -0.4967 | 0.0060478 | 0.0015157
41 | 0.97413 | -0.49736 | 0 | 0
42 | 0.97664 | -0.4479 | 0.0040206 | 0.0010077
43 | 0.97663 | -0.44814 | 0.0038727 | 0.00097058
44 | 0.97523 | -0.47572 | 0.0091619 | 0.0022962
45 | 0.97889 | -0.40396 | 0 | 0
46 | 0.97776 | -0.42605 | 0.0091585 | 0.0022953
47 | 0.97718 | -0.43735 | 0 | 0
48 | 0.97153 | -0.54862 | 0.0075726 | 0.0018979
49 | 0.97247 | -0.53011 | 0.0069222 | 0.0017349
50 | 0.97061 | -0.56682 | 0 | 0
51 | 0.97043 | -0.57043 | 0 | 0
52 | 0.97078 | -0.56348 | 0.0042992 | 0.0010775
53 | 0.97297 | -0.52023 | 0 | 0
54 | 0.97296 | -0.52031 | 0.0004074 | 0.0001021
55 | 0.97297 | -0.52014 | 0.0024042 | 0.00060254
56 | 0.9736 | -0.50767 | 0.0066431 | 0.0016649
57 | 0.97127 | -0.55364 | 0.0060367 | 0.0015129
58 | 0.9713 | -0.5532 | 0 | 0
59 | 0.97319 | -0.51576 | 0 | 0
60 | 0.97314 | -0.51673 | 0.0032461 | 0.00081355
61 | 0.97319 | -0.51584 | 0.0094922 | 0.002379
62 | 0.97396 | -0.50073 | 0 | 0
63 | 0.97399 | -0.50008 | 0.0048279 | 0.00121
64 | 0.97121 | -0.5549 | 0.0070055 | 0.0017557
65 | 0.97131 | -0.55288 | 0.0027098 | 0.00067915
66 | 0.97139 | -0.55138 | 0.0075745 | 0.0018984
67 | 0.97177 | -0.54389 | 0.0032268 | 0.00080872
68 | 0.97315 | -0.51658 | 0.004636 | 0.0011619
69 | 0.97317 | -0.51621 | 0 | 0
70 | 0.9704 | -0.57099 | 0.012393 | 0.003106
71 | 0.97086 | -0.56187 | 0.0037715 | 0.00094522
72 | 0.97157 | -0.54784 | 0.0064802 | 0.0016241
73 | 0.97181 | -0.54305 | 0.0065618 | 0.0016445
74 | 0.97226 | -0.53423 | 0.0073258 | 0.001836
75 | 0.97097 | -0.55977 | 0.0071852 | 0.0018008
76 | 0.97232 | -0.53302 | 0 | 0
77 | 0.97092 | -0.56068 | 0.0038253 | 0.00095872
78 | 0.97258 | -0.52777 | 0.0073898 | 0.0018521
79 | 0.99299 | -0.13282 | 0.011901 | 0.0029827
80 | 0.99309 | -0.13073 | 0.0049276 | 0.001235
81 | 0.99293 | -0.13394 | 0.011408 | 0.0028592
82 | 1 | 0 | -0.38669 | -0.099424
83 | 0.97314 | -0.51687 | 0.0070247 | 0.0017606
84 | 0.97308 | -0.51794 | 0.014399 | 0.0036086
85 | 0.9717 | -0.54534 | 0 | 0
86 | 0.97159 | -0.5475 | 0 | 0
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010335 | 0.0025913 | -0.010331 | -0.0025892 | 4.1115e-06 | 2.0427e-06 | 0.015503 | 0.015503 | 0.015503 | 0.99202 | -0.15111 | 0.99159 | -0.15946 | 4.2592
1 | -0.024191 | -0.0060637 | 0.024197 | 0.0060674 | 6.0305e-06 | 3.7018e-06 | 0.036286 | 0.036286 | 0.036286 | 0.99202 | -0.15111 | 0.99229 | -0.14588 | 9.9687
2 | 0.30744 | 0.078948 | -0.30721 | -0.078803 | 0.00022703 | 0.00014497 | 0.46171 | 0.46171 | 0.46171 | 0.99229 | -0.14588 | 0.99149 | -0.16111 | 42.2812
3 | -0.33164 | -0.085016 | 0.33206 | 0.085286 | 0.00042358 | 0.00027056 | 0.498 | 0.498 | 0.498 | 0.99229 | -0.14588 | 0.99367 | -0.11957 | 45.604
4 | 0.30721 | 0.078803 | -0.30677 | -0.078524 | 0.00043777 | 0.00027954 | 0.46171 | 0.46171 | 0.46171 | 0.99149 | -0.16111 | 0.98994 | -0.19053 | 42.2812
5 | -0.37157 | -0.095196 | 0.37275 | 0.09595 | 0.0011794 | 0.00075363 | 0.55717 | 0.55717 | 0.55717 | 0.99367 | -0.11957 | 0.99712 | -0.054302 | 51.0225
6 | 0.039512 | 0.0099095 | -0.039507 | -0.0099068 | 4.9437e-06 | 2.7251e-06 | 0.059171 | 0.059171 | 0.059171 | 0.99367 | -0.11957 | 0.99353 | -0.1222 | 5.4186
7 | 0.29807 | 0.076343 | -0.29739 | -0.075905 | 0.00068521 | 0.00043748 | 0.44863 | 0.44863 | 0.44863 | 0.98994 | -0.19053 | 0.98746 | -0.2381 | 41.0833
8 | 0.039507 | 0.0099068 | -0.039496 | -0.009901 | 1.0461e-05 | 5.7669e-06 | 0.059171 | 0.059172 | 0.059172 | 0.99353 | -0.1222 | 0.99325 | -0.12776 | 5.4186
9 | 0.033794 | 0.0084717 | -0.033792 | -0.008471 | 1.4723e-06 | 7.6385e-07 | 0.050628 | 0.050628 | 0.050628 | 0.99325 | -0.12776 | 0.9932 | -0.12867 | 4.6363
10 | 0.29134 | 0.074093 | -0.29086 | -0.073788 | 0.00047828 | 0.00030535 | 0.44068 | 0.44068 | 0.44068 | 0.98463 | -0.29253 | 0.98286 | -0.32666 | 40.355
11 | -0.29134 | -0.074093 | 0.29211 | 0.074582 | 0.00076622 | 0.00048917 | 0.44068 | 0.44068 | 0.44068 | 0.98463 | -0.29253 | 0.98746 | -0.2381 | 40.3549
12 | 0.28148 | 0.071435 | -0.28103 | -0.07115 | 0.00044682 | 0.00028522 | 0.42646 | 0.42646 | 0.42646 | 0.98286 | -0.32666 | 0.98116 | -0.35972 | 39.0533
13 | 0.0093888 | 0.0023531 | -0.0093885 | -0.002353 | 2.6726e-07 | 1.2634e-07 | 0.014214 | 0.014214 | 0.014214 | 0.98286 | -0.32666 | 0.98283 | -0.32726 | 3.905
14 | -0.37654 | -0.0969 | 0.37659 | 0.096928 | 4.4135e-05 | 2.8203e-05 | 0.56283 | 0.56283 | 0.56283 | 0.99712 | -0.054302 | 0.99724 | -0.051892 | 51.5408
15 | 0.15488 | 0.039105 | -0.15478 | -0.039044 | 9.6938e-05 | 6.1514e-05 | 0.23561 | 0.23561 | 0.23561 | 0.97858 | -0.41 | 0.97791 | -0.42308 | 21.5764
16 | -0.15488 | -0.039105 | 0.15497 | 0.039162 | 8.9664e-05 | 5.6898e-05 | 0.23561 | 0.23561 | 0.23561 | 0.97858 | -0.41 | 0.9792 | -0.39793 | 21.5764
17 | 0.0059996 | 0.0015036 | -0.0059988 | -0.0015034 | 8.1783e-07 | 1.9516e-07 | 0.0091292 | 0.0091293 | 0.0091293 | 0.97791 | -0.42308 | 0.97776 | -0.42594 | 2.5081
18 | 0.14878 | 0.03754 | -0.14868 | -0.037471 | 0.00010832 | 6.8688e-05 | 0.22649 | 0.22649 | 0.22649 | 0.97791 | -0.42308 | 0.97713 | -0.43829 | 20.7405
19 | -0.1643 | -0.0415 | 0.16444 | 0.041592 | 0.000145 | 9.2096e-05 | 0.24979 | 0.24979 | 0.24979 | 0.9792 | -0.39793 | 0.98014 | -0.37953 | 22.8743
20 | 0.13018 | 0.032834 | -0.12985 | -0.032623 | 0.00033326 | 0.00021074 | 0.19832 | 0.19832 | 0.19832 | 0.97713 | -0.43829 | 0.9744 | -0.49192 | 18.1613
21 | 0.018495 | 0.0046376 | -0.018488 | -0.0046337 | 6.4865e-06 | 3.8783e-06 | 0.028166 | 0.028166 | 0.028166 | 0.97713 | -0.43829 | 0.97676 | -0.44565 | 7.7378
22 | 0.036293 | 0.009103 | -0.036285 | -0.0090985 | 8.2795e-06 | 4.4934e-06 | 0.055426 | 0.055427 | 0.055427 | 0.9744 | -0.49192 | 0.97416 | -0.4967 | 5.0757
23 | 0.093555 | 0.02352 | -0.093531 | -0.023505 | 2.4309e-05 | 1.5202e-05 | 0.14289 | 0.14289 | 0.14289 | 0.9744 | -0.49192 | 0.97413 | -0.49736 | 13.0856
24 | 0.0078941 | 0.0019786 | -0.0078933 | -0.0019782 | 8.462e-07 | 3.463e-07 | 0.012026 | 0.012026 | 0.012026 | 0.97676 | -0.44565 | 0.97664 | -0.4479 | 3.3039
25 | -0.076569 | -0.019268 | 0.076672 | 0.019333 | 0.00010303 | 6.4932e-05 | 0.11681 | 0.11681 | 0.11681 | 0.97564 | -0.46766 | 0.97707 | -0.43954 | 16.0452
26 | 0.055339 | 0.013944 | -0.055227 | -0.013874 | 0.00011138 | 7.0764e-05 | 0.084428 | 0.084428 | 0.084428 | 0.97564 | -0.46766 | 0.97349 | -0.50983 | 23.1946
27 | 0.02123 | 0.0053236 | -0.021223 | -0.0053191 | 7.3464e-06 | 4.4685e-06 | 0.032381 | 0.032381 | 0.032381 | 0.97564 | -0.46766 | 0.97527 | -0.47492 | 8.8959
28 | 0.022698 | 0.0056939 | -0.022688 | -0.0056875 | 1.0312e-05 | 6.3114e-06 | 0.03457 | 0.03457 | 0.03457 | 0.97707 | -0.43954 | 0.97659 | -0.44908 | 9.4973
29 | -0.09937 | -0.025027 | 0.099381 | 0.025033 | 1.0398e-05 | 6.5183e-06 | 0.15138 | 0.15138 | 0.15138 | 0.97707 | -0.43954 | 0.97718 | -0.43735 | 13.8625
30 | 0.032459 | 0.008153 | -0.032457 | -0.0081517 | 2.0545e-06 | 1.2872e-06 | 0.049622 | 0.049622 | 0.049622 | 0.97349 | -0.50983 | 0.97343 | -0.51115 | 13.6323
31 | 0.022768 | 0.0057207 | -0.022744 | -0.0057059 | 2.4193e-05 | 1.4822e-05 | 0.034807 | 0.034807 | 0.034807 | 0.97349 | -0.50983 | 0.97236 | -0.53211 | 9.5623
32 | 0.0091623 | 0.0022964 | -0.0091619 | -0.0022962 | 3.4607e-07 | 1.6256e-07 | 0.013979 | 0.013979 | 0.013979 | 0.97527 | -0.47492 | 0.97523 | -0.47572 | 3.8405
33 | 0.022744 | 0.0057059 | -0.022732 | -0.0056985 | 1.2089e-05 | 7.4068e-06 | 0.034807 | 0.034807 | 0.034807 | 0.97236 | -0.53211 | 0.9718 | -0.54327 | 9.5623
34 | 0.015152 | 0.0037988 | -0.015148 | -0.0037966 | 3.8649e-06 | 2.2364e-06 | 0.023201 | 0.023201 | 0.023201 | 0.9718 | -0.54327 | 0.97153 | -0.54862 | 6.374
35 | 0.032457 | 0.0081517 | -0.032428 | -0.0081334 | 2.933e-05 | 1.8376e-05 | 0.049622 | 0.049622 | 0.049622 | 0.97343 | -0.51115 | 0.97247 | -0.53011 | 13.6324
36 | 0.020197 | 0.005064 | -0.02019 | -0.0050599 | 6.8106e-06 | 4.1218e-06 | 0.030865 | 0.030865 | 0.030865 | 0.97372 | -0.50539 | 0.97336 | -0.51247 | 8.4795
37 | -0.020197 | -0.005064 | 0.020199 | 0.0050651 | 2.3082e-06 | 1.1558e-06 | 0.030865 | 0.030865 | 0.030865 | 0.97372 | -0.50539 | 0.97384 | -0.50299 | 4.2397
38 | 0.014131 | 0.0035422 | -0.014128 | -0.0035409 | 2.2123e-06 | 1.2588e-06 | 0.021602 | 0.021602 | 0.021602 | 0.97336 | -0.51247 | 0.97319 | -0.51576 | 5.9347
39 | 0.0060594 | 0.0015177 | -0.0060581 | -0.0015174 | 1.2305e-06 | 3.1227e-07 | 0.0092628 | 0.009263 | 0.009263 | 0.97336 | -0.51247 | 0.97314 | -0.51673 | 2.5448
40 | -0.025401 | -0.0063688 | 0.025404 | 0.00637 | 2.7378e-06 | 1.2095e-06 | 0.038813 | 0.038813 | 0.038813 | 0.97384 | -0.50299 | 0.97396 | -0.50073 | 3.5543
41 | 0.01849 | 0.0046366 | -0.018486 | -0.0046344 | 3.7838e-06 | 2.2655e-06 | 0.028305 | 0.028305 | 0.028305 | 0.97207 | -0.53801 | 0.97185 | -0.54231 | 7.776
42 | -0.01849 | -0.0046366 | 0.01849 | 0.004637 | 5.4363e-07 | 3.2549e-07 | 0.028305 | 0.028305 | 0.028305 | 0.97207 | -0.53801 | 0.9721 | -0.5374 | 7.776
43 | 0.012948 | 0.0032464 | -0.012947 | -0.0032459 | 9.7386e-07 | 5.414e-07 | 0.019825 | 0.019825 | 0.019825 | 0.97185 | -0.54231 | 0.97177 | -0.54389 | 5.4465
44 | -0.025497 | -0.006393 | 0.025506 | 0.0063985 | 8.8602e-06 | 5.4782e-06 | 0.03903 | 0.03903 | 0.03903 | 0.9721 | -0.5374 | 0.97247 | -0.53011 | 10.7225
45 | 0.012772 | 0.003202 | -0.012769 | -0.0032003 | 3.1033e-06 | 1.7129e-06 | 0.019464 | 0.019464 | 0.019464 | 0.97647 | -0.45143 | 0.97621 | -0.45653 | 5.3472
46 | -0.012772 | -0.003202 | 0.012774 | 0.0032028 | 1.4338e-06 | 7.9136e-07 | 0.019464 | 0.019464 | 0.019464 | 0.97647 | -0.45143 | 0.97659 | -0.44908 | 5.3472
47 | 0.028243 | 0.0070801 | -0.02824 | -0.0070786 | 2.7635e-06 | 1.5556e-06 | 0.042314 | 0.042314 | 0.042314 | 0.9932 | -0.12867 | 0.99309 | -0.13073 | 5.8123
48 | 0.27354 | 0.069272 | -0.27328 | -0.069106 | 0.00025996 | 0.00016592 | 0.4151 | 0.4151 | 0.4151 | 0.98116 | -0.35972 | 0.98014 | -0.37953 | 38.0131
49 | -0.38407 | -0.098803 | 0.38504 | 0.099424 | 0.00097163 | 0.00062092 | 0.57399 | 0.57399 | 0.57399 | 0.99724 | -0.051892 | 1 | 0 | 52.563
50 | 0.10884 | 0.027515 | -0.10871 | -0.027435 | 0.00012737 | 8.0108e-05 | 0.16532 | 0.16532 | 0.16532 | 0.98014 | -0.37953 | 0.97889 | -0.40396 | 15.1388
51 | 0.030237 | 0.0075828 | -0.030232 | -0.0075804 | 4.871e-06 | 2.4353e-06 | 0.046189 | 0.046189 | 0.046189 | 0.97416 | -0.4967 | 0.97399 | -0.50008 | 4.2298
52 | 0.093531 | 0.023505 | -0.093485 | -0.023476 | 4.6028e-05 | 2.8785e-05 | 0.14289 | 0.1429 | 0.1429 | 0.97413 | -0.49736 | 0.9736 | -0.50767 | 13.0856
53 | 0.0038727 | 0.00097057 | -0.0038727 | -0.00097058 | 4.3945e-08 | -1.3995e-08 | 0.0059005 | 0.0059005 | 0.0059005 | 0.97664 | -0.4479 | 0.97663 | -0.44814 | 1.621
54 | 0.10871 | 0.027435 | -0.10859 | -0.027362 | 0.00011488 | 7.2255e-05 | 0.16532 | 0.16532 | 0.16532 | 0.97889 | -0.40396 | 0.97776 | -0.42605 | 15.1389
55 | 0.099435 | 0.025067 | -0.099381 | -0.025033 | 5.3744e-05 | 3.3691e-05 | 0.15138 | 0.15138 | 0.15138 | 0.97776 | -0.42605 | 0.97718 | -0.43735 | 13.8625
56 | 0.0075755 | 0.0018987 | -0.0075745 | -0.0018984 | 9.9416e-07 | 3.9245e-07 | 0.011603 | 0.011603 | 0.011603 | 0.97153 | -0.54862 | 0.97139 | -0.55138 | 3.1876
57 | 0.012396 | 0.0031056 | -0.012394 | -0.003106 | 2.1291e-06 | -3.8587e-07 | 0.019003 | 0.019004 | 0.019004 | 0.97061 | -0.56682 | 0.97043 | -0.57043 | 1.7403
58 | -0.012396 | -0.0031056 | 0.012398 | 0.0031052 | 1.9711e-06 | -3.5791e-07 | 0.019003 | 0.019003 | 0.019003 | 0.97061 | -0.56682 | 0.97078 | -0.56348 | 1.7402
59 | 0.012394 | 0.003106 | -0.012393 | -0.003106 | 3.3291e-07 | -6.0264e-08 | 0.019004 | 0.019004 | 0.019004 | 0.97043 | -0.57043 | 0.9704 | -0.57099 | 1.7403
60 | -0.016697 | -0.0041827 | 0.016698 | 0.0041829 | 1.2839e-06 | 2.3999e-07 | 0.025592 | 0.025592 | 0.025592 | 0.97078 | -0.56348 | 0.97086 | -0.56187 | 2.3436
61 | 0.0004074 | 0.00010198 | -0.0004074 | -0.0001021 | 1.5196e-09 | -1.2868e-07 | 0.00062302 | 0.00062306 | 0.00062306 | 0.97297 | -0.52023 | 0.97296 | -0.52031 | 0.17117
62 | -0.0004074 | -0.00010198 | 0.0004074 | 0.00010183 | 1.7672e-09 | -1.4967e-07 | 0.00062302 | 0.00062296 | 0.00062302 | 0.97297 | -0.52023 | 0.97297 | -0.52014 | 0.17116
63 | -0.0028116 | -0.00070436 | 0.002812 | 0.00070384 | 4.555e-07 | -5.2466e-07 | 0.0042998 | 0.0042995 | 0.0042998 | 0.97297 | -0.52014 | 0.97314 | -0.51673 | 1.1813
64 | 0.086842 | 0.021811 | -0.086806 | -0.021789 | 3.5358e-05 | 2.2031e-05 | 0.13274 | 0.13274 | 0.13274 | 0.9736 | -0.50767 | 0.97317 | -0.51621 | 12.1559
65 | -0.0060367 | -0.0015129 | 0.0060368 | 0.001513 | 1.2725e-07 | 3.2336e-08 | 0.0092483 | 0.0092483 | 0.0092483 | 0.97127 | -0.55364 | 0.9713 | -0.5532 | 2.5407
66 | 0.031492 | 0.0078936 | -0.031482 | -0.0078885 | 9.8486e-06 | 5.0467e-06 | 0.048246 | 0.048246 | 0.048246 | 0.9713 | -0.5532 | 0.97097 | -0.55977 | 4.4182
67 | -0.037529 | -0.0094065 | 0.037539 | 0.0094118 | 9.5822e-06 | 5.2713e-06 | 0.057494 | 0.057494 | 0.057494 | 0.9713 | -0.5532 | 0.97157 | -0.54784 | 5.265
68 | 0.014128 | 0.0035409 | -0.014128 | -0.0035409 | 5.3985e-08 | 3.0717e-08 | 0.021602 | 0.021602 | 0.021602 | 0.97319 | -0.51576 | 0.97319 | -0.51584 | 5.9347
69 | 0.0046362 | 0.0011619 | -0.004636 | -0.0011619 | 1.6494e-07 | -3.1924e-09 | 0.0070887 | 0.0070888 | 0.0070888 | 0.97319 | -0.51584 | 0.97315 | -0.51658 | 1.9475
70 | -0.025404 | -0.00637 | 0.025404 | 0.0063704 | 7.8587e-07 | 3.4714e-07 | 0.038813 | 0.038813 | 0.038813 | 0.97396 | -0.50073 | 0.97399 | -0.50008 | 3.5543
71 | -0.0070055 | -0.0017557 | 0.0070061 | 0.001756 | 6.7296e-07 | 2.379e-07 | 0.010733 | 0.010733 | 0.010733 | 0.97121 | -0.5549 | 0.97131 | -0.55288 | 2.9487
72 | -0.009716 | -0.0024351 | 0.0097185 | 0.0024363 | 2.4928e-06 | 1.2239e-06 | 0.014885 | 0.014884 | 0.014885 | 0.97131 | -0.55288 | 0.97159 | -0.5475 | 4.0892
73 | 0.0097201 | 0.0024372 | -0.0097195 | -0.0024368 | 6.7173e-07 | 3.2975e-07 | 0.014884 | 0.014884 | 0.014884 | 0.97177 | -0.54389 | 0.9717 | -0.54534 | 4.0891
74 | 0.0144 | 0.0036087 | -0.014399 | -0.0036086 | 1.1877e-06 | 2.9641e-08 | 0.022018 | 0.022018 | 0.022018 | 0.97317 | -0.51621 | 0.97308 | -0.51794 | 2.0163
75 | 0.072406 | 0.01818 | -0.072404 | -0.018179 | 2.2855e-06 | 1.4071e-06 | 0.11072 | 0.11072 | 0.11072 | 0.97317 | -0.51621 | 0.97314 | -0.51687 | 10.1396
76 | -0.02047 | -0.0051282 | 0.020471 | 0.0051286 | 1.1547e-06 | 3.9079e-07 | 0.031373 | 0.031372 | 0.031373 | 0.97086 | -0.56187 | 0.97092 | -0.56068 | 2.8729
77 | -0.044019 | -0.011036 | 0.044029 | 0.011042 | 1.0047e-05 | 5.773e-06 | 0.067419 | 0.067419 | 0.067419 | 0.97157 | -0.54784 | 0.97181 | -0.54305 | 6.1739
78 | -0.050591 | -0.012686 | 0.050612 | 0.012699 | 2.1284e-05 | 1.2566e-05 | 0.077466 | 0.077465 | 0.077466 | 0.97181 | -0.54305 | 0.97226 | -0.53423 | 7.0939
79 | -0.057938 | -0.014535 | 0.057941 | 0.014537 | 3.351e-06 | 2.0178e-06 | 0.088677 | 0.088677 | 0.088677 | 0.97226 | -0.53423 | 0.97232 | -0.53302 | 8.1206
80 | 0.024297 | 0.0060877 | -0.024296 | -0.0060873 | 1.061e-06 | 4.5189e-07 | 0.037235 | 0.037235 | 0.037235 | 0.97097 | -0.55977 | 0.97092 | -0.56068 | 3.4098
81 | -0.057941 | -0.014537 | 0.057956 | 0.014546 | 1.4486e-05 | 8.7228e-06 | 0.088677 | 0.088677 | 0.088677 | 0.97232 | -0.53302 | 0.97258 | -0.52777 | 8.1206
82 | -0.065345 | -0.016398 | 0.065379 | 0.016418 | 3.3996e-05 | 2.0744e-05 | 0.099983 | 0.099983 | 0.099983 | 0.97258 | -0.52777 | 0.97314 | -0.51687 | 9.156
83 | -0.02331 | -0.0058422 | 0.023312 | 0.0058436 | 2.3282e-06 | 1.4242e-06 | 0.034931 | 0.034931 | 0.034931 | 0.99299 | -0.13282 | 0.99309 | -0.13073 | 9.5963
84 | 0.011409 | 0.0028595 | -0.011408 | -0.0028592 | 6.0648e-07 | 3.1658e-07 | 0.017096 | 0.017097 | 0.017097 | 0.99299 | -0.13282 | 0.99293 | -0.13394 | 4.6968
85 | 0.0097195 | 0.0024368 | -0.0097185 | -0.0024363 | 1.001e-06 | 4.9142e-07 | 0.014884 | 0.014884 | 0.014884 | 0.9717 | -0.54534 | 0.97159 | -0.5475 | 4.0891

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3955 | 0.10163

## res_load
| p_mw | q_mvar
0 | 0.013855 | 0.0034725
1 | 0.010331 | 0.0025892
2 | 0.0087027 | 0.0021811
3 | 0.0057029 | 0.0014293
4 | 0.0052786 | 0.0013229
5 | 0.0037933 | 0.00095069
6 | 0.0093269 | 0.0023375
7 | 0.010594 | 0.0026552
8 | 0.0059988 | 0.0015034
9 | 0.012061 | 0.0030227
10 | 0.0075795 | 0.0018996
11 | 0.0052018 | 0.0013037
12 | 0.005538 | 0.0013879
13 | 0.0070067 | 0.0017561
14 | 0.012769 | 0.0032003
15 | 0.0099144 | 0.0024848
16 | 0.0055495 | 0.0013908
17 | 0.0074903 | 0.0018772
18 | 0.0093885 | 0.002353
19 | 0.0074808 | 0.0018749
20 | 0.0060478 | 0.0015157
21 | 0.0040206 | 0.0010077
22 | 0.0038727 | 0.00097058
23 | 0.0091619 | 0.0022962
24 | 0.0091585 | 0.0022953
25 | 0.0075726 | 0.0018979
26 | 0.0069222 | 0.0017349
27 | 0.0042992 | 0.0010775
28 | 0.0004074 | 0.0001021
29 | 0.0024042 | 0.00060254
30 | 0.0066431 | 0.0016649
31 | 0.0060367 | 0.0015129
32 | 0.0032461 | 0.00081355
33 | 0.0094922 | 0.002379
34 | 0.0048279 | 0.00121
35 | 0.0070055 | 0.0017557
36 | 0.0027098 | 0.00067915
37 | 0.0075745 | 0.0018984
38 | 0.0032268 | 0.00080872
39 | 0.004636 | 0.0011619
40 | 0.012393 | 0.003106
41 | 0.0037715 | 0.00094522
42 | 0.0064802 | 0.0016241
43 | 0.0065618 | 0.0016445
44 | 0.0073258 | 0.001836
45 | 0.0071852 | 0.0018008
46 | 0.0038253 | 0.00095872
47 | 0.0073898 | 0.0018521
48 | 0.011901 | 0.0029827
49 | 0.0049276 | 0.001235
50 | 0.011408 | 0.0028592
51 | 0.0088058 | 0.0022069
52 | 0.0070247 | 0.0017606
53 | 0.014399 | 0.0036086

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1