## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-190_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-190_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_230-190_0_4_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_230-190_0_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_230-190_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_230-190_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_230-190_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_230-190_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_230-190_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_230-190_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_230-190_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_230-190_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_230-190_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_230-190_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_230-190_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_230-190_0_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_230-190_0_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_230-190_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_230-190_0_4_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_230-190_0_4_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_230-190_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_230-190_0_4_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_230-190_0_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_230-190_0_4_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_230-190_0_4_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_230-190_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_230-190_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_230-190_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_230-190_0_4_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_230-190_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_230-190_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_230-190_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_230-190_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_230-190_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_230-190_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_230-190_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_230-190_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_230-190_0_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_230-190_0_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_230-190_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_230-190_0_4_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_230-190_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_230-190_0_4_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_230-190_0_4_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_230-190_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_230-190_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_230-190_0_4_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_230-190_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_230-190_0_4_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_230-190_0_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_230-190_0_4_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_230-190_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_230-190_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_230-190_0_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_230-190_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_230-190_0_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_230-190_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_230-190_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_230-190_0_4_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_230-190_0_4_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_230-190_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_230-190_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_230-190_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_230-190_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_230-190_0_4_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_230-190_0_4_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_230-190_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_230-190_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_230-190_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_230-190_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_230-190_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_230-190_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_230-190_0_4_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_230-190_0_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_230-190_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_230-190_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_230-190_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_230-190_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_230-190_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_230-190_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_230-190_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_MV_509_1_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-190_0_4_load_0 | 0 | 0.013807 | 0.0034605 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-190_0_4_load_10 | 2 | 0.0053568 | 0.0013425 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-190_0_4_load_33 | 5 | 0.031244 | 0.0078304 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-190_0_4_load_31 | 7 | 0.019785 | 0.0049587 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-190_0_4_load_45 | 9 | 0.00494 | 0.0012381 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-190_0_4_load_36 | 10 | 0.0017094 | 0.00042842 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-190_0_4_load_14 | 11 | 0.0057835 | 0.0014495 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-190_0_4_load_15 | 12 | 0.017788 | 0.004458 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-190_0_4_load_12 | 13 | 0.017812 | 0.0044642 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-190_0_4_load_17 | 14 | 0.02068 | 0.0051828 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-190_0_4_load_32 | 16 | 0.015826 | 0.0039663 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-190_0_4_load_71 | 18 | 0.004243 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-190_0_4_load_70 | 19 | 0.0058851 | 0.0014749 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-190_0_4_load_54 | 22 | 0.011831 | 0.0029651 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-190_0_4_load_90 | 24 | 0.022144 | 0.0055498 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-190_0_4_load_55 | 26 | 0.014583 | 0.0036549 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-190_0_4_load_38 | 27 | 0.025366 | 0.0063572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-190_0_4_load_34 | 29 | 0.0047034 | 0.0011788 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-190_0_4_load_18 | 31 | 0.015628 | 0.0039168 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-190_0_4_load_19 | 32 | 0.0064951 | 0.0016278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-190_0_4_load_21 | 34 | 0.0062396 | 0.0015638 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-190_0_4_load_30 | 36 | 0.0061025 | 0.0015294 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-190_0_4_load_74 | 37 | 0.004179 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-190_0_4_load_73 | 38 | 0.011041 | 0.0027672 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-190_0_4_load_72 | 40 | 0.011041 | 0.0027672 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-190_0_4_load_65 | 42 | 0.011041 | 0.0027672 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-190_0_4_load_61 | 43 | 0.018879 | 0.0047314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-190_0_4_load_76 | 46 | 0.0026338 | 0.00066009 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-190_0_4_load_75 | 48 | 0.0043837 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-190_0_4_load_85 | 49 | 0.0061623 | 0.0015444 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-190_0_4_load_84 | 50 | 0.0028793 | 0.00072163 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-190_0_4_load_52 | 51 | 0.0033655 | 0.00084348 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-190_0_4_load_49 | 52 | 0.0028863 | 0.00072337 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-190_0_4_load_66 | 54 | 0.008209 | 0.0020574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-190_0_4_load_35 | 56 | 0.0046913 | 0.0011758 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-190_0_4_load_37 | 57 | 0.013159 | 0.0032981 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-190_0_4_load_89 | 58 | 0.00424 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-190_0_4_load_69 | 59 | 0.0047776 | 0.0011974 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-190_0_4_load_60 | 60 | 0.011838 | 0.0029668 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-190_0_4_load_57 | 61 | 0.016078 | 0.0040296 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-190_0_4_load_64 | 62 | 0.014582 | 0.0036546 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-190_0_4_load_63 | 63 | 0.011837 | 0.0029668 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-190_0_4_load_82 | 64 | 0.0076451 | 0.001916 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-190_0_4_load_68 | 65 | 0.0027092 | 0.00067898 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-190_0_4_load_46 | 66 | 0.0028008 | 0.00070195 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-190_0_4_load_47 | 67 | 0.002607 | 0.00065339 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-190_0_4_load_51 | 70 | 0.0076443 | 0.0019158 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-190_0_4_load_87 | 71 | 0.0027876 | 0.00069864 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-190_0_4_load_88 | 72 | 0.0074007 | 0.0018548 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-190_0_4_load_86 | 73 | 0.0028097 | 0.00070417 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-190_0_4_load_58 | 74 | 0.016076 | 0.0040291 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-190_0_4_load_62 | 76 | 0.0047784 | 0.0011976 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_230-190_0_4_load_80 | 79 | 0.0077363 | 0.0019389 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_230-190_0_4_load_83 | 80 | 0.0026912 | 0.00067449 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-190_0_4_line_0 |  | 0 | 1 | 0.012058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-190_0_4_line_1 |  | 1 | 2 | 0.015999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-190_0_4_line_2 |  | 1 | 3 | 0.030337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-190_0_4_line_3 |  | 2 | 13 | 0.023969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-190_0_4_line_4 |  | 3 | 14 | 0.041245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-190_0_4_line_5 |  | 4 | 5 | 0.03066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_230-190_0_4_line_6 |  | 4 | 6 | 0.082225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_230-190_0_4_line_7 |  | 4 | 7 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-190_0_4_line_8 |  | 5 | 15 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_230-190_0_4_line_9 |  | 6 | 11 | 0.0012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-190_0_4_line_10 |  | 6 | 12 | 0.011279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-190_0_4_line_11 |  | 7 | 16 | 0.041875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-190_0_4_line_12 |  | 8 | 9 | 0.023668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_230-190_0_4_line_13 |  | 8 | 10 | 0.025355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_230-190_0_4_line_14 |  | 9 | 28 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_230-190_0_4_line_15 |  | 10 | 29 | 0.011562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_230-190_0_4_line_16 |  | 11 | 30 | 0.017693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-190_0_4_line_17 |  | 13 | 30 | 0.0080819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-190_0_4_line_18 |  | 15 | 27 | 0.026419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_230-190_0_4_line_19 |  | 17 | 18 | 0.025782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_230-190_0_4_line_20 |  | 17 | 19 | 0.030328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-190_0_4_line_21 |  | 18 | 58 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_230-190_0_4_line_22 |  | 19 | 59 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-190_0_4_line_23 |  | 20 | 21 | 0.04978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-190_0_4_line_24 |  | 20 | 22 | 0.039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-190_0_4_line_25 |  | 21 | 60 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-190_0_4_line_26 |  | 21 | 61 | 0.0098867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-190_0_4_line_27 |  | 22 | 26 | 0.022654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-190_0_4_line_28 |  | 23 | 24 | 0.042385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-190_0_4_line_29 |  | 23 | 25 | 0.060327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-190_0_4_line_30 |  | 25 | 26 | 0.042286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-190_0_4_line_31 |  | 27 | 57 | 0.0061319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_230-190_0_4_line_32 |  | 28 | 64 | 0.00071602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_230-190_0_4_line_33 |  | 28 | 65 | 0.028677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-190_0_4_line_34 |  | 29 | 56 | 0.01524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_230-190_0_4_line_35 |  | 31 | 32 | 0.010291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-190_0_4_line_36 |  | 31 | 33 | 0.038173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-190_0_4_line_37 |  | 32 | 34 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-190_0_4_line_38 |  | 33 | 35 | 0.084699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-190_0_4_line_39 |  | 34 | 36 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-190_0_4_line_40 |  | 35 | 37 | 0.021783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-190_0_4_line_41 |  | 35 | 38 | 0.019565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-190_0_4_line_42 |  | 37 | 48 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-190_0_4_line_43 |  | 38 | 39 | 0.0061799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-190_0_4_line_44 |  | 39 | 40 | 0.0097288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-190_0_4_line_45 |  | 40 | 42 | 0.015913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-190_0_4_line_46 |  | 41 | 42 | 0.0090374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-190_0_4_line_47 |  | 41 | 43 | 0.00077523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-190_0_4_line_48 |  | 44 | 45 | 0.027764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-190_0_4_line_49 |  | 44 | 46 | 0.025717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-190_0_4_line_50 |  | 45 | 47 | 0.025671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-190_0_4_line_51 |  | 46 | 53 | 0.0073022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-190_0_4_line_52 |  | 47 | 51 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-190_0_4_line_53 |  | 47 | 52 | 0.0036828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-190_0_4_line_54 |  | 48 | 70 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-190_0_4_line_55 |  | 49 | 50 | 0.017646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-190_0_4_line_56 |  | 50 | 80 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-190_0_4_line_57 |  | 52 | 67 | 0.0039695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-190_0_4_line_58 |  | 53 | 77 | 0.036759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-190_0_4_line_59 |  | 54 | 55 | 0.0095219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-190_0_4_line_60 |  | 55 | 65 | 0.0051637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-190_0_4_line_61 |  | 56 | 57 | 0.015604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_230-190_0_4_line_62 |  | 58 | 72 | 0.015649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_230-190_0_4_line_63 |  | 59 | 76 | 0.020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-190_0_4_line_64 |  | 60 | 63 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-190_0_4_line_65 |  | 61 | 74 | 0.042887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-190_0_4_line_66 |  | 62 | 63 | 0.02203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-190_0_4_line_67 |  | 64 | 73 | 0.032832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_230-190_0_4_line_68 |  | 66 | 67 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-190_0_4_line_69 |  | 66 | 68 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-190_0_4_line_70 |  | 68 | 69 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-190_0_4_line_71 |  | 68 | 70 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-190_0_4_line_72 |  | 69 | 71 | 0.0017928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_230-190_0_4_line_73 |  | 69 | 72 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_230-190_0_4_line_74 |  | 71 | 73 | 0.0080612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_230-190_0_4_line_75 |  | 74 | 75 | 0.0027598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_230-190_0_4_line_76 |  | 75 | 76 | 0.017794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-190_0_4_line_77 |  | 77 | 80 | 0.0031877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-190_0_4_line_78 |  | 77 | 78 | 0.008834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_230-190_0_4_line_79 |  | 78 | 79 | 0.0079159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-190_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 81 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2698718.1379 | 1261001.739 | 2698706.0813 | 1261001.5524
1 | 2698718.1379 | 1261001.739 | 2698729.0162 | 1260991.2008 | 2698729.7681 | 1260990.7972
2 | 2698718.1379 | 1261001.739 | 2698718.0166 | 1261008.0977 | 2698728.3703 | 1261005.0568 | 2698737.3754 | 1261002.4383 | 2698741.2474 | 1261002.5586
3 | 2698749.7081 | 1260978.0124 | 2698746.5384 | 1260981.7966 | 2698729.7681 | 1260990.7972
4 | 2698741.2474 | 1261002.5586 | 2698746.0438 | 1261003.2837 | 2698753.5649 | 1261007.3903 | 2698759.663 | 1261011.4065 | 2698759.7613 | 1261018.6029 | 2698773.0783 | 1261019.0923
5 | 2698827.8567 | 1260955.9555 | 2698831.5284 | 1260954.5267 | 2698858.248 | 1260954.3713
6 | 2698757.8863 | 1260953.0848 | 2698798.0386 | 1260952.0098 | 2698805.3275 | 1260947.0052 | 2698810.3293 | 1260943.5637 | 2698814.1434 | 1260949.8548 | 2698819.4286 | 1260959.2173 | 2698827.8567 | 1260955.9555
7 | 2698827.8567 | 1260955.9555 | 2698822.3931 | 1260945.9894 | 2698820.7772 | 1260943.2939
8 | 2698870.0159 | 1260954.3029 | 2698858.248 | 1260954.3713
9 | 2698757.8863 | 1260953.0848 | 2698757.7 | 1260954.3487
10 | 2698757.8863 | 1260953.0848 | 2698761.8784 | 1260942.8542 | 2698761.9866 | 1260942.5778
11 | 2698797.1447 | 1260908.7522 | 2698815.8745 | 1260935.1161 | 2698820.7772 | 1260943.2939
12 | 2698868.3086 | 1261054.5896 | 2698891.3378 | 1261049.1261
13 | 2698868.3086 | 1261054.5896 | 2698869.1039 | 1261029.2474
14 | 2698909.9491 | 1261044.7108 | 2698891.3378 | 1261049.1261
15 | 2698869.1039 | 1261029.2474 | 2698869.2284 | 1261025.281 | 2698869.1493 | 1261017.688
16 | 2698754.8977 | 1260971.8169 | 2698756.5346 | 1260962.2586 | 2698757.7 | 1260954.3487
17 | 2698754.8977 | 1260971.8169 | 2698749.7081 | 1260978.0124
18 | 2698870.0159 | 1260954.3029 | 2698869.5409 | 1260980.7172
19 | 2698951.5878 | 1260955.2451 | 2698951.4605 | 1260981.0265
20 | 2698951.5878 | 1260955.2451 | 2698965.9381 | 1260955.2518 | 2698977.4655 | 1260944.1886
21 | 2698951.3832 | 1260996.6768 | 2698951.4605 | 1260981.0265
22 | 2698993.2427 | 1260929.0469 | 2698977.4655 | 1260944.1886
23 | 2698996.4138 | 1260852.8558 | 2698972.7272 | 1260809.0349
24 | 2698972.7272 | 1260809.0349 | 2698944.3511 | 1260836.8808
25 | 2698996.4138 | 1260852.8558 | 2698983.877 | 1260864.716
26 | 2698996.4138 | 1260852.8558 | 2699001.2148 | 1260861.4986
27 | 2698944.3511 | 1260836.8808 | 2698936.4046 | 1260844.6787 | 2698930.2624 | 1260846.9001 | 2698926.6368 | 1260850.3278
28 | 2698836.5772 | 1260863.0698 | 2698833.534 | 1260905.3423
29 | 2698836.5772 | 1260863.0698 | 2698883.8837 | 1260863.2937 | 2698892.1647 | 1260873.3403
30 | 2698892.1647 | 1260873.3403 | 2698908.7657 | 1260867.2239 | 2698926.6368 | 1260850.3278
31 | 2698869.4306 | 1260986.8481 | 2698869.5409 | 1260980.7172
32 | 2698910.6282 | 1261044.4839 | 2698909.9491 | 1261044.7108
33 | 2698909.9491 | 1261044.7108 | 2698929.376 | 1261065.805
34 | 2698869.15 | 1261002.4497 | 2698869.049 | 1261008.064 | 2698869.1493 | 1261017.688
35 | 2699135.363 | 1261032.5963 | 2699141.3254 | 1261031.5392 | 2699144.1014 | 1261034.7379
36 | 2699097.7761 | 1261039.2604 | 2699135.363 | 1261032.5963
37 | 2699144.1014 | 1261034.7379 | 2699155.0568 | 1261047.3613
38 | 2699035.5845 | 1260999.5088 | 2699046.0968 | 1260995.5594 | 2699059.1692 | 1260993.1095 | 2699089.9819 | 1261029.8778 | 2699097.7761 | 1261039.2604
39 | 2699155.0568 | 1261047.3613 | 2699165.6157 | 1261059.5279
40 | 2699035.5845 | 1260999.5088 | 2699034.2193 | 1261000.0197 | 2699015.1937 | 1261007.1705
41 | 2699035.5845 | 1260999.5088 | 2699030.8892 | 1260986.8977 | 2699030.8791 | 1260980.7894
42 | 2699015.1937 | 1261007.1705 | 2699007.3393 | 1261010.1226 | 2698994.6634 | 1261014.8858
43 | 2699030.869 | 1260974.6096 | 2699030.8791 | 1260980.7894
44 | 2699030.869 | 1260974.6096 | 2699030.8569 | 1260964.8808
45 | 2699030.8373 | 1260948.9673 | 2699030.8569 | 1260964.8808
46 | 2699036.1104 | 1260943.3718 | 2699030.8332 | 1260945.6965 | 2699030.8373 | 1260948.9673
47 | 2699035.837 | 1260942.6464 | 2699036.1104 | 1260943.3718
48 | 2699011.6396 | 1261073.7687 | 2698994.9319 | 1261077.2809 | 2698990.2639 | 1261086.8996
49 | 2699011.6396 | 1261073.7687 | 2699036.8035 | 1261068.4633
50 | 2698992.0201 | 1261062.5869 | 2698994.9319 | 1261077.2809 | 2698990.2639 | 1261086.8996
51 | 2699041.4574 | 1261074.0903 | 2699036.8035 | 1261068.4633
52 | 2698992.0201 | 1261062.5869 | 2698976.6152 | 1261065.6054
53 | 2698992.0201 | 1261062.5869 | 2698991.3039 | 1261058.9744
54 | 2698977.5302 | 1261021.324 | 2698994.6634 | 1261014.8858
55 | 2699090.6168 | 1261081.8239 | 2699102.2501 | 1261095.0919
56 | 2699079.5932 | 1261069.2512 | 2699090.6168 | 1261081.8239
57 | 2698990.5319 | 1261055.0807 | 2698991.3039 | 1261058.9744
58 | 2699077.4916 | 1261066.8543 | 2699068.9038 | 1261068.8566 | 2699049.4115 | 1261072.5778 | 2699041.4574 | 1261074.0903
59 | 2698932.8742 | 1261069.6033 | 2698939.3228 | 1261076.6091
60 | 2698932.8742 | 1261069.6033 | 2698929.376 | 1261065.805
61 | 2698869.15 | 1261002.4497 | 2698869.4306 | 1260986.8481
62 | 2698951.306 | 1261012.3251 | 2698951.3832 | 1260996.6768
63 | 2699007.8315 | 1260915.0456 | 2698993.2427 | 1260929.0469
64 | 2698983.877 | 1260864.716 | 2698969.1888 | 1260878.6116
65 | 2699001.2148 | 1260861.4986 | 2699009.5762 | 1260876.5509 | 2699019.5926 | 1260900.1837
66 | 2698969.1888 | 1260878.6116 | 2698962.4796 | 1260884.9588 | 2698955.755 | 1260887.7486 | 2698951.8577 | 1260891.6498
67 | 2698941.8336 | 1261034.2791 | 2698923.0688 | 1261040.3266 | 2698910.6282 | 1261044.4839
68 | 2698976.0261 | 1261036.8166 | 2698989.0316 | 1261047.5134 | 2698990.5319 | 1261055.0807
69 | 2698963.5685 | 1261026.5704 | 2698976.0261 | 1261036.8166
70 | 2698963.5685 | 1261026.5704 | 2698951.2125 | 1261031.2564
71 | 2698963.5685 | 1261026.5704 | 2698977.5302 | 1261021.324
72 | 2698951.2125 | 1261031.2564 | 2698949.5061 | 1261031.8064
73 | 2698951.2125 | 1261031.2564 | 2698951.306 | 1261012.3251
74 | 2698941.8336 | 1261034.2791 | 2698949.5061 | 1261031.8064
75 | 2699020.6696 | 1260902.7246 | 2699019.5926 | 1260900.1837
76 | 2699020.6696 | 1260902.7246 | 2699007.8315 | 1260915.0456
77 | 2699077.4916 | 1261066.8543 | 2699079.5932 | 1261069.2512
78 | 2699071.6565 | 1261060.2068 | 2699077.4916 | 1261066.8543
79 | 2699071.6565 | 1261060.2068 | 2699074.5861 | 1261052.8529

## bus_geodata
| x | y | coords
0 | 2698706.0813 | 1261001.5524
1 | 2698718.1379 | 1261001.739
2 | 2698729.7681 | 1260990.7972
3 | 2698741.2474 | 1261002.5586
4 | 2698827.8567 | 1260955.9555
5 | 2698858.248 | 1260954.3713
6 | 2698757.8863 | 1260953.0848
7 | 2698820.7772 | 1260943.2939
8 | 2698868.3086 | 1261054.5896
9 | 2698891.3378 | 1261049.1261
10 | 2698869.1039 | 1261029.2474
11 | 2698757.7 | 1260954.3487
12 | 2698761.9866 | 1260942.5778
13 | 2698749.7081 | 1260978.0124
14 | 2698773.0783 | 1261019.0923
15 | 2698870.0159 | 1260954.3029
16 | 2698797.1447 | 1260908.7522
17 | 2698951.5878 | 1260955.2451
18 | 2698951.4605 | 1260981.0265
19 | 2698977.4655 | 1260944.1886
20 | 2698972.7272 | 1260809.0349
21 | 2698996.4138 | 1260852.8558
22 | 2698944.3511 | 1260836.8808
23 | 2698836.5772 | 1260863.0698
24 | 2698833.534 | 1260905.3423
25 | 2698892.1647 | 1260873.3403
26 | 2698926.6368 | 1260850.3278
27 | 2698869.5409 | 1260980.7172
28 | 2698909.9491 | 1261044.7108
29 | 2698869.1493 | 1261017.688
30 | 2698754.8977 | 1260971.8169
31 | 2699135.363 | 1261032.5963
32 | 2699144.1014 | 1261034.7379
33 | 2699097.7761 | 1261039.2604
34 | 2699155.0568 | 1261047.3613
35 | 2699035.5845 | 1260999.5088
36 | 2699165.6157 | 1261059.5279
37 | 2699015.1937 | 1261007.1705
38 | 2699030.8791 | 1260980.7894
39 | 2699030.869 | 1260974.6096
40 | 2699030.8569 | 1260964.8808
41 | 2699036.1104 | 1260943.3718
42 | 2699030.8373 | 1260948.9673
43 | 2699035.837 | 1260942.6464
44 | 2699011.6396 | 1261073.7687
45 | 2698990.2639 | 1261086.8996
46 | 2699036.8035 | 1261068.4633
47 | 2698992.0201 | 1261062.5869
48 | 2698994.6634 | 1261014.8858
49 | 2699102.2501 | 1261095.0919
50 | 2699090.6168 | 1261081.8239
51 | 2698976.6152 | 1261065.6054
52 | 2698991.3039 | 1261058.9744
53 | 2699041.4574 | 1261074.0903
54 | 2698939.3228 | 1261076.6091
55 | 2698932.8742 | 1261069.6033
56 | 2698869.15 | 1261002.4497
57 | 2698869.4306 | 1260986.8481
58 | 2698951.3832 | 1260996.6768
59 | 2698993.2427 | 1260929.0469
60 | 2698983.877 | 1260864.716
61 | 2699001.2148 | 1260861.4986
62 | 2698951.8577 | 1260891.6498
63 | 2698969.1888 | 1260878.6116
64 | 2698910.6282 | 1261044.4839
65 | 2698929.376 | 1261065.805
66 | 2698976.0261 | 1261036.8166
67 | 2698990.5319 | 1261055.0807
68 | 2698963.5685 | 1261026.5704
69 | 2698951.2125 | 1261031.2564
70 | 2698977.5302 | 1261021.324
71 | 2698949.5061 | 1261031.8064
72 | 2698951.306 | 1261012.3251
73 | 2698941.8336 | 1261034.2791
74 | 2699019.5926 | 1260900.1837
75 | 2699020.6696 | 1260902.7246
76 | 2699007.8315 | 1260915.0456
77 | 2699077.4916 | 1261066.8544
78 | 2699071.6565 | 1261060.2068
79 | 2699074.5861 | 1261052.8529
80 | 2699079.5932 | 1261069.2512
81 | 2698932.7649 | 1260955.4305

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97225 | -0.53576 | 0.013807 | 0.0034605
1 | 0.9724 | -0.53269 | 0 | 0
2 | 0.97292 | -0.52253 | 0.0053568 | 0.0013425
3 | 0.97181 | -0.54426 | 0 | 0
4 | 0.97838 | -0.41519 | 0 | 0
5 | 0.97949 | -0.39347 | 0.031244 | 0.0078304
6 | 0.97527 | -0.47619 | 0 | 0
7 | 0.9779 | -0.4246 | 0.019785 | 0.0049587
8 | 0.98563 | -0.27415 | 0 | 0
9 | 0.98708 | -0.2462 | 0.00494 | 0.0012381
10 | 0.98408 | -0.30418 | 0.0017094 | 0.00042842
11 | 0.97519 | -0.47768 | 0.0057835 | 0.0014495
12 | 0.97508 | -0.47987 | 0.017788 | 0.004458
13 | 0.97381 | -0.50496 | 0.017812 | 0.0044642
14 | 0.97102 | -0.56002 | 0.02068 | 0.0051828
15 | 0.98003 | -0.38292 | 0 | 0
16 | 0.97729 | -0.43669 | 0.015826 | 0.0039663
17 | 1 | 0 | -0.52409 | -0.13437
18 | 0.99698 | -0.05697 | 0.004243 | 0.0010634
19 | 0.99624 | -0.071325 | 0.0058851 | 0.0014749
20 | 0.98195 | -0.34656 | 0 | 0
21 | 0.9842 | -0.30296 | 0 | 0
22 | 0.98017 | -0.38152 | 0.011831 | 0.0029651
23 | 0.97728 | -0.43801 | 0 | 0
24 | 0.97641 | -0.45516 | 0.022144 | 0.0055498
25 | 0.97852 | -0.41366 | 0 | 0
26 | 0.97939 | -0.39663 | 0.014583 | 0.0036549
27 | 0.98124 | -0.35928 | 0.025366 | 0.0063572
28 | 0.98828 | -0.22311 | 0 | 0
29 | 0.98338 | -0.31779 | 0.0047034 | 0.0011788
30 | 0.97424 | -0.49639 | 0 | 0
31 | 0.97907 | -0.40265 | 0.015628 | 0.0039168
32 | 0.97889 | -0.40617 | 0.0064951 | 0.0016278
33 | 0.98029 | -0.37875 | 0 | 0
34 | 0.9787 | -0.40992 | 0.0062396 | 0.0015638
35 | 0.98299 | -0.32595 | 0 | 0
36 | 0.97861 | -0.41171 | 0.0061025 | 0.0015294
37 | 0.98473 | -0.29203 | 0.004179 | 0.0010474
38 | 0.98205 | -0.34432 | 0.011041 | 0.0027672
39 | 0.98182 | -0.34889 | 0 | 0
40 | 0.98145 | -0.3561 | 0.011041 | 0.0027672
41 | 0.98085 | -0.36781 | 0 | 0
42 | 0.98101 | -0.36472 | 0.011041 | 0.0027672
43 | 0.98084 | -0.36807 | 0.018879 | 0.0047314
44 | 0.98712 | -0.24601 | 0 | 0
45 | 0.98769 | -0.23504 | 0 | 0
46 | 0.9866 | -0.25618 | 0.0026338 | 0.00066009
47 | 0.98821 | -0.2249 | 0 | 0
48 | 0.98657 | -0.25636 | 0.0043837 | 0.0010987
49 | 0.98554 | -0.27689 | 0.0061623 | 0.0015444
50 | 0.98564 | -0.27494 | 0.0028793 | 0.00072163
51 | 0.98816 | -0.22584 | 0.0033655 | 0.00084348
52 | 0.98829 | -0.22323 | 0.0028863 | 0.00072337
53 | 0.98647 | -0.25873 | 0 | 0
54 | 0.98788 | -0.23086 | 0.008209 | 0.0020574
55 | 0.98795 | -0.22946 | 0 | 0
56 | 0.98248 | -0.33532 | 0.0046913 | 0.0011758
57 | 0.98157 | -0.35287 | 0.013159 | 0.0032981
58 | 0.99517 | -0.091332 | 0.00424 | 0.0010626
59 | 0.99364 | -0.12082 | 0.0047776 | 0.0011974
60 | 0.98359 | -0.31485 | 0.011838 | 0.0029668
61 | 0.98499 | -0.28752 | 0.016078 | 0.0040296
62 | 0.9828 | -0.33027 | 0.014582 | 0.0036546
63 | 0.98309 | -0.32447 | 0.011837 | 0.0029668
64 | 0.98833 | -0.2222 | 0.0076451 | 0.001916
65 | 0.98799 | -0.2287 | 0.0027092 | 0.00067898
66 | 0.9891 | -0.20766 | 0.0028008 | 0.00070195
67 | 0.9884 | -0.22122 | 0.002607 | 0.00065339
68 | 0.9896 | -0.19796 | 0 | 0
69 | 0.99126 | -0.166 | 0 | 0
70 | 0.98818 | -0.22526 | 0.0076443 | 0.0019158
71 | 0.99113 | -0.16841 | 0.0027876 | 0.00069864
72 | 0.99338 | -0.12542 | 0.0074007 | 0.0018548
73 | 0.99057 | -0.1791 | 0.0028097 | 0.00070417
74 | 0.98907 | -0.20857 | 0.016076 | 0.0040291
75 | 0.98937 | -0.20272 | 0 | 0
76 | 0.99133 | -0.1651 | 0.0047784 | 0.0011976
77 | 0.98581 | -0.27156 | 0 | 0
78 | 0.98575 | -0.27278 | 0 | 0
79 | 0.98569 | -0.27388 | 0.0077363 | 0.0019389
80 | 0.98577 | -0.27223 | 0.0026912 | 0.00067449
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013807 | -0.0034605 | 0.013809 | 0.0034616 | 2.0193e-06 | 1.1428e-06 | 0.021132 | 0.021132 | 0.021132 | 0.97225 | -0.53576 | 0.9724 | -0.53269 | 5.8055
1 | -0.034516 | -0.0086607 | 0.034533 | 0.0086712 | 1.674e-05 | 1.0515e-05 | 0.052822 | 0.052821 | 0.052822 | 0.9724 | -0.53269 | 0.97292 | -0.52253 | 14.5114
2 | 0.020706 | 0.0051991 | -0.020695 | -0.0051922 | 1.1425e-05 | 6.9356e-06 | 0.03169 | 0.03169 | 0.03169 | 0.9724 | -0.53269 | 0.97181 | -0.54426 | 8.706
3 | -0.039889 | -0.010014 | 0.039923 | 0.010035 | 3.3462e-05 | 2.1118e-05 | 0.061014 | 0.061014 | 0.061014 | 0.97292 | -0.52253 | 0.97381 | -0.50496 | 16.7622
4 | 0.020695 | 0.0051922 | -0.02068 | -0.0051828 | 1.5532e-05 | 9.4302e-06 | 0.03169 | 0.03169 | 0.03169 | 0.97181 | -0.54426 | 0.97102 | -0.56002 | 8.706
5 | -0.11726 | -0.02955 | 0.11739 | 0.029627 | 0.00012198 | 7.691e-05 | 0.1784 | 0.1784 | 0.1784 | 0.97838 | -0.41519 | 0.97949 | -0.39347 | 16.3373
6 | 0.081627 | 0.020609 | -0.081389 | -0.020459 | 0.00023783 | 0.00015015 | 0.1242 | 0.1242 | 0.1242 | 0.97838 | -0.41519 | 0.97527 | -0.47619 | 17.0607
7 | 0.035636 | 0.0089403 | -0.03562 | -0.0089303 | 1.5984e-05 | 1.0047e-05 | 0.054202 | 0.054202 | 0.054202 | 0.97838 | -0.41519 | 0.9779 | -0.4246 | 14.8907
8 | -0.14863 | -0.037457 | 0.1487 | 0.037505 | 7.5046e-05 | 4.7585e-05 | 0.22587 | 0.22587 | 0.22587 | 0.97949 | -0.39347 | 0.98003 | -0.38292 | 20.6838
9 | 0.063598 | 0.015999 | -0.063594 | -0.015996 | 4.513e-06 | 2.8724e-06 | 0.097057 | 0.097057 | 0.097057 | 0.97527 | -0.47619 | 0.97519 | -0.47768 | 26.664
10 | 0.017791 | 0.0044599 | -0.017788 | -0.004458 | 3.1165e-06 | 1.8538e-06 | 0.027145 | 0.027145 | 0.027145 | 0.97527 | -0.47619 | 0.97508 | -0.47987 | 7.4574
11 | 0.015835 | 0.0039716 | -0.015826 | -0.0039663 | 9.1173e-06 | 5.3101e-06 | 0.024096 | 0.024096 | 0.024096 | 0.9779 | -0.4246 | 0.97729 | -0.43669 | 6.6198
12 | -0.19929 | -0.050552 | 0.19956 | 0.050723 | 0.0002682 | 0.00017074 | 0.30109 | 0.30109 | 0.30109 | 0.98563 | -0.27415 | 0.98708 | -0.2462 | 27.5722
13 | 0.19929 | 0.050552 | -0.199 | -0.050369 | 0.00028731 | 0.00018291 | 0.30109 | 0.30109 | 0.30109 | 0.98563 | -0.27415 | 0.98408 | -0.30418 | 27.5722
14 | -0.2045 | -0.051961 | 0.20473 | 0.052106 | 0.00022761 | 0.00014493 | 0.30853 | 0.30853 | 0.30853 | 0.98708 | -0.2462 | 0.98828 | -0.22311 | 28.2541
15 | 0.19729 | 0.049941 | -0.19717 | -0.049859 | 0.00012877 | 8.1976e-05 | 0.2985 | 0.2985 | 0.2985 | 0.98408 | -0.30418 | 0.98338 | -0.31779 | 27.3355
16 | 0.057811 | 0.014547 | -0.057759 | -0.014514 | 5.1651e-05 | 3.2836e-05 | 0.088232 | 0.088232 | 0.088232 | 0.97519 | -0.47768 | 0.97424 | -0.49639 | 24.2397
17 | -0.057735 | -0.014499 | 0.057759 | 0.014514 | 2.3594e-05 | 1.5e-05 | 0.088232 | 0.088232 | 0.088232 | 0.97381 | -0.50496 | 0.97424 | -0.49639 | 24.2397
18 | -0.1487 | -0.037505 | 0.14887 | 0.037611 | 0.00016847 | 0.00010682 | 0.22587 | 0.22587 | 0.22587 | 0.98003 | -0.38292 | 0.98124 | -0.35928 | 20.6838
19 | 0.38596 | 0.099366 | -0.38489 | -0.098684 | 0.0010664 | 0.00068152 | 0.57525 | 0.57525 | 0.57525 | 1 | 0 | 0.99698 | -0.05697 | 52.6789
20 | 0.13647 | 0.035001 | -0.136 | -0.034701 | 0.00047032 | 0.00030061 | 0.20336 | 0.20336 | 0.20336 | 1 | 0 | 0.99624 | -0.071325 | 55.8679
21 | 0.38065 | 0.097621 | -0.38002 | -0.097216 | 0.0006332 | 0.00040464 | 0.56892 | 0.56892 | 0.56892 | 0.99698 | -0.05697 | 0.99517 | -0.091332 | 52.099
22 | 0.13012 | 0.033226 | -0.12981 | -0.033027 | 0.00031044 | 0.0001984 | 0.19457 | 0.19457 | 0.19457 | 0.99624 | -0.071325 | 0.99364 | -0.12082 | 53.453
23 | -0.048728 | -0.012276 | 0.04883 | 0.01234 | 0.00010185 | 6.455e-05 | 0.073863 | 0.073863 | 0.073863 | 0.98195 | -0.34656 | 0.9842 | -0.30296 | 20.2921
24 | 0.048728 | 0.012276 | -0.048647 | -0.012224 | 8.134e-05 | 5.1555e-05 | 0.073863 | 0.073864 | 0.073864 | 0.98195 | -0.34656 | 0.98017 | -0.38152 | 20.2922
25 | 0.038295 | 0.0096116 | -0.038273 | -0.0095979 | 2.1699e-05 | 1.3668e-05 | 0.057904 | 0.057904 | 0.057904 | 0.9842 | -0.30296 | 0.98359 | -0.31485 | 15.9076
26 | -0.087125 | -0.021952 | 0.087189 | 0.021993 | 6.4372e-05 | 4.1072e-05 | 0.13177 | 0.13177 | 0.13177 | 0.9842 | -0.30296 | 0.98499 | -0.28752 | 36.1996
27 | 0.036816 | 0.0092593 | -0.036789 | -0.0092426 | 2.6549e-05 | 1.6706e-05 | 0.055903 | 0.055903 | 0.055903 | 0.98017 | -0.38152 | 0.97939 | -0.39663 | 15.3579
28 | 0.022162 | 0.0055609 | -0.022144 | -0.0055498 | 1.8101e-05 | 1.1054e-05 | 0.033747 | 0.033747 | 0.033747 | 0.97728 | -0.43801 | 0.97641 | -0.45516 | 9.2711
29 | -0.022162 | -0.0055609 | 0.022188 | 0.0055766 | 2.5763e-05 | 1.5731e-05 | 0.033747 | 0.033746 | 0.033747 | 0.97728 | -0.43801 | 0.97852 | -0.41366 | 9.271
30 | -0.022188 | -0.0055766 | 0.022206 | 0.0055876 | 1.8058e-05 | 1.1026e-05 | 0.033746 | 0.033746 | 0.033746 | 0.97852 | -0.41366 | 0.97939 | -0.39663 | 9.2709
31 | -0.17424 | -0.043969 | 0.17429 | 0.044003 | 5.3556e-05 | 3.4044e-05 | 0.26433 | 0.26433 | 0.26433 | 0.98124 | -0.35928 | 0.98157 | -0.35287 | 24.2063
32 | -0.21565 | -0.054844 | 0.21566 | 0.05485 | 9.4525e-06 | 6.0221e-06 | 0.32498 | 0.32498 | 0.32498 | 0.98828 | -0.22311 | 0.98833 | -0.2222 | 29.76
33 | 0.010922 | 0.0027382 | -0.010919 | -0.0027367 | 2.9083e-06 | 1.494e-06 | 0.016445 | 0.016445 | 0.016445 | 0.98828 | -0.22311 | 0.98799 | -0.2287 | 4.5179
34 | 0.19246 | 0.04868 | -0.1923 | -0.048577 | 0.00016174 | 0.00010294 | 0.29139 | 0.29139 | 0.29139 | 0.98338 | -0.31779 | 0.98248 | -0.33532 | 26.6838
35 | 0.018843 | 0.0047243 | -0.01884 | -0.0047224 | 3.1651e-06 | 1.8963e-06 | 0.028639 | 0.028639 | 0.028639 | 0.97907 | -0.40265 | 0.97889 | -0.40617 | 7.8678
36 | -0.034471 | -0.008641 | 0.03451 | 0.0086657 | 3.9292e-05 | 2.4666e-05 | 0.052391 | 0.052391 | 0.052391 | 0.97907 | -0.40265 | 0.98029 | -0.37875 | 14.3931
37 | 0.012345 | 0.0030946 | -0.012343 | -0.0030933 | 2.2073e-06 | 1.2026e-06 | 0.018766 | 0.018766 | 0.018766 | 0.97889 | -0.40617 | 0.9787 | -0.40992 | 5.1554
38 | -0.03451 | -0.0086657 | 0.034598 | 0.0087204 | 8.718e-05 | 5.4724e-05 | 0.052391 | 0.05239 | 0.052391 | 0.98029 | -0.37875 | 0.98299 | -0.32595 | 14.393
39 | 0.006103 | 0.0015296 | -0.0061025 | -0.0015294 | 5.2014e-07 | 1.3047e-07 | 0.009279 | 0.0092791 | 0.0092791 | 0.9787 | -0.40992 | 0.97861 | -0.41171 | 2.5492
40 | -0.086684 | -0.021806 | 0.086825 | 0.021896 | 0.00014071 | 8.9779e-05 | 0.13125 | 0.13125 | 0.13125 | 0.98299 | -0.32595 | 0.98473 | -0.29203 | 36.0573
41 | 0.052087 | 0.013086 | -0.052041 | -0.013057 | 4.5625e-05 | 2.8953e-05 | 0.078858 | 0.078858 | 0.078858 | 0.98299 | -0.32595 | 0.98205 | -0.34432 | 21.6644
42 | -0.091004 | -0.022944 | 0.091159 | 0.023043 | 0.00015564 | 9.9329e-05 | 0.13756 | 0.13756 | 0.13756 | 0.98473 | -0.29203 | 0.98657 | -0.25636 | 37.7921
43 | 0.041 | 0.01029 | -0.040991 | -0.010284 | 8.9452e-06 | 5.6468e-06 | 0.062128 | 0.062128 | 0.062128 | 0.98205 | -0.34432 | 0.98182 | -0.34889 | 17.0682
44 | 0.040991 | 0.010284 | -0.040977 | -0.010275 | 1.4082e-05 | 8.8896e-06 | 0.062128 | 0.062128 | 0.062128 | 0.98182 | -0.34889 | 0.98145 | -0.3561 | 17.0682
45 | 0.029935 | 0.0075081 | -0.029923 | -0.0075005 | 1.2294e-05 | 7.667e-06 | 0.045388 | 0.045388 | 0.045388 | 0.98145 | -0.3561 | 0.98101 | -0.36472 | 12.4693
46 | -0.018879 | -0.0047316 | 0.018882 | 0.0047332 | 2.7799e-06 | 1.6651e-06 | 0.02864 | 0.02864 | 0.02864 | 0.98085 | -0.36781 | 0.98101 | -0.36472 | 7.8683
47 | 0.018879 | 0.0047316 | -0.018879 | -0.0047314 | 2.3847e-07 | 1.4283e-07 | 0.02864 | 0.02864 | 0.02864 | 0.98085 | -0.36781 | 0.98084 | -0.36807 | 7.8683
48 | -0.022131 | -0.0055558 | 0.022143 | 0.0055629 | 1.159e-05 | 7.0624e-06 | 0.033364 | 0.033364 | 0.033364 | 0.98712 | -0.24601 | 0.98769 | -0.23504 | 9.166
49 | 0.022131 | 0.0055558 | -0.02212 | -0.0055493 | 1.0735e-05 | 6.542e-06 | 0.033364 | 0.033364 | 0.033364 | 0.98712 | -0.24601 | 0.9866 | -0.25618 | 9.166
50 | -0.022143 | -0.0055629 | 0.022153 | 0.0055694 | 1.0716e-05 | 6.5296e-06 | 0.033364 | 0.033364 | 0.033364 | 0.98769 | -0.23504 | 0.98821 | -0.2249 | 9.1659
51 | 0.019486 | 0.0048892 | -0.019484 | -0.0048878 | 2.3656e-06 | 1.4207e-06 | 0.029392 | 0.029392 | 0.029392 | 0.9866 | -0.25618 | 0.98647 | -0.25873 | 8.0747
52 | 0.0033657 | 0.00084338 | -0.0033655 | -0.00084348 | 1.5119e-07 | -1.0434e-07 | 0.0050679 | 0.005068 | 0.005068 | 0.98821 | -0.2249 | 0.98816 | -0.22584 | 1.3923
53 | -0.025519 | -0.0064128 | 0.025521 | 0.0064141 | 2.0398e-06 | 1.2583e-06 | 0.038432 | 0.038432 | 0.038432 | 0.98821 | -0.2249 | 0.98829 | -0.22323 | 10.5582
54 | -0.095543 | -0.024142 | 0.095686 | 0.024233 | 0.00014267 | 9.1074e-05 | 0.14417 | 0.14417 | 0.14417 | 0.98657 | -0.25636 | 0.98818 | -0.22526 | 39.6085
55 | -0.0061623 | -0.0015444 | 0.0061629 | 0.0015446 | 5.7283e-07 | 1.4174e-07 | 0.0093042 | 0.0093041 | 0.0093042 | 0.98554 | -0.27689 | 0.98564 | -0.27494 | 2.5561
56 | -0.0090422 | -0.0022662 | 0.0090434 | 0.0022667 | 1.1685e-06 | 5.3469e-07 | 0.013651 | 0.013651 | 0.013651 | 0.98564 | -0.27494 | 0.98577 | -0.27223 | 3.7503
57 | -0.028407 | -0.0071374 | 0.02841 | 0.0071391 | 2.724e-06 | 1.6925e-06 | 0.042778 | 0.042778 | 0.042778 | 0.98829 | -0.22323 | 0.9884 | -0.22122 | 11.7521
58 | 0.019484 | 0.0048878 | -0.019472 | -0.0048806 | 1.1908e-05 | 7.1524e-06 | 0.029392 | 0.029392 | 0.029392 | 0.98647 | -0.25873 | 0.98581 | -0.27156 | 8.0748
59 | -0.008209 | -0.0020574 | 0.0082095 | 0.0020576 | 5.4593e-07 | 2.2748e-07 | 0.012365 | 0.012365 | 0.012365 | 0.98788 | -0.23086 | 0.98795 | -0.22946 | 3.397
60 | -0.0082095 | -0.0020576 | 0.0082098 | 0.0020577 | 2.9606e-07 | 1.2335e-07 | 0.012365 | 0.012365 | 0.012365 | 0.98795 | -0.22946 | 0.98799 | -0.2287 | 3.397
61 | 0.18761 | 0.047401 | -0.18745 | -0.047301 | 0.00015763 | 0.00010029 | 0.28428 | 0.28428 | 0.28428 | 0.98248 | -0.33532 | 0.98157 | -0.35287 | 26.0331
62 | 0.37578 | 0.096153 | -0.37516 | -0.095758 | 0.00061909 | 0.00039561 | 0.56258 | 0.56258 | 0.56258 | 0.99517 | -0.091332 | 0.99338 | -0.12542 | 51.5184
63 | 0.12503 | 0.03183 | -0.12476 | -0.03166 | 0.00026634 | 0.00017019 | 0.18741 | 0.18741 | 0.18741 | 0.99364 | -0.12082 | 0.99133 | -0.1651 | 51.4875
64 | 0.026436 | 0.0066311 | -0.026423 | -0.0066236 | 1.2129e-05 | 7.5059e-06 | 0.039995 | 0.039995 | 0.039995 | 0.98359 | -0.31485 | 0.98309 | -0.32447 | 10.9876
65 | -0.10327 | -0.026023 | 0.10366 | 0.026273 | 0.00039166 | 0.00025012 | 0.15606 | 0.15606 | 0.15606 | 0.98499 | -0.28752 | 0.98907 | -0.20857 | 42.8726
66 | -0.014582 | -0.0036546 | 0.014586 | 0.0036569 | 4.0269e-06 | 2.2979e-06 | 0.022078 | 0.022078 | 0.022078 | 0.9828 | -0.33027 | 0.98309 | -0.32447 | 6.0653
67 | -0.2233 | -0.056766 | 0.22377 | 0.057062 | 0.00046468 | 0.00029613 | 0.33649 | 0.33649 | 0.33649 | 0.98833 | -0.2222 | 0.99057 | -0.1791 | 30.8141
68 | 0.031037 | 0.0078051 | -0.031017 | -0.0077925 | 2.0083e-05 | 1.2538e-05 | 0.046702 | 0.046702 | 0.046702 | 0.9891 | -0.20766 | 0.9884 | -0.22122 | 12.8303
69 | -0.033838 | -0.008507 | 0.033854 | 0.0085168 | 1.5681e-05 | 9.8287e-06 | 0.050916 | 0.050916 | 0.050916 | 0.9891 | -0.20766 | 0.9896 | -0.19796 | 13.9879
70 | -0.13732 | -0.034752 | 0.13753 | 0.034887 | 0.00021098 | 0.00013486 | 0.2066 | 0.2066 | 0.2066 | 0.9896 | -0.19796 | 0.99126 | -0.166 | 56.7586
71 | 0.10347 | 0.026235 | -0.10333 | -0.026149 | 0.00013557 | 8.657e-05 | 0.15569 | 0.15569 | 0.15569 | 0.9896 | -0.19796 | 0.98818 | -0.22526 | 42.7708
72 | 0.22951 | 0.058556 | -0.22948 | -0.058539 | 2.6657e-05 | 1.6991e-05 | 0.34489 | 0.34489 | 0.34489 | 0.99126 | -0.166 | 0.99113 | -0.16841 | 31.5838
73 | -0.36704 | -0.093443 | 0.36776 | 0.093903 | 0.00071975 | 0.00045991 | 0.5515 | 0.5515 | 0.5515 | 0.99126 | -0.166 | 0.99338 | -0.12542 | 50.5033
74 | 0.22669 | 0.057841 | -0.22658 | -0.057766 | 0.00011697 | 7.455e-05 | 0.34071 | 0.34071 | 0.34071 | 0.99113 | -0.16841 | 0.99057 | -0.1791 | 31.2005
75 | -0.11974 | -0.030302 | 0.11977 | 0.030324 | 3.3621e-05 | 2.1482e-05 | 0.18024 | 0.18024 | 0.18024 | 0.98907 | -0.20857 | 0.98937 | -0.20272 | 49.5171
76 | -0.11977 | -0.030324 | 0.11999 | 0.030462 | 0.00021678 | 0.00013851 | 0.18024 | 0.18024 | 0.18024 | 0.98937 | -0.20272 | 0.99133 | -0.1651 | 49.5171
77 | 0.011735 | 0.0029414 | -0.011735 | -0.0029412 | 3.7507e-07 | 1.994e-07 | 0.017713 | 0.017713 | 0.017713 | 0.98581 | -0.27156 | 0.98577 | -0.27223 | 4.8663
78 | 0.0077372 | 0.0019392 | -0.0077367 | -0.0019391 | 4.5184e-07 | 1.7656e-07 | 0.011679 | 0.011679 | 0.011679 | 0.98581 | -0.27156 | 0.98575 | -0.27278 | 3.2085
79 | 0.0077367 | 0.0019391 | -0.0077363 | -0.0019389 | 4.0489e-07 | 1.5822e-07 | 0.011679 | 0.011679 | 0.011679 | 0.98575 | -0.27278 | 0.98569 | -0.27388 | 3.2085

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52409 | 0.13437

## res_load
| p_mw | q_mvar
0 | 0.013807 | 0.0034605
1 | 0.0053568 | 0.0013425
2 | 0.031244 | 0.0078304
3 | 0.019785 | 0.0049587
4 | 0.00494 | 0.0012381
5 | 0.0017094 | 0.00042842
6 | 0.0057835 | 0.0014495
7 | 0.017788 | 0.004458
8 | 0.017812 | 0.0044642
9 | 0.02068 | 0.0051828
10 | 0.015826 | 0.0039663
11 | 0.004243 | 0.0010634
12 | 0.0058851 | 0.0014749
13 | 0.011831 | 0.0029651
14 | 0.022144 | 0.0055498
15 | 0.014583 | 0.0036549
16 | 0.025366 | 0.0063572
17 | 0.0047034 | 0.0011788
18 | 0.015628 | 0.0039168
19 | 0.0064951 | 0.0016278
20 | 0.0062396 | 0.0015638
21 | 0.0061025 | 0.0015294
22 | 0.004179 | 0.0010474
23 | 0.011041 | 0.0027672
24 | 0.011041 | 0.0027672
25 | 0.011041 | 0.0027672
26 | 0.018879 | 0.0047314
27 | 0.0026338 | 0.00066009
28 | 0.0043837 | 0.0010987
29 | 0.0061623 | 0.0015444
30 | 0.0028793 | 0.00072163
31 | 0.0033655 | 0.00084348
32 | 0.0028863 | 0.00072337
33 | 0.008209 | 0.0020574
34 | 0.0046913 | 0.0011758
35 | 0.013159 | 0.0032981
36 | 0.00424 | 0.0010626
37 | 0.0047776 | 0.0011974
38 | 0.011838 | 0.0029668
39 | 0.016078 | 0.0040296
40 | 0.014582 | 0.0036546
41 | 0.011837 | 0.0029668
42 | 0.0076451 | 0.001916
43 | 0.0027092 | 0.00067898
44 | 0.0028008 | 0.00070195
45 | 0.002607 | 0.00065339
46 | 0.0076443 | 0.0019158
47 | 0.0027876 | 0.00069864
48 | 0.0074007 | 0.0018548
49 | 0.0028097 | 0.00070417
50 | 0.016076 | 0.0040291
51 | 0.0047784 | 0.0011976
52 | 0.0077363 | 0.0019389
53 | 0.0026912 | 0.00067449

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1