## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-195_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-195_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-195_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-195_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-195_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-195_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_230-195_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_230-195_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_230-195_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_230-195_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_230-195_0_3_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_230-195_0_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_230-195_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_230-195_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_230-195_0_3_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_230-195_0_3_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_230-195_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_230-195_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_230-195_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_230-195_0_3_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_230-195_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_230-195_0_3_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_230-195_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_230-195_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_230-195_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_230-195_0_3_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_230-195_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_230-195_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_230-195_0_3_node_95 | 0.4 | n |  | TRUE
29 | bus_LV_230-195_0_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_230-195_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_230-195_0_3_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_230-195_0_3_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_230-195_0_3_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_230-195_0_3_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_230-195_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_230-195_0_3_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_230-195_0_3_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_230-195_0_3_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_230-195_0_3_node_11 | 0.4 | n |  | TRUE
40 | bus_LV_230-195_0_3_node_10 | 0.4 | n |  | TRUE
41 | bus_LV_230-195_0_3_node_8 | 0.4 | n |  | TRUE
42 | bus_LV_230-195_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_230-195_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_230-195_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_230-195_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_230-195_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_230-195_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_230-195_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_230-195_0_3_node_17 | 0.4 | n |  | TRUE
50 | bus_LV_230-195_0_3_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_230-195_0_3_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_230-195_0_3_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_230-195_0_3_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_230-195_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_230-195_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_230-195_0_3_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_230-195_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_230-195_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_230-195_0_3_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_230-195_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_230-195_0_3_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_230-195_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_230-195_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_230-195_0_3_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_230-195_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_230-195_0_3_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_230-195_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_230-195_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_230-195_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_230-195_0_3_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_230-195_0_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_230-195_0_3_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_230-195_0_3_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_230-195_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_230-195_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_230-195_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_230-195_0_3_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_230-195_0_3_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_230-195_0_3_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_230-195_0_3_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_230-195_0_3_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_230-195_0_3_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_230-195_0_3_node_54 | 0.4 | n |  | TRUE
84 | bus_LV_230-195_0_3_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_230-195_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_230-195_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_230-195_0_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_230-195_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_MV_370_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-195_0_3_load_0 | 0 | 0.0013906 | 0.00034852 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-195_0_3_load_1 | 1 | 0.0011534 | 0.00028908 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-195_0_3_load_4 | 4 | 0.00039509 | 9.9019e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-195_0_3_load_36 | 7 | 0.0044608 | 0.001118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-195_0_3_load_7 | 8 | 0.00075528 | 0.00018929 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-195_0_3_load_81 | 10 | 0.0086255 | 0.0021618 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-195_0_3_load_70 | 11 | 0.0077427 | 0.0019405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-195_0_3_load_61 | 14 | 0.0018858 | 0.00047263 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-195_0_3_load_60 | 15 | 0.0085797 | 0.0021503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-195_0_3_load_80 | 19 | 0.0046624 | 0.0011685 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-195_0_3_load_58 | 21 | 0.012907 | 0.0032347 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-195_0_3_load_62 | 25 | 0.0048821 | 0.0012236 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-195_0_3_load_95 | 28 | 0.0004373 | 0.0001096 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-195_0_3_load_65 | 29 | 0.0023696 | 0.00059389 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-195_0_3_load_72 | 32 | 0.0012157 | 0.00030469 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-195_0_3_load_67 | 33 | 0.011758 | 0.0029469 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-195_0_3_load_64 | 34 | 0.0098418 | 0.0024666 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-195_0_3_load_63 | 35 | 0.0052358 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-195_0_3_load_14 | 37 | 0.0033996 | 0.00085203 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-195_0_3_load_11 | 39 | 0.0043986 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-195_0_3_load_40 | 42 | 0.0034425 | 0.00086278 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-195_0_3_load_37 | 43 | 0.0036757 | 0.00092121 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-195_0_3_load_39 | 44 | 0.0057276 | 0.0014355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-195_0_3_load_47 | 47 | 0.0038062 | 0.00095391 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-195_0_3_load_51 | 48 | 0.0022506 | 0.00056406 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-195_0_3_load_83 | 50 | 0.019164 | 0.0048029 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-195_0_3_load_69 | 51 | 0.0084969 | 0.0021295 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-195_0_3_load_92 | 52 | 0.011594 | 0.0029058 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-195_0_3_load_38 | 54 | 0.0025798 | 0.00064656 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-195_0_3_load_68 | 55 | 0.0082487 | 0.0020673 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-195_0_3_load_84 | 56 | 0.0038109 | 0.00095509 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-195_0_3_load_41 | 57 | 0.0018401 | 0.00046117 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-195_0_3_load_42 | 58 | 0.0063638 | 0.0015949 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-195_0_3_load_94 | 59 | 0.0045002 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-195_0_3_load_82 | 61 | 0.0028451 | 0.00071306 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-195_0_3_load_44 | 62 | 0.0086622 | 0.0021709 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-195_0_3_load_45 | 63 | 0.0023003 | 0.00057651 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-195_0_3_load_73 | 64 | 0.0096264 | 0.0024126 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-195_0_3_load_66 | 65 | 0.0046387 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-195_0_3_load_96 | 66 | 0.00096299 | 0.00024135 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-195_0_3_load_90 | 69 | 0.00030072 | 7.5367e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-195_0_3_load_79 | 73 | 0.0067614 | 0.0016946 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-195_0_3_load_78 | 75 | 0.0078279 | 0.0019619 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-195_0_3_load_75 | 76 | 0.0085094 | 0.0021327 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-195_0_3_load_50 | 79 | 0.032353 | 0.0081083 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-195_0_3_load_93 | 80 | 0.014234 | 0.0035674 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-195_0_3_load_91 | 81 | 0.010104 | 0.0025323 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-195_0_3_load_53 | 82 | 0.0003905 | 9.7869e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-195_0_3_load_54 | 83 | 0.00040762 | 0.00010216 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-195_0_3_load_55 | 84 | 0.0029859 | 0.00074832 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-195_0_3_load_88 | 85 | 0.00040765 | 0.00010217 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-195_0_3_load_77 | 86 | 0.0098944 | 0.0024798 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_230-195_0_3_load_87 | 88 | 0.0081293 | 0.0020374 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-195_0_3_line_0 |  | 0 | 1 | 0.024476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-195_0_3_line_1 |  | 0 | 2 | 0.033885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-195_0_3_line_2 |  | 1 | 3 | 0.28168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-195_0_3_line_3 |  | 2 | 4 | 0.022293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-195_0_3_line_4 |  | 3 | 5 | 0.032168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-195_0_3_line_5 |  | 4 | 6 | 0.077638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-195_0_3_line_6 |  | 5 | 7 | 0.038732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-195_0_3_line_7 |  | 6 | 8 | 0.035537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-195_0_3_line_8 |  | 7 | 40 | 0.044112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-195_0_3_line_9 |  | 9 | 10 | 0.025492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-195_0_3_line_10 |  | 9 | 11 | 0.027992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-195_0_3_line_11 |  | 9 | 12 | 0.029106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-195_0_3_line_12 |  | 11 | 55 | 0.029358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-195_0_3_line_13 |  | 12 | 34 | 0.003331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-195_0_3_line_14 |  | 12 | 35 | 0.021034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-195_0_3_line_15 |  | 13 | 14 | 0.026111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_230-195_0_3_line_16 |  | 13 | 15 | 0.012086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-195_0_3_line_17 |  | 13 | 16 | 0.032964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_230-195_0_3_line_18 |  | 14 | 23 | 0.023294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_230-195_0_3_line_19 |  | 16 | 25 | 0.024322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-195_0_3_line_20 |  | 16 | 26 | 0.044566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_230-195_0_3_line_21 |  | 17 | 18 | 0.021439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-195_0_3_line_22 |  | 17 | 19 | 0.042098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-195_0_3_line_23 |  | 18 | 28 | 0.03479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-195_0_3_line_24 |  | 19 | 32 | 0.023277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-195_0_3_line_25 |  | 20 | 21 | 0.051996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-195_0_3_line_26 |  | 20 | 22 | 0.021775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-195_0_3_line_27 |  | 20 | 23 | 0.033777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_230-195_0_3_line_28 |  | 22 | 24 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-195_0_3_line_29 |  | 23 | 27 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-195_0_3_line_30 |  | 24 | 29 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-195_0_3_line_31 |  | 25 | 35 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-195_0_3_line_32 |  | 26 | 49 | 0.055012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-195_0_3_line_33 |  | 27 | 66 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-195_0_3_line_34 |  | 27 | 67 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-195_0_3_line_35 |  | 28 | 59 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-195_0_3_line_36 |  | 29 | 65 | 0.024261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-195_0_3_line_37 |  | 30 | 31 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-195_0_3_line_38 |  | 30 | 32 | 0.056253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-195_0_3_line_39 |  | 30 | 33 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-195_0_3_line_40 |  | 31 | 64 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-195_0_3_line_41 |  | 33 | 65 | 0.029828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-195_0_3_line_42 |  | 36 | 37 | 0.041318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-195_0_3_line_43 |  | 36 | 38 | 0.062866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-195_0_3_line_44 |  | 36 | 39 | 0.022746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-195_0_3_line_45 |  | 37 | 41 | 0.03 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-195_0_3_line_46 |  | 38 | 51 | 0.018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-195_0_3_line_47 |  | 40 | 43 | 0.015269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-195_0_3_line_48 |  | 41 | 42 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-195_0_3_line_49 |  | 42 | 44 | 0.0034499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-195_0_3_line_50 |  | 43 | 54 | 0.002121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-195_0_3_line_51 |  | 44 | 54 | 0.026046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-195_0_3_line_52 |  | 45 | 46 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-195_0_3_line_53 |  | 45 | 47 | 0.020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-195_0_3_line_54 |  | 46 | 48 | 0.017556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-195_0_3_line_55 |  | 48 | 68 | 0.0066777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-195_0_3_line_56 |  | 49 | 50 | 0.014846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-195_0_3_line_57 |  | 50 | 56 | 0.004693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-195_0_3_line_58 |  | 51 | 55 | 0.020713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-195_0_3_line_59 |  | 52 | 53 | 0.040834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-195_0_3_line_60 |  | 53 | 56 | 0.02379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-195_0_3_line_61 |  | 53 | 81 | 0.0016272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-195_0_3_line_62 |  | 57 | 58 | 0.037642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-195_0_3_line_63 |  | 58 | 60 | 0.038821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-195_0_3_line_64 |  | 60 | 61 | 0.018903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-195_0_3_line_65 |  | 61 | 71 | 0.012391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-195_0_3_line_66 |  | 62 | 63 | 0.0033279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-195_0_3_line_67 |  | 63 | 72 | 0.020735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-195_0_3_line_68 |  | 64 | 87 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-195_0_3_line_69 |  | 67 | 84 | 0.010434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-195_0_3_line_70 |  | 68 | 82 | 0.0042311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-195_0_3_line_71 |  | 68 | 83 | 0.0086855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-195_0_3_line_72 |  | 69 | 70 | 0.018134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-195_0_3_line_73 |  | 70 | 85 | 0.024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_230-195_0_3_line_74 |  | 71 | 86 | 0.009948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_230-195_0_3_line_75 |  | 71 | 88 | 0.027224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_230-195_0_3_line_76 |  | 72 | 73 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-195_0_3_line_77 |  | 73 | 74 | 0.029761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-195_0_3_line_78 |  | 74 | 88 | 0.0039616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_230-195_0_3_line_79 |  | 74 | 87 | 0.028799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_230-195_0_3_line_80 |  | 75 | 76 | 0.023874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_230-195_0_3_line_81 |  | 76 | 87 | 0.026539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_230-195_0_3_line_82 |  | 77 | 78 | 0.052871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_230-195_0_3_line_83 |  | 77 | 79 | 0.017662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_230-195_0_3_line_84 |  | 78 | 80 | 0.013825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_230-195_0_3_line_85 |  | 78 | 81 | 0.008865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_230-195_0_3_line_86 |  | 82 | 84 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_230-195_0_3_line_87 |  | 83 | 85 | 0.0059236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-195_0_3_trafo_16 | 0.63 MVA 20/0.4 kV | 89 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2698890.4002 | 1259923.1428 | 2698903.202 | 1259921.9387 | 2698914.7833 | 1259921.0219
1 | 2698863.067 | 1259908.9353 | 2698878.0071 | 1259924.3085 | 2698890.4002 | 1259923.1428
2 | 2699162.4126 | 1259991.2218 | 2699154.1325 | 1259986.9129 | 2699121.073 | 1259973.2368 | 2699100.2573 | 1259964.4033 | 2699077.4793 | 1259954.8029 | 2699062.9169 | 1259942.1155 | 2699056.6554 | 1259933.8484 | 2699047.1899 | 1259913.44 | 2699039.7216 | 1259905.6642 | 2699028.4728 | 1259904.4083 | 2698954.9919 | 1259916.867 | 2698927.0923 | 1259920.0476 | 2698914.7833 | 1259921.0219
3 | 2698863.067 | 1259908.9353 | 2698850.2826 | 1259927.1982
4 | 2699187.1764 | 1260011.8425 | 2699162.4126 | 1259991.2218
5 | 2698802.5877 | 1259988.3008 | 2698810.066 | 1259981.0642 | 2698842.1924 | 1259938.7553 | 2698850.2826 | 1259927.1982
6 | 2699187.1764 | 1260011.8425 | 2699179.2095 | 1260018.9815 | 2699156.7632 | 1260035.7767
7 | 2698837.4972 | 1259992.3537 | 2698810.3776 | 1259991.7337 | 2698802.5877 | 1259988.3008
8 | 2699121.4435 | 1260062.2044 | 2699156.7632 | 1260035.7767
9 | 2699301.5114 | 1260176.3719 | 2699302.9552 | 1260169.8463 | 2699308.7935 | 1260151.9663
10 | 2699301.5114 | 1260176.3719 | 2699273.6423 | 1260173.7478
11 | 2699287.9139 | 1260196.0598 | 2699293.6401 | 1260198.013 | 2699300.8995 | 1260179.1416 | 2699301.5114 | 1260176.3719
12 | 2699255.8409 | 1260161.5966 | 2699254.797 | 1260171.9734 | 2699273.6423 | 1260173.7478
13 | 2699287.9139 | 1260196.0598 | 2699286.5403 | 1260193.0231
14 | 2699287.9139 | 1260196.0598 | 2699287.8529 | 1260199.695 | 2699286.9884 | 1260203.5948 | 2699281.805 | 1260215.9557
15 | 2699260.0274 | 1260273.9554 | 2699257.3584 | 1260287.0102 | 2699257.1815 | 1260299.7954
16 | 2699260.0274 | 1260273.9554 | 2699254.9224 | 1260268.6766 | 2699252.7194 | 1260264.477
17 | 2699255.9771 | 1260248.5112 | 2699267.2805 | 1260255.8957 | 2699260.0274 | 1260273.9554
18 | 2699261.2593 | 1260322.7047 | 2699259.2991 | 1260314.643 | 2699257.1815 | 1260299.7954
19 | 2699255.9771 | 1260248.5112 | 2699272.7913 | 1260237.4509 | 2699274.414 | 1260233.5813
20 | 2699255.9771 | 1260248.5112 | 2699244.7617 | 1260234.078 | 2699236.5083 | 1260213.8342 | 2699232.0945 | 1260214.5274
21 | 2699466.3902 | 1260213.5269 | 2699470.4739 | 1260218.1215 | 2699477.6102 | 1260212.8705 | 2699482.6306 | 1260216.8915
22 | 2699466.3902 | 1260213.5269 | 2699432.1704 | 1260238.0464
23 | 2699482.6306 | 1260216.8915 | 2699454.5952 | 1260237.4915
24 | 2699413.2492 | 1260251.604 | 2699432.1704 | 1260238.0464
25 | 2699271.9805 | 1260352.1864 | 2699236.2796 | 1260377.9085 | 2699229.7522 | 1260382.5233
26 | 2699271.9805 | 1260352.1864 | 2699274.052 | 1260345.9827 | 2699280.796 | 1260341.1809 | 2699286.4569 | 1260337.1392
27 | 2699261.2593 | 1260322.7047 | 2699263.0691 | 1260328.0505 | 2699268.4398 | 1260338.5937 | 2699272.1903 | 1260341.0364 | 2699274.052 | 1260345.9827 | 2699271.9805 | 1260352.1864
28 | 2699286.4569 | 1260337.1392 | 2699288.4342 | 1260337.8952 | 2699291.3186 | 1260337.5989 | 2699295.9726 | 1260335.1639
29 | 2699261.2593 | 1260322.7047 | 2699248.2019 | 1260326.4109
30 | 2699295.9726 | 1260335.1639 | 2699307.4403 | 1260326.4999
31 | 2699274.414 | 1260233.5813 | 2699281.805 | 1260215.9557
32 | 2699198.1592 | 1260179.0072 | 2699205.8098 | 1260189.3661 | 2699225.119 | 1260217.8464 | 2699232.0945 | 1260214.5274
33 | 2699248.2019 | 1260326.4109 | 2699254.1625 | 1260334.9688
34 | 2699248.2019 | 1260326.4109 | 2699239.5299 | 1260328.8675 | 2699228.1641 | 1260328.799
35 | 2699434.3829 | 1260252.3432 | 2699454.5952 | 1260237.4915
36 | 2699307.4403 | 1260326.4999 | 2699314.5325 | 1260321.1418 | 2699325.9224 | 1260314.8389 | 2699327.8403 | 1260313.4719
37 | 2699352.2284 | 1260266.4522 | 2699357.6134 | 1260269.4117 | 2699367.5231 | 1260284.368
38 | 2699367.5231 | 1260284.368 | 2699413.2492 | 1260251.604
39 | 2699367.5231 | 1260284.368 | 2699351.7143 | 1260295.6945
40 | 2699352.2284 | 1260266.4522 | 2699358.1696 | 1260253.6692
41 | 2699327.8403 | 1260313.4719 | 2699340.0059 | 1260304.8005 | 2699341.6966 | 1260302.8717 | 2699351.7143 | 1260295.6945
42 | 2699211.4894 | 1260105.1483 | 2699184.85 | 1260107.3925 | 2699170.4479 | 1260109.69
43 | 2699211.4894 | 1260105.1483 | 2699212.303 | 1260120.4522 | 2699241.7606 | 1260120.9688 | 2699259.7733 | 1260122.5055
44 | 2699211.4894 | 1260105.1483 | 2699211.1404 | 1260096.7467 | 2699215.4403 | 1260083.0693
45 | 2699140.823 | 1260114.416 | 2699170.4479 | 1260109.69
46 | 2699259.7733 | 1260122.5055 | 2699257.9141 | 1260140.9875
47 | 2699121.4435 | 1260062.2044 | 2699128.4716 | 1260075.7602
48 | 2699140.823 | 1260114.416 | 2699135.7993 | 1260102.4314
49 | 2699134.4655 | 1260099.2498 | 2699135.7993 | 1260102.4314
50 | 2699128.4716 | 1260075.7602 | 2699129.4478 | 1260077.6432
51 | 2699134.4655 | 1260099.2498 | 2699130.8568 | 1260090.6408 | 2699134.9595 | 1260088.2742 | 2699129.4478 | 1260077.6432
52 | 2699167.2129 | 1260327.9432 | 2699154.2115 | 1260326.969
53 | 2699154.2115 | 1260326.969 | 2699154.9796 | 1260306.778
54 | 2699167.2129 | 1260327.9432 | 2699182.9572 | 1260328.5187 | 2699184.7587 | 1260328.53
55 | 2699191.4363 | 1260328.572 | 2699184.7587 | 1260328.53
56 | 2699198.1592 | 1260179.0072 | 2699192.4466 | 1260182.9814 | 2699184.6483 | 1260184.1612
57 | 2699184.6483 | 1260184.1612 | 2699183.2496 | 1260184.3728 | 2699180.6885 | 1260186.4194
58 | 2699255.8409 | 1260161.5966 | 2699257.9141 | 1260140.9875
59 | 2699162.1085 | 1260201.2767 | 2699142.4988 | 1260174.5152 | 2699137.9744 | 1260168.3376
60 | 2699162.1085 | 1260201.2767 | 2699163.7055 | 1260199.9913 | 2699180.6885 | 1260186.4194
61 | 2699162.1085 | 1260201.2767 | 2699163.0697 | 1260202.5897
62 | 2699270.1236 | 1260298.3268 | 2699269.8994 | 1260297.0065 | 2699269.8476 | 1260289.7664 | 2699270.9002 | 1260281.8442 | 2699272.7569 | 1260274.069 | 2699275.2317 | 1260267.1938 | 2699277.4475 | 1260261.8669
63 | 2699292.8796 | 1260226.2455 | 2699279.4577 | 1260257.0342 | 2699277.4475 | 1260261.8669
64 | 2699292.8796 | 1260226.2455 | 2699310.5169 | 1260233.0462
65 | 2699317.9088 | 1260242.2007 | 2699313.7151 | 1260234.2794 | 2699310.5169 | 1260233.0462
66 | 2699330.573 | 1260172.7407 | 2699333.6846 | 1260173.9209
67 | 2699353.0717 | 1260181.2747 | 2699333.6846 | 1260173.9209
68 | 2699364.28 | 1260240.5223 | 2699358.1696 | 1260253.6692
69 | 2699228.1641 | 1260328.799 | 2699217.7306 | 1260328.7345
70 | 2699191.4363 | 1260328.572 | 2699195.6673 | 1260328.5981
71 | 2699191.4363 | 1260328.572 | 2699184.2338 | 1260333.4261
72 | 2699158.8503 | 1260351.0553 | 2699155.5267 | 1260350.577 | 2699143.498 | 1260359.158
73 | 2699158.8503 | 1260351.0553 | 2699168.2214 | 1260344.2178 | 2699179.3217 | 1260336.7367
74 | 2699317.9088 | 1260242.2007 | 2699313.9984 | 1260251.348
75 | 2699317.9088 | 1260242.2007 | 2699333.2569 | 1260233.1732 | 2699336.6233 | 1260224.3781
76 | 2699353.0717 | 1260181.2747 | 2699346.3507 | 1260198.5982
77 | 2699340.3469 | 1260225.7306 | 2699349.2705 | 1260202.4837 | 2699346.3507 | 1260198.5982
78 | 2699340.3469 | 1260225.7306 | 2699336.6233 | 1260224.3781
79 | 2699340.3469 | 1260225.7306 | 2699356.031 | 1260231.6988 | 2699364.28 | 1260240.5223
80 | 2699382.9508 | 1260225.531 | 2699392.0881 | 1260203.4743
81 | 2699364.28 | 1260240.5223 | 2699378.4293 | 1260236.4454 | 2699382.9508 | 1260225.531
82 | 2699122.0827 | 1260230.4632 | 2699138.3032 | 1260230.9798 | 2699166.1676 | 1260211.3974 | 2699168.3059 | 1260209.743
83 | 2699122.0827 | 1260230.4632 | 2699111.6569 | 1260216.2064
84 | 2699168.3059 | 1260209.743 | 2699176.4749 | 1260220.8966
85 | 2699168.3059 | 1260209.743 | 2699163.0697 | 1260202.5897
86 | 2699217.7306 | 1260328.7345 | 2699195.6673 | 1260328.5981
87 | 2699184.2338 | 1260333.4261 | 2699179.3217 | 1260336.7367

## bus_geodata
| x | y | coords
0 | 2698890.4002 | 1259923.1428
1 | 2698914.7833 | 1259921.0219
2 | 2698863.067 | 1259908.9353
3 | 2699162.4126 | 1259991.2218
4 | 2698850.2826 | 1259927.1982
5 | 2699187.1764 | 1260011.8425
6 | 2698802.5877 | 1259988.3008
7 | 2699156.7632 | 1260035.7767
8 | 2698837.4972 | 1259992.3537
9 | 2699301.5114 | 1260176.3719
10 | 2699308.7935 | 1260151.9663
11 | 2699273.6423 | 1260173.7478
12 | 2699287.9139 | 1260196.0598
13 | 2699260.0274 | 1260273.9554
14 | 2699257.1815 | 1260299.7954
15 | 2699252.7194 | 1260264.477
16 | 2699255.9771 | 1260248.5112
17 | 2699466.3902 | 1260213.5269
18 | 2699482.6306 | 1260216.8915
19 | 2699432.1704 | 1260238.0464
20 | 2699271.9805 | 1260352.1864
21 | 2699229.7522 | 1260382.5233
22 | 2699286.4569 | 1260337.1392
23 | 2699261.2593 | 1260322.7047
24 | 2699295.9726 | 1260335.1639
25 | 2699274.414 | 1260233.5813
26 | 2699232.0945 | 1260214.5274
27 | 2699248.2019 | 1260326.4109
28 | 2699454.5952 | 1260237.4915
29 | 2699307.4403 | 1260326.4999
30 | 2699367.5231 | 1260284.368
31 | 2699352.2284 | 1260266.4522
32 | 2699413.2492 | 1260251.604
33 | 2699351.7143 | 1260295.6944
34 | 2699286.5403 | 1260193.0231
35 | 2699281.805 | 1260215.9557
36 | 2699211.4894 | 1260105.1483
37 | 2699170.4479 | 1260109.69
38 | 2699259.7733 | 1260122.5055
39 | 2699215.4403 | 1260083.0693
40 | 2699121.4435 | 1260062.2044
41 | 2699140.823 | 1260114.416
42 | 2699135.7993 | 1260102.4314
43 | 2699128.4716 | 1260075.7602
44 | 2699134.4655 | 1260099.2498
45 | 2699154.2115 | 1260326.969
46 | 2699167.2129 | 1260327.9432
47 | 2699154.9796 | 1260306.778
48 | 2699184.7587 | 1260328.53
49 | 2699198.1592 | 1260179.0072
50 | 2699184.6483 | 1260184.1612
51 | 2699257.9141 | 1260140.9875
52 | 2699137.9744 | 1260168.3376
53 | 2699162.1085 | 1260201.2767
54 | 2699129.4478 | 1260077.6432
55 | 2699255.8409 | 1260161.5966
56 | 2699180.6885 | 1260186.4194
57 | 2699270.1236 | 1260298.3268
58 | 2699277.4475 | 1260261.8669
59 | 2699434.3829 | 1260252.3432
60 | 2699292.8796 | 1260226.2455
61 | 2699310.5169 | 1260233.0462
62 | 2699330.573 | 1260172.7407
63 | 2699333.6846 | 1260173.9209
64 | 2699358.1696 | 1260253.6692
65 | 2699327.8403 | 1260313.4719
66 | 2699254.1625 | 1260334.9688
67 | 2699228.1641 | 1260328.799
68 | 2699191.4363 | 1260328.572
69 | 2699143.498 | 1260359.158
70 | 2699158.8503 | 1260351.0553
71 | 2699317.9088 | 1260242.2007
72 | 2699353.0717 | 1260181.2747
73 | 2699346.3507 | 1260198.5982
74 | 2699340.3469 | 1260225.7306
75 | 2699392.0881 | 1260203.4743
76 | 2699382.9508 | 1260225.531
77 | 2699122.0827 | 1260230.4632
78 | 2699168.3059 | 1260209.743
79 | 2699111.6569 | 1260216.2064
80 | 2699176.4749 | 1260220.8966
81 | 2699163.0697 | 1260202.5897
82 | 2699195.6673 | 1260328.5981
83 | 2699184.2338 | 1260333.4261
84 | 2699217.7306 | 1260328.7345
85 | 2699179.3217 | 1260336.7367
86 | 2699313.9985 | 1260251.348
87 | 2699364.28 | 1260240.5223
88 | 2699336.6233 | 1260224.3781
89 | 2699225.119 | 1260217.8464

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97898 | -0.40553 | 0.0013906 | 0.00034852
1 | 0.97904 | -0.40439 | 0.0011534 | 0.00028908
2 | 0.97895 | -0.40624 | 0 | 0
3 | 0.98 | -0.38543 | 0 | 0
4 | 0.97892 | -0.40671 | 0.00039509 | 9.9019e-05
5 | 0.98011 | -0.38327 | 0 | 0
6 | 0.97887 | -0.40778 | 0 | 0
7 | 0.98025 | -0.38066 | 0.0044608 | 0.001118
8 | 0.97884 | -0.40826 | 0.00075528 | 0.00018929
9 | 0.98897 | -0.21078 | 0 | 0
10 | 0.98877 | -0.2147 | 0.0086255 | 0.0021618
11 | 0.98753 | -0.2387 | 0.0077427 | 0.0019405
12 | 0.9907 | -0.17737 | 0 | 0
13 | 0.99333 | -0.1264 | 0 | 0
14 | 0.99177 | -0.15612 | 0.0018858 | 0.00047263
15 | 0.99324 | -0.12823 | 0.0085797 | 0.0021503
16 | 0.99543 | -0.086519 | 0 | 0
17 | 0.97678 | -0.44594 | 0 | 0
18 | 0.97668 | -0.44787 | 0 | 0
19 | 0.97698 | -0.44214 | 0.0046624 | 0.0011685
20 | 0.98859 | -0.21698 | 0 | 0
21 | 0.98797 | -0.22896 | 0.012907 | 0.0032347
22 | 0.98651 | -0.25682 | 0 | 0
23 | 0.9904 | -0.18233 | 0 | 0
24 | 0.98554 | -0.27561 | 0 | 0
25 | 0.99354 | -0.12273 | 0.0048821 | 0.0012236
26 | 1 | 0 | -0.31913 | -0.081306
27 | 0.99026 | -0.1851 | 0 | 0
28 | 0.97652 | -0.45101 | 0.0004373 | 0.0001096
29 | 0.98417 | -0.30205 | 0.0023696 | 0.00059389
30 | 0.97775 | -0.42696 | 0 | 0
31 | 0.97612 | -0.45892 | 0 | 0
32 | 0.97718 | -0.43806 | 0.0012157 | 0.00030469
33 | 0.97926 | -0.39736 | 0.011758 | 0.0029469
34 | 0.99067 | -0.17795 | 0.0098418 | 0.0024666
35 | 0.99214 | -0.14963 | 0.0052358 | 0.0013122
36 | 0.9831 | -0.32484 | 0 | 0
37 | 0.98207 | -0.34498 | 0.0033996 | 0.00085203
38 | 0.98492 | -0.2893 | 0 | 0
39 | 0.983 | -0.32664 | 0.0043986 | 0.0011024
40 | 0.98058 | -0.37412 | 0 | 0
41 | 0.98141 | -0.35778 | 0 | 0
42 | 0.98113 | -0.36334 | 0.0034425 | 0.00086278
43 | 0.98069 | -0.37186 | 0.0036757 | 0.00092121
44 | 0.98106 | -0.3646 | 0.0057276 | 0.0014355
45 | 0.98963 | -0.19717 | 0 | 0
46 | 0.98968 | -0.19629 | 0 | 0
47 | 0.98956 | -0.19854 | 0.0038062 | 0.00095391
48 | 0.98974 | -0.1951 | 0.0022506 | 0.00056406
49 | 0.99541 | -0.087912 | 0 | 0
50 | 0.99417 | -0.11178 | 0.019164 | 0.0048029
51 | 0.98546 | -0.27883 | 0.0084969 | 0.0021295
52 | 0.99194 | -0.15484 | 0.011594 | 0.0029058
53 | 0.99237 | -0.14645 | 0 | 0
54 | 0.98072 | -0.3714 | 0.0025798 | 0.00064656
55 | 0.98622 | -0.264 | 0.0082487 | 0.0020673
56 | 0.99386 | -0.11774 | 0.0038109 | 0.00095509
57 | 0.97178 | -0.54445 | 0.0018401 | 0.00046117
58 | 0.97184 | -0.54317 | 0.0063638 | 0.0015949
59 | 0.97642 | -0.45308 | 0.0045002 | 0.0011279
60 | 0.97214 | -0.53729 | 0 | 0
61 | 0.97228 | -0.53443 | 0.0028451 | 0.00071306
62 | 0.97213 | -0.53747 | 0.0086622 | 0.0021709
63 | 0.97216 | -0.53694 | 0.0023003 | 0.00057651
64 | 0.97516 | -0.47771 | 0.0096264 | 0.0024126
65 | 0.98191 | -0.34581 | 0.0046387 | 0.0011626
66 | 0.99025 | -0.18528 | 0.00096299 | 0.00024135
67 | 0.99006 | -0.18891 | 0 | 0
68 | 0.98978 | -0.19438 | 0 | 0
69 | 0.98975 | -0.19486 | 0.00030072 | 7.5367e-05
70 | 0.98976 | -0.19476 | 0 | 0
71 | 0.97241 | -0.53191 | 0 | 0
72 | 0.97237 | -0.53275 | 0 | 0
73 | 0.97256 | -0.529 | 0.0067614 | 0.0016946
74 | 0.97305 | -0.51928 | 0 | 0
75 | 0.97373 | -0.5059 | 0.0078279 | 0.0019619
76 | 0.9739 | -0.50246 | 0.0085094 | 0.0021327
77 | 0.99034 | -0.18575 | 0 | 0
78 | 0.99191 | -0.1554 | 0 | 0
79 | 0.98982 | -0.19591 | 0.032353 | 0.0081083
80 | 0.99173 | -0.15889 | 0.014234 | 0.0035674
81 | 0.99229 | -0.14809 | 0.010104 | 0.0025323
82 | 0.98981 | -0.19384 | 0.0003905 | 9.7869e-05
83 | 0.98977 | -0.19455 | 0.00040762 | 0.00010216
84 | 0.98996 | -0.19087 | 0.0029859 | 0.00074832
85 | 0.98977 | -0.19463 | 0.00040765 | 0.00010217
86 | 0.97232 | -0.53372 | 0.0098944 | 0.0024798
87 | 0.97431 | -0.4945 | 0 | 0
88 | 0.97294 | -0.5214 | 0.0081293 | 0.0020374
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0025411 | -0.00063478 | 0.0025412 | 0.00063456 | 1.3687e-07 | -2.2017e-07 | 0.0038616 | 0.0038615 | 0.0038616 | 0.97898 | -0.40553 | 0.97904 | -0.40439 | 1.0609
1 | 0.0011505 | 0.00028626 | -0.0011504 | -0.00028666 | 3.8827e-08 | -4.0119e-07 | 0.0017479 | 0.0017481 | 0.0017481 | 0.97898 | -0.40553 | 0.97895 | -0.40624 | 0.48025
2 | -0.0036947 | -0.00092363 | 0.003698 | 0.00092222 | 3.3291e-06 | -1.415e-06 | 0.0056146 | 0.0056133 | 0.0056146 | 0.97904 | -0.40439 | 0.98 | -0.38543 | 1.5425
3 | 0.0011504 | 0.00028666 | -0.0011504 | -0.00028692 | 2.5548e-08 | -2.6392e-07 | 0.0017481 | 0.0017482 | 0.0017482 | 0.97895 | -0.40624 | 0.97892 | -0.40671 | 0.48028
4 | -0.003698 | -0.00092222 | 0.0036984 | 0.00092206 | 3.8009e-07 | -1.621e-07 | 0.0056133 | 0.0056132 | 0.0056133 | 0.98 | -0.38543 | 0.98011 | -0.38327 | 1.5421
5 | 0.00075533 | 0.0001879 | -0.00075529 | -0.00018885 | 3.8358e-08 | -9.5147e-07 | 0.0011476 | 0.001148 | 0.001148 | 0.97892 | -0.40671 | 0.97887 | -0.40778 | 0.31538
6 | -0.0036984 | -0.00092206 | 0.0036988 | 0.00092186 | 4.5761e-07 | -1.9532e-07 | 0.0056132 | 0.005613 | 0.0056132 | 0.98011 | -0.38327 | 0.98025 | -0.38066 | 1.5421
7 | 0.00075529 | 0.00018885 | -0.00075528 | -0.00018929 | 1.7565e-08 | -4.3547e-07 | 0.001148 | 0.0011482 | 0.0011482 | 0.97887 | -0.40778 | 0.97884 | -0.40826 | 0.31543
8 | -0.0081596 | -0.0020398 | 0.0081622 | 0.0020409 | 2.5371e-06 | 1.0675e-06 | 0.012385 | 0.012384 | 0.012385 | 0.98025 | -0.38066 | 0.98058 | -0.37412 | 3.4023
9 | 0.0086271 | 0.0021625 | -0.0086255 | -0.0021618 | 1.6108e-06 | 7.0386e-07 | 0.012981 | 0.012981 | 0.012981 | 0.98897 | -0.21078 | 0.98877 | -0.2147 | 3.5661
10 | 0.056159 | 0.014177 | -0.056084 | -0.014129 | 7.5014e-05 | 4.765e-05 | 0.084535 | 0.084535 | 0.084535 | 0.98897 | -0.21078 | 0.98753 | -0.2387 | 23.2238
11 | -0.064786 | -0.01634 | 0.06489 | 0.016406 | 0.00010379 | 6.6052e-05 | 0.097515 | 0.097515 | 0.097515 | 0.98897 | -0.21078 | 0.9907 | -0.17737 | 26.7899
12 | 0.048342 | 0.012189 | -0.048283 | -0.012152 | 5.8456e-05 | 3.7037e-05 | 0.072868 | 0.072868 | 0.072868 | 0.98753 | -0.2387 | 0.98622 | -0.264 | 20.0187
13 | 0.0098421 | 0.0024667 | -0.0098418 | -0.0024666 | 2.7297e-07 | 1.3181e-07 | 0.014783 | 0.014783 | 0.014783 | 0.9907 | -0.17737 | 0.99067 | -0.17795 | 4.0612
14 | -0.074732 | -0.018872 | 0.074832 | 0.018936 | 9.947e-05 | 6.339e-05 | 0.1123 | 0.1123 | 0.1123 | 0.9907 | -0.17737 | 0.99214 | -0.14963 | 30.851
15 | 0.13053 | 0.033435 | -0.13034 | -0.033315 | 0.00018769 | 0.00011944 | 0.1958 | 0.1958 | 0.1958 | 0.99333 | -0.1264 | 0.99177 | -0.15612 | 26.895
16 | 0.0085805 | 0.0021506 | -0.0085797 | -0.0021503 | 7.488e-07 | 3.228e-07 | 0.012854 | 0.012854 | 0.012854 | 0.99333 | -0.1264 | 0.99324 | -0.12823 | 3.5312
17 | -0.13911 | -0.035585 | 0.13938 | 0.035757 | 0.00026907 | 0.00017135 | 0.20865 | 0.20865 | 0.20865 | 0.99333 | -0.1264 | 0.99543 | -0.086519 | 28.6605
18 | 0.12846 | 0.032843 | -0.1283 | -0.032739 | 0.00016264 | 0.00010349 | 0.19297 | 0.19297 | 0.19297 | 0.99177 | -0.15612 | 0.9904 | -0.18233 | 26.5064
19 | 0.085201 | 0.021632 | -0.085053 | -0.021537 | 0.00014818 | 9.452e-05 | 0.12746 | 0.12746 | 0.12746 | 0.99543 | -0.086519 | 0.99354 | -0.12273 | 35.017
20 | -0.22458 | -0.057389 | 0.22553 | 0.057992 | 0.00094399 | 0.00060299 | 0.33611 | 0.33611 | 0.33611 | 0.99543 | -0.086519 | 1 | 0 | 46.1689
21 | 0.0049392 | 0.0012375 | -0.0049387 | -0.0012375 | 4.5516e-07 | 2.2967e-08 | 0.0075241 | 0.0075242 | 0.0075242 | 0.97678 | -0.44594 | 0.97668 | -0.44787 | 2.0671
22 | -0.0049392 | -0.0012375 | 0.0049401 | 0.0012375 | 8.937e-07 | 4.4919e-08 | 0.0075241 | 0.0075239 | 0.0075241 | 0.97678 | -0.44594 | 0.97698 | -0.44214 | 2.0671
23 | 0.0049387 | 0.0012375 | -0.004938 | -0.0012374 | 7.3862e-07 | 3.7401e-08 | 0.0075242 | 0.0075244 | 0.0075244 | 0.97668 | -0.44787 | 0.97652 | -0.45101 | 2.0671
24 | -0.0096024 | -0.002406 | 0.0096043 | 0.0024069 | 1.867e-06 | 9.0337e-07 | 0.014625 | 0.014625 | 0.014625 | 0.97698 | -0.44214 | 0.97718 | -0.43806 | 4.0179
25 | 0.012914 | 0.0032388 | -0.012907 | -0.0032347 | 7.368e-06 | 4.0493e-06 | 0.019439 | 0.019439 | 0.019439 | 0.98859 | -0.21698 | 0.98797 | -0.22896 | 5.3404
26 | 0.10367 | 0.026489 | -0.10347 | -0.026362 | 0.00019928 | 0.00012726 | 0.15622 | 0.15622 | 0.15622 | 0.98859 | -0.21698 | 0.98651 | -0.25682 | 42.9181
27 | -0.11658 | -0.029728 | 0.11678 | 0.029852 | 0.00019542 | 0.0001242 | 0.17566 | 0.17566 | 0.17566 | 0.98859 | -0.21698 | 0.9904 | -0.18233 | 24.1292
28 | 0.10347 | 0.026362 | -0.10337 | -0.026302 | 9.3744e-05 | 5.9865e-05 | 0.15622 | 0.15622 | 0.15622 | 0.98651 | -0.25682 | 0.98554 | -0.27561 | 42.9181
29 | 0.011519 | 0.0028869 | -0.011517 | -0.0028861 | 1.5203e-06 | 7.9881e-07 | 0.017306 | 0.017306 | 0.017306 | 0.9904 | -0.18233 | 0.99026 | -0.1851 | 4.7544
30 | 0.10337 | 0.026302 | -0.10324 | -0.026218 | 0.00013154 | 8.4002e-05 | 0.15622 | 0.15622 | 0.15622 | 0.98554 | -0.27561 | 0.98417 | -0.30205 | 42.9182
31 | 0.080171 | 0.020314 | -0.080068 | -0.020248 | 0.00010347 | 6.5971e-05 | 0.12015 | 0.12015 | 0.12015 | 0.99354 | -0.12273 | 0.99214 | -0.14963 | 33.0083
32 | 0.091956 | 0.023314 | -0.091569 | -0.023067 | 0.00038677 | 0.00024682 | 0.13693 | 0.13693 | 0.13693 | 1 | 0 | 0.99541 | -0.087912 | 37.6171
33 | 0.000963 | 0.00024122 | -0.00096299 | -0.00024135 | 8.189e-09 | -1.2893e-07 | 0.001447 | 0.0014471 | 0.0014471 | 0.99026 | -0.1851 | 0.99025 | -0.18528 | 0.39754
34 | 0.010554 | 0.0026448 | -0.010552 | -0.0026439 | 1.9166e-06 | 9.6527e-07 | 0.015859 | 0.015859 | 0.015859 | 0.99026 | -0.1851 | 0.99006 | -0.18891 | 4.3569
35 | 0.0045007 | 0.0011278 | -0.0045002 | -0.0011279 | 4.4239e-07 | -3.063e-08 | 0.006858 | 0.0068581 | 0.0068581 | 0.97652 | -0.45101 | 0.97642 | -0.45308 | 1.8841
36 | 0.10087 | 0.025624 | -0.10066 | -0.025489 | 0.00021197 | 0.00013536 | 0.15264 | 0.15264 | 0.15264 | 0.98417 | -0.30205 | 0.98191 | -0.34581 | 41.9339
37 | 0.073083 | 0.018437 | -0.072971 | -0.018366 | 0.00011168 | 7.1173e-05 | 0.11127 | 0.11127 | 0.11127 | 0.97775 | -0.42696 | 0.97612 | -0.45892 | 30.5679
38 | 0.010826 | 0.0027146 | -0.01082 | -0.0027116 | 5.7264e-06 | 2.9598e-06 | 0.016476 | 0.016476 | 0.016476 | 0.97775 | -0.42696 | 0.97718 | -0.43806 | 4.5264
39 | -0.083909 | -0.021152 | 0.084028 | 0.021228 | 0.00011901 | 7.592e-05 | 0.12774 | 0.12774 | 0.12774 | 0.97775 | -0.42696 | 0.97926 | -0.39736 | 35.0942
40 | 0.072971 | 0.018366 | -0.072906 | -0.018325 | 6.5444e-05 | 4.1708e-05 | 0.11127 | 0.11127 | 0.11127 | 0.97612 | -0.45892 | 0.97516 | -0.47771 | 30.5679
41 | -0.095786 | -0.024175 | 0.096023 | 0.024326 | 0.00023716 | 0.00015141 | 0.14561 | 0.14561 | 0.14561 | 0.97926 | -0.39736 | 0.98191 | -0.34581 | 40.0028
42 | 0.027041 | 0.0067916 | -0.027015 | -0.0067755 | 2.5963e-05 | 1.6093e-05 | 0.040934 | 0.040935 | 0.040935 | 0.9831 | -0.32484 | 0.98207 | -0.34498 | 11.2458
43 | -0.03144 | -0.0078939 | 0.031493 | 0.0079273 | 5.3398e-05 | 3.3376e-05 | 0.047593 | 0.047592 | 0.047593 | 0.9831 | -0.32484 | 0.98492 | -0.2893 | 13.0749
44 | 0.004399 | 0.0011023 | -0.0043986 | -0.0011024 | 3.7815e-07 | -4.637e-08 | 0.0066582 | 0.0066583 | 0.0066583 | 0.9831 | -0.32484 | 0.983 | -0.32664 | 1.8292
45 | 0.023615 | 0.0059235 | -0.023601 | -0.0059146 | 1.4405e-05 | 8.8399e-06 | 0.035784 | 0.035784 | 0.035784 | 0.98207 | -0.34498 | 0.98141 | -0.35778 | 9.8307
46 | -0.031493 | -0.0079273 | 0.031509 | 0.0079372 | 1.5778e-05 | 9.8611e-06 | 0.047592 | 0.047592 | 0.047592 | 0.98492 | -0.2893 | 0.98546 | -0.27883 | 13.0748
47 | -0.0081622 | -0.0020409 | 0.0081631 | 0.0020413 | 8.782e-07 | 3.6941e-07 | 0.012384 | 0.012384 | 0.012384 | 0.98058 | -0.37412 | 0.98069 | -0.37186 | 3.4023
48 | 0.023601 | 0.0059146 | -0.023595 | -0.0059108 | 6.2398e-06 | 3.8293e-06 | 0.035784 | 0.035784 | 0.035784 | 0.98141 | -0.35778 | 0.98113 | -0.36334 | 9.8307
49 | 0.020152 | 0.005048 | -0.020151 | -0.0050473 | 1.2084e-06 | 7.2983e-07 | 0.030563 | 0.030563 | 0.030563 | 0.98113 | -0.36334 | 0.98106 | -0.3646 | 8.3963
50 | -0.011839 | -0.0029625 | 0.011839 | 0.0029626 | 2.5659e-07 | 1.3746e-07 | 0.017961 | 0.017961 | 0.017961 | 0.98069 | -0.37186 | 0.98072 | -0.3714 | 4.9344
51 | 0.014423 | 0.0036118 | -0.014419 | -0.0036092 | 4.674e-06 | 2.6626e-06 | 0.021875 | 0.021876 | 0.021876 | 0.98106 | -0.3646 | 0.98072 | -0.3714 | 6.0098
52 | -0.0038064 | -0.00095381 | 0.0038066 | 0.00095375 | 1.5967e-07 | -6.4839e-08 | 0.0057233 | 0.0057232 | 0.0057233 | 0.98963 | -0.19717 | 0.98968 | -0.19629 | 1.5723
53 | 0.0038064 | 0.00095381 | -0.0038062 | -0.00095391 | 2.482e-07 | -1.0075e-07 | 0.0057233 | 0.0057234 | 0.0057234 | 0.98963 | -0.19717 | 0.98956 | -0.19854 | 1.5723
54 | -0.0038066 | -0.00095375 | 0.0038068 | 0.00095366 | 2.1564e-07 | -8.7599e-08 | 0.0057232 | 0.0057231 | 0.0057232 | 0.98968 | -0.19629 | 0.98974 | -0.1951 | 1.5723
55 | -0.0060574 | -0.0015177 | 0.0060576 | 0.0015178 | 2.0768e-07 | 4.7092e-08 | 0.0091068 | 0.0091068 | 0.0091068 | 0.98974 | -0.1951 | 0.98978 | -0.19438 | 2.5019
56 | 0.091569 | 0.023067 | -0.091464 | -0.023001 | 0.00010438 | 6.661e-05 | 0.13693 | 0.13693 | 0.13693 | 0.99541 | -0.087912 | 0.99417 | -0.11178 | 37.6171
57 | 0.072301 | 0.018198 | -0.07228 | -0.018185 | 2.0619e-05 | 1.3136e-05 | 0.10824 | 0.10824 | 0.10824 | 0.99417 | -0.11178 | 0.99386 | -0.11774 | 29.7371
58 | -0.040006 | -0.010067 | 0.040034 | 0.010085 | 2.8358e-05 | 1.7885e-05 | 0.060422 | 0.060422 | 0.060422 | 0.98546 | -0.27883 | 0.98622 | -0.264 | 16.5996
59 | -0.011594 | -0.0029058 | 0.011599 | 0.0029083 | 4.6323e-06 | 2.4373e-06 | 0.017393 | 0.017393 | 0.017393 | 0.99194 | -0.15484 | 0.99237 | -0.14645 | 4.7783
60 | -0.068375 | -0.01717 | 0.068469 | 0.01723 | 9.3796e-05 | 5.9722e-05 | 0.10254 | 0.10254 | 0.10254 | 0.99237 | -0.14645 | 0.99386 | -0.11774 | 28.1696
61 | 0.056776 | 0.014262 | -0.056772 | -0.014259 | 4.4238e-06 | 2.8102e-06 | 0.085145 | 0.085145 | 0.085145 | 0.99237 | -0.14645 | 0.99229 | -0.14809 | 23.3914
62 | -0.0018401 | -0.00046117 | 0.0018402 | 0.00046078 | 1.1206e-07 | -3.9466e-07 | 0.0028176 | 0.0028174 | 0.0028176 | 0.97178 | -0.54445 | 0.97184 | -0.54317 | 0.77407
63 | -0.008204 | -0.0020557 | 0.0082063 | 0.0020567 | 2.297e-06 | 9.889e-07 | 0.012561 | 0.012561 | 0.012561 | 0.97184 | -0.54317 | 0.97214 | -0.53729 | 3.4509
64 | -0.0082063 | -0.0020567 | 0.0082074 | 0.0020572 | 1.1184e-06 | 4.814e-07 | 0.012561 | 0.012561 | 0.012561 | 0.97214 | -0.53729 | 0.97228 | -0.53443 | 3.4508
65 | -0.011053 | -0.0027702 | 0.011054 | 0.0027709 | 1.3295e-06 | 6.9717e-07 | 0.016915 | 0.016915 | 0.016915 | 0.97228 | -0.53443 | 0.97241 | -0.53191 | 4.647
66 | -0.0086622 | -0.0021709 | 0.0086624 | 0.002171 | 2.194e-07 | 9.9151e-08 | 0.013259 | 0.013259 | 0.013259 | 0.97213 | -0.53747 | 0.97216 | -0.53694 | 3.6426
67 | -0.010963 | -0.0027476 | 0.010965 | 0.0027487 | 2.1893e-06 | 1.144e-06 | 0.01678 | 0.01678 | 0.01678 | 0.97216 | -0.53694 | 0.97237 | -0.53275 | 4.6099
68 | 0.063279 | 0.015912 | -0.063229 | -0.01588 | 5.0708e-05 | 3.2273e-05 | 0.096578 | 0.096578 | 0.096578 | 0.97516 | -0.47771 | 0.97431 | -0.4945 | 26.5324
69 | 0.010552 | 0.0026439 | -0.010551 | -0.0026434 | 9.8409e-07 | 4.9566e-07 | 0.015859 | 0.015859 | 0.015859 | 0.99006 | -0.18891 | 0.98996 | -0.19087 | 4.3569
70 | -0.0071736 | -0.0017967 | 0.0071738 | 0.0017968 | 1.8453e-07 | 6.3717e-08 | 0.010784 | 0.010784 | 0.010784 | 0.98978 | -0.19438 | 0.98981 | -0.19384 | 2.9627
71 | 0.001116 | 0.00027896 | -0.001116 | -0.00027907 | 9.1658e-09 | -1.0576e-07 | 0.0016775 | 0.0016776 | 0.0016776 | 0.98978 | -0.19438 | 0.98977 | -0.19455 | 0.46087
72 | -0.00030072 | -7.5367e-05 | 0.00030072 | 7.5135e-05 | 1.3897e-09 | -2.3216e-07 | 0.00045211 | 0.00045202 | 0.00045211 | 0.98975 | -0.19486 | 0.98976 | -0.19476 | 0.12421
73 | -0.00030072 | -7.5135e-05 | 0.00030072 | 7.4815e-05 | 1.914e-09 | -3.199e-07 | 0.00045202 | 0.00045191 | 0.00045202 | 0.98976 | -0.19476 | 0.98977 | -0.19463 | 0.12418
74 | 0.0098953 | 0.0024802 | -0.0098944 | -0.0024798 | 8.5535e-07 | 4.2403e-07 | 0.015142 | 0.015142 | 0.015142 | 0.97241 | -0.53191 | 0.97232 | -0.53372 | 4.1599
75 | -0.020949 | -0.0052511 | 0.02096 | 0.0052575 | 1.0491e-05 | 6.3765e-06 | 0.032057 | 0.032057 | 0.032057 | 0.97241 | -0.53191 | 0.97294 | -0.5214 | 8.807
76 | -0.010965 | -0.0027487 | 0.010967 | 0.0027497 | 1.9619e-06 | 1.0251e-06 | 0.01678 | 0.01678 | 0.01678 | 0.97237 | -0.53275 | 0.97256 | -0.529 | 4.6098
77 | -0.017728 | -0.0044443 | 0.017736 | 0.0044492 | 8.2112e-06 | 4.8857e-06 | 0.027125 | 0.027125 | 0.027125 | 0.97256 | -0.529 | 0.97305 | -0.51928 | 7.4519
78 | 0.029092 | 0.0072967 | -0.029089 | -0.0072949 | 2.9406e-06 | 1.8328e-06 | 0.04449 | 0.04449 | 0.04449 | 0.97305 | -0.51928 | 0.97294 | -0.5214 | 12.2225
79 | -0.046828 | -0.011746 | 0.046884 | 0.011781 | 5.5387e-05 | 3.509e-05 | 0.071615 | 0.071615 | 0.071615 | 0.97305 | -0.51928 | 0.97431 | -0.4945 | 19.6744
80 | -0.0078279 | -0.0019619 | 0.0078292 | 0.0019624 | 1.2811e-06 | 5.229e-07 | 0.011962 | 0.011962 | 0.011962 | 0.97373 | -0.5059 | 0.9739 | -0.50246 | 3.2864
81 | -0.016339 | -0.004095 | 0.016345 | 0.0040987 | 6.202e-06 | 3.6389e-06 | 0.024964 | 0.024964 | 0.024964 | 0.9739 | -0.50246 | 0.97431 | -0.4945 | 6.8582
82 | -0.032368 | -0.0081181 | 0.032415 | 0.0081474 | 4.6899e-05 | 2.9334e-05 | 0.048636 | 0.048636 | 0.048636 | 0.99034 | -0.18575 | 0.99191 | -0.1554 | 13.3616
83 | 0.032368 | 0.0081181 | -0.032353 | -0.0081083 | 1.5667e-05 | 9.7999e-06 | 0.048636 | 0.048636 | 0.048636 | 0.99034 | -0.18575 | 0.98982 | -0.19591 | 13.3616
84 | 0.014236 | 0.0035687 | -0.014234 | -0.0035674 | 2.3648e-06 | 1.335e-06 | 0.021357 | 0.021357 | 0.021357 | 0.99191 | -0.1554 | 0.99173 | -0.15889 | 5.8674
85 | -0.046652 | -0.011716 | 0.046668 | 0.011726 | 1.6286e-05 | 1.0309e-05 | 0.069993 | 0.069993 | 0.069993 | 0.99191 | -0.1554 | 0.99229 | -0.14809 | 19.2288
86 | -0.0075643 | -0.0018947 | 0.0075654 | 0.0018951 | 1.0699e-06 | 4.0108e-07 | 0.011371 | 0.011371 | 0.011371 | 0.98981 | -0.19384 | 0.98996 | -0.19087 | 3.124
87 | 0.00070837 | 0.00017691 | -0.00070837 | -0.00017698 | 2.5184e-09 | -7.452e-08 | 0.0010647 | 0.0010648 | 0.0010648 | 0.98977 | -0.19455 | 0.98977 | -0.19463 | 0.29252

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31913 | 0.081306

## res_load
| p_mw | q_mvar
0 | 0.0013906 | 0.00034852
1 | 0.0011534 | 0.00028908
2 | 0.00039509 | 9.9019e-05
3 | 0.0044608 | 0.001118
4 | 0.00075528 | 0.00018929
5 | 0.0086255 | 0.0021618
6 | 0.0077427 | 0.0019405
7 | 0.0018858 | 0.00047263
8 | 0.0085797 | 0.0021503
9 | 0.0046624 | 0.0011685
10 | 0.012907 | 0.0032347
11 | 0.0048821 | 0.0012236
12 | 0.0004373 | 0.0001096
13 | 0.0023696 | 0.00059389
14 | 0.0012157 | 0.00030469
15 | 0.011758 | 0.0029469
16 | 0.0098418 | 0.0024666
17 | 0.0052358 | 0.0013122
18 | 0.0033996 | 0.00085203
19 | 0.0043986 | 0.0011024
20 | 0.0034425 | 0.00086278
21 | 0.0036757 | 0.00092121
22 | 0.0057276 | 0.0014355
23 | 0.0038062 | 0.00095391
24 | 0.0022506 | 0.00056406
25 | 0.019164 | 0.0048029
26 | 0.0084969 | 0.0021295
27 | 0.011594 | 0.0029058
28 | 0.0025798 | 0.00064656
29 | 0.0082487 | 0.0020673
30 | 0.0038109 | 0.00095509
31 | 0.0018401 | 0.00046117
32 | 0.0063638 | 0.0015949
33 | 0.0045002 | 0.0011279
34 | 0.0028451 | 0.00071306
35 | 0.0086622 | 0.0021709
36 | 0.0023003 | 0.00057651
37 | 0.0096264 | 0.0024126
38 | 0.0046387 | 0.0011626
39 | 0.00096299 | 0.00024135
40 | 0.00030072 | 7.5367e-05
41 | 0.0067614 | 0.0016946
42 | 0.0078279 | 0.0019619
43 | 0.0085094 | 0.0021327
44 | 0.032353 | 0.0081083
45 | 0.014234 | 0.0035674
46 | 0.010104 | 0.0025323
47 | 0.0003905 | 9.7869e-05
48 | 0.00040762 | 0.00010216
49 | 0.0029859 | 0.00074832
50 | 0.00040765 | 0.00010217
51 | 0.0098944 | 0.0024798
52 | 0.0081293 | 0.0020374

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1