## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-199_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-199_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-199_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-199_0_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_230-199_0_2_node_76 | 0.4 | n |  | TRUE
5 | bus_LV_230-199_0_2_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_230-199_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_230-199_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_230-199_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_230-199_0_2_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_230-199_0_2_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_230-199_0_2_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_230-199_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_230-199_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_230-199_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_230-199_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_230-199_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_230-199_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_230-199_0_2_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_230-199_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_230-199_0_2_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_230-199_0_2_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_230-199_0_2_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_230-199_0_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_230-199_0_2_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_230-199_0_2_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_230-199_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_230-199_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_230-199_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_230-199_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_230-199_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_230-199_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_230-199_0_2_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_230-199_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_230-199_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_230-199_0_2_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_230-199_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_230-199_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_230-199_0_2_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_230-199_0_2_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_230-199_0_2_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_230-199_0_2_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_230-199_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_230-199_0_2_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_230-199_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_230-199_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_230-199_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_230-199_0_2_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_230-199_0_2_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_230-199_0_2_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_230-199_0_2_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_230-199_0_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_230-199_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_230-199_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_230-199_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_230-199_0_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_230-199_0_2_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_230-199_0_2_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_230-199_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_230-199_0_2_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_230-199_0_2_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_230-199_0_2_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_230-199_0_2_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_230-199_0_2_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_230-199_0_2_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_230-199_0_2_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_230-199_0_2_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_230-199_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_230-199_0_2_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_230-199_0_2_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_230-199_0_2_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_230-199_0_2_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_230-199_0_2_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_230-199_0_2_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_230-199_0_2_node_74 | 0.4 | n |  | TRUE
75 | bus_MV_370_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-199_0_2_load_0 | 0 | 0.0013553 | 0.00033968 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-199_0_2_load_1 | 1 | 0.0014244 | 0.00035698 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-199_0_2_load_2 | 2 | 0.0023826 | 0.00059713 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-199_0_2_load_76 | 4 | 0.00052624 | 0.00013189 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-199_0_2_load_61 | 5 | 0.0003472 | 8.7017e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-199_0_2_load_79 | 9 | 0.0011288 | 0.00028291 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-199_0_2_load_49 | 10 | 0.0010245 | 0.00025677 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-199_0_2_load_50 | 11 | 0.0010893 | 0.000273 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-199_0_2_load_6 | 12 | 0.0020322 | 0.00050931 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-199_0_2_load_7 | 13 | 0.0022112 | 0.00055417 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-199_0_2_load_11 | 16 | 0.0018737 | 0.00046958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-199_0_2_load_12 | 17 | 0.0012433 | 0.0003116 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-199_0_2_load_46 | 18 | 0.0014067 | 0.00035256 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-199_0_2_load_26 | 19 | 0.0015048 | 0.00037714 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-199_0_2_load_78 | 20 | 0.00055707 | 0.00013962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-199_0_2_load_31 | 21 | 0.00057961 | 0.00014526 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-199_0_2_load_27 | 23 | 0.00051211 | 0.00012835 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-199_0_2_load_56 | 24 | 0.0015653 | 0.00039229 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-199_0_2_load_14 | 26 | 0.0011512 | 0.00028852 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-199_0_2_load_15 | 27 | 0.0040666 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-199_0_2_load_16 | 28 | 0.0023118 | 0.00057939 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-199_0_2_load_17 | 29 | 0.0054333 | 0.0013617 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-199_0_2_load_23 | 30 | 0.0016135 | 0.00040439 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-199_0_2_load_24 | 31 | 0.00088843 | 0.00022266 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-199_0_2_load_18 | 32 | 0.0052947 | 0.001327 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-199_0_2_load_19 | 33 | 0.0029899 | 0.00074934 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-199_0_2_load_34 | 37 | 0.0040527 | 0.0010157 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-199_0_2_load_39 | 38 | 0.0025733 | 0.00064493 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-199_0_2_load_53 | 39 | 0.00089454 | 0.00022419 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-199_0_2_load_72 | 40 | 0.0020795 | 0.00052116 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-199_0_2_load_25 | 41 | 0.0045166 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-199_0_2_load_40 | 42 | 0.0026138 | 0.00065508 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-199_0_2_load_45 | 43 | 0.0010465 | 0.00026227 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-199_0_2_load_33 | 44 | 0.0014496 | 0.00036329 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-199_0_2_load_35 | 45 | 0.00054746 | 0.00013721 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-199_0_2_load_36 | 46 | 0.0022867 | 0.0005731 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-199_0_2_load_28 | 47 | 0.0013978 | 0.00035031 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-199_0_2_load_29 | 48 | 0.002076 | 0.00052028 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-199_0_2_load_30 | 49 | 0.00043409 | 0.00010879 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-199_0_2_load_32 | 50 | 0.00098786 | 0.00024758 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-199_0_2_load_37 | 51 | 0.00064282 | 0.00016111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-199_0_2_load_38 | 52 | 0.00103 | 0.00025813 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-199_0_2_load_51 | 53 | 0.00041704 | 0.00010452 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-199_0_2_load_41 | 54 | 0.0022608 | 0.0005666 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-199_0_2_load_62 | 55 | 0.00099771 | 0.00025005 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-199_0_2_load_71 | 56 | 0.00099843 | 0.00025023 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-199_0_2_load_42 | 57 | 0.00066249 | 0.00016604 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-199_0_2_load_47 | 59 | 0.00089851 | 0.00022519 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-199_0_2_load_48 | 60 | 0.00096417 | 0.00024164 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-199_0_2_load_52 | 61 | 0.0020004 | 0.00050134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-199_0_2_load_55 | 62 | 0.00059775 | 0.00014981 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-199_0_2_load_54 | 63 | 0.0005884 | 0.00014747 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_230-199_0_2_load_58 | 64 | 0.00099753 | 0.00025001 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_230-199_0_2_load_59 | 65 | 0.00099753 | 0.00025001 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_230-199_0_2_load_63 | 66 | 0.0012771 | 0.00032007 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_230-199_0_2_load_64 | 67 | 0.0012423 | 0.00031134 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_230-199_0_2_load_66 | 68 | 0.0067658 | 0.0016957 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_230-199_0_2_load_65 | 70 | 0.0012152 | 0.00030455 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_230-199_0_2_load_70 | 71 | 0.0073614 | 0.0018449 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_230-199_0_2_load_68 | 72 | 0.0042207 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_230-199_0_2_load_73 | 73 | 0.00071727 | 0.00017976 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_230-199_0_2_load_74 | 74 | 0.0006771 | 0.0001697 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-199_0_2_line_0 |  | 0 | 1 | 0.0025997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-199_0_2_line_1 |  | 1 | 2 | 0.04085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-199_0_2_line_2 |  | 2 | 3 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-199_0_2_line_3 |  | 3 | 4 | 0.0094187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-199_0_2_line_4 |  | 3 | 5 | 0.018508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-199_0_2_line_5 |  | 4 | 20 | 0.0018341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-199_0_2_line_6 |  | 5 | 21 | 0.00010773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-199_0_2_line_7 |  | 6 | 7 | 0.095624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-199_0_2_line_8 |  | 6 | 8 | 0.14295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-199_0_2_line_9 |  | 7 | 9 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-199_0_2_line_10 |  | 8 | 10 | 0.19136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-199_0_2_line_11 |  | 10 | 11 | 0.020805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-199_0_2_line_12 |  | 11 | 53 | 0.027097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-199_0_2_line_13 |  | 12 | 13 | 0.019481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-199_0_2_line_14 |  | 12 | 14 | 0.0071373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-199_0_2_line_15 |  | 13 | 15 | 0.0028721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-199_0_2_line_16 |  | 14 | 16 | 0.023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-199_0_2_line_17 |  | 15 | 17 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-199_0_2_line_18 |  | 16 | 18 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-199_0_2_line_19 |  | 17 | 19 | 0.0013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-199_0_2_line_20 |  | 18 | 22 | 0.011701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-199_0_2_line_21 |  | 19 | 23 | 0.008524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-199_0_2_line_22 |  | 20 | 74 | 0.00094993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-199_0_2_line_23 |  | 21 | 48 | 0.012171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-199_0_2_line_24 |  | 22 | 43 | 0.014867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-199_0_2_line_25 |  | 23 | 45 | 0.004478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-199_0_2_line_26 |  | 24 | 25 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-199_0_2_line_27 |  | 25 | 64 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-199_0_2_line_28 |  | 25 | 65 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-199_0_2_line_29 |  | 26 | 27 | 0.0046641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-199_0_2_line_30 |  | 26 | 28 | 0.012507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-199_0_2_line_31 |  | 27 | 29 | 0.0028104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-199_0_2_line_32 |  | 29 | 30 | 0.016373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-199_0_2_line_33 |  | 30 | 31 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-199_0_2_line_34 |  | 31 | 41 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-199_0_2_line_35 |  | 32 | 33 | 0.042042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-199_0_2_line_36 |  | 32 | 34 | 0.032978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-199_0_2_line_37 |  | 34 | 35 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-199_0_2_line_38 |  | 34 | 36 | 0.020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-199_0_2_line_39 |  | 35 | 37 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-199_0_2_line_40 |  | 35 | 38 | 0.017974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-199_0_2_line_41 |  | 36 | 39 | 0.0012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-199_0_2_line_42 |  | 36 | 40 | 0.019836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-199_0_2_line_43 |  | 37 | 41 | 0.00045409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-199_0_2_line_44 |  | 38 | 42 | 0.00098601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-199_0_2_line_45 |  | 39 | 43 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-199_0_2_line_46 |  | 40 | 44 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-199_0_2_line_47 |  | 42 | 54 | 0.026795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-199_0_2_line_48 |  | 43 | 61 | 0.017988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-199_0_2_line_49 |  | 44 | 49 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-199_0_2_line_50 |  | 45 | 46 | 0.0038782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-199_0_2_line_51 |  | 47 | 48 | 0.018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-199_0_2_line_52 |  | 47 | 49 | 0.025383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-199_0_2_line_53 |  | 49 | 50 | 0.0039659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-199_0_2_line_54 |  | 50 | 51 | 0.0089306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-199_0_2_line_55 |  | 51 | 52 | 0.0080013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-199_0_2_line_56 |  | 52 | 53 | 0.0045118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-199_0_2_line_57 |  | 54 | 55 | 0.019469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-199_0_2_line_58 |  | 55 | 56 | 0.0079742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-199_0_2_line_59 |  | 56 | 65 | 0.0079767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-199_0_2_line_60 |  | 57 | 58 | 0.0065626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-199_0_2_line_61 |  | 58 | 59 | 0.01299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-199_0_2_line_62 |  | 58 | 60 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-199_0_2_line_63 |  | 59 | 61 | 0.0028574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-199_0_2_line_64 |  | 60 | 62 | 0.001924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-199_0_2_line_65 |  | 62 | 63 | 3.5558e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-199_0_2_line_66 |  | 64 | 66 | 0.012944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-199_0_2_line_67 |  | 66 | 67 | 0.076478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-199_0_2_line_68 |  | 67 | 70 | 0.016296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-199_0_2_line_69 |  | 68 | 69 | 0.031428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-199_0_2_line_70 |  | 69 | 72 | 0.12918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-199_0_2_line_71 |  | 70 | 71 | 0.029812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-199_0_2_line_72 |  | 72 | 73 | 0.0037019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-199_0_2_line_73 |  | 73 | 74 | 0.038054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-199_0_2_trafo_52 | 0.63 MVA 20/0.4 kV | 75 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2702278.9634 | 1259140.6651 | 2702276.8662 | 1259139.1288
1 | 2702276.8662 | 1259139.1288 | 2702272.3911 | 1259135.8506 | 2702248.828 | 1259120.731 | 2702241.8702 | 1259118.5046
2 | 2702223.9572 | 1259112.7727 | 2702241.8702 | 1259118.5046
3 | 2702223.9572 | 1259112.7727 | 2702221.1877 | 1259121.7749
4 | 2702223.9572 | 1259112.7727 | 2702238.8415 | 1259101.7724
5 | 2702220.6484 | 1259123.528 | 2702221.1877 | 1259121.7749
6 | 2702238.8415 | 1259101.7724 | 2702238.9281 | 1259101.7084
7 | 2702329.2547 | 1259369.314 | 2702337.0299 | 1259365.2562 | 2702345.5417 | 1259364.3804 | 2702369.7212 | 1259370.3925 | 2702378.7191 | 1259371.0486 | 2702386.6621 | 1259369.4959 | 2702394.9124 | 1259366.3027 | 2702403.0841 | 1259360.6839 | 2702413.7187 | 1259346.5007
8 | 2702413.7187 | 1259346.5007 | 2702478.8855 | 1259256.5549 | 2702465.3095 | 1259227.7073
9 | 2702329.2547 | 1259369.314 | 2702319.898 | 1259375.8081
10 | 2702465.3095 | 1259227.7073 | 2702454.7556 | 1259207.6192 | 2702443.6127 | 1259187.1539 | 2702431.5204 | 1259170.998 | 2702422.3879 | 1259161.9881 | 2702376.5243 | 1259132.893 | 2702350.0495 | 1259113.0743 | 2702330.5552 | 1259097.4682
11 | 2702330.5552 | 1259097.4682 | 2702326.4387 | 1259094.1728 | 2702313.0819 | 1259086.2468
12 | 2702289.7818 | 1259072.414 | 2702290.2661 | 1259072.7077 | 2702313.0819 | 1259086.2468
13 | 2702201.6529 | 1259090.4427 | 2702182.366 | 1259087.6999
14 | 2702208.7191 | 1259091.4476 | 2702201.6529 | 1259090.4427
15 | 2702179.5225 | 1259087.2956 | 2702182.366 | 1259087.6999
16 | 2702208.7191 | 1259091.4476 | 2702217.8137 | 1259069.2984
17 | 2702179.5225 | 1259087.2956 | 2702182.4737 | 1259076.5944
18 | 2702217.8137 | 1259069.2984 | 2702219.3919 | 1259065.455 | 2702221.5898 | 1259058.7491
19 | 2702182.8209 | 1259075.3351 | 2702182.4737 | 1259076.5944
20 | 2702225.234 | 1259047.6302 | 2702221.5898 | 1259058.7491
21 | 2702182.8209 | 1259075.3351 | 2702185.0871 | 1259067.1179
22 | 2702220.3691 | 1259124.4359 | 2702220.6484 | 1259123.528
23 | 2702248.7165 | 1259094.4742 | 2702238.9281 | 1259101.7084
24 | 2702231.7194 | 1259034.4648 | 2702227.3772 | 1259040.5392 | 2702225.234 | 1259047.6302
25 | 2702186.2776 | 1259062.8011 | 2702185.0871 | 1259067.1179
26 | 2702147.7971 | 1258961.9786 | 2702142.9534 | 1258979.6493
27 | 2702147.7971 | 1258961.9786 | 2702149.5804 | 1258948.654 | 2702149.5804 | 1258948.654
28 | 2702147.7971 | 1258961.9786 | 2702160.4849 | 1258966.6144
29 | 2702283.5457 | 1258930.8366 | 2702280.6241 | 1258934.4723
30 | 2702283.5457 | 1258930.8366 | 2702291.3804 | 1258921.0871
31 | 2702278.8636 | 1258936.663 | 2702280.6241 | 1258934.4723
32 | 2702278.8636 | 1258936.663 | 2702275.0451 | 1258941.4148 | 2702267.3166 | 1258948.1882
33 | 2702256.5621 | 1258958.9766 | 2702258.2102 | 1258956.1693 | 2702267.3166 | 1258948.1882
34 | 2702256.5621 | 1258958.9766 | 2702251.3467 | 1258967.8601
35 | 2702320.3042 | 1258984.1773 | 2702302.6898 | 1258990.8553 | 2702290.0951 | 1258995.4191 | 2702280.8726 | 1258998.7588
36 | 2702249.3688 | 1259004.4228 | 2702260.1411 | 1259006.266 | 2702280.8726 | 1258998.7588
37 | 2702249.3688 | 1259004.4228 | 2702237.1425 | 1258992.9133
38 | 2702249.3688 | 1259004.4228 | 2702239.6648 | 1259022.7702
39 | 2702237.1425 | 1258992.9133 | 2702241.9093 | 1258984.0884 | 2702247.3654 | 1258974.6415 | 2702251.1168 | 1258968.2517
40 | 2702237.1425 | 1258992.9133 | 2702235.1527 | 1258992.0004 | 2702224.149 | 1258986.9617 | 2702220.6055 | 1258985.9606
41 | 2702239.6648 | 1259022.7702 | 2702238.9352 | 1259023.8441
42 | 2702239.6648 | 1259022.7702 | 2702253.1483 | 1259037.3184
43 | 2702251.1168 | 1258968.2517 | 2702251.3467 | 1258967.8601
44 | 2702220.6055 | 1258985.9606 | 2702219.6566 | 1258985.6925
45 | 2702231.7194 | 1259034.4648 | 2702238.9352 | 1259023.8441
46 | 2702253.1483 | 1259037.3184 | 2702260.2865 | 1259045.0203
47 | 2702219.6566 | 1258985.6925 | 2702193.8711 | 1258978.4072
48 | 2702231.7194 | 1259034.4648 | 2702215.3692 | 1259026.966
49 | 2702270.4697 | 1259056.0074 | 2702260.2865 | 1259045.0203
50 | 2702187.3086 | 1259059.0624 | 2702186.2776 | 1259062.8011
51 | 2702248.7165 | 1259094.4742 | 2702248.7165 | 1259094.4742 | 2702257.9751 | 1259078.102
52 | 2702270.4697 | 1259056.0074 | 2702257.9751 | 1259078.102
53 | 2702270.4697 | 1259056.0074 | 2702273.4025 | 1259058.6771
54 | 2702273.4025 | 1259058.6771 | 2702280.0067 | 1259064.6888
55 | 2702280.0067 | 1259064.6888 | 2702285.9237 | 1259070.0749
56 | 2702289.7818 | 1259072.414 | 2702285.9237 | 1259070.0749 | 2702285.9237 | 1259070.0749
57 | 2702193.8711 | 1258978.4072 | 2702188.975 | 1258977.0239 | 2702175.467 | 1258972.0885
58 | 2702175.467 | 1258972.0885 | 2702167.9771 | 1258969.3518
59 | 2702167.9771 | 1258969.3518 | 2702160.4849 | 1258966.6144
60 | 2702205.6951 | 1259036.0833 | 2702203.223 | 1259041.7008 | 2702203.6337 | 1259041.8114
61 | 2702205.6951 | 1259036.0833 | 2702209.2422 | 1259028.0268 | 2702212.7719 | 1259025.7748
62 | 2702205.6951 | 1259036.0833 | 2702189.697 | 1259028.4012
63 | 2702215.3692 | 1259026.966 | 2702212.7719 | 1259025.7748
64 | 2702189.697 | 1259028.4012 | 2702187.9626 | 1259027.5684
65 | 2702187.9306 | 1259027.553 | 2702187.9626 | 1259027.5684
66 | 2702145.5553 | 1258936.3514 | 2702149.5804 | 1258948.654
67 | 2702145.5553 | 1258936.3514 | 2702140.8576 | 1258921.9927 | 2702137.298 | 1258913.3131 | 2702132.7291 | 1258901.9471 | 2702120.774 | 1258875.5859 | 2702118.3261 | 1258865.0729
68 | 2702118.3261 | 1258865.0729 | 2702114.6305 | 1258849.2012
69 | 2702153.8413 | 1259281.1779 | 2702128.9469 | 1259261.9951
70 | 2702153.8413 | 1259281.1779 | 2702167.7197 | 1259260.7452 | 2702176.1255 | 1259236.3369 | 2702194.152 | 1259191.8339 | 2702206.4035 | 1259163.7421
71 | 2702114.6305 | 1258849.2012 | 2702107.8699 | 1258820.1661
72 | 2702206.4035 | 1259163.7421 | 2702207.8834 | 1259160.3489
73 | 2702220.3691 | 1259124.4359 | 2702215.2899 | 1259140.9461 | 2702210.7009 | 1259153.8885 | 2702207.8834 | 1259160.3489

## bus_geodata
| x | y | coords
0 | 2702278.9634 | 1259140.6651
1 | 2702276.8662 | 1259139.1288
2 | 2702241.8702 | 1259118.5046
3 | 2702223.9572 | 1259112.7727
4 | 2702221.1877 | 1259121.7749
5 | 2702238.8415 | 1259101.7724
6 | 2702413.7187 | 1259346.5007
7 | 2702329.2547 | 1259369.314
8 | 2702465.3095 | 1259227.7073
9 | 2702319.898 | 1259375.8081
10 | 2702330.5552 | 1259097.4682
11 | 2702313.0819 | 1259086.2468
12 | 2702201.6529 | 1259090.4427
13 | 2702182.366 | 1259087.6999
14 | 2702208.7191 | 1259091.4476
15 | 2702179.5225 | 1259087.2956
16 | 2702217.8137 | 1259069.2984
17 | 2702182.4737 | 1259076.5944
18 | 2702221.5898 | 1259058.7491
19 | 2702182.8209 | 1259075.3351
20 | 2702220.6484 | 1259123.528
21 | 2702238.9281 | 1259101.7084
22 | 2702225.234 | 1259047.6302
23 | 2702185.0871 | 1259067.1179
24 | 2702142.9534 | 1258979.6493
25 | 2702147.7971 | 1258961.9786
26 | 2702283.5457 | 1258930.8366
27 | 2702280.6241 | 1258934.4723
28 | 2702291.3804 | 1258921.0871
29 | 2702278.8636 | 1258936.663
30 | 2702267.3166 | 1258948.1882
31 | 2702256.5621 | 1258958.9766
32 | 2702280.8726 | 1258998.7588
33 | 2702320.3042 | 1258984.1773
34 | 2702249.3688 | 1259004.4228
35 | 2702237.1425 | 1258992.9133
36 | 2702239.6648 | 1259022.7702
37 | 2702251.1168 | 1258968.2517
38 | 2702220.6055 | 1258985.9606
39 | 2702238.9352 | 1259023.8441
40 | 2702253.1483 | 1259037.3184
41 | 2702251.3467 | 1258967.8601
42 | 2702219.6566 | 1258985.6925
43 | 2702231.7194 | 1259034.4648
44 | 2702260.2865 | 1259045.0203
45 | 2702186.2776 | 1259062.8011
46 | 2702187.3086 | 1259059.0624
47 | 2702257.9751 | 1259078.102
48 | 2702248.7165 | 1259094.4742
49 | 2702270.4697 | 1259056.0074
50 | 2702273.4025 | 1259058.6771
51 | 2702280.0067 | 1259064.6888
52 | 2702285.9237 | 1259070.0749
53 | 2702289.7818 | 1259072.414
54 | 2702193.8711 | 1258978.4072
55 | 2702175.467 | 1258972.0885
56 | 2702167.9771 | 1258969.3518
57 | 2702203.6337 | 1259041.8114
58 | 2702205.6951 | 1259036.0833
59 | 2702212.7719 | 1259025.7748
60 | 2702189.697 | 1259028.4012
61 | 2702215.3692 | 1259026.966
62 | 2702187.9626 | 1259027.5684
63 | 2702187.9306 | 1259027.553
64 | 2702149.5804 | 1258948.654
65 | 2702160.4849 | 1258966.6144
66 | 2702145.5553 | 1258936.3514
67 | 2702118.3261 | 1258865.0729
68 | 2702128.9469 | 1259261.9951
69 | 2702153.8413 | 1259281.1779
70 | 2702114.6305 | 1258849.2012
71 | 2702107.8699 | 1258820.1661
72 | 2702206.4035 | 1259163.7421
73 | 2702207.8834 | 1259160.3489
74 | 2702220.3691 | 1259124.4359
75 | 2702205.6951 | 1259036.0833

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99416 | -0.11225 | 0.0013553 | 0.00033968
1 | 0.99417 | -0.11219 | 0.0014244 | 0.00035698
2 | 0.99427 | -0.11019 | 0.0023826 | 0.00059713
3 | 0.99436 | -0.10848 | 0 | 0
4 | 0.99424 | -0.11071 | 0.00052624 | 0.00013189
5 | 0.99467 | -0.1024 | 0.0003472 | 8.7017e-05
6 | 0.99522 | -0.091992 | 0 | 0
7 | 0.99512 | -0.093895 | 0 | 0
8 | 0.99537 | -0.089138 | 0 | 0
9 | 0.99511 | -0.094122 | 0.0011288 | 0.00028291
10 | 0.99556 | -0.0853 | 0.0010245 | 0.00025677
11 | 0.9956 | -0.084507 | 0.0010893 | 0.000273
12 | 0.99753 | -0.047439 | 0.0020322 | 0.00050931
13 | 0.99738 | -0.050274 | 0.0022112 | 0.00055417
14 | 0.9976 | -0.046146 | 0 | 0
15 | 0.99737 | -0.05058 | 0 | 0
16 | 0.99782 | -0.041811 | 0.0018737 | 0.00046958
17 | 0.9973 | -0.051766 | 0.0012433 | 0.0003116
18 | 0.99794 | -0.039414 | 0.0014067 | 0.00035256
19 | 0.9973 | -0.051877 | 0.0015048 | 0.00037714
20 | 0.99422 | -0.11113 | 0.00055707 | 0.00013962
21 | 0.99468 | -0.10236 | 0.00057961 | 0.00014526
22 | 0.99809 | -0.036625 | 0 | 0
23 | 0.99727 | -0.052377 | 0.00051211 | 0.00012835
24 | 0.99371 | -0.12093 | 0.0015653 | 0.00039229
25 | 0.99374 | -0.12042 | 0 | 0
26 | 0.9941 | -0.11356 | 0.0011512 | 0.00028852
27 | 0.99411 | -0.11327 | 0.0040666 | 0.0010192
28 | 0.99407 | -0.11407 | 0.0023118 | 0.00057939
29 | 0.99413 | -0.1129 | 0.0054333 | 0.0013617
30 | 0.99432 | -0.10916 | 0.0016135 | 0.00040439
31 | 0.99453 | -0.10521 | 0.00088843 | 0.00022266
32 | 0.99579 | -0.080856 | 0.0052947 | 0.001327
33 | 0.99568 | -0.083066 | 0.0029899 | 0.00074934
34 | 0.99604 | -0.076054 | 0 | 0
35 | 0.9953 | -0.090245 | 0 | 0
36 | 0.99711 | -0.055509 | 0 | 0
37 | 0.99468 | -0.10224 | 0.0040527 | 0.0010157
38 | 0.99491 | -0.097872 | 0.0025733 | 0.00064493
39 | 0.99721 | -0.053466 | 0.00089454 | 0.00022419
40 | 0.9965 | -0.06711 | 0.0020795 | 0.00052116
41 | 0.99467 | -0.1024 | 0.0045166 | 0.001132
42 | 0.99489 | -0.098246 | 0.0026138 | 0.00065508
43 | 0.99827 | -0.033083 | 0.0010465 | 0.00026227
44 | 0.9962 | -0.072873 | 0.0014496 | 0.00036329
45 | 0.99726 | -0.052599 | 0.00054746 | 0.00013721
46 | 0.99725 | -0.052755 | 0.0022867 | 0.0005731
47 | 0.99526 | -0.091003 | 0.0013978 | 0.00035031
48 | 0.99489 | -0.098168 | 0.002076 | 0.00052028
49 | 0.9958 | -0.080719 | 0.00043409 | 0.00010879
50 | 0.99577 | -0.081161 | 0.00098786 | 0.00024758
51 | 0.99573 | -0.082001 | 0.00064282 | 0.00016111
52 | 0.9957 | -0.082663 | 0.00103 | 0.00025813
53 | 0.99568 | -0.082954 | 0.00041704 | 0.00010452
54 | 0.99443 | -0.10718 | 0.0022608 | 0.0005666
55 | 0.99413 | -0.1129 | 0.00099771 | 0.00025005
56 | 0.99402 | -0.1151 | 0.00099843 | 0.00025023
57 | 0.99995 | -0.00089782 | 0.00066249 | 0.00016604
58 | 0.99996 | -0.00082202 | 0 | 0
59 | 0.99999 | -0.00018491 | 0.00089851 | 0.00022519
60 | 0.99992 | -0.0014873 | 0.00096417 | 0.00024164
61 | 1 | 0 | -0.11116 | -0.027622
62 | 0.99992 | -0.0015271 | 0.00059775 | 0.00014981
63 | 0.99992 | -0.0015275 | 0.0005884 | 0.00014747
64 | 0.99359 | -0.12329 | 0.00099753 | 0.00025001
65 | 0.99391 | -0.11716 | 0.00099753 | 0.00025001
66 | 0.99346 | -0.12583 | 0.0012771 | 0.00032007
67 | 0.99277 | -0.1391 | 0.0012423 | 0.00031134
68 | 0.99278 | -0.13912 | 0.0067658 | 0.0016957
69 | 0.99297 | -0.13536 | 0 | 0
70 | 0.99265 | -0.14157 | 0.0012152 | 0.00030455
71 | 0.99245 | -0.14546 | 0.0073614 | 0.0018449
72 | 0.99377 | -0.11992 | 0.0042207 | 0.0010578
73 | 0.99381 | -0.1192 | 0.00071727 | 0.00017976
74 | 0.99421 | -0.11134 | 0.0006771 | 0.0001697
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013553 | -0.00033968 | 0.0013553 | 0.00033965 | 4.0117e-09 | -3.1141e-08 | 0.0020286 | 0.0020286 | 0.0020286 | 0.99416 | -0.11225 | 0.99417 | -0.11219 | 0.55731
1 | -0.0027797 | -0.00069662 | 0.00278 | 0.00069626 | 2.6515e-07 | -3.6005e-07 | 0.0041605 | 0.0041603 | 0.0041605 | 0.99417 | -0.11219 | 0.99427 | -0.11019 | 1.143
2 | -0.0051625 | -0.0012934 | 0.0051629 | 0.0012934 | 4.2099e-07 | 2.5488e-08 | 0.007726 | 0.0077259 | 0.007726 | 0.99427 | -0.11019 | 0.99436 | -0.10848 | 2.1225
3 | 0.013477 | 0.0033798 | -0.013475 | -0.003379 | 1.4367e-06 | 7.9732e-07 | 0.020168 | 0.020168 | 0.020168 | 0.99436 | -0.10848 | 0.99424 | -0.11071 | 5.5408
4 | -0.01864 | -0.0046732 | 0.018645 | 0.0046765 | 5.4003e-06 | 3.2161e-06 | 0.027894 | 0.027894 | 0.027894 | 0.99436 | -0.10848 | 0.99467 | -0.1024 | 7.6633
5 | 0.012949 | 0.0032471 | -0.012949 | -0.003247 | 2.5835e-07 | 1.4156e-07 | 0.019381 | 0.019381 | 0.019381 | 0.99424 | -0.11071 | 0.99422 | -0.11113 | 5.3244
6 | -0.018992 | -0.0047635 | 0.018992 | 0.0047635 | 3.2614e-08 | 1.9477e-08 | 0.028414 | 0.028414 | 0.028414 | 0.99467 | -0.1024 | 0.99468 | -0.10236 | 7.8059
7 | 0.0011289 | 0.00028159 | -0.0011288 | -0.00028277 | 1.0214e-07 | -1.1771e-06 | 0.0016875 | 0.0016879 | 0.0016879 | 0.99522 | -0.091992 | 0.99512 | -0.093895 | 0.46371
8 | -0.0011289 | -0.00028159 | 0.0011291 | 0.00027983 | 1.5259e-07 | -1.7602e-06 | 0.0016875 | 0.0016868 | 0.0016875 | 0.99522 | -0.091992 | 0.99537 | -0.089138 | 0.46359
9 | 0.0011288 | 0.00028277 | -0.0011288 | -0.00028291 | 1.2169e-08 | -1.4018e-07 | 0.0016879 | 0.0016879 | 0.0016879 | 0.99512 | -0.093895 | 0.99511 | -0.094122 | 0.46372
10 | -0.0011291 | -0.00027983 | 0.0011293 | 0.00027747 | 2.0408e-07 | -2.3572e-06 | 0.0016868 | 0.0016859 | 0.0016868 | 0.99537 | -0.089138 | 0.99556 | -0.0853 | 0.46341
11 | -0.0021538 | -0.00053425 | 0.0021539 | 0.00053403 | 8.0751e-08 | -2.1885e-07 | 0.0032173 | 0.0032172 | 0.0032173 | 0.99556 | -0.0853 | 0.9956 | -0.084507 | 0.88386
12 | -0.0032432 | -0.00080703 | 0.0032434 | 0.00080683 | 2.3854e-07 | -1.9973e-07 | 0.0048452 | 0.0048451 | 0.0048452 | 0.9956 | -0.084507 | 0.99568 | -0.082954 | 1.3311
13 | 0.0083073 | 0.002082 | -0.0083061 | -0.0020815 | 1.1218e-06 | 4.6369e-07 | 0.012392 | 0.012392 | 0.012392 | 0.99753 | -0.047439 | 0.99738 | -0.050274 | 3.4044
14 | -0.010339 | -0.0025913 | 0.01034 | 0.0025916 | 6.3668e-07 | 3.1429e-07 | 0.015423 | 0.015423 | 0.015423 | 0.99753 | -0.047439 | 0.9976 | -0.046146 | 4.2372
15 | 0.006095 | 0.0015274 | -0.0060949 | -0.0015273 | 8.9056e-08 | 1.9513e-08 | 0.0090932 | 0.0090932 | 0.0090932 | 0.99738 | -0.050274 | 0.99737 | -0.05058 | 2.4981
16 | -0.01034 | -0.0025916 | 0.010342 | 0.0025927 | 2.1359e-06 | 1.0543e-06 | 0.015423 | 0.015423 | 0.015423 | 0.9976 | -0.046146 | 0.99782 | -0.041811 | 4.2372
17 | 0.0060949 | 0.0015273 | -0.0060945 | -0.0015273 | 3.442e-07 | 7.5432e-08 | 0.0090932 | 0.0090932 | 0.0090932 | 0.99737 | -0.05058 | 0.9973 | -0.051766 | 2.4981
18 | -0.012216 | -0.0030622 | 0.012217 | 0.003063 | 1.3953e-06 | 7.4653e-07 | 0.018217 | 0.018217 | 0.018217 | 0.99782 | -0.041811 | 0.99794 | -0.039414 | 5.0048
19 | 0.0048512 | 0.0012157 | -0.0048512 | -0.0012157 | 2.5665e-08 | -6.1999e-10 | 0.0072382 | 0.0072382 | 0.0072382 | 0.9973 | -0.051766 | 0.9973 | -0.051877 | 1.9885
20 | -0.013624 | -0.0034156 | 0.013626 | 0.0034166 | 1.8108e-06 | 1.006e-06 | 0.020315 | 0.020315 | 0.020315 | 0.99794 | -0.039414 | 0.99809 | -0.036625 | 5.581
21 | 0.0033464 | 0.00083852 | -0.0033463 | -0.00083858 | 7.9687e-08 | -6.0222e-08 | 0.0049929 | 0.004993 | 0.004993 | 0.9973 | -0.051877 | 0.99727 | -0.052377 | 1.3717
22 | 0.012392 | 0.0031074 | -0.012392 | -0.0031073 | 1.2254e-07 | 6.6106e-08 | 0.018547 | 0.018547 | 0.018547 | 0.99422 | -0.11113 | 0.99421 | -0.11134 | 5.0954
23 | -0.019572 | -0.0049088 | 0.019576 | 0.0049111 | 3.9132e-06 | 2.3464e-06 | 0.029281 | 0.029281 | 0.029281 | 0.99468 | -0.10236 | 0.99489 | -0.098168 | 8.0441
24 | -0.013626 | -0.0034166 | 0.013628 | 0.0034178 | 2.3008e-06 | 1.2782e-06 | 0.020315 | 0.020315 | 0.020315 | 0.99809 | -0.036625 | 0.99827 | -0.033083 | 5.581
25 | 0.0028342 | 0.00071023 | -0.0028342 | -0.00071027 | 3.003e-08 | -3.9208e-08 | 0.0042289 | 0.0042289 | 0.0042289 | 0.99727 | -0.052377 | 0.99726 | -0.052599 | 1.1618
26 | -0.0015653 | -0.00039229 | 0.0015653 | 0.00039208 | 3.7746e-08 | -2.1322e-07 | 0.0023439 | 0.0023438 | 0.0023439 | 0.99371 | -0.12093 | 0.99374 | -0.12042 | 0.64392
27 | 0.012105 | 0.0030364 | -0.012103 | -0.0030355 | 1.6565e-06 | 8.8601e-07 | 0.018127 | 0.018127 | 0.018127 | 0.99374 | -0.12042 | 0.99359 | -0.12329 | 4.9799
28 | -0.01367 | -0.0034285 | 0.013672 | 0.0034297 | 2.1227e-06 | 1.1835e-06 | 0.020471 | 0.020471 | 0.020471 | 0.99374 | -0.12042 | 0.99391 | -0.11716 | 5.6238
29 | -0.0034631 | -0.00086778 | 0.0034631 | 0.00086775 | 4.6997e-08 | -3.0393e-08 | 0.0051836 | 0.0051836 | 0.0051836 | 0.9941 | -0.11356 | 0.99411 | -0.11327 | 1.4241
30 | 0.0023118 | 0.00057926 | -0.0023118 | -0.00057939 | 5.6166e-08 | -1.2621e-07 | 0.0034604 | 0.0034605 | 0.0034605 | 0.9941 | -0.11356 | 0.99407 | -0.11407 | 0.95069
31 | -0.0075297 | -0.0018869 | 0.0075298 | 0.001887 | 1.3387e-07 | 4.924e-08 | 0.011271 | 0.011271 | 0.011271 | 0.99411 | -0.11327 | 0.99413 | -0.1129 | 3.0963
32 | -0.012963 | -0.0032487 | 0.012965 | 0.00325 | 2.3115e-06 | 1.267e-06 | 0.019403 | 0.019403 | 0.019403 | 0.99413 | -0.1129 | 0.99432 | -0.10916 | 5.3306
33 | -0.014579 | -0.0036544 | 0.014582 | 0.0036559 | 2.7426e-06 | 1.5559e-06 | 0.021818 | 0.021818 | 0.021818 | 0.99432 | -0.10916 | 0.99453 | -0.10521 | 5.9939
34 | -0.01547 | -0.0038786 | 0.015472 | 0.0038798 | 2.0697e-06 | 1.1909e-06 | 0.023147 | 0.023147 | 0.023147 | 0.99453 | -0.10521 | 0.99467 | -0.1024 | 6.3591
35 | 0.0029902 | 0.000749 | -0.0029899 | -0.00074934 | 3.1477e-07 | -3.4541e-07 | 0.0044682 | 0.0044684 | 0.0044684 | 0.99579 | -0.080856 | 0.99568 | -0.083066 | 1.2276
36 | -0.0082849 | -0.002076 | 0.0082868 | 0.0020768 | 1.8954e-06 | 7.8392e-07 | 0.01238 | 0.01238 | 0.01238 | 0.99579 | -0.080856 | 0.99604 | -0.076054 | 3.4011
37 | 0.048227 | 0.012118 | -0.048194 | -0.012097 | 3.2645e-05 | 2.0674e-05 | 0.072059 | 0.072059 | 0.072059 | 0.99604 | -0.076054 | 0.9953 | -0.090245 | 19.7964
38 | -0.056514 | -0.014195 | 0.056569 | 0.01423 | 5.5464e-05 | 3.5226e-05 | 0.084439 | 0.084439 | 0.084439 | 0.99604 | -0.076054 | 0.99711 | -0.055509 | 23.1975
39 | 0.024055 | 0.0060359 | -0.024042 | -0.0060275 | 1.3752e-05 | 8.433e-06 | 0.035966 | 0.035966 | 0.035966 | 0.9953 | -0.090245 | 0.99468 | -0.10224 | 9.8809
40 | 0.024139 | 0.0060614 | -0.02413 | -0.006056 | 8.7804e-06 | 5.3859e-06 | 0.036093 | 0.036093 | 0.036093 | 0.9953 | -0.090245 | 0.99491 | -0.097872 | 9.9156
41 | -0.089961 | -0.022618 | 0.089969 | 0.022624 | 8.7782e-06 | 5.6011e-06 | 0.13428 | 0.13428 | 0.13428 | 0.99711 | -0.055509 | 0.99721 | -0.053466 | 36.8893
42 | 0.033391 | 0.0083884 | -0.033373 | -0.0083768 | 1.8476e-05 | 1.1566e-05 | 0.049838 | 0.049838 | 0.049838 | 0.99711 | -0.055509 | 0.9965 | -0.06711 | 13.6918
43 | 0.019989 | 0.0050118 | -0.019989 | -0.0050117 | 1.5227e-07 | 9.156e-08 | 0.029904 | 0.029904 | 0.029904 | 0.99468 | -0.10224 | 0.99467 | -0.1024 | 8.2153
44 | 0.021557 | 0.0054111 | -0.021556 | -0.0054109 | 3.8443e-07 | 2.3323e-07 | 0.032244 | 0.032244 | 0.032244 | 0.99491 | -0.097872 | 0.99489 | -0.098246 | 8.8583
45 | -0.090864 | -0.022848 | 0.090953 | 0.022905 | 8.855e-05 | 5.6505e-05 | 0.13561 | 0.13561 | 0.13561 | 0.99721 | -0.053466 | 0.99827 | -0.033083 | 37.256
46 | 0.031294 | 0.0078557 | -0.031285 | -0.0078503 | 8.6003e-06 | 5.3674e-06 | 0.046733 | 0.046733 | 0.046733 | 0.9965 | -0.06711 | 0.9962 | -0.072873 | 12.8388
47 | 0.018943 | 0.0047558 | -0.018935 | -0.004751 | 8.0672e-06 | 4.8152e-06 | 0.028335 | 0.028335 | 0.028335 | 0.99489 | -0.098246 | 0.99443 | -0.10718 | 7.7843
48 | -0.10563 | -0.026585 | 0.10579 | 0.026692 | 0.0001673 | 0.00010684 | 0.15749 | 0.15749 | 0.15749 | 0.99827 | -0.033083 | 1 | 0 | 43.2654
49 | 0.029835 | 0.007487 | -0.029824 | -0.0074801 | 1.1158e-05 | 6.9464e-06 | 0.044568 | 0.044568 | 0.044568 | 0.9962 | -0.072873 | 0.9958 | -0.080719 | 12.244
50 | 0.0022867 | 0.00057306 | -0.0022867 | -0.0005731 | 1.6931e-08 | -3.9765e-08 | 0.003412 | 0.003412 | 0.003412 | 0.99726 | -0.052599 | 0.99725 | -0.052755 | 0.93737
51 | 0.021659 | 0.0054359 | -0.021652 | -0.0054314 | 7.3977e-06 | 4.4902e-06 | 0.032385 | 0.032386 | 0.032386 | 0.99526 | -0.091003 | 0.99489 | -0.098168 | 8.8971
52 | -0.023057 | -0.0057862 | 0.023068 | 0.0057931 | 1.1313e-05 | 6.9104e-06 | 0.034475 | 0.034475 | 0.034475 | 0.99526 | -0.091003 | 0.9958 | -0.080719 | 9.4712
53 | 0.0063217 | 0.0015782 | -0.0063215 | -0.0015782 | 1.3265e-07 | 3.3305e-08 | 0.0094443 | 0.0094443 | 0.0094443 | 0.9958 | -0.080719 | 0.99577 | -0.081161 | 2.5946
54 | 0.0053337 | 0.0013306 | -0.0053335 | -0.0013306 | 2.1263e-07 | 1.9913e-08 | 0.0079681 | 0.0079681 | 0.0079681 | 0.99577 | -0.081161 | 0.99573 | -0.082001 | 2.189
55 | 0.0046906 | 0.0011694 | -0.0046905 | -0.0011695 | 1.4734e-07 | -9.7759e-09 | 0.0070075 | 0.0070075 | 0.0070075 | 0.99573 | -0.082001 | 0.9957 | -0.082663 | 1.9251
56 | 0.0036605 | 0.00091132 | -0.0036605 | -0.00091135 | 5.0593e-08 | -2.6303e-08 | 0.0054683 | 0.0054683 | 0.0054683 | 0.9957 | -0.082663 | 0.99568 | -0.082954 | 1.5023
57 | 0.016674 | 0.0041844 | -0.016669 | -0.0041817 | 4.5456e-06 | 2.6567e-06 | 0.024952 | 0.024952 | 0.024952 | 0.99443 | -0.10718 | 0.99413 | -0.1129 | 6.8549
58 | 0.015672 | 0.0039317 | -0.01567 | -0.0039307 | 1.6456e-06 | 9.498e-07 | 0.023459 | 0.023459 | 0.023459 | 0.99413 | -0.1129 | 0.99402 | -0.1151 | 6.4447
59 | 0.014671 | 0.0036805 | -0.01467 | -0.0036797 | 1.443e-06 | 8.2016e-07 | 0.021964 | 0.021964 | 0.021964 | 0.99402 | -0.1151 | 0.99391 | -0.11716 | 6.0341
60 | -0.00066249 | -0.00016604 | 0.00066249 | 0.00016595 | 2.3917e-09 | -8.4559e-08 | 0.00098584 | 0.00098581 | 0.00098584 | 0.99995 | -0.00089782 | 0.99996 | -0.00082202 | 0.27083
61 | -0.0028129 | -0.00070466 | 0.002813 | 0.00070454 | 8.5341e-08 | -1.1579e-07 | 0.0041857 | 0.0041856 | 0.0041857 | 0.99996 | -0.00082202 | 0.99999 | -0.00018491 | 1.1499
62 | 0.0021504 | 0.00053871 | -0.0021503 | -0.0005389 | 6.8145e-08 | -1.8919e-07 | 0.0031999 | 0.0032 | 0.0032 | 0.99996 | -0.00082202 | 0.99992 | -0.0014873 | 0.87911
63 | -0.0037115 | -0.00092973 | 0.0037115 | 0.00092972 | 3.2681e-08 | -1.6571e-08 | 0.0055227 | 0.0055226 | 0.0055227 | 0.99999 | -0.00018491 | 1 | 0 | 1.5172
64 | 0.0011862 | 0.00029726 | -0.0011862 | -0.00029728 | 2.2481e-09 | -2.3799e-08 | 0.0017652 | 0.0017652 | 0.0017652 | 0.99992 | -0.0014873 | 0.99992 | -0.0015271 | 0.48493
65 | 0.0005884 | 0.00014747 | -0.0005884 | -0.00014747 | 1.0211e-11 | -4.5908e-10 | 0.00087562 | 0.00087562 | 0.00087562 | 0.99992 | -0.0015271 | 0.99992 | -0.0015275 | 0.24056
66 | 0.011106 | 0.0027855 | -0.011105 | -0.0027848 | 1.3429e-06 | 6.9185e-07 | 0.016633 | 0.016633 | 0.016633 | 0.99359 | -0.12329 | 0.99346 | -0.12583 | 4.5695
67 | 0.0098274 | 0.0024647 | -0.0098212 | -0.0024618 | 6.2146e-06 | 2.9877e-06 | 0.01472 | 0.014721 | 0.014721 | 0.99346 | -0.12583 | 0.99277 | -0.1391 | 4.0441
68 | 0.0085789 | 0.0021504 | -0.0085779 | -0.00215 | 1.0104e-06 | 4.3599e-07 | 0.012859 | 0.012859 | 0.012859 | 0.99277 | -0.1391 | 0.99265 | -0.14157 | 3.5326
69 | -0.0067658 | -0.0016957 | 0.006767 | 0.001696 | 1.212e-06 | 3.692e-07 | 0.010141 | 0.010141 | 0.010141 | 0.99278 | -0.13912 | 0.99297 | -0.13536 | 2.7859
70 | -0.006767 | -0.001696 | 0.006772 | 0.0016975 | 4.9812e-06 | 1.5156e-06 | 0.010141 | 0.01014 | 0.010141 | 0.99297 | -0.13536 | 0.99377 | -0.11992 | 2.7859
71 | 0.0073628 | 0.0018454 | -0.0073614 | -0.0018449 | 1.3619e-06 | 4.863e-07 | 0.011037 | 0.011037 | 0.011037 | 0.99265 | -0.14157 | 0.99245 | -0.14546 | 3.0322
72 | -0.010993 | -0.0027553 | 0.010993 | 0.0027555 | 3.761e-07 | 1.9274e-07 | 0.01646 | 0.01646 | 0.01646 | 0.99377 | -0.11992 | 0.99381 | -0.1192 | 4.522
73 | -0.01171 | -0.0029353 | 0.011715 | 0.0029376 | 4.3871e-06 | 2.3145e-06 | 0.017534 | 0.017534 | 0.017534 | 0.99381 | -0.1192 | 0.99421 | -0.11134 | 4.817

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11316 | 0.028123

## res_load
| p_mw | q_mvar
0 | 0.0013553 | 0.00033968
1 | 0.0014244 | 0.00035698
2 | 0.0023826 | 0.00059713
3 | 0.00052624 | 0.00013189
4 | 0.0003472 | 8.7017e-05
5 | 0.0011288 | 0.00028291
6 | 0.0010245 | 0.00025677
7 | 0.0010893 | 0.000273
8 | 0.0020322 | 0.00050931
9 | 0.0022112 | 0.00055417
10 | 0.0018737 | 0.00046958
11 | 0.0012433 | 0.0003116
12 | 0.0014067 | 0.00035256
13 | 0.0015048 | 0.00037714
14 | 0.00055707 | 0.00013962
15 | 0.00057961 | 0.00014526
16 | 0.00051211 | 0.00012835
17 | 0.0015653 | 0.00039229
18 | 0.0011512 | 0.00028852
19 | 0.0040666 | 0.0010192
20 | 0.0023118 | 0.00057939
21 | 0.0054333 | 0.0013617
22 | 0.0016135 | 0.00040439
23 | 0.00088843 | 0.00022266
24 | 0.0052947 | 0.001327
25 | 0.0029899 | 0.00074934
26 | 0.0040527 | 0.0010157
27 | 0.0025733 | 0.00064493
28 | 0.00089454 | 0.00022419
29 | 0.0020795 | 0.00052116
30 | 0.0045166 | 0.001132
31 | 0.0026138 | 0.00065508
32 | 0.0010465 | 0.00026227
33 | 0.0014496 | 0.00036329
34 | 0.00054746 | 0.00013721
35 | 0.0022867 | 0.0005731
36 | 0.0013978 | 0.00035031
37 | 0.002076 | 0.00052028
38 | 0.00043409 | 0.00010879
39 | 0.00098786 | 0.00024758
40 | 0.00064282 | 0.00016111
41 | 0.00103 | 0.00025813
42 | 0.00041704 | 0.00010452
43 | 0.0022608 | 0.0005666
44 | 0.00099771 | 0.00025005
45 | 0.00099843 | 0.00025023
46 | 0.00066249 | 0.00016604
47 | 0.00089851 | 0.00022519
48 | 0.00096417 | 0.00024164
49 | 0.0020004 | 0.00050134
50 | 0.00059775 | 0.00014981
51 | 0.0005884 | 0.00014747
52 | 0.00099753 | 0.00025001
53 | 0.00099753 | 0.00025001
54 | 0.0012771 | 0.00032007
55 | 0.0012423 | 0.00031134
56 | 0.0067658 | 0.0016957
57 | 0.0012152 | 0.00030455
58 | 0.0073614 | 0.0018449
59 | 0.0042207 | 0.0010578
60 | 0.00071727 | 0.00017976
61 | 0.0006771 | 0.0001697

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1