## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-202_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_230-202_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_230-202_1_3_node_133 | 0.4 | n |  | TRUE
3 | bus_LV_230-202_1_3_node_132 | 0.4 | n |  | TRUE
4 | bus_LV_230-202_1_3_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_230-202_1_3_node_146 | 0.4 | n |  | TRUE
6 | bus_LV_230-202_1_3_node_138 | 0.4 | n |  | TRUE
7 | bus_LV_230-202_1_3_node_130 | 0.4 | n |  | TRUE
8 | bus_LV_230-202_1_3_node_144 | 0.4 | n |  | TRUE
9 | bus_LV_230-202_1_3_node_145 | 0.4 | n |  | TRUE
10 | bus_LV_230-202_1_3_node_131 | 0.4 | n |  | TRUE
11 | bus_LV_230-202_1_3_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_230-202_1_3_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_230-202_1_3_node_139 | 0.4 | n |  | TRUE
14 | bus_LV_230-202_1_3_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_230-202_1_3_node_148 | 0.4 | n |  | TRUE
16 | bus_LV_230-202_1_3_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_230-202_1_3_node_149 | 0.4 | n |  | TRUE
18 | bus_LV_230-202_1_3_node_140 | 0.4 | n |  | TRUE
19 | bus_LV_230-202_1_3_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_230-202_1_3_node_147 | 0.4 | n |  | TRUE
21 | bus_LV_230-202_1_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_230-202_1_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_230-202_1_3_node_114 | 0.4 | n |  | TRUE
24 | bus_LV_230-202_1_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_230-202_1_3_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_230-202_1_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_230-202_1_3_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_230-202_1_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_230-202_1_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_230-202_1_3_node_110 | 0.4 | n |  | TRUE
31 | bus_LV_230-202_1_3_node_109 | 0.4 | n |  | TRUE
32 | bus_LV_230-202_1_3_node_108 | 0.4 | n |  | TRUE
33 | bus_LV_230-202_1_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_230-202_1_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_230-202_1_3_node_122 | 0.4 | n |  | TRUE
36 | bus_LV_230-202_1_3_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_230-202_1_3_node_107 | 0.4 | n |  | TRUE
38 | bus_LV_230-202_1_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_230-202_1_3_node_112 | 0.4 | n |  | TRUE
40 | bus_LV_230-202_1_3_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_230-202_1_3_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_230-202_1_3_node_115 | 0.4 | n |  | TRUE
43 | bus_LV_230-202_1_3_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_230-202_1_3_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_230-202_1_3_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_230-202_1_3_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_230-202_1_3_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_230-202_1_3_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_230-202_1_3_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_230-202_1_3_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_230-202_1_3_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_230-202_1_3_node_116 | 0.4 | n |  | TRUE
53 | bus_LV_230-202_1_3_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_230-202_1_3_node_126 | 0.4 | n |  | TRUE
55 | bus_LV_230-202_1_3_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_230-202_1_3_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_230-202_1_3_node_120 | 0.4 | n |  | TRUE
58 | bus_LV_230-202_1_3_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_230-202_1_3_node_123 | 0.4 | n |  | TRUE
60 | bus_LV_230-202_1_3_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_230-202_1_3_node_125 | 0.4 | n |  | TRUE
62 | bus_MV_369_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-202_1_3_load_127 | 1 | 0.0019317 | 0.00048412 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-202_1_3_load_132 | 3 | 0.026892 | 0.0067398 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-202_1_3_load_146 | 5 | 0.021497 | 0.0053877 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-202_1_3_load_144 | 8 | 0.0062646 | 0.0015701 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-202_1_3_load_145 | 9 | 0.0062975 | 0.0015783 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-202_1_3_load_131 | 10 | 0.02717 | 0.0068094 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-202_1_3_load_136 | 11 | 0.0027521 | 0.00068975 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-202_1_3_load_134 | 12 | 0.022822 | 0.0057197 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-202_1_3_load_148 | 15 | 0.022909 | 0.0057415 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-202_1_3_load_149 | 17 | 0.02142 | 0.0053685 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-202_1_3_load_140 | 18 | 0.0027779 | 0.00069622 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-202_1_3_load_142 | 19 | 0.0027625 | 0.00069234 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-202_1_3_load_147 | 20 | 0.022994 | 0.0057629 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-202_1_3_load_114 | 23 | 0.017079 | 0.0042805 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-202_1_3_load_92 | 27 | 0.0027588 | 0.00069143 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-202_1_3_load_109 | 31 | 0.0064545 | 0.0016176 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-202_1_3_load_108 | 32 | 0.0029705 | 0.00074448 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-202_1_3_load_122 | 35 | 0.002785 | 0.00069799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-202_1_3_load_96 | 36 | 0.0077358 | 0.0019388 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-202_1_3_load_107 | 37 | 0.0026151 | 0.00065541 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-202_1_3_load_112 | 39 | 0.0039992 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-202_1_3_load_111 | 40 | 0.0097187 | 0.0024357 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-202_1_3_load_115 | 42 | 0.0032385 | 0.00081164 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-202_1_3_load_97 | 43 | 0.0032079 | 0.00080397 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-202_1_3_load_95 | 44 | 0.0091322 | 0.0022887 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-202_1_3_load_101 | 45 | 0.0029704 | 0.00074444 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-202_1_3_load_102 | 46 | 0.0030078 | 0.00075382 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-202_1_3_load_103 | 47 | 0.002949 | 0.0007391 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-202_1_3_load_104 | 48 | 0.0025261 | 0.0006331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-202_1_3_load_105 | 49 | 0.0030152 | 0.00075569 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-202_1_3_load_106 | 50 | 0.0025579 | 0.00064107 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-202_1_3_load_113 | 51 | 0.0067437 | 0.0016901 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-202_1_3_load_116 | 52 | 0.0022388 | 0.0005611 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-202_1_3_load_126 | 54 | 0.0017891 | 0.00044838 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-202_1_3_load_118 | 55 | 0.0026323 | 0.00065973 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-202_1_3_load_119 | 56 | 0.0025021 | 0.00062709 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-202_1_3_load_120 | 57 | 0.0032404 | 0.00081212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-202_1_3_load_121 | 58 | 0.0017393 | 0.00043591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-202_1_3_load_123 | 59 | 0.0017517 | 0.00043901 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-202_1_3_load_124 | 60 | 0.0022827 | 0.00057211 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-202_1_3_load_125 | 61 | 0.0016564 | 0.00041512 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-202_1_3_line_0 |  | 0 | 1 | 0.016863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_230-202_1_3_line_1 |  | 0 | 2 | 0.003958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-202_1_3_line_2 |  | 0 | 3 | 0.013956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-202_1_3_line_3 |  | 1 | 61 | 0.0091398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_230-202_1_3_line_4 |  | 2 | 11 | 0.032524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-202_1_3_line_5 |  | 2 | 12 | 0.028686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-202_1_3_line_6 |  | 3 | 10 | 0.00049003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-202_1_3_line_7 |  | 4 | 5 | 0.009285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-202_1_3_line_8 |  | 4 | 6 | 0.020107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-202_1_3_line_9 |  | 4 | 7 | 0.03709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-202_1_3_line_10 |  | 6 | 17 | 0.009304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-202_1_3_line_11 |  | 6 | 14 | 0.02884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-202_1_3_line_12 |  | 7 | 8 | 0.025973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-202_1_3_line_13 |  | 7 | 9 | 0.00808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-202_1_3_line_14 |  | 11 | 13 | 0.030916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-202_1_3_line_15 |  | 13 | 18 | 0.0066213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-202_1_3_line_16 |  | 13 | 16 | 0.051474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-202_1_3_line_17 |  | 14 | 15 | 0.006045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-202_1_3_line_18 |  | 14 | 16 | 0.015125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-202_1_3_line_19 |  | 16 | 20 | 0.005949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-202_1_3_line_20 |  | 18 | 19 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-202_1_3_line_21 |  | 21 | 22 | 0.0091815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-202_1_3_line_22 |  | 21 | 23 | 0.084999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-202_1_3_line_23 |  | 22 | 32 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-202_1_3_line_24 |  | 24 | 25 | 0.012936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-202_1_3_line_25 |  | 24 | 26 | 0.008898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-202_1_3_line_26 |  | 24 | 27 | 0.02894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-202_1_3_line_27 |  | 25 | 37 | 0.061344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-202_1_3_line_28 |  | 26 | 28 | 0.026288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-202_1_3_line_29 |  | 28 | 36 | 0.016411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-202_1_3_line_30 |  | 28 | 33 | 0.011536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-202_1_3_line_31 |  | 29 | 30 | 0.003406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-202_1_3_line_32 |  | 29 | 31 | 0.024595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-202_1_3_line_33 |  | 30 | 51 | 0.021051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-202_1_3_line_34 |  | 31 | 38 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-202_1_3_line_35 |  | 32 | 49 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-202_1_3_line_36 |  | 33 | 34 | 0.037176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-202_1_3_line_37 |  | 33 | 35 | 0.02852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-202_1_3_line_38 |  | 34 | 39 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-202_1_3_line_39 |  | 34 | 40 | 0.018455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-202_1_3_line_40 |  | 34 | 38 | 0.039118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-202_1_3_line_41 |  | 35 | 57 | 0.0083871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-202_1_3_line_42 |  | 36 | 44 | 0.0063029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-202_1_3_line_43 |  | 37 | 50 | 0.023315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-202_1_3_line_44 |  | 41 | 42 | 0.055198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-202_1_3_line_45 |  | 41 | 43 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-202_1_3_line_46 |  | 42 | 52 | 0.0098997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-202_1_3_line_47 |  | 43 | 44 | 0.014018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-202_1_3_line_48 |  | 45 | 46 | 0.015144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-202_1_3_line_49 |  | 45 | 47 | 0.025118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-202_1_3_line_50 |  | 46 | 48 | 0.027313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-202_1_3_line_51 |  | 47 | 49 | 0.014323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-202_1_3_line_52 |  | 48 | 50 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-202_1_3_line_53 |  | 52 | 53 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-202_1_3_line_54 |  | 53 | 54 | 0.027515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-202_1_3_line_55 |  | 54 | 60 | 0.0084941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-202_1_3_line_56 |  | 55 | 56 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-202_1_3_line_57 |  | 55 | 57 | 0.042597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-202_1_3_line_58 |  | 56 | 58 | 0.040009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-202_1_3_line_59 |  | 58 | 59 | 0.0085469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-202_1_3_line_60 |  | 60 | 61 | 0.043268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-202_1_3_trafo_124 | 0.63 MVA 20/0.4 kV | 62 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2699303.2768 | 1263989.6877 | 2699303.8352 | 1264006.5413
1 | 2699303.2768 | 1263989.6877 | 2699299.3073 | 1263989.6654
2 | 2699303.2768 | 1263989.6877 | 2699308.7087 | 1263989.6566 | 2699313.2593 | 1263982.4493
3 | 2699304.1378 | 1264015.6761 | 2699303.8352 | 1264006.5413
4 | 2699299.3073 | 1263989.6654 | 2699298.4969 | 1263980.9557 | 2699297.6049 | 1263979.3505 | 2699296.5542 | 1263975.5297 | 2699295.5 | 1263974.1553 | 2699293.7048 | 1263972.9464 | 2699279.6233 | 1263972.9187
5 | 2699299.3073 | 1263989.6654 | 2699300.3252 | 1264011.1225 | 2699300.3137 | 1264014.9477 | 2699299.7905 | 1264018.2861
6 | 2699313.2593 | 1263982.4493 | 2699313.2253 | 1263981.9605
7 | 2699274.7798 | 1264073.9344 | 2699265.4676 | 1264074.0226
8 | 2699265.4663 | 1264053.9171 | 2699265.4676 | 1264074.0226
9 | 2699266.6966 | 1264110.7181 | 2699266.7388 | 1264092.07 | 2699265.7543 | 1264091.0304 | 2699265.4676 | 1264074.0226
10 | 2699265.4663 | 1264053.9171 | 2699274.7984 | 1264053.996
11 | 2699265.4663 | 1264053.9171 | 2699265.458 | 1264041.4066 | 2699249.1312 | 1264041.1212
12 | 2699266.6966 | 1264110.7181 | 2699266.6514 | 1264128.6544 | 2699274.7102 | 1264128.7453
13 | 2699266.6966 | 1264110.7181 | 2699274.7998 | 1264110.8542
14 | 2699249.504 | 1263974.528 | 2699270.5731 | 1263974.5928 | 2699271.9649 | 1263972.9036 | 2699279.6233 | 1263972.9187
15 | 2699249.504 | 1263974.528 | 2699242.8827 | 1263974.5057 | 2699242.8827 | 1263974.5057
16 | 2699249.1216 | 1264025.9974 | 2699249.504 | 1263974.528
17 | 2699249.1312 | 1264041.1212 | 2699243.069 | 1264041.0083
18 | 2699249.1216 | 1264025.9974 | 2699249.1312 | 1264041.1212
19 | 2699249.1216 | 1264025.9974 | 2699243.1548 | 1264026.0307
20 | 2699242.9954 | 1263956.6177 | 2699242.8827 | 1263974.5057
21 | 2699451.0676 | 1264003.2046 | 2699454.5682 | 1264003.7862 | 2699460.1107 | 1264004.7914
22 | 2699460.1107 | 1264004.7914 | 2699492.9761 | 1264009.8039 | 2699492.127 | 1264015.0495 | 2699500.9907 | 1264042.944 | 2699493.6875 | 1264041.8202 | 2699492.2455 | 1264051.4946
23 | 2699451.0676 | 1264003.2046 | 2699448.4925 | 1264018.7964 | 2699448.2979 | 1264020.6363
24 | 2699393.4856 | 1264177.7921 | 2699393.0514 | 1264183.901 | 2699392.6282 | 1264190.6995
25 | 2699385.9822 | 1264196.6372 | 2699392.6282 | 1264190.6995
26 | 2699392.6282 | 1264190.6995 | 2699418.2373 | 1264186.8268 | 2699421.1951 | 1264186.1264
27 | 2699393.4856 | 1264177.7921 | 2699404.0869 | 1264178.5376 | 2699413.6573 | 1264178.3205 | 2699420.637 | 1264176.7255 | 2699428.2455 | 1264173.573 | 2699433.6864 | 1264169.8614 | 2699438.7771 | 1264165.0319 | 2699444.2079 | 1264157.8951 | 2699445.5184 | 1264155.0017
28 | 2699385.9822 | 1264196.6372 | 2699379.65 | 1264183.0306 | 2699379.7103 | 1264177.6494 | 2699373.816 | 1264177.4168
29 | 2699373.816 | 1264177.4168 | 2699357.429 | 1264176.5371
30 | 2699373.816 | 1264177.4168 | 2699373.6635 | 1264165.8825
31 | 2699376.9279 | 1264054.6453 | 2699373.5319 | 1264055.0107
32 | 2699373.5319 | 1264055.0107 | 2699376.276 | 1264079.4521
33 | 2699376.9279 | 1264054.6453 | 2699376.5138 | 1264050.6016 | 2699377.0685 | 1264047.6307 | 2699379.2565 | 1264043.8421 | 2699388.8 | 1264042.9128
34 | 2699379.3497 | 1264106.8292 | 2699376.276 | 1264079.4521
35 | 2699446.6954 | 1264035.7841 | 2699448.2979 | 1264020.6363
36 | 2699373.6635 | 1264165.8825 | 2699379.5229 | 1264165.5029 | 2699385.7676 | 1264165.063 | 2699385.3993 | 1264156.9501 | 2699383.7675 | 1264142.8999 | 2699386.5296 | 1264142.6017
37 | 2699373.6635 | 1264165.8825 | 2699372.6608 | 1264152.9438 | 2699371.0578 | 1264137.4838
38 | 2699386.5296 | 1264142.6017 | 2699386.9565 | 1264146.779 | 2699388.8657 | 1264149.7135 | 2699391.3439 | 1264151.957 | 2699400.7928 | 1264150.8899
39 | 2699386.5296 | 1264142.6017 | 2699386.1155 | 1264138.558 | 2699386.6701 | 1264135.5871 | 2699388.8582 | 1264131.7985 | 2699395.8094 | 1264131.036
40 | 2699379.3497 | 1264106.8292 | 2699383.4055 | 1264139.7913 | 2699383.7675 | 1264142.8999 | 2699386.5296 | 1264142.6017
41 | 2699370.1928 | 1264129.1414 | 2699371.0578 | 1264137.4838
42 | 2699351.1352 | 1264176.1992 | 2699357.429 | 1264176.5371
43 | 2699449.1164 | 1264132.3054 | 2699449.429 | 1264136.3651 | 2699449.0814 | 1264143.5874 | 2699447.3921 | 1264150.865 | 2699445.5184 | 1264155.0017
44 | 2699319.5303 | 1264174.5024 | 2699319.0595 | 1264147.8391 | 2699314.4414 | 1264119.6845
45 | 2699319.5303 | 1264174.5024 | 2699337.1371 | 1264175.4476
46 | 2699314.4414 | 1264119.6845 | 2699313.8393 | 1264116.014 | 2699313.1862 | 1264109.8684
47 | 2699351.1352 | 1264176.1992 | 2699337.1371 | 1264175.4476
48 | 2699445.971 | 1264075.1842 | 2699446.8079 | 1264090.3052
49 | 2699445.971 | 1264075.1842 | 2699445.8597 | 1264073.175 | 2699445.5546 | 1264055.4996 | 2699445.8472 | 1264050.0801
50 | 2699446.8079 | 1264090.3052 | 2699446.888 | 1264091.7521 | 2699448.2181 | 1264117.5815
51 | 2699446.6954 | 1264035.7841 | 2699446.5396 | 1264037.2567 | 2699445.8472 | 1264050.0801
52 | 2699449.1164 | 1264132.3054 | 2699448.6934 | 1264126.8114 | 2699448.2181 | 1264117.5815
53 | 2699311.5628 | 1264094.5914 | 2699313.1862 | 1264109.8684
54 | 2699311.5628 | 1264094.5914 | 2699310.9955 | 1264089.3553 | 2699308.8075 | 1264067.2146
55 | 2699307.9722 | 1264058.7616 | 2699308.8075 | 1264067.2146
56 | 2699365.7725 | 1264086.7747 | 2699364.5578 | 1264076.3763
57 | 2699365.7725 | 1264086.7747 | 2699366.0171 | 1264088.868 | 2699370.1928 | 1264129.1414
58 | 2699364.5578 | 1264076.3763 | 2699359.9155 | 1264036.6374
59 | 2699359.9155 | 1264036.6374 | 2699358.9238 | 1264028.1482
60 | 2699307.9722 | 1264058.7616 | 2699304.3514 | 1264022.1214 | 2699304.1378 | 1264015.6761

## bus_geodata
| x | y | coords
0 | 2699303.2768 | 1263989.6877
1 | 2699303.8352 | 1264006.5413
2 | 2699299.3073 | 1263989.6654
3 | 2699313.2593 | 1263982.4493
4 | 2699265.4676 | 1264074.0226
5 | 2699274.7798 | 1264073.9344
6 | 2699265.4663 | 1264053.9171
7 | 2699266.6966 | 1264110.7181
8 | 2699274.7102 | 1264128.7453
9 | 2699274.7998 | 1264110.8542
10 | 2699313.2253 | 1263981.9605
11 | 2699279.6233 | 1263972.9187
12 | 2699299.7905 | 1264018.2861
13 | 2699249.504 | 1263974.528
14 | 2699249.1312 | 1264041.1212
15 | 2699243.069 | 1264041.0083
16 | 2699249.1216 | 1264025.9974
17 | 2699274.7984 | 1264053.996
18 | 2699242.8827 | 1263974.5057
19 | 2699242.9954 | 1263956.6177
20 | 2699243.1548 | 1264026.0307
21 | 2699460.1107 | 1264004.7914
22 | 2699451.0676 | 1264003.2046
23 | 2699492.2455 | 1264051.4946
24 | 2699392.6282 | 1264190.6995
25 | 2699393.4856 | 1264177.7921
26 | 2699385.9822 | 1264196.6372
27 | 2699421.1951 | 1264186.1264
28 | 2699373.816 | 1264177.4168
29 | 2699373.5319 | 1264055.0107
30 | 2699376.9279 | 1264054.6453
31 | 2699376.276 | 1264079.4521
32 | 2699448.2979 | 1264020.6363
33 | 2699373.6635 | 1264165.8825
34 | 2699386.5296 | 1264142.6017
35 | 2699371.0578 | 1264137.4838
36 | 2699357.429 | 1264176.5371
37 | 2699445.5184 | 1264155.0017
38 | 2699379.3497 | 1264106.8292
39 | 2699400.7928 | 1264150.8899
40 | 2699395.8094 | 1264131.036
41 | 2699319.5303 | 1264174.5024
42 | 2699314.4414 | 1264119.6845
43 | 2699337.1371 | 1264175.4476
44 | 2699351.1352 | 1264176.1992
45 | 2699445.971 | 1264075.1842
46 | 2699446.8079 | 1264090.3052
47 | 2699445.8472 | 1264050.0801
48 | 2699448.2181 | 1264117.5815
49 | 2699446.6954 | 1264035.7841
50 | 2699449.1164 | 1264132.3054
51 | 2699388.8 | 1264042.9128
52 | 2699313.1862 | 1264109.8684
53 | 2699311.5628 | 1264094.5914
54 | 2699308.8075 | 1264067.2146
55 | 2699365.7725 | 1264086.7747
56 | 2699364.5578 | 1264076.3763
57 | 2699370.1928 | 1264129.1414
58 | 2699359.9155 | 1264036.6374
59 | 2699358.9238 | 1264028.1482
60 | 2699307.9722 | 1264058.7616
61 | 2699304.1378 | 1264015.6761
62 | 2699311.5628 | 1264094.5914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99397 | -0.11483 | 0 | 0
1 | 0.99542 | -0.087117 | 0.0019317 | 0.00048412
2 | 0.99349 | -0.12408 | 0 | 0
3 | 0.99328 | -0.12815 | 0.026892 | 0.0067398
4 | 0.97909 | -0.40295 | 0 | 0
5 | 0.9789 | -0.40658 | 0.021497 | 0.0053877
6 | 0.97972 | -0.3905 | 0 | 0
7 | 0.97865 | -0.41142 | 0 | 0
8 | 0.9785 | -0.41439 | 0.0062646 | 0.0015701
9 | 0.97861 | -0.41235 | 0.0062975 | 0.0015783
10 | 0.99327 | -0.12838 | 0.02717 | 0.0068094
11 | 0.99019 | -0.18729 | 0.0027521 | 0.00068975
12 | 0.99289 | -0.13565 | 0.022822 | 0.0057197
13 | 0.98713 | -0.24624 | 0 | 0
14 | 0.9812 | -0.36149 | 0 | 0
15 | 0.98107 | -0.364 | 0.022909 | 0.0057415
16 | 0.9823 | -0.34005 | 0 | 0
17 | 0.97954 | -0.39412 | 0.02142 | 0.0053685
18 | 0.98709 | -0.2469 | 0.0027779 | 0.00069622
19 | 0.98705 | -0.24778 | 0.0027625 | 0.00069234
20 | 0.98217 | -0.34252 | 0.022994 | 0.0057629
21 | 0.9754 | -0.47426 | 0 | 0
22 | 0.97555 | -0.47138 | 0 | 0
23 | 0.97405 | -0.50089 | 0.017079 | 0.0042805
24 | 0.98226 | -0.33993 | 0 | 0
25 | 0.98179 | -0.34922 | 0 | 0
26 | 0.98262 | -0.33311 | 0 | 0
27 | 0.98219 | -0.34138 | 0.0027588 | 0.00069143
28 | 0.98365 | -0.31298 | 0 | 0
29 | 0.98132 | -0.3586 | 0 | 0
30 | 0.9813 | -0.35902 | 0 | 0
31 | 0.98147 | -0.3556 | 0.0064545 | 0.0016176
32 | 0.97583 | -0.46586 | 0.0029705 | 0.00074448
33 | 0.98321 | -0.32163 | 0 | 0
34 | 0.98229 | -0.33969 | 0 | 0
35 | 0.98282 | -0.32916 | 0.002785 | 0.00069799
36 | 0.98493 | -0.28817 | 0.0077358 | 0.0019388
37 | 0.97952 | -0.39335 | 0.0026151 | 0.00065541
38 | 0.98181 | -0.34902 | 0 | 0
39 | 0.98221 | -0.34117 | 0.0039992 | 0.0010023
40 | 0.98212 | -0.34293 | 0.0097187 | 0.0024357
41 | 0.98847 | -0.21962 | 0 | 0
42 | 0.99379 | -0.11765 | 0.0032385 | 0.00081164
43 | 0.98677 | -0.25243 | 0.0032079 | 0.00080397
44 | 0.98546 | -0.27778 | 0.0091322 | 0.0022887
45 | 0.97703 | -0.44229 | 0.0029704 | 0.00074444
46 | 0.97743 | -0.43428 | 0.0030078 | 0.00075382
47 | 0.97642 | -0.45423 | 0.002949 | 0.0007391
48 | 0.97825 | -0.41835 | 0.0025261 | 0.0006331
49 | 0.97611 | -0.46027 | 0.0030152 | 0.00075569
50 | 0.97872 | -0.40907 | 0.0025579 | 0.00064107
51 | 0.98117 | -0.36159 | 0.0067437 | 0.0016901
52 | 0.99478 | -0.098915 | 0.0022388 | 0.0005611
53 | 0.99633 | -0.069306 | 0 | 0
54 | 0.99912 | -0.016505 | 0.0017891 | 0.00044838
55 | 0.98239 | -0.3376 | 0.0026323 | 0.00065973
56 | 0.98233 | -0.33873 | 0.0025021 | 0.00062709
57 | 0.98273 | -0.33096 | 0.0032404 | 0.00081212
58 | 0.98221 | -0.34125 | 0.0017393 | 0.00043591
59 | 0.98219 | -0.34152 | 0.0017517 | 0.00043901
60 | 1 | 0 | -0.30756 | -0.078364
61 | 0.99621 | -0.071976 | 0.0016564 | 0.00041512
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18796 | -0.04765 | 0.18821 | 0.04781 | 0.00025069 | 0.00016 | 0.28158 | 0.28158 | 0.28158 | 0.99397 | -0.11483 | 0.99542 | -0.087117 | 38.6786
1 | 0.13387 | 0.034079 | -0.13381 | -0.034041 | 5.9722e-05 | 3.8171e-05 | 0.20059 | 0.20059 | 0.20059 | 0.99397 | -0.11483 | 0.99349 | -0.12408 | 55.1076
2 | 0.054096 | 0.013571 | -0.054062 | -0.013549 | 3.4327e-05 | 2.1789e-05 | 0.080989 | 0.080989 | 0.080989 | 0.99397 | -0.11483 | 0.99328 | -0.12815 | 22.2498
3 | -0.19015 | -0.048294 | 0.19028 | 0.048383 | 0.00013868 | 8.8516e-05 | 0.28447 | 0.28447 | 0.28447 | 0.99542 | -0.087117 | 0.99621 | -0.071976 | 39.0753
4 | 0.11097 | 0.028313 | -0.11063 | -0.028098 | 0.00033767 | 0.00021569 | 0.16639 | 0.16639 | 0.16639 | 0.99349 | -0.12408 | 0.99019 | -0.18729 | 45.7115
5 | 0.022834 | 0.0057274 | -0.022822 | -0.0057197 | 1.2584e-05 | 7.6823e-06 | 0.034202 | 0.034202 | 0.034202 | 0.99349 | -0.12408 | 0.99289 | -0.13565 | 9.3962
6 | 0.02717 | 0.0068096 | -0.02717 | -0.0068094 | 3.0444e-07 | 1.885e-07 | 0.040703 | 0.040703 | 0.040703 | 0.99328 | -0.12815 | 0.99327 | -0.12838 | 11.1821
7 | 0.021501 | 0.00539 | -0.021497 | -0.0053877 | 3.7181e-06 | 2.2628e-06 | 0.032678 | 0.032678 | 0.032678 | 0.97909 | -0.40295 | 0.9789 | -0.40658 | 8.9774
8 | -0.034069 | -0.0085414 | 0.034089 | 0.0085541 | 2.0216e-05 | 1.2685e-05 | 0.05178 | 0.051779 | 0.05178 | 0.97909 | -0.40295 | 0.97972 | -0.3905 | 14.2252
9 | 0.012568 | 0.0031515 | -0.012563 | -0.0031487 | 5.0751e-06 | 2.7818e-06 | 0.019102 | 0.019102 | 0.019102 | 0.97909 | -0.40295 | 0.97865 | -0.41142 | 5.2478
10 | 0.021424 | 0.0053707 | -0.02142 | -0.0053685 | 3.6943e-06 | 2.2472e-06 | 0.03254 | 0.03254 | 0.03254 | 0.97972 | -0.3905 | 0.97954 | -0.39412 | 8.9395
11 | -0.055514 | -0.013925 | 0.055591 | 0.013974 | 7.6892e-05 | 4.8847e-05 | 0.084319 | 0.084319 | 0.084319 | 0.97972 | -0.3905 | 0.9812 | -0.36149 | 23.1647
12 | 0.0062655 | 0.0015703 | -0.0062646 | -0.0015701 | 8.8394e-07 | 2.3942e-07 | 0.0095265 | 0.0095266 | 0.0095266 | 0.97865 | -0.41142 | 0.9785 | -0.41439 | 2.6172
13 | 0.0062978 | 0.0015784 | -0.0062975 | -0.0015783 | 2.7783e-07 | 7.6288e-08 | 0.0095756 | 0.0095756 | 0.0095756 | 0.97865 | -0.41142 | 0.97861 | -0.41235 | 2.6307
14 | 0.10788 | 0.027408 | -0.10758 | -0.027213 | 0.00030522 | 0.00019494 | 0.16225 | 0.16225 | 0.16225 | 0.99019 | -0.18729 | 0.98713 | -0.24624 | 44.5754
15 | 0.0055407 | 0.0013884 | -0.0055405 | -0.0013884 | 1.7321e-07 | 2.621e-08 | 0.0083521 | 0.0083521 | 0.0083521 | 0.98713 | -0.24624 | 0.98709 | -0.2469 | 2.2945
16 | 0.10204 | 0.025825 | -0.10158 | -0.025533 | 0.0004572 | 0.00029196 | 0.1539 | 0.1539 | 0.1539 | 0.98713 | -0.24624 | 0.9823 | -0.34005 | 42.2809
17 | 0.022912 | 0.0057432 | -0.022909 | -0.0057415 | 2.7368e-06 | 1.6752e-06 | 0.034746 | 0.034746 | 0.034746 | 0.9812 | -0.36149 | 0.98107 | -0.364 | 9.5457
18 | -0.078502 | -0.019717 | 0.078583 | 0.019768 | 8.0408e-05 | 5.127e-05 | 0.11907 | 0.11907 | 0.11907 | 0.9812 | -0.36149 | 0.9823 | -0.34005 | 32.7103
19 | 0.022997 | 0.0057646 | -0.022994 | -0.0057629 | 2.7074e-06 | 1.6575e-06 | 0.034837 | 0.034837 | 0.034837 | 0.9823 | -0.34005 | 0.98217 | -0.34252 | 9.5706
20 | 0.0027626 | 0.00069218 | -0.0027625 | -0.00069234 | 1.1634e-07 | -1.542e-07 | 0.0041644 | 0.0041645 | 0.0041645 | 0.98709 | -0.2469 | 0.98705 | -0.24778 | 1.1441
21 | -0.017101 | -0.0042933 | 0.017103 | 0.0042947 | 2.3438e-06 | 1.3854e-06 | 0.026091 | 0.026091 | 0.026091 | 0.9754 | -0.47426 | 0.97555 | -0.47138 | 7.1679
22 | 0.017101 | 0.0042933 | -0.017079 | -0.0042805 | 2.1699e-05 | 1.2828e-05 | 0.026091 | 0.026091 | 0.026091 | 0.9754 | -0.47426 | 0.97405 | -0.50089 | 7.168
23 | -0.017103 | -0.0042947 | 0.017108 | 0.0042974 | 4.5065e-06 | 2.6637e-06 | 0.026091 | 0.026091 | 0.026091 | 0.97555 | -0.47138 | 0.97583 | -0.46586 | 7.1679
24 | 0.039928 | 0.010095 | -0.03991 | -0.010084 | 1.7766e-05 | 1.1207e-05 | 0.060517 | 0.060517 | 0.060517 | 0.98226 | -0.33993 | 0.98179 | -0.34922 | 16.6256
25 | -0.042687 | -0.010786 | 0.042701 | 0.010795 | 1.3967e-05 | 8.8259e-06 | 0.064697 | 0.064697 | 0.064697 | 0.98226 | -0.33993 | 0.98262 | -0.33311 | 17.7738
26 | 0.002759 | 0.00069118 | -0.0027588 | -0.00069143 | 1.8958e-07 | -2.4497e-07 | 0.0041795 | 0.0041796 | 0.0041796 | 0.98226 | -0.33993 | 0.98219 | -0.34138 | 1.1482
27 | 0.03991 | 0.010084 | -0.039826 | -0.01003 | 8.4249e-05 | 5.3145e-05 | 0.060517 | 0.060518 | 0.060518 | 0.98179 | -0.34922 | 0.97952 | -0.39335 | 16.6257
28 | -0.042701 | -0.010795 | 0.042742 | 0.010821 | 4.1263e-05 | 2.6075e-05 | 0.064697 | 0.064697 | 0.064697 | 0.98262 | -0.33311 | 0.98365 | -0.31298 | 17.7738
29 | -0.084373 | -0.021275 | 0.084473 | 0.021339 | 0.00010032 | 6.3999e-05 | 0.12768 | 0.12768 | 0.12768 | 0.98365 | -0.31298 | 0.98493 | -0.28817 | 35.0771
30 | 0.041631 | 0.010454 | -0.041614 | -0.010443 | 1.7161e-05 | 1.0837e-05 | 0.062984 | 0.062984 | 0.062984 | 0.98365 | -0.31298 | 0.98321 | -0.32163 | 17.3033
31 | 0.0067447 | 0.0016904 | -0.0067445 | -0.0016904 | 1.336e-07 | 4.2472e-08 | 0.010227 | 0.010227 | 0.010227 | 0.98132 | -0.3586 | 0.9813 | -0.35902 | 2.8097
32 | -0.0067447 | -0.0016904 | 0.0067456 | 0.0016907 | 9.6469e-07 | 3.0663e-07 | 0.010227 | 0.010227 | 0.010227 | 0.98132 | -0.3586 | 0.98147 | -0.3556 | 2.8097
33 | 0.0067445 | 0.0016904 | -0.0067437 | -0.0016901 | 8.2569e-07 | 2.6254e-07 | 0.010227 | 0.010227 | 0.010227 | 0.9813 | -0.35902 | 0.98117 | -0.36159 | 2.8097
34 | -0.0132 | -0.0033084 | 0.013204 | 0.0033107 | 4.1376e-06 | 2.2998e-06 | 0.020013 | 0.020013 | 0.020013 | 0.98147 | -0.3556 | 0.98181 | -0.34902 | 5.498
35 | -0.020078 | -0.0050418 | 0.020084 | 0.0050451 | 5.3558e-06 | 3.2374e-06 | 0.030621 | 0.030621 | 0.030621 | 0.97583 | -0.46586 | 0.97611 | -0.46027 | 8.4123
36 | 0.026953 | 0.006767 | -0.02693 | -0.0067526 | 2.3202e-05 | 1.4378e-05 | 0.040796 | 0.040796 | 0.040796 | 0.98321 | -0.32163 | 0.98229 | -0.33969 | 11.2077
37 | 0.014661 | 0.0036763 | -0.014655 | -0.0036733 | 5.2656e-06 | 3.0084e-06 | 0.022189 | 0.022189 | 0.022189 | 0.98321 | -0.32163 | 0.98282 | -0.32916 | 6.0958
38 | 0.0039995 | 0.0010022 | -0.0039992 | -0.0010023 | 2.8289e-07 | -7.9085e-08 | 0.0060585 | 0.0060586 | 0.0060586 | 0.98229 | -0.33969 | 0.98221 | -0.34117 | 1.6645
39 | 0.0097202 | 0.0024365 | -0.0097187 | -0.0024357 | 1.5005e-06 | 7.2677e-07 | 0.014725 | 0.014725 | 0.014725 | 0.98229 | -0.33969 | 0.98212 | -0.34293 | 4.0453
40 | 0.01321 | 0.0033139 | -0.013204 | -0.0033107 | 5.8752e-06 | 3.2652e-06 | 0.020012 | 0.020013 | 0.020013 | 0.98229 | -0.33969 | 0.98181 | -0.34902 | 5.498
41 | 0.01187 | 0.0029753 | -0.011869 | -0.0029748 | 1.0159e-06 | 5.4389e-07 | 0.017972 | 0.017972 | 0.017972 | 0.98282 | -0.32916 | 0.98273 | -0.33096 | 4.9374
42 | -0.092209 | -0.023278 | 0.092255 | 0.023307 | 4.5909e-05 | 2.9301e-05 | 0.13937 | 0.13937 | 0.13937 | 0.98493 | -0.28817 | 0.98546 | -0.27778 | 38.2878
43 | 0.037211 | 0.009375 | -0.037183 | -0.0093574 | 2.7954e-05 | 1.7598e-05 | 0.056545 | 0.056545 | 0.056545 | 0.97952 | -0.39335 | 0.97872 | -0.40907 | 15.5344
44 | -0.10488 | -0.026584 | 0.1054 | 0.026914 | 0.0005167 | 0.00032998 | 0.15799 | 0.15799 | 0.15799 | 0.98847 | -0.21962 | 0.99379 | -0.11765 | 43.405
45 | 0.10488 | 0.026584 | -0.10472 | -0.026479 | 0.00016505 | 0.00010541 | 0.15799 | 0.15799 | 0.15799 | 0.98847 | -0.21962 | 0.98677 | -0.25243 | 43.405
46 | -0.10864 | -0.027726 | 0.10874 | 0.027788 | 9.8445e-05 | 6.2876e-05 | 0.16284 | 0.16284 | 0.16284 | 0.99379 | -0.11765 | 0.99478 | -0.098915 | 44.7371
47 | 0.10151 | 0.025675 | -0.10139 | -0.025596 | 0.00012331 | 7.874e-05 | 0.15316 | 0.15316 | 0.15316 | 0.98677 | -0.25243 | 0.98546 | -0.27778 | 42.0761
48 | -0.02904 | -0.0072976 | 0.029051 | 0.0073045 | 1.1112e-05 | 6.9222e-06 | 0.044235 | 0.044235 | 0.044235 | 0.97703 | -0.44229 | 0.97743 | -0.43428 | 12.1525
49 | 0.02607 | 0.0065531 | -0.026055 | -0.006544 | 1.4854e-05 | 9.192e-06 | 0.039711 | 0.039711 | 0.039711 | 0.97703 | -0.44229 | 0.97642 | -0.45423 | 10.9097
50 | -0.032059 | -0.0080583 | 0.032083 | 0.0080736 | 2.4405e-05 | 1.5277e-05 | 0.048814 | 0.048814 | 0.048814 | 0.97743 | -0.43428 | 0.97825 | -0.41835 | 13.4104
51 | 0.023106 | 0.0058049 | -0.023099 | -0.0058008 | 6.6614e-06 | 4.0842e-06 | 0.035217 | 0.035217 | 0.035217 | 0.97642 | -0.45423 | 0.97611 | -0.46027 | 9.675
52 | -0.034609 | -0.0087067 | 0.034625 | 0.0087163 | 1.5339e-05 | 9.6316e-06 | 0.052656 | 0.052656 | 0.052656 | 0.97825 | -0.41835 | 0.97872 | -0.40907 | 14.466
53 | -0.11098 | -0.02835 | 0.11113 | 0.028451 | 0.00015912 | 0.00010164 | 0.16619 | 0.16619 | 0.16619 | 0.99478 | -0.098915 | 0.99633 | -0.069306 | 45.657
54 | -0.11113 | -0.028451 | 0.11142 | 0.028633 | 0.00028499 | 0.00018203 | 0.16619 | 0.16619 | 0.16619 | 0.99633 | -0.069306 | 0.99912 | -0.016505 | 45.657
55 | -0.11321 | -0.029082 | 0.1133 | 0.02914 | 9.082e-05 | 5.8014e-05 | 0.16886 | 0.16886 | 0.16886 | 0.99912 | -0.016505 | 1 | 0 | 46.389
56 | 0.0059939 | 0.0015018 | -0.0059935 | -0.0015017 | 3.2358e-07 | 7.4548e-08 | 0.0090787 | 0.0090787 | 0.0090787 | 0.98239 | -0.3376 | 0.98233 | -0.33873 | 2.4942
57 | -0.0086262 | -0.0021615 | 0.0086289 | 0.0021627 | 2.7269e-06 | 1.2057e-06 | 0.013066 | 0.013066 | 0.013066 | 0.98239 | -0.3376 | 0.98273 | -0.33096 | 3.5895
58 | 0.0034914 | 0.00087459 | -0.003491 | -0.00087483 | 4.1964e-07 | -2.3787e-07 | 0.0052886 | 0.0052887 | 0.0052887 | 0.98233 | -0.33873 | 0.98221 | -0.34125 | 1.4529
59 | 0.0017517 | 0.00043891 | -0.0017517 | -0.00043901 | 2.2571e-08 | -9.3727e-08 | 0.0026537 | 0.0026538 | 0.0026538 | 0.98221 | -0.34125 | 0.98219 | -0.34152 | 0.72905
60 | 0.19261 | 0.049224 | -0.19194 | -0.048798 | 0.00066796 | 0.00042636 | 0.28694 | 0.28694 | 0.28694 | 1 | 0 | 0.99621 | -0.071976 | 39.4151

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30984 | 0.078936

## res_load
| p_mw | q_mvar
0 | 0.0019317 | 0.00048412
1 | 0.026892 | 0.0067398
2 | 0.021497 | 0.0053877
3 | 0.0062646 | 0.0015701
4 | 0.0062975 | 0.0015783
5 | 0.02717 | 0.0068094
6 | 0.0027521 | 0.00068975
7 | 0.022822 | 0.0057197
8 | 0.022909 | 0.0057415
9 | 0.02142 | 0.0053685
10 | 0.0027779 | 0.00069622
11 | 0.0027625 | 0.00069234
12 | 0.022994 | 0.0057629
13 | 0.017079 | 0.0042805
14 | 0.0027588 | 0.00069143
15 | 0.0064545 | 0.0016176
16 | 0.0029705 | 0.00074448
17 | 0.002785 | 0.00069799
18 | 0.0077358 | 0.0019388
19 | 0.0026151 | 0.00065541
20 | 0.0039992 | 0.0010023
21 | 0.0097187 | 0.0024357
22 | 0.0032385 | 0.00081164
23 | 0.0032079 | 0.00080397
24 | 0.0091322 | 0.0022887
25 | 0.0029704 | 0.00074444
26 | 0.0030078 | 0.00075382
27 | 0.002949 | 0.0007391
28 | 0.0025261 | 0.0006331
29 | 0.0030152 | 0.00075569
30 | 0.0025579 | 0.00064107
31 | 0.0067437 | 0.0016901
32 | 0.0022388 | 0.0005611
33 | 0.0017891 | 0.00044838
34 | 0.0026323 | 0.00065973
35 | 0.0025021 | 0.00062709
36 | 0.0032404 | 0.00081212
37 | 0.0017393 | 0.00043591
38 | 0.0017517 | 0.00043901
39 | 0.0022827 | 0.00057211
40 | 0.0016564 | 0.00041512

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1