## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-207_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-207_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_230-207_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-207_0_4_node_62 | 0.4 | n |  | TRUE
4 | bus_LV_230-207_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-207_0_4_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_230-207_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_230-207_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_230-207_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_230-207_0_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_230-207_0_4_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_230-207_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_230-207_0_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_230-207_0_4_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_230-207_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_230-207_0_4_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_230-207_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_230-207_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_230-207_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_230-207_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_230-207_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_230-207_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_230-207_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_230-207_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_230-207_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_230-207_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_230-207_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_230-207_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_230-207_0_4_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_230-207_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_230-207_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_230-207_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_230-207_0_4_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_230-207_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_230-207_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_230-207_0_4_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_230-207_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_230-207_0_4_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_230-207_0_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_230-207_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_230-207_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_230-207_0_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_230-207_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_230-207_0_4_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_230-207_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_230-207_0_4_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_230-207_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_230-207_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_230-207_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_230-207_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_230-207_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_230-207_0_4_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_230-207_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_230-207_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_230-207_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_230-207_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_230-207_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_230-207_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_230-207_0_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_230-207_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_230-207_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_230-207_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_230-207_0_4_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_230-207_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_230-207_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_230-207_0_4_node_30 | 0.4 | n |  | TRUE
66 | bus_LV_230-207_0_4_node_31 | 0.4 | n |  | TRUE
67 | bus_LV_230-207_0_4_node_32 | 0.4 | n |  | TRUE
68 | bus_LV_230-207_0_4_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_230-207_0_4_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_230-207_0_4_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_230-207_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_230-207_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_MV_511_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-207_0_4_load_0 | 0 | 0.0040231 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-207_0_4_load_62 | 3 | 0.0086188 | 0.0021601 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-207_0_4_load_76 | 5 | 0.019649 | 0.0049245 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-207_0_4_load_51 | 9 | 0.010628 | 0.0026636 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-207_0_4_load_50 | 10 | 0.013087 | 0.00328 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-207_0_4_load_67 | 13 | 0.014541 | 0.0036443 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-207_0_4_load_75 | 15 | 0.014837 | 0.0037185 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-207_0_4_load_37 | 19 | 0.010563 | 0.0026474 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-207_0_4_load_49 | 22 | 0.010479 | 0.0026264 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-207_0_4_load_28 | 27 | 0.003158 | 0.00079146 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-207_0_4_load_71 | 28 | 0.0089668 | 0.0022473 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-207_0_4_load_47 | 29 | 0.037401 | 0.0093736 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-207_0_4_load_25 | 30 | 0.0095293 | 0.0023883 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-207_0_4_load_65 | 32 | 0.0043746 | 0.0010964 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-207_0_4_load_55 | 34 | 0.0040978 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-207_0_4_load_78 | 35 | 0.010712 | 0.0026848 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-207_0_4_load_77 | 37 | 0.011429 | 0.0028644 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-207_0_4_load_57 | 40 | 0.0096766 | 0.0024252 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-207_0_4_load_66 | 41 | 0.010639 | 0.0026663 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-207_0_4_load_58 | 43 | 0.0066899 | 0.0016766 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-207_0_4_load_56 | 44 | 0.0091113 | 0.0022835 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-207_0_4_load_63 | 45 | 0.0065049 | 0.0016303 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-207_0_4_load_27 | 48 | 0.013862 | 0.0034741 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-207_0_4_load_36 | 49 | 0.0053425 | 0.001339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-207_0_4_load_48 | 50 | 0.0063355 | 0.0015878 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-207_0_4_load_61 | 51 | 0.015101 | 0.0037846 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-207_0_4_load_59 | 52 | 0.0050701 | 0.0012707 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-207_0_4_load_60 | 53 | 0.024221 | 0.0060703 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-207_0_4_load_53 | 54 | 0.0041761 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-207_0_4_load_73 | 58 | 0.0038667 | 0.0009691 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-207_0_4_load_46 | 59 | 0.0028631 | 0.00071755 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-207_0_4_load_74 | 62 | 0.004145 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-207_0_4_load_52 | 63 | 0.010492 | 0.0026296 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-207_0_4_load_70 | 64 | 0.01451 | 0.0036365 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-207_0_4_load_30 | 65 | 0.0051431 | 0.001289 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-207_0_4_load_31 | 66 | 0.014112 | 0.0035368 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-207_0_4_load_32 | 67 | 0.017368 | 0.0043529 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-207_0_4_load_34 | 69 | 0.072025 | 0.018051 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-207_0_4_load_45 | 71 | 0.0015146 | 0.00037959 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-207_0_4_load_72 | 72 | 0.0038568 | 0.00096662 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-207_0_4_line_0 |  | 0 | 1 | 0.01618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-207_0_4_line_1 |  | 1 | 2 | 0.055125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-207_0_4_line_2 |  | 2 | 3 | 0.03091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-207_0_4_line_3 |  | 3 | 45 | 0.00038349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-207_0_4_line_4 |  | 4 | 5 | 0.013391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-207_0_4_line_5 |  | 4 | 6 | 0.02649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_230-207_0_4_line_6 |  | 4 | 7 | 0.028605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_230-207_0_4_line_7 |  | 6 | 29 | 0.02908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-207_0_4_line_8 |  | 6 | 23 | 0.039369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_230-207_0_4_line_9 |  | 7 | 31 | 0.004786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_230-207_0_4_line_10 |  | 7 | 32 | 0.037555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-207_0_4_line_11 |  | 8 | 9 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-207_0_4_line_12 |  | 8 | 10 | 0.030966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_230-207_0_4_line_13 |  | 9 | 41 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-207_0_4_line_14 |  | 10 | 23 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_230-207_0_4_line_15 |  | 11 | 12 | 0.02067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-207_0_4_line_16 |  | 11 | 13 | 0.015847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-207_0_4_line_17 |  | 12 | 28 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-207_0_4_line_18 |  | 12 | 46 | 0.021291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-207_0_4_line_19 |  | 13 | 38 | 0.018615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-207_0_4_line_20 |  | 14 | 15 | 0.008906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-207_0_4_line_21 |  | 14 | 16 | 0.073726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-207_0_4_line_22 |  | 16 | 28 | 0.017293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-207_0_4_line_23 |  | 17 | 18 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-207_0_4_line_24 |  | 17 | 19 | 0.010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-207_0_4_line_25 |  | 18 | 30 | 0.016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-207_0_4_line_26 |  | 18 | 20 | 0.018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-207_0_4_line_27 |  | 19 | 49 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-207_0_4_line_28 |  | 20 | 21 | 0.033749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-207_0_4_line_29 |  | 20 | 22 | 0.033519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-207_0_4_line_30 |  | 21 | 35 | 0.005364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-207_0_4_line_31 |  | 22 | 50 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-207_0_4_line_32 |  | 23 | 24 | 0.007388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-207_0_4_line_33 |  | 24 | 27 | 0.004893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-207_0_4_line_34 |  | 25 | 26 | 0.028664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-207_0_4_line_35 |  | 25 | 27 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-207_0_4_line_36 |  | 26 | 53 | 0.017042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-207_0_4_line_37 |  | 29 | 50 | 0.043819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-207_0_4_line_38 |  | 30 | 47 | 0.010512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-207_0_4_line_39 |  | 31 | 54 | 0.039141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_230-207_0_4_line_40 |  | 31 | 33 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-207_0_4_line_41 |  | 33 | 34 | 0.00702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-207_0_4_line_42 |  | 36 | 37 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-207_0_4_line_43 |  | 36 | 38 | 0.026158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-207_0_4_line_44 |  | 38 | 64 | 0.007917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-207_0_4_line_45 |  | 39 | 40 | 0.019808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-207_0_4_line_46 |  | 39 | 41 | 0.038598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-207_0_4_line_47 |  | 40 | 44 | 0.014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-207_0_4_line_48 |  | 42 | 43 | 0.033533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-207_0_4_line_49 |  | 42 | 44 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-207_0_4_line_50 |  | 43 | 46 | 0.026963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-207_0_4_line_51 |  | 45 | 46 | 0.029543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-207_0_4_line_52 |  | 47 | 48 | 0.0099832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-207_0_4_line_53 |  | 48 | 65 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-207_0_4_line_54 |  | 51 | 52 | 0.0031758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-207_0_4_line_55 |  | 52 | 53 | 0.0057884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-207_0_4_line_56 |  | 54 | 63 | 0.041631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_230-207_0_4_line_57 |  | 55 | 56 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-207_0_4_line_58 |  | 55 | 57 | 0.073493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-207_0_4_line_59 |  | 55 | 58 | 0.018251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-207_0_4_line_60 |  | 56 | 59 | 0.0065866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-207_0_4_line_61 |  | 57 | 61 | 0.00532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-207_0_4_line_62 |  | 57 | 63 | 0.01605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-207_0_4_line_63 |  | 58 | 72 | 0.010003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-207_0_4_line_64 |  | 60 | 61 | 0.05122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-207_0_4_line_65 |  | 60 | 62 | 0.015266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-207_0_4_line_66 |  | 62 | 70 | 0.0099693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-207_0_4_line_67 |  | 65 | 66 | 0.008014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-207_0_4_line_68 |  | 67 | 68 | 0.03432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-207_0_4_line_69 |  | 68 | 69 | 0.033966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-207_0_4_line_70 |  | 68 | 70 | 0.006492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-207_0_4_line_71 |  | 69 | 71 | 0.00054995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-207_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 73 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2699187.926 | 1262476.3044 | 2699193.681 | 1262483.1398 | 2699199.2863 | 1262478.5508
1 | 2699153.6693 | 1262448.5962 | 2699158.0427 | 1262453.8071 | 2699161.3343 | 1262451.1823 | 2699173.5107 | 1262466.4657 | 2699178.5537 | 1262477.1257 | 2699182.12 | 1262481.0331 | 2699186.9022 | 1262477.1435 | 2699187.926 | 1262476.3044
2 | 2699153.6693 | 1262448.5962 | 2699141.4403 | 1262458.4549 | 2699139.5225 | 1262465.8733 | 2699137.7845 | 1262473.2101
3 | 2699137.7845 | 1262473.2101 | 2699137.6961 | 1262473.5833
4 | 2698929.9435 | 1262558.5627 | 2698933.3446 | 1262550.2906 | 2698934.0564 | 1262548.2786 | 2698934.8463 | 1262546.1012
5 | 2698934.8463 | 1262546.1012 | 2698950.9286 | 1262552.2419 | 2698952.5322 | 1262553.6699 | 2698956.7419 | 1262557.4101 | 2698957.9708 | 1262558.2647
6 | 2698917.628 | 1262539.4077 | 2698920.6422 | 1262531.7407 | 2698923.8276 | 1262534.5519 | 2698930.1591 | 1262541.6302 | 2698933.4986 | 1262545.5893 | 2698934.8463 | 1262546.1012
7 | 2698957.9708 | 1262558.2647 | 2698962.7972 | 1262561.6259 | 2698982.0299 | 1262574.5981
8 | 2698957.9708 | 1262558.2647 | 2698961.4983 | 1262551.8962 | 2698983.7045 | 1262566.7022 | 2698988.9759 | 1262565.5339
9 | 2698917.628 | 1262539.4077 | 2698913.5641 | 1262536.8599
10 | 2698917.628 | 1262539.4077 | 2698904.9705 | 1262571.756 | 2698903.9331 | 1262574.3765
11 | 2699018.6603 | 1262587.7601 | 2699022.9494 | 1262576.4114
12 | 2699018.6603 | 1262587.7601 | 2699018.7825 | 1262584.515 | 2699017.0274 | 1262579.0812 | 2699000.2446 | 1262564.8441
13 | 2699025.5464 | 1262559.8501 | 2699024.7302 | 1262564.5648 | 2699022.9494 | 1262576.4114 | 2699022.9494 | 1262576.4114
14 | 2698988.9759 | 1262565.5339 | 2698996.0095 | 1262563.9725 | 2699000.2446 | 1262564.8441
15 | 2699126.4076 | 1262523.1672 | 2699130.0356 | 1262508.5716 | 2699135.5306 | 1262509.798
16 | 2699126.4076 | 1262523.1672 | 2699120.0278 | 1262527.5194 | 2699118.1611 | 1262535.4261
17 | 2699135.5306 | 1262509.798 | 2699149.1937 | 1262512.857
18 | 2699122.0788 | 1262495.0827 | 2699130.0356 | 1262508.5716 | 2699135.5306 | 1262509.798
19 | 2699113.9099 | 1262553.5494 | 2699117.0754 | 1262540.0247 | 2699118.1611 | 1262535.4261
20 | 2699126.5627 | 1262575.4684 | 2699135.2942 | 1262577.3496
21 | 2699135.2942 | 1262577.3496 | 2699148.8271 | 1262543.6487 | 2699151.1504 | 1262535.4142 | 2699155.2234 | 1262536.5167 | 2699157.3463 | 1262537.0861 | 2699161.8883 | 1262522.8061 | 2699166.0682 | 1262516.6377
22 | 2699166.0682 | 1262516.6377 | 2699157.0076 | 1262514.6064 | 2699149.1937 | 1262512.857
23 | 2699041.0761 | 1262665.5771 | 2699046.1179 | 1262656.0759 | 2699044.0564 | 1262654.5401
24 | 2699041.0761 | 1262665.5771 | 2699038.5799 | 1262672.4521 | 2699037.7279 | 1262675.6612
25 | 2699044.0564 | 1262654.5401 | 2699030.5605 | 1262644.4753
26 | 2699044.0564 | 1262654.5401 | 2699049.3703 | 1262646.7894 | 2699051.2172 | 1262643.1396 | 2699051.4287 | 1262639.062 | 2699050.7666 | 1262638.1057
27 | 2699037.7279 | 1262675.6612 | 2699031.9885 | 1262697.2795
28 | 2699050.7666 | 1262638.1057 | 2699054.5401 | 1262634.1434 | 2699059.2186 | 1262629.2399 | 2699049.4854 | 1262618.7906 | 2699051.1628 | 1262611.7684
29 | 2699050.7666 | 1262638.1057 | 2699050.2073 | 1262637.3068 | 2699046.7721 | 1262636.3707 | 2699027.8032 | 1262614.4564
30 | 2699052.4106 | 1262606.5517 | 2699051.1628 | 1262611.7684
31 | 2699015.9552 | 1262602.2075 | 2699025.8017 | 1262612.1441 | 2699027.8032 | 1262614.4564
32 | 2698983.0755 | 1262561.0648 | 2698988.9759 | 1262565.5339
33 | 2698983.0755 | 1262561.0648 | 2698982.5654 | 1262556.1985
34 | 2698997.4681 | 1262526.3771 | 2698973.4981 | 1262542.2001
35 | 2698973.4981 | 1262542.2001 | 2698982.0035 | 1262550.8384 | 2698982.5654 | 1262556.1985
36 | 2698997.4681 | 1262526.3771 | 2698996.7285 | 1262509.3508
37 | 2698982.0299 | 1262574.5981 | 2698982.4597 | 1262574.8881 | 2698996.436 | 1262584.8412 | 2699011.6716 | 1262597.8847 | 2699015.9552 | 1262602.2075
38 | 2699022.6456 | 1262643.5615 | 2699025.3552 | 1262640.5933 | 2699030.5605 | 1262644.4753
39 | 2698913.5641 | 1262536.8599 | 2698898.9779 | 1262573.182
40 | 2698903.824 | 1262530.8476 | 2698913.5641 | 1262536.8599
41 | 2698903.824 | 1262530.8476 | 2698897.8495 | 1262527.1617
42 | 2699088.4094 | 1262547.3949 | 2699089.421 | 1262544.1314 | 2699091.3893 | 1262535.9465
43 | 2699113.9099 | 1262553.5494 | 2699088.4094 | 1262547.3949
44 | 2699113.9099 | 1262553.5494 | 2699121.6406 | 1262555.3582
45 | 2699052.1135 | 1262536.1555 | 2699056.3021 | 1262516.7958
46 | 2699052.1135 | 1262536.1555 | 2699028.6235 | 1262548.0609 | 2699026.8992 | 1262552.0353 | 2699025.5464 | 1262559.8501
47 | 2699059.468 | 1262502.1627 | 2699056.3021 | 1262516.7958
48 | 2699063.2461 | 1262484.6997 | 2699081.2242 | 1262489.6716 | 2699096.0496 | 1262488.3914
49 | 2699063.2461 | 1262484.6997 | 2699059.468 | 1262502.1627
50 | 2699122.0788 | 1262495.0827 | 2699097.5084 | 1262488.2654 | 2699096.0496 | 1262488.3914
51 | 2699122.0788 | 1262495.0827 | 2699124.1142 | 1262494.1271 | 2699129.0977 | 1262491.7087 | 2699134.0628 | 1262489.49 | 2699134.8769 | 1262485.8785 | 2699136.7492 | 1262477.5808 | 2699137.6961 | 1262473.5833
52 | 2699022.6456 | 1262643.5615 | 2699015.6485 | 1262636.4408
53 | 2699015.6485 | 1262636.4408 | 2699006.9692 | 1262627.6082 | 2698998.0112 | 1262626.2016 | 2698993.4719 | 1262630.8788
54 | 2698997.9356 | 1262503.6896 | 2698998.5979 | 1262500.5837
55 | 2698997.9356 | 1262503.6896 | 2698996.7285 | 1262509.3508 | 2698996.7285 | 1262509.3508
56 | 2698883.4639 | 1262611.8147 | 2698898.9779 | 1262573.182
57 | 2698841.9511 | 1262702.7101 | 2698845.225 | 1262699.3287 | 2698849.187 | 1262694.4465
58 | 2698849.187 | 1262694.4465 | 2698851.6767 | 1262690.6516 | 2698868.512 | 1262649.0544 | 2698877.483 | 1262626.7082
59 | 2698849.187 | 1262694.4465 | 2698846.1952 | 1262693.5736 | 2698836.2806 | 1262682.1394
60 | 2698841.9511 | 1262702.7101 | 2698837.5856 | 1262697.7779
61 | 2698882.4932 | 1262628.5379 | 2698877.483 | 1262626.7082
62 | 2698877.483 | 1262626.7082 | 2698883.4639 | 1262611.8147
63 | 2698829.7276 | 1262674.5822 | 2698836.2806 | 1262682.1394
64 | 2698882.4932 | 1262628.5379 | 2698873.5875 | 1262651.0298 | 2698877.1963 | 1262652.4023 | 2698886.0388 | 1262630.9881
65 | 2698886.0388 | 1262630.9881 | 2698899.3585 | 1262638.4479
66 | 2698907.8903 | 1262643.5638 | 2698906.5672 | 1262642.4852 | 2698899.3585 | 1262638.4479
67 | 2698987.8906 | 1262636.6297 | 2698993.4719 | 1262630.8788
68 | 2698912.9224 | 1262647.6846 | 2698925.4008 | 1262615.7133
69 | 2698912.9224 | 1262647.6846 | 2698919.9689 | 1262653.4517 | 2698931.1508 | 1262660.1887 | 2698939.7776 | 1262668.2489
70 | 2698907.8903 | 1262643.5638 | 2698912.9224 | 1262647.6846
71 | 2698940.1794 | 1262668.6244 | 2698939.7776 | 1262668.2489

## bus_geodata
| x | y | coords
0 | 2699199.2863 | 1262478.5508
1 | 2699187.926 | 1262476.3044
2 | 2699153.6693 | 1262448.5962
3 | 2699137.7845 | 1262473.2101
4 | 2698934.8463 | 1262546.1012
5 | 2698929.9435 | 1262558.5627
6 | 2698957.9708 | 1262558.2647
7 | 2698917.628 | 1262539.4077
8 | 2699018.6603 | 1262587.7601
9 | 2699022.9494 | 1262576.4114
10 | 2699000.2446 | 1262564.8441
11 | 2699126.4076 | 1262523.1672
12 | 2699135.5306 | 1262509.798
13 | 2699118.1611 | 1262535.4261
14 | 2699135.2942 | 1262577.3496
15 | 2699126.5627 | 1262575.4684
16 | 2699166.0682 | 1262516.6377
17 | 2699041.0761 | 1262665.5771
18 | 2699044.0564 | 1262654.5401
19 | 2699037.7279 | 1262675.6612
20 | 2699050.7666 | 1262638.1057
21 | 2699051.1628 | 1262611.7684
22 | 2699027.8032 | 1262614.4564
23 | 2698988.9759 | 1262565.5339
24 | 2698983.0755 | 1262561.0648
25 | 2698973.4981 | 1262542.2001
26 | 2698997.4681 | 1262526.3771
27 | 2698982.5654 | 1262556.1985
28 | 2699149.1937 | 1262512.857
29 | 2698982.0299 | 1262574.5981
30 | 2699030.5605 | 1262644.4753
31 | 2698913.5641 | 1262536.8599
32 | 2698903.9331 | 1262574.3765
33 | 2698903.824 | 1262530.8476
34 | 2698897.8495 | 1262527.1617
35 | 2699052.4106 | 1262606.5517
36 | 2699088.4094 | 1262547.3949
37 | 2699091.3893 | 1262535.9465
38 | 2699113.9099 | 1262553.5494
39 | 2699052.1135 | 1262536.1555
40 | 2699056.3021 | 1262516.7958
41 | 2699025.5464 | 1262559.8501
42 | 2699063.2461 | 1262484.6997
43 | 2699096.0496 | 1262488.3914
44 | 2699059.468 | 1262502.1627
45 | 2699137.6961 | 1262473.5833
46 | 2699122.0788 | 1262495.0827
47 | 2699022.6456 | 1262643.5615
48 | 2699015.6485 | 1262636.4408
49 | 2699031.9885 | 1262697.2795
50 | 2699015.9552 | 1262602.2075
51 | 2698998.5979 | 1262500.5837
52 | 2698997.9356 | 1262503.6896
53 | 2698996.7285 | 1262509.3508
54 | 2698898.9779 | 1262573.182
55 | 2698849.187 | 1262694.4465
56 | 2698841.9511 | 1262702.7101
57 | 2698877.483 | 1262626.7082
58 | 2698836.2806 | 1262682.1394
59 | 2698837.5856 | 1262697.7779
60 | 2698886.0388 | 1262630.9881
61 | 2698882.4932 | 1262628.5379
62 | 2698899.3585 | 1262638.4479
63 | 2698883.4639 | 1262611.8147
64 | 2699121.6406 | 1262555.3582
65 | 2698993.4719 | 1262630.8788
66 | 2698987.8906 | 1262636.6297
67 | 2698925.4008 | 1262615.7133
68 | 2698912.9224 | 1262647.6846
69 | 2698939.7776 | 1262668.2489
70 | 2698907.8903 | 1262643.5638
71 | 2698940.1794 | 1262668.6244
72 | 2698829.7276 | 1262674.5822
73 | 2699019.1948 | 1262595.4309

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98218 | -0.34243 | 0.0040231 | 0.0010083
1 | 0.98224 | -0.34125 | 0 | 0
2 | 0.98244 | -0.33724 | 0 | 0
3 | 0.98256 | -0.335 | 0.0086188 | 0.0021601
4 | 0.99118 | -0.16776 | 0 | 0
5 | 0.99094 | -0.17243 | 0.019649 | 0.0049245
6 | 0.99239 | -0.14453 | 0 | 0
7 | 0.99004 | -0.18957 | 0 | 0
8 | 1 | 0 | -0.47132 | -0.12039
9 | 0.99854 | -0.02757 | 0.010628 | 0.0026636
10 | 0.99683 | -0.060024 | 0.013087 | 0.00328
11 | 0.98104 | -0.36456 | 0 | 0
12 | 0.98182 | -0.34942 | 0 | 0
13 | 0.98045 | -0.37618 | 0.014541 | 0.0036443
14 | 0.98026 | -0.37991 | 0 | 0
15 | 0.98014 | -0.38231 | 0.014837 | 0.0037185
16 | 0.98127 | -0.36009 | 0 | 0
17 | 0.98098 | -0.36569 | 0 | 0
18 | 0.98118 | -0.36185 | 0 | 0
19 | 0.98082 | -0.36876 | 0.010563 | 0.0026474
20 | 0.98219 | -0.34203 | 0 | 0
21 | 0.98186 | -0.34856 | 0 | 0
22 | 0.98434 | -0.30017 | 0.010479 | 0.0026264
23 | 0.9957 | -0.081585 | 0 | 0
24 | 0.99538 | -0.087763 | 0 | 0
25 | 0.99445 | -0.10555 | 0 | 0
26 | 0.99329 | -0.128 | 0 | 0
27 | 0.99516 | -0.091857 | 0.003158 | 0.00079146
28 | 0.98151 | -0.35545 | 0.0089668 | 0.0022473
29 | 0.98908 | -0.2083 | 0.037401 | 0.0093736
30 | 0.98051 | -0.37486 | 0.0095293 | 0.0023883
31 | 0.98985 | -0.1931 | 0 | 0
32 | 0.98989 | -0.19249 | 0.0043746 | 0.0010964
33 | 0.98981 | -0.19394 | 0 | 0
34 | 0.98978 | -0.19445 | 0.0040978 | 0.001027
35 | 0.9818 | -0.3496 | 0.010712 | 0.0026848
36 | 0.97973 | -0.39037 | 0 | 0
37 | 0.9796 | -0.39283 | 0.011429 | 0.0028644
38 | 0.98 | -0.38494 | 0 | 0
39 | 0.99281 | -0.13673 | 0 | 0
40 | 0.99082 | -0.17495 | 0.0096766 | 0.0024252
41 | 0.99669 | -0.062673 | 0.010639 | 0.0026663
42 | 0.98796 | -0.23008 | 0 | 0
43 | 0.98516 | -0.28421 | 0.0066899 | 0.0016766
44 | 0.98945 | -0.20137 | 0.0091113 | 0.0022835
45 | 0.98256 | -0.33491 | 0.0065049 | 0.0016303
46 | 0.98308 | -0.3247 | 0 | 0
47 | 0.98019 | -0.38118 | 0 | 0
48 | 0.97988 | -0.38718 | 0.013862 | 0.0034741
49 | 0.98071 | -0.37092 | 0.0053425 | 0.001339
50 | 0.98559 | -0.27574 | 0.0063355 | 0.0015878
51 | 0.99245 | -0.14429 | 0.015101 | 0.0037846
52 | 0.99249 | -0.14344 | 0.0050701 | 0.0012707
53 | 0.9926 | -0.14138 | 0.024221 | 0.0060703
54 | 0.98767 | -0.23508 | 0.0041761 | 0.0010466
55 | 0.98312 | -0.32289 | 0 | 0
56 | 0.98309 | -0.32345 | 0 | 0
57 | 0.98384 | -0.30886 | 0 | 0
58 | 0.98299 | -0.32543 | 0.0038667 | 0.0009691
59 | 0.98308 | -0.32379 | 0.0028631 | 0.00071755
60 | 0.97883 | -0.40613 | 0 | 0
61 | 0.98337 | -0.31797 | 0 | 0
62 | 0.97748 | -0.43257 | 0.004145 | 0.0010388
63 | 0.98542 | -0.27838 | 0.010492 | 0.0026296
64 | 0.9799 | -0.38703 | 0.01451 | 0.0036365
65 | 0.97938 | -0.39696 | 0.0051431 | 0.001289
66 | 0.97928 | -0.39901 | 0.014112 | 0.0035368
67 | 0.97554 | -0.47082 | 0.017368 | 0.0043529
68 | 0.97609 | -0.45991 | 0 | 0
69 | 0.97376 | -0.50571 | 0.072025 | 0.018051
70 | 0.97664 | -0.44912 | 0 | 0
71 | 0.97376 | -0.50573 | 0.0015146 | 0.00037959
72 | 0.98296 | -0.32612 | 0.0038568 | 0.00096662
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0040231 | -0.0010083 | 0.0040233 | 0.0010082 | 2.254e-07 | -6.0524e-08 | 0.0060951 | 0.006095 | 0.0060951 | 0.98218 | -0.34243 | 0.98224 | -0.34125 | 1.6745
1 | -0.0040233 | -0.0010082 | 0.0040241 | 0.001008 | 7.679e-07 | -2.0642e-07 | 0.006095 | 0.0060947 | 0.006095 | 0.98224 | -0.34125 | 0.98244 | -0.33724 | 1.6744
2 | -0.0040241 | -0.001008 | 0.0040245 | 0.0010079 | 4.3056e-07 | -1.1589e-07 | 0.0060947 | 0.0060946 | 0.0060947 | 0.98244 | -0.33724 | 0.98256 | -0.335 | 1.6744
3 | -0.012643 | -0.003168 | 0.012643 | 0.003168 | 5.2724e-08 | 2.8886e-08 | 0.019147 | 0.019147 | 0.019147 | 0.98256 | -0.335 | 0.98256 | -0.33491 | 5.2602
4 | 0.019653 | 0.0049271 | -0.019649 | -0.0049245 | 4.3716e-06 | 2.6253e-06 | 0.029505 | 0.029505 | 0.029505 | 0.99118 | -0.16776 | 0.99094 | -0.17243 | 8.1058
5 | -0.15011 | -0.038265 | 0.15027 | 0.038372 | 0.00016849 | 0.00010681 | 0.22558 | 0.22558 | 0.22558 | 0.99118 | -0.16776 | 0.99239 | -0.14453 | 20.6573
6 | 0.13045 | 0.033338 | -0.13032 | -0.033251 | 0.00013746 | 8.6871e-05 | 0.19607 | 0.19607 | 0.19607 | 0.99118 | -0.16776 | 0.99004 | -0.18957 | 17.9554
7 | 0.12449 | 0.031592 | -0.12411 | -0.031349 | 0.00038056 | 0.00024318 | 0.18681 | 0.18681 | 0.18681 | 0.99239 | -0.14453 | 0.98908 | -0.2083 | 51.3211
8 | -0.27477 | -0.069964 | 0.27561 | 0.070498 | 0.00083689 | 0.00053408 | 0.41239 | 0.41239 | 0.41239 | 0.99239 | -0.14453 | 0.9957 | -0.081585 | 37.7643
9 | 0.12594 | 0.032155 | -0.12592 | -0.032141 | 2.1483e-05 | 1.3564e-05 | 0.1895 | 0.1895 | 0.1895 | 0.99004 | -0.18957 | 0.98985 | -0.1931 | 17.3533
10 | 0.0043752 | 0.0010963 | -0.0043746 | -0.0010964 | 6.0898e-07 | -9.3106e-08 | 0.0065758 | 0.0065759 | 0.0065759 | 0.99004 | -0.18957 | 0.98989 | -0.19249 | 1.8066
11 | 0.13198 | 0.033775 | -0.13181 | -0.033662 | 0.00017592 | 0.00011243 | 0.19664 | 0.19664 | 0.19664 | 1 | 0 | 0.99854 | -0.02757 | 54.0215
12 | 0.33769 | 0.086619 | -0.33671 | -0.085993 | 0.00098008 | 0.00062604 | 0.50319 | 0.50319 | 0.50319 | 1 | 0 | 0.99683 | -0.060024 | 46.0801
13 | 0.12118 | 0.030998 | -0.12097 | -0.030867 | 0.00020551 | 0.00013131 | 0.1808 | 0.1808 | 0.1808 | 0.99854 | -0.02757 | 0.99669 | -0.062673 | 49.6706
14 | 0.32362 | 0.082713 | -0.32329 | -0.082498 | 0.00033711 | 0.0002153 | 0.48366 | 0.48366 | 0.48366 | 0.99683 | -0.060024 | 0.9957 | -0.081585 | 44.2911
15 | -0.040519 | -0.010169 | 0.040548 | 0.010188 | 2.9282e-05 | 1.8479e-05 | 0.061463 | 0.061463 | 0.061463 | 0.98104 | -0.36456 | 0.98182 | -0.34942 | 16.8854
16 | 0.040519 | 0.010169 | -0.040496 | -0.010155 | 2.2449e-05 | 1.4167e-05 | 0.061463 | 0.061463 | 0.061463 | 0.98104 | -0.36456 | 0.98045 | -0.37618 | 16.8854
17 | 0.02383 | 0.0059809 | -0.023823 | -0.0059767 | 6.8496e-06 | 4.2067e-06 | 0.036119 | 0.036119 | 0.036119 | 0.98182 | -0.34942 | 0.98151 | -0.35545 | 9.9228
18 | -0.064378 | -0.016169 | 0.064454 | 0.016217 | 7.6026e-05 | 4.8387e-05 | 0.097581 | 0.097581 | 0.097581 | 0.98182 | -0.34942 | 0.98308 | -0.3247 | 26.8081
19 | 0.025955 | 0.0065107 | -0.025945 | -0.006504 | 1.0833e-05 | 6.6988e-06 | 0.039394 | 0.039394 | 0.039394 | 0.98045 | -0.37618 | 0.98 | -0.38494 | 10.8226
20 | 0.014839 | 0.0037195 | -0.014837 | -0.0037185 | 1.6945e-06 | 9.7224e-07 | 0.022525 | 0.022525 | 0.022525 | 0.98026 | -0.37991 | 0.98014 | -0.38231 | 6.1882
21 | -0.014839 | -0.0037195 | 0.014853 | 0.0037275 | 1.4027e-05 | 8.0472e-06 | 0.022525 | 0.022525 | 0.022525 | 0.98026 | -0.37991 | 0.98127 | -0.36009 | 6.1882
22 | -0.014853 | -0.0037275 | 0.014856 | 0.0037294 | 3.2902e-06 | 1.8872e-06 | 0.022525 | 0.022525 | 0.022525 | 0.98127 | -0.36009 | 0.98151 | -0.35545 | 6.1881
23 | -0.015909 | -0.0039878 | 0.015911 | 0.0039895 | 2.9102e-06 | 1.6942e-06 | 0.024131 | 0.024131 | 0.024131 | 0.98098 | -0.36569 | 0.98118 | -0.36185 | 6.6295
24 | 0.015909 | 0.0039878 | -0.015906 | -0.0039864 | 2.3223e-06 | 1.352e-06 | 0.024131 | 0.024131 | 0.024131 | 0.98098 | -0.36569 | 0.98082 | -0.36876 | 6.6295
25 | 0.042702 | 0.010723 | -0.042676 | -0.010706 | 2.6484e-05 | 1.6738e-05 | 0.064768 | 0.064769 | 0.064769 | 0.98118 | -0.36185 | 0.98051 | -0.37486 | 17.7935
26 | -0.058614 | -0.014713 | 0.058669 | 0.014748 | 5.5486e-05 | 3.5274e-05 | 0.0889 | 0.0889 | 0.0889 | 0.98118 | -0.36185 | 0.98219 | -0.34203 | 24.423
27 | 0.0053431 | 0.001339 | -0.0053425 | -0.001339 | 5.5114e-07 | 7.0464e-08 | 0.008106 | 0.0081061 | 0.0081061 | 0.98082 | -0.36876 | 0.98071 | -0.37092 | 2.2269
28 | 0.010716 | 0.0026868 | -0.010713 | -0.0026851 | 3.336e-06 | 1.7081e-06 | 0.016236 | 0.016236 | 0.016236 | 0.98219 | -0.34203 | 0.98186 | -0.34856 | 4.4604
29 | -0.069386 | -0.017435 | 0.069525 | 0.017523 | 0.00013894 | 8.8496e-05 | 0.10514 | 0.10514 | 0.10514 | 0.98219 | -0.34203 | 0.98434 | -0.30017 | 28.8833
30 | 0.010713 | 0.0026851 | -0.010712 | -0.0026848 | 5.3023e-07 | 2.7151e-07 | 0.016236 | 0.016236 | 0.016236 | 0.98186 | -0.34856 | 0.9818 | -0.3496 | 4.4604
31 | -0.080004 | -0.02015 | 0.080098 | 0.020209 | 9.3559e-05 | 5.9661e-05 | 0.12098 | 0.12098 | 0.12098 | 0.98434 | -0.30017 | 0.98559 | -0.27574 | 33.2353
32 | 0.04768 | 0.012 | -0.047666 | -0.011991 | 1.4074e-05 | 8.9113e-06 | 0.071274 | 0.071274 | 0.071274 | 0.9957 | -0.081585 | 0.99538 | -0.087763 | 19.5807
33 | 0.047666 | 0.011991 | -0.047657 | -0.011985 | 9.321e-06 | 5.9018e-06 | 0.071274 | 0.071274 | 0.071274 | 0.99538 | -0.087763 | 0.99516 | -0.091857 | 19.5807
34 | 0.04447 | 0.011175 | -0.044422 | -0.011145 | 4.7609e-05 | 3.0098e-05 | 0.066552 | 0.066552 | 0.066552 | 0.99445 | -0.10555 | 0.99329 | -0.128 | 18.2835
35 | -0.04447 | -0.011175 | 0.044499 | 0.011193 | 2.9087e-05 | 1.8388e-05 | 0.066552 | 0.066552 | 0.066552 | 0.99445 | -0.10555 | 0.99516 | -0.091857 | 18.2835
36 | 0.044422 | 0.011145 | -0.044394 | -0.011127 | 2.8306e-05 | 1.7896e-05 | 0.066552 | 0.066552 | 0.066552 | 0.99329 | -0.128 | 0.9926 | -0.14138 | 18.2835
37 | 0.086713 | 0.021976 | -0.086433 | -0.021797 | 0.00028002 | 0.00017865 | 0.13054 | 0.13054 | 0.13054 | 0.98908 | -0.2083 | 0.98559 | -0.27574 | 35.8631
38 | 0.033147 | 0.0083182 | -0.033137 | -0.008312 | 9.9767e-06 | 6.2525e-06 | 0.050307 | 0.050307 | 0.050307 | 0.98051 | -0.37486 | 0.98019 | -0.38118 | 13.8206
39 | 0.12182 | 0.031114 | -0.12157 | -0.030957 | 0.00024668 | 0.00015687 | 0.18334 | 0.18334 | 0.18334 | 0.98985 | -0.1931 | 0.98767 | -0.23508 | 25.1837
40 | 0.0040981 | 0.0010269 | -0.0040979 | -0.001027 | 1.6254e-07 | -4.2779e-08 | 0.0061604 | 0.0061605 | 0.0061605 | 0.98985 | -0.1931 | 0.98981 | -0.19394 | 1.6924
41 | 0.0040979 | 0.001027 | -0.0040978 | -0.001027 | 9.9908e-08 | -2.6287e-08 | 0.0061605 | 0.0061605 | 0.0061605 | 0.98981 | -0.19394 | 0.98978 | -0.19445 | 1.6924
42 | 0.01143 | 0.0028651 | -0.011429 | -0.0028644 | 1.3375e-06 | 7.07e-07 | 0.017361 | 0.017361 | 0.017361 | 0.97973 | -0.39037 | 0.9796 | -0.39283 | 4.7694
43 | -0.01143 | -0.0028651 | 0.011433 | 0.0028666 | 2.9564e-06 | 1.5626e-06 | 0.017361 | 0.017361 | 0.017361 | 0.97973 | -0.39037 | 0.98 | -0.38494 | 4.7694
44 | 0.014511 | 0.0036373 | -0.01451 | -0.0036365 | 1.4414e-06 | 8.2273e-07 | 0.022034 | 0.022034 | 0.022034 | 0.98 | -0.38494 | 0.9799 | -0.38703 | 6.0533
45 | 0.10994 | 0.027949 | -0.10974 | -0.02782 | 0.00020202 | 0.00012904 | 0.16492 | 0.16492 | 0.16492 | 0.99281 | -0.13673 | 0.99082 | -0.17495 | 45.3072
46 | -0.10994 | -0.027949 | 0.11033 | 0.028201 | 0.00039367 | 0.00025145 | 0.16492 | 0.16492 | 0.16492 | 0.99281 | -0.13673 | 0.99669 | -0.062673 | 45.3072
47 | 0.10006 | 0.025395 | -0.099935 | -0.025314 | 0.00012697 | 8.1071e-05 | 0.15039 | 0.15039 | 0.15039 | 0.99082 | -0.17495 | 0.98945 | -0.20137 | 41.3149
48 | 0.090698 | 0.022951 | -0.090463 | -0.022801 | 0.00023493 | 0.00014993 | 0.13668 | 0.13668 | 0.13668 | 0.98796 | -0.23008 | 0.98516 | -0.28421 | 37.5506
49 | -0.090698 | -0.022951 | 0.090823 | 0.023031 | 0.00012518 | 7.9883e-05 | 0.13668 | 0.13668 | 0.13668 | 0.98796 | -0.23008 | 0.98945 | -0.20137 | 37.5505
50 | 0.083773 | 0.021124 | -0.083611 | -0.021021 | 0.000162 | 0.00010334 | 0.12658 | 0.12658 | 0.12658 | 0.98516 | -0.28421 | 0.98308 | -0.3247 | 34.7746
51 | -0.019148 | -0.0047983 | 0.019158 | 0.0048039 | 9.316e-06 | 5.5879e-06 | 0.028998 | 0.028998 | 0.028998 | 0.98256 | -0.33491 | 0.98308 | -0.3247 | 7.9666
52 | 0.033137 | 0.008312 | -0.033127 | -0.008306 | 9.4745e-06 | 5.9379e-06 | 0.050307 | 0.050307 | 0.050307 | 0.98019 | -0.38118 | 0.97988 | -0.38718 | 13.8206
53 | 0.019265 | 0.004832 | -0.019256 | -0.0048266 | 8.9778e-06 | 5.3936e-06 | 0.029257 | 0.029257 | 0.029257 | 0.97988 | -0.38718 | 0.97938 | -0.39696 | 8.0377
54 | -0.015101 | -0.0037846 | 0.015101 | 0.003785 | 6.1049e-07 | 3.4968e-07 | 0.022641 | 0.022641 | 0.022641 | 0.99245 | -0.14429 | 0.99249 | -0.14344 | 6.2201
55 | -0.020172 | -0.0050557 | 0.020174 | 0.0050569 | 1.9853e-06 | 1.1958e-06 | 0.030243 | 0.030243 | 0.030243 | 0.99249 | -0.14344 | 0.9926 | -0.14138 | 8.3084
56 | 0.1174 | 0.029911 | -0.11715 | -0.029755 | 0.00024468 | 0.00015553 | 0.17705 | 0.17705 | 0.17705 | 0.98767 | -0.23508 | 0.98542 | -0.27838 | 24.3195
57 | 0.0028632 | 0.00071741 | -0.0028631 | -0.0007175 | 7.7426e-08 | -8.9852e-08 | 0.0043335 | 0.0043336 | 0.0043336 | 0.98312 | -0.32289 | 0.98309 | -0.32345 | 1.1905
58 | -0.010588 | -0.0026534 | 0.010595 | 0.002657 | 7.0775e-06 | 3.597e-06 | 0.016025 | 0.016025 | 0.016025 | 0.98312 | -0.32289 | 0.98384 | -0.30886 | 4.4026
59 | 0.0077246 | 0.001936 | -0.0077237 | -0.0019357 | 9.3556e-07 | 3.6737e-07 | 0.011692 | 0.011692 | 0.011692 | 0.98312 | -0.32289 | 0.98299 | -0.32543 | 3.212
60 | 0.0028631 | 0.0007175 | -0.0028631 | -0.00071755 | 4.6387e-08 | -5.3826e-08 | 0.0043336 | 0.0043336 | 0.0043336 | 0.98309 | -0.32345 | 0.98308 | -0.32379 | 1.1906
61 | 0.095909 | 0.024369 | -0.095867 | -0.024342 | 4.2048e-05 | 2.6843e-05 | 0.14518 | 0.14518 | 0.14518 | 0.98384 | -0.30886 | 0.98337 | -0.31797 | 39.884
62 | -0.1065 | -0.027026 | 0.10666 | 0.027126 | 0.0001564 | 9.9892e-05 | 0.1612 | 0.1612 | 0.1612 | 0.98384 | -0.30886 | 0.98542 | -0.27838 | 44.2865
63 | 0.003857 | 0.00096657 | -0.0038568 | -0.00096662 | 1.2787e-07 | -4.4963e-08 | 0.0058385 | 0.0058386 | 0.0058386 | 0.98299 | -0.32543 | 0.98296 | -0.32612 | 1.604
64 | -0.095462 | -0.024083 | 0.095867 | 0.024342 | 0.00040483 | 0.00025844 | 0.14518 | 0.14518 | 0.14518 | 0.97883 | -0.40613 | 0.98337 | -0.31797 | 39.8841
65 | 0.095462 | 0.024083 | -0.095342 | -0.024006 | 0.00012066 | 7.7032e-05 | 0.14518 | 0.14518 | 0.14518 | 0.97883 | -0.40613 | 0.97748 | -0.43257 | 39.8841
66 | 0.091197 | 0.022968 | -0.091125 | -0.022922 | 7.2095e-05 | 4.6016e-05 | 0.13887 | 0.13887 | 0.13887 | 0.97748 | -0.43257 | 0.97664 | -0.44912 | 38.1507
67 | 0.014113 | 0.0035376 | -0.014112 | -0.0035368 | 1.3818e-06 | 7.8354e-07 | 0.021443 | 0.021443 | 0.021443 | 0.97938 | -0.39696 | 0.97928 | -0.39901 | 5.891
68 | -0.017368 | -0.0043529 | 0.017377 | 0.0043582 | 9.0326e-06 | 5.3521e-06 | 0.026492 | 0.026492 | 0.026492 | 0.97554 | -0.47082 | 0.97609 | -0.45991 | 7.2781
69 | 0.073701 | 0.018533 | -0.07354 | -0.018431 | 0.00016085 | 0.00010252 | 0.11238 | 0.11238 | 0.11238 | 0.97609 | -0.45991 | 0.97376 | -0.50571 | 30.8727
70 | -0.091078 | -0.022892 | 0.091125 | 0.022922 | 4.6948e-05 | 2.9966e-05 | 0.13887 | 0.13887 | 0.13887 | 0.97609 | -0.45991 | 0.97664 | -0.44912 | 38.1507
71 | 0.0015146 | 0.00037958 | -0.0015146 | -0.00037959 | 1.1047e-09 | -6.1343e-09 | 0.0023144 | 0.0023144 | 0.0023144 | 0.97376 | -0.50571 | 0.97376 | -0.50573 | 0.63583

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47132 | 0.12039

## res_load
| p_mw | q_mvar
0 | 0.0040231 | 0.0010083
1 | 0.0086188 | 0.0021601
2 | 0.019649 | 0.0049245
3 | 0.010628 | 0.0026636
4 | 0.013087 | 0.00328
5 | 0.014541 | 0.0036443
6 | 0.014837 | 0.0037185
7 | 0.010563 | 0.0026474
8 | 0.010479 | 0.0026264
9 | 0.003158 | 0.00079146
10 | 0.0089668 | 0.0022473
11 | 0.037401 | 0.0093736
12 | 0.0095293 | 0.0023883
13 | 0.0043746 | 0.0010964
14 | 0.0040978 | 0.001027
15 | 0.010712 | 0.0026848
16 | 0.011429 | 0.0028644
17 | 0.0096766 | 0.0024252
18 | 0.010639 | 0.0026663
19 | 0.0066899 | 0.0016766
20 | 0.0091113 | 0.0022835
21 | 0.0065049 | 0.0016303
22 | 0.013862 | 0.0034741
23 | 0.0053425 | 0.001339
24 | 0.0063355 | 0.0015878
25 | 0.015101 | 0.0037846
26 | 0.0050701 | 0.0012707
27 | 0.024221 | 0.0060703
28 | 0.0041761 | 0.0010466
29 | 0.0038667 | 0.0009691
30 | 0.0028631 | 0.00071755
31 | 0.004145 | 0.0010388
32 | 0.010492 | 0.0026296
33 | 0.01451 | 0.0036365
34 | 0.0051431 | 0.001289
35 | 0.014112 | 0.0035368
36 | 0.017368 | 0.0043529
37 | 0.072025 | 0.018051
38 | 0.0015146 | 0.00037959
39 | 0.0038568 | 0.00096662

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1