## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-210_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-210_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-210_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-210_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-210_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-210_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_230-210_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_230-210_0_4_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_230-210_0_4_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_230-210_0_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_230-210_0_4_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_230-210_0_4_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_230-210_0_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_230-210_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_230-210_0_4_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_230-210_0_4_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_230-210_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_230-210_0_4_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_230-210_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_230-210_0_4_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_230-210_0_4_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_230-210_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_230-210_0_4_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_230-210_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_230-210_0_4_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_230-210_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_230-210_0_4_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_230-210_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_230-210_0_4_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_230-210_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_230-210_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_230-210_0_4_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_230-210_0_4_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_230-210_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_230-210_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_230-210_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_230-210_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_230-210_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_230-210_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_230-210_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_230-210_0_4_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_230-210_0_4_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_230-210_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_230-210_0_4_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_230-210_0_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_230-210_0_4_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_230-210_0_4_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_230-210_0_4_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_230-210_0_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_230-210_0_4_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_230-210_0_4_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_230-210_0_4_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_230-210_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_230-210_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_230-210_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_230-210_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_230-210_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_230-210_0_4_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_230-210_0_4_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_230-210_0_4_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_230-210_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_230-210_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_230-210_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_230-210_0_4_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_230-210_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_230-210_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_230-210_0_4_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_230-210_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_230-210_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_230-210_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_230-210_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_230-210_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_230-210_0_4_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_230-210_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_230-210_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_230-210_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_230-210_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_230-210_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_230-210_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_230-210_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_230-210_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_230-210_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_230-210_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_230-210_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_230-210_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_230-210_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_230-210_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_230-210_0_4_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_230-210_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_230-210_0_4_node_93 | 0.4 | n |  | TRUE
90 | bus_MV_511_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-210_0_4_load_0 | 0 | 0.012294 | 0.0030813 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-210_0_4_load_3 | 3 | 0.0016688 | 0.00041823 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-210_0_4_load_4 | 4 | 0.0052585 | 0.0013179 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-210_0_4_load_5 | 5 | 0.028634 | 0.0071764 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-210_0_4_load_6 | 6 | 0.0018608 | 0.00046637 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-210_0_4_load_75 | 7 | 0.00423 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-210_0_4_load_77 | 8 | 0.0014715 | 0.00036878 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-210_0_4_load_40 | 9 | 0.0018613 | 0.00046648 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-210_0_4_load_76 | 10 | 0.0029434 | 0.00073768 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-210_0_4_load_78 | 11 | 0.0007111 | 0.00017822 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-210_0_4_load_57 | 15 | 0.00043209 | 0.00010829 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-210_0_4_load_90 | 17 | 0.0020576 | 0.00051568 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-210_0_4_load_88 | 19 | 0.0031097 | 0.00077937 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-210_0_4_load_94 | 20 | 0.0042296 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-210_0_4_load_97 | 22 | 0.0016326 | 0.00040917 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-210_0_4_load_83 | 24 | 0.01113 | 0.0027894 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-210_0_4_load_82 | 26 | 0.011232 | 0.002815 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-210_0_4_load_98 | 28 | 0.0058673 | 0.0014705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-210_0_4_load_79 | 31 | 0.004582 | 0.0011484 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-210_0_4_load_67 | 32 | 0.00080367 | 0.00020142 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-210_0_4_load_41 | 34 | 0.00061452 | 0.00015401 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-210_0_4_load_34 | 36 | 0.01205 | 0.0030201 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-210_0_4_load_23 | 37 | 0.0022266 | 0.00055804 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-210_0_4_load_38 | 38 | 0.015677 | 0.0039289 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-210_0_4_load_54 | 39 | 0.0041641 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-210_0_4_load_86 | 41 | 0.0040101 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-210_0_4_load_85 | 43 | 0.0013828 | 0.00034656 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-210_0_4_load_63 | 44 | 0.00091045 | 0.00022818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-210_0_4_load_84 | 45 | 0.011246 | 0.0028186 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-210_0_4_load_95 | 46 | 0.0024848 | 0.00062276 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-210_0_4_load_66 | 48 | 0.040148 | 0.010062 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-210_0_4_load_21 | 49 | 0.016307 | 0.004087 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-210_0_4_load_22 | 50 | 0.028363 | 0.0071085 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-210_0_4_load_24 | 51 | 0.0017142 | 0.00042962 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-210_0_4_load_26 | 52 | 0.0022724 | 0.00056951 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-210_0_4_load_32 | 53 | 0.0030624 | 0.0007675 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-210_0_4_load_56 | 54 | 0.0042952 | 0.0010765 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-210_0_4_load_27 | 56 | 0.0026348 | 0.00066035 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-210_0_4_load_28 | 57 | 0.0018613 | 0.00046648 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-210_0_4_load_30 | 58 | 0.0018613 | 0.00046648 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-210_0_4_load_31 | 59 | 0.0062369 | 0.0015631 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-210_0_4_load_33 | 60 | 0.0018595 | 0.00046604 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-210_0_4_load_35 | 61 | 0.0062512 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-210_0_4_load_68 | 62 | 0.0027463 | 0.00068828 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-210_0_4_load_36 | 63 | 0.0037767 | 0.00094654 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-210_0_4_load_69 | 64 | 0.0070688 | 0.0017716 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-210_0_4_load_55 | 65 | 0.015987 | 0.0040068 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-210_0_4_load_37 | 66 | 0.0033739 | 0.00084558 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-210_0_4_load_51 | 67 | 0.0033739 | 0.00084558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-210_0_4_load_49 | 68 | 0.012975 | 0.0032519 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-210_0_4_load_42 | 69 | 0.0010223 | 0.00025621 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-210_0_4_load_44 | 70 | 0.001023 | 0.00025639 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_230-210_0_4_load_53 | 71 | 0.00032708 | 8.1974e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_230-210_0_4_load_81 | 72 | 0.0063071 | 0.0015807 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_230-210_0_4_load_52 | 73 | 0.0033397 | 0.00083701 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_230-210_0_4_load_65 | 74 | 0.023171 | 0.0058072 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_230-210_0_4_load_50 | 75 | 0.0095689 | 0.0023982 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_230-210_0_4_load_58 | 76 | 0.011306 | 0.0028335 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_230-210_0_4_load_59 | 77 | 0.0057868 | 0.0014503 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_230-210_0_4_load_61 | 79 | 0.0063969 | 0.0016032 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_230-210_0_4_load_64 | 80 | 0.01305 | 0.0032707 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_230-210_0_4_load_70 | 81 | 0.00092598 | 0.00023207 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_230-210_0_4_load_71 | 82 | 0.0033377 | 0.00083651 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_230-210_0_4_load_72 | 83 | 0.0010537 | 0.00026409 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_230-210_0_4_load_73 | 84 | 0.0024283 | 0.00060859 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_230-210_0_4_load_80 | 85 | 0.001345 | 0.00033708 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_230-210_0_4_load_87 | 86 | 0.0043232 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_230-210_0_4_load_96 | 87 | 0.0012955 | 0.00032469 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_230-210_0_4_load_91 | 88 | 0.0005226 | 0.00013097 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_230-210_0_4_load_93 | 89 | 0.001006 | 0.00025213 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-210_0_4_line_0 |  | 0 | 1 | 0.029116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-210_0_4_line_1 |  | 0 | 2 | 0.0070979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-210_0_4_line_2 |  | 1 | 3 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-210_0_4_line_3 |  | 1 | 4 | 0.0066282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-210_0_4_line_4 |  | 2 | 5 | 0.022979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-210_0_4_line_5 |  | 2 | 6 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-210_0_4_line_6 |  | 3 | 7 | 0.0025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-210_0_4_line_7 |  | 4 | 8 | 0.017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-210_0_4_line_8 |  | 6 | 9 | 0.005344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-210_0_4_line_9 |  | 7 | 10 | 0.058145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-210_0_4_line_10 |  | 8 | 11 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-210_0_4_line_11 |  | 9 | 12 | 0.0031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-210_0_4_line_12 |  | 11 | 85 | 0.00016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-210_0_4_line_13 |  | 12 | 38 | 0.027134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-210_0_4_line_14 |  | 12 | 58 | 0.0033989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-210_0_4_line_15 |  | 13 | 14 | 0.007492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-210_0_4_line_16 |  | 13 | 15 | 0.050846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-210_0_4_line_17 |  | 14 | 39 | 0.02855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-210_0_4_line_18 |  | 14 | 33 | 0.02514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-210_0_4_line_19 |  | 16 | 17 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-210_0_4_line_20 |  | 16 | 18 | 0.048863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-210_0_4_line_21 |  | 16 | 19 | 0.018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-210_0_4_line_22 |  | 17 | 21 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-210_0_4_line_23 |  | 18 | 20 | 0.014135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-210_0_4_line_24 |  | 19 | 40 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-210_0_4_line_25 |  | 20 | 46 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-210_0_4_line_26 |  | 21 | 22 | 0.031948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-210_0_4_line_27 |  | 22 | 47 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-210_0_4_line_28 |  | 23 | 24 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-210_0_4_line_29 |  | 23 | 25 | 0.043304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-210_0_4_line_30 |  | 23 | 26 | 0.074365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-210_0_4_line_31 |  | 24 | 45 | 0.042956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-210_0_4_line_32 |  | 25 | 48 | 0.040576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-210_0_4_line_33 |  | 27 | 28 | 0.059104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-210_0_4_line_34 |  | 27 | 29 | 0.13271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-210_0_4_line_35 |  | 29 | 30 | 0.070616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-210_0_4_line_36 |  | 29 | 31 | 0.008467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-210_0_4_line_37 |  | 30 | 32 | 0.037902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-210_0_4_line_38 |  | 32 | 74 | 0.073093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-210_0_4_line_39 |  | 33 | 34 | 0.053856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-210_0_4_line_40 |  | 34 | 69 | 0.023044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-210_0_4_line_41 |  | 35 | 36 | 0.055311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-210_0_4_line_42 |  | 35 | 37 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-210_0_4_line_43 |  | 36 | 54 | 0.0073607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-210_0_4_line_44 |  | 37 | 49 | 0.0093855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-210_0_4_line_45 |  | 39 | 71 | 0.036099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-210_0_4_line_46 |  | 40 | 88 | 0.0028137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-210_0_4_line_47 |  | 41 | 42 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-210_0_4_line_48 |  | 42 | 86 | 0.010018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-210_0_4_line_49 |  | 42 | 83 | 0.025097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-210_0_4_line_50 |  | 43 | 44 | 0.024327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-210_0_4_line_51 |  | 43 | 45 | 0.021994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-210_0_4_line_52 |  | 44 | 78 | 0.032126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-210_0_4_line_53 |  | 47 | 87 | 0.015012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-210_0_4_line_54 |  | 48 | 74 | 0.0063974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-210_0_4_line_55 |  | 49 | 50 | 0.0035118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-210_0_4_line_56 |  | 50 | 51 | 0.0083834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-210_0_4_line_57 |  | 51 | 52 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-210_0_4_line_58 |  | 52 | 53 | 0.0030924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-210_0_4_line_59 |  | 53 | 55 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-210_0_4_line_60 |  | 54 | 65 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-210_0_4_line_61 |  | 55 | 59 | 0.027273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-210_0_4_line_62 |  | 55 | 60 | 0.0098284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_230-210_0_4_line_63 |  | 55 | 56 | 0.011346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-210_0_4_line_64 |  | 56 | 57 | 0.0009283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-210_0_4_line_65 |  | 57 | 58 | 0.0053531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-210_0_4_line_66 |  | 59 | 61 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-210_0_4_line_67 |  | 60 | 62 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_230-210_0_4_line_68 |  | 61 | 63 | 0.025065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-210_0_4_line_69 |  | 62 | 64 | 0.014296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_230-210_0_4_line_70 |  | 63 | 66 | 0.0023688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-210_0_4_line_71 |  | 64 | 79 | 0.0096268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_230-210_0_4_line_72 |  | 65 | 70 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-210_0_4_line_73 |  | 66 | 67 | 0.0020456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_230-210_0_4_line_74 |  | 67 | 68 | 0.00059843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_230-210_0_4_line_75 |  | 68 | 75 | 0.00093357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_230-210_0_4_line_76 |  | 69 | 70 | 0.0098207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-210_0_4_line_77 |  | 72 | 73 | 0.050898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-210_0_4_line_78 |  | 73 | 75 | 0.0005142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_230-210_0_4_line_79 |  | 76 | 77 | 0.019903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_230-210_0_4_line_80 |  | 76 | 78 | 0.00069701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_230-210_0_4_line_81 |  | 77 | 79 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_230-210_0_4_line_82 |  | 78 | 80 | 0.065971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_230-210_0_4_line_83 |  | 81 | 82 | 0.00071881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_230-210_0_4_line_84 |  | 81 | 83 | 0.0028472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_230-210_0_4_line_85 |  | 82 | 84 | 0.0077897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_230-210_0_4_line_86 |  | 84 | 85 | 0.0092229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_230-210_0_4_line_87 |  | 86 | 87 | 0.033021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_230-210_0_4_line_88 |  | 88 | 89 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-210_0_4_trafo_68 | 0.63 MVA 20/0.4 kV | 90 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2700386.4033 | 1262493.4587 | 2700387.9954 | 1262505.3066 | 2700393.283 | 1262521.6332
1 | 2700395.4699 | 1262528.3858 | 2700393.283 | 1262521.6332
2 | 2700386.4033 | 1262493.4587 | 2700393.3398 | 1262475.0243
3 | 2700386.4033 | 1262493.4587 | 2700383.3736 | 1262487.5634
4 | 2700395.4699 | 1262528.3858 | 2700404.9317 | 1262537.832 | 2700413.2236 | 1262542.6871
5 | 2700395.4699 | 1262528.3858 | 2700392.3246 | 1262531.6796 | 2700388.7484 | 1262539.0472 | 2700387.1466 | 1262542.4122
6 | 2700394.2309 | 1262472.6563 | 2700393.3398 | 1262475.0243
7 | 2700383.3736 | 1262487.5634 | 2700377.2712 | 1262475.689 | 2700375.4426 | 1262472.3956
8 | 2700387.1466 | 1262542.4122 | 2700384.8498 | 1262547.2374
9 | 2700394.2309 | 1262472.6563 | 2700399.9369 | 1262457.492 | 2700406.1909 | 1262438.8717 | 2700413.2972 | 1262417.7338
10 | 2700375.4426 | 1262472.3956 | 2700365.2347 | 1262454.0097
11 | 2700383.5132 | 1262550.0452 | 2700384.8498 | 1262547.2374
12 | 2700365.2347 | 1262454.0097 | 2700365.1547 | 1262453.8657
13 | 2700383.5132 | 1262550.0452 | 2700408.8779 | 1262559.683
14 | 2700383.5132 | 1262550.0452 | 2700381.7405 | 1262552.9451
15 | 2700395.1221 | 1262766.2096 | 2700402.4968 | 1262767.6471
16 | 2700402.4968 | 1262767.6471 | 2700415.9146 | 1262718.6036
17 | 2700395.1221 | 1262766.2096 | 2700394.7984 | 1262769.2956 | 2700389.8815 | 1262794.2633
18 | 2700395.1221 | 1262766.2096 | 2700370.3773 | 1262761.3746
19 | 2700273.3704 | 1262375.2773 | 2700290.4727 | 1262375.6788
20 | 2700273.3704 | 1262375.2773 | 2700273.566 | 1262370.4099 | 2700305.7329 | 1262371.3561 | 2700306.0396 | 1262366.6018 | 2700306.4981 | 1262359.5705
21 | 2700273.3704 | 1262375.2773 | 2700272.6315 | 1262394.0261
22 | 2700305.8267 | 1262376.0393 | 2700290.4727 | 1262375.6788
23 | 2700306.4981 | 1262359.5705 | 2700292.4512 | 1262357.9979
24 | 2700271.8887 | 1262412.8721 | 2700272.6315 | 1262394.0261
25 | 2700292.4512 | 1262357.9979 | 2700286.2441 | 1262357.303 | 2700268.1256 | 1262355.4843
26 | 2700305.8267 | 1262376.0393 | 2700304.6632 | 1262407.9661
27 | 2700304.1204 | 1262422.8601 | 2700304.6632 | 1262407.9661
28 | 2700191.9835 | 1262565.911 | 2700193.0525 | 1262556.6326 | 2700195.4983 | 1262553.877
29 | 2700191.9835 | 1262565.911 | 2700203.4909 | 1262560.9352 | 2700211.6591 | 1262556.4699 | 2700229.8091 | 1262545.0235
30 | 2700191.9835 | 1262565.911 | 2700209.151 | 1262584.8508 | 2700207.6435 | 1262586.2153 | 2700209.5613 | 1262588.2049 | 2700203.3589 | 1262593.1595 | 2700194.5793 | 1262594.5786 | 2700197.1508 | 1262608.2334 | 2700191.0522 | 1262616.8484 | 2700188.8963 | 1262618.5138
31 | 2700195.4983 | 1262553.877 | 2700203.515 | 1262544.8445 | 2700216.7143 | 1262519.1914 | 2700217.5914 | 1262517.3611
32 | 2700229.8091 | 1262545.0235 | 2700232.9878 | 1262551.7496 | 2700236.0661 | 1262563.0666 | 2700237.0377 | 1262579.0852 | 2700237.0157 | 1262584.4456
33 | 2700144.2265 | 1262669.5433 | 2700135.8511 | 1262728.0498
34 | 2700135.8511 | 1262728.0498 | 2700153.9033 | 1262730.3351 | 2700194.3077 | 1262733.7111 | 2700194.9616 | 1262701.3621 | 2700192.1381 | 1262693.2409 | 2700197.8494 | 1262692.3592 | 2700205.6342 | 1262691.3902 | 2700211.4917 | 1262688.109 | 2700218.1617 | 1262681.7834 | 2700219.2951 | 1262678.4888
35 | 2700219.2951 | 1262678.4888 | 2700218.1617 | 1262681.7834 | 2700222.0771 | 1262686.3869 | 2700224.0628 | 1262691.9251 | 2700223.1622 | 1262696.6026 | 2700222.1934 | 1262702.1908 | 2700251.6166 | 1262703.0902 | 2700251.952 | 1262687.761
36 | 2700219.2951 | 1262678.4888 | 2700220.3497 | 1262675.393 | 2700223.7549 | 1262671.4676
37 | 2700251.952 | 1262687.761 | 2700252.1201 | 1262680.0686 | 2700250.2205 | 1262675.6772 | 2700251.2015 | 1262650.2729
38 | 2700236.9894 | 1262590.843 | 2700236.7778 | 1262642.3886 | 2700236.7705 | 1262649.4832 | 2700251.2015 | 1262650.2729
39 | 2700370.3773 | 1262761.3746 | 2700382.7268 | 1262708.9532
40 | 2700388.3874 | 1262686.6413 | 2700387.4845 | 1262688.8717 | 2700385.8869 | 1262695.539 | 2700382.7268 | 1262708.9532
41 | 2700438.1603 | 1262601.2818 | 2700415.7779 | 1262633.8732 | 2700408.0366 | 1262647.6172
42 | 2700438.1603 | 1262601.2818 | 2700422.7701 | 1262593.4718
43 | 2700408.0366 | 1262647.6172 | 2700404.4243 | 1262654.0306
44 | 2700414.4006 | 1262589.2246 | 2700422.7701 | 1262593.4718
45 | 2700405.3617 | 1262816.7468 | 2700389.5059 | 1262812.9529 | 2700386.9235 | 1262809.2839 | 2700389.8815 | 1262794.2633
46 | 2700271.8887 | 1262412.8721 | 2700271.7807 | 1262415.6837
47 | 2700342.98 | 1262413.934 | 2700343.5839 | 1262394.6196
48 | 2700342.98 | 1262413.934 | 2700338.7224 | 1262423.0019
49 | 2700342.98 | 1262413.934 | 2700346.4312 | 1262420.1422 | 2700355.1657 | 1262435.8741
50 | 2700227.0957 | 1262497.5272 | 2700248.9792 | 1262508.1534
51 | 2700227.0957 | 1262497.5272 | 2700217.5914 | 1262517.3611
52 | 2700277.8781 | 1262522.186 | 2700248.9792 | 1262508.1534
53 | 2700304.1204 | 1262422.8601 | 2700308.6 | 1262431.521 | 2700310.4704 | 1262433.1986 | 2700313.1623 | 1262433.7563
54 | 2700236.9894 | 1262590.843 | 2700237.0157 | 1262584.4456
55 | 2700414.4006 | 1262589.2246 | 2700411.269 | 1262587.6354
56 | 2700403.7931 | 1262583.8416 | 2700411.269 | 1262587.6354
57 | 2700389.8599 | 1262576.771 | 2700403.7931 | 1262583.8416
58 | 2700389.8599 | 1262576.771 | 2700387.1023 | 1262575.3716
59 | 2700372.5465 | 1262567.985 | 2700387.1023 | 1262575.3716
60 | 2700398.1419 | 1262665.1843 | 2700404.4243 | 1262654.0306
61 | 2700372.5465 | 1262567.985 | 2700359.6275 | 1262574.4378 | 2700359.1692 | 1262587.2612
62 | 2700372.5465 | 1262567.985 | 2700363.6991 | 1262563.7048
63 | 2700372.5465 | 1262567.985 | 2700378.4642 | 1262558.3045
64 | 2700378.9484 | 1262557.5125 | 2700378.4642 | 1262558.3045
65 | 2700381.7405 | 1262552.9451 | 2700378.9484 | 1262557.5125
66 | 2700359.1692 | 1262587.2612 | 2700358.6934 | 1262600.5752
67 | 2700334.1485 | 1262549.4087 | 2700363.6991 | 1262563.7048
68 | 2700358.6934 | 1262600.5752 | 2700357.8473 | 1262624.2487 | 2700357.7354 | 1262625.6205
69 | 2700334.1485 | 1262549.4087 | 2700321.2798 | 1262543.183
70 | 2700357.5429 | 1262627.9814 | 2700357.7354 | 1262625.6205
71 | 2700312.6138 | 1262538.9906 | 2700321.2798 | 1262543.183
72 | 2700398.1419 | 1262665.1843 | 2700394.3427 | 1262671.9296 | 2700392.0723 | 1262677.5381
73 | 2700357.5429 | 1262627.9814 | 2700357.3766 | 1262630.0203
74 | 2700357.328 | 1262630.6167 | 2700357.3766 | 1262630.0203
75 | 2700357.2521 | 1262631.5472 | 2700357.328 | 1262630.6167
76 | 2700388.3874 | 1262686.6413 | 2700392.0723 | 1262677.5381
77 | 2700357.2103 | 1262632.0597 | 2700355.297 | 1262655.5202 | 2700356.4657 | 1262664.3473 | 2700361.5866 | 1262677.8231 | 2700364.4501 | 1262680.6726
78 | 2700357.2103 | 1262632.0597 | 2700357.2521 | 1262631.5472
79 | 2700278.5055 | 1262522.4896 | 2700296.4218 | 1262531.1572
80 | 2700278.5055 | 1262522.4896 | 2700277.8781 | 1262522.186
81 | 2700312.6138 | 1262538.9906 | 2700296.4218 | 1262531.1572
82 | 2700279.932 | 1262588.0974 | 2700279.4059 | 1262562.7009 | 2700278.8533 | 1262532.6556 | 2700277.8781 | 1262522.186
83 | 2700356.8967 | 1262438.9919 | 2700356.5478 | 1262438.3634
84 | 2700356.5478 | 1262438.3634 | 2700355.1657 | 1262435.8741
85 | 2700356.8967 | 1262438.9919 | 2700360.6779 | 1262445.8023
86 | 2700365.1547 | 1262453.8657 | 2700360.6779 | 1262445.8023
87 | 2700338.7224 | 1262423.0019 | 2700333.2468 | 1262434.6638 | 2700315.3811 | 1262434.216 | 2700313.1623 | 1262433.7563
88 | 2700293.0535 | 1262424.3162 | 2700271.7807 | 1262415.6837 | 2700271.7807 | 1262415.6837

## bus_geodata
| x | y | coords
0 | 2700393.283 | 1262521.6332
1 | 2700386.4033 | 1262493.4587
2 | 2700395.4699 | 1262528.3858
3 | 2700393.3398 | 1262475.0243
4 | 2700383.3736 | 1262487.5634
5 | 2700413.2236 | 1262542.6871
6 | 2700387.1466 | 1262542.4122
7 | 2700394.2309 | 1262472.6563
8 | 2700375.4426 | 1262472.3956
9 | 2700384.8498 | 1262547.2374
10 | 2700413.2972 | 1262417.7338
11 | 2700365.2347 | 1262454.0097
12 | 2700383.5132 | 1262550.0452
13 | 2700402.4968 | 1262767.6471
14 | 2700395.1221 | 1262766.2096
15 | 2700415.9146 | 1262718.6036
16 | 2700273.3704 | 1262375.2773
17 | 2700290.4727 | 1262375.6788
18 | 2700306.4981 | 1262359.5705
19 | 2700272.6315 | 1262394.0261
20 | 2700292.4512 | 1262357.9979
21 | 2700305.8267 | 1262376.0393
22 | 2700304.6632 | 1262407.9661
23 | 2700191.9835 | 1262565.911
24 | 2700195.4983 | 1262553.877
25 | 2700229.8091 | 1262545.0235
26 | 2700188.8963 | 1262618.5138
27 | 2700135.8511 | 1262728.0498
28 | 2700144.2265 | 1262669.5433
29 | 2700219.2951 | 1262678.4888
30 | 2700251.952 | 1262687.761
31 | 2700223.7549 | 1262671.4676
32 | 2700251.2015 | 1262650.2729
33 | 2700370.3773 | 1262761.3746
34 | 2700382.7268 | 1262708.9532
35 | 2700438.1603 | 1262601.2818
36 | 2700408.0366 | 1262647.6172
37 | 2700422.7701 | 1262593.4718
38 | 2700408.8779 | 1262559.683
39 | 2700389.8815 | 1262794.2633
40 | 2700271.8887 | 1262412.8721
41 | 2700343.5839 | 1262394.6196
42 | 2700342.98 | 1262413.934
43 | 2700227.0957 | 1262497.5272
44 | 2700248.9792 | 1262508.1534
45 | 2700217.5914 | 1262517.3611
46 | 2700268.1256 | 1262355.4843
47 | 2700304.1204 | 1262422.8601
48 | 2700237.0157 | 1262584.4456
49 | 2700414.4006 | 1262589.2246
50 | 2700411.269 | 1262587.6354
51 | 2700403.7931 | 1262583.8416
52 | 2700389.8599 | 1262576.771
53 | 2700387.1023 | 1262575.3716
54 | 2700404.4243 | 1262654.0306
55 | 2700372.5465 | 1262567.985
56 | 2700378.4642 | 1262558.3045
57 | 2700378.9484 | 1262557.5125
58 | 2700381.7405 | 1262552.9451
59 | 2700359.1692 | 1262587.2612
60 | 2700363.6991 | 1262563.7048
61 | 2700358.6934 | 1262600.5752
62 | 2700334.1485 | 1262549.4087
63 | 2700357.7354 | 1262625.6205
64 | 2700321.2798 | 1262543.183
65 | 2700398.1419 | 1262665.1843
66 | 2700357.5429 | 1262627.9814
67 | 2700357.3766 | 1262630.0203
68 | 2700357.328 | 1262630.6167
69 | 2700388.3874 | 1262686.6413
70 | 2700392.0723 | 1262677.5381
71 | 2700405.3617 | 1262816.7468
72 | 2700364.4501 | 1262680.6726
73 | 2700357.2103 | 1262632.0597
74 | 2700236.9894 | 1262590.843
75 | 2700357.2521 | 1262631.5472
76 | 2700278.5055 | 1262522.4896
77 | 2700296.4218 | 1262531.1572
78 | 2700277.8781 | 1262522.186
79 | 2700312.6138 | 1262538.9906
80 | 2700279.932 | 1262588.0974
81 | 2700356.5478 | 1262438.3634
82 | 2700356.8967 | 1262438.9919
83 | 2700355.1657 | 1262435.8741
84 | 2700360.6779 | 1262445.8023
85 | 2700365.1547 | 1262453.8657
86 | 2700338.7224 | 1262423.0019
87 | 2700313.1623 | 1262433.7563
88 | 2700271.7807 | 1262415.6837
89 | 2700293.0535 | 1262424.3162
90 | 2700372.5465 | 1262567.985

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99006 | -0.19081 | 0.012294 | 0.0030813
1 | 0.98872 | -0.21676 | 0 | 0
2 | 0.99047 | -0.18294 | 0 | 0
3 | 0.98856 | -0.21987 | 0.0016688 | 0.00041823
4 | 0.98847 | -0.22164 | 0.0052585 | 0.0013179
5 | 0.98987 | -0.19464 | 0.028634 | 0.0071764
6 | 0.99184 | -0.15636 | 0.0018608 | 0.00046637
7 | 0.98855 | -0.22019 | 0.00423 | 0.0010601
8 | 0.9879 | -0.23262 | 0.0014715 | 0.00036878
9 | 0.9923 | -0.14757 | 0.0018613 | 0.00046648
10 | 0.98839 | -0.22325 | 0.0029434 | 0.00073768
11 | 0.98724 | -0.24558 | 0.0007111 | 0.00017822
12 | 0.99257 | -0.14236 | 0 | 0
13 | 0.98687 | -0.2529 | 0 | 0
14 | 0.98687 | -0.25284 | 0 | 0
15 | 0.98685 | -0.25329 | 0.00043209 | 0.00010829
16 | 0.98422 | -0.30435 | 0 | 0
17 | 0.9844 | -0.30086 | 0.0020576 | 0.00051568
18 | 0.98392 | -0.31026 | 0 | 0
19 | 0.98414 | -0.30592 | 0.0031097 | 0.00077937
20 | 0.98383 | -0.31197 | 0.0042296 | 0.00106
21 | 0.98459 | -0.29715 | 0 | 0
22 | 0.98498 | -0.28945 | 0.0016326 | 0.00040917
23 | 0.98171 | -0.35014 | 0 | 0
24 | 0.98275 | -0.32995 | 0.01113 | 0.0027894
25 | 0.97871 | -0.40873 | 0 | 0
26 | 0.98094 | -0.36526 | 0.011232 | 0.002815
27 | 0.97314 | -0.51824 | 0 | 0
28 | 0.97282 | -0.52462 | 0.0058673 | 0.0014705
29 | 0.97387 | -0.50391 | 0 | 0
30 | 0.97456 | -0.49035 | 0 | 0
31 | 0.97383 | -0.50462 | 0.004582 | 0.0011484
32 | 0.97493 | -0.48308 | 0.00080367 | 0.00020142
33 | 0.98699 | -0.25063 | 0 | 0
34 | 0.98723 | -0.24588 | 0.00061452 | 0.00015401
35 | 0.99 | -0.19216 | 0 | 0
36 | 0.98797 | -0.23151 | 0.01205 | 0.0030201
37 | 0.99063 | -0.17991 | 0.0022266 | 0.00055804
38 | 0.99218 | -0.14988 | 0.015677 | 0.0039289
39 | 0.98676 | -0.25514 | 0.0041641 | 0.0010436
40 | 0.98411 | -0.30644 | 0 | 0
41 | 0.98602 | -0.26936 | 0.0040101 | 0.001005
42 | 0.98609 | -0.26797 | 0 | 0
43 | 0.98883 | -0.21257 | 0.0013828 | 0.00034656
44 | 0.9913 | -0.16517 | 0.00091045 | 0.00022818
45 | 0.98662 | -0.25508 | 0.011246 | 0.0028186
46 | 0.98378 | -0.31306 | 0.0024848 | 0.00062276
47 | 0.98519 | -0.28542 | 0 | 0
48 | 0.9759 | -0.46396 | 0.040148 | 0.010062
49 | 0.99099 | -0.17289 | 0.016307 | 0.004087
50 | 0.99118 | -0.16924 | 0.028363 | 0.0071085
51 | 0.99185 | -0.15634 | 0.0017142 | 0.00042962
52 | 0.99311 | -0.13186 | 0.0022724 | 0.00056951
53 | 0.99337 | -0.1269 | 0.0030624 | 0.0007675
54 | 0.98778 | -0.23517 | 0.0042952 | 0.0010765
55 | 0.99478 | -0.099872 | 0 | 0
56 | 0.99356 | -0.12323 | 0.0026348 | 0.00066035
57 | 0.99346 | -0.1251 | 0.0018613 | 0.00046648
58 | 0.99291 | -0.13572 | 0.0018613 | 0.00046648
59 | 0.9934 | -0.12643 | 0.0062369 | 0.0015631
60 | 0.99597 | -0.076891 | 0.0018595 | 0.00046604
61 | 0.9928 | -0.13796 | 0.0062512 | 0.0015667
62 | 1 | 0 | -0.42831 | -0.10882
63 | 0.99182 | -0.15691 | 0.0037767 | 0.00094654
64 | 0.99898 | -0.019219 | 0.0070688 | 0.0017716
65 | 0.9875 | -0.24057 | 0.015987 | 0.0040068
66 | 0.99174 | -0.15854 | 0.0033739 | 0.00084558
67 | 0.99167 | -0.15983 | 0.0033739 | 0.00084558
68 | 0.99166 | -0.16018 | 0.012975 | 0.0032519
69 | 0.98735 | -0.24359 | 0.0010223 | 0.00025621
70 | 0.98741 | -0.24244 | 0.001023 | 0.00025639
71 | 0.98675 | -0.25535 | 0.00032708 | 8.1974e-05
72 | 0.99134 | -0.16627 | 0.0063071 | 0.0015807
73 | 0.99164 | -0.16058 | 0.0033397 | 0.00083701
74 | 0.97569 | -0.46799 | 0.023171 | 0.0058072
75 | 0.99164 | -0.16049 | 0.0095689 | 0.0023982
76 | 0.99467 | -0.1009 | 0.011306 | 0.0028335
77 | 0.99716 | -0.053734 | 0.0057868 | 0.0014503
78 | 0.99459 | -0.10242 | 0 | 0
79 | 0.99833 | -0.031588 | 0.0063969 | 0.0016032
80 | 0.99381 | -0.1176 | 0.01305 | 0.0032707
81 | 0.98672 | -0.25556 | 0.00092598 | 0.00023207
82 | 0.98674 | -0.25521 | 0.0033377 | 0.00083651
83 | 0.98666 | -0.25687 | 0.0010537 | 0.00026409
84 | 0.98696 | -0.25103 | 0.0024283 | 0.00060859
85 | 0.98723 | -0.24568 | 0.001345 | 0.00033708
86 | 0.9859 | -0.27168 | 0.0043232 | 0.0010835
87 | 0.9854 | -0.28136 | 0.0012955 | 0.00032469
88 | 0.98411 | -0.30652 | 0.0005226 | 0.00013097
89 | 0.98409 | -0.30693 | 0.001006 | 0.00025213
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.050219 | 0.012647 | -0.050156 | -0.012607 | 6.2234e-05 | 3.9456e-05 | 0.075498 | 0.075498 | 0.075498 | 0.99006 | -0.19081 | 0.98872 | -0.21676 | 20.7412
1 | -0.062513 | -0.015728 | 0.062536 | 0.015743 | 2.3507e-05 | 1.4953e-05 | 0.093976 | 0.093976 | 0.093976 | 0.99006 | -0.19081 | 0.99047 | -0.18294 | 25.8175
2 | 0.0088439 | 0.0022162 | -0.0088426 | -0.0022156 | 1.3085e-06 | 5.8487e-07 | 0.01331 | 0.01331 | 0.01331 | 0.98872 | -0.21676 | 0.98856 | -0.21987 | 3.6566
3 | 0.041312 | 0.010391 | -0.041303 | -0.010385 | 9.6126e-06 | 6.0671e-06 | 0.062188 | 0.062188 | 0.062188 | 0.98872 | -0.21676 | 0.98847 | -0.22164 | 17.0846
4 | 0.02865 | 0.0071863 | -0.028634 | -0.0071764 | 1.5965e-05 | 9.9223e-06 | 0.043044 | 0.043044 | 0.043044 | 0.99047 | -0.18294 | 0.98987 | -0.19464 | 11.8253
5 | -0.091186 | -0.022929 | 0.091302 | 0.023003 | 0.00011596 | 7.4003e-05 | 0.13702 | 0.13702 | 0.13702 | 0.99047 | -0.18294 | 0.99184 | -0.15636 | 37.6427
6 | 0.0071739 | 0.0017974 | -0.0071738 | -0.0017973 | 1.1063e-07 | 3.8365e-08 | 0.010798 | 0.010798 | 0.010798 | 0.98856 | -0.21987 | 0.98855 | -0.22019 | 2.9665
7 | 0.036044 | 0.0090672 | -0.036025 | -0.0090553 | 1.8907e-05 | 1.1881e-05 | 0.054272 | 0.054272 | 0.054272 | 0.98847 | -0.22164 | 0.9879 | -0.23262 | 14.9099
8 | -0.093163 | -0.02347 | 0.093202 | 0.023495 | 3.9172e-05 | 2.5001e-05 | 0.13981 | 0.13981 | 0.13981 | 0.99184 | -0.15636 | 0.9923 | -0.14757 | 38.4097
9 | 0.0029438 | 0.0007372 | -0.0029434 | -0.00073768 | 4.2812e-07 | -4.7133e-07 | 0.004431 | 0.0044312 | 0.0044312 | 0.98855 | -0.22019 | 0.98839 | -0.22325 | 1.2174
10 | 0.034554 | 0.0086866 | -0.034533 | -0.0086732 | 2.137e-05 | 1.3408e-05 | 0.052056 | 0.052056 | 0.052056 | 0.9879 | -0.23262 | 0.98724 | -0.24558 | 14.3011
11 | -0.095064 | -0.023961 | 0.095087 | 0.023976 | 2.3714e-05 | 1.5137e-05 | 0.1426 | 0.1426 | 0.1426 | 0.9923 | -0.14757 | 0.99257 | -0.14236 | 39.1764
12 | 0.033821 | 0.0084949 | -0.033821 | -0.0084948 | 1.6055e-07 | 1.0065e-07 | 0.050984 | 0.050984 | 0.050984 | 0.98724 | -0.24558 | 0.98723 | -0.24568 | 14.0066
13 | 0.015682 | 0.0039322 | -0.015677 | -0.0039289 | 5.6245e-06 | 3.2491e-06 | 0.023511 | 0.023511 | 0.023511 | 0.99257 | -0.14236 | 0.99218 | -0.14988 | 6.4591
14 | -0.11077 | -0.027909 | 0.1108 | 0.027931 | 3.517e-05 | 2.2465e-05 | 0.16611 | 0.16611 | 0.16611 | 0.99257 | -0.14236 | 0.99291 | -0.13572 | 45.6355
15 | -0.0004321 | -0.00010765 | 0.0004321 | 0.00010755 | 1.1917e-09 | -9.4963e-08 | 0.00065129 | 0.00065126 | 0.00065129 | 0.98687 | -0.2529 | 0.98687 | -0.25284 | 0.17893
16 | 0.0004321 | 0.00010765 | -0.00043209 | -0.00010829 | 8.0909e-09 | -6.4447e-07 | 0.00065129 | 0.00065152 | 0.00065152 | 0.98687 | -0.2529 | 0.98685 | -0.25329 | 0.17899
17 | 0.0044917 | 0.0011251 | -0.0044912 | -0.0011251 | 4.9106e-07 | -5.047e-08 | 0.0067724 | 0.0067725 | 0.0067725 | 0.98687 | -0.25284 | 0.98676 | -0.25514 | 1.8606
18 | -0.0049238 | -0.0012326 | 0.0049243 | 0.0012327 | 5.1955e-07 | 1.1255e-08 | 0.0074236 | 0.0074235 | 0.0074236 | 0.98687 | -0.25284 | 0.98699 | -0.25063 | 2.0395
19 | -0.011356 | -0.0028453 | 0.011358 | 0.0028462 | 1.8908e-06 | 9.9268e-07 | 0.017168 | 0.017168 | 0.017168 | 0.98422 | -0.30435 | 0.9844 | -0.30086 | 4.7165
20 | 0.006717 | 0.0016833 | -0.0067151 | -0.0016827 | 1.8897e-06 | 5.8862e-07 | 0.010155 | 0.010155 | 0.010155 | 0.98422 | -0.30435 | 0.98392 | -0.31026 | 2.7899
21 | 0.0046388 | 0.0011619 | -0.0046384 | -0.001162 | 3.4606e-07 | -1.6958e-08 | 0.007013 | 0.0070131 | 0.0070131 | 0.98422 | -0.30435 | 0.98414 | -0.30592 | 1.9267
22 | -0.013415 | -0.0033619 | 0.013418 | 0.0033632 | 2.3683e-06 | 1.3204e-06 | 0.020278 | 0.020278 | 0.020278 | 0.9844 | -0.30086 | 0.98459 | -0.29715 | 5.571
23 | 0.0067151 | 0.0016827 | -0.0067145 | -0.0016826 | 5.4665e-07 | 1.7035e-07 | 0.010155 | 0.010155 | 0.010155 | 0.98392 | -0.31026 | 0.98383 | -0.31197 | 2.79
24 | 0.0015287 | 0.00038258 | -0.0015286 | -0.00038279 | 3.778e-08 | -2.1547e-07 | 0.0023111 | 0.0023112 | 0.0023112 | 0.98414 | -0.30592 | 0.98411 | -0.30644 | 0.63495
25 | 0.002485 | 0.00062253 | -0.0024848 | -0.00062276 | 1.2954e-07 | -2.2762e-07 | 0.0037583 | 0.0037584 | 0.0037584 | 0.98383 | -0.31197 | 0.98378 | -0.31306 | 1.0325
26 | -0.013418 | -0.0033632 | 0.013423 | 0.003366 | 4.9264e-06 | 2.7464e-06 | 0.020278 | 0.020278 | 0.020278 | 0.98459 | -0.29715 | 0.98498 | -0.28945 | 5.5709
27 | -0.015055 | -0.0037752 | 0.015058 | 0.0037768 | 2.8912e-06 | 1.6606e-06 | 0.022744 | 0.022744 | 0.022744 | 0.98498 | -0.28945 | 0.98519 | -0.28542 | 6.2485
28 | -0.08625 | -0.021783 | 0.086334 | 0.021837 | 8.355e-05 | 5.3307e-05 | 0.13079 | 0.13079 | 0.13079 | 0.98171 | -0.35014 | 0.98275 | -0.32995 | 35.9319
29 | 0.07501 | 0.018964 | -0.0748 | -0.01883 | 0.00021013 | 0.00013394 | 0.11375 | 0.11375 | 0.11375 | 0.98171 | -0.35014 | 0.97871 | -0.40873 | 31.2512
30 | 0.01124 | 0.0028192 | -0.011232 | -0.002815 | 8.0953e-06 | 4.2415e-06 | 0.017038 | 0.017038 | 0.017038 | 0.98171 | -0.35014 | 0.98094 | -0.36526 | 4.6808
31 | -0.097463 | -0.024626 | 0.097815 | 0.02485 | 0.00035115 | 0.00022419 | 0.14764 | 0.14764 | 0.14764 | 0.98275 | -0.32995 | 0.98662 | -0.25508 | 40.5615
32 | 0.0748 | 0.01883 | -0.074603 | -0.018705 | 0.0001969 | 0.00012551 | 0.11375 | 0.11375 | 0.11375 | 0.97871 | -0.40873 | 0.9759 | -0.46396 | 31.2513
33 | 0.0058691 | 0.0014709 | -0.0058673 | -0.0014705 | 1.7851e-06 | 4.084e-07 | 0.0089743 | 0.0089746 | 0.0089746 | 0.97314 | -0.51824 | 0.97282 | -0.52462 | 2.4656
34 | -0.0058691 | -0.0014709 | 0.0058731 | 0.0014718 | 4.0078e-06 | 9.1499e-07 | 0.0089743 | 0.0089737 | 0.0089743 | 0.97314 | -0.51824 | 0.97387 | -0.50391 | 2.4655
35 | -0.010455 | -0.0026202 | 0.010462 | 0.0026236 | 6.7579e-06 | 3.4458e-06 | 0.015975 | 0.015975 | 0.015975 | 0.97387 | -0.50391 | 0.97456 | -0.49035 | 4.3888
36 | 0.0045822 | 0.0011484 | -0.004582 | -0.0011484 | 1.5564e-07 | -5.738e-09 | 0.0070013 | 0.0070014 | 0.0070014 | 0.97387 | -0.50391 | 0.97383 | -0.50462 | 1.9234
37 | -0.010462 | -0.0026236 | 0.010466 | 0.0026255 | 3.6271e-06 | 1.8489e-06 | 0.015975 | 0.015975 | 0.015975 | 0.97456 | -0.49035 | 0.97493 | -0.48308 | 4.3887
38 | -0.011269 | -0.0028269 | 0.011277 | 0.0028312 | 8.1099e-06 | 4.2782e-06 | 0.017201 | 0.017201 | 0.017201 | 0.97493 | -0.48308 | 0.97569 | -0.46799 | 4.7256
39 | -0.0049243 | -0.0012327 | 0.0049254 | 0.0012327 | 1.1129e-06 | 2.3828e-08 | 0.0074235 | 0.0074233 | 0.0074235 | 0.98699 | -0.25063 | 0.98723 | -0.24588 | 2.0394
40 | -0.0055399 | -0.0013867 | 0.0055405 | 0.0013868 | 6.0242e-07 | 9.087e-08 | 0.0083495 | 0.0083494 | 0.0083495 | 0.98723 | -0.24588 | 0.98735 | -0.24359 | 2.2938
41 | 0.040006 | 0.010057 | -0.039931 | -0.01001 | 7.5024e-05 | 4.7305e-05 | 0.060142 | 0.060142 | 0.060142 | 0.99 | -0.19216 | 0.98797 | -0.23151 | 16.5225
42 | -0.040006 | -0.010057 | 0.040029 | 0.010072 | 2.3409e-05 | 1.476e-05 | 0.060142 | 0.060142 | 0.060142 | 0.99 | -0.19216 | 0.99063 | -0.17991 | 16.5225
43 | 0.027881 | 0.0069898 | -0.027876 | -0.0069868 | 4.8674e-06 | 3.0209e-06 | 0.041993 | 0.041993 | 0.041993 | 0.98797 | -0.23151 | 0.98778 | -0.23517 | 11.5365
44 | -0.042256 | -0.01063 | 0.04227 | 0.010639 | 1.4186e-05 | 8.9579e-06 | 0.063486 | 0.063486 | 0.063486 | 0.99063 | -0.17991 | 0.99099 | -0.17289 | 17.4413
45 | 0.00032708 | 8.1515e-05 | -0.00032708 | -8.1974e-05 | 3.2923e-09 | -4.5902e-07 | 0.00049307 | 0.00049324 | 0.00049324 | 0.98676 | -0.25514 | 0.98675 | -0.25535 | 0.1355
46 | 0.0015286 | 0.00038279 | -0.0015286 | -0.00038283 | 5.6363e-09 | -3.2143e-08 | 0.0023112 | 0.0023112 | 0.0023112 | 0.98411 | -0.30644 | 0.98411 | -0.30652 | 0.63496
47 | -0.0040101 | -0.001005 | 0.0040104 | 0.0010049 | 2.6538e-07 | -7.6647e-08 | 0.0060517 | 0.0060516 | 0.0060517 | 0.98602 | -0.26936 | 0.98609 | -0.26797 | 1.6626
48 | 0.020691 | 0.0051933 | -0.020687 | -0.0051911 | 3.6628e-06 | 2.2164e-06 | 0.031225 | 0.031225 | 0.031225 | 0.98609 | -0.26797 | 0.9859 | -0.27168 | 8.5784
49 | -0.024701 | -0.0061983 | 0.024714 | 0.0062063 | 1.3078e-05 | 8.0494e-06 | 0.037277 | 0.037277 | 0.037277 | 0.98609 | -0.26797 | 0.98666 | -0.25687 | 10.2409
50 | -0.11067 | -0.028158 | 0.11092 | 0.02832 | 0.00025347 | 0.0001619 | 0.16669 | 0.16669 | 0.16669 | 0.98883 | -0.21257 | 0.9913 | -0.16517 | 45.7929
51 | 0.10928 | 0.027811 | -0.10906 | -0.027669 | 0.00022347 | 0.00014274 | 0.16461 | 0.16461 | 0.16461 | 0.98883 | -0.21257 | 0.98662 | -0.25508 | 45.2213
52 | -0.11183 | -0.028548 | 0.11217 | 0.028765 | 0.00034023 | 0.00021733 | 0.16805 | 0.16805 | 0.16805 | 0.9913 | -0.16517 | 0.99459 | -0.10242 | 46.1684
53 | -0.015058 | -0.0037768 | 0.015061 | 0.0037785 | 2.9122e-06 | 1.6726e-06 | 0.022744 | 0.022744 | 0.022744 | 0.98519 | -0.28542 | 0.9854 | -0.28136 | 6.2485
54 | 0.034455 | 0.0086426 | -0.034449 | -0.0086384 | 6.6221e-06 | 4.1583e-06 | 0.052539 | 0.052539 | 0.052539 | 0.9759 | -0.46396 | 0.97569 | -0.46799 | 14.4338
55 | -0.058577 | -0.014726 | 0.058588 | 0.014732 | 1.0192e-05 | 6.4775e-06 | 0.087972 | 0.087972 | 0.087972 | 0.99099 | -0.17289 | 0.99118 | -0.16924 | 24.1682
56 | -0.086951 | -0.021841 | 0.087005 | 0.021875 | 5.3583e-05 | 3.4185e-05 | 0.13055 | 0.13055 | 0.13055 | 0.99118 | -0.16924 | 0.99185 | -0.15634 | 35.8662
57 | -0.088719 | -0.022305 | 0.088823 | 0.022371 | 0.00010384 | 6.6254e-05 | 0.13312 | 0.13312 | 0.13312 | 0.99185 | -0.15634 | 0.99311 | -0.13186 | 36.5728
58 | -0.091095 | -0.022941 | 0.091117 | 0.022954 | 2.1616e-05 | 1.3794e-05 | 0.13653 | 0.13653 | 0.13653 | 0.99311 | -0.13186 | 0.99337 | -0.1269 | 37.5081
59 | -0.094179 | -0.023722 | 0.094301 | 0.0238 | 0.00012189 | 7.7801e-05 | 0.14112 | 0.14112 | 0.14112 | 0.99337 | -0.1269 | 0.99478 | -0.099872 | 38.7683
60 | 0.02358 | 0.0059103 | -0.023574 | -0.0059066 | 6.0574e-06 | 3.7129e-06 | 0.035522 | 0.035522 | 0.035522 | 0.98778 | -0.23517 | 0.9875 | -0.24057 | 9.7589
61 | 0.055347 | 0.013926 | -0.055277 | -0.013881 | 7.0132e-05 | 4.4531e-05 | 0.082809 | 0.08281 | 0.08281 | 0.99478 | -0.099872 | 0.9934 | -0.12643 | 22.7499
62 | -0.26701 | -0.067377 | 0.2673 | 0.067565 | 0.00029421 | 0.00018804 | 0.39956 | 0.39956 | 0.39956 | 0.99478 | -0.099872 | 0.99597 | -0.076891 | 54.8849
63 | 0.11736 | 0.029651 | -0.11723 | -0.029567 | 0.00013125 | 8.3854e-05 | 0.17564 | 0.17564 | 0.17564 | 0.99478 | -0.099872 | 0.99356 | -0.12323 | 48.2517
64 | 0.11459 | 0.028907 | -0.11458 | -0.028901 | 1.0262e-05 | 6.5553e-06 | 0.17169 | 0.17169 | 0.17169 | 0.99356 | -0.12323 | 0.99346 | -0.1251 | 47.1677
65 | 0.11272 | 0.028434 | -0.11267 | -0.028397 | 5.7268e-05 | 3.6582e-05 | 0.1689 | 0.1689 | 0.1689 | 0.99346 | -0.1251 | 0.99291 | -0.13572 | 46.4018
66 | 0.04904 | 0.012318 | -0.049013 | -0.012301 | 2.6965e-05 | 1.7085e-05 | 0.073467 | 0.073467 | 0.073467 | 0.9934 | -0.12643 | 0.9928 | -0.13796 | 20.1833
67 | -0.26916 | -0.068031 | 0.27016 | 0.068667 | 0.00099637 | 0.00063682 | 0.40234 | 0.40234 | 0.40234 | 0.99597 | -0.076891 | 1 | 0 | 55.2665
68 | 0.042762 | 0.010734 | -0.042724 | -0.01071 | 3.8618e-05 | 2.4392e-05 | 0.064098 | 0.064098 | 0.064098 | 0.9928 | -0.13796 | 0.99182 | -0.15691 | 17.6094
69 | 0.1565 | 0.040153 | -0.15635 | -0.04006 | 0.00014577 | 9.2919e-05 | 0.2332 | 0.2332 | 0.2332 | 1 | 0 | 0.99898 | -0.019219 | 32.0334
70 | 0.038947 | 0.0097633 | -0.038944 | -0.0097614 | 3.0329e-06 | 1.9105e-06 | 0.058432 | 0.058432 | 0.058432 | 0.99182 | -0.15691 | 0.99174 | -0.15854 | 16.0527
71 | 0.14928 | 0.038288 | -0.1492 | -0.038231 | 8.9501e-05 | 5.7028e-05 | 0.22267 | 0.22267 | 0.22267 | 0.99898 | -0.019219 | 0.99833 | -0.031588 | 30.5872
72 | 0.0075869 | 0.0018998 | -0.0075862 | -0.0018995 | 6.7591e-07 | 2.5615e-07 | 0.011432 | 0.011432 | 0.011432 | 0.9875 | -0.24057 | 0.98741 | -0.24244 | 3.1406
73 | 0.03557 | 0.0089158 | -0.035568 | -0.0089144 | 2.185e-06 | 1.372e-06 | 0.05337 | 0.05337 | 0.05337 | 0.99174 | -0.15854 | 0.99167 | -0.15983 | 14.662
74 | 0.032194 | 0.0080688 | -0.032193 | -0.0080685 | 5.2368e-07 | 3.2744e-07 | 0.048307 | 0.048307 | 0.048307 | 0.99167 | -0.15983 | 0.99166 | -0.16018 | 13.2712
75 | 0.019218 | 0.0048165 | -0.019217 | -0.0048164 | 2.9112e-07 | 1.7428e-07 | 0.028837 | 0.028837 | 0.028837 | 0.99166 | -0.16018 | 0.99164 | -0.16049 | 7.9223
76 | -0.0065629 | -0.001643 | 0.0065632 | 0.0016431 | 3.6023e-07 | 1.0494e-07 | 0.0098901 | 0.0098901 | 0.0098901 | 0.98735 | -0.24359 | 0.98741 | -0.24244 | 2.7171
77 | -0.0063071 | -0.0015807 | 0.0063088 | 0.0015811 | 1.7106e-06 | 4.3836e-07 | 0.009467 | 0.0094668 | 0.009467 | 0.99134 | -0.16627 | 0.99164 | -0.16058 | 2.6008
78 | -0.0096485 | -0.0024182 | 0.0096486 | 0.0024182 | 4.042e-08 | 1.9235e-08 | 0.014478 | 0.014478 | 0.014478 | 0.99164 | -0.16058 | 0.99164 | -0.16049 | 3.9775
79 | -0.13655 | -0.034881 | 0.13686 | 0.03508 | 0.00031214 | 0.00019951 | 0.2045 | 0.2045 | 0.2045 | 0.99467 | -0.1009 | 0.99716 | -0.053734 | 56.1827
80 | 0.12524 | 0.032047 | -0.12523 | -0.032041 | 9.1982e-06 | 5.8778e-06 | 0.18759 | 0.18759 | 0.18759 | 0.99467 | -0.1009 | 0.99459 | -0.10242 | 51.5362
81 | -0.14264 | -0.03653 | 0.1428 | 0.036628 | 0.00015321 | 9.7587e-05 | 0.21314 | 0.21314 | 0.21314 | 0.99716 | -0.053734 | 0.99833 | -0.031588 | 29.2775
82 | 0.01306 | 0.0032758 | -0.01305 | -0.0032707 | 9.4452e-06 | 5.1895e-06 | 0.019539 | 0.01954 | 0.01954 | 0.99459 | -0.10242 | 0.99381 | -0.1176 | 5.368
83 | -0.026696 | -0.0067035 | 0.026696 | 0.0067037 | 4.3696e-07 | 2.7048e-07 | 0.040262 | 0.040262 | 0.040262 | 0.98672 | -0.25556 | 0.98674 | -0.25521 | 11.0611
84 | 0.02577 | 0.0064714 | -0.025768 | -0.0064704 | 1.6128e-06 | 9.9585e-07 | 0.038866 | 0.038866 | 0.038866 | 0.98672 | -0.25556 | 0.98666 | -0.25687 | 10.6775
85 | -0.030034 | -0.0075402 | 0.03004 | 0.007544 | 5.9933e-06 | 3.7362e-06 | 0.045296 | 0.045296 | 0.045296 | 0.98674 | -0.25521 | 0.98696 | -0.25103 | 12.4439
86 | -0.032468 | -0.0081526 | 0.032476 | 0.0081578 | 8.2894e-06 | 5.1873e-06 | 0.048957 | 0.048957 | 0.048957 | 0.98696 | -0.25103 | 0.98723 | -0.24568 | 13.4497
87 | 0.016364 | 0.0041076 | -0.016356 | -0.0041032 | 7.555e-06 | 4.4143e-06 | 0.024701 | 0.024701 | 0.024701 | 0.9859 | -0.27168 | 0.9854 | -0.28136 | 6.7859
88 | 0.001006 | 0.00025185 | -0.001006 | -0.00025213 | 1.992e-08 | -2.7894e-07 | 0.0015211 | 0.0015212 | 0.0015212 | 0.98411 | -0.30652 | 0.98409 | -0.30693 | 0.4179

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43105 | 0.10951

## res_load
| p_mw | q_mvar
0 | 0.012294 | 0.0030813
1 | 0.0016688 | 0.00041823
2 | 0.0052585 | 0.0013179
3 | 0.028634 | 0.0071764
4 | 0.0018608 | 0.00046637
5 | 0.00423 | 0.0010601
6 | 0.0014715 | 0.00036878
7 | 0.0018613 | 0.00046648
8 | 0.0029434 | 0.00073768
9 | 0.0007111 | 0.00017822
10 | 0.00043209 | 0.00010829
11 | 0.0020576 | 0.00051568
12 | 0.0031097 | 0.00077937
13 | 0.0042296 | 0.00106
14 | 0.0016326 | 0.00040917
15 | 0.01113 | 0.0027894
16 | 0.011232 | 0.002815
17 | 0.0058673 | 0.0014705
18 | 0.004582 | 0.0011484
19 | 0.00080367 | 0.00020142
20 | 0.00061452 | 0.00015401
21 | 0.01205 | 0.0030201
22 | 0.0022266 | 0.00055804
23 | 0.015677 | 0.0039289
24 | 0.0041641 | 0.0010436
25 | 0.0040101 | 0.001005
26 | 0.0013828 | 0.00034656
27 | 0.00091045 | 0.00022818
28 | 0.011246 | 0.0028186
29 | 0.0024848 | 0.00062276
30 | 0.040148 | 0.010062
31 | 0.016307 | 0.004087
32 | 0.028363 | 0.0071085
33 | 0.0017142 | 0.00042962
34 | 0.0022724 | 0.00056951
35 | 0.0030624 | 0.0007675
36 | 0.0042952 | 0.0010765
37 | 0.0026348 | 0.00066035
38 | 0.0018613 | 0.00046648
39 | 0.0018613 | 0.00046648
40 | 0.0062369 | 0.0015631
41 | 0.0018595 | 0.00046604
42 | 0.0062512 | 0.0015667
43 | 0.0027463 | 0.00068828
44 | 0.0037767 | 0.00094654
45 | 0.0070688 | 0.0017716
46 | 0.015987 | 0.0040068
47 | 0.0033739 | 0.00084558
48 | 0.0033739 | 0.00084558
49 | 0.012975 | 0.0032519
50 | 0.0010223 | 0.00025621
51 | 0.001023 | 0.00025639
52 | 0.00032708 | 8.1974e-05
53 | 0.0063071 | 0.0015807
54 | 0.0033397 | 0.00083701
55 | 0.023171 | 0.0058072
56 | 0.0095689 | 0.0023982
57 | 0.011306 | 0.0028335
58 | 0.0057868 | 0.0014503
59 | 0.0063969 | 0.0016032
60 | 0.01305 | 0.0032707
61 | 0.00092598 | 0.00023207
62 | 0.0033377 | 0.00083651
63 | 0.0010537 | 0.00026409
64 | 0.0024283 | 0.00060859
65 | 0.001345 | 0.00033708
66 | 0.0043232 | 0.0010835
67 | 0.0012955 | 0.00032469
68 | 0.0005226 | 0.00013097
69 | 0.001006 | 0.00025213

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1