## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-213_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-213_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-213_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-213_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-213_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-213_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_230-213_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_230-213_0_3_node_98 | 0.4 | n |  | TRUE
8 | bus_LV_230-213_0_3_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_230-213_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_230-213_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_230-213_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_230-213_0_3_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_230-213_0_3_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_230-213_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_230-213_0_3_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_230-213_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_230-213_0_3_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_230-213_0_3_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_230-213_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_230-213_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_230-213_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_230-213_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_230-213_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_230-213_0_3_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_230-213_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_230-213_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_230-213_0_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_230-213_0_3_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_230-213_0_3_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_230-213_0_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_230-213_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_230-213_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_230-213_0_3_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_230-213_0_3_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_230-213_0_3_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_230-213_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_230-213_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_230-213_0_3_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_230-213_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_230-213_0_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_230-213_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_230-213_0_3_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_230-213_0_3_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_230-213_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_230-213_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_230-213_0_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_230-213_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_230-213_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_230-213_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_230-213_0_3_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_230-213_0_3_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_230-213_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_230-213_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_230-213_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_230-213_0_3_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_230-213_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_230-213_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_230-213_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_230-213_0_3_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_230-213_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_230-213_0_3_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_230-213_0_3_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_230-213_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_230-213_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_230-213_0_3_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_230-213_0_3_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_230-213_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_230-213_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_230-213_0_3_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_230-213_0_3_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_230-213_0_3_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_230-213_0_3_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_230-213_0_3_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_230-213_0_3_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_230-213_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_230-213_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_230-213_0_3_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_230-213_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_230-213_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_230-213_0_3_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_230-213_0_3_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_230-213_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_230-213_0_3_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_230-213_0_3_node_47 | 0.4 | n |  | TRUE
85 | bus_LV_230-213_0_3_node_46 | 0.4 | n |  | TRUE
86 | bus_LV_230-213_0_3_node_56 | 0.4 | n |  | TRUE
87 | bus_LV_230-213_0_3_node_59 | 0.4 | n |  | TRUE
88 | bus_LV_230-213_0_3_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_230-213_0_3_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_230-213_0_3_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_230-213_0_3_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_230-213_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_230-213_0_3_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_230-213_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_MV_511_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-213_0_3_load_0 | 0 | 0.0059895 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-213_0_3_load_1 | 1 | 0.0073813 | 0.0018499 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-213_0_3_load_2 | 2 | 0.0061091 | 0.0015311 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-213_0_3_load_98 | 7 | 0.0064618 | 0.0016195 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-213_0_3_load_63 | 12 | 0.014732 | 0.0036921 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-213_0_3_load_49 | 13 | 0.002001 | 0.00050149 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-213_0_3_load_84 | 17 | 0.0014526 | 0.00036405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-213_0_3_load_76 | 18 | 0.0014528 | 0.00036412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-213_0_3_load_67 | 21 | 0.0068222 | 0.0017098 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-213_0_3_load_90 | 24 | 0.018308 | 0.0045885 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-213_0_3_load_58 | 27 | 0.0021522 | 0.00053938 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-213_0_3_load_75 | 28 | 0.0061255 | 0.0015352 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-213_0_3_load_60 | 30 | 0.011261 | 0.0028222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-213_0_3_load_96 | 33 | 0.0040649 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-213_0_3_load_97 | 34 | 0.0040641 | 0.0010186 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-213_0_3_load_100 | 35 | 0.0034522 | 0.0008652 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-213_0_3_load_95 | 38 | 0.011386 | 0.0028536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-213_0_3_load_70 | 42 | 0.019444 | 0.0048732 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-213_0_3_load_99 | 43 | 0.0097478 | 0.002443 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-213_0_3_load_72 | 46 | 0.026276 | 0.0065853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-213_0_3_load_43 | 47 | 0.0063114 | 0.0015818 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-213_0_3_load_74 | 51 | 0.0014992 | 0.00037574 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-213_0_3_load_55 | 52 | 0.031172 | 0.0078125 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-213_0_3_load_73 | 55 | 0.0016832 | 0.00042185 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-213_0_3_load_51 | 58 | 0.0035169 | 0.00088141 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-213_0_3_load_93 | 61 | 0.0048257 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-213_0_3_load_53 | 64 | 0.0039166 | 0.00098159 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-213_0_3_load_91 | 66 | 0.0050425 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-213_0_3_load_64 | 67 | 0.0086694 | 0.0021728 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-213_0_3_load_85 | 68 | 0.0014561 | 0.00036494 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-213_0_3_load_81 | 69 | 0.0014562 | 0.00036496 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-213_0_3_load_92 | 70 | 0.0056237 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-213_0_3_load_48 | 71 | 0.0056252 | 0.0014098 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-213_0_3_load_45 | 72 | 0.0017842 | 0.00044715 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-213_0_3_load_44 | 73 | 0.0013195 | 0.0003307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-213_0_3_load_82 | 74 | 0.0014528 | 0.00036412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-213_0_3_load_77 | 75 | 0.0014528 | 0.00036412 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-213_0_3_load_68 | 76 | 0.082712 | 0.02073 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-213_0_3_load_62 | 78 | 0.0092699 | 0.0023232 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-213_0_3_load_86 | 80 | 0.001557 | 0.00039022 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-213_0_3_load_94 | 81 | 0.0059287 | 0.0014859 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-213_0_3_load_66 | 82 | 0.0021445 | 0.00053747 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-213_0_3_load_50 | 83 | 0.0035159 | 0.00088116 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-213_0_3_load_47 | 84 | 0.0050424 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-213_0_3_load_56 | 86 | 0.0048665 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-213_0_3_load_65 | 88 | 0.002984 | 0.00074787 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-213_0_3_load_78 | 89 | 0.0015597 | 0.00039091 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-213_0_3_load_79 | 90 | 0.0020287 | 0.00050844 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-213_0_3_load_80 | 91 | 0.001557 | 0.00039022 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-213_0_3_load_87 | 92 | 0.0014561 | 0.00036494 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-213_0_3_load_88 | 93 | 0.0014532 | 0.00036421 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-213_0_3_load_89 | 94 | 0.0048675 | 0.0012199 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-213_0_3_line_0 |  | 0 | 1 | 0.035286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-213_0_3_line_1 |  | 0 | 2 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-213_0_3_line_2 |  | 1 | 3 | 0.029406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-213_0_3_line_3 |  | 2 | 4 | 0.01722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-213_0_3_line_4 |  | 3 | 5 | 0.056699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-213_0_3_line_5 |  | 4 | 6 | 0.034134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-213_0_3_line_6 |  | 5 | 7 | 0.004485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-213_0_3_line_7 |  | 5 | 8 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-213_0_3_line_8 |  | 6 | 34 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-213_0_3_line_9 |  | 8 | 68 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-213_0_3_line_10 |  | 8 | 69 | 0.044514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-213_0_3_line_11 |  | 9 | 10 | 0.030293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-213_0_3_line_12 |  | 9 | 11 | 0.044938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_230-213_0_3_line_13 |  | 9 | 12 | 0.020308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_230-213_0_3_line_14 |  | 10 | 21 | 0.01558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-213_0_3_line_15 |  | 11 | 13 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_230-213_0_3_line_16 |  | 12 | 19 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_230-213_0_3_line_17 |  | 13 | 65 | 0.0091091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_230-213_0_3_line_18 |  | 14 | 15 | 0.023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-213_0_3_line_19 |  | 14 | 16 | 0.016511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-213_0_3_line_20 |  | 14 | 17 | 0.012493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-213_0_3_line_21 |  | 15 | 66 | 0.017343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-213_0_3_line_22 |  | 15 | 65 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_230-213_0_3_line_23 |  | 16 | 18 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-213_0_3_line_24 |  | 17 | 74 | 3.9442e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-213_0_3_line_25 |  | 18 | 75 | 0.0071809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-213_0_3_line_26 |  | 19 | 20 | 0.012358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_230-213_0_3_line_27 |  | 20 | 43 | 0.050824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-213_0_3_line_28 |  | 20 | 22 | 0.034306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_230-213_0_3_line_29 |  | 21 | 76 | 0.0081351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-213_0_3_line_30 |  | 22 | 23 | 0.031012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_230-213_0_3_line_31 |  | 22 | 24 | 0.0072439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-213_0_3_line_32 |  | 23 | 29 | 0.003152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_230-213_0_3_line_33 |  | 23 | 30 | 0.015521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-213_0_3_line_34 |  | 25 | 26 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-213_0_3_line_35 |  | 25 | 27 | 0.019833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-213_0_3_line_36 |  | 26 | 28 | 0.02802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-213_0_3_line_37 |  | 27 | 77 | 0.0093826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-213_0_3_line_38 |  | 29 | 67 | 0.028605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-213_0_3_line_39 |  | 29 | 37 | 0.030286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_230-213_0_3_line_40 |  | 30 | 79 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-213_0_3_line_41 |  | 31 | 32 | 0.05257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-213_0_3_line_42 |  | 31 | 33 | 0.033819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-213_0_3_line_43 |  | 32 | 35 | 0.009414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-213_0_3_line_44 |  | 33 | 36 | 0.0018781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-213_0_3_line_45 |  | 34 | 36 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-213_0_3_line_46 |  | 37 | 38 | 0.01229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_230-213_0_3_line_47 |  | 38 | 39 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_230-213_0_3_line_48 |  | 39 | 40 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_230-213_0_3_line_49 |  | 40 | 46 | 0.011378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-213_0_3_line_50 |  | 40 | 42 | 0.0076646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_230-213_0_3_line_51 |  | 41 | 42 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_230-213_0_3_line_52 |  | 44 | 45 | 0.051588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-213_0_3_line_53 |  | 44 | 46 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-213_0_3_line_54 |  | 45 | 47 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-213_0_3_line_55 |  | 47 | 56 | 0.028549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-213_0_3_line_56 |  | 48 | 49 | 0.10919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-213_0_3_line_57 |  | 48 | 50 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-213_0_3_line_58 |  | 48 | 51 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-213_0_3_line_59 |  | 49 | 52 | 0.065003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-213_0_3_line_60 |  | 50 | 82 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-213_0_3_line_61 |  | 51 | 55 | 0.018282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-213_0_3_line_62 |  | 53 | 54 | 0.007973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-213_0_3_line_63 |  | 53 | 55 | 0.029216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-213_0_3_line_64 |  | 54 | 67 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-213_0_3_line_65 |  | 56 | 57 | 0.024868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-213_0_3_line_66 |  | 57 | 58 | 0.0071101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-213_0_3_line_67 |  | 58 | 83 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-213_0_3_line_68 |  | 59 | 60 | 0.013475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-213_0_3_line_69 |  | 59 | 61 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-213_0_3_line_70 |  | 60 | 64 | 0.0086559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-213_0_3_line_71 |  | 60 | 83 | 0.0077685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-213_0_3_line_72 |  | 61 | 81 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-213_0_3_line_73 |  | 62 | 63 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_230-213_0_3_line_74 |  | 62 | 64 | 0.017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_230-213_0_3_line_75 |  | 63 | 80 | 0.021178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_230-213_0_3_line_76 |  | 66 | 84 | 0.02165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-213_0_3_line_77 |  | 68 | 92 | 0.0071808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-213_0_3_line_78 |  | 69 | 74 | 3.9641e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_230-213_0_3_line_79 |  | 70 | 71 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_230-213_0_3_line_80 |  | 71 | 85 | 0.018754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_230-213_0_3_line_81 |  | 72 | 73 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_230-213_0_3_line_82 |  | 73 | 85 | 0.029745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_230-213_0_3_line_83 |  | 75 | 89 | 0.0072674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_230-213_0_3_line_84 |  | 77 | 87 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_230-213_0_3_line_85 |  | 77 | 86 | 0.011904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_230-213_0_3_line_86 |  | 78 | 79 | 0.0080221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_230-213_0_3_line_87 |  | 82 | 87 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_230-213_0_3_line_88 |  | 84 | 85 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_230-213_0_3_line_89 |  | 87 | 88 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_230-213_0_3_line_90 |  | 89 | 90 | 0.00019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_230-213_0_3_line_91 |  | 90 | 91 | 0.0038852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_230-213_0_3_line_92 |  | 92 | 93 | 0.007182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_230-213_0_3_line_93 |  | 93 | 94 | 0.0033093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-213_0_3_trafo_27 | 0.63 MVA 20/0.4 kV | 95 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2699437.1791 | 1263284.3105 | 2699424.8105 | 1263283.4796 | 2699418.9145 | 1263279.7107 | 2699415.7057 | 1263281.0134 | 2699403.3095 | 1263280.1111
1 | 2699437.1791 | 1263284.3105 | 2699437.619 | 1263284.3401 | 2699443.0502 | 1263284.8318 | 2699450.01 | 1263286.2722 | 2699455.6365 | 1263287.5825
2 | 2699373.9806 | 1263277.9763 | 2699403.3095 | 1263280.1111
3 | 2699470.4462 | 1263283.8027 | 2699469.2654 | 1263285.918 | 2699467.1578 | 1263288.0398 | 2699464.6719 | 1263288.921 | 2699461.4563 | 1263288.8335 | 2699455.8261 | 1263287.6267 | 2699455.6365 | 1263287.5825
4 | 2699377.9152 | 1263221.418 | 2699377.3002 | 1263229.3142 | 2699373.9806 | 1263277.9763
5 | 2699470.4462 | 1263283.8027 | 2699476.1091 | 1263284.8544 | 2699480.0147 | 1263285.5762 | 2699479.9643 | 1263289.9123 | 2699499.9339 | 1263291.8832
6 | 2699382.4103 | 1263221.5826 | 2699377.9152 | 1263221.418
7 | 2699377.9152 | 1263221.418 | 2699380.2694 | 1263189.3978
8 | 2699499.9339 | 1263291.8832 | 2699501.0561 | 1263280.5964
9 | 2699380.2694 | 1263189.3978 | 2699391.923 | 1263190.24
10 | 2699380.2694 | 1263189.3978 | 2699383.5363 | 1263145.0043
11 | 2699398.1957 | 1263065.1633 | 2699393.9163 | 1263066.5036 | 2699401.3431 | 1263072.4444 | 2699407.6253 | 1263077.4541 | 2699413.272 | 1263071.4218
12 | 2699377.4906 | 1263100.6113 | 2699382.0712 | 1263089.8683 | 2699382.4321 | 1263085.8821 | 2699381.7964 | 1263082.9135 | 2699384.8754 | 1263075.4479 | 2699387.4162 | 1263069.5191 | 2699390.9929 | 1263068.3004 | 2699393.9163 | 1263066.5036 | 2699398.1957 | 1263065.1633
13 | 2699398.1957 | 1263065.1633 | 2699399.2652 | 1263058.4646 | 2699409.5458 | 1263049.6772
14 | 2699413.272 | 1263071.4218 | 2699420.0444 | 1263078.1968 | 2699425.9008 | 1263079.5038
15 | 2699377.4906 | 1263100.6113 | 2699374.7959 | 1263112.5536 | 2699373.1797 | 1263121.6785
16 | 2699420.5085 | 1263040.3067 | 2699409.5458 | 1263049.6772
17 | 2699371.591 | 1263130.648 | 2699373.1797 | 1263121.6785
18 | 2699370.62 | 1263146.7227 | 2699370.9435 | 1263139.133 | 2699377.499 | 1263139.0876 | 2699384.459 | 1263132.4657
19 | 2699386.5801 | 1263116.099 | 2699384.7333 | 1263128.7006 | 2699384.459 | 1263132.4657
20 | 2699384.459 | 1263132.4657 | 2699383.5421 | 1263144.9254
21 | 2699370.62 | 1263146.7227 | 2699369.512 | 1263164.0305
22 | 2699370.62 | 1263146.7227 | 2699370.9435 | 1263139.133 | 2699371.591 | 1263130.648
23 | 2699386.5801 | 1263116.099 | 2699400.8921 | 1263118.5193 | 2699404.1899 | 1263118.76
24 | 2699383.5392 | 1263144.9647 | 2699383.5421 | 1263144.9254
25 | 2699404.1899 | 1263118.76 | 2699411.3517 | 1263119.2827
26 | 2699420.5085 | 1263040.3067 | 2699423.3028 | 1263043.5008 | 2699430.12 | 1263039.1006
27 | 2699421.3173 | 1262991.3355 | 2699418.541 | 1263006.3345 | 2699420.5298 | 1263022.0253 | 2699422.0701 | 1263026.7551 | 2699424.3361 | 1263031.3414 | 2699430.12 | 1263039.1006
28 | 2699448.1053 | 1263014.4271 | 2699449.5156 | 1263021.5122 | 2699448.5699 | 1263025.3217 | 2699444.9924 | 1263029.2759 | 2699430.12 | 1263039.1006
29 | 2699433.8406 | 1263081.2757 | 2699425.9008 | 1263079.5038
30 | 2699448.1053 | 1263014.4271 | 2699464.5119 | 1263008.7983 | 2699477.4402 | 1263004.3677
31 | 2699448.1053 | 1263014.4271 | 2699446.7979 | 1263007.3021
32 | 2699477.4402 | 1263004.3677 | 2699480.3425 | 1263005.6175
33 | 2699477.4402 | 1263004.3677 | 2699475.0606 | 1262989.0301
34 | 2699432.8472 | 1262930.7461 | 2699434.8982 | 1262933.783 | 2699434.9877 | 1262938.7664 | 2699444.8399 | 1262953.2662
35 | 2699432.8472 | 1262930.7461 | 2699436.0634 | 1262928.1202 | 2699451.669 | 1262926.5808
36 | 2699444.8399 | 1262953.2662 | 2699472.7895 | 1262951.2879
37 | 2699461.0063 | 1262925.6598 | 2699451.669 | 1262926.5808
38 | 2699480.3425 | 1263005.6175 | 2699496.0797 | 1263003.0579 | 2699508.3048 | 1262999.7647
39 | 2699480.3425 | 1263005.6175 | 2699483.4158 | 1263016.8451 | 2699485.2899 | 1263024.1271 | 2699481.4827 | 1263025.6087 | 2699483.6528 | 1263032.3063
40 | 2699472.9202 | 1262975.2343 | 2699475.0606 | 1262989.0301
41 | 2699482.5973 | 1263248.5224 | 2699483.2928 | 1263233.6107 | 2699483.4708 | 1263220.8032 | 2699508.1783 | 1263223.2986
42 | 2699482.5973 | 1263248.5224 | 2699504.007 | 1263250.8845 | 2699502.7949 | 1263263.1037
43 | 2699509.0819 | 1263213.9283 | 2699508.1783 | 1263223.2986
44 | 2699502.6096 | 1263264.9727 | 2699502.7949 | 1263263.1037
45 | 2699502.6096 | 1263264.9727 | 2699501.0561 | 1263280.5964
46 | 2699483.6528 | 1263032.3063 | 2699485.2283 | 1263037.1813 | 2699486.4445 | 1263044.2439
47 | 2699488.6257 | 1263056.9102 | 2699486.4445 | 1263044.2439
48 | 2699488.6257 | 1263056.9102 | 2699490.7477 | 1263069.6008
49 | 2699490.7477 | 1263069.6008 | 2699501.964 | 1263067.6885
50 | 2699490.7477 | 1263069.6008 | 2699489.0626 | 1263069.895 | 2699483.199 | 1263070.9283
51 | 2699466.0907 | 1263073.9119 | 2699477.3119 | 1263071.9657 | 2699483.199 | 1263070.9283
52 | 2699543.9523 | 1263097.0409 | 2699539.2513 | 1263091.2014 | 2699533.7277 | 1263059.9493 | 2699530.7054 | 1263060.4545 | 2699527.6459 | 1263060.9367 | 2699521.5406 | 1263061.9793
53 | 2699521.5406 | 1263061.9793 | 2699517.1807 | 1263062.7288 | 2699517.579 | 1263065.0262 | 2699501.964 | 1263067.6885
54 | 2699543.9523 | 1263097.0409 | 2699546.5626 | 1263105.3361 | 2699547.9078 | 1263108.7095
55 | 2699558.483 | 1263135.2281 | 2699547.9078 | 1263108.7095
56 | 2699527.4686 | 1262926.067 | 2699527.3127 | 1262915.1887 | 2699535.9429 | 1262928.4226 | 2699536.4194 | 1262941.2857 | 2699544.3643 | 1262941.5196 | 2699544.5411 | 1262946.6824 | 2699547.7536 | 1262946.5141 | 2699559.7408 | 1262946.071 | 2699567.2468 | 1262945.9751 | 2699570.4701 | 1262946.5076 | 2699573.9066 | 1262947.7998 | 2699577.5783 | 1262950.3415 | 2699579.9098 | 1262953.2721 | 2699581.6677 | 1262956.2597 | 2699589.0614 | 1262969.5284
57 | 2699506.2075 | 1262923.307 | 2699511.5447 | 1262926.277 | 2699527.4686 | 1262926.067
58 | 2699527.4686 | 1262926.067 | 2699527.4904 | 1262941.5769
59 | 2699589.0614 | 1262969.5284 | 2699579.8248 | 1262974.4103 | 2699572.8633 | 1262977.9738 | 2699563.7629 | 1262982.8246 | 2699564.41 | 1263006.5773 | 2699570.8577 | 1263017.4733
60 | 2699506.2075 | 1262923.307 | 2699497.9966 | 1262920.5221 | 2699489.6984 | 1262921.7556
61 | 2699527.6884 | 1262959.8559 | 2699527.508 | 1262954.1463 | 2699527.4904 | 1262941.5769
62 | 2699522.4432 | 1262994.9614 | 2699526.4933 | 1262991.1375 | 2699527.5395 | 1262988.9645
63 | 2699527.5395 | 1262988.9645 | 2699528.2224 | 1262986.4405 | 2699528.4172 | 1262982.9298 | 2699527.6884 | 1262959.8559
64 | 2699522.4432 | 1262994.9614 | 2699518.2257 | 1262997.0922 | 2699508.3048 | 1262999.7647
65 | 2699533.7514 | 1263135.0339 | 2699542.8174 | 1263133.5519 | 2699555.5198 | 1263134.9113 | 2699558.483 | 1263135.2281
66 | 2699533.7514 | 1263135.0339 | 2699526.7429 | 1263136.2315
67 | 2699510.6704 | 1263139.004 | 2699515.2695 | 1263138.1922 | 2699526.7429 | 1263136.2315
68 | 2699503.1184 | 1263152.4217 | 2699504.5212 | 1263152.3341 | 2699504.1758 | 1263149.5816 | 2699503.4725 | 1263143.9206 | 2699503.0202 | 1263140.3545
69 | 2699503.1184 | 1263152.4217 | 2699503.6438 | 1263162.5318
70 | 2699503.0202 | 1263140.3545 | 2699494.4867 | 1263141.8057
71 | 2699503.0202 | 1263140.3545 | 2699510.6704 | 1263139.004
72 | 2699503.6438 | 1263162.5318 | 2699504.6087 | 1263181.0962
73 | 2699466.0421 | 1263135.4396 | 2699475.5377 | 1263134.8433 | 2699476.8392 | 1263144.8067
74 | 2699476.8392 | 1263144.8067 | 2699494.4867 | 1263141.8057
75 | 2699466.0421 | 1263135.4396 | 2699449.5365 | 1263145.626 | 2699449.6536 | 1263147.4048
76 | 2699369.512 | 1263164.0305 | 2699368.1289 | 1263185.6368
77 | 2699391.923 | 1263190.24 | 2699399.0852 | 1263190.7576
78 | 2699383.5363 | 1263145.0043 | 2699383.5392 | 1263144.9647
79 | 2699365.8724 | 1263219.0617 | 2699364.3392 | 1263240.8848
80 | 2699367.1867 | 1263200.3537 | 2699365.8724 | 1263219.0617
81 | 2699338.9737 | 1263201.0173 | 2699338.5024 | 1263206.7438 | 2699337.8479 | 1263214.1699
82 | 2699367.1867 | 1263200.3537 | 2699363.5947 | 1263200.2488 | 2699359.7843 | 1263200.1403 | 2699341.65 | 1263199.6686 | 2699339.1083 | 1263199.3812 | 2699338.9737 | 1263201.0173
83 | 2699411.3517 | 1263119.2827 | 2699418.5998 | 1263119.8118
84 | 2699475.2156 | 1262923.9084 | 2699461.0063 | 1262925.6598
85 | 2699461.0063 | 1262925.6598 | 2699459.8697 | 1262913.81
86 | 2699472.9202 | 1262975.2343 | 2699471.6899 | 1262967.3071
87 | 2699475.2156 | 1262923.9084 | 2699489.6984 | 1262921.7556
88 | 2699367.1867 | 1263200.3537 | 2699368.1289 | 1263185.6368
89 | 2699475.2156 | 1262923.9084 | 2699475.2664 | 1262909.4214
90 | 2699418.7945 | 1263119.826 | 2699418.5998 | 1263119.8118
91 | 2699422.6694 | 1263120.1088 | 2699418.7945 | 1263119.826
92 | 2699399.0852 | 1263190.7576 | 2699406.2484 | 1263191.2753
93 | 2699409.5491 | 1263191.5138 | 2699406.2484 | 1263191.2753

## bus_geodata
| x | y | coords
0 | 2699437.1791 | 1263284.3105
1 | 2699403.3095 | 1263280.1111
2 | 2699455.6365 | 1263287.5825
3 | 2699373.9806 | 1263277.9763
4 | 2699470.4462 | 1263283.8027
5 | 2699377.9152 | 1263221.418
6 | 2699499.9339 | 1263291.8832
7 | 2699382.4103 | 1263221.5826
8 | 2699380.2694 | 1263189.3978
9 | 2699398.1957 | 1263065.1633
10 | 2699413.272 | 1263071.4218
11 | 2699377.4906 | 1263100.6113
12 | 2699409.5458 | 1263049.6772
13 | 2699373.1797 | 1263121.6785
14 | 2699384.459 | 1263132.4657
15 | 2699370.62 | 1263146.7227
16 | 2699386.5801 | 1263116.099
17 | 2699383.5421 | 1263144.9254
18 | 2699404.1899 | 1263118.76
19 | 2699420.5085 | 1263040.3067
20 | 2699430.12 | 1263039.1006
21 | 2699425.9008 | 1263079.5038
22 | 2699448.1053 | 1263014.4271
23 | 2699477.4402 | 1263004.3677
24 | 2699446.7979 | 1263007.3021
25 | 2699432.8472 | 1262930.7461
26 | 2699444.8399 | 1262953.2662
27 | 2699451.669 | 1262926.5808
28 | 2699472.7895 | 1262951.2879
29 | 2699480.3425 | 1263005.6175
30 | 2699475.0606 | 1262989.0301
31 | 2699482.5973 | 1263248.5224
32 | 2699508.1783 | 1263223.2986
33 | 2699502.7949 | 1263263.1037
34 | 2699501.0561 | 1263280.5964
35 | 2699509.0819 | 1263213.9283
36 | 2699502.6096 | 1263264.9727
37 | 2699483.6528 | 1263032.3063
38 | 2699486.4445 | 1263044.2439
39 | 2699488.6257 | 1263056.9102
40 | 2699490.7477 | 1263069.6008
41 | 2699466.0907 | 1263073.9119
42 | 2699483.1989 | 1263070.9283
43 | 2699421.3173 | 1262991.3355
44 | 2699521.5406 | 1263061.9793
45 | 2699543.9523 | 1263097.0409
46 | 2699501.964 | 1263067.6885
47 | 2699547.9078 | 1263108.7095
48 | 2699527.4686 | 1262926.067
49 | 2699589.0614 | 1262969.5284
50 | 2699506.2075 | 1262923.307
51 | 2699527.4904 | 1262941.5769
52 | 2699570.8577 | 1263017.4733
53 | 2699527.5395 | 1262988.9645
54 | 2699522.4432 | 1262994.9614
55 | 2699527.6884 | 1262959.8559
56 | 2699558.483 | 1263135.2281
57 | 2699533.7514 | 1263135.0339
58 | 2699526.7429 | 1263136.2315
59 | 2699503.1184 | 1263152.4217
60 | 2699503.0202 | 1263140.3545
61 | 2699503.6438 | 1263162.5318
62 | 2699476.8392 | 1263144.8067
63 | 2699466.0421 | 1263135.4396
64 | 2699494.4867 | 1263141.8057
65 | 2699371.591 | 1263130.648
66 | 2699369.512 | 1263164.0305
67 | 2699508.3048 | 1262999.7647
68 | 2699391.923 | 1263190.24
69 | 2699383.5363 | 1263145.0043
70 | 2699364.3392 | 1263240.8848
71 | 2699365.8724 | 1263219.0617
72 | 2699337.8479 | 1263214.1699
73 | 2699338.9737 | 1263201.0173
74 | 2699383.5392 | 1263144.9647
75 | 2699411.3517 | 1263119.2827
76 | 2699433.8406 | 1263081.2757
77 | 2699461.0063 | 1262925.6598
78 | 2699471.6899 | 1262967.3071
79 | 2699472.9202 | 1262975.2343
80 | 2699449.6536 | 1263147.4048
81 | 2699504.6087 | 1263181.0962
82 | 2699489.6984 | 1262921.7556
83 | 2699510.6704 | 1263139.004
84 | 2699368.1289 | 1263185.6368
85 | 2699367.1867 | 1263200.3537
86 | 2699459.8697 | 1262913.81
87 | 2699475.2156 | 1262923.9084
88 | 2699475.2664 | 1262909.4214
89 | 2699418.5998 | 1263119.8118
90 | 2699418.7945 | 1263119.826
91 | 2699422.6694 | 1263120.1088
92 | 2699399.0852 | 1263190.7576
93 | 2699406.2484 | 1263191.2753
94 | 2699409.5491 | 1263191.5138
95 | 2699490.7477 | 1263069.6008

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97269 | -0.52745 | 0.0059895 | 0.0015011
1 | 0.97347 | -0.51207 | 0.0073813 | 0.0018499
2 | 0.97239 | -0.53357 | 0.0061091 | 0.0015311
3 | 0.97433 | -0.49528 | 0 | 0
4 | 0.9722 | -0.53725 | 0 | 0
5 | 0.97597 | -0.46299 | 0 | 0
6 | 0.97183 | -0.54455 | 0 | 0
7 | 0.97594 | -0.46352 | 0.0064618 | 0.0016195
8 | 0.97709 | -0.44096 | 0 | 0
9 | 0.98356 | -0.31483 | 0 | 0
10 | 0.98105 | -0.36382 | 0 | 0
11 | 0.98237 | -0.33797 | 0 | 0
12 | 0.98466 | -0.29349 | 0.014732 | 0.0036921
13 | 0.9818 | -0.34906 | 0.002001 | 0.00050149
14 | 0.97963 | -0.39135 | 0 | 0
15 | 0.98094 | -0.36584 | 0 | 0
16 | 0.9795 | -0.39376 | 0 | 0
17 | 0.97903 | -0.40296 | 0.0014526 | 0.00036405
18 | 0.97937 | -0.39637 | 0.0014528 | 0.00036412
19 | 0.9855 | -0.27709 | 0 | 0
20 | 0.98623 | -0.26306 | 0 | 0
21 | 0.97975 | -0.38911 | 0.0068222 | 0.0017098
22 | 0.98835 | -0.22223 | 0 | 0
23 | 0.99043 | -0.18211 | 0 | 0
24 | 0.98822 | -0.2246 | 0.018308 | 0.0045885
25 | 0.98371 | -0.31245 | 0 | 0
26 | 0.98356 | -0.31534 | 0 | 0
27 | 0.98382 | -0.31026 | 0.0021522 | 0.00053938
28 | 0.9834 | -0.31843 | 0.0061255 | 0.0015352
29 | 0.99067 | -0.17766 | 0 | 0
30 | 0.99014 | -0.18778 | 0.011261 | 0.0028222
31 | 0.97148 | -0.55157 | 0 | 0
32 | 0.97131 | -0.55492 | 0 | 0
33 | 0.97158 | -0.54941 | 0.0040649 | 0.0010188
34 | 0.97171 | -0.54697 | 0.0040641 | 0.0010186
35 | 0.97128 | -0.55552 | 0.0034522 | 0.0008652
36 | 0.9716 | -0.54915 | 0 | 0
37 | 0.99347 | -0.12406 | 0 | 0
38 | 0.9946 | -0.1024 | 0.011386 | 0.0028536
39 | 0.99584 | -0.078934 | 0 | 0
40 | 0.99707 | -0.055506 | 0 | 0
41 | 1 | 0 | -0.3938 | -0.10048
42 | 0.99794 | -0.039078 | 0.019444 | 0.0048732
43 | 0.98577 | -0.27194 | 0.0097478 | 0.002443
44 | 0.99588 | -0.078394 | 0 | 0
45 | 0.99449 | -0.10525 | 0 | 0
46 | 0.99649 | -0.066655 | 0.026276 | 0.0065853
47 | 0.99415 | -0.11168 | 0.0063114 | 0.0015818
48 | 0.98494 | -0.28841 | 0 | 0
49 | 0.98179 | -0.34976 | 0 | 0
50 | 0.98457 | -0.29563 | 0 | 0
51 | 0.98565 | -0.27464 | 0.0014992 | 0.00037574
52 | 0.97991 | -0.38647 | 0.031172 | 0.0078125
53 | 0.98793 | -0.23043 | 0 | 0
54 | 0.98832 | -0.22294 | 0 | 0
55 | 0.98651 | -0.25794 | 0.0016832 | 0.00042185
56 | 0.99355 | -0.1234 | 0 | 0
57 | 0.99302 | -0.13362 | 0 | 0
58 | 0.99287 | -0.13654 | 0.0035169 | 0.00088141
59 | 0.99233 | -0.14704 | 0 | 0
60 | 0.99246 | -0.14447 | 0 | 0
61 | 0.99223 | -0.14896 | 0.0048257 | 0.0012094
62 | 0.99239 | -0.1458 | 0 | 0
63 | 0.99236 | -0.14634 | 0 | 0
64 | 0.99242 | -0.14531 | 0.0039166 | 0.00098159
65 | 0.98156 | -0.35365 | 0 | 0
66 | 0.98054 | -0.37353 | 0.0050425 | 0.0012638
67 | 0.98905 | -0.20886 | 0.0086694 | 0.0021728
68 | 0.97699 | -0.44293 | 0.0014561 | 0.00036494
69 | 0.97903 | -0.40303 | 0.0014562 | 0.00036496
70 | 0.97965 | -0.39105 | 0.0056237 | 0.0014094
71 | 0.97976 | -0.38881 | 0.0056252 | 0.0014098
72 | 0.97985 | -0.38709 | 0.0017842 | 0.00044715
73 | 0.97987 | -0.38666 | 0.0013195 | 0.0003307
74 | 0.97903 | -0.40299 | 0.0014528 | 0.00036412
75 | 0.97933 | -0.39723 | 0.0014528 | 0.00036412
76 | 0.97913 | -0.40134 | 0.082712 | 0.02073
77 | 0.98389 | -0.30886 | 0 | 0
78 | 0.98996 | -0.1914 | 0.0092699 | 0.0023232
79 | 0.99002 | -0.19008 | 0 | 0
80 | 0.99233 | -0.14693 | 0.001557 | 0.00039022
81 | 0.99213 | -0.15092 | 0.0059287 | 0.0014859
82 | 0.98428 | -0.30123 | 0.0021445 | 0.00053747
83 | 0.99257 | -0.14224 | 0.0035159 | 0.00088116
84 | 0.98016 | -0.38114 | 0.0050424 | 0.0012638
85 | 0.97996 | -0.38498 | 0 | 0
86 | 0.98384 | -0.30991 | 0.0048665 | 0.0012197
87 | 0.98406 | -0.30548 | 0 | 0
88 | 0.98402 | -0.30626 | 0.002984 | 0.00074787
89 | 0.97929 | -0.39791 | 0.0015597 | 0.00039091
90 | 0.97929 | -0.39792 | 0.0020287 | 0.00050844
91 | 0.97929 | -0.39803 | 0.001557 | 0.00039022
92 | 0.97694 | -0.44395 | 0.0014561 | 0.00036494
93 | 0.9769 | -0.44478 | 0.0014532 | 0.00036421
94 | 0.97688 | -0.44507 | 0.0048675 | 0.0012199
95 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023694 | -0.0059415 | 0.023712 | 0.0059522 | 1.7386e-05 | 1.0689e-05 | 0.036248 | 0.036248 | 0.036248 | 0.97269 | -0.52745 | 0.97347 | -0.51207 | 9.9583
1 | 0.017705 | 0.0044404 | -0.0177 | -0.0044374 | 5.1662e-06 | 3.0734e-06 | 0.027086 | 0.027086 | 0.027086 | 0.97269 | -0.52745 | 0.97239 | -0.53357 | 7.4411
2 | -0.031093 | -0.0078022 | 0.031118 | 0.0078177 | 2.4913e-05 | 1.5578e-05 | 0.047531 | 0.047531 | 0.047531 | 0.97347 | -0.51207 | 0.97433 | -0.49528 | 13.058
3 | 0.01159 | 0.0029063 | -0.011588 | -0.0029052 | 2.0316e-06 | 1.0867e-06 | 0.017737 | 0.017737 | 0.017737 | 0.97239 | -0.53357 | 0.9722 | -0.53725 | 4.8729
4 | -0.031118 | -0.0078177 | 0.031166 | 0.0078478 | 4.8035e-05 | 3.0035e-05 | 0.047531 | 0.047531 | 0.047531 | 0.97433 | -0.49528 | 0.97597 | -0.46299 | 13.0579
5 | 0.011588 | 0.0029052 | -0.011584 | -0.002903 | 4.0272e-06 | 2.1543e-06 | 0.017737 | 0.017737 | 0.017737 | 0.9722 | -0.53725 | 0.97183 | -0.54455 | 4.8729
6 | 0.0064619 | 0.0016195 | -0.0064618 | -0.0016195 | 1.6325e-07 | 4.8438e-08 | 0.0098522 | 0.0098523 | 0.0098523 | 0.97597 | -0.46299 | 0.97594 | -0.46352 | 2.7067
7 | -0.037628 | -0.0094673 | 0.037667 | 0.0094923 | 3.9648e-05 | 2.4973e-05 | 0.057383 | 0.057383 | 0.057383 | 0.97597 | -0.46299 | 0.97709 | -0.44096 | 15.7645
8 | 0.011584 | 0.002903 | -0.011583 | -0.0029023 | 1.3382e-06 | 7.1592e-07 | 0.017737 | 0.017737 | 0.017737 | 0.97183 | -0.54455 | 0.97171 | -0.54697 | 4.8729
9 | 0.0092346 | 0.0023146 | -0.0092337 | -0.0023142 | 8.6659e-07 | 4.0829e-07 | 0.014063 | 0.014064 | 0.014064 | 0.97709 | -0.44096 | 0.97699 | -0.44293 | 3.8636
10 | -0.046902 | -0.011807 | 0.046987 | 0.011861 | 8.5208e-05 | 5.3974e-05 | 0.071446 | 0.071446 | 0.071446 | 0.97709 | -0.44096 | 0.97903 | -0.40303 | 19.6281
11 | 0.089901 | 0.022673 | -0.089691 | -0.022539 | 0.0002103 | 0.00013421 | 0.13606 | 0.13606 | 0.13606 | 0.98356 | -0.31483 | 0.98105 | -0.36382 | 37.3795
12 | 0.086173 | 0.021806 | -0.086077 | -0.021746 | 9.5581e-05 | 5.9463e-05 | 0.13044 | 0.13045 | 0.13045 | 0.98356 | -0.31483 | 0.98237 | -0.33797 | 11.9455
13 | -0.17607 | -0.044479 | 0.17625 | 0.044594 | 0.0001803 | 0.00011462 | 0.26651 | 0.26651 | 0.26651 | 0.98356 | -0.31483 | 0.98466 | -0.29349 | 24.4053
14 | 0.089691 | 0.022539 | -0.089583 | -0.02247 | 0.00010816 | 6.9026e-05 | 0.13606 | 0.13606 | 0.13606 | 0.98105 | -0.36382 | 0.97975 | -0.38911 | 37.3796
15 | 0.086077 | 0.021746 | -0.086031 | -0.021718 | 4.5751e-05 | 2.8464e-05 | 0.13045 | 0.13045 | 0.13045 | 0.98237 | -0.33797 | 0.9818 | -0.34906 | 11.9456
16 | -0.19099 | -0.048286 | 0.19114 | 0.048382 | 0.00015032 | 9.5656e-05 | 0.28877 | 0.28877 | 0.28877 | 0.98466 | -0.29349 | 0.9855 | -0.27709 | 26.444
17 | 0.08403 | 0.021216 | -0.084012 | -0.021205 | 1.8485e-05 | 1.1485e-05 | 0.12741 | 0.12741 | 0.12741 | 0.9818 | -0.34906 | 0.98156 | -0.35365 | 11.6679
18 | -0.059431 | -0.014991 | 0.059504 | 0.015037 | 7.2663e-05 | 4.6205e-05 | 0.090308 | 0.090308 | 0.090308 | 0.97963 | -0.39135 | 0.98094 | -0.36584 | 24.8099
19 | 0.0080535 | 0.0020187 | -0.0080526 | -0.0020183 | 9.2656e-07 | 3.8515e-07 | 0.012233 | 0.012233 | 0.012233 | 0.97963 | -0.39135 | 0.9795 | -0.39376 | 3.3607
20 | 0.051378 | 0.012972 | -0.051349 | -0.012954 | 2.8559e-05 | 1.812e-05 | 0.078075 | 0.078075 | 0.078075 | 0.97963 | -0.39135 | 0.97903 | -0.40296 | 21.4492
21 | 0.024459 | 0.0061367 | -0.02445 | -0.0061312 | 8.9543e-06 | 5.5119e-06 | 0.037105 | 0.037105 | 0.037105 | 0.98094 | -0.36584 | 0.98054 | -0.37353 | 10.1937
22 | -0.083963 | -0.021174 | 0.084012 | 0.021205 | 4.9026e-05 | 3.097e-05 | 0.12741 | 0.12741 | 0.12741 | 0.98094 | -0.36584 | 0.98156 | -0.35365 | 17.5018
23 | 0.0080526 | 0.0020183 | -0.0080516 | -0.0020179 | 1.0001e-06 | 4.1579e-07 | 0.012233 | 0.012233 | 0.012233 | 0.9795 | -0.39376 | 0.97937 | -0.39637 | 3.3608
24 | 0.049897 | 0.01259 | -0.049896 | -0.01259 | 8.5134e-08 | 5.3991e-08 | 0.075867 | 0.075867 | 0.075867 | 0.97903 | -0.40296 | 0.97903 | -0.40299 | 20.8427
25 | 0.0065987 | 0.0016537 | -0.0065985 | -0.0016537 | 2.7067e-07 | 8.2874e-08 | 0.010026 | 0.010026 | 0.010026 | 0.97937 | -0.39637 | 0.97933 | -0.39723 | 2.7543
26 | -0.19114 | -0.048382 | 0.19127 | 0.048463 | 0.00012881 | 8.1965e-05 | 0.28877 | 0.28877 | 0.28877 | 0.9855 | -0.27709 | 0.98623 | -0.26306 | 26.444
27 | 0.009752 | 0.002445 | -0.0097478 | -0.002443 | 4.1264e-06 | 1.9927e-06 | 0.014714 | 0.014714 | 0.014714 | 0.98623 | -0.26306 | 0.98577 | -0.27194 | 4.0424
28 | -0.20102 | -0.050909 | 0.20141 | 0.05116 | 0.00039495 | 0.00025145 | 0.30348 | 0.30348 | 0.30348 | 0.98623 | -0.26306 | 0.98835 | -0.22223 | 27.7914
29 | 0.082761 | 0.02076 | -0.082712 | -0.02073 | 4.8202e-05 | 3.0747e-05 | 0.1257 | 0.1257 | 0.1257 | 0.97975 | -0.38911 | 0.97913 | -0.40134 | 34.5331
30 | -0.21972 | -0.05575 | 0.22015 | 0.05602 | 0.00042483 | 0.0002707 | 0.33105 | 0.33105 | 0.33105 | 0.98835 | -0.22223 | 0.99043 | -0.18211 | 30.3159
31 | 0.01831 | 0.0045897 | -0.018308 | -0.0045885 | 2.0645e-06 | 1.2284e-06 | 0.027568 | 0.027568 | 0.027568 | 0.98835 | -0.22223 | 0.98822 | -0.2246 | 7.5736
32 | -0.24068 | -0.06117 | 0.24074 | 0.061203 | 5.1604e-05 | 3.2905e-05 | 0.3619 | 0.3619 | 0.3619 | 0.99043 | -0.18211 | 0.99067 | -0.17766 | 33.1415
33 | 0.020538 | 0.0051495 | -0.020532 | -0.0051461 | 5.5416e-06 | 3.347e-06 | 0.030856 | 0.030856 | 0.030856 | 0.99043 | -0.18211 | 0.99014 | -0.18778 | 8.477
34 | 0.0061272 | 0.0015356 | -0.0061264 | -0.0015354 | 8.4273e-07 | 2.0729e-07 | 0.0092684 | 0.0092686 | 0.0092686 | 0.98371 | -0.31245 | 0.98356 | -0.31534 | 2.5463
35 | -0.0061272 | -0.0015356 | 0.0061279 | 0.0015358 | 6.389e-07 | 1.5708e-07 | 0.0092684 | 0.0092683 | 0.0092684 | 0.98371 | -0.31245 | 0.98382 | -0.31026 | 2.5463
36 | 0.0061264 | 0.0015354 | -0.0061255 | -0.0015352 | 9.0265e-07 | 2.2215e-07 | 0.0092686 | 0.0092687 | 0.0092687 | 0.98356 | -0.31534 | 0.9834 | -0.31843 | 2.5463
37 | -0.00828 | -0.0020752 | 0.0082806 | 0.0020754 | 5.5182e-07 | 2.3402e-07 | 0.012523 | 0.012523 | 0.012523 | 0.98382 | -0.31026 | 0.98389 | -0.30886 | 3.4405
38 | 0.061754 | 0.015649 | -0.061661 | -0.01559 | 9.2413e-05 | 5.8777e-05 | 0.092818 | 0.092818 | 0.092818 | 0.99067 | -0.17766 | 0.98905 | -0.20886 | 25.4994
39 | -0.30249 | -0.076852 | 0.30327 | 0.077351 | 0.00078278 | 0.0004998 | 0.45472 | 0.45472 | 0.45472 | 0.99067 | -0.17766 | 0.99347 | -0.12406 | 41.6412
40 | 0.0092715 | 0.002324 | -0.0092704 | -0.0023235 | 1.0164e-06 | 4.7096e-07 | 0.013934 | 0.013934 | 0.013934 | 0.99014 | -0.18778 | 0.99002 | -0.19008 | 3.8279
41 | 0.0034528 | 0.00086485 | -0.0034523 | -0.00086514 | 5.5139e-07 | -2.9789e-07 | 0.0052885 | 0.0052888 | 0.0052888 | 0.97148 | -0.55157 | 0.97131 | -0.55492 | 1.453
42 | -0.0034528 | -0.00086485 | 0.0034532 | 0.00086465 | 3.5469e-07 | -1.9177e-07 | 0.0052885 | 0.0052884 | 0.0052885 | 0.97148 | -0.55157 | 0.97158 | -0.54941 | 1.4529
43 | 0.0034523 | 0.00086514 | -0.0034522 | -0.0008652 | 9.8746e-08 | -5.3318e-08 | 0.0052888 | 0.0052888 | 0.0052888 | 0.97131 | -0.55492 | 0.97128 | -0.55552 | 1.453
44 | -0.0075181 | -0.0018834 | 0.0075182 | 0.0018835 | 9.3369e-08 | 3.6497e-08 | 0.011514 | 0.011514 | 0.011514 | 0.97158 | -0.54941 | 0.9716 | -0.54915 | 3.1632
45 | 0.007519 | 0.0018838 | -0.0075182 | -0.0018835 | 7.8055e-07 | 3.0508e-07 | 0.011514 | 0.011514 | 0.011514 | 0.97171 | -0.54697 | 0.9716 | -0.54915 | 3.1632
46 | -0.30327 | -0.077351 | 0.30359 | 0.077554 | 0.00031765 | 0.00020282 | 0.45472 | 0.45472 | 0.45472 | 0.99347 | -0.12406 | 0.9946 | -0.1024 | 41.6412
47 | -0.31498 | -0.080408 | 0.31533 | 0.080636 | 0.00035755 | 0.00022833 | 0.47176 | 0.47176 | 0.47176 | 0.9946 | -0.1024 | 0.99584 | -0.078934 | 43.2011
48 | -0.31533 | -0.080636 | 0.31569 | 0.080865 | 0.00035792 | 0.00022857 | 0.47176 | 0.47176 | 0.47176 | 0.99584 | -0.078934 | 0.99707 | -0.055506 | 43.2011
49 | 0.055979 | 0.014077 | -0.05595 | -0.014058 | 2.9792e-05 | 1.8918e-05 | 0.08356 | 0.08356 | 0.08356 | 0.99707 | -0.055506 | 0.99649 | -0.066655 | 22.9559
50 | -0.37167 | -0.094942 | 0.37197 | 0.095131 | 0.00029544 | 0.00018878 | 0.55531 | 0.55531 | 0.55531 | 0.99707 | -0.055506 | 0.99794 | -0.039078 | 50.853
51 | 0.39215 | 0.10048 | -0.39141 | -0.1 | 0.00074114 | 0.00047365 | 0.58431 | 0.58431 | 0.58431 | 1 | 0 | 0.99794 | -0.039078 | 53.508
52 | 0.029657 | 0.0074625 | -0.029619 | -0.0074389 | 3.8006e-05 | 2.3653e-05 | 0.044323 | 0.044324 | 0.044324 | 0.99588 | -0.078394 | 0.99449 | -0.10525 | 12.1768
53 | -0.029657 | -0.0074625 | 0.029674 | 0.0074729 | 1.6647e-05 | 1.036e-05 | 0.044323 | 0.044323 | 0.044323 | 0.99588 | -0.078394 | 0.99649 | -0.066655 | 12.1768
54 | 0.029619 | 0.0074389 | -0.02961 | -0.0074332 | 9.0822e-06 | 5.6527e-06 | 0.044324 | 0.044324 | 0.044324 | 0.99449 | -0.10525 | 0.99415 | -0.11168 | 12.1768
55 | 0.023299 | 0.0058514 | -0.023286 | -0.0058435 | 1.3023e-05 | 7.9647e-06 | 0.034877 | 0.034877 | 0.034877 | 0.99415 | -0.11168 | 0.99355 | -0.1234 | 9.5816
56 | 0.031319 | 0.007904 | -0.031227 | -0.0078467 | 9.1744e-05 | 5.7331e-05 | 0.047335 | 0.047335 | 0.047335 | 0.98494 | -0.28841 | 0.98179 | -0.34976 | 13.0042
57 | 0.018293 | 0.00459 | -0.018286 | -0.0045863 | 6.2938e-06 | 3.7485e-06 | 0.027638 | 0.027638 | 0.027638 | 0.98494 | -0.28841 | 0.98457 | -0.29563 | 7.5929
58 | -0.049611 | -0.012494 | 0.049644 | 0.012515 | 3.2693e-05 | 2.0726e-05 | 0.074973 | 0.074973 | 0.074973 | 0.98494 | -0.28841 | 0.98565 | -0.27464 | 20.5969
59 | 0.031227 | 0.0078467 | -0.031172 | -0.0078125 | 5.4618e-05 | 3.4135e-05 | 0.047335 | 0.047336 | 0.047336 | 0.98179 | -0.34976 | 0.97991 | -0.38647 | 13.0043
60 | 0.018286 | 0.0045863 | -0.018281 | -0.0045834 | 4.8867e-06 | 2.9106e-06 | 0.027638 | 0.027638 | 0.027638 | 0.98457 | -0.29563 | 0.98428 | -0.30123 | 7.5929
61 | -0.051143 | -0.01289 | 0.051184 | 0.012916 | 4.0897e-05 | 2.5941e-05 | 0.077236 | 0.077236 | 0.077236 | 0.98565 | -0.27464 | 0.98651 | -0.25794 | 21.2187
62 | -0.052937 | -0.013383 | 0.052956 | 0.013395 | 1.9028e-05 | 1.2076e-05 | 0.079775 | 0.079775 | 0.079775 | 0.98793 | -0.23043 | 0.98832 | -0.22294 | 21.9161
63 | 0.052937 | 0.013383 | -0.052867 | -0.013338 | 6.9725e-05 | 4.425e-05 | 0.079775 | 0.079775 | 0.079775 | 0.98793 | -0.23043 | 0.98651 | -0.25794 | 21.9162
64 | -0.052956 | -0.013395 | 0.052992 | 0.013417 | 3.5797e-05 | 2.2718e-05 | 0.079775 | 0.079775 | 0.079775 | 0.98832 | -0.22294 | 0.98905 | -0.20886 | 21.9161
65 | 0.023286 | 0.0058435 | -0.023274 | -0.0058365 | 1.1344e-05 | 6.9381e-06 | 0.034877 | 0.034877 | 0.034877 | 0.99355 | -0.1234 | 0.99302 | -0.13362 | 9.5816
66 | 0.023274 | 0.0058365 | -0.023271 | -0.0058345 | 3.2433e-06 | 1.9838e-06 | 0.034877 | 0.034877 | 0.034877 | 0.99302 | -0.13362 | 0.99287 | -0.13654 | 9.5817
67 | 0.019754 | 0.0049531 | -0.019749 | -0.0049499 | 5.3611e-06 | 3.2203e-06 | 0.029606 | 0.029607 | 0.029607 | 0.99287 | -0.13654 | 0.99257 | -0.14224 | 8.1337
68 | -0.010756 | -0.0026959 | 0.010757 | 0.0026966 | 1.3145e-06 | 6.6719e-07 | 0.016129 | 0.016129 | 0.016129 | 0.99233 | -0.14704 | 0.99246 | -0.14447 | 4.431
69 | 0.010756 | 0.0026959 | -0.010755 | -0.0026954 | 9.8761e-07 | 5.013e-07 | 0.016129 | 0.016129 | 0.016129 | 0.99233 | -0.14704 | 0.99223 | -0.14896 | 4.431
70 | 0.0054739 | 0.0013712 | -0.0054737 | -0.0013711 | 2.1863e-07 | 2.8075e-08 | 0.0082069 | 0.008207 | 0.008207 | 0.99246 | -0.14447 | 0.99242 | -0.14531 | 2.2547
71 | -0.016231 | -0.0040678 | 0.016233 | 0.0040688 | 1.7253e-06 | 1.0038e-06 | 0.024336 | 0.024336 | 0.024336 | 0.99246 | -0.14447 | 0.99257 | -0.14224 | 6.6857
72 | 0.0059293 | 0.001486 | -0.0059287 | -0.0014859 | 5.5119e-07 | 1.1268e-07 | 0.008892 | 0.0088921 | 0.0088921 | 0.99223 | -0.14896 | 0.99213 | -0.15092 | 2.4429
73 | 0.0015571 | 0.00038975 | -0.001557 | -0.00038997 | 3.9983e-08 | -2.2716e-07 | 0.0023346 | 0.0023346 | 0.0023346 | 0.99239 | -0.1458 | 0.99236 | -0.14634 | 0.64139
74 | -0.0015571 | -0.00038975 | 0.0015571 | 0.00038954 | 3.6585e-08 | -2.0788e-07 | 0.0023346 | 0.0023345 | 0.0023346 | 0.99239 | -0.1458 | 0.99242 | -0.14531 | 0.64136
75 | 0.001557 | 0.00038997 | -0.001557 | -0.00039022 | 4.329e-08 | -2.459e-07 | 0.0023346 | 0.0023347 | 0.0023347 | 0.99236 | -0.14634 | 0.99233 | -0.14693 | 0.64141
76 | 0.019408 | 0.0048674 | -0.019401 | -0.0048632 | 7.0431e-06 | 4.2346e-06 | 0.029453 | 0.029453 | 0.029453 | 0.98054 | -0.37353 | 0.98016 | -0.38114 | 8.0915
77 | 0.0077776 | 0.0019493 | -0.0077772 | -0.0019491 | 3.7786e-07 | 1.5191e-07 | 0.011846 | 0.011846 | 0.011846 | 0.97699 | -0.44293 | 0.97694 | -0.44395 | 3.2543
78 | -0.048444 | -0.012226 | 0.048444 | 0.012226 | 8.0651e-08 | 5.112e-08 | 0.073659 | 0.073659 | 0.073659 | 0.97903 | -0.40303 | 0.97903 | -0.40299 | 20.2361
79 | -0.0056237 | -0.0014094 | 0.0056243 | 0.0014095 | 5.9858e-07 | 1.0761e-07 | 0.0085419 | 0.0085418 | 0.0085419 | 0.97965 | -0.39105 | 0.97976 | -0.38881 | 2.3467
80 | -0.011249 | -0.0028193 | 0.011252 | 0.0028204 | 2.0529e-06 | 1.0776e-06 | 0.017085 | 0.017085 | 0.017085 | 0.97976 | -0.38881 | 0.97996 | -0.38498 | 4.6937
81 | -0.0017842 | -0.00044715 | 0.0017842 | 0.00044701 | 3.634e-08 | -1.4302e-07 | 0.0027095 | 0.0027094 | 0.0027095 | 0.97985 | -0.38709 | 0.97987 | -0.38666 | 0.74435
82 | -0.0031037 | -0.00077771 | 0.003104 | 0.0007775 | 2.4778e-07 | -2.1614e-07 | 0.0047132 | 0.0047131 | 0.0047132 | 0.97987 | -0.38666 | 0.97996 | -0.38498 | 1.2948
83 | 0.0051456 | 0.0012895 | -0.0051454 | -0.0012895 | 1.6659e-07 | 1.5177e-08 | 0.0078183 | 0.0078184 | 0.0078184 | 0.97933 | -0.39723 | 0.97929 | -0.39791 | 2.1479
84 | -0.013147 | -0.0032951 | 0.013149 | 0.0032962 | 2.1164e-06 | 1.1732e-06 | 0.019884 | 0.019884 | 0.019884 | 0.98389 | -0.30886 | 0.98406 | -0.30548 | 5.4626
85 | 0.0048668 | 0.0012197 | -0.0048665 | -0.0012197 | 2.4184e-07 | 3.6056e-09 | 0.0073604 | 0.0073605 | 0.0073605 | 0.98389 | -0.30886 | 0.98384 | -0.30991 | 2.0221
86 | -0.0092699 | -0.0023232 | 0.0092704 | 0.0023235 | 5.8405e-07 | 2.7064e-07 | 0.013934 | 0.013934 | 0.013934 | 0.98996 | -0.1914 | 0.99002 | -0.19008 | 3.8279
87 | 0.016137 | 0.0040459 | -0.016134 | -0.004044 | 3.2679e-06 | 1.9054e-06 | 0.024396 | 0.024396 | 0.024396 | 0.98428 | -0.30123 | 0.98406 | -0.30548 | 6.7022
88 | 0.014358 | 0.0035994 | -0.014355 | -0.0035979 | 2.6277e-06 | 1.4959e-06 | 0.021798 | 0.021798 | 0.021798 | 0.98016 | -0.38114 | 0.97996 | -0.38498 | 5.9885
89 | 0.0029841 | 0.00074776 | -0.002984 | -0.00074787 | 1.1062e-07 | -1.1325e-07 | 0.0045123 | 0.0045124 | 0.0045124 | 0.98406 | -0.30548 | 0.98402 | -0.30626 | 1.2397
90 | 0.0035857 | 0.00089861 | -0.0035857 | -0.00089861 | 2.1736e-09 | -1.0659e-09 | 0.0054484 | 0.0054484 | 0.0054484 | 0.97929 | -0.39791 | 0.97929 | -0.39792 | 1.4968
91 | 0.001557 | 0.00039018 | -0.001557 | -0.00039022 | 8.1549e-09 | -4.3663e-08 | 0.0023658 | 0.0023659 | 0.0023659 | 0.97929 | -0.39792 | 0.97929 | -0.39803 | 0.64996
92 | 0.0063211 | 0.0015842 | -0.0063208 | -0.0015841 | 2.4965e-07 | 6.9855e-08 | 0.0096279 | 0.0096279 | 0.0096279 | 0.97694 | -0.44395 | 0.9769 | -0.44478 | 2.645
93 | 0.0048676 | 0.0012199 | -0.0048675 | -0.0012199 | 6.8221e-08 | 2.2288e-09 | 0.0074143 | 0.0074144 | 0.0074144 | 0.9769 | -0.44478 | 0.97688 | -0.44507 | 2.0369

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3938 | 0.10048

## res_load
| p_mw | q_mvar
0 | 0.0059895 | 0.0015011
1 | 0.0073813 | 0.0018499
2 | 0.0061091 | 0.0015311
3 | 0.0064618 | 0.0016195
4 | 0.014732 | 0.0036921
5 | 0.002001 | 0.00050149
6 | 0.0014526 | 0.00036405
7 | 0.0014528 | 0.00036412
8 | 0.0068222 | 0.0017098
9 | 0.018308 | 0.0045885
10 | 0.0021522 | 0.00053938
11 | 0.0061255 | 0.0015352
12 | 0.011261 | 0.0028222
13 | 0.0040649 | 0.0010188
14 | 0.0040641 | 0.0010186
15 | 0.0034522 | 0.0008652
16 | 0.011386 | 0.0028536
17 | 0.019444 | 0.0048732
18 | 0.0097478 | 0.002443
19 | 0.026276 | 0.0065853
20 | 0.0063114 | 0.0015818
21 | 0.0014992 | 0.00037574
22 | 0.031172 | 0.0078125
23 | 0.0016832 | 0.00042185
24 | 0.0035169 | 0.00088141
25 | 0.0048257 | 0.0012094
26 | 0.0039166 | 0.00098159
27 | 0.0050425 | 0.0012638
28 | 0.0086694 | 0.0021728
29 | 0.0014561 | 0.00036494
30 | 0.0014562 | 0.00036496
31 | 0.0056237 | 0.0014094
32 | 0.0056252 | 0.0014098
33 | 0.0017842 | 0.00044715
34 | 0.0013195 | 0.0003307
35 | 0.0014528 | 0.00036412
36 | 0.0014528 | 0.00036412
37 | 0.082712 | 0.02073
38 | 0.0092699 | 0.0023232
39 | 0.001557 | 0.00039022
40 | 0.0059287 | 0.0014859
41 | 0.0021445 | 0.00053747
42 | 0.0035159 | 0.00088116
43 | 0.0050424 | 0.0012638
44 | 0.0048665 | 0.0012197
45 | 0.002984 | 0.00074787
46 | 0.0015597 | 0.00039091
47 | 0.0020287 | 0.00050844
48 | 0.001557 | 0.00039022
49 | 0.0014561 | 0.00036494
50 | 0.0014532 | 0.00036421
51 | 0.0048675 | 0.0012199

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1