## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-21_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-21_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-21_0_3_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_230-21_0_3_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_230-21_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_230-21_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_230-21_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_230-21_0_3_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_230-21_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_230-21_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_230-21_0_3_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_230-21_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_230-21_0_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_230-21_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_230-21_0_3_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_230-21_0_3_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_230-21_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_230-21_0_3_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_230-21_0_3_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_230-21_0_3_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_230-21_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_230-21_0_3_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_230-21_0_3_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_230-21_0_3_node_91 | 0.4 | n |  | TRUE
25 | bus_LV_230-21_0_3_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_230-21_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_230-21_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_230-21_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_230-21_0_3_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_230-21_0_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_230-21_0_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_230-21_0_3_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_230-21_0_3_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_230-21_0_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_230-21_0_3_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_230-21_0_3_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_230-21_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_230-21_0_3_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_230-21_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_230-21_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_230-21_0_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_230-21_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_230-21_0_3_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_230-21_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_230-21_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_230-21_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_230-21_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_230-21_0_3_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_230-21_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_230-21_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_230-21_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_230-21_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_230-21_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_230-21_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_230-21_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_230-21_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_230-21_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_230-21_0_3_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_230-21_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_230-21_0_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_230-21_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_230-21_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_230-21_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_230-21_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_230-21_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_230-21_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_230-21_0_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_230-21_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_230-21_0_3_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_230-21_0_3_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_230-21_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_230-21_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_230-21_0_3_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_230-21_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_230-21_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_230-21_0_3_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_230-21_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_230-21_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_230-21_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_230-21_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_230-21_0_3_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_230-21_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_230-21_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_230-21_0_3_node_89 | 0.4 | n |  | TRUE
85 | bus_MV_513_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-21_0_3_load_0 | 0 | 0.0017049 | 0.00042729 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-21_0_3_load_1 | 1 | 0.003987 | 0.00099925 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-21_0_3_load_25 | 3 | 0.0020002 | 0.0005013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-21_0_3_load_21 | 5 | 0.0038819 | 0.00097289 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-21_0_3_load_81 | 8 | 0.010877 | 0.002726 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-21_0_3_load_42 | 11 | 0.0057947 | 0.0014523 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-21_0_3_load_44 | 13 | 0.00066887 | 0.00016763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-21_0_3_load_85 | 15 | 0.0077487 | 0.001942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-21_0_3_load_88 | 16 | 0.011485 | 0.0028784 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-21_0_3_load_94 | 19 | 0.00899 | 0.0022531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-21_0_3_load_43 | 20 | 0.0048354 | 0.0012119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-21_0_3_load_93 | 22 | 0.0050603 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-21_0_3_load_41 | 23 | 0.0058938 | 0.0014771 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-21_0_3_load_91 | 24 | 0.0052658 | 0.0013197 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-21_0_3_load_58 | 25 | 0.0019917 | 0.00049918 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-21_0_3_load_71 | 26 | 0.0037793 | 0.00094719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-21_0_3_load_57 | 28 | 0.0014831 | 0.0003717 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-21_0_3_load_79 | 29 | 0.0047935 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-21_0_3_load_67 | 30 | 0.0054015 | 0.0013537 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-21_0_3_load_69 | 31 | 0.0073272 | 0.0018364 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-21_0_3_load_72 | 33 | 0.0042084 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-21_0_3_load_73 | 34 | 0.0032314 | 0.00080986 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-21_0_3_load_84 | 35 | 0.0034926 | 0.00087534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-21_0_3_load_86 | 36 | 0.0044307 | 0.0011104 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-21_0_3_load_40 | 37 | 0.0066384 | 0.0016637 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-21_0_3_load_90 | 38 | 0.0054152 | 0.0013572 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-21_0_3_load_23 | 40 | 0.0013305 | 0.00033347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-21_0_3_load_55 | 41 | 0.0023846 | 0.00059764 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-21_0_3_load_30 | 42 | 0.0034273 | 0.00085896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-21_0_3_load_56 | 43 | 0.0028208 | 0.00070695 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-21_0_3_load_28 | 44 | 0.00091977 | 0.00023052 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-21_0_3_load_27 | 45 | 0.0083454 | 0.0020916 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-21_0_3_load_29 | 46 | 0.00092692 | 0.00023231 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-21_0_3_load_31 | 47 | 0.0016439 | 0.00041199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-21_0_3_load_77 | 48 | 0.0015571 | 0.00039025 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-21_0_3_load_39 | 49 | 0.0010651 | 0.00026693 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-21_0_3_load_32 | 50 | 0.0028411 | 0.00071206 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-21_0_3_load_33 | 51 | 0.0017531 | 0.00043936 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-21_0_3_load_34 | 52 | 0.0035505 | 0.00088984 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-21_0_3_load_36 | 54 | 0.0022832 | 0.00057223 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-21_0_3_load_37 | 55 | 0.0047977 | 0.0012024 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-21_0_3_load_38 | 56 | 0.0015588 | 0.00039067 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-21_0_3_load_61 | 57 | 0.0066492 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-21_0_3_load_75 | 58 | 0.0052523 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-21_0_3_load_66 | 59 | 0.0019447 | 0.0004874 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-21_0_3_load_76 | 60 | 0.0031868 | 0.00079869 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-21_0_3_load_45 | 61 | 0.0040078 | 0.0010045 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-21_0_3_load_46 | 62 | 0.0081229 | 0.0020358 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-21_0_3_load_47 | 63 | 0.0045213 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-21_0_3_load_48 | 64 | 0.0080363 | 0.0020141 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-21_0_3_load_49 | 65 | 0.0045691 | 0.0011451 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-21_0_3_load_59 | 66 | 0.010152 | 0.0025444 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_230-21_0_3_load_92 | 67 | 0.0085105 | 0.0021329 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_230-21_0_3_load_70 | 68 | 0.0058314 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_230-21_0_3_load_50 | 69 | 0.0018588 | 0.00046585 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_230-21_0_3_load_51 | 70 | 0.0013023 | 0.00032638 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_230-21_0_3_load_52 | 71 | 0.014517 | 0.0036383 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_230-21_0_3_load_53 | 72 | 0.0056553 | 0.0014174 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_230-21_0_3_load_63 | 74 | 0.0026276 | 0.00065855 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_230-21_0_3_load_62 | 75 | 0.0033006 | 0.00082722 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_230-21_0_3_load_60 | 76 | 0.0026443 | 0.00066274 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_230-21_0_3_load_64 | 77 | 0.003457 | 0.0008664 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_230-21_0_3_load_74 | 78 | 0.008848 | 0.0022175 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_230-21_0_3_load_78 | 79 | 0.0040088 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_230-21_0_3_load_80 | 80 | 0.004843 | 0.0012138 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_230-21_0_3_load_82 | 81 | 0.0087036 | 0.0021813 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_230-21_0_3_load_83 | 82 | 0.0058035 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_230-21_0_3_load_87 | 83 | 0.0046669 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_230-21_0_3_load_89 | 84 | 0.0046473 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-21_0_3_line_0 |  | 0 | 1 | 0.0081728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-21_0_3_line_1 |  | 1 | 2 | 0.019055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-21_0_3_line_2 |  | 2 | 3 | 0.023646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-21_0_3_line_3 |  | 2 | 4 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-21_0_3_line_4 |  | 2 | 5 | 0.006674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-21_0_3_line_5 |  | 3 | 25 | 0.0061232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-21_0_3_line_6 |  | 4 | 26 | 0.011518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-21_0_3_line_7 |  | 5 | 27 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-21_0_3_line_8 |  | 6 | 7 | 0.11405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-21_0_3_line_9 |  | 6 | 8 | 0.0097122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-21_0_3_line_10 |  | 7 | 11 | 0.016789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-21_0_3_line_11 |  | 8 | 29 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-21_0_3_line_12 |  | 9 | 10 | 0.053621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-21_0_3_line_13 |  | 9 | 11 | 0.015563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-21_0_3_line_14 |  | 10 | 20 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-21_0_3_line_15 |  | 10 | 12 | 0.038395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-21_0_3_line_16 |  | 12 | 13 | 0.0090482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-21_0_3_line_17 |  | 14 | 15 | 0.010567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-21_0_3_line_18 |  | 14 | 16 | 0.0060076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-21_0_3_line_19 |  | 15 | 35 | 0.0094972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-21_0_3_line_20 |  | 16 | 36 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-21_0_3_line_21 |  | 17 | 18 | 0.007753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-21_0_3_line_22 |  | 17 | 19 | 0.015621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-21_0_3_line_23 |  | 18 | 30 | 0.015613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-21_0_3_line_24 |  | 21 | 22 | 0.0060997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-21_0_3_line_25 |  | 21 | 23 | 0.0086671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-21_0_3_line_26 |  | 21 | 24 | 0.014838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-21_0_3_line_27 |  | 23 | 37 | 0.014007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-21_0_3_line_28 |  | 24 | 38 | 0.0080875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-21_0_3_line_29 |  | 25 | 28 | 0.0057921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-21_0_3_line_30 |  | 27 | 39 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-21_0_3_line_31 |  | 29 | 80 | 0.009438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-21_0_3_line_32 |  | 30 | 66 | 0.0020983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-21_0_3_line_33 |  | 31 | 32 | 0.018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-21_0_3_line_34 |  | 32 | 77 | 0.0033011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-21_0_3_line_35 |  | 32 | 76 | 0.01248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-21_0_3_line_36 |  | 33 | 34 | 0.0059859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-21_0_3_line_37 |  | 34 | 78 | 0.0036861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-21_0_3_line_38 |  | 35 | 82 | 0.007088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-21_0_3_line_39 |  | 36 | 83 | 0.011463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-21_0_3_line_40 |  | 37 | 55 | 3.465e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-21_0_3_line_41 |  | 38 | 84 | 0.0078333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-21_0_3_line_42 |  | 39 | 42 | 0.0034835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-21_0_3_line_43 |  | 40 | 41 | 0.0099813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-21_0_3_line_44 |  | 41 | 43 | 0.005634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-21_0_3_line_45 |  | 42 | 44 | 0.013726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-21_0_3_line_46 |  | 43 | 76 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-21_0_3_line_47 |  | 44 | 45 | 0.0084443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-21_0_3_line_48 |  | 45 | 46 | 0.00042849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-21_0_3_line_49 |  | 46 | 47 | 0.0088663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-21_0_3_line_50 |  | 47 | 48 | 0.0020229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-21_0_3_line_51 |  | 48 | 49 | 0.00079505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-21_0_3_line_52 |  | 49 | 53 | 0.016078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-21_0_3_line_53 |  | 50 | 51 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_230-21_0_3_line_54 |  | 50 | 52 | 0.0030255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_230-21_0_3_line_55 |  | 51 | 53 | 0.014887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_230-21_0_3_line_56 |  | 52 | 54 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_230-21_0_3_line_57 |  | 53 | 55 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-21_0_3_line_58 |  | 53 | 56 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-21_0_3_line_59 |  | 54 | 57 | 0.00023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_230-21_0_3_line_60 |  | 56 | 58 | 0.0034427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-21_0_3_line_61 |  | 57 | 59 | 0.0054138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_230-21_0_3_line_62 |  | 58 | 60 | 0.00234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-21_0_3_line_63 |  | 59 | 72 | 0.0016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_230-21_0_3_line_64 |  | 60 | 79 | 0.0057124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-21_0_3_line_65 |  | 61 | 62 | 0.011292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-21_0_3_line_66 |  | 61 | 63 | 0.00021257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-21_0_3_line_67 |  | 62 | 64 | 0.0020954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-21_0_3_line_68 |  | 63 | 65 | 0.0064909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-21_0_3_line_69 |  | 64 | 66 | 0.00019037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-21_0_3_line_70 |  | 65 | 67 | 0.0076179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-21_0_3_line_71 |  | 67 | 68 | 0.0081046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-21_0_3_line_72 |  | 68 | 73 | 0.0014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-21_0_3_line_73 |  | 69 | 70 | 0.0062712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_230-21_0_3_line_74 |  | 69 | 71 | 0.0085897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_230-21_0_3_line_75 |  | 70 | 72 | 0.0041756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_230-21_0_3_line_76 |  | 71 | 73 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-21_0_3_line_77 |  | 73 | 74 | 0.014634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-21_0_3_line_78 |  | 74 | 75 | 0.0051073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_230-21_0_3_line_79 |  | 75 | 77 | 0.0093996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_230-21_0_3_line_80 |  | 78 | 79 | 0.0019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_230-21_0_3_line_81 |  | 80 | 81 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_230-21_0_3_line_82 |  | 81 | 82 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_230-21_0_3_line_83 |  | 83 | 84 | 0.0077995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-21_0_3_trafo_50 | 0.63 MVA 20/0.4 kV | 85 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2697415.175 | 1261779.7228 | 2697421.2589 | 1261774.2656
1 | 2697432.6486 | 1261759.8807 | 2697431.3933 | 1261765.1755 | 2697421.2589 | 1261774.2656
2 | 2697432.6486 | 1261759.8807 | 2697437.4043 | 1261773.5591 | 2697437.7786 | 1261776.0006 | 2697437.2742 | 1261782.6759
3 | 2697419.9921 | 1261746.8506 | 2697429.7281 | 1261761.9565 | 2697432.6486 | 1261759.8807
4 | 2697432.6486 | 1261759.8807 | 2697437.7415 | 1261756.3061 | 2697438.1127 | 1261756.0485
5 | 2697437.2742 | 1261782.6759 | 2697436.8128 | 1261788.7817
6 | 2697419.9921 | 1261746.8506 | 2697408.5134 | 1261747.8024
7 | 2697447.7125 | 1261749.3869 | 2697438.1127 | 1261756.0485
8 | 2697554.1335 | 1261838.0242 | 2697561.9662 | 1261837.3862 | 2697570.6211 | 1261836.6951 | 2697574.7152 | 1261835.1947 | 2697574.6744 | 1261831.7356 | 2697588.7385 | 1261827.9423 | 2697594.8292 | 1261836.9613 | 2697605.0763 | 1261845.2704 | 2697615.8515 | 1261848.9846 | 2697630.0988 | 1261851.8887 | 2697654.8436 | 1261856.1562
9 | 2697554.1335 | 1261838.0242 | 2697554.6468 | 1261828.3256
10 | 2697654.8436 | 1261856.1562 | 2697671.3338 | 1261859.3083
11 | 2697554.9184 | 1261815.7818 | 2697554.922 | 1261823.1251 | 2697554.6468 | 1261828.3256
12 | 2697686.6195 | 1261862.2302 | 2697689.9693 | 1261853.7897 | 2697692.2185 | 1261842.6289 | 2697695.3059 | 1261827.2673 | 2697693.6093 | 1261815.9301 | 2697693.4393 | 1261814.8152 | 2697691.7595 | 1261810.2171
13 | 2697686.6195 | 1261862.2302 | 2697671.3338 | 1261859.3083
14 | 2697691.7595 | 1261810.2171 | 2697694.3065 | 1261798.9675
15 | 2697654.9761 | 1261809.3646 | 2697663.3906 | 1261813.1956 | 2697667.591 | 1261811.1966 | 2697674.6837 | 1261809.2788 | 2697683.4582 | 1261809.1124 | 2697691.7595 | 1261810.2171
16 | 2697654.9761 | 1261809.3646 | 2697656.5534 | 1261800.4549
17 | 2697539.0159 | 1261759.0662 | 2697542.1907 | 1261769.1447
18 | 2697539.0159 | 1261759.0662 | 2697537.3761 | 1261753.2867
19 | 2697545.0442 | 1261778.203 | 2697542.1907 | 1261769.1447
20 | 2697533.359 | 1261739.1283 | 2697537.3761 | 1261753.2867
21 | 2697508.479 | 1261838.6498 | 2697516.1691 | 1261839.7998
22 | 2697516.1691 | 1261839.7998 | 2697531.6184 | 1261842.1077
23 | 2697508.479 | 1261838.6498 | 2697510.265 | 1261823.139
24 | 2697517.565 | 1261691.691 | 2697515.3859 | 1261685.9937
25 | 2697517.565 | 1261691.691 | 2697516.013 | 1261692.1213 | 2697509.8644 | 1261695.5838
26 | 2697517.565 | 1261691.691 | 2697522.5539 | 1261705.6651
27 | 2697497.6599 | 1261702.4566 | 2697509.8644 | 1261695.5838
28 | 2697525.2732 | 1261713.2818 | 2697522.5539 | 1261705.6651
29 | 2697436.1969 | 1261794.5408 | 2697436.7858 | 1261789.1394 | 2697436.8128 | 1261788.7817
30 | 2697439.3624 | 1261735.6938 | 2697447.7125 | 1261749.3869
31 | 2697554.9184 | 1261815.7818 | 2697554.9164 | 1261811.5934 | 2697553.5541 | 1261806.5236
32 | 2697510.265 | 1261823.139 | 2697510.505 | 1261821.0544
33 | 2697478.1603 | 1261795.8264 | 2697475.8575 | 1261813.9241
34 | 2697478.1603 | 1261795.8264 | 2697481.4235 | 1261795.3279
35 | 2697478.1603 | 1261795.8264 | 2697465.7686 | 1261794.3481
36 | 2697472.7428 | 1261671.8953 | 2697474.7725 | 1261677.5265
37 | 2697474.7725 | 1261677.5265 | 2697476.0224 | 1261680.9943
38 | 2697547.1738 | 1261784.9635 | 2697545.0442 | 1261778.203
39 | 2697533.359 | 1261739.1283 | 2697530.23 | 1261728.1003
40 | 2697497.6599 | 1261702.4566 | 2697497.6569 | 1261702.4583
41 | 2697525.2732 | 1261713.2818 | 2697527.9069 | 1261720.659
42 | 2697439.3624 | 1261735.6938 | 2697442.3863 | 1261733.9645
43 | 2697459.4104 | 1261768.3694 | 2697459.2105 | 1261778.3487
44 | 2697459.2105 | 1261778.3487 | 2697459.0977 | 1261783.9816
45 | 2697454.302 | 1261727.1505 | 2697442.3863 | 1261733.9645
46 | 2697459.0977 | 1261783.9816 | 2697458.9065 | 1261793.5295 | 2697465.7686 | 1261794.3481
47 | 2697461.6323 | 1261722.9585 | 2697454.302 | 1261727.1505
48 | 2697461.6323 | 1261722.9585 | 2697462.0043 | 1261722.7458
49 | 2697469.701 | 1261718.3444 | 2697462.0043 | 1261722.7458
50 | 2697469.701 | 1261718.3444 | 2697471.457 | 1261717.3402
51 | 2697471.457 | 1261717.3402 | 2697472.1472 | 1261716.9455
52 | 2697486.1038 | 1261708.9643 | 2697472.1472 | 1261716.9455
53 | 2697493.2611 | 1261735.1263 | 2697490.0321 | 1261723.3235
54 | 2697494.0595 | 1261738.0447 | 2697493.2611 | 1261735.1263
55 | 2697486.1038 | 1261708.9643 | 2697490.0321 | 1261723.3235
56 | 2697494.0595 | 1261738.0447 | 2697496.8023 | 1261748.0705
57 | 2697486.1038 | 1261708.9643 | 2697497.6569 | 1261702.4583
58 | 2697486.1038 | 1261708.9643 | 2697480.5726 | 1261693.6184
59 | 2697496.8023 | 1261748.0705 | 2697496.8644 | 1261748.2975
60 | 2697480.5726 | 1261693.6184 | 2697479.4052 | 1261690.3797
61 | 2697498.293 | 1261753.5194 | 2697496.8644 | 1261748.2975
62 | 2697478.6118 | 1261688.1783 | 2697479.4052 | 1261690.3797
63 | 2697498.293 | 1261753.5194 | 2697498.7373 | 1261755.1435
64 | 2697478.6118 | 1261688.1783 | 2697476.6748 | 1261682.8044
65 | 2697510.7665 | 1261818.7837 | 2697511.4696 | 1261812.678 | 2697510.9743 | 1261807.5562
66 | 2697510.9743 | 1261807.5562 | 2697510.9539 | 1261807.3446
67 | 2697510.7665 | 1261818.7837 | 2697510.5268 | 1261820.8653
68 | 2697510.3292 | 1261800.8838 | 2697510.9539 | 1261807.3446
69 | 2697510.505 | 1261821.0544 | 2697510.5268 | 1261820.8653
70 | 2697510.3292 | 1261800.8838 | 2697510.3172 | 1261800.7604 | 2697508.71 | 1261793.4409
71 | 2697506.9718 | 1261785.5249 | 2697508.71 | 1261793.4409
72 | 2697506.6584 | 1261784.0976 | 2697506.9718 | 1261785.5249
73 | 2697501.494 | 1261765.22 | 2697499.8391 | 1261759.1711
74 | 2697501.494 | 1261765.22 | 2697503.7606 | 1261773.5053
75 | 2697499.8391 | 1261759.1711 | 2697498.7373 | 1261755.1435
76 | 2697506.6584 | 1261784.0976 | 2697503.7606 | 1261773.5053
77 | 2697506.6584 | 1261784.0976 | 2697496.3593 | 1261787.1526 | 2697495.5701 | 1261787.4843 | 2697492.7779 | 1261788.6749
78 | 2697489.9678 | 1261792.8122 | 2697492.2308 | 1261788.9082 | 2697492.7779 | 1261788.6749
79 | 2697489.9678 | 1261792.8122 | 2697489.198 | 1261794.1402 | 2697481.4235 | 1261795.3279
80 | 2697476.6748 | 1261682.8044 | 2697476.0224 | 1261680.9943
81 | 2697550.6579 | 1261796.0241 | 2697551.1677 | 1261797.6424 | 2697553.5541 | 1261806.5236
82 | 2697550.6579 | 1261796.0241 | 2697547.1738 | 1261784.9635
83 | 2697527.9069 | 1261720.659 | 2697528.9386 | 1261723.5488 | 2697530.23 | 1261728.1003

## bus_geodata
| x | y | coords
0 | 2697415.175 | 1261779.7228
1 | 2697421.2589 | 1261774.2656
2 | 2697432.6486 | 1261759.8807
3 | 2697437.2742 | 1261782.6759
4 | 2697419.9921 | 1261746.8506
5 | 2697438.1127 | 1261756.0485
6 | 2697554.1335 | 1261838.0242
7 | 2697654.8436 | 1261856.1562
8 | 2697554.6468 | 1261828.3256
9 | 2697686.6195 | 1261862.2302
10 | 2697691.7595 | 1261810.2171
11 | 2697671.3338 | 1261859.3083
12 | 2697654.9761 | 1261809.3646
13 | 2697656.5534 | 1261800.4549
14 | 2697539.0159 | 1261759.0662
15 | 2697542.1907 | 1261769.1447
16 | 2697537.3761 | 1261753.2867
17 | 2697516.1691 | 1261839.7998
18 | 2697508.479 | 1261838.6498
19 | 2697531.6184 | 1261842.1077
20 | 2697694.3065 | 1261798.9675
21 | 2697517.565 | 1261691.691
22 | 2697515.3859 | 1261685.9937
23 | 2697509.8644 | 1261695.5838
24 | 2697522.5539 | 1261705.6651
25 | 2697436.8128 | 1261788.7817
26 | 2697408.5134 | 1261747.8024
27 | 2697447.7125 | 1261749.3869
28 | 2697436.1969 | 1261794.5408
29 | 2697554.9184 | 1261815.7818
30 | 2697510.265 | 1261823.139
31 | 2697475.8575 | 1261813.9241
32 | 2697478.1603 | 1261795.8264
33 | 2697472.7428 | 1261671.8953
34 | 2697474.7725 | 1261677.5265
35 | 2697545.0442 | 1261778.203
36 | 2697533.359 | 1261739.1283
37 | 2697497.6599 | 1261702.4566
38 | 2697525.2732 | 1261713.2818
39 | 2697439.3624 | 1261735.6938
40 | 2697459.4104 | 1261768.3694
41 | 2697459.2105 | 1261778.3487
42 | 2697442.3863 | 1261733.9645
43 | 2697459.0977 | 1261783.9816
44 | 2697454.302 | 1261727.1505
45 | 2697461.6323 | 1261722.9585
46 | 2697462.0043 | 1261722.7458
47 | 2697469.701 | 1261718.3444
48 | 2697471.457 | 1261717.3402
49 | 2697472.1472 | 1261716.9455
50 | 2697493.2611 | 1261735.1263
51 | 2697490.0321 | 1261723.3235
52 | 2697494.0595 | 1261738.0447
53 | 2697486.1038 | 1261708.9643
54 | 2697496.8023 | 1261748.0705
55 | 2697497.6569 | 1261702.4583
56 | 2697480.5726 | 1261693.6184
57 | 2697496.8644 | 1261748.2975
58 | 2697479.4052 | 1261690.3797
59 | 2697498.293 | 1261753.5194
60 | 2697478.6118 | 1261688.1783
61 | 2697510.9743 | 1261807.5562
62 | 2697510.7665 | 1261818.7837
63 | 2697510.9539 | 1261807.3446
64 | 2697510.5268 | 1261820.8653
65 | 2697510.3292 | 1261800.8838
66 | 2697510.505 | 1261821.0544
67 | 2697508.71 | 1261793.4409
68 | 2697506.9718 | 1261785.5249
69 | 2697501.494 | 1261765.22
70 | 2697499.8391 | 1261759.1711
71 | 2697503.7606 | 1261773.5053
72 | 2697498.7373 | 1261755.1435
73 | 2697506.6584 | 1261784.0976
74 | 2697492.7779 | 1261788.6749
75 | 2697489.9678 | 1261792.8122
76 | 2697465.7686 | 1261794.3481
77 | 2697481.4235 | 1261795.3279
78 | 2697476.0224 | 1261680.9943
79 | 2697476.6748 | 1261682.8044
80 | 2697553.5541 | 1261806.5236
81 | 2697550.6579 | 1261796.0241
82 | 2697547.1738 | 1261784.9635
83 | 2697530.23 | 1261728.1003
84 | 2697527.9069 | 1261720.659
85 | 2697506.6584 | 1261784.0976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99278 | -0.13852 | 0.0017049 | 0.00042729
1 | 0.99279 | -0.13827 | 0.003987 | 0.00099925
2 | 0.99289 | -0.13635 | 0 | 0
3 | 0.99277 | -0.13864 | 0.0020002 | 0.0005013
4 | 0.99281 | -0.13779 | 0 | 0
5 | 0.99298 | -0.13459 | 0.0038819 | 0.00097289
6 | 0.98357 | -0.31678 | 0 | 0
7 | 0.98238 | -0.34004 | 0 | 0
8 | 0.98367 | -0.3148 | 0.010877 | 0.002726
9 | 0.98212 | -0.34501 | 0 | 0
10 | 0.98185 | -0.35035 | 0 | 0
11 | 0.9822 | -0.34346 | 0.0057947 | 0.0014523
12 | 0.98183 | -0.35082 | 0 | 0
13 | 0.98182 | -0.35092 | 0.00066887 | 0.00016763
14 | 0.98621 | -0.26522 | 0 | 0
15 | 0.98565 | -0.27613 | 0.0077487 | 0.001942
16 | 0.98653 | -0.25902 | 0.011485 | 0.0028784
17 | 0.99629 | -0.071405 | 0 | 0
18 | 0.99635 | -0.070181 | 0 | 0
19 | 0.99616 | -0.073872 | 0.00899 | 0.0022531
20 | 0.9818 | -0.35136 | 0.0048354 | 0.0012119
21 | 0.99133 | -0.16604 | 0 | 0
22 | 0.9913 | -0.16658 | 0.0050603 | 0.0012682
23 | 0.99212 | -0.1509 | 0.0058938 | 0.0014771
24 | 0.99006 | -0.19067 | 0.0052658 | 0.0013197
25 | 0.99275 | -0.13902 | 0.0019917 | 0.00049918
26 | 0.99278 | -0.13856 | 0.0037793 | 0.00094719
27 | 0.99318 | -0.1307 | 0 | 0
28 | 0.99274 | -0.13917 | 0.0014831 | 0.0003717
29 | 0.98392 | -0.30978 | 0.0047935 | 0.0012014
30 | 0.99648 | -0.067717 | 0.0054015 | 0.0013537
31 | 0.99742 | -0.049608 | 0.0073272 | 0.0018364
32 | 0.99754 | -0.047266 | 0 | 0
33 | 0.9941 | -0.11287 | 0.0042084 | 0.0010547
34 | 0.99413 | -0.11243 | 0.0032314 | 0.00080986
35 | 0.98521 | -0.28462 | 0.0034926 | 0.00087534
36 | 0.98747 | -0.24084 | 0.0044307 | 0.0011104
37 | 0.99346 | -0.12503 | 0.0066384 | 0.0016637
38 | 0.9894 | -0.20336 | 0.0054152 | 0.0013572
39 | 0.99346 | -0.12537 | 0 | 0
40 | 0.99731 | -0.051758 | 0.0013305 | 0.00033347
41 | 0.99732 | -0.051525 | 0.0023846 | 0.00059764
42 | 0.99352 | -0.12421 | 0.0034273 | 0.00085896
43 | 0.99734 | -0.051158 | 0.0028208 | 0.00070695
44 | 0.9938 | -0.11881 | 0.00091977 | 0.00023052
45 | 0.99397 | -0.11536 | 0.0083454 | 0.0020916
46 | 0.99399 | -0.11512 | 0.00092692 | 0.00023231
47 | 0.99425 | -0.11005 | 0.0016439 | 0.00041199
48 | 0.99431 | -0.10883 | 0.0015571 | 0.00039025
49 | 0.99434 | -0.10833 | 0.0010651 | 0.00026693
50 | 0.99716 | -0.054165 | 0.0028411 | 0.00071206
51 | 0.99612 | -0.073988 | 0.0017531 | 0.00043936
52 | 0.99742 | -0.049195 | 0.0035505 | 0.00088984
53 | 0.99488 | -0.097931 | 0 | 0
54 | 0.99833 | -0.031816 | 0.0022832 | 0.00057223
55 | 0.99346 | -0.12502 | 0.0047977 | 0.0012024
56 | 0.99443 | -0.10664 | 0.0015588 | 0.00039067
57 | 0.99835 | -0.031418 | 0.0066492 | 0.0016665
58 | 0.99434 | -0.10838 | 0.0052523 | 0.0013163
59 | 0.99885 | -0.021957 | 0.0019447 | 0.0004874
60 | 0.99429 | -0.10935 | 0.0031868 | 0.00079869
61 | 0.99699 | -0.057844 | 0.0040078 | 0.0010045
62 | 0.99657 | -0.065907 | 0.0081229 | 0.0020358
63 | 0.997 | -0.057677 | 0.0045213 | 0.0011332
64 | 0.99651 | -0.067105 | 0.0080363 | 0.0020141
65 | 0.99729 | -0.052075 | 0.0045691 | 0.0011451
66 | 0.99651 | -0.067187 | 0.010152 | 0.0025444
67 | 0.99766 | -0.044895 | 0.0085105 | 0.0021329
68 | 0.99812 | -0.036056 | 0.0058314 | 0.0014615
69 | 1 | 0 | -0.32115 | -0.08088
70 | 0.9994 | -0.011422 | 0.0013023 | 0.00032638
71 | 0.99915 | -0.016267 | 0.014517 | 0.0036383
72 | 0.999 | -0.018988 | 0.0056553 | 0.0014174
73 | 0.99821 | -0.034314 | 0 | 0
74 | 0.99787 | -0.040945 | 0.0026276 | 0.00065855
75 | 0.99776 | -0.043025 | 0.0033006 | 0.00082722
76 | 0.99744 | -0.049273 | 0.0026443 | 0.00066274
77 | 0.99759 | -0.046312 | 0.003457 | 0.0008664
78 | 0.99415 | -0.11195 | 0.008848 | 0.0022175
79 | 0.99418 | -0.11139 | 0.0040088 | 0.0010047
80 | 0.98416 | -0.3052 | 0.004843 | 0.0012138
81 | 0.98448 | -0.29897 | 0.0087036 | 0.0021813
82 | 0.98491 | -0.29052 | 0.0058035 | 0.0014545
83 | 0.98824 | -0.22579 | 0.0046669 | 0.0011696
84 | 0.9888 | -0.21492 | 0.0046473 | 0.0011647
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0017049 | -0.00042729 | 0.0017049 | 0.0004272 | 2.0013e-08 | -9.2871e-08 | 0.0025554 | 0.0025554 | 0.0025554 | 0.99278 | -0.13852 | 0.99279 | -0.13827 | 0.70203
1 | -0.005692 | -0.0014264 | 0.0056925 | 0.0014265 | 5.2008e-07 | 8.6425e-08 | 0.0085312 | 0.0085312 | 0.0085312 | 0.99279 | -0.13827 | 0.99289 | -0.13635 | 2.3437
2 | 0.0054757 | 0.0013721 | -0.0054751 | -0.0013721 | 5.9715e-07 | 7.6391e-08 | 0.0082063 | 0.0082064 | 0.0082064 | 0.99289 | -0.13635 | 0.99277 | -0.13864 | 2.2545
3 | 0.0037797 | 0.00094702 | -0.0037795 | -0.00094713 | 2.5909e-07 | -1.1264e-07 | 0.0056645 | 0.0056646 | 0.0056646 | 0.99289 | -0.13635 | 0.99281 | -0.13779 | 1.5562
4 | -0.014948 | -0.0037457 | 0.014949 | 0.0037464 | 1.256e-06 | 7.1751e-07 | 0.022402 | 0.022402 | 0.022402 | 0.99289 | -0.13635 | 0.99298 | -0.13459 | 6.1544
5 | 0.0034749 | 0.00087077 | -0.0034748 | -0.00087081 | 6.2289e-08 | -3.9309e-08 | 0.0052083 | 0.0052084 | 0.0052084 | 0.99277 | -0.13864 | 0.99275 | -0.13902 | 1.4309
6 | 0.0037795 | 0.00094713 | -0.0037793 | -0.00094719 | 1.386e-07 | -6.0237e-08 | 0.0056646 | 0.0056647 | 0.0056647 | 0.99281 | -0.13779 | 0.99278 | -0.13856 | 1.5562
7 | -0.018831 | -0.0047193 | 0.018835 | 0.0047214 | 3.4892e-06 | 2.0819e-06 | 0.028219 | 0.028219 | 0.028219 | 0.99298 | -0.13459 | 0.99318 | -0.1307 | 7.7525
8 | 0.011315 | 0.002839 | -0.011303 | -0.0028324 | 1.2536e-05 | 6.5771e-06 | 0.01712 | 0.01712 | 0.01712 | 0.98357 | -0.31678 | 0.98238 | -0.34004 | 4.7034
9 | -0.011315 | -0.002839 | 0.011316 | 0.0028396 | 1.0675e-06 | 5.599e-07 | 0.01712 | 0.01712 | 0.01712 | 0.98357 | -0.31678 | 0.98367 | -0.3148 | 4.7033
10 | 0.011303 | 0.0028324 | -0.011301 | -0.0028315 | 1.8454e-06 | 9.685e-07 | 0.01712 | 0.017121 | 0.017121 | 0.98238 | -0.34004 | 0.9822 | -0.34346 | 4.7034
11 | -0.022193 | -0.0055656 | 0.022199 | 0.0055689 | 5.3053e-06 | 3.2361e-06 | 0.033574 | 0.033574 | 0.033574 | 0.98367 | -0.3148 | 0.98392 | -0.30978 | 9.2236
12 | 0.0055059 | 0.0013791 | -0.0055045 | -0.0013789 | 1.3993e-06 | 2.1717e-07 | 0.0083418 | 0.008342 | 0.008342 | 0.98212 | -0.34501 | 0.98185 | -0.35035 | 2.2918
13 | -0.0055059 | -0.0013791 | 0.0055063 | 0.0013792 | 4.0609e-07 | 6.2949e-08 | 0.0083418 | 0.0083417 | 0.0083418 | 0.98212 | -0.34501 | 0.9822 | -0.34346 | 2.2917
14 | 0.0048356 | 0.0012119 | -0.0048354 | -0.0012119 | 2.323e-07 | 2.8038e-09 | 0.0073285 | 0.0073286 | 0.0073286 | 0.98185 | -0.35035 | 0.9818 | -0.35136 | 2.0133
15 | 0.00066889 | 0.00016705 | -0.00066887 | -0.00016752 | 1.4792e-08 | -4.7612e-07 | 0.0010135 | 0.0010137 | 0.0010137 | 0.98185 | -0.35035 | 0.98183 | -0.35082 | 0.27848
16 | 0.00066887 | 0.00016752 | -0.00066887 | -0.00016763 | 3.4867e-09 | -1.122e-07 | 0.0010137 | 0.0010137 | 0.0010137 | 0.98183 | -0.35082 | 0.98182 | -0.35092 | 0.27849
17 | 0.057679 | 0.014497 | -0.057649 | -0.014478 | 3.0021e-05 | 1.9079e-05 | 0.087042 | 0.087042 | 0.087042 | 0.98621 | -0.26522 | 0.98565 | -0.27613 | 23.9126
18 | -0.057679 | -0.014497 | 0.057696 | 0.014508 | 1.7068e-05 | 1.0847e-05 | 0.087042 | 0.087042 | 0.087042 | 0.98621 | -0.26522 | 0.98653 | -0.25902 | 23.9126
19 | 0.0499 | 0.012536 | -0.04988 | -0.012523 | 2.0217e-05 | 1.2818e-05 | 0.075344 | 0.075344 | 0.075344 | 0.98565 | -0.27613 | 0.98521 | -0.28462 | 20.6989
20 | -0.069181 | -0.017387 | 0.069241 | 0.017425 | 6.0113e-05 | 3.8284e-05 | 0.10437 | 0.10437 | 0.10437 | 0.98653 | -0.25902 | 0.98747 | -0.24084 | 28.6718
21 | -0.0089911 | -0.0022536 | 0.0089916 | 0.0022538 | 5.2429e-07 | 2.3458e-07 | 0.013429 | 0.013429 | 0.013429 | 0.99629 | -0.071405 | 0.99635 | -0.070181 | 3.6892
22 | 0.0089911 | 0.0022536 | -0.00899 | -0.0022531 | 1.0563e-06 | 4.7267e-07 | 0.013429 | 0.013429 | 0.013429 | 0.99629 | -0.071405 | 0.99616 | -0.073872 | 3.6892
23 | -0.0089916 | -0.0022538 | 0.0089926 | 0.0022543 | 1.0558e-06 | 4.7236e-07 | 0.013429 | 0.013429 | 0.013429 | 0.99635 | -0.070181 | 0.99648 | -0.067717 | 3.6892
24 | 0.0050605 | 0.0012682 | -0.0050603 | -0.0012682 | 1.3198e-07 | 5.8249e-09 | 0.0075959 | 0.0075959 | 0.0075959 | 0.99133 | -0.16604 | 0.9913 | -0.16658 | 2.0868
25 | -0.099032 | -0.025009 | 0.099104 | 0.025055 | 7.1882e-05 | 4.5893e-05 | 0.14872 | 0.14872 | 0.14872 | 0.99133 | -0.16604 | 0.99212 | -0.1509 | 40.8562
26 | 0.093971 | 0.023741 | -0.093861 | -0.02367 | 0.00011081 | 7.0729e-05 | 0.14112 | 0.14112 | 0.14112 | 0.99133 | -0.16604 | 0.99006 | -0.19067 | 38.7695
27 | -0.105 | -0.026532 | 0.10513 | 0.026615 | 0.00013039 | 8.3267e-05 | 0.15756 | 0.15756 | 0.15756 | 0.99212 | -0.1509 | 0.99346 | -0.12503 | 43.2847
28 | 0.088595 | 0.02235 | -0.088541 | -0.022316 | 5.3814e-05 | 3.4337e-05 | 0.13321 | 0.13321 | 0.13321 | 0.99006 | -0.19067 | 0.9894 | -0.20336 | 36.5952
29 | 0.0014831 | 0.00037163 | -0.0014831 | -0.0003717 | 1.0734e-08 | -6.8021e-08 | 0.002223 | 0.002223 | 0.002223 | 0.99275 | -0.13902 | 0.99274 | -0.13917 | 0.61072
30 | -0.018835 | -0.0047214 | 0.018839 | 0.0047242 | 4.7853e-06 | 2.8552e-06 | 0.028219 | 0.028219 | 0.028219 | 0.99318 | -0.1307 | 0.99346 | -0.12537 | 7.7525
31 | -0.026992 | -0.0067702 | 0.026998 | 0.0067739 | 5.8983e-06 | 3.655e-06 | 0.040823 | 0.040823 | 0.040823 | 0.98392 | -0.30978 | 0.98416 | -0.3052 | 11.2151
32 | -0.014394 | -0.003608 | 0.014395 | 0.0036082 | 3.6355e-07 | 2.0533e-07 | 0.021495 | 0.021495 | 0.021495 | 0.99648 | -0.067717 | 0.99651 | -0.067187 | 5.9051
33 | -0.0073272 | -0.0018364 | 0.007328 | 0.0018367 | 8.1748e-07 | 2.8505e-07 | 0.010931 | 0.010931 | 0.010931 | 0.99742 | -0.049608 | 0.99754 | -0.047266 | 3.0031
34 | -0.01651 | -0.0041379 | 0.016511 | 0.0041383 | 7.508e-07 | 4.3742e-07 | 0.024628 | 0.024628 | 0.024628 | 0.99754 | -0.047266 | 0.99759 | -0.046312 | 6.7658
35 | 0.0091818 | 0.0023012 | -0.0091809 | -0.0023008 | 8.779e-07 | 3.9895e-07 | 0.013696 | 0.013696 | 0.013696 | 0.99754 | -0.047266 | 0.99744 | -0.049273 | 3.7628
36 | -0.0042084 | -0.0010547 | 0.0042085 | 0.0010547 | 8.9074e-08 | -2.0602e-08 | 0.0062994 | 0.0062993 | 0.0062994 | 0.9941 | -0.11287 | 0.99413 | -0.11243 | 1.7306
37 | -0.0074399 | -0.0018646 | 0.0074401 | 0.0018646 | 1.7142e-07 | 6.1916e-08 | 0.011136 | 0.011136 | 0.011136 | 0.99413 | -0.11243 | 0.99415 | -0.11195 | 3.0594
38 | 0.046387 | 0.011648 | -0.046374 | -0.01164 | 1.305e-05 | 8.2616e-06 | 0.070069 | 0.070069 | 0.070069 | 0.98521 | -0.28462 | 0.98491 | -0.29052 | 19.2497
39 | -0.073672 | -0.018535 | 0.073725 | 0.018569 | 5.3005e-05 | 3.3776e-05 | 0.11104 | 0.11104 | 0.11104 | 0.98747 | -0.24084 | 0.98824 | -0.22579 | 30.506
40 | -0.11177 | -0.028279 | 0.11177 | 0.028279 | 3.6455e-08 | 2.3274e-08 | 0.1675 | 0.1675 | 0.1675 | 0.99346 | -0.12503 | 0.99346 | -0.12502 | 46.0163
41 | 0.083126 | 0.020959 | -0.08308 | -0.020929 | 4.5944e-05 | 2.9304e-05 | 0.12506 | 0.12506 | 0.12506 | 0.9894 | -0.20336 | 0.9888 | -0.21492 | 34.3578
42 | -0.018839 | -0.0047242 | 0.01884 | 0.0047249 | 1.0402e-06 | 6.2064e-07 | 0.028219 | 0.028219 | 0.028219 | 0.99346 | -0.12537 | 0.99352 | -0.12421 | 7.7524
43 | -0.0013305 | -0.00033347 | 0.0013306 | 0.00033335 | 1.4751e-08 | -1.208e-07 | 0.0019852 | 0.0019852 | 0.0019852 | 0.99731 | -0.051758 | 0.99732 | -0.051525 | 0.54539
44 | -0.0037152 | -0.00093098 | 0.0037152 | 0.00093095 | 6.4915e-08 | -3.1975e-08 | 0.005543 | 0.005543 | 0.005543 | 0.99732 | -0.051525 | 0.99734 | -0.051158 | 1.5228
45 | -0.022268 | -0.0055838 | 0.022273 | 0.0055873 | 5.7257e-06 | 3.4867e-06 | 0.033352 | 0.033352 | 0.033352 | 0.99352 | -0.12421 | 0.9938 | -0.11881 | 9.1626
46 | -0.006536 | -0.0016379 | 0.0065366 | 0.0016381 | 5.8698e-07 | 1.6084e-07 | 0.0097516 | 0.0097515 | 0.0097516 | 0.99734 | -0.051158 | 0.99744 | -0.049273 | 2.679
47 | -0.023193 | -0.0058178 | 0.023197 | 0.0058202 | 3.8193e-06 | 2.3349e-06 | 0.034729 | 0.034729 | 0.034729 | 0.9938 | -0.11881 | 0.99397 | -0.11536 | 9.541
48 | -0.031542 | -0.0079117 | 0.031543 | 0.0079119 | 3.5832e-07 | 2.2377e-07 | 0.047222 | 0.047222 | 0.047222 | 0.99397 | -0.11536 | 0.99399 | -0.11512 | 12.9732
49 | -0.03247 | -0.0081443 | 0.032478 | 0.0081492 | 7.8565e-06 | 4.9132e-06 | 0.04861 | 0.04861 | 0.04861 | 0.99399 | -0.11512 | 0.99425 | -0.11005 | 13.3544
50 | -0.034121 | -0.0085612 | 0.034123 | 0.0085624 | 1.9785e-06 | 1.24e-06 | 0.05107 | 0.05107 | 0.05107 | 0.99425 | -0.11005 | 0.99431 | -0.10883 | 14.0303
51 | -0.035681 | -0.0089527 | 0.035681 | 0.0089532 | 8.502e-07 | 5.3381e-07 | 0.053401 | 0.053401 | 0.053401 | 0.99431 | -0.10883 | 0.99434 | -0.10833 | 14.6705
52 | -0.036746 | -0.0092201 | 0.036765 | 0.0092316 | 1.8234e-05 | 1.1461e-05 | 0.054994 | 0.054994 | 0.054994 | 0.99434 | -0.10833 | 0.99488 | -0.097931 | 15.1084
53 | 0.18593 | 0.047101 | -0.18576 | -0.046988 | 0.00017686 | 0.00011287 | 0.27764 | 0.27764 | 0.27764 | 0.99716 | -0.054165 | 0.99612 | -0.073988 | 38.1373
54 | -0.18878 | -0.047813 | 0.18882 | 0.047842 | 4.5074e-05 | 2.8769e-05 | 0.28188 | 0.28188 | 0.28188 | 0.99716 | -0.054165 | 0.99742 | -0.049195 | 38.7196
55 | 0.18401 | 0.046549 | -0.18379 | -0.046414 | 0.00021112 | 0.00013473 | 0.27502 | 0.27502 | 0.27502 | 0.99612 | -0.073988 | 0.99488 | -0.097931 | 37.7776
56 | -0.19237 | -0.048732 | 0.19253 | 0.048834 | 0.00016073 | 0.00010259 | 0.28718 | 0.28718 | 0.28718 | 0.99742 | -0.049195 | 0.99833 | -0.031816 | 39.4472
57 | 0.11672 | 0.029578 | -0.11656 | -0.029481 | 0.00015172 | 9.6932e-05 | 0.17469 | 0.17469 | 0.17469 | 0.99488 | -0.097931 | 0.99346 | -0.12502 | 47.9905
58 | 0.030313 | 0.007604 | -0.030301 | -0.0075962 | 1.2576e-05 | 7.8368e-06 | 0.045341 | 0.045341 | 0.045341 | 0.99488 | -0.097931 | 0.99443 | -0.10664 | 12.4564
59 | -0.19482 | -0.049406 | 0.19482 | 0.049409 | 3.7249e-06 | 2.3778e-06 | 0.29058 | 0.29058 | 0.29058 | 0.99833 | -0.031816 | 0.99835 | -0.031418 | 39.9147
60 | 0.028742 | 0.0072055 | -0.02874 | -0.007204 | 2.388e-06 | 1.4837e-06 | 0.043009 | 0.043009 | 0.043009 | 0.99443 | -0.10664 | 0.99434 | -0.10838 | 11.8156
61 | -0.20147 | -0.051075 | 0.20156 | 0.051134 | 9.1656e-05 | 5.8518e-05 | 0.30049 | 0.30049 | 0.30049 | 0.99835 | -0.031418 | 0.99885 | -0.021957 | 41.276
62 | 0.023487 | 0.0058877 | -0.023486 | -0.005887 | 1.0841e-06 | 6.6348e-07 | 0.035149 | 0.035149 | 0.035149 | 0.99434 | -0.10838 | 0.99429 | -0.10935 | 9.6563
63 | -0.2035 | -0.051621 | 0.20353 | 0.05164 | 2.9059e-05 | 1.8554e-05 | 0.30339 | 0.30339 | 0.30339 | 0.99885 | -0.021957 | 0.999 | -0.018988 | 41.674
64 | 0.020299 | 0.0050883 | -0.020297 | -0.0050871 | 1.977e-06 | 1.1912e-06 | 0.03038 | 0.03038 | 0.03038 | 0.99429 | -0.10935 | 0.99418 | -0.11139 | 8.3461
65 | 0.040723 | 0.010214 | -0.040708 | -0.010204 | 1.5644e-05 | 9.8651e-06 | 0.060783 | 0.060783 | 0.060783 | 0.99699 | -0.057844 | 0.99657 | -0.065907 | 16.6986
66 | -0.044731 | -0.011218 | 0.044732 | 0.011218 | 3.5533e-07 | 2.2464e-07 | 0.066764 | 0.066764 | 0.066764 | 0.99699 | -0.057844 | 0.997 | -0.057677 | 18.3419
67 | 0.032585 | 0.0081679 | -0.032583 | -0.0081668 | 1.8601e-06 | 1.1631e-06 | 0.048654 | 0.048654 | 0.048654 | 0.99657 | -0.065907 | 0.99651 | -0.067105 | 13.3665
68 | -0.049253 | -0.012351 | 0.049266 | 0.01236 | 1.3154e-05 | 8.3339e-06 | 0.073512 | 0.073512 | 0.073512 | 0.997 | -0.057677 | 0.99729 | -0.052075 | 20.1957
69 | 0.024547 | 0.0061527 | -0.024547 | -0.0061526 | 9.5911e-08 | 5.8903e-08 | 0.036654 | 0.036654 | 0.036654 | 0.99651 | -0.067105 | 0.99651 | -0.067187 | 10.0698
70 | -0.053835 | -0.013505 | 0.053854 | 0.013517 | 1.8434e-05 | 1.1698e-05 | 0.08033 | 0.08033 | 0.08033 | 0.99729 | -0.052075 | 0.99766 | -0.044895 | 22.0686
71 | -0.062364 | -0.015649 | 0.06239 | 0.015666 | 2.6299e-05 | 1.6726e-05 | 0.093023 | 0.093023 | 0.093023 | 0.99766 | -0.044895 | 0.99812 | -0.036056 | 25.5558
72 | -0.068222 | -0.017128 | 0.068228 | 0.017131 | 5.6697e-06 | 3.6095e-06 | 0.10172 | 0.10172 | 0.10172 | 0.99812 | -0.036056 | 0.99821 | -0.034314 | 27.9441
73 | 0.21068 | 0.053506 | -0.21057 | -0.053432 | 0.00011575 | 7.3915e-05 | 0.31375 | 0.31375 | 0.31375 | 1 | 0 | 0.9994 | -0.011422 | 43.0974
74 | 0.10882 | 0.027374 | -0.10874 | -0.02732 | 8.4495e-05 | 5.3964e-05 | 0.16196 | 0.16196 | 0.16196 | 1 | 0 | 0.99915 | -0.016267 | 44.4948
75 | 0.20927 | 0.053106 | -0.20919 | -0.053057 | 7.612e-05 | 4.8608e-05 | 0.31181 | 0.31181 | 0.31181 | 0.9994 | -0.011422 | 0.999 | -0.018988 | 42.831
76 | 0.094218 | 0.023682 | -0.094137 | -0.02363 | 8.1108e-05 | 5.1765e-05 | 0.14034 | 0.14034 | 0.14034 | 0.99915 | -0.016267 | 0.99821 | -0.034314 | 38.5553
77 | 0.025909 | 0.0064988 | -0.025901 | -0.0064937 | 8.187e-06 | 5.0485e-06 | 0.038625 | 0.038625 | 0.038625 | 0.99821 | -0.034314 | 0.99787 | -0.040945 | 10.6112
78 | 0.023274 | 0.0058352 | -0.023271 | -0.0058338 | 2.307e-06 | 1.4098e-06 | 0.034706 | 0.034706 | 0.034706 | 0.99787 | -0.040945 | 0.99776 | -0.043025 | 9.5347
79 | 0.019971 | 0.0050066 | -0.019968 | -0.0050047 | 3.1269e-06 | 1.8784e-06 | 0.029784 | 0.029784 | 0.029784 | 0.99776 | -0.043025 | 0.99759 | -0.046312 | 8.1824
80 | -0.016288 | -0.0040822 | 0.016289 | 0.0040824 | 4.2885e-07 | 2.4952e-07 | 0.02438 | 0.02438 | 0.02438 | 0.99415 | -0.11195 | 0.99418 | -0.11139 | 6.6977
81 | -0.031841 | -0.0079877 | 0.031851 | 0.0079936 | 9.4687e-06 | 5.9215e-06 | 0.048146 | 0.048146 | 0.048146 | 0.98416 | -0.3052 | 0.98448 | -0.29897 | 13.2268
82 | -0.040554 | -0.010175 | 0.040571 | 0.010185 | 1.6341e-05 | 1.0311e-05 | 0.061301 | 0.061301 | 0.061301 | 0.98448 | -0.29897 | 0.98491 | -0.29052 | 16.8409
83 | -0.078392 | -0.019739 | 0.078433 | 0.019765 | 4.0773e-05 | 2.5995e-05 | 0.11807 | 0.11807 | 0.11807 | 0.98824 | -0.22579 | 0.9888 | -0.21492 | 32.4365

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32301 | 0.081346

## res_load
| p_mw | q_mvar
0 | 0.0017049 | 0.00042729
1 | 0.003987 | 0.00099925
2 | 0.0020002 | 0.0005013
3 | 0.0038819 | 0.00097289
4 | 0.010877 | 0.002726
5 | 0.0057947 | 0.0014523
6 | 0.00066887 | 0.00016763
7 | 0.0077487 | 0.001942
8 | 0.011485 | 0.0028784
9 | 0.00899 | 0.0022531
10 | 0.0048354 | 0.0012119
11 | 0.0050603 | 0.0012682
12 | 0.0058938 | 0.0014771
13 | 0.0052658 | 0.0013197
14 | 0.0019917 | 0.00049918
15 | 0.0037793 | 0.00094719
16 | 0.0014831 | 0.0003717
17 | 0.0047935 | 0.0012014
18 | 0.0054015 | 0.0013537
19 | 0.0073272 | 0.0018364
20 | 0.0042084 | 0.0010547
21 | 0.0032314 | 0.00080986
22 | 0.0034926 | 0.00087534
23 | 0.0044307 | 0.0011104
24 | 0.0066384 | 0.0016637
25 | 0.0054152 | 0.0013572
26 | 0.0013305 | 0.00033347
27 | 0.0023846 | 0.00059764
28 | 0.0034273 | 0.00085896
29 | 0.0028208 | 0.00070695
30 | 0.00091977 | 0.00023052
31 | 0.0083454 | 0.0020916
32 | 0.00092692 | 0.00023231
33 | 0.0016439 | 0.00041199
34 | 0.0015571 | 0.00039025
35 | 0.0010651 | 0.00026693
36 | 0.0028411 | 0.00071206
37 | 0.0017531 | 0.00043936
38 | 0.0035505 | 0.00088984
39 | 0.0022832 | 0.00057223
40 | 0.0047977 | 0.0012024
41 | 0.0015588 | 0.00039067
42 | 0.0066492 | 0.0016665
43 | 0.0052523 | 0.0013163
44 | 0.0019447 | 0.0004874
45 | 0.0031868 | 0.00079869
46 | 0.0040078 | 0.0010045
47 | 0.0081229 | 0.0020358
48 | 0.0045213 | 0.0011332
49 | 0.0080363 | 0.0020141
50 | 0.0045691 | 0.0011451
51 | 0.010152 | 0.0025444
52 | 0.0085105 | 0.0021329
53 | 0.0058314 | 0.0014615
54 | 0.0018588 | 0.00046585
55 | 0.0013023 | 0.00032638
56 | 0.014517 | 0.0036383
57 | 0.0056553 | 0.0014174
58 | 0.0026276 | 0.00065855
59 | 0.0033006 | 0.00082722
60 | 0.0026443 | 0.00066274
61 | 0.003457 | 0.0008664
62 | 0.008848 | 0.0022175
63 | 0.0040088 | 0.0010047
64 | 0.004843 | 0.0012138
65 | 0.0087036 | 0.0021813
66 | 0.0058035 | 0.0014545
67 | 0.0046669 | 0.0011696
68 | 0.0046473 | 0.0011647

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1