## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-222_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-222_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-222_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-222_0_4_node_39 | 0.4 | n |  | TRUE
4 | bus_LV_230-222_0_4_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_230-222_0_4_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_230-222_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_230-222_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_230-222_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_230-222_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_230-222_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_230-222_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_230-222_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_230-222_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_230-222_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_230-222_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_230-222_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_230-222_0_4_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_230-222_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_230-222_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_230-222_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_230-222_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_230-222_0_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_230-222_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_230-222_0_4_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_230-222_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_230-222_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_230-222_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_230-222_0_4_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_230-222_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_230-222_0_4_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_230-222_0_4_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_230-222_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_230-222_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_230-222_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_230-222_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_230-222_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_230-222_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_230-222_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_230-222_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_230-222_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_230-222_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_230-222_0_4_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_230-222_0_4_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_230-222_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_230-222_0_4_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_230-222_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_230-222_0_4_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_230-222_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_230-222_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_230-222_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_230-222_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_230-222_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_230-222_0_4_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_230-222_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_230-222_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_230-222_0_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_230-222_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_230-222_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_230-222_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_230-222_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_230-222_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_230-222_0_4_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_230-222_0_4_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_230-222_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_230-222_0_4_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_230-222_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_230-222_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_230-222_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_230-222_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_230-222_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_230-222_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_230-222_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_MV_509_1_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-222_0_4_load_0 | 0 | 0.01105 | 0.0027695 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-222_0_4_load_1 | 1 | 0.0054648 | 0.0013696 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-222_0_4_load_2 | 2 | 0.011046 | 0.0027683 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-222_0_4_load_3 | 6 | 0.012273 | 0.0030759 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-222_0_4_load_6 | 9 | 0.012437 | 0.003117 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-222_0_4_load_31 | 14 | 0.01159 | 0.0029048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-222_0_4_load_30 | 16 | 0.0076756 | 0.0019237 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-222_0_4_load_37 | 21 | 0.0074205 | 0.0018598 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-222_0_4_load_58 | 22 | 0.0078026 | 0.0019555 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-222_0_4_load_33 | 23 | 0.0061644 | 0.0015449 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-222_0_4_load_78 | 24 | 0.0071541 | 0.001793 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-222_0_4_load_38 | 25 | 0.011604 | 0.0029082 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-222_0_4_load_61 | 28 | 0.010286 | 0.0025779 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-222_0_4_load_70 | 31 | 0.013261 | 0.0033234 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-222_0_4_load_43 | 32 | 0.01177 | 0.0029499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-222_0_4_load_41 | 33 | 0.0084059 | 0.0021067 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-222_0_4_load_44 | 36 | 0.01229 | 0.00308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-222_0_4_load_46 | 38 | 0.0098861 | 0.0024777 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-222_0_4_load_45 | 39 | 0.010879 | 0.0027266 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-222_0_4_load_75 | 43 | 0.012586 | 0.0031543 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-222_0_4_load_77 | 45 | 0.0076292 | 0.0019121 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-222_0_4_load_54 | 46 | 0.014333 | 0.0035921 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-222_0_4_load_73 | 47 | 0.0071974 | 0.0018038 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-222_0_4_load_32 | 49 | 0.0074475 | 0.0018665 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-222_0_4_load_69 | 50 | 0.0088327 | 0.0022137 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-222_0_4_load_59 | 52 | 0.0090286 | 0.0022628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-222_0_4_load_71 | 53 | 0.0087908 | 0.0022032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-222_0_4_load_72 | 54 | 0.010707 | 0.0026835 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-222_0_4_load_64 | 56 | 0.0082996 | 0.0020801 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-222_0_4_load_40 | 58 | 0.0092572 | 0.0023201 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-222_0_4_load_47 | 59 | 0.007514 | 0.0018832 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-222_0_4_load_68 | 60 | 0.0068003 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-222_0_4_load_55 | 61 | 0.012102 | 0.003033 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-222_0_4_load_35 | 63 | 0.0086633 | 0.0021712 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-222_0_4_load_65 | 64 | 0.0094434 | 0.0023668 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-222_0_4_load_66 | 65 | 0.0076916 | 0.0019277 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-222_0_4_load_42 | 66 | 0.012284 | 0.0030787 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-222_0_4_load_48 | 67 | 0.011435 | 0.0028659 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-222_0_4_load_50 | 68 | 0.0057114 | 0.0014314 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-222_0_4_load_51 | 70 | 0.012158 | 0.003047 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-222_0_4_load_67 | 71 | 0.0092409 | 0.002316 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-222_0_4_load_56 | 72 | 0.008278 | 0.0020747 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-222_0_4_line_0 |  | 0 | 1 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-222_0_4_line_1 |  | 1 | 2 | 0.030443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-222_0_4_line_2 |  | 2 | 3 | 0.019887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-222_0_4_line_3 |  | 3 | 4 | 0.030188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_230-222_0_4_line_4 |  | 3 | 5 | 0.008565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_230-222_0_4_line_5 |  | 4 | 25 | 0.012623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_230-222_0_4_line_6 |  | 5 | 64 | 0.017252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_230-222_0_4_line_7 |  | 6 | 7 | 0.01392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-222_0_4_line_8 |  | 7 | 11 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-222_0_4_line_9 |  | 7 | 12 | 0.040006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-222_0_4_line_10 |  | 8 | 9 | 0.015418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-222_0_4_line_11 |  | 8 | 10 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-222_0_4_line_12 |  | 9 | 13 | 0.009372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-222_0_4_line_13 |  | 10 | 14 | 0.014392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-222_0_4_line_14 |  | 11 | 14 | 0.020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-222_0_4_line_15 |  | 12 | 18 | 0.077021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-222_0_4_line_16 |  | 13 | 16 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-222_0_4_line_17 |  | 13 | 44 | 0.008898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-222_0_4_line_18 |  | 15 | 16 | 0.021368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-222_0_4_line_19 |  | 15 | 17 | 0.004258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-222_0_4_line_20 |  | 17 | 47 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-222_0_4_line_21 |  | 17 | 48 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-222_0_4_line_22 |  | 18 | 24 | 0.014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-222_0_4_line_23 |  | 19 | 20 | 0.04338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_230-222_0_4_line_24 |  | 19 | 21 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_230-222_0_4_line_25 |  | 20 | 22 | 0.05004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-222_0_4_line_26 |  | 20 | 23 | 0.014622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-222_0_4_line_27 |  | 21 | 25 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_230-222_0_4_line_28 |  | 22 | 28 | 0.018215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-222_0_4_line_29 |  | 23 | 49 | 0.0089578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-222_0_4_line_30 |  | 26 | 27 | 0.067968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-222_0_4_line_31 |  | 26 | 28 | 0.025755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-222_0_4_line_32 |  | 27 | 32 | 0.026157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-222_0_4_line_33 |  | 27 | 33 | 0.0033796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-222_0_4_line_34 |  | 29 | 30 | 0.027492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-222_0_4_line_35 |  | 29 | 31 | 0.015622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-222_0_4_line_36 |  | 30 | 50 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-222_0_4_line_37 |  | 30 | 51 | 0.00593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-222_0_4_line_38 |  | 31 | 53 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-222_0_4_line_39 |  | 32 | 34 | 0.0030956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-222_0_4_line_40 |  | 33 | 58 | 0.019368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-222_0_4_line_41 |  | 34 | 35 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-222_0_4_line_42 |  | 35 | 36 | 0.047141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-222_0_4_line_43 |  | 36 | 39 | 0.018918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-222_0_4_line_44 |  | 37 | 38 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-222_0_4_line_45 |  | 37 | 39 | 0.002552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-222_0_4_line_46 |  | 40 | 41 | 0.043162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-222_0_4_line_47 |  | 40 | 42 | 0.0319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-222_0_4_line_48 |  | 40 | 43 | 0.016533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-222_0_4_line_49 |  | 41 | 46 | 0.01237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-222_0_4_line_50 |  | 42 | 59 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-222_0_4_line_51 |  | 44 | 45 | 0.020475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-222_0_4_line_52 |  | 46 | 61 | 0.038556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-222_0_4_line_53 |  | 48 | 60 | 0.020248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-222_0_4_line_54 |  | 49 | 62 | 0.0057775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-222_0_4_line_55 |  | 50 | 70 | 0.001513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-222_0_4_line_56 |  | 51 | 52 | 0.010828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-222_0_4_line_57 |  | 53 | 55 | 0.0056535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-222_0_4_line_58 |  | 54 | 55 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-222_0_4_line_59 |  | 55 | 57 | 0.044736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-222_0_4_line_60 |  | 56 | 57 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-222_0_4_line_61 |  | 57 | 72 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-222_0_4_line_62 |  | 58 | 66 | 0.020548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-222_0_4_line_63 |  | 59 | 67 | 0.017071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-222_0_4_line_64 |  | 60 | 69 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-222_0_4_line_65 |  | 61 | 72 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-222_0_4_line_66 |  | 62 | 63 | 0.025831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-222_0_4_line_67 |  | 64 | 65 | 0.01848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_230-222_0_4_line_68 |  | 65 | 71 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_230-222_0_4_line_69 |  | 67 | 68 | 0.00020899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-222_0_4_line_70 |  | 68 | 69 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_230-222_0_4_line_71 |  | 69 | 71 | 0.051332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-222_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 73 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2699663.0819 | 1260908.1004 | 2699661.73 | 1260899.3629 | 2699658.8708 | 1260898.2194
1 | 2699658.8708 | 1260898.2194 | 2699653.6894 | 1260896.1471 | 2699629.1361 | 1260900.0545
2 | 2699611.0405 | 1260906.682 | 2699616.9154 | 1260901.9993 | 2699629.1361 | 1260900.0545
3 | 2699611.0405 | 1260906.682 | 2699616.1391 | 1260936.4366
4 | 2699602.5951 | 1260908.2522 | 2699611.0405 | 1260906.682
5 | 2699616.1391 | 1260936.4366 | 2699603.9453 | 1260939.7019
6 | 2699602.5951 | 1260908.2522 | 2699599.6625 | 1260891.2515
7 | 2699727.0782 | 1260898.808 | 2699725.6461 | 1260884.9614
8 | 2699742.5252 | 1260893.6864 | 2699727.0782 | 1260898.808
9 | 2699689.4058 | 1260904.2999 | 2699693.8526 | 1260902.9626 | 2699698.5345 | 1260901.5403 | 2699700.3349 | 1260903.3833 | 2699704.2232 | 1260904.7721 | 2699708.7931 | 1260904.6268 | 2699714.0264 | 1260903.136 | 2699727.0782 | 1260898.808
10 | 2699724.7199 | 1260861.2264 | 2699724.1011 | 1260856.3564 | 2699713.6576 | 1260857.5258
11 | 2699737.2047 | 1260859.6911 | 2699724.7199 | 1260861.2264
12 | 2699712.5332 | 1260848.2215 | 2699713.6576 | 1260857.5258
13 | 2699737.2047 | 1260859.6911 | 2699739.43 | 1260873.9097
14 | 2699742.5252 | 1260893.6864 | 2699739.43 | 1260873.9097
15 | 2699645.4113 | 1260946.371 | 2699640.6681 | 1260933.5473 | 2699670.1384 | 1260923.68 | 2699676.6342 | 1260921.5099 | 2699675.8632 | 1260916.2815 | 2699682.4381 | 1260913.8903 | 2699685.6631 | 1260912.5991 | 2699688.1351 | 1260910.3723 | 2699689.3153 | 1260907.879 | 2699689.4058 | 1260904.2999
16 | 2699712.5332 | 1260848.2215 | 2699699.7247 | 1260849.9969
17 | 2699712.5332 | 1260848.2215 | 2699711.8153 | 1260840.7366 | 2699713.1895 | 1260840.5929
18 | 2699678.5593 | 1260852.9306 | 2699699.7247 | 1260849.9969
19 | 2699674.3286 | 1260853.5154 | 2699678.5593 | 1260852.9306
20 | 2699674.3286 | 1260853.5154 | 2699677.7688 | 1260864.8618
21 | 2699669.5593 | 1260837.7666 | 2699674.3286 | 1260853.5154
22 | 2699645.4113 | 1260946.371 | 2699650.2479 | 1260959.4631 | 2699650.3767 | 1260959.7901
23 | 2699533.0395 | 1260922.7936 | 2699539.762 | 1260938.4973 | 2699540.6353 | 1260940.7917 | 2699545.5469 | 1260948.1025 | 2699551.118 | 1260950.2647 | 2699556.4519 | 1260951.2997 | 2699560.0747 | 1260951.4497
24 | 2699560.0747 | 1260951.4497 | 2699583.9047 | 1260945.0684
25 | 2699533.0395 | 1260922.7936 | 2699525.8944 | 1260905.7817 | 2699515.7516 | 1260875.8664
26 | 2699533.0395 | 1260922.7936 | 2699547.3574 | 1260919.8273
27 | 2699583.9047 | 1260945.0684 | 2699603.9453 | 1260939.7019
28 | 2699515.7516 | 1260875.8664 | 2699510.4346 | 1260860.1844 | 2699509.9915 | 1260858.5886
29 | 2699547.3574 | 1260919.8273 | 2699556.1289 | 1260918.01
30 | 2699480.5234 | 1260854.5991 | 2699495.5878 | 1260849.3592 | 2699499.0479 | 1260862.7617 | 2699504.3299 | 1260861.0602 | 2699497.6953 | 1260834.7494 | 2699503.1008 | 1260833.7728
31 | 2699503.1008 | 1260833.7728 | 2699509.9915 | 1260858.5886
32 | 2699480.5234 | 1260854.5991 | 2699483.0237 | 1260845.7561 | 2699476.9095 | 1260829.9291
33 | 2699480.5234 | 1260854.5991 | 2699479.6044 | 1260857.8514
34 | 2699538.1041 | 1260814.0343 | 2699541.4908 | 1260813.4352 | 2699549.3075 | 1260812.0545 | 2699560.6523 | 1260817.7945 | 2699561.7437 | 1260821.0155
35 | 2699538.1041 | 1260814.0343 | 2699535.6051 | 1260798.6135
36 | 2699561.7437 | 1260821.0155 | 2699575.2829 | 1260811.4689 | 2699580.956 | 1260809.3407
37 | 2699556.5399 | 1260823.8859 | 2699561.7437 | 1260821.0155
38 | 2699535.6051 | 1260798.6135 | 2699532.0986 | 1260776.975
39 | 2699475.794 | 1260827.0415 | 2699476.9095 | 1260829.9291
40 | 2699479.6044 | 1260857.8514 | 2699474.3379 | 1260876.4898
41 | 2699471.5111 | 1260815.9493 | 2699475.794 | 1260827.0415
42 | 2699471.5111 | 1260815.9493 | 2699451.8523 | 1260823.2248 | 2699442.3968 | 1260798.8126
43 | 2699442.3968 | 1260798.8126 | 2699448.227 | 1260796.7867 | 2699451.7988 | 1260784.552
44 | 2699452.5139 | 1260782.1023 | 2699457.2216 | 1260765.9594
45 | 2699452.5139 | 1260782.1023 | 2699451.7988 | 1260784.552
46 | 2699645.1621 | 1260757.6902 | 2699655.6764 | 1260792.5736 | 2699656.4409 | 1260795.0663 | 2699660.5275 | 1260794.5347
47 | 2699631.0337 | 1260797.7072 | 2699655.6764 | 1260792.5736 | 2699656.4409 | 1260795.0663 | 2699660.5275 | 1260794.5347
48 | 2699660.5275 | 1260794.5347 | 2699676.9218 | 1260792.3976
49 | 2699645.1621 | 1260757.6902 | 2699632.9694 | 1260759.7755
50 | 2699631.0337 | 1260797.7072 | 2699633.1514 | 1260812.1665
51 | 2699713.1895 | 1260840.5929 | 2699710.971 | 1260820.2385
52 | 2699632.9694 | 1260759.7755 | 2699631.8274 | 1260755.9754 | 2699600.678 | 1260760.7771 | 2699598.7385 | 1260763.1575 | 2699598.7385 | 1260763.1575
53 | 2699669.5593 | 1260837.7666 | 2699660.4824 | 1260839.2372 | 2699660.1788 | 1260837.1303 | 2699657.5702 | 1260837.6201 | 2699658.0911 | 1260842.0436 | 2699656.304 | 1260842.3665
54 | 2699561.1141 | 1260915.2375 | 2699557.3635 | 1260917.7543 | 2699556.1289 | 1260918.01
55 | 2699582.3726 | 1260808.8092 | 2699580.956 | 1260809.3407
56 | 2699556.5399 | 1260823.8859 | 2699555.6949 | 1260834.6805
57 | 2699531.1943 | 1260771.3943 | 2699532.0986 | 1260776.975
58 | 2699531.1943 | 1260771.3943 | 2699529.0601 | 1260755.5802
59 | 2699575.5784 | 1260764.8357 | 2699531.1943 | 1260771.3943
60 | 2699575.5784 | 1260764.8357 | 2699573.2101 | 1260750.9948
61 | 2699575.5784 | 1260764.8357 | 2699577.447 | 1260766.6687 | 2699587.3332 | 1260765.0383
62 | 2699463.2282 | 1260891.1827 | 2699471.0103 | 1260888.2667 | 2699474.3379 | 1260876.4898
63 | 2699633.1514 | 1260812.1665 | 2699633.4941 | 1260814.5068 | 2699632.4883 | 1260817.8371 | 2699633.8481 | 1260828.9808
64 | 2699644.8642 | 1260846.4689 | 2699648.6333 | 1260843.7524 | 2699656.304 | 1260842.3665
65 | 2699598.7385 | 1260763.1575 | 2699587.3332 | 1260765.0383
66 | 2699561.1141 | 1260915.2375 | 2699556.4696 | 1260889.8275
67 | 2699599.6625 | 1260891.2515 | 2699599.6151 | 1260890.9768 | 2699603.6329 | 1260885.5733 | 2699601.8682 | 1260874.2426
68 | 2699601.8682 | 1260874.2426 | 2699601.0212 | 1260868.8045 | 2699600.1032 | 1260862.8954
69 | 2699633.8481 | 1260828.9808 | 2699633.8734 | 1260829.1882
70 | 2699644.8642 | 1260846.4689 | 2699634.687 | 1260835.8555 | 2699633.8734 | 1260829.1882
71 | 2699644.8642 | 1260846.4689 | 2699641.8244 | 1260848.8419 | 2699611.5813 | 1260855.3491 | 2699611.1847 | 1260860.5467 | 2699600.1032 | 1260862.8954

## bus_geodata
| x | y | coords
0 | 2699663.0819 | 1260908.1004
1 | 2699658.8708 | 1260898.2194
2 | 2699629.1361 | 1260900.0545
3 | 2699611.0405 | 1260906.682
4 | 2699616.1391 | 1260936.4366
5 | 2699602.5951 | 1260908.2522
6 | 2699725.6461 | 1260884.9614
7 | 2699727.0782 | 1260898.808
8 | 2699724.7199 | 1260861.2264
9 | 2699713.6576 | 1260857.5258
10 | 2699737.2047 | 1260859.6911
11 | 2699742.5252 | 1260893.6864
12 | 2699689.4058 | 1260904.2999
13 | 2699712.5332 | 1260848.2215
14 | 2699739.43 | 1260873.9097
15 | 2699678.5593 | 1260852.9306
16 | 2699699.7247 | 1260849.9969
17 | 2699674.3286 | 1260853.5154
18 | 2699645.4113 | 1260946.371
19 | 2699560.0747 | 1260951.4497
20 | 2699533.0395 | 1260922.7936
21 | 2699583.9047 | 1260945.0684
22 | 2699515.7516 | 1260875.8664
23 | 2699547.3574 | 1260919.8273
24 | 2699650.3767 | 1260959.7901
25 | 2699603.9453 | 1260939.7019
26 | 2699503.1008 | 1260833.7728
27 | 2699480.5234 | 1260854.5991
28 | 2699509.9915 | 1260858.5886
29 | 2699538.1041 | 1260814.0343
30 | 2699561.7437 | 1260821.0155
31 | 2699535.6051 | 1260798.6135
32 | 2699476.9095 | 1260829.9291
33 | 2699479.6044 | 1260857.8514
34 | 2699475.794 | 1260827.0415
35 | 2699471.5111 | 1260815.9493
36 | 2699442.3968 | 1260798.8126
37 | 2699452.5139 | 1260782.1023
38 | 2699457.2216 | 1260765.9594
39 | 2699451.7988 | 1260784.552
40 | 2699660.5275 | 1260794.5347
41 | 2699645.1621 | 1260757.6902
42 | 2699631.0337 | 1260797.7072
43 | 2699676.9218 | 1260792.3976
44 | 2699713.1895 | 1260840.5929
45 | 2699710.971 | 1260820.2385
46 | 2699632.9694 | 1260759.7755
47 | 2699677.7688 | 1260864.8618
48 | 2699669.5593 | 1260837.7666
49 | 2699556.1289 | 1260918.01
50 | 2699580.956 | 1260809.3407
51 | 2699556.5399 | 1260823.8859
52 | 2699555.6949 | 1260834.6805
53 | 2699532.0986 | 1260776.975
54 | 2699529.0601 | 1260755.5802
55 | 2699531.1943 | 1260771.3943
56 | 2699573.2101 | 1260750.9948
57 | 2699575.5784 | 1260764.8357
58 | 2699474.3379 | 1260876.4898
59 | 2699633.1514 | 1260812.1665
60 | 2699656.304 | 1260842.3665
61 | 2699598.7385 | 1260763.1575
62 | 2699561.1141 | 1260915.2375
63 | 2699556.4696 | 1260889.8275
64 | 2699599.6625 | 1260891.2515
65 | 2699601.8682 | 1260874.2426
66 | 2699463.2282 | 1260891.1827
67 | 2699633.8481 | 1260828.9808
68 | 2699633.8734 | 1260829.1882
69 | 2699644.8642 | 1260846.4689
70 | 2699582.3726 | 1260808.8092
71 | 2699600.1032 | 1260862.8954
72 | 2699587.3332 | 1260765.0383
73 | 2699602.5951 | 1260908.2522

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99459 | -0.10303 | 0.01105 | 0.0027695
1 | 0.99471 | -0.10071 | 0.0054648 | 0.0013696
2 | 0.99516 | -0.09186 | 0.011046 | 0.0027683
3 | 0.99566 | -0.082218 | 0 | 0
4 | 0.99379 | -0.11789 | 0 | 0
5 | 0.9963 | -0.070048 | 0 | 0
6 | 0.98746 | -0.24056 | 0.012273 | 0.0030759
7 | 0.98762 | -0.23751 | 0 | 0
8 | 0.98903 | -0.21003 | 0 | 0
9 | 0.98947 | -0.20151 | 0.012437 | 0.003117
10 | 0.98867 | -0.21697 | 0 | 0
11 | 0.98791 | -0.23188 | 0 | 0
12 | 0.98735 | -0.24263 | 0 | 0
13 | 0.98984 | -0.19426 | 0 | 0
14 | 0.98826 | -0.22493 | 0.01159 | 0.0029048
15 | 0.9916 | -0.16023 | 0 | 0
16 | 0.99045 | -0.18252 | 0.0076756 | 0.0019237
17 | 0.99183 | -0.1558 | 0 | 0
18 | 0.98685 | -0.25249 | 0 | 0
19 | 0.99051 | -0.18055 | 0 | 0
20 | 0.98819 | -0.22503 | 0 | 0
21 | 0.99182 | -0.15535 | 0.0074205 | 0.0018598
22 | 0.98387 | -0.30834 | 0.0078026 | 0.0019555
23 | 0.98789 | -0.23084 | 0.0061644 | 0.0015449
24 | 0.98675 | -0.25432 | 0.0071541 | 0.001793
25 | 0.993 | -0.13285 | 0.011604 | 0.0029082
26 | 0.98063 | -0.37112 | 0 | 0
27 | 0.9759 | -0.46369 | 0 | 0
28 | 0.98242 | -0.33628 | 0.010286 | 0.0025779
29 | 0.97163 | -0.54698 | 0 | 0
30 | 0.97086 | -0.56223 | 0 | 0
31 | 0.97207 | -0.53833 | 0.013261 | 0.0033234
32 | 0.97481 | -0.48517 | 0.01177 | 0.0029499
33 | 0.9758 | -0.46554 | 0.0084059 | 0.0021067
34 | 0.97471 | -0.48705 | 0 | 0
35 | 0.97434 | -0.49426 | 0 | 0
36 | 0.97289 | -0.52291 | 0.01229 | 0.00308
37 | 0.9725 | -0.53061 | 0 | 0
38 | 0.97235 | -0.53368 | 0.0098861 | 0.0024777
39 | 0.97253 | -0.53015 | 0.010879 | 0.0027266
40 | 0.98631 | -0.26075 | 0 | 0
41 | 0.98205 | -0.34292 | 0 | 0
42 | 0.98982 | -0.19333 | 0 | 0
43 | 0.98612 | -0.26448 | 0.012586 | 0.0031543
44 | 0.98978 | -0.19547 | 0 | 0
45 | 0.98964 | -0.19825 | 0.0076292 | 0.0019121
46 | 0.98083 | -0.3666 | 0.014333 | 0.0035921
47 | 0.99175 | -0.15731 | 0.0071974 | 0.0018038
48 | 0.99282 | -0.13659 | 0 | 0
49 | 0.98776 | -0.23342 | 0.0074475 | 0.0018665
50 | 0.97042 | -0.57102 | 0.0088327 | 0.0022137
51 | 0.97081 | -0.56322 | 0 | 0
52 | 0.97072 | -0.56503 | 0.0090286 | 0.0022628
53 | 0.97296 | -0.52084 | 0.0087908 | 0.0022032
54 | 0.97307 | -0.51857 | 0.010707 | 0.0026835
55 | 0.97323 | -0.51542 | 0 | 0
56 | 0.97575 | -0.46601 | 0.0082996 | 0.0020801
57 | 0.97585 | -0.46388 | 0 | 0
58 | 0.97542 | -0.47318 | 0.0092572 | 0.0023201
59 | 0.99143 | -0.1626 | 0.007514 | 0.0018832
60 | 0.99405 | -0.113 | 0.0068003 | 0.0017043
61 | 0.97755 | -0.43071 | 0.012102 | 0.003033
62 | 0.98771 | -0.23431 | 0 | 0
63 | 0.9875 | -0.23831 | 0.0086633 | 0.0021712
64 | 0.99759 | -0.045581 | 0.0094434 | 0.0023668
65 | 0.99905 | -0.017919 | 0.0076916 | 0.0019277
66 | 0.97518 | -0.47781 | 0.012284 | 0.0030787
67 | 0.99343 | -0.12457 | 0.011435 | 0.0028659
68 | 0.99346 | -0.12406 | 0.0057114 | 0.0014314
69 | 0.99488 | -0.097043 | 0 | 0
70 | 0.9704 | -0.57136 | 0.012158 | 0.003047
71 | 1 | 0 | -0.40254 | -0.10288
72 | 0.97669 | -0.44745 | 0.008278 | 0.0020747
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01105 | -0.0027695 | 0.011052 | 0.0027701 | 1.2219e-06 | 6.2726e-07 | 0.016533 | 0.016533 | 0.016533 | 0.99459 | -0.10303 | 0.99471 | -0.10071 | 4.5419
1 | -0.016516 | -0.0041397 | 0.016523 | 0.0041438 | 6.9691e-06 | 4.0648e-06 | 0.024708 | 0.024707 | 0.024708 | 0.99471 | -0.10071 | 0.99516 | -0.09186 | 6.7878
2 | -0.027569 | -0.0069121 | 0.027582 | 0.0069199 | 1.2673e-05 | 7.8524e-06 | 0.041223 | 0.041223 | 0.041223 | 0.99516 | -0.09186 | 0.99566 | -0.082218 | 11.3251
3 | 0.13611 | 0.034862 | -0.13587 | -0.034712 | 0.00023482 | 0.0001495 | 0.20368 | 0.20368 | 0.20368 | 0.99566 | -0.082218 | 0.99379 | -0.11789 | 27.978
4 | -0.16369 | -0.041782 | 0.16379 | 0.041843 | 9.6319e-05 | 6.1422e-05 | 0.2449 | 0.2449 | 0.2449 | 0.99566 | -0.082218 | 0.9963 | -0.070048 | 33.6404
5 | 0.13587 | 0.034712 | -0.13577 | -0.03465 | 9.8192e-05 | 6.2516e-05 | 0.20368 | 0.20368 | 0.20368 | 0.99379 | -0.11789 | 0.993 | -0.13285 | 27.978
6 | -0.16379 | -0.041843 | 0.16398 | 0.041967 | 0.00019401 | 0.00012372 | 0.2449 | 0.2449 | 0.2449 | 0.9963 | -0.070048 | 0.99759 | -0.045581 | 33.6404
7 | -0.012273 | -0.0030759 | 0.012275 | 0.0030769 | 1.7855e-06 | 9.6464e-07 | 0.018494 | 0.018494 | 0.018494 | 0.98746 | -0.24056 | 0.98762 | -0.23751 | 5.0809
8 | -0.019435 | -0.0048719 | 0.01944 | 0.004875 | 5.219e-06 | 3.1324e-06 | 0.029282 | 0.029282 | 0.029282 | 0.98762 | -0.23751 | 0.98791 | -0.23188 | 8.0446
9 | 0.0071599 | 0.001795 | -0.0071581 | -0.0017944 | 1.746e-06 | 6.0561e-07 | 0.010788 | 0.010788 | 0.010788 | 0.98762 | -0.23751 | 0.98735 | -0.24263 | 2.9637
10 | -0.031059 | -0.0077975 | 0.031071 | 0.0078053 | 1.2627e-05 | 7.8836e-06 | 0.046733 | 0.046733 | 0.046733 | 0.98903 | -0.21003 | 0.98947 | -0.20151 | 12.8388
11 | 0.031059 | 0.0077975 | -0.031049 | -0.007791 | 1.0272e-05 | 6.4132e-06 | 0.046733 | 0.046733 | 0.046733 | 0.98903 | -0.21003 | 0.98867 | -0.21697 | 12.8389
12 | -0.043508 | -0.010922 | 0.043523 | 0.010932 | 1.5049e-05 | 9.5109e-06 | 0.065437 | 0.065437 | 0.065437 | 0.98947 | -0.20151 | 0.98984 | -0.19426 | 17.9771
13 | 0.031049 | 0.007791 | -0.031037 | -0.0077837 | 1.1787e-05 | 7.3591e-06 | 0.046733 | 0.046733 | 0.046733 | 0.98867 | -0.21697 | 0.98826 | -0.22493 | 12.8389
14 | -0.01944 | -0.004875 | 0.019446 | 0.0048789 | 6.4364e-06 | 3.8629e-06 | 0.029282 | 0.029282 | 0.029282 | 0.98791 | -0.23188 | 0.98826 | -0.22493 | 8.0445
15 | 0.0071581 | 0.0017944 | -0.0071548 | -0.0017932 | 3.3615e-06 | 1.1668e-06 | 0.010788 | 0.010788 | 0.010788 | 0.98735 | -0.24263 | 0.98685 | -0.25249 | 2.9638
16 | -0.051154 | -0.012844 | 0.051183 | 0.012863 | 2.8682e-05 | 1.819e-05 | 0.076908 | 0.076908 | 0.076908 | 0.98984 | -0.19426 | 0.99045 | -0.18252 | 21.1285
17 | 0.0076307 | 0.0019126 | -0.0076302 | -0.0019124 | 4.3908e-07 | 1.6664e-07 | 0.011471 | 0.011471 | 0.011471 | 0.98984 | -0.19426 | 0.98978 | -0.19547 | 3.1514
18 | 0.058921 | 0.014826 | -0.058858 | -0.014786 | 6.2673e-05 | 3.9835e-05 | 0.088439 | 0.088439 | 0.088439 | 0.9916 | -0.16023 | 0.99045 | -0.18252 | 24.2965
19 | -0.058921 | -0.014826 | 0.058934 | 0.014834 | 1.2489e-05 | 7.938e-06 | 0.088439 | 0.088439 | 0.088439 | 0.9916 | -0.16023 | 0.99183 | -0.1558 | 24.2965
20 | 0.007198 | 0.001804 | -0.0071974 | -0.0018038 | 5.185e-07 | 1.7884e-07 | 0.010799 | 0.010799 | 0.010799 | 0.99183 | -0.1558 | 0.99175 | -0.15731 | 2.9668
21 | -0.066132 | -0.016638 | 0.066192 | 0.016677 | 6.0759e-05 | 3.8673e-05 | 0.099238 | 0.099238 | 0.099238 | 0.99183 | -0.1558 | 0.99282 | -0.13659 | 27.2632
22 | 0.0071548 | 0.0017932 | -0.0071541 | -0.001793 | 6.245e-07 | 2.1689e-07 | 0.010788 | 0.010788 | 0.010788 | 0.98685 | -0.25249 | 0.98675 | -0.25432 | 2.9638
23 | 0.11647 | 0.029706 | -0.11622 | -0.029547 | 0.00024955 | 0.0001586 | 0.17516 | 0.17516 | 0.17516 | 0.99051 | -0.18055 | 0.98819 | -0.22503 | 24.0604
24 | -0.11647 | -0.029706 | 0.11662 | 0.029796 | 0.00014192 | 9.019e-05 | 0.17516 | 0.17516 | 0.17516 | 0.99051 | -0.18055 | 0.99182 | -0.15535 | 24.0604
25 | 0.093938 | 0.023959 | -0.093562 | -0.023718 | 0.00037625 | 0.00024016 | 0.1416 | 0.1416 | 0.1416 | 0.98819 | -0.22503 | 0.98387 | -0.30834 | 38.9016
26 | 0.022285 | 0.0055885 | -0.022279 | -0.0055847 | 6.1751e-06 | 3.7648e-06 | 0.033559 | 0.033559 | 0.033559 | 0.98819 | -0.22503 | 0.98789 | -0.23084 | 9.2194
27 | -0.12404 | -0.031656 | 0.12417 | 0.031742 | 0.000135 | 8.5864e-05 | 0.18629 | 0.18629 | 0.18629 | 0.99182 | -0.15535 | 0.993 | -0.13285 | 25.5896
28 | 0.08576 | 0.021763 | -0.085644 | -0.021689 | 0.00011508 | 7.3423e-05 | 0.1298 | 0.1298 | 0.1298 | 0.98387 | -0.30834 | 0.98242 | -0.33628 | 35.6596
29 | 0.016115 | 0.0040398 | -0.016113 | -0.0040386 | 1.9792e-06 | 1.152e-06 | 0.024273 | 0.024273 | 0.024273 | 0.98789 | -0.23084 | 0.98776 | -0.23342 | 6.6685
30 | 0.075233 | 0.019031 | -0.0749 | -0.018819 | 0.00033253 | 0.00021197 | 0.11422 | 0.11422 | 0.11422 | 0.98063 | -0.37112 | 0.9759 | -0.46369 | 31.3797
31 | -0.075233 | -0.019031 | 0.075359 | 0.019112 | 0.000126 | 8.0317e-05 | 0.11422 | 0.11422 | 0.11422 | 0.98063 | -0.37112 | 0.98242 | -0.33628 | 31.3796
32 | 0.044939 | 0.011306 | -0.044893 | -0.011277 | 4.6076e-05 | 2.9162e-05 | 0.068538 | 0.068538 | 0.068538 | 0.9759 | -0.46369 | 0.97481 | -0.48517 | 18.829
33 | 0.029961 | 0.0075134 | -0.029958 | -0.0075118 | 2.6451e-06 | 1.6506e-06 | 0.045685 | 0.045685 | 0.045685 | 0.9759 | -0.46369 | 0.9758 | -0.46554 | 12.5507
34 | 0.030051 | 0.0075431 | -0.030029 | -0.0075295 | 2.184e-05 | 1.3637e-05 | 0.046026 | 0.046026 | 0.046026 | 0.97163 | -0.54698 | 0.97086 | -0.56223 | 12.6445
35 | -0.030051 | -0.0075431 | 0.030063 | 0.0075508 | 1.241e-05 | 7.7488e-06 | 0.046026 | 0.046026 | 0.046026 | 0.97163 | -0.54698 | 0.97207 | -0.53833 | 12.6445
36 | 0.020999 | 0.0052661 | -0.020991 | -0.0052608 | 8.7897e-06 | 5.3458e-06 | 0.032186 | 0.032186 | 0.032186 | 0.97086 | -0.56223 | 0.97042 | -0.57102 | 8.8424
37 | 0.0090298 | 0.0022633 | -0.0090294 | -0.0022631 | 4.2594e-07 | 1.9927e-07 | 0.01384 | 0.01384 | 0.01384 | 0.97086 | -0.56223 | 0.97081 | -0.56322 | 3.8021
38 | -0.043324 | -0.010874 | 0.04336 | 0.010897 | 3.6161e-05 | 2.2871e-05 | 0.066325 | 0.066325 | 0.066325 | 0.97207 | -0.53833 | 0.97296 | -0.52084 | 18.2211
39 | 0.033123 | 0.0083268 | -0.03312 | -0.008325 | 2.9688e-06 | 1.8614e-06 | 0.050571 | 0.050571 | 0.050571 | 0.97481 | -0.48517 | 0.97471 | -0.48705 | 13.8931
40 | 0.021552 | 0.0054051 | -0.021544 | -0.0054003 | 7.8456e-06 | 4.7793e-06 | 0.032866 | 0.032866 | 0.032866 | 0.9758 | -0.46554 | 0.97542 | -0.47318 | 9.0292
41 | 0.03312 | 0.008325 | -0.033109 | -0.0083178 | 1.1399e-05 | 7.1473e-06 | 0.050571 | 0.050571 | 0.050571 | 0.97471 | -0.48705 | 0.97434 | -0.49426 | 13.8931
42 | 0.033109 | 0.0083178 | -0.033064 | -0.0082895 | 4.521e-05 | 2.8348e-05 | 0.050571 | 0.050571 | 0.050571 | 0.97434 | -0.49426 | 0.97289 | -0.52291 | 13.8931
43 | 0.020774 | 0.0052094 | -0.020767 | -0.0052051 | 7.1623e-06 | 4.3491e-06 | 0.031775 | 0.031775 | 0.031775 | 0.97289 | -0.52291 | 0.97253 | -0.53015 | 8.7293
44 | 0.0098875 | 0.0024784 | -0.0098861 | -0.0024777 | 1.4433e-06 | 7.151e-07 | 0.015129 | 0.015129 | 0.015129 | 0.9725 | -0.53061 | 0.97235 | -0.53368 | 4.1563
45 | -0.0098875 | -0.0024784 | 0.0098877 | 0.0024785 | 2.1904e-07 | 1.0852e-07 | 0.015129 | 0.015129 | 0.015129 | 0.9725 | -0.53061 | 0.97253 | -0.53015 | 4.1563
46 | 0.10699 | 0.027276 | -0.10657 | -0.027006 | 0.00042255 | 0.00026989 | 0.16158 | 0.16158 | 0.16158 | 0.98631 | -0.26075 | 0.98205 | -0.34292 | 44.3889
47 | -0.11958 | -0.030432 | 0.11997 | 0.030681 | 0.00039003 | 0.00024921 | 0.18057 | 0.18057 | 0.18057 | 0.98631 | -0.26075 | 0.98982 | -0.19333 | 49.6063
48 | 0.012588 | 0.0031555 | -0.012586 | -0.0031543 | 2.2362e-06 | 1.2202e-06 | 0.018992 | 0.018992 | 0.018992 | 0.98631 | -0.26075 | 0.98612 | -0.26448 | 5.2175
49 | 0.10657 | 0.027006 | -0.10644 | -0.026929 | 0.0001211 | 7.7348e-05 | 0.16158 | 0.16158 | 0.16158 | 0.98205 | -0.34292 | 0.98083 | -0.3666 | 44.3889
50 | -0.11997 | -0.030681 | 0.12014 | 0.030795 | 0.00017867 | 0.00011416 | 0.18057 | 0.18057 | 0.18057 | 0.98982 | -0.19333 | 0.99143 | -0.1626 | 49.6062
51 | 0.0076302 | 0.0019124 | -0.0076292 | -0.0019121 | 1.0104e-06 | 3.8351e-07 | 0.011471 | 0.011471 | 0.011471 | 0.98978 | -0.19547 | 0.98964 | -0.19825 | 3.1515
52 | 0.092111 | 0.023337 | -0.091829 | -0.023156 | 0.0002827 | 0.00018045 | 0.13983 | 0.13983 | 0.13983 | 0.98083 | -0.3666 | 0.97755 | -0.43071 | 38.4153
53 | -0.066192 | -0.016677 | 0.066267 | 0.016724 | 7.4778e-05 | 4.7595e-05 | 0.099238 | 0.099238 | 0.099238 | 0.99282 | -0.13659 | 0.99405 | -0.113 | 27.2632
54 | 0.0086653 | 0.0021721 | -0.0086649 | -0.0021719 | 3.692e-07 | 1.6234e-07 | 0.013054 | 0.013054 | 0.013054 | 0.98776 | -0.23342 | 0.98771 | -0.23431 | 3.5863
55 | 0.012158 | 0.0030471 | -0.012158 | -0.003047 | 1.9719e-07 | 1.0751e-07 | 0.018643 | 0.018643 | 0.018643 | 0.97042 | -0.57102 | 0.9704 | -0.57136 | 5.1216
56 | 0.0090294 | 0.0022631 | -0.0090286 | -0.0022628 | 7.7773e-07 | 3.6388e-07 | 0.01384 | 0.01384 | 0.01384 | 0.97081 | -0.56322 | 0.97072 | -0.56503 | 3.8022
57 | -0.052151 | -0.0131 | 0.052164 | 0.013109 | 1.349e-05 | 8.5635e-06 | 0.079769 | 0.079769 | 0.079769 | 0.97296 | -0.52084 | 0.97323 | -0.51542 | 21.9146
58 | -0.010707 | -0.0026835 | 0.010709 | 0.0026843 | 1.6043e-06 | 8.2846e-07 | 0.016373 | 0.016373 | 0.016373 | 0.97307 | -0.51857 | 0.97323 | -0.51542 | 4.4982
59 | -0.062873 | -0.015793 | 0.063028 | 0.015892 | 0.00015507 | 9.8685e-05 | 0.096142 | 0.096142 | 0.096142 | 0.97323 | -0.51542 | 0.97585 | -0.46388 | 26.4127
60 | -0.0082996 | -0.0020801 | 0.0083004 | 0.0020804 | 8.4355e-07 | 3.6446e-07 | 0.012657 | 0.012657 | 0.012657 | 0.97575 | -0.46601 | 0.97585 | -0.46388 | 3.4772
61 | -0.071329 | -0.017972 | 0.071385 | 0.018008 | 5.6096e-05 | 3.5744e-05 | 0.1088 | 0.1088 | 0.1088 | 0.97585 | -0.46388 | 0.97669 | -0.44745 | 29.8898
62 | 0.012287 | 0.0030802 | -0.012284 | -0.0030787 | 2.7074e-06 | 1.4763e-06 | 0.018744 | 0.018744 | 0.018744 | 0.97542 | -0.47318 | 0.97518 | -0.47781 | 5.1496
63 | -0.12766 | -0.032678 | 0.12789 | 0.032829 | 0.0002356 | 0.00015056 | 0.19184 | 0.19184 | 0.19184 | 0.99143 | -0.1626 | 0.99343 | -0.12457 | 52.7044
64 | -0.073067 | -0.018429 | 0.073123 | 0.018464 | 5.5855e-05 | 3.5586e-05 | 0.10942 | 0.10942 | 0.10942 | 0.99405 | -0.113 | 0.99488 | -0.097043 | 30.0598
65 | 0.079727 | 0.020123 | -0.079663 | -0.020083 | 6.3896e-05 | 4.0749e-05 | 0.12141 | 0.12141 | 0.12141 | 0.97755 | -0.43071 | 0.97669 | -0.44745 | 33.3546
66 | 0.0086649 | 0.0021719 | -0.0086633 | -0.0021712 | 1.6507e-06 | 7.2591e-07 | 0.013054 | 0.013054 | 0.013054 | 0.98771 | -0.23431 | 0.9875 | -0.23831 | 3.5863
67 | -0.17342 | -0.044334 | 0.17366 | 0.044482 | 0.00023241 | 0.00014826 | 0.25899 | 0.25899 | 0.25899 | 0.99759 | -0.045581 | 0.99905 | -0.017919 | 35.5752
68 | -0.18135 | -0.046409 | 0.1815 | 0.04651 | 0.00015748 | 0.00010049 | 0.27044 | 0.27044 | 0.27044 | 0.99905 | -0.017919 | 1 | 0 | 37.1488
69 | -0.13933 | -0.035695 | 0.13933 | 0.035697 | 3.4225e-06 | 2.1877e-06 | 0.20897 | 0.20897 | 0.20897 | 0.99343 | -0.12457 | 0.99346 | -0.12406 | 57.4099
70 | -0.14504 | -0.037128 | 0.14523 | 0.03725 | 0.00019005 | 0.00012108 | 0.21753 | 0.21753 | 0.21753 | 0.99346 | -0.12406 | 0.99488 | -0.097043 | 29.88
71 | -0.21836 | -0.055714 | 0.21939 | 0.056371 | 0.0010288 | 0.00065709 | 0.32694 | 0.32694 | 0.32694 | 0.99488 | -0.097043 | 1 | 0 | 44.9098

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41178 | 0.1052

## res_load
| p_mw | q_mvar
0 | 0.01105 | 0.0027695
1 | 0.0054648 | 0.0013696
2 | 0.011046 | 0.0027683
3 | 0.012273 | 0.0030759
4 | 0.012437 | 0.003117
5 | 0.01159 | 0.0029048
6 | 0.0076756 | 0.0019237
7 | 0.0074205 | 0.0018598
8 | 0.0078026 | 0.0019555
9 | 0.0061644 | 0.0015449
10 | 0.0071541 | 0.001793
11 | 0.011604 | 0.0029082
12 | 0.010286 | 0.0025779
13 | 0.013261 | 0.0033234
14 | 0.01177 | 0.0029499
15 | 0.0084059 | 0.0021067
16 | 0.01229 | 0.00308
17 | 0.0098861 | 0.0024777
18 | 0.010879 | 0.0027266
19 | 0.012586 | 0.0031543
20 | 0.0076292 | 0.0019121
21 | 0.014333 | 0.0035921
22 | 0.0071974 | 0.0018038
23 | 0.0074475 | 0.0018665
24 | 0.0088327 | 0.0022137
25 | 0.0090286 | 0.0022628
26 | 0.0087908 | 0.0022032
27 | 0.010707 | 0.0026835
28 | 0.0082996 | 0.0020801
29 | 0.0092572 | 0.0023201
30 | 0.007514 | 0.0018832
31 | 0.0068003 | 0.0017043
32 | 0.012102 | 0.003033
33 | 0.0086633 | 0.0021712
34 | 0.0094434 | 0.0023668
35 | 0.0076916 | 0.0019277
36 | 0.012284 | 0.0030787
37 | 0.011435 | 0.0028659
38 | 0.0057114 | 0.0014314
39 | 0.012158 | 0.003047
40 | 0.0092409 | 0.002316
41 | 0.008278 | 0.0020747

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1