## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-223_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-223_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-223_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-223_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-223_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-223_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_230-223_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_230-223_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_230-223_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_230-223_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_230-223_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_230-223_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_230-223_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_230-223_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_230-223_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_230-223_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_230-223_0_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_230-223_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_230-223_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_230-223_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_230-223_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_230-223_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_230-223_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_230-223_0_4_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_230-223_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_230-223_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_230-223_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_230-223_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_230-223_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_MV_509_1_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-223_0_4_load_0 | 0 | 0.006991 | 0.0017521 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-223_0_4_load_1 | 1 | 0.077828 | 0.019505 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-223_0_4_load_4 | 4 | 0.01443 | 0.0036166 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-223_0_4_load_22 | 9 | 0.018473 | 0.0046298 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-223_0_4_load_18 | 11 | 0.089326 | 0.022387 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-223_0_4_load_6 | 13 | 0.0065626 | 0.0016447 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-223_0_4_load_32 | 16 | 0.0054204 | 0.0013585 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-223_0_4_load_23 | 19 | 0.036073 | 0.0090406 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-223_0_4_load_24 | 22 | 0.016113 | 0.0040384 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-223_0_4_load_30 | 23 | 0.00039502 | 9.9002e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-223_0_4_load_27 | 24 | 0.011294 | 0.0028306 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-223_0_4_load_21 | 25 | 0.015972 | 0.0040031 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-223_0_4_load_29 | 26 | 0.0019722 | 0.00049428 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-223_0_4_load_26 | 27 | 0.015774 | 0.0039532 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-223_0_4_load_31 | 28 | 0.039372 | 0.0098676 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-223_0_4_line_0 |  | 0 | 1 | 0.0041773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_230-223_0_4_line_1 |  | 0 | 2 | 0.044035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_230-223_0_4_line_2 |  | 1 | 3 | 0.026181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-223_0_4_line_3 |  | 2 | 4 | 0.0062003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_230-223_0_4_line_4 |  | 3 | 5 | 0.012779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-223_0_4_line_5 |  | 4 | 6 | 0.029819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_230-223_0_4_line_6 |  | 5 | 10 | 0.038749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-223_0_4_line_7 |  | 5 | 11 | 0.027949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-223_0_4_line_8 |  | 6 | 13 | 0.016073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_230-223_0_4_line_9 |  | 7 | 8 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_230-223_0_4_line_10 |  | 7 | 9 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-223_0_4_line_11 |  | 8 | 14 | 0.045971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-223_0_4_line_12 |  | 8 | 13 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_230-223_0_4_line_13 |  | 10 | 12 | 0.029063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-223_0_4_line_14 |  | 12 | 25 | 0.041545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-223_0_4_line_15 |  | 14 | 19 | 0.023426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-223_0_4_line_16 |  | 14 | 15 | 0.040809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-223_0_4_line_17 |  | 15 | 16 | 0.022794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-223_0_4_line_18 |  | 16 | 17 | 0.036146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-223_0_4_line_19 |  | 17 | 18 | 0.051843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-223_0_4_line_20 |  | 18 | 26 | 0.019284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-223_0_4_line_21 |  | 18 | 27 | 0.027261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-223_0_4_line_22 |  | 20 | 21 | 0.086651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-223_0_4_line_23 |  | 20 | 22 | 0.034557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-223_0_4_line_24 |  | 21 | 23 | 0.018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-223_0_4_line_25 |  | 21 | 24 | 0.042653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-223_0_4_line_26 |  | 24 | 27 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-223_0_4_line_27 |  | 26 | 28 | 0.020354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-223_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 29 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2699695.9372 | 1261113.5367 | 2699699.5819 | 1261111.4957
1 | 2699657.5156 | 1261135.0515 | 2699695.9372 | 1261113.5367
2 | 2699722.4249 | 1261098.7043 | 2699699.5819 | 1261111.4957
3 | 2699657.5156 | 1261135.0515 | 2699652.0686 | 1261138.0135
4 | 2699722.4249 | 1261098.7043 | 2699718.0326 | 1261091.0129 | 2699721.4637 | 1261089.1136
5 | 2699625.9303 | 1261145.7061 | 2699628.2032 | 1261148.1353 | 2699633.0988 | 1261148.329 | 2699652.0686 | 1261138.0135
6 | 2699701.372 | 1261060.4293 | 2699718.0326 | 1261091.0129 | 2699721.4637 | 1261089.1136
7 | 2699721.4637 | 1261089.1136 | 2699745.9231 | 1261075.5895
8 | 2699625.9303 | 1261145.7061 | 2699620.0539 | 1261130.7453
9 | 2699636.6514 | 1261098.5258 | 2699612.8933 | 1261112.515
10 | 2699636.6514 | 1261098.5258 | 2699656.3756 | 1261086.9155
11 | 2699589.4832 | 1261126.4323 | 2699591.7392 | 1261123.6013 | 2699593.4076 | 1261118.5141 | 2699593.2925 | 1261114.6089 | 2699591.873 | 1261110.7374 | 2699597.6283 | 1261108.2211 | 2699603.4521 | 1261105.6615 | 2699607.4228 | 1261115.125 | 2699612.8933 | 1261112.515
12 | 2699612.8933 | 1261112.515 | 2699620.0539 | 1261130.7453
13 | 2699701.372 | 1261060.4293 | 2699688.0835 | 1261034.562
14 | 2699688.0835 | 1261034.562 | 2699668.1496 | 1260998.1119
15 | 2699589.4832 | 1261126.4323 | 2699585.9414 | 1261129.0859 | 2699568.9995 | 1261137.6864
16 | 2699582.9215 | 1261088.6798 | 2699591.873 | 1261110.7374 | 2699593.2925 | 1261114.6089 | 2699593.4076 | 1261118.5141 | 2699591.7392 | 1261123.6013 | 2699589.4832 | 1261126.4323
17 | 2699582.9215 | 1261088.6798 | 2699577.0336 | 1261091.0159 | 2699573.5321 | 1261089.4891 | 2699568.2087 | 1261078.0248
18 | 2699552.9857 | 1261045.2405 | 2699568.2087 | 1261078.0248
19 | 2699552.9857 | 1261045.2405 | 2699545.5683 | 1261054.2564 | 2699539.7182 | 1261059.718 | 2699526.9705 | 1261067.9436 | 2699511.1691 | 1261074.4609
20 | 2699511.1691 | 1261074.4609 | 2699518.5769 | 1261092.2659
21 | 2699511.1691 | 1261074.4609 | 2699504.3993 | 1261073.6686 | 2699496.6224 | 1261054.7609
22 | 2699396.7703 | 1261039.7762 | 2699416.7575 | 1261031.294 | 2699476.5301 | 1261005.9112
23 | 2699396.7703 | 1261039.7762 | 2699365.1743 | 1261053.773
24 | 2699476.5301 | 1261005.9112 | 2699484.7238 | 1260999.5772 | 2699491.9789 | 1260996.4515
25 | 2699476.5301 | 1261005.9112 | 2699492.755 | 1261045.3582
26 | 2699492.755 | 1261045.3582 | 2699496.6224 | 1261054.7609
27 | 2699526.3954 | 1261111.0581 | 2699518.5769 | 1261092.2659

## bus_geodata
| x | y | coords
0 | 2699695.9372 | 1261113.5367
1 | 2699699.5819 | 1261111.4957
2 | 2699657.5156 | 1261135.0515
3 | 2699722.4249 | 1261098.7043
4 | 2699652.0686 | 1261138.0135
5 | 2699721.4637 | 1261089.1136
6 | 2699625.9303 | 1261145.7061
7 | 2699636.6514 | 1261098.5258
8 | 2699612.8933 | 1261112.515
9 | 2699656.3756 | 1261086.9155
10 | 2699701.372 | 1261060.4293
11 | 2699745.9231 | 1261075.5895
12 | 2699688.0835 | 1261034.562
13 | 2699620.0539 | 1261130.7453
14 | 2699589.4832 | 1261126.4323
15 | 2699582.9215 | 1261088.6798
16 | 2699568.2087 | 1261078.0248
17 | 2699552.9857 | 1261045.2405
18 | 2699511.1691 | 1261074.4609
19 | 2699568.9995 | 1261137.6864
20 | 2699396.7703 | 1261039.7762
21 | 2699476.5301 | 1261005.9112
22 | 2699365.1743 | 1261053.773
23 | 2699491.9789 | 1260996.4515
24 | 2699492.755 | 1261045.3582
25 | 2699668.1496 | 1260998.1119
26 | 2699518.5769 | 1261092.2659
27 | 2699496.6224 | 1261054.7609
28 | 2699526.3954 | 1261111.0581
29 | 2699612.8933 | 1261112.515

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99008 | -0.18989 | 0.006991 | 0.0017521
1 | 0.98972 | -0.1967 | 0.077828 | 0.019505
2 | 0.99264 | -0.1404 | 0 | 0
3 | 0.98718 | -0.24588 | 0 | 0
4 | 0.993 | -0.13345 | 0.01443 | 0.0036166
5 | 0.98594 | -0.26998 | 0 | 0
6 | 0.99487 | -0.097581 | 0 | 0
7 | 1 | 0 | -0.36231 | -0.09219
8 | 0.99715 | -0.054107 | 0 | 0
9 | 0.99962 | -0.0073722 | 0.018473 | 0.0046298
10 | 0.98537 | -0.28108 | 0 | 0
11 | 0.98364 | -0.31484 | 0.089326 | 0.022387
12 | 0.98494 | -0.28942 | 0 | 0
13 | 0.99588 | -0.0783 | 0.0065626 | 0.0016447
14 | 0.99177 | -0.15654 | 0 | 0
15 | 0.98835 | -0.2221 | 0 | 0
16 | 0.98644 | -0.25892 | 0.0054204 | 0.0013585
17 | 0.98359 | -0.31407 | 0 | 0
18 | 0.97951 | -0.39372 | 0 | 0
19 | 0.991 | -0.17153 | 0.036073 | 0.0090406
20 | 0.97619 | -0.45883 | 0 | 0
21 | 0.97749 | -0.43332 | 0 | 0
22 | 0.97568 | -0.46902 | 0.016113 | 0.0040384
23 | 0.97748 | -0.43345 | 0.00039502 | 9.9002e-05
24 | 0.97815 | -0.42048 | 0.011294 | 0.0028306
25 | 0.98433 | -0.30135 | 0.015972 | 0.0040031
26 | 0.97877 | -0.40822 | 0.0019722 | 0.00049428
27 | 0.97841 | -0.41533 | 0.015774 | 0.0039532
28 | 0.97803 | -0.42281 | 0.039372 | 0.0098676
29 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.18377 | 0.046307 | -0.18371 | -0.046268 | 5.9788e-05 | 3.8157e-05 | 0.27628 | 0.27628 | 0.27628 | 0.99008 | -0.18989 | 0.98972 | -0.1967 | 37.9512
1 | -0.19076 | -0.048059 | 0.19122 | 0.048347 | 0.00045273 | 0.00028805 | 0.28679 | 0.28679 | 0.28679 | 0.99008 | -0.18989 | 0.99264 | -0.1404 | 26.263
2 | 0.10588 | 0.026763 | -0.10564 | -0.026604 | 0.00024906 | 0.00015906 | 0.15927 | 0.15927 | 0.15927 | 0.98972 | -0.1967 | 0.98718 | -0.24588 | 43.7566
3 | -0.19122 | -0.048347 | 0.19128 | 0.048387 | 6.3746e-05 | 4.0557e-05 | 0.28679 | 0.28679 | 0.28679 | 0.99264 | -0.1404 | 0.993 | -0.13345 | 26.2629
4 | 0.10564 | 0.026604 | -0.10551 | -0.026526 | 0.00012157 | 7.764e-05 | 0.15927 | 0.15927 | 0.15927 | 0.98718 | -0.24588 | 0.98594 | -0.26998 | 43.7566
5 | -0.20571 | -0.052004 | 0.20606 | 0.05223 | 0.00035455 | 0.00022575 | 0.30841 | 0.30841 | 0.30841 | 0.993 | -0.13345 | 0.99487 | -0.097581 | 28.2431
6 | 0.015996 | 0.004017 | -0.015988 | -0.0040121 | 8.4713e-06 | 4.9278e-06 | 0.024145 | 0.024145 | 0.024145 | 0.98594 | -0.26998 | 0.98537 | -0.28108 | 6.6333
7 | 0.089517 | 0.022509 | -0.089326 | -0.022387 | 0.00019138 | 0.00012213 | 0.13513 | 0.13513 | 0.13513 | 0.98594 | -0.26998 | 0.98364 | -0.31484 | 37.1233
8 | -0.20606 | -0.05223 | 0.20626 | 0.052351 | 0.00019111 | 0.00012169 | 0.30841 | 0.30841 | 0.30841 | 0.99487 | -0.097581 | 0.99588 | -0.0783 | 28.2431
9 | 0.34218 | 0.087557 | -0.34128 | -0.086986 | 0.00089377 | 0.00057093 | 0.5098 | 0.5098 | 0.5098 | 1 | 0 | 0.99715 | -0.054107 | 46.6854
10 | 0.01848 | 0.0046337 | -0.018473 | -0.0046298 | 6.4902e-06 | 3.8536e-06 | 0.027499 | 0.027499 | 0.027499 | 1 | 0 | 0.99962 | -0.0073722 | 7.5546
11 | 0.12822 | 0.032832 | -0.12759 | -0.032427 | 0.00063276 | 0.00040437 | 0.19159 | 0.19159 | 0.19159 | 0.99715 | -0.054107 | 0.99177 | -0.15654 | 52.6335
12 | 0.21307 | 0.054154 | -0.21282 | -0.053996 | 0.00024792 | 0.0001579 | 0.31822 | 0.31822 | 0.31822 | 0.99715 | -0.054107 | 0.99588 | -0.0783 | 29.141
13 | 0.015988 | 0.0040121 | -0.015982 | -0.0040084 | 6.3539e-06 | 3.6964e-06 | 0.024145 | 0.024145 | 0.024145 | 0.98537 | -0.28108 | 0.98494 | -0.28942 | 6.6334
14 | 0.015982 | 0.0040084 | -0.015972 | -0.0040031 | 9.0828e-06 | 5.2846e-06 | 0.024145 | 0.024146 | 0.024146 | 0.98494 | -0.28942 | 0.98433 | -0.30135 | 6.6334
15 | 0.036098 | 0.0090568 | -0.036073 | -0.0090406 | 2.5772e-05 | 1.6192e-05 | 0.054164 | 0.054164 | 0.054164 | 0.99177 | -0.15654 | 0.991 | -0.17153 | 14.8802
16 | 0.091488 | 0.023371 | -0.091199 | -0.023186 | 0.000289 | 0.00018444 | 0.13742 | 0.13742 | 0.13742 | 0.99177 | -0.15654 | 0.98835 | -0.2221 | 37.7535
17 | 0.091199 | 0.023186 | -0.091038 | -0.023083 | 0.00016143 | 0.00010302 | 0.13742 | 0.13742 | 0.13742 | 0.98835 | -0.2221 | 0.98644 | -0.25892 | 37.7536
18 | 0.085617 | 0.021725 | -0.085391 | -0.02158 | 0.00022643 | 0.00014445 | 0.12925 | 0.12925 | 0.12925 | 0.98644 | -0.25892 | 0.98359 | -0.31407 | 35.5073
19 | 0.085391 | 0.02158 | -0.085066 | -0.021373 | 0.00032476 | 0.00020719 | 0.12925 | 0.12925 | 0.12925 | 0.98359 | -0.31407 | 0.97951 | -0.39372 | 35.5074
20 | 0.0414 | 0.010397 | -0.041372 | -0.010379 | 2.8612e-05 | 1.8069e-05 | 0.062901 | 0.062901 | 0.062901 | 0.97951 | -0.39372 | 0.97877 | -0.40822 | 17.2805
21 | 0.043666 | 0.010976 | -0.043621 | -0.010947 | 4.4999e-05 | 2.8456e-05 | 0.066346 | 0.066346 | 0.066346 | 0.97951 | -0.39372 | 0.97841 | -0.41533 | 18.227
22 | -0.016121 | -0.004043 | 0.016141 | 0.0040544 | 1.9623e-05 | 1.1474e-05 | 0.024575 | 0.024574 | 0.024575 | 0.97619 | -0.45883 | 0.97749 | -0.43332 | 6.7512
23 | 0.016121 | 0.004043 | -0.016113 | -0.0040384 | 7.8261e-06 | 4.5769e-06 | 0.024575 | 0.024575 | 0.024575 | 0.97619 | -0.45883 | 0.97568 | -0.46902 | 6.7513
24 | 0.00039503 | 9.8775e-05 | -0.00039502 | -9.9002e-05 | 2.4753e-09 | -2.2726e-07 | 0.00060126 | 0.00060134 | 0.00060134 | 0.97749 | -0.43332 | 0.97748 | -0.43345 | 0.1652
25 | -0.016536 | -0.0041532 | 0.016546 | 0.0041592 | 1.0138e-05 | 5.953e-06 | 0.025175 | 0.025175 | 0.025175 | 0.97749 | -0.43332 | 0.97815 | -0.42048 | 6.9163
26 | -0.02784 | -0.0069898 | 0.027847 | 0.0069941 | 6.8402e-06 | 4.2501e-06 | 0.042357 | 0.042357 | 0.042357 | 0.97815 | -0.42048 | 0.97841 | -0.41533 | 11.6365
27 | 0.0394 | 0.0098849 | -0.039372 | -0.0098676 | 2.7388e-05 | 1.7273e-05 | 0.059903 | 0.059903 | 0.059903 | 0.97877 | -0.40822 | 0.97803 | -0.42281 | 16.4568

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36231 | 0.09219

## res_load
| p_mw | q_mvar
0 | 0.006991 | 0.0017521
1 | 0.077828 | 0.019505
2 | 0.01443 | 0.0036166
3 | 0.018473 | 0.0046298
4 | 0.089326 | 0.022387
5 | 0.0065626 | 0.0016447
6 | 0.0054204 | 0.0013585
7 | 0.036073 | 0.0090406
8 | 0.016113 | 0.0040384
9 | 0.00039502 | 9.9002e-05
10 | 0.011294 | 0.0028306
11 | 0.015972 | 0.0040031
12 | 0.0019722 | 0.00049428
13 | 0.015774 | 0.0039532
14 | 0.039372 | 0.0098676

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1