## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-225_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-225_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-225_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-225_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_230-225_0_5_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_230-225_0_5_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_230-225_0_5_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_230-225_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_230-225_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_230-225_0_5_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_230-225_0_5_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_230-225_0_5_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_230-225_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_230-225_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_230-225_0_5_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_230-225_0_5_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_230-225_0_5_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_230-225_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_230-225_0_5_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_230-225_0_5_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_230-225_0_5_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_230-225_0_5_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_230-225_0_5_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_230-225_0_5_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_230-225_0_5_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_230-225_0_5_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_230-225_0_5_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_230-225_0_5_node_88 | 0.4 | n |  | TRUE
28 | bus_LV_230-225_0_5_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_230-225_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_230-225_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_230-225_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_230-225_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_230-225_0_5_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_230-225_0_5_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_230-225_0_5_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_230-225_0_5_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_230-225_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_230-225_0_5_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_230-225_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_230-225_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_230-225_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_230-225_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_230-225_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_230-225_0_5_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_230-225_0_5_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_230-225_0_5_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_230-225_0_5_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_230-225_0_5_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_230-225_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_230-225_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_230-225_0_5_node_20 | 0.4 | n |  | TRUE
52 | bus_LV_230-225_0_5_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_230-225_0_5_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_230-225_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_230-225_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_230-225_0_5_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_230-225_0_5_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_230-225_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_230-225_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_230-225_0_5_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_230-225_0_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_230-225_0_5_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_230-225_0_5_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_230-225_0_5_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_230-225_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_230-225_0_5_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_230-225_0_5_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_230-225_0_5_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_230-225_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_230-225_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_230-225_0_5_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_230-225_0_5_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_230-225_0_5_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_230-225_0_5_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_230-225_0_5_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_230-225_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_230-225_0_5_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_230-225_0_5_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_230-225_0_5_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_230-225_0_5_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_230-225_0_5_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_230-225_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_230-225_0_5_node_67 | 0.4 | n |  | TRUE
84 | bus_MV_511_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-225_0_5_load_0 | 0 | 0.010095 | 0.0025299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-225_0_5_load_4 | 3 | 0.055589 | 0.013932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-225_0_5_load_38 | 6 | 0.023624 | 0.0059206 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-225_0_5_load_86 | 9 | 0.0022782 | 0.00057096 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-225_0_5_load_69 | 10 | 0.0017615 | 0.00044148 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-225_0_5_load_68 | 11 | 0.0022955 | 0.0005753 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-225_0_5_load_87 | 14 | 0.0018244 | 0.00045723 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-225_0_5_load_55 | 15 | 0.0056772 | 0.0014228 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-225_0_5_load_85 | 16 | 0.0022585 | 0.00056604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-225_0_5_load_79 | 18 | 0.0022328 | 0.00055959 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-225_0_5_load_78 | 19 | 0.0017514 | 0.00043895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-225_0_5_load_39 | 21 | 0.015432 | 0.0038676 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-225_0_5_load_47 | 22 | 0.0072012 | 0.0018048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-225_0_5_load_66 | 24 | 0.0022687 | 0.00056859 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-225_0_5_load_84 | 25 | 0.017549 | 0.0043982 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-225_0_5_load_88 | 27 | 0.0041704 | 0.0010452 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-225_0_5_load_22 | 30 | 0.0038476 | 0.00096431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-225_0_5_load_18 | 32 | 0.0014839 | 0.0003719 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-225_0_5_load_54 | 34 | 0.031141 | 0.0078046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-225_0_5_load_71 | 35 | 0.0020636 | 0.00051718 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-225_0_5_load_70 | 36 | 0.0020844 | 0.0005224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-225_0_5_load_91 | 38 | 0.035182 | 0.0088175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-225_0_5_load_28 | 41 | 0.0021857 | 0.0005478 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-225_0_5_load_26 | 42 | 0.0021402 | 0.00053638 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-225_0_5_load_81 | 45 | 0.0020696 | 0.00051869 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-225_0_5_load_83 | 46 | 0.0026029 | 0.00065235 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-225_0_5_load_82 | 47 | 0.0017621 | 0.00044163 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-225_0_5_load_32 | 49 | 0.0027079 | 0.00067865 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-225_0_5_load_24 | 52 | 0.001457 | 0.00036517 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-225_0_5_load_25 | 53 | 0.0014077 | 0.00035281 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-225_0_5_load_46 | 54 | 0.0016688 | 0.00041824 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-225_0_5_load_74 | 57 | 0.0020407 | 0.00051146 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-225_0_5_load_56 | 58 | 0.0024445 | 0.00061265 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-225_0_5_load_57 | 59 | 0.0017142 | 0.00042961 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-225_0_5_load_73 | 60 | 0.0021881 | 0.0005484 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-225_0_5_load_76 | 62 | 0.0021722 | 0.00054439 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-225_0_5_load_90 | 64 | 0.015412 | 0.0038627 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-225_0_5_load_89 | 68 | 0.060117 | 0.015067 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-225_0_5_load_52 | 70 | 0.0032931 | 0.00082533 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-225_0_5_load_53 | 71 | 0.089642 | 0.022466 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-225_0_5_load_49 | 72 | 0.085995 | 0.021552 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-225_0_5_load_41 | 73 | 0.013333 | 0.0033416 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-225_0_5_load_42 | 74 | 0.0016931 | 0.00042433 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-225_0_5_load_45 | 75 | 0.015431 | 0.0038673 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-225_0_5_load_92 | 77 | 0.0024536 | 0.00061493 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-225_0_5_load_60 | 78 | 0.0018754 | 0.00047001 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-225_0_5_load_61 | 79 | 0.0017519 | 0.00043908 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-225_0_5_load_65 | 81 | 0.0020971 | 0.00052558 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-225_0_5_load_67 | 83 | 0.0017422 | 0.00043663 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-225_0_5_line_0 |  | 0 | 1 | 0.031915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-225_0_5_line_1 |  | 0 | 2 | 0.024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-225_0_5_line_2 |  | 1 | 3 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-225_0_5_line_3 |  | 1 | 4 | 0.17376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-225_0_5_line_4 |  | 2 | 5 | 0.007722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_230-225_0_5_line_5 |  | 3 | 6 | 0.082093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-225_0_5_line_6 |  | 4 | 15 | 0.035291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-225_0_5_line_7 |  | 5 | 20 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_230-225_0_5_line_8 |  | 5 | 21 | 0.023018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-225_0_5_line_9 |  | 7 | 8 | 0.056934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-225_0_5_line_10 |  | 7 | 9 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-225_0_5_line_11 |  | 8 | 10 | 0.014325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-225_0_5_line_12 |  | 8 | 11 | 0.034796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-225_0_5_line_13 |  | 9 | 14 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-225_0_5_line_14 |  | 10 | 24 | 0.00017825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-225_0_5_line_15 |  | 12 | 13 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-225_0_5_line_16 |  | 12 | 14 | 0.02501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-225_0_5_line_17 |  | 13 | 16 | 0.029699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-225_0_5_line_18 |  | 15 | 34 | 0.00012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-225_0_5_line_19 |  | 16 | 25 | 0.014138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-225_0_5_line_20 |  | 17 | 18 | 0.020007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-225_0_5_line_21 |  | 17 | 19 | 0.029834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-225_0_5_line_22 |  | 18 | 48 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-225_0_5_line_23 |  | 20 | 49 | 0.023092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_230-225_0_5_line_24 |  | 20 | 29 | 0.030976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-225_0_5_line_25 |  | 21 | 50 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-225_0_5_line_26 |  | 22 | 23 | 0.0082733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-225_0_5_line_27 |  | 23 | 72 | 0.025477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-225_0_5_line_28 |  | 23 | 69 | 0.013767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-225_0_5_line_29 |  | 24 | 82 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-225_0_5_line_30 |  | 26 | 27 | 0.008729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-225_0_5_line_31 |  | 26 | 28 | 0.021471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-225_0_5_line_32 |  | 28 | 30 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-225_0_5_line_33 |  | 29 | 30 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-225_0_5_line_34 |  | 29 | 31 | 0.035631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-225_0_5_line_35 |  | 29 | 32 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-225_0_5_line_36 |  | 31 | 33 | 0.024858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-225_0_5_line_37 |  | 32 | 51 | 0.0084815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-225_0_5_line_38 |  | 33 | 56 | 0.007044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-225_0_5_line_39 |  | 33 | 57 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-225_0_5_line_40 |  | 35 | 36 | 4.5988e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-225_0_5_line_41 |  | 36 | 61 | 0.019639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-225_0_5_line_42 |  | 37 | 38 | 0.039646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-225_0_5_line_43 |  | 37 | 39 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-225_0_5_line_44 |  | 39 | 64 | 0.010744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-225_0_5_line_45 |  | 39 | 65 | 0.017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-225_0_5_line_46 |  | 40 | 41 | 0.011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-225_0_5_line_47 |  | 40 | 42 | 0.025695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-225_0_5_line_48 |  | 41 | 54 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-225_0_5_line_49 |  | 43 | 44 | 0.026346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-225_0_5_line_50 |  | 43 | 45 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-225_0_5_line_51 |  | 44 | 60 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-225_0_5_line_52 |  | 44 | 61 | 0.014076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-225_0_5_line_53 |  | 45 | 48 | 0.011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-225_0_5_line_54 |  | 46 | 47 | 0.025504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-225_0_5_line_55 |  | 47 | 48 | 0.013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-225_0_5_line_56 |  | 49 | 55 | 0.013159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_230-225_0_5_line_57 |  | 50 | 73 | 0.0087007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-225_0_5_line_58 |  | 50 | 74 | 0.01064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-225_0_5_line_59 |  | 51 | 52 | 0.016553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-225_0_5_line_60 |  | 51 | 53 | 0.040255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-225_0_5_line_61 |  | 53 | 54 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-225_0_5_line_62 |  | 55 | 66 | 0.031622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_230-225_0_5_line_63 |  | 55 | 67 | 0.019395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-225_0_5_line_64 |  | 56 | 77 | 0.009419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-225_0_5_line_65 |  | 56 | 63 | 0.01791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-225_0_5_line_66 |  | 57 | 76 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-225_0_5_line_67 |  | 58 | 59 | 0.0070946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-225_0_5_line_68 |  | 59 | 76 | 0.013242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-225_0_5_line_69 |  | 60 | 76 | 0.0094179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-225_0_5_line_70 |  | 61 | 80 | 0.030944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-225_0_5_line_71 |  | 62 | 63 | 0.01323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-225_0_5_line_72 |  | 65 | 75 | 0.010744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-225_0_5_line_73 |  | 65 | 73 | 0.0094065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_230-225_0_5_line_74 |  | 66 | 68 | 0.010513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_230-225_0_5_line_75 |  | 66 | 69 | 0.009948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_230-225_0_5_line_76 |  | 67 | 70 | 0.0079901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-225_0_5_line_77 |  | 69 | 71 | 0.031197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-225_0_5_line_78 |  | 78 | 79 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_230-225_0_5_line_79 |  | 78 | 80 | 0.023287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_230-225_0_5_line_80 |  | 80 | 81 | 0.0085398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_230-225_0_5_line_81 |  | 81 | 83 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_230-225_0_5_line_82 |  | 82 | 83 | 0.006334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-225_0_5_trafo_2 | 0.63 MVA 20/0.4 kV | 84 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2699939.4441 | 1262403.1158 | 2699940.4165 | 1262399.0844 | 2699944.5204 | 1262383.6522 | 2699945.2771 | 1262371.8775
1 | 2699951.6778 | 1262348.066 | 2699945.2771 | 1262371.8775
2 | 2699939.4441 | 1262403.1158 | 2699926.2599 | 1262399.6886
3 | 2699939.4441 | 1262403.1158 | 2699938.5853 | 1262406.6708 | 2700016.1475 | 1262426.5426 | 2700018.527 | 1262424.4144 | 2700022.8483 | 1262425.5328 | 2700034.8282 | 1262379.731 | 2700036.5987 | 1262380.1947 | 2700056.4525 | 1262353.5752
4 | 2699951.6778 | 1262348.066 | 2699953.5302 | 1262340.5689
5 | 2699846.8076 | 1262379.0358 | 2699926.2599 | 1262399.6886
6 | 2700056.4525 | 1262353.5752 | 2700090.5777 | 1262362.5711
7 | 2699957.4974 | 1262326.5355 | 2699953.5302 | 1262340.5689
8 | 2699953.5302 | 1262340.5689 | 2699931.2959 | 1262334.6145
9 | 2700064.6728 | 1262228.9894 | 2700070.5217 | 1262206.6477 | 2700070.8771 | 1262203.907 | 2700070.1761 | 1262201.2485 | 2700067.9987 | 1262198.1091 | 2700072.2974 | 1262199.2383 | 2700078.164 | 1262200.7833 | 2700079.6557 | 1262195.0149 | 2700080.1683 | 1262186.9947
10 | 2700080.1683 | 1262186.9947 | 2700093.6338 | 1262190.5406
11 | 2700064.6728 | 1262228.9894 | 2700059.3025 | 1262227.5084 | 2700050.8598 | 1262225.1939
12 | 2700064.6728 | 1262228.9894 | 2700056.7497 | 1262259.9031 | 2700056.0341 | 1262262.6962
13 | 2700093.6338 | 1262190.5406 | 2700112.2623 | 1262195.4461
14 | 2700050.8598 | 1262225.1939 | 2700050.6879 | 1262225.1468
15 | 2700152.2173 | 1262205.9631 | 2700136.4481 | 1262201.8149
16 | 2700136.4481 | 1262201.8149 | 2700112.2623 | 1262195.4461
17 | 2700152.2173 | 1262205.9631 | 2700152.4989 | 1262204.9114 | 2700159.8757 | 1262177.2681
18 | 2700090.5777 | 1262362.5711 | 2700090.6958 | 1262362.6022
19 | 2700165.1925 | 1262164.1783 | 2700160.159 | 1262176.2064 | 2700159.8757 | 1262177.2681
20 | 2699922.6087 | 1262159.8644 | 2699917.5591 | 1262179.2238
21 | 2699922.6087 | 1262159.8644 | 2699951.4486 | 1262167.5031
22 | 2699913.6969 | 1262194.0309 | 2699917.5591 | 1262179.2238
23 | 2699957.4974 | 1262326.5355 | 2699971.9485 | 1262330.1938 | 2699977.0379 | 1262330.4578 | 2699980.0193 | 1262331.2638
24 | 2699965.2011 | 1262296.5299 | 2699957.4974 | 1262326.5355
25 | 2699919.0918 | 1262331.3462 | 2699931.2959 | 1262334.6145
26 | 2700002.4031 | 1262374.4562 | 2700008.3487 | 1262373.9896 | 2700010.5858 | 1262374.5631
27 | 2699995.8904 | 1262399.0886 | 2699999.9048 | 1262384.0552 | 2700002.4031 | 1262374.4562
28 | 2699988.9771 | 1262371.2377 | 2700000.8345 | 1262374.0849 | 2700002.4031 | 1262374.4562
29 | 2700037.5509 | 1262221.5356 | 2700042.2686 | 1262222.8387 | 2700050.6879 | 1262225.1468
30 | 2700019.713 | 1262308.0163 | 2700021.9131 | 1262299.5688
31 | 2700000.3442 | 1262305.0865 | 2700000.8515 | 1262303.1601 | 2700013.5148 | 1262306.4881 | 2700018.2561 | 1262307.7248 | 2700019.713 | 1262308.0163
32 | 2700000.3442 | 1262305.0865 | 2699995.6644 | 1262303.7729 | 2699989.7762 | 1262302.1384
33 | 2699965.2011 | 1262296.5299 | 2699979.7927 | 1262300.3463 | 2699984.9993 | 1262300.8124 | 2699989.7762 | 1262302.1384
34 | 2699965.2011 | 1262296.5299 | 2699973.3689 | 1262265.8204 | 2699969.6403 | 1262264.8455
35 | 2699965.2011 | 1262296.5299 | 2699953.6627 | 1262293.5213 | 2699948.6798 | 1262292.2181
36 | 2699945.5126 | 1262258.577 | 2699969.6403 | 1262264.8455
37 | 2699940.4739 | 1262290.0734 | 2699943.7074 | 1262290.9176 | 2699948.6798 | 1262292.2181
38 | 2699938.6781 | 1262256.7934 | 2699945.5126 | 1262258.577
39 | 2699945.5126 | 1262258.577 | 2699949.5984 | 1262243.2174
40 | 2699982.5452 | 1262191.9126 | 2699982.5441 | 1262191.917
41 | 2699977.6055 | 1262210.9246 | 2699980.3859 | 1262200.2405 | 2699982.5441 | 1262191.917
42 | 2699870.9937 | 1262318.8903 | 2699863.3224 | 1262348.3517 | 2699872.2657 | 1262350.6379
43 | 2699884.4015 | 1262322.3084 | 2699870.9937 | 1262318.8903
44 | 2699887.2066 | 1262311.9361 | 2699884.4015 | 1262322.3084
45 | 2699901.5583 | 1262326.8241 | 2699884.4015 | 1262322.3084
46 | 2699861.0668 | 1262268.2255 | 2699861.8314 | 1262265.336 | 2699869.803 | 1262267.42
47 | 2699861.0668 | 1262268.2255 | 2699856.5894 | 1262285.2528 | 2699864.415 | 1262287.2987
48 | 2699869.803 | 1262267.42 | 2699889.3973 | 1262272.5427
49 | 2699938.4156 | 1262200.5649 | 2699963.9596 | 1262207.3132
50 | 2699938.4156 | 1262200.5649 | 2699932.7442 | 1262199.0679 | 2699924.3456 | 1262196.8445
51 | 2699963.9596 | 1262207.3132 | 2699961.1769 | 1262217.6858 | 2699958.9773 | 1262225.8811
52 | 2699977.6055 | 1262210.9246 | 2699963.9596 | 1262207.3132
53 | 2699913.6969 | 1262194.0309 | 2699915.9175 | 1262194.6133 | 2699924.3456 | 1262196.8445
54 | 2699903.4047 | 1262195.9903 | 2699878.7512 | 1262189.4602
55 | 2699913.6969 | 1262194.0309 | 2699912.4702 | 1262198.3915 | 2699903.4047 | 1262195.9903
56 | 2699992.7143 | 1262334.7263 | 2699987.8767 | 1262333.3879 | 2699980.0193 | 1262331.2638
57 | 2699919.0918 | 1262331.3462 | 2699910.6668 | 1262329.1732
58 | 2699921.7301 | 1262321.0378 | 2699919.0918 | 1262331.3462
59 | 2699940.4739 | 1262290.0734 | 2699936.2623 | 1262306.0821
60 | 2699940.4739 | 1262290.0734 | 2699941.5045 | 1262286.1654 | 2699906.4687 | 1262277.0057
61 | 2699889.3973 | 1262272.5427 | 2699906.4687 | 1262277.0057
62 | 2699992.7143 | 1262334.7263 | 2699997.8896 | 1262336.1483 | 2699991.3709 | 1262361.5813
63 | 2699992.7143 | 1262334.7263 | 2699997.8896 | 1262336.1483 | 2700004.3173 | 1262337.9251 | 2700009.8449 | 1262339.4532 | 2700011.4125 | 1262339.88
64 | 2699938.6781 | 1262256.7934 | 2699936.031 | 1262265.8339
65 | 2699921.2951 | 1262252.2738 | 2699938.6781 | 1262256.7934
66 | 2699956.5366 | 1262234.9772 | 2699952.1031 | 1262233.8013 | 2699949.5984 | 1262243.2174
67 | 2699976.199 | 1262240.1693 | 2699976.199 | 1262240.1693 | 2699969.3395 | 1262238.358
68 | 2699956.5366 | 1262234.9772 | 2699969.3395 | 1262238.358
69 | 2699956.5366 | 1262234.9772 | 2699956.6814 | 1262234.4348 | 2699958.9773 | 1262225.8811
70 | 2700007.6053 | 1262218.8604 | 2699977.6055 | 1262210.9246
71 | 2699921.2951 | 1262252.2738 | 2699908.4917 | 1262248.9427
72 | 2699904.6559 | 1262316.5346 | 2699901.5583 | 1262326.8241
73 | 2699901.5583 | 1262326.8241 | 2699910.6668 | 1262329.1732
74 | 2699991.3709 | 1262361.5813 | 2699981.2 | 1262358.8071
75 | 2699988.9771 | 1262371.2377 | 2699991.3709 | 1262361.5813
76 | 2700011.4125 | 1262339.88 | 2700017.6528 | 1262340.7084 | 2700019.2948 | 1262341.1295
77 | 2699988.9771 | 1262371.2377 | 2699988.6613 | 1262372.5334 | 2699985.5919 | 1262371.792 | 2699983.2206 | 1262381.4599 | 2699980.0687 | 1262380.6949 | 2699975.6788 | 1262379.6198 | 2699966.9508 | 1262377.4735
78 | 2700006.3556 | 1262238.6342 | 2700026.1914 | 1262243.8395
79 | 2700007.6053 | 1262218.8604 | 2700002.6379 | 1262237.6586 | 2700006.3556 | 1262238.6342
80 | 2700007.6053 | 1262218.8604 | 2700009.1913 | 1262212.8601 | 2700011.4481 | 1262213.4533
81 | 2700032.8724 | 1262219.0852 | 2700011.4481 | 1262213.4533
82 | 2700037.5509 | 1262221.5356 | 2700037.8566 | 1262220.3954 | 2700032.8724 | 1262219.0852

## bus_geodata
| x | y | coords
0 | 2699945.2771 | 1262371.8775
1 | 2699939.4441 | 1262403.1158
2 | 2699951.6778 | 1262348.066
3 | 2699926.2599 | 1262399.6886
4 | 2700056.4525 | 1262353.5752
5 | 2699953.5302 | 1262340.5689
6 | 2699846.8076 | 1262379.0358
7 | 2700080.1683 | 1262186.9947
8 | 2700064.6728 | 1262228.9894
9 | 2700093.6338 | 1262190.5406
10 | 2700050.8598 | 1262225.1939
11 | 2700056.0341 | 1262262.6962
12 | 2700136.4481 | 1262201.8149
13 | 2700152.2173 | 1262205.9631
14 | 2700112.2623 | 1262195.4461
15 | 2700090.5777 | 1262362.5711
16 | 2700159.8757 | 1262177.2681
17 | 2699922.6087 | 1262159.8644
18 | 2699917.5591 | 1262179.2238
19 | 2699951.4486 | 1262167.5031
20 | 2699957.4974 | 1262326.5355
21 | 2699931.2959 | 1262334.6145
22 | 2700010.5858 | 1262374.5631
23 | 2700002.4031 | 1262374.4562
24 | 2700050.6879 | 1262225.1468
25 | 2700165.1925 | 1262164.1783
26 | 2700019.713 | 1262308.0163
27 | 2700021.9131 | 1262299.5688
28 | 2700000.3442 | 1262305.0865
29 | 2699965.2011 | 1262296.5299
30 | 2699989.7762 | 1262302.1384
31 | 2699969.6403 | 1262264.8455
32 | 2699948.6798 | 1262292.2181
33 | 2699945.5126 | 1262258.577
34 | 2700090.6958 | 1262362.6022
35 | 2699982.5452 | 1262191.9126
36 | 2699982.5441 | 1262191.917
37 | 2699870.9937 | 1262318.8903
38 | 2699872.2657 | 1262350.6379
39 | 2699884.4015 | 1262322.3084
40 | 2699861.0668 | 1262268.2255
41 | 2699869.803 | 1262267.42
42 | 2699864.415 | 1262287.2987
43 | 2699938.4156 | 1262200.5649
44 | 2699963.9596 | 1262207.3132
45 | 2699924.3456 | 1262196.8445
46 | 2699878.7512 | 1262189.4602
47 | 2699903.4047 | 1262195.9903
48 | 2699913.6969 | 1262194.0309
49 | 2699980.0193 | 1262331.2638
50 | 2699919.0918 | 1262331.3462
51 | 2699940.4739 | 1262290.0734
52 | 2699936.2623 | 1262306.0821
53 | 2699906.4687 | 1262277.0057
54 | 2699889.3973 | 1262272.5427
55 | 2699992.7143 | 1262334.7263
56 | 2699938.6781 | 1262256.7934
57 | 2699949.5983 | 1262243.2174
58 | 2699976.199 | 1262240.1693
59 | 2699969.3395 | 1262238.358
60 | 2699958.9773 | 1262225.8811
61 | 2699977.6055 | 1262210.9246
62 | 2699908.4917 | 1262248.9427
63 | 2699921.2951 | 1262252.2738
64 | 2699887.2066 | 1262311.9361
65 | 2699901.5583 | 1262326.8241
66 | 2699991.3709 | 1262361.5813
67 | 2700011.4125 | 1262339.88
68 | 2699981.2 | 1262358.8071
69 | 2699988.9771 | 1262371.2377
70 | 2700019.2948 | 1262341.1295
71 | 2699966.9508 | 1262377.4735
72 | 2699995.8904 | 1262399.0886
73 | 2699910.6668 | 1262329.1732
74 | 2699921.7301 | 1262321.0378
75 | 2699904.6559 | 1262316.5346
76 | 2699956.5366 | 1262234.9772
77 | 2699936.031 | 1262265.8339
78 | 2700006.3556 | 1262238.6342
79 | 2700026.1914 | 1262243.8395
80 | 2700007.6053 | 1262218.8604
81 | 2700011.4481 | 1262213.4533
82 | 2700037.5509 | 1262221.5356
83 | 2700032.8724 | 1262219.0852
84 | 2699953.5302 | 1262340.5689

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99715 | -0.054362 | 0.010095 | 0.0025299
1 | 0.99376 | -0.1195 | 0 | 0
2 | 1 | 0 | -0.56125 | -0.14193
3 | 0.99278 | -0.13856 | 0.055589 | 0.013932
4 | 0.98788 | -0.2331 | 0 | 0
5 | 0.99924 | -0.01445 | 0 | 0
6 | 0.991 | -0.17292 | 0.023624 | 0.0059206
7 | 0.98436 | -0.30114 | 0 | 0
8 | 0.98562 | -0.27668 | 0 | 0
9 | 0.98405 | -0.30713 | 0.0022782 | 0.00057096
10 | 0.98596 | -0.26994 | 0.0017615 | 0.00044148
11 | 0.98554 | -0.27811 | 0.0022955 | 0.0005753
12 | 0.98321 | -0.32356 | 0 | 0
13 | 0.98291 | -0.32937 | 0 | 0
14 | 0.98367 | -0.31464 | 0.0018244 | 0.00045723
15 | 0.98669 | -0.25633 | 0.0056772 | 0.0014228
16 | 0.98237 | -0.33999 | 0.0022585 | 0.00056604
17 | 0.9885 | -0.22076 | 0 | 0
18 | 0.98853 | -0.22014 | 0.0022328 | 0.00055959
19 | 0.98845 | -0.2217 | 0.0017514 | 0.00043895
20 | 0.99813 | -0.035642 | 0 | 0
21 | 0.99722 | -0.053298 | 0.015432 | 0.0038676
22 | 0.99226 | -0.14863 | 0.0072012 | 0.0018048
23 | 0.99231 | -0.14757 | 0 | 0
24 | 0.98597 | -0.26986 | 0.0022687 | 0.00056859
25 | 0.98214 | -0.34448 | 0.017549 | 0.0043982
26 | 0.99545 | -0.087038 | 0 | 0
27 | 0.99541 | -0.087679 | 0.0041704 | 0.0010452
28 | 0.99553 | -0.085463 | 0 | 0
29 | 0.99575 | -0.081096 | 0 | 0
30 | 0.99557 | -0.084658 | 0.0038476 | 0.00096431
31 | 0.99361 | -0.12209 | 0 | 0
32 | 0.99559 | -0.084202 | 0.0014839 | 0.0003719
33 | 0.99212 | -0.15079 | 0 | 0
34 | 0.98668 | -0.2564 | 0.031141 | 0.0078046
35 | 0.98845 | -0.22177 | 0.0020636 | 0.00051718
36 | 0.98845 | -0.22177 | 0.0020844 | 0.0005224
37 | 0.99382 | -0.11865 | 0 | 0
38 | 0.99255 | -0.1433 | 0.035182 | 0.0088175
39 | 0.99427 | -0.11009 | 0 | 0
40 | 0.99505 | -0.094596 | 0 | 0
41 | 0.99508 | -0.094173 | 0.0021857 | 0.0005478
42 | 0.995 | -0.095565 | 0.0021402 | 0.00053638
43 | 0.98881 | -0.21471 | 0 | 0
44 | 0.98906 | -0.20981 | 0 | 0
45 | 0.98867 | -0.21741 | 0.0020696 | 0.00051869
46 | 0.98847 | -0.22132 | 0.0026029 | 0.00065235
47 | 0.98853 | -0.22013 | 0.0017621 | 0.00044163
48 | 0.98859 | -0.21905 | 0 | 0
49 | 0.99682 | -0.06082 | 0.0027079 | 0.00067865
50 | 0.99628 | -0.071263 | 0 | 0
51 | 0.99552 | -0.085524 | 0 | 0
52 | 0.9955 | -0.085948 | 0.001457 | 0.00036517
53 | 0.99525 | -0.090768 | 0.0014077 | 0.00035281
54 | 0.99516 | -0.092631 | 0.0016688 | 0.00041824
55 | 0.99608 | -0.07504 | 0 | 0
56 | 0.99209 | -0.15137 | 0 | 0
57 | 0.99123 | -0.16788 | 0.0020407 | 0.00051146
58 | 0.99039 | -0.18409 | 0.0024445 | 0.00061265
59 | 0.99041 | -0.18378 | 0.0017142 | 0.00042961
60 | 0.98999 | -0.19192 | 0.0021881 | 0.0005484
61 | 0.98852 | -0.22032 | 0 | 0
62 | 0.99203 | -0.15256 | 0.0021722 | 0.00054439
63 | 0.99206 | -0.15206 | 0 | 0
64 | 0.99412 | -0.11301 | 0.015412 | 0.0038627
65 | 0.99509 | -0.094322 | 0 | 0
66 | 0.99432 | -0.10884 | 0 | 0
67 | 0.99602 | -0.076163 | 0 | 0
68 | 0.99374 | -0.11999 | 0.060117 | 0.015067
69 | 0.99349 | -0.12489 | 0 | 0
70 | 0.99599 | -0.076625 | 0.0032931 | 0.00082533
71 | 0.99093 | -0.1744 | 0.089642 | 0.022466
72 | 0.99031 | -0.18643 | 0.085995 | 0.021552
73 | 0.99565 | -0.083396 | 0.013333 | 0.0033416
74 | 0.99627 | -0.07158 | 0.0016931 | 0.00042433
75 | 0.99493 | -0.097241 | 0.015431 | 0.0038673
76 | 0.99046 | -0.1828 | 0 | 0
77 | 0.99207 | -0.15178 | 0.0024536 | 0.00061493
78 | 0.98737 | -0.24266 | 0.0018754 | 0.00047001
79 | 0.98734 | -0.24331 | 0.0017519 | 0.00043908
80 | 0.98745 | -0.24115 | 0 | 0
81 | 0.98718 | -0.24636 | 0.0020971 | 0.00052558
82 | 0.98635 | -0.26247 | 0 | 0
83 | 0.98652 | -0.25904 | 0.0017422 | 0.00043663
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11675 | 0.029534 | -0.11638 | -0.029302 | 0.00036365 | 0.00023232 | 0.17431 | 0.17431 | 0.17431 | 0.99715 | -0.054362 | 0.99376 | -0.1195 | 47.8886
1 | -0.12684 | -0.032064 | 0.12717 | 0.032276 | 0.00033161 | 0.00021191 | 0.18938 | 0.18938 | 0.18938 | 0.99715 | -0.054362 | 1 | 0 | 52.0269
2 | 0.079323 | 0.019922 | -0.079251 | -0.019876 | 7.2085e-05 | 4.5958e-05 | 0.11879 | 0.11879 | 0.11879 | 0.99376 | -0.1195 | 0.99278 | -0.13856 | 32.6347
3 | 0.03706 | 0.0093795 | -0.036859 | -0.0092532 | 0.00020089 | 0.00012633 | 0.055524 | 0.055525 | 0.055525 | 0.99376 | -0.1195 | 0.98788 | -0.2331 | 15.2541
4 | 0.43242 | 0.10966 | -0.43212 | -0.10946 | 0.00030015 | 0.00019169 | 0.64391 | 0.64391 | 0.64391 | 1 | 0 | 0.99924 | -0.01445 | 44.2243
5 | 0.023662 | 0.0059444 | -0.023624 | -0.0059206 | 3.8734e-05 | 2.373e-05 | 0.035471 | 0.035471 | 0.035471 | 0.99278 | -0.13856 | 0.991 | -0.17292 | 9.7449
6 | 0.036859 | 0.0092532 | -0.036818 | -0.0092275 | 4.0801e-05 | 2.5661e-05 | 0.055525 | 0.055525 | 0.055525 | 0.98788 | -0.2331 | 0.98669 | -0.25633 | 15.2541
7 | 0.33521 | 0.08501 | -0.33487 | -0.084793 | 0.00034113 | 0.00021756 | 0.49953 | 0.49953 | 0.49953 | 0.99924 | -0.01445 | 0.99813 | -0.035642 | 34.3085
8 | 0.096912 | 0.024453 | -0.096732 | -0.024338 | 0.00017992 | 0.00011485 | 0.14437 | 0.14437 | 0.14437 | 0.99924 | -0.01445 | 0.99722 | -0.053298 | 39.6632
9 | -0.023953 | -0.0060181 | 0.023981 | 0.0060353 | 2.7999e-05 | 1.7195e-05 | 0.036213 | 0.036213 | 0.036213 | 0.98436 | -0.30114 | 0.98562 | -0.27668 | 9.9488
10 | 0.023953 | 0.0060181 | -0.023946 | -0.0060139 | 6.8479e-06 | 4.2057e-06 | 0.036213 | 0.036214 | 0.036214 | 0.98436 | -0.30114 | 0.98405 | -0.30713 | 9.9488
11 | -0.026276 | -0.0066102 | 0.026285 | 0.0066154 | 8.4575e-06 | 5.2302e-06 | 0.039679 | 0.039679 | 0.039679 | 0.98562 | -0.27668 | 0.98596 | -0.26994 | 10.9008
12 | 0.0022956 | 0.00057496 | -0.0022955 | -0.0005753 | 1.5673e-07 | -3.4312e-07 | 0.0034657 | 0.0034658 | 0.0034658 | 0.98562 | -0.27668 | 0.98554 | -0.27811 | 0.95215
13 | 0.021668 | 0.0054429 | -0.02166 | -0.0054382 | 7.7568e-06 | 4.7198e-06 | 0.032769 | 0.032769 | 0.032769 | 0.98405 | -0.30713 | 0.98367 | -0.31464 | 9.0024
14 | -0.028046 | -0.0070569 | 0.028046 | 0.007057 | 1.1981e-07 | 7.4406e-08 | 0.042337 | 0.042337 | 0.042337 | 0.98596 | -0.26994 | 0.98597 | -0.26986 | 11.6311
15 | 0.019827 | 0.0049759 | -0.019821 | -0.0049725 | 5.4911e-06 | 3.3081e-06 | 0.030009 | 0.030009 | 0.030009 | 0.98321 | -0.32356 | 0.98291 | -0.32937 | 8.2443
16 | -0.019827 | -0.0049759 | 0.019835 | 0.0049809 | 8.4461e-06 | 5.0881e-06 | 0.030009 | 0.030009 | 0.030009 | 0.98321 | -0.32356 | 0.98367 | -0.31464 | 8.2443
17 | 0.019821 | 0.0049725 | -0.019811 | -0.0049665 | 1.003e-05 | 6.0428e-06 | 0.030009 | 0.030009 | 0.030009 | 0.98291 | -0.32937 | 0.98237 | -0.33999 | 8.2443
18 | 0.031141 | 0.0078046 | -0.031141 | -0.0078046 | 1.0103e-07 | 6.3101e-08 | 0.046963 | 0.046963 | 0.046963 | 0.98669 | -0.25633 | 0.98668 | -0.2564 | 12.902
19 | 0.017553 | 0.0044005 | -0.017549 | -0.0043982 | 3.7479e-06 | 2.2197e-06 | 0.026588 | 0.026588 | 0.026588 | 0.98237 | -0.33999 | 0.98214 | -0.34448 | 7.3045
20 | -0.0017515 | -0.00043862 | 0.0017516 | 0.00043839 | 5.2149e-08 | -2.2311e-07 | 0.0026365 | 0.0026364 | 0.0026365 | 0.9885 | -0.22076 | 0.98853 | -0.22014 | 0.7243
21 | 0.0017515 | 0.00043862 | -0.0017514 | -0.00043895 | 7.777e-08 | -3.3266e-07 | 0.0026365 | 0.0026366 | 0.0026366 | 0.9885 | -0.22076 | 0.98845 | -0.2217 | 0.72434
22 | -0.0039843 | -0.00099798 | 0.0039845 | 0.00099792 | 2.064e-07 | -6.4097e-08 | 0.0059973 | 0.0059973 | 0.0059973 | 0.98853 | -0.22014 | 0.98859 | -0.21905 | 1.6476
23 | 0.25047 | 0.063356 | -0.25016 | -0.063164 | 0.00030217 | 0.00019218 | 0.3736 | 0.3736 | 0.3736 | 0.99813 | -0.035642 | 0.99682 | -0.06082 | 25.6595
24 | 0.084404 | 0.021437 | -0.08422 | -0.021319 | 0.00018421 | 0.00011749 | 0.12593 | 0.12593 | 0.12593 | 0.99813 | -0.035642 | 0.99575 | -0.081096 | 34.596
25 | 0.0813 | 0.020471 | -0.08123 | -0.020426 | 6.9765e-05 | 4.4485e-05 | 0.12135 | 0.12135 | 0.12135 | 0.99722 | -0.053298 | 0.99628 | -0.071263 | 33.3371
26 | -0.0072012 | -0.0018048 | 0.0072016 | 0.0018049 | 3.6181e-07 | 1.2469e-07 | 0.010799 | 0.010799 | 0.010799 | 0.99226 | -0.14863 | 0.99231 | -0.14757 | 2.9668
27 | 0.086154 | 0.021654 | -0.085995 | -0.021552 | 0.00015951 | 0.00010176 | 0.12921 | 0.12921 | 0.12921 | 0.99231 | -0.14757 | 0.99031 | -0.18643 | 35.4984
28 | -0.093356 | -0.023459 | 0.093457 | 0.023524 | 0.00010121 | 6.4594e-05 | 0.14001 | 0.14001 | 0.14001 | 0.99231 | -0.14757 | 0.99349 | -0.12489 | 38.4652
29 | -0.030315 | -0.0076256 | 0.030326 | 0.0076323 | 1.0699e-05 | 6.6735e-06 | 0.045761 | 0.045761 | 0.045761 | 0.98597 | -0.26986 | 0.98635 | -0.26247 | 12.5718
30 | 0.0041705 | 0.0010452 | -0.0041704 | -0.0010452 | 1.2722e-07 | -3.2053e-08 | 0.0062342 | 0.0062342 | 0.0062342 | 0.99545 | -0.087038 | 0.99541 | -0.087679 | 1.7127
31 | -0.0041705 | -0.0010452 | 0.0041708 | 0.0010451 | 3.1292e-07 | -7.8878e-08 | 0.0062342 | 0.0062341 | 0.0062342 | 0.99545 | -0.087038 | 0.99553 | -0.085463 | 1.7127
32 | -0.0041708 | -0.0010451 | 0.004171 | 0.001045 | 1.599e-07 | -4.0326e-08 | 0.0062341 | 0.006234 | 0.0062341 | 0.99553 | -0.085463 | 0.99557 | -0.084658 | 1.7127
33 | 0.00802 | 0.0020099 | -0.0080186 | -0.0020094 | 1.361e-06 | 5.4241e-07 | 0.011985 | 0.011985 | 0.011985 | 0.99575 | -0.081096 | 0.99557 | -0.084658 | 3.2925
34 | 0.065851 | 0.016716 | -0.065722 | -0.016633 | 0.00012959 | 8.2474e-05 | 0.098481 | 0.098481 | 0.098481 | 0.99575 | -0.081096 | 0.99361 | -0.12209 | 27.0552
35 | 0.010348 | 0.0025934 | -0.010347 | -0.0025927 | 1.5312e-06 | 7.579e-07 | 0.015464 | 0.015464 | 0.015464 | 0.99575 | -0.081096 | 0.99559 | -0.084202 | 4.2484
36 | 0.065722 | 0.016633 | -0.065631 | -0.016576 | 9.0407e-05 | 5.7539e-05 | 0.098481 | 0.098481 | 0.098481 | 0.99361 | -0.12209 | 0.99212 | -0.15079 | 27.0553
37 | 0.0088629 | 0.0022208 | -0.0088623 | -0.0022205 | 5.5808e-07 | 2.4689e-07 | 0.013246 | 0.013246 | 0.013246 | 0.99559 | -0.084202 | 0.99552 | -0.085524 | 3.6391
38 | 0.0046261 | 0.0011589 | -0.0046259 | -0.0011589 | 1.2716e-07 | -9.5789e-09 | 0.0069381 | 0.0069382 | 0.0069382 | 0.99212 | -0.15079 | 0.99209 | -0.15137 | 1.9061
39 | 0.061005 | 0.015417 | -0.060955 | -0.015385 | 4.9947e-05 | 3.1761e-05 | 0.091543 | 0.091543 | 0.091543 | 0.99212 | -0.15079 | 0.99123 | -0.16788 | 25.1492
40 | -0.0020636 | -0.00051718 | 0.0020636 | 0.00051718 | 1.642e-11 | -4.6884e-11 | 0.0031065 | 0.0031065 | 0.0031065 | 0.98845 | -0.22177 | 0.98845 | -0.22177 | 0.85343
41 | -0.0041479 | -0.0010396 | 0.0041482 | 0.0010395 | 2.8715e-07 | -6.7968e-08 | 0.0062443 | 0.0062443 | 0.0062443 | 0.98845 | -0.22177 | 0.98852 | -0.22032 | 1.7155
42 | 0.035223 | 0.0088434 | -0.035182 | -0.0088175 | 4.136e-05 | 2.5957e-05 | 0.052744 | 0.052744 | 0.052744 | 0.99382 | -0.11865 | 0.99255 | -0.1433 | 14.4902
43 | -0.035223 | -0.0088434 | 0.035238 | 0.0088525 | 1.4393e-05 | 9.033e-06 | 0.052744 | 0.052744 | 0.052744 | 0.99382 | -0.11865 | 0.99427 | -0.11009 | 14.4902
44 | 0.015415 | 0.003864 | -0.015412 | -0.0038627 | 2.1443e-06 | 1.233e-06 | 0.02307 | 0.02307 | 0.02307 | 0.99427 | -0.11009 | 0.99412 | -0.11301 | 6.3378
45 | -0.050652 | -0.012716 | 0.050691 | 0.012741 | 3.8131e-05 | 2.4174e-05 | 0.075814 | 0.075814 | 0.075814 | 0.99427 | -0.11009 | 0.99509 | -0.094322 | 20.828
46 | -0.0021403 | -0.00053611 | 0.0021403 | 0.00053599 | 4.313e-08 | -1.1826e-07 | 0.0032005 | 0.0032004 | 0.0032005 | 0.99505 | -0.094596 | 0.99508 | -0.094173 | 0.87925
47 | 0.0021403 | 0.00053611 | -0.0021402 | -0.00053638 | 9.8701e-08 | -2.7058e-07 | 0.0032005 | 0.0032006 | 0.0032006 | 0.99505 | -0.094596 | 0.995 | -0.095565 | 0.87929
48 | -0.004326 | -0.0010838 | 0.0043264 | 0.0010837 | 3.1782e-07 | -5.9712e-08 | 0.0064689 | 0.0064688 | 0.0064689 | 0.99508 | -0.094173 | 0.99516 | -0.092631 | 1.7772
49 | -0.010422 | -0.0026113 | 0.010424 | 0.0026125 | 2.4299e-06 | 1.2171e-06 | 0.015683 | 0.015683 | 0.015683 | 0.98881 | -0.21471 | 0.98906 | -0.20981 | 4.3084
50 | 0.010422 | 0.0026113 | -0.01042 | -0.0026106 | 1.3423e-06 | 6.724e-07 | 0.015683 | 0.015683 | 0.015683 | 0.98881 | -0.21471 | 0.98867 | -0.21741 | 4.3084
51 | -0.052457 | -0.013213 | 0.052502 | 0.013241 | 4.4928e-05 | 2.8507e-05 | 0.078943 | 0.078943 | 0.078943 | 0.98906 | -0.20981 | 0.98999 | -0.19192 | 21.6876
52 | 0.042033 | 0.0106 | -0.042012 | -0.010587 | 2.1124e-05 | 1.3339e-05 | 0.06326 | 0.06326 | 0.06326 | 0.98906 | -0.20981 | 0.98852 | -0.22032 | 17.3792
53 | 0.0083506 | 0.0020919 | -0.0083499 | -0.0020916 | 6.5239e-07 | 2.763e-07 | 0.012568 | 0.012568 | 0.012568 | 0.98867 | -0.21741 | 0.98859 | -0.21905 | 3.4527
54 | -0.0026029 | -0.00065235 | 0.002603 | 0.00065211 | 1.4683e-07 | -2.3297e-07 | 0.0039183 | 0.0039182 | 0.0039183 | 0.98847 | -0.22132 | 0.98853 | -0.22013 | 1.0765
55 | -0.0043652 | -0.0010937 | 0.0043654 | 0.0010937 | 2.2517e-07 | -3.4203e-08 | 0.0065707 | 0.0065706 | 0.0065707 | 0.98853 | -0.22013 | 0.98859 | -0.21905 | 1.8051
56 | 0.24746 | 0.062485 | -0.24729 | -0.062378 | 0.00016848 | 0.00010714 | 0.36956 | 0.36956 | 0.36956 | 0.99682 | -0.06082 | 0.99608 | -0.07504 | 25.3819
57 | 0.079537 | 0.020002 | -0.079491 | -0.019973 | 4.6063e-05 | 2.9367e-05 | 0.11882 | 0.11882 | 0.11882 | 0.99628 | -0.071263 | 0.99565 | -0.083396 | 32.6424
58 | 0.0016931 | 0.00042421 | -0.0016931 | -0.00042433 | 2.5515e-08 | -1.2222e-07 | 0.0025288 | 0.0025288 | 0.0025288 | 0.99628 | -0.071263 | 0.99627 | -0.07158 | 0.69473
59 | 0.0014571 | 0.00036497 | -0.001457 | -0.00036517 | 2.9443e-08 | -1.9638e-07 | 0.0021778 | 0.0021779 | 0.0021779 | 0.99552 | -0.085524 | 0.9955 | -0.085948 | 0.59832
60 | 0.0074053 | 0.0018555 | -0.0074034 | -0.0018549 | 1.8494e-06 | 6.6039e-07 | 0.011069 | 0.011069 | 0.011069 | 0.99552 | -0.085524 | 0.99525 | -0.090768 | 3.0409
61 | 0.0059957 | 0.0015021 | -0.0059951 | -0.001502 | 5.317e-07 | 1.1101e-07 | 0.008964 | 0.0089641 | 0.0089641 | 0.99525 | -0.090768 | 0.99516 | -0.092631 | 2.4627
62 | 0.244 | 0.061553 | -0.2436 | -0.061302 | 0.00039418 | 0.00025063 | 0.36464 | 0.36464 | 0.36464 | 0.99608 | -0.07504 | 0.99432 | -0.10884 | 25.0441
63 | 0.0032933 | 0.00082513 | -0.0032932 | -0.00082527 | 1.7605e-07 | -1.3978e-07 | 0.0049198 | 0.0049198 | 0.0049198 | 0.99608 | -0.07504 | 0.99602 | -0.076163 | 1.3516
64 | 0.0024536 | 0.00061484 | -0.0024536 | -0.00061493 | 4.7838e-08 | -9.1005e-08 | 0.0036801 | 0.0036802 | 0.0036802 | 0.99209 | -0.15137 | 0.99207 | -0.15178 | 1.011
65 | 0.0021723 | 0.00054407 | -0.0021722 | -0.00054426 | 7.1293e-08 | -1.8563e-07 | 0.003258 | 0.0032581 | 0.0032581 | 0.99209 | -0.15137 | 0.99206 | -0.15206 | 0.89509
66 | 0.058915 | 0.014874 | -0.058872 | -0.014847 | 4.207e-05 | 2.674e-05 | 0.08848 | 0.08848 | 0.08848 | 0.99123 | -0.16788 | 0.99046 | -0.1828 | 24.3076
67 | -0.0024445 | -0.00061265 | 0.0024445 | 0.00061258 | 3.5887e-08 | -6.833e-08 | 0.0036728 | 0.0036727 | 0.0036728 | 0.99039 | -0.18409 | 0.99041 | -0.18378 | 1.009
68 | -0.0041587 | -0.0010422 | 0.0041589 | 0.0010421 | 1.9385e-07 | -4.635e-08 | 0.0062481 | 0.006248 | 0.0062481 | 0.99041 | -0.18378 | 0.99046 | -0.1828 | 1.7165
69 | -0.05469 | -0.01379 | 0.054714 | 0.013805 | 2.3882e-05 | 1.5163e-05 | 0.082232 | 0.082232 | 0.082232 | 0.98999 | -0.19192 | 0.99046 | -0.1828 | 22.5911
70 | 0.037863 | 0.0095476 | -0.037826 | -0.0095238 | 3.7723e-05 | 2.3746e-05 | 0.057016 | 0.057016 | 0.057016 | 0.98852 | -0.22032 | 0.98745 | -0.24115 | 15.6638
71 | -0.0021722 | -0.00054439 | 0.0021722 | 0.00054426 | 5.2665e-08 | -1.3711e-07 | 0.0032582 | 0.0032581 | 0.0032582 | 0.99203 | -0.15256 | 0.99206 | -0.15206 | 0.8951
72 | 0.015433 | 0.0038686 | -0.015431 | -0.0038673 | 2.1459e-06 | 1.2338e-06 | 0.023078 | 0.023078 | 0.023078 | 0.99509 | -0.094322 | 0.99493 | -0.097241 | 6.3402
73 | -0.066124 | -0.016609 | 0.066158 | 0.016631 | 3.4497e-05 | 2.1956e-05 | 0.098892 | 0.098892 | 0.098892 | 0.99509 | -0.094322 | 0.99565 | -0.083396 | 27.1681
74 | 0.060149 | 0.015087 | -0.060117 | -0.015067 | 3.1947e-05 | 2.031e-05 | 0.090019 | 0.090019 | 0.090019 | 0.99432 | -0.10884 | 0.99374 | -0.11999 | 24.7304
75 | 0.18345 | 0.046215 | -0.18331 | -0.046125 | 0.00014067 | 8.9773e-05 | 0.27462 | 0.27462 | 0.27462 | 0.99432 | -0.10884 | 0.99349 | -0.12489 | 37.723
76 | 0.0032932 | 0.00082527 | -0.0032931 | -0.00082533 | 7.2526e-08 | -5.7572e-08 | 0.0049198 | 0.0049199 | 0.0049199 | 0.99602 | -0.076163 | 0.99599 | -0.076625 | 1.3516
77 | 0.089854 | 0.022602 | -0.089642 | -0.022466 | 0.00021198 | 0.00013526 | 0.13461 | 0.13461 | 0.13461 | 0.99349 | -0.12489 | 0.99093 | -0.1744 | 36.9808
78 | 0.001752 | 0.00043885 | -0.0017519 | -0.00043908 | 5.3611e-08 | -2.2797e-07 | 0.0026403 | 0.0026404 | 0.0026404 | 0.98737 | -0.24266 | 0.98734 | -0.24331 | 0.72537
79 | -0.0036274 | -0.00090886 | 0.0036276 | 0.00090873 | 2.6095e-07 | -1.3085e-07 | 0.0054665 | 0.0054664 | 0.0054665 | 0.98737 | -0.24266 | 0.98745 | -0.24115 | 1.5018
80 | 0.034198 | 0.0086151 | -0.034189 | -0.0086097 | 8.5101e-06 | 5.3373e-06 | 0.05155 | 0.05155 | 0.05155 | 0.98745 | -0.24115 | 0.98718 | -0.24636 | 14.1621
81 | 0.032092 | 0.0080842 | -0.032073 | -0.008072 | 1.9451e-05 | 1.2166e-05 | 0.048389 | 0.048389 | 0.048389 | 0.98718 | -0.24636 | 0.98652 | -0.25904 | 13.2937
82 | -0.030326 | -0.0076323 | 0.030331 | 0.0076354 | 4.974e-06 | 3.1025e-06 | 0.045761 | 0.045761 | 0.045761 | 0.98635 | -0.26247 | 0.98652 | -0.25904 | 12.5718

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56125 | 0.14193

## res_load
| p_mw | q_mvar
0 | 0.010095 | 0.0025299
1 | 0.055589 | 0.013932
2 | 0.023624 | 0.0059206
3 | 0.0022782 | 0.00057096
4 | 0.0017615 | 0.00044148
5 | 0.0022955 | 0.0005753
6 | 0.0018244 | 0.00045723
7 | 0.0056772 | 0.0014228
8 | 0.0022585 | 0.00056604
9 | 0.0022328 | 0.00055959
10 | 0.0017514 | 0.00043895
11 | 0.015432 | 0.0038676
12 | 0.0072012 | 0.0018048
13 | 0.0022687 | 0.00056859
14 | 0.017549 | 0.0043982
15 | 0.0041704 | 0.0010452
16 | 0.0038476 | 0.00096431
17 | 0.0014839 | 0.0003719
18 | 0.031141 | 0.0078046
19 | 0.0020636 | 0.00051718
20 | 0.0020844 | 0.0005224
21 | 0.035182 | 0.0088175
22 | 0.0021857 | 0.0005478
23 | 0.0021402 | 0.00053638
24 | 0.0020696 | 0.00051869
25 | 0.0026029 | 0.00065235
26 | 0.0017621 | 0.00044163
27 | 0.0027079 | 0.00067865
28 | 0.001457 | 0.00036517
29 | 0.0014077 | 0.00035281
30 | 0.0016688 | 0.00041824
31 | 0.0020407 | 0.00051146
32 | 0.0024445 | 0.00061265
33 | 0.0017142 | 0.00042961
34 | 0.0021881 | 0.0005484
35 | 0.0021722 | 0.00054439
36 | 0.015412 | 0.0038627
37 | 0.060117 | 0.015067
38 | 0.0032931 | 0.00082533
39 | 0.089642 | 0.022466
40 | 0.085995 | 0.021552
41 | 0.013333 | 0.0033416
42 | 0.0016931 | 0.00042433
43 | 0.015431 | 0.0038673
44 | 0.0024536 | 0.00061493
45 | 0.0018754 | 0.00047001
46 | 0.0017519 | 0.00043908
47 | 0.0020971 | 0.00052558
48 | 0.0017422 | 0.00043663

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1