## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-227_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-227_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-227_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-227_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-227_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_230-227_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_230-227_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_230-227_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_230-227_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_230-227_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_230-227_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_230-227_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_230-227_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_230-227_0_4_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_230-227_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_230-227_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_230-227_0_4_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_230-227_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_230-227_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_230-227_0_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_230-227_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_230-227_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_230-227_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_230-227_0_4_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_230-227_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_230-227_0_4_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_230-227_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_230-227_0_4_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_230-227_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_230-227_0_4_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_230-227_0_4_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_230-227_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_230-227_0_4_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_230-227_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_230-227_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_230-227_0_4_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_230-227_0_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_230-227_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_230-227_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_230-227_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_230-227_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_230-227_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_230-227_0_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_230-227_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_230-227_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_230-227_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_230-227_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_230-227_0_4_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_230-227_0_4_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_230-227_0_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_230-227_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_230-227_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_230-227_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_230-227_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_230-227_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_230-227_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_230-227_0_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_230-227_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_230-227_0_4_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_230-227_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_230-227_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_230-227_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_230-227_0_4_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_230-227_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_230-227_0_4_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_230-227_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_230-227_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_230-227_0_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_230-227_0_4_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_230-227_0_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_230-227_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_230-227_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_230-227_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_230-227_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_230-227_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_230-227_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_230-227_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_230-227_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_230-227_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_230-227_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_MV_370_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-227_0_4_load_0 | 0 | 0.0060817 | 0.0015242 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-227_0_4_load_7 | 5 | 0.0052085 | 0.0013054 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-227_0_4_load_8 | 6 | 0.0045579 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-227_0_4_load_34 | 9 | 0.0049225 | 0.0012337 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-227_0_4_load_35 | 10 | 0.001593 | 0.00039924 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-227_0_4_load_36 | 13 | 0.0043787 | 0.0010974 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-227_0_4_load_37 | 15 | 0.0046948 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-227_0_4_load_83 | 16 | 0.0043882 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-227_0_4_load_62 | 19 | 0.004334 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-227_0_4_load_72 | 23 | 0.0090778 | 0.0022751 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-227_0_4_load_41 | 24 | 0.0095009 | 0.0023812 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-227_0_4_load_82 | 25 | 0.0063028 | 0.0015796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-227_0_4_load_65 | 26 | 0.00068018 | 0.00017047 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-227_0_4_load_64 | 27 | 0.0022289 | 0.00055861 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-227_0_4_load_86 | 29 | 0.0081355 | 0.0020389 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-227_0_4_load_85 | 30 | 0.019024 | 0.0047678 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-227_0_4_load_49 | 32 | 0.0084561 | 0.0021193 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-227_0_4_load_48 | 33 | 0.014299 | 0.0035837 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-227_0_4_load_81 | 35 | 0.006431 | 0.0016118 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-227_0_4_load_70 | 36 | 0.0055128 | 0.0013816 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-227_0_4_load_42 | 40 | 0.0012566 | 0.00031494 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-227_0_4_load_66 | 42 | 0.021415 | 0.0053671 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-227_0_4_load_55 | 44 | 0.016428 | 0.0041173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-227_0_4_load_52 | 45 | 0.006948 | 0.0017413 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-227_0_4_load_69 | 47 | 0.0022929 | 0.00057465 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-227_0_4_load_67 | 48 | 0.0075931 | 0.001903 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-227_0_4_load_68 | 49 | 0.0078977 | 0.0019794 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-227_0_4_load_75 | 50 | 0.0058709 | 0.0014714 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-227_0_4_load_50 | 52 | 0.004823 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-227_0_4_load_46 | 53 | 0.0063261 | 0.0015855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-227_0_4_load_38 | 55 | 0.0043597 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-227_0_4_load_84 | 56 | 0.0038745 | 0.00097103 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-227_0_4_load_63 | 58 | 0.0032345 | 0.00081063 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-227_0_4_load_47 | 60 | 0.01068 | 0.0026766 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-227_0_4_load_74 | 61 | 0.010644 | 0.0026676 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-227_0_4_load_80 | 62 | 0.0055103 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-227_0_4_load_53 | 63 | 0.0049834 | 0.0012489 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-227_0_4_load_71 | 64 | 0.0075424 | 0.0018903 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-227_0_4_load_43 | 65 | 0.010631 | 0.0026644 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-227_0_4_load_44 | 66 | 0.0059635 | 0.0014946 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-227_0_4_load_87 | 68 | 0.0018653 | 0.00046749 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-227_0_4_load_88 | 69 | 0.0017685 | 0.00044323 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-227_0_4_load_51 | 70 | 0.0050129 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-227_0_4_load_45 | 71 | 0.0061555 | 0.0015427 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-227_0_4_load_58 | 72 | 0.0048641 | 0.0012191 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-227_0_4_load_59 | 73 | 0.0049351 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-227_0_4_load_54 | 74 | 0.0049791 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-227_0_4_load_56 | 75 | 0.0049077 | 0.00123 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-227_0_4_load_61 | 76 | 0.0048789 | 0.0012228 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-227_0_4_load_79 | 77 | 0.0055103 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-227_0_4_load_77 | 78 | 0.0011469 | 0.00028745 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-227_0_4_load_78 | 79 | 0.00089137 | 0.0002234 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-227_0_4_line_0 |  | 0 | 1 | 0.022261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-227_0_4_line_1 |  | 0 | 2 | 0.013104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-227_0_4_line_2 |  | 1 | 3 | 0.006398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_230-227_0_4_line_3 |  | 1 | 4 | 0.003951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_230-227_0_4_line_4 |  | 2 | 5 | 0.01924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-227_0_4_line_5 |  | 3 | 6 | 0.023519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_230-227_0_4_line_6 |  | 4 | 10 | 0.0091304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-227_0_4_line_7 |  | 4 | 11 | 0.033505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_230-227_0_4_line_8 |  | 5 | 15 | 0.0061941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-227_0_4_line_9 |  | 6 | 16 | 0.0223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_230-227_0_4_line_10 |  | 7 | 8 | 0.003763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-227_0_4_line_11 |  | 7 | 9 | 0.013099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-227_0_4_line_12 |  | 8 | 54 | 0.017153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-227_0_4_line_13 |  | 8 | 55 | 0.019048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-227_0_4_line_14 |  | 10 | 54 | 0.026377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-227_0_4_line_15 |  | 11 | 24 | 0.032921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-227_0_4_line_16 |  | 11 | 17 | 0.021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_230-227_0_4_line_17 |  | 12 | 13 | 0.016906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-227_0_4_line_18 |  | 12 | 14 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-227_0_4_line_19 |  | 13 | 56 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-227_0_4_line_20 |  | 14 | 16 | 0.039848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-227_0_4_line_21 |  | 14 | 25 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-227_0_4_line_22 |  | 17 | 18 | 0.026419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-227_0_4_line_23 |  | 17 | 19 | 0.015915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_230-227_0_4_line_24 |  | 18 | 26 | 0.02524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-227_0_4_line_25 |  | 18 | 27 | 0.02564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-227_0_4_line_26 |  | 19 | 57 | 0.010546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_230-227_0_4_line_27 |  | 20 | 21 | 0.036469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-227_0_4_line_28 |  | 20 | 22 | 0.044216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-227_0_4_line_29 |  | 20 | 23 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-227_0_4_line_30 |  | 21 | 34 | 0.050093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-227_0_4_line_31 |  | 21 | 35 | 0.026879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-227_0_4_line_32 |  | 22 | 25 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-227_0_4_line_33 |  | 27 | 58 | 0.0018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-227_0_4_line_34 |  | 28 | 29 | 0.047085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-227_0_4_line_35 |  | 28 | 30 | 0.021442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-227_0_4_line_36 |  | 30 | 56 | 0.040402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-227_0_4_line_37 |  | 31 | 32 | 0.0093302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-227_0_4_line_38 |  | 31 | 33 | 0.026191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-227_0_4_line_39 |  | 32 | 59 | 0.021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-227_0_4_line_40 |  | 33 | 60 | 0.0034097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-227_0_4_line_41 |  | 34 | 36 | 0.010902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-227_0_4_line_42 |  | 34 | 37 | 0.028017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-227_0_4_line_43 |  | 35 | 61 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-227_0_4_line_44 |  | 36 | 62 | 0.014259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-227_0_4_line_45 |  | 37 | 49 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-227_0_4_line_46 |  | 37 | 48 | 0.016168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-227_0_4_line_47 |  | 38 | 39 | 0.018827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-227_0_4_line_48 |  | 38 | 40 | 0.092399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-227_0_4_line_49 |  | 39 | 50 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-227_0_4_line_50 |  | 39 | 41 | 0.034745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-227_0_4_line_51 |  | 41 | 42 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-227_0_4_line_52 |  | 42 | 59 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-227_0_4_line_53 |  | 43 | 44 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-227_0_4_line_54 |  | 43 | 45 | 0.040326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-227_0_4_line_55 |  | 44 | 59 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-227_0_4_line_56 |  | 45 | 63 | 0.00278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-227_0_4_line_57 |  | 46 | 47 | 0.10385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-227_0_4_line_58 |  | 46 | 48 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-227_0_4_line_59 |  | 49 | 64 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-227_0_4_line_60 |  | 50 | 67 | 0.0062877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-227_0_4_line_61 |  | 51 | 52 | 0.011398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_230-227_0_4_line_62 |  | 51 | 53 | 0.0062723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_230-227_0_4_line_63 |  | 52 | 70 | 0.024532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_230-227_0_4_line_64 |  | 53 | 71 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_230-227_0_4_line_65 |  | 57 | 73 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_230-227_0_4_line_66 |  | 57 | 76 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-227_0_4_line_67 |  | 62 | 77 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-227_0_4_line_68 |  | 63 | 74 | 0.023414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-227_0_4_line_69 |  | 65 | 66 | 0.022051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-227_0_4_line_70 |  | 66 | 71 | 0.019165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-227_0_4_line_71 |  | 67 | 78 | 0.02477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-227_0_4_line_72 |  | 68 | 69 | 0.020154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-227_0_4_line_73 |  | 69 | 79 | 0.038856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_230-227_0_4_line_74 |  | 70 | 72 | 0.0037078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_230-227_0_4_line_75 |  | 72 | 73 | 0.012771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_230-227_0_4_line_76 |  | 74 | 75 | 0.0071309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-227_0_4_line_77 |  | 75 | 76 | 0.019003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-227_0_4_line_78 |  | 78 | 79 | 0.00018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-227_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 80 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2699530.4655 | 1260360.6799 | 2699533.9767 | 1260382.6624
1 | 2699536.0435 | 1260395.6022 | 2699533.9767 | 1260382.6624
2 | 2699530.4655 | 1260360.6799 | 2699524.1591 | 1260361.8637
3 | 2699529.8453 | 1260356.7774 | 2699530.4655 | 1260360.6799
4 | 2699536.0435 | 1260395.6022 | 2699555.1185 | 1260393.0877
5 | 2699524.1591 | 1260361.8637 | 2699527.9952 | 1260373.9936 | 2699526.6867 | 1260384.7109
6 | 2699529.8453 | 1260356.7774 | 2699538.3959 | 1260353.5757
7 | 2699529.8453 | 1260356.7774 | 2699522.8635 | 1260357.783 | 2699516.5882 | 1260358.011 | 2699506.0606 | 1260356.0657 | 2699508.551 | 1260346.9334
8 | 2699555.1185 | 1260393.0877 | 2699555.1185 | 1260393.0877 | 2699555.9359 | 1260399.2276
9 | 2699522.9976 | 1260403.1 | 2699526.1425 | 1260403.4532 | 2699527.7489 | 1260388.6237 | 2699526.5088 | 1260386.1675 | 2699526.6867 | 1260384.7109
10 | 2699577.7412 | 1260335.2323 | 2699579.5931 | 1260338.5106
11 | 2699579.5931 | 1260338.5106 | 2699586.0414 | 1260349.9123
12 | 2699561.5144 | 1260340.9305 | 2699577.7412 | 1260335.2323
13 | 2699577.7412 | 1260335.2323 | 2699586.8253 | 1260332.0381 | 2699595.3108 | 1260327.9502
14 | 2699561.5144 | 1260340.9305 | 2699540.6168 | 1260352.7442 | 2699538.3959 | 1260353.5757
15 | 2699508.551 | 1260346.9334 | 2699517.9701 | 1260315.3887
16 | 2699499.2295 | 1260335.1226 | 2699504.9648 | 1260336.0754 | 2699502.8541 | 1260345.492 | 2699508.551 | 1260346.9334
17 | 2699540.9146 | 1260444.7465 | 2699557.8032 | 1260443.9869
18 | 2699529.3466 | 1260436.1004 | 2699534.895 | 1260440.5418 | 2699535.3443 | 1260444.2969 | 2699540.9146 | 1260444.7465
19 | 2699557.8032 | 1260443.9869 | 2699572.7551 | 1260443.3144 | 2699576.9231 | 1260442.7584
20 | 2699529.3466 | 1260436.1004 | 2699528.9215 | 1260418.3677 | 2699521.2795 | 1260417.405 | 2699522.9976 | 1260403.1
21 | 2699529.3466 | 1260436.1004 | 2699508.7431 | 1260433.8028
22 | 2699499.2295 | 1260335.1226 | 2699506.5538 | 1260309.7362
23 | 2699499.2295 | 1260335.1226 | 2699483.4515 | 1260333.0379
24 | 2699481.6082 | 1260305.4354 | 2699506.5538 | 1260309.7362
25 | 2699506.5538 | 1260309.7362 | 2699514.0428 | 1260285.2145
26 | 2699472.996 | 1260331.6565 | 2699483.4515 | 1260333.0379
27 | 2699438.7421 | 1260441.5927 | 2699461.3024 | 1260447.41 | 2699464.3203 | 1260448.5839 | 2699466.9493 | 1260450.474 | 2699468.431 | 1260452.0113 | 2699469.7997 | 1260453.9915 | 2699470.5572 | 1260456.0059
28 | 2699470.5572 | 1260456.0059 | 2699480.5387 | 1260457.2525 | 2699488.8501 | 1260458.3042 | 2699489.9988 | 1260455.8882 | 2699492.4317 | 1260453.7496 | 2699495.4422 | 1260452.6771 | 2699496.2579 | 1260446.3078 | 2699497.3093 | 1260438.0299 | 2699495.7214 | 1260436.9801
29 | 2699470.5572 | 1260456.0059 | 2699471.2303 | 1260459.0085 | 2699471.5193 | 1260463.784 | 2699471.2221 | 1260469.9809
30 | 2699392.426 | 1260422.599 | 2699407.731 | 1260429.117 | 2699430.3759 | 1260437.5266 | 2699438.7421 | 1260441.5927
31 | 2699438.7421 | 1260441.5927 | 2699433.1805 | 1260459.0023 | 2699427.4798 | 1260457.7945 | 2699425.6482 | 1260459.8802
32 | 2699495.7214 | 1260436.9801 | 2699501.6299 | 1260433.0095 | 2699508.7431 | 1260433.8028
33 | 2699514.5741 | 1260283.4747 | 2699514.0428 | 1260285.2145
34 | 2699626.1034 | 1260386.2435 | 2699637.7718 | 1260431.8661
35 | 2699637.7718 | 1260431.8661 | 2699616.745 | 1260436.0631
36 | 2699576.9231 | 1260442.7584 | 2699595.8496 | 1260440.2339 | 2699616.745 | 1260436.0631
37 | 2699356.399 | 1260347.5105 | 2699352.4275 | 1260339.0678
38 | 2699356.399 | 1260347.5105 | 2699368.1989 | 1260351.8011 | 2699371.9585 | 1260364.9082
39 | 2699340.4752 | 1260320.8325 | 2699350.7151 | 1260335.4275 | 2699352.4275 | 1260339.0678
40 | 2699371.9585 | 1260364.9082 | 2699374.2452 | 1260367.4376
41 | 2699392.426 | 1260422.599 | 2699389.9318 | 1260432.8655 | 2699389.8664 | 1260433.1958
42 | 2699367.3496 | 1260409.9565 | 2699384.3284 | 1260418.6932 | 2699392.426 | 1260422.599
43 | 2699425.6482 | 1260459.8802 | 2699412.6021 | 1260474.7361
44 | 2699387.0739 | 1260447.1783 | 2699387.3374 | 1260445.9549 | 2699389.8664 | 1260433.1958
45 | 2699367.3496 | 1260409.9565 | 2699363.5011 | 1260431.1202
46 | 2699367.3496 | 1260409.9565 | 2699353.3353 | 1260401.8941
47 | 2699271.9805 | 1260352.1864 | 2699276.5262 | 1260358.4455 | 2699281.3811 | 1260365.1435 | 2699279.1733 | 1260366.8968
48 | 2699271.9805 | 1260352.1864 | 2699236.2796 | 1260377.9085 | 2699196.7617 | 1260405.8469
49 | 2699279.1733 | 1260366.8968 | 2699265.567 | 1260376.4295
50 | 2699279.1733 | 1260366.8968 | 2699281.3811 | 1260365.1435 | 2699285.9046 | 1260362.8509 | 2699290.6552 | 1260361.8409 | 2699297.9359 | 1260356.5032 | 2699304.1328 | 1260351.959 | 2699303.8781 | 1260349.1747 | 2699304.3788 | 1260346.7367
51 | 2699304.3788 | 1260346.7367 | 2699322.2692 | 1260333.8979
52 | 2699340.4752 | 1260320.8325 | 2699322.2692 | 1260333.8979
53 | 2699373.5743 | 1260297.0244 | 2699356.5087 | 1260309.2997
54 | 2699373.5743 | 1260297.0244 | 2699386.8892 | 1260315.6744 | 2699397.868 | 1260321.7304 | 2699402.6982 | 1260322.3686
55 | 2699340.4752 | 1260320.8325 | 2699356.5087 | 1260309.2997
56 | 2699402.6982 | 1260322.3686 | 2699405.4543 | 1260322.7327
57 | 2699252.7974 | 1260432.5301 | 2699261.4282 | 1260433.8649 | 2699282.9954 | 1260418.036 | 2699297.2786 | 1260425.2593 | 2699301.5507 | 1260421.7726 | 2699324.1646 | 1260406.0171 | 2699331.3942 | 1260396.9866 | 2699336.5676 | 1260391.0019
58 | 2699336.5676 | 1260391.0019 | 2699342.8514 | 1260395.1997 | 2699352.2768 | 1260401.2852 | 2699353.3353 | 1260401.8941
59 | 2699363.5011 | 1260431.1202 | 2699360.9834 | 1260444.9659
60 | 2699260.4174 | 1260380.0373 | 2699265.567 | 1260376.4295
61 | 2699453.8925 | 1260394.1086 | 2699456.6539 | 1260383.0497
62 | 2699453.8925 | 1260394.1086 | 2699452.6059 | 1260400.2475
63 | 2699456.6539 | 1260383.0497 | 2699462.5971 | 1260359.2487
64 | 2699434.7728 | 1260395.9371 | 2699452.6059 | 1260400.2475
65 | 2699472.996 | 1260331.6565 | 2699469.1741 | 1260347.6658
66 | 2699472.996 | 1260331.6565 | 2699454.5746 | 1260329.2226
67 | 2699384.1129 | 1260460.9273 | 2699387.0739 | 1260447.1783
68 | 2699405.4543 | 1260322.7327 | 2699428.6661 | 1260325.7995
69 | 2699396.7204 | 1260389.3993 | 2699397.2253 | 1260386.8616 | 2699416.1443 | 1260391.4345
70 | 2699434.7728 | 1260395.9371 | 2699416.1443 | 1260391.4345
71 | 2699260.4174 | 1260380.0373 | 2699258.9377 | 1260381.0689 | 2699250.8876 | 1260385.1038 | 2699239.4843 | 1260393.1595
72 | 2699191.5963 | 1260427.9527 | 2699207.878 | 1260416.074
73 | 2699207.878 | 1260416.074 | 2699233.236 | 1260397.5735 | 2699239.3346 | 1260393.2653
74 | 2699466.2086 | 1260360.0878 | 2699466.2086 | 1260360.0878 | 2699462.5971 | 1260359.2487 | 2699462.5971 | 1260359.2487
75 | 2699466.2086 | 1260360.0878 | 2699469.1741 | 1260347.6658
76 | 2699435.7355 | 1260326.7335 | 2699428.6661 | 1260325.7995
77 | 2699435.7355 | 1260326.7335 | 2699454.5746 | 1260329.2226
78 | 2699239.4843 | 1260393.1595 | 2699239.3346 | 1260393.2653

## bus_geodata
| x | y | coords
0 | 2699533.9767 | 1260382.6624
1 | 2699530.4655 | 1260360.6799
2 | 2699536.0435 | 1260395.6022
3 | 2699524.1591 | 1260361.8637
4 | 2699529.8453 | 1260356.7774
5 | 2699555.1185 | 1260393.0877
6 | 2699526.6867 | 1260384.7109
7 | 2699579.5931 | 1260338.5106
8 | 2699577.7412 | 1260335.2323
9 | 2699586.0414 | 1260349.9123
10 | 2699538.3959 | 1260353.5757
11 | 2699508.551 | 1260346.9334
12 | 2699540.9146 | 1260444.7465
13 | 2699557.8032 | 1260443.9869
14 | 2699529.3466 | 1260436.1004
15 | 2699555.9359 | 1260399.2276
16 | 2699522.9976 | 1260403.1
17 | 2699499.2295 | 1260335.1226
18 | 2699506.5538 | 1260309.7362
19 | 2699483.4515 | 1260333.0379
20 | 2699470.5572 | 1260456.0059
21 | 2699438.7421 | 1260441.5927
22 | 2699495.7214 | 1260436.9801
23 | 2699471.2221 | 1260469.9809
24 | 2699517.9701 | 1260315.3887
25 | 2699508.7431 | 1260433.8028
26 | 2699481.6082 | 1260305.4354
27 | 2699514.0428 | 1260285.2145
28 | 2699637.7718 | 1260431.8661
29 | 2699626.1034 | 1260386.2435
30 | 2699616.745 | 1260436.0631
31 | 2699356.399 | 1260347.5105
32 | 2699352.4275 | 1260339.0678
33 | 2699371.9585 | 1260364.9082
34 | 2699392.426 | 1260422.599
35 | 2699425.6482 | 1260459.8802
36 | 2699389.8664 | 1260433.1958
37 | 2699367.3496 | 1260409.9565
38 | 2699271.9805 | 1260352.1864
39 | 2699279.1733 | 1260366.8968
40 | 2699196.7617 | 1260405.8469
41 | 2699304.3788 | 1260346.7367
42 | 2699322.2692 | 1260333.8979
43 | 2699373.5743 | 1260297.0244
44 | 2699356.5087 | 1260309.2997
45 | 2699402.6982 | 1260322.3686
46 | 2699336.5676 | 1260391.0019
47 | 2699252.7974 | 1260432.5301
48 | 2699353.3353 | 1260401.8941
49 | 2699363.5011 | 1260431.1202
50 | 2699265.567 | 1260376.4295
51 | 2699453.8925 | 1260394.1086
52 | 2699456.6539 | 1260383.0497
53 | 2699452.6059 | 1260400.2475
54 | 2699561.5144 | 1260340.9305
55 | 2699595.3108 | 1260327.9502
56 | 2699576.9231 | 1260442.7584
57 | 2699472.996 | 1260331.6565
58 | 2699514.5741 | 1260283.4747
59 | 2699340.4752 | 1260320.8325
60 | 2699374.2452 | 1260367.4376
61 | 2699412.6021 | 1260474.7361
62 | 2699387.0739 | 1260447.1783
63 | 2699405.4543 | 1260322.7327
64 | 2699360.9834 | 1260444.9659
65 | 2699396.7204 | 1260389.3993
66 | 2699416.1443 | 1260391.4345
67 | 2699260.4174 | 1260380.0373
68 | 2699191.5963 | 1260427.9527
69 | 2699207.878 | 1260416.074
70 | 2699462.5971 | 1260359.2487
71 | 2699434.7728 | 1260395.9371
72 | 2699466.2086 | 1260360.0878
73 | 2699469.1741 | 1260347.6658
74 | 2699428.6661 | 1260325.7995
75 | 2699435.7355 | 1260326.7335
76 | 2699454.5746 | 1260329.2226
77 | 2699384.1129 | 1260460.9273
78 | 2699239.4843 | 1260393.1595
79 | 2699239.3346 | 1260393.2653
80 | 2699453.8925 | 1260394.1086

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98728 | -0.24256 | 0.0060817 | 0.0015242
1 | 0.9876 | -0.2362 | 0 | 0
2 | 0.98716 | -0.24488 | 0 | 0
3 | 0.98737 | -0.24073 | 0 | 0
4 | 0.98777 | -0.23303 | 0 | 0
5 | 0.98698 | -0.24829 | 0.0052085 | 0.0013054
6 | 0.9865 | -0.25738 | 0.0045579 | 0.0011423
7 | 0.98729 | -0.24236 | 0 | 0
8 | 0.9873 | -0.24203 | 0 | 0
9 | 0.98723 | -0.24351 | 0.0049225 | 0.0012337
10 | 0.98768 | -0.23481 | 0.001593 | 0.00039924
11 | 0.98928 | -0.20403 | 0 | 0
12 | 0.98111 | -0.36192 | 0 | 0
13 | 0.98055 | -0.37277 | 0.0043787 | 0.0010974
14 | 0.98165 | -0.35136 | 0 | 0
15 | 0.98695 | -0.24881 | 0.0046948 | 0.0011766
16 | 0.98571 | -0.27258 | 0.0043882 | 0.0010998
17 | 0.9903 | -0.18441 | 0 | 0
18 | 0.99015 | -0.1873 | 0 | 0
19 | 0.99109 | -0.16922 | 0.004334 | 0.0010862
20 | 0.9765 | -0.45172 | 0 | 0
21 | 0.9745 | -0.4911 | 0 | 0
22 | 0.9793 | -0.3969 | 0 | 0
23 | 0.97638 | -0.45406 | 0.0090778 | 0.0022751
24 | 0.98899 | -0.20961 | 0.0095009 | 0.0023812
25 | 0.98021 | -0.37927 | 0.0063028 | 0.0015796
26 | 0.99013 | -0.1876 | 0.00068018 | 0.00017047
27 | 0.99002 | -0.18979 | 0.0022289 | 0.00055861
28 | 0.97882 | -0.40667 | 0 | 0
29 | 0.97847 | -0.41364 | 0.0081355 | 0.0020389
30 | 0.97898 | -0.4035 | 0.019024 | 0.0047678
31 | 0.97796 | -0.42403 | 0 | 0
32 | 0.97818 | -0.41978 | 0.0084561 | 0.0021193
33 | 0.97735 | -0.43596 | 0.014299 | 0.0035837
34 | 0.97254 | -0.52967 | 0 | 0
35 | 0.97407 | -0.49953 | 0.006431 | 0.0016118
36 | 0.97237 | -0.53299 | 0.0055128 | 0.0013816
37 | 0.97188 | -0.54276 | 0 | 0
38 | 0.97745 | -0.43413 | 0 | 0
39 | 0.97747 | -0.4337 | 0 | 0
40 | 0.97734 | -0.43625 | 0.0012566 | 0.00031494
41 | 0.97788 | -0.42558 | 0 | 0
42 | 0.97814 | -0.42044 | 0.021415 | 0.0053671
43 | 0.98173 | -0.35018 | 0 | 0
44 | 0.98009 | -0.3822 | 0.016428 | 0.0041173
45 | 0.98487 | -0.28905 | 0.006948 | 0.0017413
46 | 0.97169 | -0.54655 | 0 | 0
47 | 0.97146 | -0.55095 | 0.0022929 | 0.00057465
48 | 0.97173 | -0.54571 | 0.0075931 | 0.001903
49 | 0.97157 | -0.54889 | 0.0078977 | 0.0019794
50 | 0.97729 | -0.43719 | 0.0058709 | 0.0014714
51 | 0.99772 | -0.043109 | 0 | 0
52 | 0.99667 | -0.06282 | 0.004823 | 0.0012088
53 | 0.99829 | -0.032279 | 0.0063261 | 0.0015855
54 | 0.98745 | -0.23918 | 0 | 0
55 | 0.98723 | -0.24352 | 0.0043597 | 0.0010926
56 | 0.98 | -0.38356 | 0.0038745 | 0.00097103
57 | 0.99163 | -0.1589 | 0 | 0
58 | 0.99002 | -0.18989 | 0.0032345 | 0.00081063
59 | 0.97885 | -0.40648 | 0 | 0
60 | 0.97732 | -0.43662 | 0.01068 | 0.0026766
61 | 0.97387 | -0.50339 | 0.010644 | 0.0026676
62 | 0.97223 | -0.53589 | 0.0055103 | 0.001381
63 | 0.98511 | -0.28451 | 0.0049834 | 0.0012489
64 | 0.97147 | -0.55085 | 0.0075424 | 0.0018903
65 | 0.9995 | -0.0096345 | 0.010631 | 0.0026644
66 | 0.99971 | -0.0055451 | 0.0059635 | 0.0014946
67 | 0.97726 | -0.43785 | 0 | 0
68 | 0.97696 | -0.44369 | 0.0018653 | 0.00046749
69 | 0.97699 | -0.44301 | 0.0017685 | 0.00044323
70 | 0.99447 | -0.10469 | 0.0050129 | 0.0012564
71 | 1 | 0 | -0.32581 | -0.083286
72 | 0.99414 | -0.11092 | 0.0048641 | 0.0012191
73 | 0.99303 | -0.13206 | 0.0049351 | 0.0012369
74 | 0.98719 | -0.24421 | 0.0049791 | 0.0012479
75 | 0.98786 | -0.23134 | 0.0049077 | 0.00123
76 | 0.98972 | -0.19546 | 0.0048789 | 0.0012228
77 | 0.97215 | -0.53732 | 0.0055103 | 0.001381
78 | 0.97713 | -0.44041 | 0.0011469 | 0.00028745
79 | 0.97713 | -0.44043 | 0.00089137 | 0.0002234
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015988 | -0.0040075 | 0.015993 | 0.0040103 | 4.8473e-06 | 2.8175e-06 | 0.024097 | 0.024097 | 0.024097 | 0.98728 | -0.24256 | 0.9876 | -0.2362 | 6.62
1 | 0.0099061 | 0.0024833 | -0.009905 | -0.0024828 | 1.0954e-06 | 5.3354e-07 | 0.014931 | 0.014931 | 0.014931 | 0.98728 | -0.24256 | 0.98716 | -0.24488 | 4.1018
2 | 0.11994 | 0.030545 | -0.11992 | -0.030529 | 2.617e-05 | 1.6503e-05 | 0.18089 | 0.18089 | 0.18089 | 0.9876 | -0.2362 | 0.98737 | -0.24073 | 16.5653
3 | -0.13594 | -0.034556 | 0.13596 | 0.034569 | 2.0753e-05 | 1.313e-05 | 0.20499 | 0.20499 | 0.20499 | 0.9876 | -0.2362 | 0.98777 | -0.23303 | 18.7719
4 | 0.009905 | 0.0024828 | -0.0099034 | -0.002482 | 1.6084e-06 | 7.8346e-07 | 0.014931 | 0.014931 | 0.014931 | 0.98716 | -0.24488 | 0.98698 | -0.24829 | 4.1019
5 | 0.11992 | 0.030529 | -0.11982 | -0.030468 | 9.6199e-05 | 6.0666e-05 | 0.18089 | 0.18089 | 0.18089 | 0.98737 | -0.24073 | 0.9865 | -0.25738 | 16.5653
6 | 0.01088 | 0.0027275 | -0.010879 | -0.002727 | 9.198e-07 | 4.7181e-07 | 0.01639 | 0.01639 | 0.01639 | 0.98777 | -0.23303 | 0.98768 | -0.23481 | 4.5028
7 | -0.14684 | -0.037296 | 0.14704 | 0.037426 | 0.00020525 | 0.00013007 | 0.22138 | 0.22138 | 0.22138 | 0.98777 | -0.23303 | 0.98928 | -0.20403 | 20.2729
8 | 0.0046949 | 0.0011766 | -0.0046948 | -0.0011766 | 1.1638e-07 | -4.677e-09 | 0.0070783 | 0.0070783 | 0.0070783 | 0.98698 | -0.24829 | 0.98695 | -0.24881 | 1.9446
9 | 0.11526 | 0.029326 | -0.11518 | -0.029273 | 8.4411e-05 | 5.317e-05 | 0.17402 | 0.17402 | 0.17402 | 0.9865 | -0.25738 | 0.98571 | -0.27258 | 15.9358
10 | -0.0049228 | -0.0012337 | 0.0049228 | 0.0012337 | 7.768e-08 | 1.5935e-09 | 0.0074194 | 0.0074194 | 0.0074194 | 0.98729 | -0.24236 | 0.9873 | -0.24203 | 2.0383
11 | 0.0049228 | 0.0012337 | -0.0049225 | -0.0012337 | 2.704e-07 | 5.5615e-09 | 0.0074194 | 0.0074195 | 0.0074195 | 0.98729 | -0.24236 | 0.98723 | -0.24351 | 2.0383
12 | -0.0092828 | -0.0023263 | 0.0092841 | 0.0023269 | 1.259e-06 | 5.8639e-07 | 0.013991 | 0.01399 | 0.013991 | 0.9873 | -0.24203 | 0.98745 | -0.23918 | 3.8436
13 | 0.00436 | 0.0010926 | -0.0043597 | -0.0010926 | 3.0844e-07 | -4.6175e-08 | 0.0065711 | 0.0065712 | 0.0065712 | 0.9873 | -0.24203 | 0.98723 | -0.24352 | 1.8053
14 | 0.009286 | 0.0023278 | -0.0092841 | -0.0023269 | 1.9361e-06 | 9.0159e-07 | 0.01399 | 0.01399 | 0.01399 | 0.98768 | -0.23481 | 0.98745 | -0.23918 | 3.8435
15 | 0.0095034 | 0.0023823 | -0.0095009 | -0.0023812 | 2.5227e-06 | 1.192e-06 | 0.014295 | 0.014295 | 0.014295 | 0.98928 | -0.20403 | 0.98899 | -0.20961 | 3.9272
16 | -0.15655 | -0.039809 | 0.15669 | 0.039903 | 0.00014816 | 9.4001e-05 | 0.23567 | 0.23567 | 0.23567 | 0.98928 | -0.20403 | 0.9903 | -0.18441 | 21.5818
17 | 0.035477 | 0.0089144 | -0.035458 | -0.0089029 | 1.836e-05 | 1.1537e-05 | 0.053815 | 0.053815 | 0.053815 | 0.98111 | -0.36192 | 0.98055 | -0.37277 | 14.7843
18 | -0.035477 | -0.0089144 | 0.035495 | 0.0089257 | 1.7894e-05 | 1.1244e-05 | 0.053815 | 0.053815 | 0.053815 | 0.98111 | -0.36192 | 0.98165 | -0.35136 | 14.7843
19 | 0.03108 | 0.0078055 | -0.031064 | -0.0077955 | 1.5997e-05 | 9.9962e-06 | 0.04717 | 0.04717 | 0.04717 | 0.98055 | -0.37277 | 0.98 | -0.38356 | 12.9588
20 | -0.11037 | -0.027905 | 0.11079 | 0.028173 | 0.00041872 | 0.00026747 | 0.16739 | 0.16739 | 0.16739 | 0.98165 | -0.35136 | 0.98571 | -0.27258 | 45.9875
21 | 0.074878 | 0.01898 | -0.074778 | -0.018916 | 0.00010029 | 6.3924e-05 | 0.11358 | 0.11358 | 0.11358 | 0.98165 | -0.35136 | 0.98021 | -0.37927 | 31.2032
22 | 0.006145 | 0.0015397 | -0.0061442 | -0.0015395 | 8.4464e-07 | 2.0071e-07 | 0.0092333 | 0.0092334 | 0.0092334 | 0.9903 | -0.18441 | 0.99015 | -0.1873 | 2.5367
23 | -0.16284 | -0.041442 | 0.16296 | 0.041518 | 0.00011932 | 7.5752e-05 | 0.24491 | 0.24491 | 0.24491 | 0.9903 | -0.18441 | 0.99109 | -0.16922 | 22.4274
24 | 0.00068019 | 0.00017015 | -0.00068018 | -0.00017047 | 9.8889e-09 | -3.1831e-07 | 0.0010221 | 0.0010222 | 0.0010222 | 0.99015 | -0.1873 | 0.99013 | -0.1876 | 0.28083
25 | 0.005464 | 0.0013693 | -0.0054633 | -0.0013692 | 6.4831e-07 | 8.5179e-08 | 0.0082114 | 0.0082115 | 0.0082115 | 0.99015 | -0.1873 | 0.99002 | -0.18979 | 2.2559
26 | -0.16729 | -0.042604 | 0.16738 | 0.042657 | 8.3327e-05 | 5.2921e-05 | 0.25141 | 0.25141 | 0.25141 | 0.99109 | -0.16922 | 0.99163 | -0.1589 | 23.0232
27 | 0.059159 | 0.014909 | -0.059048 | -0.014839 | 0.00011121 | 7.072e-05 | 0.090177 | 0.090178 | 0.090178 | 0.9765 | -0.45172 | 0.9745 | -0.4911 | 24.7741
28 | -0.068238 | -0.017185 | 0.068417 | 0.017299 | 0.00017938 | 0.00011425 | 0.10401 | 0.10401 | 0.10401 | 0.9765 | -0.45172 | 0.9793 | -0.3969 | 28.5747
29 | 0.0090788 | 0.0022756 | -0.0090778 | -0.0022751 | 1.0095e-06 | 4.7016e-07 | 0.013835 | 0.013835 | 0.013835 | 0.9765 | -0.45172 | 0.97638 | -0.45406 | 3.8007
30 | 0.041964 | 0.010554 | -0.041887 | -0.010506 | 7.7162e-05 | 4.8761e-05 | 0.064091 | 0.064091 | 0.064091 | 0.9745 | -0.4911 | 0.97254 | -0.52967 | 17.6074
31 | 0.017084 | 0.0042844 | -0.017077 | -0.0042803 | 6.8596e-06 | 4.0554e-06 | 0.026087 | 0.026087 | 0.026087 | 0.9745 | -0.4911 | 0.97407 | -0.49953 | 7.1668
32 | -0.068417 | -0.017299 | 0.068475 | 0.017336 | 5.7916e-05 | 3.6887e-05 | 0.10401 | 0.10401 | 0.10401 | 0.9793 | -0.3969 | 0.98021 | -0.37927 | 28.5747
33 | 0.0032345 | 0.00081062 | -0.0032345 | -0.00081063 | 1.6122e-08 | -1.3073e-08 | 0.0048615 | 0.0048615 | 0.0048615 | 0.99002 | -0.18979 | 0.99002 | -0.18989 | 1.3356
34 | 0.0081382 | 0.0020401 | -0.0081355 | -0.0020389 | 2.7027e-06 | 1.1381e-06 | 0.012372 | 0.012372 | 0.012372 | 0.97882 | -0.40667 | 0.97847 | -0.41364 | 3.3989
35 | -0.0081382 | -0.0020401 | 0.0081394 | 0.0020406 | 1.2307e-06 | 5.1811e-07 | 0.012372 | 0.012372 | 0.012372 | 0.97882 | -0.40667 | 0.97898 | -0.4035 | 3.3989
36 | -0.027163 | -0.0068084 | 0.027189 | 0.0068245 | 2.5826e-05 | 1.602e-05 | 0.041287 | 0.041287 | 0.041287 | 0.97898 | -0.4035 | 0.98 | -0.38356 | 11.3427
37 | -0.024994 | -0.0062693 | 0.024999 | 0.0062724 | 5.0606e-06 | 3.1217e-06 | 0.038031 | 0.038031 | 0.038031 | 0.97796 | -0.42403 | 0.97818 | -0.41978 | 10.4481
38 | 0.024994 | 0.0062693 | -0.024979 | -0.0062605 | 1.4206e-05 | 8.7633e-06 | 0.038031 | 0.038031 | 0.038031 | 0.97796 | -0.42403 | 0.97735 | -0.43596 | 10.4481
39 | -0.033455 | -0.0083917 | 0.033476 | 0.008405 | 2.1226e-05 | 1.331e-05 | 0.050895 | 0.050894 | 0.050895 | 0.97818 | -0.41978 | 0.97885 | -0.40648 | 13.982
40 | 0.01068 | 0.0026768 | -0.01068 | -0.0026766 | 3.3808e-07 | 1.7364e-07 | 0.016261 | 0.016261 | 0.016261 | 0.97735 | -0.43596 | 0.97732 | -0.43662 | 4.4672
41 | 0.016538 | 0.004146 | -0.016535 | -0.0041445 | 2.6176e-06 | 1.54e-06 | 0.025304 | 0.025304 | 0.025304 | 0.97254 | -0.52967 | 0.97237 | -0.53299 | 6.9516
42 | 0.025349 | 0.0063595 | -0.025333 | -0.0063497 | 1.5806e-05 | 9.7686e-06 | 0.038787 | 0.038787 | 0.038787 | 0.97254 | -0.52967 | 0.97188 | -0.54276 | 10.6558
43 | 0.010646 | 0.0026686 | -0.010644 | -0.0026676 | 1.9609e-06 | 1.0089e-06 | 0.016263 | 0.016263 | 0.016263 | 0.97407 | -0.49953 | 0.97387 | -0.50339 | 4.4678
44 | 0.011022 | 0.0027629 | -0.011021 | -0.0027621 | 1.5213e-06 | 7.9681e-07 | 0.016868 | 0.016868 | 0.016868 | 0.97237 | -0.53299 | 0.97223 | -0.53589 | 4.634
45 | 0.015445 | 0.0038726 | -0.015441 | -0.0038699 | 4.5113e-06 | 2.6207e-06 | 0.023648 | 0.023649 | 0.023649 | 0.97188 | -0.54276 | 0.97157 | -0.54889 | 6.4969
46 | 0.0098879 | 0.0024772 | -0.0098865 | -0.0024765 | 1.3895e-06 | 6.8898e-07 | 0.015139 | 0.015139 | 0.015139 | 0.97188 | -0.54276 | 0.97173 | -0.54571 | 4.159
47 | -0.0012567 | -0.00031386 | 0.0012568 | 0.00031364 | 2.5831e-08 | -2.1946e-07 | 0.0019128 | 0.0019127 | 0.0019128 | 0.97745 | -0.43413 | 0.97747 | -0.4337 | 0.52549
48 | 0.0012567 | 0.00031386 | -0.0012566 | -0.00031494 | 1.268e-07 | -1.0769e-06 | 0.0019128 | 0.0019132 | 0.0019132 | 0.97745 | -0.43413 | 0.97734 | -0.43625 | 0.52561
49 | 0.011546 | 0.0028937 | -0.011544 | -0.0028927 | 1.9248e-06 | 1.0237e-06 | 0.017577 | 0.017577 | 0.017577 | 0.97747 | -0.4337 | 0.97729 | -0.43719 | 4.8289
50 | -0.012803 | -0.0032074 | 0.012808 | 0.0032101 | 4.9492e-06 | 2.7318e-06 | 0.01949 | 0.01949 | 0.01949 | 0.97747 | -0.4337 | 0.97788 | -0.42558 | 5.3544
51 | -0.012808 | -0.0032101 | 0.012811 | 0.0032118 | 3.1366e-06 | 1.7311e-06 | 0.01949 | 0.01949 | 0.01949 | 0.97788 | -0.42558 | 0.97814 | -0.42044 | 5.3543
52 | -0.034226 | -0.008579 | 0.034249 | 0.0085933 | 2.2782e-05 | 1.4299e-05 | 0.052068 | 0.052068 | 0.052068 | 0.97814 | -0.42044 | 0.97885 | -0.40648 | 14.3044
53 | 0.084361 | 0.021248 | -0.084232 | -0.021166 | 0.00012897 | 8.2272e-05 | 0.1279 | 0.1279 | 0.1279 | 0.98173 | -0.35018 | 0.98009 | -0.3822 | 35.1385
54 | -0.084361 | -0.021248 | 0.084608 | 0.021406 | 0.00024739 | 0.00015782 | 0.1279 | 0.1279 | 0.1279 | 0.98173 | -0.35018 | 0.98487 | -0.28905 | 35.1385
55 | 0.067804 | 0.017048 | -0.067725 | -0.016998 | 7.8517e-05 | 5.0002e-05 | 0.10296 | 0.10296 | 0.10296 | 0.98009 | -0.3822 | 0.97885 | -0.40648 | 28.2863
56 | -0.091556 | -0.023147 | 0.091576 | 0.02316 | 1.9969e-05 | 1.2745e-05 | 0.1384 | 0.1384 | 0.1384 | 0.98487 | -0.28905 | 0.98511 | -0.28451 | 38.0224
57 | 0.0022934 | 0.00057367 | -0.0022929 | -0.00057465 | 4.8029e-07 | -9.7868e-07 | 0.0035116 | 0.0035121 | 0.0035121 | 0.97169 | -0.54655 | 0.97146 | -0.55095 | 0.96486
58 | -0.0022934 | -0.00057367 | 0.0022935 | 0.00057349 | 9.2471e-08 | -1.8853e-07 | 0.0035116 | 0.0035115 | 0.0035116 | 0.97169 | -0.54655 | 0.97173 | -0.54571 | 0.96473
59 | 0.0075431 | 0.0018906 | -0.0075424 | -0.0018903 | 7.0434e-07 | 2.7652e-07 | 0.011553 | 0.011553 | 0.011553 | 0.97157 | -0.54889 | 0.97147 | -0.55085 | 3.1738
60 | 0.0056735 | 0.0014213 | -0.0056733 | -0.0014213 | 1.7594e-07 | 3.382e-08 | 0.0086382 | 0.0086382 | 0.0086382 | 0.97729 | -0.43719 | 0.97726 | -0.43785 | 2.3731
61 | 0.30059 | 0.077129 | -0.30031 | -0.076945 | 0.00028718 | 0.00018335 | 0.44895 | 0.44895 | 0.44895 | 0.99772 | -0.043109 | 0.99667 | -0.06282 | 41.1127
62 | -0.30059 | -0.077129 | 0.30075 | 0.07723 | 0.00015803 | 0.00010089 | 0.44895 | 0.44895 | 0.44895 | 0.99772 | -0.043109 | 0.99829 | -0.032279 | 41.1127
63 | 0.29548 | 0.075737 | -0.29489 | -0.075355 | 0.0005984 | 0.00038202 | 0.44175 | 0.44175 | 0.44175 | 0.99667 | -0.06282 | 0.99447 | -0.10469 | 40.4533
64 | -0.30708 | -0.078815 | 0.30756 | 0.079123 | 0.00048185 | 0.00030767 | 0.45838 | 0.45838 | 0.45838 | 0.99829 | -0.032279 | 1 | 0 | 41.9761
65 | -0.27933 | -0.07117 | 0.27969 | 0.071401 | 0.00036219 | 0.00023116 | 0.41957 | 0.41957 | 0.41957 | 0.99163 | -0.1589 | 0.99303 | -0.13206 | 38.4226
66 | 0.11196 | 0.028513 | -0.11176 | -0.028387 | 0.00019705 | 0.00012587 | 0.16816 | 0.16816 | 0.16816 | 0.99163 | -0.1589 | 0.98972 | -0.19546 | 46.1982
67 | 0.0055106 | 0.0013811 | -0.0055103 | -0.001381 | 3.7517e-07 | 6.5718e-08 | 0.0084341 | 0.0084342 | 0.0084342 | 0.97223 | -0.53589 | 0.97215 | -0.53732 | 2.3171
68 | -0.09656 | -0.024409 | 0.096747 | 0.024528 | 0.00018697 | 0.00011936 | 0.14593 | 0.14593 | 0.14593 | 0.98511 | -0.28451 | 0.98719 | -0.24421 | 40.0904
69 | -0.010631 | -0.0026644 | 0.010633 | 0.0026655 | 2.0715e-06 | 1.0367e-06 | 0.015827 | 0.015827 | 0.015827 | 0.9995 | -0.0096345 | 0.99971 | -0.0055451 | 4.3482
70 | -0.016597 | -0.0041601 | 0.016601 | 0.0041626 | 4.3859e-06 | 2.5556e-06 | 0.024704 | 0.024703 | 0.024704 | 0.99971 | -0.0055451 | 1 | 0 | 6.7867
71 | 0.0056733 | 0.0014213 | -0.0056726 | -0.0014211 | 6.9313e-07 | 1.3329e-07 | 0.0086382 | 0.0086383 | 0.0086383 | 0.97726 | -0.43785 | 0.97713 | -0.44041 | 2.3732
72 | -0.0018653 | -0.00046749 | 0.0018654 | 0.00046727 | 6.1002e-08 | -2.1334e-07 | 0.002841 | 0.0028409 | 0.002841 | 0.97696 | -0.44369 | 0.97699 | -0.44301 | 0.78051
73 | -0.0036339 | -0.00091051 | 0.0036343 | 0.0009103 | 4.4631e-07 | -2.0101e-07 | 0.0055345 | 0.0055343 | 0.0055345 | 0.97699 | -0.44301 | 0.97713 | -0.44043 | 1.5205
74 | 0.28987 | 0.074098 | -0.28979 | -0.074043 | 8.7398e-05 | 5.579e-05 | 0.43425 | 0.43425 | 0.43425 | 0.99447 | -0.10469 | 0.99414 | -0.11092 | 39.7665
75 | 0.28492 | 0.072824 | -0.28463 | -0.072638 | 0.00029103 | 0.00018576 | 0.42697 | 0.42697 | 0.42697 | 0.99414 | -0.11092 | 0.99303 | -0.13206 | 39.0998
76 | -0.10173 | -0.025776 | 0.10179 | 0.025816 | 6.2953e-05 | 4.0199e-05 | 0.15343 | 0.15343 | 0.15343 | 0.98719 | -0.24421 | 0.98786 | -0.23134 | 42.1522
77 | -0.1067 | -0.027046 | 0.10688 | 0.027164 | 0.00018432 | 0.00011772 | 0.16083 | 0.16083 | 0.16083 | 0.98786 | -0.23134 | 0.98972 | -0.19546 | 44.1831
78 | 0.0045257 | 0.0011337 | -0.0045257 | -0.0011337 | 3.2646e-09 | -2.0672e-10 | 0.0068917 | 0.0068917 | 0.0068917 | 0.97713 | -0.44041 | 0.97713 | -0.44043 | 1.8933

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33197 | 0.084828

## res_load
| p_mw | q_mvar
0 | 0.0060817 | 0.0015242
1 | 0.0052085 | 0.0013054
2 | 0.0045579 | 0.0011423
3 | 0.0049225 | 0.0012337
4 | 0.001593 | 0.00039924
5 | 0.0043787 | 0.0010974
6 | 0.0046948 | 0.0011766
7 | 0.0043882 | 0.0010998
8 | 0.004334 | 0.0010862
9 | 0.0090778 | 0.0022751
10 | 0.0095009 | 0.0023812
11 | 0.0063028 | 0.0015796
12 | 0.00068018 | 0.00017047
13 | 0.0022289 | 0.00055861
14 | 0.0081355 | 0.0020389
15 | 0.019024 | 0.0047678
16 | 0.0084561 | 0.0021193
17 | 0.014299 | 0.0035837
18 | 0.006431 | 0.0016118
19 | 0.0055128 | 0.0013816
20 | 0.0012566 | 0.00031494
21 | 0.021415 | 0.0053671
22 | 0.016428 | 0.0041173
23 | 0.006948 | 0.0017413
24 | 0.0022929 | 0.00057465
25 | 0.0075931 | 0.001903
26 | 0.0078977 | 0.0019794
27 | 0.0058709 | 0.0014714
28 | 0.004823 | 0.0012088
29 | 0.0063261 | 0.0015855
30 | 0.0043597 | 0.0010926
31 | 0.0038745 | 0.00097103
32 | 0.0032345 | 0.00081063
33 | 0.01068 | 0.0026766
34 | 0.010644 | 0.0026676
35 | 0.0055103 | 0.001381
36 | 0.0049834 | 0.0012489
37 | 0.0075424 | 0.0018903
38 | 0.010631 | 0.0026644
39 | 0.0059635 | 0.0014946
40 | 0.0018653 | 0.00046749
41 | 0.0017685 | 0.00044323
42 | 0.0050129 | 0.0012564
43 | 0.0061555 | 0.0015427
44 | 0.0048641 | 0.0012191
45 | 0.0049351 | 0.0012369
46 | 0.0049791 | 0.0012479
47 | 0.0049077 | 0.00123
48 | 0.0048789 | 0.0012228
49 | 0.0055103 | 0.001381
50 | 0.0011469 | 0.00028745
51 | 0.00089137 | 0.0002234

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1