## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-29_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-29_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-29_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-29_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-29_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-29_0_5_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_230-29_0_5_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_230-29_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_230-29_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_230-29_0_5_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_230-29_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_230-29_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_230-29_0_5_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_230-29_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_230-29_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_230-29_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_230-29_0_5_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_230-29_0_5_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_230-29_0_5_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_230-29_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_230-29_0_5_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_230-29_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_230-29_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_230-29_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_230-29_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_230-29_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_230-29_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_230-29_0_5_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_230-29_0_5_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_230-29_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_230-29_0_5_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_230-29_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_230-29_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_230-29_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_230-29_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_230-29_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_230-29_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_230-29_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_230-29_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_230-29_0_5_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_230-29_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_230-29_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_230-29_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_230-29_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_230-29_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_MV_510_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-29_0_5_load_0 | 0 | 0.0018495 | 0.00046352 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-29_0_5_load_1 | 1 | 0.0023549 | 0.0005902 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-29_0_5_load_3 | 3 | 0.0020175 | 0.00050564 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-29_0_5_load_4 | 4 | 0.0022414 | 0.00056175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-29_0_5_load_23 | 5 | 0.0071886 | 0.0018016 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-29_0_5_load_45 | 9 | 0.03727 | 0.0093407 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-29_0_5_load_36 | 12 | 0.0015793 | 0.00039582 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-29_0_5_load_47 | 16 | 0.017751 | 0.0044488 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-29_0_5_load_44 | 18 | 0.019751 | 0.0049501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-29_0_5_load_48 | 20 | 0.0044421 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-29_0_5_load_34 | 21 | 0.010997 | 0.0027562 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-29_0_5_load_30 | 22 | 0.010494 | 0.0026299 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-29_0_5_load_42 | 27 | 0.032693 | 0.0081936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-29_0_5_load_39 | 28 | 0.078434 | 0.019657 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-29_0_5_load_46 | 30 | 0.11576 | 0.029013 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-29_0_5_load_29 | 33 | 0.0060539 | 0.0015172 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-29_0_5_load_26 | 35 | 0.0061069 | 0.0015305 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-29_0_5_load_35 | 36 | 0.0054625 | 0.001369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-29_0_5_load_32 | 37 | 0.029665 | 0.0074348 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-29_0_5_load_37 | 38 | 0.017173 | 0.004304 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-29_0_5_load_43 | 39 | 0.015109 | 0.0037866 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-29_0_5_load_40 | 40 | 0.015319 | 0.0038394 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-29_0_5_load_28 | 41 | 0.0049939 | 0.0012516 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-29_0_5_load_25 | 42 | 0.0050542 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-29_0_5_load_27 | 43 | 0.0048212 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-29_0_5_line_0 |  | 0 | 1 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_230-29_0_5_line_1 |  | 0 | 2 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_230-29_0_5_line_2 |  | 1 | 3 | 0.013926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_230-29_0_5_line_3 |  | 2 | 4 | 0.036492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_230-29_0_5_line_4 |  | 3 | 5 | 0.0057146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_230-29_0_5_line_5 |  | 4 | 6 | 0.021863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_230-29_0_5_line_6 |  | 5 | 34 | 0.014954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_230-29_0_5_line_7 |  | 6 | 26 | 0.021018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_230-29_0_5_line_8 |  | 7 | 8 | 0.013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-29_0_5_line_9 |  | 7 | 9 | 0.037782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-29_0_5_line_10 |  | 8 | 21 | 0.0394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-29_0_5_line_11 |  | 8 | 22 | 0.019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-29_0_5_line_12 |  | 10 | 11 | 0.035118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-29_0_5_line_13 |  | 10 | 12 | 0.022187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-29_0_5_line_14 |  | 11 | 19 | 0.066015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-29_0_5_line_15 |  | 11 | 14 | 0.054592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-29_0_5_line_16 |  | 12 | 36 | 0.020387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-29_0_5_line_17 |  | 13 | 14 | 0.004084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-29_0_5_line_18 |  | 13 | 15 | 0.027338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-29_0_5_line_19 |  | 14 | 18 | 0.024037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-29_0_5_line_20 |  | 15 | 16 | 0.010775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-29_0_5_line_21 |  | 15 | 17 | 0.040304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-29_0_5_line_22 |  | 17 | 38 | 0.021223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-29_0_5_line_23 |  | 17 | 32 | 0.003735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_230-29_0_5_line_24 |  | 18 | 23 | 0.03315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-29_0_5_line_25 |  | 19 | 20 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-29_0_5_line_26 |  | 21 | 24 | 0.029184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-29_0_5_line_27 |  | 23 | 24 | 0.003986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-29_0_5_line_28 |  | 24 | 37 | 0.022432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-29_0_5_line_29 |  | 25 | 26 | 0.095352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_230-29_0_5_line_30 |  | 25 | 27 | 0.036158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_230-29_0_5_line_31 |  | 26 | 28 | 0.014566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-29_0_5_line_32 |  | 27 | 31 | 0.015348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-29_0_5_line_33 |  | 29 | 30 | 0.009948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-29_0_5_line_34 |  | 29 | 31 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-29_0_5_line_35 |  | 32 | 33 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_230-29_0_5_line_36 |  | 33 | 41 | 0.026203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_230-29_0_5_line_37 |  | 34 | 42 | 0.015556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_230-29_0_5_line_38 |  | 34 | 35 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-29_0_5_line_39 |  | 38 | 44 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-29_0_5_line_40 |  | 39 | 40 | 0.014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-29_0_5_line_41 |  | 40 | 44 | 0.0071351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-29_0_5_line_42 |  | 41 | 43 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_230-29_0_5_line_43 |  | 42 | 43 | 0.015158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-29_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 45 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2697176.4844 | 1262022.9006 | 2697186.5203 | 1262022.2524
1 | 2697162.8595 | 1262023.7807 | 2697176.4844 | 1262022.9006
2 | 2697186.5203 | 1262022.2524 | 2697200.4176 | 1262021.3547
3 | 2697162.8595 | 1262023.7807 | 2697165.14 | 1262060.2015
4 | 2697206.1203 | 1262020.9864 | 2697200.4176 | 1262021.3547
5 | 2697166.5063 | 1262082.0214 | 2697165.14 | 1262060.2015
6 | 2697221.0429 | 1262020.0225 | 2697206.1203 | 1262020.9864
7 | 2697166.5063 | 1262082.0214 | 2697167.1919 | 1262093.0305 | 2697167.7438 | 1262103.0033
8 | 2697277.8772 | 1261968.6594 | 2697286.0171 | 1261968.115 | 2697286.3348 | 1261973.0798
9 | 2697286.3348 | 1261973.0798 | 2697300.6488 | 1261972.3813 | 2697301.9128 | 1261972.9582 | 2697302.487 | 1261974.2464 | 2697303.4695 | 1261983.2255 | 2697306.0163 | 1261985.0689 | 2697314.4129 | 1261986.2176
10 | 2697277.8772 | 1261968.6594 | 2697280.0999 | 1262007.9968
11 | 2697277.8772 | 1261968.6594 | 2697258.6704 | 1261969.9929
12 | 2697317.333 | 1262147.6542 | 2697325.9264 | 1262113.6012
13 | 2697317.333 | 1262147.6542 | 2697312.2551 | 1262146.2251 | 2697308.8309 | 1262136.8055 | 2697301.9425 | 1262136.6921
14 | 2697325.9264 | 1262113.6012 | 2697326.5907 | 1262110.7876 | 2697326.9482 | 1262106.9237 | 2697329.5093 | 1262106.977 | 2697336.9819 | 1262107.1334 | 2697338.9257 | 1262097.5464 | 2697344.2857 | 1262098.3241 | 2697350.1649 | 1262064.8269
15 | 2697289.346 | 1262094.584 | 2697289.653 | 1262098.8258 | 2697290.5852 | 1262100.3312 | 2697292.84 | 1262101.6027 | 2697318.1457 | 1262101.9526 | 2697327.3788 | 1262102.2825 | 2697326.9482 | 1262106.9237 | 2697326.5907 | 1262110.7876 | 2697325.9264 | 1262113.6012
16 | 2697295.8028 | 1262122.5737 | 2697295.5722 | 1262136.5873 | 2697301.9425 | 1262136.6921
17 | 2697285.2519 | 1262094.7279 | 2697289.346 | 1262094.584
18 | 2697269.0926 | 1262105.4598 | 2697285.3945 | 1262105.7503 | 2697285.5549 | 1262099.6702 | 2697285.2519 | 1262094.7279
19 | 2697289.346 | 1262094.584 | 2697287.8246 | 1262070.5947
20 | 2697269.0926 | 1262105.4598 | 2697268.9455 | 1262116.2328
21 | 2697269.0926 | 1262105.4598 | 2697228.6838 | 1262104.3168
22 | 2697228.6838 | 1262104.3168 | 2697229.1813 | 1262110.2631 | 2697230.7941 | 1262125.4337
23 | 2697228.6838 | 1262104.3168 | 2697228.3457 | 1262100.5971
24 | 2697285.7264 | 1262037.5112 | 2697287.8246 | 1262070.5947
25 | 2697350.1649 | 1262064.8269 | 2697352.0715 | 1262068.9394 | 2697354.3377 | 1262071.3453 | 2697357.802 | 1262074.2158
26 | 2697281.7463 | 1262037.1344 | 2697280.0999 | 1262007.9968
27 | 2697281.7463 | 1262037.1344 | 2697285.7264 | 1262037.5112
28 | 2697281.7463 | 1262037.1344 | 2697283.1092 | 1262059.5245
29 | 2697128.047 | 1262132.3642 | 2697124.541 | 1262126.5241 | 2697111.0525 | 1262104.0621 | 2697109.1609 | 1262100.8618 | 2697167.7438 | 1262103.0033
30 | 2697128.047 | 1262132.3642 | 2697146.6447 | 1262163.3731
31 | 2697167.7438 | 1262103.0033 | 2697182.3061 | 1262103.3172
32 | 2697154.5388 | 1262176.5352 | 2697146.6447 | 1262163.3731
33 | 2697161.0222 | 1262187.3505 | 2697169.6567 | 1262182.3661
34 | 2697154.5388 | 1262176.5352 | 2697161.0222 | 1262187.3505
35 | 2697228.3457 | 1262100.5971 | 2697227.4287 | 1262090.4803
36 | 2697225.0636 | 1262064.3846 | 2697227.4287 | 1262090.4803
37 | 2697221.0429 | 1262020.0225 | 2697222.447 | 1262035.5146
38 | 2697221.0429 | 1262020.0225 | 2697220.0622 | 1262009.2202
39 | 2697232.6856 | 1262143.2254 | 2697230.7941 | 1262125.4337
40 | 2697233.3141 | 1262150.3327 | 2697234.5739 | 1262164.471
41 | 2697232.6856 | 1262143.2254 | 2697232.9775 | 1262146.5551 | 2697233.3141 | 1262150.3327
42 | 2697223.8152 | 1262050.611 | 2697225.0636 | 1262064.3846
43 | 2697223.8152 | 1262050.611 | 2697222.447 | 1262035.5146

## bus_geodata
| x | y | coords
0 | 2697176.4844 | 1262022.9006
1 | 2697186.5203 | 1262022.2524
2 | 2697162.8595 | 1262023.7807
3 | 2697200.4176 | 1262021.3547
4 | 2697165.14 | 1262060.2015
5 | 2697206.1203 | 1262020.9864
6 | 2697166.5063 | 1262082.0214
7 | 2697286.3348 | 1261973.0798
8 | 2697277.8772 | 1261968.6594
9 | 2697314.4129 | 1261986.2176
10 | 2697317.333 | 1262147.6542
11 | 2697325.9264 | 1262113.6012
12 | 2697301.9425 | 1262136.6921
13 | 2697285.2519 | 1262094.7279
14 | 2697289.346 | 1262094.584
15 | 2697269.0926 | 1262105.4598
16 | 2697268.9455 | 1262116.2328
17 | 2697228.6838 | 1262104.3168
18 | 2697287.8246 | 1262070.5947
19 | 2697350.1649 | 1262064.8269
20 | 2697357.802 | 1262074.2158
21 | 2697280.0999 | 1262007.9968
22 | 2697258.6704 | 1261969.9929
23 | 2697285.7264 | 1262037.5112
24 | 2697281.7463 | 1262037.1344
25 | 2697128.047 | 1262132.3642
26 | 2697167.7438 | 1262103.0033
27 | 2697146.6447 | 1262163.3731
28 | 2697182.3061 | 1262103.3172
29 | 2697161.0222 | 1262187.3505
30 | 2697169.6567 | 1262182.3661
31 | 2697154.5388 | 1262176.5352
32 | 2697228.3457 | 1262100.5971
33 | 2697227.4287 | 1262090.4803
34 | 2697221.0429 | 1262020.0225
35 | 2697220.0622 | 1262009.2202
36 | 2697295.8028 | 1262122.5737
37 | 2697283.1092 | 1262059.5245
38 | 2697230.7941 | 1262125.4337
39 | 2697234.5739 | 1262164.471
40 | 2697233.3141 | 1262150.3327
41 | 2697225.0636 | 1262064.3846
42 | 2697222.447 | 1262035.5146
43 | 2697223.8152 | 1262050.611
44 | 2697232.6856 | 1262143.2254
45 | 2697228.3457 | 1262100.5971

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98994 | -0.19066 | 0.0018495 | 0.00046352
1 | 0.99066 | -0.1769 | 0.0023549 | 0.0005902
2 | 0.98897 | -0.20923 | 0 | 0
3 | 0.99167 | -0.15768 | 0.0020175 | 0.00050564
4 | 0.98638 | -0.25903 | 0.0022414 | 0.00056175
5 | 0.99209 | -0.14974 | 0.0071886 | 0.0018016
6 | 0.98485 | -0.2887 | 0 | 0
7 | 0.98223 | -0.34194 | 0 | 0
8 | 0.98269 | -0.3331 | 0 | 0
9 | 0.98093 | -0.36741 | 0.03727 | 0.0093407
10 | 0.99064 | -0.179 | 0 | 0
11 | 0.99086 | -0.17461 | 0 | 0
12 | 0.99049 | -0.18178 | 0.0015793 | 0.00039582
13 | 0.99189 | -0.15482 | 0 | 0
14 | 0.99144 | -0.16348 | 0 | 0
15 | 0.9949 | -0.097035 | 0 | 0
16 | 0.99473 | -0.1004 | 0.017751 | 0.0044488
17 | 1 | 0 | -0.46334 | -0.11846
18 | 0.98904 | -0.20971 | 0.019751 | 0.0049501
19 | 0.99059 | -0.17982 | 0 | 0
20 | 0.99054 | -0.18079 | 0.0044421 | 0.0011133
21 | 0.98443 | -0.29919 | 0.010997 | 0.0027562
22 | 0.9825 | -0.33675 | 0.010494 | 0.0026299
23 | 0.98634 | -0.26208 | 0 | 0
24 | 0.98601 | -0.2684 | 0 | 0
25 | 0.97897 | -0.40274 | 0 | 0
26 | 0.98337 | -0.31731 | 0 | 0
27 | 0.97647 | -0.45168 | 0.032693 | 0.0081936
28 | 0.98231 | -0.33792 | 0.078434 | 0.019657
29 | 0.97345 | -0.511 | 0 | 0
30 | 0.97238 | -0.53221 | 0.11576 | 0.029013
31 | 0.97481 | -0.48421 | 0 | 0
32 | 0.99969 | -0.0058522 | 0 | 0
33 | 0.99884 | -0.021787 | 0.0060539 | 0.0015172
34 | 0.99321 | -0.12835 | 0 | 0
35 | 0.99315 | -0.12952 | 0.0061069 | 0.0015305
36 | 0.99039 | -0.18376 | 0.0054625 | 0.001369
37 | 0.9854 | -0.28034 | 0.029665 | 0.0074348
38 | 0.99908 | -0.017625 | 0.017173 | 0.004304
39 | 0.9982 | -0.034682 | 0.015109 | 0.0037866
40 | 0.99839 | -0.030932 | 0.015319 | 0.0038394
41 | 0.9967 | -0.062087 | 0.0049939 | 0.0012516
42 | 0.99441 | -0.10559 | 0.0050542 | 0.0012667
43 | 0.9956 | -0.083023 | 0.0048212 | 0.0012083
44 | 0.99859 | -0.027136 | 0 | 0
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23387 | -0.059731 | 0.23403 | 0.05983 | 0.00015571 | 9.9265e-05 | 0.35194 | 0.35194 | 0.35194 | 0.98994 | -0.19066 | 0.99066 | -0.1769 | 32.229
1 | 0.23202 | 0.059267 | -0.23181 | -0.059135 | 0.00020807 | 0.00013264 | 0.34916 | 0.34916 | 0.34916 | 0.98994 | -0.19066 | 0.98897 | -0.20923 | 31.9744
2 | -0.23638 | -0.06042 | 0.2366 | 0.060561 | 0.00021997 | 0.00014024 | 0.35548 | 0.35548 | 0.35548 | 0.99066 | -0.1769 | 0.99167 | -0.15768 | 32.5529
3 | 0.23181 | 0.059135 | -0.23126 | -0.05878 | 0.00055611 | 0.00035451 | 0.34916 | 0.34916 | 0.34916 | 0.98897 | -0.20923 | 0.98638 | -0.25903 | 31.9745
4 | -0.23862 | -0.061066 | 0.23871 | 0.061125 | 9.1808e-05 | 5.8536e-05 | 0.3585 | 0.3585 | 0.3585 | 0.99167 | -0.15768 | 0.99209 | -0.14974 | 32.8301
5 | 0.22902 | 0.058219 | -0.22869 | -0.05801 | 0.00032675 | 0.00020828 | 0.34578 | 0.34578 | 0.34578 | 0.98638 | -0.25903 | 0.98485 | -0.2887 | 31.6649
6 | -0.2459 | -0.062927 | 0.24616 | 0.063089 | 0.00025491 | 0.00016256 | 0.36929 | 0.36929 | 0.36929 | 0.99209 | -0.14974 | 0.99321 | -0.12835 | 33.8174
7 | 0.22869 | 0.05801 | -0.22838 | -0.05781 | 0.00031413 | 0.00020024 | 0.34578 | 0.34578 | 0.34578 | 0.98485 | -0.2887 | 0.98337 | -0.31731 | 31.6649
8 | -0.037315 | -0.0093692 | 0.037331 | 0.0093791 | 1.5741e-05 | 9.9082e-06 | 0.056536 | 0.056536 | 0.056536 | 0.98223 | -0.34194 | 0.98269 | -0.3331 | 15.5318
9 | 0.037315 | 0.0093692 | -0.03727 | -0.0093407 | 4.5287e-05 | 2.8506e-05 | 0.056536 | 0.056536 | 0.056536 | 0.98223 | -0.34194 | 0.98093 | -0.36741 | 15.5319
10 | -0.047826 | -0.01201 | 0.047904 | 0.012059 | 7.7508e-05 | 4.9105e-05 | 0.072428 | 0.072428 | 0.072428 | 0.98269 | -0.3331 | 0.98443 | -0.29919 | 19.8979
11 | 0.010495 | 0.0026309 | -0.010494 | -0.0026299 | 1.8236e-06 | 9.2322e-07 | 0.015893 | 0.015893 | 0.015893 | 0.98269 | -0.3331 | 0.9825 | -0.33675 | 4.3661
12 | -0.0070432 | -0.0017652 | 0.0070447 | 0.0017657 | 1.474e-06 | 4.911e-07 | 0.01058 | 0.010579 | 0.01058 | 0.99064 | -0.179 | 0.99086 | -0.17461 | 2.9065
13 | 0.0070432 | 0.0017652 | -0.0070423 | -0.0017649 | 9.3126e-07 | 3.1039e-07 | 0.01058 | 0.01058 | 0.01058 | 0.99064 | -0.179 | 0.99049 | -0.18178 | 2.9065
14 | 0.0044435 | 0.0011131 | -0.0044424 | -0.0011133 | 1.1023e-06 | -1.4461e-07 | 0.0066727 | 0.006673 | 0.006673 | 0.99086 | -0.17461 | 0.99059 | -0.17982 | 1.8332
15 | -0.011488 | -0.0028788 | 0.011494 | 0.002882 | 6.0931e-06 | 3.196e-06 | 0.017252 | 0.017252 | 0.017252 | 0.99086 | -0.17461 | 0.99144 | -0.16348 | 4.7396
16 | 0.005463 | 0.0013691 | -0.0054625 | -0.001369 | 5.1493e-07 | 6.7187e-08 | 0.008207 | 0.0082071 | 0.0082071 | 0.99049 | -0.18178 | 0.99039 | -0.18376 | 2.2547
17 | 0.12046 | 0.030493 | -0.12041 | -0.030461 | 5.0071e-05 | 3.1993e-05 | 0.18081 | 0.18081 | 0.18081 | 0.99189 | -0.15482 | 0.99144 | -0.16348 | 49.6743
18 | -0.12046 | -0.030493 | 0.12079 | 0.030707 | 0.00033517 | 0.00021416 | 0.18081 | 0.18081 | 0.18081 | 0.99189 | -0.15482 | 0.9949 | -0.097035 | 49.6743
19 | 0.10891 | 0.027579 | -0.10867 | -0.027425 | 0.00024115 | 0.00015403 | 0.16356 | 0.16356 | 0.16356 | 0.99144 | -0.16348 | 0.98904 | -0.20971 | 44.9349
20 | 0.017754 | 0.0044505 | -0.017751 | -0.0044488 | 2.8491e-06 | 1.6835e-06 | 0.026554 | 0.026554 | 0.026554 | 0.9949 | -0.097035 | 0.99473 | -0.1004 | 7.295
21 | -0.13855 | -0.035158 | 0.1392 | 0.035573 | 0.00064993 | 0.00041543 | 0.20737 | 0.20737 | 0.20737 | 0.9949 | -0.097035 | 1 | 0 | 56.9693
22 | 0.047663 | 0.011969 | -0.047623 | -0.011944 | 4.0043e-05 | 2.5349e-05 | 0.070932 | 0.070932 | 0.070932 | 1 | 0 | 0.99908 | -0.017625 | 19.4869
23 | 0.27483 | 0.070913 | -0.27475 | -0.070863 | 7.8358e-05 | 5.0002e-05 | 0.40968 | 0.40968 | 0.40968 | 1 | 0 | 0.99969 | -0.0058522 | 37.5162
24 | 0.088919 | 0.022475 | -0.088697 | -0.022333 | 0.00022271 | 0.00014211 | 0.13385 | 0.13385 | 0.13385 | 0.98904 | -0.20971 | 0.98634 | -0.26208 | 36.7713
25 | 0.0044424 | 0.0011133 | -0.0044421 | -0.0011133 | 2.0578e-07 | -2.6937e-08 | 0.006673 | 0.0066731 | 0.0066731 | 0.99059 | -0.17982 | 0.99054 | -0.18079 | 1.8333
26 | -0.058901 | -0.014815 | 0.058988 | 0.01487 | 8.6788e-05 | 5.5172e-05 | 0.089051 | 0.089051 | 0.089051 | 0.98443 | -0.29919 | 0.98601 | -0.2684 | 24.4647
27 | 0.088697 | 0.022333 | -0.08867 | -0.022316 | 2.6779e-05 | 1.7087e-05 | 0.13385 | 0.13385 | 0.13385 | 0.98634 | -0.26208 | 0.98601 | -0.2684 | 36.7713
28 | 0.029682 | 0.0074453 | -0.029665 | -0.0074348 | 1.688e-05 | 1.0517e-05 | 0.044796 | 0.044796 | 0.044796 | 0.98601 | -0.2684 | 0.9854 | -0.28034 | 12.3067
29 | -0.14925 | -0.037714 | 0.14986 | 0.038103 | 0.00061401 | 0.00038935 | 0.22697 | 0.22697 | 0.22697 | 0.97897 | -0.40274 | 0.98337 | -0.31731 | 20.7848
30 | 0.14925 | 0.037714 | -0.1489 | -0.037491 | 0.00034926 | 0.00022262 | 0.22697 | 0.22697 | 0.22697 | 0.97897 | -0.40274 | 0.97647 | -0.45168 | 31.1772
31 | 0.078511 | 0.019707 | -0.078434 | -0.019657 | 7.7106e-05 | 4.9163e-05 | 0.11881 | 0.11881 | 0.11881 | 0.98337 | -0.31731 | 0.98231 | -0.33792 | 32.6409
32 | 0.11621 | 0.029298 | -0.11603 | -0.029182 | 0.00018062 | 0.0001154 | 0.17715 | 0.17715 | 0.17715 | 0.97647 | -0.45168 | 0.97481 | -0.48421 | 48.6676
33 | 0.11588 | 0.029088 | -0.11576 | -0.029013 | 0.00011707 | 7.4802e-05 | 0.17715 | 0.17715 | 0.17715 | 0.97345 | -0.511 | 0.97238 | -0.53221 | 48.6676
34 | -0.11588 | -0.029088 | 0.11603 | 0.029182 | 0.00014828 | 9.4743e-05 | 0.17715 | 0.17715 | 0.17715 | 0.97345 | -0.511 | 0.97481 | -0.48421 | 48.6676
35 | 0.27475 | 0.070863 | -0.27454 | -0.070727 | 0.00021311 | 0.00013599 | 0.40968 | 0.40968 | 0.40968 | 0.99969 | -0.0058522 | 0.99884 | -0.021787 | 37.5163
36 | 0.26849 | 0.06921 | -0.26796 | -0.068875 | 0.00052578 | 0.00033547 | 0.40066 | 0.40066 | 0.40066 | 0.99884 | -0.021787 | 0.9967 | -0.062087 | 36.6904
37 | -0.25226 | -0.06462 | 0.25254 | 0.064797 | 0.00027847 | 0.00017762 | 0.37844 | 0.37844 | 0.37844 | 0.99321 | -0.12835 | 0.99441 | -0.10559 | 34.6553
38 | 0.0061073 | 0.0015306 | -0.0061069 | -0.0015305 | 3.4053e-07 | 7.7575e-08 | 0.0091498 | 0.0091499 | 0.0091499 | 0.99321 | -0.12835 | 0.99315 | -0.12952 | 2.5137
39 | 0.03045 | 0.0076396 | -0.030436 | -0.007631 | 1.3802e-05 | 8.599e-06 | 0.045355 | 0.045355 | 0.045355 | 0.99908 | -0.017625 | 0.99859 | -0.027136 | 12.4601
40 | -0.015109 | -0.0037866 | 0.015111 | 0.0037881 | 2.7001e-06 | 1.5425e-06 | 0.022523 | 0.022522 | 0.022523 | 0.9982 | -0.034682 | 0.99839 | -0.030932 | 6.1875
41 | -0.030431 | -0.0076276 | 0.030436 | 0.007631 | 5.504e-06 | 3.4292e-06 | 0.045355 | 0.045355 | 0.045355 | 0.99839 | -0.030932 | 0.99859 | -0.027136 | 12.4601
42 | 0.26297 | 0.067623 | -0.2627 | -0.067452 | 0.00026728 | 0.00017052 | 0.3932 | 0.3932 | 0.3932 | 0.9967 | -0.062087 | 0.9956 | -0.083023 | 36.0077
43 | -0.2576 | -0.066064 | 0.25788 | 0.066244 | 0.00028231 | 0.00018009 | 0.386 | 0.386 | 0.386 | 0.99441 | -0.10559 | 0.9956 | -0.083023 | 35.3479

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46334 | 0.11846

## res_load
| p_mw | q_mvar
0 | 0.0018495 | 0.00046352
1 | 0.0023549 | 0.0005902
2 | 0.0020175 | 0.00050564
3 | 0.0022414 | 0.00056175
4 | 0.0071886 | 0.0018016
5 | 0.03727 | 0.0093407
6 | 0.0015793 | 0.00039582
7 | 0.017751 | 0.0044488
8 | 0.019751 | 0.0049501
9 | 0.0044421 | 0.0011133
10 | 0.010997 | 0.0027562
11 | 0.010494 | 0.0026299
12 | 0.032693 | 0.0081936
13 | 0.078434 | 0.019657
14 | 0.11576 | 0.029013
15 | 0.0060539 | 0.0015172
16 | 0.0061069 | 0.0015305
17 | 0.0054625 | 0.001369
18 | 0.029665 | 0.0074348
19 | 0.017173 | 0.004304
20 | 0.015109 | 0.0037866
21 | 0.015319 | 0.0038394
22 | 0.0049939 | 0.0012516
23 | 0.0050542 | 0.0012667
24 | 0.0048212 | 0.0012083

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1