## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-31_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-31_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-31_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-31_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_230-31_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-31_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_230-31_0_5_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_230-31_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_230-31_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_230-31_0_5_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_230-31_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_230-31_0_5_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_230-31_0_5_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_230-31_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_230-31_0_5_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_230-31_0_5_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_230-31_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_230-31_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_230-31_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_230-31_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_230-31_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_230-31_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_230-31_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_230-31_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_230-31_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_230-31_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_230-31_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_230-31_0_5_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_230-31_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_230-31_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_230-31_0_5_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_230-31_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_230-31_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_230-31_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_230-31_0_5_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_230-31_0_5_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_230-31_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_230-31_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_230-31_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_230-31_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_230-31_0_5_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_230-31_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_230-31_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_230-31_0_5_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_230-31_0_5_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_230-31_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_230-31_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_230-31_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_230-31_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_230-31_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_230-31_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_230-31_0_5_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_230-31_0_5_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_230-31_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_230-31_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_MV_512_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-31_0_5_load_0 | 0 | 0.059289 | 0.014859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-31_0_5_load_37 | 6 | 0.015383 | 0.0038554 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-31_0_5_load_36 | 9 | 0.066878 | 0.016761 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-31_0_5_load_28 | 11 | 0.0066721 | 0.0016722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-31_0_5_load_58 | 12 | 0.025918 | 0.0064958 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-31_0_5_load_51 | 14 | 0.014539 | 0.0036439 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-31_0_5_load_48 | 15 | 0.0097929 | 0.0024543 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-31_0_5_load_13 | 16 | 0.013118 | 0.0032876 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-31_0_5_load_17 | 18 | 0.02881 | 0.0072204 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-31_0_5_load_27 | 20 | 0.016601 | 0.0041606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-31_0_5_load_10 | 21 | 0.015869 | 0.0039772 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-31_0_5_load_11 | 22 | 0.01264 | 0.0031679 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-31_0_5_load_12 | 23 | 0.012635 | 0.0031666 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-31_0_5_load_52 | 24 | 0.012665 | 0.0031742 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-31_0_5_load_53 | 25 | 0.012568 | 0.0031497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-31_0_5_load_54 | 27 | 0.013455 | 0.0033721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-31_0_5_load_49 | 29 | 0.010377 | 0.0026007 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-31_0_5_load_55 | 30 | 0.020893 | 0.0052364 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-31_0_5_load_19 | 31 | 0.00046818 | 0.00011734 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-31_0_5_load_32 | 34 | 0.0020949 | 0.00052503 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-31_0_5_load_29 | 35 | 0.0049509 | 0.0012408 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-31_0_5_load_38 | 36 | 0.0062679 | 0.0015709 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-31_0_5_load_30 | 37 | 0.0054057 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-31_0_5_load_47 | 40 | 0.0015831 | 0.00039677 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-31_0_5_load_41 | 41 | 0.006773 | 0.0016975 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-31_0_5_load_45 | 42 | 0.0015824 | 0.00039658 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-31_0_5_load_40 | 43 | 0.011249 | 0.0028192 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-31_0_5_load_50 | 44 | 0.0097983 | 0.0024557 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-31_0_5_load_31 | 45 | 0.0055661 | 0.001395 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-31_0_5_load_33 | 48 | 0.0067365 | 0.0016883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-31_0_5_load_34 | 49 | 0.0039526 | 0.0009906 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-31_0_5_load_35 | 50 | 0.0040612 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-31_0_5_load_56 | 51 | 0.012471 | 0.0031256 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-31_0_5_load_57 | 52 | 0.012568 | 0.0031499 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-31_0_5_load_46 | 53 | 0.0045498 | 0.0011403 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-31_0_5_load_44 | 54 | 0.0048854 | 0.0012244 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-31_0_5_line_0 |  | 0 | 1 | 0.021911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-31_0_5_line_1 |  | 1 | 2 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-31_0_5_line_2 |  | 2 | 6 | 0.046177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_230-31_0_5_line_3 |  | 3 | 4 | 0.12568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_230-31_0_5_line_4 |  | 3 | 5 | 0.1462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_230-31_0_5_line_5 |  | 4 | 7 | 0.039612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_230-31_0_5_line_6 |  | 4 | 6 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_230-31_0_5_line_7 |  | 5 | 8 | 0.081066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-31_0_5_line_8 |  | 5 | 9 | 0.022365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-31_0_5_line_9 |  | 7 | 16 | 0.010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-31_0_5_line_10 |  | 7 | 13 | 0.11839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_230-31_0_5_line_11 |  | 8 | 12 | 0.0014738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-31_0_5_line_12 |  | 8 | 10 | 0.081271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-31_0_5_line_13 |  | 10 | 11 | 0.034588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-31_0_5_line_14 |  | 11 | 20 | 0.040805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-31_0_5_line_15 |  | 13 | 14 | 0.021763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-31_0_5_line_16 |  | 13 | 15 | 0.023926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_230-31_0_5_line_17 |  | 14 | 28 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-31_0_5_line_18 |  | 15 | 29 | 0.0079385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_230-31_0_5_line_19 |  | 17 | 18 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-31_0_5_line_20 |  | 17 | 19 | 0.005855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-31_0_5_line_21 |  | 19 | 26 | 0.014118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-31_0_5_line_22 |  | 19 | 27 | 0.029779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-31_0_5_line_23 |  | 21 | 22 | 0.013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-31_0_5_line_24 |  | 22 | 23 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-31_0_5_line_25 |  | 23 | 24 | 0.010978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-31_0_5_line_26 |  | 24 | 25 | 0.010911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-31_0_5_line_27 |  | 25 | 27 | 0.012203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-31_0_5_line_28 |  | 26 | 30 | 0.031018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-31_0_5_line_29 |  | 28 | 52 | 0.017522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-31_0_5_line_30 |  | 28 | 46 | 0.012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-31_0_5_line_31 |  | 29 | 44 | 0.0079388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_230-31_0_5_line_32 |  | 30 | 44 | 0.012074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-31_0_5_line_33 |  | 31 | 32 | 0.010991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-31_0_5_line_34 |  | 32 | 33 | 0.063148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-31_0_5_line_35 |  | 33 | 34 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-31_0_5_line_36 |  | 33 | 35 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-31_0_5_line_37 |  | 34 | 36 | 0.015811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-31_0_5_line_38 |  | 35 | 37 | 0.0037916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-31_0_5_line_39 |  | 36 | 47 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-31_0_5_line_40 |  | 37 | 45 | 0.0075761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-31_0_5_line_41 |  | 38 | 39 | 0.004637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-31_0_5_line_42 |  | 38 | 40 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-31_0_5_line_43 |  | 39 | 41 | 0.0087536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-31_0_5_line_44 |  | 40 | 42 | 7.0238e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-31_0_5_line_45 |  | 41 | 43 | 0.018874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-31_0_5_line_46 |  | 42 | 54 | 0.0064172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-31_0_5_line_47 |  | 43 | 46 | 0.027593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-31_0_5_line_48 |  | 47 | 53 | 0.017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-31_0_5_line_49 |  | 48 | 49 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-31_0_5_line_50 |  | 49 | 50 | 0.007248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-31_0_5_line_51 |  | 50 | 51 | 0.0067976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-31_0_5_line_52 |  | 51 | 52 | 0.0067986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-31_0_5_line_53 |  | 53 | 54 | 0.0081338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-31_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 55 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2696685.819 | 1261517.709 | 2696695.6239 | 1261537.3036
1 | 2696685.819 | 1261517.709 | 2696700.2716 | 1261509.9834
2 | 2696700.2716 | 1261509.9834 | 2696718.7276 | 1261514.1329 | 2696727.9723 | 1261522.5576 | 2696735.5227 | 1261535.2318
3 | 2696767.3571 | 1261666.5964 | 2696766.8222 | 1261658.3032 | 2696789.3719 | 1261646.6737 | 2696789.5437 | 1261640.7828 | 2696756.6672 | 1261578.4388 | 2696752.3233 | 1261563.4334
4 | 2696654.4999 | 1261625.9518 | 2696654.4999 | 1261625.0289 | 2696656.3836 | 1261625.0486 | 2696660.8851 | 1261623.0538 | 2696664.3617 | 1261621.5205 | 2696667.7146 | 1261620.1742 | 2696667.9611 | 1261620.7676 | 2696680.434 | 1261654.3542 | 2696682.2537 | 1261659.2101 | 2696724.1059 | 1261665.3548 | 2696726.4043 | 1261663.0572 | 2696732.2984 | 1261662.9979 | 2696734.9239 | 1261667.4222 | 2696748.6961 | 1261665.3346 | 2696759.5491 | 1261664.8006 | 2696767.3571 | 1261666.5964
5 | 2696752.3233 | 1261563.4334 | 2696759.1973 | 1261557.3853 | 2696755.5455 | 1261552.1213 | 2696753.4139 | 1261547.4494 | 2696750.3218 | 1261542.0611 | 2696754.8735 | 1261537.4651 | 2696759.2567 | 1261533.0332
6 | 2696752.3233 | 1261563.4334 | 2696735.5227 | 1261535.2318
7 | 2696593.2572 | 1261600.4309 | 2696611.3238 | 1261604.418 | 2696616.8921 | 1261598.9378 | 2696624.2188 | 1261600.6811 | 2696638.8594 | 1261604.023 | 2696645.208 | 1261624.1097 | 2696654.4999 | 1261624.1059 | 2696654.4999 | 1261625.0289 | 2696654.4999 | 1261625.9518
8 | 2696654.4999 | 1261625.9518 | 2696642.2609 | 1261625.9853 | 2696632.3924 | 1261623.7145
9 | 2696759.2567 | 1261533.0332 | 2696752.304 | 1261525.6596
10 | 2696754.9785 | 1261484.0902 | 2696767.9058 | 1261495.433 | 2696781.7988 | 1261503.945 | 2696790.7716 | 1261507.7949 | 2696787.9661 | 1261515.7443 | 2696790.3678 | 1261522.3334 | 2696787.556 | 1261530.2049 | 2696789.1513 | 1261535.413 | 2696786.8941 | 1261548.9983 | 2696770.0412 | 1261541.3052 | 2696759.2567 | 1261533.0332
11 | 2696593.2572 | 1261600.4309 | 2696591.8232 | 1261600.0906
12 | 2696593.2572 | 1261600.4309 | 2696611.3238 | 1261604.418 | 2696616.8921 | 1261598.9378 | 2696628.7568 | 1261545.2769
13 | 2696628.7568 | 1261545.2769 | 2696614.3652 | 1261522.5345 | 2696609.7338 | 1261516.4151
14 | 2696609.7338 | 1261516.4151 | 2696606.5679 | 1261512.2322 | 2696597.8739 | 1261502.3822 | 2696581.9031 | 1261486.6461
15 | 2696754.9785 | 1261484.0902 | 2696763.9849 | 1261471.6162 | 2696767.7202 | 1261466.447
16 | 2696754.9785 | 1261484.0902 | 2696740.2309 | 1261465.2492
17 | 2696777.001 | 1261453.6034 | 2696767.7202 | 1261466.447
18 | 2696740.2309 | 1261465.2492 | 2696735.3379 | 1261458.998
19 | 2696680.0298 | 1261425.6397 | 2696678.5058 | 1261422.0563 | 2696672.9957 | 1261408.4377
20 | 2696685.6563 | 1261423.9859 | 2696681.5843 | 1261425.0535 | 2696680.0298 | 1261425.6397
21 | 2696699.7037 | 1261423.5373 | 2696690.3974 | 1261423.0181 | 2696685.6563 | 1261423.9859
22 | 2696685.6563 | 1261423.9859 | 2696694.4333 | 1261443.0448 | 2696699.5105 | 1261450.2274
23 | 2696737.2529 | 1261495.5462 | 2696728.1304 | 1261484.9915
24 | 2696720.9521 | 1261476.6863 | 2696728.1304 | 1261484.9915
25 | 2696720.9521 | 1261476.6863 | 2696713.7738 | 1261468.3809
26 | 2696713.7738 | 1261468.3809 | 2696706.6392 | 1261460.1262
27 | 2696706.6392 | 1261460.1262 | 2696705.9165 | 1261459.2901 | 2696699.5105 | 1261450.2274
28 | 2696699.7037 | 1261423.5373 | 2696704.6941 | 1261425.754 | 2696711.1058 | 1261430.0067 | 2696716.1127 | 1261434.4366 | 2696723.0028 | 1261443.2391
29 | 2696777.001 | 1261453.6034 | 2696781.5787 | 1261457.5481 | 2696788.0771 | 1261461.5577 | 2696791.5738 | 1261463.1521
30 | 2696767.9134 | 1261444.325 | 2696777.001 | 1261453.6034
31 | 2696735.3379 | 1261458.998 | 2696730.4446 | 1261452.7466
32 | 2696730.4446 | 1261452.7466 | 2696723.0028 | 1261443.2391
33 | 2696840.0193 | 1261398.3786 | 2696840.9509 | 1261402.6974 | 2696847.3631 | 1261401.2516
34 | 2696819.002 | 1261407.0305 | 2696823.1329 | 1261416.1722 | 2696827.7425 | 1261421.8523 | 2696832.6382 | 1261425.7133 | 2696834.8201 | 1261421.7903 | 2696828.5628 | 1261413.1809 | 2696827.2949 | 1261410.5358 | 2696839.9449 | 1261404.3044 | 2696838.3455 | 1261398.8849 | 2696840.0193 | 1261398.3786
35 | 2696819.002 | 1261407.0305 | 2696811.4184 | 1261403.9373 | 2696808.9669 | 1261400.9745
36 | 2696819.002 | 1261407.0305 | 2696805.3305 | 1261417.0107
37 | 2696808.9669 | 1261400.9745 | 2696807.7899 | 1261399.5521 | 2696803.4613 | 1261386.2754
38 | 2696802.2681 | 1261419.2463 | 2696805.3305 | 1261417.0107
39 | 2696798.3895 | 1261370.7193 | 2696803.4613 | 1261386.2754
40 | 2696796.1489 | 1261423.7132 | 2696802.2681 | 1261419.2463
41 | 2696753.0554 | 1261391.617 | 2696751.893 | 1261387.1276
42 | 2696751.893 | 1261387.1276 | 2696767.9187 | 1261381.4723
43 | 2696753.0554 | 1261391.617 | 2696754.4489 | 1261400.259
44 | 2696767.9849 | 1261381.4489 | 2696767.9187 | 1261381.4723
45 | 2696757.7269 | 1261418.845 | 2696755.6622 | 1261407.7838 | 2696754.4489 | 1261400.259
46 | 2696774.0363 | 1261379.3134 | 2696767.9849 | 1261381.4489
47 | 2696767.9134 | 1261444.325 | 2696762.1798 | 1261433.6448 | 2696758.1565 | 1261421.1466 | 2696757.7269 | 1261418.845
48 | 2696798.3895 | 1261370.7193 | 2696781.7065 | 1261376.6066
49 | 2696811.6423 | 1261468.2702 | 2696818.0473 | 1261468.5426 | 2696824.6372 | 1261468.2651
50 | 2696811.6423 | 1261468.2702 | 2696810.3959 | 1261468.2172 | 2696804.4635 | 1261467.3159
51 | 2696804.4635 | 1261467.3159 | 2696802.8483 | 1261467.0705 | 2696797.896 | 1261465.6077
52 | 2696797.896 | 1261465.6077 | 2696795.2358 | 1261464.8219 | 2696791.5738 | 1261463.1521
53 | 2696774.0363 | 1261379.3134 | 2696781.7065 | 1261376.6066

## bus_geodata
| x | y | coords
0 | 2696695.6239 | 1261537.3036
1 | 2696685.819 | 1261517.709
2 | 2696700.2716 | 1261509.9834
3 | 2696767.3571 | 1261666.5964
4 | 2696752.3233 | 1261563.4334
5 | 2696654.4999 | 1261625.9518
6 | 2696735.5227 | 1261535.2318
7 | 2696759.2567 | 1261533.0332
8 | 2696593.2572 | 1261600.4309
9 | 2696632.3924 | 1261623.7145
10 | 2696628.7568 | 1261545.2769
11 | 2696609.7338 | 1261516.4151
12 | 2696591.8232 | 1261600.0906
13 | 2696754.9785 | 1261484.0902
14 | 2696767.7202 | 1261466.447
15 | 2696740.2309 | 1261465.2492
16 | 2696752.304 | 1261525.6596
17 | 2696680.0298 | 1261425.6397
18 | 2696672.9957 | 1261408.4377
19 | 2696685.6563 | 1261423.9859
20 | 2696581.9031 | 1261486.6461
21 | 2696737.2529 | 1261495.5462
22 | 2696728.1304 | 1261484.9915
23 | 2696720.9521 | 1261476.6863
24 | 2696713.7738 | 1261468.3809
25 | 2696706.6392 | 1261460.1262
26 | 2696699.7037 | 1261423.5373
27 | 2696699.5105 | 1261450.2274
28 | 2696777.001 | 1261453.6034
29 | 2696735.3379 | 1261458.998
30 | 2696723.0028 | 1261443.2391
31 | 2696847.3631 | 1261401.2516
32 | 2696840.0193 | 1261398.3786
33 | 2696819.002 | 1261407.0305
34 | 2696808.9669 | 1261400.9745
35 | 2696805.3305 | 1261417.0107
36 | 2696803.4613 | 1261386.2754
37 | 2696802.2681 | 1261419.2463
38 | 2696751.893 | 1261387.1276
39 | 2696753.0554 | 1261391.617
40 | 2696767.9187 | 1261381.4723
41 | 2696754.4489 | 1261400.259
42 | 2696767.9849 | 1261381.4489
43 | 2696757.7269 | 1261418.845
44 | 2696730.4446 | 1261452.7466
45 | 2696796.1489 | 1261423.7132
46 | 2696767.9134 | 1261444.325
47 | 2696798.3895 | 1261370.7193
48 | 2696824.6372 | 1261468.2651
49 | 2696811.6423 | 1261468.2702
50 | 2696804.4635 | 1261467.3159
51 | 2696797.896 | 1261465.6077
52 | 2696791.5738 | 1261463.1521
53 | 2696781.7065 | 1261376.6066
54 | 2696774.0363 | 1261379.3134
55 | 2696685.819 | 1261517.709

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99794 | -0.039621 | 0.059289 | 0.014859
1 | 0.99912 | -0.016912 | 0 | 0
2 | 1 | 0 | -0.48356 | -0.12419
3 | 0.98914 | -0.20609 | 0 | 0
4 | 0.99252 | -0.14133 | 0 | 0
5 | 0.98127 | -0.35846 | 0 | 0
6 | 0.99556 | -0.083645 | 0.015383 | 0.0038554
7 | 0.98992 | -0.19093 | 0 | 0
8 | 0.97756 | -0.43093 | 0 | 0
9 | 0.97988 | -0.38558 | 0.066878 | 0.016761
10 | 0.9758 | -0.46549 | 0 | 0
11 | 0.97505 | -0.48024 | 0.0066721 | 0.0016722
12 | 0.97753 | -0.43163 | 0.025918 | 0.0064958
13 | 0.9825 | -0.33374 | 0 | 0
14 | 0.98029 | -0.37695 | 0.014539 | 0.0036439
15 | 0.98162 | -0.35098 | 0.0097929 | 0.0024543
16 | 0.9898 | -0.1933 | 0.013118 | 0.0032876
17 | 0.97463 | -0.48738 | 0 | 0
18 | 0.97413 | -0.4972 | 0.02881 | 0.0072204
19 | 0.97479 | -0.48428 | 0 | 0
20 | 0.97442 | -0.49267 | 0.016601 | 0.0041606
21 | 0.97034 | -0.572 | 0.015869 | 0.0039772
22 | 0.97055 | -0.5679 | 0.01264 | 0.0031679
23 | 0.97084 | -0.56212 | 0.012635 | 0.0031666
24 | 0.97127 | -0.55377 | 0.012665 | 0.0031742
25 | 0.97181 | -0.54293 | 0.012568 | 0.0031497
26 | 0.97622 | -0.45619 | 0 | 0
27 | 0.97257 | -0.52799 | 0.013455 | 0.0033721
28 | 0.97889 | -0.40434 | 0 | 0
29 | 0.98134 | -0.35636 | 0.010377 | 0.0026007
30 | 0.97937 | -0.39475 | 0.020893 | 0.0052364
31 | 0.97326 | -0.51489 | 0.00046818 | 0.00011734
32 | 0.97327 | -0.51479 | 0 | 0
33 | 0.97329 | -0.51425 | 0 | 0
34 | 0.97348 | -0.51062 | 0.0020949 | 0.00052503
35 | 0.97304 | -0.51921 | 0.0049509 | 0.0012408
36 | 0.97375 | -0.50524 | 0.0062679 | 0.0015709
37 | 0.973 | -0.51997 | 0.0054057 | 0.0013548
38 | 0.97555 | -0.46968 | 0 | 0
39 | 0.97572 | -0.46651 | 0 | 0
40 | 0.97496 | -0.48131 | 0.0015831 | 0.00039677
41 | 0.97602 | -0.46052 | 0.006773 | 0.0016975
42 | 0.97496 | -0.48136 | 0.0015824 | 0.00039658
43 | 0.9768 | -0.44529 | 0.011249 | 0.0028192
44 | 0.98082 | -0.36637 | 0.0097983 | 0.0024557
45 | 0.97296 | -0.52075 | 0.0055661 | 0.001395
46 | 0.97822 | -0.41742 | 0 | 0
47 | 0.97413 | -0.4978 | 0 | 0
48 | 0.97782 | -0.42524 | 0.0067365 | 0.0016883
49 | 0.9779 | -0.42364 | 0.0039526 | 0.0009906
50 | 0.97798 | -0.42223 | 0.0040612 | 0.0010178
51 | 0.97807 | -0.4204 | 0.012471 | 0.0031256
52 | 0.97824 | -0.41703 | 0.012568 | 0.0031499
53 | 0.97454 | -0.48976 | 0.0045498 | 0.0011403
54 | 0.97476 | -0.48538 | 0.0048854 | 0.0012244
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.059289 | -0.014859 | 0.059353 | 0.0149 | 6.4217e-05 | 4.0812e-05 | 0.088405 | 0.088405 | 0.088405 | 0.99794 | -0.039621 | 0.99912 | -0.016912 | 24.2872
1 | -0.059353 | -0.0149 | 0.059401 | 0.014931 | 4.7922e-05 | 3.0456e-05 | 0.088405 | 0.088405 | 0.088405 | 0.99912 | -0.016912 | 1 | 0 | 24.2872
2 | 0.42251 | 0.10926 | -0.4208 | -0.10816 | 0.0017177 | 0.0010969 | 0.62991 | 0.62991 | 0.62991 | 1 | 0 | 0.99556 | -0.083645 | 43.2628
3 | -0.11725 | -0.029836 | 0.11761 | 0.030065 | 0.00036722 | 0.00022855 | 0.17654 | 0.17654 | 0.17654 | 0.98914 | -0.20609 | 0.99252 | -0.14133 | 12.1252
4 | 0.11725 | 0.029836 | -0.11639 | -0.029293 | 0.00085437 | 0.00054307 | 0.17654 | 0.17654 | 0.17654 | 0.98914 | -0.20609 | 0.98127 | -0.35846 | 24.2506
5 | 0.28666 | 0.073518 | -0.28598 | -0.073079 | 0.00068785 | 0.00043818 | 0.43037 | 0.43037 | 0.43037 | 0.99252 | -0.14133 | 0.98992 | -0.19093 | 29.5587
6 | -0.40428 | -0.10358 | 0.40541 | 0.10431 | 0.0011336 | 0.00072379 | 0.60691 | 0.60691 | 0.60691 | 0.99252 | -0.14133 | 0.99556 | -0.083645 | 41.6837
7 | 0.049428 | 0.012477 | -0.049257 | -0.012369 | 0.00017093 | 0.00010838 | 0.074986 | 0.074986 | 0.074986 | 0.98127 | -0.35846 | 0.97756 | -0.43093 | 20.6005
8 | 0.066965 | 0.016816 | -0.066878 | -0.016761 | 8.6506e-05 | 5.5082e-05 | 0.10156 | 0.10156 | 0.10156 | 0.98127 | -0.35846 | 0.97988 | -0.38558 | 27.9008
9 | 0.013119 | 0.0032884 | -0.013118 | -0.0032876 | 1.478e-06 | 8.1563e-07 | 0.01972 | 0.01972 | 0.01972 | 0.98992 | -0.19093 | 0.9898 | -0.1933 | 5.4177
10 | 0.27286 | 0.069791 | -0.27099 | -0.068599 | 0.0018718 | 0.0011919 | 0.41065 | 0.41066 | 0.41066 | 0.98992 | -0.19093 | 0.9825 | -0.33374 | 28.2045
11 | 0.025919 | 0.0064963 | -0.025918 | -0.0064958 | 8.6031e-07 | 5.3212e-07 | 0.039454 | 0.039454 | 0.039454 | 0.97756 | -0.43093 | 0.97753 | -0.43163 | 10.8389
12 | 0.023338 | 0.0058722 | -0.023299 | -0.0058486 | 3.8479e-05 | 2.3609e-05 | 0.035532 | 0.035533 | 0.035533 | 0.97756 | -0.43093 | 0.9758 | -0.46549 | 9.7617
13 | 0.023299 | 0.0058486 | -0.023283 | -0.0058386 | 1.6376e-05 | 1.0049e-05 | 0.035533 | 0.035533 | 0.035533 | 0.9758 | -0.46549 | 0.97505 | -0.48024 | 9.7618
14 | 0.016611 | 0.0041664 | -0.016601 | -0.0041606 | 9.8339e-06 | 5.785e-06 | 0.025351 | 0.025351 | 0.025351 | 0.97505 | -0.48024 | 0.97442 | -0.49267 | 6.9645
15 | 0.11031 | 0.027877 | -0.11008 | -0.027732 | 0.00022801 | 0.00014565 | 0.16715 | 0.16715 | 0.16715 | 0.9825 | -0.33374 | 0.98029 | -0.37695 | 45.9201
16 | 0.16068 | 0.040722 | -0.16054 | -0.040638 | 0.00013301 | 8.3913e-05 | 0.24351 | 0.24351 | 0.24351 | 0.9825 | -0.33374 | 0.98162 | -0.35098 | 16.7245
17 | 0.095543 | 0.024088 | -0.095418 | -0.024008 | 0.00012507 | 7.9846e-05 | 0.14508 | 0.14508 | 0.14508 | 0.98029 | -0.37695 | 0.97889 | -0.40434 | 39.857
18 | 0.15075 | 0.038183 | -0.15071 | -0.038159 | 3.8914e-05 | 2.4503e-05 | 0.22866 | 0.22866 | 0.22866 | 0.98162 | -0.35098 | 0.98134 | -0.35636 | 15.7049
19 | 0.028823 | 0.0072288 | -0.02881 | -0.0072204 | 1.3497e-05 | 8.4068e-06 | 0.044007 | 0.044007 | 0.044007 | 0.97463 | -0.48738 | 0.97413 | -0.4972 | 12.09
20 | -0.028823 | -0.0072288 | 0.028827 | 0.0072314 | 4.2521e-06 | 2.6484e-06 | 0.044007 | 0.044007 | 0.044007 | 0.97463 | -0.48738 | 0.97479 | -0.48428 | 12.0899
21 | -0.10893 | -0.027411 | 0.10908 | 0.027504 | 0.00014645 | 9.3552e-05 | 0.16632 | 0.16632 | 0.16632 | 0.97479 | -0.48428 | 0.97622 | -0.45619 | 45.6922
22 | 0.080102 | 0.020179 | -0.079934 | -0.020073 | 0.00016706 | 0.00010655 | 0.12231 | 0.12231 | 0.12231 | 0.97479 | -0.48428 | 0.97257 | -0.52799 | 33.6023
23 | -0.015869 | -0.0039772 | 0.015872 | 0.0039791 | 3.0982e-06 | 1.8105e-06 | 0.024336 | 0.024336 | 0.024336 | 0.97034 | -0.572 | 0.97055 | -0.5679 | 6.6856
24 | -0.028513 | -0.007147 | 0.028521 | 0.0071519 | 7.8667e-06 | 4.899e-06 | 0.043715 | 0.043715 | 0.043715 | 0.97055 | -0.5679 | 0.97084 | -0.56212 | 12.0096
25 | -0.041155 | -0.010318 | 0.041172 | 0.010329 | 1.6381e-05 | 1.0348e-05 | 0.06308 | 0.06308 | 0.06308 | 0.97084 | -0.56212 | 0.97127 | -0.55377 | 17.3298
26 | -0.053837 | -0.013503 | 0.053865 | 0.013521 | 2.7837e-05 | 1.768e-05 | 0.082484 | 0.082484 | 0.082484 | 0.97127 | -0.55377 | 0.97181 | -0.54293 | 22.6605
27 | -0.066432 | -0.01667 | 0.06648 | 0.016701 | 4.7357e-05 | 3.0157e-05 | 0.10173 | 0.10173 | 0.10173 | 0.97181 | -0.54293 | 0.97257 | -0.52799 | 27.947
28 | -0.10908 | -0.027504 | 0.1094 | 0.02771 | 0.00032176 | 0.00020554 | 0.16632 | 0.16632 | 0.16632 | 0.97622 | -0.45619 | 0.97937 | -0.39475 | 45.6922
29 | 0.039821 | 0.0099914 | -0.039796 | -0.0099762 | 2.4079e-05 | 1.519e-05 | 0.060536 | 0.060536 | 0.060536 | 0.97889 | -0.40434 | 0.97824 | -0.41703 | 16.6307
30 | 0.055597 | 0.014017 | -0.055562 | -0.013995 | 3.4759e-05 | 2.2083e-05 | 0.084544 | 0.084544 | 0.084544 | 0.97889 | -0.40434 | 0.97822 | -0.41742 | 23.2263
31 | 0.14033 | 0.035558 | -0.14027 | -0.035515 | 6.7488e-05 | 4.2992e-05 | 0.21293 | 0.21293 | 0.21293 | 0.98134 | -0.35636 | 0.98082 | -0.36637 | 29.2485
32 | -0.13029 | -0.032946 | 0.13047 | 0.03306 | 0.00017762 | 0.00011352 | 0.19806 | 0.19806 | 0.19806 | 0.97937 | -0.39475 | 0.98082 | -0.36637 | 54.4132
33 | -0.00046818 | -0.00011734 | 0.00046818 | 0.0001172 | 2.1116e-09 | -1.3524e-07 | 0.00071579 | 0.00071574 | 0.00071579 | 0.97326 | -0.51489 | 0.97327 | -0.51479 | 0.19665
34 | -0.00046818 | -0.0001172 | 0.00046819 | 0.00011642 | 1.2126e-08 | -7.7702e-07 | 0.00071574 | 0.00071546 | 0.00071574 | 0.97327 | -0.51479 | 0.97329 | -0.51425 | 0.19663
35 | -0.016395 | -0.0041095 | 0.016398 | 0.0041111 | 2.8358e-06 | 1.6653e-06 | 0.025066 | 0.025066 | 0.025066 | 0.97329 | -0.51425 | 0.97348 | -0.51062 | 6.8863
36 | 0.015927 | 0.0039931 | -0.015923 | -0.0039909 | 3.7638e-06 | 2.1985e-06 | 0.024351 | 0.024351 | 0.024351 | 0.97329 | -0.51425 | 0.97304 | -0.51921 | 6.6897
37 | -0.018493 | -0.0046362 | 0.018498 | 0.004639 | 4.7378e-06 | 2.8356e-06 | 0.028268 | 0.028268 | 0.028268 | 0.97348 | -0.51062 | 0.97375 | -0.50524 | 7.766
38 | 0.010972 | 0.00275 | -0.010972 | -0.0027498 | 4.0033e-07 | 2.0911e-07 | 0.01678 | 0.01678 | 0.01678 | 0.97304 | -0.51921 | 0.973 | -0.51997 | 4.6098
39 | -0.024766 | -0.0062099 | 0.024774 | 0.0062153 | 8.7884e-06 | 5.421e-06 | 0.037846 | 0.037846 | 0.037846 | 0.97375 | -0.50524 | 0.97413 | -0.4978 | 10.3973
40 | 0.0055663 | 0.001395 | -0.0055661 | -0.001395 | 2.0588e-07 | 3.7665e-08 | 0.0085126 | 0.0085126 | 0.0085126 | 0.973 | -0.51997 | 0.97296 | -0.52075 | 2.3386
41 | -0.037418 | -0.0094003 | 0.037424 | 0.0094038 | 5.6659e-06 | 3.5683e-06 | 0.057082 | 0.057082 | 0.057082 | 0.97555 | -0.46968 | 0.97572 | -0.46651 | 15.6819
42 | 0.037418 | 0.0094003 | -0.037397 | -0.0093872 | 2.0765e-05 | 1.3078e-05 | 0.057082 | 0.057082 | 0.057082 | 0.97555 | -0.46968 | 0.97496 | -0.48131 | 15.6819
43 | -0.037424 | -0.0094038 | 0.037435 | 0.0094106 | 1.0696e-05 | 6.736e-06 | 0.057082 | 0.057082 | 0.057082 | 0.97572 | -0.46651 | 0.97602 | -0.46052 | 15.6819
44 | 0.035814 | 0.0089904 | -0.035814 | -0.0089904 | 7.8711e-08 | 4.9501e-08 | 0.054666 | 0.054666 | 0.054666 | 0.97496 | -0.48131 | 0.97496 | -0.48136 | 15.0181
45 | -0.044208 | -0.011108 | 0.04424 | 0.011128 | 3.2161e-05 | 2.0347e-05 | 0.067408 | 0.067408 | 0.067408 | 0.97602 | -0.46052 | 0.9768 | -0.44529 | 18.5187
46 | 0.034232 | 0.0085938 | -0.034225 | -0.0085897 | 6.57e-06 | 4.1248e-06 | 0.052251 | 0.052251 | 0.052251 | 0.97496 | -0.48136 | 0.97476 | -0.48538 | 14.3547
47 | -0.055489 | -0.013948 | 0.055562 | 0.013995 | 7.396e-05 | 4.6988e-05 | 0.084544 | 0.084544 | 0.084544 | 0.9768 | -0.44529 | 0.97822 | -0.41742 | 23.2264
48 | -0.024774 | -0.0062153 | 0.024784 | 0.0062212 | 9.5024e-06 | 5.8612e-06 | 0.037846 | 0.037846 | 0.037846 | 0.97413 | -0.4978 | 0.97454 | -0.48976 | 10.3973
49 | -0.0067365 | -0.0016883 | 0.006737 | 0.0016885 | 5.1257e-07 | 1.6488e-07 | 0.010251 | 0.010251 | 0.010251 | 0.97782 | -0.42524 | 0.9779 | -0.42364 | 2.8163
50 | -0.01069 | -0.0026791 | 0.01069 | 0.0026795 | 7.191e-07 | 3.6929e-07 | 0.016266 | 0.016266 | 0.016266 | 0.9779 | -0.42364 | 0.97798 | -0.42223 | 4.4686
51 | -0.014752 | -0.0036973 | 0.014753 | 0.003698 | 1.2842e-06 | 7.3657e-07 | 0.022445 | 0.022445 | 0.022445 | 0.97798 | -0.42223 | 0.97807 | -0.4204 | 6.1662
52 | -0.027224 | -0.0068236 | 0.027228 | 0.0068263 | 4.3735e-06 | 2.7137e-06 | 0.041418 | 0.041418 | 0.041418 | 0.97807 | -0.4204 | 0.97824 | -0.41703 | 11.3786
53 | -0.029334 | -0.0073615 | 0.02934 | 0.0073653 | 6.1199e-06 | 3.8154e-06 | 0.044793 | 0.044793 | 0.044793 | 0.97454 | -0.48976 | 0.97476 | -0.48538 | 12.3058

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48356 | 0.12419

## res_load
| p_mw | q_mvar
0 | 0.059289 | 0.014859
1 | 0.015383 | 0.0038554
2 | 0.066878 | 0.016761
3 | 0.0066721 | 0.0016722
4 | 0.025918 | 0.0064958
5 | 0.014539 | 0.0036439
6 | 0.0097929 | 0.0024543
7 | 0.013118 | 0.0032876
8 | 0.02881 | 0.0072204
9 | 0.016601 | 0.0041606
10 | 0.015869 | 0.0039772
11 | 0.01264 | 0.0031679
12 | 0.012635 | 0.0031666
13 | 0.012665 | 0.0031742
14 | 0.012568 | 0.0031497
15 | 0.013455 | 0.0033721
16 | 0.010377 | 0.0026007
17 | 0.020893 | 0.0052364
18 | 0.00046818 | 0.00011734
19 | 0.0020949 | 0.00052503
20 | 0.0049509 | 0.0012408
21 | 0.0062679 | 0.0015709
22 | 0.0054057 | 0.0013548
23 | 0.0015831 | 0.00039677
24 | 0.006773 | 0.0016975
25 | 0.0015824 | 0.00039658
26 | 0.011249 | 0.0028192
27 | 0.0097983 | 0.0024557
28 | 0.0055661 | 0.001395
29 | 0.0067365 | 0.0016883
30 | 0.0039526 | 0.0009906
31 | 0.0040612 | 0.0010178
32 | 0.012471 | 0.0031256
33 | 0.012568 | 0.0031499
34 | 0.0045498 | 0.0011403
35 | 0.0048854 | 0.0012244

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1