## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-34_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-34_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_230-34_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-34_0_6_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_230-34_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_230-34_0_6_node_65 | 0.4 | n |  | TRUE
6 | bus_LV_230-34_0_6_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_230-34_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_230-34_0_6_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_230-34_0_6_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_230-34_0_6_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_230-34_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_230-34_0_6_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_230-34_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_230-34_0_6_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_230-34_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_230-34_0_6_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_230-34_0_6_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_230-34_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_230-34_0_6_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_230-34_0_6_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_230-34_0_6_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_230-34_0_6_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_230-34_0_6_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_230-34_0_6_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_230-34_0_6_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_230-34_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_230-34_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_230-34_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_230-34_0_6_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_230-34_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_230-34_0_6_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_230-34_0_6_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_230-34_0_6_node_10 | 0.4 | n |  | TRUE
34 | bus_LV_230-34_0_6_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_230-34_0_6_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_230-34_0_6_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_230-34_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_230-34_0_6_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_230-34_0_6_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_230-34_0_6_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_230-34_0_6_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_230-34_0_6_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_230-34_0_6_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_230-34_0_6_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_230-34_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_230-34_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_230-34_0_6_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_230-34_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_230-34_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_230-34_0_6_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_230-34_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_230-34_0_6_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_230-34_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_230-34_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_230-34_0_6_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_230-34_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_230-34_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_230-34_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_230-34_0_6_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_512_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-34_0_6_load_0 | 0 | 0.077932 | 0.019532 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-34_0_6_load_21 | 3 | 0.024494 | 0.0061387 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-34_0_6_load_65 | 5 | 0.0064784 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-34_0_6_load_63 | 10 | 0.0047991 | 0.0012028 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-34_0_6_load_20 | 14 | 0.013211 | 0.003311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-34_0_6_load_36 | 16 | 0.011979 | 0.0030023 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-34_0_6_load_62 | 17 | 0.011468 | 0.0028743 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-34_0_6_load_11 | 18 | 0.0081406 | 0.0020402 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-34_0_6_load_44 | 19 | 0.00079283 | 0.0001987 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-34_0_6_load_40 | 20 | 0.0002612 | 6.5464e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-34_0_6_load_43 | 21 | 0.00027715 | 6.946e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-34_0_6_load_41 | 22 | 0.00032778 | 8.215e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-34_0_6_load_57 | 24 | 0.0029253 | 0.00073315 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-34_0_6_load_34 | 26 | 0.0059892 | 0.001501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-34_0_6_load_59 | 29 | 0.0068745 | 0.0017229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-34_0_6_load_29 | 31 | 0.019301 | 0.0048372 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-34_0_6_load_35 | 32 | 0.016148 | 0.0040469 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-34_0_6_load_10 | 33 | 0.075635 | 0.018956 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-34_0_6_load_13 | 34 | 0.018947 | 0.0047487 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-34_0_6_load_32 | 35 | 0.021399 | 0.0053631 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-34_0_6_load_33 | 37 | 0.010707 | 0.0026833 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-34_0_6_load_64 | 38 | 0.025347 | 0.0063525 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-34_0_6_load_58 | 39 | 0.0077916 | 0.0019528 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-34_0_6_load_56 | 40 | 0.0031977 | 0.00080143 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-34_0_6_load_53 | 41 | 0.042239 | 0.010586 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-34_0_6_load_55 | 43 | 0.0076395 | 0.0019147 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-34_0_6_load_50 | 44 | 0.0044419 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-34_0_6_load_45 | 45 | 0.001561 | 0.00039122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-34_0_6_load_23 | 48 | 0.023501 | 0.0058898 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-34_0_6_load_30 | 49 | 0.0040311 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-34_0_6_load_24 | 50 | 0.012706 | 0.0031845 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-34_0_6_load_39 | 53 | 0.012595 | 0.0031566 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-34_0_6_load_31 | 54 | 0.016438 | 0.0041197 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-34_0_6_load_37 | 55 | 0.011669 | 0.0029245 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-34_0_6_load_38 | 56 | 0.012295 | 0.0030815 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-34_0_6_load_61 | 59 | 0.00019779 | 4.957e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-34_0_6_line_0 |  | 0 | 1 | 0.035494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-34_0_6_line_1 |  | 1 | 2 | 0.023111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-34_0_6_line_2 |  | 2 | 3 | 0.030689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-34_0_6_line_3 |  | 3 | 14 | 0.0087917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-34_0_6_line_4 |  | 4 | 5 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-34_0_6_line_5 |  | 4 | 6 | 0.008231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-34_0_6_line_6 |  | 6 | 19 | 0.0061373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-34_0_6_line_7 |  | 6 | 20 | 0.017833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-34_0_6_line_8 |  | 7 | 8 | 0.023137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-34_0_6_line_9 |  | 7 | 9 | 0.00383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_230-34_0_6_line_10 |  | 7 | 10 | 0.0056698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_230-34_0_6_line_11 |  | 8 | 26 | 0.0092386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-34_0_6_line_12 |  | 9 | 29 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-34_0_6_line_13 |  | 9 | 15 | 0.005993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-34_0_6_line_14 |  | 10 | 17 | 0.0088462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_230-34_0_6_line_15 |  | 11 | 12 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-34_0_6_line_16 |  | 11 | 13 | 0.024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_230-34_0_6_line_17 |  | 11 | 14 | 0.019806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-34_0_6_line_18 |  | 12 | 31 | 0.012189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-34_0_6_line_19 |  | 13 | 17 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_230-34_0_6_line_20 |  | 13 | 18 | 0.0062936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-34_0_6_line_21 |  | 15 | 16 | 0.030578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-34_0_6_line_22 |  | 16 | 32 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-34_0_6_line_23 |  | 18 | 33 | 0.0095472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-34_0_6_line_24 |  | 19 | 51 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-34_0_6_line_25 |  | 20 | 22 | 0.017079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-34_0_6_line_26 |  | 21 | 22 | 0.011358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-34_0_6_line_27 |  | 23 | 24 | 0.051138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-34_0_6_line_28 |  | 23 | 25 | 0.023962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-34_0_6_line_29 |  | 24 | 40 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-34_0_6_line_30 |  | 25 | 44 | 0.010758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-34_0_6_line_31 |  | 25 | 45 | 0.024805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-34_0_6_line_32 |  | 26 | 37 | 0.018719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-34_0_6_line_33 |  | 27 | 28 | 0.096131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-34_0_6_line_34 |  | 27 | 29 | 0.0093439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-34_0_6_line_35 |  | 27 | 30 | 0.12648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-34_0_6_line_36 |  | 28 | 39 | 0.035322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-34_0_6_line_37 |  | 28 | 40 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-34_0_6_line_38 |  | 30 | 38 | 0.029154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-34_0_6_line_39 |  | 31 | 49 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-34_0_6_line_40 |  | 32 | 55 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-34_0_6_line_41 |  | 34 | 35 | 0.025814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-34_0_6_line_42 |  | 35 | 36 | 0.018864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-34_0_6_line_43 |  | 36 | 37 | 0.015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-34_0_6_line_44 |  | 38 | 43 | 0.035958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-34_0_6_line_45 |  | 41 | 42 | 0.047521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-34_0_6_line_46 |  | 42 | 43 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-34_0_6_line_47 |  | 45 | 57 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-34_0_6_line_48 |  | 46 | 47 | 0.019303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-34_0_6_line_49 |  | 46 | 48 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-34_0_6_line_50 |  | 47 | 51 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-34_0_6_line_51 |  | 47 | 52 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-34_0_6_line_52 |  | 48 | 50 | 0.019926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-34_0_6_line_53 |  | 49 | 54 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-34_0_6_line_54 |  | 52 | 53 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-34_0_6_line_55 |  | 53 | 54 | 0.0219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-34_0_6_line_56 |  | 55 | 56 | 0.014501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-34_0_6_line_57 |  | 57 | 58 | 0.016594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-34_0_6_line_58 |  | 58 | 59 | 0.0082514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-34_0_6_trafo_62 | 0.63 MVA 20/0.4 kV | 60 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2697128.3229 | 1261558.8129 | 2697115.8218 | 1261561.9435 | 2697094.4371 | 1261569.2761
1 | 2697128.3229 | 1261558.8129 | 2697128.7116 | 1261555.7946 | 2697135.7702 | 1261554.1313 | 2697131.8094 | 1261546.1376 | 2697134.9963 | 1261543.8992
2 | 2697134.9963 | 1261543.8992 | 2697126.6345 | 1261537.2788 | 2697121.6621 | 1261533.5163 | 2697116.2215 | 1261529.3569 | 2697113.7179 | 1261526.7026 | 2697112.0084 | 1261523.89
3 | 2697107.6842 | 1261516.2457 | 2697108.9116 | 1261518.795 | 2697112.0084 | 1261523.89
4 | 2697215.3446 | 1261453.2897 | 2697203.1834 | 1261459.1057
5 | 2697211.8878 | 1261445.8157 | 2697215.3446 | 1261453.2897
6 | 2697211.8878 | 1261445.8157 | 2697206.3252 | 1261448.4088
7 | 2697211.8878 | 1261445.8157 | 2697228.0615 | 1261438.3046
8 | 2697082.2311 | 1261446.8987 | 2697093.713 | 1261448.0214 | 2697091.4837 | 1261459.4051
9 | 2697091.4837 | 1261459.4051 | 2697095.2715 | 1261460.0456
10 | 2697091.4837 | 1261459.4051 | 2697087.4698 | 1261458.7721 | 2697087.3328 | 1261460.3725
11 | 2697082.2311 | 1261446.8987 | 2697072.9944 | 1261446.7155
12 | 2697095.2715 | 1261460.0456 | 2697096.9849 | 1261453.0013 | 2697098.4968 | 1261448.5892 | 2697100.8438 | 1261443.3457 | 2697101.2133 | 1261442.7447
13 | 2697095.2715 | 1261460.0456 | 2697094.8116 | 1261466.0207
14 | 2697087.0068 | 1261469.1915 | 2697086.8263 | 1261466.2899 | 2697087.3328 | 1261460.3725
15 | 2697118.3618 | 1261488.9926 | 2697106.058 | 1261495.2401 | 2697100.6958 | 1261497.7764
16 | 2697089.1326 | 1261483.2526 | 2697092.5863 | 1261482.2084 | 2697095.113 | 1261491.2573 | 2697097.4968 | 1261498.9137 | 2697100.6958 | 1261497.7764
17 | 2697100.6958 | 1261497.7764 | 2697103.9197 | 1261508.4269 | 2697107.6842 | 1261516.2457
18 | 2697118.3618 | 1261488.9926 | 2697118.8332 | 1261476.8126
19 | 2697089.1326 | 1261483.2526 | 2697087.2556 | 1261473.1914 | 2697087.0068 | 1261469.1915
20 | 2697089.1326 | 1261483.2526 | 2697083.2559 | 1261485.505
21 | 2697094.8116 | 1261466.0207 | 2697122.5278 | 1261453.105
22 | 2697137.4495 | 1261444.92 | 2697128.8572 | 1261450.1555 | 2697122.5278 | 1261453.105
23 | 2697074.3411 | 1261488.9219 | 2697083.2559 | 1261485.505
24 | 2697187.5323 | 1261457.1692 | 2697206.3252 | 1261448.4088
25 | 2697228.0615 | 1261438.3046 | 2697239.0146 | 1261433.2179 | 2697243.2793 | 1261430.6027
26 | 2697243.2793 | 1261430.6027 | 2697251.1118 | 1261425.7996 | 2697252.8423 | 1261424.4895
27 | 2697186.6712 | 1261360.5655 | 2697179.5659 | 1261353.5986 | 2697175.689 | 1261351.4999 | 2697171.6622 | 1261350.2661 | 2697168.2385 | 1261349.9429 | 2697163.9356 | 1261350.8397 | 2697155.9455 | 1261355.0563 | 2697147.0073 | 1261360.1025 | 2697141.6443 | 1261360.9758
28 | 2697186.6712 | 1261360.5655 | 2697183.0895 | 1261367.1008 | 2697185.4875 | 1261371.5994 | 2697187.2245 | 1261375.0419 | 2697191.7495 | 1261372.5586 | 2697192.8829 | 1261374.6678
29 | 2697123.3099 | 1261363.9611 | 2697141.6443 | 1261360.9758
30 | 2697192.8829 | 1261374.6678 | 2697183.5667 | 1261380.0468
31 | 2697192.8829 | 1261374.6678 | 2697203.4742 | 1261368.548 | 2697205.1366 | 1261371.4888 | 2697209.671 | 1261379.4877
32 | 2697054.3768 | 1261448.347 | 2697062.2837 | 1261447.2939 | 2697069.1901 | 1261446.6401 | 2697072.9944 | 1261446.7155
33 | 2697114.4936 | 1261351.0392 | 2697107.5906 | 1261353.7725 | 2697106.2469 | 1261357.1199 | 2697105.4503 | 1261362.9449 | 2697105.2128 | 1261369.146 | 2697104.8457 | 1261374.978 | 2697104.7013 | 1261377.3443 | 2697103.6389 | 1261391.0936 | 2697103.0789 | 1261404.5397 | 2697103.0823 | 1261413.9697 | 2697104.9609 | 1261421.1842 | 2697104.515 | 1261424.4684 | 2697096.0857 | 1261433.4151 | 2697100.3827 | 1261436.0878
34 | 2697100.3827 | 1261436.0878 | 2697103.9101 | 1261438.3586 | 2697101.2133 | 1261442.7447
35 | 2697074.9381 | 1261344.4291 | 2697075.3183 | 1261349.7285 | 2697077.1204 | 1261353.3499 | 2697078.5654 | 1261364.0268 | 2697080.5676 | 1261375.1909 | 2697083.8115 | 1261386.9203 | 2697085.6135 | 1261393.7555 | 2697086.5206 | 1261403.2225 | 2697085.7537 | 1261417.7995 | 2697082.6639 | 1261426.0555 | 2697075.9339 | 1261440.7459 | 2697081.2084 | 1261439.4203 | 2697084.0336 | 1261438.0989 | 2697088.5252 | 1261437.183 | 2697092.3237 | 1261434.8768 | 2697096.0857 | 1261433.4151 | 2697100.3827 | 1261436.0878
36 | 2697114.4936 | 1261351.0392 | 2697113.8286 | 1261335.549 | 2697116.9296 | 1261324.3241 | 2697122.8111 | 1261318.6502
37 | 2697114.4936 | 1261351.0392 | 2697117.1885 | 1261356.7325 | 2697120.493 | 1261361.1014 | 2697123.3099 | 1261363.9611 | 2697123.3099 | 1261363.9611
38 | 2697074.9381 | 1261344.4291 | 2697069.3303 | 1261344.0145 | 2697054.9517 | 1261344.4234 | 2697045.8278 | 1261345.0675
39 | 2697126.8023 | 1261468.117 | 2697118.8332 | 1261476.8126
40 | 2697137.4495 | 1261444.92 | 2697151.4787 | 1261436.3716
41 | 2697040.8144 | 1261469.1575 | 2697041.1029 | 1261472.7783 | 2697041.7755 | 1261479.0945 | 2697040.4613 | 1261479.2731 | 2697041.9819 | 1261490.8519 | 2697039.459 | 1261492.1226
42 | 2697039.3157 | 1261450.353 | 2697040.8144 | 1261469.1575
43 | 2697039.3157 | 1261450.353 | 2697054.3768 | 1261448.347
44 | 2697045.8278 | 1261345.0675 | 2697044.728 | 1261345.1452 | 2697032.7156 | 1261346.9496 | 2697016.5191 | 1261351.5878 | 2697011.0628 | 1261353.7268
45 | 2696997.9506 | 1261358.867 | 2697000.2964 | 1261365.6332 | 2696973.4147 | 1261375.7118 | 2696962.0302 | 1261373.2343
46 | 2696997.9506 | 1261358.867 | 2697011.0628 | 1261353.7268
47 | 2697213.3496 | 1261394.0421 | 2697215.8654 | 1261390.4583 | 2697213.625 | 1261386.4627 | 2697209.671 | 1261379.4877
48 | 2697156.0417 | 1261472.0975 | 2697173.5263 | 1261463.8112
49 | 2697156.0417 | 1261472.0975 | 2697163.1833 | 1261488.2543
50 | 2697173.5263 | 1261463.8112 | 2697180.0128 | 1261460.7375 | 2697187.5323 | 1261457.1692
51 | 2697173.5263 | 1261463.8112 | 2697180.0128 | 1261460.7375 | 2697171.1016 | 1261443.9775
52 | 2697163.1833 | 1261488.2543 | 2697166.4394 | 1261495.6207 | 2697175.9369 | 1261488.4975
53 | 2697135.5793 | 1261461.9931 | 2697129.6763 | 1261464.981 | 2697126.8023 | 1261468.117
54 | 2697171.1016 | 1261443.9775 | 2697165.2046 | 1261446.9497 | 2697163.2963 | 1261447.9637 | 2697155.1184 | 1261452.1031
55 | 2697135.5793 | 1261461.9931 | 2697155.1184 | 1261452.1031
56 | 2697151.4787 | 1261436.3716 | 2697163.8616 | 1261428.8263
57 | 2697207.2341 | 1261403.427 | 2697210.0366 | 1261403.0283 | 2697212.6857 | 1261402.7938 | 2697214.3037 | 1261402.0198 | 2697215.4118 | 1261400.6258 | 2697215.958 | 1261399.0334 | 2697215.8963 | 1261397.2866 | 2697213.3496 | 1261394.0421
58 | 2697207.2341 | 1261403.427 | 2697206.6286 | 1261403.5838 | 2697202.6292 | 1261405.731 | 2697200.0188 | 1261407.3781

## bus_geodata
| x | y | coords
0 | 2697094.4371 | 1261569.2761
1 | 2697128.3229 | 1261558.8129
2 | 2697134.9963 | 1261543.8992
3 | 2697112.0084 | 1261523.89
4 | 2697215.3446 | 1261453.2897
5 | 2697203.1834 | 1261459.1057
6 | 2697211.8878 | 1261445.8157
7 | 2697091.4837 | 1261459.4051
8 | 2697082.2311 | 1261446.8987
9 | 2697095.2715 | 1261460.0456
10 | 2697087.3328 | 1261460.3725
11 | 2697100.6958 | 1261497.7764
12 | 2697118.3618 | 1261488.9926
13 | 2697089.1326 | 1261483.2526
14 | 2697107.6842 | 1261516.2457
15 | 2697094.8116 | 1261466.0207
16 | 2697122.5278 | 1261453.105
17 | 2697087.0068 | 1261469.1915
18 | 2697083.2559 | 1261485.505
19 | 2697206.3252 | 1261448.4088
20 | 2697228.0615 | 1261438.3046
21 | 2697252.8423 | 1261424.4895
22 | 2697243.2793 | 1261430.6027
23 | 2697186.6712 | 1261360.5655
24 | 2697141.6443 | 1261360.9758
25 | 2697192.883 | 1261374.6678
26 | 2697072.9944 | 1261446.7155
27 | 2697100.3827 | 1261436.0878
28 | 2697114.4936 | 1261351.0392
29 | 2697101.2133 | 1261442.7447
30 | 2697074.9381 | 1261344.4291
31 | 2697118.8332 | 1261476.8126
32 | 2697137.4495 | 1261444.92
33 | 2697074.3411 | 1261488.9219
34 | 2697039.459 | 1261492.1226
35 | 2697040.8144 | 1261469.1575
36 | 2697039.3157 | 1261450.353
37 | 2697054.3768 | 1261448.347
38 | 2697045.8278 | 1261345.0675
39 | 2697122.8111 | 1261318.6502
40 | 2697123.3099 | 1261363.9611
41 | 2696962.0302 | 1261373.2343
42 | 2696997.9506 | 1261358.867
43 | 2697011.0628 | 1261353.7268
44 | 2697183.5667 | 1261380.0468
45 | 2697209.671 | 1261379.4877
46 | 2697156.0417 | 1261472.0975
47 | 2697173.5263 | 1261463.8112
48 | 2697163.1833 | 1261488.2543
49 | 2697126.8023 | 1261468.117
50 | 2697175.9369 | 1261488.4975
51 | 2697187.5323 | 1261457.1692
52 | 2697171.1016 | 1261443.9775
53 | 2697155.1184 | 1261452.1031
54 | 2697135.5793 | 1261461.9931
55 | 2697151.4787 | 1261436.3716
56 | 2697163.8616 | 1261428.8263
57 | 2697213.3496 | 1261394.0421
58 | 2697207.2341 | 1261403.427
59 | 2697200.0188 | 1261407.3781
60 | 2697089.1326 | 1261483.2526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98702 | -0.24984 | 0.077932 | 0.019532
1 | 0.98956 | -0.20048 | 0 | 0
2 | 0.99121 | -0.16847 | 0 | 0
3 | 0.99341 | -0.12614 | 0.024494 | 0.0061387
4 | 0.98865 | -0.21839 | 0 | 0
5 | 0.98857 | -0.21995 | 0.0064784 | 0.0016236
6 | 0.9887 | -0.21744 | 0 | 0
7 | 0.99887 | -0.021579 | 0 | 0
8 | 0.99767 | -0.044663 | 0 | 0
9 | 0.9986 | -0.026743 | 0 | 0
10 | 0.99942 | -0.011117 | 0.0047991 | 0.0012028
11 | 0.99634 | -0.069948 | 0 | 0
12 | 0.99459 | -0.10343 | 0 | 0
13 | 0.99871 | -0.024536 | 0 | 0
14 | 0.99424 | -0.11025 | 0.013211 | 0.003311
15 | 0.99831 | -0.032201 | 0 | 0
16 | 0.99686 | -0.060099 | 0.011979 | 0.0030023
17 | 1 | 0 | -0.5179 | -0.13091
18 | 0.99823 | -0.033754 | 0.0081406 | 0.0020402
19 | 0.98874 | -0.21664 | 0.00079283 | 0.0001987
20 | 0.98868 | -0.21772 | 0.0002612 | 6.5464e-05
21 | 0.98867 | -0.21796 | 0.00027715 | 6.946e-05
22 | 0.98867 | -0.2179 | 0.00032778 | 8.215e-05
23 | 0.99366 | -0.12133 | 0 | 0
24 | 0.99395 | -0.11573 | 0.0029253 | 0.00073315
25 | 0.99353 | -0.12395 | 0 | 0
26 | 0.99719 | -0.053896 | 0.0059892 | 0.001501
27 | 0.99605 | -0.075256 | 0 | 0
28 | 0.99428 | -0.1093 | 0 | 0
29 | 0.99687 | -0.059615 | 0.0068745 | 0.0017229
30 | 0.98726 | -0.2439 | 0 | 0
31 | 0.99351 | -0.12423 | 0.019301 | 0.0048372
32 | 0.99624 | -0.072098 | 0.016148 | 0.0040469
33 | 0.99758 | -0.046392 | 0.075635 | 0.018956
34 | 0.99462 | -0.10343 | 0.018947 | 0.0047487
35 | 0.99506 | -0.094821 | 0.021399 | 0.0053631
36 | 0.99576 | -0.081433 | 0 | 0
37 | 0.99631 | -0.070662 | 0.010707 | 0.0026833
38 | 0.98524 | -0.2832 | 0.025347 | 0.0063525
39 | 0.99403 | -0.11416 | 0.0077916 | 0.0019528
40 | 0.99411 | -0.11274 | 0.0031977 | 0.00080143
41 | 0.98118 | -0.36246 | 0.042239 | 0.010586
42 | 0.98303 | -0.32619 | 0 | 0
43 | 0.98358 | -0.31546 | 0.0076395 | 0.0019147
44 | 0.99348 | -0.1248 | 0.0044419 | 0.0011133
45 | 0.99349 | -0.12472 | 0.001561 | 0.00039122
46 | 0.98837 | -0.22384 | 0 | 0
47 | 0.98901 | -0.21138 | 0 | 0
48 | 0.98778 | -0.23526 | 0.023501 | 0.0058898
49 | 0.99268 | -0.14037 | 0.0040311 | 0.0010103
50 | 0.98755 | -0.23979 | 0.012706 | 0.0031845
51 | 0.98889 | -0.21363 | 0 | 0
52 | 0.99007 | -0.19073 | 0 | 0
53 | 0.9908 | -0.1766 | 0.012595 | 0.0031566
54 | 0.99195 | -0.15449 | 0.016438 | 0.0041197
55 | 0.99588 | -0.079015 | 0.011669 | 0.0029245
56 | 0.99572 | -0.082149 | 0.012295 | 0.0030815
57 | 0.99348 | -0.12478 | 0 | 0
58 | 0.99348 | -0.12484 | 0 | 0
59 | 0.99348 | -0.12487 | 0.00019779 | 4.957e-05
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.077932 | -0.019532 | 0.078116 | 0.019649 | 0.00018373 | 0.00011713 | 0.11749 | 0.11749 | 0.11749 | 0.98702 | -0.24984 | 0.98956 | -0.20048 | 32.2775
1 | -0.078116 | -0.019649 | 0.078236 | 0.019725 | 0.00011963 | 7.6267e-05 | 0.11749 | 0.11749 | 0.11749 | 0.98956 | -0.20048 | 0.99121 | -0.16847 | 32.2774
2 | -0.078236 | -0.019725 | 0.078395 | 0.019826 | 0.00015886 | 0.00010127 | 0.11749 | 0.11749 | 0.11749 | 0.99121 | -0.16847 | 0.99341 | -0.12614 | 32.2774
3 | -0.10289 | -0.025965 | 0.10297 | 0.026015 | 7.837e-05 | 5.0043e-05 | 0.15418 | 0.15418 | 0.15418 | 0.99341 | -0.12614 | 0.99424 | -0.11025 | 42.3567
4 | 0.0064789 | 0.0016238 | -0.0064784 | -0.0016236 | 4.7954e-07 | 1.3448e-07 | 0.0097514 | 0.0097515 | 0.0097515 | 0.98865 | -0.21839 | 0.98857 | -0.21995 | 2.679
5 | -0.0064789 | -0.0016238 | 0.0064792 | 0.0016239 | 2.9351e-07 | 8.2292e-08 | 0.0097514 | 0.0097514 | 0.0097514 | 0.98865 | -0.21839 | 0.9887 | -0.21744 | 2.679
6 | -0.0073453 | -0.0018404 | 0.0073456 | 0.0018405 | 2.8126e-07 | 1.013e-07 | 0.011055 | 0.011055 | 0.011055 | 0.9887 | -0.21744 | 0.98874 | -0.21664 | 3.037
7 | 0.00086615 | 0.00021649 | -0.00086614 | -0.00021671 | 1.1361e-08 | -2.2142e-07 | 0.0013034 | 0.0013035 | 0.0013035 | 0.9887 | -0.21744 | 0.98868 | -0.21772 | 0.35809
8 | 0.057226 | 0.014412 | -0.057163 | -0.014372 | 6.3091e-05 | 4.0076e-05 | 0.085274 | 0.085274 | 0.085274 | 0.99887 | -0.021579 | 0.99767 | -0.044663 | 23.427
9 | 0.15567 | 0.039535 | -0.15563 | -0.03951 | 3.868e-05 | 2.4655e-05 | 0.23208 | 0.23208 | 0.23208 | 0.99887 | -0.021579 | 0.9986 | -0.026743 | 31.8794
10 | -0.21289 | -0.053947 | 0.213 | 0.054015 | 0.00010707 | 6.8375e-05 | 0.31736 | 0.31736 | 0.31736 | 0.99887 | -0.021579 | 0.99942 | -0.011117 | 43.5929
11 | 0.057163 | 0.014372 | -0.057138 | -0.014356 | 2.5193e-05 | 1.6003e-05 | 0.085274 | 0.085274 | 0.085274 | 0.99767 | -0.044663 | 0.99719 | -0.053896 | 23.427
12 | 0.10342 | 0.026382 | -0.10326 | -0.026277 | 0.0001639 | 0.00010466 | 0.15427 | 0.15427 | 0.15427 | 0.9986 | -0.026743 | 0.99687 | -0.059615 | 42.3827
13 | 0.052207 | 0.013128 | -0.052193 | -0.01312 | 1.3606e-05 | 8.6296e-06 | 0.077809 | 0.077809 | 0.077809 | 0.9986 | -0.026743 | 0.99831 | -0.032201 | 21.3762
14 | -0.2178 | -0.055218 | 0.21792 | 0.055292 | 0.00011644 | 7.4173e-05 | 0.3245 | 0.3245 | 0.3245 | 0.99942 | -0.011117 | 1 | 0 | 29.7162
15 | 0.097252 | 0.024581 | -0.097096 | -0.024482 | 0.00015589 | 9.9511e-05 | 0.14532 | 0.14532 | 0.14532 | 0.99634 | -0.069948 | 0.99459 | -0.10343 | 39.9226
16 | -0.21365 | -0.054051 | 0.21412 | 0.054349 | 0.00046667 | 0.00029803 | 0.31927 | 0.31927 | 0.31927 | 0.99634 | -0.069948 | 0.99871 | -0.024536 | 43.8556
17 | 0.1164 | 0.02947 | -0.11618 | -0.029326 | 0.00022473 | 0.00014357 | 0.17395 | 0.17395 | 0.17395 | 0.99634 | -0.069948 | 0.99424 | -0.11025 | 47.7886
18 | 0.097096 | 0.024482 | -0.097 | -0.02442 | 9.6525e-05 | 6.1618e-05 | 0.14532 | 0.14532 | 0.14532 | 0.99459 | -0.10343 | 0.99351 | -0.12423 | 39.9226
19 | -0.29798 | -0.075398 | 0.29833 | 0.075622 | 0.00035131 | 0.00022428 | 0.44422 | 0.44422 | 0.44422 | 0.99871 | -0.024536 | 1 | 0 | 40.6797
20 | 0.083858 | 0.021049 | -0.083821 | -0.021025 | 3.6849e-05 | 2.3501e-05 | 0.12495 | 0.12495 | 0.12495 | 0.99871 | -0.024536 | 0.99823 | -0.033754 | 34.3281
21 | 0.052193 | 0.01312 | -0.052124 | -0.013076 | 6.9423e-05 | 4.4031e-05 | 0.077809 | 0.07781 | 0.07781 | 0.99831 | -0.032201 | 0.99686 | -0.060099 | 21.3762
22 | 0.040144 | 0.010073 | -0.040122 | -0.010059 | 2.2955e-05 | 1.4469e-05 | 0.059928 | 0.059928 | 0.059928 | 0.99686 | -0.060099 | 0.99624 | -0.072098 | 16.4637
23 | 0.075681 | 0.018985 | -0.075635 | -0.018956 | 4.557e-05 | 2.904e-05 | 0.11282 | 0.11282 | 0.11282 | 0.99823 | -0.033754 | 0.99758 | -0.046392 | 30.9944
24 | -0.0081385 | -0.0020392 | 0.0081396 | 0.0020396 | 1.1664e-06 | 4.8052e-07 | 0.012248 | 0.012248 | 0.012248 | 0.98874 | -0.21664 | 0.98889 | -0.21363 | 3.3648
25 | 0.00060494 | 0.00015125 | -0.00060493 | -0.00015147 | 5.3081e-09 | -2.1563e-07 | 0.00091034 | 0.00091041 | 0.00091041 | 0.98868 | -0.21772 | 0.98867 | -0.2179 | 0.25011
26 | -0.00027715 | -6.946e-05 | 0.00027715 | 6.9315e-05 | 7.4103e-10 | -1.4518e-07 | 0.00041713 | 0.00041708 | 0.00041713 | 0.98867 | -0.21796 | 0.98867 | -0.2179 | 0.1146
27 | -0.0062017 | -0.0015534 | 0.0062034 | 0.0015538 | 1.6538e-06 | 3.9585e-07 | 0.0092868 | 0.0092866 | 0.0092868 | 0.99366 | -0.12133 | 0.99395 | -0.11573 | 2.5513
28 | 0.0062017 | 0.0015534 | -0.0062009 | -0.0015532 | 7.7499e-07 | 1.8564e-07 | 0.0092868 | 0.0092869 | 0.0092869 | 0.99366 | -0.12133 | 0.99353 | -0.12395 | 2.5513
29 | -0.0091287 | -0.0022869 | 0.00913 | 0.0022875 | 1.3009e-06 | 5.918e-07 | 0.013666 | 0.013666 | 0.013666 | 0.99395 | -0.11573 | 0.99411 | -0.11274 | 3.7544
30 | 0.0044421 | 0.0011132 | -0.0044419 | -0.0011133 | 1.7856e-07 | -2.5027e-08 | 0.006653 | 0.006653 | 0.006653 | 0.99353 | -0.12395 | 0.99348 | -0.1248 | 1.8278
31 | 0.0017588 | 0.00043997 | -0.0017588 | -0.00044025 | 6.4536e-08 | -2.7991e-07 | 0.0026339 | 0.0026341 | 0.0026341 | 0.99353 | -0.12395 | 0.99349 | -0.12472 | 0.72364
32 | 0.051148 | 0.012855 | -0.051107 | -0.012829 | 4.0906e-05 | 2.5936e-05 | 0.076337 | 0.076337 | 0.076337 | 0.99719 | -0.053896 | 0.99631 | -0.070662 | 20.9718
33 | 0.020156 | 0.0050632 | -0.020123 | -0.0050435 | 3.2694e-05 | 1.9675e-05 | 0.030115 | 0.030116 | 0.030116 | 0.99605 | -0.075256 | 0.99428 | -0.1093 | 8.2736
34 | -0.096311 | -0.024508 | 0.096383 | 0.024554 | 7.267e-05 | 4.6387e-05 | 0.14401 | 0.14401 | 0.14401 | 0.99605 | -0.075256 | 0.99687 | -0.059615 | 39.5636
35 | 0.076155 | 0.019445 | -0.075539 | -0.019053 | 0.00061527 | 0.00039214 | 0.1139 | 0.1139 | 0.1139 | 0.99605 | -0.075256 | 0.98726 | -0.2439 | 31.2904
36 | 0.0077934 | 0.0019535 | -0.0077916 | -0.0019528 | 1.8019e-06 | 6.9524e-07 | 0.011663 | 0.011664 | 0.011664 | 0.99428 | -0.1093 | 0.99403 | -0.11416 | 3.2043
37 | 0.01233 | 0.00309 | -0.012328 | -0.0030889 | 2.0162e-06 | 1.0856e-06 | 0.018452 | 0.018452 | 0.018452 | 0.99428 | -0.1093 | 0.99411 | -0.11274 | 5.0693
38 | 0.075539 | 0.019053 | -0.075398 | -0.018962 | 0.00014183 | 9.0397e-05 | 0.1139 | 0.1139 | 0.1139 | 0.98726 | -0.2439 | 0.98524 | -0.2832 | 31.2904
39 | 0.077699 | 0.019583 | -0.077639 | -0.019545 | 5.994e-05 | 3.8209e-05 | 0.11641 | 0.11641 | 0.11641 | 0.99351 | -0.12423 | 0.99268 | -0.14037 | 31.9811
40 | 0.023974 | 0.0060118 | -0.023966 | -0.006007 | 7.9e-06 | 4.8421e-06 | 0.03581 | 0.03581 | 0.03581 | 0.99624 | -0.072098 | 0.99588 | -0.079015 | 9.8378
41 | -0.018947 | -0.0047487 | 0.018955 | 0.0047533 | 7.7782e-06 | 4.6429e-06 | 0.028347 | 0.028346 | 0.028347 | 0.99462 | -0.10343 | 0.99506 | -0.094821 | 7.7875
42 | -0.040354 | -0.010116 | 0.04038 | 0.010133 | 2.5762e-05 | 1.6242e-05 | 0.060347 | 0.060347 | 0.060347 | 0.99506 | -0.094821 | 0.99576 | -0.081433 | 16.5788
43 | -0.04038 | -0.010133 | 0.040401 | 0.010146 | 2.075e-05 | 1.3082e-05 | 0.060347 | 0.060347 | 0.060347 | 0.99576 | -0.081433 | 0.99631 | -0.070662 | 16.5788
44 | 0.050051 | 0.01261 | -0.049974 | -0.012561 | 7.7099e-05 | 4.8886e-05 | 0.075616 | 0.075616 | 0.075616 | 0.98524 | -0.2832 | 0.98358 | -0.31546 | 20.7736
45 | -0.042239 | -0.010586 | 0.042313 | 0.010632 | 7.3126e-05 | 4.62e-05 | 0.064059 | 0.064059 | 0.064059 | 0.98118 | -0.36246 | 0.98303 | -0.32619 | 17.5986
46 | -0.042313 | -0.010632 | 0.042334 | 0.010646 | 2.1672e-05 | 1.3692e-05 | 0.064059 | 0.064058 | 0.064059 | 0.98303 | -0.32619 | 0.98358 | -0.31546 | 17.5985
47 | 0.00019779 | 4.903e-05 | -0.00019779 | -4.9249e-05 | 5.5815e-10 | -2.1948e-07 | 0.00029605 | 0.00029613 | 0.00029613 | 0.99349 | -0.12472 | 0.99348 | -0.12478 | 0.081354
48 | -0.03623 | -0.0090882 | 0.036251 | 0.0091018 | 2.1538e-05 | 1.3537e-05 | 0.054548 | 0.054548 | 0.054548 | 0.98837 | -0.22384 | 0.98901 | -0.21138 | 14.9856
49 | 0.03623 | 0.0090882 | -0.03621 | -0.0090758 | 1.971e-05 | 1.2388e-05 | 0.054548 | 0.054548 | 0.054548 | 0.98837 | -0.22384 | 0.98778 | -0.23526 | 14.9856
50 | 0.0081405 | 0.00204 | -0.0081396 | -0.0020396 | 8.7199e-07 | 3.5918e-07 | 0.012248 | 0.012248 | 0.012248 | 0.98901 | -0.21138 | 0.98889 | -0.21363 | 3.3648
51 | -0.044392 | -0.011142 | 0.044435 | 0.011169 | 4.3768e-05 | 2.7675e-05 | 0.066795 | 0.066795 | 0.066795 | 0.98901 | -0.21138 | 0.99007 | -0.19073 | 18.3504
52 | 0.012709 | 0.003186 | -0.012706 | -0.0031845 | 2.739e-06 | 1.498e-06 | 0.019146 | 0.019146 | 0.019146 | 0.98778 | -0.23526 | 0.98755 | -0.23979 | 5.2598
53 | 0.073608 | 0.018535 | -0.073558 | -0.018503 | 4.9654e-05 | 3.1638e-05 | 0.11037 | 0.11037 | 0.11037 | 0.99268 | -0.14037 | 0.99195 | -0.15449 | 30.3211
54 | -0.044435 | -0.011169 | 0.044465 | 0.011188 | 2.9999e-05 | 1.8969e-05 | 0.066795 | 0.066795 | 0.066795 | 0.99007 | -0.19073 | 0.9908 | -0.1766 | 18.3503
55 | -0.05706 | -0.014345 | 0.057121 | 0.014383 | 6.033e-05 | 3.8329e-05 | 0.08571 | 0.08571 | 0.08571 | 0.9908 | -0.1766 | 0.99195 | -0.15449 | 23.5468
56 | 0.012297 | 0.0030825 | -0.012295 | -0.0030815 | 1.8358e-06 | 9.8629e-07 | 0.018374 | 0.018374 | 0.018374 | 0.99588 | -0.079015 | 0.99572 | -0.082149 | 5.0479
57 | 0.00019779 | 4.9249e-05 | -0.00019779 | -4.9464e-05 | 5.4583e-10 | -2.1452e-07 | 0.00029613 | 0.00029621 | 0.00029621 | 0.99348 | -0.12478 | 0.99348 | -0.12484 | 0.081375
58 | 0.00019779 | 4.9464e-05 | -0.00019779 | -4.957e-05 | 2.7151e-10 | -1.0667e-07 | 0.00029621 | 0.00029624 | 0.00029624 | 0.99348 | -0.12484 | 0.99348 | -0.12487 | 0.081386

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52936 | 0.13379

## res_load
| p_mw | q_mvar
0 | 0.077932 | 0.019532
1 | 0.024494 | 0.0061387
2 | 0.0064784 | 0.0016236
3 | 0.0047991 | 0.0012028
4 | 0.013211 | 0.003311
5 | 0.011979 | 0.0030023
6 | 0.011468 | 0.0028743
7 | 0.0081406 | 0.0020402
8 | 0.00079283 | 0.0001987
9 | 0.0002612 | 6.5464e-05
10 | 0.00027715 | 6.946e-05
11 | 0.00032778 | 8.215e-05
12 | 0.0029253 | 0.00073315
13 | 0.0059892 | 0.001501
14 | 0.0068745 | 0.0017229
15 | 0.019301 | 0.0048372
16 | 0.016148 | 0.0040469
17 | 0.075635 | 0.018956
18 | 0.018947 | 0.0047487
19 | 0.021399 | 0.0053631
20 | 0.010707 | 0.0026833
21 | 0.025347 | 0.0063525
22 | 0.0077916 | 0.0019528
23 | 0.0031977 | 0.00080143
24 | 0.042239 | 0.010586
25 | 0.0076395 | 0.0019147
26 | 0.0044419 | 0.0011133
27 | 0.001561 | 0.00039122
28 | 0.023501 | 0.0058898
29 | 0.0040311 | 0.0010103
30 | 0.012706 | 0.0031845
31 | 0.012595 | 0.0031566
32 | 0.016438 | 0.0041197
33 | 0.011669 | 0.0029245
34 | 0.012295 | 0.0030815
35 | 0.00019779 | 4.957e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1