## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-36_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-36_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-36_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-36_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_230-36_0_4_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_230-36_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_230-36_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_230-36_0_4_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_230-36_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_230-36_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_230-36_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_230-36_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_230-36_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_230-36_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_230-36_0_4_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_230-36_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_230-36_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_230-36_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_230-36_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_230-36_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_230-36_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_230-36_0_4_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_230-36_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_230-36_0_4_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_230-36_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_230-36_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_230-36_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_230-36_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_230-36_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_230-36_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_230-36_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_230-36_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_230-36_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_230-36_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_230-36_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_230-36_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_230-36_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_230-36_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_230-36_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_230-36_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_230-36_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_230-36_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_230-36_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_230-36_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_230-36_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_230-36_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_230-36_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_230-36_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_MV_513_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-36_0_4_load_0 | 0 | 0.02533 | 0.0063482 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-36_0_4_load_20 | 4 | 0.053867 | 0.0135 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-36_0_4_load_23 | 6 | 0.049835 | 0.01249 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-36_0_4_load_40 | 7 | 0.013698 | 0.0034329 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-36_0_4_load_42 | 10 | 0.0059695 | 0.0014961 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-36_0_4_load_34 | 12 | 0.011995 | 0.0030063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-36_0_4_load_33 | 13 | 0.011736 | 0.0029414 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-36_0_4_load_44 | 14 | 0.020766 | 0.0052044 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-36_0_4_load_22 | 19 | 0.013322 | 0.0033389 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-36_0_4_load_35 | 21 | 0.0069483 | 0.0017414 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-36_0_4_load_49 | 23 | 0.020711 | 0.0051906 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-36_0_4_load_26 | 25 | 0.0028615 | 0.00071717 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-36_0_4_load_32 | 27 | 0.002787 | 0.00069849 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-36_0_4_load_41 | 30 | 0.021622 | 0.0054189 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-36_0_4_load_38 | 32 | 0.0069462 | 0.0017409 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-36_0_4_load_47 | 33 | 0.0069462 | 0.0017409 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-36_0_4_load_24 | 34 | 0.011875 | 0.002976 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-36_0_4_load_25 | 36 | 0.0159 | 0.0039848 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-36_0_4_load_39 | 37 | 0.012914 | 0.0032366 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-36_0_4_load_29 | 38 | 0.0029902 | 0.00074941 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-36_0_4_load_45 | 39 | 0.0098815 | 0.0024765 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-36_0_4_load_43 | 40 | 0.0052152 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-36_0_4_load_46 | 41 | 0.011996 | 0.0030064 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-36_0_4_load_27 | 42 | 0.0064855 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-36_0_4_load_30 | 43 | 0.0031582 | 0.00079152 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-36_0_4_load_37 | 44 | 0.011572 | 0.0029003 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-36_0_4_load_48 | 46 | 0.0074458 | 0.0018661 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-36_0_4_load_36 | 47 | 0.011468 | 0.0028742 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-36_0_4_line_0 |  | 0 | 1 | 0.011657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_230-36_0_4_line_1 |  | 0 | 2 | 0.022571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_230-36_0_4_line_2 |  | 1 | 3 | 0.029786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_230-36_0_4_line_3 |  | 2 | 4 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_230-36_0_4_line_4 |  | 3 | 14 | 0.02409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-36_0_4_line_5 |  | 3 | 8 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-36_0_4_line_6 |  | 4 | 28 | 0.0063619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-36_0_4_line_7 |  | 5 | 6 | 0.02497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-36_0_4_line_8 |  | 5 | 7 | 0.015456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-36_0_4_line_9 |  | 6 | 19 | 0.0040335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-36_0_4_line_10 |  | 8 | 9 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-36_0_4_line_11 |  | 8 | 10 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-36_0_4_line_12 |  | 9 | 38 | 0.025033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-36_0_4_line_13 |  | 9 | 11 | 0.003329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-36_0_4_line_14 |  | 10 | 15 | 0.016866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-36_0_4_line_15 |  | 11 | 12 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-36_0_4_line_16 |  | 11 | 13 | 0.031925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-36_0_4_line_17 |  | 12 | 41 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-36_0_4_line_18 |  | 13 | 20 | 0.0087092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-36_0_4_line_19 |  | 14 | 40 | 0.029685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-36_0_4_line_20 |  | 15 | 16 | 0.02955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-36_0_4_line_21 |  | 16 | 25 | 0.0055584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-36_0_4_line_22 |  | 17 | 18 | 0.039276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-36_0_4_line_23 |  | 17 | 19 | 0.014304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-36_0_4_line_24 |  | 18 | 29 | 0.043965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-36_0_4_line_25 |  | 18 | 30 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-36_0_4_line_26 |  | 20 | 21 | 0.0084624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-36_0_4_line_27 |  | 21 | 33 | 0.01277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-36_0_4_line_28 |  | 22 | 23 | 0.04359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-36_0_4_line_29 |  | 22 | 24 | 0.052194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-36_0_4_line_30 |  | 24 | 26 | 0.005627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-36_0_4_line_31 |  | 25 | 42 | 0.0081393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-36_0_4_line_32 |  | 26 | 27 | 0.040393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-36_0_4_line_33 |  | 27 | 43 | 0.02366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-36_0_4_line_34 |  | 28 | 29 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-36_0_4_line_35 |  | 29 | 34 | 0.010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-36_0_4_line_36 |  | 31 | 32 | 0.010226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-36_0_4_line_37 |  | 31 | 33 | 0.02006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-36_0_4_line_38 |  | 32 | 44 | 0.0088442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-36_0_4_line_39 |  | 34 | 36 | 0.0082926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-36_0_4_line_40 |  | 35 | 36 | 0.0069912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-36_0_4_line_41 |  | 35 | 37 | 0.028617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-36_0_4_line_42 |  | 38 | 43 | 0.022875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-36_0_4_line_43 |  | 39 | 40 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-36_0_4_line_44 |  | 42 | 45 | 0.01242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-36_0_4_line_45 |  | 44 | 47 | 0.0020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-36_0_4_line_46 |  | 45 | 46 | 0.004793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-36_0_4_trafo_0 | 0.63 MVA 20/0.4 kV | 48 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2697925.8564 | 1261635.3003 | 2697926.8299 | 1261631.1241 | 2697926.8195 | 1261623.7548
1 | 2697927.8829 | 1261601.2283 | 2697926.7732 | 1261614.9878 | 2697926.811 | 1261617.7129 | 2697926.8195 | 1261623.7548
2 | 2697896.0722 | 1261634.9515 | 2697901.0148 | 1261635.0111 | 2697911.1639 | 1261635.1348 | 2697925.8564 | 1261635.3003
3 | 2697927.8829 | 1261601.2283 | 2697929.1038 | 1261585.992
4 | 2697896.0722 | 1261634.9515 | 2697871.9843 | 1261634.6322
5 | 2697895.7217 | 1261646.5552 | 2697895.9893 | 1261640.4102 | 2697896.0722 | 1261634.9515
6 | 2697929.6119 | 1261579.6504 | 2697929.1038 | 1261585.992
7 | 2698005.571 | 1261595.8659 | 2698005.985 | 1261570.8998
8 | 2698005.571 | 1261595.8659 | 2697990.1182 | 1261595.5327
9 | 2698006.0518 | 1261566.8669 | 2698005.985 | 1261570.8998
10 | 2697895.7217 | 1261646.5552 | 2697894.5135 | 1261665.3616
11 | 2697895.7217 | 1261646.5552 | 2697877.8294 | 1261646.3448
12 | 2697894.5135 | 1261665.3616 | 2697894.1584 | 1261669.0588 | 2697893.3935 | 1261676.1074 | 2697891.7613 | 1261690.2428
13 | 2697894.5135 | 1261665.3616 | 2697897.8285 | 1261664.9606
14 | 2697860.9647 | 1261646.1465 | 2697877.8294 | 1261646.3448
15 | 2697897.8285 | 1261664.9606 | 2697897.4424 | 1261669.1577 | 2697896.4924 | 1261679.3794
16 | 2697897.8285 | 1261664.9606 | 2697902.1024 | 1261664.442 | 2697904.4983 | 1261652.1939 | 2697919.6362 | 1261652.3882
17 | 2697896.4924 | 1261679.3794 | 2697894.771 | 1261697.8999
18 | 2697928.3448 | 1261652.5 | 2697919.6362 | 1261652.3882
19 | 2697842.3017 | 1261634.2386 | 2697871.9843 | 1261634.6322
20 | 2697837.7124 | 1261652.2891 | 2697860.8576 | 1261652.6167 | 2697860.9647 | 1261646.1465
21 | 2697837.7124 | 1261652.2891 | 2697837.6444 | 1261657.8471
22 | 2697967.1835 | 1261556.22 | 2698003.1952 | 1261552.8025 | 2698006.2889 | 1261552.5647
23 | 2698006.2889 | 1261552.5647 | 2698006.0518 | 1261566.8669
24 | 2697941.323 | 1261575.5632 | 2697943.6223 | 1261557.3197 | 2697947.1477 | 1261553.3192 | 2697967.1835 | 1261556.22
25 | 2697967.1835 | 1261556.22 | 2697967.1088 | 1261557.5421 | 2697966.8461 | 1261567.102
26 | 2697928.3448 | 1261652.5 | 2697936.8065 | 1261652.6083
27 | 2697936.8065 | 1261652.6083 | 2697949.5752 | 1261652.7717
28 | 2697941.4051 | 1261737.0741 | 2697939.6436 | 1261780.6249
29 | 2697939.6436 | 1261780.6249 | 2697887.4199 | 1261776.9909
30 | 2697881.7895 | 1261776.5974 | 2697887.4199 | 1261776.9909
31 | 2697837.5449 | 1261665.9858 | 2697837.6444 | 1261657.8471
32 | 2697881.7895 | 1261776.5974 | 2697886.4232 | 1261736.4706
33 | 2697889.1373 | 1261712.9664 | 2697886.4232 | 1261736.4706
34 | 2697941.323 | 1261575.5632 | 2697929.6119 | 1261579.6504
35 | 2697941.323 | 1261575.5632 | 2697945.151 | 1261585.5903
36 | 2697969.6335 | 1261653.0284 | 2697970.6545 | 1261655.0803 | 2697970.5865 | 1261663.0138
37 | 2697969.6335 | 1261653.0284 | 2697949.5752 | 1261652.7717
38 | 2697970.5865 | 1261663.0138 | 2697970.5107 | 1261671.8577
39 | 2697945.2589 | 1261593.8821 | 2697945.151 | 1261585.5903 | 2697945.151 | 1261585.5903
40 | 2697945.3499 | 1261600.8727 | 2697945.2589 | 1261593.8821
41 | 2697945.3499 | 1261600.8727 | 2697945.5119 | 1261612.9296 | 2697952.7102 | 1261616.941 | 2697960.978 | 1261617.8608
42 | 2697891.7613 | 1261690.2428 | 2697889.1373 | 1261712.9664
43 | 2697842.3017 | 1261634.2386 | 2697820.1009 | 1261633.9443
44 | 2697837.3931 | 1261678.4051 | 2697837.5449 | 1261665.9858
45 | 2697970.4931 | 1261673.9153 | 2697970.4931 | 1261673.9153 | 2697970.5107 | 1261671.8577
46 | 2697832.5872 | 1261678.2811 | 2697837.3931 | 1261678.4051

## bus_geodata
| x | y | coords
0 | 2697926.8195 | 1261623.7548
1 | 2697925.8564 | 1261635.3003
2 | 2697927.8829 | 1261601.2283
3 | 2697896.0722 | 1261634.9515
4 | 2697929.1038 | 1261585.992
5 | 2698005.571 | 1261595.8659
6 | 2698005.985 | 1261570.8998
7 | 2697990.1182 | 1261595.5327
8 | 2697895.7217 | 1261646.5552
9 | 2697894.5135 | 1261665.3616
10 | 2697877.8294 | 1261646.3448
11 | 2697897.8285 | 1261664.9606
12 | 2697896.4924 | 1261679.3794
13 | 2697919.6362 | 1261652.3882
14 | 2697871.9843 | 1261634.6322
15 | 2697860.9647 | 1261646.1465
16 | 2697837.7124 | 1261652.2891
17 | 2698006.2889 | 1261552.5647
18 | 2697967.1835 | 1261556.22
19 | 2698006.0518 | 1261566.8669
20 | 2697928.3448 | 1261652.5
21 | 2697936.8065 | 1261652.6083
22 | 2697939.6436 | 1261780.6249
23 | 2697941.4051 | 1261737.0741
24 | 2697887.4199 | 1261776.9909
25 | 2697837.6444 | 1261657.8471
26 | 2697881.7895 | 1261776.5974
27 | 2697886.4231 | 1261736.4706
28 | 2697929.6119 | 1261579.6504
29 | 2697941.323 | 1261575.5632
30 | 2697966.8461 | 1261567.102
31 | 2697969.6335 | 1261653.0284
32 | 2697970.5865 | 1261663.0138
33 | 2697949.5752 | 1261652.7717
34 | 2697945.151 | 1261585.5903
35 | 2697945.3499 | 1261600.8727
36 | 2697945.2589 | 1261593.8821
37 | 2697960.978 | 1261617.8608
38 | 2697891.7613 | 1261690.2428
39 | 2697820.1009 | 1261633.9443
40 | 2697842.3017 | 1261634.2386
41 | 2697894.771 | 1261697.8999
42 | 2697837.5449 | 1261665.9858
43 | 2697889.1373 | 1261712.9664
44 | 2697970.5107 | 1261671.8577
45 | 2697837.3931 | 1261678.4051
46 | 2697832.5872 | 1261678.2811
47 | 2697970.4931 | 1261673.9153
48 | 2697925.8564 | 1261635.3003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.36533 | -0.092216
1 | 0.99911 | -0.017072 | 0 | 0
2 | 0.99801 | -0.038048 | 0 | 0
3 | 0.99682 | -0.060834 | 0 | 0
4 | 0.99666 | -0.063899 | 0.053867 | 0.0135
5 | 0.98595 | -0.27059 | 0 | 0
6 | 0.98626 | -0.26446 | 0.049835 | 0.01249
7 | 0.98575 | -0.27439 | 0.013698 | 0.0034329
8 | 0.99542 | -0.08776 | 0 | 0
9 | 0.99353 | -0.12405 | 0 | 0
10 | 0.99505 | -0.094928 | 0.0059695 | 0.0014961
11 | 0.99329 | -0.12873 | 0 | 0
12 | 0.99297 | -0.13487 | 0.011995 | 0.0030063
13 | 0.99166 | -0.16015 | 0.011736 | 0.0029414
14 | 0.99603 | -0.076001 | 0.020766 | 0.0052044
15 | 0.99479 | -0.099916 | 0 | 0
16 | 0.99434 | -0.10866 | 0 | 0
17 | 0.98751 | -0.2402 | 0 | 0
18 | 0.99028 | -0.1864 | 0 | 0
19 | 0.9865 | -0.25987 | 0.013322 | 0.0033389
20 | 0.99131 | -0.16693 | 0 | 0
21 | 0.99097 | -0.17352 | 0.0069483 | 0.0017414
22 | 0.98992 | -0.19392 | 0 | 0
23 | 0.98909 | -0.20999 | 0.020711 | 0.0051906
24 | 0.99091 | -0.17471 | 0 | 0
25 | 0.99425 | -0.11031 | 0.0028615 | 0.00071717
26 | 0.99102 | -0.17264 | 0 | 0
27 | 0.99178 | -0.15781 | 0.002787 | 0.00069849
28 | 0.99584 | -0.079448 | 0 | 0
29 | 0.99426 | -0.10976 | 0 | 0
30 | 0.99007 | -0.19058 | 0.021622 | 0.0054189
31 | 0.98999 | -0.19259 | 0 | 0
32 | 0.98971 | -0.19804 | 0.0069462 | 0.0017409
33 | 0.99054 | -0.18189 | 0.0069462 | 0.0017409
34 | 0.99387 | -0.11746 | 0.011875 | 0.002976
35 | 0.99356 | -0.12327 | 0 | 0
36 | 0.99365 | -0.12168 | 0.0159 | 0.0039848
37 | 0.99323 | -0.1298 | 0.012914 | 0.0032366
38 | 0.99285 | -0.13717 | 0.0029902 | 0.00074941
39 | 0.99543 | -0.087736 | 0.0098815 | 0.0024765
40 | 0.99563 | -0.083878 | 0.0052152 | 0.001307
41 | 0.99277 | -0.13882 | 0.011996 | 0.0030064
42 | 0.99415 | -0.11231 | 0.0064855 | 0.0016254
43 | 0.99229 | -0.14796 | 0.0031582 | 0.00079152
44 | 0.98952 | -0.20167 | 0.011572 | 0.0029003
45 | 0.99406 | -0.11394 | 0 | 0
46 | 0.99403 | -0.11457 | 0.0074458 | 0.0018661
47 | 0.9895 | -0.20209 | 0.011468 | 0.0028742
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.16906 | 0.042825 | -0.16893 | -0.042736 | 0.00013851 | 8.834e-05 | 0.25173 | 0.25173 | 0.25173 | 1 | 0 | 0.99911 | -0.017072 | 34.5784
1 | 0.19462 | 0.049391 | -0.19426 | -0.049164 | 0.00035547 | 0.00022691 | 0.28981 | 0.28981 | 0.28981 | 1 | 0 | 0.99801 | -0.038048 | 39.8097
2 | 0.16893 | 0.042736 | -0.16857 | -0.042511 | 0.00035391 | 0.00022572 | 0.25173 | 0.25173 | 0.25173 | 0.99911 | -0.017072 | 0.99682 | -0.060834 | 34.5785
3 | 0.19426 | 0.049164 | -0.19402 | -0.04901 | 0.00024072 | 0.00015366 | 0.28981 | 0.28981 | 0.28981 | 0.99801 | -0.038048 | 0.99666 | -0.063899 | 39.8097
4 | 0.035896 | 0.0090084 | -0.03587 | -0.0089921 | 2.5943e-05 | 1.629e-05 | 0.053589 | 0.053589 | 0.053589 | 0.99682 | -0.060834 | 0.99603 | -0.076001 | 14.7222
5 | 0.13268 | 0.033502 | -0.13251 | -0.033393 | 0.00017093 | 0.00010925 | 0.19814 | 0.19814 | 0.19814 | 0.99682 | -0.060834 | 0.99542 | -0.08776 | 54.4348
6 | 0.14016 | 0.03551 | -0.14005 | -0.035443 | 0.0001046 | 6.6862e-05 | 0.20939 | 0.20939 | 0.20939 | 0.99666 | -0.063899 | 0.99584 | -0.079448 | 57.5251
7 | -0.0137 | -0.0034343 | 0.013704 | 0.0034366 | 4.0031e-06 | 2.2435e-06 | 0.020677 | 0.020677 | 0.020677 | 0.98595 | -0.27059 | 0.98626 | -0.26446 | 5.6804
8 | 0.0137 | 0.0034343 | -0.013698 | -0.0034329 | 2.478e-06 | 1.3888e-06 | 0.020677 | 0.020677 | 0.020677 | 0.98595 | -0.27059 | 0.98575 | -0.27439 | 5.6804
9 | -0.063539 | -0.015926 | 0.063553 | 0.015935 | 1.3901e-05 | 8.8449e-06 | 0.095865 | 0.095865 | 0.095865 | 0.98626 | -0.26446 | 0.9865 | -0.25987 | 26.3365
10 | 0.10972 | 0.027675 | -0.10953 | -0.027554 | 0.00019028 | 0.00012153 | 0.16408 | 0.16408 | 0.16408 | 0.99542 | -0.08776 | 0.99353 | -0.12405 | 45.077
11 | 0.022785 | 0.0057178 | -0.022777 | -0.005713 | 7.7855e-06 | 4.7502e-06 | 0.034063 | 0.034063 | 0.034063 | 0.99542 | -0.08776 | 0.99505 | -0.094928 | 9.3579
12 | 0.029741 | 0.0074881 | -0.029723 | -0.0074765 | 1.8636e-05 | 1.1603e-05 | 0.044556 | 0.044556 | 0.044556 | 0.99353 | -0.12405 | 0.99285 | -0.13717 | 12.2406
13 | 0.079789 | 0.020066 | -0.079771 | -0.020054 | 1.7834e-05 | 1.1371e-05 | 0.11952 | 0.11952 | 0.11952 | 0.99353 | -0.12405 | 0.99329 | -0.12873 | 32.8364
14 | 0.016807 | 0.0042169 | -0.016803 | -0.0042146 | 3.996e-06 | 2.3384e-06 | 0.025136 | 0.025136 | 0.025136 | 0.99505 | -0.094928 | 0.99479 | -0.099916 | 6.9054
15 | 0.024 | 0.0060181 | -0.023993 | -0.0060138 | 7.0198e-06 | 4.3053e-06 | 0.035955 | 0.035955 | 0.035955 | 0.99329 | -0.12873 | 0.99297 | -0.13487 | 9.8777
16 | 0.055771 | 0.014036 | -0.055688 | -0.013983 | 8.361e-05 | 5.3098e-05 | 0.08357 | 0.08357 | 0.08357 | 0.99329 | -0.12873 | 0.99166 | -0.16015 | 22.9588
17 | 0.011998 | 0.0030076 | -0.011996 | -0.0030064 | 2.2548e-06 | 1.2025e-06 | 0.017979 | 0.01798 | 0.01798 | 0.99297 | -0.13487 | 0.99277 | -0.13882 | 4.9394
18 | 0.043952 | 0.011042 | -0.043937 | -0.011033 | 1.4209e-05 | 8.9815e-06 | 0.06596 | 0.06596 | 0.06596 | 0.99166 | -0.16015 | 0.99131 | -0.16693 | 18.1208
19 | 0.015104 | 0.0037877 | -0.015099 | -0.0037845 | 5.6685e-06 | 3.2416e-06 | 0.022566 | 0.022566 | 0.022566 | 0.99603 | -0.076001 | 0.99563 | -0.083878 | 6.1994
20 | 0.016803 | 0.0042146 | -0.016796 | -0.0042105 | 7.0013e-06 | 4.0974e-06 | 0.025136 | 0.025136 | 0.025136 | 0.99479 | -0.099916 | 0.99434 | -0.10866 | 6.9055
21 | 0.016796 | 0.0042105 | -0.016795 | -0.0042097 | 1.3169e-06 | 7.7076e-07 | 0.025136 | 0.025136 | 0.025136 | 0.99434 | -0.10866 | 0.99425 | -0.11031 | 6.9055
22 | -0.076947 | -0.01932 | 0.077146 | 0.019446 | 0.00019805 | 0.00012625 | 0.11596 | 0.11596 | 0.11596 | 0.98751 | -0.2402 | 0.99028 | -0.1864 | 31.8571
23 | 0.076947 | 0.01932 | -0.076875 | -0.019274 | 7.2129e-05 | 4.598e-05 | 0.11596 | 0.11596 | 0.11596 | 0.98751 | -0.2402 | 0.9865 | -0.25987 | 31.8571
24 | -0.098771 | -0.024868 | 0.099135 | 0.0251 | 0.00036335 | 0.00023198 | 0.14846 | 0.14846 | 0.14846 | 0.99028 | -0.1864 | 0.99426 | -0.10976 | 40.7845
25 | 0.021626 | 0.0054215 | -0.021622 | -0.0054189 | 4.3114e-06 | 2.6193e-06 | 0.032496 | 0.032496 | 0.032496 | 0.99028 | -0.1864 | 0.99007 | -0.19058 | 8.9274
26 | 0.043937 | 0.011033 | -0.043923 | -0.011024 | 1.3806e-05 | 8.7271e-06 | 0.06596 | 0.06596 | 0.06596 | 0.99131 | -0.16693 | 0.99097 | -0.17352 | 18.1208
27 | 0.036975 | 0.0092825 | -0.03696 | -0.0092733 | 1.4764e-05 | 9.2847e-06 | 0.055526 | 0.055526 | 0.055526 | 0.99097 | -0.17352 | 0.99054 | -0.18189 | 15.2545
28 | 0.020727 | 0.0052002 | -0.020711 | -0.0051906 | 1.5869e-05 | 9.5961e-06 | 0.031157 | 0.031158 | 0.031158 | 0.98992 | -0.19392 | 0.98909 | -0.20999 | 8.5598
29 | -0.020727 | -0.0052002 | 0.020746 | 0.0052117 | 1.9001e-05 | 1.1489e-05 | 0.031157 | 0.031157 | 0.031157 | 0.98992 | -0.19392 | 0.99091 | -0.17471 | 8.5597
30 | -0.020746 | -0.0052117 | 0.020748 | 0.0052129 | 2.0485e-06 | 1.2385e-06 | 0.031157 | 0.031157 | 0.031157 | 0.99091 | -0.17471 | 0.99102 | -0.17264 | 8.5597
31 | 0.013934 | 0.0034926 | -0.013932 | -0.0034918 | 1.3273e-06 | 7.4393e-07 | 0.020853 | 0.020853 | 0.020853 | 0.99425 | -0.11031 | 0.99415 | -0.11231 | 5.729
32 | -0.020748 | -0.0052129 | 0.020762 | 0.0052218 | 1.4705e-05 | 8.8902e-06 | 0.031157 | 0.031157 | 0.031157 | 0.99102 | -0.17264 | 0.99178 | -0.15781 | 8.5597
33 | -0.023549 | -0.0059203 | 0.02356 | 0.0059271 | 1.108e-05 | 6.7859e-06 | 0.035339 | 0.035338 | 0.035339 | 0.99178 | -0.15781 | 0.99229 | -0.14796 | 9.7084
34 | 0.14005 | 0.035443 | -0.13985 | -0.035313 | 0.0002034 | 0.00013002 | 0.20939 | 0.20939 | 0.20939 | 0.99584 | -0.079448 | 0.99426 | -0.10976 | 57.5251
35 | 0.040714 | 0.010213 | -0.040699 | -0.010204 | 1.4945e-05 | 9.4257e-06 | 0.060936 | 0.060936 | 0.060936 | 0.99426 | -0.10976 | 0.99387 | -0.11746 | 16.7407
36 | 0.029999 | 0.0075228 | -0.029991 | -0.007518 | 7.7968e-06 | 4.8585e-06 | 0.045092 | 0.045092 | 0.045092 | 0.98999 | -0.19259 | 0.98971 | -0.19804 | 12.3878
37 | -0.029999 | -0.0075228 | 0.030014 | 0.0075324 | 1.5295e-05 | 9.5308e-06 | 0.045092 | 0.045092 | 0.045092 | 0.98999 | -0.19259 | 0.99054 | -0.18189 | 12.3878
38 | 0.023045 | 0.0057771 | -0.023041 | -0.0057747 | 3.9815e-06 | 2.4346e-06 | 0.034648 | 0.034648 | 0.034648 | 0.98971 | -0.19804 | 0.98952 | -0.20167 | 9.5187
39 | 0.028825 | 0.0072277 | -0.028819 | -0.0072241 | 5.792e-06 | 3.5995e-06 | 0.043157 | 0.043157 | 0.043157 | 0.99387 | -0.11746 | 0.99365 | -0.12168 | 11.8565
40 | -0.012918 | -0.0032388 | 0.012919 | 0.0032393 | 9.8136e-07 | 5.3752e-07 | 0.019347 | 0.019347 | 0.019347 | 0.99356 | -0.12327 | 0.99365 | -0.12168 | 5.3152
41 | 0.012918 | 0.0032388 | -0.012914 | -0.0032366 | 4.0171e-06 | 2.2004e-06 | 0.019347 | 0.019348 | 0.019348 | 0.99356 | -0.12327 | 0.99323 | -0.1298 | 5.3153
42 | 0.026732 | 0.0067271 | -0.026719 | -0.0067186 | 1.3776e-05 | 8.5208e-06 | 0.040074 | 0.040074 | 0.040074 | 0.99285 | -0.13717 | 0.99229 | -0.14796 | 11.0094
43 | -0.0098815 | -0.0024765 | 0.0098834 | 0.0024774 | 1.8167e-06 | 8.74e-07 | 0.014771 | 0.014771 | 0.014771 | 0.99543 | -0.087736 | 0.99563 | -0.083878 | 4.0581
44 | 0.0074466 | 0.0018664 | -0.0074461 | -0.0018662 | 5.7863e-07 | 2.0929e-07 | 0.011146 | 0.011146 | 0.011146 | 0.99415 | -0.11231 | 0.99406 | -0.11394 | 3.0621
45 | 0.011468 | 0.0028743 | -0.011468 | -0.0028742 | 2.295e-07 | 1.2045e-07 | 0.017246 | 0.017246 | 0.017246 | 0.98952 | -0.20167 | 0.9895 | -0.20209 | 4.7379
46 | 0.0074461 | 0.0018662 | -0.0074458 | -0.0018661 | 2.233e-07 | 8.0775e-08 | 0.011146 | 0.011146 | 0.011146 | 0.99406 | -0.11394 | 0.99403 | -0.11457 | 3.0621

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39066 | 0.098564

## res_load
| p_mw | q_mvar
0 | 0.02533 | 0.0063482
1 | 0.053867 | 0.0135
2 | 0.049835 | 0.01249
3 | 0.013698 | 0.0034329
4 | 0.0059695 | 0.0014961
5 | 0.011995 | 0.0030063
6 | 0.011736 | 0.0029414
7 | 0.020766 | 0.0052044
8 | 0.013322 | 0.0033389
9 | 0.0069483 | 0.0017414
10 | 0.020711 | 0.0051906
11 | 0.0028615 | 0.00071717
12 | 0.002787 | 0.00069849
13 | 0.021622 | 0.0054189
14 | 0.0069462 | 0.0017409
15 | 0.0069462 | 0.0017409
16 | 0.011875 | 0.002976
17 | 0.0159 | 0.0039848
18 | 0.012914 | 0.0032366
19 | 0.0029902 | 0.00074941
20 | 0.0098815 | 0.0024765
21 | 0.0052152 | 0.001307
22 | 0.011996 | 0.0030064
23 | 0.0064855 | 0.0016254
24 | 0.0031582 | 0.00079152
25 | 0.011572 | 0.0029003
26 | 0.0074458 | 0.0018661
27 | 0.011468 | 0.0028742

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1