## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-41_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-41_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-41_0_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_230-41_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-41_0_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_230-41_0_2_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_230-41_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_230-41_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_230-41_0_2_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_230-41_0_2_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_230-41_0_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_230-41_0_2_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_230-41_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_230-41_0_2_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_230-41_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_230-41_0_2_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_230-41_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_230-41_0_2_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_230-41_0_2_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_230-41_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_230-41_0_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_230-41_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_230-41_0_2_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_230-41_0_2_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_230-41_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_230-41_0_2_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_230-41_0_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_230-41_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_230-41_0_2_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_230-41_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_230-41_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_230-41_0_2_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_230-41_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_230-41_0_2_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_230-41_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_230-41_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_230-41_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_230-41_0_2_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_230-41_0_2_node_49 | 0.4 | n |  | TRUE
39 | bus_MV_512_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-41_0_2_load_0 | 0 | 0.06175 | 0.015476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-41_0_2_load_40 | 5 | 0.0099924 | 0.0025043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-41_0_2_load_57 | 8 | 0.035074 | 0.0087903 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-41_0_2_load_67 | 9 | 0.020236 | 0.0050717 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-41_0_2_load_55 | 10 | 0.047091 | 0.011802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-41_0_2_load_45 | 11 | 0.0084277 | 0.0021122 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-41_0_2_load_37 | 15 | 0.0031771 | 0.00079625 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-41_0_2_load_53 | 17 | 0.0016117 | 0.00040392 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-41_0_2_load_52 | 18 | 0.00318 | 0.00079697 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-41_0_2_load_32 | 20 | 0.016227 | 0.0040668 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-41_0_2_load_30 | 22 | 0.01371 | 0.003436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-41_0_2_load_50 | 23 | 0.00011509 | 2.8845e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-41_0_2_load_46 | 25 | 0.040504 | 0.010151 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-41_0_2_load_36 | 29 | 0.0043438 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-41_0_2_load_39 | 30 | 0.0078973 | 0.0019792 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-41_0_2_load_56 | 31 | 0.018642 | 0.004672 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-41_0_2_load_33 | 34 | 0.00064913 | 0.00016269 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-41_0_2_load_48 | 37 | 0.016101 | 0.0040353 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-41_0_2_load_49 | 38 | 0.0021047 | 0.00052748 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-41_0_2_line_0 |  | 0 | 1 | 0.0053515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-41_0_2_line_1 |  | 1 | 2 | 0.063922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-41_0_2_line_2 |  | 2 | 4 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-41_0_2_line_3 |  | 2 | 10 | 0.033464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_230-41_0_2_line_4 |  | 2 | 6 | 0.059516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_230-41_0_2_line_5 |  | 3 | 4 | 0.05757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-41_0_2_line_6 |  | 3 | 5 | 0.0045277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-41_0_2_line_7 |  | 4 | 11 | 0.028863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-41_0_2_line_8 |  | 5 | 30 | 0.0056078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-41_0_2_line_9 |  | 6 | 7 | 0.050439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-41_0_2_line_10 |  | 6 | 8 | 0.035961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-41_0_2_line_11 |  | 7 | 9 | 0.007874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-41_0_2_line_12 |  | 8 | 12 | 0.032383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-41_0_2_line_13 |  | 11 | 24 | 0.033961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-41_0_2_line_14 |  | 12 | 13 | 0.026999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-41_0_2_line_15 |  | 13 | 14 | 0.033132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-41_0_2_line_16 |  | 14 | 15 | 0.070056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-41_0_2_line_17 |  | 15 | 29 | 0.00091081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-41_0_2_line_18 |  | 16 | 17 | 0.0082309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-41_0_2_line_19 |  | 16 | 18 | 0.018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-41_0_2_line_20 |  | 18 | 32 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-41_0_2_line_21 |  | 19 | 20 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-41_0_2_line_22 |  | 19 | 21 | 0.039374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-41_0_2_line_23 |  | 19 | 22 | 0.0061499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-41_0_2_line_24 |  | 20 | 35 | 0.019283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-41_0_2_line_25 |  | 21 | 23 | 0.0099835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-41_0_2_line_26 |  | 22 | 36 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-41_0_2_line_27 |  | 24 | 25 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-41_0_2_line_28 |  | 24 | 26 | 0.024029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-41_0_2_line_29 |  | 26 | 31 | 0.015417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-41_0_2_line_30 |  | 27 | 28 | 0.013534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-41_0_2_line_31 |  | 27 | 29 | 0.068328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-41_0_2_line_32 |  | 28 | 33 | 0.002045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-41_0_2_line_33 |  | 32 | 38 | 0.0090548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-41_0_2_line_34 |  | 33 | 34 | 0.031252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-41_0_2_line_35 |  | 34 | 36 | 0.040077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-41_0_2_line_36 |  | 35 | 37 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-41_0_2_line_37 |  | 37 | 38 | 0.0097438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-41_0_2_trafo_55 | 0.63 MVA 20/0.4 kV | 39 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2696560.5116 | 1261635.1245 | 2696560.8685 | 1261633.5735 | 2696564.5323 | 1261634.4187
1 | 2696515.4534 | 1261607.9227 | 2696522.1342 | 1261609.533 | 2696519.771 | 1261619.4914 | 2696526.7914 | 1261621.0739 | 2696526.665 | 1261624.1966 | 2696528.0042 | 1261626.6427 | 2696530.2508 | 1261627.9693 | 2696560.5116 | 1261635.1245
2 | 2696505.2135 | 1261622.1339 | 2696508.1017 | 1261622.4813 | 2696509.6774 | 1261622.4403 | 2696510.8607 | 1261621.9703 | 2696512.1053 | 1261620.5117 | 2696512.9618 | 1261617.9013 | 2696515.4534 | 1261607.9227
3 | 2696515.4534 | 1261607.9227 | 2696523.5687 | 1261575.4574
4 | 2696515.4534 | 1261607.9227 | 2696522.1342 | 1261609.533 | 2696519.771 | 1261619.4914 | 2696526.7914 | 1261621.0739 | 2696530.1496 | 1261606.0165 | 2696534.4516 | 1261586.7044
5 | 2696505.2135 | 1261622.1339 | 2696503.2583 | 1261631.1093 | 2696501.1398 | 1261640.8604 | 2696505.148 | 1261642.3047 | 2696508.0311 | 1261643.4193 | 2696517.0001 | 1261645.6564 | 2696515.6387 | 1261651.9615 | 2696518.2813 | 1261653.0388 | 2696524.5518 | 1261656.2326 | 2696527.5477 | 1261656.9043 | 2696529.8905 | 1261657.4207
6 | 2696529.8905 | 1261657.4207 | 2696528.9074 | 1261661.8404
7 | 2696505.2135 | 1261622.1339 | 2696499.943 | 1261620.9247 | 2696477.09 | 1261615.6427
8 | 2696528.9074 | 1261661.8404 | 2696527.6899 | 1261667.3144
9 | 2696534.4516 | 1261586.7044 | 2696564.6182 | 1261593.6356 | 2696560.5089 | 1261612.684
10 | 2696534.4516 | 1261586.7044 | 2696542.5697 | 1261551.6715
11 | 2696560.5089 | 1261612.684 | 2696552.789 | 1261611.0233
12 | 2696549.8801 | 1261520.1243 | 2696542.5697 | 1261551.6715
13 | 2696443.8728 | 1261608.5893 | 2696465.828 | 1261613.0397 | 2696477.09 | 1261615.6427
14 | 2696541.7946 | 1261502.5448 | 2696547.1691 | 1261503.8558 | 2696546.1651 | 1261508.1095 | 2696543.7037 | 1261518.5445 | 2696549.8801 | 1261520.1243
15 | 2696549.5629 | 1261470.3343 | 2696541.7946 | 1261502.5448
16 | 2696549.5629 | 1261470.3343 | 2696549.6527 | 1261466.2213 | 2696548.4907 | 1261462.1546 | 2696545.8429 | 1261457.6967 | 2696542.4668 | 1261453.5382 | 2696505.3448 | 1261418.3179
17 | 2696505.3448 | 1261418.3179 | 2696504.6841 | 1261417.691
18 | 2696372.7056 | 1261538.1391 | 2696365.7387 | 1261533.7562
19 | 2696372.7056 | 1261538.1391 | 2696382.858 | 1261522.4012
20 | 2696390.4031 | 1261510.7051 | 2696382.858 | 1261522.4012
21 | 2696425.729 | 1261455.9475 | 2696418.4843 | 1261467.1776
22 | 2696451.1013 | 1261438.9917 | 2696440.7805 | 1261446.6074 | 2696436.7954 | 1261452.5139 | 2696434.524 | 1261461.0172 | 2696429.0298 | 1261459.6487 | 2696425.729 | 1261455.9475
23 | 2696425.729 | 1261455.9475 | 2696424.8114 | 1261454.9094 | 2696420.8648 | 1261452.2404
24 | 2696408.0312 | 1261483.3813 | 2696418.4843 | 1261467.1776
25 | 2696451.1013 | 1261438.9917 | 2696452.5782 | 1261431.6098 | 2696452.9583 | 1261429.1841
26 | 2696408.6362 | 1261443.9703 | 2696420.8648 | 1261452.2404
27 | 2696443.8728 | 1261608.5893 | 2696424.5723 | 1261604.3742
28 | 2696449.5966 | 1261585.2525 | 2696448.0226 | 1261591.6543 | 2696444.6136 | 1261605.6768 | 2696443.8728 | 1261608.5893
29 | 2696449.5966 | 1261585.2525 | 2696434.5863 | 1261581.7365
30 | 2696455.1943 | 1261370.5808 | 2696448.1028 | 1261382.119
31 | 2696455.1943 | 1261370.5808 | 2696464.9732 | 1261380.0145 | 2696504.6841 | 1261417.691
32 | 2696447.1239 | 1261383.9156 | 2696448.1028 | 1261382.119
33 | 2696390.4031 | 1261510.7051 | 2696395.3119 | 1261503.0964
34 | 2696447.1239 | 1261383.9156 | 2696430.261 | 1261410.2278
35 | 2696408.6362 | 1261443.9703 | 2696430.261 | 1261410.2278
36 | 2696408.0312 | 1261483.3813 | 2696400.5942 | 1261494.9087
37 | 2696395.3119 | 1261503.0964 | 2696400.5942 | 1261494.9087

## bus_geodata
| x | y | coords
0 | 2696564.5323 | 1261634.4187
1 | 2696560.5116 | 1261635.1245
2 | 2696515.4534 | 1261607.9227
3 | 2696529.8905 | 1261657.4207
4 | 2696505.2135 | 1261622.1339
5 | 2696528.9074 | 1261661.8404
6 | 2696534.4516 | 1261586.7044
7 | 2696560.5089 | 1261612.684
8 | 2696542.5697 | 1261551.6714
9 | 2696552.789 | 1261611.0233
10 | 2696523.5687 | 1261575.4574
11 | 2696477.09 | 1261615.6427
12 | 2696549.8801 | 1261520.1243
13 | 2696541.7946 | 1261502.5448
14 | 2696549.5629 | 1261470.3343
15 | 2696505.3448 | 1261418.3179
16 | 2696372.7056 | 1261538.1391
17 | 2696365.7387 | 1261533.7562
18 | 2696382.858 | 1261522.4012
19 | 2696425.729 | 1261455.9475
20 | 2696418.4843 | 1261467.1776
21 | 2696451.1013 | 1261438.9917
22 | 2696420.8648 | 1261452.2403
23 | 2696452.9583 | 1261429.1841
24 | 2696443.8728 | 1261608.5893
25 | 2696424.5723 | 1261604.3742
26 | 2696449.5966 | 1261585.2525
27 | 2696455.1943 | 1261370.5808
28 | 2696448.1028 | 1261382.119
29 | 2696504.6841 | 1261417.691
30 | 2696527.6899 | 1261667.3144
31 | 2696434.5863 | 1261581.7365
32 | 2696390.4031 | 1261510.7051
33 | 2696447.1239 | 1261383.9156
34 | 2696430.261 | 1261410.2278
35 | 2696408.0312 | 1261483.3813
36 | 2696408.6362 | 1261443.9703
37 | 2696400.5942 | 1261494.9087
38 | 2696395.3119 | 1261503.0964
39 | 2696515.4534 | 1261607.9227

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99203 | -0.1527 | 0.06175 | 0.015476
1 | 0.99233 | -0.14685 | 0 | 0
2 | 0.99594 | -0.077239 | 0 | 0
3 | 0.99338 | -0.12656 | 0 | 0
4 | 0.99432 | -0.10839 | 0 | 0
5 | 0.99331 | -0.128 | 0.0099924 | 0.0025043
6 | 0.99273 | -0.13838 | 0 | 0
7 | 0.9918 | -0.15645 | 0 | 0
8 | 0.98952 | -0.19983 | 0.035074 | 0.0087903
9 | 0.99165 | -0.15927 | 0.020236 | 0.0050717
10 | 1 | 0 | -0.26867 | -0.068186
11 | 0.99253 | -0.14284 | 0.0084277 | 0.0021122
12 | 0.98766 | -0.2352 | 0 | 0
13 | 0.98612 | -0.26478 | 0 | 0
14 | 0.98422 | -0.30121 | 0 | 0
15 | 0.98022 | -0.37871 | 0.0031771 | 0.00079625
16 | 0.97006 | -0.57814 | 0 | 0
17 | 0.97004 | -0.57839 | 0.0016117 | 0.00040392
18 | 0.97008 | -0.57758 | 0.00318 | 0.00079697
19 | 0.97145 | -0.55057 | 0 | 0
20 | 0.97096 | -0.56025 | 0.016227 | 0.0040668
21 | 0.97145 | -0.55065 | 0 | 0
22 | 0.97168 | -0.5461 | 0.01371 | 0.003436
23 | 0.97144 | -0.55067 | 0.00011509 | 2.8845e-05
24 | 0.99069 | -0.17844 | 0 | 0
25 | 0.98996 | -0.19266 | 0.040504 | 0.010151
26 | 0.99028 | -0.1864 | 0 | 0
27 | 0.97674 | -0.44648 | 0 | 0
28 | 0.97606 | -0.45977 | 0 | 0
29 | 0.98017 | -0.37967 | 0.0043438 | 0.0010887
30 | 0.99327 | -0.12878 | 0.0078973 | 0.0019792
31 | 0.99002 | -0.19151 | 0.018642 | 0.004672
32 | 0.97015 | -0.57635 | 0 | 0
33 | 0.97596 | -0.46178 | 0 | 0
34 | 0.97439 | -0.49254 | 0.00064913 | 0.00016269
35 | 0.97055 | -0.56846 | 0 | 0
36 | 0.97241 | -0.53165 | 0 | 0
37 | 0.97025 | -0.5743 | 0.016101 | 0.0040353
38 | 0.97019 | -0.57554 | 0.0021047 | 0.00052748
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.06175 | -0.015476 | 0.061767 | 0.015487 | 1.7216e-05 | 1.0949e-05 | 0.092623 | 0.092623 | 0.092623 | 0.99203 | -0.1527 | 0.99233 | -0.14685 | 25.4458
1 | -0.061767 | -0.015487 | 0.061973 | 0.015618 | 0.00020564 | 0.00013078 | 0.092623 | 0.092622 | 0.092623 | 0.99233 | -0.14685 | 0.99594 | -0.077239 | 25.4458
2 | 0.085859 | 0.02167 | -0.085731 | -0.021588 | 0.0001279 | 8.1585e-05 | 0.12833 | 0.12833 | 0.12833 | 0.99594 | -0.077239 | 0.99432 | -0.10839 | 35.2567
3 | -0.26603 | -0.067551 | 0.26702 | 0.068185 | 0.00099281 | 0.00063453 | 0.39778 | 0.39778 | 0.39778 | 0.99594 | -0.077239 | 1 | 0 | 54.6401
4 | 0.1182 | 0.030263 | -0.11785 | -0.030042 | 0.00034892 | 0.00022176 | 0.17682 | 0.17682 | 0.17682 | 0.99594 | -0.077239 | 0.99273 | -0.13838 | 24.289
5 | -0.017891 | -0.0044844 | 0.017907 | 0.0044936 | 1.5506e-05 | 9.1776e-06 | 0.0268 | 0.0268 | 0.0268 | 0.99338 | -0.12656 | 0.99432 | -0.10839 | 7.3626
6 | 0.017891 | 0.0044844 | -0.01789 | -0.0044837 | 1.2195e-06 | 7.2186e-07 | 0.0268 | 0.0268 | 0.0268 | 0.99338 | -0.12656 | 0.99331 | -0.128 | 7.3626
7 | 0.067825 | 0.017095 | -0.067713 | -0.017024 | 0.00011158 | 7.104e-05 | 0.10153 | 0.10154 | 0.10154 | 0.99432 | -0.10839 | 0.99253 | -0.14284 | 27.8942
8 | 0.0078975 | 0.0019794 | -0.0078973 | -0.0019792 | 2.9435e-07 | 1.158e-07 | 0.011831 | 0.011831 | 0.011831 | 0.99331 | -0.128 | 0.99327 | -0.12878 | 3.2503
9 | 0.020256 | 0.0050838 | -0.020239 | -0.0050733 | 1.744e-05 | 1.051e-05 | 0.030365 | 0.030365 | 0.030365 | 0.99273 | -0.13838 | 0.9918 | -0.15645 | 8.3421
10 | 0.097592 | 0.024958 | -0.097302 | -0.024773 | 0.00028927 | 0.00018467 | 0.14646 | 0.14646 | 0.14646 | 0.99273 | -0.13838 | 0.98952 | -0.19983 | 40.2362
11 | 0.020239 | 0.0050733 | -0.020236 | -0.0050717 | 2.7226e-06 | 1.6409e-06 | 0.030365 | 0.030365 | 0.030365 | 0.9918 | -0.15645 | 0.99165 | -0.15927 | 8.3421
12 | 0.062229 | 0.015983 | -0.062122 | -0.015915 | 0.00010666 | 6.7845e-05 | 0.093717 | 0.093717 | 0.093717 | 0.98952 | -0.19983 | 0.98766 | -0.2352 | 25.7465
13 | 0.059285 | 0.014912 | -0.059185 | -0.014848 | 0.00010065 | 6.3978e-05 | 0.0889 | 0.0889 | 0.0889 | 0.99253 | -0.14284 | 0.99069 | -0.17844 | 24.4232
14 | 0.062122 | 0.015915 | -0.062033 | -0.015858 | 8.8925e-05 | 5.6567e-05 | 0.093717 | 0.093717 | 0.093717 | 0.98766 | -0.2352 | 0.98612 | -0.26478 | 25.7465
15 | 0.062033 | 0.015858 | -0.061924 | -0.015789 | 0.00010912 | 6.9417e-05 | 0.093717 | 0.093717 | 0.093717 | 0.98612 | -0.26478 | 0.98422 | -0.30121 | 25.7465
16 | 0.061924 | 0.015789 | -0.061693 | -0.015642 | 0.00023074 | 0.00014679 | 0.093717 | 0.093718 | 0.093718 | 0.98422 | -0.30121 | 0.98022 | -0.37871 | 25.7466
17 | 0.058516 | 0.014846 | -0.058513 | -0.014844 | 2.6991e-06 | 1.7159e-06 | 0.088895 | 0.088895 | 0.088895 | 0.98022 | -0.37871 | 0.98017 | -0.37967 | 24.4216
18 | 0.0016117 | 0.00040383 | -0.0016117 | -0.00040392 | 1.8865e-08 | -8.9539e-08 | 0.0024722 | 0.0024722 | 0.0024722 | 0.97006 | -0.57814 | 0.97004 | -0.57839 | 0.67919
19 | -0.0016117 | -0.00040383 | 0.0016117 | 0.00040363 | 4.2922e-08 | -2.0375e-07 | 0.0024722 | 0.0024721 | 0.0024722 | 0.97006 | -0.57814 | 0.97008 | -0.57758 | 0.67918
20 | -0.0047917 | -0.0012006 | 0.004792 | 0.0012006 | 2.8196e-07 | 8.6006e-09 | 0.0073499 | 0.0073498 | 0.0073499 | 0.97008 | -0.57758 | 0.97015 | -0.57635 | 2.0192
21 | 0.039259 | 0.0098513 | -0.039241 | -0.0098398 | 1.8125e-05 | 1.1435e-05 | 0.060139 | 0.060139 | 0.060139 | 0.97145 | -0.55057 | 0.97096 | -0.56025 | 16.5217
22 | 0.00011509 | 2.8234e-05 | -0.00011509 | -2.8721e-05 | 4.5821e-10 | -4.8719e-07 | 0.00017607 | 0.00017625 | 0.00017625 | 0.97145 | -0.55057 | 0.97145 | -0.55065 | 0.04842
23 | -0.039374 | -0.0098795 | 0.039382 | 0.0098848 | 8.3897e-06 | 5.2933e-06 | 0.060315 | 0.060315 | 0.060315 | 0.97145 | -0.55057 | 0.97168 | -0.5461 | 16.57
24 | 0.023014 | 0.005773 | -0.023005 | -0.0057675 | 8.9957e-06 | 5.5189e-06 | 0.035271 | 0.035271 | 0.035271 | 0.97096 | -0.56025 | 0.97055 | -0.56846 | 9.6898
25 | 0.00011509 | 2.8721e-05 | -0.00011509 | -2.8845e-05 | 1.1633e-10 | -1.2353e-07 | 0.00017625 | 0.00017629 | 0.00017629 | 0.97145 | -0.55065 | 0.97144 | -0.55067 | 0.048432
26 | -0.053092 | -0.013321 | 0.053129 | 0.013344 | 3.66e-05 | 2.3241e-05 | 0.08131 | 0.08131 | 0.08131 | 0.97168 | -0.5461 | 0.97241 | -0.53165 | 22.3379
27 | 0.040532 | 0.010169 | -0.040504 | -0.010151 | 2.746e-05 | 1.732e-05 | 0.060882 | 0.060882 | 0.060882 | 0.99069 | -0.17844 | 0.98996 | -0.19266 | 16.7258
28 | 0.018653 | 0.0046789 | -0.018646 | -0.0046747 | 7.0737e-06 | 4.2179e-06 | 0.028018 | 0.028018 | 0.028018 | 0.99069 | -0.17844 | 0.99028 | -0.1864 | 7.6974
29 | 0.018646 | 0.0046747 | -0.018642 | -0.004672 | 4.5385e-06 | 2.7063e-06 | 0.028018 | 0.028019 | 0.028019 | 0.99028 | -0.1864 | 0.99002 | -0.19151 | 7.6974
30 | 0.053996 | 0.013645 | -0.053962 | -0.013624 | 3.4377e-05 | 2.1832e-05 | 0.082301 | 0.082301 | 0.082301 | 0.97674 | -0.44648 | 0.97606 | -0.45977 | 22.6101
31 | -0.053996 | -0.013645 | 0.05417 | 0.013756 | 0.00017355 | 0.00011022 | 0.082301 | 0.0823 | 0.082301 | 0.97674 | -0.44648 | 0.98017 | -0.37967 | 22.6101
32 | 0.053962 | 0.013624 | -0.053956 | -0.01362 | 5.1944e-06 | 3.2988e-06 | 0.082301 | 0.082301 | 0.082301 | 0.97606 | -0.45977 | 0.97596 | -0.46178 | 22.6101
33 | -0.004792 | -0.0012006 | 0.0047921 | 0.0012006 | 1.8342e-07 | 5.5817e-09 | 0.0073498 | 0.0073498 | 0.0073498 | 0.97015 | -0.57635 | 0.97019 | -0.57554 | 2.0192
34 | 0.053956 | 0.01362 | -0.053877 | -0.01357 | 7.9381e-05 | 5.0414e-05 | 0.082301 | 0.082301 | 0.082301 | 0.97596 | -0.46178 | 0.97439 | -0.49254 | 22.6101
35 | 0.053228 | 0.013407 | -0.053129 | -0.013344 | 9.936e-05 | 6.3092e-05 | 0.08131 | 0.08131 | 0.08131 | 0.97439 | -0.49254 | 0.97241 | -0.53165 | 22.3379
36 | 0.023005 | 0.0057675 | -0.022998 | -0.0057636 | 6.3998e-06 | 3.9264e-06 | 0.035271 | 0.035271 | 0.035271 | 0.97055 | -0.56846 | 0.97025 | -0.5743 | 9.6899
37 | 0.0068972 | 0.0017282 | -0.0068968 | -0.0017281 | 4.0884e-07 | 1.4132e-07 | 0.010578 | 0.010578 | 0.010578 | 0.97025 | -0.5743 | 0.97019 | -0.57554 | 2.906

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31576 | 0.079988

## res_load
| p_mw | q_mvar
0 | 0.06175 | 0.015476
1 | 0.0099924 | 0.0025043
2 | 0.035074 | 0.0087903
3 | 0.020236 | 0.0050717
4 | 0.047091 | 0.011802
5 | 0.0084277 | 0.0021122
6 | 0.0031771 | 0.00079625
7 | 0.0016117 | 0.00040392
8 | 0.00318 | 0.00079697
9 | 0.016227 | 0.0040668
10 | 0.01371 | 0.003436
11 | 0.00011509 | 2.8845e-05
12 | 0.040504 | 0.010151
13 | 0.0043438 | 0.0010887
14 | 0.0078973 | 0.0019792
15 | 0.018642 | 0.004672
16 | 0.00064913 | 0.00016269
17 | 0.016101 | 0.0040353
18 | 0.0021047 | 0.00052748

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1