## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-65_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-65_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-65_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-65_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_230-65_0_3_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_230-65_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_230-65_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_230-65_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_230-65_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_230-65_0_3_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_230-65_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_230-65_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_230-65_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_230-65_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_230-65_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_230-65_0_3_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_230-65_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_230-65_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_230-65_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_230-65_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_230-65_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_230-65_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_230-65_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_230-65_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_230-65_0_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_230-65_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_230-65_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_230-65_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_230-65_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_230-65_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_230-65_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_230-65_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_230-65_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_230-65_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_230-65_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_230-65_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_230-65_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_230-65_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_230-65_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_230-65_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_230-65_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_230-65_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_MV_370_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-65_0_3_load_0 | 0 | 0.037536 | 0.0094073 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-65_0_3_load_20 | 4 | 0.0826 | 0.020702 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-65_0_3_load_18 | 7 | 0.047195 | 0.011828 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-65_0_3_load_46 | 9 | 0.04005 | 0.010038 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-65_0_3_load_19 | 10 | 0.048005 | 0.012031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-65_0_3_load_37 | 11 | 0.0072594 | 0.0018194 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-65_0_3_load_42 | 14 | 0.0087851 | 0.0022017 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-65_0_3_load_44 | 15 | 0.013098 | 0.0032826 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-65_0_3_load_45 | 18 | 0.0052944 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-65_0_3_load_33 | 20 | 0.00026803 | 6.7174e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-65_0_3_load_22 | 21 | 0.00029774 | 7.462e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-65_0_3_load_35 | 22 | 0.00029768 | 7.4605e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-65_0_3_load_47 | 24 | 0.092597 | 0.023207 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-65_0_3_load_36 | 25 | 0.0072582 | 0.0018191 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-65_0_3_load_41 | 26 | 0.0035512 | 0.00089001 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-65_0_3_load_34 | 27 | 0.00029768 | 7.4605e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-65_0_3_load_21 | 28 | 0.00026803 | 6.7174e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-65_0_3_load_40 | 29 | 0.0035519 | 0.00089019 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-65_0_3_load_31 | 30 | 0.0002678 | 6.7118e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-65_0_3_load_24 | 31 | 0.00066948 | 0.00016779 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-65_0_3_load_25 | 32 | 0.0002678 | 6.7118e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-65_0_3_load_26 | 33 | 0.00066929 | 0.00016774 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-65_0_3_load_27 | 34 | 0.00026803 | 6.7174e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-65_0_3_load_28 | 35 | 0.00073122 | 0.00018326 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-65_0_3_load_43 | 36 | 0.00026795 | 6.7154e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-65_0_3_load_39 | 37 | 0.00073199 | 0.00018345 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-65_0_3_load_32 | 38 | 0.00026803 | 6.7174e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-65_0_3_load_38 | 39 | 0.0072594 | 0.0018194 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-65_0_3_load_29 | 40 | 0.00026803 | 6.7174e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-65_0_3_load_30 | 41 | 0.00026795 | 6.7154e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-65_0_3_line_0 |  | 0 | 1 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-65_0_3_line_1 |  | 1 | 2 | 0.043904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-65_0_3_line_2 |  | 1 | 3 | 0.028404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-65_0_3_line_3 |  | 2 | 4 | 0.029947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-65_0_3_line_4 |  | 3 | 11 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-65_0_3_line_5 |  | 3 | 8 | 0.010395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_230-65_0_3_line_6 |  | 5 | 6 | 0.026857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-65_0_3_line_7 |  | 5 | 7 | 0.026783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-65_0_3_line_8 |  | 6 | 10 | 0.011683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-65_0_3_line_9 |  | 6 | 8 | 0.033061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-65_0_3_line_10 |  | 8 | 9 | 0.0068701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_230-65_0_3_line_11 |  | 9 | 23 | 0.070293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-65_0_3_line_12 |  | 11 | 25 | 0.005654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-65_0_3_line_13 |  | 12 | 13 | 0.050718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-65_0_3_line_14 |  | 12 | 14 | 0.01817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-65_0_3_line_15 |  | 13 | 15 | 0.04479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-65_0_3_line_16 |  | 14 | 26 | 0.024891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-65_0_3_line_17 |  | 15 | 18 | 0.027019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-65_0_3_line_18 |  | 16 | 17 | 0.035361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-65_0_3_line_19 |  | 16 | 18 | 0.020429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-65_0_3_line_20 |  | 17 | 28 | 0.01898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-65_0_3_line_21 |  | 19 | 20 | 0.01055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-65_0_3_line_22 |  | 19 | 21 | 0.010208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-65_0_3_line_23 |  | 19 | 22 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-65_0_3_line_24 |  | 20 | 30 | 0.0048496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-65_0_3_line_25 |  | 21 | 28 | 0.00028297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-65_0_3_line_26 |  | 22 | 27 | 0.0062364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-65_0_3_line_27 |  | 23 | 24 | 0.003739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-65_0_3_line_28 |  | 25 | 39 | 0.005654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-65_0_3_line_29 |  | 26 | 29 | 0.024893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-65_0_3_line_30 |  | 30 | 40 | 0.0048496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-65_0_3_line_31 |  | 31 | 32 | 0.0048496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-65_0_3_line_32 |  | 31 | 33 | 0.0048491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-65_0_3_line_33 |  | 32 | 34 | 0.0048496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-65_0_3_line_34 |  | 33 | 35 | 0.0093449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-65_0_3_line_35 |  | 34 | 36 | 0.0048491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-65_0_3_line_36 |  | 35 | 37 | 0.0056582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-65_0_3_line_37 |  | 36 | 38 | 0.0048475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-65_0_3_line_38 |  | 37 | 39 | 0.00566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-65_0_3_line_39 |  | 38 | 41 | 0.0048476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-65_0_3_line_40 |  | 40 | 41 | 0.0048491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-65_0_3_trafo_46 | 0.63 MVA 20/0.4 kV | 42 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2696080.4901 | 1261344.029 | 2696092.6576 | 1261337.4292
1 | 2696080.4901 | 1261344.029 | 2696089.7024 | 1261352.6633 | 2696112.0843 | 1261374.5113
2 | 2696063.5417 | 1261322.6475 | 2696066.9082 | 1261326.0272 | 2696070.1561 | 1261329.2937 | 2696069.9146 | 1261331.169 | 2696070.265 | 1261333.7212 | 2696071.9013 | 1261335.983 | 2696080.4901 | 1261344.029
3 | 2696112.0843 | 1261374.5113 | 2696133.1588 | 1261395.7872
4 | 2696063.5417 | 1261322.6475 | 2696069.2181 | 1261319.7707 | 2696073.903 | 1261316.1544
5 | 2696054.58 | 1261319.455 | 2696057.7578 | 1261322.3979 | 2696058.7207 | 1261322.9695 | 2696059.913 | 1261323.3336 | 2696062.1545 | 1261323.1365 | 2696063.5417 | 1261322.6475
6 | 2696012.8956 | 1261354.7625 | 2696031.3384 | 1261335.1905
7 | 2696012.8956 | 1261354.7625 | 2696003.6813 | 1261345.7835 | 2695995.0864 | 1261337.1815 | 2695993.8125 | 1261335.9707
8 | 2696031.3384 | 1261335.1905 | 2696027.278 | 1261331.377 | 2696022.9809 | 1261327.0296
9 | 2696031.3384 | 1261335.1905 | 2696036.6327 | 1261329.3939 | 2696041.6272 | 1261333.2337 | 2696047.1642 | 1261327.341 | 2696054.58 | 1261319.455
10 | 2696054.58 | 1261319.455 | 2696049.5867 | 1261314.7365
11 | 2695998.4957 | 1261266.4574 | 2696049.5867 | 1261314.7365
12 | 2696073.903 | 1261316.1544 | 2696078.3787 | 1261312.6995
13 | 2696013.5209 | 1261177.5181 | 2696031.2337 | 1261161.6261 | 2696051.2717 | 1261143.6479
14 | 2696013.5209 | 1261177.5181 | 2696025.9693 | 1261190.7544
15 | 2696051.2717 | 1261143.6479 | 2696080.4583 | 1261177.623
16 | 2696025.9693 | 1261190.7544 | 2696043.0218 | 1261208.8862
17 | 2696080.4583 | 1261177.623 | 2696098.0645 | 1261198.1178
18 | 2696124.9565 | 1261240.0893 | 2696129.845 | 1261236.0877 | 2696111.3766 | 1261213.6139
19 | 2696111.3766 | 1261213.6139 | 2696098.0645 | 1261198.1178
20 | 2696124.9565 | 1261240.0893 | 2696136.1769 | 1261255.3972
21 | 2696142.3787 | 1261263.8583 | 2696133.9802 | 1261270.2432
22 | 2696142.3787 | 1261263.8583 | 2696136.3442 | 1261255.6254
23 | 2696142.3787 | 1261263.8583 | 2696153.9662 | 1261255.0043
24 | 2696133.9802 | 1261270.2432 | 2696130.1196 | 1261273.1782
25 | 2696136.3442 | 1261255.6254 | 2696136.1769 | 1261255.3972
26 | 2696153.9662 | 1261255.0043 | 2696158.9215 | 1261251.2178
27 | 2696001.1537 | 1261263.8206 | 2695998.4957 | 1261266.4574
28 | 2696082.8544 | 1261309.2447 | 2696078.3787 | 1261312.6995
29 | 2696043.0218 | 1261208.8862 | 2696060.076 | 1261227.0198
30 | 2696130.1196 | 1261273.1782 | 2696126.259 | 1261276.1132
31 | 2696106.96 | 1261290.7852 | 2696103.0994 | 1261293.7203
32 | 2696099.2391 | 1261296.655 | 2696103.0994 | 1261293.7203
33 | 2696106.96 | 1261290.7852 | 2696110.8206 | 1261287.8502
34 | 2696099.2391 | 1261296.655 | 2696094.2897 | 1261300.4178 | 2696091.8139 | 1261302.3288
35 | 2696114.6808 | 1261284.9155 | 2696110.8206 | 1261287.8502
36 | 2696091.8139 | 1261302.3288 | 2696087.3348 | 1261305.7863
37 | 2696118.5398 | 1261281.9817 | 2696114.6808 | 1261284.9155
38 | 2696082.8544 | 1261309.2447 | 2696087.3348 | 1261305.7863
39 | 2696118.5398 | 1261281.9817 | 2696122.3988 | 1261279.048
40 | 2696122.3988 | 1261279.048 | 2696126.259 | 1261276.1132

## bus_geodata
| x | y | coords
0 | 2696092.6576 | 1261337.4292
1 | 2696080.4901 | 1261344.029
2 | 2696112.0843 | 1261374.5113
3 | 2696063.5417 | 1261322.6475
4 | 2696133.1588 | 1261395.7872
5 | 2696012.8956 | 1261354.7625
6 | 2696031.3384 | 1261335.1905
7 | 2695993.8125 | 1261335.9707
8 | 2696054.58 | 1261319.455
9 | 2696049.5867 | 1261314.7365
10 | 2696022.9809 | 1261327.0296
11 | 2696073.903 | 1261316.1544
12 | 2696013.5209 | 1261177.5181
13 | 2696051.2717 | 1261143.6479
14 | 2696025.9693 | 1261190.7544
15 | 2696080.4583 | 1261177.623
16 | 2696111.3766 | 1261213.6139
17 | 2696124.9565 | 1261240.0893
18 | 2696098.0645 | 1261198.1178
19 | 2696142.3787 | 1261263.8583
20 | 2696133.9802 | 1261270.2432
21 | 2696136.3442 | 1261255.6254
22 | 2696153.9662 | 1261255.0043
23 | 2695998.4957 | 1261266.4574
24 | 2696001.1537 | 1261263.8206
25 | 2696078.3787 | 1261312.6995
26 | 2696043.0218 | 1261208.8862
27 | 2696158.9215 | 1261251.2178
28 | 2696136.1769 | 1261255.3972
29 | 2696060.076 | 1261227.0198
30 | 2696130.1196 | 1261273.1782
31 | 2696103.0994 | 1261293.7202
32 | 2696106.96 | 1261290.7852
33 | 2696099.2391 | 1261296.655
34 | 2696110.8206 | 1261287.8502
35 | 2696091.8139 | 1261302.3288
36 | 2696114.6808 | 1261284.9155
37 | 2696087.3348 | 1261305.7863
38 | 2696118.5398 | 1261281.9817
39 | 2696082.8544 | 1261309.2447
40 | 2696126.259 | 1261276.1132
41 | 2696122.3988 | 1261279.048
42 | 2696054.58 | 1261319.455

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99467 | -0.10221 | 0.037536 | 0.0094073
1 | 0.99514 | -0.09306 | 0 | 0
2 | 0.99182 | -0.1571 | 0 | 0
3 | 0.99826 | -0.033189 | 0 | 0
4 | 0.98955 | -0.20103 | 0.0826 | 0.020702
5 | 0.9951 | -0.094028 | 0 | 0
6 | 0.99626 | -0.071743 | 0 | 0
7 | 0.99395 | -0.1163 | 0.047195 | 0.011828
8 | 0.99913 | -0.01663 | 0 | 0
9 | 1 | 0 | -0.3741 | -0.09425
10 | 0.99575 | -0.081597 | 0.048005 | 0.012031
11 | 0.99757 | -0.046555 | 0.0072594 | 0.0018194
12 | 0.98968 | -0.19854 | 0 | 0
13 | 0.99042 | -0.1842 | 0 | 0
14 | 0.98942 | -0.20367 | 0.0087851 | 0.0022017
15 | 0.99108 | -0.17156 | 0.013098 | 0.0032826
16 | 0.99243 | -0.14527 | 0 | 0
17 | 0.99354 | -0.12384 | 0 | 0
18 | 0.99179 | -0.15767 | 0.0052944 | 0.0013269
19 | 0.99447 | -0.10591 | 0 | 0
20 | 0.99482 | -0.099323 | 0.00026803 | 6.7174e-05
21 | 0.99415 | -0.11218 | 0.00029774 | 7.462e-05
22 | 0.99447 | -0.10606 | 0.00029768 | 7.4605e-05
23 | 0.99406 | -0.11413 | 0 | 0
24 | 0.99374 | -0.12023 | 0.092597 | 0.023207
25 | 0.99728 | -0.051995 | 0.0072582 | 0.0018191
26 | 0.98926 | -0.20682 | 0.0035512 | 0.00089001
27 | 0.99446 | -0.1061 | 0.00029768 | 7.4605e-05
28 | 0.99414 | -0.11236 | 0.00026803 | 6.7174e-05
29 | 0.98918 | -0.2084 | 0.0035519 | 0.00089019
30 | 0.99498 | -0.096272 | 0.0002678 | 6.7118e-05
31 | 0.99612 | -0.074311 | 0.00066948 | 0.00016779
32 | 0.99595 | -0.077515 | 0.0002678 | 6.7118e-05
33 | 0.99629 | -0.071052 | 0.00066929 | 0.00016774
34 | 0.99579 | -0.080696 | 0.00026803 | 6.7174e-05
35 | 0.99662 | -0.064666 | 0.00073122 | 0.00018326
36 | 0.99562 | -0.083855 | 0.00026795 | 6.7154e-05
37 | 0.99683 | -0.060728 | 0.00073199 | 0.00018345
38 | 0.99546 | -0.086992 | 0.00026803 | 6.7174e-05
39 | 0.99704 | -0.056718 | 0.0072594 | 0.0018194
40 | 0.99513 | -0.0932 | 0.00026803 | 6.7174e-05
41 | 0.9953 | -0.090106 | 0.00026795 | 6.7154e-05
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.037536 | -0.0094073 | 0.037552 | 0.0094176 | 1.6368e-05 | 1.0295e-05 | 0.056153 | 0.056153 | 0.056153 | 0.99467 | -0.10221 | 0.99514 | -0.09306 | 15.4267
1 | 0.083027 | 0.020974 | -0.082773 | -0.020812 | 0.000254 | 0.00016199 | 0.12421 | 0.12421 | 0.12421 | 0.99514 | -0.09306 | 0.99182 | -0.1571 | 34.1231
2 | -0.12058 | -0.030392 | 0.12093 | 0.030613 | 0.0003465 | 0.00022139 | 0.18036 | 0.18036 | 0.18036 | 0.99514 | -0.09306 | 0.99826 | -0.033189 | 49.5497
3 | 0.082773 | 0.020812 | -0.0826 | -0.020702 | 0.00017325 | 0.0001105 | 0.12421 | 0.12421 | 0.12421 | 0.99182 | -0.1571 | 0.98955 | -0.20103 | 34.1232
4 | 0.062448 | 0.015756 | -0.062408 | -0.015731 | 3.994e-05 | 2.5401e-05 | 0.093122 | 0.093122 | 0.093122 | 0.99826 | -0.033189 | 0.99757 | -0.046555 | 25.583
5 | -0.18337 | -0.046369 | 0.18352 | 0.046462 | 0.00014578 | 9.3025e-05 | 0.27348 | 0.27348 | 0.27348 | 0.99826 | -0.033189 | 0.99913 | -0.01663 | 37.5663
6 | -0.047245 | -0.01186 | 0.047296 | 0.011892 | 5.0277e-05 | 3.1828e-05 | 0.070655 | 0.070655 | 0.070655 | 0.9951 | -0.094028 | 0.99626 | -0.071743 | 19.4106
7 | 0.047245 | 0.01186 | -0.047195 | -0.011828 | 5.0139e-05 | 3.1742e-05 | 0.070655 | 0.070655 | 0.070655 | 0.9951 | -0.094028 | 0.99395 | -0.1163 | 19.4106
8 | 0.048028 | 0.012045 | -0.048005 | -0.012031 | 2.2546e-05 | 1.4278e-05 | 0.071737 | 0.071737 | 0.071737 | 0.99626 | -0.071743 | 0.99575 | -0.081597 | 19.708
9 | -0.095323 | -0.023937 | 0.095575 | 0.024098 | 0.00025137 | 0.00016045 | 0.14239 | 0.14239 | 0.14239 | 0.99626 | -0.071743 | 0.99913 | -0.01663 | 39.1186
10 | -0.27909 | -0.07056 | 0.27932 | 0.070702 | 0.00022278 | 0.0001424 | 0.41587 | 0.41587 | 0.41587 | 0.99913 | -0.01663 | 1 | 0 | 57.1256
11 | 0.09313 | 0.023547 | -0.092623 | -0.023224 | 0.00050676 | 0.00032341 | 0.13865 | 0.13865 | 0.13865 | 1 | 0 | 0.99406 | -0.11413 | 38.0914
12 | 0.055148 | 0.013911 | -0.055134 | -0.013902 | 1.4359e-05 | 9.1158e-06 | 0.082294 | 0.082294 | 0.082294 | 0.99757 | -0.046555 | 0.99728 | -0.051995 | 22.6081
13 | -0.015893 | -0.0039844 | 0.015904 | 0.0039907 | 1.0861e-05 | 6.2986e-06 | 0.023897 | 0.023896 | 0.023897 | 0.98968 | -0.19854 | 0.99042 | -0.1842 | 6.565
14 | 0.015893 | 0.0039844 | -0.015889 | -0.0039822 | 3.891e-06 | 2.2568e-06 | 0.023897 | 0.023897 | 0.023897 | 0.98968 | -0.19854 | 0.98942 | -0.20367 | 6.565
15 | -0.015904 | -0.0039907 | 0.015914 | 0.0039963 | 9.5912e-06 | 5.5615e-06 | 0.023896 | 0.023896 | 0.023896 | 0.99042 | -0.1842 | 0.99108 | -0.17156 | 6.5649
16 | 0.0071044 | 0.0017804 | -0.0071033 | -0.00178 | 1.0656e-06 | 3.6234e-07 | 0.010684 | 0.010685 | 0.010685 | 0.98942 | -0.20367 | 0.98926 | -0.20682 | 2.9353
17 | -0.029011 | -0.0072788 | 0.029031 | 0.0072908 | 1.9226e-05 | 1.1956e-05 | 0.043561 | 0.043561 | 0.043561 | 0.99108 | -0.17156 | 0.99179 | -0.15767 | 11.9673
18 | -0.034345 | -0.0086304 | 0.03438 | 0.0086525 | 3.5175e-05 | 2.2055e-05 | 0.051504 | 0.051504 | 0.051504 | 0.99243 | -0.14527 | 0.99354 | -0.12384 | 14.1495
19 | 0.034345 | 0.0086304 | -0.034325 | -0.0086177 | 2.0322e-05 | 1.2742e-05 | 0.051504 | 0.051504 | 0.051504 | 0.99243 | -0.14527 | 0.99179 | -0.15767 | 14.1495
20 | -0.03438 | -0.0086525 | 0.034399 | 0.0086643 | 1.888e-05 | 1.1837e-05 | 0.051504 | 0.051504 | 0.051504 | 0.99354 | -0.12384 | 0.99414 | -0.11236 | 14.1494
21 | -0.035571 | -0.0089618 | 0.035582 | 0.0089689 | 1.1214e-05 | 7.0403e-06 | 0.053241 | 0.053241 | 0.053241 | 0.99447 | -0.10591 | 0.99482 | -0.099323 | 14.6267
22 | 0.034976 | 0.0088129 | -0.034965 | -0.0088063 | 1.0491e-05 | 6.5816e-06 | 0.052351 | 0.052351 | 0.052351 | 0.99447 | -0.10591 | 0.99415 | -0.11218 | 14.382
23 | 0.00059536 | 0.00014894 | -0.00059536 | -0.00014913 | 4.3392e-09 | -1.8643e-07 | 0.00089074 | 0.0008908 | 0.0008908 | 0.99447 | -0.10591 | 0.99447 | -0.10606 | 0.24473
24 | -0.035851 | -0.009036 | 0.035856 | 0.0090393 | 5.233e-06 | 3.2861e-06 | 0.053642 | 0.053642 | 0.053642 | 0.99482 | -0.099323 | 0.99498 | -0.096272 | 14.7369
25 | 0.034668 | 0.0087317 | -0.034667 | -0.0087315 | 2.8589e-07 | 1.793e-07 | 0.051905 | 0.051905 | 0.051905 | 0.99415 | -0.11218 | 0.99414 | -0.11236 | 14.2596
26 | 0.00029768 | 7.4525e-05 | -0.00029768 | -7.4605e-05 | 4.6397e-10 | -8.0617e-08 | 0.00044539 | 0.00044542 | 0.00044542 | 0.99447 | -0.10606 | 0.99446 | -0.1061 | 0.12237
27 | 0.092623 | 0.023224 | -0.092597 | -0.023207 | 2.6955e-05 | 1.7203e-05 | 0.13865 | 0.13865 | 0.13865 | 0.99406 | -0.11413 | 0.99374 | -0.12023 | 38.0914
28 | 0.047876 | 0.012083 | -0.047865 | -0.012076 | 1.0828e-05 | 6.8563e-06 | 0.071464 | 0.071464 | 0.071464 | 0.99728 | -0.051995 | 0.99704 | -0.056718 | 19.6329
29 | 0.0035522 | 0.00089004 | -0.0035519 | -0.00089019 | 2.665e-07 | -1.4902e-07 | 0.005343 | 0.0053431 | 0.0053431 | 0.98926 | -0.20682 | 0.98918 | -0.2084 | 1.4679
30 | -0.036124 | -0.0091064 | 0.036129 | 0.0091098 | 5.3114e-06 | 3.3363e-06 | 0.054043 | 0.054043 | 0.054043 | 0.99498 | -0.096272 | 0.99513 | -0.0932 | 14.8469
31 | 0.03777 | 0.0095338 | -0.037764 | -0.0095302 | 5.7942e-06 | 3.6452e-06 | 0.056446 | 0.056446 | 0.056446 | 0.99612 | -0.074311 | 0.99595 | -0.077515 | 15.507
32 | -0.03844 | -0.0097016 | 0.038446 | 0.0097054 | 6.0008e-06 | 3.7774e-06 | 0.057446 | 0.057446 | 0.057446 | 0.99612 | -0.074311 | 0.99629 | -0.071052 | 15.7818
33 | 0.037497 | 0.009463 | -0.037491 | -0.0094595 | 5.7124e-06 | 3.5928e-06 | 0.056045 | 0.056046 | 0.056046 | 0.99595 | -0.077515 | 0.99579 | -0.080696 | 15.3971
34 | -0.039115 | -0.0098731 | 0.039127 | 0.0098807 | 1.197e-05 | 7.5393e-06 | 0.058445 | 0.058445 | 0.058445 | 0.99629 | -0.071052 | 0.99662 | -0.064666 | 16.0564
35 | 0.037223 | 0.0093923 | -0.037217 | -0.0093887 | 5.6305e-06 | 3.5404e-06 | 0.055645 | 0.055645 | 0.055645 | 0.99579 | -0.080696 | 0.99562 | -0.083855 | 15.2871
36 | -0.039858 | -0.010064 | 0.039866 | 0.010069 | 7.5212e-06 | 4.7398e-06 | 0.059537 | 0.059537 | 0.059537 | 0.99662 | -0.064666 | 0.99683 | -0.060728 | 16.3563
37 | 0.036949 | 0.0093216 | -0.036944 | -0.0093181 | 5.548e-06 | 3.4877e-06 | 0.055245 | 0.055245 | 0.055245 | 0.99562 | -0.083855 | 0.99546 | -0.086992 | 15.1771
38 | -0.040598 | -0.010252 | 0.040605 | 0.010257 | 7.8021e-06 | 4.9196e-06 | 0.06063 | 0.06063 | 0.06063 | 0.99683 | -0.060728 | 0.99704 | -0.056718 | 16.6565
39 | 0.036676 | 0.0092509 | -0.03667 | -0.0092475 | 5.4678e-06 | 3.4364e-06 | 0.054844 | 0.054844 | 0.054844 | 0.99546 | -0.086992 | 0.9953 | -0.090106 | 15.067
40 | -0.036397 | -0.0091769 | 0.036402 | 0.0091803 | 5.39e-06 | 3.3866e-06 | 0.054443 | 0.054443 | 0.054443 | 0.99513 | -0.0932 | 0.9953 | -0.090106 | 14.957

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41415 | 0.10429

## res_load
| p_mw | q_mvar
0 | 0.037536 | 0.0094073
1 | 0.0826 | 0.020702
2 | 0.047195 | 0.011828
3 | 0.04005 | 0.010038
4 | 0.048005 | 0.012031
5 | 0.0072594 | 0.0018194
6 | 0.0087851 | 0.0022017
7 | 0.013098 | 0.0032826
8 | 0.0052944 | 0.0013269
9 | 0.00026803 | 6.7174e-05
10 | 0.00029774 | 7.462e-05
11 | 0.00029768 | 7.4605e-05
12 | 0.092597 | 0.023207
13 | 0.0072582 | 0.0018191
14 | 0.0035512 | 0.00089001
15 | 0.00029768 | 7.4605e-05
16 | 0.00026803 | 6.7174e-05
17 | 0.0035519 | 0.00089019
18 | 0.0002678 | 6.7118e-05
19 | 0.00066948 | 0.00016779
20 | 0.0002678 | 6.7118e-05
21 | 0.00066929 | 0.00016774
22 | 0.00026803 | 6.7174e-05
23 | 0.00073122 | 0.00018326
24 | 0.00026795 | 6.7154e-05
25 | 0.00073199 | 0.00018345
26 | 0.00026803 | 6.7174e-05
27 | 0.0072594 | 0.0018194
28 | 0.00026803 | 6.7174e-05
29 | 0.00026795 | 6.7154e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1