## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-68_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-68_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_230-68_0_4_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_230-68_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-68_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_230-68_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_230-68_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_230-68_0_4_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_230-68_0_4_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_230-68_0_4_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_230-68_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_230-68_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_230-68_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_230-68_0_4_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_230-68_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_230-68_0_4_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_230-68_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_230-68_0_4_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_230-68_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_230-68_0_4_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_230-68_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_230-68_0_4_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_230-68_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_230-68_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_230-68_0_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_230-68_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_230-68_0_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_230-68_0_4_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_230-68_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_230-68_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_230-68_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_230-68_0_4_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_230-68_0_4_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_230-68_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_230-68_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_230-68_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_230-68_0_4_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_230-68_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_230-68_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_230-68_0_4_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_230-68_0_4_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_230-68_0_4_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_230-68_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_230-68_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_230-68_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_230-68_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_230-68_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_230-68_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_230-68_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_230-68_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_230-68_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_230-68_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_230-68_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_230-68_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_230-68_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_230-68_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_230-68_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_230-68_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_230-68_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_230-68_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_230-68_0_4_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_230-68_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_230-68_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_230-68_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_230-68_0_4_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_230-68_0_4_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_230-68_0_4_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_230-68_0_4_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_230-68_0_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_230-68_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_230-68_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_230-68_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_230-68_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_230-68_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_230-68_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_MV_513_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-68_0_4_load_0 | 0 | 0.017679 | 0.0044309 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-68_0_4_load_3 | 3 | 0.0042513 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-68_0_4_load_79 | 7 | 0.0097569 | 0.0024453 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-68_0_4_load_72 | 8 | 0.0097536 | 0.0024445 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-68_0_4_load_81 | 9 | 0.0054512 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-68_0_4_load_23 | 11 | 0.020829 | 0.0052203 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-68_0_4_load_55 | 13 | 0.0031161 | 0.00078096 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-68_0_4_load_57 | 16 | 0.00747 | 0.0018721 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-68_0_4_load_63 | 17 | 0.022068 | 0.0055308 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-68_0_4_load_65 | 19 | 0.076753 | 0.019236 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-68_0_4_load_56 | 21 | 0.045341 | 0.011363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-68_0_4_load_68 | 24 | 0.0073038 | 0.0018305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-68_0_4_load_78 | 27 | 0.0018767 | 0.00047034 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-68_0_4_load_54 | 29 | 0.0033394 | 0.00083694 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-68_0_4_load_80 | 30 | 0.0025222 | 0.00063212 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-68_0_4_load_53 | 31 | 0.0044693 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-68_0_4_load_70 | 32 | 0.014271 | 0.0035767 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-68_0_4_load_25 | 33 | 0.0042492 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-68_0_4_load_30 | 35 | 0.0037588 | 0.00094205 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-68_0_4_load_48 | 36 | 0.0053782 | 0.0013479 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-68_0_4_load_27 | 37 | 0.0061141 | 0.0015323 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-68_0_4_load_28 | 38 | 0.0089867 | 0.0022523 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-68_0_4_load_61 | 40 | 0.0075912 | 0.0019025 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-68_0_4_load_67 | 41 | 0.0074872 | 0.0018765 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-68_0_4_load_41 | 42 | 0.0035569 | 0.00089145 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-68_0_4_load_42 | 43 | 0.00551 | 0.0013809 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-68_0_4_load_52 | 45 | 0.0066284 | 0.0016612 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-68_0_4_load_33 | 46 | 0.035177 | 0.0088162 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-68_0_4_load_69 | 48 | 0.013995 | 0.0035075 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-68_0_4_load_31 | 49 | 0.006028 | 0.0015108 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-68_0_4_load_38 | 51 | 0.010108 | 0.0025333 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-68_0_4_load_40 | 54 | 0.0048092 | 0.0012053 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-68_0_4_load_47 | 55 | 0.0051212 | 0.0012835 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-68_0_4_load_46 | 56 | 0.0056603 | 0.0014186 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-68_0_4_load_45 | 57 | 0.0055346 | 0.0013871 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-68_0_4_load_35 | 58 | 0.038647 | 0.0096858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-68_0_4_load_44 | 61 | 0.012011 | 0.0030103 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-68_0_4_load_43 | 62 | 0.0055779 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-68_0_4_load_51 | 63 | 0.00066836 | 0.00016751 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-68_0_4_load_82 | 66 | 0.010555 | 0.0026454 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-68_0_4_load_77 | 68 | 0.00066836 | 0.00016751 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-68_0_4_load_58 | 69 | 0.012168 | 0.0030496 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-68_0_4_load_59 | 70 | 0.035805 | 0.0089737 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-68_0_4_load_60 | 71 | 0.0072062 | 0.001806 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-68_0_4_load_62 | 72 | 0.0054698 | 0.0013709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-68_0_4_load_66 | 73 | 0.0025922 | 0.00064968 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-68_0_4_load_73 | 74 | 0.0040769 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-68_0_4_line_0 |  | 0 | 1 | 0.021823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-68_0_4_line_1 |  | 1 | 2 | 0.034031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-68_0_4_line_2 |  | 2 | 10 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_230-68_0_4_line_3 |  | 2 | 11 | 0.03772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_230-68_0_4_line_4 |  | 3 | 4 | 0.019026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-68_0_4_line_5 |  | 4 | 33 | 0.015338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_230-68_0_4_line_6 |  | 4 | 34 | 0.004157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-68_0_4_line_7 |  | 4 | 11 | 0.019378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_230-68_0_4_line_8 |  | 5 | 6 | 0.005119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-68_0_4_line_9 |  | 5 | 7 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-68_0_4_line_10 |  | 5 | 8 | 0.026079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-68_0_4_line_11 |  | 6 | 9 | 0.055731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-68_0_4_line_12 |  | 8 | 39 | 0.026271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-68_0_4_line_13 |  | 10 | 12 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_230-68_0_4_line_14 |  | 10 | 13 | 0.042189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-68_0_4_line_15 |  | 12 | 31 | 0.019054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-68_0_4_line_16 |  | 12 | 20 | 0.0097372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_230-68_0_4_line_17 |  | 14 | 15 | 0.006081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_230-68_0_4_line_18 |  | 14 | 16 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_230-68_0_4_line_19 |  | 14 | 17 | 0.012974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-68_0_4_line_20 |  | 15 | 40 | 0.013062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_230-68_0_4_line_21 |  | 15 | 18 | 0.05828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-68_0_4_line_22 |  | 16 | 21 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_230-68_0_4_line_23 |  | 18 | 19 | 0.03786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-68_0_4_line_24 |  | 20 | 21 | 0.023466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_230-68_0_4_line_25 |  | 22 | 23 | 0.041213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-68_0_4_line_26 |  | 22 | 24 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-68_0_4_line_27 |  | 23 | 28 | 0.007367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-68_0_4_line_28 |  | 23 | 29 | 0.030478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-68_0_4_line_29 |  | 23 | 30 | 0.045422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-68_0_4_line_30 |  | 24 | 41 | 0.027304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-68_0_4_line_31 |  | 25 | 26 | 0.058702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-68_0_4_line_32 |  | 25 | 27 | 0.0080529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-68_0_4_line_33 |  | 26 | 44 | 0.037569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-68_0_4_line_34 |  | 28 | 32 | 0.021876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-68_0_4_line_35 |  | 29 | 45 | 0.024589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-68_0_4_line_36 |  | 32 | 48 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-68_0_4_line_37 |  | 33 | 49 | 0.018894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_230-68_0_4_line_38 |  | 34 | 47 | 0.00601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-68_0_4_line_39 |  | 35 | 36 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-68_0_4_line_40 |  | 36 | 55 | 0.040848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-68_0_4_line_41 |  | 37 | 38 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-68_0_4_line_42 |  | 38 | 50 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-68_0_4_line_43 |  | 39 | 74 | 0.023733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-68_0_4_line_44 |  | 39 | 48 | 0.021909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-68_0_4_line_45 |  | 40 | 70 | 0.0079075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_230-68_0_4_line_46 |  | 41 | 73 | 0.02305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-68_0_4_line_47 |  | 42 | 43 | 0.022506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-68_0_4_line_48 |  | 43 | 62 | 0.012241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-68_0_4_line_49 |  | 44 | 63 | 0.031741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-68_0_4_line_50 |  | 44 | 54 | 0.041574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-68_0_4_line_51 |  | 46 | 47 | 0.046752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-68_0_4_line_52 |  | 49 | 50 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-68_0_4_line_53 |  | 50 | 52 | 0.004309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-68_0_4_line_54 |  | 51 | 52 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-68_0_4_line_55 |  | 52 | 53 | 0.005178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-68_0_4_line_56 |  | 52 | 54 | 0.037376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-68_0_4_line_57 |  | 53 | 56 | 0.026729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-68_0_4_line_58 |  | 53 | 57 | 0.022377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-68_0_4_line_59 |  | 55 | 56 | 0.017113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-68_0_4_line_60 |  | 57 | 60 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-68_0_4_line_61 |  | 58 | 59 | 0.012261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-68_0_4_line_62 |  | 59 | 60 | 0.045087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-68_0_4_line_63 |  | 60 | 61 | 0.0086907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-68_0_4_line_64 |  | 61 | 62 | 0.022269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-68_0_4_line_65 |  | 63 | 64 | 0.0032426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-68_0_4_line_66 |  | 64 | 67 | 0.007635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-68_0_4_line_67 |  | 65 | 66 | 0.019859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-68_0_4_line_68 |  | 65 | 67 | 0.076815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-68_0_4_line_69 |  | 67 | 68 | 0.017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-68_0_4_line_70 |  | 69 | 70 | 0.042595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-68_0_4_line_71 |  | 69 | 71 | 0.008208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-68_0_4_line_72 |  | 71 | 72 | 0.02706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-68_0_4_line_73 |  | 72 | 73 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-68_0_4_trafo_57 | 0.63 MVA 20/0.4 kV | 75 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2697929.9126 | 1261924.0364 | 2697926.7958 | 1261945.6353
1 | 2697929.9126 | 1261924.0364 | 2697958.4314 | 1261929.2684 | 2697961.1238 | 1261930.047 | 2697962.542 | 1261931.7719
2 | 2697960.4442 | 1261919.2158 | 2697959.4339 | 1261924.2476 | 2697958.4314 | 1261929.2684 | 2697961.1238 | 1261930.047 | 2697962.542 | 1261931.7719
3 | 2697962.542 | 1261931.7719 | 2697964.2621 | 1261935.748 | 2697972.1258 | 1261968.1962
4 | 2697976.6899 | 1261987.0291 | 2697958.1808 | 1261991.4328
5 | 2697976.6899 | 1261987.0291 | 2697980.3737 | 1262001.9179
6 | 2697980.745 | 1261986.0621 | 2697976.6899 | 1261987.0291
7 | 2697976.6899 | 1261987.0291 | 2697972.1258 | 1261968.1962
8 | 2697886.9436 | 1261782.0872 | 2697887.4199 | 1261776.9909
9 | 2697887.4199 | 1261776.9909 | 2697888.8918 | 1261761.1538
10 | 2697887.4199 | 1261776.9909 | 2697913.4359 | 1261778.8012
11 | 2697886.9436 | 1261782.0872 | 2697886.5679 | 1261786.1176 | 2697881.317 | 1261837.5332
12 | 2697939.6436 | 1261780.6249 | 2697913.4359 | 1261778.8012
13 | 2697971.4914 | 1261919.6769 | 2697965.6702 | 1261918.5351 | 2697963.404 | 1261919.3204 | 2697960.4442 | 1261919.2158
14 | 2697960.4442 | 1261919.2158 | 2697935.3614 | 1261914.4521 | 2697918.9992 | 1261911.3282
15 | 2697971.4914 | 1261919.6769 | 2697976.1469 | 1261901.1999
16 | 2697971.4914 | 1261919.6769 | 2697979.6863 | 1261921.2806 | 2697980.5805 | 1261922.3407
17 | 2698054.9279 | 1261937.3181 | 2698048.9331 | 1261936.1956
18 | 2698048.9331 | 1261936.1956 | 2698021.8884 | 1261930.7137
19 | 2698048.9331 | 1261936.1956 | 2698049.8716 | 1261930.9513 | 2698042.365 | 1261929.4979
20 | 2698054.9279 | 1261937.3181 | 2698057.3594 | 1261924.4846
21 | 2698054.9279 | 1261937.3181 | 2698112.4074 | 1261947.9242
22 | 2698003.5787 | 1261927.0024 | 2698021.8884 | 1261930.7137
23 | 2698112.4074 | 1261947.9242 | 2698112.802 | 1261945.9403 | 2698115.9143 | 1261930.5015 | 2698119.4396 | 1261910.7256
24 | 2697980.5805 | 1261922.3407 | 2698003.5787 | 1261927.0024
25 | 2698001.1518 | 1261828.7828 | 2698009.8758 | 1261793.4763 | 2698005.1456 | 1261792.4304
26 | 2698001.1518 | 1261828.7828 | 2698015.5587 | 1261831.493
27 | 2698005.1456 | 1261792.4304 | 2698006.952 | 1261785.2878
28 | 2698005.1456 | 1261792.4304 | 2697996.457 | 1261821.6441
29 | 2698005.1456 | 1261792.4304 | 2697999.2441 | 1261791.1204 | 2697998.1799 | 1261789.8573 | 2697996.2619 | 1261789.1806 | 2697960.6422 | 1261786.9252
30 | 2698042.3922 | 1261836.5409 | 2698015.5587 | 1261831.493
31 | 2698098.0758 | 1262105.4042 | 2698095.1309 | 1262106.6786 | 2698091.1153 | 1262097.549 | 2698077.1275 | 1262095.3931 | 2698069.3738 | 1262092.1953 | 2698066.3592 | 1262094.4916 | 2698063.0182 | 1262095.5704 | 2698055.939 | 1262094.4077 | 2698047.3003 | 1262094.1421
32 | 2698098.0758 | 1262105.4042 | 2698094.6779 | 1262098.1032
33 | 2698012.797 | 1262107.6702 | 2698016.4447 | 1262107.1858 | 2698019.6861 | 1262106.2054 | 2698024.0004 | 1262103.2411 | 2698031.674 | 1262098.5422 | 2698040.2467 | 1262095.0704 | 2698047.3003 | 1262094.1421
34 | 2698006.952 | 1261785.2878 | 2697993.3367 | 1261784.2614 | 2697985.1332 | 1261783.7058
35 | 2697990.2014 | 1261845.4198 | 2697994.7228 | 1261827.4752 | 2697996.457 | 1261821.6441
36 | 2697961.5024 | 1261782.1053 | 2697985.1332 | 1261783.7058
37 | 2697984.9117 | 1262020.2591 | 2697980.3737 | 1262001.9179
38 | 2697980.745 | 1261986.0621 | 2697979.3196 | 1261980.2226
39 | 2697976.036 | 1262089.2468 | 2697966.7497 | 1262093.1635
40 | 2698005.9169 | 1262073.125 | 2698007.1245 | 1262078.0298 | 2698006.8842 | 1262080.7058 | 2698005.2275 | 1262082.9135 | 2697992.9889 | 1262087.9704 | 2697989.1841 | 1262088.3855 | 2697981.0275 | 1262088.128 | 2697976.2404 | 1262089.1606 | 2697976.036 | 1262089.2468
41 | 2697971.1973 | 1262040.8412 | 2697961.8081 | 1262044.6728
42 | 2697988.2793 | 1262033.8704 | 2697971.1973 | 1262040.8412
43 | 2697939.6436 | 1261780.6249 | 2697940.6027 | 1261756.9116
44 | 2697939.6436 | 1261780.6249 | 2697961.5024 | 1261782.1053
45 | 2698058.8314 | 1261916.7153 | 2698057.3594 | 1261924.4846
46 | 2698065.0447 | 1261840.8023 | 2698042.3922 | 1261836.5409
47 | 2698097.107 | 1262002.3556 | 2698084.6064 | 1262005.7104 | 2698075.3693 | 1262008.1864
48 | 2698063.5459 | 1262011.3557 | 2698075.3693 | 1262008.1864
49 | 2698012.797 | 1262107.6702 | 2698014.3732 | 1262113.0452 | 2698017.5787 | 1262127.41 | 2698020.0761 | 1262138.5552
50 | 2698012.797 | 1262107.6702 | 2698009.8847 | 1262105.1644 | 2698001.7337 | 1262078.6632 | 2697999.7366 | 1262068.859
51 | 2697979.3196 | 1261980.2226 | 2697986.4659 | 1261978.7064 | 2697987.6844 | 1261981.1175 | 2697991.9259 | 1261983.4563 | 2697995.0193 | 1261982.7736 | 2697998.8266 | 1261980.3903 | 2698000.9275 | 1261981.3926 | 2698002.743 | 1261981.8786 | 2698005.6125 | 1261981.07 | 2698006.62 | 1261978.9294 | 2698007.1559 | 1261977.5149 | 2698009.8644 | 1261975.9585 | 2698011.5576 | 1261973.3733 | 2698011.293 | 1261968.8763 | 2698011.1076 | 1261966.4268
52 | 2697988.2793 | 1262033.8704 | 2697984.9117 | 1262020.2591
53 | 2697992.2777 | 1262032.2353 | 2697988.2793 | 1262033.8704
54 | 2697992.2777 | 1262032.2353 | 2697987.7244 | 1262014.0054
55 | 2697992.2777 | 1262032.2353 | 2697997.2174 | 1262030.6381
56 | 2697992.2777 | 1262032.2353 | 2697994.4518 | 1262042.9134 | 2697999.7366 | 1262068.859
57 | 2697997.2174 | 1262030.6381 | 2697996.7224 | 1262040.4935 | 2697999.8242 | 1262053.8447 | 2698000.9918 | 1262056.7753
58 | 2697997.2174 | 1262030.6381 | 2698018.5658 | 1262023.9326
59 | 2698005.9169 | 1262073.125 | 2698003.3474 | 1262062.688 | 2698000.9918 | 1262056.7753
60 | 2698033.6285 | 1262019.321 | 2698031.0474 | 1262020.0121 | 2698018.5658 | 1262023.9326
61 | 2698020.0874 | 1261980.2202 | 2698032.3482 | 1261980.1121
62 | 2698033.6285 | 1262019.321 | 2698030.8406 | 1262005.2188 | 2698021.9862 | 1262000.6795 | 2698020.6437 | 1261998.0217 | 2698020.0874 | 1261980.2202
63 | 2698033.6285 | 1262019.321 | 2698042.0276 | 1262017.0885
64 | 2698063.5459 | 1262011.3557 | 2698057.728 | 1262012.9152 | 2698042.0276 | 1262017.0885
65 | 2698020.7851 | 1262141.7193 | 2698020.0761 | 1262138.5552
66 | 2698021.6564 | 1262149.1621 | 2698020.5424 | 1262145.9076 | 2698020.7851 | 1262141.7193
67 | 2698081.9228 | 1262156.0778 | 2698072.2947 | 1262138.6928
68 | 2698021.6564 | 1262149.1621 | 2698025.9938 | 1262148.8893 | 2698028.9754 | 1262150.8514 | 2698030.9633 | 1262153.6644 | 2698037.9499 | 1262170.8498 | 2698050.4599 | 1262165.7752 | 2698051.5811 | 1262165.4157 | 2698067.7867 | 1262163.3271 | 2698081.9228 | 1262156.0778
69 | 2698021.6564 | 1262149.1621 | 2698005.3907 | 1262155.555
70 | 2698068.4388 | 1261877.3276 | 2698067.532 | 1261882.093 | 2698062.7329 | 1261907.4564 | 2698060.6596 | 1261907.0662 | 2698058.8314 | 1261916.7153
71 | 2698068.4388 | 1261877.3276 | 2698068.4896 | 1261877.0603 | 2698069.9639 | 1261869.2626
72 | 2698069.9639 | 1261869.2626 | 2698074.9908 | 1261842.6734 | 2698074.9908 | 1261842.6734
73 | 2698074.9908 | 1261842.6734 | 2698065.0447 | 1261840.8023

## bus_geodata
| x | y | coords
0 | 2697926.7958 | 1261945.6353
1 | 2697929.9126 | 1261924.0364
2 | 2697962.542 | 1261931.7719
3 | 2697958.1808 | 1261991.4328
4 | 2697976.6899 | 1261987.0291
5 | 2697887.4199 | 1261776.9909
6 | 2697886.9436 | 1261782.0872
7 | 2697888.8918 | 1261761.1538
8 | 2697913.4359 | 1261778.8012
9 | 2697881.317 | 1261837.5332
10 | 2697960.4442 | 1261919.2158
11 | 2697972.1258 | 1261968.1962
12 | 2697971.4914 | 1261919.6769
13 | 2697918.9992 | 1261911.3282
14 | 2698048.9331 | 1261936.1956
15 | 2698054.9279 | 1261937.3181
16 | 2698021.8884 | 1261930.7137
17 | 2698042.365 | 1261929.4979
18 | 2698112.4074 | 1261947.9242
19 | 2698119.4396 | 1261910.7256
20 | 2697980.5805 | 1261922.3407
21 | 2698003.5787 | 1261927.0024
22 | 2698001.1518 | 1261828.7828
23 | 2698005.1456 | 1261792.4304
24 | 2698015.5587 | 1261831.493
25 | 2698098.0758 | 1262105.4042
26 | 2698047.3003 | 1262094.1421
27 | 2698094.6779 | 1262098.1032
28 | 2698006.952 | 1261785.2878
29 | 2697996.457 | 1261821.6441
30 | 2697960.6422 | 1261786.9252
31 | 2697976.1469 | 1261901.1999
32 | 2697985.1332 | 1261783.7058
33 | 2697980.3737 | 1262001.9179
34 | 2697980.745 | 1261986.0621
35 | 2697966.7497 | 1262093.1635
36 | 2697976.036 | 1262089.2469
37 | 2697961.8081 | 1262044.6728
38 | 2697971.1973 | 1262040.8412
39 | 2697939.6436 | 1261780.6249
40 | 2698057.3594 | 1261924.4846
41 | 2698042.3922 | 1261836.5409
42 | 2698097.107 | 1262002.3556
43 | 2698075.3693 | 1262008.1864
44 | 2698012.797 | 1262107.6702
45 | 2697990.2014 | 1261845.4198
46 | 2698011.1076 | 1261966.4268
47 | 2697979.3196 | 1261980.2226
48 | 2697961.5024 | 1261782.1053
49 | 2697984.9117 | 1262020.2591
50 | 2697988.2793 | 1262033.8704
51 | 2697987.7244 | 1262014.0054
52 | 2697992.2777 | 1262032.2353
53 | 2697997.2174 | 1262030.6381
54 | 2697999.7366 | 1262068.859
55 | 2698005.9169 | 1262073.125
56 | 2698000.9918 | 1262056.7753
57 | 2698018.5658 | 1262023.9326
58 | 2698032.3482 | 1261980.1121
59 | 2698020.0874 | 1261980.2202
60 | 2698033.6285 | 1262019.321
61 | 2698042.0276 | 1262017.0885
62 | 2698063.5459 | 1262011.3557
63 | 2698020.0761 | 1262138.5552
64 | 2698020.7851 | 1262141.7193
65 | 2698081.9228 | 1262156.0778
66 | 2698072.2947 | 1262138.6928
67 | 2698021.6564 | 1262149.1621
68 | 2698005.3907 | 1262155.555
69 | 2698068.4388 | 1261877.3276
70 | 2698058.8314 | 1261916.7153
71 | 2698069.9639 | 1261869.2626
72 | 2698074.9908 | 1261842.6734
73 | 2698065.0447 | 1261840.8023
74 | 2697940.6027 | 1261756.9116
75 | 2698021.8884 | 1261930.7137

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99044 | -0.18236 | 0.017679 | 0.0044309
1 | 0.99079 | -0.1755 | 0 | 0
2 | 0.99134 | -0.16483 | 0 | 0
3 | 0.98604 | -0.26708 | 0.0042513 | 0.0010655
4 | 0.98611 | -0.26563 | 0 | 0
5 | 0.97487 | -0.48513 | 0 | 0
6 | 0.97484 | -0.48564 | 0 | 0
7 | 0.97472 | -0.48798 | 0.0097569 | 0.0024453
8 | 0.97523 | -0.47786 | 0.0097536 | 0.0024445
9 | 0.97456 | -0.49122 | 0.0054512 | 0.0013662
10 | 0.99292 | -0.13467 | 0 | 0
11 | 0.98777 | -0.23368 | 0.020829 | 0.0052203
12 | 0.99409 | -0.11221 | 0 | 0
13 | 0.9928 | -0.137 | 0.0031161 | 0.00078096
14 | 0.99677 | -0.061343 | 0 | 0
15 | 0.99612 | -0.073736 | 0 | 0
16 | 1 | 0 | -0.53854 | -0.13725
17 | 0.99651 | -0.066367 | 0.022068 | 0.0055308
18 | 0.99202 | -0.15263 | 0 | 0
19 | 0.98936 | -0.20424 | 0.076753 | 0.019236
20 | 0.99513 | -0.092452 | 0 | 0
21 | 0.99763 | -0.044997 | 0.045341 | 0.011363
22 | 0.98161 | -0.35288 | 0 | 0
23 | 0.97894 | -0.40506 | 0 | 0
24 | 0.98256 | -0.33438 | 0.0073038 | 0.0018305
25 | 0.98029 | -0.37902 | 0 | 0
26 | 0.98039 | -0.37702 | 0 | 0
27 | 0.98028 | -0.37929 | 0.0018767 | 0.00047034
28 | 0.97855 | -0.41274 | 0 | 0
29 | 0.97866 | -0.41059 | 0.0033394 | 0.00083694
30 | 0.97883 | -0.40714 | 0.0025222 | 0.00063212
31 | 0.99401 | -0.11372 | 0.0044693 | 0.0011201
32 | 0.97738 | -0.43559 | 0.014271 | 0.0035767
33 | 0.98509 | -0.28556 | 0.0042492 | 0.0010649
34 | 0.98598 | -0.26825 | 0 | 0
35 | 0.9801 | -0.38282 | 0.0037588 | 0.00094205
36 | 0.98013 | -0.38213 | 0.0053782 | 0.0013479
37 | 0.98179 | -0.34964 | 0.0061141 | 0.0015323
38 | 0.98185 | -0.34852 | 0.0089867 | 0.0022523
39 | 0.97584 | -0.46585 | 0 | 0
40 | 0.99519 | -0.091584 | 0.0075912 | 0.0019025
41 | 0.98452 | -0.29645 | 0.0074872 | 0.0018765
42 | 0.97808 | -0.42237 | 0.0035569 | 0.00089145
43 | 0.97815 | -0.42091 | 0.00551 | 0.0013809
44 | 0.98046 | -0.37574 | 0 | 0
45 | 0.97851 | -0.41355 | 0.0066284 | 0.0016612
46 | 0.98427 | -0.30159 | 0.035177 | 0.0088162
47 | 0.98578 | -0.27204 | 0 | 0
48 | 0.97644 | -0.45421 | 0.013995 | 0.0035075
49 | 0.98386 | -0.30945 | 0.006028 | 0.0015108
50 | 0.98211 | -0.34348 | 0 | 0
51 | 0.98146 | -0.35622 | 0.010108 | 0.0025333
52 | 0.98163 | -0.35279 | 0 | 0
53 | 0.9812 | -0.36129 | 0 | 0
54 | 0.98099 | -0.36536 | 0.0048092 | 0.0012053
55 | 0.98048 | -0.37536 | 0.0051212 | 0.0012835
56 | 0.9807 | -0.37094 | 0.0056603 | 0.0014186
57 | 0.97972 | -0.39003 | 0.0055346 | 0.0013871
58 | 0.97671 | -0.44914 | 0.038647 | 0.0096858
59 | 0.97715 | -0.44049 | 0 | 0
60 | 0.97877 | -0.40873 | 0 | 0
61 | 0.97856 | -0.41295 | 0.012011 | 0.0030103
62 | 0.97825 | -0.41889 | 0.0055779 | 0.001398
63 | 0.98011 | -0.38259 | 0.00066836 | 0.00016751
64 | 0.98008 | -0.38325 | 0 | 0
65 | 0.97924 | -0.39954 | 0 | 0
66 | 0.97905 | -0.40335 | 0.010555 | 0.0026454
67 | 0.98 | -0.38481 | 0 | 0
68 | 0.97998 | -0.38502 | 0.00066836 | 0.00016751
69 | 0.99023 | -0.18633 | 0.012168 | 0.0030496
70 | 0.99465 | -0.10188 | 0.035805 | 0.0089737
71 | 0.98947 | -0.20091 | 0.0072062 | 0.001806
72 | 0.98715 | -0.24565 | 0.0054698 | 0.0013709
73 | 0.98633 | -0.26145 | 0.0025922 | 0.00064968
74 | 0.97575 | -0.46762 | 0.0040769 | 0.0010218
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017679 | -0.0044309 | 0.017685 | 0.0044343 | 5.7734e-06 | 3.414e-06 | 0.026561 | 0.026561 | 0.026561 | 0.99044 | -0.18236 | 0.99079 | -0.1755 | 7.297
1 | -0.017685 | -0.0044343 | 0.017694 | 0.0044396 | 9.0031e-06 | 5.3235e-06 | 0.026561 | 0.026561 | 0.026561 | 0.99079 | -0.1755 | 0.99134 | -0.16483 | 7.297
2 | -0.22471 | -0.057063 | 0.22503 | 0.057272 | 0.00032661 | 0.00020864 | 0.33755 | 0.33755 | 0.33755 | 0.99134 | -0.16483 | 0.99292 | -0.13467 | 46.3671
3 | 0.20701 | 0.052624 | -0.20633 | -0.052187 | 0.00068402 | 0.0004368 | 0.31099 | 0.31099 | 0.31099 | 0.99134 | -0.16483 | 0.98777 | -0.23368 | 42.7187
4 | -0.0042513 | -0.0010655 | 0.0042516 | 0.0010654 | 2.9365e-07 | -5.4766e-08 | 0.0064155 | 0.0064154 | 0.0064155 | 0.98604 | -0.26708 | 0.98611 | -0.26563 | 1.7625
5 | 0.14573 | 0.036866 | -0.14559 | -0.036777 | 0.00013921 | 8.8706e-05 | 0.22002 | 0.22002 | 0.22002 | 0.98611 | -0.26563 | 0.98509 | -0.28556 | 30.2224
6 | 0.035238 | 0.0088541 | -0.035233 | -0.0088514 | 4.4088e-06 | 2.7686e-06 | 0.05318 | 0.05318 | 0.05318 | 0.98611 | -0.26563 | 0.98598 | -0.26825 | 14.61
7 | -0.18522 | -0.046785 | 0.1855 | 0.046967 | 0.00028407 | 0.00018131 | 0.27961 | 0.27961 | 0.27961 | 0.98611 | -0.26563 | 0.98777 | -0.23368 | 38.4086
8 | 0.0054527 | 0.0013664 | -0.0054526 | -0.0013664 | 1.3297e-07 | 2.1281e-08 | 0.0083229 | 0.0083229 | 0.0083229 | 0.97487 | -0.48513 | 0.97484 | -0.48564 | 2.2865
9 | 0.0097582 | 0.002446 | -0.0097569 | -0.0024453 | 1.3233e-06 | 6.4862e-07 | 0.014895 | 0.014895 | 0.014895 | 0.97487 | -0.48513 | 0.97472 | -0.48798 | 4.092
10 | -0.015211 | -0.0038124 | 0.015216 | 0.0038155 | 5.2718e-06 | 3.0487e-06 | 0.023218 | 0.023218 | 0.023218 | 0.97487 | -0.48513 | 0.97523 | -0.47786 | 6.3785
11 | 0.0054526 | 0.0013664 | -0.0054512 | -0.0013662 | 1.4478e-06 | 2.3194e-07 | 0.0083229 | 0.0083232 | 0.0083232 | 0.97484 | -0.48564 | 0.97456 | -0.49122 | 2.2866
12 | -0.02497 | -0.0062599 | 0.024984 | 0.0062688 | 1.4301e-05 | 8.8243e-06 | 0.0381 | 0.0381 | 0.0381 | 0.97523 | -0.47786 | 0.97584 | -0.46585 | 10.467
13 | -0.22815 | -0.058053 | 0.2284 | 0.058211 | 0.00024726 | 0.00015796 | 0.34222 | 0.34222 | 0.34222 | 0.99292 | -0.13467 | 0.99409 | -0.11221 | 47.0086
14 | 0.0031164 | 0.00078064 | -0.0031161 | -0.00078096 | 3.4508e-07 | -3.2476e-07 | 0.0046702 | 0.0046704 | 0.0046704 | 0.99292 | -0.13467 | 0.9928 | -0.137 | 1.2831
15 | 0.0044696 | 0.0011201 | -0.0044693 | -0.0011201 | 3.1983e-07 | -4.2322e-08 | 0.0066903 | 0.0066904 | 0.0066904 | 0.99409 | -0.11221 | 0.99401 | -0.11372 | 1.838
16 | -0.23287 | -0.059331 | 0.23309 | 0.059473 | 0.00022226 | 0.000142 | 0.34891 | 0.34891 | 0.34891 | 0.99409 | -0.11221 | 0.99513 | -0.092452 | 47.9276
17 | 0.23449 | 0.059662 | -0.23435 | -0.059572 | 0.00013997 | 8.9421e-05 | 0.35037 | 0.35037 | 0.35037 | 0.99677 | -0.061343 | 0.99612 | -0.073736 | 48.1276
18 | -0.25656 | -0.065196 | 0.25732 | 0.065682 | 0.00076024 | 0.00048583 | 0.38332 | 0.38332 | 0.38332 | 0.99677 | -0.061343 | 1 | 0 | 52.654
19 | 0.022073 | 0.005534 | -0.022068 | -0.0055308 | 5.2829e-06 | 3.212e-06 | 0.032953 | 0.032953 | 0.032953 | 0.99677 | -0.061343 | 0.99651 | -0.066367 | 9.0529
20 | 0.15712 | 0.04003 | -0.15698 | -0.039944 | 0.00013517 | 8.6171e-05 | 0.23493 | 0.23493 | 0.23493 | 0.99612 | -0.073736 | 0.99519 | -0.091584 | 32.2708
21 | 0.077233 | 0.019542 | -0.076942 | -0.019357 | 0.00029123 | 0.00018563 | 0.11544 | 0.11544 | 0.11544 | 0.99612 | -0.073736 | 0.99202 | -0.15263 | 31.7136
22 | 0.27957 | 0.071567 | -0.27896 | -0.071178 | 0.00060777 | 0.00038849 | 0.41654 | 0.41654 | 0.41654 | 1 | 0 | 0.99763 | -0.044997 | 57.2171
23 | 0.076942 | 0.019357 | -0.076753 | -0.019236 | 0.00018919 | 0.0001206 | 0.11544 | 0.11544 | 0.11544 | 0.99202 | -0.15263 | 0.98936 | -0.20424 | 31.7136
24 | -0.23309 | -0.059473 | 0.23362 | 0.059815 | 0.00053564 | 0.0003422 | 0.34891 | 0.34891 | 0.34891 | 0.99513 | -0.092452 | 0.99763 | -0.044997 | 47.9276
25 | 0.070134 | 0.017705 | -0.06996 | -0.017594 | 0.00017484 | 0.00011138 | 0.10636 | 0.10636 | 0.10636 | 0.98161 | -0.35288 | 0.97894 | -0.40506 | 29.2204
26 | -0.070134 | -0.017705 | 0.070197 | 0.017745 | 6.2191e-05 | 3.9617e-05 | 0.10636 | 0.10636 | 0.10636 | 0.98161 | -0.35288 | 0.98256 | -0.33438 | 29.2203
27 | 0.057466 | 0.014462 | -0.057445 | -0.014449 | 2.1089e-05 | 1.3404e-05 | 0.087371 | 0.087371 | 0.087371 | 0.97894 | -0.40506 | 0.97855 | -0.41274 | 24.0031
28 | 0.0099714 | 0.0024998 | -0.0099687 | -0.0024985 | 2.6258e-06 | 1.2974e-06 | 0.015157 | 0.015157 | 0.015157 | 0.97894 | -0.40506 | 0.97866 | -0.41059 | 4.164
29 | 0.0025224 | 0.0006317 | -0.0025222 | -0.00063212 | 2.5039e-07 | -4.1076e-07 | 0.003834 | 0.0038342 | 0.0038342 | 0.97894 | -0.40506 | 0.97883 | -0.40714 | 1.0533
30 | -0.0775 | -0.019575 | 0.077642 | 0.019665 | 0.00014118 | 9.0007e-05 | 0.11742 | 0.11742 | 0.11742 | 0.98256 | -0.33438 | 0.98452 | -0.29645 | 32.259
31 | -0.0018767 | -0.00047025 | 0.0018769 | 0.00046962 | 1.7862e-07 | -6.2583e-07 | 0.0028487 | 0.0028484 | 0.0028487 | 0.98029 | -0.37902 | 0.98039 | -0.37702 | 0.7826
32 | 0.0018767 | 0.00047025 | -0.0018767 | -0.00047034 | 2.4506e-08 | -8.584e-08 | 0.0028487 | 0.0028487 | 0.0028487 | 0.98029 | -0.37902 | 0.98028 | -0.37929 | 0.78261
33 | -0.0018769 | -0.00046962 | 0.001877 | 0.00046922 | 1.143e-07 | -4.0062e-07 | 0.0028484 | 0.0028482 | 0.0028484 | 0.98039 | -0.37702 | 0.98046 | -0.37574 | 0.78252
34 | 0.057445 | 0.014449 | -0.057382 | -0.014409 | 6.2624e-05 | 3.9805e-05 | 0.087371 | 0.087371 | 0.087371 | 0.97855 | -0.41274 | 0.97738 | -0.43559 | 24.0031
35 | 0.0066293 | 0.0016615 | -0.0066284 | -0.0016612 | 9.3684e-07 | 2.9066e-07 | 0.01008 | 0.01008 | 0.01008 | 0.97866 | -0.41059 | 0.97851 | -0.41355 | 2.7692
36 | 0.043111 | 0.010832 | -0.043073 | -0.010808 | 3.8273e-05 | 2.4198e-05 | 0.065644 | 0.065644 | 0.065644 | 0.97738 | -0.43559 | 0.97644 | -0.45421 | 18.0341
37 | 0.14134 | 0.035712 | -0.14118 | -0.035609 | 0.00016164 | 0.00010297 | 0.2136 | 0.2136 | 0.2136 | 0.98509 | -0.28556 | 0.98386 | -0.30945 | 29.3407
38 | 0.035233 | 0.0088514 | -0.035227 | -0.0088474 | 6.374e-06 | 4.0027e-06 | 0.05318 | 0.053181 | 0.053181 | 0.98598 | -0.26825 | 0.98578 | -0.27204 | 14.61
39 | -0.0037588 | -0.00094205 | 0.003759 | 0.00094201 | 1.2309e-07 | -4.8241e-08 | 0.0057068 | 0.0057068 | 0.0057068 | 0.9801 | -0.38282 | 0.98013 | -0.38213 | 1.5678
40 | -0.0091371 | -0.0022899 | 0.0091401 | 0.0022913 | 2.9475e-06 | 1.3714e-06 | 0.013872 | 0.013872 | 0.013872 | 0.98013 | -0.38213 | 0.98048 | -0.37536 | 3.8109
41 | -0.0061141 | -0.0015323 | 0.0061145 | 0.0015324 | 3.2655e-07 | 8.0744e-08 | 0.0092667 | 0.0092666 | 0.0092667 | 0.98179 | -0.34964 | 0.98185 | -0.34852 | 2.5458
42 | -0.015101 | -0.0037847 | 0.015105 | 0.0037868 | 3.6238e-06 | 2.0858e-06 | 0.022886 | 0.022886 | 0.022886 | 0.98185 | -0.34852 | 0.98211 | -0.34348 | 6.2874
43 | 0.0040772 | 0.0010217 | -0.0040769 | -0.0010218 | 3.44e-07 | -7.6307e-08 | 0.0062171 | 0.0062172 | 0.0062172 | 0.97584 | -0.46585 | 0.97575 | -0.46762 | 1.708
44 | -0.029061 | -0.0072905 | 0.029078 | 0.0073005 | 1.6136e-05 | 1.0053e-05 | 0.044317 | 0.044317 | 0.044317 | 0.97584 | -0.46585 | 0.97644 | -0.45421 | 12.1749
45 | 0.14939 | 0.038041 | -0.14931 | -0.037994 | 7.4116e-05 | 4.7229e-05 | 0.22358 | 0.22358 | 0.22358 | 0.99519 | -0.091584 | 0.99465 | -0.10188 | 30.7117
46 | -0.085129 | -0.021542 | 0.085272 | 0.021633 | 0.00014326 | 9.1391e-05 | 0.12874 | 0.12874 | 0.12874 | 0.98452 | -0.29645 | 0.98633 | -0.26145 | 35.3678
47 | -0.0035569 | -0.00089145 | 0.0035572 | 0.00089133 | 2.4714e-07 | -1.2431e-07 | 0.0054114 | 0.0054113 | 0.0054114 | 0.97808 | -0.42237 | 0.97815 | -0.42091 | 1.4866
48 | -0.0090672 | -0.0022723 | 0.0090681 | 0.0022727 | 8.7334e-07 | 4.0527e-07 | 0.013793 | 0.013793 | 0.013793 | 0.97815 | -0.42091 | 0.97825 | -0.41889 | 3.7894
49 | 0.011907 | 0.0029877 | -0.011903 | -0.0029856 | 3.8873e-06 | 2.0877e-06 | 0.018072 | 0.018072 | 0.018072 | 0.98046 | -0.37574 | 0.98011 | -0.38259 | 4.9647
50 | -0.013784 | -0.0034569 | 0.01379 | 0.0034608 | 6.8228e-06 | 3.842e-06 | 0.02092 | 0.02092 | 0.02092 | 0.98046 | -0.37574 | 0.98099 | -0.36536 | 5.7472
51 | -0.035177 | -0.0088162 | 0.035227 | 0.0088474 | 4.9584e-05 | 3.1139e-05 | 0.053181 | 0.053181 | 0.053181 | 0.98427 | -0.30159 | 0.98578 | -0.27204 | 14.6101
52 | 0.13515 | 0.034098 | -0.13493 | -0.033958 | 0.00021986 | 0.00014053 | 0.20448 | 0.20448 | 0.20448 | 0.98386 | -0.30945 | 0.98211 | -0.34348 | 56.1768
53 | 0.11982 | 0.030171 | -0.11977 | -0.030137 | 5.3288e-05 | 3.405e-05 | 0.1816 | 0.1816 | 0.1816 | 0.98211 | -0.34348 | 0.98163 | -0.35279 | 49.8895
54 | -0.010108 | -0.0025333 | 0.01011 | 0.0025341 | 1.6549e-06 | 8.2163e-07 | 0.015325 | 0.015325 | 0.015325 | 0.98146 | -0.35622 | 0.98163 | -0.35279 | 4.2102
55 | 0.09105 | 0.02293 | -0.091013 | -0.022907 | 3.701e-05 | 2.3621e-05 | 0.13806 | 0.13806 | 0.13806 | 0.98163 | -0.35279 | 0.9812 | -0.36129 | 37.9281
56 | 0.018611 | 0.0046727 | -0.0186 | -0.0046661 | 1.1157e-05 | 6.6685e-06 | 0.028214 | 0.028214 | 0.028214 | 0.98163 | -0.35279 | 0.98099 | -0.36536 | 7.7512
57 | 0.019934 | 0.0050006 | -0.019925 | -0.0049951 | 9.1612e-06 | 5.5257e-06 | 0.030232 | 0.030232 | 0.030232 | 0.9812 | -0.36129 | 0.9807 | -0.37094 | 8.3055
58 | 0.071079 | 0.017906 | -0.070981 | -0.017844 | 9.7562e-05 | 6.2157e-05 | 0.10783 | 0.10783 | 0.10783 | 0.9812 | -0.36129 | 0.97972 | -0.39003 | 29.6227
59 | -0.014261 | -0.0035748 | 0.014264 | 0.0035765 | 3.0063e-06 | 1.7081e-06 | 0.021644 | 0.021644 | 0.021644 | 0.98048 | -0.37536 | 0.9807 | -0.37094 | 5.9461
60 | 0.065447 | 0.016457 | -0.065388 | -0.016419 | 5.8398e-05 | 3.7176e-05 | 0.09942 | 0.099421 | 0.099421 | 0.97972 | -0.39003 | 0.97877 | -0.40873 | 27.3133
61 | -0.038647 | -0.0096858 | 0.038663 | 0.0096959 | 1.594e-05 | 1.0048e-05 | 0.058878 | 0.058878 | 0.058878 | 0.97671 | -0.44914 | 0.97715 | -0.44049 | 16.1754
62 | -0.038663 | -0.0096959 | 0.038721 | 0.0097328 | 5.8613e-05 | 3.6946e-05 | 0.058878 | 0.058878 | 0.058878 | 0.97715 | -0.44049 | 0.97877 | -0.40873 | 16.1753
63 | 0.026667 | 0.0066866 | -0.026661 | -0.0066833 | 5.3568e-06 | 3.3192e-06 | 0.040543 | 0.040543 | 0.040543 | 0.97877 | -0.40873 | 0.97856 | -0.41295 | 11.1381
64 | 0.01465 | 0.003673 | -0.014646 | -0.0036706 | 4.1446e-06 | 2.3729e-06 | 0.022278 | 0.022278 | 0.022278 | 0.97856 | -0.41295 | 0.97825 | -0.41889 | 6.1203
65 | 0.011234 | 0.0028181 | -0.011234 | -0.0028179 | 3.5378e-07 | 1.8555e-07 | 0.017057 | 0.017057 | 0.017057 | 0.98011 | -0.38259 | 0.98008 | -0.38325 | 4.686
66 | 0.011234 | 0.0028179 | -0.011233 | -0.0028175 | 8.33e-07 | 4.3691e-07 | 0.017057 | 0.017057 | 0.017057 | 0.98008 | -0.38325 | 0.98 | -0.38481 | 4.686
67 | 0.010557 | 0.0026464 | -0.010555 | -0.0026454 | 1.9166e-06 | 9.7686e-07 | 0.016043 | 0.016043 | 0.016043 | 0.97924 | -0.39954 | 0.97905 | -0.40335 | 4.4073
68 | -0.010557 | -0.0026464 | 0.010565 | 0.0026502 | 7.4134e-06 | 3.7774e-06 | 0.016043 | 0.016042 | 0.016043 | 0.97924 | -0.39954 | 0.98 | -0.38481 | 4.4073
69 | 0.00066837 | 0.00016729 | -0.00066836 | -0.00016751 | 6.7494e-09 | -2.1588e-07 | 0.0010148 | 0.0010148 | 0.0010148 | 0.98 | -0.38481 | 0.97998 | -0.38502 | 0.2788
70 | -0.11305 | -0.028726 | 0.11351 | 0.02902 | 0.00046171 | 0.00029494 | 0.17002 | 0.17002 | 0.17002 | 0.99023 | -0.18633 | 0.99465 | -0.10188 | 46.7077
71 | 0.10088 | 0.025676 | -0.10081 | -0.025631 | 7.0863e-05 | 4.5247e-05 | 0.15173 | 0.15173 | 0.15173 | 0.99023 | -0.18633 | 0.98947 | -0.20091 | 41.6845
72 | 0.093602 | 0.023825 | -0.093401 | -0.023696 | 0.00020144 | 0.00012858 | 0.14089 | 0.14089 | 0.14089 | 0.98947 | -0.20091 | 0.98715 | -0.24565 | 38.7073
73 | 0.087931 | 0.022325 | -0.087864 | -0.022283 | 6.678e-05 | 4.261e-05 | 0.13265 | 0.13265 | 0.13265 | 0.98715 | -0.24565 | 0.98633 | -0.26145 | 36.4422

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54601 | 0.13912

## res_load
| p_mw | q_mvar
0 | 0.017679 | 0.0044309
1 | 0.0042513 | 0.0010655
2 | 0.0097569 | 0.0024453
3 | 0.0097536 | 0.0024445
4 | 0.0054512 | 0.0013662
5 | 0.020829 | 0.0052203
6 | 0.0031161 | 0.00078096
7 | 0.00747 | 0.0018721
8 | 0.022068 | 0.0055308
9 | 0.076753 | 0.019236
10 | 0.045341 | 0.011363
11 | 0.0073038 | 0.0018305
12 | 0.0018767 | 0.00047034
13 | 0.0033394 | 0.00083694
14 | 0.0025222 | 0.00063212
15 | 0.0044693 | 0.0011201
16 | 0.014271 | 0.0035767
17 | 0.0042492 | 0.0010649
18 | 0.0037588 | 0.00094205
19 | 0.0053782 | 0.0013479
20 | 0.0061141 | 0.0015323
21 | 0.0089867 | 0.0022523
22 | 0.0075912 | 0.0019025
23 | 0.0074872 | 0.0018765
24 | 0.0035569 | 0.00089145
25 | 0.00551 | 0.0013809
26 | 0.0066284 | 0.0016612
27 | 0.035177 | 0.0088162
28 | 0.013995 | 0.0035075
29 | 0.006028 | 0.0015108
30 | 0.010108 | 0.0025333
31 | 0.0048092 | 0.0012053
32 | 0.0051212 | 0.0012835
33 | 0.0056603 | 0.0014186
34 | 0.0055346 | 0.0013871
35 | 0.038647 | 0.0096858
36 | 0.012011 | 0.0030103
37 | 0.0055779 | 0.001398
38 | 0.00066836 | 0.00016751
39 | 0.010555 | 0.0026454
40 | 0.00066836 | 0.00016751
41 | 0.012168 | 0.0030496
42 | 0.035805 | 0.0089737
43 | 0.0072062 | 0.001806
44 | 0.0054698 | 0.0013709
45 | 0.0025922 | 0.00064968
46 | 0.0040769 | 0.0010218

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1