## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-69_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-69_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-69_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-69_0_2_node_101 | 0.4 | n |  | TRUE
4 | bus_LV_230-69_0_2_node_105 | 0.4 | n |  | TRUE
5 | bus_LV_230-69_0_2_node_102 | 0.4 | n |  | TRUE
6 | bus_LV_230-69_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_230-69_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_230-69_0_2_node_80 | 0.4 | n |  | TRUE
9 | bus_LV_230-69_0_2_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_230-69_0_2_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_230-69_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_230-69_0_2_node_130 | 0.4 | n |  | TRUE
13 | bus_LV_230-69_0_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_230-69_0_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_230-69_0_2_node_128 | 0.4 | n |  | TRUE
16 | bus_LV_230-69_0_2_node_186 | 0.4 | n |  | TRUE
17 | bus_LV_230-69_0_2_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_230-69_0_2_node_97 | 0.4 | n |  | TRUE
19 | bus_LV_230-69_0_2_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_230-69_0_2_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_230-69_0_2_node_190 | 0.4 | n |  | TRUE
22 | bus_LV_230-69_0_2_node_131 | 0.4 | n |  | TRUE
23 | bus_LV_230-69_0_2_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_230-69_0_2_node_91 | 0.4 | n |  | TRUE
25 | bus_LV_230-69_0_2_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_230-69_0_2_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_230-69_0_2_node_107 | 0.4 | n |  | TRUE
28 | bus_LV_230-69_0_2_node_95 | 0.4 | n |  | TRUE
29 | bus_LV_230-69_0_2_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_230-69_0_2_node_140 | 0.4 | n |  | TRUE
31 | bus_LV_230-69_0_2_node_121 | 0.4 | n |  | TRUE
32 | bus_LV_230-69_0_2_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_230-69_0_2_node_100 | 0.4 | n |  | TRUE
34 | bus_LV_230-69_0_2_node_117 | 0.4 | n |  | TRUE
35 | bus_LV_230-69_0_2_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_230-69_0_2_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_230-69_0_2_node_141 | 0.4 | n |  | TRUE
38 | bus_LV_230-69_0_2_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_230-69_0_2_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_230-69_0_2_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_230-69_0_2_node_109 | 0.4 | n |  | TRUE
42 | bus_LV_230-69_0_2_node_110 | 0.4 | n |  | TRUE
43 | bus_LV_230-69_0_2_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_230-69_0_2_node_113 | 0.4 | n |  | TRUE
45 | bus_LV_230-69_0_2_node_115 | 0.4 | n |  | TRUE
46 | bus_LV_230-69_0_2_node_114 | 0.4 | n |  | TRUE
47 | bus_LV_230-69_0_2_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_230-69_0_2_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_230-69_0_2_node_119 | 0.4 | n |  | TRUE
50 | bus_LV_230-69_0_2_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_230-69_0_2_node_122 | 0.4 | n |  | TRUE
52 | bus_LV_230-69_0_2_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_230-69_0_2_node_124 | 0.4 | n |  | TRUE
54 | bus_LV_230-69_0_2_node_125 | 0.4 | n |  | TRUE
55 | bus_LV_230-69_0_2_node_126 | 0.4 | n |  | TRUE
56 | bus_LV_230-69_0_2_node_127 | 0.4 | n |  | TRUE
57 | bus_LV_230-69_0_2_node_133 | 0.4 | n |  | TRUE
58 | bus_LV_230-69_0_2_node_134 | 0.4 | n |  | TRUE
59 | bus_LV_230-69_0_2_node_188 | 0.4 | n |  | TRUE
60 | bus_LV_230-69_0_2_node_189 | 0.4 | n |  | TRUE
61 | bus_LV_230-69_0_2_node_155 | 0.4 | n |  | TRUE
62 | bus_LV_230-69_0_2_node_154 | 0.4 | n |  | TRUE
63 | bus_LV_230-69_0_2_node_146 | 0.4 | n |  | TRUE
64 | bus_LV_230-69_0_2_node_136 | 0.4 | n |  | TRUE
65 | bus_LV_230-69_0_2_node_137 | 0.4 | n |  | TRUE
66 | bus_LV_230-69_0_2_node_138 | 0.4 | n |  | TRUE
67 | bus_LV_230-69_0_2_node_139 | 0.4 | n |  | TRUE
68 | bus_LV_230-69_0_2_node_142 | 0.4 | n |  | TRUE
69 | bus_LV_230-69_0_2_node_143 | 0.4 | n |  | TRUE
70 | bus_LV_230-69_0_2_node_144 | 0.4 | n |  | TRUE
71 | bus_LV_230-69_0_2_node_145 | 0.4 | n |  | TRUE
72 | bus_LV_230-69_0_2_node_147 | 0.4 | n |  | TRUE
73 | bus_LV_230-69_0_2_node_148 | 0.4 | n |  | TRUE
74 | bus_LV_230-69_0_2_node_149 | 0.4 | n |  | TRUE
75 | bus_LV_230-69_0_2_node_150 | 0.4 | n |  | TRUE
76 | bus_LV_230-69_0_2_node_151 | 0.4 | n |  | TRUE
77 | bus_LV_230-69_0_2_node_152 | 0.4 | n |  | TRUE
78 | bus_LV_230-69_0_2_node_182 | 0.4 | n |  | TRUE
79 | bus_LV_230-69_0_2_node_183 | 0.4 | n |  | TRUE
80 | bus_MV_509_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-69_0_2_load_0 | 0 | 0.0054435 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-69_0_2_load_1 | 1 | 0.0017437 | 0.000437 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-69_0_2_load_105 | 4 | 0.0031981 | 0.00080151 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-69_0_2_load_102 | 5 | 0.0044778 | 0.0011222 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-69_0_2_load_80 | 8 | 0.00064234 | 0.00016098 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-69_0_2_load_135 | 10 | 0.0042474 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-69_0_2_load_130 | 12 | 0.0060365 | 0.0015129 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-69_0_2_load_128 | 15 | 0.0012632 | 0.00031659 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-69_0_2_load_186 | 16 | 0.0049353 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-69_0_2_load_97 | 18 | 0.001926 | 0.00048271 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-69_0_2_load_98 | 19 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-69_0_2_load_94 | 20 | 0.0022654 | 0.00056776 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-69_0_2_load_190 | 21 | 0.0040341 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-69_0_2_load_131 | 22 | 0.0025914 | 0.00064947 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-69_0_2_load_90 | 23 | 0.0041524 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-69_0_2_load_91 | 24 | 0.0039928 | 0.0010007 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-69_0_2_load_92 | 25 | 0.002773 | 0.00069499 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-69_0_2_load_95 | 28 | 0.0016375 | 0.0004104 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-69_0_2_load_96 | 29 | 0.0027337 | 0.00068512 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-69_0_2_load_140 | 30 | 0.002034 | 0.00050977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-69_0_2_load_121 | 31 | 0.0013092 | 0.00032811 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-69_0_2_load_99 | 32 | 0.0023924 | 0.0005996 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-69_0_2_load_100 | 33 | 0.0038768 | 0.00097162 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-69_0_2_load_117 | 34 | 0.0031142 | 0.0007805 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-69_0_2_load_103 | 35 | 0.001287 | 0.00032256 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-69_0_2_load_104 | 36 | 0.0012874 | 0.00032266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-69_0_2_load_141 | 37 | 0.0012867 | 0.00032247 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-69_0_2_load_106 | 38 | 0.0044551 | 0.0011165 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-69_0_2_load_111 | 40 | 0.0043079 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-69_0_2_load_109 | 41 | 0.0044434 | 0.0011136 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-69_0_2_load_112 | 43 | 0.0087213 | 0.0021858 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-69_0_2_load_113 | 44 | 0.0094761 | 0.0023749 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-69_0_2_load_115 | 45 | 0.0037527 | 0.0009405 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-69_0_2_load_116 | 47 | 0.0029642 | 0.00074291 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-69_0_2_load_118 | 48 | 0.0056798 | 0.0014235 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-69_0_2_load_119 | 49 | 0.0020212 | 0.00050655 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-69_0_2_load_120 | 50 | 0.0036646 | 0.00091844 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-69_0_2_load_122 | 51 | 0.0027327 | 0.00068487 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-69_0_2_load_123 | 52 | 0.002703 | 0.00067744 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-69_0_2_load_127 | 56 | 0.0056693 | 0.0014209 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-69_0_2_load_134 | 58 | 0.0016019 | 0.00040148 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_230-69_0_2_load_188 | 59 | 0.007034 | 0.0017629 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_230-69_0_2_load_189 | 60 | 0.0017277 | 0.000433 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_230-69_0_2_load_155 | 61 | 0.0021468 | 0.00053804 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_230-69_0_2_load_154 | 62 | 0.0016216 | 0.00040641 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_230-69_0_2_load_146 | 63 | 0.0015349 | 0.00038468 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_230-69_0_2_load_136 | 64 | 0.0028659 | 0.00071825 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_230-69_0_2_load_137 | 65 | 0.0032149 | 0.00080573 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_230-69_0_2_load_138 | 66 | 0.0053863 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_230-69_0_2_load_139 | 67 | 0.001144 | 0.00028672 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_230-69_0_2_load_142 | 68 | 0.0012874 | 0.00032266 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_230-69_0_2_load_143 | 69 | 0.001287 | 0.00032256 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_230-69_0_2_load_144 | 70 | 0.0017219 | 0.00043154 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_230-69_0_2_load_145 | 71 | 0.001721 | 0.00043133 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_230-69_0_2_load_147 | 72 | 0.001717 | 0.00043033 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_230-69_0_2_load_148 | 73 | 0.0012651 | 0.00031707 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_230-69_0_2_load_149 | 74 | 0.0019884 | 0.00049835 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_230-69_0_2_load_151 | 76 | 0.0019714 | 0.00049407 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_230-69_0_2_load_152 | 77 | 0.0019914 | 0.00049909 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_230-69_0_2_load_182 | 78 | 0.0021497 | 0.00053876 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_230-69_0_2_load_183 | 79 | 0.0021298 | 0.00053379 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-69_0_2_line_0 |  | 0 | 1 | 0.051549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-69_0_2_line_1 |  | 1 | 2 | 0.013461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-69_0_2_line_2 |  | 2 | 3 | 0.022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-69_0_2_line_3 |  | 2 | 4 | 0.021493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-69_0_2_line_4 |  | 2 | 5 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-69_0_2_line_5 |  | 3 | 34 | 0.02169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-69_0_2_line_6 |  | 3 | 33 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-69_0_2_line_7 |  | 4 | 29 | 0.022308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-69_0_2_line_8 |  | 5 | 35 | 0.01882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-69_0_2_line_9 |  | 6 | 7 | 0.12215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-69_0_2_line_10 |  | 6 | 8 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-69_0_2_line_11 |  | 7 | 9 | 0.017915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-69_0_2_line_12 |  | 7 | 10 | 0.037491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-69_0_2_line_13 |  | 9 | 22 | 0.044197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-69_0_2_line_14 |  | 11 | 12 | 0.032387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-69_0_2_line_15 |  | 11 | 13 | 0.07765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-69_0_2_line_16 |  | 11 | 14 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-69_0_2_line_17 |  | 11 | 15 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-69_0_2_line_18 |  | 13 | 16 | 0.054224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-69_0_2_line_19 |  | 13 | 17 | 0.11437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-69_0_2_line_20 |  | 14 | 18 | 0.044946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-69_0_2_line_21 |  | 14 | 19 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-69_0_2_line_22 |  | 14 | 20 | 0.0044616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-69_0_2_line_23 |  | 17 | 21 | 0.002752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-69_0_2_line_24 |  | 18 | 30 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-69_0_2_line_25 |  | 19 | 31 | 0.010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-69_0_2_line_26 |  | 20 | 28 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-69_0_2_line_27 |  | 22 | 26 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-69_0_2_line_28 |  | 23 | 24 | 0.017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-69_0_2_line_29 |  | 23 | 25 | 0.008798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-69_0_2_line_30 |  | 24 | 26 | 0.015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-69_0_2_line_31 |  | 26 | 27 | 0.039566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-69_0_2_line_32 |  | 27 | 39 | 0.003492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-69_0_2_line_33 |  | 27 | 38 | 0.01993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-69_0_2_line_34 |  | 28 | 29 | 0.035398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-69_0_2_line_35 |  | 30 | 67 | 0.010411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-69_0_2_line_36 |  | 31 | 49 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-69_0_2_line_37 |  | 32 | 33 | 0.00028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-69_0_2_line_38 |  | 34 | 47 | 0.023577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-69_0_2_line_39 |  | 35 | 36 | 0.0075237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-69_0_2_line_40 |  | 36 | 37 | 0.0075229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-69_0_2_line_41 |  | 37 | 68 | 0.0075229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-69_0_2_line_42 |  | 39 | 40 | 0.0010829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-69_0_2_line_43 |  | 39 | 41 | 0.014063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-69_0_2_line_44 |  | 40 | 45 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-69_0_2_line_45 |  | 41 | 42 | 0.013293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-69_0_2_line_46 |  | 42 | 43 | 0.0076086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-69_0_2_line_47 |  | 42 | 44 | 0.029193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-69_0_2_line_48 |  | 45 | 46 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-69_0_2_line_49 |  | 46 | 47 | 0.0046602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-69_0_2_line_50 |  | 48 | 49 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-69_0_2_line_51 |  | 48 | 50 | 0.0047561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-69_0_2_line_52 |  | 51 | 52 | 0.042885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-69_0_2_line_53 |  | 51 | 53 | 0.0065371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-69_0_2_line_54 |  | 52 | 54 | 0.020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-69_0_2_line_55 |  | 53 | 55 | 0.006769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-69_0_2_line_56 |  | 53 | 56 | 0.025925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-69_0_2_line_57 |  | 54 | 57 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-69_0_2_line_58 |  | 54 | 58 | 0.0042249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-69_0_2_line_59 |  | 55 | 59 | 0.03992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_230-69_0_2_line_60 |  | 55 | 60 | 0.024157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-69_0_2_line_61 |  | 57 | 61 | 0.012981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_230-69_0_2_line_62 |  | 57 | 62 | 0.075795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_230-69_0_2_line_63 |  | 58 | 63 | 0.0075148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_230-69_0_2_line_64 |  | 61 | 79 | 0.0088254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_230-69_0_2_line_65 |  | 63 | 72 | 0.012013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_230-69_0_2_line_66 |  | 64 | 65 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_230-69_0_2_line_67 |  | 65 | 66 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_230-69_0_2_line_68 |  | 66 | 67 | 0.019196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_230-69_0_2_line_69 |  | 68 | 69 | 0.0075237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_230-69_0_2_line_70 |  | 69 | 70 | 0.017182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_230-69_0_2_line_71 |  | 70 | 71 | 0.0079444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_230-69_0_2_line_72 |  | 71 | 72 | 0.0079329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_230-69_0_2_line_73 |  | 73 | 74 | 0.016097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_230-69_0_2_line_74 |  | 73 | 75 | 0.01298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_230-69_0_2_line_75 |  | 74 | 76 | 0.0079694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_230-69_0_2_line_76 |  | 75 | 77 | 0.036482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_230-69_0_2_line_77 |  | 76 | 78 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_230-69_0_2_line_78 |  | 78 | 79 | 0.0088333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-69_0_2_trafo_105 | 0.63 MVA 20/0.4 kV | 80 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2698272.5426 | 1261966.7241 | 2698276.3331 | 1261973.1658 | 2698287.2812 | 1261990.4619 | 2698290.4659 | 1261995.1631 | 2698301.4898 | 1262009.3
1 | 2698309.7674 | 1262019.9152 | 2698301.4898 | 1262009.3
2 | 2698309.7674 | 1262019.9152 | 2698331.3034 | 1262012.2557
3 | 2698309.7674 | 1262019.9152 | 2698321.9653 | 1262037.6114
4 | 2698309.7674 | 1262019.9152 | 2698291.4561 | 1262027.8845
5 | 2698331.3034 | 1262012.2557 | 2698351.7784 | 1262005.0988
6 | 2698331.3034 | 1262012.2557 | 2698326.9731 | 1261999.4829
7 | 2698321.9653 | 1262037.6114 | 2698334.6256 | 1262055.9787
8 | 2698291.4561 | 1262027.8845 | 2698274.1995 | 1262035.3949
9 | 2698478.553 | 1261885.8239 | 2698474.5257 | 1261880.5859 | 2698466.6043 | 1261879.3086 | 2698466.0007 | 1261884.7808 | 2698464.3045 | 1261886.1759 | 2698467.1095 | 1261888.7914 | 2698495.8622 | 1261913.8906 | 2698523.388 | 1261937.0791 | 2698520.9165 | 1261942.9427 | 2698505.8545 | 1261946.4503
10 | 2698478.553 | 1261885.8239 | 2698484.2541 | 1261883.3168 | 2698488.4969 | 1261881.6109
11 | 2698487.9591 | 1261947.6978 | 2698501.6676 | 1261947.1812 | 2698505.8545 | 1261946.4503
12 | 2698505.8545 | 1261946.4503 | 2698504.3824 | 1261941.633 | 2698503.256 | 1261937.7777 | 2698482.0335 | 1261918.85
13 | 2698487.9591 | 1261947.6978 | 2698478.8696 | 1261946.8791 | 2698443.891 | 1261949.4232
14 | 2698387.6704 | 1262094.6048 | 2698387.928 | 1262099.5019 | 2698365.8109 | 1262115.8159
15 | 2698316.7155 | 1262125.9062 | 2698334.6026 | 1262116.5181 | 2698355.0232 | 1262107.0387 | 2698381.1104 | 1262097.1199 | 2698387.6704 | 1262094.6048
16 | 2698378.4161 | 1262090.125 | 2698379.5285 | 1262093.0125 | 2698381.1104 | 1262097.1199 | 2698387.6704 | 1262094.6048
17 | 2698387.6704 | 1262094.6048 | 2698400.4086 | 1262090.0616
18 | 2698316.7155 | 1262125.9062 | 2698318.0794 | 1262128.1752 | 2698314.7296 | 1262130.2323 | 2698321.4775 | 1262143.5999 | 2698331.4973 | 1262138.3065 | 2698337.3592 | 1262149.6688 | 2698339.5486 | 1262148.5154 | 2698342.2069 | 1262154.053
19 | 2698316.7155 | 1262125.9062 | 2698296.2603 | 1262137.9317 | 2698299.2819 | 1262143.3753 | 2698283.0082 | 1262152.2677 | 2698287.7994 | 1262160.0537 | 2698306.482 | 1262155.3825 | 2698310.4507 | 1262155.5264 | 2698311.2512 | 1262156.3292 | 2698318.1147 | 1262152.3289 | 2698320.2527 | 1262156.0786 | 2698328.0594 | 1262169.6639 | 2698327.2422 | 1262170.3175 | 2698328.4745 | 1262172.7956 | 2698327.9416 | 1262173.1204
20 | 2698378.4161 | 1262090.125 | 2698356.6498 | 1262098.0473 | 2698348.0124 | 1262101.7734 | 2698336.8287 | 1262107.0722
21 | 2698378.4161 | 1262090.125 | 2698391.4347 | 1262085.2252
22 | 2698378.4161 | 1262090.125 | 2698377.4264 | 1262087.562 | 2698375.8005 | 1262088.105
23 | 2698325.5892 | 1262174.5602 | 2698327.9416 | 1262173.1204
24 | 2698326.8701 | 1262112.1245 | 2698334.1585 | 1262108.3373 | 2698336.8287 | 1262107.0722
25 | 2698391.4347 | 1262085.2252 | 2698401.0946 | 1262081.5896
26 | 2698375.8005 | 1262088.105 | 2698368.0074 | 1262090.7079 | 2698358.8989 | 1262087.8764 | 2698356.0303 | 1262084.164
27 | 2698429.9792 | 1261950.4351 | 2698443.891 | 1261949.4232
28 | 2698442.4466 | 1261979.1883 | 2698433.9025 | 1261971.4175 | 2698432.7621 | 1261965.3183
29 | 2698442.4466 | 1261979.1883 | 2698442.4466 | 1261979.1883 | 2698451.2153 | 1261978.4713
30 | 2698429.9792 | 1261950.4351 | 2698432.7621 | 1261965.3183
31 | 2698429.9792 | 1261950.4351 | 2698412.5959 | 1261951.7024 | 2698409.5032 | 1261951.8845 | 2698406.0308 | 1261953.15 | 2698403.6062 | 1261955.3003 | 2698402.8339 | 1261958.2343 | 2698402.6617 | 1261961.7899 | 2698402.6743 | 1261967.3724
32 | 2698402.6764 | 1261970.8642 | 2698402.6743 | 1261967.3724
33 | 2698402.6743 | 1261967.3724 | 2698390.6665 | 1261968.4847 | 2698383.1872 | 1261969.172 | 2698382.827 | 1261969.1768
34 | 2698334.6256 | 1262055.9787 | 2698337.7204 | 1262060.4685 | 2698356.0303 | 1262084.164
35 | 2698326.8701 | 1262112.1245 | 2698325.1587 | 1262113.0138 | 2698317.7192 | 1262117.0879
36 | 2698401.0946 | 1262081.5896 | 2698406.1168 | 1262079.6994 | 2698410.4605 | 1262077.9108
37 | 2698326.8817 | 1261999.2132 | 2698326.9731 | 1261999.4829
38 | 2698351.7784 | 1262005.0988 | 2698374.0348 | 1261997.3191
39 | 2698274.1995 | 1262035.3949 | 2698267.3008 | 1262038.3973
40 | 2698267.3008 | 1262038.3973 | 2698260.4029 | 1262041.3994
41 | 2698260.4029 | 1262041.3994 | 2698253.505 | 1262044.4014
42 | 2698402.6764 | 1261970.8642 | 2698402.6786 | 1261971.9471
43 | 2698402.6764 | 1261970.8642 | 2698388.6265 | 1261971.474
44 | 2698402.6786 | 1261971.9471 | 2698402.6996 | 1261982.5964 | 2698396.9891 | 1261989.2958
45 | 2698375.4267 | 1261971.367 | 2698377.4891 | 1261971.9573 | 2698388.6265 | 1261971.474
46 | 2698375.4267 | 1261971.367 | 2698375.0981 | 1261972.9962 | 2698375.2313 | 1261975.4115 | 2698376.5028 | 1261978.702
47 | 2698375.4267 | 1261971.367 | 2698365.497 | 1261968.5106 | 2698347.9333 | 1261975.3842
48 | 2698378.434 | 1261995.7814 | 2698396.9891 | 1261989.2958 | 2698396.9891 | 1261989.2958
49 | 2698378.434 | 1261995.7814 | 2698374.0348 | 1261997.3191
50 | 2698428.4134 | 1262069.6025 | 2698423.3629 | 1262072.169 | 2698414.9942 | 1262076.0441 | 2698410.4605 | 1262077.9108
51 | 2698428.4134 | 1262069.6025 | 2698432.6534 | 1262067.4479
52 | 2698242.9575 | 1262084.2335 | 2698238.625 | 1262075.1674 | 2698233.8064 | 1262070.8394 | 2698227.9807 | 1262070.4312 | 2698222.1659 | 1262071.6356 | 2698212.5184 | 1262078.5589 | 2698209.9259 | 1262079.3369
53 | 2698245.7762 | 1262090.1317 | 2698242.9575 | 1262084.2335
54 | 2698194.5139 | 1262070.0753 | 2698200.5235 | 1262078.4597 | 2698206.7249 | 1262080.2975 | 2698209.9259 | 1262079.3369
55 | 2698245.7762 | 1262090.1317 | 2698246.1838 | 1262096.8885
56 | 2698245.7762 | 1262090.1317 | 2698250.1659 | 1262090.7941 | 2698255.9722 | 1262089.6451 | 2698270.9021 | 1262084.9893
57 | 2698194.5139 | 1262070.0753 | 2698183.9748 | 1262074.4261
58 | 2698194.5139 | 1262070.0753 | 2698198.3877 | 1262068.3893
59 | 2698246.1838 | 1262096.8885 | 2698243.2944 | 1262101.6221 | 2698223.8938 | 1262115.9339 | 2698222.2406 | 1262121.0996 | 2698222.4759 | 1262125.9852
60 | 2698246.1838 | 1262096.8885 | 2698249.1618 | 1262099.5178 | 2698253.4352 | 1262100.8343 | 2698258.5215 | 1262100.8411 | 2698261.9733 | 1262100.3535 | 2698268.4388 | 1262097.1806
61 | 2698183.9748 | 1262074.4261 | 2698172.0696 | 1262079.6007
62 | 2698183.9748 | 1262074.4261 | 2698186.5322 | 1262080.151 | 2698194.28 | 1262097.7607 | 2698200.5158 | 1262117.4804 | 2698198.8311 | 1262147.0368
63 | 2698198.3877 | 1262068.3893 | 2698205.2782 | 1262065.3905
64 | 2698163.9757 | 1262083.1187 | 2698172.0696 | 1262079.6007
65 | 2698216.2932 | 1262060.5966 | 2698205.2782 | 1262065.3905
66 | 2698266.3464 | 1262145.4032 | 2698269.4084 | 1262143.5568 | 2698278.3672 | 1262138.5429
67 | 2698278.3672 | 1262138.5429 | 2698300.0311 | 1262126.4183 | 2698300.7431 | 1262126.047
68 | 2698300.7431 | 1262126.047 | 2698313.6299 | 1262119.3273 | 2698317.7192 | 1262117.0879
69 | 2698253.505 | 1262044.4014 | 2698246.6063 | 1262047.4038
70 | 2698230.8515 | 1262054.2606 | 2698246.6063 | 1262047.4038
71 | 2698223.567 | 1262057.4309 | 2698230.8515 | 1262054.2606
72 | 2698216.2932 | 1262060.5966 | 2698223.567 | 1262057.4309
73 | 2698131.9078 | 1262097.0571 | 2698117.1451 | 1262103.4737
74 | 2698105.2409 | 1262108.6479 | 2698117.1451 | 1262103.4737
75 | 2698131.9078 | 1262097.0571 | 2698139.2167 | 1262093.8803
76 | 2698105.2409 | 1262108.6479 | 2698107.3614 | 1262115.2773 | 2698109.7649 | 1262128.9172 | 2698117.3132 | 1262142.6648
77 | 2698139.2167 | 1262093.8803 | 2698155.8746 | 1262086.6399
78 | 2698155.8746 | 1262086.6399 | 2698163.9757 | 1262083.1187

## bus_geodata
| x | y | coords
0 | 2698272.5426 | 1261966.7241
1 | 2698301.4898 | 1262009.3
2 | 2698309.7674 | 1262019.9152
3 | 2698331.3034 | 1262012.2557
4 | 2698321.9653 | 1262037.6114
5 | 2698291.4561 | 1262027.8845
6 | 2698478.553 | 1261885.8239
7 | 2698505.8545 | 1261946.4503
8 | 2698488.4969 | 1261881.6109
9 | 2698487.9591 | 1261947.6978
10 | 2698482.0335 | 1261918.85
11 | 2698387.6704 | 1262094.6048
12 | 2698365.811 | 1262115.8159
13 | 2698316.7155 | 1262125.9062
14 | 2698378.4161 | 1262090.125
15 | 2698400.4086 | 1262090.0616
16 | 2698342.2069 | 1262154.053
17 | 2698327.9416 | 1262173.1204
18 | 2698336.8287 | 1262107.0722
19 | 2698391.4347 | 1262085.2252
20 | 2698375.8005 | 1262088.105
21 | 2698325.5892 | 1262174.5602
22 | 2698443.891 | 1261949.4232
23 | 2698442.4466 | 1261979.1883
24 | 2698432.7621 | 1261965.3183
25 | 2698451.2153 | 1261978.4713
26 | 2698429.9792 | 1261950.4351
27 | 2698402.6743 | 1261967.3724
28 | 2698356.0303 | 1262084.164
29 | 2698334.6256 | 1262055.9787
30 | 2698326.8701 | 1262112.1245
31 | 2698401.0946 | 1262081.5896
32 | 2698326.8817 | 1261999.2132
33 | 2698326.9731 | 1261999.4829
34 | 2698351.7784 | 1262005.0988
35 | 2698274.1995 | 1262035.3949
36 | 2698267.3008 | 1262038.3973
37 | 2698260.4029 | 1262041.3994
38 | 2698382.827 | 1261969.1768
39 | 2698402.6764 | 1261970.8642
40 | 2698402.6786 | 1261971.9471
41 | 2698388.6265 | 1261971.474
42 | 2698375.4267 | 1261971.367
43 | 2698376.5028 | 1261978.702
44 | 2698347.9333 | 1261975.3842
45 | 2698396.9891 | 1261989.2958
46 | 2698378.434 | 1261995.7814
47 | 2698374.0348 | 1261997.3191
48 | 2698428.4134 | 1262069.6025
49 | 2698410.4605 | 1262077.9108
50 | 2698432.6534 | 1262067.4479
51 | 2698242.9575 | 1262084.2335
52 | 2698209.9259 | 1262079.3369
53 | 2698245.7762 | 1262090.1317
54 | 2698194.5139 | 1262070.0753
55 | 2698246.1838 | 1262096.8885
56 | 2698270.9021 | 1262084.9893
57 | 2698183.9748 | 1262074.4261
58 | 2698198.3877 | 1262068.3893
59 | 2698222.4759 | 1262125.9852
60 | 2698268.4388 | 1262097.1806
61 | 2698172.0696 | 1262079.6007
62 | 2698198.8311 | 1262147.0368
63 | 2698205.2782 | 1262065.3905
64 | 2698266.3464 | 1262145.4032
65 | 2698278.3672 | 1262138.5429
66 | 2698300.7431 | 1262126.047
67 | 2698317.7192 | 1262117.0879
68 | 2698253.505 | 1262044.4014
69 | 2698246.6063 | 1262047.4038
70 | 2698230.8515 | 1262054.2606
71 | 2698223.567 | 1262057.4309
72 | 2698216.2932 | 1262060.5966
73 | 2698117.1451 | 1262103.4737
74 | 2698131.9078 | 1262097.0571
75 | 2698105.2409 | 1262108.6479
76 | 2698139.2167 | 1262093.8803
77 | 2698117.3132 | 1262142.6648
78 | 2698155.8746 | 1262086.6399
79 | 2698163.9757 | 1262083.1187
80 | 2698309.7674 | 1262019.9152

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99715 | -0.054484 | 0.0054435 | 0.0013643
1 | 0.99741 | -0.049566 | 0.0017437 | 0.000437
2 | 0.9975 | -0.047871 | 0 | 0
3 | 0.99612 | -0.074233 | 0 | 0
4 | 1 | 0 | -0.18406 | -0.046128
5 | 0.9965 | -0.066905 | 0.0044778 | 0.0011222
6 | 0.99041 | -0.18453 | 0 | 0
7 | 0.99048 | -0.18313 | 0 | 0
8 | 0.99041 | -0.18465 | 0.00064234 | 0.00016098
9 | 0.99056 | -0.18157 | 0 | 0
10 | 0.99034 | -0.18596 | 0.0042474 | 0.0010645
11 | 0.99584 | -0.080004 | 0 | 0
12 | 0.99566 | -0.083441 | 0.0060365 | 0.0015129
13 | 0.9952 | -0.092262 | 0 | 0
14 | 0.99605 | -0.07585 | 0 | 0
15 | 0.99582 | -0.080304 | 0.0012632 | 0.00031659
16 | 0.99496 | -0.096974 | 0.0049353 | 0.0012369
17 | 0.99478 | -0.10039 | 0 | 0
18 | 0.99537 | -0.088946 | 0.001926 | 0.00048271
19 | 0.99587 | -0.079367 | 0.0017123 | 0.00042915
20 | 0.99624 | -0.072148 | 0.0022654 | 0.00056776
21 | 0.99477 | -0.10058 | 0.0040341 | 0.001011
22 | 0.99076 | -0.17773 | 0.0025914 | 0.00064947
23 | 0.99059 | -0.18099 | 0.0041524 | 0.0010407
24 | 0.99071 | -0.17881 | 0.0039928 | 0.0010007
25 | 0.99057 | -0.18143 | 0.002773 | 0.00069499
26 | 0.99086 | -0.17588 | 0 | 0
27 | 0.99152 | -0.16295 | 0 | 0
28 | 0.99726 | -0.052652 | 0.0016375 | 0.0004104
29 | 0.99891 | -0.020973 | 0.0027337 | 0.00068512
30 | 0.99522 | -0.091824 | 0.002034 | 0.00050977
31 | 0.99575 | -0.081667 | 0.0013092 | 0.00032811
32 | 0.99604 | -0.07573 | 0.0023924 | 0.0005996
33 | 0.99605 | -0.075718 | 0.0038768 | 0.00097162
34 | 0.99494 | -0.096986 | 0.0031142 | 0.0007805
35 | 0.99565 | -0.083396 | 0.001287 | 0.00032256
36 | 0.99531 | -0.089825 | 0.0012874 | 0.00032266
37 | 0.99499 | -0.096089 | 0.0012867 | 0.00032247
38 | 0.99144 | -0.16453 | 0.0044551 | 0.0011165
39 | 0.9916 | -0.16154 | 0 | 0
40 | 0.99164 | -0.16066 | 0.0043079 | 0.0010797
41 | 0.99131 | -0.16718 | 0.0044434 | 0.0011136
42 | 0.99108 | -0.17148 | 0 | 0
43 | 0.99102 | -0.17265 | 0.0087213 | 0.0021858
44 | 0.99083 | -0.17639 | 0.0094761 | 0.0023749
45 | 0.99253 | -0.1435 | 0.0037527 | 0.0009405
46 | 0.99349 | -0.12489 | 0 | 0
47 | 0.99372 | -0.12048 | 0.0029642 | 0.00074291
48 | 0.99548 | -0.08693 | 0.0056798 | 0.0014235
49 | 0.99565 | -0.083678 | 0.0020212 | 0.00050655
50 | 0.99546 | -0.087236 | 0.0036646 | 0.00091844
51 | 0.99124 | -0.16852 | 0.0027327 | 0.00068487
52 | 0.99191 | -0.15547 | 0.002703 | 0.00067744
53 | 0.99115 | -0.17019 | 0 | 0
54 | 0.99228 | -0.14838 | 0 | 0
55 | 0.9911 | -0.17124 | 0 | 0
56 | 0.99102 | -0.1728 | 0.0056693 | 0.0014209
57 | 0.99212 | -0.15146 | 0 | 0
58 | 0.99242 | -0.14576 | 0.0016019 | 0.00040148
59 | 0.99084 | -0.17623 | 0.007034 | 0.0017629
60 | 0.99106 | -0.17198 | 0.0017277 | 0.000433
61 | 0.99196 | -0.1546 | 0.0021468 | 0.00053804
62 | 0.99201 | -0.15364 | 0.0016216 | 0.00040641
63 | 0.99267 | -0.14087 | 0.0015349 | 0.00038468
64 | 0.99473 | -0.10145 | 0.0028659 | 0.00071825
65 | 0.99476 | -0.10076 | 0.0032149 | 0.00080573
66 | 0.9949 | -0.098011 | 0.0053863 | 0.0013499
67 | 0.99511 | -0.094135 | 0.001144 | 0.00028672
68 | 0.99467 | -0.10219 | 0.0012874 | 0.00032266
69 | 0.99436 | -0.10812 | 0.001287 | 0.00032256
70 | 0.99368 | -0.12128 | 0.0017219 | 0.00043154
71 | 0.99338 | -0.12713 | 0.001721 | 0.00043133
72 | 0.99309 | -0.13274 | 0.001717 | 0.00043033
73 | 0.99159 | -0.16186 | 0.0012651 | 0.00031707
74 | 0.99163 | -0.16093 | 0.0019884 | 0.00049835
75 | 0.99156 | -0.16231 | 0 | 0
76 | 0.99167 | -0.16018 | 0.0019714 | 0.00049407
77 | 0.99149 | -0.1636 | 0.0019914 | 0.00049909
78 | 0.99179 | -0.15786 | 0.0021497 | 0.00053876
79 | 0.99187 | -0.15639 | 0.0021298 | 0.00053379
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0054435 | -0.0013643 | 0.0054448 | 0.0013644 | 1.2756e-06 | 1.4373e-07 | 0.0081232 | 0.008123 | 0.0081232 | 0.99715 | -0.054484 | 0.99741 | -0.049566 | 2.2317
1 | -0.0071885 | -0.0018014 | 0.0071891 | 0.0018016 | 5.8056e-07 | 1.9586e-07 | 0.010724 | 0.010724 | 0.010724 | 0.99741 | -0.049566 | 0.9975 | -0.047871 | 2.9462
2 | 0.066249 | 0.016731 | -0.066165 | -0.016678 | 8.3574e-05 | 5.319e-05 | 0.098871 | 0.098871 | 0.098871 | 0.9975 | -0.047871 | 0.99612 | -0.074233 | 27.1625
3 | -0.12803 | -0.032306 | 0.12832 | 0.032494 | 0.00029423 | 0.00018803 | 0.19107 | 0.19107 | 0.19107 | 0.9975 | -0.047871 | 1 | 0 | 52.4904
4 | 0.054592 | 0.013773 | -0.054542 | -0.013742 | 4.9706e-05 | 3.1551e-05 | 0.08147 | 0.08147 | 0.08147 | 0.9975 | -0.047871 | 0.9965 | -0.066905 | 22.3818
5 | 0.059895 | 0.015106 | -0.05983 | -0.015065 | 6.5161e-05 | 4.1421e-05 | 0.089506 | 0.089506 | 0.089506 | 0.99612 | -0.074233 | 0.99494 | -0.096986 | 24.5895
6 | 0.0062697 | 0.0015713 | -0.0062693 | -0.0015712 | 4.4364e-07 | 1.0837e-07 | 0.0093657 | 0.0093658 | 0.0093658 | 0.99612 | -0.074233 | 0.99605 | -0.075718 | 2.573
7 | 0.054085 | 0.013634 | -0.054031 | -0.013599 | 5.4221e-05 | 3.4409e-05 | 0.080508 | 0.080508 | 0.080508 | 1 | 0 | 0.99891 | -0.020973 | 22.1175
8 | 0.050064 | 0.012619 | -0.050025 | -0.012594 | 3.947e-05 | 2.5016e-05 | 0.074783 | 0.074783 | 0.074783 | 0.9965 | -0.066905 | 0.99565 | -0.083396 | 20.5449
9 | -0.00064234 | -0.00016085 | 0.00064238 | 0.0001593 | 4.2634e-08 | -1.5448e-06 | 0.00096502 | 0.00096446 | 0.00096502 | 0.99041 | -0.18453 | 0.99048 | -0.18313 | 0.26511
10 | 0.00064234 | 0.00016085 | -0.00064234 | -0.00016098 | 3.7721e-09 | -1.3658e-07 | 0.00096502 | 0.00096506 | 0.00096506 | 0.99041 | -0.18453 | 0.99041 | -0.18465 | 0.26513
11 | -0.0048903 | -0.0012237 | 0.0048907 | 0.0012237 | 3.6254e-07 | 1.4274e-09 | 0.0073461 | 0.007346 | 0.0073461 | 0.99048 | -0.18313 | 0.99056 | -0.18157 | 2.0182
12 | 0.0042479 | 0.0010644 | -0.0042474 | -0.0010645 | 5.7257e-07 | -1.1602e-07 | 0.0063816 | 0.0063818 | 0.0063818 | 0.99048 | -0.18313 | 0.99034 | -0.18596 | 1.7532
13 | -0.0048907 | -0.0012237 | 0.0048916 | 0.0012237 | 8.9438e-07 | 3.3397e-09 | 0.007346 | 0.0073458 | 0.007346 | 0.99056 | -0.18157 | 0.99076 | -0.17773 | 2.0181
14 | 0.0060375 | 0.0015131 | -0.0060365 | -0.0015129 | 9.8844e-07 | 2.1132e-07 | 0.0090214 | 0.0090215 | 0.0090215 | 0.99584 | -0.080004 | 0.99566 | -0.083441 | 2.4784
15 | 0.0089774 | 0.0022498 | -0.0089722 | -0.0022475 | 5.2398e-06 | 2.3439e-06 | 0.013414 | 0.013415 | 0.013415 | 0.99584 | -0.080004 | 0.9952 | -0.092262 | 3.6853
16 | -0.016278 | -0.0040793 | 0.016281 | 0.0040812 | 3.2217e-06 | 1.8729e-06 | 0.024323 | 0.024323 | 0.024323 | 0.99584 | -0.080004 | 0.99605 | -0.07585 | 6.6822
17 | 0.0012632 | 0.00031642 | -0.0012632 | -0.00031659 | 1.8069e-08 | -1.6439e-07 | 0.0018875 | 0.0018876 | 0.0018876 | 0.99584 | -0.080004 | 0.99582 | -0.080304 | 0.51856
18 | 0.0049365 | 0.0012369 | -0.0049353 | -0.0012369 | 1.1078e-06 | 4.5721e-09 | 0.0073808 | 0.0073811 | 0.0073811 | 0.9952 | -0.092262 | 0.99496 | -0.096974 | 2.0278
19 | 0.0040357 | 0.0010105 | -0.0040341 | -0.001011 | 1.5616e-06 | -4.8606e-07 | 0.0060338 | 0.0060343 | 0.0060343 | 0.9952 | -0.092262 | 0.99478 | -0.10039 | 1.6578
20 | 0.016588 | 0.0041622 | -0.016578 | -0.0041562 | 1.0352e-05 | 6.0405e-06 | 0.024783 | 0.024783 | 0.024783 | 0.99605 | -0.07585 | 0.99537 | -0.088946 | 6.8085
21 | 0.014393 | 0.0036091 | -0.014391 | -0.0036077 | 2.412e-06 | 1.3626e-06 | 0.021503 | 0.021503 | 0.021503 | 0.99605 | -0.07585 | 0.99587 | -0.079367 | 5.9075
22 | -0.047263 | -0.011852 | 0.047271 | 0.011858 | 8.3414e-06 | 5.2804e-06 | 0.070609 | 0.070609 | 0.070609 | 0.99605 | -0.07585 | 0.99624 | -0.072148 | 19.398
23 | 0.0040341 | 0.001011 | -0.0040341 | -0.001011 | 3.7579e-08 | -1.1678e-08 | 0.0060343 | 0.0060344 | 0.0060344 | 0.99478 | -0.10039 | 0.99477 | -0.10058 | 1.6578
24 | 0.014651 | 0.0036735 | -0.014649 | -0.0036723 | 2.0093e-06 | 1.1408e-06 | 0.021903 | 0.021904 | 0.021904 | 0.99537 | -0.088946 | 0.99522 | -0.091824 | 6.0175
25 | 0.012679 | 0.0031785 | -0.012677 | -0.0031778 | 1.3891e-06 | 7.5476e-07 | 0.018945 | 0.018945 | 0.018945 | 0.99587 | -0.079367 | 0.99575 | -0.081667 | 5.2046
26 | -0.049536 | -0.012425 | 0.049582 | 0.012455 | 4.6084e-05 | 2.9201e-05 | 0.073992 | 0.073992 | 0.073992 | 0.99624 | -0.072148 | 0.99726 | -0.052652 | 20.3276
27 | -0.007483 | -0.0018732 | 0.0074837 | 0.0018734 | 6.6058e-07 | 2.4312e-07 | 0.011238 | 0.011238 | 0.011238 | 0.99076 | -0.17773 | 0.99086 | -0.17588 | 3.0873
28 | -0.0069255 | -0.0017356 | 0.0069263 | 0.0017358 | 7.2054e-07 | 2.3256e-07 | 0.010403 | 0.010403 | 0.010403 | 0.99059 | -0.18099 | 0.99071 | -0.17881 | 2.858
29 | 0.0027731 | 0.00069491 | -0.002773 | -0.00069499 | 5.7249e-08 | -7.662e-08 | 0.0041656 | 0.0041656 | 0.0041656 | 0.99059 | -0.18099 | 0.99057 | -0.18143 | 1.1444
30 | -0.010919 | -0.0027365 | 0.010921 | 0.0027373 | 1.5272e-06 | 7.8238e-07 | 0.0164 | 0.0164 | 0.0164 | 0.99071 | -0.17881 | 0.99086 | -0.17588 | 4.5055
31 | -0.018404 | -0.0046107 | 0.018416 | 0.0046174 | 1.1333e-05 | 6.7434e-06 | 0.027638 | 0.027638 | 0.027638 | 0.99086 | -0.17588 | 0.99152 | -0.16295 | 7.5928
32 | -0.022871 | -0.0057339 | 0.022873 | 0.0057349 | 1.5428e-06 | 9.4233e-07 | 0.034324 | 0.034324 | 0.034324 | 0.99152 | -0.16295 | 0.9916 | -0.16154 | 9.4297
33 | 0.0044554 | 0.0011165 | -0.0044551 | -0.0011165 | 3.3414e-07 | -4.3186e-08 | 0.0066864 | 0.0066864 | 0.0066864 | 0.99152 | -0.16295 | 0.99144 | -0.16453 | 1.8369
34 | -0.05122 | -0.012865 | 0.051297 | 0.012914 | 7.7555e-05 | 4.9172e-05 | 0.076436 | 0.076436 | 0.076436 | 0.99726 | -0.052652 | 0.99891 | -0.020973 | 20.9988
35 | 0.012615 | 0.0031625 | -0.012614 | -0.0031618 | 1.389e-06 | 7.537e-07 | 0.018862 | 0.018862 | 0.018862 | 0.99522 | -0.091824 | 0.99511 | -0.094135 | 5.182
36 | 0.011368 | 0.0028497 | -0.011367 | -0.0028491 | 1.0892e-06 | 5.6616e-07 | 0.016988 | 0.016988 | 0.016988 | 0.99575 | -0.081667 | 0.99565 | -0.083678 | 4.6671
37 | -0.0023924 | -0.0005996 | 0.0023924 | 0.0005996 | 1.3647e-09 | -2.8334e-09 | 0.0035741 | 0.0035741 | 0.0035741 | 0.99604 | -0.07573 | 0.99605 | -0.075718 | 0.9819
38 | 0.056716 | 0.014284 | -0.056652 | -0.014244 | 6.3651e-05 | 4.0431e-05 | 0.084848 | 0.084848 | 0.084848 | 0.99494 | -0.096986 | 0.99372 | -0.12048 | 23.31
39 | 0.048738 | 0.012272 | -0.048723 | -0.012262 | 1.4977e-05 | 9.4878e-06 | 0.07286 | 0.07286 | 0.07286 | 0.99565 | -0.083396 | 0.99531 | -0.089825 | 20.0165
40 | 0.047435 | 0.01194 | -0.047421 | -0.011931 | 1.4195e-05 | 8.9872e-06 | 0.070935 | 0.070935 | 0.070935 | 0.99531 | -0.089825 | 0.99499 | -0.096089 | 19.4877
41 | 0.046135 | 0.011608 | -0.046121 | -0.0116 | 1.3435e-05 | 8.501e-06 | 0.069011 | 0.069011 | 0.069011 | 0.99499 | -0.096089 | 0.99467 | -0.10219 | 18.9591
42 | -0.045526 | -0.011416 | 0.045528 | 0.011418 | 1.8954e-06 | 1.1991e-06 | 0.06832 | 0.06832 | 0.06832 | 0.9916 | -0.16154 | 0.99164 | -0.16066 | 18.7691
43 | 0.022653 | 0.0056815 | -0.022647 | -0.0056778 | 6.0948e-06 | 3.7193e-06 | 0.033996 | 0.033996 | 0.033996 | 0.9916 | -0.16154 | 0.99131 | -0.16718 | 9.3395
44 | -0.049836 | -0.012497 | 0.049876 | 0.012523 | 4.0796e-05 | 2.5858e-05 | 0.074784 | 0.074784 | 0.074784 | 0.99164 | -0.16066 | 0.99253 | -0.1435 | 20.545
45 | 0.018204 | 0.0045642 | -0.0182 | -0.0045619 | 3.7222e-06 | 2.2109e-06 | 0.027326 | 0.027326 | 0.027326 | 0.99131 | -0.16718 | 0.99108 | -0.17148 | 7.5071
46 | 0.0087218 | 0.002186 | -0.0087213 | -0.0021858 | 4.8926e-07 | 2.1509e-07 | 0.013095 | 0.013095 | 0.013095 | 0.99108 | -0.17148 | 0.99102 | -0.17265 | 3.5975
47 | 0.0094783 | 0.002376 | -0.0094761 | -0.0023749 | 2.2171e-06 | 1.0428e-06 | 0.014231 | 0.014231 | 0.014231 | 0.99108 | -0.17148 | 0.99083 | -0.17639 | 3.9096
48 | -0.053629 | -0.013464 | 0.053677 | 0.013494 | 4.7659e-05 | 3.0247e-05 | 0.08041 | 0.08041 | 0.08041 | 0.99253 | -0.1435 | 0.99349 | -0.12489 | 22.0906
49 | -0.053677 | -0.013494 | 0.053688 | 0.013501 | 1.1299e-05 | 7.1712e-06 | 0.08041 | 0.08041 | 0.08041 | 0.99349 | -0.12489 | 0.99372 | -0.12048 | 22.0906
50 | -0.0093444 | -0.0023419 | 0.0093459 | 0.0023426 | 1.4479e-06 | 6.6932e-07 | 0.013968 | 0.013968 | 0.013968 | 0.99548 | -0.08693 | 0.99565 | -0.083678 | 3.8373
51 | 0.0036647 | 0.00091841 | -0.0036646 | -0.00091844 | 5.3518e-08 | -2.7581e-08 | 0.0054778 | 0.0054779 | 0.0054779 | 0.99548 | -0.08693 | 0.99546 | -0.087236 | 1.5049
52 | -0.017168 | -0.0043029 | 0.017178 | 0.0043091 | 1.0681e-05 | 6.2827e-06 | 0.025772 | 0.025771 | 0.025772 | 0.99124 | -0.16852 | 0.99191 | -0.15547 | 7.0801
53 | 0.014435 | 0.003618 | -0.014434 | -0.0036173 | 1.1511e-06 | 6.5244e-07 | 0.021669 | 0.021669 | 0.021669 | 0.99124 | -0.16852 | 0.99115 | -0.17019 | 5.9532
54 | -0.019881 | -0.0049866 | 0.019888 | 0.0049906 | 6.714e-06 | 4.0371e-06 | 0.029826 | 0.029826 | 0.029826 | 0.99191 | -0.15547 | 0.99228 | -0.14838 | 8.194
55 | 0.0087639 | 0.0021964 | -0.0087634 | -0.0021962 | 4.3942e-07 | 1.9399e-07 | 0.013157 | 0.013157 | 0.013157 | 0.99115 | -0.17019 | 0.9911 | -0.17124 | 3.6146
56 | 0.00567 | 0.001421 | -0.0056693 | -0.0014209 | 7.0446e-07 | 1.1677e-07 | 0.0085124 | 0.0085125 | 0.0085125 | 0.99115 | -0.17019 | 0.99102 | -0.1728 | 2.3386
57 | 0.015272 | 0.0038276 | -0.015269 | -0.0038263 | 2.2368e-06 | 1.2847e-06 | 0.022901 | 0.022901 | 0.022901 | 0.99228 | -0.14838 | 0.99212 | -0.15146 | 6.2916
58 | -0.03516 | -0.0088182 | 0.035164 | 0.008821 | 4.4047e-06 | 2.7644e-06 | 0.052727 | 0.052727 | 0.052727 | 0.99228 | -0.14838 | 0.99242 | -0.14576 | 14.4856
59 | 0.0070357 | 0.0017634 | -0.007034 | -0.0017629 | 1.6704e-06 | 5.5475e-07 | 0.010563 | 0.010563 | 0.010563 | 0.9911 | -0.17124 | 0.99084 | -0.17623 | 2.902
60 | 0.0017278 | 0.00043273 | -0.0017277 | -0.000433 | 6.0955e-08 | -2.7228e-07 | 0.0025939 | 0.002594 | 0.002594 | 0.9911 | -0.17124 | 0.99106 | -0.17198 | 0.71265
61 | 0.013648 | 0.0034208 | -0.013646 | -0.0034196 | 2.0396e-06 | 1.1377e-06 | 0.020469 | 0.020469 | 0.020469 | 0.99212 | -0.15146 | 0.99196 | -0.1546 | 5.6234
62 | 0.0016218 | 0.00040554 | -0.0016216 | -0.00040641 | 1.6814e-07 | -8.7105e-07 | 0.002432 | 0.0024324 | 0.0024324 | 0.99212 | -0.15146 | 0.99201 | -0.15364 | 0.66824
63 | -0.036766 | -0.0092224 | 0.036775 | 0.0092278 | 8.5647e-06 | 5.3843e-06 | 0.055129 | 0.055129 | 0.055129 | 0.99242 | -0.14576 | 0.99267 | -0.14087 | 15.1454
64 | 0.011499 | 0.0028816 | -0.011498 | -0.0028811 | 9.8467e-07 | 5.1627e-07 | 0.017249 | 0.017249 | 0.017249 | 0.99196 | -0.1546 | 0.99187 | -0.15639 | 4.7387
65 | -0.038309 | -0.0096125 | 0.038324 | 0.0096219 | 1.4858e-05 | 9.3537e-06 | 0.05743 | 0.05743 | 0.05743 | 0.99267 | -0.14087 | 0.99309 | -0.13274 | 15.7775
66 | -0.0028659 | -0.00071825 | 0.002866 | 0.00071813 | 9.5399e-08 | -1.1864e-07 | 0.0042871 | 0.004287 | 0.0042871 | 0.99473 | -0.10145 | 0.99476 | -0.10076 | 1.1778
67 | -0.0060808 | -0.0015239 | 0.0060816 | 0.001524 | 7.9517e-07 | 1.7614e-07 | 0.009096 | 0.0090959 | 0.009096 | 0.99476 | -0.10076 | 0.9949 | -0.098011 | 2.4989
68 | -0.011468 | -0.002874 | 0.01147 | 0.0028751 | 2.1176e-06 | 1.106e-06 | 0.017152 | 0.017152 | 0.017152 | 0.9949 | -0.098011 | 0.99511 | -0.094135 | 4.712
69 | 0.044834 | 0.011277 | -0.044821 | -0.011269 | 1.2697e-05 | 8.0287e-06 | 0.067085 | 0.067085 | 0.067085 | 0.99467 | -0.10219 | 0.99436 | -0.10812 | 18.43
70 | 0.043534 | 0.010946 | -0.043507 | -0.010929 | 2.7357e-05 | 1.7286e-05 | 0.065159 | 0.065159 | 0.065159 | 0.99436 | -0.10812 | 0.99368 | -0.12128 | 17.9009
71 | 0.041785 | 0.010498 | -0.041773 | -0.01049 | 1.1667e-05 | 7.3643e-06 | 0.062581 | 0.062581 | 0.062581 | 0.99368 | -0.12128 | 0.99338 | -0.12713 | 17.1925
72 | 0.040052 | 0.010059 | -0.040041 | -0.010052 | 1.071e-05 | 6.752e-06 | 0.060003 | 0.060003 | 0.060003 | 0.99338 | -0.12713 | 0.99309 | -0.13274 | 16.4843
73 | -0.0032567 | -0.00081563 | 0.0032568 | 0.00081551 | 1.4416e-07 | -1.1539e-07 | 0.0048869 | 0.0048868 | 0.0048869 | 0.99159 | -0.16186 | 0.99163 | -0.16093 | 1.3426
74 | 0.0019916 | 0.00049856 | -0.0019915 | -0.0004987 | 4.3471e-08 | -1.3961e-07 | 0.0029884 | 0.0029885 | 0.0029885 | 0.99159 | -0.16186 | 0.99156 | -0.16231 | 0.82101
75 | -0.0052452 | -0.0013139 | 0.0052454 | 0.0013139 | 1.8513e-07 | 1.5667e-08 | 0.0078706 | 0.0078706 | 0.0078706 | 0.99163 | -0.16093 | 0.99167 | -0.16018 | 2.1623
76 | 0.0019915 | 0.0004987 | -0.0019914 | -0.00049909 | 1.2219e-07 | -3.9234e-07 | 0.0029885 | 0.0029887 | 0.0029887 | 0.99156 | -0.16231 | 0.99149 | -0.1636 | 0.82106
77 | -0.0072168 | -0.0018079 | 0.0072176 | 0.0018082 | 7.9868e-07 | 2.7679e-07 | 0.010829 | 0.010829 | 0.010829 | 0.99167 | -0.16018 | 0.99179 | -0.15786 | 2.9749
78 | -0.0093673 | -0.002347 | 0.0093679 | 0.0023473 | 6.5424e-07 | 3.0471e-07 | 0.014054 | 0.014054 | 0.014054 | 0.99179 | -0.15786 | 0.99187 | -0.15639 | 3.8609

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18726 | 0.046929

## res_load
| p_mw | q_mvar
0 | 0.0054435 | 0.0013643
1 | 0.0017437 | 0.000437
2 | 0.0031981 | 0.00080151
3 | 0.0044778 | 0.0011222
4 | 0.00064234 | 0.00016098
5 | 0.0042474 | 0.0010645
6 | 0.0060365 | 0.0015129
7 | 0.0012632 | 0.00031659
8 | 0.0049353 | 0.0012369
9 | 0.001926 | 0.00048271
10 | 0.0017123 | 0.00042915
11 | 0.0022654 | 0.00056776
12 | 0.0040341 | 0.001011
13 | 0.0025914 | 0.00064947
14 | 0.0041524 | 0.0010407
15 | 0.0039928 | 0.0010007
16 | 0.002773 | 0.00069499
17 | 0.0016375 | 0.0004104
18 | 0.0027337 | 0.00068512
19 | 0.002034 | 0.00050977
20 | 0.0013092 | 0.00032811
21 | 0.0023924 | 0.0005996
22 | 0.0038768 | 0.00097162
23 | 0.0031142 | 0.0007805
24 | 0.001287 | 0.00032256
25 | 0.0012874 | 0.00032266
26 | 0.0012867 | 0.00032247
27 | 0.0044551 | 0.0011165
28 | 0.0043079 | 0.0010797
29 | 0.0044434 | 0.0011136
30 | 0.0087213 | 0.0021858
31 | 0.0094761 | 0.0023749
32 | 0.0037527 | 0.0009405
33 | 0.0029642 | 0.00074291
34 | 0.0056798 | 0.0014235
35 | 0.0020212 | 0.00050655
36 | 0.0036646 | 0.00091844
37 | 0.0027327 | 0.00068487
38 | 0.002703 | 0.00067744
39 | 0.0056693 | 0.0014209
40 | 0.0016019 | 0.00040148
41 | 0.007034 | 0.0017629
42 | 0.0017277 | 0.000433
43 | 0.0021468 | 0.00053804
44 | 0.0016216 | 0.00040641
45 | 0.0015349 | 0.00038468
46 | 0.0028659 | 0.00071825
47 | 0.0032149 | 0.00080573
48 | 0.0053863 | 0.0013499
49 | 0.001144 | 0.00028672
50 | 0.0012874 | 0.00032266
51 | 0.001287 | 0.00032256
52 | 0.0017219 | 0.00043154
53 | 0.001721 | 0.00043133
54 | 0.001717 | 0.00043033
55 | 0.0012651 | 0.00031707
56 | 0.0019884 | 0.00049835
57 | 0.0019714 | 0.00049407
58 | 0.0019914 | 0.00049909
59 | 0.0021497 | 0.00053876
60 | 0.0021298 | 0.00053379

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1